|  | पंजीकृत कार्यालय :शक्ति सदन, कोटला रोड़, न्यू दिल्ली-110002 (Regd. Office Shakti Sadan, Kotla Road, New Delhi-110002) कार्यालय उपमहाप्रबंधक (एस.ओ.) Office of Dy. General Manager (SO) एस एल डी सी बिल्डिंग, मिंटो रोड़, न्यू दिल्ली-110002 SLDC Building, Minto Road, New Delhi-110002 Ph: 23221149 FAX No.23221012 |
| --- | --- |
| No. F./DTL/207/09-10/DGM(SO)/335 | Dated : 23.10.2009 |

Subject  : 	Agenda of the 4th meeting of Grid Coordination Committee

Dear Sir,   /  महोदय

The agenda of the 4th Meeting of Grid Coordination Committee (GCC) to be held on 06.11.2009 at 11:00hrs. at Hotel Oberoi Maidens, Civil Lines, Near Civil Lines Metro Station, New Delhi-110044 is enclosed herewith. The meeting is hosted by NDPL.

You are requested to make it convenient to attend the meeting

Thanking you,

भवदीय   /  Yours faithfully

Encl : As above

(वी.वेणुगोपाल)/(V. Venugopal )

(उपमहाप्रबंधक (एस.ओ.)/Dy. G. M. (SO)

Convener (GCC)

| 01 | Sh. A. K. Kaul, Director (Operations), Chairman, GCC. Delhi Transco Ltd, 1st floor, Shakti Sadan Building, Kotla Road, New Delhi-110002, Office-Phone- 011-23232715, Fax : 23232721 |
| --- | --- |
| 02 | Sh. B. B. Sharma, General Manager (O&M), Delhi Transco Limited, 220kV Parkstreet S/stn Building, Opp. Talkatora Stadium, Near RML Hospital, Park Street, New Delhi-1, Office Phone - 011-23366462 Fax: 011-23366160 |
| 03 | Sh. B. D. Prasad General Manager (Commercial), Delhi Transco Ltd, IP Estate Bldg, New Delhi-110002 |
| 04 | Sh. Raj Bhartiya General Manager (Planning), Shakti Deep Building, Jhandewalan, Delhi-110055 |
| 05 | Sh. B. C. Mathur General Manager (SLDC), SLDC Delhi SLDC Building, 33kV Grid S/Stn Duilding, Minto Road, New Delhi-110002, Phone Office:011-23221091, Fax:011-23221069 |
| 06 | Sh. Bhupendra Nath Dy. General Manager (SCADA), SLDC Delhi SLDC Building, 33kV Grid S/Stn Building, Minto Road, New Delhi-110002, Phone Office:011-2322 |

| 07 | Sh. V. K. Agrawal, General Manager (NRLDC), 18-A, SJSS Marg, New Delhi-16, Office Phone : 011-26537351, Fax: 011-26852747 |
| --- | --- |
| 08 | Sh. S. R. Narsimhan, Chief Manager (System Operation-I), NRLDC, 18-A, SJSS Marg, New Delhi-16, Office Phone: 011-26854585. Fax-26852747 |
| 09 | Sh. Viney Kumar, Director(Tech), IPGCL, Himadri Building, Rajghat Power House, New Delhi-2. Office Phone : 011-23273544 Fax: 011-23270590 |
| 10 | Sh. Sunil Kakkar, DGM (PMG), BRPL PMG Office, 3rd Floor, BSES Bhawan, No. 20, Nehru Place, New Delhi – 110019. Phone Office: 011- 39996052, Fax: 011- 39996055 |
| 11 | Sh. R. Pillai, HOD(PSC&AM), NDPL Shakti Nagar District Office, Nangia Park, New Delhi. Phone Office: 011- 66111401 Fax: 011- 66111406 |
| 12 | Sh. K. Sheshadri, AVP(SO), BSES SCADA Control Room, 33 kV Balaji Grid, Behind NIIT, Balaji Estate, Kalkaji, New Delhi – 110019. Office: 011- 39996549 Fax: 011- 39996551 |
| 13 | Sh. N. K. Kothari, General Manager, NTPC, Badarpur BTPS, New Delhi-44 Office Phone: 011- 26949523, Fax: 011- 26949532 |
| 14 | Col. C. Stephens, CWE, CWE (Utilities), MES, Delhi Cantt, New Delhi – 110010. Phone Office: 011- 25692364 Fax: 011- 25687850 |
| 15 | Sh. R. R. Singh Chief Engineer (Elect-I),NDMC Room No. 1701, 17th Floor, Palika Kendra, Sansad Marg, New Delhi-110001 Mobile 9818507832 |

Copy for favour of kind information to :-

  - Secretary, DERC, Viniyamak Bhawan, C-Block, Shivalik, New Delhi-17

  - Chairman and Managing Director, DTL

  - Chairperson, New Delhi Municipal Council,Palika Kendra,Sansad Marg, New Delhi

  - CEO, BSES Rajdhani Power Ltd, BSES Bhawan, Nehru Place, New Delhi-110019

  - CEO, BSES Yamuna Power Ltd, Shakti Kiran Building, Karkardooma, New Delhi-92

  - CEO, North Delhi Power Ltd, 33kV Grid S/Stn, Hudson Lane, Kingsway Camp, Delhi-110009

  - Chief Engineer(Utilities),CWE, MES, Kotwali Road, Near Gopi Nath Bazar, Delhi Cantt  New Delhi-10

  - Managing Director, Indraprastha Power Generation Company Ltd (Genco) / Pragati Power Corporation Ltd (PPCL), Himadri, Rajghat Power House, New Delhi-110002

DELHI TRANSCO LTD.

(Regd. Office : Shakti Sadan, Kotla Road, New Delhi 110002)

[Office of Dy. General Manager (SO)]

SLDC Building, Minto Road, New Delhi – 110 002

Phone No.23221149, 23221175, Fax 23221012, 59

AGENDA

FOR

4th MEETING OF GRID CO-ORDINATION COMMITTEE (GCC)

Time & Date of GCC meeting 	: 11.00 Hrs. on 06.11.2009.

Venue 		: Oberoi Maidens, Civil Lines, Near Civil

Lines Metro Station, New Delhi-110044

1	Confirmation of the minutes of 3RD meeting of GCC held on 23.04.2009.

The minutes of the 3rd meeting of GCC held on 23.04.2009 have been circulated vide letter no. F.DTL/207/2009-10/DGM(SO)/109 dt. 01.05.2009. No comments have been received so far.

GCC is requested to confirm the minutes of the meeting.

FOLLOWUP ACTION ON THE DECISIONS TAKEN IN THE 2ND GCC MEETING

- Shifting of 33kV Bay no. 53&54 to Bay no. 1&3 of IP yard :

In view of the closing down of the IP units the BRPL was required to shift Bay no. 53&54 (IP-Kilokri Ckts) to Bay no. 1&3 of IP yard. In the last meeting it was decided that for assessing the necessary modifications a joint inspection with IPGCL and BRPL representatives would be carried out within next fortnight. Subsequently the matter was taken up with BRPL vide SLDC’s letter dated 13.06.2009. The matter was perused again vide letter dated 19.06.2009 by Director (Operations), DTL. It was given to understand that shifting of Bay no. 53&54 was being taken up by BRPL and would be completed by 30.09.2009.

BRPL may update the status.

2

3 	Closing of IP Units

In the last GCC meeting it was indicated that the closing of IP units would be started from 16.08.2009. As per the latest information received from IPGCL it was indicated that Cabinet of Delhi Govt. has approved the closing down of the Coal based units of IP on 31.10.2009.

IPGCL may update the status.

4 	Phasing out of Stage-I units of BTPS (95MW X 3).

In the last meeting BTPS/NTPC was advised to work on the replacement of three 95MW units with suitable capacity of Gas turbine units to ensure maximum generation at load centre and effective use of infrastructure already available at BTPS and looking into the closure of other load center based generating units at IP and come up with the details indicating probable tariff etc as early as possible.

The matter was further followed up vide SLDC’s letter dated 13.06.2009 wherein it was mentioned that it is hoped that BTPS has already formulated the action of replacement of 95MW units with suitable capacity of gas turbines and informed the beneficiaries accordingly. In response to the letter BTPS indicated that after obtaining the consent of the beneficiaries NTPC has taken up the matter with Ministry of Power, GoI for allocation of 7.1mcmd gas for capacity addition of 2 X 650MW gas based modules at BTPS.

BTPS / NTPC may update the status.

NEW ISSUES FOR DISCUSSIONS

OPERATIONAL ISSUES

5. 	POWER SUPPLY POSITION

A. Power Supply Position During the Summer Months 2009

Due to abnormal weather conditions the power supply position of Delhi during the summer was adversely affected in some days particularly during June 2009 for the period 19.06.09 to 29.06.09. The power supply position of Delhi in general had been as under :

a. Energy terms

|  | 2009 | 2008 |  |  |
| --- | --- | --- | --- | --- |
| Month | Energy consumed in MUs | Load shedding in MUs | Energy consumed in MUs | Load shedding in MUs | % increase in consumption with respect to previous year | % increase in Energy demand (Consumption + Load shedding) with respect to previous year |
| April | 1851 | 25 | 1759 | 25 | 5.23 | 5.16 |
| May | 2292 | 18 | 2022 | 7 | 13.35 | 13.85 |
| June | 2351 | 40 | 2104 | 8 | 11.74 | 13.21 |
| July | 2529 | 12 | 2356 | 9 | 7.34 | 7.44 |
| August | 2402 | 36 | 2217 | 8 | 8.34 | 9.57 |
| Sept | 2130 | 11 | 2081 | 24 | 2.35 | 1.71 |
| Total | 13555 | 142 | 12539 | 81 | 8.1 | 8.53 |

3

b. Peak Demand met in MW

|  | 2009 | 2008 |  |
| --- | --- | --- | --- |
| Month | Peak demand met in MW | Load shedding at the time of peak in MW | Peak demand met in MW | Load shedding at the time of peak in MW | % increase in peak demand met with respect to previous year |
| April | 3690 | 65 | 3366 | 100 | 10 |
| May | 4107 | 20 | 3584 | 8 | 15 |
| June | 4337 | 75 | 3832 | 69 | 13 |
| July | 4408 | 56 | 4034 | 2 | 9 |
| August | 4352 | 93 | 3892 | 0 | 12 |
| Sept | 3892 | 52 | 3945 | 0 | -1 |

- Unrestricted Demand

|  | 2009 | 2008 |  |
| --- | --- | --- | --- |
| Month | Demand met in MW at the time of occurrence of Unrestricted Demand | Load shedding at the time of occurrence of Unrestricted Demand | Unrestricted Demand in MW | Demand met in MW at the time of occurrence of Unrestricted Demand | Load shedding at the time of occurrence of Unrestricted Demand | Un-restricted Demand in MW | % increase in unrestricted demand with respect to previous year |
| April | 3453 | 365 | 3818 | 3060 | 449 | 3509 | 9 |
| May | 3838 | 301 | 4139 | 3584 | 8 | 3592 | 15 |
| June | 4099 | 403 | 4502 | 3832 | 69 | 3901 | 15 |
| July | 4133 | 349 | 4482 | 4034 | 2 | 4036 | 11 |
| August | 3737 | 733 | 4470 | 3886 | 133 | 4019 | 11 |
| September | 3892 | 52 | 3944 | 3945 | 0 | 3945 | 0 |

The peak demand projected is vis-à-vis actual position during summer has been analyzed as under :

i)	Delhi as whole

All figures in MW

| Month | Period | Projected Demand in MW | Actual Demand in MW | %age variation w.r.t. projections |
| --- | --- | --- | --- | --- |
| April 09 | 1st fortnight | 3400 | 3330 | -2 |
|  | 2nd fortnight | 3900 | 3818 | -2 |
| May 09 | 1st fortnight | 3800 | 3875 | 2 |
|  | 2nd fortnight | 3850 | 4139 | 8 |
| June 09 | 1st fortnight | 4050 | 4136 | 2 |
|  | 2nd fortnight | 4350 | 4502 | 3 |
| July 09 | 1st fortnight | 4400 | 4482 | 2 |
|  | 2nd fortnight | 4500 | 4339 | -4 |
| Aug 09 | 1st fortnight | 4150 | 4470 | 8 |
|  | 2nd fortnight | 4350 | 4218 | -3 |
| Sept 09 | 1st fortnight | 4400 | 3944 | -10 |
|  | 2nd fortnight | 4000 | 3865 | -3 |

4

i)	Distribution Licensees

All figures in MW

| Month | Period | BRPL | BYPL |
| --- | --- | --- | --- |
|  |  | Projected Demand | Actual Demand | Variation in %age w.r.t projections | Projected Demand | Actual Demand | Variation in %age w.r.t projections |
| April 09 | 1st fortnight | 1371 | 1272 | -7 | 875 | 887 | 1 |
|  | 2nd fortnight | 1571 | 1629 | 4 | 982 | 1071 | 9 |
| May 09 | 1st fortnight | 1523 | 1556 | 2 | 952 | 915 | -4 |
|  | 2nd fortnight | 1536 | 1751 | 14 | 960 | 935 | -3 |
| June 09 | 1st fortnight | 1645 | 1599 | -3 | 1028 | 961 | -6 |
|  | 2nd fortnight | 1754 | 1890 | 8 | 1096 | 1028 | -6 |
| July 09 | 1st fortnight | 1776 | 1827 | 3 | 1110 | 1117 | 1 |
|  | 2nd fortnight | 1819 | 1725 | -5 | 1137 | 1013 | -11 |
| Aug 09 | 1st fortnight | 1667 | 1758 | 5 | 1042 | 1114 | 7 |
|  | 2nd fortnight | 1689 | 1742 | 3 | 1110 | 990 | -11 |
| Sept 09 | 1st fortnight | 1802 | 1660 | -8 | 1126 | 915 | -19 |
|  | 2nd fortnight | 1628 | 1568 | -4 | 1017 | 947 | -7 |

| Month | Period | NDPL | NDMC |
| --- | --- | --- | --- |
|  |  | Projected Demand | Actual Demand | Variation in %age w.r.t projections | Projected Demand | Actual Demand | Variation in %age w.r.t projections |
| April 09 | 1st fortnight | 918 | 882 | -4 | 260 | 170 | -35 |
|  | 2nd fortnight | 1052 | 970 | -8 | 260 | 190 | -27 |
| May 09 | 1st fortnight | 1020 | 962 | -6 | 280 | 275 | -2 |
|  | 2nd fortnight | 1029 | 1076 | 5 | 290 | 290 | 0 |
| June 09 | 1st fortnight | 1102 | 1143 | 4 | 290 | 256 | -12 |
|  | 2nd fortnight | 1174 | 1203 | 2 | 290 | 297 | 2 |
| July 09 | 1st fortnight | 1189 | 1222 | 3 | 290 | 314 | 8 |
|  | 2nd fortnight | 1218 | 1173 | -4 | 290 | 303 | 4 |
| Aug 09 | 1st fortnight | 1116 | 1186 | 6 | 290 | 289 | 0 |
|  | 2nd fortnight | 1189 | 1194 | 0 | 290 | 261 | -10 |
| Sept 09 | 1st fortnight | 1207 | 1112 | -8 | 280 | 230 | -18 |
|  | 2nd fortnight | 1090 | 1057 | -3 | 230 | 182 | -26 |

| Month | Period | MES |
| --- | --- | --- |
|  |  | Projected Demand | Actual Demand | Variation in %age w.r.t projections |
| April 09 | 1st fortnight | 35 | 24 | -31 |
|  | 2nd fortnight | 35 | 26 | -26 |
| May 09 | 1st fortnight | 35 | 27 | -23 |
|  | 2nd fortnight | 35 | 30 | -14 |
| June 09 | 1st fortnight | 35 | 31 | -11 |
|  | 2nd fortnight | 35 | 33 | -6 |
| July 09 | 1st fortnight | 35 | 32 | -9 |
|  | 2nd fortnight | 35 | 33 | -6 |
| Aug 09 | 1st fortnight | 35 | 30 | -14 |
|  | 2nd fortnight | 35 | 31 | -12 |
| Sept 09 | 1st fortnight | 35 | 27 | -23 |
|  | 2nd fortnight | 35 | 26 | -34 |

5

Notes :

- The data in respect of Discoms is based on SEM data for actual consumption and load shedding as provided by Discoms at the time of Unrestricted demand of Delhi upto 1st fortnight of August 2009. Since then SCADA data is taken.

- Variation in NDMC and MES is more because of the time of occurrence of maximum Unrestricted demand of Delhi.

The power supply position was regularly being monitored at Govt level by Secretary (Power), GNTCD. The Distribution / Deemed Distribution Licensees were regularly being requested to arrange additional power to meet the shortages and to avoid load shedding apart from indulging into grid indiscipline by over drawing from the grid under acute low frequency / low voltage conditions and during the time of violations of Inter Regional Power Transfer capacities. However the violations and load shedding occurred in Delhi. The persistent violations even prompted the Central Electricity Regulatory Commission to think about change in Frequency Price Vector and imposition of additional UI charges from the existing level of 40% to 100% for the over drawal during the frequency regime below 49.2Hz. As per the proposal the additional UI amount for the over drawal during the frequency regime at 49.2Hz and below 49.2Hz. is more than Rs. 9 / unit (Total Rs. 18/unit). The Forum of Regulators have also recommended not to pass the burden for additional UI charges to the consumers from 01.08.2009 to deterrent the utilities indulging into grid discipline violations..

The details of violations for the period April 2009 to August 2009 are as under :

For Frequency regime 49.5Hz. to 49.2Hz.

| Month | No. of instances of overdrawal by Delhi as a whole when the O/D was 150MW or more at Freq. regime 49.5 & 49.2 Hz. | No. of instances of overdrawal by DISCOMs when the O/D was more than the specified limits fixed by DERC at Freq. regime 49.5 & 49.2 Hz. (At the time when Delhi was overdrawing more than 150MW from the grid) |
| --- | --- | --- |
|  |  | BRPL | BYPL | NDPL | NDMC | MES |
| April’09 | 73 | 67 | 32 | 52 | 6 | 0 |
| May’09 | 57 | 56 | 10 | 45 | 11 | 0 |
| June’09 | 116 | 104 | 41 | 74 | 23 | 0 |
| July’09 | 105 | 66 | 86 | 87 | 40 | 20 |
| August’09 | 230 | 169 | 201 | 176 | 89 | 2 |

For Frequency regime below 49.2Hz.

| Month | No. of instances of overdrawal by Delhi as a whole during Freq. regime 49.2 Hz. and below | No. of instances of overdrawal by DISCOMs during Freq. regime 49.2 Hz. and below . (At the time when Delhi was overdrawing from the grid) |
| --- | --- | --- |
|  |  | BRPL | BYPL | NDPL | NDMC | MES |
| April’09 | 31 | 29 | 7 | 19 | 14 | 0 |
| May’09 | 1 | 1 | 0 | 1 | 0 | 0 |
| June’09 | 56 | 50 | 18 | 39 | 15 | 0 |
| July’09 | 11 | 9 | 8 | 8 | 4 | 3 |
| August’09 | 274 | 219 | 246 | 199 | 68 | 3 |

The above data is based on SEMs. Details are enclosed as Annexure-1

GCC may deliberate.

6

B. Power Supply Position During Ensuing Winter Months

The anticipated power supply position for the period November 2009 to March 2010 is exhibited as Annexure-2.

On analyzing the power supply position for ensuing winter months it is revealed that some utilities have the shortages during December 2009 and January 2010 as detailed hereunder :

| Month | Period | NDPL | NDPL |
| --- | --- | --- | --- |
|  |  | Morning Peak | Evening Peak |
|  |  | Projected Demand | Availability | Shortage (-) / Surplus(+) | Projected Demand | Availability | Shortage (-) / Surplus(+) |
| Dec’09 | 1st fortnight | 896 | 865 | -31 | 910 | 865 | -45 |
|  | 2nd fortnight | 954 | 882 | -72 | 940 | 882 | -58 |
| Jan’10 | 1st fortnight | 948 | 1050 | 102 | 963 | 994 | 31 |
|  | 2nd fortnight | 919 | 1050 | 131 | 934 | 994 | 60 |

| Month | Period | BRPL | BRPL |
| --- | --- | --- | --- |
|  |  | Morning Peak | Evening Peak |
|  |  | Projected Demand | Availability | Shortage (-) / Surplus(+) | Projected Demand | Availability | Shortage (-) / Surplus(+) |
| Dec’09 | 1st fortnight | 1338 | 1229 | -109 | 1360 | 1229 | -131 |
|  | 2nd fortnight | 1425 | 1252 | -173 | 1403 | 1252 | -152 |
| Jan’10 | 1st fortnight | 1416 | 1292 | -124 | 1438 | 1296 | -142 |
|  | 2nd fortnight | 1373 | 1292 | -81 | 1395 | 1296 | -99 |

| Month | Period | BYPL | BYPL |
| --- | --- | --- | --- |
|  |  | Morning Peak | Evening Peak |
|  |  | Projected Demand | Availability | Shortage (-) / Surplus(+) | Projected Demand | Availability | Shortage (-) / Surplus(+) |
| Dec’09 | 1st fortnight | 836 | 865 | 28 | 850 | 865 | 15 |
|  | 2nd fortnight | 891 | 883 | -8 | 877 | 883 | 6 |
| Jan’10 | 1st fortnight | 885 | 949 | 64 | 899 | 961 | 62 |
|  | 2nd fortnight | 858 | 949 | 91 | 872 | 961 | 90 |

| Month | Period | NDMC | NDMC |
| --- | --- | --- | --- |
|  |  | Morning Peak | Evening Peak |
|  |  | Projected Demand | Availability | Shortage (-) / Surplus(+) | Projected Demand | Availability | Shortage (-) / Surplus(+) |
| Dec’09 | 1st fortnight | 200 | 255 | 55 | 150 | 255 | 105 |
|  | 2nd fortnight | 200 | 268 | 68 | 150 | 268 | 118 |
| Jan’10 | 1st fortnight | 220 | 268 | 48 | 170 | 268 | 98 |
|  | 2nd fortnight | 220 | 268 | 48 | 170 | 268 | 98 |

| Month | Period | MES | MES |
| --- | --- | --- | --- |
|  |  | Morning Peak | Evening Peak |
|  |  | Projected Demand | Availability | Shortage (-) / Surplus(+) | Projected Demand | Availability | Shortage (-) / Surplus(+) |
| Dec’09 | 1st fortnight | 30 | 39 | 9 | 30 | 39 | 9 |
|  | 2nd fortnight | 30 | 45 | 15 | 30 | 45 | 15 |
| Jan’10 | 1st fortnight | 30 | 45 | 15 | 30 | 45 | 15 |
|  | 2nd fortnight | 30 | 45 | 15 | 30 | 45 | 15 |

7

| Month | Period | Delhi as a Whole | Delhi as a Whole |
| --- | --- | --- | --- |
|  |  | Morning Peak | Evening Peak |
|  |  | Projected Demand | Availability | Shortage (-) / Surplus(+) | Projected Demand | Availability | Shortage (-) / Surplus(+) |
| Dec’09 | 1st fortnight | 3300 | 3253 | -47 | 3300 | 3253 | -47 |
|  | 2nd fortnight | 3500 | 3329 | -171 | 3400 | 3329 | -71 |
| Jan’10 | 1st fortnight | 3500 | 3604 | 104 | 3500 | 3564 | 64 |
|  | 2nd fortnight | 3400 | 3604 | 204 | 3400 | 3564 | 164 |

The utilities facing shortages are requested to draw out the action plan to meet the shortages.

GCC may deliberate.

6	CAPACITOR INSTALLATION

Details of installed capacity of Capacitors in Delhi :

Utility		Installed capacity as on date in MVAR

HT			LT

DTL		724			--

BRPL		1051			241

BYPL		760			89

NDPL		712			170

NDMC		114			30

MES		20			--

IPGCL		50			--

Total 		3431			530

In 35th OCC of NRPC held on 13..02.2009 at Delhi decided that each power utility may identify capacitors required in low voltage location / area in their system and installed them on priority basis before the on set of summer so that huge reactive load in some states particularly with the increase of agriculture / reactive demand in summer season would be mitigated.

The Reactive Power drawal from the grid by Delhi is as under :

Reactive Power Drawal at the time of Peak

| Month | Peak Demand met in MW | Date | Time in Hrs. | MVAR drawal from the grid |
| --- | --- | --- | --- | --- |
| April 2009 | 3755 | 30th | 19:51 | 196 |
| May 2009 | 4107 | 21st | 14:23 | 340 |
| June 2009 | 4337 | 30th | 16:04:33 | 445 |
| July 2009 | 4408 | 8th | 16:12:49 | 346 |
| August 2009 | 4352 | 13th | 15:36 | 466 |

8

Reactive Power Drawal at the time of Off-Peak (Minimum Demand)

| Month | Off Peak (minimum) Demand met in MW | Date | Time | MVAR drawal from the grid |
| --- | --- | --- | --- | --- |
| April 2009 | 1601 | 1st | 03:30 | 203 |
| May 2009 | 2087 | 31st | 08:30 | 157 |
| June 2009 | 2234 | 26th | 06:30 | -16 |
| July 2009 | 2522 | 28th | 05:30 | 156 |
| Aug 2009 | 2073 | 15th | 17:00 | 188 |

It may be noted that the Reactive drawal of Delhi from the grid during summer months was as high as 643MVAr (27.06.09 at 14:19Hrs.). As decided in the OCC meeting of Delhi held on 12.06.2009 snap shots indicating Reactive Power drawal occurred at 220kV Sub-stations at the time of maximum Reactive Power drawal by Delhi from the grid were informed to Distribution Licensees. It may be noted that the maximum MVAr drawal of Delhi occurred at the time of acute low voltages in the grid. For example the reactive power drawal from the grid on 27.6.2009 at 14.19 hr was 643 MVAR when the total demand met was 4110MW and the voltages were 376kV at Dadri 400kV Bus, 374kV at Bawana 400kV Bus, 369kV at Bamnauli 400kV, 372kV at Mandaula 400kV Bus, 376kV at Panipat 400kV Bus, 198kV at BTPS 220kV Bus and 183kV at IP 220kV Bus.

On analysis it is found that the additional utility wise Reactive Power compensation is as under:

| Utility | Additional Reactive power compensation requirement |
| --- | --- |
| NDPL | 150MVAR |
| BRPL | 340MVAR |
| NDMC | 100MVAR |
| BYPL | Nil |
| MES | Nil |
| IPGCL | 40MVAR to be revived at IP Station |
| Total | 630MVAR |

DERC in petition no. 25/2008 vide its order dated 06.08.2009 directed SLDC, DTL and all Distribution Licensees to finalize the corrective measures to be taken to minimize the Reactive Power drawal from the grid within four weeks and SLDC was directed to submit a report to the Commission accordingly. On the behest, a meeting was also convened in the Office of G. M. (Plg.), DTL on 04.09.2009. The Distribution Licensees were requested to install additional capacitors as mentioned above by 31.03.2010. It was also requested to provide detailed month wise plan for installation of capacitors. Inspite of repeated request none of the Distribution Licensees has given the detailed plan of installation of capacitors to be installed in the system by March 2010 and hence the report could not be submitted to DERC so far.

All Distribution Licensees / Deemed Distribution Licensees are requested to submit the month wise plan of capacitor addition to meet the target fixed to each licensee for having additional capacity as fixed above by 31.03.2010.

GCC may like to note and deliberate.

9

- system augmentation requriement

In view of the fact that the unprecedented peak demand of 4408MW occurred in Delhi system on 08.07.2009 at 16:12:49 Hrs, it is imperative that the transformer loadings at various Sub-station of DTL may be reviewed and wherever required actions for augmentations / establishment of new Sub-stations may be taken.

On this issue NDPL has also put up an agenda to review the transformer loading at various DTL Sub-stations specially in its area.

NDPL in its agenda pointed out the following in this regard :

GCC may deliberate.

8	Process of aligning load requirements from planning perspective at exchange points between NDPL & BSES. A document needs to be created at the planning level which needs to be operationalised. – Agenda by NDPL

The maximum loading of feeders emanating from NDPL stations to BSES is not defined. As a result of this the relay settings adopted are as per the network element restrictions only. This results in overloading/tripping of incoming feeders due to excessive load drawal by BSES during peak seasons. One document need to be signed off between NDPL &  BSES for drawl limit at exchange points and according to that protection setting need to be adopted so that there should be no cases of overloading. In future if any new exchange points to be introduced same document need to be signed off at planning stage itself so that after commissioning there should not be any o/L issue. This document need to be reviewed every Year for any changes required.

GCC may deliberate.

9	Measures to be taken to avoid operational issues between DISCOM. – Agenda by NDPL

During the incident at Nangloi, the confusion on the switching off of Nangloi circuits from Mangolpuri Grid was attributed to the communication gap between NDPL and BSES LDCs. These issues can be solved if a single point contact through SLDC is maintained for any inter discom operations. Necessary measures to address this needs to be looked into.

GCC may deliberate & decide.

10	Finalization of PROTECTION PLAN.

DGC clause 16.3.2 says “Relay setting coordination is being done at regional level by the NRPC, whereas provision of protections and relay settings shall be coordinated periodically throughout the State grid, as per a plan to be separately finalized by the STU.” Accordingly DTL formulated protection plan and circulated the same along with the metering procedures as mentioned above. The protection plan formulated by DTL was also discussed in the meeting held on 22.07.08 at BTPS. None of the utilities echoed anything against the protection plan.

10

The Protection Plan formulated was put up to the 2nd GCC held on 25.11.2208 for its approval. However, GCC decided to refer back the Protection Plan to the Prot. Sub-Committee of GCC for finalization.

The Prot. Sub-Committee of GCC has finalized the Prot. Plan and the finalized document has been forwarded to SLDC for putting up the same to GCC for its approval. The copy of the Prot. Plan is enclosed as Annexure-3.

GCC may kindly approve.

- Protection coordination committee to be convened. – Agenda by NDPL

As per the NDPL analysis the fault level has increased. For existing stations the value provided by DTL 5 years back are not matching with the current fault level. DTL is deferring to provide the latest studies saying it as a planning issue. In spite of commitments, No protection coordination committee meeting has been convened by them.

GCC may deliberate.

  - Guidelines to be issued by SLDC on under frequency operation during under drawal conditions by discoms. - Agenda by NDPL

View of SLDC :

The load shedding through under frequency relays has been devised as per the decision of NRPC to safe guard the grid from exigencies. The present settings have been devised as per the decision of NRPC (in which the Delhi DISCOMs are also represented). It has been decided in the 22nd & 23rd meeting of Operation Coordination Committee of NRPC held on 07.01.2008 and 08.02.2008 respectively. As per the decisions of the meeting ratified by NRPC (apex body) meeting the state wise quantum of load shedding is as under :

All figures in MW

|  | Peak Met in 2006-07 | Flat frequency UFR | Total | Stage-I | Stage-II | Stage-III | Total |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | 48.8 | 48.6 | 48.2 |  | 49.9Hz/0.1 Hz/sec | 49.9Hz/0.2 Hz/sec | 49.9Hz/0.3 Hz/sec |  |
| Punjab | 6558 | 180 | 220 | 250 | 650 | 430 | 490 | 490 | 1410 |
| Haryana | 4201 | 110 | 140 | 150 | 400 | 280 | 310 | 310 | 900 |
| Rajasthan | 4946 | 120 | 150 | 225 | 495 | 330 | 370 | 370 | 1070 |
| Delhi | 3736 | 110 | 140 | 150 | 400 | 250 | 280 | 280 | 810 |
| UP | 7531 | 190 | 240 | 275 | 705 | 500 | 280 | 280 | 1060 |
| Uttarakhand | 991 | 30 | 30 | 50 | 110 | 70 | 70 | 70 | 210 |
| HP | 873 | 20 | 20 | 75 | 115 | 50 | 70 | 70 | 190 |
| J & K | 1309 | 40 | 50 | 75 | 165 | 90 | 90 | 90 | 270 |
| UT Chandigarh | 247 | 0 | 10 | 0 | 10 | 0 | 50 | 50 | 100 |
| Total (Stage-I) | 30392 | 800 | 1000 | 1250 | 3050 | 2000 | 2010 | 2010 | 6020 |
| Stage-II | 26626.5 |  |  |  |  |  |  |  |  |

df/dt		Total in Western UP				810

df/dt		Total in Punjab/Haryana/HP/J & K/UT Chd	2870

Flat UFR		Total in Punjab/Haryana/HP/J & K/UT Chd	1340

11

The logic for working out is as under:

1)	For Stage-I at 0.1 Hz/sec, the same has been uniformly distributed in Northern Region in the ratio of peak MW load met in 2006-07. In UP it might be ensured that 50% of these relays are installed in western UP. (west of Lucknow/Panki/Unnao axis).

2) 	For Stage-II and Stage-III at 0.2 Hz/sec and 0.3 Hz/sec respectively, the same should act when there is a East-West separation within NR. Therefore these have been distributed in the ratio of loads in western part of the Northern Grid only. (taking western UP load as 50% of UP load).

3) 	Uttarakhand, HP, J&K and UT Chandigarh have been included in the list. These were not there earlier. The df/dt quantum for Punjab, Haryana, HP, J&K, UT Chandigarh as a whole would also take care of the winter off-peak conditions when hydro generation in this pocket is almost NIL leading to heavy imports from rest of the grid.

As mentioned above the under frequency relays are envisaged to operate at the time of exigency to avoid the total collapse of the grid. Delhi being one of the constituents of North-East-West can not deviate from the operating norms of the grid and can not take decisions in isolation regarding the under frequency relay scheme approved by NRPC applicable for North-East-West. It is to mention that the issues regarding under frequency scheme may be taken up by Distribution Licensees through their representative at the forum of NRPC.

Further it is imperative that as per the Statutory Connectivity Standard Regulations issued by CEA during 2007 the prime responsibility of installing under frequency relays are of Distribution Licensees. The relevant clause is reproduced as under :

“Part – IV

Grid Connectivity Standards applicable to the Distribution System and Bulk Consumers

The following additional requirements shall be complied with, besides the connectivity conditions in these regulations and general Standards for Connectivity to the grid given in Part-I and those applicable to transmission lines and sub-stations in Part-III.

- Under Frequency / df/dt Relays

Under frequency and df/dt (rate of change of frequency with time) relays shall be employed for automatic load control in a contingency to ensure grid security under conditions of falling grid frequency in accordance with the decision taken in the Regional Power Committee.”

It was also indicated to Distribution Licensees in Delhi that as per the decision of NRPC the load relief have to be provided by Distribution Licensees through the under frequency relays installed in their system as detailed hereunder :

| Frequency | NDPL | BYPL | BRPL |
| --- | --- | --- | --- |
| Hz | MW | MW | MW |
| 48.8 | 30 | 30 | 50 |
| 48.6 | 40 | 40 | 60 |
| 48.2 | 45 | 45 | 60 |

12

It was also decided that DTL shall block the under frequency relay operation after the successful commissioning and satisfied operation / required load relief through under frequency relays of Distribution licensees is achieved. The load relief through df/dt to take care of grave eventuality of the grid shall be done through such type of relays provided in DTL’s sub-stations. The Hon’ble Minister of Power, GNCTD during the meeting held on 31.01.2008 had emphasized that Discoms should enable the feature of under frequency scheme through their SCADA system by end of February 2008.

But so far it is noticed that the under frequency relays have not been made operational in Distribution Licensees area so far. DTL as a State Transmission Utility can not block such under frequency relays from its sub-stations which are being operated now till the Discoms have provided the required load relief through under frequency relays to save the grid under emergent conditions irrespective of drawal position.

In any of the statutory regulations, grid codes it is never mentioned that the under frequency relays should not operate in any Licensees area when it is under drawing from the grid. Apart from this DERC directives also reaffirm to ensure grid discipline in its order dated 31.03.2007 while allocating the PPAs to Distribution Licensees. The relevant portions of the order are reproduced as under :

“18. In the light of the above consensus, the Commission orders that :

vii)	All under-frequency relays shall be kept in operation, as decided by the NRLDC/NRPC to maintain grid discipline and to provide necessary relief to grid as stipulated.”

In view of the above for safety of the grid the under frequency relays would occur if frequency goes below at preset value decided in RPC forum. It is the collective responsibility of power sector to run the grid in a safe and secure manner. In case NDPL still has issues in this regard it may be taken up at RPC forum.

GCC may deliberate.

13

COMMERCIAL ISSUES

13.	Procurement of 0.25 MMSCMD of R-LNG on long-term basis from GAIL. (PPCL Issue)

In the last Commercial Sub Committee Meeting held on 10.09.2009, PPCL put up the proposal regarding procurement of R-LNG on long term basis to enhance the availability of power within Delhi as the existing allocation of gas to the power station on APM and PMT is not sufficient to exploit their full capacity. The proposal was agreed by the Sub - Committee.

GCC may kindly note.

14.	Establishment of 66kV bay at IPGTPS, for feeding the upcoming 66kV Grid S/Stn at Akshar Dham Temple (IPGCL Issue)

In the last Commercial Sub Committee Meeting held on 10.09.2009, IPGCL proposed the establishment of 66kV bay at IPGTPS for feeding upcoming 66kV Grid S/Stn at Akshar Dham Temple for electrification of Commonwealth Games Village. The estimated expenditure towards this shall be of Rs.63.81 lacs. The expenditure shall be carried out under the CAPEX plan of IPGCL for the information to Commercial Sub-Committee. SLDC indicated in the meeting that it will further improve the evacuation of GT Power Station and hence would benefit all the beneficiaries of GT Power Station. As such, the cost would have to be shared by all beneficiaries of GT Power Station. The Sub-Committee agreed the views of SLDC and decided to give in principle approval, subject to approval of DERC.

GCC may kindly note.

15. Installation of Inlet Cooling System at Pragati Power Station: (PPCL Issue)

In the last Commercial Sub Committee Meeting held on 10.09.2009, PPCL has put up the Agenda regarding installation of Inlet Cooling System at Pragati Power Station.  It is stated that in Delhi during peak summer, ambient temperature reaches 45oC. The system frequency was hovering between 49.0 Hz to 49.5 Hz.  Owing to technical reasons, the Gas turbine out put drops marginally.  The OEM of GT i.e. M/s. GE has recommended that the power generations loss can be recovered to a great extent by installing a system for cooling the inlet air by installing inlet air cooling system, in the upstream side. The approximate cost of installation of evaporative inlet cooling system for both the gas turbines shall be Rs.6-8 Crore, based on budgetary offer received from one of the vendors.  The pay back period will be about two and half year, keeping in view the enhancement of generation at the needy time. The cost incurred shall be capitalized. The scheme has already been approved by Board of Directors of PPCL.  On a query from SLDC, whether the installation of the aforesaid system will be helpful in foggy weather in which all the units used to trip due to choking of filters.  PPCL in response has stated that it would be helpful during fog, as the condensation takes place before the air is entered into the filters. However, PPCL has given the assurance the system would be commissioned before the onset of next summer.

14

The Commercial Sub-Committee concurs the above proposal of PPCL, subject to approval of DERC.

GCC may kindly note.

16.	Determination of STU charges of Delhi for Open Access for Inter-State Open Access Transaction applicable for 2009-10 (DTL Issue)

In the last Commercial Sub Committee Meeting held on 10.09.2009, it was decided that the STU charges to be recovered from Open Access costumers for inter state open access transactions applicable from Sept 2009 @ Rs.20.48 per MWh.  During the meeting, the constituents indicated that RLDCs have already concluded the advance applications for Open Access transactions upto October 2009, it would be appropriate to advice RLDCs to make the charges of STU for Delhi effective from 1st November, 2009 till the charges for 2010-11 is calculated and intimated to RLDCs.  Commercial Sub-Committee approved the rate and the applicability of STU Charges @ Rs. 20.48 per MWh from 01.11.2009 till the charges for 2010-11 is calculated and intimated to RLDCs

GCC may kindly note.

17.	Deduction of TDS on application charges for Open Access & SLDC charges by DISCOMs (SLDC Issue)

In the last Commercial Sub-Committee Meeting held on 10.09.2009, SLDC indicated that the DISCOMs are deducting taxes at source for Open Access application charges and SLDC charges. It was also indicated that as per Section 32(3) of The Electricity Act, 2003 the SLDCs expenses are to be reimbursed by the beneficiaries. During 2008-09 about Rs.20 Lakh has been deducted as TDS by NDPL. The representative of NDPL stated that they have already deposited the amount with IT Deptt. and even issued the TDS in lieu thereof.  The Commercial Sub-Committee advised SLDC to take up the matter with the Finance Wing of DTL for reimbursement of amount already deducted on the basis of TDS certificates. Subsequently, the matter was taken up with DTL’s Finance Department and it was indicated that since the TDS has already been remitted by the beneficiary in the Income Tax Department, it can not be possible to recover the amount from the Income Tax Department. In view of above, SLDC is left with any other option except treating the TDS deduction by the Discoms as expenditure which would be claimed in subsequently ARRs of SLDC.

GCC may deliberate and decide.

18. Recovery of penalty paid by SLDC for over drawing during the month of Oct’08 by Delhi DISCOMs (SLDC Issue)

In the last Commercial Sub-Committee Meeting held on 10.09.2009, it was informed that SLDC had paid a penalty of Rs.2.5 lacs (5x50,000/-) for violation of grid discipline due to over-drawl during the month of Oct’08 on the basis of CERC order dated 09.05.2009. It was also indicated that it has incurred legal charges also for engaging legal counsel to

15

represent the case before CERC and other Legal Fora. It was suggested that the amount so incurred and to be incurred in this regard should be reimbursed by the respective (defaulting) beneficiaries on the ratio of over drawal at the time of default.  DISCOMs were of the opinion that since the penalty has been levied on SLDC due to over-drawal by Delhi from the Grid under low frequency regime, the reasons for over-drawal, should also be taken into consideration. One of the reasons of over-drawal could be the less generation by Delhi generators, generation backing down by generating stations due to constrains of transmission system and hence the amount incurred by SLDC in this regard should be shared by all defaulters. The representative of generating stations of Delhi (IPGCL/PPCL) vehemently opposed the proposal of DISCOMs to bring the generators also in the ambit of sharing of the penalty and legal expenses there on. After detailed deliberations, it was decided that the deviations of actual generation from scheduled generation by the Generators within Delhi, transmission constraints during the time of default should be analyzed on case to case basis and put the details before the coming GCC meeting to take the decision regarding sharing of penalty and other legal expenses incurred by SLDC due to over drawal during October 2008.

The overdrawal and the under generation during the time of grid discipline violations for which the penalty has been imposed by CERC has been analysed as under :-

OVER DRAWAL POSITION OF DISCOMS AT THE TIME OF VIOLATION

| DATE | NRLDC MESSAGE TO CURTAIL O/D IN DELHI | DELHI O/D (MW) | AVERAGE OVER DRAWAL OF DISCOMS (MW) AS PER SPECIAL ENERGY METER DATA | Total Discoms (MW) |
| --- | --- | --- | --- | --- |
|  | NO. | TYPE | TIME |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 01.10.08 | 16 | C | 1:07 | 303 | 103 | 2 | 184 | 0 | 0 | 289 |
| 03.10.08 | 101 | B | 10:16 | 180 | 91 | 59 | 35 | 0 | 0 | 185 |
|  | 20 | C | 11:40 | 206 | 40 | 115 | 19 | 25 | 0 | 199 |
| 14.10.08 | 174 | B | 17:19 | 88 | -6 | 0 | 110 | 0 | 0 | 104 |
|  | 39 | C | 17:54 | 167 | 128 | 9 | 53 | 0 | 0 | 190 |

Over Generation (+) / Under Generation (-) by Generating Stations within Delhi at the time of Violations

| DATE | NRLDC MESSAGE TO CURTAIL O/D BY DELHI | DELHI O/D (MW) | Over Generation (+) / Under Generation (-) by Generating Stations within Delhi as per SPECIAL ENERGY METER DATA (Average MW) | Total Over Generation (MW) of Gencos |
| --- | --- | --- | --- | --- |
|  | NO. | TYPE | TIME (Hrs.) |  | I.P. | RPH | G.T. | PRAGATI | BTPS |  |
| 01.10.08 | 16 | C | 1:07 | 303 | 0 | -3 | -3 | 3 | 4 | 1 |
| 03.10.08 | 101 | B | 10:16 | 180 | -4 | 1 | -3 | -1 | 14 | 7 |
|  | 20 | C | 11:40 | 206 | 0 | 2 | -5 | 6 | 2 | 5 |
| 14.10.08 | 174 | B | 17:19 | 88 | 0 | 5 | 6 | 4 | 6 | 21 |
|  | 39 | C | 17:54 | 167 | 0 | 6 | 2 | 5 | 12 | 25 |

19

GCC May decide the methodology for recovery of the penalty and other Legal charges incurred by SLDC for the over drawal during the above mentioned period.

16

19	Methodology for computation of interest on delayed payment of UI Amount based on Intra State UI Accounts issued by SLDC

In the last Commercial Sub-Committee Meeting held on 10.09.2009, it was proposed to implement the interest calculation methodology being adopted by NRPC to calculate the interest of delayed payment at Intra State level in Delhi. In line with the NRPC methodology, the interest payable by SLDC to the receivable constituents after 14th day of the due date (i.e. 8 days for due date plus 6 days) that is from 15th day of the due date, as indicated in the UI bill.  The interest payable by the intra-State constituents to SLDC Pool A/c would be after 10 days (i.e. 8 days for due date plus two days) i.e. from the 11th day of due date.

It was explained that as per the UI Regulations, applicable up to 31.3.2009 the interest payment payable should be equal to payment receivables. From 1.4.2009 interest payment need not be made equal due to enforcement of additional UI charges for over-drawal/under-generation for the frequency below 49.2Hz.  The following methodology was explained to calculate the interest of delayed payment:-

- The interest for delayed payment would be calculated from the 15th day of issue of intra-State UI A/c. for the receivable utilities at intra-State level.

- The interest for delayed payment would be calculated from the 11th day of issue of intra-State UI A/c. for the payable utilities at intra-State level.

- In case the interest receivable from NR is to be disbursed to the payable/receivable intra-State Utilities of Delhi on 50-50 basis after the interest receivable from the payable utilities as per intra-State UI A/c.

- In case the interest payable to NR, the same would have to be paid by the paying utilities interest liability.  The difference of interest payable to NR and receivable from the paying utilities as per intra-State UI A/c is to be adjusted from the receivable/payable utilities as per the methodology already adopted for matching the UI amount.

The Commercial Sub Committee agreed the above mentioned methodology of the interest settlement. It was also advised that all utilities to check the intra-State UI A/c statement already circulated and intimate the discrepancy if any to Dy.Manager(Fin)Commercial by 30.09.2009.  After the reconciliation, the interest would be calculated on the above methodology and circulate the same to all utilities for needful action.

The above is submitted for information of GCC.

17

- Non-payment of long pending bills by BSES Utilities:

In the last Commercial Sub-Committee Meeting held on 10.09.2009, it was stated by DTL that following payments are still pending with BRPL and BYPL in spite of vigorous follow up:

| S. No. | Item | Outstanding dues (in Rupees) |
| --- | --- | --- |
|  |  | BRPL | BYPL |
| 1 | Cost of steel/cement drawn from DTL Store | 86,86,572/- | 20,56,796/- |
| 2 | Cost of installation of one no. 20MVA 66/11kV Pr. Tr. Alongwith civil work associated equipments at 220kV South of Wazirabad Grid S/Stn. -2 | -- | 1,42,25,108/- (Principle amount) + 82,82,521/- (Interest @ 11.5% from 07.07.04 to 31.07.09) = 2,25,54,276/- |
| 3 | Payment of Stores on order placed by erstwhile DVB before 30.06.2002 and received after wards | 1,31,07,644/- | 1,27,54,276/- |
| 4(a) | Balance payment due on account of transferring of pay roll software of M/s. BSES | 1,50,000/- | 1,50,000/- |
| 4(b) | Balance payment due on account of payroll processing charges | 7,89,158/- | 7,89,158/- |
| 5 | R&M Bill raised in the year 2002 | 10,55,000/- | 4,00,000/- |

The BRPL representative expressed his inability to give any commitments in the Commercial Sub-Committee Meeting as the matter has already been seized by BSES top management.  The above payments are pending for the last seven years or more.  The Commercial Sub-Committee requested the Chair to escalate the matter at an appropriate level and be brought out before GCC for its decision.

GCC may advice for further course of action.

21.	Incentive based on System availability of Delhi Transco Limited (DTL) for 2008-09 (DTL Issue)

Multi Year Tariff (MYT) Transmission Regulations notified by DERC allows the Transmission utility to recover incentive if it achieves more than target availability fixed for its purpose. The details for the Transmission Tariff Regulations are extracted as under :

Clause 5.30 of the multi year transmission tariff regulations 2007 the incentive clause is specified as under :-

“

Operational Norms

5.30.	The Commission shall specify suitable norms of operation for the

Transmission Licensee in the Multi Year Tariff Order, based on the submission of the Business Plans.  The parameter which shall be considered would cover, among others;

a)	Transmission System Availability : The Target Availability for recovery of full annual transmission charges during the Control Period shall be 98%.

Incentive

The Transmission Licensee shall be entitled to incentive on achieving annual Availability beyond this Target Availability, in accordance with the following formula:

Incentive	=	ATSC *  [AA – TA]

[TA]

18

Where

ATSC is the Annual Transmission Service Charge corresponding to the assets of the Transmission Licensee;

TA is the as Target Transmission System Availability (in percent) as defined in Clause5.3(a);

AA is the actual Annual Availability (in percent) of the transmission system of the Transmission Licensee;

Provided that no incentive shall be payable above the Availability of 99.75%”

5.31	Incentive shall be shared by the Beneficiaries in the ratio of their Allotted Transmission Capacity for the year.

Clause 5.3(a) of the transmission tariff regulations clarifies

“Transmission System Availability : The Target Availability for recovery of full annual transmission charges during the control period shall be 98%”

The Transmission System availability of DTL for the year 2008-09 has been worked out by SLDC in consultation with the Stake holders and based on guide lines issued by DERC during January 2004, the decisions taken in the meeting with the stake holders held in SLDC on 16.09.2008, DERC’s order dated            on the petition for incentive for the year 2007-08, meeting held in SLDC on 26.05.2009 and the Delhi OCC meeting held on 12.06.2009 as under :

| AVAILABILITY OF DELHI TRANSCO LIMITED SYSTEM FOR THE YEAR 2008- 09 |
| --- |
| Sl. No. | Name of Elements | Availability in %age |
| 1 | AVAILABILITY OF 8NOS. 400kV, 315MVA ICTs | 80.02% |
| 2 | AVAILABILITY OF 6NOS. 400kV LINES | 98.70% |
| 3 | AVAILABILITY OF 67NOS. 220kV LINES | 99.03% |
| 4 | AVAILABILITY OF 44NOS. 220/66kV ICTs | 97.99% |
| 5 | AVAILABILITY OF 25NOS. 220/33kV ICTs | 89.28% |
| 6 | AVAILABILITY OF 3NOS. 66/33kV ICTs | 99.38% |
| 7 | AVAILABILITY OF 26NOS. 66/11kV PR. TXS | 99.75% |
| 8 | AVAILABILITY OF 16NOS. 33/11kV PR. TXS | 99.63% |
| 9 | AVAILABILITY OF 88NOS. 66kV FEEDER BAYs | 99.76% |
| 10 | AVAILABILITY OF 94NOS. 33kV FEEDER BAYs | 99.90% |
| 11 | AVAILABILITY OF 204NOS. 11kV SYSTEM | 99.99% |
| 12 | AVAILABILITY OF 56NOS. CAP. BANKS | 97.46% |
| TOTAL AVAILABILITY OF DTL SYSTEM = |  |
| 80.02*8+98.70*6+99.03*67+97.99*44+89.29*25+99.38*3+99.75*26+99.63*16+99.76*88+99.90*94+99.99*204+97.46*56 |
| 8+6+67+44+25+3+26+16+88+94+204+56 |
|  | = 98.78% |  |

19

The commission in its order dt. 31.07.2009 on the Incentive petition of DTL  has directed

“

6.	In the light of above discussion the Commission directed as under :

i)	The availability of DTL Transmission System is accepted as 99.48% for the FY 2007-08.

ii)	Based on the above availability, DTL may raise incentive bills in accordance with the provisions of the MYT Regulations. ”

Based on the MYT Regulations on Transmission Tariff and the approved Transmission Tariff for FY 08 to FY 11 the incentive worked out on the computed availability works out as under :

Table 83: Approved ARR for the Control Period (Rs Cr.)

| Particulars | FY 08 | FY 09 | FY 10 | FY 11 |
| --- | --- | --- | --- | --- |
| ARR for Transmission Business | 182.84 | 162.85 | 179.87 | 398.24 |
| ARR for SLDC function | 7.55 |  |  |  |
| Total ARR | 190.39 | 162.85 | 179.87 | 398.24 |

(a) 	Annual Transmission Service Charges (ATSC)		=Rs. 162.85Crores

for 2008-09

(b) 	The normative target availability for recovery of full	=98%

transmission tariff as mentioned in (a) in %

(c)	 Transmission System Availability achieved by DTL	= 98.78%.

(d) 	Incentive =ATSC* [AA – TA] = 162.85*[98.78-98.00]	=Rs. 1.2961531 Crores

[TA]		             [98.00]

The Multi Year Tariff Regulations does not envisage any petition for incentive.

The Commission’s order dated 31.07.2009 also specifies the raising of incentive bills based on the MYT Regulations.

In view of the above regulations and arrival of agreed transmission system availability for 2008-09 by the stake holders involved at SLDC level GCC may approve the incentive based on the system availability achieved by DTL for 2008-09 at 98.78% and raising of bills on the beneficiaries as per the Multi Year Transmission Regulations, the incentive earned by the Transmission Utility is to be borne by the beneficiaries in the ratio of Transmission capacity allocation. The Transmission capacity allocation for 2008-09 has been as under :

Details of Transmission Capacity allocation for FY 08-09

All figures are in %

| Discoms | Apr'08 | May'08 | June'08 | July'08 | Aug'08 | Sept'08 | Oct'08 | Nov'08 | Dec'08 | Jan'09 | Feb'09 | Mar'09 | Total |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| NDPL | 27.35 | 26.66 | 29.3 | 28.06 | 29.93 | 27.3 | 27.67 | 26.86 | 27.18 | 27.18 | 27.08 | 26.83 | 27.62 |
| BRPL | 38.27 | 39.09 | 37.73 | 39.7 | 37.33 | 39.12 | 38.22 | 38.43 | 38.26 | 38.33 | 38.2 | 38.34 | 38.42 |
| BYPL | 26.42 | 26.27 | 25.29 | 24.72 | 25.12 | 25.77 | 26.18 | 26.61 | 26.5 | 26.33 | 26.51 | 26.6 | 26.03 |
| NDMC | 6.82 | 6.83 | 6.57 | 6.44 | 6.52 | 6.68 | 6.79 | 6.93 | 6.9 | 6.98 | 7.03 | 7.05 | 6.80 |
| MES | 1.14 | 1.15 | 1.11 | 1.08 | 1.1 | 1.13 | 1.14 | 1.17 | 1.16 | 1.18 | 1.18 | 1.18 | 1.14 |
|  | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100.00 |

20

According to the incentive for 2008-09 has to be recovered from the Licensees as under :

| Sl. No. | Distribution Licensees | Capacity allocation for 2008-09 in % | Amount of Incentive to be recovered in Rs. crores |
| --- | --- | --- | --- |
| 1 | NDPL | 27.62 | 0.3579543 |
| 2 | BRPL | 38.42 | 0.4979604 |
| 3 | BYPL | 26.03 | 0.3373454 |
| 4 | NDMC | 6.80 | 0.0880736 |
| 5 | MES | 1.14 | 0.0148194 |
|  | Total | 100.00 | 1.2961531 |

GCC may kindly deliberate and approve.

22.(a)	Finalization of Metering Procedure

As per the provisions of Clause 33.2 of Delhi Grid Code, a Metering Procedure shall have to be developed by STU and submit to the DERC for its approval within 60 days of notification of Delhi Grid Code.  Delhi Grid Code has been notified in the Official Gazette of GNCTD on 22.04.2008.

Accordingly, DTL developed the Metering Procedure on May 2008 and forwarded the same to SLDC for circulations and consultation with Utilities for its approval.  SLDC circulated the documents to all Utilities during June 2008 for their comments.  Thereafter, the document was discussed threadbare in the meeting specially convened for the very purpose on 22.8.2008 at BTPS.  As decided in the meeting, the revised documents prepared on the basis of discussions were further deliberated in subsequent meeting on 06.10.2008 and 10.10.2008 at SLDC with all stakeholders.  Thus, the prepared Metering Code was put up for approval before the GCC during its second meeting held on 25.11.2008 with the suggestions of Chairman, GCC that the ownership of meters be identified in case of interface meters, the ownership should lie with the owners of the respective ends, as stipulated in the Regulations for Installation and Operation of Meters notified by CEA. The Chairman, GCC further advised to incorporate the provision of MCB with alarms in place of PT fuses.

In the 2nd meeting, Chairman GCC advised that the Metering Procedure be put up before CGC after the same is scrutinized by Metering Committee and the Commercial Sub-Committee.  Subsequently, the Metering Committee considered the Metering Procedure afresh.

During the proceedings in the Metering Committee, it was felt that the Settlement of Disputes need not have the arbitration provision.  At RPC level also, the metering disputes are settled through the Commercial Sub-Committee and RPC meetings.   Same provision has been suggested in the revised Metering Procedure.  However, NDPL objected the proposal and insisted for arbitration provision. In the Commercial Committee, the Chair advised Metering and Protection Deptt of DTL to take up the matter again with NDPL informing that the Metering Committee, except the NDPL accepted the Metering Procedure without the additional arbitration clause, NDPL be given 10 days time for their final comments, failing which it would be assumed that NDPL has nothing to say and is agreeable to revised Metering Procedure with the additional Arbitration clause.

21

With regards to Voltage Transformer Fusing clause of the Metering Procedure, the Chair advised Metering and Protection Department to incorporate the MCB provision having alarming system instead of fuse system.  With these above changes incorporated, the Metering Procedure be put up in the next GCG meeting for their consideration and approval for sending the same to DERC for its approval.

As far as the ownership is concerned, the Chair advised to retain the clause of ownership of meters used for energy accounting purposes  lying with DTL, the STU as per consensus.

Protection circle of O&M Department of DTL may update the status of finalization of the Metering Procedure.

- Roadmap for testing of the ABT metering circuit to be finalized. This has to include the associated CT & PT equipment as per Grid code requirement. – Point raised by NDPL

As per our Delhi Grid code-Metering Procedure: tem 6.0 “Procedure to ensure Conformance to the accuracy limits, testing and Replacement of meters”:-

Item no:6.3.2:-The accuracy of the meters shall be verified jointly in accordance to IS standards and filled up in prescribed performa (Annexure-I). Similarly instrument transformers ratio’s be confirmed (Annexure – II) followed by meter installation performa including verification of its functioning(Annexure-III).       The company and DTL shall inspect the metering system at least once in every 12 months. Any party can require the testing of any Meter even before the period of 12 months stipulated above……… .In addition to the tests conducted under relevant clause in event that the reading on the check meter(DTL) differs from that on the main meters(DTL) by more than +-0.5% in any month, the main meters and the check meters shall be jointly tested in-turn.

DTL is testing only the ABT meters once in year but CTs, PTs are not being tested.

GCC may deliberate.

- Non- intimation of ABT metering / Network alterations at DTL  - Agenda by NDPL

- Meter installed at the Goplapur 66 KV Xmer- 2 – some 10 months back.,

- Metering connection altered at the NRL- Xmer-3 - in Jan’09.

- Meter replaced at NRL Xmer – 3 in April’09.

- Subjimandi to B G Road -2 metering connection altered – May’09.

- DMRC Jahangirpuri from 220 KV SMB – protocol of ABT meter not   made available. only the protocol of the KCG-DMRC consumer is made available-June-09.

GCC may deliberate.

ANNEXURE-1

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BELOW FREQUENCY RANGE OF 49.5 & 49.2

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BELOW 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OD BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 2-Apr-09 | 61 | 161 | 14 | 85 | 85 | 0 | 0 | 183 |
|  | 62 | 186 | 14 | 85 | 111 | 0 | 0 | 210 |
| 13-Apr-09 | 72 | 153 | 40 | 54 | -29 | 0 | 0 | 65 |
|  | 89 | 259 | 71 | 79 | 49 | 0 | 0 | 199 |
|  | 93 | 187 | 43 | 68 | 45 | -89 | -10 | 57 |
| 14-Apr-09 | 6 | 210 | 163 | 63 | -29 | -25 | -16 | 155 |
|  | 7 | 221 | 185 | 73 | 38 | -25 | -16 | 255 |
|  | 10 | 198 | 184 | 70 | 40 | -26 | -16 | 252 |
|  | 11 | 186 | 174 | 61 | 40 | -28 | -16 | 231 |
|  | 12 | 168 | 168 | 55 | 40 | -29 | -16 | 219 |
|  | 13 | 116 | 191 | 72 | 40 | -129 | -17 | 158 |
|  | 14 | 104 | 184 | 66 | 40 | -129 | -17 | 144 |
| 15-Apr-09 | 66 | 221 | 112 | 45 | 78 | 0 | 0 | 235 |
|  | 68 | 175 | -1 | 63 | 82 | 0 | 0 | 145 |
|  | 76 | 154 | 150 | 18 | 5 | 0 | 0 | 173 |
|  | 89 | 150 | 117 | 0 | 14 | 0 | 0 | 131 |
| 16-Apr-09 | 70 | 191 | 80 | 0 | 94 | 0 | 0 | 174 |
|  | 71 | 203 | 114 | 0 | 98 | 0 | 0 | 212 |
| 17-Apr-09 | 66 | 188 | 100 | 11 | 87 | 0 | 0 | 198 |
| 20-Apr-09 | 66 | 307 | 273 | -1 | 73 | -18 | -20 | 307 |
|  | 67 | 330 | 272 | 5 | 79 | -20 | -20 | 316 |
| 22-Apr-09 | 66 | 252 | 224 | 21 | 49 | -20 | -23 | 250 |
| 24-Apr-09 | 68 | 159 | 192 | -12 | 59 | -45 | -24 | 170 |
|  | 69 | 170 | 189 | -20 | 65 | -51 | -23 | 159 |
| 27-Apr-09 | 57 | 228 | 100 | 25 | 100 | 30 | 0 | 255 |
|  | 64 | 246 | 104 | -6 | 131 | 27 | 0 | 256 |
|  | 71 | 355 | 215 | 51 | 128 | 0 | 0 | 394 |
|  | 72 | 316 | 158 | 48 | 101 | 0 | 0 | 307 |
|  | 73 | 224 | 83 | 33 | 119 | 0 | 0 | 235 |
|  | 74 | 155 | 48 | 42 | 76 | 0 | 0 | 166 |
|  | 76 | 170 | 169 | 20 | 28 | 0 | 0 | 218 |
| 28-Apr-09 | 48 | 215 | 122 | -11 | 62 | 36 | 0 | 209 |
|  | 51 | 190 | 101 | -18 | 60 | 35 | 0 | 179 |
|  | 53 | 279 | 197 | 3 | 41 | 41 | 0 | 281 |
|  | 54 | 199 | 141 | 6 | 28 | 36 | 0 | 211 |
|  | 59 | 185 | 118 | -18 | 43 | 6 | 0 | 150 |
|  | 64 | 176 | 109 | 5 | 85 | 0 | 0 | 198 |
|  | 65 | 191 | 156 | -16 | 61 | 0 | 0 | 201 |
|  | 66 | 245 | 210 | -18 | 54 | 0 | 0 | 247 |
|  | 67 | 239 | 191 | -11 | 66 | 0 | 0 | 246 |
|  | 68 | 178 | 126 | 10 | 61 | 0 | 0 | 197 |
|  | 69 | 291 | 134 | 21 | 127 | 0 | 0 | 282 |
|  | 70 | 229 | 116 | -18 | 132 | 0 | 0 | 231 |
|  | 71 | 191 | 96 | -18 | 118 | 0 | 0 | 197 |
|  | 72 | 209 | 146 | -18 | 98 | 0 | 0 | 227 |
|  | 73 | 194 | 160 | -18 | 55 | 0 | 0 | 198 |
| 29-Apr-09 | 56 | 283 | 231 | 31 | 26 | 0 | 0 | 288 |
|  | 57 | 225 | 224 | -14 | -11 | 0 | 0 | 199 |
|  | 74 | 234 | 176 | 89 | -13 | 0 | 0 | 252 |
|  | 75 | 203 | 187 | 86 | -36 | 0 | 0 | 236 |
|  | 76 | 200 | 209 | 52 | -49 | 0 | 0 | 212 |
|  | 77 | 210 | 186 | 27 | 23 | 0 | 0 | 237 |
|  | 89 | 163 | 168 | 7 | -15 | 0 | 0 | 160 |
| 30-Apr-09 | 50 | 185 | 97 | 49 | 51 | 0 | 0 | 197 |
|  | 55 | 222 | 175 | 42 | 38 | 0 | 0 | 254 |
|  | 56 | 279 | 194 | 12 | 61 | 0 | 0 | 267 |
|  | 58 | 207 | 198 | -8 | 25 | 2 | 0 | 217 |
|  | 59 | 263 | 217 | 0 | 47 | 2 | 0 | 265 |
|  | 60 | 292 | 243 | 1 | 31 | 3 | 0 | 278 |

2

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BELOW 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OD BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 30-Apr-09 | 65 | 226 | 109 | 64 | 74 | 0 | 0 | 247 |
|  | 66 | 262 | 166 | 20 | 69 | 0 | 0 | 256 |
|  | 67 | 238 | 157 | 29 | 57 | 0 | 0 | 244 |
|  | 68 | 246 | 161 | 32 | 70 | 0 | 0 | 263 |
|  | 69 | 340 | 244 | 40 | 58 | 0 | 0 | 341 |
|  | 70 | 171 | 89 | 63 | 45 | 0 | 0 | 197 |
|  | 71 | 183 | 92 | 84 | 19 | 0 | 0 | 195 |
|  | 75 | 165 | 194 | 49 | -57 | 0 | 0 | 186 |
|  | 79 | 207 | 259 | 76 | -95 | 0 | 0 | 240 |
|  | 81 | 289 | 197 | 59 | 47 | 0 | 0 | 303 |
|  | 82 | 267 | 186 | 51 | 55 | 0 | 0 | 291 |
|  | 83 | 277 | 222 | 40 | 35 | 0 | 0 | 297 |
|  | 84 | 269 | 231 | 36 | 24 | 0 | 0 | 291 |
|  | 88 | 217 | 186 | 12 | 52 | 0 | 0 | 250 |
| TOTAL MWh |  | 3970 | 2813 | 521 | 915 | -105 | -59 | 4086 |
| TOTAL INSTANCES OF OVERDRAWAL (NO. OF BLCOKS) | 73 |  | 67 | 32 | 52 | 6 | 0 |  |

3

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BELOW FREQUENCY OF 49.2 HZ

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BELOW 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OD BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 2-Apr-09 | 63 | 182 | 25 | 85 | 70 | 0 | 0 | 179 |
| 13-Apr-09 | 85 | 202 | 160 | 75 | -49 | 0 | 0 | 186 |
|  | 90 | 231 | 43 | 79 | 45 | -7 | 0 | 161 |
| 14-Apr-09 | 8 | 218 | 183 | 72 | 38 | -26 | -16 | 251 |
|  | 9 | 221 | 192 | 78 | 38 | -26 | -16 | 266 |
| 15-Apr-09 | 67 | 277 | 125 | 58 | 82 | 0 | 0 | 266 |
| 27-Apr-09 | 50 | 182 | 78 | -2 | 75 | 31 | 0 | 181 |
|  | 51 | 200 | 66 | 2 | 83 | 32 | 0 | 183 |
|  | 56 | 190 | 93 | -3 | 100 | 27 | 0 | 217 |
|  | 58 | 297 | 137 | 25 | 87 | 31 | 0 | 281 |
|  | 59 | 162 | 75 | 9 | 69 | 30 | 0 | 182 |
|  | 60 | 175 | 89 | 12 | 74 | 26 | 0 | 202 |
|  | 63 | 252 | 127 | -18 | 124 | 26 | 0 | 260 |
|  | 65 | 222 | 180 | 26 | 20 | 27 | 0 | 254 |
|  | 66 | 324 | 218 | 29 | 57 | 25 | 0 | 328 |
|  | 67 | 151 | 75 | 4 | 14 | 20 | 0 | 112 |
| 28-Apr-09 | 41 | 153 | 129 | -18 | 35 | 0 | 0 | 146 |
|  | 49 | 230 | 117 | -18 | 69 | 34 | 0 | 203 |
|  | 50 | 174 | 91 | -18 | 59 | 34 | 0 | 166 |
|  | 52 | 213 | 121 | -18 | 69 | 38 | 0 | 211 |
|  | 55 | 153 | 122 | -8 | 43 | 18 | 0 | 175 |
|  | 56 | 167 | 102 | -7 | 54 | 13 | 0 | 162 |
|  | 58 | 234 | 172 | -1 | 39 | 14 | 0 | 224 |
|  | 78 | 163 | 160 | -10 | 14 | 0 | 0 | 164 |
| 29-Apr-09 | 58 | 152 | 158 | -9 | -3 | 2 | 0 | 148 |
| 30-Apr-09 | 80 | 253 | 302 | 65 | -95 | 0 | 0 | 272 |
|  | 85 | 228 | 204 | 28 | 4 | 0 | 0 | 236 |
|  | 86 | 236 | 219 | 34 | 11 | 0 | 0 | 263 |
|  | 87 | 206 | 172 | 21 | 31 | 0 | 0 | 224 |
|  | 89 | 232 | 254 | -1 | 6 | 0 | 0 | 259 |
|  | 90 | 159 | 223 | -25 | -26 | 0 | 0 | 171 |
| TOTAL MWh |  | 1610 | 1103 | 137 | 310 | 92 | -8 | 1634 |
| TOTAL INSTANCES OF OVERDRAWAL (NO. OF BLCOKS) | 31 |  | 29 | 7 | 19 | 14 | 0 |  |

4

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BELOW FREQUENCY RANGE OF 49.5 & 49.2

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION(-) BY GENCOS WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 2-Apr-09 | 61 | -1 | 2 | 6 | 2 | 4 | 14 | 169 |
|  | 62 | 0 | -1 | 4 | 1 | 19 | 24 | 186 |
| 13-Apr-09 | 72 | 1 | 3 | 5 | 7 | -104 | -87 | 152 |
|  | 89 | 0 | 4 | 10 | 9 | -8 | 16 | 183 |
|  | 93 | 0 | 4 | 11 | 10 | -3 | 21 | 35 |
| 14-Apr-09 | 6 | 0 | 7 | 6 | 6 | 9 | 27 | 128 |
|  | 7 | 0 | 6 | 7 | 7 | 8 | 28 | 227 |
|  | 10 | -1 | 6 | 7 | 7 | 15 | 36 | 216 |
|  | 11 | 0 | 7 | 7 | 8 | 11 | 33 | 199 |
|  | 12 | 0 | 7 | 8 | 7 | 11 | 33 | 186 |
|  | 13 | 0 | 7 | 6 | 9 | 3 | 25 | 133 |
|  | 14 | -1 | 7 | 6 | 9 | 3 | 24 | 120 |
| 15-Apr-09 | 66 | 2 | -1 | 2 | 11 | 10 | 23 | 212 |
|  | 68 | 2 | 5 | -21 | 12 | -5 | -8 | 153 |
|  | 76 | 0 | 1 | 8 | 11 | 3 | 23 | 149 |
|  | 89 | -1 | 5 | 1 | 7 | 1 | 13 | 119 |
| 16-Apr-09 | 70 | 4 | 7 | -1 | 1 | 5 | 17 | 157 |
|  | 71 | 4 | 2 | -1 | 1 | 0 | 7 | 205 |
| 17-Apr-09 | 66 | 3 | 7 | 5 | 7 | -1 | 21 | 177 |
| 20-Apr-09 | 66 | 1 | 5 | -2 | 4 | 5 | 13 | 293 |
|  | 67 | 0 | 5 | -2 | 3 | 1 | 8 | 308 |
| 22-Apr-09 | 66 | 1 | 3 | 3 | 13 | -12 | 8 | 242 |
| 24-Apr-09 | 68 | 0 | 1 | 3 | 10 | 0 | 13 | 157 |
|  | 69 | 0 | 2 | 2 | 7 | -7 | 4 | 155 |
| 27-Apr-09 | 57 | -1 | 2 | -1 | 2 | 17 | 19 | 236 |
|  | 64 | 4 | 0 | -2 | 3 | 1 | 6 | 250 |
|  | 71 | 3 | -1 | 7 | 2 | -14 | -3 | 398 |
|  | 72 | 2 | 1 | 7 | 2 | -27 | -15 | 322 |
|  | 73 | 1 | 1 | 6 | 1 | 11 | 20 | 215 |
|  | 74 | 2 | -2 | 8 | 2 | 11 | 21 | 144 |
|  | 76 | 2 | 2 | 9 | 3 | 4 | 20 | 197 |
| 28-Apr-09 | 48 | 0 | -1 | 0 | 4 | 1 | 4 | 205 |
|  | 51 | -1 | 0 | -1 | 3 | 2 | 3 | 176 |
|  | 53 | -1 | 1 | 0 | 2 | -1 | 2 | 279 |
|  | 54 | -1 | 0 | 3 | 11 | -9 | 4 | 207 |
|  | 59 | 2 | -8 | 2 | 3 | 26 | 25 | 125 |
|  | 64 | 2 | 10 | 1 | 9 | -8 | 13 | 185 |
|  | 65 | 2 | 4 | 2 | 10 | 13 | 31 | 170 |
|  | 66 | 2 | -1 | 3 | 11 | 21 | 36 | 211 |
|  | 67 | 2 | 5 | 2 | 10 | 16 | 34 | 212 |
|  | 68 | 1 | 3 | 2 | 11 | 31 | 49 | 149 |
|  | 69 | 2 | -8 | -2 | 2 | 19 | 13 | 268 |
|  | 70 | 2 | -8 | 1 | 4 | -8 | -9 | 239 |
|  | 71 | 2 | -7 | 1 | 4 | 4 | 4 | 193 |
|  | 72 | 3 | -8 | 2 | 4 | 19 | 19 | 208 |
|  | 73 | 2 | 2 | 1 | 3 | 15 | 23 | 175 |
| 29-Apr-09 | 56 | 1 | -6 | 2 | 5 | 63 | 65 | 224 |
|  | 57 | 2 | -6 | 3 | 7 | -10 | -4 | 203 |
|  | 74 | 0 | -13 | 11 | 3 | 7 | 9 | 243 |

5

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION(-) BY GENCOS WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 29-Apr-09 | 75 | 2 | -10 | 13 | 5 | 6 | 16 | 220 |
|  | 76 | 2 | -7 | 13 | 4 | 6 | 19 | 193 |
|  | 77 | 3 | -6 | 14 | 3 | 6 | 19 | 218 |
|  | 89 | 0 | -4 | 10 | -1 | 8 | 13 | 147 |
| 30-Apr-09 | 50 | 2 | 4 | -13 | 3 | 20 | 16 | 181 |
|  | 55 | 0 | 1 | 6 | 7 | -5 | 10 | 244 |
|  | 56 | -1 | 0 | 6 | 8 | -25 | -13 | 280 |
|  | 58 | 0 | -1 | 2 | 5 | 0 | 6 | 211 |
|  | 59 | 0 | -1 | 2 | 4 | 4 | 9 | 256 |
|  | 60 | 1 | -1 | 2 | 4 | -33 | -29 | 307 |
|  | 65 | 0 | -1 | 4 | 5 | 25 | 34 | 213 |
|  | 66 | 1 | -2 | 3 | 4 | 18 | 24 | 231 |
|  | 67 | -1 | -1 | 3 | 4 | 19 | 24 | 220 |
|  | 68 | 0 | 3 | 5 | 6 | 11 | 25 | 239 |
|  | 69 | -4 | -2 | 6 | 7 | 12 | 20 | 322 |
|  | 70 | -1 | -2 | 4 | 5 | 29 | 37 | 161 |
|  | 71 | 1 | -1 | 6 | 6 | 13 | 25 | 170 |
|  | 75 | 3 | -2 | 3 | 1 | -23 | -18 | 204 |
|  | 79 | 2 | 1 | 11 | 3 | 13 | 30 | 210 |
|  | 81 | 3 | 1 | 13 | 5 | 9 | 31 | 272 |
|  | 82 | 1 | 0 | 13 | 6 | 16 | 36 | 255 |
|  | 83 | 2 | -1 | 12 | 5 | 11 | 29 | 268 |
|  | 84 | 3 | 4 | 13 | 6 | 9 | 35 | 256 |
|  | 88 | 3 | 3 | 10 | 5 | 19 | 39 | 211 |
| TOTAL MWh |  | 18 | 9 | 78 | 100 | 85 | 290 | 3796 |

6

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BELOW FREQUENCY OF 49.2 HZ

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION(-) BY GENCOS WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 2-Apr-09 | 63 | 0 | -4 | 3 | 0 | 7 | 6 | 173 |
| 13-Apr-09 | 85 | 1 | 5 | -6 | 6 | 15 | 21 | 166 |
|  | 90 | 0 | 4 | 9 | 7 | 9 | 28 | 132 |
| 14-Apr-09 | 8 | 0 | 6 | 6 | 5 | 6 | 23 | 228 |
|  | 9 | 0 | 6 | 6 | 6 | 13 | 32 | 234 |
| 15-Apr-09 | 67 | 2 | 1 | -20 | 9 | 11 | 4 | 262 |
| 27-Apr-09 | 50 | 0 | -2 | 0 | 3 | 1 | 2 | 180 |
|  | 51 | -1 | 2 | -1 | 2 | 13 | 15 | 169 |
|  | 56 | -1 | 2 | -2 | 1 | 7 | 8 | 209 |
|  | 58 | -1 | 3 | -2 | 0 | 25 | 25 | 255 |
|  | 59 | 0 | 3 | -3 | 1 | 26 | 26 | 156 |
|  | 60 | 0 | 2 | -1 | 1 | 17 | 19 | 182 |
|  | 63 | 3 | -2 | -3 | 2 | -26 | -25 | 285 |
|  | 65 | 3 | 2 | -3 | 2 | 19 | 24 | 230 |
|  | 66 | 1 | 2 | -3 | 3 | -2 | 1 | 327 |
|  | 67 | 1 | 1 | -1 | 2 | 21 | 24 | 88 |
| 28-Apr-09 | 41 | 0 | 2 | -3 | 2 | 6 | 7 | 139 |
|  | 49 | 0 | -3 | -2 | 3 | 9 | 7 | 196 |
|  | 50 | 0 | -2 | -3 | 3 | 13 | 10 | 156 |
|  | 52 | 0 | -3 | -2 | 3 | -1 | -3 | 214 |
|  | 55 | -2 | 0 | 1 | 18 | -1 | 16 | 160 |
|  | 56 | -1 | -2 | 1 | 4 | 9 | 11 | 151 |
|  | 58 | 1 | -9 | 0 | 0 | 3 | -4 | 228 |
|  | 78 | 3 | 1 | 2 | 4 | 5 | 15 | 149 |
| 29-Apr-09 | 58 | 3 | -6 | -1 | 3 | -46 | -47 | 196 |
| 30-Apr-09 | 80 | 2 | 2 | 11 | 3 | 13 | 30 | 241 |
|  | 85 | 2 | 2 | 8 | 3 | 16 | 31 | 205 |
|  | 86 | 3 | 3 | 9 | 4 | 46 | 65 | 198 |
|  | 87 | 4 | 3 | 8 | 3 | 22 | 40 | 184 |
|  | 89 | 4 | 4 | 8 | 2 | -1 | 17 | 242 |
|  | 90 | 3 | 5 | 9 | 3 | -51 | -30 | 202 |
| TOTAL MWh |  | 7 | 7 | 6 | 27 | 52 | 100 | 1534 |

7

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BETWEEN THE FREQUENCY RANGE OF 49.5 & 49.2

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BETWEEN 49.5 & 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL O/D BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 1-May-09 | 5 | 169 | 170 | -18 | 29 | 0 | 0 | 181 |
|  | 6 | 152 | 161 | -18 | 20 | 0 | 0 | 164 |
|  | 93 | 152 | 231 | -101 | 34 | 0 | 0 | 164 |
|  | 94 | 181 | 250 | -88 | 49 | 0 | 0 | 211 |
| 2-May-09 | 1 | 271 | 232 | -13 | 68 | 0 | 0 | 287 |
|  | 2 | 216 | 205 | -25 | 58 | 0 | 0 | 238 |
| 4-May-09 | 60 | 165 | 189 | -78 | 46 | 15 | 0 | 172 |
|  | 65 | 219 | 198 | -65 | 65 | 11 | 0 | 209 |
|  | 66 | 191 | 195 | -69 | 51 | 7 | 0 | 184 |
|  | 67 | 183 | 202 | -67 | 49 | 0 | 0 | 183 |
|  | 68 | 189 | 195 | -57 | 48 | 0 | 0 | 187 |
| 5-May-09 | 70 | 182 | 230 | -19 | -10 | 0 | 0 | 201 |
| 6-May-09 | 65 | 177 | 237 | -85 | 47 | 0 | 0 | 200 |
|  | 69 | 177 | 200 | 3 | -12 | 0 | 0 | 190 |
| 8-May-09 | 66 | 157 | 163 | -45 | 47 | 0 | 0 | 165 |
|  | 69 | 189 | 128 | 12 | 37 | 0 | 0 | 178 |
| 9-May-09 | 69 | 156 | 121 | 46 | 4 | 0 | 0 | 171 |
|  | 70 | 187 | 176 | 42 | 2 | 0 | 0 | 220 |
|  | 71 | 195 | 195 | 42 | -4 | 0 | 0 | 232 |
| 11-May-09 | 69 | 223 | 208 | -13 | 38 | 0 | 0 | 234 |
| 14-May-09 | 1 | 156 | 117 | -13 | 43 | 0 | 0 | 147 |
|  | 2 | 195 | 190 | -13 | 37 | 0 | 0 | 214 |
| 16-May-09 | 64 | 193 | 234 | -75 | 47 | 0 | 0 | 206 |
| 17-May-09 | 1 | 194 | 163 | -13 | 46 | 0 | 0 | 197 |
|  | 93 | 369 | 295 | -30 | 118 | 0 | 0 | 383 |
|  | 94 | 351 | 289 | -38 | 106 | 0 | 0 | 357 |
| 18-May-09 | 66 | 211 | 171 | -39 | 67 | 46 | 0 | 245 |
|  | 93 | 329 | 192 | -18 | 155 | 0 | 0 | 329 |
| 20-May-09 | 58 | 278 | 104 | -5 | 111 | 49 | 0 | 258 |
|  | 61 | 327 | 134 | 34 | 104 | 50 | 0 | 322 |
|  | 62 | 255 | 59 | 43 | 97 | 50 | 0 | 249 |
|  | 63 | 246 | 50 | 33 | 101 | 50 | 0 | 234 |
|  | 88 | 162 | 142 | -43 | 84 | 0 | 0 | 184 |
|  | 89 | 183 | 153 | -37 | 94 | 0 | 0 | 210 |
|  | 91 | 285 | 195 | -16 | 128 | 0 | 0 | 307 |
|  | 92 | 302 | 227 | -13 | 109 | 0 | 0 | 323 |
|  | 93 | 424 | 223 | 55 | 151 | 0 | 0 | 429 |
|  | 95 | 283 | 88 | 45 | 168 | 0 | 0 | 300 |
|  | 96 | 239 | 82 | 22 | 158 | 0 | 0 | 262 |
| 21-May-09 | 1 | 416 | 166 | 105 | 178 | 0 | 0 | 450 |
|  | 4 | 443 | 236 | 64 | 143 | 0 | 0 | 443 |
|  | 56 | 397 | 303 | -32 | 93 | 33 | 0 | 397 |
|  | 58 | 431 | 229 | 17 | 131 | 35 | 0 | 412 |
|  | 59 | 312 | 183 | -49 | 141 | 35 | 0 | 310 |
|  | 78 | 364 | 258 | 94 | 12 | 0 | 0 | 364 |
|  | 80 | 248 | 129 | 93 | 29 | 0 | 0 | 251 |

8

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BETWEEN 49.5 & 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM | TOTAL O/D BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 22-May-09 | 45 | 311 | 172 | -40 | 126 | 54 | 0 | 312 |
|  | 93 | 243 | 178 | -39 | 124 | 0 | 0 | 262 |
| 23-May-09 | 59 | 174 | 97 | -5 | 76 | 0 | 0 | 168 |
| 26-May-09 | 93 | 184 | 174 | -69 | 114 | 0 | 0 | 219 |
| 27-May-09 | 93 | 324 | 268 | -37 | 144 | 0 | 0 | 375 |
|  | 94 | 201 | 165 | -35 | 122 | 0 | 0 | 253 |
|  | 96 | 219 | 197 | -54 | 128 | 0 | 0 | 271 |
| 28-May-09 | 40 | 174 | 71 | -43 | 118 | 0 | 0 | 145 |
|  | 50 | 169 | 175 | -62 | 82 | 18 | 0 | 213 |
|  | 51 | 160 | 200 | -79 | 83 | 15 | 0 | 220 |
|  | 55 | 155 | 190 | -38 | 61 | 21 | 0 | 234 |
| TOTAL MWh |  | 3410 | 2597 | -236 | 1123 | 123 | 0 | 3607 |
| TOTAL INSTANCES OF OVER DRAWAL (NO. OF BLCOKS) | 57 |  | 56 | 10 | 45 | 11 | 0 |  |

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BELOW FREQUENCY OF 49.2 HZ

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BETWEEN 49.5 & 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL O/D BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 8-May-09 | 65 | 171 | 179 | -54 | 46 | 0 | 0 | 171 |
| TOTAL MWh |  | 43 | 45 | -13 | 11 | 0 | 0 | 43 |
| TOTAL INSTANCES OF OVER DRAWAL (NO. OF BLCOKS) | 1 |  | 1 | 0 | 1 | 0 | 0 |  |

9

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BELOW FREQUENCY RANGE OF 49.5 & 49.2

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION(-) BY GENCOS WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 1-May-09 | 5 | 0 | 5 | 7 | 4 | 0 | 17 | 164 |
|  | 6 | 0 | 5 | 6 | 4 | 11 | 25 | 138 |
|  | 93 | 0 | 5 | 8 | 1 | 1 | 16 | 148 |
|  | 94 | 0 | 4 | 9 | 1 | 24 | 38 | 173 |
| 2-May-09 | 1 | 0 | -1 | 10 | 5 | 13 | 27 | 260 |
|  | 2 | 0 | 1 | 9 | 6 | 15 | 30 | 207 |
| 4-May-09 | 60 | 2 | 0 | 7 | 5 | 1 | 15 | 157 |
|  | 65 | 1 | -1 | 0 | 0 | 6 | 6 | 203 |
|  | 66 | 2 | -2 | 3 | 2 | -1 | 3 | 181 |
|  | 67 | 2 | -2 | 4 | 3 | 11 | 18 | 165 |
|  | 68 | 0 | 1 | 5 | 4 | -4 | 5 | 182 |
| 5-May-09 | 70 | 1 | -1 | 8 | 0 | 37 | 45 | 156 |
| 6-May-09 | 65 | 1 | -4 | 0 | -2 | 34 | 29 | 170 |
|  | 69 | 2 | -4 | 0 | -7 | 39 | 29 | 161 |
| 8-May-09 | 66 | 3 | -2 | 2 | 6 | 7 | 16 | 149 |
|  | 69 | 2 | -2 | 4 | 8 | -17 | -4 | 182 |
| 9-May-09 | 69 | 0 | -1 | 5 | 6 | 3 | 14 | 157 |
|  | 70 | 0 | 0 | 15 | 7 | 4 | 26 | 193 |
|  | 71 | 1 | -1 | 12 | 8 | 6 | 27 | 206 |
| 11-May-09 | 69 | 2 | 1 | 4 | 4 | 15 | 26 | 208 |
| 14-May-09 | 1 | 1 | 3 | 1 | 1 | 0 | 6 | 141 |
|  | 2 | 1 | 4 | 2 | 3 | 22 | 31 | 183 |
| 16-May-09 | 64 | -1 | 2 | 6 | 6 | 1 | 13 | 192 |
| 17-May-09 | 1 | -7 | 14 | 3 | -2 | 5 | 14 | 183 |
|  | 93 | 1 | 4 | 2 | 6 | 20 | 33 | 350 |
|  | 94 | 1 | 3 | 1 | 8 | 11 | 25 | 332 |
| 18-May-09 | 66 | 1 | 0 | 4 | 10 | 27 | 42 | 203 |
|  | 93 | 1 | 1 | 2 | 5 | 12 | 21 | 307 |
| 20-May-09 | 58 | 1 | -2 | 0 | 3 | 3 | 5 | 253 |
|  | 61 | 3 | 1 | 0 | 3 | 5 | 11 | 311 |
|  | 62 | 3 | 2 | -1 | 2 | 5 | 10 | 240 |
|  | 63 | 3 | 1 | 0 | 2 | 2 | 8 | 226 |
|  | 88 | 2 | -6 | 8 | 9 | 19 | 31 | 152 |
|  | 89 | 2 | -7 | 8 | 9 | 23 | 35 | 175 |
|  | 91 | 3 | -8 | 7 | 8 | 25 | 35 | 272 |
|  | 92 | 4 | -5 | 7 | 7 | 25 | 37 | 286 |
|  | 93 | 4 | -6 | 8 | 7 | 24 | 38 | 391 |
|  | 95 | 3 | -7 | 9 | 9 | 24 | 38 | 262 |
|  | 96 | 3 | -6 | 9 | 9 | 27 | 41 | 222 |
| 21-May-09 | 1 | 3 | -1 | 4 | 0 | 17 | 23 | 427 |
|  | 4 | 3 | -3 | 2 | 2 | 12 | 17 | 426 |
|  | 56 | 2 | -2 | 3 | 8 | 1 | 12 | 385 |
|  | 58 | 4 | -2 | 2 | 7 | 7 | 17 | 395 |
|  | 59 | 4 | 3 | 2 | 7 | 7 | 22 | 288 |
|  | 78 | 3 | -1 | 1 | 5 | 2 | 10 | 353 |
|  | 80 | 1 | 0 | 2 | 7 | 11 | 21 | 231 |
| 22-May-09 | 45 | 1 | 1 | 2 | 5 | 12 | 21 | 291 |
|  | 93 | 3 | 0 | 5 | 12 | 16 | 36 | 227 |
| 23-May-09 | 59 | 2 | -1 | 0 | 1 | -1 | 1 | 168 |
| 26-May-09 | 93 | -1 | 1 | 32 | -2 | 17 | 48 | 171 |
| 27-May-09 | 93 | 3 | 0 | 8 | 16 | -4 | 23 | 353 |
|  | 94 | 3 | 0 | 9 | 16 | -7 | 22 | 231 |
|  | 96 | 2 | -1 | 7 | 17 | -3 | 22 | 249 |
| 28-May-09 | 40 | -1 | -48 | 3 | 1 | -1 | -46 | 191 |
|  | 50 | 1 | -5 | -25 | 5 | 7 | -18 | 231 |
|  | 51 | 2 | -1 | -26 | 3 | 17 | -6 | 226 |
|  | 55 | 0 | 2 | -3 | 3 | 9 | 10 | 224 |
| TOTAL MWh |  | 21 | -17 | 55 | 70 | 151 | 280 | 3327 |

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BELOW FREQUENCY OF 49.2 HZ

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION(-) BY GENCOS WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 8-May-09 | 65 | 3 | -1 | 0 | 5 | 6 | 13 | 158 |
| TOTAL MWh |  | 1 | 0 | 0 | 1 | 2 | 3 | 40 |

10

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BETWEEN THE FREQUENCY RANGE OF 49.5 & 49.2 HZ

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BETWEEN 49.5 & 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL O/D BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 4-Jun-09 | 1 | 170 | 95 | 61 | 83 | 0 | 0 | 239 |
|  | 2 | 159 | 7 | 54 | 78 | 0 | 0 | 139 |
|  | 3 | 151 | 19 | 46 | 75 | 0 | 0 | 140 |
|  | 79 | 192 | 146 | 63 | 6 | 0 | 0 | 215 |
|  | 90 | 152 | 161 | -41 | 55 | 0 | 0 | 175 |
|  | 93 | 300 | 154 | 25 | 117 | 0 | 0 | 296 |
|  | 94 | 285 | 133 | 15 | 120 | 0 | 0 | 268 |
| 5-Jun-09 | 1 | 177 | 40 | 59 | 41 | 0 | 0 | 140 |
| 6-Jun-09 | 1 | 169 | 69 | 28 | 69 | 0 | 0 | 166 |
|  | 93 | 346 | 173 | 37 | 133 | 0 | 0 | 343 |
|  | 94 | 372 | 194 | 33 | 131 | 0 | 0 | 358 |
| 17-Jun-09 | 65 | 185 | 214 | 2 | -1 | -2 | -19 | 194 |
|  | 66 | 203 | 203 | 8 | 16 | -3 | -19 | 205 |
| 19-Jun-09 | 56 | 194 | 108 | -57 | 102 | 23 | 2 | 178 |
|  | 57 | 236 | 127 | -60 | 110 | 21 | 1 | 200 |
|  | 64 | 163 | 99 | 13 | 79 | -11 | -3 | 177 |
|  | 65 | 201 | 142 | 11 | 66 | -10 | -3 | 206 |
|  | 66 | 202 | 93 | 67 | 68 | -12 | -4 | 213 |
|  | 67 | 237 | 119 | 74 | 25 | -12 | -4 | 201 |
| 21-Jun-09 | 1 | 184 | 189 | 65 | 62 | -133 | -23 | 160 |
| 22-Jun-09 | 13 | 154 | 78 | -23 | 46 | 49 | 0 | 150 |
|  | 51 | 239 | 114 | 4 | 62 | 41 | 0 | 221 |
|  | 52 | 209 | 56 | 8 | 67 | 41 | 0 | 171 |
|  | 56 | 154 | -26 | 33 | 90 | 41 | 0 | 137 |
|  | 69 | 233 | 10 | 82 | 100 | 27 | 0 | 219 |
|  | 76 | 175 | 135 | 54 | -6 | 0 | 0 | 183 |
|  | 77 | 197 | 138 | 35 | 22 | 0 | 0 | 195 |
|  | 78 | 190 | 172 | 16 | -1 | 0 | 0 | 187 |
|  | 88 | 177 | 177 | -62 | 57 | 0 | 0 | 172 |
| 23-Jun-09 | 68 | 165 | -3 | 60 | 86 | 0 | 0 | 143 |
|  | 69 | 302 | -25 | 145 | 142 | 0 | 0 | 262 |
|  | 70 | 257 | 13 | 77 | 117 | 0 | 0 | 208 |
|  | 79 | 163 | 123 | 49 | 0 | 0 | 0 | 172 |
|  | 80 | 224 | 165 | 55 | 6 | 0 | 0 | 226 |
|  | 81 | 315 | 222 | 49 | 38 | 0 | 0 | 309 |
|  | 92 | 241 | 210 | -33 | 54 | 0 | 0 | 231 |
| 24-Jun-09 | 1 | 244 | 122 | 8 | 84 | 0 | 0 | 214 |
|  | 6 | 183 | 132 | -10 | 48 | 0 | 0 | 170 |
|  | 64 | 163 | 154 | -27 | -22 | 0 | 0 | 105 |
| 25-Jun-09 | 1 | 232 | 6 | 100 | 105 | 0 | 0 | 212 |
|  | 43 | 162 | 99 | 8 | 34 | 13 | 0 | 154 |
|  | 67 | 189 | 172 | -87 | 72 | 34 | 0 | 192 |
|  | 68 | 153 | 128 | -59 | 52 | 29 | 0 | 151 |
|  | 69 | 254 | 71 | 24 | 129 | 22 | 0 | 246 |
|  | 70 | 171 | 37 | 13 | 118 | 12 | 0 | 180 |
|  | 76 | 210 | 209 | 22 | -2 | 0 | 0 | 229 |
|  | 77 | 168 | 182 | 56 | -50 | 0 | 0 | 189 |
|  | 78 | 171 | 191 | 62 | -67 | 0 | 0 | 186 |
|  | 79 | 256 | 228 | 75 | -35 | 0 | 0 | 268 |

11

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BETWEEN 49.5 & 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL O/D BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 25-Jun-09 | 84 | 208 | 189 | 67 | -28 | 0 | 0 | 227 |
| 26-Jun-09 | 5 | 216 | 106 | 26 | 73 | 0 | 0 | 205 |
|  | 6 | 248 | 151 | 26 | 61 | 0 | 0 | 239 |
|  | 7 | 268 | 170 | 21 | 73 | 0 | 0 | 264 |
|  | 8 | 186 | 91 | 23 | 83 | 0 | 0 | 198 |
|  | 9 | 211 | 118 | 13 | 77 | 0 | 0 | 209 |
|  | 10 | 247 | 162 | 19 | 73 | 0 | 0 | 254 |
|  | 11 | 231 | 159 | 7 | 61 | 0 | 0 | 227 |
|  | 12 | 214 | 153 | 3 | 51 | 0 | 0 | 207 |
|  | 17 | 282 | 144 | -10 | 124 | 0 | 0 | 258 |
|  | 18 | 268 | 128 | -10 | 115 | 0 | 0 | 233 |
|  | 19 | 276 | 141 | -10 | 114 | 0 | 0 | 244 |
|  | 20 | 257 | 134 | -10 | 105 | 0 | 0 | 229 |
|  | 34 | 166 | 147 | -14 | 34 | 0 | 0 | 167 |
|  | 36 | 165 | 158 | -14 | 19 | 0 | 0 | 163 |
|  | 40 | 257 | 278 | -91 | 28 | 31 | 0 | 246 |
|  | 50 | 161 | 50 | 26 | 45 | 41 | 0 | 162 |
|  | 51 | 299 | 150 | 42 | 66 | 36 | 0 | 294 |
|  | 52 | 314 | 168 | 44 | 43 | 34 | 0 | 289 |
|  | 53 | 239 | 127 | 35 | 27 | 42 | 0 | 231 |
|  | 55 | 226 | 103 | 34 | 37 | 32 | 0 | 206 |
|  | 56 | 264 | 144 | 6 | 65 | 34 | 0 | 248 |
|  | 59 | 190 | 119 | -91 | 112 | 39 | 0 | 180 |
|  | 60 | 218 | 116 | -65 | 126 | 36 | 0 | 213 |
|  | 61 | 352 | 116 | 59 | 113 | 33 | 0 | 322 |
|  | 65 | 277 | 173 | 9 | 70 | 35 | 0 | 287 |
|  | 79 | 151 | 141 | 59 | -38 | 0 | 0 | 162 |
| 27-Jun-09 | 1 | 206 | 82 | 61 | 55 | 0 | 0 | 198 |
|  | 6 | 191 | 95 | 6 | 82 | 0 | 0 | 183 |
|  | 9 | 192 | 67 | 39 | 82 | 0 | 0 | 187 |
|  | 10 | 171 | 62 | 31 | 68 | 0 | 0 | 161 |
|  | 16 | 180 | 148 | -10 | 32 | 0 | 0 | 170 |
|  | 18 | 187 | 137 | -10 | 44 | 0 | 0 | 171 |
|  | 62 | 370 | 269 | 52 | 54 | 0 | 0 | 375 |
|  | 63 | 275 | 282 | -48 | 39 | 0 | 0 | 274 |
|  | 64 | 268 | 272 | -28 | 30 | 0 | 0 | 274 |
|  | 65 | 298 | 292 | -4 | 13 | 0 | 0 | 301 |
|  | 83 | 201 | 204 | 42 | -41 | 0 | 0 | 205 |
|  | 84 | 221 | 173 | 57 | -24 | 0 | 0 | 206 |
|  | 90 | 198 | 223 | -101 | 58 | 0 | 0 | 179 |
|  | 93 | 331 | 165 | -5 | 141 | 0 | 0 | 301 |
|  | 94 | 335 | 163 | 12 | 151 | 0 | 0 | 326 |
|  | 95 | 293 | 144 | -6 | 145 | 0 | 0 | 283 |
|  | 96 | 248 | 148 | -18 | 127 | 0 | 0 | 257 |
| 28-Jun-09 | 2 | 448 | 252 | 94 | 81 | 0 | 0 | 427 |
|  | 3 | 396 | 237 | 79 | 69 | 0 | 0 | 385 |
|  | 4 | 366 | 227 | 69 | 57 | 0 | 0 | 352 |
|  | 5 | 353 | 203 | 54 | 88 | 0 | 0 | 345 |
|  | 23 | 188 | 196 | -54 | 38 | 0 | 0 | 180 |
|  | 24 | 192 | 199 | -47 | 34 | 0 | 0 | 186 |
|  | 93 | 288 | 176 | 32 | 67 | 0 | 0 | 274 |
|  | 94 | 364 | 261 | 32 | 61 | 0 | 0 | 353 |
|  | 95 | 329 | 244 | 20 | 53 | 0 | 0 | 318 |

12

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BETWEEN 49.5 & 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL O/D BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 29-Jun-09 | 1 | 272 | 178 | 61 | -22 | 0 | 0 | 217 |
|  | 2 | 241 | 173 | 55 | -31 | 0 | 0 | 197 |
|  | 3 | 216 | 166 | 46 | -41 | 0 | 0 | 171 |
|  | 5 | 194 | 170 | 31 | -30 | 0 | 0 | 171 |
|  | 44 | 262 | 266 | -28 | 6 | 10 | 0 | 254 |
|  | 45 | 219 | 211 | -21 | 9 | 16 | 0 | 214 |
|  | 46 | 260 | 222 | -10 | 19 | 16 | 0 | 247 |
|  | 47 | 255 | 203 | -1 | 25 | 15 | 0 | 242 |
|  | 52 | 193 | 149 | -7 | 15 | 15 | 0 | 171 |
|  | 56 | 158 | 165 | -77 | 46 | 32 | 0 | 166 |
|  | 57 | 239 | 223 | -44 | 33 | 32 | 0 | 244 |
|  | 70 | 226 | 172 | 63 | -15 | 2 | 0 | 222 |
|  | 71 | 203 | 170 | 62 | -16 | 0 | 0 | 216 |
|  | 75 | 244 | 171 | 75 | 2 | 0 | 0 | 248 |
| TOTAL MWh |  | 6723 | 4293 | 499 | 1528 | 175 | -18 | 6477 |
| TOTAL INSTANCES OF OVER DRAWAL (NO. OF BLCOKS) | 116 |  | 104 | 41 | 74 | 23 | 0 |  |

13

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BETWEEN THE FREQUENCY RANGE OF 49.5 & 49.2 HZ

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION(-) BY GENCOS WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 4-Jun-09 | 1 | -1 | -1 | -4 | 88 | 13 | 95 | 144 |
|  | 2 | -1 | -1 | -4 | 6 | 16 | 17 | 122 |
|  | 3 | -2 | -1 | -2 | 6 | 15 | 17 | 123 |
|  | 79 | 0 | 0 | 6 | 4 | -2 | 8 | 207 |
|  | 90 | 2 | 1 | 8 | 6 | 20 | 36 | 139 |
|  | 93 | 0 | 1 | 8 | 6 | 13 | 28 | 268 |
|  | 94 | 1 | 0 | 8 | 6 | 9 | 24 | 244 |
| 5-Jun-09 | 1 | 0 | 0 | -8 | 6 | 11 | 10 | 130 |
| 6-Jun-09 | 1 | 17 | 2 | 3 | 1 | 2 | 26 | 140 |
|  | 93 | 0 | 2 | 7 | 2 | 11 | 23 | 320 |
|  | 94 | -3 | 0 | 6 | 1 | 13 | 17 | 341 |
| 17-Jun-09 | 65 | 1 | 1 | 6 | 10 | -7 | 9 | 185 |
|  | 66 | 0 | 0 | 6 | 9 | -1 | 15 | 190 |
| 19-Jun-09 | 56 | -1 | 1 | 5 | 5 | 5 | 14 | 163 |
|  | 57 | 0 | 1 | 5 | 8 | 2 | 17 | 182 |
|  | 64 | 1 | 2 | 7 | 10 | -2 | 18 | 158 |
|  | 65 | 2 | 1 | 8 | 9 | 9 | 30 | 176 |
|  | 66 | 5 | 1 | 7 | 9 | 6 | 28 | 185 |
|  | 67 | 6 | 0 | 9 | 10 | -10 | 15 | 186 |
| 21-Jun-09 | 1 | 2 | 0 | 2 | 3 | 13 | 20 | 140 |
| 22-Jun-09 | 13 | -3 | 0 | 7 | 8 | 0 | 11 | 139 |
|  | 51 | -1 | -1 | -4 | -1 | 4 | -3 | 224 |
|  | 52 | 0 | -2 | -2 | 0 | 9 | 4 | 167 |
|  | 56 | 0 | -2 | 1 | 1 | 1 | 1 | 136 |
|  | 69 | 5 | -1 | 8 | 5 | 32 | 49 | 170 |
|  | 76 | 3 | -1 | 9 | 5 | 102 | 117 | 66 |
|  | 77 | 3 | 0 | 3 | 5 | 106 | 117 | 78 |
|  | 78 | 3 | -1 | 3 | 6 | 114 | 126 | 61 |
|  | 88 | 3 | 0 | 4 | 7 | 11 | 26 | 146 |
| 23-Jun-09 | 68 | -2 | -4 | 4 | 9 | 35 | 42 | 101 |
|  | 69 | -3 | -5 | 7 | 9 | 34 | 42 | 219 |
|  | 70 | -2 | -5 | 8 | 9 | 42 | 53 | 155 |
|  | 79 | -1 | -2 | 9 | 10 | 101 | 116 | 56 |
|  | 80 | -1 | -1 | 10 | 12 | 106 | 125 | 101 |
|  | 81 | -1 | -2 | 10 | 9 | 110 | 126 | 183 |
|  | 92 | -3 | -2 | 5 | 10 | 19 | 31 | 200 |
| 24-Jun-09 | 1 | -1 | -2 | 7 | 5 | 21 | 30 | 184 |
|  | 6 | 1 | -2 | 11 | 7 | 9 | 25 | 145 |
|  | 64 | -3 | -2 | 6 | 9 | 4 | 14 | 91 |
| 25-Jun-09 | 1 | 2 | 0 | 3 | 10 | 13 | 26 | 185 |
|  | 43 | 3 | -1 | 13 | 7 | 8 | 30 | 124 |
|  | 67 | -1 | -3 | 9 | 6 | 6 | 17 | 174 |
|  | 68 | -1 | -2 | 9 | 6 | 10 | 22 | 129 |
|  | 69 | -1 | -1 | 12 | 6 | 5 | 21 | 225 |
|  | 70 | -1 | -2 | 11 | 4 | 3 | 16 | 164 |
|  | 76 | 1 | -4 | 15 | 9 | -9 | 13 | 215 |
|  | 77 | 1 | -4 | 16 | 10 | -12 | 11 | 178 |
|  | 78 | 2 | -2 | 15 | 9 | -20 | 3 | 183 |
|  | 79 | 1 | -2 | 15 | 8 | -2 | 21 | 247 |
|  | 84 | 3 | -2 | 15 | 7 | -6 | 18 | 209 |
| 26-Jun-09 | 5 | -1 | -1 | -3 | 11 | 6 | 12 | 192 |
|  | 6 | -1 | 0 | 9 | 9 | 13 | 30 | 209 |
|  | 7 | -3 | -1 | 10 | 9 | 6 | 20 | 244 |
|  | 8 | -3 | -1 | 11 | 10 | 7 | 24 | 173 |
|  | 9 | -3 | 0 | 12 | 6 | 12 | 26 | 183 |
|  | 10 | -2 | -1 | 10 | 7 | 9 | 24 | 230 |
|  | 11 | -2 | 1 | 5 | 6 | 7 | 16 | 211 |
|  | 12 | -1 | 0 | 6 | 6 | 9 | 19 | 188 |
|  | 17 | -1 | 0 | -15 | 3 | 2 | -11 | 269 |
|  | 18 | 0 | -1 | -15 | 1 | 0 | -15 | 247 |

14

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION(-) BY GENCOS WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
| 26-Jun-09 |  | RPH | IP | GT | PPCL | BTPS |  |  |
|  | 19 | -1 | 0 | -15 | 2 | -1 | -15 | 259 |
|  | 20 | -1 | -1 | -15 | 2 | -5 | -20 | 248 |
|  | 34 | 2 | -2 | 7 | 2 | 8 | 17 | 150 |
|  | 36 | 2 | -3 | 6 | 1 | 6 | 13 | 150 |
|  | 40 | 0 | -5 | 4 | 5 | 12 | 17 | 229 |
|  | 50 | -3 | 0 | 6 | 7 | -16 | -5 | 167 |
|  | 51 | -3 | 0 | 4 | 5 | 1 | 8 | 286 |
|  | 52 | -2 | 0 | 4 | 4 | 3 | 8 | 282 |
|  | 53 | -3 | 1 | 5 | 9 | 5 | 17 | 214 |
|  | 55 | -1 | 1 | -1 | 6 | 4 | 8 | 198 |
|  | 56 | -2 | 0 | 2 | 7 | 5 | 11 | 237 |
|  | 59 | 0 | -1 | 1 | 11 | 4 | 15 | 165 |
|  | 60 | -1 | 0 | 0 | 10 | 8 | 16 | 197 |
|  | 61 | -2 | -1 | 2 | 12 | 7 | 19 | 302 |
|  | 65 | 0 | -3 | 0 | 9 | 9 | 16 | 271 |
|  | 79 | -1 | -3 | 4 | 6 | -1 | 6 | 156 |
| 27-Jun-09 | 1 | -1 | -1 | 7 | 7 | 2 | 15 | 183 |
|  | 6 | 1 | -2 | 6 | 7 | 3 | 16 | 167 |
|  | 9 | 1 | 0 | 9 | 6 | 7 | 23 | 164 |
|  | 10 | 1 | 1 | 8 | 5 | 6 | 22 | 139 |
|  | 16 | 1 | 0 | 6 | 2 | 3 | 12 | 157 |
|  | 18 | 2 | 0 | 2 | 1 | 3 | 8 | 162 |
|  | 62 | -1 | -2 | 7 | 10 | 5 | 19 | 356 |
|  | 63 | -1 | -5 | 8 | 11 | 2 | 15 | 258 |
|  | 64 | 0 | -2 | 8 | 10 | 4 | 20 | 254 |
|  | 65 | -1 | -6 | 6 | 8 | 5 | 12 | 289 |
|  | 83 | -2 | -3 | 12 | 9 | 1 | 17 | 189 |
|  | 84 | -4 | -4 | 14 | 11 | -2 | 15 | 191 |
|  | 90 | -1 | -5 | 6 | 12 | 15 | 27 | 152 |
|  | 93 | -3 | -3 | 4 | 9 | 11 | 18 | 283 |
|  | 94 | -3 | -3 | -3 | 10 | 13 | 14 | 312 |
|  | 95 | -2 | -2 | 1 | 11 | 6 | 13 | 270 |
|  | 96 | -1 | -3 | 0 | 10 | 13 | 19 | 239 |
| 28-Jun-09 | 2 | -2 | -2 | -3 | 7 | 13 | 13 | 414 |
|  | 3 | -2 | -2 | -2 | 7 | 13 | 13 | 372 |
|  | 4 | -2 | -2 | -2 | 7 | 16 | 17 | 336 |
|  | 5 | -2 | -4 | -2 | 7 | 12 | 11 | 334 |
|  | 23 | 0 | -2 | 2 | 3 | 3 | 7 | 173 |
|  | 24 | 1 | -2 | 1 | 3 | -1 | 2 | 184 |
|  | 93 | -4 | 0 | 4 | 8 | 19 | 28 | 247 |
|  | 94 | -4 | -1 | 4 | 9 | 21 | 28 | 325 |
|  | 95 | -4 | 0 | 5 | 5 | 17 | 23 | 295 |
| 29-Jun-09 | 1 | -4 | -1 | -29 | 2 | -14 | -46 | 263 |
|  | 2 | -4 | -1 | -29 | 1 | 13 | -19 | 216 |
|  | 3 | -4 | -2 | -19 | 1 | 24 | 1 | 170 |
|  | 5 | -3 | -2 | -1 | 2 | 26 | 22 | 149 |
|  | 44 | -1 | -1 | 1 | 11 | 19 | 29 | 224 |
|  | 45 | -1 | -3 | -3 | 15 | 2 | 9 | 205 |
|  | 46 | -2 | -3 | 1 | 10 | -12 | -5 | 252 |
|  | 47 | -2 | 2 | 3 | 10 | 10 | 22 | 220 |
|  | 52 | -2 | 1 | -11 | 5 | 0 | -8 | 178 |
|  | 56 | -3 | 0 | -1 | 9 | 7 | 13 | 153 |
|  | 57 | -2 | 2 | -2 | 7 | 17 | 23 | 221 |
|  | 70 | 7 | 0 | 1 | 3 | -2 | 9 | 213 |
|  | 71 | 7 | -1 | 4 | 4 | -14 | 1 | 215 |
|  | 75 | 5 | 0 | -2 | 3 | 9 | 15 | 233 |
| TOTAL MWh |  | -9 | -33 | 98 | 213 | 353 | 623 | 5854 |

15

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BETWEEN THE FREQUENCY RANGE OF 49.5 & 49.2 HZ

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BETWEEN 49.5 & 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL O/D BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 4-Jul-09 | 93 | 246 | 165 | 43 | 67 | 0 | 0 | 275 |
|  | 94 | 243 | 161 | 45 | 74 | 0 | 0 | 281 |
|  | 95 | 159 | 130 | 33 | 62 | 0 | 0 | 226 |
| 6-Jul-09 | 93 | 192 | 16 | 97 | 56 | 18 | 4 | 191 |
| 7-Jul-09 | 44 | 183 | 102 | 18 | -34 | 79 | 0 | 165 |
|  | 45 | 158 | 25 | 18 | 6 | 86 | 10 | 145 |
|  | 47 | 185 | 8 | 8 | 60 | 86 | 7 | 169 |
|  | 50 | 219 | 18 | 23 | 86 | 83 | 5 | 214 |
|  | 52 | 268 | 52 | 20 | 76 | 100 | 8 | 256 |
|  | 57 | 250 | 49 | 30 | 41 | 99 | 9 | 228 |
|  | 58 | 256 | 48 | 36 | 53 | 100 | 10 | 248 |
|  | 59 | 306 | 58 | 37 | 79 | 95 | 10 | 279 |
|  | 62 | 178 | -74 | 56 | 60 | 101 | 11 | 154 |
|  | 63 | 182 | -57 | 64 | 54 | 102 | 11 | 173 |
|  | 64 | 203 | -26 | 51 | 52 | 106 | 10 | 193 |
|  | 67 | 173 | -35 | 20 | 67 | 102 | 10 | 165 |
|  | 68 | 195 | -15 | 41 | 53 | 104 | 10 | 192 |
|  | 69 | 503 | 168 | 149 | 54 | 103 | 9 | 484 |
| 8-Jul-09 | 44 | 161 | 79 | 54 | -4 | 31 | -8 | 151 |
|  | 47 | 169 | 0 | 78 | -14 | 95 | 12 | 170 |
|  | 48 | 179 | 1 | 73 | 6 | 93 | 11 | 185 |
|  | 57 | 197 | 55 | 62 | 31 | 38 | -10 | 176 |
|  | 58 | 203 | 26 | 70 | 52 | 45 | -9 | 184 |
|  | 59 | 171 | -54 | 60 | 64 | 70 | -7 | 134 |
|  | 63 | 306 | -2 | 126 | 62 | 110 | 0 | 296 |
|  | 64 | 372 | 58 | 135 | 47 | 109 | 10 | 360 |
|  | 66 | 429 | 136 | 127 | 28 | 109 | 9 | 410 |
|  | 68 | 354 | 101 | 118 | 7 | 110 | 9 | 345 |
|  | 70 | 395 | 121 | 147 | -6 | 17 | -15 | 265 |
|  | 71 | 331 | 140 | 143 | -5 | 3 | -16 | 266 |
|  | 74 | 285 | 172 | 125 | -10 | -33 | -17 | 238 |
|  | 75 | 177 | 92 | 117 | -18 | -39 | -17 | 136 |
|  | 80 | 213 | 131 | 90 | 35 | -60 | -14 | 182 |
|  | 81 | 191 | 127 | 87 | 42 | -66 | -13 | 176 |
|  | 83 | 232 | 133 | 74 | 80 | -77 | -13 | 197 |
|  | 84 | 250 | 136 | 75 | 87 | -80 | -12 | 205 |
|  | 86 | 165 | 130 | 13 | 99 | -87 | -13 | 142 |
|  | 87 | 186 | 118 | 18 | 104 | -88 | -13 | 139 |
|  | 88 | 231 | 128 | 28 | 107 | -89 | -14 | 160 |
|  | 89 | 231 | 124 | 54 | 85 | -90 | -14 | 159 |
|  | 90 | 214 | 78 | 58 | 80 | -93 | -15 | 108 |
|  | 94 | 420 | 137 | 133 | 87 | 26 | 6 | 388 |
| 16-Jul-09 | 90 | 174 | 43 | 87 | 87 | 0 | 0 | 216 |
|  | 93 | 334 | 122 | 164 | 147 | 0 | 0 | 433 |
|  | 94 | 336 | 96 | 162 | 165 | 0 | 0 | 423 |
| 17-Jul-09 | 93 | 278 | 77 | 132 | 167 | 0 | 0 | 377 |
|  | 94 | 266 | 83 | 130 | 162 | 0 | 0 | 375 |
| 18-Jul-09 | 2 | 175 | 66 | 78 | 128 | 0 | 0 | 272 |
| 19-Jul-09 | 88 | 176 | 86 | 13 | 81 | 0 | 0 | 180 |
| 20-Jul-09 | 71 | 240 | 40 | 95 | 101 | 33 | 0 | 270 |
|  | 74 | 417 | 206 | 116 | 82 | 9 | 0 | 413 |
|  | 76 | 403 | 189 | 113 | 84 | 0 | 0 | 387 |
|  | 80 | 150 | 25 | 105 | 9 | 0 | 0 | 139 |
|  | 82 | 204 | 85 | 82 | 28 | 0 | 0 | 195 |
|  | 83 | 159 | 97 | 51 | 21 | 0 | 0 | 168 |
|  | 87 | 197 | 79 | 49 | 55 | 0 | 0 | 182 |
|  | 92 | 311 | 135 | 137 | 83 | 0 | 0 | 356 |
|  | 94 | 331 | 135 | 176 | 175 | 0 | 0 | 486 |
|  | 95 | 327 | 135 | 165 | 174 | 0 | 0 | 474 |
|  | 96 | 287 | 120 | 156 | 165 | 0 | 0 | 441 |

16

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BETWEEN 49.5 & 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL O/D BY DISCOM |
| --- | --- | --- | --- | --- |
| 21-Jul-09 | 3 | 357 | 233 | 107 | 113 | 0 | 0 | 452 |
|  | 4 | 323 | 218 | 98 | 103 | 0 | 0 | 419 |
|  | 6 | 194 | 106 | 82 | 94 | 0 | 0 | 283 |
|  | 11 | 184 | 143 | 49 | 55 | 0 | 0 | 247 |
|  | 40 | 168 | 104 | -24 | 61 | 49 | 0 | 189 |
|  | 44 | 254 | 155 | 14 | 119 | 57 | 0 | 346 |
|  | 46 | 154 | 98 | 18 | 118 | 62 | 0 | 295 |
|  | 47 | 153 | 112 | -2 | 134 | 63 | 0 | 308 |
|  | 72 | 171 | 60 | 79 | 39 | 13 | 0 | 191 |
|  | 83 | 151 | 83 | 81 | 6 | 0 | 0 | 170 |
| 25-Jul-09 | 93 | 254 | 236 | 117 | 62 | 0 | -1 | 414 |
|  | 94 | 236 | 232 | 111 | 54 | 0 | -1 | 395 |
| 26-Jul-09 | 88 | 166 | 114 | 44 | 16 | 0 | 0 | 174 |
|  | 89 | 203 | 93 | 66 | 45 | 0 | 0 | 205 |
|  | 90 | 269 | 137 | 70 | 51 | 0 | 0 | 259 |
|  | 91 | 267 | 138 | 72 | 51 | 0 | 0 | 261 |
|  | 93 | 358 | 137 | 133 | 130 | 0 | 0 | 400 |
| 27-Jul-09 | 59 | 210 | 76 | 43 | 81 | 72 | 0 | 272 |
| 30-Jul-09 | 43 | 152 | 72 | 2 | 100 | 64 | 1 | 238 |
|  | 44 | 168 | 39 | 6 | 97 | 60 | 0 | 202 |
|  | 62 | 167 | -57 | 63 | 117 | 76 | 0 | 199 |
|  | 74 | 245 | 14 | 117 | 92 | 20 | 0 | 244 |
|  | 76 | 192 | 6 | 122 | 78 | 6 | 0 | 212 |
|  | 77 | 246 | 66 | 117 | 59 | 0 | 0 | 241 |
|  | 78 | 277 | 96 | 127 | 62 | 0 | 0 | 285 |
|  | 79 | 280 | 67 | 141 | 79 | 0 | 0 | 288 |
|  | 80 | 273 | 47 | 151 | 90 | 0 | 0 | 288 |
|  | 81 | 189 | -1 | 137 | 66 | 0 | 0 | 203 |
|  | 82 | 234 | 66 | 132 | 53 | 0 | 0 | 251 |
|  | 83 | 303 | 126 | 128 | 57 | 0 | 0 | 311 |
|  | 84 | 309 | 132 | 125 | 46 | 0 | 0 | 303 |
|  | 88 | 232 | 41 | 74 | 132 | 0 | 0 | 247 |
|  | 89 | 277 | 52 | 97 | 143 | 0 | 0 | 292 |
|  | 90 | 373 | 130 | 103 | 151 | 0 | 0 | 385 |
|  | 91 | 363 | 92 | 110 | 167 | 0 | 0 | 369 |
|  | 93 | 190 | -55 | 148 | 211 | 0 | 0 | 304 |
|  | 94 | 154 | -61 | 141 | 198 | 0 | 0 | 278 |
| 31-Jul-09 | 65 | 168 | -15 | 35 | 109 | 55 | 0 | 184 |
|  | 66 | 160 | -17 | 34 | 108 | 46 | 0 | 171 |
|  | 67 | 189 | -1 | 46 | 114 | 46 | 0 | 206 |
|  | 71 | 298 | -18 | 136 | 119 | 38 | 0 | 275 |
|  | 76 | 203 | -26 | 126 | 92 | 0 | 0 | 192 |
|  | 88 | 169 | 7 | 50 | 119 | 0 | 0 | 176 |
|  | 94 | 319 | -1 | 146 | 219 | 0 | 0 | 364 |
|  | 96 | 205 | -34 | 118 | 187 | 0 | 0 | 270 |
| TOTAL MWh |  | 6333 | 2005 | 2189 | 2081 | 547 | -10 | 6812 |
| TOTAL INSTANCES OF OVERDRAWAL (NO. OF BLCOKS) | 105 |  | 66 | 86 | 87 | 40 | 20 |  |

17

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BELOW FREQUENCY OF 49.2 HZ

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BETWEEN 49.5 & 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL O/D BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 7-Jul-09 | 45 | 204 | 35 | -13 | 67 | 87 | 10 | 186 |
|  | 67 | 286 | 114 | 3 | 38 | 97 | 8 | 260 |
|  | 72 | 292 | 106 | 84 | 27 | 66 | 6 | 289 |
| 8-Jul-09 | 79 | 200 | 125 | 74 | 61 | -74 | -14 | 171 |
| 20-Jul-09 | 81 | 153 | 94 | 52 | 12 | 0 | 0 | 158 |
|  | 85 | 234 | 96 | 63 | 71 | 0 | 0 | 229 |
|  | 86 | 239 | 54 | 121 | 103 | 0 | 0 | 277 |
|  | 87 | 302 | 75 | 144 | 121 | 0 | 0 | 340 |
|  | 90 | 342 | 144 | 182 | 174 | 0 | 0 | 500 |
| 21-Jul-09 | 2 | 236 | 115 | 94 | 99 | 0 | 0 | 308 |
|  | 38 | 152 | 108 | -8 | 108 | 40 | 0 | 248 |
| TOTAL MWh |  | 660 | 267 | 199 | 220 | 54 | 2 | 742 |
| TOTAL INSTANCES OF OVERDRAWAL (NO. OF BLCOKS) | 11 |  | 9 | 8 | 8 | 4 | 3 |  |

18

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BETWEEN THE FREQUENCY RANGE OF 49.5 & 49.2 HZ

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION(-) BY GENCOS WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 4-Jul-09 | 93 | 0 | -3 | 6 | 9 | 5 | 17 | 258 |
|  | 94 | 1 | -2 | 6 | 11 | 9 | 24 | 257 |
|  | 95 | 1 | -1 | -21 | 11 | 11 | 2 | 224 |
| 6-Jul-09 | 93 | 1 | 0 | 9 | 13 | 9 | 33 | 159 |
| 7-Jul-09 | 44 | 0 | -3 | 3 | 4 | 2 | 5 | 159 |
|  | 45 | 1 | -2 | 5 | 5 | -3 | 7 | 138 |
|  | 47 | 0 | 0 | 3 | 2 | -32 | -26 | 196 |
|  | 50 | 0 | -3 | 1 | 6 | 37 | 41 | 173 |
|  | 52 | 0 | -2 | 2 | 7 | 9 | 17 | 240 |
|  | 57 | 1 | 0 | 5 | 5 | -4 | 7 | 221 |
|  | 58 | 1 | 0 | 5 | 4 | 3 | 13 | 235 |
|  | 59 | -1 | 0 | 5 | 4 | 0 | 8 | 271 |
|  | 62 | 2 | 0 | -1 | 6 | -2 | 6 | 148 |
|  | 63 | 1 | 1 | 3 | 6 | 6 | 16 | 157 |
|  | 64 | 2 | -1 | 6 | 5 | 3 | 15 | 177 |
|  | 67 | 3 | 2 | 7 | 2 | 2 | 17 | 148 |
|  | 68 | 3 | 4 | 6 | 2 | 1 | 17 | 175 |
|  | 69 | 3 | 2 | 8 | 4 | 0 | 18 | 466 |
| 8-Jul-09 | 44 | -1 | -9 | 6 | 6 | 9 | 10 | 141 |
|  | 47 | -3 | 3 | 9 | 6 | 13 | 28 | 142 |
|  | 48 | -3 | 2 | 8 | 6 | 14 | 26 | 159 |
|  | 57 | -3 | 1 | 4 | 3 | 4 | 8 | 168 |
|  | 58 | -3 | 0 | 2 | 2 | 6 | 7 | 177 |
|  | 59 | -2 | 1 | 6 | 4 | 4 | 12 | 122 |
|  | 63 | -1 | 2 | 5 | 3 | 0 | 8 | 288 |
|  | 64 | -1 | 1 | 6 | 3 | 5 | 13 | 346 |
|  | 66 | 0 | 2 | 5 | 3 | 6 | 15 | 394 |
|  | 68 | 1 | 2 | 5 | 2 | 18 | 28 | 317 |
|  | 70 | 1 | 1 | 5 | 1 | 19 | 27 | 237 |
|  | 71 | 1 | 2 | 6 | 1 | 17 | 27 | 238 |
|  | 74 | 3 | 1 | 6 | -1 | 13 | 21 | 218 |
|  | 75 | 2 | 1 | 5 | -2 | 16 | 22 | 114 |
|  | 80 | -2 | -1 | 9 | 7 | 22 | 35 | 147 |
|  | 81 | -5 | 1 | 8 | 7 | 24 | 35 | 141 |
|  | 83 | 2 | 2 | 1 | 8 | 11 | 24 | 172 |
|  | 84 | 3 | 0 | -3 | 9 | 1 | 10 | 195 |
|  | 86 | 0 | -5 | -6 | 9 | 12 | 9 | 132 |
|  | 87 | -1 | -3 | -6 | 10 | 15 | 15 | 124 |
|  | 88 | -1 | -4 | -5 | 10 | 14 | 14 | 146 |
|  | 89 | 0 | -4 | -4 | 8 | 11 | 11 | 148 |
|  | 90 | -2 | 0 | -5 | 7 | 7 | 7 | 100 |
|  | 94 | -1 | -2 | 7 | -1 | 3 | 6 | 382 |
| 16-Jul-09 | 90 | 0 | 4 | 5 | 4 | 14 | 26 | 191 |
|  | 93 | 1 | 5 | 31 | 4 | 13 | 53 | 380 |
|  | 94 | 0 | 2 | 32 | 5 | 15 | 54 | 370 |
| 17-Jul-09 | 93 | 1 | 4 | 4 | -1 | 5 | 13 | 364 |
|  | 94 | 1 | 2 | 5 | 0 | 5 | 14 | 362 |
| 18-Jul-09 | 2 | 0 | 4 | 6 | 2 | 17 | 28 | 243 |
| 19-Jul-09 | 88 | 0 | 1 | 2 | 4 | 7 | 13 | 167 |
| 20-Jul-09 | 71 | 1 | -2 | 7 | 3 | -19 | -10 | 280 |
|  | 74 | 1 | 0 | 6 | 3 | -1 | 9 | 405 |
|  | 76 | 1 | 0 | 5 | 3 | -13 | -5 | 392 |
|  | 80 | 0 | 0 | 1 | 2 | -6 | -4 | 143 |
|  | 82 | -1 | 0 | 0 | 1 | 3 | 3 | 191 |
|  | 83 | 1 | 4 | 3 | 1 | 3 | 11 | 157 |
|  | 87 | 0 | 3 | 5 | 1 | -4 | 5 | 177 |
|  | 92 | 2 | 1 | 3 | 2 | 19 | 27 | 329 |
|  | 94 | 0 | 0 | 4 | 1 | 23 | 26 | 460 |
|  | 95 | 0 | 1 | 5 | 1 | 19 | 26 | 448 |
|  | 96 | -1 | 0 | 6 | 1 | 19 | 25 | 416 |

19

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION(-) BY GENCOS WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 21-Jul-09 | 3 | 0 | 1 | 6 | 2 | 8 | 18 | 434 |
|  | 4 | -1 | 2 | 7 | 3 | 10 | 20 | 399 |
|  | 6 | -3 | 3 | 7 | 3 | 20 | 29 | 253 |
|  | 11 | 0 | 2 | 9 | 2 | 7 | 20 | 227 |
|  | 40 | -1 | 2 | 30 | 0 | 4 | 35 | 155 |
|  | 44 | -2 | 3 | 32 | 1 | -2 | 32 | 315 |
|  | 46 | 0 | -5 | 38 | 4 | 16 | 52 | 243 |
|  | 47 | 0 | 3 | 43 | 6 | 14 | 66 | 241 |
|  | 72 | 0 | 1 | 3 | 0 | -28 | -24 | 215 |
|  | 83 | -6 | -2 | -2 | 0 | 20 | 10 | 160 |
| 25-Jul-09 | 93 | 3 | 1 | 3 | 6 | 9 | 22 | 392 |
|  | 94 | 3 | 3 | 1 | 5 | 3 | 16 | 379 |
| 26-Jul-09 | 88 | 1 | -2 | 5 | 4 | 18 | 26 | 147 |
|  | 89 | 1 | -1 | 1 | 4 | 21 | 26 | 179 |
|  | 90 | 2 | -1 | -1 | 3 | 6 | 8 | 250 |
|  | 91 | 2 | 0 | -1 | 5 | 12 | 17 | 244 |
|  | 93 | 3 | 0 | 0 | 4 | 5 | 12 | 388 |
| 27-Jul-09 | 59 | -10 | -4 | -2 | 2 | 1 | -15 | 287 |
| 30-Jul-09 | 43 | 12 | -1 | 1 | 4 | 53 | 68 | 170 |
|  | 44 | -4 | -2 | -1 | 3 | 24 | 21 | 182 |
|  | 62 | -11 | 2 | -2 | 1 | 14 | 3 | 196 |
|  | 74 | -7 | -1 | 3 | 1 | 12 | 8 | 236 |
|  | 76 | -2 | 1 | 6 | 1 | 1 | 7 | 205 |
|  | 77 | -3 | 0 | 4 | 0 | 1 | 2 | 239 |
|  | 78 | -2 | 2 | 4 | 1 | 5 | 11 | 274 |
|  | 79 | -1 | 2 | 4 | 1 | 8 | 14 | 273 |
|  | 80 | 0 | -3 | 6 | 2 | 11 | 16 | 273 |
|  | 81 | -1 | 2 | 6 | 2 | 7 | 16 | 187 |
|  | 82 | -2 | 3 | 10 | 2 | 11 | 25 | 226 |
|  | 83 | -1 | -1 | 10 | 2 | 9 | 20 | 291 |
|  | 84 | -4 | -2 | 10 | 2 | 6 | 12 | 291 |
|  | 88 | -1 | 3 | 11 | 2 | 8 | 24 | 222 |
|  | 89 | 3 | 2 | 11 | 2 | 6 | 24 | 268 |
|  | 90 | -4 | 1 | 8 | 2 | 14 | 20 | 365 |
|  | 91 | -8 | 2 | 12 | 3 | 17 | 26 | 344 |
|  | 93 | -5 | 0 | 8 | 2 | 25 | 30 | 274 |
|  | 94 | -1 | 1 | 7 | 3 | 31 | 42 | 236 |
| 31-Jul-09 | 65 | -8 | -6 | -1 | 0 | 7 | -8 | 192 |
|  | 66 | -9 | -6 | -2 | -1 | 6 | -11 | 181 |
|  | 67 | -9 | -6 | -1 | 0 | 9 | -8 | 213 |
|  | 71 | -9 | -6 | 4 | 2 | -14 | -22 | 297 |
|  | 76 | -17 | -4 | 6 | 3 | 6 | -5 | 198 |
|  | 88 | -8 | 3 | 11 | 4 | 2 | 12 | 164 |
|  | 94 | -7 | -6 | 7 | 3 | 9 | 7 | 357 |
|  | 96 | 10 | 0 | 8 | 3 | 6 | 27 | 244 |
| TOTAL MWh |  | -25 | 0 | 147 | 89 | 219 | 430 | 6382 |

20

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BELOW FREQUENCY OF 49.2 HZ

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION(-) BY GENCOS WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 7-Jul-09 | 45 | 1 | -2 | 5 | 5 | -2 | 7 | 179 |
|  | 67 | 3 | 2 | 7 | 2 | 2 | 16 | 244 |
|  | 72 | 3 | 2 | 8 | 4 | 15 | 32 | 257 |
| 8-Jul-09 | 79 | 1 | 2 | 7 | 1 | 23 | 34 | 137 |
| 20-Jul-09 | 81 | -1 | 0 | 1 | 0 | 0 | 0 | 158 |
|  | 85 | 1 | 2 | 4 | 1 | 6 | 14 | 215 |
|  | 86 | 0 | 1 | 4 | 1 | 7 | 13 | 264 |
|  | 87 | 0 | 3 | 5 | 1 | -4 | 5 | 335 |
|  | 90 | 3 | 0 | 4 | 2 | 15 | 24 | 476 |
| 21-Jul-09 | 2 | 1 | 1 | 6 | 2 | 3 | 13 | 295 |
|  | 38 | 0 | 2 | 2 | 1 | 6 | 11 | 237 |
| TOTAL MWh |  | 3 | 3 | 13 | 5 | 18 | 42 | 699 |

21

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BETWEEN THE FREQUENCY RANGE OF 49.5 & 49.2 HZ

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BETWEEN 49.5 & 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL O/D BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 1-Aug-09 | 1 | 265 | 25 | 69 | 176 | 0 | 0 | 269 |
|  | 2 | 231 | 18 | 58 | 164 | 0 | 0 | 239 |
|  | 3 | 203 | 20 | 44 | 142 | 0 | 0 | 207 |
|  | 5 | 169 | -11 | 72 | 117 | 0 | 0 | 178 |
|  | 79 | 181 | 44 | 134 | 26 | 0 | 0 | 204 |
|  | 82 | 190 | 81 | 117 | 13 | 0 | 0 | 211 |
|  | 84 | 227 | 119 | 118 | 25 | 0 | 0 | 262 |
|  | 88 | 155 | -49 | 101 | 111 | 0 | 0 | 163 |
|  | 90 | 244 | 87 | 105 | 45 | 0 | 0 | 237 |
|  | 91 | 268 | 92 | 114 | 56 | 0 | 0 | 262 |
|  | 92 | 271 | 95 | 118 | 58 | 0 | 0 | 272 |
|  | 93 | 289 | 28 | 132 | 131 | 0 | 0 | 291 |
|  | 94 | 321 | 52 | 138 | 141 | 0 | 0 | 331 |
|  | 95 | 318 | 49 | 135 | 142 | 0 | 0 | 326 |
|  | 96 | 270 | 32 | 122 | 124 | 0 | 0 | 279 |
| 2-Aug-09 | 1 | 312 | 49 | 149 | 178 | 0 | 0 | 376 |
|  | 2 | 266 | 45 | 132 | 162 | 0 | 0 | 339 |
|  | 3 | 242 | 41 | 124 | 155 | 0 | 0 | 321 |
|  | 4 | 234 | 37 | 117 | 146 | 0 | 0 | 300 |
|  | 6 | 205 | 18 | 98 | 121 | 0 | 0 | 237 |
|  | 7 | 203 | 21 | 91 | 114 | 0 | 0 | 226 |
|  | 8 | 172 | 5 | 79 | 104 | 0 | 0 | 188 |
|  | 9 | 183 | 50 | 71 | 93 | 0 | 0 | 214 |
|  | 10 | 161 | 42 | 64 | 85 | 0 | 0 | 191 |
|  | 17 | 199 | 112 | 30 | 21 | 0 | 0 | 163 |
|  | 18 | 162 | 95 | 21 | 8 | 0 | 0 | 124 |
|  | 96 | 185 | 23 | 171 | 120 | 0 | 0 | 314 |
| 3-Aug-09 | 1 | 290 | 54 | 124 | 151 | 0 | 0 | 329 |
|  | 3 | 246 | 41 | 108 | 147 | 0 | 0 | 296 |
|  | 4 | 222 | 43 | 102 | 141 | 0 | 0 | 285 |
|  | 14 | 217 | 70 | 57 | 53 | 49 | 0 | 229 |
|  | 15 | 179 | 68 | 38 | 32 | 49 | 0 | 187 |
|  | 16 | 183 | 67 | 28 | 27 | 49 | 0 | 172 |
|  | 17 | 170 | 73 | 25 | 23 | 49 | 0 | 169 |
|  | 40 | 165 | 65 | 5 | 62 | 48 | 0 | 180 |
|  | 43 | 174 | 45 | 12 | 87 | 37 | 0 | 181 |
|  | 47 | 251 | 32 | 57 | 125 | 57 | 0 | 272 |
|  | 56 | 282 | 75 | 53 | 125 | 47 | 0 | 300 |
|  | 91 | 167 | -118 | 149 | 172 | 0 | 0 | 203 |
| 4-Aug-09 | 48 | 216 | 29 | 48 | 152 | 45 | 0 | 273 |
|  | 55 | 199 | 32 | 40 | 113 | 53 | 1 | 238 |
|  | 56 | 273 | 66 | 25 | 151 | 52 | 0 | 295 |
|  | 57 | 198 | -14 | 62 | 162 | 54 | 0 | 265 |
|  | 61 | 157 | 39 | 81 | 113 | 49 | 1 | 284 |
|  | 65 | 209 | 66 | 91 | 134 | 45 | 0 | 335 |
|  | 92 | 188 | 35 | 88 | 149 | 0 | 0 | 272 |
|  | 96 | 225 | 84 | 92 | 215 | 0 | 0 | 391 |

22

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BETWEEN 49.5 & 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OD BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 5-Aug-09 | 1 | 315 | 111 | 138 | 217 | 0 | 0 | 466 |
|  | 2 | 250 | 80 | 121 | 195 | 0 | 0 | 396 |
|  | 3 | 193 | 56 | 108 | 181 | 0 | 0 | 345 |
|  | 4 | 154 | 33 | 97 | 168 | 0 | 0 | 297 |
|  | 6 | 177 | 69 | 89 | 148 | 0 | 0 | 305 |
|  | 10 | 167 | 97 | 50 | 112 | 0 | 0 | 260 |
|  | 17 | 171 | 170 | -9 | 17 | 0 | 0 | 178 |
|  | 93 | 157 | 116 | 140 | 122 | 0 | 0 | 378 |
|  | 94 | 154 | 116 | 138 | 129 | 0 | 0 | 383 |
|  | 95 | 157 | 115 | 140 | 134 | 0 | 0 | 389 |
| 6-Aug-09 | 1 | 338 | 257 | 73 | 63 | 0 | 0 | 394 |
|  | 3 | 261 | 197 | 63 | 61 | 0 | 0 | 320 |
|  | 4 | 237 | 206 | 52 | 47 | 0 | 0 | 305 |
|  | 5 | 225 | 214 | 40 | 30 | 0 | 0 | 284 |
|  | 6 | 192 | 203 | 34 | 20 | 0 | 0 | 257 |
|  | 7 | 169 | 187 | 25 | 10 | 0 | 0 | 222 |
|  | 69 | 359 | 214 | 176 | 22 | 62 | 0 | 474 |
|  | 70 | 381 | 203 | 172 | 63 | 56 | 0 | 495 |
|  | 71 | 393 | 193 | 170 | 86 | 47 | 0 | 496 |
|  | 72 | 324 | 170 | 169 | 88 | 36 | 0 | 463 |
|  | 74 | 422 | 245 | 165 | 109 | 23 | 0 | 542 |
|  | 75 | 394 | 233 | 160 | 111 | 17 | 0 | 520 |
|  | 78 | 197 | 39 | 143 | 82 | 1 | 0 | 265 |
|  | 80 | 236 | 74 | 164 | 71 | 0 | 0 | 309 |
|  | 82 | 156 | 18 | 144 | 73 | 0 | 0 | 235 |
|  | 83 | 158 | 35 | 145 | 65 | 0 | 0 | 245 |
|  | 84 | 180 | 58 | 142 | 54 | 0 | 0 | 254 |
|  | 87 | 172 | 72 | 104 | 60 | 0 | 0 | 237 |
|  | 88 | 204 | 88 | 109 | 80 | 0 | 0 | 278 |
|  | 91 | 201 | 126 | 105 | 87 | 0 | 0 | 319 |
|  | 92 | 262 | 115 | 101 | 149 | 0 | 0 | 364 |
|  | 93 | 312 | 92 | 151 | 200 | 0 | 0 | 443 |
|  | 95 | 244 | 125 | 141 | 115 | 0 | 0 | 380 |
| 7-Aug-09 | 1 | 222 | 115 | 63 | 156 | 0 | 0 | 334 |
|  | 6 | 191 | 164 | 29 | 80 | 0 | 0 | 273 |
|  | 7 | 175 | 160 | 25 | 81 | 0 | 0 | 266 |
|  | 8 | 160 | 148 | 19 | 74 | 0 | 0 | 241 |
|  | 9 | 242 | 168 | 41 | 69 | 0 | 0 | 278 |
|  | 11 | 167 | 127 | 24 | 53 | 0 | 0 | 203 |
|  | 13 | 197 | 168 | 8 | 19 | 0 | 0 | 195 |
|  | 14 | 174 | 151 | 0 | 4 | 0 | 0 | 156 |
|  | 15 | 156 | 150 | -2 | 1 | 0 | 0 | 149 |
|  | 44 | 171 | 84 | 25 | 87 | 27 | 0 | 223 |
|  | 45 | 183 | 87 | 20 | 109 | 30 | 0 | 246 |
|  | 46 | 177 | 84 | 23 | 112 | 33 | 0 | 253 |
|  | 48 | 182 | 98 | 22 | 114 | 41 | 0 | 276 |
|  | 60 | 246 | 75 | 88 | 165 | 42 | 0 | 370 |
|  | 61 | 186 | 48 | 48 | 142 | 42 | 0 | 281 |
|  | 66 | 231 | 106 | 99 | 138 | 40 | 0 | 382 |
|  | 67 | 247 | 113 | 99 | 149 | 39 | 0 | 401 |
|  | 69 | 378 | 113 | 201 | 156 | 79 | 0 | 549 |
|  | 71 | 314 | 53 | 185 | 172 | 57 | 0 | 467 |
|  | 73 | 520 | 85 | 177 | 164 | 35 | 0 | 462 |
|  | 82 | 277 | 160 | 151 | 85 | 0 | 3 | 399 |
|  | 94 | 199 | 163 | 120 | 105 | 0 | 0 | 389 |

23

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BETWEEN 49.5 & 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OD BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 8-Aug-09 | 17 | 155 | 139 | 32 | -2 | 0 | 0 | 169 |
|  | 55 | 155 | 133 | 60 | -37 | 13 | 0 | 168 |
|  | 60 | 262 | 137 | 99 | 28 | 7 | 0 | 272 |
|  | 61 | 288 | 124 | 108 | 47 | 7 | 0 | 286 |
|  | 63 | 338 | 114 | 147 | 86 | 2 | 0 | 349 |
|  | 65 | 293 | 161 | 132 | 13 | -1 | 0 | 304 |
|  | 67 | 258 | 217 | 93 | -31 | -2 | 0 | 277 |
|  | 80 | 169 | 42 | 131 | 12 | 0 | 0 | 185 |
|  | 88 | 324 | 227 | 75 | 33 | 0 | 0 | 335 |
|  | 93 | 299 | 137 | 80 | 59 | 0 | 0 | 276 |
|  | 94 | 306 | 116 | 82 | 94 | 0 | 0 | 292 |
|  | 96 | 221 | 90 | 52 | 49 | 0 | 0 | 192 |
| 10-Aug-09 | 7 | 151 | 112 | 48 | 43 | 0 | 1 | 204 |
|  | 15 | 211 | 213 | 0 | 51 | 0 | 1 | 265 |
|  | 16 | 227 | 214 | 21 | 52 | 0 | 1 | 289 |
|  | 19 | 224 | 126 | 69 | 53 | 0 | 1 | 248 |
|  | 23 | 179 | 145 | 79 | 22 | 0 | 1 | 247 |
|  | 25 | 161 | 117 | 61 | -4 | 0 | 1 | 175 |
|  | 39 | 169 | 100 | 51 | 7 | 23 | 0 | 182 |
|  | 40 | 255 | 138 | 57 | 52 | 41 | 0 | 289 |
|  | 41 | 294 | 168 | 67 | 71 | 14 | 0 | 321 |
|  | 42 | 263 | 165 | 30 | 81 | 18 | 0 | 293 |
|  | 43 | 174 | 119 | -12 | 66 | 25 | 0 | 198 |
|  | 54 | 256 | 166 | 22 | 61 | 19 | 1 | 268 |
|  | 57 | 295 | 171 | 78 | 80 | 22 | 1 | 351 |
|  | 60 | 364 | 169 | 80 | 131 | 24 | 1 | 406 |
|  | 62 | 369 | 140 | 74 | 159 | 31 | 1 | 405 |
|  | 63 | 454 | 225 | 72 | 166 | 32 | 1 | 497 |
|  | 64 | 409 | 195 | 74 | 140 | 30 | 0 | 439 |
|  | 67 | 358 | 180 | 93 | 75 | 26 | 2 | 376 |
|  | 69 | 332 | 120 | 122 | 45 | 65 | 1 | 353 |
|  | 72 | 309 | 142 | 138 | 54 | 23 | -1 | 356 |
|  | 73 | 483 | 252 | 140 | 113 | 12 | -1 | 516 |
|  | 81 | 377 | 217 | 116 | 61 | 0 | -1 | 394 |
| 11-Aug-09 | 22 | 345 | 223 | 106 | 38 | 0 | 2 | 369 |
|  | 23 | 328 | 201 | 98 | 46 | 0 | 1 | 346 |
|  | 24 | 317 | 194 | 82 | 58 | 0 | 2 | 335 |
|  | 29 | 203 | 118 | 78 | 21 | 0 | 1 | 219 |
|  | 30 | 180 | 98 | 78 | 16 | 0 | 1 | 192 |
|  | 31 | 151 | 82 | 72 | 13 | 0 | 0 | 168 |
|  | 37 | 261 | 148 | 96 | 63 | 7 | 2 | 316 |
|  | 41 | 239 | 121 | 52 | 98 | 7 | 3 | 280 |
|  | 43 | 272 | 127 | 59 | 118 | 11 | 2 | 317 |
|  | 44 | 302 | 146 | 55 | 142 | 14 | 2 | 357 |
|  | 51 | 159 | -25 | 65 | 146 | 24 | 3 | 212 |
|  | 80 | 164 | 30 | 118 | 77 | 0 | -2 | 224 |
|  | 96 | 177 | 50 | 81 | 160 | 0 | 0 | 290 |
| 12-Aug-09 | 7 | 177 | 106 | 50 | 82 | 0 | 0 | 239 |
|  | 8 | 183 | 118 | 45 | 78 | 0 | 0 | 240 |
|  | 25 | 151 | 131 | 13 | 21 | 0 | 0 | 165 |
|  | 39 | 218 | 70 | 64 | 92 | 46 | 1 | 274 |
|  | 41 | 254 | 89 | 62 | 131 | 18 | 0 | 300 |
|  | 48 | 167 | -74 | 78 | 169 | 29 | 2 | 204 |
|  | 50 | 189 | -47 | 136 | 82 | 37 | 3 | 210 |

24

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BETWEEN 49.5 & 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OD BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 12-Aug-09 | 52 | 233 | 76 | 87 | 76 | 34 | 2 | 274 |
|  | 57 | 216 | 8 | 77 | 130 | 41 | 1 | 258 |
|  | 61 | 363 | 140 | 79 | 252 | 73 | -1 | 544 |
|  | 65 | 243 | 65 | 68 | 89 | 76 | -1 | 297 |
|  | 66 | 286 | 139 | 41 | 68 | 64 | -1 | 311 |
|  | 67 | 289 | 142 | 37 | 87 | 43 | -1 | 307 |
|  | 69 | 662 | 268 | 225 | 97 | 77 | -1 | 667 |
|  | 70 | 648 | 243 | 240 | 106 | 67 | -1 | 655 |
|  | 72 | 458 | 141 | 205 | 96 | 46 | -1 | 487 |
|  | 75 | 202 | 107 | 104 | 157 | 17 | -1 | 384 |
|  | 76 | 219 | 122 | 138 | 126 | 10 | -4 | 393 |
|  | 80 | 253 | 110 | 196 | 104 | 0 | 0 | 409 |
|  | 81 | 219 | 117 | 182 | 62 | 0 | 0 | 362 |
|  | 82 | 322 | 173 | 180 | 99 | 0 | 1 | 453 |
|  | 84 | 307 | 209 | 153 | 85 | 0 | 2 | 449 |
|  | 88 | 289 | 108 | 177 | 152 | 0 | 2 | 439 |
|  | 92 | 414 | 291 | 76 | 160 | 0 | 1 | 528 |
| 13-Aug-09 | 10 | 248 | 129 | 107 | 54 | 0 | 0 | 290 |
|  | 11 | 230 | 126 | 93 | 41 | 0 | 0 | 260 |
|  | 13 | 222 | 117 | 80 | 59 | 0 | 0 | 257 |
|  | 14 | 217 | 113 | 79 | 57 | 0 | 0 | 249 |
|  | 42 | 162 | 49 | 55 | 36 | 16 | 0 | 156 |
|  | 43 | 217 | 75 | 74 | 56 | 19 | 0 | 224 |
|  | 44 | 267 | 95 | 80 | 58 | 24 | 0 | 258 |
|  | 45 | 228 | 39 | 93 | 63 | 28 | 0 | 223 |
|  | 46 | 257 | 53 | 98 | 76 | 31 | 0 | 258 |
|  | 47 | 215 | 22 | 102 | 73 | 33 | 0 | 231 |
|  | 48 | 267 | 42 | 117 | 89 | 29 | 0 | 277 |
|  | 55 | 154 | 19 | 96 | 39 | 24 | 0 | 177 |
|  | 56 | 204 | 50 | 111 | 80 | 26 | 0 | 267 |
|  | 58 | 306 | 106 | 146 | 89 | 30 | 0 | 372 |
|  | 59 | 326 | 111 | 146 | 92 | 32 | 0 | 380 |
|  | 60 | 322 | 119 | 127 | 101 | 29 | 0 | 375 |
|  | 61 | 344 | 126 | 151 | 110 | 32 | 0 | 419 |
|  | 62 | 337 | 147 | 143 | 98 | 33 | 0 | 421 |
|  | 64 | 383 | 153 | 182 | 97 | 32 | 0 | 463 |
|  | 67 | 366 | 174 | 192 | 53 | 25 | 0 | 444 |
|  | 68 | 322 | 144 | 189 | 53 | 14 | 0 | 400 |
|  | 69 | 463 | 112 | 234 | 79 | 61 | 0 | 486 |
|  | 70 | 376 | 48 | 221 | 74 | 52 | 0 | 395 |
|  | 71 | 356 | 62 | 221 | 69 | 42 | 0 | 394 |
|  | 72 | 346 | 76 | 200 | 61 | 32 | 0 | 369 |
|  | 73 | 422 | 166 | 189 | 63 | 38 | 0 | 455 |
|  | 74 | 327 | 81 | 190 | 66 | 30 | 0 | 367 |
|  | 75 | 289 | 46 | 197 | 70 | 22 | 0 | 335 |
|  | 76 | 366 | 131 | 210 | 76 | 16 | 0 | 433 |
|  | 77 | 516 | 171 | 218 | 183 | 13 | 0 | 584 |
|  | 82 | 235 | 88 | 193 | 55 | 0 | 0 | 336 |
|  | 83 | 283 | 115 | 226 | 14 | 0 | 0 | 355 |
|  | 84 | 288 | 150 | 209 | -2 | 0 | 0 | 357 |
|  | 92 | 186 | 74 | 147 | 37 | 0 | 0 | 259 |
|  | 93 | 228 | 102 | 197 | 56 | 0 | 0 | 354 |
|  | 96 | 154 | 88 | 153 | 31 | 0 | 0 | 271 |
| 20-Aug-09 | 88 | 173 | 145 | 51 | -36 | 0 | 0 | 160 |
|  | 89 | 201 | 162 | 59 | -26 | 0 | 0 | 195 |
|  | 91 | 175 | 117 | 61 | -13 | 0 | 0 | 164 |
|  | 92 | 196 | 137 | 58 | -13 | 0 | 0 | 182 |

25

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BETWEEN 49.5 & 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OD BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 21-Aug-09 | 57 | 193 | 46 | 93 | -11 | 43 | 0 | 171 |
|  | 63 | 295 | 153 | -1 | 38 | 65 | 0 | 255 |
| 24-Aug-09 | 62 | 254 | 104 | 111 | 13 | 28 | 0 | 256 |
|  | 64 | 184 | 15 | 107 | 8 | 26 | 0 | 157 |
|  | 66 | 164 | 25 | 108 | 1 | 21 | 0 | 156 |
|  | 67 | 156 | 4 | 109 | 2 | 20 | 0 | 135 |
|  | 69 | 246 | 42 | 171 | 2 | 22 | 0 | 237 |
|  | 70 | 190 | 21 | 150 | 5 | 11 | 0 | 187 |
|  | 92 | 226 | 169 | 101 | 25 | 0 | 0 | 295 |
| 25-Aug-09 | 2 | 243 | 95 | 107 | 20 | 0 | 0 | 222 |
|  | 3 | 238 | 111 | 109 | 23 | 0 | 0 | 243 |
|  | 4 | 202 | 100 | 101 | 14 | 0 | 0 | 214 |
|  | 5 | 187 | 118 | 92 | -3 | 0 | 0 | 207 |
|  | 6 | 150 | 100 | 84 | -13 | 0 | 0 | 172 |
|  | 9 | 177 | 106 | 61 | -31 | 79 | 0 | 215 |
|  | 10 | 151 | 96 | 57 | -36 | 79 | 0 | 196 |
|  | 74 | 176 | 16 | 109 | 48 | 0 | 0 | 174 |
| TOTAL MWh |  | 14322 | 6003 | 5732 | 4615 | 931 | 11 | 17292 |
| TOTAL INSTANCES OF OVERDRAWAL (NO. OF BLCOKS) | 230 |  | 169 | 201 | 176 | 89 | 2 |  |

26

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BETWEEN THE FREQUENCY RANGE OF 49.5 & 49.2 HZ

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION(-) BY GENCOS WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 1-Aug-09 | 1 | 10 | -2 | 3 | -2 | 2 | 12 | 257 |
|  | 2 | 11 | -2 | -1 | -1 | 17 | 24 | 216 |
|  | 3 | 11 | -6 | 1 | -1 | 7 | 13 | 194 |
|  | 5 | 9 | -2 | 2 | -1 | 8 | 16 | 162 |
|  | 79 | 0 | 3 | 17 | 4 | 6 | 30 | 174 |
|  | 82 | 0 | 3 | 18 | 3 | 3 | 27 | 184 |
|  | 84 | 3 | -5 | 34 | 3 | -2 | 32 | 230 |
|  | 88 | 3 | -7 | 7 | 0 | 7 | 10 | 153 |
|  | 90 | -8 | -4 | 12 | -1 | 15 | 15 | 222 |
|  | 91 | -9 | -5 | 12 | -1 | 14 | 11 | 251 |
|  | 92 | 0 | -6 | 12 | -1 | 12 | 18 | 254 |
|  | 93 | 5 | -6 | 12 | -2 | 11 | 21 | 271 |
|  | 94 | 5 | -8 | 13 | 5 | 13 | 29 | 302 |
|  | 95 | 6 | -10 | 12 | 6 | 6 | 19 | 307 |
|  | 96 | 8 | -8 | 8 | 5 | 13 | 27 | 252 |
| 2-Aug-09 | 1 | 4 | -8 | 8 | 0 | 13 | 17 | 359 |
|  | 2 | 8 | -4 | 8 | 0 | 13 | 25 | 314 |
|  | 3 | 0 | 3 | 9 | 0 | 13 | 24 | 296 |
|  | 4 | 0 | 0 | 8 | 0 | 16 | 24 | 277 |
|  | 6 | 5 | -2 | 8 | 0 | 10 | 21 | 217 |
|  | 7 | 0 | 1 | 9 | 0 | 14 | 24 | 202 |
|  | 8 | 0 | 0 | 9 | 1 | 19 | 29 | 159 |
|  | 9 | 5 | 0 | 9 | 2 | 24 | 40 | 175 |
|  | 10 | 5 | 1 | 9 | 1 | 7 | 24 | 167 |
|  | 17 | -1 | -8 | 9 | 1 | -2 | -2 | 165 |
|  | 18 | -9 | -7 | 9 | 1 | 0 | -6 | 130 |
|  | 96 | 11 | 3 | 3 | 1 | 20 | 39 | 275 |
| 3-Aug-09 | 1 | -6 | 0 | -2 | 0 | 33 | 25 | 304 |
|  | 3 | -4 | 0 | 1 | 1 | 24 | 22 | 274 |
|  | 4 | -4 | 7 | 1 | 2 | 14 | 19 | 266 |
|  | 14 | -3 | 0 | 0 | 3 | 9 | 9 | 220 |
|  | 15 | -3 | 1 | -3 | 3 | 17 | 15 | 173 |
|  | 16 | -3 | 1 | -2 | 3 | 5 | 3 | 168 |
|  | 17 | -4 | 1 | -3 | 5 | -1 | -3 | 172 |
|  | 40 | 7 | -1 | 8 | 2 | 4 | 20 | 159 |
|  | 43 | 3 | -6 | 4 | 1 | -14 | -11 | 193 |
|  | 47 | -2 | 0 | 4 | 1 | 12 | 15 | 257 |
|  | 56 | 3 | 0 | 5 | 1 | 1 | 10 | 290 |
|  | 91 | -14 | -3 | 5 | 7 | 13 | 8 | 195 |
| 4-Aug-09 | 48 | -19 | 6 | 14 | 1 | 20 | 23 | 250 |
|  | 55 | 1 | 0 | 5 | 1 | -5 | 2 | 236 |
|  | 56 | 1 | 4 | 4 | 1 | 3 | 12 | 283 |
|  | 57 | 1 | 3 | 2 | 1 | 2 | 9 | 256 |
|  | 61 | -1 | 6 | 2 | 1 | 1 | 9 | 275 |
|  | 65 | 0 | -6 | 6 | 5 | 34 | 40 | 295 |
|  | 92 | -2 | 0 | 2 | 3 | 19 | 22 | 250 |
|  | 96 | 1 | -1 | 10 | 4 | 34 | 48 | 343 |

27

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION(-) BY GENCOS WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 5-Aug-09 | 1 | 2 | 14 | 3 | 1 | 21 | 41 | 425 |
|  | 2 | 4 | 0 | 2 | 1 | 25 | 32 | 364 |
|  | 3 | 1 | 1 | 2 | 1 | 16 | 21 | 324 |
|  | 4 | 2 | 0 | 3 | 2 | 19 | 27 | 271 |
|  | 6 | 2 | 2 | 5 | 2 | 9 | 20 | 285 |
|  | 10 | 3 | 4 | 2 | 3 | 9 | 21 | 239 |
|  | 17 | 2 | 0 | 1 | 1 | 0 | 4 | 174 |
|  | 93 | -2 | 2 | -5 | 6 | 13 | 14 | 364 |
|  | 94 | -1 | 1 | -4 | 6 | 12 | 13 | 370 |
|  | 95 | -1 | -1 | -3 | 7 | 3 | 4 | 385 |
| 6-Aug-09 | 1 | 3 | 3 | 2 | 1 | 13 | 21 | 373 |
|  | 3 | 1 | 3 | 2 | 1 | 15 | 22 | 298 |
|  | 4 | 4 | 1 | 2 | 1 | 10 | 18 | 287 |
|  | 5 | 5 | 3 | 2 | 1 | 10 | 20 | 263 |
|  | 6 | 4 | 3 | 1 | 1 | 6 | 15 | 242 |
|  | 7 | 1 | 1 | 3 | 1 | 7 | 14 | 208 |
|  | 69 | -7 | -2 | 2 | 2 | 5 | 0 | 474 |
|  | 70 | -6 | 1 | 0 | 1 | 3 | 0 | 495 |
|  | 71 | -8 | 1 | 3 | 2 | 2 | -1 | 497 |
|  | 72 | -5 | 2 | 6 | 2 | 6 | 12 | 451 |
|  | 74 | 2 | 0 | 15 | 3 | 2 | 21 | 521 |
|  | 75 | 1 | 1 | 14 | 3 | -5 | 13 | 507 |
|  | 78 | 0 | 2 | -1 | 1 | -20 | -17 | 282 |
|  | 80 | -1 | 1 | 0 | 1 | 2 | 3 | 306 |
|  | 82 | 2 | 1 | 5 | 1 | 11 | 21 | 214 |
|  | 83 | 2 | 4 | 5 | 2 | 4 | 18 | 227 |
|  | 84 | 2 | 3 | 6 | 2 | -6 | 7 | 247 |
|  | 87 | 2 | 0 | 6 | 2 | -14 | -5 | 241 |
|  | 88 | 2 | 0 | 6 | 2 | 3 | 14 | 264 |
|  | 91 | -1 | 0 | 7 | 1 | 3 | 10 | 309 |
|  | 92 | -1 | 1 | 7 | 1 | 6 | 14 | 350 |
|  | 93 | 1 | -1 | 6 | 1 | 13 | 21 | 422 |
|  | 95 | 1 | -1 | 6 | 1 | 2 | 9 | 371 |
| 7-Aug-09 | 1 | -2 | -1 | 6 | 1 | 11 | 14 | 319 |
|  | 6 | 0 | -3 | 7 | 2 | 13 | 19 | 255 |
|  | 7 | 0 | -2 | 8 | 2 | 6 | 13 | 253 |
|  | 8 | 1 | -2 | 7 | 1 | 7 | 13 | 228 |
|  | 9 | -1 | -2 | 8 | 2 | 12 | 19 | 259 |
|  | 11 | 1 | -1 | 8 | 2 | 7 | 16 | 187 |
|  | 13 | 0 | -1 | 5 | 2 | 10 | 16 | 179 |
|  | 14 | 0 | -1 | 3 | 2 | 9 | 13 | 143 |
|  | 15 | 2 | -1 | 4 | 2 | 2 | 9 | 141 |
|  | 44 | -43 | -1 | 6 | 1 | 14 | -23 | 247 |
|  | 45 | -42 | -1 | 4 | 0 | 14 | -24 | 270 |
|  | 46 | -22 | 1 | 4 | 0 | 9 | -9 | 262 |
|  | 48 | -4 | 0 | 7 | 1 | 7 | 12 | 264 |
|  | 60 | 3 | -4 | 7 | 2 | 8 | 16 | 354 |
|  | 61 | 3 | 1 | 6 | 1 | 7 | 18 | 262 |
|  | 66 | 1 | -2 | 6 | 4 | 6 | 16 | 365 |
|  | 67 | 3 | -3 | 7 | 5 | -10 | 0 | 400 |
|  | 69 | 3 | -2 | 8 | 5 | 7 | 21 | 528 |
|  | 71 | 3 | -1 | 9 | 5 | 2 | 18 | 449 |
|  | 73 | 0 | -1 | 11 | 5 | -3 | 12 | 449 |
|  | 82 | 1 | -1 | 8 | 3 | -4 | 8 | 391 |
|  | 94 | 0 | -1 | 8 | 8 | 15 | 31 | 358 |

28

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION(-) BY GENCOS WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 8-Aug-09 | 17 | 2 | -2 | 16 | 4 | 1 | 21 | 148 |
|  | 55 | 0 | -4 | 8 | 1 | 12 | 17 | 151 |
|  | 60 | 0 | -3 | 12 | 3 | 6 | 17 | 254 |
|  | 61 | -1 | -2 | 12 | 3 | 3 | 14 | 272 |
|  | 63 | 1 | 0 | 11 | 2 | 2 | 15 | 334 |
|  | 65 | -1 | -2 | 7 | 2 | 5 | 11 | 293 |
|  | 67 | 1 | -3 | 8 | 2 | 3 | 10 | 266 |
|  | 80 | -2 | -5 | 9 | 6 | -2 | 6 | 179 |
|  | 88 | -14 | 0 | 10 | 5 | 7 | 9 | 326 |
|  | 93 | -4 | -2 | 9 | 5 | 11 | 21 | 255 |
|  | 94 | -3 | -2 | 9 | 6 | 13 | 23 | 269 |
|  | 96 | 1 | -11 | 10 | 5 | 13 | 19 | 173 |
| 10-Aug-09 | 7 | 2 | -1 | 5 | 3 | 0 | 9 | 195 |
|  | 15 | 3 | 2 | 9 | 3 | 17 | 35 | 231 |
|  | 16 | 4 | 2 | 11 | 4 | 5 | 26 | 263 |
|  | 19 | 4 | -23 | 12 | 3 | 2 | -1 | 250 |
|  | 23 | 4 | -1 | 21 | 4 | 46 | 74 | 173 |
|  | 25 | 4 | -3 | 11 | 4 | 31 | 46 | 129 |
|  | 39 | 3 | -22 | 6 | 3 | 121 | 111 | 72 |
|  | 40 | 2 | -4 | 4 | 3 | 4 | 9 | 280 |
|  | 41 | 1 | -4 | 7 | 2 | 9 | 15 | 306 |
|  | 42 | 0 | 0 | 4 | 1 | 14 | 20 | 273 |
|  | 43 | 0 | 0 | 5 | 0 | -14 | -9 | 207 |
|  | 54 | 1 | -1 | 5 | 1 | 9 | 15 | 254 |
|  | 57 | 2 | -2 | 6 | 4 | -54 | -44 | 395 |
|  | 60 | 2 | -6 | 5 | 4 | 18 | 23 | 383 |
|  | 62 | 3 | 1 | -1 | 3 | 34 | 39 | 365 |
|  | 63 | 3 | -1 | 0 | 3 | 31 | 37 | 459 |
|  | 64 | 3 | -3 | -2 | 3 | 50 | 51 | 388 |
|  | 67 | 2 | -11 | -1 | 3 | 63 | 56 | 320 |
|  | 69 | 1 | -9 | 1 | 4 | 32 | 29 | 324 |
|  | 72 | 1 | -2 | 1 | 4 | 74 | 79 | 278 |
|  | 73 | 1 | -6 | 7 | 3 | 64 | 68 | 448 |
|  | 81 | 1 | 1 | 6 | -13 | 117 | 112 | 282 |
| 11-Aug-09 | 22 | 2 | 1 | 11 | 4 | 14 | 32 | 337 |
|  | 23 | 1 | 2 | 11 | 4 | 20 | 37 | 309 |
|  | 24 | 3 | 0 | 10 | 4 | 17 | 34 | 301 |
|  | 29 | 3 | 0 | 5 | 3 | 15 | 27 | 193 |
|  | 30 | 4 | 0 | 6 | 3 | 2 | 15 | 177 |
|  | 31 | 4 | -2 | 8 | 3 | 12 | 26 | 142 |
|  | 37 | 3 | -13 | 10 | 4 | 13 | 17 | 299 |
|  | 41 | 2 | -8 | 9 | 1 | 21 | 24 | 257 |
|  | 43 | 2 | -3 | 5 | 0 | 24 | 28 | 289 |
|  | 44 | 2 | 4 | 4 | -1 | 26 | 36 | 322 |
|  | 51 | 4 | 4 | 9 | 1 | -46 | -29 | 241 |
|  | 80 | -1 | 3 | 21 | 3 | 106 | 132 | 92 |
|  | 96 | 1 | 2 | 2 | 4 | 34 | 43 | 248 |
| 12-Aug-09 | 7 | 3 | 3 | 6 | 3 | 7 | 22 | 217 |
|  | 8 | 0 | 4 | 6 | 3 | 7 | 20 | 220 |
|  | 25 | 3 | 6 | 2 | 3 | -7 | 7 | 159 |
|  | 39 | 5 | 3 | 3 | 2 | 19 | 32 | 242 |
|  | 41 | 2 | 1 | 6 | 1 | 6 | 17 | 284 |
|  | 48 | 2 | 1 | 2 | 0 | -23 | -19 | 223 |
|  | 50 | 2 | 2 | 4 | 0 | -30 | -22 | 232 |

29

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION(-) BY GENCOS WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 12-Aug-09 | 52 | 2 | -1 | 9 | 0 | 7 | 16 | 258 |
|  | 57 | 3 | -3 | 9 | 3 | 17 | 30 | 228 |
|  | 61 | 3 | 2 | 8 | 121 | 15 | 149 | 395 |
|  | 65 | -1 | 1 | 9 | 4 | -7 | 6 | 291 |
|  | 66 | 1 | 0 | 9 | -40 | -1 | -31 | 342 |
|  | 67 | 2 | 2 | 7 | -36 | 9 | -16 | 323 |
|  | 69 | 1 | -1 | 10 | -18 | -7 | -15 | 682 |
|  | 70 | 2 | 1 | 9 | -17 | -1 | -6 | 661 |
|  | 72 | 2 | 0 | 6 | 7 | 5 | 20 | 467 |
|  | 75 | 3 | 0 | 11 | 6 | 0 | 20 | 364 |
|  | 76 | 3 | 3 | 10 | 6 | -7 | 16 | 377 |
|  | 80 | 2 | 1 | 11 | 5 | 10 | 29 | 380 |
|  | 81 | 2 | 0 | 7 | 5 | 10 | 23 | 339 |
|  | 82 | 2 | 2 | 7 | 5 | 12 | 28 | 425 |
|  | 84 | 4 | 4 | 8 | 6 | 2 | 23 | 425 |
|  | 88 | 4 | 1 | 8 | 5 | 3 | 21 | 417 |
|  | 92 | 5 | 1 | 10 | 6 | 5 | 26 | 502 |
| 13-Aug-09 | 10 | 2 | 2 | 6 | 2 | 5 | 16 | 275 |
|  | 11 | 0 | 1 | 6 | 2 | 5 | 13 | 247 |
|  | 13 | 2 | 2 | 5 | 2 | 10 | 21 | 236 |
|  | 14 | 0 | 2 | 5 | 2 | 10 | 18 | 231 |
|  | 42 | -2 | 0 | 6 | 4 | 0 | 8 | 148 |
|  | 43 | 0 | 0 | 7 | 4 | 8 | 19 | 205 |
|  | 44 | 0 | -2 | 6 | 3 | 14 | 21 | 237 |
|  | 45 | 1 | -3 | 6 | 3 | 10 | 18 | 205 |
|  | 46 | 5 | -1 | 6 | 3 | 29 | 42 | 216 |
|  | 47 | 6 | 2 | 5 | 2 | -5 | 9 | 222 |
|  | 48 | 6 | 3 | 5 | 2 | 3 | 18 | 259 |
|  | 55 | 1 | 2 | 2 | 1 | 28 | 34 | 144 |
|  | 56 | 3 | 3 | 0 | 0 | 14 | 20 | 247 |
|  | 58 | 2 | 5 | 3 | 3 | 4 | 17 | 355 |
|  | 59 | 3 | 4 | 3 | 2 | 6 | 17 | 363 |
|  | 60 | 4 | 0 | 3 | 2 | 8 | 17 | 358 |
|  | 61 | 4 | 0 | 5 | 4 | 4 | 17 | 402 |
|  | 62 | 4 | 1 | 5 | 4 | 19 | 33 | 388 |
|  | 64 | -1 | 4 | 6 | 4 | 11 | 25 | 438 |
|  | 67 | 1 | 0 | 4 | 4 | 6 | 15 | 429 |
|  | 68 | 3 | 0 | 5 | 5 | 10 | 22 | 378 |
|  | 69 | 4 | 0 | 2 | 4 | 5 | 16 | 471 |
|  | 70 | 5 | 5 | 4 | 4 | 3 | 21 | 374 |
|  | 71 | 1 | 4 | 5 | 5 | 2 | 17 | 377 |
|  | 72 | 2 | 2 | 6 | 5 | 6 | 21 | 347 |
|  | 73 | 3 | 0 | 5 | 5 | 0 | 13 | 442 |
|  | 74 | 3 | 1 | 5 | 5 | 2 | 15 | 352 |
|  | 75 | 3 | 3 | 15 | 5 | -5 | 20 | 315 |
|  | 76 | 3 | 2 | 15 | 5 | -9 | 16 | 417 |
|  | 77 | 1 | 5 | 16 | 5 | -12 | 15 | 569 |
|  | 82 | 2 | 3 | 2 | 5 | 11 | 22 | 313 |
|  | 83 | 1 | 3 | 5 | 6 | 4 | 18 | 337 |
|  | 84 | 1 | 3 | 6 | 6 | -6 | 10 | 347 |
|  | 92 | 1 | 4 | 6 | 7 | 6 | 23 | 236 |
|  | 93 | 1 | 4 | 6 | 6 | 13 | 30 | 324 |
|  | 96 | 1 | 5 | 7 | 7 | 6 | 25 | 246 |
| 20-Aug-09 | 88 | 2 | 5 | 2 | 1 | 3 | 13 | 147 |
|  | 89 | 4 | 5 | 0 | 2 | 4 | 13 | 181 |
|  | 91 | 5 | 2 | 1 | 2 | 3 | 13 | 150 |
|  | 92 | 4 | 3 | 2 | 1 | 6 | 17 | 165 |

30

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION(-) BY GENCOS WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 21-Aug-09 | 57 | 4 | -2 | 10 | 0 | 2 | 14 | 157 |
|  | 63 | -42 | 2 | 11 | 0 | -3 | -32 | 287 |
| 24-Aug-09 | 62 | 6 | 1 | 8 | 6 | 13 | 35 | 222 |
|  | 64 | -4 | -12 | 9 | 9 | 1 | 2 | 155 |
|  | 66 | 0 | 1 | 10 | 7 | -2 | 17 | 139 |
|  | 67 | 1 | -1 | 12 | 10 | 21 | 42 | 93 |
|  | 69 | 1 | -1 | 12 | 9 | 8 | 29 | 208 |
|  | 70 | 3 | 2 | 12 | 8 | -2 | 23 | 163 |
|  | 92 | 1 | -2 | 11 | 17 | 16 | 43 | 252 |
| 25-Aug-09 | 2 | -3 | -4 | 3 | 9 | 14 | 19 | 203 |
|  | 3 | -2 | -4 | 16 | 10 | 15 | 34 | 209 |
|  | 4 | 0 | -5 | 17 | 11 | 6 | 30 | 184 |
|  | 5 | 1 | -4 | 13 | 11 | 1 | 21 | 185 |
|  | 6 | 3 | -4 | 12 | 10 | 3 | 24 | 148 |
|  | 9 | 2 | -5 | 1 | 10 | 0 | 8 | 207 |
|  | 10 | 4 | -5 | 0 | 9 | 3 | 11 | 186 |
|  | 74 | -39 | -4 | 2 | 5 | 11 | -25 | 199 |
| TOTAL MWh | 23 | -31 | 370 | 169 | 566 | 1096 | 16196 |  |

31

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BELOW FREQUENCY OF 49.2 HZ

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BELOW 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OD BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 1-Aug-09 | 80 | 195 | 54 | 132 | 20 | 0 | 0 | 207 |
|  | 81 | 169 | 60 | 116 | 1 | 0 | 0 | 177 |
|  | 83 | 204 | 101 | 114 | 21 | 0 | 0 | 237 |
|  | 89 | 154 | 34 | 100 | 25 | 0 | 0 | 159 |
| 2-Aug-09 | 5 | 228 | 22 | 102 | 129 | 0 | 0 | 252 |
| 3-Aug-09 | 2 | 266 | 46 | 111 | 142 | 0 | 0 | 299 |
|  | 42 | 155 | 59 | 5 | 96 | 31 | 0 | 191 |
|  | 44 | 151 | 34 | 23 | 64 | 40 | 0 | 160 |
|  | 46 | 205 | 21 | 49 | 109 | 54 | 0 | 233 |
|  | 48 | 244 | 27 | 57 | 128 | 58 | 0 | 269 |
|  | 54 | 173 | 18 | 37 | 70 | 47 | 0 | 172 |
|  | 55 | 220 | 41 | 39 | 88 | 46 | 0 | 214 |
|  | 57 | 153 | -9 | 61 | 85 | 47 | 0 | 184 |
|  | 58 | 157 | 22 | 86 | 40 | 43 | 0 | 191 |
|  | 93 | 199 | -138 | 165 | 236 | 0 | 0 | 262 |
|  | 94 | 156 | -148 | 158 | 207 | 0 | 0 | 216 |
|  | 95 | 177 | -128 | 151 | 214 | 0 | 0 | 237 |
|  | 96 | 154 | -124 | 138 | 204 | 0 | 0 | 218 |
| 4-Aug-09 | 58 | 190 | -52 | 86 | 182 | 53 | 0 | 269 |
|  | 59 | 205 | -17 | 83 | 167 | 53 | 0 | 286 |
|  | 60 | 183 | 42 | 61 | 121 | 55 | 1 | 280 |
|  | 64 | 195 | 50 | 79 | 134 | 43 | 0 | 305 |
|  | 66 | 182 | 33 | 96 | 120 | 41 | 0 | 292 |
|  | 67 | 190 | 34 | 119 | 116 | 42 | 0 | 310 |
|  | 69 | 202 | -33 | 110 | 143 | 71 | 0 | 292 |
|  | 93 | 245 | 77 | 103 | 205 | 0 | 0 | 385 |
| 5-Aug-09 | 5 | 191 | 83 | 98 | 158 | 0 | 0 | 340 |
|  | 13 | 264 | 202 | 18 | 52 | 0 | 0 | 273 |
|  | 14 | 243 | 190 | 10 | 41 | 0 | 0 | 241 |
|  | 15 | 221 | 179 | 3 | 34 | 0 | 0 | 216 |
|  | 16 | 191 | 176 | -3 | 28 | 0 | 0 | 200 |
| 6-Aug-09 | 2 | 266 | 199 | 64 | 57 | 0 | 0 | 320 |
|  | 79 | 207 | 66 | 152 | 56 | 0 | 0 | 275 |
|  | 81 | 181 | 58 | 144 | 44 | 0 | 0 | 246 |
|  | 89 | 241 | 152 | 105 | 78 | 0 | 0 | 334 |
|  | 90 | 247 | 162 | 108 | 62 | 0 | 0 | 332 |
|  | 94 | 229 | 121 | 141 | 122 | 0 | 0 | 384 |
| 7-Aug-09 | 5 | 190 | 179 | 33 | 59 | 0 | 0 | 271 |
|  | 56 | 160 | 82 | 42 | 65 | 30 | 0 | 218 |
|  | 62 | 203 | 65 | 65 | 132 | 45 | 0 | 308 |
|  | 63 | 228 | 67 | 69 | 131 | 44 | 0 | 312 |
|  | 64 | 210 | 34 | 88 | 144 | 42 | 0 | 309 |
|  | 68 | 207 | 99 | 98 | 141 | 35 | 0 | 373 |
|  | 70 | 294 | 68 | 190 | 133 | 67 | 0 | 458 |
|  | 72 | 403 | 29 | 178 | 148 | 45 | 0 | 400 |
|  | 74 | 417 | 49 | 205 | 175 | 50 | 5 | 484 |
|  | 75 | 260 | -25 | 202 | 119 | 43 | 5 | 345 |
|  | 76 | 290 | 19 | 200 | 112 | 38 | 6 | 375 |
|  | 81 | 184 | 133 | 97 | 43 | 0 | 2 | 275 |
|  | 83 | 289 | 170 | 156 | 74 | 0 | 3 | 402 |
|  | 84 | 273 | 170 | 157 | 47 | 0 | 3 | 376 |
|  | 86 | 170 | 45 | 90 | 95 | 0 | 0 | 230 |
|  | 87 | 156 | 37 | 96 | 82 | 0 | 0 | 215 |
|  | 92 | 155 | 111 | 85 | 81 | 0 | 0 | 276 |
|  | 93 | 349 | 203 | 150 | 158 | 0 | 0 | 510 |
|  | 95 | 339 | 189 | 123 | 198 | 0 | 0 | 509 |
|  | 96 | 290 | 151 | 85 | 226 | 0 | 0 | 462 |

32

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BELOW 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OD BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 8-Aug-09 | 1 | 475 | 254 | 80 | 135 | 0 | 0 | 469 |
|  | 2 | 424 | 210 | 125 | 74 | 0 | 0 | 409 |
|  | 3 | 213 | 76 | 86 | 56 | 0 | 0 | 218 |
|  | 4 | 187 | 81 | 91 | 47 | 0 | 0 | 220 |
|  | 7 | 205 | 115 | 119 | 78 | 0 | 0 | 312 |
|  | 8 | 204 | 107 | 123 | 65 | 0 | 0 | 295 |
|  | 9 | 310 | 114 | 146 | 79 | 0 | 0 | 339 |
|  | 10 | 167 | -4 | 140 | 67 | 0 | 0 | 203 |
|  | 11 | 178 | 7 | 143 | 70 | 0 | 0 | 220 |
|  | 12 | 155 | 3 | 148 | 44 | 0 | 0 | 195 |
|  | 13 | 363 | 182 | 138 | 39 | 0 | 0 | 359 |
|  | 14 | 299 | 228 | 56 | 18 | 0 | 0 | 301 |
|  | 15 | 209 | 178 | 48 | -19 | 0 | 0 | 207 |
|  | 16 | 174 | 167 | 33 | -9 | 0 | 0 | 190 |
|  | 44 | 201 | 139 | 48 | 0 | -3 | 0 | 185 |
|  | 48 | 189 | 133 | 81 | -40 | 6 | 0 | 180 |
|  | 51 | 204 | 125 | 67 | 17 | 16 | 0 | 226 |
|  | 52 | 237 | 132 | 79 | 27 | 15 | 0 | 253 |
|  | 56 | 208 | 160 | 76 | -29 | 8 | 0 | 215 |
|  | 57 | 308 | 203 | 103 | -7 | 6 | 0 | 305 |
|  | 58 | 293 | 189 | 80 | 9 | 6 | 0 | 284 |
|  | 59 | 299 | 181 | 84 | 15 | 5 | 0 | 285 |
|  | 62 | 324 | 101 | 137 | 92 | 4 | 0 | 335 |
|  | 64 | 356 | 188 | 133 | 38 | -1 | 0 | 358 |
|  | 66 | 224 | 180 | 99 | -15 | -2 | 0 | 262 |
|  | 68 | 237 | 206 | 93 | -34 | -2 | 0 | 262 |
|  | 73 | 160 | 50 | 142 | 43 | 0 | 0 | 234 |
|  | 77 | 191 | 59 | 122 | -25 | 0 | 0 | 156 |
|  | 81 | 247 | 119 | 123 | -7 | 0 | 0 | 235 |
|  | 82 | 279 | 146 | 121 | 6 | 0 | 0 | 273 |
|  | 83 | 221 | 99 | 124 | -11 | 0 | 0 | 212 |
|  | 84 | 209 | 82 | 124 | -9 | 0 | 0 | 198 |
|  | 87 | 164 | 93 | 54 | 16 | 0 | 0 | 163 |
|  | 89 | 176 | 69 | 46 | 52 | 0 | 0 | 167 |
|  | 95 | 318 | 100 | 68 | 109 | 0 | 0 | 277 |
| 9-Aug-09 | 1 | 240 | 225 | 95 | 21 | 0 | 0 | 341 |
|  | 2 | 186 | 182 | 105 | 12 | 0 | 0 | 298 |
|  | 3 | 198 | 127 | 93 | 101 | 0 | 0 | 321 |
|  | 4 | 179 | 97 | 98 | 111 | 0 | 0 | 306 |
|  | 5 | 177 | 54 | 93 | 100 | 0 | 0 | 247 |
|  | 6 | 244 | 116 | 85 | 124 | 0 | 0 | 324 |
|  | 7 | 264 | 104 | 92 | 132 | 0 | 0 | 328 |
|  | 8 | 217 | 73 | 85 | 133 | 0 | 0 | 291 |
|  | 9 | 277 | 156 | 48 | 116 | 0 | 0 | 320 |
|  | 10 | 244 | 137 | 41 | 113 | 0 | 0 | 292 |
|  | 11 | 185 | 164 | -19 | 89 | 0 | 0 | 235 |
|  | 12 | 166 | 198 | -47 | 77 | 0 | 0 | 228 |
|  | 13 | 254 | 236 | -16 | 64 | 0 | 0 | 284 |
|  | 14 | 278 | 255 | -3 | 51 | 0 | 0 | 303 |
|  | 15 | 288 | 202 | 44 | 61 | 0 | 0 | 307 |
|  | 16 | 276 | 157 | 66 | 59 | 0 | 0 | 282 |
|  | 17 | 181 | 103 | 55 | 17 | 0 | 0 | 175 |
|  | 18 | 153 | 85 | 58 | 20 | 0 | 0 | 163 |
|  | 19 | 172 | 130 | 57 | 27 | 0 | 0 | 214 |
|  | 20 | 192 | 168 | 50 | 21 | 0 | 0 | 239 |
|  | 21 | 205 | 164 | 59 | 8 | 0 | 0 | 231 |
|  | 22 | 156 | 158 | 56 | -21 | 0 | 0 | 193 |
|  | 84 | 172 | 76 | 111 | 50 | 0 | 0 | 237 |
|  | 92 | 165 | 69 | 78 | 149 | 0 | 0 | 295 |
|  | 93 | 294 | 132 | 145 | 223 | 0 | 0 | 501 |
|  | 94 | 214 | 90 | 114 | 225 | 0 | 0 | 428 |
|  | 95 | 184 | 78 | 100 | 210 | 0 | 0 | 388 |

33

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BELOW 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OD BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 10-Aug-09 | 1 | 386 | 130 | 74 | 185 | 0 | 2 | 390 |
|  | 6 | 170 | 117 | 56 | 37 | 0 | 2 | 212 |
|  | 10 | 224 | 93 | 96 | 111 | 0 | 1 | 301 |
|  | 11 | 194 | 71 | 100 | 106 | 0 | 1 | 278 |
|  | 12 | 232 | 123 | 101 | 107 | 0 | 1 | 332 |
|  | 13 | 338 | 195 | 76 | 109 | 0 | 1 | 381 |
|  | 14 | 211 | 186 | 6 | 62 | 0 | 1 | 256 |
|  | 17 | 262 | 216 | 24 | 62 | 0 | 1 | 303 |
|  | 18 | 263 | 155 | 67 | 60 | 0 | 1 | 282 |
|  | 20 | 221 | 148 | 67 | 38 | 0 | 1 | 253 |
|  | 21 | 213 | 141 | 77 | 29 | 0 | 1 | 248 |
|  | 22 | 200 | 159 | 63 | 29 | 0 | 1 | 252 |
|  | 44 | 153 | 112 | 9 | 39 | 30 | 1 | 191 |
|  | 46 | 163 | 88 | 47 | 40 | 34 | 0 | 210 |
|  | 48 | 264 | 144 | 61 | 75 | 29 | 2 | 311 |
|  | 55 | 356 | 198 | 40 | 95 | 18 | 1 | 352 |
|  | 56 | 276 | 141 | 64 | 62 | 18 | 2 | 287 |
|  | 58 | 281 | 144 | 53 | 82 | 23 | 1 | 303 |
|  | 59 | 262 | 96 | 76 | 116 | 25 | 1 | 315 |
|  | 66 | 441 | 220 | 88 | 104 | 25 | 1 | 438 |
|  | 68 | 301 | 188 | 65 | 43 | 23 | 1 | 319 |
|  | 70 | 277 | 103 | 100 | 55 | 50 | 1 | 308 |
|  | 71 | 304 | 147 | 101 | 54 | 33 | 0 | 335 |
|  | 74 | 400 | 258 | 90 | 66 | 8 | 0 | 421 |
|  | 75 | 345 | 223 | 85 | 48 | 7 | -1 | 361 |
|  | 76 | 321 | 201 | 79 | 63 | 5 | -1 | 347 |
|  | 77 | 294 | 177 | 20 | 30 | 1 | -1 | 227 |
|  | 78 | 319 | 131 | 46 | 27 | 0 | -2 | 203 |
|  | 79 | 324 | 152 | 82 | 37 | 0 | -1 | 269 |
|  | 80 | 331 | 193 | 103 | 54 | 4 | -1 | 353 |
|  | 82 | 363 | 233 | 70 | 47 | 0 | 0 | 349 |
|  | 83 | 312 | 233 | 81 | 18 | 0 | 0 | 332 |
|  | 84 | 302 | 224 | 83 | 23 | 0 | 0 | 330 |
|  | 85 | 241 | 234 | -17 | 42 | 0 | 1 | 260 |
|  | 86 | 324 | 256 | 25 | 69 | 0 | 1 | 351 |
|  | 87 | 247 | 253 | 47 | -27 | 0 | 1 | 274 |
|  | 88 | 311 | 274 | 58 | 0 | 0 | 1 | 333 |
|  | 89 | 274 | 186 | 68 | 60 | 0 | 1 | 315 |
|  | 90 | 216 | 116 | 55 | 66 | 0 | 2 | 239 |
|  | 91 | 212 | 122 | 23 | 96 | 0 | 2 | 244 |
|  | 92 | 231 | 116 | 39 | 105 | 0 | 1 | 260 |
|  | 93 | 449 | 170 | 155 | 149 | 0 | 1 | 474 |
|  | 94 | 353 | 218 | 101 | 124 | 0 | 2 | 445 |
|  | 95 | 389 | 216 | 80 | 148 | 0 | 2 | 446 |
|  | 96 | 338 | 199 | 66 | 119 | 0 | 2 | 386 |
| 11-Aug-09 | 1 | 265 | 76 | 43 | 145 | 0 | 1 | 265 |
|  | 2 | 320 | 94 | 94 | 136 | 0 | 1 | 325 |
|  | 3 | 234 | 95 | 75 | 48 | 0 | 2 | 220 |
|  | 4 | 197 | 123 | 61 | 19 | 0 | 2 | 204 |
|  | 5 | 201 | 135 | 83 | -17 | 0 | 2 | 203 |
|  | 6 | 249 | 119 | 109 | 42 | 0 | 2 | 272 |
|  | 7 | 276 | 71 | 100 | 79 | 0 | 2 | 252 |
|  | 8 | 192 | 64 | 111 | 34 | 0 | 2 | 211 |
|  | 9 | 272 | 138 | 134 | 16 | 0 | 1 | 289 |
|  | 10 | 246 | 100 | 127 | 17 | 0 | 1 | 246 |
|  | 11 | 221 | 81 | 83 | 77 | 0 | 2 | 243 |
|  | 12 | 277 | 109 | 80 | 101 | 0 | 2 | 291 |
|  | 13 | 363 | 231 | 58 | 71 | 0 | 1 | 362 |
|  | 14 | 258 | 191 | 53 | 35 | 0 | 1 | 280 |
|  | 15 | 288 | 198 | 55 | 38 | 0 | 1 | 291 |
|  | 16 | 247 | 191 | 27 | 29 | 0 | 1 | 248 |

34

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BELOW 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OD BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 11-Aug-09 | 17 | 292 | 217 | 6 | 78 | 0 | 1 | 302 |
|  | 18 | 248 | 201 | -9 | 52 | 0 | 1 | 245 |
|  | 19 | 261 | 251 | 13 | 38 | 0 | 1 | 304 |
|  | 20 | 288 | 240 | 43 | 30 | 0 | 1 | 314 |
|  | 21 | 315 | 225 | 84 | 25 | 0 | 2 | 336 |
|  | 25 | 252 | 144 | 82 | 44 | 0 | 0 | 270 |
|  | 26 | 263 | 143 | 85 | 45 | 0 | 0 | 272 |
|  | 27 | 206 | 110 | 77 | 27 | 0 | 0 | 214 |
|  | 28 | 174 | 86 | 71 | 20 | 0 | 1 | 178 |
|  | 34 | 161 | 103 | 73 | 15 | 0 | 1 | 192 |
|  | 35 | 227 | 133 | 82 | 31 | 0 | 1 | 247 |
|  | 36 | 297 | 166 | 87 | 50 | 8 | 1 | 311 |
|  | 38 | 286 | 127 | 98 | 86 | 19 | 0 | 330 |
|  | 39 | 326 | 113 | 112 | 120 | 17 | 0 | 361 |
|  | 40 | 366 | 173 | 76 | 126 | 22 | 0 | 398 |
|  | 42 | 255 | 119 | 58 | 95 | 21 | 2 | 294 |
|  | 45 | 310 | 89 | 92 | 158 | 26 | 0 | 366 |
|  | 46 | 339 | 84 | 105 | 167 | 31 | 2 | 389 |
|  | 47 | 273 | 4 | 107 | 164 | 31 | 2 | 308 |
|  | 48 | 234 | 10 | 101 | 142 | 30 | 3 | 286 |
|  | 79 | 158 | 10 | 125 | 76 | 0 | 0 | 211 |
|  | 86 | 188 | 8 | 73 | 101 | 0 | 0 | 182 |
|  | 87 | 215 | 22 | 94 | 77 | 0 | -2 | 192 |
|  | 88 | 220 | 19 | 94 | 86 | 0 | 0 | 199 |
| 12-Aug-09 | 1 | 441 | 254 | 121 | 111 | 0 | 0 | 485 |
|  | 2 | 221 | 84 | 66 | 86 | 0 | -1 | 235 |
|  | 13 | 151 | 65 | 70 | 97 | 0 | -1 | 231 |
|  | 21 | 153 | 142 | 20 | 37 | 0 | 0 | 199 |
|  | 29 | 174 | 147 | 23 | 11 | 0 | 1 | 182 |
|  | 40 | 298 | 120 | 76 | 102 | 50 | 1 | 349 |
|  | 42 | 291 | 104 | 51 | 141 | 25 | 1 | 321 |
|  | 43 | 365 | 136 | 53 | 166 | 31 | 1 | 387 |
|  | 44 | 343 | 121 | 64 | 162 | 24 | 1 | 372 |
|  | 45 | 358 | 86 | 92 | 162 | 22 | 0 | 362 |
|  | 46 | 368 | 44 | 120 | 173 | 31 | -1 | 367 |
|  | 47 | 269 | -36 | 88 | 187 | 33 | 1 | 272 |
|  | 51 | 164 | 41 | 49 | 76 | 40 | 2 | 208 |
|  | 55 | 160 | -42 | 118 | 87 | 41 | 1 | 205 |
|  | 56 | 220 | -15 | 102 | 113 | 40 | 2 | 241 |
|  | 58 | 225 | 52 | 39 | 151 | 39 | 0 | 281 |
|  | 59 | 323 | 81 | 70 | 188 | 33 | 0 | 372 |
|  | 60 | 434 | 91 | 118 | 210 | 37 | 0 | 456 |
|  | 62 | 383 | 200 | -48 | 224 | 77 | -1 | 452 |
|  | 63 | 359 | 158 | 1 | 194 | 71 | -2 | 422 |
|  | 64 | 186 | 34 | 18 | 119 | 70 | -1 | 240 |
|  | 68 | 465 | 235 | 143 | 103 | 39 | -1 | 519 |
|  | 71 | 536 | 183 | 226 | 85 | 55 | -1 | 548 |
|  | 73 | 334 | 134 | 195 | 119 | 38 | -1 | 484 |
|  | 74 | 259 | 105 | 157 | 120 | 26 | -1 | 407 |
|  | 77 | 196 | 98 | 119 | 117 | 5 | -3 | 336 |
|  | 78 | 189 | 61 | 153 | 115 | 6 | 0 | 334 |
|  | 79 | 256 | 81 | 209 | 102 | 2 | 0 | 394 |
|  | 83 | 341 | 195 | 163 | 109 | 0 | 1 | 468 |
|  | 85 | 187 | 97 | 114 | 105 | 0 | 2 | 318 |
|  | 86 | 201 | 98 | 128 | 108 | 0 | 2 | 335 |
|  | 87 | 233 | 78 | 170 | 133 | 0 | 1 | 383 |
|  | 89 | 559 | 345 | 144 | 170 | 0 | 2 | 661 |
|  | 90 | 420 | 279 | 67 | 176 | 0 | 2 | 524 |
|  | 91 | 429 | 311 | 53 | 169 | 0 | 1 | 535 |
|  | 93 | 552 | 338 | 124 | 203 | 0 | 1 | 665 |

35

| DATE | TIME BLOCK | OVERDRAWAL BY DELHI WHEN FREQUENCY IS BELOW 49.2 | OVERDRAWAL(+)/UNDERDRAWAL(-) BY DISCOM WHEN DELHI WAS OVERDRAWING MORE THAN 150MW FROM THE GRID | TOTAL OD BY DISCOM |
| --- | --- | --- | --- | --- |
|  |  |  | BRPL | BYPL | NDPL | NDMC | MES |  |
| 12-Aug-09 | 94 | 345 | 214 | 57 | 161 | 0 | 1 | 433 |
|  | 95 | 273 | 182 | 68 | 160 | 0 | 2 | 413 |
|  | 96 | 383 | 239 | 100 | 175 | 0 | 2 | 516 |
|  | 94 | 345 | 214 | 57 | 161 | 0 | 1 | 433 |
|  | 95 | 273 | 182 | 68 | 160 | 0 | 2 | 413 |
|  | 96 | 383 | 239 | 100 | 175 | 0 | 2 | 516 |
| 13-Aug-09 | 5 | 240 | 134 | 88 | 76 | 0 | 0 | 298 |
|  | 6 | 244 | 131 | 108 | 61 | 0 | 0 | 299 |
|  | 7 | 235 | 126 | 119 | 58 | 0 | 0 | 302 |
|  | 8 | 183 | 81 | 111 | 45 | 0 | 0 | 237 |
|  | 9 | 217 | 80 | 109 | 53 | 0 | 0 | 242 |
|  | 12 | 189 | 115 | 85 | 30 | 0 | 0 | 230 |
|  | 15 | 182 | 92 | 70 | 47 | 0 | 0 | 209 |
|  | 16 | 170 | 94 | 68 | 43 | 0 | 0 | 205 |
|  | 17 | 267 | 155 | 105 | 17 | 0 | 0 | 278 |
|  | 18 | 199 | 132 | 97 | -20 | 0 | 0 | 208 |
|  | 19 | 175 | 120 | 92 | -34 | 0 | 0 | 177 |
|  | 22 | 163 | 107 | 79 | -33 | 0 | 0 | 153 |
|  | 78 | 455 | 121 | 225 | 136 | 11 | 0 | 492 |
|  | 79 | 262 | 41 | 198 | 43 | 6 | 0 | 288 |
|  | 81 | 167 | 8 | 186 | 44 | 0 | 0 | 237 |
|  | 85 | 153 | 43 | 135 | 15 | 0 | 0 | 193 |
|  | 94 | 204 | 85 | 181 | 43 | 0 | 0 | 309 |
|  | 95 | 183 | 97 | 159 | 33 | 0 | 0 | 289 |
| 14-Aug-09 | 1 | 151 | 2 | 116 | 74 | 55 | 0 | 248 |
| 20-Aug-09 | 90 | 181 | 115 | 64 | -16 | 0 | 0 | 163 |
| 21-Aug-09 | 58 | 163 | 0 | 93 | 4 | 42 | 0 | 138 |
| 24-Aug-09 | 60 | 192 | 37 | 87 | 34 | 24 | 0 | 182 |
|  | 63 | 188 | 27 | 109 | 3 | 27 | 0 | 166 |
|  | 71 | 181 | 91 | 134 | -23 | 0 | 0 | 201 |
|  | 72 | 188 | 104 | 133 | -44 | 0 | 0 | 192 |
|  | 73 | 189 | 77 | 120 | -30 | 0 | 0 | 168 |
|  | 93 | 329 | 131 | 147 | 48 | 0 | 0 | 325 |
| 25-Aug-09 | 1 | 171 | 42 | 81 | 32 | 0 | 0 | 154 |
| TOTAL MWh |  | 17222 | 8115 | 6037 | 5424 | 689 | 28 | 20294 |
| TOTAL INSTANCES OF OVERDRAWAL (NO. OF BLCOKS) | 274 |  | 219 | 246 | 199 | 68 | 3 |  |

36

DETAIL OF OVERDRAWAL/UNDERGENERATION BY DELHI UTILITIES WHEN DELHI AS A WHOLE IS OVERDRAWING BELOW FREQUENCY  OF  49.2 HZ

(ALL FIG IN MW)

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION (-) BY GENCOS | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 1-Aug-09 | 80 | -8 | 6 | 14 | 3 | -2 | 12 | 194 |
|  | 81 | -4 | 2 | 14 | 2 | -5 | 9 | 168 |
|  | 83 | -3 | -1 | 42 | 2 | 1 | 40 | 197 |
|  | 89 | -3 | 0 | 11 | -3 | 14 | 20 | 140 |
| 2-Aug-09 | 5 | 3 | 2 | 9 | -1 | 12 | 25 | 227 |
| 3-Aug-09 | 2 | -5 | 4 | -5 | 0 | 44 | 37 | 262 |
|  | 42 | 2 | 0 | 6 | 2 | 14 | 23 | 168 |
|  | 44 | 4 | -3 | 1 | 1 | -23 | -19 | 179 |
|  | 46 | 0 | -6 | 1 | 0 | 1 | -4 | 238 |
|  | 48 | 0 | 6 | 0 | -1 | 12 | 17 | 252 |
|  | 54 | 0 | 4 | 3 | 0 | 9 | 16 | 156 |
|  | 55 | -1 | 3 | 4 | 0 | 7 | 13 | 201 |
|  | 57 | 0 | 5 | 6 | 1 | -54 | -42 | 226 |
|  | 58 | 2 | -1 | 5 | 2 | 2 | 10 | 181 |
|  | 93 | -6 | -1 | 9 | 7 | -9 | -1 | 263 |
|  | 94 | -1 | 1 | 12 | 8 | -51 | -31 | 247 |
|  | 95 | -1 | -2 | 12 | 9 | 10 | 28 | 209 |
|  | 96 | -1 | -2 | 10 | 8 | 12 | 27 | 191 |
| 4-Aug-09 | 58 | 0 | 3 | 2 | 2 | -2 | 6 | 263 |
|  | 59 | 0 | 2 | 2 | 2 | 11 | 18 | 268 |
|  | 60 | 0 | 2 | 4 | 3 | -4 | 4 | 276 |
|  | 64 | -1 | 3 | 7 | 2 | 32 | 43 | 262 |
|  | 66 | 0 | 4 | 5 | 3 | 27 | 39 | 253 |
|  | 67 | 0 | 5 | 5 | 4 | 27 | 41 | 269 |
|  | 69 | 4 | 1 | 6 | 4 | 34 | 48 | 243 |
|  | 93 | 0 | -3 | 0 | 2 | 19 | 18 | 367 |
| 5-Aug-09 | 5 | 3 | 1 | 2 | 1 | 11 | 19 | 321 |
|  | 13 | -1 | 4 | 0 | 2 | 8 | 13 | 260 |
|  | 14 | -2 | 0 | -1 | 2 | 8 | 7 | 233 |
|  | 15 | -11 | 1 | 0 | 2 | -3 | -11 | 227 |
|  | 16 | -4 | 2 | -1 | 2 | 4 | 4 | 196 |
| 6-Aug-09 | 2 | 4 | 2 | -1 | 0 | 16 | 21 | 299 |
|  | 79 | 1 | -1 | -2 | 1 | -2 | -4 | 278 |
|  | 81 | 1 | 3 | 2 | 0 | 5 | 11 | 236 |
|  | 89 | -3 | 0 | 5 | 0 | 4 | 5 | 329 |
|  | 90 | 0 | 0 | 7 | 2 | 20 | 29 | 303 |
|  | 94 | 2 | -1 | 6 | 1 | 9 | 16 | 368 |
| 7-Aug-09 | 5 | 2 | -3 | 6 | 1 | 6 | 12 | 259 |
|  | 56 | 2 | -1 | 6 | 0 | 5 | 12 | 206 |
|  | 62 | 5 | -2 | 4 | 0 | 3 | 11 | 297 |
|  | 63 | 2 | 0 | 7 | 2 | -3 | 8 | 304 |
|  | 64 | 1 | -3 | 6 | 1 | -2 | 2 | 306 |
|  | 68 | 3 | -1 | 5 | 4 | 3 | 14 | 359 |
|  | 70 | 3 | -1 | 8 | 6 | 3 | 20 | 438 |
|  | 72 | 2 | -1 | 7 | 5 | 1 | 13 | 387 |
|  | 74 | 0 | 0 | 11 | 5 | -3 | 14 | 470 |
|  | 75 | 1 | -1 | 8 | 3 | -9 | 2 | 344 |
|  | 76 | 2 | 0 | 10 | 6 | -10 | 7 | 368 |
|  | 81 | 2 | 1 | 5 | 2 | 1 | 11 | 264 |
|  | 83 | 2 | -1 | 10 | 4 | -1 | 14 | 388 |
|  | 84 | 2 | -1 | 10 | 4 | 1 | 16 | 361 |
|  | 86 | 2 | -1 | 10 | 2 | 5 | 18 | 211 |
|  | 87 | 1 | -1 | 7 | 3 | 1 | 12 | 203 |
|  | 92 | 2 | -1 | 6 | 8 | 9 | 24 | 252 |
|  | 93 | 0 | -1 | 4 | 7 | 13 | 24 | 487 |
|  | 95 | 0 | 1 | 10 | 8 | 11 | 30 | 479 |
|  | 96 | 0 | -1 | 9 | 8 | 13 | 29 | 433 |

37

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION (-) BY GENCOS | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 8-Aug-09 | 1 | -1 | 1 | 9 | 0 | 2 | 12 | 457 |
|  | 2 | 0 | 0 | 9 | 1 | 17 | 25 | 384 |
|  | 3 | 1 | 0 | 12 | 2 | 7 | 22 | 196 |
|  | 4 | 1 | 1 | 12 | 2 | 13 | 29 | 191 |
|  | 7 | 2 | 0 | 7 | 2 | 10 | 20 | 292 |
|  | 8 | 2 | -15 | 3 | 0 | 7 | -3 | 298 |
|  | 9 | 3 | -12 | 3 | 0 | 7 | 0 | 339 |
|  | 10 | 2 | -17 | 4 | 0 | 6 | -4 | 207 |
|  | 11 | 1 | -14 | 4 | 0 | 5 | -4 | 224 |
|  | 12 | 1 | -15 | 4 | 0 | 8 | -2 | 197 |
|  | 13 | 1 | -10 | 10 | 1 | -1 | 0 | 359 |
|  | 14 | 1 | -8 | 11 | 3 | 6 | 13 | 288 |
|  | 15 | 1 | -6 | 16 | 6 | 8 | 25 | 182 |
|  | 16 | 2 | -4 | 15 | 4 | 3 | 20 | 170 |
|  | 44 | 1 | -3 | -1 | 1 | 4 | 2 | 182 |
|  | 48 | -1 | 1 | 5 | 0 | 2 | 7 | 173 |
|  | 51 | 0 | -2 | 7 | 2 | 1 | 8 | 217 |
|  | 52 | 0 | -2 | 7 | 2 | 6 | 12 | 241 |
|  | 56 | 0 | -4 | 8 | 3 | 5 | 12 | 203 |
|  | 57 | 0 | -5 | 13 | 4 | 2 | 15 | 290 |
|  | 58 | 0 | -4 | 11 | 3 | 6 | 16 | 268 |
|  | 59 | -1 | -3 | 12 | 4 | 4 | 17 | 268 |
|  | 62 | -1 | -2 | 10 | 1 | 5 | 14 | 321 |
|  | 64 | 1 | -1 | 9 | 1 | 4 | 14 | 344 |
|  | 66 | 0 | -3 | 6 | 2 | 8 | 12 | 250 |
|  | 68 | 1 | -2 | 5 | 2 | 1 | 6 | 256 |
|  | 73 | -1 | -1 | 8 | 0 | -16 | -10 | 244 |
|  | 77 | -5 | -2 | 9 | 6 | -14 | -5 | 161 |
|  | 81 | -1 | -5 | 8 | 4 | -5 | 1 | 235 |
|  | 82 | -7 | -6 | 12 | 7 | 3 | 7 | 266 |
|  | 83 | -6 | 0 | 11 | 6 | 1 | 12 | 201 |
|  | 84 | -1 | 0 | 8 | 5 | -2 | 9 | 189 |
|  | 87 | -5 | -1 | 8 | 4 | 8 | 14 | 149 |
|  | 89 | -4 | -1 | 8 | 4 | 14 | 21 | 146 |
|  | 95 | 0 | -10 | 7 | 5 | 6 | 8 | 269 |
| 9-Aug-09 | 1 | 0 | -9 | 11 | 1 | 13 | 16 | 325 |
|  | 2 | 5 | -10 | 8 | -1 | 13 | 15 | 283 |
|  | 3 | 4 | -5 | 13 | 1 | 13 | 25 | 295 |
|  | 4 | 4 | 0 | 11 | 1 | 16 | 32 | 274 |
|  | 5 | 4 | 1 | 11 | 2 | 12 | 30 | 218 |
|  | 6 | 1 | 2 | 11 | 1 | 10 | 25 | 300 |
|  | 7 | -1 | 0 | 11 | 1 | 14 | 26 | 302 |
|  | 8 | 0 | -1 | 8 | -1 | 19 | 25 | 266 |
|  | 9 | 1 | -4 | 8 | -1 | 24 | 28 | 292 |
|  | 10 | 2 | -1 | 10 | 1 | 7 | 20 | 272 |
|  | 11 | 1 | 0 | 12 | 2 | 2 | 16 | 218 |
|  | 12 | 1 | 0 | 9 | -1 | 6 | 15 | 212 |
|  | 13 | 1 | 2 | 4 | -1 | 5 | 11 | 273 |
|  | 14 | 2 | -1 | 6 | 1 | 0 | 8 | 295 |
|  | 15 | 2 | -1 | 2 | -1 | 5 | 7 | 300 |
|  | 16 | -17 | 0 | 1 | 0 | 3 | -13 | 294 |
|  | 17 | -39 | -2 | 2 | -1 | -2 | -43 | 219 |
|  | 18 | -31 | -1 | 2 | -1 | 0 | -30 | 193 |
|  | 19 | -9 | -2 | 3 | 0 | 2 | -6 | 220 |
|  | 20 | 3 | 1 | 4 | 0 | 1 | 8 | 231 |
|  | 21 | 4 | 0 | 3 | -1 | 1 | 5 | 226 |
|  | 22 | 5 | 0 | 1 | -1 | 1 | 5 | 189 |
|  | 84 | 3 | -10 | 18 | 4 | 0 | 15 | 223 |
|  | 92 | 2 | -2 | 20 | 2 | 13 | 36 | 260 |
|  | 93 | 3 | -2 | 20 | 3 | 19 | 43 | 458 |
|  | 94 | 2 | -3 | 21 | 3 | 21 | 44 | 384 |
|  | 95 | 2 | -2 | 23 | 5 | 17 | 45 | 343 |

38

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION (-) BY GENCOS | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 10-Aug-09 | 1 | 0 | -8 | 11 | 4 | 33 | 39 | 351 |
|  | 6 | 2 | -3 | 5 | 3 | 4 | 11 | 200 |
|  | 10 | 2 | -9 | 17 | 4 | -2 | 12 | 288 |
|  | 11 | 3 | -8 | 17 | 5 | -12 | 4 | 274 |
|  | 12 | 2 | -11 | 14 | 3 | -3 | 6 | 326 |
|  | 13 | 3 | -6 | 13 | 3 | 0 | 13 | 368 |
|  | 14 | 3 | 3 | 4 | 3 | 9 | 22 | 234 |
|  | 17 | 3 | -5 | 10 | 1 | -1 | 8 | 295 |
|  | 18 | 4 | -26 | 9 | 1 | 2 | -9 | 292 |
|  | 20 | 4 | -16 | 11 | 2 | 22 | 23 | 230 |
|  | 21 | 4 | -15 | 11 | 2 | 20 | 22 | 226 |
|  | 22 | 4 | 0 | 15 | 3 | 23 | 45 | 207 |
|  | 44 | 0 | -1 | 5 | 0 | -23 | -18 | 209 |
|  | 46 | -1 | -1 | 3 | 1 | 1 | 4 | 206 |
|  | 48 | 2 | -2 | 3 | 1 | 12 | 17 | 294 |
|  | 55 | 2 | -2 | 3 | 0 | 7 | 11 | 341 |
|  | 56 | 3 | 0 | 2 | 0 | 1 | 7 | 280 |
|  | 58 | 2 | 0 | 5 | 4 | 2 | 12 | 291 |
|  | 59 | 3 | -3 | 5 | 4 | -5 | 4 | 310 |
|  | 66 | 2 | -13 | -1 | 2 | 79 | 68 | 370 |
|  | 68 | 2 | -12 | -2 | 3 | 39 | 29 | 290 |
|  | 70 | 2 | -10 | 0 | 3 | 69 | 64 | 245 |
|  | 71 | 1 | -7 | -1 | 3 | 80 | 77 | 258 |
|  | 74 | 3 | -8 | 7 | 3 | 82 | 87 | 335 |
|  | 75 | 3 | -7 | 7 | 3 | 90 | 96 | 266 |
|  | 76 | 3 | -8 | 7 | 3 | 102 | 106 | 241 |
|  | 77 | 2 | -9 | 4 | -81 | 106 | 22 | 204 |
|  | 78 | 3 | -10 | 6 | -128 | 114 | -14 | 217 |
|  | 79 | 2 | -9 | 4 | -58 | 116 | 55 | 214 |
|  | 80 | 2 | -9 | 4 | 0 | 118 | 115 | 238 |
|  | 82 | 1 | -1 | 8 | -21 | 123 | 111 | 239 |
|  | 83 | -1 | 1 | 5 | 7 | 126 | 139 | 193 |
|  | 84 | 0 | 1 | 4 | 5 | 13 | 23 | 308 |
|  | 85 | 1 | 1 | 3 | 7 | 9 | 21 | 239 |
|  | 86 | 2 | 1 | 0 | 5 | 19 | 27 | 323 |
|  | 87 | 2 | 4 | 0 | 4 | 22 | 31 | 242 |
|  | 88 | 3 | 1 | 1 | 5 | 11 | 21 | 312 |
|  | 89 | 3 | 2 | 1 | 5 | 5 | 16 | 299 |
|  | 90 | 2 | 2 | 4 | 7 | 7 | 21 | 217 |
|  | 91 | 0 | 2 | 1 | 5 | 13 | 21 | 223 |
|  | 92 | 0 | 1 | 5 | 7 | 0 | 13 | 247 |
|  | 93 | 0 | 4 | 4 | 7 | -9 | 7 | 467 |
|  | 94 | 1 | 13 | 5 | 8 | -51 | -24 | 469 |
|  | 95 | 2 | -4 | 2 | 6 | 10 | 17 | 429 |
|  | 96 | 1 | -2 | 2 | 6 | 12 | 18 | 368 |
| 11-Aug-09 | 1 | 0 | 0 | 10 | 1 | 40 | 51 | 214 |
|  | 2 | 2 | -1 | 9 | 1 | 56 | 68 | 257 |
|  | 3 | 2 | 0 | 8 | 1 | 62 | 73 | 148 |
|  | 4 | 2 | -1 | 9 | 2 | 73 | 85 | 119 |
|  | 5 | 2 | -2 | 10 | 2 | 61 | 73 | 130 |
|  | 6 | 2 | -3 | 8 | 0 | 36 | 43 | 229 |
|  | 7 | -1 | -2 | 11 | 2 | 13 | 23 | 229 |
|  | 8 | -2 | 2 | 11 | 2 | 15 | 28 | 183 |
|  | 9 | 1 | 2 | 7 | 0 | 6 | 16 | 273 |
|  | 10 | -1 | 3 | 11 | 2 | 12 | 27 | 219 |
|  | 11 | 1 | 2 | 9 | 0 | 9 | 21 | 222 |
|  | 12 | 2 | 4 | 9 | 0 | 6 | 21 | 269 |
|  | 13 | 2 | 3 | 8 | 2 | 17 | 32 | 329 |
|  | 14 | 1 | 2 | 8 | 2 | 8 | 20 | 260 |
|  | 15 | 2 | 3 | 8 | 2 | 14 | 29 | 262 |
|  | 16 | 2 | 3 | 9 | 3 | 26 | 43 | 205 |
|  | 17 | 2 | 3 | 9 | 3 | 11 | 27 | 275 |

39

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION (-) BY GENCOS | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 11-Aug-09 | 18 | 1 | 0 | 8 | 3 | 1 | 13 | 231 |
|  | 19 | 3 | 3 | 7 | 2 | 6 | 20 | 284 |
|  | 20 | 1 | 3 | 10 | 4 | 80 | 98 | 217 |
|  | 21 | 3 | 2 | 9 | 3 | 5 | 20 | 315 |
|  | 25 | 4 | 0 | 10 | 3 | -3 | 14 | 256 |
|  | 26 | 3 | 0 | 8 | 3 | 9 | 23 | 249 |
|  | 27 | 3 | -1 | 10 | 5 | -2 | 15 | 200 |
|  | 28 | 4 | 0 | 8 | 5 | -35 | -19 | 197 |
|  | 34 | 3 | -1 | 9 | 1 | 6 | 19 | 173 |
|  | 35 | 4 | -12 | 13 | 4 | 2 | 10 | 238 |
|  | 36 | 4 | -15 | 9 | 1 | 7 | 6 | 304 |
|  | 38 | 1 | -5 | 10 | 4 | 11 | 21 | 309 |
|  | 39 | 2 | -10 | 5 | 2 | 35 | 35 | 326 |
|  | 40 | 3 | -11 | 6 | 2 | 98 | 98 | 299 |
|  | 42 | 2 | 2 | 7 | 1 | 25 | 38 | 256 |
|  | 45 | 2 | 14 | 2 | -2 | 31 | 48 | 319 |
|  | 46 | 3 | 4 | 2 | -2 | 33 | 40 | 349 |
|  | 47 | 3 | 5 | 6 | 1 | 27 | 42 | 267 |
|  | 48 | 4 | 3 | 3 | 2 | 20 | 33 | 253 |
|  | 79 | -1 | 3 | 7 | 2 | 101 | 112 | 99 |
|  | 86 | -4 | 3 | 4 | 0 | 117 | 120 | 62 |
|  | 87 | -5 | 1 | 4 | -1 | 114 | 113 | 79 |
|  | 88 | -3 | 3 | 9 | 2 | 113 | 124 | 75 |
|  | 1 | 4 | 3 | 4 | 3 | 21 | 35 | 450 |
|  | 2 | 3 | 4 | 7 | 4 | 25 | 43 | 192 |
|  | 13 | 1 | 4 | 4 | 1 | 8 | 18 | 213 |
|  | 21 | 0 | 5 | -2 | 2 | 6 | 11 | 189 |
|  | 29 | 3 | 1 | 3 | 4 | -11 | 0 | 182 |
| 12-Aug-09 | 40 | 5 | 3 | 0 | 0 | 20 | 28 | 321 |
|  | 42 | 3 | 4 | 7 | 3 | 14 | 31 | 290 |
|  | 43 | 4 | 1 | 3 | 1 | 12 | 21 | 367 |
|  | 44 | 2 | 3 | 0 | 0 | 13 | 19 | 354 |
|  | 45 | 2 | 2 | 1 | 0 | 16 | 19 | 343 |
|  | 46 | 2 | -2 | 4 | 2 | -7 | 0 | 367 |
|  | 47 | 2 | 1 | 2 | 2 | -10 | -3 | 275 |
|  | 51 | 1 | 4 | 3 | -1 | 14 | 21 | 187 |
|  | 55 | 2 | -3 | 12 | 2 | 45 | 58 | 147 |
|  | 56 | 3 | -1 | 13 | 3 | 41 | 60 | 182 |
|  | 58 | 3 | -1 | 8 | 3 | 12 | 25 | 256 |
|  | 59 | 3 | -1 | 10 | 5 | 13 | 29 | 343 |
|  | 60 | 2 | 2 | 7 | 2 | 16 | 28 | 427 |
|  | 62 | 3 | 3 | 9 | 15 | 12 | 41 | 411 |
|  | 63 | 2 | 2 | 8 | 8 | 7 | 26 | 395 |
|  | 64 | 1 | 2 | 5 | 5 | 4 | 18 | 221 |
|  | 68 | 1 | 0 | 7 | 0 | -3 | 7 | 512 |
|  | 71 | 3 | 1 | 8 | 4 | 5 | 21 | 527 |
|  | 73 | 4 | 2 | 9 | 5 | 5 | 24 | 460 |
|  | 74 | 4 | 3 | 12 | 7 | -1 | 25 | 383 |
|  | 77 | 2 | 3 | 13 | 6 | -7 | 17 | 319 |
|  | 78 | -1 | 2 | 9 | 4 | -1 | 13 | 322 |
|  | 79 | 1 | 0 | 12 | 6 | 3 | 22 | 372 |
|  | 83 | 3 | 4 | 6 | 4 | 6 | 23 | 445 |
|  | 85 | 4 | 1 | 9 | 6 | 8 | 29 | 289 |
|  | 86 | 4 | 1 | 10 | 7 | 7 | 29 | 307 |
|  | 87 | 4 | 1 | 6 | 4 | 7 | 22 | 360 |
|  | 89 | 5 | 2 | 7 | 4 | 6 | 25 | 636 |
|  | 90 | 6 | -2 | 6 | 4 | 10 | 24 | 500 |
|  | 91 | 6 | -1 | 7 | 5 | 13 | 29 | 505 |
|  | 93 | 4 | 0 | 7 | 4 | 13 | 27 | 638 |
|  | 94 | 7 | 2 | 9 | 6 | 12 | 35 | 399 |
|  | 95 | 6 | 0 | 10 | 7 | 3 | 25 | 387 |
|  | 96 | 6 | 1 | 9 | 6 | 11 | 33 | 483 |
|  | 94 | 7 | 2 | 9 | 6 | 12 | 35 | 399 |
|  | 95 | 6 | 0 | 10 | 7 | 3 | 25 | 387 |
|  | 96 | 6 | 1 | 9 | 6 | 11 | 33 | 483 |

40

| DATE | TIME BLOCK | OVERGENERATION(+)/UNDERGENERATION (-) BY GENCOS | TOTAL OVER/UNDER GENERATION BY GENCOS | TOTAL OD BY DISCOMS FROM GRID |
| --- | --- | --- | --- | --- |
|  |  | RPH | IP | GT | PPCL | BTPS |  |  |
| 13-Aug-09 | 5 | 0 | 3 | 2 | 3 | 10 | 18 | 280 |
|  | 6 | 0 | 0 | 2 | 3 | 6 | 12 | 288 |
|  | 7 | 1 | 0 | 2 | 2 | 7 | 11 | 291 |
|  | 8 | 1 | -1 | 4 | 4 | 9 | 17 | 220 |
|  | 9 | 1 | -1 | 3 | 1 | 7 | 11 | 230 |
|  | 12 | 0 | 2 | 5 | 1 | 6 | 15 | 216 |
|  | 15 | 0 | 2 | 4 | 1 | 7 | 14 | 195 |
|  | 16 | 0 | 1 | 5 | 1 | 4 | 10 | 194 |
|  | 17 | 1 | 1 | 6 | 3 | 2 | 13 | 265 |
|  | 18 | 2 | 1 | 4 | 3 | -1 | 9 | 199 |
|  | 19 | 1 | 0 | 5 | 3 | -1 | 8 | 169 |
|  | 22 | 1 | -1 | 3 | 4 | 2 | 9 | 143 |
|  | 78 | 2 | 4 | 5 | 3 | -20 | -6 | 499 |
|  | 79 | 2 | 4 | 8 | 5 | -2 | 17 | 270 |
|  | 81 | 2 | 7 | 1 | 3 | 5 | 18 | 219 |
|  | 85 | 1 | 3 | 4 | 4 | 9 | 21 | 172 |
|  | 94 | 1 | -7 | 5 | 5 | 9 | 13 | 296 |
|  | 95 | 1 | -4 | 5 | 6 | 2 | 10 | 279 |
| 14-Aug-09 | 1 | 3 | 4 | 8 | 5 | 11 | 31 | 217 |
| 20-Aug-09 | 90 | 3 | 2 | -1 | 0 | 20 | 24 | 139 |
| 21-Aug-09 | 58 | 4 | 0 | 9 | 0 | 2 | 15 | 123 |
| 24-Aug-09 | 60 | 9 | 0 | 7 | -1 | 17 | 32 | 149 |
|  | 63 | -2 | -4 | 6 | 5 | -26 | -22 | 188 |
|  | 71 | 2 | 0 | 10 | 5 | -14 | 4 | 197 |
|  | 72 | 1 | 0 | 10 | 7 | -27 | -9 | 201 |
|  | 73 | -2 | 2 | 11 | 4 | 11 | 26 | 142 |
|  | 93 | 0 | -2 | 11 | 13 | 12 | 34 | 291 |
| 25-Aug-09 | 1 | 2 | -3 | 2 | 8 | 2 | 11 | 144 |
| TOTAL MWh |  | 67 | -71 | 473 | 116 | 939 | 1525 | 18769 |

Annexure-3

DELHI TRANSCO LIMITED

PROTECTION PLAN–2009

##### Index

S.No. 	Chapter 		Item							Page No.

1.0	General Principle									1

2.0	Coordination of Protection System						2

2.1	With NRPC						2

2.2	With Distribution licensees and Generations	2

- Protection Requirement

3.1	400-220kV lines					2

3.2	400-220,220/66/33kV Power Transformer	3

3.3	Substation Bus Bar Protection			4

3.4	66,33kV Lines					4

3.5	11kV Lines						4

3.6	66/33, 66/11 or 33/11kV Power Transformers	5

# Protection Requirements and Co-ordination

1.0	General Principles

No item of electrical equipment shall be allowed to remain connected to the transmission System unless it is covered by appropriate protection aimed at reliability selectivity, speed, discrimination and sensitivity, Guidelines mentioned in protection manuals of CBI & P shall be kept in view.

Protection standards are treated as interface issues because of the possible severe cross-boundary repercussions of faults that occur in the system of any entity.  Minimum protection requirements are prescribed in the Section because inadequate protection or mal-operation of protection system of one entity may result in far reaching consequences, disturbances and even damages in the systems of other entities.

All users shall co-operate to ensure correct and appropriate settings of protection to achieve effective, discriminatory removal of faulted equipment.

The protection system to be installed (or kept in service) at various Generating Stations, Grids Sub-stations with DTL, S/Stns. with Distribution Licensees shall not be inferior to already in vogue.  The Stakeholders shall update the protection system as technology advances worldwide.

Protection settings shall not be altered without consulting and informing all affected users.  No protection should be by-passed or disconnected without the agreement of the affected user.  When protection is by passed and/or disconnected by agreement, then the cause must be rectified and the protection restored to normal condition as quickly as possible. If agreement has not been reached the electrical equipment shall be removed from service forthwith.  Even when protection is temporarily by passed by agreement, a standby protection or back-up protection system shall be operational during the period.

DTL shall have two functions to perform in respect to protection of power system in Delhi.

- Protection coordination with Northern Region Power System that is coordination of relays in 400/220kV system including interstate line.  This system is monitored by NRPC Protection System Committee.

- Coordination of protection system of DISCOM’s and GENCO connected to DTL EHV sub-station in the following manner.

2

- Co-ordination of Protection system

  - With NRPC

For and any third party, each end will set its relay as per general practice of relay setting and the protection on either end shall be mutually agreed and setting provided.  A set of relay coordination setting shall be forwarded to NRPC for their study, reference and record.  Any setting change as proposed by NRPC protection committee shall be implemented after due consideration.

  - With Distribution Linecees and Generation

When new equipment (including generating units) and lines are planned to be constructed the proposed protections and settings (which shall be in accordance with standards in vogue) shall be communicated to STU. The protection systems shall be installed as per provisions of new connection or modification by users after concurrence of STU. Commissioning of new equipment/lines may necessitate modifications of existing protections or revision of relay settings coordinated in consultation with DTL as STU.

3.0	Protection Requirements

3.1 	400 – 220kV Lines:

Main. I shall be numerical with minimum three zone distance protection with built in Fault Locator, Disturbance Recorder & Event Loggers and Communicable, with IEC61850 compliant Main. II Protection shall be again numerical, IEC 61850 compliant Distance Protection or line current differential with IEC 61850 compliant.

Necessary indications, alarms and controls shall be provided for Line CVT supply failure and for ensuring change over to Bus No.1 PT to Bus No.2 PT and vice versa when Bus Transfer is made.

3

Norms for Protection of 400/220kV lines.

| Sl.No. | Voltage | Protection Scheme |
| --- | --- | --- |
| 1 | 400kV lines | Main-1& 2: will be numerical, communicable IEC 61850 compliant distance protection scheme with built in Fault Locator, Disturbance Recorder and Event Loggers of scheme as per nation policy or Main–2 numerical line current differential with IEC 61850 compliant |
| 2 | 220 kV Lines | Main-1& 2: will be numerical, communicable IEC 61850 compliance distance protection scheme with built in Fault Locator, Disturbance Recorder and Event Loggers of scheme as per nation policy or Main–2 numerical line current differential with IEC 61850 compliant |

3.2	400/220 and 220/66/33kV Power Transformers.

All windings of power transformers of EHT class shall be protected by differential relays, REF relay for HV & LV winding. Two separate relays to be provided for Main Protection e.g. differential and REF and Back up relay should be separate. Over-fluxing relays shall be provided for EHT transformers.  In addition there shall be back up time lag over current and earth fault protection.  For parallel operation such as back up protection shall have a directional feature.  For protection against heavy short circuits, the over current relays should incorporate with a high set instantaneous element.  In addition to electrical protection, gas operated relays, sudden pressure/PRV winding temperature protection and oil temperature protection shall be provided.

## Norms for Protection of 400/220, 220/66-33kV Power Transformers

| Voltage ratio and capacity | H V Side | L V Side | Common relays |
| --- | --- | --- | --- |
| 400/220 kV | Directional 2O/C and 1 directional E/F relay, REF | Directional 2O/C and 1 directional E/F relay, REF | Numerical differential relay and separate REF’s, over load, Overflux, Bucholz, OLTC Buchoilz, PRV,OT, WT.SPR |
| 220 / 66-33 / 11kV | 2O/C and 1 E/F relay, REF | 2O/C and 1 E/F relay, REF | Numerical differential relay and separate REF’s, Over flux, Bucholz, OLTC Bucholz, PRV,OT, WT.SPR |

4

3.3	Substation Bus Bar Protection

Adequate bus bar protection for each bus bar zone in the substation for all 400 kV and 220 kV class substations shall be provided.

LBB: At all 400 kV and 220 kV substations Local Breaker Back up protection shall be provided.

3.4	66,33kV Lines

Main-1 shall be Numerical three zone distance or line current differential protection scheme. The back up directional over current & directional earth fault or non directional over current and earth fault with high set as per the line requirement .  Necessary indications, alarms and control shall be provided on failure of PT supply.

3.5	11kV Lines

The 11kV/6.6kV distribution S/Stn. fed from Genco/Transco/Discom S/Stn. Shall also be provided with following suitable protection:

1)  Non directional over current and Earth Fault with high set.

2)  Time Lag fuse/MCB protection.

Protection norms for 66kV, 33kV & 11kV feeders.

| Line | Protection |
| --- | --- |
| 66kV line in mesh | Main-1 Distance/line current differential protection & directional O/c and E/F with high set. |
| 66kV double Ckt. Parallel Fdr. | Main-1 Distance/ line current differential protection & directional O/c and E/F. |
| 66kV single Ckt. Feeder | Distance/ line current differential protection, Non direction O/C E/F. |
| 33kV Parallel feeder | Main-1 Distance/ line current differential protection & directional O/c and E/F. |
| 33kV single ckt. Feeder | Distance/ line current differential protection, Non direction O/C E/F. |
| 11kV feeder emanating from DTL/GENCO grid (with minimum settings) | Non-directional O/c E/F with high set feature. |

5

3.6	66/33, 66/11kV OR 33/11kV Power transformers

The following shall be norms of protection for transformers on different

voltage classes and capacity ratings:

## Norm for  Protection for EHV Class Power Transformers

| Voltage ratio and capacity | H V Side | L V Side | Common relays |
| --- | --- | --- | --- |
| 66/33kV | 2O/C and 1 E/F relay, REF | 2O/C and 1 E/F relay, REF | Differential, Buchloz, OLTC Buchloz, PRV,OT, WT |
| 66/11 kV | 2O/C and 1 E/F relay, REF | 2O/C and 1 E/F relay, REF | Differential, Buchloz, OLTC Buchloz, PRV,OT, WT |
| 33/11 kV | 2O/C and 1 E/F relay, REF | 2O/C and 1 E/F relay, | Differential, Buchloz, OLTC Buchloz, PRV,OT, WT |