## Sumary of Delhi
DELHI TRANSCO LTD.
SUMMARY OF ANTICIPATED POWER SUPPLY SCENARIO OF DELHI FOR SUMMER 2009
| ALL FIGURES IN MW | [10 empty] | As on 28.03.2009
|  |  |  | APRIL 2009 | [5 empty] | MAY 2009
S. | SOURCES | 1ST FORTNIGHT |  |  | 2ND FORTNIGHT |  |  | 1ST FORTNIGHT |  |  | 2ND FORTNIGHT
No. |  | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST
|  | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs
A. | ANTICIPATED UNRESTRICTED DEMAND FOR 2009 AS PER NRPC METHOD | 3050 | 3200 | 2800 | 3650 | 3550 | 3200 | 3550 | 3500 | 3100 | 3600 | 3400 | 3100
B. | ANTICIPATED UNRESTRICTED DEMAND FOR 2009 AS PER NRPC METHOD with 5% increase on 2008 Demand | 3250 | 3400 | 3000 | 3900 | 3800 | 3400 | 3800 | 3750 | 3300 | 3850 | 3650 | 3350
C. | GENERATION WITHIN DELHI | 1048.44 | 1048.44 | 1048.44 | 1224 | 1224 | 1224 | 1224 | 1224 | 1224 | 1046.7 | 1046.7 | 1046.7
D. | AVAILABILITY FROM CENTRAL SECTOR STNs | 2148 | 2172 | 1918 | 2148 | 2172 | 1918 | 2148 | 2172 | 1918 | 2148 | 2172 | 1918
E. | ADDITIONAL TIE-UPS (** Arrangements on Day ahead basis) | 568.86 | 568.86 | 498.86 | 622.86 | 622.86 | 622.86 | 541.6 | 541.6 | 445.6 | 541.6 | 541.6 | 445.6
F. | TOTAL AVAILABILITY INCLUDING BILATERALS (B+C+D) | 3765.3 | 3789.3 | 3465.3 | 3994.86 | 4018.86 | 3764.86 | 3913.6 | 3937.6 | 3587.6 | 3736.3 | 3760.3 | 3410.3
G. | Shortage(-)/Surplus(+) with NRPC method Demand | 715.3 | 589.3 | 665.3 | 344.86 | 468.86 | 564.86 | 363.6 | 437.6 | 487.6 | 136.3 | 360.3 | 310.3
H. | Shortage(-)/Surplus(+) with 5% Increased 2008 Demand | 515.3 | 389.3 | 465.3 | 94.86 | 218.86 | 364.86 | 113.6 | 187.6 | 287.6 | -113.7 | 110.3 | 60.3
|  |  |  | JUNE 2009 | [5 empty] | JULY 2009
S. | SOURCES | 1ST FORTNIGHT |  |  | 2ND FORTNIGHT |  |  | 1ST FORTNIGHT |  |  | 2ND FORTNIGHT
No. |  | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST
A. | ANTICIPATED UNRESTRICTED DEMAND FOR 2009 AS PER NRPC METHOD | 3800 | 3800 | 3400 | 4050 | 3900 | 3500 | 4100 | 3950 | 3450 | 4200 | 4000 | 3600
B. | ANTICIPATED UNRESTRICTED DEMAND FOR 2009 AS PER NRPC METHOD with 5% increase on 2008 Demand | 4050 | 4050 | 3650 | 4350 | 4200 | 3750 | 4400 | 4250 | 3700 | 4500 | 4250 | 3850
C. | GENERATION WITHIN DELHI | 1046.7 | 1046.7 | 1046.7 | 1181.7 | 1181.7 | 1181.7 | 1224 | 1224 | 1224 | 1224 | 1224 | 1224
D. | AVAILABILITY FROM CENTRAL SECTOR STNs | 2148 | 2172 | 1918 | 2148 | 2172 | 1918 | 2148 | 2172 | 1918 | 2148 | 2172 | 1918
E. | ADDITIONAL TIE-UPS (** Arrangements on Day ahead basis) | 629.2 | 629.2 | 533.2 | 591.2 | 591.2 | 495.2 | 1032.44 | 1032.44 | 1032.44 | 1032.44 | 1032.44 | 1032.44
F. | TOTAL AVAILABILITY INCLUDING BILATERALS (B+C+D) | 3823.9 | 3847.9 | 3497.9 | 3920.9 | 3944.9 | 3594.9 | 4404.44 | 4428.44 | 4174.44 | 4404.44 | 4428.44 | 4174.44
G. | Shortage(-)/Surplus(+) with NRPC method Demand | 23.9 | 47.9 | 97.9 | -129.1 | 44.9 | 94.9 | 304.44 | 478.44 | 724.44 | 204.44 | 428.44 | 574.44
H. | Shortage(-)/Surplus(+) with 5% Increased 2008 Demand | -226.1 | -202.1 | -152.1 | -429.1 | -255.1 | -155.1 | 4.44 | 178.44 | 474.44 | -95.56 | 178.44 | 324.44
|  |  |  | AUGUST 2009 | [5 empty] | SEPTEMBER 2009
S. No. | SOURCES | 1ST FORTNIGHT |  |  | 2ND FORTNIGHT |  |  | 1ST FORTNIGHT |  |  | 2ND FORTNIGHT
|  | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST
A. | ANTICIPATED UNRESTRICTED DEMAND FOR 2009 AS PER NRPC METHOD | 3900 | 3700 | 3450 | 3950 | 4050 | 3500 | 4050 | 4100 | 3500 | 3750 | 3700 | 3300
B. | ANTICIPATED UNRESTRICTED DEMAND FOR 2009 AS PER NRPC METHOD with 5% increase on 2008 Demand | 4150 | 4000 | 3700 | 4200 | 4350 | 3700 | 4350 | 4400 | 3750 | 4000 | 4000 | 3500
C. | GENERATION WITHIN DELHI | 1058 | 1058 | 1058 | 1058 | 1058 | 1058 | 1058 | 1058 | 1058 | 1058 | 1058 | 1058
D. | AVAILABILITY FROM CENTRAL SECTOR STNs | 2148 | 2172 | 1918 | 2148 | 2172 | 1918 | 2148 | 2172 | 1918 | 1980 | 2004 | 1750
E. | ADDITIONAL TIE-UPS | 983.6 | 983.6 | 983.6 | 983.6 | 983.6 | 983.6 | 837.04 | 837.04 | 837.04 | 837.04 | 837.04 | 837.04
F. | TOTAL AVAILABILITY INCLUDING BILATERALS (B+C+D) | 4189.6 | 4213.6 | 3959.6 | 4189.6 | 4213.6 | 3959.6 | 4043.04 | 4067.04 | 3813.04 | 3875.04 | 3899.04 | 3645.04
G. | Shortage(-)/Surplus(+) with NRPC method Demand | 289.6 | 513.6 | 509.6 | 239.6 | 163.6 | 459.6 | -6.96 | -32.96 | 313.04 | 125.04 | 199.04 | 345.04
H. | Shortage(-)/Surplus(+) with 5% Increased 2008 Demand | 39.6 | 213.6 | 259.6 | -10.4 | -136.4 | 259.6 | -306.96 | -332.96 | 63.04 | -124.96 | -100.96 | 145.04
1 | IP Generating station is being shut down permanently w.e.f 31st July 2009(subject to finalisation) hence availibility from IP has not been considered thereafter.
2 | Availability from Un-allocated quota of Central Sector has been considered as 20% from 10:00 to 18: 00 hours and 22% from 18:00 to 23:00 Hours as per the last year's pattern.
3 | BTPS 210 MW Unit # 4 will be under planned maintenance from 1st April TO 20th April 2009
4 | RPH 67.5 MW Unit # 1 will be under planned maintenance from 11th May to 30th June 2009.
5 | Pragati Unit#2 ((104+50) MW)) will be under planned shut down for maintenance from 22nd May to 20th June 2009.
6 | BTPS Unit # 1 (95 MW) will be under planned maintenance from 1st August 2009 to 25 August 2009
7 | BTPS Unit # 2 (95 MW) will be under planned maintenance from 1st September 2009 to 15th October 2009
8 | Dadri (Thermal) Unit-3 (210MW) will be under planned shut-down during 11th October 2009 to 4th November 2009.
9 | Dadri (Thermal) Unit-4 (210MW) will be under planned shut-down during 1st September 2009 to 9th October 2009.

## Delhi SummerApr-Sep
DELHI TRANSCO LTD.
DETAILED ANTICIPATED POWER SUPPLY SCENARIO OF DELHI FOR SUMMER 2009
| ALL FIGURES IN MW | [10 empty] | As on 28.03.2009
|  |  |  | APRIL 2009 | [5 empty] | MAY 2009
S. | SOURCES | 1ST FORTNIGHT |  |  | 2ND FORTNIGHT |  |  | 1ST FORTNIGHT |  |  | 2ND FORTNIGHT
No. |  | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST
|  | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs
| UNRESTRICTED DEMAND DURING THE YEAR 2000 | 2283 | 2426 |  | 2629 | 2719 |  | 2600 | 2689 |  | 2680 | 2780
| UNRESTRICTED DEMAND DURING THE YEAR 2001 | 2248 | 2498 |  | 2480 | 2651 |  | 2837 | 2815 |  | 2837 | 2900
| UNRESTRICTED DEMAND DURING THE YEAR 2002 | 2518 | 2737 |  | 2732 | 2917 |  | 3115 | 3113 |  | 3295 | 3194
| UNRESTRICTED DEMAND DURING THE YEAR 2003 | 2321 | 2702 |  | 2644 | 2971 |  | 2686 | 2979 |  | 2858 | 3117
| UNRESTRICTED DEMAND DURING THE YEAR 2004 | 2864 | 3106 |  | 3063 | 3158 |  | 3194 | 3291 |  | 3413 | 3348
| UNRESTRICTED DEMAND DURING THE YEAR 2005 | 2667 | 2921 |  | 2840 | 3047 |  | 2972 | 3148 |  | 3269 | 3248
| UNRESTRICTED DEMAND DURING THE YEAR 2006 | 2891 | 3244 |  | 3446 | 3515 |  | 3632 | 3592 |  | 3769 | 3843
| UNRESTRICTED DEMAND DURING THE YEAR 2007 | 2891 | 3182 |  | 3437 | 3414 |  | 3484 | 3625 |  | 3840 | 3551
| UNRESTRICTED DEMAND DURING THE YEAR 2008 | 2962 | 3151 | 2757 | 3509 | 3466 | 3090 | 3487 | 3477 | 3048 | 3562 | 3433 | 3120
| ANTICIPATED UNRESTRICTED DEMAND FOR 2009 AS PER NRPC METHOD with 5% increase on 2008 Demand | 3254 | 3403 | 3003.1403 | 3909 | 3792 | 3411.4359 | 3814 | 3752 | 3311.4509 | 3821 | 3647 | 3330.675
A. | ANTICIPATED DEMAND ROUNDED OFF | 3250 | 3400 | 3000 | 3900 | 3800 | 3400 | 3800 | 3750 | 3300 | 3850 | 3650 | 3350
GENERATION WITHIN DELHI
| IP | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
| RPH | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 48 | 48 | 48
| GT | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
| Pragati | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 150 | 150 | 150
| BTPS | 445.2 | 445.2 | 445.2 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630
| Total Generation within Delhi | 1140.2 | 1140.2 | 1140.2 | 1325 | 1325 | 1325 | 1325 | 1325 | 1325 | 1128 | 1128 | 1128
B. | Total of (A) GENERATION WITHIN DELHI @ 90% availability factor for IP, RPH, GT & PPCL AND 95% FOR BTPS. | 1048.44 | 1048.44 | 1048.44 | 1224 | 1224 | 1224 | 1224 | 1224 | 1224 | 1046.7 | 1046.7 | 1046.7
AVAILABILITY FROM CENTRAL SECTOR STNs
| AVAILABILITY FROM FIRM ALLOCATION FROM CENTRAL SECTOR STNs.( @ 95% availability for Thermal & 99% availability for Hydro stations as per NRPC methododlogy) | 1918 | 1918 | 1918 | 1918 | 1918 | 1918 | 1918 | 1918 | 1918 | 1918 | 1918 | 1918
| AVAILABILITY FROM UNALLOCATED CAPACITY OF EXISTING CENTRAL SECTOR STATIONS (@ 95% availability) | 230 | 254 | 0 | 230 | 254 | 0 | 230 | 254 | 0 | 230 | 254 | 0
C. | TOTAL | 2148 | 2172 | 1918 | 2148 | 2172 | 1918 | 2148 | 2172 | 1918 | 2148 | 2172 | 1918
ADDITIONAL TIE-UPS (** Arrangements on Day ahead basis)
| DVC | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6
| NDPL Banking arrangement with Rajasthan through TPTCL | 0 | 0 | 0 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16
| NDPL Banking arrangement with MP Tradeco through LANCO | 0 | 0 | 0 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38
| NDPL Banking arrangement with Rajasthan through PTC | 0 | 0 | -70 | 0 | 0 | 0 | 66 | 66 | 66 | 66 | 66 | 66
| NDPL Banking Arrangement with IPP in Rajasthan (60 MW). | 55.26 | 55.26 | 55.26 | 55.26 | 55.26 | 55.26 | 0 | 0 | 0 | 0 | 0 | 0
| NDPL Purchase agreement with Govt of HP | 96 | 96 | 96 | 96 | 96 | 96 | 0 | 0 | 0 | 0 | 0 | 0
| BYPL Banking Arrangement with HPSEB | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 96 | 0 | 96 | 96 | 0
| BRPL Banking Arrangement with Rinfra Mumbai through RETL (up to 100 MW). | 92 | 92 | 92 | 92 | 92 | 92 | 0 | 0 | 0 | 0 | 0 | 0
| BRPL Banking Arrangement with IPP in Rajasthan (25 MW). | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22
| BRPL Banking Arrangement with UPCL (100 to 200 MW) 100 MW availibility has been considered. | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
D. | TOTAL | 568.86 | 568.86 | 498.86 | 622.86 | 622.86 | 622.86 | 541.6 | 541.6 | 445.6 | 541.6 | 541.6 | 445.6
E. | TOTAL AVAILABILITY INCLUDING BILATERALS (B+C+D) | 3765.3 | 3789.3 | 3465.3 | 3994.86 | 4018.86 | 3764.86 | 3913.6 | 3937.6 | 3587.6 | 3736.3 | 3760.3 | 3410.3
F. | Shortage(-)/Surplus(+) (F)= (E-A) | 515.3 | 389.3 | 465.3 | 94.86 | 218.86 | 364.86 | 113.6 | 187.6 | 287.6 | -113.7 | 110.3 | 60.3
Note :
1 | IP Generating station is being shut down permanently w.e.f 31st July 2009(subject to finalisation) hence availibility from IP has not been considered thereafter.
2 | Availability from Un-allocated quota of Central Sector has been considered as 20% from 10:00 to 18: 00 hours and 22% from 18:00 to 23:00 Hours as per the last year's pattern.
3 | BTPS 210 MW Unit # 4 will be under planned maintenance from 1st April TO 20th April 2009
4 | RPH 67.5 MW Unit # 1 will be under planned maintenance from 11th May to 30th June 2009.
5 | Pragati Unit#2 ((104+50) MW)) will be under planned shut down for maintenance from 22nd May to 20th June 2009.
DELHI TRANSCO LTD.
DETAILED ANTICIPATED POWER SUPPLY SCENARIO OF DELHI FOR SUMMER 2009
| ALL FIGURES IN MW | [10 empty] | As on 27-03-2009
|  |  |  | JUNE 2009 | [5 empty] | JULY 2009
S. | SOURCES | 1ST FORTNIGHT |  |  | 2ND FORTNIGHT |  |  | 1ST FORTNIGHT |  |  | 2ND FORTNIGHT
No. |  | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST
|  | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs
| UNRESTRICTED DEMAND DURING THE YEAR 2000 | 2620 | 2634 |  | 2674 | 2740 |  | 2650 | 2850 |  | 2650 | 2850
| UNRESTRICTED DEMAND DURING THE YEAR 2001 | 2829 | 3020 |  | 2722 | 2835 |  | 2892 | 2991 |  | 2818 | 2929
| UNRESTRICTED DEMAND DURING THE YEAR 2002 | 3100 | 3189 |  | 3265 | 3065 |  | 3175 | 3242 |  | 3347 | 3211
| UNRESTRICTED DEMAND DURING THE YEAR 2003 | 3092 | 3284 |  | 3135 | 3207 |  | 3157 | 3303 |  | 2881 | 3133
| UNRESTRICTED DEMAND DURING THE YEAR 2004 | 3315 | 3336 |  | 3309 | 3339 |  | 3520 | 3553 |  | 3499 | 3471
| UNRESTRICTED DEMAND DURING THE YEAR 2005 | 3381 | 3319 |  | 3706 | 3552 |  | 3446 | 3352 |  | 3567 | 3624
| UNRESTRICTED DEMAND DURING THE YEAR 2006 | 3560 | 3531 |  | 3692 | 3656 |  | 3983 | 3901 |  | 3722 | 3817
| UNRESTRICTED DEMAND DURING THE YEAR 2007 | 4075 | 3919 |  | 3726 | 3647 |  | 3909 | 3819 |  | 3879 | 3840
| UNRESTRICTED DEMAND DURING THE YEAR 2008 | 3715 | 3707 | 3319 | 3901 | 3807 | 3368 | 3994 | 3862 | 3377 | 4036 | 3890 | 3457
| ANTICIPATED UNRESTRICTED DEMAND FOR 2009 AS PER NRPC METHOD with 5% increase on 2008 Demand | 4055 | 4053 | 3625.7715 | 4321 | 4199 | 3722.7058 | 4406 | 4228 | 3711.1951 | 4515 | 4263 | 3827.8821
A. | ANTICIPATED DEMAND ROUNDED OFF | 4050 | 4050 | 3650 | 4350 | 4200 | 3750 | 4400 | 4250 | 3700 | 4500 | 4250 | 3850
GENERATION WITHIN DELHI
| IP | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
| RPH | 48 | 48 | 48 | 48 | 48 | 48 | 95 | 95 | 95 | 95 | 95 | 95
| GT | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
| Pragati | 150 | 150 | 150 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
| BTPS | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630
| Total Generation within Delhi | 1128 | 1128 | 1128 | 1278 | 1278 | 1278 | 1325 | 1325 | 1325 | 1325 | 1325 | 1325
B. | Total of (A) GENERATION WITHIN DELHI @ 90% availability factor for IP, RPH, GT & PPCL AND 95% FOR BTPS. | 1046.7 | 1046.7 | 1046.7 | 1181.7 | 1181.7 | 1181.7 | 1224 | 1224 | 1224 | 1224 | 1224 | 1224
AVAILABILITY FROM CENTRAL SECTOR STNs
| AVAILABILITY FROM FIRM ALLOCATION FROM CENTRAL SECTOR STNs.( @ 95% availability for Thermal & 99% availability for Hydro stations as per NRPC methododlogy) | 1918 | 1918 | 1918 | 1918 | 1918 | 1918 | 1918 | 1918 | 1918 | 1918 | 1918 | 1918
| AVAILABILITY FROM UNALLOCATED CAPACITY OF EXISTING CENTRAL SECTOR STATIONS (@ 95% availability) | 230 | 254 | 0 | 230 | 254 | 0 | 230 | 254 | 0 | 230 | 254 | 0
C. | TOTAL | 2148 | 2172 | 1918 | 2148 | 2172 | 1918 | 2148 | 2172 | 1918 | 2148 | 2172 | 1918
ADDITIONAL TIE-UPS (** Arrangements on Day ahead basis)
| DVC | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6
| NDPL Banking arrangement with Rajasthan through TPTCL | 16 | 16 | 16 | 16 | 16 | 16 | 0 | 0 | 0 | 0 | 0 | 0
| NDPL Banking arrangement with MP Tradeco through LANCO | 38 | 38 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| NDPL Banking arrangement with MP Tradeco through PTC | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 18 | 18 | 18 | 18 | 18
| NDPL Banking arrangement with Rajasthan through PTC | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96
| BYPL Banking Arrangement with HPSEB | 96 | 96 | 0 | 96 | 96 | 0 | 76.8 | 76.8 | 76.8 | 76.8 | 76.8 | 76.8
| BYPL Banking Arrangement with PTC (upto 150 MW) 100 MW availibility has been considered. | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 92 | 92 | 92 | 92 | 92
| BYPL Banking Arrangement with Lanco (upto 200 MW) 100 MW availibility has been considered. | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 92 | 92 | 92 | 92 | 92
| BRPL Banking Arrangement with HPSEB | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 62.4 | 62.4 | 62.4 | 62.4 | 62.4 | 62.4
| BRPL Banking Arrangement with RETL 30 MW availibility has been considered. | 0 | 0 | 0 | 0 | 0 | 0 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6
| BRPL Banking Arrangement with UPCL (100 to 200 MW) 100 MW availibility has been considered. | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
| BRPL Purchase Agreement with RETL | 0 | 0 | 0 | 0 | 0 | 0 | 80.04 | 80.04 | 80.04 | 80.04 | 80.04 | 80.04
| BRPL Banking Arrangement with Lanco (upto 200 MW) 100 MW availibility has been considered. | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 92 | 92 | 92 | 92 | 92
| BRPL Banking Arrangement with IPP in Rajasthan (25 MW). | 22 | 22 | 22 | 22 | 22 | 22 | 0 | 0 | 0 | 0 | 0 | 0
| BRPL Banking Arrangement with PTC (upto 150 MW) 100 MW availibility has been considered. | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 92 | 92 | 92 | 92 | 92
D. | TOTAL | 629.2 | 629.2 | 533.2 | 591.2 | 591.2 | 495.2 | 1032.44 | 1032.44 | 1032.44 | 1032.44 | 1032.44 | 1032.44
E. | TOTAL AVAILABILITY INCLUDING BILATERALS (B+C+D) | 3823.9 | 3847.9 | 3497.9 | 3920.9 | 3944.9 | 3594.9 | 4404.44 | 4428.44 | 4174.44 | 4404.44 | 4428.44 | 4174.44
F. | Shortage(-)/Surplus(+) (F)= (E-A) | -226.1 | -202.1 | -152.1 | -429.1 | -255.1 | -155.1 | 4.44 | 178.44 | 474.44 | -95.56 | 178.44 | 324.44
Note :
1 | IP Generating station is being shut down permanently w.e.f 31st July 2009(subject to finalisation) hence availibility from IP has not been considered thereafter.
2 | Availability from Un-allocated quota of Central Sector has been considered as 20% from 10:00 to 18: 00 hours and 22% from 18:00 to 23:00 Hours as per the last year's pattern.
3 | RPH 67.5 MW Unit # 1 will be under planned maintenance from 11th May to 30th June 2009.
5 | Pragati Unit#2 (104 MW) will be under planned shut down for maintenance from 22nd May to 20th June 2009.
DELHI TRANSCO LTD.
DETAILED ANTICIPATED POWER SUPPLY SCENARIO OF DELHI FOR SUMMER 2009
| ALL FIGURES IN MW | [10 empty] | As on 27-03-2009
|  |  |  | AUGUST 2009 | [5 empty] | SEPTEMBER 2009
S. No. | SOURCES | 1ST FORTNIGHT |  |  | 2ND FORTNIGHT |  |  | 1ST FORTNIGHT |  |  | 2ND FORTNIGHT
|  | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST
|  | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs
| UNRESTRICTED DEMAND DURING THE YEAR 2000 | 2780 | 2910 |  | 2580 | 2690 |  | 2753 | 2668 |  | 2643 | 2800
| UNRESTRICTED DEMAND DURING THE YEAR 2001 | 2890 | 2914 |  | 2839 | 3000 |  | 2807 | 2991 |  | 2707 | 2933
| UNRESTRICTED DEMAND DURING THE YEAR 2002 | 3157 | 3244 |  | 2943 | 3041 |  | 2803 | 2914 |  | 2775 | 2863
| UNRESTRICTED DEMAND DURING THE YEAR 2003 | 2955 | 3151 |  | 3009 | 3240 |  | 2999 | 3108 |  | 2837 | 3121
| UNRESTRICTED DEMAND DURING THE YEAR 2004 | 3217 | 3280 |  | 3142 | 3248 |  | 3127 | 3408 |  | 3080 | 3277
| UNRESTRICTED DEMAND DURING THE YEAR 2005 | 3634 | 3653 |  | 3524 | 3601 |  | 3586 | 3722 |  | 3162 | 3551
| UNRESTRICTED DEMAND DURING THE YEAR 2006 | 3584 | 3716 |  | 3739 | 3888 |  | 3438 | 3661 |  | 3492 | 3597
| UNRESTRICTED DEMAND DURING THE YEAR 2007 | 3745 | 3826 |  | 3797 | 3903 |  | 3676 | 3594 |  | 3475 | 3705
| UNRESTRICTED DEMAND DURING THE YEAR 2008 | 3782 | 3686 | 3396 | 3827 | 3943 | 3375 | 3863 | 3945 | 3349 | 3612 | 3657 | 3192
| ANTICIPATED UNRESTRICTED DEMAND FOR 2009 AS PER NRPC METHOD with 5% increase on 2008 Demand | 4166 | 3976 | 3701.996 | 4217 | 4337 | 3715.5905 | 4343 | 4413 | 3755.7142 | 4009 | 3977 | 3507.0741
A. | ANTICIPATED DEMAND ROUNDED OFF | 4150 | 4000 | 3700 | 4200 | 4350 | 3700 | 4350 | 4400 | 3750 | 4000 | 4000 | 3500
GENERATION WITHIN DELHI
| IP | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| RPH | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95
| GT | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
| Pragati | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
| BTPS | 550 | 550 | 550 | 550 | 550 | 550 | 550 | 550 | 550 | 550 | 550 | 550
| Total Generation within Delhi | 1145 | 1145 | 1145 | 1145 | 1145 | 1145 | 1145 | 1145 | 1145 | 1145 | 1145 | 1145
B. | Total of (A) GENERATION WITHIN DELHI @ 90% availability factor for IP, RPH, GT & PPCL AND 95% FOR BTPS. | 1058 | 1058 | 1058 | 1058 | 1058 | 1058 | 1058 | 1058 | 1058 | 1058 | 1058 | 1058
AVAILABILITY FROM CENTRAL SECTOR STNs
| AVAILABILITY FROM FIRM ALLOCATION FROM CENTRAL SECTOR STNs.( @ 95% availability for Thermal & 99% availability for Hydro stations as per NRPC methododlogy) | 1918 | 1918 | 1918 | 1918 | 1918 | 1918 | 1918 | 1918 | 1918 | 1750 | 1750 | 1750
| AVAILABILITY FROM UNALLOCATED CAPACITY OF EXISTING CENTRAL SECTOR STATIONS (@ 95% availability) | 230 | 254 | 0 | 230 | 254 | 0 | 230 | 254 | 0 | 230 | 254 | 0
C. | TOTAL | 2148 | 2172 | 1918 | 2148 | 2172 | 1918 | 2148 | 2172 | 1918 | 1980 | 2004 | 1750
ADDITIONAL TIE-UPS
| DVC | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6 | 211.6
| NDPL Banking arrangement with MP Tradeco through PTC | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18
| NDPL Banking arrangement with Rajasthan through PTC | 96 | 96 | 96 | 96 | 96 | 96 | 72 | 72 | 72 | 72 | 72 | 72
| BYPL Banking Arrangement with HPSEB | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 0 | 0 | 0 | 0 | 0 | 0
| BYPL Banking Arrangement with PTC (upto 150 MW) 100 MW availibility has been considered. | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
| BYPL Banking Arrangement with Lanco (upto 200 MW) 100 MW availibility has been considered. | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
| BRPL Banking Arrangement with HPSEB | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 0 | 0 | 0 | 0 | 0 | 0
| BRPL Banking Arrangement with RETL 30 MW availibility has been considered. | 27.6 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6
| BRPL Banking Arrangement with UPCL (100 to 200 MW) 100 MW availibility has been considered. | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
| BRPL Purchase Agreement with RETL | 55.2 | 55.2 | 55.2 | 55.2 | 55.2 | 55.2 | 47.84 | 47.84 | 47.84 | 47.84 | 47.84 | 47.84
| BRPL Banking Arrangement with Lanco (upto 200 MW) 100 MW availibility has been considered. | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
| BRPL Banking Arrangement with PTC (upto 150 MW) 100 MW availibility has been considered. | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
D. | TOTAL | 983.6 | 983.6 | 983.6 | 983.6 | 983.6 | 983.6 | 837.04 | 837.04 | 837.04 | 837.04 | 837.04 | 837.04
E. | TOTAL AVAILABILITY INCLUDING BILATERALS (B+C+D) | 4189.6 | 4213.6 | 3959.6 | 4189.6 | 4213.6 | 3959.6 | 4043.04 | 4067.04 | 3813.04 | 3875.04 | 3899.04 | 3645.04
F. | Shortage(-)/Surplus(+) (F)= (E-A) | 39.6 | 213.6 | 259.6 | -10.4 | -136.4 | 259.6 | -306.96 | -332.96 | 63.04 | -124.96 | -100.96 | 145.04
Note :
1 | IP Generating station is being shut down permanently w.e.f 31st July 2009(subject to finalisation) hence availibility from IP has not been considered thereafter.
2 | Availability from Un-allocated quota of Central Sector has been considered as 20% from 10:00 to 18: 00 hours and 22% from 18:00 to 23:00 Hours as per the last year's pattern.
3 | BTPS Unit # 1 (95 MW) will be under planned maintenance from 1st August 2009 to 25 August 2009
4 | BTPS Unit # 2 (95 MW) will be under planned maintenance from 1st September 2009 to 15th October 2009
5 | Dadri (Thermal) Unit-3 (210MW) will be under planned shut-down during 11th October 2009 to 4th November 2009.
6 | Dadri (Thermal) Unit-4 (210MW) will be under planned shut-down during 1st September 2009 to 9th October 2009.

## Discom Combined
DELHI TRANSCO LTD.
DISCOM-WISE ANTICIPATED POWER SUPPLY SCENARIO FOR SUMMER 2009
Un-allocated capacity(298.1 MW ) available with GNCTD has been allocated to BYPL, NDPL & BRPL and UA power from NDMC Allocation to BRPL as per GNCTD order no. F.11(41)/2007/Power/868 dated 31-3-2008.
All figures in MW at Delhi Periphery | [11 empty] | As on 28.03.2009
S. | DETAILS | APRIL 2009 | [5 empty] | MAY 2009
NO. |  | 1st Fortnight |  |  | 2nd fortnight |  |  | 1st fortnight |  |  | 2nd fortnight
|  | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST
|  | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs
A | ANTICIPATED DEMAND FOR 2008-09 AS PER NRPC METHOD | 3250 | 3400 | 3000 | 3900 | 3800 | 3400 | 3800 | 3750 | 3300 | 3850 | 3650 | 3350
B | Reducing peak demand for NDMC & MES from A | 2955 | 3145 | 2792 | 3605 | 3545 | 3192 | 3485 | 3495 | 3092 | 3525 | 3395 | 3130
NDPL POSITION
(i) | Demand of NDPL (29.18% Energy Share) i.e. 29.18% of B. | 862.269 | 917.711 | 814.7056 | 1051.939 | 1034.431 | 931.4256 | 1016.923 | 1019.841 | 902.2456 | 1028.595 | 990.661 | 913.334
AVAILABILITY FOR NDPL
1 | Through CSGS & State Sector existing projects | 785.2163 | 792.2195 | 718.1023 | 815.9 | 822.9032 | 748.786 | 801.2828 | 808.286 | 734.1688 | 767.4782 | 774.4814 | 700.3642
2 | Through un-allocated quota available with GNCTD | 76.7598 | 76.7598 | 76.7598 | 84.9299 | 84.9299 | 84.9299 | 93.1 | 93.1 | 93.1 | 87.1086 | 87.1086 | 87.1086
3 | Through DVC Agreement | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449
4 | NDPL Banking arrangement with Rajasthan through TPTCL | 0 | 0 | 0 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16 | 16
5 | NDPL Banking arrangement with MP Tradeco through LANCO | 0 | 0 | 0 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38 | 38
6 | NDPL Banking arrangement with Rajasthan through PTC | 0 | 0 | -70 | 0 | 0 | 0 | 66 | 66 | 66 | 66 | 66 | 66
7 | NDPL Purchase agreement with Govt of HP | 96 | 96 | 96 | 96 | 96 | 96 | 0 | 0 | 0 | 0 | 0 | 0
8 | NDPL Banking Arrangement with IPP in Rajasthan (60 MW). | 55.26 | 55.26 | 55.26 | 55.26 | 55.26 | 55.26 | 0 | 0 | 0 | 0 | 0 | 0
9 | TOTAL AVAILIBILITY | 1074.981 | 1081.9842 | 937.867 | 1167.8348 | 1174.838 | 1100.7208 | 1076.1277 | 1083.1309 | 1009.0137 | 1036.3317 | 1043.3349 | 969.2177
| Anticipated Shortages (-) /Surplus (+) for NDPL area | 212.712 | 164.2732 | 123.1614 | 115.8958 | 140.407 | 169.2952 | 59.2047 | 63.2899 | 106.7681 | 7.7367 | 52.6739 | 55.8837
BYPL POSITION
(ii) | Demand of BYPL (27.24% Energy Share) i.e. 27.24% of B. | 804.942 | 856.698 | 760.5408 | 982.002 | 965.658 | 869.5008 | 949.314 | 952.038 | 842.2608 | 960.21 | 924.798 | 852.612
AVAILABILITY FOR BYPL
1 | Through CSGS & State Sector existing projects | 733.0121 | 739.5497 | 670.3601 | 761.6558 | 768.1934 | 699.0038 | 748.0104 | 754.548 | 685.3584 | 716.4533 | 722.9909 | 653.8013
2 | Through un-allocated quota available with GNCTD | 120.6226 | 120.6226 | 120.6226 | 133.4613 | 133.4613 | 133.4613 | 146.3 | 146.3 | 146.3 | 136.885 | 136.885 | 136.885
3 | Through DVC | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398
4 | BYPL Banking Arrangement with HPSEB | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 96 | 96 | 96 | 96 | 96
5 | TOTAL AVAILIBILITY | 911.2745 | 917.8121 | 848.6225 | 952.7569 | 959.2945 | 890.1049 | 1047.9502 | 1054.4878 | 985.2982 | 1006.9781 | 1013.5157 | 944.3261
| Anticipated Shortages (-) /Surplus (+) for BYPL area. | 106.3325 | 61.1141 | 88.0817 | -29.2451 | -6.3635 | 20.6041 | 98.6362 | 102.4498 | 143.0374 | 46.7681 | 88.7177 | 91.7141
BRPL POSITION
(iii) | Demand of BRPL (43.58% Energy Share) i.e. 43.58% of B. | 1287.789 | 1370.591 | 1216.7536 | 1571.059 | 1544.911 | 1391.0736 | 1518.763 | 1523.121 | 1347.4936 | 1536.195 | 1479.541 | 1364.054
AVAILABILITY FOR BRPL
1 | Through CSGS & State Sector existing projects | 1172.7117 | 1183.1709 | 1072.4777 | 1218.5374 | 1228.9966 | 1118.3034 | 1196.7068 | 1207.166 | 1096.4728 | 1146.2201 | 1156.6793 | 1045.9861
2 | Through un-allocated quota available with GNCTD | 59.9179 | 59.9179 | 59.9179 | 67.2744 | 67.2744 | 67.2744 | 73.6 | 73.6 | 73.6 | 65.2734 | 65.2734 | 65.2734
3 | Through DVC | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153
4 | BRPL Banking Arrangement with Rinfra Mumbai through RETL (up to 100 MW). | 92 | 92 | 92 | 92 | 92 | 92 | 0 | 0 | 0 | 0 | 0 | 0
5 | BRPL Banking Arrangement with IPP in Rajasthan (25 MW). | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22
6 | BRPL Banking Arrangement with UPCL (100 to 200 MW) 100 MW availibility has been considered. | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
7 | TOTAL AVAILIBILITY | 1530.8448 | 1541.304 | 1430.6108 | 1584.0271 | 1594.4863 | 1483.7931 | 1476.5221 | 1486.9813 | 1376.2881 | 1417.7087 | 1428.1679 | 1317.4747
| Anticipated Shortages (-) /Surplus (+) for BRPL area. | 243.0558 | 170.713 | 213.8572 | 12.9681 | 49.5753 | 92.7195 | -42.2409 | -36.1397 | 28.7945 | -118.4863 | -51.3731 | -46.5793
NDMC POSITION
(iv) | Anticipated Demand of NDMC | 260 | 220 | 180 | 260 | 220 | 180 | 280 | 220 | 180 | 290 | 220 | 190
| AVAILABILITY FOR NDMC from BTPS, DADRI & PRAGATI. | 254.5904 | 254.5904 | 254.5904 | 288.25 | 288.25 | 288.25 | 315 | 315 | 315 | 270.6667 | 270.6667 | 270.6667
| Less 15% power towards UA Quota of GNCTD | 37.9865 | 37.9865 | 37.9865 | 43.0087 | 43.0087 | 43.0087 | 47 | 47 | 47 | 40.3852 | 40.3852 | 40.3852
| Net Availibility for NDMC | 216.6039 | 216.6039 | 216.6039 | 245.2413 | 245.2413 | 245.2413 | 268 | 268 | 268 | 230.2815 | 230.2815 | 230.2815
| Anticipated Shortages (-) /Surplus (+) for NDMC area. | -43.3961 | -3.3961 | 36.6039 | -14.7587 | 25.2413 | 65.2413 | -12 | 48 | 88 | -59.7185 | 10.2815 | 40.2815
MES POSITION
(v) | Anticipated Demand of MES | 35 | 35 | 28 | 35 | 35 | 28 | 35 | 35 | 28 | 35 | 35 | 30
| AVAILABILITY FOR MES from BTPS | 31.5957 | 31.5957 | 31.5957 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45
| Anticipated Shortages (-) /Surplus (+) for MES area. | -3.4043 | -3.4043 | 3.5957 | 10 | 10 | 17 | 10 | 10 | 17 | 10 | 10 | 15
| OVERALL SHORTGES(-) / SURPLUS(+) for DELHI | 515.3 | 389.3 | 465.3 | 94.86 | 218.86 | 364.86 | 113.6 | 187.6 | 383.6 | -113.7 | 110.3 | 156.3
NOTE
1 | IP Generating station is being shut down permanently w.e.f 31st July 2009(subject to finalisation) hence availibility from IP has not been considered thereafter.
2 | Availability from Un-allocated quota of Central Sector has been considered as 20% from 10:00 to 18: 00 hours and 22% from 18:00 to 23:00 Hours as per the last year's pattern.
3 | BTPS 210 MW Unit # 4 will be under planned maintenance from 1st April TO 20th April 2009
4 | RPH 67.5 MW Unit # 1 will be under planned maintenance from 11th May to 30th June 2009.
5 | Pragati Unit#2 ((104+50) MW)) will be under planned shut down for maintenance from 22nd May to 20th June 2009.
DELHI TRANSCO LTD.
DISCOM-WISE ANTICIPATED POWER SUPPLY SCENARIO FOR SUMMER 2009
Un-allocated capacity(298.1 MW ) available with GNCTD has been allocated to BYPL, NDPL & BRPL and UA power from NDMC Allocation to BRPL as per GNCTD order no. F.11(41)/2007/Power/868 dated 31-3-2008.
All figures in MW at Delhi Periphery | [11 empty] | As on 27-03-2009
S. | DETAILS | JUNE 2009 | [5 empty] | JULY, 2009
NO. |  | 1st Fortnight |  |  | 2nd fortnight |  |  | 1st Fortnight |  |  | 2nd fortnight
|  | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST
|  | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs
A | ANTICIPATED DEMAND FOR 2008-09 AS PER NRPC METHOD | 4050 | 4050 | 3650 | 4350 | 4200 | 3750 | 4400 | 4250 | 3700 | 4500 | 4250 | 3850
B | Reducing peak demand for NDMC & MES from A | 3725 | 3775 | 3430 | 4025 | 3925 | 3530 | 4075 | 3975 | 3480 | 4175 | 3975 | 3630
NDPL POSITION
(i) | Demand of NDPL (29.18% Energy Share) i.e. 29.18% of B. | 1086.955 | 1101.545 | 1000.874 | 1174.495 | 1145.315 | 1030.054 | 1189.085 | 1159.905 | 1015.464 | 1218.265 | 1159.905 | 1059.234
AVAILABILITY FOR NDPL
1 | Through CSGS & State Sector existing projects | 769.2477 | 776.2509 | 702.1337 | 788.9397 | 795.9429 | 721.8257 | 801.2828 | 808.286 | 734.1688 | 801.2828 | 808.286 | 734.1688
2 | Through un-allocated quota available with GNCTD | 87.1086 | 87.1086 | 87.1086 | 93.1 | 93.1 | 93.1 | 93.1 | 93.1 | 93.1 | 93.1 | 93.1 | 93.1
3 | Through DVC | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449
4 | NDPL Banking arrangement with Rajasthan through TPTCL | 16 | 16 | 16 | 16 | 16 | 16 | 0 | 0 | 0 | 0 | 0 | 0
5 | NDPL Banking arrangement with MP Tradeco through LANCO | 38 | 38 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | NDPL Banking arrangement with MP Tradeco through PTC | 0 | 0 | 0 | 0 | 0 | 0 | 18 | 18 | 18 | 18 | 18 | 18
7 | NDPL Banking arrangement with Rajasthan through PTC | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96 | 96
8 | TOTAL AVAILIBILITY | 1068.1011 | 1075.1043 | 1000.9871 | 1055.7845 | 1062.7877 | 988.6705 | 1070.1277 | 1077.1309 | 1003.0137 | 1070.1277 | 1077.1309 | 1003.0137
| Anticipated Shortages (-) /Surplus (+) for NDPL area | -18.8539 | -26.4407 | 0.11315 | -118.7105 | -82.5273 | -41.3835 | -118.9573 | -82.7741 | -12.4503 | -148.1373 | -82.7741 | -56.2203
BYPL POSITION
(ii) | Demand of BYPL (27.24% Energy Share) i.e. 27.24% of B. | 1014.69 | 1028.31 | 934.332 | 1096.41 | 1069.17 | 961.572 | 1110.03 | 1082.79 | 947.952 | 1137.27 | 1082.79 | 988.812
AVAILABILITY FOR BYPL
1 | Through CSGS & State Sector existing projects | 718.1051 | 724.6427 | 655.4531 | 736.4879 | 743.0255 | 673.8359 | 748.0104 | 754.548 | 685.3584 | 748.0104 | 754.548 | 685.3584
2 | Through un-allocated quota available with GNCTD | 136.885 | 136.885 | 136.885 | 146.3 | 146.3 | 146.3 | 146.3 | 146.3 | 146.3 | 146.3 | 146.3 | 146.3
3 | Through DVC | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398
4 | BYPL Banking Arrangement with HPSEB | 96 | 96 | 96 | 96 | 96 | 96 | 76.8 | 76.8 | 76.8 | 76.8 | 76.8 | 76.8
5 | BYPL Banking Arrangement with PTC (upto 150 MW) 100 MW availibility has been considered. | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 92 | 92 | 92 | 92 | 92
6 | BYPL Banking Arrangement with Lanco (upto 200 MW) 100 MW availibility has been considered. | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 92 | 92 | 92 | 92 | 92
7 | TOTAL AVAILIBILITY | 1008.6299 | 1015.1675 | 945.9779 | 1036.4277 | 1042.9653 | 973.7757 | 1212.7502 | 1219.2878 | 1150.0982 | 1212.7502 | 1219.2878 | 1150.0982
| Anticipated Shortages (-) /Surplus (+) for BYPL area. | -6.0601 | -13.1425 | 11.6459 | -59.9823 | -26.2047 | 12.2037 | 102.7202 | 136.4978 | 202.1462 | 75.4802 | 136.4978 | 161.2862
BRPL POSITION
(iii) | Demand of BRPL (43.58% Energy Share) i.e. 43.58% of B. | 1623.355 | 1645.145 | 1494.794 | 1754.095 | 1710.515 | 1538.374 | 1775.885 | 1732.305 | 1516.584 | 1819.465 | 1732.305 | 1581.954
AVAILABILITY FOR BRPL
1 | Through CSGS & State Sector existing projects | 1148.8627 | 1159.3219 | 1048.6287 | 1178.2725 | 1188.7317 | 1078.0385 | 1196.7068 | 1207.166 | 1096.4728 | 1196.7068 | 1207.166 | 1096.4728
2 | Through un-allocated quota available with GNCTD | 65.2734 | 65.2734 | 65.2734 | 73.6 | 73.6 | 73.6 | 73.6 | 73.6 | 73.6 | 73.6 | 73.6 | 73.6
3 | Through DVC | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153
4 | BRPL Banking Arrangement with HPSEB | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 62.4 | 62.4 | 62.4 | 62.4 | 62.4 | 62.4
5 | BRPL Banking Arrangement with RETL 30 MW availibility has been considered. | 0 | 0 | 0 | 0 | 0 | 0 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6
6 | BRPL Banking Arrangement with UPCL (100 to 200 MW) 100 MW availibility has been considered. | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
7 | BRPL Purchase Agreement with RETL | 0 | 0 | 0 | 0 | 0 | 0 | 80.04 | 80.04 | 80.04 | 80.04 | 80.04 | 80.04
8 | BRPL Banking Arrangement with Lanco (upto 200 MW) 100 MW availibility has been considered. | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 92 | 92 | 92 | 92 | 92
9 | BRPL Banking Arrangement with IPP in Rajasthan (25 MW). | 22 | 22 | 22 | 22 | 22 | 22 | 0 | 0 | 0 | 0 | 0 | 0
10 | BRPL Banking Arrangement with PTC (upto 150 MW) 100 MW availibility has been considered. | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 92 | 92 | 92 | 92 | 92
11 | TOTAL AVAILIBILITY | 1477.9513 | 1488.4105 | 1377.7173 | 1515.6877 | 1526.1469 | 1415.4537 | 1808.5621 | 1819.0213 | 1708.3281 | 1808.5621 | 1819.0213 | 1708.3281
| Anticipated Shortages (-) /Surplus (+) for BRPL area. | -145.4037 | -156.7345 | -117.0767 | -238.4073 | -184.3681 | -122.9203 | 32.6771 | 86.7163 | 191.7441 | -10.9029 | 86.7163 | 126.3741
NDMC POSITION
(iv) | Anticipated Demand of NDMC | 290 | 240 | 190 | 290 | 240 | 190 | 290 | 240 | 190 | 290 | 240 | 190
| AVAILABILITY FOR NDMC from BTPS, DADRI & PRAGATI. | 270.6667 | 270.6667 | 270.6667 | 315 | 315 | 315 | 315 | 315 | 315 | 315 | 315 | 315
| Less 15% power towards UA Quota of GNCTD | 40.3852 | 40.3852 | 40.3852 | 47 | 47 | 47 | 47 | 47 | 47 | 47 | 47 | 47
| Net Availibility for NDMC | 230.2815 | 230.2815 | 230.2815 | 268 | 268 | 268 | 268 | 268 | 268 | 268 | 268 | 268
| Anticipated Shortages (-) /Surplus (+) for NDMC area. | -59.7185 | -9.7185 | 40.2815 | -22 | 28 | 78 | -22 | 28 | 78 | -22 | 28 | 78
MES POSITION
(v) | Anticipated Demand of MES | 35 | 35 | 30 | 35 | 35 | 30 | 35 | 35 | 30 | 35 | 35 | 30
| AVAILABILITY FOR MES from BTPS | 38.9362 | 38.9362 | 38.9362 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45
| Anticipated Shortages (-) /Surplus (+) for MES area. | 3.9362 | 3.9362 | 8.9362 | 10 | 10 | 15 | 10 | 10 | 15 | 10 | 10 | 15
| OVERALL SHORTGES(-) / SURPLUS(+) for DELHI | -226.1 | -202.1 | -56.1 | -429.1 | -255.1 | -59.1 | 4.44 | 178.44 | 474.44 | -95.56 | 178.44 | 324.44
1 | IP Generating station is being shut down permanently w.e.f 31st July 2009(subject to finalisation) hence availibility from IP has not been considered thereafter.
2 | Availability from Un-allocated quota of Central Sector has been considered as 20% from 10:00 to 18: 00 hours and 22% from 18:00 to 23:00 Hours as per the last year's pattern.
3 | RPH 67.5 MW Unit # 1 will be under planned maintenance from 11th May to 30th June 2009.
4 | Pragati Unit#2 (104 MW) will be under planned shut down for maintenance from 22nd May to 20th June 2009.
DELHI TRANSCO LTD.
DISCOM-WISE ANTICIPATED POWER SUPPLY SCENARIO FOR SUMMER 2009
Un-allocated capacity(298.1 MW ) available with GNCTD has been allocated to BYPL, NDPL & BRPL and UA power from NDMC Allocation to BRPL as per GNCTD order no. F.11(41)/2007/Power/868 dated 31-3-2008.
All figures in MW at Delhi Periphery | [11 empty] | As on 27-03-2009
S. |  | AUGUST 2009 | [5 empty] | SEPTEMBER 2009
NO. | DETAILS | 1st fortnight |  |  | 2nd fortnight |  |  | 1st Fortnight |  |  | 2nd fortnight
|  | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST | DAY PEAK | EVE PEAK | REST
|  | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs | 10 - 18 Hrs | 18 - 24 Hrs | 24 - 10 Hrs
A | ANTICIPATED DEMAND FOR 2008-09 AS PER NRPC METHOD | 4150 | 4000 | 3700 | 4200 | 4350 | 3700 | 4350 | 4400 | 3750 | 4000 | 4000 | 3500
B | Reducing peak demand for NDMC & MES from A | 3825 | 3725 | 3480 | 3875 | 4075 | 3480 | 4035 | 4135 | 3540 | 3685 | 3735 | 3290
NDPL POSITION
(i) | Demand of NDPL (29.18% Energy Share) i.e. 29.18% of B. | 1116.135 | 1086.955 | 1015.464 | 1130.725 | 1189.085 | 1015.464 | 1177.413 | 1206.593 | 1032.972 | 1075.283 | 1089.873 | 960.022
AVAILABILITY FOR NDPL
1 | Through CSGS & State Sector existing projects | 760.3686 | 767.3718 | 693.2546 | 760.3686 | 767.3718 | 693.2546 | 760.3686 | 767.3718 | 693.2546 | 725.9634 | 732.9666 | 658.8494
2 | Through un-allocated quota available with GNCTD | 89.404 | 89.404 | 89.404 | 89.404 | 89.404 | 89.404 | 89.404 | 89.404 | 89.404 | 81.2339 | 81.2339 | 81.2339
3 | Through DVC | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449 | 61.7449
4 | NDPL Banking arrangement with MP Tradeco through PTC | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18
5 | NDPL Banking arrangement with Rajasthan through PTC | 96 | 96 | 96 | 96 | 96 | 96 | 72 | 72 | 72 | 72 | 72 | 72
6 | TOTAL AVAILIBILITY | 1025.5175 | 1032.5207 | 958.4035 | 1025.5175 | 1032.5207 | 958.4035 | 1001.5175 | 1008.5207 | 934.4035 | 958.9422 | 965.9454 | 891.8282
| Anticipated Shortages (-) /Surplus (+) for NDPL area | -90.6175 | -54.4343 | -57.0605 | -105.2075 | -156.5643 | -57.0605 | -175.8955 | -198.0723 | -98.5685 | -116.3408 | -123.9276 | -68.1938
BYPL POSITION
(ii) | Demand of BYPL (27.24% Energy Share) i.e. 27.24% of B. | 1041.93 | 1014.69 | 947.952 | 1055.55 | 1110.03 | 947.952 | 1099.134 | 1126.374 | 964.296 | 1003.794 | 1017.414 | 896.196
AVAILABILITY FOR BYPL
1 | Through CSGS & State Sector existing projects | 709.8164 | 716.354 | 647.1644 | 709.8164 | 716.354 | 647.1644 | 709.8164 | 716.354 | 647.1644 | 677.6985 | 684.2361 | 615.0465
2 | Through un-allocated quota available with GNCTD | 140.492 | 140.492 | 140.492 | 140.492 | 140.492 | 140.492 | 140.492 | 140.492 | 140.492 | 127.6533 | 127.6533 | 127.6533
3 | Through DVC | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398 | 57.6398
4 | BYPL Banking Arrangement with HPSEB | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 0 | 0 | 0 | 0 | 0 | 0
5 | BYPL Banking Arrangement with PTC (upto 150 MW) 100 MW availibility has been considered. | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
6 | BYPL Banking Arrangement with Lanco (upto 200 MW) 100 MW availibility has been considered. | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
7 | TOTAL AVAILIBILITY | 1149.5482 | 1156.0858 | 1086.8962 | 1149.5482 | 1156.0858 | 1086.8962 | 1091.9482 | 1098.4858 | 1029.2962 | 1046.9917 | 1053.5293 | 984.3397
| Anticipated Shortages (-) /Surplus (+) for BYPL area. | 107.6182 | 141.3958 | 138.9442 | 93.9982 | 46.0558 | 138.9442 | -7.1858 | -27.8882 | 65.0002 | 43.1977 | 36.1153 | 88.1437
BRPL POSITION
(iii) | Demand of BRPL (43.58% Energy Share) i.e. 43.58% of B. | 1666.935 | 1623.355 | 1516.584 | 1688.725 | 1775.885 | 1516.584 | 1758.453 | 1802.033 | 1542.732 | 1605.923 | 1627.713 | 1433.782
AVAILABILITY FOR BRPL
1 | Through CSGS & State Sector existing projects | 1135.6019 | 1146.0611 | 1035.3679 | 1135.6019 | 1146.0611 | 1035.3679 | 1135.6019 | 1146.0611 | 1035.3679 | 1084.2181 | 1094.6773 | 983.9841
2 | Through un-allocated quota available with GNCTD | 70.272 | 70.272 | 70.272 | 70.272 | 70.272 | 70.272 | 70.272 | 70.272 | 70.272 | 63.9465 | 63.9465 | 63.9465
3 | Through DVC | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153
4 | BRPL Banking Arrangement with HPSEB | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 57.6 | 0 | 0 | 0 | 0 | 0 | 0
5 | BRPL Banking Arrangement with RETL 30 MW availibility has been considered. | 27.6 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6 | 27.6
6 | BRPL Banking Arrangement with UPCL (100 to 200 MW) 100 MW availibility has been considered. | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
7 | BRPL Purchase Agreement with RETL | 55.2 | 55.2 | 55.2 | 55.2 | 55.2 | 55.2 | 47.84 | 47.84 | 47.84 | 47.84 | 47.84 | 47.84
8 | BRPL Banking Arrangement with Lanco (upto 200 MW) 100 MW availibility has been considered. | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
9 | BRPL Banking Arrangement with PTC (upto 150 MW) 100 MW availibility has been considered. | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
10 | TOTAL AVAILIBILITY | 1714.4893 | 1724.9485 | 1614.2553 | 1714.4893 | 1724.9485 | 1614.2553 | 1649.5293 | 1659.9885 | 1549.2953 | 1591.8199 | 1602.2791 | 1491.5859
| Anticipated Shortages (-) /Surplus (+) for BRPL area. | 47.5543 | 101.5935 | 97.6713 | 25.7643 | -50.9365 | 97.6713 | -108.9237 | -142.0445 | 6.5633 | -14.1031 | -25.4339 | 57.8039
NDMC POSITION
(iv) | Anticipated Demand of NDMC | 290 | 240 | 190 | 290 | 240 | 190 | 280 | 230 | 180 | 280 | 230 | 180
| AVAILABILITY FOR NDMC from BTPS, DADRI & PRAGATI. | 299.773 | 299.773 | 299.773 | 299.773 | 299.773 | 299.773 | 299.773 | 299.773 | 299.773 | 273.023 | 273.023 | 273.023
| Less 15% power towards UA Quota of GNCTD | 44.728 | 44.728 | 44.728 | 44.728 | 44.728 | 44.728 | 44.728 | 44.728 | 44.728 | 40.7368 | 40.7368 | 40.7368
| Net Availibility for NDMC | 255.045 | 255.045 | 255.045 | 255.045 | 255.045 | 255.045 | 255.045 | 255.045 | 255.045 | 232.2863 | 232.2863 | 232.2863
| Anticipated Shortages (-) /Surplus (+) for NDMC area. | -34.955 | 15.045 | 65.045 | -34.955 | 15.045 | 65.045 | -24.955 | 25.045 | 75.045 | -47.7137 | 2.2863 | 52.2863
MES POSITION
(v) | Anticipated Demand of MES | 35 | 35 | 30 | 35 | 35 | 30 | 35 | 35 | 30 | 35 | 35 | 30
| AVAILABILITY FOR MES from BTPS | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45
| Anticipated Shortages (-) /Surplus (+) for MES area. | 10 | 10 | 15 | 10 | 10 | 15 | 10 | 10 | 15 | 10 | 10 | 15
| OVERALL SHORTGES(-) / SURPLUS(+) for DELHI | 39.6 | 213.6 | 259.6 | -10.4 | -136.4 | 259.6 | -306.96 | -332.96 | 63.04 | -124.96 | -100.96 | 145.04
NOTE
1 | IP Generating station is being shut down permanently w.e.f 31st July 2009(subject to finalisation) hence availibility from IP has not been considered thereafter.
2 | Availability from Un-allocated quota of Central Sector has been considered as 20% from 10:00 to 18: 00 hours and 22% from 18:00 to 23:00 Hours as per the last year's pattern.
3 | BTPS Unit # 1 (95 MW) will be under planned maintenance from 1st August 2009 to 25 August 2009
4 | BTPS Unit # 2 (95 MW) will be under planned maintenance from 1st September 2009 to 15th October 2009
5 | Dadri (Thermal) Unit-4 (210MW) will be under planned shut-down during 15th September 2009 to 9th October 2009.
5 | Dadri (Thermal) Unit-3 (210MW) will be under planned shut-down during 11th October 2009 to 4th November 2009.

## Oct 09 Discomwise
DELHI TRANSCO LTD.
(STATE LOAD DESPATCH CENTER)
DISCOM-WISE ANTICIPATED POWER SUPPLY SCENARIO FOR OCTOBER 2009
Un-allocated capacity(298.1 MW ) available with GNCTD has been allocated to BYPL, NDPL & BRPL and UA power from NDMC Allocation to BRPL as per GNCTD order no. F.11(41)/2007/Power/868 dated 31-3-2008.
All figures in MW at Delhi Periphery | [7 empty] | As on 28.03.2009
S. | DETAILS | OCTOBER 2009
NO. |  | 1st Fortnight |  |  |  | 2nd fortnight
|  |  | Mor Peak |  | Eve Peak |  | Mor Peak |  | Eve Peak
|  | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs
A | ANTICIPATED DEMAND FOR 2008-09 AS PER NRPC METHOD | 3050.1196 | 3400 | 3450 | 3850 | 2650 | 3000 | 3200 | 3400
B | Reducing peak demand for NDMC & MES from A | 2935.1196 | 3150 | 3280 | 3600 | 2535 | 2750 | 3030 | 3150
NDPL POSITION
(i) | Demand of NDPL (29.18% Energy Share) i.e. 29.18% of B. | 856.4679 | 919.17 | 957.104 | 1050.48 | 739.713 | 802.45 | 884.154 | 919.17
AVAILABILITY FOR NDPL
1 | Through CSGS & State Sector existing projects | 591.6478 | 666.0568 | 591.6478 | 688.2336 | 606.3 | 680.709 | 606.3 | 680.709
2 | Through un-allocated quota available with GNCTD | 81.2339 | 81.2339 | 81.2339 | 81.2339 | 84.9299 | 84.9299 | 84.9299 | 84.9299
3 | Through DVC Agreement | 61.8616 | 61.8616 | 61.8616 | 61.8616 | 61.8616 | 61.8616 | 61.8616 | 61.8616
4 | TOTAL AVAILIBILITY | 734.7434 | 809.1524 | 734.7434 | 831.3292 | 753.0915 | 827.5005 | 753.0915 | 827.5005
5 | Anticipated Shortages (-) /Surplus (+) for NDPL area | -121.7245 | -110.0176 | -222.3606 | -219.1508 | 13.3785 | 25.0505 | -131.0625 | -91.6695
BYPL POSITION
(ii) | Demand of BYPL (27.24% Energy Share) i.e. 27.24% of B. | 799.5266 | 858.06 | 893.472 | 980.64 | 690.534 | 749.1 | 825.372 | 858.06
AVAILABILITY FOR BYPL
1 | Through CSGS & State Sector existing projects | 552.3128 | 621.7748 | 552.3128 | 642.4772 | 565.9908 | 635.4528 | 565.9908 | 635.4528
2 | Through un-allocated quota available with GNCTD | 127.6533 | 127.6533 | 127.6533 | 127.6533 | 133.4613 | 133.4613 | 133.4613 | 133.4613
3 | Through DVC | 57.7488 | 57.7488 | 57.7488 | 57.7488 | 57.7488 | 57.7488 | 57.7488 | 57.7488
4 | TOTAL AVAILIBILITY | 737.7149 | 807.1769 | 737.7149 | 827.8793 | 757.2009 | 826.6629 | 757.2009 | 826.6629
| Anticipated Shortages (-) /Surplus (+) for BYPL area. | -61.8117 | -50.8831 | -155.7571 | -152.7607 | 66.6669 | 77.5629 | -68.1711 | -31.3971
BRPL POSITION
(iii) | Demand of BRPL (43.58% Energy Share) i.e. 43.58% of B. | 1279.1251 | 1372.77 | 1429.424 | 1568.88 | 1104.753 | 1198.45 | 1320.474 | 1372.77
AVAILABILITY FOR BRPL
1 | Through CSGS & State Sector existing projects | 883.6194 | 994.7484 | 883.6194 | 1027.8692 | 905.5022 | 1016.6312 | 905.5022 | 1016.6312
2 | Through un-allocated quota available with GNCTD | 63.9465 | 63.9465 | 63.9465 | 63.9465 | 67.2744 | 67.2744 | 67.2744 | 67.2744
3 | Through DVC | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153 | 92.2153
4 | TOTAL AVAILIBILITY | 1039.7811 | 1150.9101 | 1039.7811 | 1184.0309 | 1064.9919 | 1176.1209 | 1064.9919 | 1176.1209
5 | Anticipated Shortages (-) /Surplus (+) for BRPL area. | -239.344 | -221.8599 | -389.6429 | -384.8491 | -39.7611 | -22.3291 | -255.4821 | -196.6491
NDMC POSITION
(iv) | Anticipated Demand of NDMC | 100 | 220 | 150 | 220 | 100 | 220 | 150 | 220
1 | AVAILABILITY FOR NDMC from BTPS, DADRI & PRAGATI. | 273.023 | 273.023 | 273.023 | 273.023 | 288.25 | 288.25 | 288.25 | 288.25
2 | Less 15% power towards UA Quota of GNCTD | 40.7368 | 40.7368 | 40.7368 | 40.7368 | 43.0087 | 43.0087 | 43.0087 | 43.0087
3 | Net Availibility for NDMC | 232.2863 | 232.2863 | 232.2863 | 232.2863 | 245.2413 | 245.2413 | 245.2413 | 245.2413
| Anticipated Shortages (-) /Surplus (+) for NDMC area. | 132.2863 | 12.2863 | 82.2863 | 12.2863 | 145.2413 | 25.2413 | 95.2413 | 25.2413
MES POSITION
(v) | Anticipated Demand of MES | 15 | 30 | 20 | 30 | 15 | 30 | 20 | 30
1 | AVAILABILITY FOR MES from BTPS | 45 | 45 | 45 | 45 | 45 | 45 | 45 | 45
2 | Anticipated Shortages (-) /Surplus (+) for MES area. | 30 | 15 | 25 | 15 | 30 | 15 | 25 | 15
| OVERALL SHORTAGES(-) / SURPLUS(+) for DELHI | -260.5939 | -355.4743 | -660.4743 | -729.4743 | 215.5257 | 120.5257 | -334.4743 | -279.4743
NOTE
1 | ALLOCATION FROM UNALLOCATED QUOTA OF CSGSs ASSUMED @ 6% for Morning and evening hours
**2 | HYDRO CAPACITY IS ASSUMED AS 80% FOR ONE TO TWO HOURS DURING PEAK HOURS AND 30% DURING OFF-PEAK HOURS,
**3 | THERMAL CAPACITY IS ASSUMED AS 95% AS PER CEA NORMS DURING WINTER MONTHS.
4 | RPH 67.5 MW UNIT # 1 WILL BE UNDER PLANNED MAINTENANCE SHUTDOWN FROM 25th OCTOBER to 13th NOVEMBER 2009.
5 | BTPS Unit # 2 (95 MW) will be under planned maintenance from 1st September 2009 to 15th October 2009
6 | Dadri (Thermal) Unit-4 (210MW) will be under planned shut-down during 1st September 2009 to 9th October 2009.
7 | Dadri (Thermal) Unit-3 (210MW) will be under planned shut-down during 11th October 2009 to 4th November 2009.

## Sheet1
Month | Availability from source within Delhi and Central Sector | Requirement | To be arranged through bilateral arrangements | Bilateral arrangements already made | Balance to be arranged
APRIL
BRPL | 1286 | 1571 | 285 | 298 | Nil
BYPL | 895 | 982 | 87 | 58 | 29
NDPL | 901 | 1052 | 151 | 267 | Nil
NDMC | 245 | 260 | 15 | Nil | 15
MES | 35 | 45 | 10 | Nil | 10
Total Delhi | 3362 | 3900 | 548 | 623 | Nil
MAY
BRPL | 1211 | 1536 | 325 | 206 | 119
BYPL | 853 | 960 | 107 | 154 | Nil
NDPL | 854 | 1029 | 175 | 182 | Nil
NDMC | 230 | 271 | 41 | NIL | 41
MES | 45 | 35 | -10 | NIL | NIL
Total Delhi | 3193 | 3850 | 638 | 542 | 114
JUNE
BRPL | 1252 | 1754 | 502 | 264 | 238
BYPL | 882 | 1096 | 214 | 154 | 60
NDPL | 882 | 1174 | 292 | 174 | 118
NDMC | 268 | 290 | 22 | 0 | 22
MES | 45 | 35 | Nil | 0 | Nil
Total Delhi | 3329 | 4350 | 1030 | 592 | 438
JULY
BRPL | 1271 | 1819 | 548 | 538 | 10
BYPL | 894 | 1137 | 243 | 319 | Nil
NDPL | 894 | 1218 | 324 | 176 | 148
NDMC | 268 | 290 | 22 | 0 | 22
MES | 45 | 35 | -10 | 0 | 0
Total Delhi | 3372 | 4500 | 1127 | 1033 | 94
AUGUST
BRPL | 1216 | 1776 | 560 | 509 | 51
BYPL | 856 | 1110 | 254 | 300 | 0
NDPL | 856 | 1189 | 333 | 176 | 157
NDMC | 255 | 240 | -15 | 0 | 0
MES | 35 | 45 | 10 | 0 | 10
Total Delhi | 3218 | 4350 | 1142 | 985 | 157
SEPT
BRPL | 1216 | 1802 | 586 | 444 | 142
BYPL | 856 | 1126 | 270 | 242 | 28
NDPL | 856 | 1207 | 351 | 152 | 199
NDMC | 255 | 230 | -25 | 0 | 25
MES | 35 | 45 | 10 | 0 | 10
Total Delhi | 3218 | 4400 | 1192 | 838 | 354
OCT
BRPL | 1092 | 1569 | 477 | 92 | 385
BYPL | 770 | 981 | 211 | 58 | 153
NDPL | 769 | 1050 | 281 | 62 | 219
NDMC | 232 | 220 | -12 | 0 | 0
MES | 30 | 45 | 15 | 0 | 15
Total Delhi | 2893 | 3850 | 972 | 212 | 760

## October 2009
DELHI TRANSCO LTD.
(STATE LOAD DESPATCH CENTER)
| ANTICIPATED POWER SUPPLY POSITION OF OCTOBER 2009 | [13 empty] | As on 28-11-2008
| ALL FIGURES IN MW AT DELHI PERIPHERY | [5 empty] | As on 28.03.2009 | [5 empty] | All figures in MW at Delhi periphery
S. | DETAILS | OCTOBER 2009 | [8 empty] | NOVEMBER 2008
NO. |  | 1st Fortnight |  |  |  | 2nd fortnight |  |  |  |  | 1st fortnight |  |  |  | 2nd fortnight
|  | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs
1 | DEMAND PROFILE
A | UNRESTRICTED DEMAND DURING THE MONTH IN 2000 |  | 2432 |  | 2807 |  | 2350 |  | 2701 |  | 2041 |  | 2581 |  | 2157 |  | 2118
B | UNRESTRICTED DEMAND DURING THE MONTH IN 2001 |  | 2542 |  | 2814 |  | 2280 |  | 2697 |  | 2289 |  | 2605 |  | 2540 |  | 2566
C | UNRESTRICTED DEMAND DURING THE MONTH IN 2002 |  | 2644 |  | 2853 |  | 2472 |  | 2880 |  | 2341 |  | 2645 |  | 2560 |  | 2501
D | UNRESTRICTED DEMAND DURING THE MONTH IN 2003 |  | 2643 |  | 2999 |  | 2488 |  | 2931 |  | 2430 |  | 2554 |  | 2640 |  | 2601
E | UNRESTRICTED DEMAND DURING THE MONTH IN 2004 |  | 2845 |  | 3277 |  | 2449 |  | 2934 |  | 2623 |  | 2809 |  | 2850 |  | 2780
F | UNRESTRICTED DEMAND DURING THE MONTH IN 2005 |  | 2765 |  | 3385 |  | 2705 |  | 3133 |  | 2574 |  | 2843 |  | 2793 |  | 2781
G | UNRESTRICTED DEMAND DURING THE MONTH IN 2006 |  | 3083 |  | 3592 |  | 2867 |  | 3440 |  | 2634 |  | 2873 |  | 2908 |  | 2829
H | UNRESTRICTED DEMAND DURING THE MONTH IN 2007 |  | 2944 |  | 3232 |  | 2587 |  | 3426 |  | 2735 |  | 2941 |  | 2814 |  | 2891
I | UNRESTRICTED DEMAND DURING THE MONTH IN 2008 | 3068 | 3262 | 3428 | 3682 | 2650 | 2887 | 3198 | 3345 | 2032 | 2639 | 2461 | 3005 | 2032 | 2802 | 2461 | 2856
2 | ANTICIPATED UNRESTRICTED DEMAND FOR 2009-10 AS PER NRPC METHODOLOGY |  | 3419.011 |  | 3837.7693 |  | 2987.4022 |  | 3380.1895 |  | 2648.5788 |  | 3070.5555 |  | 2793.7581 |  | 2877.8458
3 | ANTICIPATED DEMAND ROUNDED OFF | 3050.1196 | 3400 | 3450 | 3850 | 2650 | 3000 | 3200 | 3400 | 2033.0943 | 2650 | 2485.1141 | 3100 | 2036.5266 | 2800 | 2480.0902 | 2900
AVAILABILITY FROM OWN SOURCES
A | BTPS | 550 | 550 | 550 | 630 | 630 | 630 | 630 | 630 | 445 | 445 | 445 | 445 | 546.4 | 546.4 | 546.4 | 546.4
B | IP STATION | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
C | RPH | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 48 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
D | GT | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 220 | 220 | 220 | 220 | 220 | 220 | 220 | 220
E | PRAGATI | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 202.24 | 202.24 | 202.24 | 202.24 | 202.24 | 202.24 | 202.24 | 202.24
4 | TOTAL WITHIN DELHI with BTPS @ 95% availibility and other stations at 90% availibility. | 997.7 | 997.7 | 997.7 | 1073.7 | 1073.7 | 1073.7 | 1073.7 | 1073.7 | 982.766 | 982.766 | 982.766 | 982.766 | 1079.096 | 1079.096 | 1079.096 | 1079.096
AVAILIBILITY FROM CENTRAL SECTOR STATIONS
A | AVAILABILITY FROM FIRM ALLOCATION ** | 1500 | 1750 | 1500 | 1750 | 1500 | 1750 | 1500 | 1750 | 1611 | 1855 | 1611 | 1855 | 1611 | 1855 | 1611 | 1855
B | AVAILABILITY FROM UNALLOCATED QUOTA ** | 80 | 85 | 80 | 85 | 80 | 85 | 80 | 85 | 80 | 85 | 80 | 85 | 80 | 85 | 80 | 85
5 | TOTAL | 1580 | 1835 | 1580 | 1835 | 1580 | 1835 | 1580 | 1835 | 1691 | 1940 | 1691 | 1940 | 1691 | 1940 | 1691 | 1940
BILATERAL AGREEMENTS
A | DVC | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
6 | TOTAL BILATERAL | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 212 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
7 | TOTAL AVAILABILITY (4+5+6) | 2789.7 | 3044.7 | 2789.7 | 3120.7 | 2865.7 | 3120.7 | 2865.7 | 3120.7 | 2765.766 | 3014.766 | 2765.766 | 3014.766 | 2862.096 | 3111.096 | 2862.096 | 3111.096
8 | SURPLUS (+) / SHORTAGE (-) (7) - (3) | -260.4196 | -355.3 | -660.3 | -729.3 | 215.7 | 120.7 | -334.3 | -279.3 | 732.6717 | 364.766 | 280.6519 | -85.234 | 825.5694 | 311.096 | 382.0058 | 211.096
NOTE
1 | ALLOCATION FROM UNALLOCATED QUOTA OF CSGSs ASSUMED @ 6% for Morning and evening hours
**2 | HYDRO CAPACITY IS ASSUMED AS 80% FOR ONE TO TWO HOURS DURING PEAK HOURS AND 30% DURING OFF-PEAK HOURS,
**3 | THERMAL CAPACITY IS ASSUMED AS 95% AS PER CEA NORMS DURING WINTER MONTHS.
4 | RPH 67.5 MW UNIT # 1 WILL BE UNDER PLANNED MAINTENANCE SHUTDOWN FROM 25th OCTOBER to 13th NOVEMBER 2009.
5 | BTPS Unit # 2 (95 MW) will be under planned maintenance from 1st September 2009 to 15th October 2009
6 | Dadri (Thermal) Unit-4 (210MW) will be under planned shut-down during 1st September 2009 to 9th October 2009.
7 | Dadri (Thermal) Unit-3 (210MW) will be under planned shut-down during 11th October 2009 to 4th November 2009.
DELHI TRANSCO LTD.
(STATE LOAD DESPATCH CENTER)
| ANTICIPATED POWER SUPPLY POSITION OF WINTER 2008-09 (DECEMBER 2008 & JANUARY 2009) | [13 empty] | As on 28-11-2008
All figures in MW at Delhi periphery
S. | DETAILS |  | DECEMBER 2008 | [6 empty] | JANUARY, 2009
NO. |  |  | 1st Fortnight |  |  |  | 2nd fortnight |  |  | 1st Fortnight |  |  |  | 2nd fortnight
|  | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs
1 | DEMAND PROFILE
A | UNRESTRICTED DEMAND DURING THE MONTH IN 1999 |  | 2440 |  | 2544 |  | 2832 |  | 2516 |  | 2770 |  | 2775 |  | 2757 |  | 2661
B | UNRESTRICTED DEMAND DURING THE MONTH IN 2000 |  | 2739 |  | 2623 |  | 2703 |  | 2611 |  | 3054 |  | 2893 |  | 3072 |  | 2844
C | UNRESTRICTED DEMAND DURING THE MONTH IN 2001 |  | 2703 |  | 2576 |  | 2778 |  | 2754 |  | 3018 |  | 2919 |  | 3060 |  | 2910
D | UNRESTRICTED DEMAND DURING THE MONTH IN 2002 |  | 2894 |  | 2782 |  | 2926 |  | 2733 |  | 3356 |  | 3191 |  | 3417 |  | 3319
E | UNRESTRICTED DEMAND DURING THE MONTH IN 2003 |  | 2960 |  | 2831 |  | 3354 |  | 3115 |  | 3372 |  | 3233 |  | 3149 |  | 3048
F | UNRESTRICTED DEMAND DURING THE MONTH IN 2004 |  | 2870 |  | 2848 |  | 3168 |  | 2940 |  | 3168 |  | 3006 |  | 3282 |  | 3112
G | UNRESTRICTED DEMAND DURING THE MONTH IN 2005 |  | 3086 |  | 3107 |  | 3394 |  | 3094 |  | 3516 |  | 3375 |  | 3166 |  | 2990
H | UNRESTRICTED DEMAND DURING THE MONTH IN 2006 |  | 2986 |  | 3033 |  | 3059 |  | 2972 |  | 3293 |  | 3125 |  | 3240 |  | 3049
I | UNRESTRICTED DEMAND DURING THE MONTH IN 2007 | 2043 | 3015 | 2687 | 2913 | 2043 | 3229 | 2687 | 3005 | 2237 | 3353 | 2757 | 3132 | 2237 | 3301 | 2757 | 3318
2 | ANTICIPATED UNRESTRICTED DEMAND FOR 2008-09 AS PER NRPC METHODOLOGY |  | 3030.7211 |  | 2893.4107 |  | 3248.6215 |  | 3010.8927 |  | 3360.4135 |  | 3113.051 |  | 3339.8762 |  | 3440.0571
3 | ANTICIPATED DEMAND ROUNDED OFF | 2060 | 3050 | 2700 | 2900 | 2050 | 3250 | 2800 | 3150 | 2250 | 3400 | 2800 | 3150 | 2250 | 3350 | 2800 | 3450
AVAILABILITY FROM OWN SOURCES
A | BTPS | 550 | 550 | 550 | 550 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630
B | IP STATION | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80
C | RPH | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95
D | GT | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160
E | PRAGATI | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300
4 | TOTAL WITHIN DELHI with BTPS @ 95% availibility and other stations at 90% availibility. | 1094 | 1094 | 1094 | 1094 | 1170 | 1170 | 1170 | 1170 | 1170 | 1170 | 1170 | 1170 | 1170 | 1170 | 1170 | 1170
AVAILIBILITY FROM CENTRAL SECTOR STATIONS
A | AVAILABILITY FROM FIRM ALLOCATION ** | 1611 | 1855 | 1611 | 1855 | 1611 | 1855 | 1611 | 1855 | 1611 | 1855 | 1611 | 1855 | 1611 | 1855 | 1611 | 1855
B | AVAILABILITY FROM UNALLOCATED QUOTA ** | 80 | 85 | 80 | 85 | 80 | 85 | 80 | 85 | 80 | 85 | 80 | 85 | 80 | 85 | 80 | 85
5 | TOTAL | 1691 | 1940 | 1691 | 1940 | 1691 | 1940 | 1691 | 1940 | 1691 | 1940 | 1691 | 1940 | 1691 | 1940 | 1691 | 1940
BILATERAL AGREEMENTS
A | DVC | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
B | NDPL Banking arrangement with Haryana UHBVN | 0 | 82 | 0 | 0 | 0 | 82 | 0 | 0 | 0 | 82 | 0 | 0 | 0 | 82 | 0 | 0
6 | TOTAL BILATERAL | 92 | 174 | 92 | 92 | 92 | 174 | 92 | 92 | 92 | 174 | 92 | 92 | 92 | 174 | 92 | 92
7 | TOTAL AVAILABILITY (4+5+6) | 2877 | 3208 | 2877 | 3126 | 2953 | 3284 | 2953 | 3202 | 2953 | 3284 | 2953 | 3202 | 2953 | 3284 | 2953 | 3202
8 | SURPLUS (+) / SHORTAGE (-) (7) - (3) | 817 | 158 | 177 | 226 | 903 | 34 | 153 | 52 | 703 | -116 | 153 | 52 | 703 | -66 | 153 | -248
NOTE
1 | ALLOCATION FROM UNALLOCATED QUOTA OF CSGSs ASSUMED @ 6% for Morning and evening hours
**2 | HYDRO CAPACITY IS ASSUMED AS 80% FOR ONE TO TWO HOURS DURING PEAK HOURS AND 30% DURING OFF-PEAK HOURS,
**3 | THERMAL CAPACITY IS ASSUMED AS 95% AS PER CEA NORMS DURING WINTER MONTHS.
4 | BTPS 95 MW UNIT # 1 WILL BE UNDER PLANNED MAINTENANCE FOR THE PERIOD 1st Dec to 15th DEC 2008.
DELHI TRANSCO LTD.
(STATE LOAD DESPATCH CENTER)
| ANTICIPATED POWER SUPPLY POSITION OF WINTER 2008-09 (FEBRUARY 2009 & MARCH 2009) | [13 empty] | As on 28-11-2008
All figures in MW at Delhi periphery
S. | DETAILS | FEBRUARY 2009 | [7 empty] | MARCH 2009
NO. |  | 1st fortnight |  |  |  | 2nd fortnight |  |  |  | 1st Fortnight |  |  |  | 2nd fortnight
|  | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs
1 | DEMAND PROFILE
A | UNRESTRICTED DEMAND DURING THE MONTH IN 1999 |  | 2762 |  | 2473 |  | 2634 |  | 2375 |  | 2319 |  | 2214 |  | 2212 |  | 2360
B | UNRESTRICTED DEMAND DURING THE MONTH IN 2000 |  | 2931 |  | 2714 |  | 2751 |  | 2452 |  | 2516 |  | 2319 |  | 2370 |  | 2449
C | UNRESTRICTED DEMAND DURING THE MONTH IN 2001 |  | 2960 |  | 2785 |  | 2792 |  | 2536 |  | 2605 |  | 2479 |  | 2374 |  | 2511
D | UNRESTRICTED DEMAND DURING THE MONTH IN 2002 |  | 3000 |  | 2768 |  | 3434 |  | 2660 |  | 2664 |  | 2527 |  | 2429 |  | 2596
E | UNRESTRICTED DEMAND DURING THE MONTH IN 2003 |  | 3213 |  | 3016 |  | 2927 |  | 2683 |  | 2713 |  | 2757 |  | 2607 |  | 2947
F | UNRESTRICTED DEMAND DURING THE MONTH IN 2004 |  | 3138 |  | 2939 |  | 3017 |  | 2738 |  | 2813 |  | 2871 |  | 2584 |  | 2898
G | UNRESTRICTED DEMAND DURING THE MONTH IN 2005 |  | 3086 |  | 2973 |  | 2804 |  | 3075 |  | 2837 |  | 2932 |  | 2659 |  | 2946
H | UNRESTRICTED DEMAND DURING THE MONTH IN 2006 |  | 3021 |  | 2880 |  | 2961 |  | 2918 |  | 2879 |  | 2827 |  | 2911 |  | 3107
I | UNRESTRICTED DEMAND DURING THE MONTH IN 2008 | 1834 | 3395 | 2959 | 3135 | 1834 | 3126 | 2959 | 2862 | 1883 | 2754 | 2712 | 3012 | 1883 | 2655 | 2712 | 3158
2 | ANTICIPATED UNRESTRICTED DEMAND FOR 2008-09 AS PER NRPC METHODOLOGY |  | 3537.7846 |  | 3227.3207 |  | 3219.1526 |  | 2858.4944 |  | 2734.2956 |  | 3092.2563 |  | 2655.8343 |  | 3254.1729
3 | ANTICIPATED DEMAND ROUNDED OFF | 1840 | 3550 | 3000 | 3250 | 1850 | 3200 | 2950.2177 | 2850 | 1900 | 2750 | 2700 | 3100 | 1900 | 2650 | 2700 | 3250
AVAILABILITY FROM OWN SOURCES
A | BTPS | 550 | 550 | 550 | 550 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 445.2 | 445.2 | 445.2 | 445.2
B | IP STATION | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80 | 80
C | RPH | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 47.5 | 47.5 | 47.5 | 47.5
D | GT | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160 | 160
E | PRAGATI | 300 | 300 | 300 | 300 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 300 | 300 | 300 | 300
4 | TOTAL WITHIN DELHI with BTPS @ 95% availibility and other stations at 90% availibility. | 1094 | 1094 | 1094 | 1094 | 1035 | 1035 | 1035 | 1035 | 1035 | 1035 | 1035 | 1035 | 951.69 | 951.69 | 951.69 | 951.69
AVAILIBILITY FROM CENTRAL SECTOR STATIONS
A | AVAILABILITY FROM FIRM ALLOCATION ** | 1611 | 1855 | 1611 | 1855 | 1611 | 1855 | 1611 | 1855 | 1611 | 1855 | 1611 | 1855 | 1611 | 1855 | 1611 | 1855
B | AVAILABILITY FROM UNALLOCATED QUOTA ** | 80 | 85 | 80 | 85 | 80 | 85 | 80 | 85 | 80 | 85 | 80 | 85 | 80 | 85 | 80 | 85
5 | TOTAL | 1691 | 1940 | 1691 | 1940 | 1691 | 1940 | 1691 | 1940 | 1691 | 1940 | 1691 | 1940 | 1691 | 1940 | 1691 | 1940
BILATERAL AGREEMENTS
A | DVC | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
B | NDPL Banking arrangement with Haryana UHBVN | 0 | 82 | 0 | 0 | 0 | 82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | TOTAL BILATERAL | 92 | 174 | 92 | 92 | 92 | 174 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
7 | TOTAL AVAILABILITY (4+5+6) | 2877 | 3208 | 2877 | 3126 | 2818 | 3149 | 2818 | 3067 | 2818 | 3067 | 2818 | 3067 | 2734.69 | 2983.69 | 2734.69 | 2983.69
8 | SURPLUS (+) / SHORTAGE (-) (7) - (3) | 1037 | -342 | -123 | -124 | 968 | -51 | -132.2177 | 217 | 918 | 317 | 118 | -33 | 834.69 | 333.69 | 34.69 | -266.31
NOTE
1 | ALLOCATION FROM UNALLOCATED QUOTA OF CSGSs ASSUMED @ 6% for Morning and evening hours
**2 | HYDRO CAPACITY IS ASSUMED AS 80% FOR ONE TO TWO HOURS DURING PEAK HOURS AND 30% DURING OFF-PEAK HOURS,
**3 | THERMAL CAPACITY IS ASSUMED AS 95% AS PER CEA NORMS DURING WINTER MONTHS.
4 | BTPS 95 MW UNIT # 2 WILL BE UNDER PLANNED MAINTENANCE FOR THE PERIOD 1st FEB to 15th FEB 2009
5 | PRAGATI UNIT#2 (150 MW) SHALL BE UNDER SHUTDOWN FOR MAINTENANCE FROM 15th FEB TO 15th MAR 2009.
6 | RPH 67.5 MW Unit # 1 WILL BE UNDER PLANNED MAINTENANCE FOR THE PERIOD 12th MAR to 30th APR 2009
7 | BTPS 210 MW UNIT # 4 WILL BE UNDER PLANNED MAINTENANCE FOR THE PERIOD 15th MARCH TO 7th APRIL 2009