|  | पंजीकृत कार्यालय :शक्ति सदन, कोटला रोड़, न्यू दिल्ली-110002 (Regd. Office Shakti Sadan, Kotla Road, New Delhi-110002) कार्यालय उपमहाप्रबंधक (एस.ओ.) Office of Dy. General Manager (SO) एस एल डी सी बिल्डिंग, मिंटो रोड़, न्यू दिल्ली-110002 SLDC Building, Minto Road, New Delhi-110002 Ph: 23221149 FAX No.23221012 |
| --- | --- |
| No. F./DTL/207 /DGM(SO)/10-11/219 | Dated : 30.08.2010 |

Subject  : 	Minutes of the Meeting held on 19.08.2010 at SLDC with regard to Scheduling and other related issues of Bawana 1500MW CCGT Plant

Dear Sir,   /  महोदय

The draft Minutes of the Meeting held on 19.08.2010 at SLDC with regard to Scheduling and other related issues of Bawana 1500MW CCGT is enclosed for ready reference and further necessary action please.

It is also available in SLDC website www.delhisldc.org at Meeting Portal.

Thanking you,

भवदीय   /  Yours faithfully

(वी.वेणुगोपाल)/(V. Venugopal )

(उपमहाप्रबंधक (एस.ओ.)/Dy. G. M. (SO)

List of addresses

- General Manager (O&M),Delhi Transco Ltd.,Parkstreet, 220kV S/Stn.,New Delhi

- General Manager, Badarpur Thermal Power Stn., Badarpur, New Delhi-44

- General Manager (Commercial), DTL

- General Manager, RPH

- General Manager, G.T. Station

- General Manager, Pragati Station

- CWE (Utilities), MES, Delhi Cantt., ND-10

- Addl. Vice President, System Operation, BSES, Balaji Estate, Kalkaji, New Delhi

- Sh. V. K. Gupta, Chief Engineer (SO&C), Punjab SLDC, PSTCL, SLDC Complex, Near 220kV Grid S/Stn. Ablowal, Patiala, Punjab-147001

- Chief Engineer (System Operation), Haryana SLDC, HVPNL, Shakti Bhawan, Sector-6, Panchkula-130109

- Chief Engineer (Electrical-1), NDMC, Palika Kendra, New Delhi-1

- Chief Engineer (Electrical -2), NDMC, Palika Kendra, New Delhi -1

- Director (Comml.), NDMC, Palika Kendra, New Delhi-1

- Sh. Pillai Ramachandaran, HoD (PSC, AM&DP), NDPL, Shakti Nagar, Nangia Park, Delhi

- Sh. Chander Mohan, Vice President & Head (Network Operation), BRPL, BSES Bhawan Nehru Place, New Delhi-19

- Sh. Ajay Kumar, Addl. Vice President (PP&PMG), BRPL, Bldg. No. 20, Nehru Place, New Delhi-110019

- General Manager (PP&CC), NDPL, Corporate Office, 3rd Floor, Sub-Station Building, Hudson Lines, Kingsway Camp, Delhi-110019

- Sh. Sunil Kakkar,  Addl. Vice President (PMG), BSES Yamuna Power Ltd., Shakti Kiran Building, Karkardooma, Delhi 110092

- Sh. Sanjay Srivastava, AVP (PMG), BRPL, Bldg. No. 20, Nehru Place, New Delhi-110019

- General Manager (Commercial), National Thermal Power Corporation, NTPC NCR Headquarter, Sector-24, Noida, UP-201301

- DGM(SCADA), Delhi SLDC

- S.E. M&P Circle, HVPNL, Vidyut Nagar, Hissar, Haryana-125001, (Fax-01662-223017)

- Manager (SO)-Shift, Delhi SLDC

- Executive Engineer (SO), NDMC, Minto Road

- DGM (Metering and Protection),Delhi Transco Ltd.,Parkstreet,220kV S/Stn., New Delhi

- Dy. Manager(F), Comml., DTL, IP Estate, New Delhi-2

- Manager (T), EA, SLDC

- Dy. Manager (F), SLDC

Copy for favour of kind information to :

  - Secretary, CERC, Chanderlok Building, Janpath, New Delhi-110001

  - Secretary, Punjab Electricity Regulatory Commission, SCO:220-221, Sector-31A, Chandigarh, Fax No.0172-2664758, 2645163, 2602435

  - Secretary, Haryana Electricity Regulatory Commission,  Bay-33-36, Sector-4, Panchkula-134112, Haryana Fax No. 0172-2582531, 2572359

  - Secretary, DERC, Viniyamak Bhawan, C-Block, Shivalik, New Delhi-17

  - CMD, DTL

  - CMD, PSTCL, the Mall, Patiala-147001

  - Managing Director, Haryana Vidyut Prasaran Nigam Ltd, Shakti Bhawan, Sector-6, Panchkula-134109

  - Member Secretary, NRPC, 18A, Shaheed Jeet Singh Marg, Opp. Katwaria Sarai, New Delhi-16

  - Chairperson, New Delhi Municipal Council, Palika Kendra, Sansad Marg, New Delhi

  - CEO, BSES Rajdhani Power Ltd, BSES Bhawan, Nehru Place, New Delhi-110019

  - CEO, BSES Yamuna Power Ltd, Shakti Kiran Building, Karkardooma, Delhi-92

  - CEO, NDPL, 33kV Grid S/Stn, Hudson Lane, Kingsway Camp, Delhi-9

  - Chief Engineer(Utilities),CWE,MES, Kotwali Road, Near Gopi Nath Bazar, Delhi Cantt New Delhi-110010

  - Managing Director, Indraprastha Power Generation Company Ltd (Genco) / Pragati Power Corporation Ltd (PPCL), Himadri, Rajghat Power House, New Delhi-110002

  - Joint Secretary (Power), GNCTD

  - Director (Operations), DTL

  - Director (Tech.) IPGCL/PPCL

  - Director (Finance),DTL

  - Director (Finance),IPGCL/PPCL

  - General Manager, NRLDC, 18A, Shaheed Jeet Singh Marg, Opp. Katwaria Sarai, New Delhi-16

  - G. M. (SLDC)

DELHI TRANSCO LTD.

(Regd. Office : Shakti Sadan, Kotla Road, New Delhi 110002)

[Office of Dy. General Manager (SO)]

SLDC Building, Minto Road, New Delhi – 110 002

Phone No.23221149, Fax 23221012, 23221059

Sub   :	Minutes of the Meeting held on 19.08.2010 at 2.00 PM at SLDC for resolving scheduling and other related issues of Bawana CCGT Station.

Director (Operations), DTL welcomed all delegates and indicated that this meeting was necessitated to resolve scheduling and other related issues of upcoming Bawana CCGT Station. He outlined the fact that Bawana CCGT is an Inter State Generating Station having 10% share of Haryana and Punjab each.  As per the Indian Electricity Grid Code (IEGC) the scheduling responsibility lies with Delhi SLDC as the host State has more than 50% share. As such, SLDC has raised several issues which are required to be resolved before commissioning of the station for smooth scheduling and other related issues. He specially thanked  the representatives of Haryana and Punjab power utilities for attending the meeting inspite of the adverse weather condition.  He requested cooperation of all utilities to provide valuable inputs during the discussions to resolve the issues. With the brief remarks, the deliberations started and gist of the deliberations and decision taken thereof are as under.

List of the participants is enclosed as Annexure-A.

- SLDC indicated various provisions of Indian Electricity Grid Code by virtue of which the scheduling responsibility of Bawana CCGT project lies with Delhi SLDC. The details are as under :

6.4 	Demarcation of responsibilities:

1. 	The national interconnected grid is divided into control areas, like Regional ISTS, States, DVC, etc. where the load dispatch centre or system operator of the respective control area controls its generation and/or load to maintain its interchange schedule with other control areas whenever required to do so and contributes to frequency regulation of the synchronously operating system. The Load Despatch Centre of a control area therefore is responsible for coordinating the scheduling of a generating station, within the control area, real-time monitoring of the station’s operation, checking that there is no gaming (gaming is an intentional mis-declaration of a parameter related to commercial mechanism in vogue, in order to make an undue commercial gain) in its availability declaration, or in any other way revision of availability declaration and injection schedule, switching instructions, metering and energy accounting, issuance of UI accounts within the control area, collections/disbursement of UI payments, outage planning, etc. The following clause gives the criteria for demarcation of control area jurisdiction.

2. 	The following generating stations shall come under the respective Regional ISTS control area and hence the respective RLDC shall coordinate the scheduling of the following generating stations :

a) Central Generating Stations (excluding stations where full Share is allocated to host state),

b) Ultra-Mega power projects

(c) In other cases, the control area shall be decided on the following criteria:

(i) 	If a generating station is connected only to the ISTS, RLDC shall coordinate the scheduling, except for Central Generating Stations where full Share is allocated to one State.

(ii) 	If a generating station is connected only to the State transmission network, the SLDC shall coordinate scheduling,

except for the case as at (a) above.

(iii) 	If a generating station is connected both to ISTS and the State network, scheduling and other functions performed by the system operator of a control area will be done by SLDC,, only .if state has more than 50% Share of power ,The role of concerned RLDC, in such a case, shall be limited to consideration of the schedule for inter state exchange of power on account of this ISGS while determining the net drawal schedules of the respective states. If the State has a Share of 50% or less, the scheduling and other functions shall be performed by RLDC.

(iv)	In case commissioning of a plant is done in stages the decision regarding scheduling and other functions performed by the system operator of a control area would be taken on the basis of above criteria depending on generating capacity put into commercial operation at that point of time. Therefore it could happen that the plant may be in one control area (i.e. SLDC) at one point of time and another control area (i.e. RLDC) at another point of time. The switch over of control area would be done expeditiously after the change, w.e.f. the next billing period.

3. 	There may be exceptions with respect to above provisions, for reasons of operational expediency, subject to approval of CERC. Irrespective of the control area the jurisdiction, if a generating station is connected both to the ISTS and the STU, the load dispatch centre of the control area under whose jurisdiction the generating station falls, shall take into account grid security implication in the control area of the other load dispatch centre

4. 	For those generating station supplying power to any state other than host state and whose scheduling is not coordinated by RLDC, the role of the concerned RLDC shall be limited to consideration of the schedule for inter-State exchange of power on account of this generating station while determining the net drawal schedules of the respective control area.

5. 	The Regional grids shall be operated as power pools with decentralized scheduling and despatch, in which the States shall have operational autonomy, and SLDCs shall have the total responsibility for

(i) 	scheduling / despatching their own generation (including generation of their embedded licensees),

(ii) 	regulating the demand of its control area,

(iii) 	scheduling their drawal from the ISGS (within their share in the respective plant’s expected capability),

(iv) 	permitting long term access, medium term and short term open access transactions for embedded generators / consumers, in accordance with the contracts and

(v) 	regulating the net drawal of their control area from the regional grid in accordance with the respective regulations of the CERC.

6. 	The system of each regional entity shall be treated and operated as a notional control area. The algebraic summation of scheduled drawal from ISGS and from contracts through a long – term access, medium –term and short –term open access arrangements shall provide the drawal schedule of each regional entity, and this shall be determined in advance on day-ahead basis. The regional entities shall regulate their generation and/or consumers’ load so as to maintain their actual drawal from the regional grid close to the above schedule. If regional entities deviate from the drawal schedule, within the limit specified by the CERC in UI Regulations as long as such deviations do not cause system parameters to deteriorate beyond permissible limits and/or do not lead to unacceptable line loading, However, such deviations from net drawal schedule shall be priced through the Unscheduled Interchange (UI) mechanism.

- Citing clause 6.4 (3) of IEGC mentioned above SLDC inquired from representatives of Punjab and Haryana representatives if they are having any objections for taking the scheduling responsibility of Bawana CCGT by Delhi SLDC or any exemption was required to be sought from CERC both the utilities have not expressed any reservation for taking over the scheduling responsibility by Delhi SLDC.

- Since all the beneficiaries univocally agreed to put the responsibility of scheduling and energy accounting activities of Bawana CCGT with SLDC Delhi. As per IEGC further the other issues were deliberated.

Installed capacity & Allocation

- SLDC enquired about the installed capacity of the station as the title of the station is 1500MW Bawana CCGT but the indicated capacity is 1370.8MW (4GTs of 220.2MW each and 2 STG of 245MW each). PPCL representative clarified that 1500MW is the nominal capacity but the effective capacity under Indian conditions is only 1370.8MW. It is further clarified that 90% power has already been allocated as indicated in the agenda to the beneficiaries. As per the Delhi Govt’s decision 10% capacity is kept as merchant power to be disposed off through short term open access after 31.03.2011 if Delhi as whole is having surplus power situation. Till the time the merchant power is also stand allocated to Delhi utilities in proportion to the share without merchant power. As such the allocation of power upto 31.03.2011 from Bawana CCGT to different utilities would be as under :

| Sr. No | State | Allocation |
| --- | --- | --- |
|  |  | With merchant power | Without merchant power upto 31.03.2011 |
|  |  | In percentage | In MW | In percentage | In MW |
| 1 | Delhi |  |  |  |  |
|  | BRPL | 26.53 | 363.70 | 30.32 | 415.63 |
|  | BYPL | 16.58 | 227.33 | 18.95 | 259.75 |
|  | NDPL | 17.77 | 243.52 | 20.31 | 278.39 |
|  | NDMC | 7.3 | 100 | 8.34 | 114.36 |
|  | MES | 1.82 | 25 | 2.08 | 28.51 |
|  | Total | 70.00 | 959.56 | 80.00 | 1096.64 |
| 2 | Haryana | 10 | 137.08 | 10 | 137.08 |
| 3 | Punjab | 10 | 137.08 | 10 | 137.08 |
| 4 | Merchant Power | 10 | 137.08 | 0 | 0 |
|  | Total | 100 | 1370.80 | 100 | 1370.80 |

Note :

- The final allocation depends upon the decision on merchant power

- 10% of the capacity has been earmarked for Punjab, Haryana & merchant. Out of the balance capacity 100MW is allocated to NDMC and 25MW to MES. Balance capacity is allocated to BRPL, BYPL & NDPL in the ratio of 43.58%, 27.24% and 29.18% respectively as per the allocation order of DERC dated 31.03.2007.

- The allocation and scheduling would be done on the basis of above allocation once the unit / plant is declared commercial operation.

Metering Issue

- It was explained by PPCL representative that as per the open access approval accorded by CTU for the evacuation of power of Bawana CCGT for the Punjab and Haryana share, PPCL has to shift 400kV Bawana-Bahadurharh and 400kV Bawana-Hissar Lines at their own cost from 400/220kV Bawana S/stn of DTL to 400kV CCGT Bus. The shifting of these Ckts would be done after the completion of 400kV Bahadurgarh – Sonepat - Abdullapur 400kV D/C lines. Till the entire station is commissioned, it was explained that existing 400kV Bawana S/Stn Bus would be extended upto 400kV CCGT yard by providing bus inter-connectors between 400/220kV Bawana S/stn of DTL to 400kV CCGT Bus. Till the time, generation from the CCGT project would be evacuated through the inter connectors between DTL yard and Bawana CCGT yard. It was also explained that as per CEA advise the Bawana and Mandola 400kV system is not feasible to operate in parallel with full generation of Bawana CCGT station due to the increased fault level. Four numbers 315MVA 400/220kV ICTs (with two existing and two additional) would be used to evacuate power of Delhi’s share from the CCGT Bawana station. Till the 400kV lines are shifted Punjab & Haryana’s share would be evacuated through the inter connectors between Bawana 400kV and Bawana CCGT through 400/220kV ICTs and associated system at Bawana 400kV. Once the lines are shifted and all the transformers are installed at 400kV Bawana CCGT yard, the inter connector would be kept open at 400kV Bawana CCGT and would be utilized for evacuation of generation only in case of transmission constraints in consultation with SLDC, Delhi with reduced generation to contain the fault level.

- Considering the above evacuation plan the metering arrangement as per the metering philosophy of Regional Energy Accounting system would be as under :

| Sl. No. | Element | Meter status | Remarks |
| --- | --- | --- | --- |
| 1 | 400/220kV 315MVA ICT-I | 400kV side Main meter | At 220kV side stand by meters |
| 2 | 400/220kV 315MVA ICT-II | -do- | -do- |
| 3 | 400/220kV 315MVA ICT-III | -do- | -do- |
| 4 | 400/220kV 315MVA ICT-IV | -do- | -do- |
| 5 | 400kV Bahadurgarh | Main meter at Bawana and check meter at Bahadurgarh | Already covered under Regional Energy Accounting system |
| 6 | 400kV Hissar | Main meter at Bawana and check meter at Hissar | -do- |
| 7 | Inter connector-I from Bawana, DTL | Main meter |  |
| 8 | Inter connector-II from Bawana, DTL | Main meter |  |
| 9 | GT-I 400/16.5kV | At 400kV stand by meter |  |
| 10 | GT-II 400/16.5kV | -do- |  |
| 11 | GT-III 400/16.5kV | -do- |  |
| 12 | GT-IV 400/16.5kV | -do- |  |
| 13 | STG-I 400/16.5kV | -do- |  |
| 14 | STG-II 400/16.5kV | -do- |  |
|  | Total meters | 7 main meters, 6 stand by meters |  |

- DTL, the STU of Delhi shall install and test the meters in presence of Generators and beneficiaries. During the meeting the representative of Punjab authorized Metering & Prot. Deptt. of Haryana power utility to witness the installation and sealing procedure of Energy Meters on their behalf. For any meter change / sealing etc Metering & Prot. Deptt. of DTL shall coordinate the procedures.

Scheduling Procedure

- The process of scheduling of Bawana CCGT is as under :

Process for Scheduling (for succeeding day)

By 09:00 Hrs -	Bawana CCGT shall advise Delhi SLDC MW and MWh

capabilities of the station as per IEGC provisions.

By 10:00 Hrs - 	Delhi SLDC shall post entitlement of the beneficiaries from

Bawana in the Delhi SLDC’s website www.delhisldc.org

By 13:00 Hrs - 	Beneficiaries shall intimate Delhi SLDC the requirement of

power from Bawana CCGT in terms of MW and MWh in 15 minutes time block.

By 15:00 Hrs -	SLDC shall assess the requirement of power from all beneficiaries and intimate the same to Bawana CCGT through website.

While computing Generation Schedule, Delhi SLDC shall take care the minimum requirement to run the units of the station.  As per the decision taken in the NRPC’s OCC meeting held during November 2002 (just prior to the implementation of ABT in Northern Region from 01.12.2002), the Gas  Turbine can safely operate at 60% of installed capacity during normal conditions and 50% under extreme emergent case.  In case the requirement is less than the stipulation depending upon the system conditions, after consulting NRLDC, Delhi SLDC shall advise CCGT to stop units and scheduled shall be fixed according to the revised availability.

NRLDC and other respective SLDCs shall also be intimated regarding the drawal schedule of States outside Delhi from Bawana CCGT by the time.

Intra-day scheduling as per IEGC provisions is also permitted.

- PPCL representative expressed reservation against the minimum technical level prescribed considering the DNL Burner stipulation to control the pollution level. All beneficiaries and SLDC advised PPCL to provide the documents provided by the machine manufacturer and the PPA stipulation for minimum gas off take to fix the backing down level depending upon the system conditions in the next meeting failing which the stipulation mentioned above would be implemented / applicable.

Energy Accounting

- DTL shall collect and compute the energy delivered / absorbed by Bawana CCGT based on the Meter Readings at Bawana (DTL) yard.  This data shall be transferred to Delhi SLDC for drawing out weekly Intrastate UI Account including that of Bawana CCGT.

- Auxiliary power needs of Bawana CCGT switch yard - At present, the auxiliary power needs of Bawana CCGT is taken through a connection availed by Bawana CCGT Stn. from NDPL, the Distribution Licensee in area in which the plant is situated.  Once the switchyard is energized from 400kV Bawana (DTL) yard, the auxiliary need might be drawn from the Grid till any unit of the station is synchronized.  The treatment of such energy would be on UI based tariff without any adjustment and imposition of additional UI charges. .

- Monthly Energy Accounting including Plant Availability, Plant Load Factor, Scheduled Energy from the station to different utilities shall be drawn out provisionally by 6th day of every month for the previous month.  Final Accounts shall be issued after the entire months’ SEM data is made available to SLDC.

- Bawana CCGT is an ISGS, as per section 79(b) of EA 2003 (the Central Commission shall discharge the following functions, namely : - (b) to regulate the tariff of generating companies other than owned or controlled by the Central Govt., if such generating companies entered into or other wise have a composite scheme for generation and sale of electricity in more than one state) the fixation of the tariff is in the preview of Central Electricity Regulatory Commission. Further Central Electricity Regulatory Commission (Terms and Conditions of Tariff) Regulations, 2009 notified on 19.01.2009 applicable for the period 2009-10 to 2013-14 stipulates the following :-

3(12) 	‘date of commercial operation’ or ‘COD’ means (a) in relation to a unit or block of the thermal generating station, the date declared by the generating company after demonstrating the maximum continuous rating (MCR) or the installed capacity (IC) through a successful trial run after notice to the beneficiaries, from 0000 hour of which scheduling process as per the Indian Electricity Grid Code (IEGC) is fully implemented, and in relation to the generating station as a whole, the date of commercial operation of the last unit or block of the generating station;

3(20) 	‘infirm power’ means electricity injected into the grid prior to the commercial operation of a unit or block of the generating station;

- Sale of Infirm Power.

Supply of infirm power shall be accounted as Unscheduled Interchange (UI) and paid for from the regional or State UI pool account at the applicable frequency-linked UI rate:

Provided that any revenue earned by the generating company from sale of infirm power after accounting for the fuel expenses shall be applied for reduction in capital cost:

- As such till the COD of unit/block is declared by the generator the power generated by the station would be treated as UI transactions. No adjustment of amount would be done in this case too.

Payment of charges other than the generators

SLDC charges

- NDPL representative indicated that Punjab and Haryana utilities also have to pay the SLDC charges along with Bawana CCGT as per the Delhi Electricity Regulatory Commission (Levy and Collection of Fee and Charges by State Load Despatch Centre) Regulations, 2007 notified on 18.10.2007 as scheduling of power to Punjab and Haryana is required to be done by Delhi SLDC from Bawana CCGT. Bawana CCGT and Punjab & Haryana SLDCs have to registered with Delhi SLDC by paying Rs. 10,000/-and payment alongwith with filling up registration application.  The relevant portions of the Regulations are as under :-

Chapter-III

LEVY OF FEE AND CHARGES BY SLDC

3. 	Application for Registration with SLDC

(1) 	Each of the existing Generating Stations, Transmission Licensees and Beneficiaries, which come under the purview of SLDC, shall register themselves with the SLDC, within a month of coming into force of these Regulations, by filing an application, as per Annexure 15, to the SLDC along with the fee of Rs 10,000 (Rupees Ten Thousand only) or such fees as may be decided by the Commission from time to time.

(2) 	The new Generating Stations as well as the Transmission Licensees and Beneficiaries coming under the purview of SLDC, shall submit an application, as per Annexure 15, to the SLDC, at least one month before the proposed date of connection to the Intra-State transmission system, along with the above-mentioned Fee.

(3) 	After being satisfied with the completeness and correctness of the information furnished in the application, the SLDC, shall register the application in its records and duly intimate the applicant regarding such registration.

(4) 	The SLDC shall maintain consolidated information about the Utilities / Licensees/Beneficiaries connected to the Intra-State transmission system and being monitored/serviced by it, on a separate web-page on their web-site.

Annexure-15

Application for Registration with SLDC

| Sl. No. | Particulars |  |
| --- | --- | --- |
| 1 | Name of the Application |  |
| 2 | Status of Applicant (i.e. Generating Station or Transmission Licensee or Beneficiary) |  |
| 3 | Registered Address |  |
| 4 | Phone No./Fax / E-mail ID |  |
| 5 | Capacity Installed Capacity in MW in case of Generating Station; Contracted Transmission capacity in MW in case of Beneficiary; |  |
| 6 | Proposed date of connection with the State Grid |  |
| 7 | Details of Inter-connection point (enclose separate sheet if necessary) |  |
| 8 | Details of Transmission system in case of Transmission Licensee (enclose separate sheet if necessary) |  |
| 9 | DD No. and Date towards Registration Fee payable to SLDC |  |
|  | Undertaking : We hereby undertake to abide by the instructions issued by the SLDC for ensuring the integrated, efficient and economical operation of power system in the State. |
|  |  | Signature of the Authorized Officer |
|  | Note : The SLDC may prescribe and collect necessary technical details from the Generating Stations, Transmission Licensees and Beneficiaries. |

Note :	The beneficiary is defined in the regulation as “Beneficiary in relation to SLDC charges mean the licensees other than the transmission licensees and long term open access customers.”

- SLDC Delhi shall approach concerned SLDCs accordingly.

Payment of transmission charges

- NDPL representative pointed out that the state transmission system is also being utilized for evacuation of power from Bawana CCGT. As such the Punjab and Haryana should also share the transmission charges of DTL.

- SLDC opinioned that even if both the 400kV lines trip evacuation could be possible through 400kV inter connectors and ICTs. In such cases it would not be possible to isolate Punjab and Haryana from scheduling of power from Bawana CCGT. As such in one way or other the state transmission system shall also be utilized for evacuating CCGT power to the beneficiaries.

- PPCCL representative indicated that as per the open access approval granted  by CTU the share of Haryana and Punjab is being evacuated through 400kV Hissar and Bhiwani line and hence opinioned that these charges are not payable by them.

- The representative of Haryana utility mentioned that in the new Central Electricity Regulatory Commission (Sharing of Inter State Transmission Charges and Loss) regulations 2010 notified would be made applicable from 01.01.2011, the transmission tariff shall be distance sensitive, quantum of power flow and direction of power flow. The new Point of Connection Tariff the transmission tariff is payable on node base depending upon the injection by the generators and drawal by the beneficiaries. In this tariff the transmission tariff is to be shared by generators and beneficiaries. As such if the transmission from the node (all ISGS are identified as nodes) is done through STU system the transmission tariff of the STU component notified by the respective State Regulatory Commission is also payable by the generators and beneficiaries.

Telemetry issues

- SLDC indicated that since 1370.8MW generating plant coming up in the load center the online data transfer indicating all generating parameters such as voltage, frequency, MW generation, MVAR generation, line flows etc are vital for safe and secure operation of the grid. Beneficiaries should also know the online status of these parameters. It cited statutory provisions in this regard. The details are as under :

Central Electricity Authority (Technical standards for connectivity to the grid) regulations 2006 notified on 21.02.2007

“6. General Connectivity Conditions

(2)	The requester and user shall furnish data as required by the Appropriate Transmission Utility or by the licensee or generating station with whose system the inter-connection is proposed, for permitting inter-connection with the grid .

(3)	The requester and user shall provide necessary facilities for voice and data communication and transfer of on-line operational data, such as voltage, frequency, line flows, and status of breaker and isolator position and other parameters as prescribed by the Appropriate Load Despatch Center.”

2. Definitions :

(25)“Requester” means a person such as a Generating Company including captive generating pant or “Transmission Licensee (excluding Central Transmission Utility and State Transmission Utility) or Distribution Licensees or Bulk Consumer, who is seeking connection of his new o expanded electrical plant to the Grid at voltage level 33kV and above;

(34)“User” means a person such as a Generating Company including captive generating plant o Transmission Licensee (other than Central Transmission Utility and State Transmission Utility) or Distribution Licensees or Bulk Consumer, whose electrical plant is connected to the grid at voltage level 33kV and above; and

Indian Electricity Grid Code (IEGC) notified by CERC on 28.04.2010

4.6.2 Data and Communication Facilities

Reliable and efficient speech and data communication systems shall be provided to facilitate necessary communication and data exchange, and supervision/control of the grid by the RLDC, under normal and abnormal conditions. All Users, STUs and CTU shall provide Systems to telemeter power system parameter such as flow, voltage and status of switches/ transformer taps etc. in line with interface requirements and other guideline made available by RLDC. The associated communication system to facilitate data flow up to appropriate data collection point on CTU’s system, shall also be established by the concerned User or STU as specified by CTU in the Connection Agreement. All Users/STUs in coordination with CTU shall provide the required facilities at their respective ends as specified in the Connection Agreement.

Definitions

2.1 (gggg) “User” means a person such as a Generating Company including Captive Generating Plant or Transmission Licensee ( other than the Central Transmission Utility and State Transmission utility) or Distribution Licensee or Bulk Consumer, whose electrical plant is connected to the ISTS at a voltage level 33kV and above;

Delhi Grid Code notified on 22.04.2008:

17 Communication Facilities

17.1 Reliable and efficient speech and data communication systems shall be provided to facilitate necessary communication and data exchange, and supervision/control of the State Grid by the State Load Despatch Centre, under normal and abnormal conditions.

17.2 All Users and Transmission Licensees shall provide the required facilities at their respective ends as laid down in the Connection Agreement:

Provided that the equipments/devices for communication and data exchange shall be provided considering the guidelines of the SLDC, the interface requirements and other such guidelines/specifications as applicable.

All the provisions of above statutory documents show that the provision of the data connectivity is the responsibility of user i.e. Bawana CCGT.

As such SLDC requested Bawana CCGT to provide the data connectivity on IEC 101 (RS232) protocol at the nearest existing location i.e. 400kV Bawana S/stn of DTL where the provision of data integration is available.

- PPCL representative requested SLDC to provide the same as they do not have such scheme in turn key project awarded to BHEL on payment basis as quick as possible. This request was particularly made looking into the expertise available with SLDC.

- Director (Operations), DTL advise SLDC to depute the engineers to Bawana CCGT to coordinate the data integration with SLDC and it should be done on war footing before the commissioning of the machine.

Concluding the discussion Director (Operations), DTL advise to convene the last round the meeting finalize the above residual issues on 31.08.2010 in which GM(NRLDC) may specially be requested to depute an expert to advise to advise the scheduling issues in respect of Punjab and Haryana from this project.

Annexure-1

The list of the officers attended the meeting held at SLDC on 19.08.2010 at 14.00hrs. with regard to Scheduling and other related issues of 1500MW Bawana CCGT.

| Name | Designation | Utility | Mobile no. |
| --- | --- | --- | --- |
| Sh. A.K. Kaul | Director (Operations), -in Chair | DTL | 9810299692 |
| Sh. Roop Kumar | G. M. (SLDC) | SLDC | 9540040629 |
| Sh. Bhupinder Nath | G. M. (O&M) | DTL | 9540040627 |
| Sh. S.M. Verma | G.M. | PPCL | 9717694845 |
| Sh. V. Venugopal | DGM(System Operation) | SLDC | 9871093902 |
| Sh. Ashish Kr. Dutta | Manager | NDPL | 9871798566 |
| Sh. Sunil Kakkar | Addl. VP | BYPL | 9312147042 |
| Sh. Sanjay Srivastava | Addl. VP | BRPL | 9312147045 |
| Sh. Ashok Kumar | Manager (SO) | SLDC | 9540040669 |
| Sh. N.K. Makkar | Executive Engineer | HVPN | 9466219042 |
| Sh. M.G. Singla | Sr. Executive Engineer | PSPCL | 9646118032 |
| Sh. Deepak Sachdeva | EE(E) | NDMC | 9811120675 |
| Sh. Madan Pal | AEE(Power) | NDMC | 9968267933 |
| Sh. R. K. Yadav | Manager (Commercial) | PPCL | 9717694845 |
| Sh. Satyender Prakash | Manager (Electrical)- Project | PPCL | 9717694813 |
| Sh. Bharat Sharma | AM | NDPL | 9971393789 |
| Ms Neelam Bharti | AM(T), SO | SLDC | 9540040897 |
| Ms. Sonali Garg | AM(T), ERP | DTL | 9540040898 |
| Sh. S.K. Sharma | AM(T) | PPCL | 9717694965 |
| Sh. Sanjeev Kumar | AM(T), SO | SLDC | 9540040917 |
| Sh. Deepak Sharma | JE(E), SO-EA | SLDC | 9540041008 |
| Sh. Ved Prakash | Dy. Manager (Finance) | SLDC | 9540040718 |
| Sh. V.B. Singh | Manager (SO) | SLDC | 9540040811 |