|  | पंजीकृत कार्यालय :शक्ति सदन, कोटला रोड़, न्यू दिल्ली-110002 (Regd. Office Shakti Sadan, Kotla Road, New Delhi-110002) कार्यालय उपमहाप्रबंधक (एस.ओ.) Office of Dy. General Manager (SO) एस एल डी सी बिल्डिंग, मिंटो रोड़, न्यू दिल्ली-110002 SLDC Building, Minto Road, New Delhi-110002 Ph: 23221149 FAX No.23221012 |
| --- | --- |
| No. F./DTL/207 )/08-09/DGM(SO)/10 | Dated : 14.01.2009 |

Subject  : 	Minutes of the 2nd Meeting of Grid Coordination Committee held on 25.11.2008 in the Conference Hall of Headquarters, Delhi Transco Ltd, Shakti Sadan Building, New Delhi

Dear Sir,   /  महोदय

The Minutes of the 2nd Meeting of Grid Coordination Committee held on 25.11.2008 in the Conference Hall of Headquarters, Delhi Transco Ltd, Shakti Sadan Building, New Delhi is enclosed for ready reference and further necessary action.

Thanking you,

भवदीय   /  Yours faithfully

(वी.वेणुगोपाल)/(V. Venugopal )

(उपमहाप्रबंधक (एस.ओ.)/Dy. G. M. (SO)

Convener (GCC)

List of addresses

- General Manager, NRLDC, 18A- SJSS, New Delhi-110016

- G.M.(O&M),Delhi Transco Ltd, Parkstreet, 220kV S/Stn.,New Delhi-110001

- G. M. (SLDC)

- G.M. (Planning), Shakti Deep Building, Jhandewalan, New Delhi

- G. M. (Comml.), IP Estate Near ITO, New Delhi-110002

- General Manager, Badarpur Thermal Power Stn., Badarpur, New Delhi-44

- General Manager, IP Station

- General Manager, RPH

- CWE (Utilities), MES, Delhi Cantt, New Delhi-110010

- Garrison Engineer (Utilities), MES, Delhi Cantt., New Delhi-110010

- HoG, System Operation, BSES, Balaji Estate, Kalkaji, New Delhi

- Dy.G.M.(Metering & Prot), Delhi Transco Ltd., Parkstreet, 220kV S/Stn, New Delhi-110001

- Chief Engineer (Electrical), NDMC, Palika Kendra, New Delhi-110001

- Director (Comml.), NDMC, Palika Kendra, New Delhi-110001

- General Manager, GT Station

- General Manager, PPCL

- Sh. A. K. Joshi, Superintending. Engineer (E-IV), Pragati Bhawan, Jai Sing Road, New Delhi-110001

- Sh. N. S. Sagar, SE(E-II), room No. 1706, 7th Floor, Palika Kendra, New Delhi-1

- Sh. Pillai Ramachandaran, HoD(PSC&M), NDPL, Shakti Nagar, Nangia Park,

Delhi-110007

- Sr. Vice President, BYPL, BSES Bhawan Nehru Place, New Delhi-19

- Dy. G. M. (Finance), SLDC, SLDC Building, Minto Road, New Delhi-110002

- HOG (Power System and Trading), NDPL, Cennet Building, Adjacent to 66/11kV Pitampura-3 Grid Building, Near PP Jewelers, Pitampura, Delhi-34.

- Head (Operations), NDPL, Corporate Office, 3rd Floor, Sub-Station Building, Hudson Lines, Kingsway Camp, Delhi-110019

- Sh. S. K. Sharma, Dy. G.M. (O&M)-I, 400kV Bamnauli Sub-Station, Najafgarh – Bijwasan Road, Bamnauli, New Delhi

- Sh. V.K. Garg, Dy. G.M.(O&M)-II, DTL, 220kV Park Street Grid S/Stn, near RML Hospital, Park Street New Delhi-110001

- Sh. M.S.Dhundhle, Dy. G.M.(OS), DTL, 220kV Naraina Grid S/Stn, New Delhi-10

- Sh. Sunil Kakkar, Dy. General Manager (PMG), BSES Rajdhani Power Ltd., 3rd Floor, Building No. 20, Nehru Place, New Delhi - 110019

- Sh. Sanjay Srivastav, Dy. General Manager (PMG), BSES Yamuna Power Ltd., 3rd Floor, Building No. 20, Nehru Place, New Delhi - 110019

- Head CTS, BSES, Balaji Estate, Kalkaji, New Delhi.

- General Manager (Commercial), National Thermal Power Corporation, NTPC NCR Headquarter, Sector-24, Noida, UP-201301

- DGM(SCADA), Delhi SLDC

- Manager (SO)-Shift, Delhi SLDC

- Executive Engineer (SO), NDMC

Copy for favour of kind information to :-

  - Secretary, DERC, Viniyamak Bhawan, C-Block, Shivalik, New Delhi-17

  - Chairman and Managing Director, DTL

  - Managing Director, Indraprastha Power Generation Company Ltd (Genco) / Pragati Power Corporation Ltd (PPCL), Himadri, Rajghat Power House, New Delhi-110002

  - Director (Operations), DTL

  - Director (Finance) DTL

  - Chairperson, New Delhi Municipal Council,Palika Kendra,Sansad Marg, New Delhi

  - CEO, BSES Rajdhani Power Ltd, BSES Bhawan, Nehru Place, New Delhi-110019

  - CEO, BSES Yamuna Power Ltd, Shakti Kiran Building, Karkardooma, New Delhi-110092

  - CEO, North Delhi Power Ltd, 33kV Grid S/Stn, Hudson Lane, Kingsway Camp, Delhi-110009

  - Chief Engineer(Utilities),CWE, MES, Kotwali Road, Near Gopi Nath Bazar, Delhi Cantt  New Delhi-110010

DELHI TRANSCO LTD.

(Regd. Office : Shakti Sadan, Kotla Road, New Delhi 110002)

[Office of Dy. General Manager (SO)]

SLDC Building, Minto Road, New Delhi – 110 002

Phone No.23221149, 23221175, Fax 23221012, 59

Subject 	Summary Record of discussions of the 2nd Meeting of Grid Coordination Committee (GCC) of Delhi, held on 25th November 2008 (Tuesday) in the Conference Hall, Headquarter, Delhi Transco Ltd, Shakti Sadan Building, New Delhi

The list of participants is enclosed at Annexure-1.

WELCOME

Sh. S.R. Sethi, Director (Operations), DTL, the Chairman of GCC welcomed the participants and outlined the need of coordinated operation of the grid.  He reminded all the utilities that the grid discipline should be aim of all utilities.   He cited one of the recent orders of CERC on SRLDC petition on `Grid Indiscipline’ in which the Commission had imposed the penalty of Rs. 1 Lacs each on Power Utility of Andhra Pradesh, Karnataka, Tamilnadu and Kerala for indulging into Grid indiscipline.  It has also been told that this was only the token penalty and the Commission may come with harsh penal action if the Grid indiscipline continues.

Sensing the importance of Grid Coordination Committee (GCC), he requested utilities who have not nominated members of the various sub-committees envisaged under GCC for conducting the business assigned to them.

He indicated another milestone instance during the intergun of the 1st meeting of GCC and now the Govt. of India has decided to implement the recommendations of Committee constituted on `Manpower, Certification and Incentives for System Operation and Ring Fencing Load Despach Centers’, one of the main recommendations of the committee is the Ring Fencing of the Load Despatch Centers.  As such, it would be likely that SLDC would also be notified as separate company with separate board of directors.

The Committee has further recommended for separate balance sheets for SLDCs and capex programmes etc. in same way that of a separate company.

With the above opening remarks, advised the Convener to take up the agenda.

--2--

DISCUSSIONS

1	Confirmation of the minutes of 1st meeting of GCC held on 12.09.2008.

The minute of the 1st meeting of GCC held on 12.09.08 have been circulated vide letter no. F.DTL/207/2008-09/DGM(OS)/313 dt. 23.09.08. Comments received from BTPS were discussed and accordingly suitable modifications in the MoM were incorporated. As such, GCC confirmed the minutes of 1st Meeting of GCC held on 12.09.08.

2	Finalization     of  conduct  of  business  of  Delhi  Grid

Co-ordination Committee (conduct of business Rule 2008)

As per the provision of 6.2.3 of Delhi Grid Code (DGC) the committee will have to frame its own rule of business for the conduct of its meetings and other related matters. The draft conduct of business has been forwarded separately and along with the minutes of the 1st meeting of GCC held on 12.09.2008.

BTPS has forwarded the comments on the draft Rule of Business of GCC.  Apart from that, DERC has also suggested certain modifications.  The Committee considered the suggestions of DERC and comments of BTPS and decided following :-

A)	Comments of BTPS

| Clause no. | Suggestion of BTPS | Discussion and Decision |
| --- | --- | --- |
| 8.1 | In the clause 8.1 (procedure for conducting GCC meetings) at the end of the para “notice will be sent through E_mails also” is proposed to be added. | Agreed |
| 13.2 | Clause 13.2 the word “Authority” is proposed to be replaced with Chairperson as Authority as per the definition is Central Electricity Authority | In the `Conduct of Business Rules’ circulated along with the minutes of the 1t meeting of GCC, the Clause 13.2 reads In the absence of Convener, GCC such of the officer as may be designated by Presiding Officer shall function as Convener to assist Chairperson, GCC. As such, the suggestion of BTPS has already been taken care. Since, GCC has no direct dealing with, Central Electricity Authority, from the definition, the term `Authority’ shall be deleted. |
| 17.2.1, 17.2.2 | Composition of Operation Co-ordination Committee (clause 17.2.1, 17.2.2)–it is proposed to include to the level of Manager also eligible to attend the meeting in all Sub-Committees as it is not always not possible to spare DGMs for every time. The OCC meeting should be chaired by General Manager(SLDC) as the real time operation and the issues related to it is under the preview of SLDC as per the Electricity Act 2003. | Chairman, GCC opined that all the sub-committees should be headed by a General Manager level of officer of DTL being STU in Delhi. On a specific query of logic behind the statement from BTPS, he cited the functions and duties of STU mentioned in the Electricity Act-2003 Further, it has to undertake Planning, Coordination and Transmission of electricity through Intrastate transmission system Considering the legal position and SLDC being separated from the transmission company, it would be appropriate that General Manager (O&M) of DTL should head the Operation Coordination Committee as envisaged in the Business Rules. However, Chairman, GCC assured that proper representation of SLDC in all sub-committees would be ensured. Further, it was also decided that the minimum level of representation should be Superintending Engineer / DGM who can bring the lower level officers who are having adequate knowledge in the subject. |

---3---

| Clause no. | Suggestion of BTPS | Discussion and Decision |
| --- | --- | --- |
| 18.2 | Composition of Commercial Sub-committee – the nominated representative shall have adequate knowledge of the subject mentioned in clause 8.1 is proposed to be added in the clause. | As mentioned in the above item, the representation should be Superintending Engineer / DGM who can bring the lower level officers who are having adequate knowledge in the subject. The committee shall be chaired by G.M.(Comml) of Delhi Transco Ltd. (STU). |
| 20.1 | System study Sub-committee – In addition to the proposed system studies to be carried by system study sub-committee it is proposed that islanding scheme of generators should also be included | Agreed. |

(B)	Suggestions of DERC mentioned in the additional agenda.

| Clause no. | Suggestion of DERC | Discussion and Decision |
| --- | --- | --- |
| Heading | Rules – Legally the rules to be framed by the Government as per the provision contained in an Act. Since, the rules have been framed for conducting Business, the distinction should be maintained for the rules as per the legal terms and that for conducting business | The Committee consider the suggestion but was of the opinion that the words ‘rules’ picked up the Clause-6.2.3 of the Delhi Grid Code where it has been indicated `State Transmission Utility (STU) in co-ordination with State Load Despatch Centre (SLDC) facilitate and manage the functioning of the Grid Coordination Committee. The Committee shall frame its own rule of business for the conduct of its meetings and other related matters. Emphasize is given to the word rule. As such, the Committee decided to retain the heading. |
| Meeting | In the definition `Meeting’ to be defined as ‘Meeting’ means a meeting of the Committee or sub-committee convened by the Convenor of the Committee or any member authorized to convene a meeting. | Agreed |
| 2 | In the definition `All the sub committees need not be defined’ as the composition and functions of the committees have already been explained in a chapter. | Committee considered the suggestion but was of the view that for having more clarity, the definitions of each sub-committees provided in the definition be retained. |
| 2 | In definitions, the Regulations may defined as Delhi Electricity Regulatory Commission (State Grid Code Regulations 2008 notified on 22.04.2008). | Agreed |
| 2 | In definitions, the `Beneficiary’ may be defined as a person including in state generating station, distribution licensees, consumers of the distribution licensees directly connected to State Transmission System (STS) and those availing the open access and connected to and / or using the STS, has more particularly identified in each section of the Delhi Grid Code. | Agreed |

---4---

| Clause no. | Suggestion of DERC | Discussion and Decision |
| --- | --- | --- |
| 3h | The Clause-h of the functions of GCC may be redrafted as “functions mandated under the Act, any other statitute or Delhi Grid Code and such other matters as may be directed by the Commission from time to time” | Agreed. |
| 4 | The constitution of Secretariat of GCC should be explained – Secretariat of GCC shall be the office of Convenor, GCC. | Agreed. |
| 7.2 | The Clause 7.2 may be modified as Meetings will be hosted by the member organizations as per the roster prepared by Convener, GCC in consultation with the Chairman, GCC | Agreed. |
| 8.1 | The Clause 8.1 may be modified as Notice for the Committee meetings shall be issued by Convener, GCC at least one week in advance in consultation with Chairperson, GCC. In case of emergency meetings required to be conducted to carry out urgent business, it can be convened at short notice in consultation with Chairperson, GCC. | Agreed |
| 8.2 | The Clause-8.2 may be modified as The Agenda points for the meeting shall be sent to the Convener by the members at least 20 days in advance of the meeting. The Convener, GCC shall finalize the agenda and circulate the same to all its members at least one week in advance and also be posted on the website of SLDC. | Agreed |
| 18.3 19.3 20.3 | It is suggested that Clause 18.3, 19.3 and 20.3 may be clubbed together under one sub-heading indicating Meetings: - The meeting of the Committee and Sub-Committees will be held quarterly or as and when required to address the issues of urgent nature. | Agreed |

---5---

| Clause no. | Suggestion of DERC | Discussion and Decision |
| --- | --- | --- |
| 21.1 | The Clause-21.1 be modified as The notice for the above sub-committee meetings shall be issued at least one week before the date of meeting by the Convenor of the concerned sub-committee in consultation with Chairman of the concerned sub-committee. The minutes of the meeting shall be finalized and issued by the Convener of the concerned sub-committee within one week of the meeting | Agreed |
|  | Concluding Clause of sub-committee, a `Presiding Officer’ Clause may be added as The Chairperson of the concerned sub-committee shall preside over the respective sub committee and conduct business. The Convener of the respective sub-committee shall assist the Chairperson of the sub-committee in conducting the meeting. If the Chairperson is unable to be present at the meeting for any reason, other members present in the meeting shall nominate a person among themselves to preside over the meeting. | Agreed. |

c)	Suggestions of SLDC to change the clause-14.2 wherein the deletion of the provision of video recording of proceeding of GCC was also accepted by the Committee.

d)	Chairman was of the opinion that the Commercial Committee should be headed by General Manager (Commercial), DTL instead of General Manager (SLDC) as indicated in the business rules.  Convener mentioned that this was included considering the fact that as per Section-32(2)(c ) of Electricity Act 2003, SLDC shall keep accounts of quantity of electricity transmitted through the state grid.

Chairman, GCC quipped that it is proper that the Commercial Committee should head General Manager (Commercial), DTL as it is not proper to head the Commercial Committee by the organization who prepares and monitors the electricity accounts.

GCC approved the proposal of the Chairman.

---6---

Considering the above, the `Conduct of Business Rules of GCC’ has been recast and enclosed as Annexure-2.

The Convener further intimated that the following changes have been occurred in GCC.  The NDMC would now be represented in GCC as

Main Member 		:	Sh. R.R. Singh , Chief Engineer (Electrical)

Room No. 1701, 17th Floor, Palika Kendra,

Sansad Marg, New Delhi-110001

Mobile  9818507832

Alternate Member 	:	Sh. A.K. Joshi , Supdt. Engineer (E-IV)

Pragati Bhawan, Jai Singh Road,

New Delhi-110001

Mobile : 971724999

Following the transfer of Col. G. K. Pandita, CWE, Col. C. Stephens, CWE (Utilities) would be the main member of MES.

Chairman GCC mentioned that General Manager (Planning), DTL and General Manager (Commercial), DTL would be special invitees in all GCC meeting.

3    	Nominations to the Sub-committees

The following Sub-committees are envisaged to assist GCC

- Operation Co-ordination Committee (OCC)

- Commercial Committee (CC) (Metering Committee as its sub-committee)

- Protection Committee (PC)

- System Study Committee.

It was intimated by the Convener that the nominations have been received from all utilities as under :-

Name of the Sub Committee   :	Operation Coordination Committee

| Sr. No. | Utility | Main member | Alternate member |
| --- | --- | --- | --- |
| 01 | NDPL | Mr. R. Pillai HoD, (PSC&AM) Shakti Nagar, Dist Office Nangia Park, Delhi-110007 Ph. 9810799174 | Mr. Jayanta Chatterjee HoG, (PS&T) CENNET Building, Adj. Pitampura-III Grid S/Stn, Opp. P.P. Jewellers, Pitampura, Delhi-110034 Ph. 9818100625 |
| 02 | BRPL | Sh. K. Sheshadri, Addl. Vice President (SO) BRPL/BYPL Ph. 9350261134 |
| 03 | BYPL |  |

---7---

| Sr. No. | Utility | Main member | Alternate member |
| --- | --- | --- | --- |
| 04 | NDMC | Sh. A. K. Joshi Superintending Engineer (E-IV) Pragati Bhawan, Jai Singh Road New Delhi-110001 Mobile : 971724999 | Sh. N. S. Sagar Superintending Engineer (E-II) Room No. 1706, 7th Floor Palika Kendra, New Delhi-01 Mobile : 9899041848 |
| 05 | IPGCL | Sh. Y. P. Arora DGM(O/C&I) RPH O&M Building, RPH New Delhi-110002 Ph.9717694855 yparora.ipgpp@nic.in | Sh. Sunil Katyal DGM(O) GTPS O&M Building, GT Ring Road, New Delhi-02 Ph.9312835033 opn_gtps@rediffmail.com Sh. S. M. Tangri DGM(O) IP Station O&M Building, IP Station Ring Road New Delhi-02 Ph. 9717698244 dgmoprips@rediffmail.com |
| 06 | PPCL | Sh. S. P. Singh DGM(O) O&M Building, Pragati Power Stn. Ring Road, New Delhi-02 Ph. 9717694904 surenderpal.ipgpp@nic.in |
| 07 | BTPS | Sh. Neshar Ahmad DGM (EEMG) | Sh.S.K. Maheshwari Supdt. Engineer (EEMG) |
| 08 | DTL | Sh.V.P. Dutta, Chairman, OCC General Manager (O&M) 220kV S/Stn Building Park Street, Near Ram Manohar Lohia Hospital, New Delhi-110001 Ph. : 23366462, Mob. : 9818314815 Fax : 23366160 Sh. S. K. Sharma Dy. G.M. (O&M)-I Village Bamnauli, PO Dhul Siras, Near Chhawala Camp, Najafgarh – Bijwasan Road, New Delhi-45 Mobile: 9810709619 Office: 25314199,Fax:-25314268 | Convener Sh.M.S.Dhundle Dy. G.M. (O.S.) 220kV S/Stn. Building Naraina, New Delhi-110010 Mob. : 9810377814 Ph. : 25683304 Sh. V.K. Garg Dy. G.M. (O&M)-II 220kV S/Stn Building Park Street, near Ram Manohar Lohia Hospital, New Delhi-110001 Mobile : 9818101706 |
| 09 | MES | Sh. Inderjeet Sing Bhatia AEE /M, SLDC Officer HQ CWE (Utilities) Delhi Cantt-10 | Sh. A. K. Bajpai AEE E/M, AGE E/M-I GE (Utilities) Elec. Supply Delhi Cantt-110010 |

---8---

| S. N. | Utility | Main member | Alternate member |
| --- | --- | --- | --- |
| 10 | SLDC | Sh. A. K. Kaul, General Manager (SLDC), SLDC Building, 33kV Grid S/Stn, Minto Road, New Delhi-110002 Phone: Mobile: 9810299692 Office: 011-23221091, Fax: 011-23221069 | Sh. V. Venguopal Dy. G.M. (SO) SLDC Building, 33kV Grid S/Stn, Minto Road, New Delhi-110002 Phone : Mobile : 9871093902 Office no.23221175, 23221149 Fax. :23221012, 1059 |

Name of the Sub Committee	:	Commercial Committee

| S. N. | Utility | Main member | Alternate member |
| --- | --- | --- | --- |
| 01 | NDPL | Sh. Vivek singla HoD (PM&CC) 3rd Floor, Hudson Lane Kingsway Camp, Delhi-110007 Ph. 9250006661 | Sh. Ashis Kumar Dutta Manager 3rd Floor, Hudson Lane Kingsway Camp, Delhi-07 Ph. 9871798566 |
| 02 | BRPL | Sh. Mukesh Dadhich, Sr. Manager (PPG) BRPL/BYPL Ph. 9350261451 |
| 03 | BYPL |  |
| 04 | NDMC | Sh. S.M. Ali Director (Commercial) Mezz Floor, Palika Kendra New Delhi-110001 Mobile : 9810011692 | Sh. Madan Pal AEE (Power), Mezz Floor, Palika Kendra New Delhi-110001 Mobile : 9968267933 |
| 05 | IPGCL/ PPCL | Sh. S. M. Verma DGM(C&I) Pragati Power Station Ring Road, New Delhi-02 Ph. 9717694896 vermasm@rediffmail.com | Sh. R.K. Srivastava OSD to CMD Chairman Office, Shakti Sadan, New Delhi-02 Ph. 9717695006 rajneeshsam@gmail.com |
| 06 | BTPS | Sh. Neshar Ahmad DGM(EEMG) | Sh. K.J. Singh Supdt (NCR-Comml) |
| 07 | DTL | Sh.B.D.Prasad, Chairman (CC) General Manager (Commercial) IP Estate, New Delhi-110002 Ph. 23370409, 23370477 M. 9818314816 | Sh. Ved Mitra DGM(Commercial) IP Estate, New Delhi-110002 Ph. 23379170, 23378976 M. 9871165812 |
| 08 | MES | Sh. Inderjeet Sing Bhatia AEE /M, SLDC Officer HQ CWE (Utilities) Delhi Cantt-10 | Sh. A. K. Bajpai AEE E/M, AGE E/M-I GE (Utilities) Elec. Supply Delhi Cantt-110010 |
| 09 | SLDC | Sh. A. K. Kaul, General Manager (SLDC), SLDC Building, 33kV Grid S/Stn, Minto Road, New Delhi-110002 Mobile: 9810299692 Office: 011-23221091, Fax: 011-23221069 | Sh. V. Venguopal Dy. G.M. (SO) SLDC Building, 33kV Grid S/Stn, Minto Road, New Delhi-110002 Mobile : 9871093902 Office no.23221175, 23221149 Fax. :23221012, 1059 |

---9---

Name of the Sub Committee	:	Protection Committee

| Sr. No. | Utility | Main member | Alternate member |
| --- | --- | --- | --- |
| 01 | NDPL | Sh. R. N. Kumar HoG (Prot & Testing) 9818100541 | Sh.Subhadip Raychaudhari Asstt. Manager Ph. 9871798564 |
| 02 | BRPL | Sh. Manoj Kumar DGM (Protection) BRPL/BYPL Ph. 9312782575 | Sh. S.S. Panwar DGM BRPL/BYPL Ph. 931350208 |
| 03 | BYPL |  |  |
| 04 | NDMC | Sh. N. S. Sagar Superintending Engineer (E-II) Room No. 1706, 7th Floor Palika Kendra, New Delhi-01 Mobile : 9899041848 | Sh. Y. K. Pandey Superintending Engineer (E-V) 17th Floor, Palika Kendra, New Delhi-110001 Ph. 9868951220 |
| 05 | IPGCL / PPCL | Sh. M. Shukla DGM(Elec.), IP Stn O&M Building, IP Station Ring Road, New Delhi-02 Ph. 9717698228 mshukla.ipgpp@nic.in | Sh. V.K. Puri Manager (Protection), PPCL O&M Building, PPCL Ring Road, New Delhi-02 Ph. 9717698182 vkpuri@ipgcl-ppcl.gov.in |
| 06 | BTPS | Sh. S. M. Sood Supdt.(EEMG) | Sh. M. M. Arora Supdt. (Electrical) |
| 07 | DTL | Sh. V.P. Dutta, Chairman (PC) General Manager (O&M) 220kV S/Stn Building Park Street, near Ram Manohar Lohia Hospital, New Delhi-110001 | Sh. Prem Prakash, Convener DGM (Metering & Prot.) 220kV S/Stn Building Park Street, near Ram Manohar Lohia Hospital, New Delhi-110001 Mobile : 9811375459 |
| 08 | MES | Sh. Inderjeet Sing Bhatia AEE /M, SLDC Officer HQ CWE (Utilities) Delhi Cantt-10 | Sh. A. K. Bajpai AEE E/M, AGE E/M-I GE (Utilities) Elec. Supply Delhi Cantt-110010 |
| 09 | SLDC | Sh. A. K. Kaul, General Manager (SLDC), SLDC Building, 33kV Grid S/Stn, Minto Road, New Delhi-110002 Phone: Mobile: 9810299692 Office: 011-23221091, Fax: 011-23221069 | Sh. V. Venguopal Dy. G.M. (SO) SLDC Building, 33kV Grid S/Stn, Minto Road, New Delhi-110002 Mobile : 9871093902 Office no.23221175, 23221149 Fax. :23221012, 1059 |

---10---

Name of the Sub Committee	:	System Study Committee

| S. N. | Utility | Main member | Alternate member |
| --- | --- | --- | --- |
| 01 | NDPL | Sh. Sanjay Banga HoG (Automation) CENNET Building, Adj. Pitampura-III Grid S/Stn, Opp. P.P. Jewellers, Pitampura, Delhi-110034 Ph. 9818100660 | Sh.Praveen Verma Asstt. Manager (Network Analysis Group) Ph. 9971152897 |
| 02 | BRPL | Sh. Devender Sharma Manager (CES) BRPL/BYPL Ph. 9350109504 |
| 03 | BYPL |  |
| 04 | NDMC | Sh. A. K. Joshi Superintending Engineer (E-IV) Pragati Bhawan, Jai Singh Road New Delhi-110001 Mobile : 971724999 | Sh. N. S. Sagar Superintending Engineer (E-II) Room No. 1706, 7th Floor Palika Kendra, New Delhi-01 Mobile : 9899041848 |
| 05 | IPGCL / PPCL | Sh Satyendra Prakash Manager (Elec.-I), RPH O&M Building, RPH Ring Road, New Delhi-02 Ph. 9717694813 satyendrap@ipgcl-ppcl.gov.in | Sh. Rajender Gupta Asstt. Manager (Protection) O&M Building, PPCL Ring Road, New Delhi-02 Ph. 9717698293 guptaraju@rediffmail.com |
| 06 | BTPS | Sh. R. C. Agrawal DGM (Electrical) | Sh. L.K. Jain DGM(OS-NCR) |
| 07 | DTL | Sh. Raj Bhartiya, Chairman General Manager (Planning) Shakti Deep Building, Jhandewalan, Delhi Ph. 23552070, 23536469 Mo. 9818314817 | Sh. Bhupender Nath, Convener Dy. G.M. (Planning)-II Shakti Deep Building, Jhandewalan, Delhi Ph. 23520106, 23632031 Mo. 9810299688 |
| 08 | MES | Sh. Inderjeet Sing Bhatia AEE /M, SLDC Officer HQ CWE (Utilities) Delhi Cantt-10 | Sh. A. K. Bajpai AEE E/M, AGE E/M-I GE (Utilities) Elec. Supply Delhi Cantt-110010 |
| 09 | SLDC | Sh. A. K. Kaul, General Manager (SLDC), SLDC Building, 33kV Grid S/Stn, Minto Road, New Delhi-110002 Phone: Mobile: 9810299692 Office: 011-23221091, Fax: 011-23221069 | Sh. V. Venguopal Dy. G.M. (SO) SLDC Building, 33kV Grid S/Stn, Minto Road, New Delhi-110002 Mobile : 9871093902 Office no.23221175, 23221149 Fax. :23221012, 1059 |

Chairman, GCC advised that the sub-committees should discharge the duty and functions as per the rule of business.

Agenda and minutes of all sub-committees should go to Secretary, DERC and CEOs / Head of the organizations along with SLDC & Chairman, GCC.

--11--

4    	APPROVAL OF METERING PROCEDURES

It was decided to refer back the Metering Procedures to Commercial Committee wherein the procedure can be discussed and finalized in the Metering Committee which is proposed to be created as a sub-group of Commercial sub Committee.

Chairman, GCC advised that the Metering Procedure be put up to GCC in the next meeting after the above formalities are completed.

5	APPROVAL OF PROTECTION PLAN.

It was decided to refer back the Protection Plan to the Protection sub Committee for finalization.

Chairman, GCC advised that the Protection Plan be put up to GCC in the next meeting after the above formality is completed.

6	CONNECTIVITY ISSUES BETWEEN DISCOM AND SLDC

Chairman GCC advised that the data exchange points and the mode of connectivity for data exchange between the discoms and SLDC be discussed and finalized in Operational Coordination Committee and SLDC take the further mode of action for establishing the data connectivity between SLDC and discoms.  However, he was of firm view that for establishing the data connectivity, the

CEA’s regulations in this regard dated 21.02.2007 and Delhi Grid Code would be guiding principle.

7	GRID OPERATION (CURBING OF OVERDRAWAL UNDER LOW FREQUENCY REGIME IN VIEW OF THE CERC ORDER ON 16.10.2008 ON PETITION 155/08 SUO MOTO)

Chairman GCC has said in the opening remarks reiterated that the Grid discipline should be maintained at all cost.  He pointed out that now the Regulatory Commissions are contemplating the invoking of Section-142 and 149 of Indian Electricity Act dealing the non adherence of the directions issued by Electricity Regulatory Commissions, in the case of Grid indiscipline.  The relevant provision of Electricity Act 142 & 149 are reproduced hereunder:-

---12---

142. Punishment for non-compliance of directions by

Appropriate Commission.

In case any complaint is filed before the Appropriate Commission by any person or if that Commission is satisfied that any person has contravened any provisions of this Act or rules or regulations made thereunder, or any direction issued by the Commission, the Appropriate Commission may after giving such person an opportunity of being heard in the matter, by order in writing, direct that, without prejudice to any other penalty to which he may be liable under this Act, such person shall pay, by way of penalty, which shall not exceed one lakh rupees for each contravention and in case of a continuing failure with an additional penalty which may extend to six thousand rupees for every day during which the failure continues after contravention of the first such direction.

149. Offences by companies.

- Where an offence under this Act has been committed by a company, every person who at the time the offence was committed was in charge of and was responsible to the company for the conduct of the business of the company, as well as the company shall be deemed to be guilty of having committed the offence and shall be liable to be proceeded against and punished accordingly: Provided that nothing contained in this sub-section shall render any such person liable to any punishment if he proves that the offence was committed without his knowledge or that he had exercised all due diligence to prevent the commission of such offence.

- Notwithstanding anything contained in sub-section (1), where an offence under this Act has been committed by a company and it is proved that the offence has been committed with the consent or connivance of or is attributable to any neglect on the part of any director, manager, secretary or other officer of the company, such director, manager, secretary or other officer shall also be deemed to be guilty of having committed such offence and shall be liable to be proceeded against and punished accordingly.
Explanation. - For the purpose of this section,-

  - "company" means a body corporate and includes a firm or other association of individuals; and

  - "director", in relation to a firm, means a partner in the firm.

---13---

He reminded that as per the Grid Code, SLDC is responsible for enforcing Grid discipline in the state.  All the directions issued for Grid discipline by SLDC should be complied by the utilities without questioning.   He also mentioned that SLDC would be left with no option but to impose the penal provisions mentioned in the Act in case of violation of the Grid discipline by the utilities involved.  The special mention was towards Section-33 (5) of Electricity Act-2003.  The provision is as under :-

Section 33(5) “If any licensee, generating company or any other person fails to comply with the directions and issued under sub-section(1), he shall be liable to a penalty not exceeding rupees five lacs”.

Section 33(1) specifies “The SLDC in a state may give such directions and exercise such supervision and control as may be required for ensuring the integrated grid operations and for achieving the maximum economy and efficiency in the operation of power system in the state”.

Section 33(4)  “If any dispute arise with reference to the quality of electricity or safe, secure and integrated operation of the state grid or in relation to any direction given under sub section (1), it shall be referred to the state commission for decision. Provided that pending the decision of the State Commission, the directions of the SLDC shall be complied with by the licensee or generating company”.

To avoid the imposition of such penal actions all utilities were requested to maintain grid discipline and arrange additional power to meet the shortages during the peak hours to avoid over drawal and thereby indulging into grid indiscipline.

For finalizing the data requirement, as specified by the CERC in its order dated 22.09.2008 indicating power supply and demand position of 1st Week of January 2009 and 1st Week of April 2009, it was decided to convene a separate meeting at SLDC on 27.11.2008.  It was also advised that the data be compiled based on the information regarding demand and availability as per discussions of the said meeting.

CONCLUSION

In the end Chairman, GCC thanked every body for attending the meeting and it was decided that the next meting of GCC shall be held on 29.01.2009 at 11.00hrs. at the same venue.  Chairman also desired that in each meeting, the constituents share the latest development in the power system for everybody’s interest.

Annexure-1

The list of the officers attended 1st Meeting of Grid Coordination Committee in the Conference Hall of Shakti Sadan, on 25.11.2008 at 10.30AM

| Name | Designation | Utility | Mobile no. |
| --- | --- | --- | --- |
| Members of GCC |
| Sh. S. R. Sethi | Director (Operations), Chairman, GCC –in Chair | DTL | 9810076947 |
| Sh. V.P. Dutta | G.M. (O&M) | DTL | 9818314815 |
| Sh. A.K. Kaul | G.M.(SLDC) | SLDC | 9810299692 |
| Sh. B. D. Prasad | G.M. (Commercial) – special invitee | DTL | 9818614816 |
| Sh. Raj Bhartiya | G.M. (Planning) – special invitee | DTL | 9818314817 |
| Sh. V. Venugopal | DGM(System Operation) – Convener, GCC | SLDC | 9871093902 |
| Sh. R. R. Singh | Chief Engineer (E) | NDMC | 9818507832 |
| Sh. A. K. Joshi | SE(E-IV) – alternate member | NDMC | 9717241999 |
| Sh. V. N. Chaudhary | General Manager | BTPS | 9818390051 |
| Col. C. Stephens | CWE (Utilities) | MES | 9999374747 |
| Sh. Vinay Kumar | Director (Tech) | IPGCL/PPCL | 9818357127 |
| Sh. K. Sheshadri | AVP | BSES | 9350261134 |
| Sh. Pillai Ramchandran | HoD (PSC&AM) | NDPL | 9810799174 |
| Sh. Akhilesh Mishra | GE(U) E/S – alternate member | MES | 9873802301 |
| Other officers attended the meeting |
| Sh. Deepak Sachdeva | Executive Engineer | NDMC | 9811120675 |
| Sh. Neshar Ahmad | DGM(EEMG) | BTPS | 9868391017 |

Annexure-2

Delhi Grid Co-ordination Committee (Conduct of Business) Rules 2008

CHAPTER-I

GENERAL

1. 	Short title and commencement:

i 	Delhi Electricity Regulatory Commission (DERC) under the provision of 86(1)(h) of Electricity Act 2003 has notified Delhi Grid Code (DGC) notified in the official gazette of Delhi on 22.04.2008

ii) 	As per the clause 6.2.1 of the aforesaid notification dated 22.04.2008, a Grid Co-ordination Committee (GCC) is required to be constituted with the following members.

- One member from the State Transmission Utility  (STU);

- One member of the State Load Despatch Centre (SLDC);

- One member to represent the generating companies in the State;

- One member to represent Badarpur Thermal Power Station.(BTPS);

- One member to represent the Transmission Licensee in the State, other than the State Transmission Utility;

- One member each to represent the Distribution Licensees in the State;

- One member to represent the Electricity Traders in the State;

- One member to represent the Northern Regional Load Despatch Centre NRLDC);

- Such other persons as may be nominated by the Commission.

The Chairperson shall be the member from State Transmission Utility.

Chairperson shall nominate one person from State Load Despatch Centre (SLDC) as convener of GCC.

State Transmission Utility (STU) in co-ordination with State Load Despatch Centre (SLDC) facilitate and manage the functioning of the Grid Coordination Committee.  The Committee shall frame its own rules of business for the conduct of its meetings and other related matters. Thus the rules and conduct of business have been framed.

iii) 	These rules shall come into force from the date of its approval by the GCC and shall remain in force unless otherwise modified.

2. 	Definitions:

2.1 	In these Rules unless the context otherwise requires:-

- ‘Act’ means the Electricity Act, 2003.

- ‘Agenda’ means the list of business proposed to be transacted at a meeting of the Committee.

- ‘Beneficiary’ means as a person including in state generating station, distribution licensees, consumers of the distribution licensees directly connected to State Transmission System (STS) and those availing the open access and connected to and / or using the STS, has more particularly identified in each section of the Delhi Grid Code;

- ‘Commercial sub-committee (CC)’ means a sub committee constituted by the Committee to consider commercial related issues.

- ‘Central Commission’ means Central Electricity Regulatory Commission.

- ‘Commission’ means Delhi Electricity Regulatory Commission.

- ‘Committee’ means the Grid Coordination Committee (GCC) constituted by the provisions of Delhi Electricity Grid Code clause 6.2.3 notified by DERC.

- ‘IEGC’ means Indian Electricity Grid Code specified by Central Electricity Regulatory Commission.

- ‘DGC’ means the Delhi Grid Code specified by Delhi Electricity Regulatory Commission.

- ‘SLDC’ means State Load Despatch Centre, Delhi.

- ‘STU’ means State Transmission utility notified under section 39 (1) of Electricity Act 2003.

- ‘Meeting’ means a meeting of the Committee or sub-committee convened by the Convenor of the Committee or any member authorized to convene a meeting.

- ‘Member’ means the member of the GCC as specified in clause 6.2.3 of Delhi Grid Code and as amended from time to time.

- ‘Operational Coordination Sub-Committee (OCC)’ means a subcommittee constituted by the GCC to consider all issues related to operation of the Delhi grid in association with NEW (North-East-West) Grid.

- ‘Protection sub-committee (PC)’ means a sub-committee constituted by the Committee to consider all power system protection related issues.

- `Regulations’ mean Delhi Electricity Regulatory Commission (State Grid Code Regulations) notified on 22.04.2008.

- ‘Rules’ mean Grid Co-ordination Committee (Conduct of Business) Rules 2008.

- ‘System study sub-committee’ means a sub-committee constituted by GCC to carry out the system studies.

- ‘Sub-committee’ means the Sub-Committee constituted by GCC to guide and assist it in conducting the functions assigned to it.

- ‘Secretariat’ means secretariat of GCC

2.2	The words and expressions used and not defined in these Rules shall be construed as having the same meaning as defined in the Delhi Grid Code.

3. 	Functions of GCC

As per clause 6.2.2 of Delhi Grid Code GCC shall carry out following functions:-

- facilitating the implementation of Delhi Grid Code Regulations and the procedures developed under the provisions of Delhi Grid Code Regulations;

- Assessing and recommending remedial measures for issues that might arise during the course of implementation of provisions of Delhi Grid Code Regulations and the procedures developed under the provisions of Delhi Grid Code Regulations;

- Review of DGC, in accordance with provisions of the Act and Delhi Grid Code Regulations;

- Analyze any major grid disturbance after its occurrence;

- Examining problems raised by the Users, and

- Investigate in case any Beneficiary is indulging in unfair gaming or collusion after getting reported from SLDC.

- Audit the complete statement of the State UI and the State Reactive Energy account tabled by the SLDC by its Commercial Sub-Committee; and

- Functions mandated under the Act, any other statuettes or Delhi Grid Code and such other matters as may be directed by the Commission from time to time.

4. 	Secretariat of GCC

Secretariat of GCC shall be the office of Convener of GCC.

4.1 	GCC shall perform the following duties namely;

- Keep custody of records of proceedings of the Committee, Sub Committees and Working Groups of the GCC.

- Prepare agenda for the meetings for the Committee.

- Prepare minutes of the meetings of Committee..

- Take follow-up action on the decisions taken by the Committee & Sub- Committee meetings.

- Maintain archive of data and information pertaining to operating parameters, protection system and communication system of Delhi power system.

- Collect from constituent members or other offices, companies, firms or any other party as may be directed by Committee, such information as may be considered useful for the efficient discharge of functions of the Committee under the Delhi Grid Code and place the information before the Committee and its sub-committees.

4.2	The duties and responsibility envisaged under Delhi Grid Code require that DGC shall be reviewed by GCC at least once in every twelve months.

4.2.1	Upon completion of such review, the GCC shall send a report to the STU providing information regarding :

(a) outcome of the review ; and

(b) any proposed revisions / amendments to the DGC

4.2.3	The STU shall send the report, referred in 4.2.1 to the Commission with its recommendations.

4.3	SLDC shall provide to the Chairperson, GCC a computer terminal to have a view of all the parameters in real time frame of Delhi Power Grid system and Regional Power Grid System.

5. 	Furnishing of data / information to Secretariat of GCC

SLDC and constituents of the GCC shall make available all data / information required by the Secretariat to discharge its functions or to carry out any other responsibility / function assigned to it by the Commission / Committee / Sub-Committee. It shall also be responsibility of the constituents to ensure that any data though not specifically asked for by the Secretariat, but which may be required for the specific responsibility / function assigned to the Secretariat is also made available to the secretariat

6. 	Chairperson of GCC

The Chairperson of GCC would be the Director of the STU, having the responsibility of looking after the operational activities of STU.

CHAPTER-II

PROCEDURE FOR CONDUCTING GCC MEETINGS

7. 	Place and date of GCC Meeting

7.1	The place and date of the meeting will be decided by the Chairperson of GCC.

7.2	Meetings will be hosted by the member organizations as per the roster prepared by Convener, GCC in consultation with the Chairman, GCC

8. 	Notice for the Committee meetings and Agenda

8.1	Notice for the Committee meetings shall be issued by Convener, GCC at least one week in advance in consultation with Chairperson, GCC.  In case of emergency meetings required to be conducted to carry out urgent business, it can be convened at short notice in consultation with Chairperson, GCC.  Notice will be sent through E_mails also.

8.2 	The Agenda points for the meeting shall be sent to the Convener by the members at least 20 days in advance of the meeting. The Convener, GCC shall finalize the agenda and circulate the same to all its members at least one week in advance and also be posted on the website of SLDC.

8.3 	Agenda for Committee meeting shall generally be put up after discussion in respective sub-committee meetings.

8.4	Agenda can be put up directly only in the cases involving urgent matters / policy issues.

8.5	Convener, GCC may also put any agenda involving urgent matters / policy issue directly in consultation with Chairperson, GCC.

8.6 	Convener, GCC may convene a meeting on short notice on any urgent matter in consultation with Chairperson of the committee.

8.7 	On receipt of specific request from a member too, Convener, GCC may convene a meeting in accordance with para 8.6 above.

9. 	Effect of Non-receipt of Notice of Meeting by a Member

The non-receipt of notice by any member of GCC or sub-committee shall not invalidate the proceeding of the meeting or any decision taken in the meeting.

10. 	Cancellation / re-scheduling of Meeting

If a meeting is required to be cancelled or rescheduled the same shall be intimated to the members at the earliest by telephone / fax and also posted on SLDC website immediately.

11. 	Periodicity of meetings

The Committee members shall meet at least once in three months.  However, the Committee may meet to discuss any issue as and when required in consultation with Chairperson, GCC.

12. 	Quorum of GCC Meeting

12.1 	The Quorum of the meeting shall be 50 % of its members.

12.2 	All decision in the GCC shall be taken by consensus.

12.3	The decisions / ratifications made by the Committee during the meeting with the above quorum shall be treated as final.

12.4 	The decision of the GCC arrived at for Operation of the Delhi Grid and Scheduling and dispatch of Electricity shall be followed by State Load Despatch Center, Delhi (SLDC) subject to the directions or regulations of the Central Electricity Regulatory Commission / Delhi Electricity Regulatory Commission.

12.5 	Only members of GCC and not more than two representatives of each organization shall participate in the Committee meeting. Other persons may attend the meeting by invitation / permission only.  However, voting rights will be available only to the Members of GCC.

13. 	Presiding Officer

13.1	The Chairperson, GCC shall preside over the meeting of GCC and conduct business. The Convener, GCC shall assist the Chairperson of GCC in conducting the meeting.  If the Chairperson is unable to be present at the meeting for any reason, other members present in the meeting shall nominate a person among themselves to preside over the meeting.

13.2 	In the absence of Convener, GCC such of the officer as may be designated by Presiding Officer shall function as Convener to assist Chairperson, GCC.

14. 	Recording of the minutes

14.1	The minutes of the meeting shall be finalized and circulated to all its members by the Convener, GCC within 15 working days from the date of the Committee Meeting.  The minutes shall also be posted on the website of SLDC.

14.2	The discussions during the meeting shall be Audio recorded and the record shall be kept at the secretariat of GCC till the confirmation of the minutes. The member organization hosting the meeting shall extend all facilities for recording of the proceedings of the meeting.

15. 	Confirmation of the Minutes

Minutes of the GCC meeting shall be placed in the next meeting for confirmation. However, in case of urgency the minutes may be confirmed by circulation.

CHAPTER-III

SUB-COMMITTEES OF GCC

16. 	Constitution of Sub-Committees of GCC

16.1	Following Sub-Committees will be constituted by GCC to guide and assist it in conducting the functions assigned to it.

- Operation Co-Ordination Committee (OCC)

- Commercial Committee (CC)

- Protection Committee (PC)

- System Study Committee

16.2	GCC or any Sub-Committee may constitute task force, core group for specific purpose from among the members and external experts to advice on any specific issue.

Functions and Composition of Sub-Committees of GCC

17. 	OPERATION CO-ORDINATION COMMITTEE (OCC)

17.1 	Functions:

Operation Co-ordination Committee (OCC) shall discuss

- all issues related to operation of the Delhi / Regional grid viz. reviewing the schedule v/s. actual generation of various power stations drawn up in the previous month;

- estimating availability of power and energy from each power station and demand of each licensee for the current and next month;

- drawing up coordinated maintenance schedule for generating units and transmission network;

- reviewing operational discipline and its norms to be observed by constituents;

- reviewing the operation of Automatic Under-Frequency Relays;

- discussing system occurrences, if any, during the previous month ;

- reviewing the status of implementation of the recommendations of the Inquiry Committees;

- monitoring / reviewing violation of provisions of IEGC/DGC related to grid operation;

- discussing / reviewing measures for ensuring economic grid operation including optimization of energy transfer with other constituents;

- examining possibility of optimizing intra state energy exchanges;

- discussing optimization of energy transfer with other states; and

- any other matter referred by the GCC.

17.2 	Composition of Operation Co-Ordination Committee:

17.2.1	General Manager (Operation and Maintenance) of STU shall be Chairperson of the OCC and preside over the meetings. Dy. G.M. (Operational Services), Delhi Transco Ltd. shall be convener of the OCC.

17.2.2	OCC shall be represented by the representatives of the constituent members of Delhi Power Sector.  The nominated representative shall be at the level of Superintending Engineer / Dy. G.M. or equivalent level.

17.3 	Meetings:

The meeting will be held every month generally before 10th day of that month.  In case of any urgency, meetings on short notice shall also be called.

18. 	COMMERCIAL COMMITTEE (CC):

18.1 	Functions:

Commercial Committee(CC) shall discuss

- all commercial related issues viz. energy accounting ;

- schemes required for inclusion in the Bulk Power Supply Agreements ;

- requirement of power from the new projects ;

- installation of special energy meters and its cost sharing, etc.;

- metering aspects;

- reviewing of the payments towards UI charges ;

- treatment of transmission losses;

- commercial declaration of lines / substation and Generating units;

- commercial issues in intra state exchange of power ;

- issues concerning settlement of payments among constituents, if any, etc. and ;

- any other matter referred by the GCC.

Auditing Commercial Committee shall audit the State Energy Accounts, Intra State UI Accounts and Inter discom Energy Transfer Account & Reactive Pool Accounts.

The Commercial Committee shall form a Metering Committee for considering the metering aspects separately.

18.2 	Composition of Commercial Committee (CC):

18.2.1	General Manager (Commercial) of STU shall be Chairperson of the CC and preside over the meetings. Dy. G. M. (Commercial) of the STU shall be convener of the CC.

18.2.2	Commercial Committee shall be represented by the representatives of the constituent members of GCC.  The nominated representative shall be Commercial Heads in the member organisation.

19 	PROTECTION COMMITTEE (PC)

19.1 	Functions:

Protection Committee (PC) shall discuss

- all power system protection related issues viz. analysis of system disturbances in the state ;

- review of protective relaying schemes ;

- relay co-ordination ;

- islanding schemes;

- automatic under frequency load shedding schemes;

- review of the implementation of recommendations made by the Inquiry Committee of the grid disturbance in the state / region concerning the above matters, etc.;

- and any other matter referred by the GCC.

19.2 	Composition of Protection Committee:

19.2.1	General Manager (Operation and Maintenance) of STU shall be Chairperson of the PC and preside over the meetings. Dy. G.M. (Metering and Protection) of STU shall be convener of the PC.

19.2.2	Protection Committee shall be represented by constituent members of GCC.  The nominated representative shall be at the level of Superintending Engineer / Dy. G.M. or equivalent level and entrusted with power system protection / testing in the respective organization.

20. 	System Study Committee:

20.1 	Functions:

System Study Committee shall carry out following system studies:

- Studies for assessment of the quantum of capacitors required in the state taking into account the expected additions in the generation and transmission systems and the low voltage conditions in the system.  The study shall be correlated with that of capacitor requirement study of being carried out at Regional level at NRPC.

- Studies for review of area wise reactive compensation requirement

- Operational load flow studies, as and when required, for peak conditions off peak conditions etc.

- Short-circuit studies as and when required.

- Transient stability studies for major events like grid disturbances or other issues periodically or as and when requested by the constituent(s).

- System studies related to transmission constraints.

- Studies specific to high / low voltage conditions with specific reference to reactors or capacitors operation / requirement.

- Identification of requirement of reactors as and when required

- Co-relation of protection related issues from Studies as and when required

- To draw out the contingency plan of Delhi Power System.

- Islanding scheme of generating stations within Delhi.

- Any other technical study referred by the GCC.

20.2 	Composition of System Study Committee:

20.2.1	General Manager (Planning) of STU shall be Chairperson of the System Study Committee and preside over the meetings.

20.2.2 	Dy. G.M. (Planning) of STU entrusted with the system study shall be convener of this Sub- Committee.

20.2.3	System Study Committee shall be represented by the Members of the GCC constituents at the level of Executive Engineers / Managers familiar with the subject.

20.3 	Meetings:

The Commercial committee, the Protection committee and the System Study committee meetings will be held quarterly or as and when required to address the issues of urgent nature.

CHAPTER-IV

PROCEDURE FOR CONDUCTING SUB-COMMITTEE MEETINGS OF GCC

21. 	Conducting of Sub-Committee Meetings, issue of Notice, Agenda & its	Minutes

21.1	The notice for the above sub-committee meetings shall be issued at least one week before the date of meeting by the Convenor of the concerned sub-committee in consultation with Chairman of the concerned sub-committee.  The minutes of the meeting shall be finalized and issued by the Convener of the concerned sub-committee within one week of the meeting

21.2	The decisions of the Committee arrived at for Operation of the Delhi Grid in coordination with regional grid and other above functions shall be implemented by the Constituents.  In case the Sub-committee recommends the matter to the GCC for further deliberation or decision, the same shall be referred to GCC secretariat.

21.3	The meetings will be conducted at the place and venue preferably located in Delhi to be decided by Convener of sub-committees in consultation with the Chairman of the concerned sub-committee.

21.4	Meetings may be hosted by the member organizations as decided by Chairperson of respective of sub committees in consultation with the members of the sub-committee. All the arrangements required for conducting the meeting shall be made by the host member organization.

21.5	The Chairperson of the concerned sub-committee shall preside over the respective sub committee and conduct business.  The Convener of the respective sub-committee shall assist the Chairperson of the sub-committee in conducting the meeting.  If the Chairperson is unable to be present at the meeting for any reason, other members present in the meeting shall nominate a person among themselves to preside over the meeting.