## NDPL
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12501 | 13594 | -1093 | 1093000 | 1.093 | 978138 | 978138 | 0 | 0 | 0
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 304 | 258 | 46 | -46000 | -0.046 | 999418 | 999418 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15563 | 16249 | -686 | 686000 | 0.686 | 996385 | 996385 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975767 | 975315 | 452 | -452000 | -0.452 | 977886 | 977886 | 0 | 0 | 0
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 920291 | 920625 | -334 | 334000 | 0.334 | 946562 | 946562 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18593 | 18542 | 51 | -51000 | -0.051 | 17386 | 17386 | 0 | 0 | 0
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19349 | 19339 | 10 | -10000 | -0.01 | 13351 | 13351 | 0 | 0 | 0
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 16806 | 16300 | 506 | -632500 | -0.6325 | 996521 | 996521 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14197 | 14068 | 129 | -129000 | -0.129 | 986581 | 986581 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31666 | 31752 | -86 | 86000 | 0.086 | 9657 | 9657 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997594 | 997758 | -164 | 164000 | 0.164 | 4077 | 4077 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996059 | 996216 | -157 | 157000 | 0.157 | 999744 | 999744 | 0 | 0 | 0
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 935800 | 938682 | -2882 | -2882000 | -2.882 | 920532 | 920532 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995835 | 996033 | -198 | 198000 | 0.198 | 16940 | 16941 | -1 | 1000 | 0.001
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999562 | 999199 | 363 | -363000 | -0.363 | 19631 | 19631 | 0 | 0 | 0
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 389 | 474 | -85 | 85000 | 0.085 | 20145 | 20157 | -12 | 12000 | 0.012
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999526 | 999526 | 0 | 0 | 0 | 27455 | 27045 | 410 | 410000 | 0.41
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 230 | 230 | 0 | 0 | 0 | 28955 | 28212 | 743 | 743000 | 0.743
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2373 | 2373 | 0 | 0 | 0 | 137082 | 136066 | 1016 | 101600 | 0.1016
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4415 | 4415 | 0 | 0 | 0 | 205875 | 202722 | 3153 | 315300 | 0.3153
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996027 | 996027 | 0 | 0 | 0 | 999439 | 999264 | 175 | 175000 | 0.175
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999916 | 999916 | 0 | 0 | 0 | 6518 | 6056 | 462 | 462000 | 0.462
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 649901 | 650607 | -706 | -706000 | -0.706 | 800179 | 800179 | 0 | 0 | 0
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 658593 | 659224 | -631 | -631000 | -0.631 | 833096 | 833096 | 0 | 0 | 0
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991969 | 991887 | 82 | 82000 | 0.082 | 998292 | 998292 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 612 | 456 | 156 | 78000 | 0.078 | 163 | 163 | 0 | 0 | 0
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11355 | 9565 | 1790 | -1790000 | -1.79 | 981968 | 981957 | 11 | -11000 | -0.011
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2854 | 2144 | 710 | -710000 | -0.71 | 948166 | 948166 | 0 | 0 | 0
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991620 | 991602 | 18 | -18000 | -0.018 | 928035 | 928056 | -21 | 21000 | 0.021
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999166 | 998962 | 204 | -204000 | -0.204 | 999958 | 999958 | 0 | 0 | 0
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28059 | 25329 | 2730 | -2730000 | -2.73 | 999924 | 999924 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1292 | 1271 | 21 | 21000 | 0.021 | 17755 | 17749 | 6 | 6000 | 0.006
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 184 | 188 | -4 | -4000 | -0.004 | 3125 | 3120 | 5 | 5000 | 0.005
| NDPL(+) continue | [14 empty] | DECEMBER-2012
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1322 | 1335 | -13 | -13000 | -0.013 | 59781 | 59782 | -1 | -1000 | -0.001
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 997979 | 1002521 | -4542 | -454200 | -0.4542 | 68007 | 67692 | 315 | 31500 | 0.0315 | ROLL OVER
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 8991 | 8981 | 10 | 1000 | 0.001 | 25555 | 24476 | 1079 | 107900 | 0.1079
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9720 | 9722 | -2 | -200 | -0.0002 | 36230 | 35958 | 272 | 27200 | 0.0272
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 14116 | 14028 | 88 | 8800 | 0.0088 | 49110 | 48585 | 525 | 52500 | 0.0525
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 37671 | 37036 | 635 | 63500 | 0.0635 | 12837 | 12835 | 2 | 200 | 0.0002
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17076 | 17140 | -64 | -6400 | -0.0064 | 12218 | 12208 | 10 | 1000 | 0.001
45 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997672 | 997608 | 64 | 6400 | 0.0064 | 2622 | 2622 | 0 | 0 | 0
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5219 | 5179 | 40 | 20000 | 0.02 | 25962 | 25846 | 116 | 58000 | 0.058
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3368 | 3350 | 18 | 9000 | 0.009 | 23893 | 23855 | 38 | 19000 | 0.019
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 4026 | 3954 | 72 | 36000 | 0.036 | 14083 | 14083 | 0 | 0 | 0
49 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 4247 | 4157 | 90 | 45000 | 0.045 | 16779 | 16779 | 0 | 0 | 0
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 997420 | 997738 | -318 | -31800 | -0.0318 | 6046 | 6047 | -1 | -100 | -0.0001
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7887 | 7863 | 24 | 2400 | 0.0024 | 14932 | 14932 | 0 | 0 | 0
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 17250 | 16905 | 345 | 34500 | 0.0345 | 50657 | 50656 | 1 | 100 | 0.0001
53 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 2663 | 2722 | -59 | -5900 | -0.0059 | 0 | 0 | 0 | 0 | 0
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999120 | 999169 | -49 | -4900 | -0.0049 | 217 | 217 | 0 | 0 | 0
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 8260 | 8118 | 142 | 14200 | 0.0142 | 68351 | 68217 | 134 | 13400 | 0.0134
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 7295 | 7104 | 191 | 19100 | 0.0191 | 58634 | 58533 | 101 | 10100 | 0.0101
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 8552 | 8381 | 171 | 17100 | 0.0171 | 84454 | 84277 | 177 | 17700 | 0.0177
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 121977 | 120310 | 1667 | 166700 | 0.1667 | 28824 | 28824 | 0 | 0 | 0
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 18093 | 17598 | 495 | 49500 | 0.0495 | 38506 | 38506 | 0 | 0 | 0
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 41 | 41 | 0 | 0 | 0 | 30 | 28 | 2 | -600 | -0.0006
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995588 | 995564 | 24 | -9600 | -0.0096 | 34 | 22 | 12 | -4800 | -0.0048
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999273 | 999273 | 0 | 0 | 0 | 999397 | 999397 | 0 | 0 | 0
Mundka
64 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 998367 | 1000410 | -2043 | -1634400 | -1.6344 | 336 | 337 | -1 | -800 | -0.0008 | ROLL OVER
MANGOLPURI
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -10.0417 |  |  |  |  | 2.5722
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 8860 | 8793 | 67 | -6700 | -0.0067 | 12129 | 12033 | 96 | -9600 | -0.0096
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7602 | 7624 | -22 | 22000 | 0.022 | 6850 | 6850 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3810 | 3743 | 67 | -13400 | -0.0134 | 2263 | 2221 | 42 | -8400 | -0.0084
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13707 | 13581 | 126 | -126000 | -0.126 | 27582 | 27565 | 17 | -17000 | -0.017
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 36500 | 37080 | -580 | 58000 | 0.058 | 146971 | 146952 | 19 | -1900 | -0.0019
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964194 | 967271 | -3077 | 3077000 | 3.077 | 992481 | 992481 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999534 | 999534 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 3.0109 |  |  |  |  | -0.0369
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -10.0417 |  |  |  |  | 2.5722
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 3.0109 |  |  |  |  | -0.0369
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.8075 |  |  |  |  | 0.0046875
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -5.2233 |  |  |  |  | 2.54
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.2233 | (REACTIVE MUs) |  |  |  | 2.54 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -3.3572 | (REACTIVE MUs) |  |  |  | -2.2926 | (REACTIVE MUs)
[9 empty] | TOTAL | -8.5805 | (REACTIVE MUs) |  |  |  | 0.24738 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | DECEMBER-2012
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988308 | 988316 | -8 | -800 | -0.0008 | 55042 | 57336 | -2294 | -229400 | -0.2294
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 16511 | 17657 | -1146 | -114600 | -0.1146 | 10927 | 10589 | 338 | 33800 | 0.0338
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 21838 | 22186 | -348 | -34800 | -0.0348 | 17092 | 17355 | -263 | -26300 | -0.0263
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998093 | 998360 | -267 | -26700 | -0.0267 | 5686 | 6047 | -361 | -36100 | -0.0361
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 9164 | 9156 | 8 | 800 | 0.0008 | 103001 | 100949 | 2052 | 205200 | 0.2052
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 834 | 821 | 13 | 1300 | 0.0013 | 58360 | 51493 | 6867 | 686700 | 0.6867
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999150 | 999440 | -290 | -290000 | -0.29 | 370 | 375 | -5 | -5000 | -0.005
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999758 | 999770 | -12 | -12000 | -0.012 | 2194 | 2185 | 9 | 9000 | 0.009
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 533 | 524 | 9 | 9000 | 0.009 | 1475 | 1462 | 13 | 13000 | 0.013
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 300 | 211 | 89 | 89000 | 0.089 | 2860 | 2859 | 1 | 1000 | 0.001
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999265 | 999608 | -343 | -343000 | -0.343 | 3106 | 3106 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 449 | 472 | -23 | -23000 | -0.023 | 128 | 111 | 17 | 17000 | 0.017
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 184 | 185 | -1 | -1000 | -0.001 | 15113 | 15115 | -2 | -2000 | -0.002
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 322 | 300 | 22 | 22000 | 0.022 | 35889 | 35889 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 264 | 264 | 0 | 0 | 0 | 18164 | 17585 | 579 | 579000 | 0.579
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 385 | 343 | 42 | 42000 | 0.042 | 6222 | 6204 | 18 | 18000 | 0.018
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 35211 | 34602 | 609 | 60900 | 0.0609 | 636 | 636 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998410 | 998510 | -100 | -100000 | -0.1 | 10505 | 10465 | 40 | 40000 | 0.04
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 796018 | 799928 | -3910 | -4301000 | -4.301
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 839215 | 842303 | -3088 | -3396800 | -3.3968
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990086 | 990222 | -136 | -136000 | -0.136 | 9641 | 9653 | -12 | -12000 | -0.012
| KASHMIRI GATE | [8 empty] | -0.6821 |  |  |  |  | -7.0398
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963842 | 964061 | -219 | 219000 | 0.219 | 974433 | 974433 | 0 | 0 | 0
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979146 | 979713 | -567 | 567000 | 0.567 | 973421 | 973421 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 41 | 41 | 0 | 0 | 0 | 30 | 28 | 2 | 600 | 0.0006
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 52 | 52 | 0 | 0 | 0 | 519 | 120 | 399 | 399000 | 0.399
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21947 | 18235 | 3712 | -3712000 | -3.712 | 972776 | 972751 | 25 | -25000 | -0.025
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8085 | 7703 | 382 | -382000 | -0.382 | 972293 | 972920 | -627 | 627000 | 0.627
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998350 | 998317 | 33 | -33000 | -0.033 | 999722 | 999726 | -4 | 4000 | 0.004
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982816 | 983401 | -585 | 585000 | 0.585 | 994819 | 994831 | -12 | 12000 | 0.012
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3810 | 3743 | 67 | 13400 | 0.0134 | 2263 | 2221 | 42 | 8400 | 0.0084
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13707 | 13581 | 126 | 126000 | 0.126 | 27582 | 27565 | 17 | 17000 | 0.017
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 109013 | 106018 | 2995 | 299500 | 0.2995 | 1623 | 1623 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 67638 | 64732 | 2906 | 290600 | 0.2906 | 131 | 131 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -2.8834 |  |  |  |  | -5.3629
| (A) NET ENERGY TO CENTRAL | [8 empty] | -2.8834 |  |  |  |  | -5.3629
DECEMBER-2012
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996092 | 996354 | -262 | 262000 | 0.262 | 931821 | 932128 | -307 | 307000 | 0.307
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14702 | 14818 | -116 | 116000 | 0.116 | 951099 | 951464 | -365 | 365000 | 0.365
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998892 | 999284 | -392 | 392000 | 0.392 | 995617 | 995872 | -255 | 255000 | 0.255
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 937464 | 939542 | -2078 | 2078000 | 2.078 | 993117 | 993117 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 927674 | 929845 | -2171 | 2171000 | 2.171 | 991449 | 991449 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 426 | 310 | 116 | -116000 | -0.116 | 993034 | 993139 | -105 | 105000 | 0.105
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998625 | 998550 | 75 | -150000 | -0.15 | 988095 | 988192 | -97 | 194000 | 0.194
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999527 | 999653 | -126 | 126000 | 0.126 | 970795 | 971239 | -444 | 444000 | 0.444
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10699 | 11128 | -429 | 429000 | 0.429 | 948010 | 948563 | -553 | 553000 | 0.553
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964915 | 965397 | -482 | 482000 | 0.482 | 878411 | 878497 | -86 | 86000 | 0.086
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21419 | 21283 | 136 | -136000 | -0.136 | 31548 | 31588 | -40 | 40000 | 0.04
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19579 | 19287 | 292 | -292000 | -0.292 | 40450 | 40466 | -16 | 16000 | 0.016
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 5.362 |  |  |  |  | 2.365
| (B) NET ENERGY TO EAST | [8 empty] | 5.362 |  |  |  |  | 2.365
DECEMBER-2012
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991969 | 991887 | 82 | -82000 | -0.082 | 998292 | 998292 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 612 | 456 | 156 | -78000 | -0.078 | 163 | 163 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 38024 | 36159 | 1865 | -373000 | -0.373 | 65249 | 65245 | 4 | -800 | -0.0008
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 64730 | 62541 | 2189 | -218900 | -0.2189 | 126733 | 126731 | 2 | -200 | -0.0002
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 985628 | 986228 | -600 | 120000 | 0.12 | 3931 | 3930 | 1 | -200 | -0.0002
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 61277 | 60048 | 1229 | -245800 | -0.2458 | 82238 | 82235 | 3 | -600 | -0.0006
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 73634 | 73382 | 252 | -252000 | -0.252 | 737 | 737 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12862 | 12627 | 235 | -235000 | -0.235 | 367 | 367 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 987375 | 988670 | -1295 | 1036000 | 1.036 | 997488 | 997506 | -18 | 14400 | 0.0144
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 996436 | 997158 | -722 | 577600 | 0.5776 | 999493 | 999507 | -14 | 11200 | 0.0112
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 628 | 1416 | -788 | 630400 | 0.6304 | 383 | 397 | -14 | 11200 | 0.0112
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996729 | 996758 | -29 | 29000 | 0.029 | 37971 | 37876 | 95 | -95000 | -0.095
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 996315 | 996445 | -130 | 173332.9 | 0.17333 | 283 | 335 | -52 | 69333.16 | 0.069333
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1292 | 1271 | 21 | -21000 | -0.021 | 17755 | 17749 | 6 | -6000 | -0.006
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 184 | 188 | -4 | 4000 | 0.004 | 3125 | 3120 | 5 | -5000 | -0.005
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1322 | 1335 | -13 | 13000 | 0.013 | 59781 | 59782 | -1 | 1000 | 0.001
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5219 | 5179 | 40 | -20000 | -0.02 | 25962 | 25846 | 116 | -58000 | -0.058
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3368 | 3350 | 18 | -9000 | -0.009 | 23893 | 23855 | 38 | -19000 | -0.019
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 4026 | 3954 | 72 | -36000 | -0.036 | 14083 | 14083 | 0 | 0 | 0
20 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 4247 | 4157 | 90 | -45000 | -0.045 | 16779 | 16779 | 0 | 0 | 0
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 121977 | 120310 | 1667 | -166700 | -0.1667 | 28824 | 28824 | 0 | 0 | 0
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 18093 | 17598 | 495 | -49500 | -0.0495 | 38506 | 38506 | 0 | 0 | 0
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 997420 | 997738 | -318 | 31800 | 0.0318 | 6046 | 6047 | -1 | 100 | 0.0001
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7887 | 7863 | 24 | -2400 | -0.0024 | 14932 | 14932 | 0 | 0 | 0
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 17250 | 16905 | 345 | -34500 | -0.0345 | 50657 | 50656 | 1 | -100 | -0.0001
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 2663 | 2722 | -59 | 5900 | 0.0059 | 0 | 0 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999120 | 999169 | -49 | 4900 | 0.0049 | 217 | 217 | 0 | 0 | 0
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 8260 | 8118 | 142 | -14200 | -0.0142 | 68351 | 68217 | 134 | -13400 | -0.0134
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 7295 | 7104 | 191 | -19100 | -0.0191 | 58634 | 58533 | 101 | -10100 | -0.0101
31 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 8552 | 8381 | 171 | -17100 | -0.0171 | 84454 | 84277 | 177 | -17700 | -0.0177
[10 empty] | 0.70673 |  |  |  |  | -0.11887
DECEMBER-2012
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -2.8834 |  |  |  |  | -5.3629
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.70673 |  |  |  |  | -0.11887
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.2357 |  |  |  |  | -0.0002
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -3.4124 |  |  |  |  | -5.482
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 5.362 |  |  |  |  | 2.365
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 1.9496 |  |  |  |  | -3.117
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.9496 | (REACTIVE MUs) |  |  |  | -3.117 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -2.6074 | (REACTIVE MUs) |  |  |  | -1.7806 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.65782 | (REACTIVE MUs) |  |  |  | -4.8976 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | DECEMBER-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 998176 | 998177 | -1 | -4000 | -0.004 | 9525 | 9632 | -107 | -428000 | -0.428 | NEW YARD CTR 800/1
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 989507 | 989783 | -276 | -367999.08 | -0.368 | 674650 | 674721 | -71 | -94666.43 | -0.094666
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6717 | 6629 | 88 | 88000 | 0.088 | 59702 | 58708 | 994 | 994000 | 0.994
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11024 | 10981 | 43 | 43000 | 0.043 | 999084 | 998905 | 179 | 179000 | 0.179
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 8284 | 8169 | 115 | 11500 | 0.0115 | 114380 | 114442 | -62 | -6200 | -0.0062
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 33116 | 36202 | -3086 | -308600 | -0.3086 | 244519 | 244866 | -347 | -34700 | -0.0347
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 7361 | 7617 | -256 | -25600 | -0.0256 | 395031 | 394683 | 348 | 34800 | 0.0348
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999767 | 999756 | 11 | 9900 | 0.0099 | 999866 | 999628 | 238 | 214200 | 0.2142
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991431 | 991626 | -195 | 195000 | 0.195 | 951731 | 951927 | -196 | 196000 | 0.196
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989292 | 989534 | -242 | 242000 | 0.242 | 955469 | 955549 | -80 | 80000 | 0.08
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986420 | 986624 | -204 | 204000 | 0.204 | 940194 | 940332 | -138 | 138000 | 0.138
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997252 | 997413 | -161 | 161000 | 0.161 | 956144 | 956338 | -194 | 194000 | 0.194
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995228 | 994603 | 625 | -625000 | -0.625 | 987156 | 987159 | -3 | 3000 | 0.003
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9757 | 8276 | 1481 | -1481000 | -1.481 | 988667 | 988667 | 0 | 0 | 0
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43712 | 43679 | 33 | -33000 | -0.033 | 21755 | 21769 | -14 | 14000 | 0.014
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7744 | 7529 | 215 | -215000 | -0.215 | 8475 | 8503 | -28 | 28000 | 0.028
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25573 | 26001 | -428 | 428000 | 0.428 | 7481 | 7494 | -13 | 13000 | 0.013
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28403 | 26985 | 1418 | -1418000 | -1.418 | 44237 | 44243 | -6 | 6000 | 0.006
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7602 | 7624 | -22 | -22000 | -0.022 | 6850 | 6850 | 0 | 0 | 0
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 924852 | 926573 | -1721 | 1721000 | 1.721 | 901678 | 901678 | 0 | 0 | 0
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969009 | 970688 | -1679 | 1679000 | 1.679 | 864363 | 864363 | 0 | 0 | 0
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 385 | 78 | 307 | -307000 | -0.307 | 982820 | 983970 | -1150 | 1150000 | 1.15
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 631 | 688 | -57 | 57000 | 0.057 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999244 | 999368 | -124 | 124000 | 0.124 | 894041 | 894097 | -56 | 56000 | 0.056
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998658 | 998809 | -151 | 151000 | 0.151 | 874538 | 874645 | -107 | 107000 | 0.107
BRPL(+) continue | [14 empty] | DECEMBER-2012
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998810 | 999084 | -274 | 274000 | 0.274 | 973565 | 973772 | -207 | 207000 | 0.207
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34 | 222 | -188 | 188000 | 0.188 | 990410 | 990712 | -302 | 302000 | 0.302
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 991693 | 991241 | 452 | -904000 | -0.904 | 970964 | 970966 | -2 | 4000 | 0.004
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997139 | 997089 | 50 | -50000 | -0.05 | 926683 | 926782 | -99 | 99000 | 0.099
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998200 | 998920 | -720 | 720000 | 0.72 | 937682 | 938055 | -373 | 373000 | 0.373
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997028 | 996990 | 38 | -38000 | -0.038 | 932226 | 933414 | -1188 | 1188000 | 1.188
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 997653 | 997606 | 47 | -31333.302 | -0.031333 | 991418 | 991417 | 1 | -666.666 | -0.00066667
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 973337 | 973297 | 40 | -26666.64 | -0.026667 | 971809 | 971808 | 1 | -666.666 | -0.00066667
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 831 | 793 | 38 | -76000 | -0.076 | 1266 | 1249 | 17 | -34000 | -0.034
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997668 | 997621 | 47 | -94000 | -0.094 | 469 | 455 | 14 | -28000 | -0.028
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962291 | 963848 | -1557 | 1557000 | 1.557 | 997480 | 997480 | 0 | 0 | 0
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967467 | 968283 | -816 | 816000 | 0.816 | 998319 | 998476 | -157 | 157000 | 0.157
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 997639 | 998912 | -1273 | -1018400 | -1.0184 | 1193 | 1180 | 13 | 10400 | 0.0104
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 7915 | 7098 | 817 | 653600 | 0.6536 | 833 | 831 | 2 | 1600 | 0.0016
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 981981 | 982970 | -989 | -791200 | -0.7912 | 999697 | 999698 | -1 | -800 | -0.0008
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999534 | 999534 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996729 | 996758 | -29 | -29000 | -0.029 | 37971 | 37876 | 95 | 95000 | 0.095
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 996315 | 996445 | -130 | -173332.9 | -0.17333 | 283 | 335 | -52 | -69333.16 | -0.069333
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5186 | 5029 | 157 | -157000 | -0.157 | 978991 | 978227 | 764 | -764000 | -0.764
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998309 | 998298 | 11 | -11000 | -0.011 | 986931 | 987362 | -431 | 431000 | 0.431
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 8860 | 8793 | 67 | 6700 | 0.0067 | 12129 | 12033 | 96 | 9600 | 0.0096
SUDARSHAN PARK
51 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 36500 | 37080 | -580 | -58000 | -0.058 | 146971 | 146952 | 19 | 1900 | 0.0019
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 964194 | 967271 | -3077 | -3077000 | -3.077 | 992481 | 992481 | 0 | 0 | 0
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.0124 |  |  |  |  | 4.8255
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 22643 | 14537 | 8106 | -810600 | -0.8106 | 891092 | 890709 | 383 | -38300 | -0.0383
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 109013 | 106018 | 2995 | -299500 | -0.2995 | 1623 | 1623 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 67638 | 64732 | 2906 | -290600 | -0.2906 | 131 | 131 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 998440 | 998608 | -168 | 16800 | 0.0168 | 999959 | 999959 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 998018 | 998295 | -277 | 27700 | 0.0277 | 999920 | 999920 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 772 | 767 | 5 | -5000 | -0.005 | 72516 | 72514 | 2 | -2000 | -0.002
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7663 | 7693 | -30 | 30000 | 0.03 | 2235 | 2235 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 868754 | 865213 | 3541 | -354100 | -0.3541 | 54401 | 54401 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 49933 | 47173 | 2760 | -276000 | -0.276 | 54002 | 54002 | 0 | 0 | 0
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 39470 | 37989 | 1481 | -148100 | -0.1481 | 54641 | 54640 | 1 | -100 | -0.0001
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 74819 | 73689 | 1130 | -226000 | -0.226 | 105394 | 105390 | 4 | -800 | -0.0008
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865122 | ELSTER | Kvarh(Lead/Lag) | -100 | 5840 | 5658 | 182 | -18200 | -0.0182 | 774 | 770 | 4 | -400 | -0.0004
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 48990 | 48990 | 0 | 0 | 0 | 683368 | 683368 | 0 | 0 | 0 | Load shifted on Trauma center
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 122186 | 119499 | 2687 | -268700 | -0.2687 | 241224 | 241188 | 36 | -3600 | -0.0036
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 256908 | 251967 | 4941 | -494100 | -0.4941 | 39706 | 39706 | 0 | 0 | 0
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 1189 | 1186 | 3 | -300 | -0.0003 | 15034 | 14999 | 35 | -3500 | -0.0035
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 997979 | 1002521 | -4542 | 454200 | 0.4542 | 68007 | 67692 | 315 | -31500 | -0.0315 | ROLL OVER
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 8991 | 8981 | 10 | -1000 | -0.001 | 25555 | 24476 | 1079 | -107900 | -0.1079
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9720 | 9722 | -2 | 200 | 0.0002 | 36230 | 35958 | 272 | -27200 | -0.0272
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 14116 | 14028 | 88 | -8800 | -0.0088 | 49110 | 48585 | 525 | -52500 | -0.0525
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 37671 | 37036 | 635 | -63500 | -0.0635 | 12837 | 12835 | 2 | -200 | -0.0002
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17076 | 17140 | -64 | 6400 | 0.0064 | 12218 | 12208 | 10 | -1000 | -0.001
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997672 | 997608 | 64 | -6400 | -0.0064 | 2622 | 2622 | 0 | 0 | 0
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995588 | 995564 | 24 | 9600 | 0.0096 | 34 | 22 | 12 | 4800 | 0.0048
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999273 | 999273 | 0 | 0 | 0 | 999397 | 999397 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.726 |  |  |  |  | -0.2642
DECEMBER-2012
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -2.0124 |  |  |  |  | 4.8255
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.726 |  |  |  |  | -0.2642
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 2.3786 |  |  |  |  | 0.0561
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.3094 |  |  |  |  | -0.0383
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -2.6692 |  |  |  |  | 4.5791
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.6692 | (REACTIVE MUs) |  |  |  | 4.5791 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.5826 | (REACTIVE MUs) |  |  |  | -3.1294 | (REACTIVE MUs)
[9 empty] | TOTAL | -7.2518 | (REACTIVE MUs) |  |  |  | 1.4496 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 38024 | 36159 | 1865 | 373000 | 0.373 | 65249 | 65245 | 4 | 800 | 0.0008
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 64730 | 62541 | 2189 | 218900 | 0.2189 | 126733 | 126731 | 2 | 200 | 0.0002
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 985628 | 986228 | -600 | -120000 | -0.12 | 3931 | 3930 | 1 | 200 | 0.0002
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 61277 | 60048 | 1229 | 245800 | 0.2458 | 82238 | 82235 | 3 | 600 | 0.0006
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 73634 | 73382 | 252 | 252000 | 0.252 | 737 | 737 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12862 | 12627 | 235 | 235000 | 0.235 | 367 | 367 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 987375 | 988670 | -1295 | -1036000 | -1.036 | 997488 | 997506 | -18 | -14400 | -0.0144
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 996436 | 997158 | -722 | -577600 | -0.5776 | 999493 | 999507 | -14 | -11200 | -0.0112
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 628 | 1416 | -788 | -630400 | -0.6304 | 383 | 397 | -14 | -11200 | -0.0112
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999020 | 998759 | 261 | 26100 | 0.0261 | 332695 | 331965 | 730 | 73000 | 0.073
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 7124 | 7124 | 0 | 0 | 0 | 469414 | 469414 | 0 | 0 | 0
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 11332 | 11332 | 0 | 0 | 0 | 269254 | 269869 | -615 | -61500 | -0.0615
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 6067 | 6068 | -1 | -100 | -0.0001 | 334592 | 334289 | 303 | 30300 | 0.0303
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998644 | 998652 | -8 | -800 | -0.0008 | 269854 | 269356 | 498 | 49800 | 0.0498
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 361 | 361 | 0 | 0 | 0 | 167996 | 166957 | 1039 | 103900 | 0.1039
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13120 | 13121 | -1 | -100 | -0.0001 | 244360 | 240773 | 3587 | 358700 | 0.3587
17 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 19321 | 18012 | 1309 | 130900 | 0.1309 | 280956 | 279748 | 1208 | 120800 | 0.1208
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 62338 | 62360 | -22 | -24200 | -0.0242
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3802 | 3847 | -45 | -45000 | -0.045 | 36254 | 36431 | -177 | -177000 | -0.177
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 140445 | 140841 | -396 | -435600 | -0.4356
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9156 | 9185 | -29 | -29000 | -0.029 | 50447 | 50445 | 2 | 2000 | 0.002
[10 empty] | -0.074 |  |  |  |  | -0.6348
RIDGE VALLEY
22 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 772 | 767 | 5 | 5000 | 0.005 | 72516 | 72514 | 2 | 2000 | 0.002
23 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7663 | 7693 | -30 | -30000 | -0.03 | 2235 | 2235 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 868754 | 865213 | 3541 | 354100 | 0.3541 | 54401 | 54401 | 0 | 0 | 0
25 | A.I.I.M.S.
26 | TX-I | 4865122 | ELSTER | Kvarh(Lag) | 100 | 5840 | 5658 | 182 | 18200 | 0.0182 | 774 | 770 | 4 | 400 | 0.0004
27 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 48990 | 48990 | 0 | 0 | 0 | 683368 | 683368 | 0 | 0 | 0 | Load shifted on Trauma center
DECEMBER-2012
NDMC(+) Continue…
TRAUMA CENTRE
28 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986081 | 986641 | -560 | 560000 | 0.56 | 999924 | 999947 | -23 | 23000 | 0.023
ELECTRIC LANE
29 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997249 | 997324 | -75 | 75000 | 0.075 | 999999 | 999999 | 0 | 0 | 0
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 256908 | 251967 | 4941 | 494100 | 0.4941 | 39706 | 39706 | 0 | 0 | 0
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 1189 | 1186 | 3 | 300 | 0.0003 | 15034 | 14999 | 35 | 3500 | 0.0035
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 49933 | 47173 | 2760 | 276000 | 0.276 | 54002 | 54002 | 0 | 0 | 0
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 39470 | 37989 | 1481 | 148100 | 0.1481 | 54641 | 54640 | 1 | 100 | 0.0001
35 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 74819 | 73689 | 1130 | 226000 | 0.226 | 105394 | 105390 | 4 | 800 | 0.0008
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 22643 | 14537 | 8106 | 810600 | 0.8106 | 891092 | 890709 | 383 | 38300 | 0.0383
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.9801 |  |  |  |  | 0.0733
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 1.9801 |  |  |  |  | 0.0733
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.52361 |  |  |  |  | -0.35757
| TOTAL ENERGY TO NDMC | [8 empty] | 1.4565 |  |  |  |  | -0.28427

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2012
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 665 | 665 | 0 | 0 | 0 | 18126 | 17713 | 413 | 413000 | 0.413
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 468 | 468 | 0 | 0 | 0 | 22356 | 22316 | 40 | 40000 | 0.04
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1005 | 976 | 29 | 29000 | 0.029 | 31317 | 31192 | 125 | 125000 | 0.125
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 465 | 471 | -6 | -6000 | -0.006 | 15477 | 15477 | 0 | 0 | 0
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2679 | 2551 | 128 | 128000 | 0.128 | 8381 | 8377 | 4 | 4000 | 0.004
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 998440 | 998608 | -168 | -16800 | -0.0168 | 999959 | 999959 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 998018 | 998295 | -277 | -27700 | -0.0277 | 999920 | 999920 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.1065 |  |  |  |  | 0.582
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3432 | 3432 | 0 | 0 | 0 | 34363 | 34359 | 4 | 400 | 0.0004
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 36018 | 35280 | 738 | 73800 | 0.0738 | 65096 | 64826 | 270 | 27000 | 0.027
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 68585 | 67850 | 735 | 73500 | 0.0735 | 9624 | 9593 | 31 | 3100 | 0.0031
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 28621 | 27599 | 1022 | 102200 | 0.1022 | 53017 | 52976 | 41 | 4100 | 0.0041
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 18738 | 18738 | 0 | 0 | 0
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 79507 | 78908 | 599 | 59900 | 0.0599 | 53230 | 53193 | 37 | 3700 | 0.0037
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 2235 | 1568 | 667 | 66700 | 0.0667 | 553 | 514 | 39 | 3900 | 0.0039
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.3094 |  |  |  |  | 0.0383
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.3094 |  |  |  |  | 0.0383
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.1065 |  |  |  |  | 0.582
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.4159 |  |  |  |  | 0.6203
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.4159 | (REACTIVE MUs) |  |  |  | 0.6203 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.11919 | (REACTIVE MUs) |  |  |  | -0.081391 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.29671 | (REACTIVE MUs) |  |  |  | 0.53891 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2012
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 63986 | 61122 | 2864 | 286400 | 0.2864 | 79766 | 79764 | 2 | 200 | 0.0002
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 3677 | 5102 | -1425 | -142500 | -0.1425 | 999426 | 999426 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 180689 | 177714 | 2975 | 297500 | 0.2975 | 96598 | 96599 | -1 | -100 | -0.0001
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 21590 | 20218 | 1372 | 1286250 | 1.2862 | 18202 | 18202 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 991775 | 992288 | -513 | 256500 | 0.2565 | 930262 | 930374 | -112 | 56000 | 0.056
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 990564 | 991353 | -789 | 394500 | 0.3945 | 986100 | 986100 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 18 | 18 | 0 | 0 | 0 | 9 | 9 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 2.3786 |  |  |  |  | 0.0561
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 945929 | 947078 | -1149 | -229800 | -0.2298 | 991782 | 991783 | -1 | -200 | -0.0002
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 833827 | 843886 | -10059 | -1005900 | -1.0059 | 928134 | 928134 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.2357 |  |  |  |  | -0.0002
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 189360 | 186483 | 2877 | 575400 | 0.5754 | 263301 | 263302 | -1 | -200 | -0.0002
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 76854 | 73440 | 3414 | 682800 | 0.6828 | 41147 | 41144 | 3 | 600 | 0.0006
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 115563 | 109304 | 6259 | 625900 | 0.6259 | 71708 | 71702 | 6 | 600 | 0.0006
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988036 | 988008 | 28 | 28000 | 0.028 | 998300 | 998301 | -1 | -1000 | -0.001
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 977142 | 978438 | -1296 | -129600 | -0.1296 | 7273 | 7273 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999690 | 999856 | -166 | -155625 | -0.15563 | 1553 | 1548 | 5 | 4687.5 | 0.0046875
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 990489 | 990778 | -289 | 180625 | 0.18063 | 995561 | 995561 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 18 | 18 | 0 | 0 | 0 | 9 | 9 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 1.8075 |  |  |  |  | 0.0046875
| E) NET EXPORT TO BSES RPL | [8 empty] | 2.3786 |  |  |  |  | 0.0561
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.2357 |  |  |  |  | -0.0002
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.8075 |  |  |  |  | 0.0046875

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2012
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 7476 | 7327 | 149 | 298000 | 0.298 | 281 | 223 | 58 | 116000 | 0.116
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 10706 | 10652 | 54 | 108000 | 0.108 | 1004 | 1002 | 2 | 4000 | 0.004
[7 empty] | NET REACTIVE ENERGY |  |  | 0.406 |  | NET REACTIVE ENERGY |  |  | 0.12
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 998314 | 998683 | -369 | -369000 | -0.369 | 42456 | 42462 | -6 | -6000 | -0.006
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 999281 | 999710 | -429 | -429000 | -0.429 | 999919 | 1000000 | -81 | -81000 | -0.081 | ROLL OVER
4 | IBT-2 |  |  | assessment against +sign of M.F. in Nov.2012 month bill. | [5 empty] | -9.752 |  |  |  |  | 0
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 999710 | 1000000 | -290 | -290000 | -0.29 | 0 | 0 | 0 | 0 | 0 | This was not accounted in Nov.2012 month bill
[7 empty] | NET REACTIVE ENERGY |  |  | -10.84 |  | NET REACTIVE ENERGY |  |  | -0.087
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -10.434 |  |  |  |  | 0.033
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.6821 |  |  |  |  | -7.0398
[7 empty] | NDMC = |  |  | -0.074 |  |  |  |  | -0.6348
MES =
[7 empty] | 2)TOTAL |  |  | -0.7561 |  |  |  |  | -7.6746
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -11.1901 |  |  |  |  | -7.6416
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.0017 | % |  |  | -3.3572 |  |  |  |  | -2.2926
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.9526 | % |  |  | -4.5826 |  |  |  |  | -3.1294
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.3014 | % |  |  | -2.6074 |  |  |  |  | -1.7806
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.6792 | % |  |  | -0.52361 |  |  |  |  | -0.35757
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.0651 | % |  |  | -0.11919 |  |  |  |  | -0.081391
Note :Sharing taken from wk-38 abt bill 2012-13

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st DECEMBER-2012 TO 31st DECEMBER-2012
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -8.5805 | + | 0.24738
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -7.2518 | + | 1.4496
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -0.65782 |  | -4.8976
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 1.4565 |  | -0.28427
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.29671 | + | 0.53891
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/13 | INTIAL READING 01/12/12 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 968253 | 967575 | 678 | 1017000 | 1.017 | 981080 | 981080 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 144 | 999877 | -999733 | -1499599500 | -1499.5995 | 998126 | 998126 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 921553 | 923999 | -2446 | -3669000 | -3.669 | 968097 | 968097 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -1502.2515 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997243 | 997242 | 1 | 5000 | 0.005 | 32572 | 32898 | -326 | -1630000 | -1.63
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999392 | 999388 | 4 | 4000 | 0.004 | 3594 | 4264 | -670 | -670000 | -0.67
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A