## NDPL
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2024
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 631 | 626 | 5 | -5000 | -0.005 | 998897 | 998858 | 39 | -39000 | -0.039
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 100518 | 100321 | 197 | -394000 | -0.394 | 5276 | 5262 | 14 | -28000 | -0.028
|  | Q0491811 | Secure | Kvarh(Lead/Lag) | -1 | 2511000.06 | 2018000 | 493000.06 | -493000.06 | -0.493 | 9000 | 5000 | 4000 | -4000 | -0.004
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18926 | 18707 | 219 | -219000 | -0.219 | 2593 | 2568 | 25 | -25000 | -0.025
4 | Tx.4 | Q0491809 | Secure | Kvarh(Lead/Lag) | -1 | 3244999.94 | 2955000.06 | 289999.88 | -289999.88 | -0.29 | 49000 | 37000 | 12000 | -12000 | -0.012
SUBZI MANDI
5 | Tx.1 | 4865012 | ELSTER | Kvarh(Lead/Lag) | -1000 | 422 | 353 | 69 | -69000 | -0.069 | 512 | 443 | 69 | -69000 | -0.069
6 | Tx.2 | 4864896 | ELSTER | Kvarh(Lead/Lag) | -2000 | 331 | 324 | 7 | -14000 | -0.014 | 2015 | 1874 | 141 | -282000 | -0.282
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40671 | 39761 | 910 | -910000 | -0.91 | 999159 | 999145 | 14 | -14000 | -0.014
8 | Tx.2 | 5295154 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86875 | 86185 | 690 | -690000 | -0.69 | 967072 | 967072 | 0 | 0 | 0 | Check Meter Data
|  | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 528 | 0 | 528 | -528000 | -0.528 | 8 | 0 | 8 | -8000 | -0.008 | w.e.f 13/02/2024
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36607 | 35834 | 773 | -773000 | -0.773 | 997096 | 997014 | 82 | -82000 | -0.082
10 | Tx.-4 | 4902498 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1083 | 550 | 533 | -533000 | -0.533 | 74 | 49 | 25 | -25000 | -0.025
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16521 | 15754 | 767 | -767000 | -0.767 | 998574 | 998562 | 12 | -12000 | -0.012
12 | Tx.-2 | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39500 | 38805 | 695 | -695000 | -0.695 | 239 | 225 | 14 | -14000 | -0.014
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 65330 | 65158 | 172 | -172000 | -0.172 | 995677 | 995677 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 656563 | 661864 | -5301 | -5301000 | -5.301 | 999743 | 999743 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 659920 | 665302 | -5382 | -2691000 | -2.691 | 999974 | 999974 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16348 | 16307 | 41 | -41000 | -0.041 | 1254 | 632 | 622 | -622000 | -0.622
18 | Tx.2 | 4865043 | ELSTER | Kvarh(Lead/Lag) | -1000 | 113 | 112 | 1 | -1000 | -0.001 | 10602 | 9901 | 701 | -701000 | -0.701
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64008 | 63805 | 203 | -203000 | -0.203 | 2532 | 2450 | 82 | -82000 | -0.082
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998562 | 998573 | -11 | -11000 | -0.011 | 985321 | 985362 | -41 | -41000 | -0.041
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999546 | 999549 | -3 | -12000 | -0.012 | 999495 | 999501 | -6 | -24000 | -0.024
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1934 | 1953 | -19 | -9500 | -0.0095 | 17395 | 17394 | 1 | 500 | 0.0005
23 | 16 MVA TX.-2 | 4864860 | ELSTER | Kvarh(Lead/Lag) | 500 | 11296 | 11260 | 36 | 18000 | 0.018 | 31188 | 31187 | 1 | 500 | 0.0005
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998019 | 998106 | -87 | -87000 | -0.087 | 991920 | 991922 | -2 | -2000 | -0.002
25 | INDER PURI-2 | 4865117 | ELSTER | Kvarh(Lead/Lag) | 1333.333 | 999992 | 999992 | 0 | 0 | 0 | 992905 | 993105 | -200 | -266666.6 | -0.26667
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999716 | 999731 | -15 | -15000 | -0.015 | 4 | 8 | -4 | -4000 | -0.004
KASHMIRI GATE
27 | 220 kV DMRC #1 | 5128479 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995231 | 996811 | -1580 | -1580000 | -1.58 | 28 | 28 | 0 | 0 | 0
28 | 220 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 873845 | 874728 | -883 | -441500 | -0.4415 | 999208 | 999209 | -1 | -500 | -0.0005
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 989855 | 990069 | -214 | -57067.38 | -0.057067 | 999924 | 999929 | -5 | -1333.35 | -0.0013334
30 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6 | 6 | 0 | 0 | 0 | 145 | 140 | 5 | 10000 | 0.01
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62187 | 61685 | 502 | -502000 | -0.502 | 995554 | 995459 | 95 | -95000 | -0.095
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7670 | 6982 | 688 | -688000 | -0.688 | 398 | 280 | 118 | -118000 | -0.118
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 45020 | 44006 | 1014 | -2028000 | -2.028 | 999946 | 999934 | 12 | -24000 | -0.024
BAWANA
34 | I/C 100 MVA PR.TR. | 4864847 | ELSTER | Kvarh(Lead/Lag) | -2500 | 2352 | 2193 | 159 | -397500 | -0.3975 | 24 | 3 | 21 | -52500 | -0.0525
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 19499 | 19120 | 379 | -1516000 | -1.516 | 144 | 128 | 16 | -64000 | -0.064
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 181178 | 180599 | 579 | -579000 | -0.579 | 998550 | 998522 | 28 | -28000 | -0.028
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 434182 | 431192 | 2990 | -996656.7 | -0.99666 | 2617 | 2137 | 480 | -159998.4 | -0.16
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 62547 | 61756 | 791 | -1582000 | -1.582 | 202 | 150 | 52 | -104000 | -0.104
ROHINI-II
38 | Tx.1 | 4864957 | ELSTER | Kvarh(Lead/Lag) | -2500 | 6743 | 6268 | 475 | -1187500 | -1.1875 | 153 | 147 | 6 | -15000 | -0.015
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 171311 | 170134 | 1177 | -1177000 | -1.177 | 2663 | 2648 | 15 | -15000 | -0.015
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 22296000 | 21438000 | 858000 | -858000 | -0.858 | 5162000 | 5097000 | 65000 | -65000 | -0.065
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 64115000 | 62789000 | 1326000 | -1326000 | -1.326 | 3361000 | 3321000 | 40000 | -40000 | -0.04
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52591 | 50809 | 1782 | -1782000 | -1.782 | 998035 | 998035 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62427 | 62161 | 266 | -266000 | -0.266 | 984 | 981 | 3 | -3000 | -0.003
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992072 | 992433 | -361 | -361000 | -0.361 | 24310 | 24310 | 0 | 0 | 0
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | FEBRUARY-2024
DMS
45 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | 300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4865065 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 0 | 0 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3099 | 3132 | -33 | -3300 | -0.0033 | 35713 | 35666 | 47 | 4700 | 0.0047
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 744 | 746 | -2 | -2666 | -0.002666 | 601 | 608 | -7 | -9331 | -0.009331
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 298 | 298 | 0 | 0 | 0 | 4738 | 4664 | 74 | 7400 | 0.0074
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999942 | 999942 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1577 | 1609 | -32 | -3200 | -0.0032 | 12918 | 12861 | 57 | 5700 | 0.0057
B.G.ROAD
55 | CSA | 4902519 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999859 | 999859 | 0 | 0 | 0 | 2541 | 2531 | 10 | 5000 | 0.005
57 | DCM NO.2 | 4865089 | ELSTER | Kvarh(Lead/Lag) | 500 | 999982 | 999982 | 0 | 0 | 0 | 999936 | 999953 | -17 | -8500 | -0.0085
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1202 | 1202 | 0 | 0 | 0 | 1626 | 1636 | -10 | -5000 | -0.005
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992315 | 992421 | -106 | -10600 | -0.0106 | 3781 | 3781 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 33 | 33 | 0 | 0 | 0 | 110 | 102 | 8 | 10666.64 | 0.010667
61 | TIBIA COLLEGE-2 | 4865082 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 8 | 7 | 1 | 133.33 | 0.00013333 | 196 | 184 | 12 | 1599.96 | 0.0016
62 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | 100 | 2764 | 2755 | 9 | 900 | 0.0009 | 541 | 510 | 31 | 3100 | 0.0031
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 59505 | 59837 | -332 | -33200 | -0.0332 | 2640 | 2646 | -6 | -600 | -0.0006
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 424 | 426 | -2 | -266.66 | -0.00026666 | 1186 | 1188 | -2 | -266.66 | -0.00026666
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 10 | -7 | 2800 | 0.0028
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999895 | 999895 | 0 | 0 | 0 | 999460 | 999460 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 929049 | 929049 | 0 | 0 | 0 | 999633 | 999633 | 0 | 0 | 0
69 | GHEWARA | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 991903 | 992446 | -543 | -434400 | -0.4344 | 999987 | 999987 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 956344 | 956832 | -488 | -97600 | -0.0976 | 2244 | 2287 | -43 | -8600 | -0.0086
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 987881 | 988184 | -303 | -75750 | -0.07575 | 829 | 835 | -6 | -1500 | -0.0015
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975003 | 976177 | -1174 | -1174000 | -1.174 | 1745 | 1746 | -1 | -1000 | -0.001
73 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | 281.25 | 999557 | 999557 | 0 | 0 | 0 | 435 | 435 | 0 | 0 | 0
DEV NAGAR
74 | 33KV RAMA ROAD | Q0487625 | Secure | Kvarh(Lead/Lag) | 1 | -803000 | -746000 | -57000 | -57000 | -0.057 | -16000 | -11000 | -5000 | -5000 | -0.005
75 | 33KV SHAHZADA BAGH | Q0487626 | Secure | Kvarh(Lead/Lag) | 1 | -307000 | -132000 | -175000 | -175000 | -0.175 | 0 | 1000 | -1000 | -1000 | -0.001
76 | 33KV NARAINA DTC CKT-I | Q0487627 | Secure | Kvarh(Lead/Lag) | 1 | -361000 | -214000 | -147000 | -147000 | -0.147 | -8000 | -5000 | -3000 | -3000 | -0.003
77 | 33KV NARAINA DTC CKT-II | Q0487631 | Secure | Kvarh(Lead/Lag) | 1 | -906000 | -756000 | -150000 | -150000 | -0.15 | -9000 | -7000 | -2000 | -2000 | -0.002
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -34.5937 |  |  |  |  | -3.1358
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2024
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 676 | 677 | -1 | 100 | 0.0001 | 4757 | 4535 | 222 | -22200 | -0.0222
MANGOLPURI
2 | NANGLOI-2 EXP | Y0357821 | Secure | Kvarh(Lead/Lag) | -0.8 | 839500 | 817000 | 22500 | -18000 | -0.018 | 17000 | 14500 | 2500 | -2000 | -0.002
SUBZI MANDI
3 | O/G BG Rd.1 | 4864899 | ELSTER | Kvarh(Lead/Lag) | -500 | 972983 | 973006 | -23 | 11500 | 0.0115 | 992100 | 992098 | 2 | -1000 | -0.001
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6251 | 6799 | -548 | 73064.84 | 0.073065 | 8303 | 8316 | -13 | 1733.29 | 0.0017333
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 995712 | 995783 | -71 | 13312.5 | 0.013312 | 998173 | 998186 | -13 | 2437.5 | 0.0024375
KANJAWALA
6 | 66KV DMRC | Y0357713 | ELSTER | Kvarh(Lead/Lag) | -0.4 | -2151000 | -1689000 | -462000 | 184800 | 0.1848 | -2662000 | -2627000 | -35000 | 14000 | 0.014 | upto 12.02.2024
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991990 | 992018 | -28 | 17500 | 0.0175 | 1392 | 1377 | 15 | -9375 | -0.009375
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999605 | 999629 | -24 | 12000 | 0.012 | 822 | 820 | 2 | -1000 | -0.001
REWARI LINE
10 | VISHAL-1 | 4902510 | ELSTER | Kvarh(Lead/Lag) | -400 | 998812 | 999125 | -313 | 125200 | 0.1252 | 999990 | 999992 | -2 | 800 | 0.0008
11 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -937.5 | 999411 | 999553 | -142 | 133125 | 0.13312 | 999732 | 999734 | -2 | 1875 | 0.001875
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 978603 | 979333 | -730 | 136875 | 0.13687 | 2506 | 2515 | -9 | 1687.5 | 0.0016875
13 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999961 | 999961 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 992500 | 992734 | -234 | 23400 | 0.0234 | 32207 | 32210 | -3 | 300 | 0.0003
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.71288 |  |  |  |  | -0.012742
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -34.5937 |  |  |  |  | -3.1358
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.71288 |  |  |  |  | -0.012742
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -1.7846 |  |  |  |  | -0.039625
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -35.6654 |  |  |  |  | -3.1882
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -35.6654 | (REACTIVE MUs) |  |  |  | -3.1882 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 5.6225 | (REACTIVE MUs) |  |  |  | 0.069578 | (REACTIVE MUs)
[9 empty] | TOTAL | -30.0429 | (REACTIVE MUs) |  |  |  | -3.1186 | (REACTIVE MUs)
Note on Q22: Windows User: to be erased

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | FEBRUARY-2024
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997800 | 997800 | 0 | 0 | 0 | 986091 | 986316 | -225 | -225000 | -0.225
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998503 | 998503 | 0 | 0 | 0 | 997403 | 997493 | -90 | -90000 | -0.09
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 200 | 999383 | 999384 | -1 | -200 | -0.0002 | 962083 | 962547 | -464 | -92800 | -0.0928
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999792 | 999792 | 0 | 0 | 0 | 995403 | 995418 | -15 | -19999.95 | -0.02
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997312 | 997330 | -18 | -27000 | -0.027 | 997056 | 997103 | -47 | -70500 | -0.0705
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 10342 | 10342 | 0 | 0 | 0 | 17867 | 17952 | -85 | -113333.05 | -0.11333
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994424 | 994450 | -26 | -26000 | -0.026 | 994453 | 994513 | -60 | -60000 | -0.06
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990600 | 990600 | 0 | 0 | 0 | 984733 | 984848 | -115 | -115000 | -0.115
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 999990 | 999991 | -1 | -800 | -0.0008 | 996872 | 997018 | -146 | -116800 | -0.1168
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988541 | 988544 | -3 | -3999.99 | -0.004 | 264912 | 264922 | -10 | -13333.3 | -0.013333
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 1574 | 1326 | 248 | -1653333.168 | -1.6533 | 108 | 108 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42482 | 40280 | 2202 | -2202000 | -2.202 | 997384 | 997379 | 5 | -5000 | -0.005
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6715 | 6257 | 458 | -916000 | -0.916 | 999710 | 999705 | 5 | -10000 | -0.01
14 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5506 | 3889 | 1617 | -1617000 | -1.617 | 996144 | 996131 | 13 | -13000 | -0.013
PAAPANKALAN-II
15 | Tx.1 | 4864958 | ELSTER | Kvarh(Lead/Lag) | -1250 | 3347 | 2796 | 551 | -688750 | -0.68875 | 306 | 284 | 22 | -27500 | -0.0275
16 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13802 | 13758 | 44 | -44000 | -0.044 | 912 | 854 | 58 | -58000 | -0.058
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38757 | 38751 | 6 | -12000 | -0.012 | 6177 | 5987 | 190 | -380000 | -0.38
18 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4715 | 4579 | 136 | -272000 | -0.272 | 999883 | 999873 | 10 | -20000 | -0.02
PAAPANKALAN-III
19 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1600 | 5953 | 5574 | 379 | -606400 | -0.6064 | 2197 | 2111 | 86 | -137600 | -0.1376
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 140558 | 139142 | 1416 | -1132800 | -1.1328 | 8188 | 8140 | 48 | -38400 | -0.0384
NAJAFGARH
21 | Tx.1 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -2500 | 1000077 | 999961 | 116 | -290000 | -0.29 | 999890 | 999890 | 0 | 0 | 0
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952710 | 952599 | 111 | -222000 | -0.222 | 988924 | 989015 | -91 | 182000 | 0.182
23 | Tx.3 | 4864787 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998581 | 998487 | 94 | -188000 | -0.188 | 999965 | 999969 | -4 | 8000 | 0.008
24 | Tx.4 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1504 | 945 | 559 | -559000 | -0.559 | 999909 | 999915 | -6 | 6000 | 0.006
R.K.PURAM
25 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997696 | 997659 | 37 | -37000 | -0.037 | 997367 | 997354 | 13 | -13000 | -0.013
26 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981612 | 981541 | 71 | -71000 | -0.071 | 13096 | 13077 | 19 | -19000 | -0.019
27 | 66KV I/C-1 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -2000 | 58 | 6 | 52 | -104000 | -0.104 | 5 | 1 | 4 | -8000 | -0.008
28 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8592 | 8558 | 34 | -68000 | -0.068 | 1563 | 1561 | 2 | -4000 | -0.004
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | Y0357821 | Secure | Kvarh(Lead/Lag) | 0.8 | 839500 | 817000 | 22500 | 18000 | 0.018 | 17000 | 14500 | 2500 | 2000 | 0.002
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 930118 | 929311 | 807 | -807000 | -0.807 | 965241 | 965241 | 0 | 0 | 0
31 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992437 | 992315 | 122 | -122000 | -0.122 | 999484 | 999484 | 0 | 0 | 0
32 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5989 | 5996 | -7 | 7000 | 0.007 | 999976 | 999976 | 0 | 0 | 0
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 41866 | 41844 | 22 | -17600 | -0.0176 | 17072 | 16731 | 341 | -272800 | -0.2728
34 | 66KV I/C-2 | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1200 | 435 | 422 | 13 | -15600 | -0.0156 | 1636 | 1404 | 232 | -278400 | -0.2784
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -2000 | 249 | 237 | 12 | -24000 | -0.024 | 2120 | 1926 | 194 | -388000 | -0.388
36 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 302 | 262 | 40 | -40000 | -0.04 | 1550 | 1023 | 527 | -527000 | -0.527
37 | Tx.5 (33 KV)-Ckt No.3 | 5128413 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 6 | 0 | 0 | 0 | 636 | 505 | 131 | -131000 | -0.131
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5764 | 5750 | 14 | -14000 | -0.014 | 997851 | 997652 | 199 | -199000 | -0.199
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1324 | 1324 | 0 | 0 | 0 | 5293 | 4459 | 834 | -834000 | -0.834
BRPL(+) continue | [14 empty] | FEBRUARY-2024
VASANT KUNJ
40 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10969 | 11060 | -91 | 91000 | 0.091 | 75 | 76 | -1 | 1000 | 0.001
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25926 | 25782 | 144 | -144000 | -0.144 | 1525 | 1359 | 166 | -166000 | -0.166
42 | Tx.3 | 4864900 | ELSTER | Kvarh(Lead/Lag) | -2500 | 205 | 100 | 105 | -262500 | -0.2625 | 999961 | 999963 | -2 | 5000 | 0.005
MEHRAULI
43 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2160 | 1793 | 367 | -367000 | -0.367 | 287 | 239 | 48 | -48000 | -0.048
44 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 25484 | 23785 | 1699 | -849500 | -0.8495 | 2186 | 2138 | 48 | -24000 | -0.024
45 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 3514 | 3343 | 171 | -427500 | -0.4275 | 1233 | 1215 | 18 | -45000 | -0.045
46 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6909 | 6502 | 407 | -814000 | -0.814 | 1276 | 1243 | 33 | -66000 | -0.066
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 110736 | 107748 | 2988 | -2988000 | -2.988 | 996806 | 996806 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 79715 | 77352 | 2363 | -4726000 | -4.726 | 999341 | 999341 | 0 | 0 | 0
DIAL
49 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 14867 | 14369 | 498 | -747000 | -0.747 | 71 | 69 | 2 | -3000 | -0.003
50 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17842 | 17041 | 801 | -801000 | -0.801 | 16 | 14 | 2 | -2000 | -0.002
MASJID MOD
51 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996829 | 996824 | 5 | -5000 | -0.005 | 395 | 366 | 29 | -29000 | -0.029
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991335 | 991320 | 15 | -15000 | -0.015 | 994912 | 994894 | 18 | -18000 | -0.018
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989947 | 989915 | 32 | -32000 | -0.032 | 986781 | 986774 | 7 | -7000 | -0.007
MUNDKA
54 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 992716 | 992979 | -263 | -1052000 | -1.052 | 999981 | 999981 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 958206 | 959480 | -1274 | -1019200 | -1.0192 | 596 | 596 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 904131 | 904628 | -497 | -397600 | -0.3976 | 999389 | 999390 | -1 | -800 | -0.0008
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4864985 | ELSTER | Kvarh(Lead/Lag) | 800 | 999426 | 999631 | -205 | -164000 | -0.164 | 22 | 21 | 1 | 800 | 0.0008
59 | BAY No 612 | 4902511 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999948 | 999973 | -25 | -100000 | -0.1 | 11 | 11 | 0 | 0 | 0
60 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 979804 | 981328 | -1524 | -1219200 | -1.2192 | 999139 | 999165 | -26 | -20800 | -0.0208
61 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 974178 | 976493 | -2315 | -1852000 | -1.852 | 999887 | 999890 | -3 | -2400 | -0.0024
PARK STREET
63 | 66KV R VALLEY-1 | Y0357818 | Secure | Kvarh(Lead/Lag) | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SARITA VIHAR
64 | TX-1 | 5100232 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5172 | 3222 | 1950 | -3900000 | -3.9 | 26 | 25 | 1 | -2000 | -0.002
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20384 | 20167 | 217 | -217000 | -0.217 | 19579 | 18827 | 752 | -752000 | -0.752
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 149140 | 147206 | 1934 | -1934000 | -1.934 | 3521 | 3520 | 1 | -1000 | -0.001
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 676 | 677 | -1 | -100 | -0.0001 | 4757 | 4535 | 222 | 22200 | 0.0222
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 995712 | 995783 | -71 | -13312.5 | -0.013312 | 998173 | 998186 | -13 | -2437.5 | -0.0024375
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997858 | 997882 | -24 | -24000 | -0.024 | 358 | 368 | -10 | -10000 | -0.01
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997200 | 997244 | -44 | -44000 | -0.044 | 342 | 347 | -5 | -5000 | -0.005
KANJAWALA
70 | 66KV DMRC | Y0357713 | Secure | Kvarh(Lead/Lag) | 0.4 | -2151000 | -1689000 | -462000 | -184800 | -0.1848 | -2662000 | -2627000 | -35000 | -14000 | -0.014 | upto 12.02.2024
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 644 | 573 | 71 | 71000 | 0.071 | 999569 | 999595 | -26 | -26000 | -0.026
[10 empty] | 0.01775 |  |  |  |  | -0.0065 | Assessment
72 | IIT CIRCUIT | 4864872 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994622 | 995041 | -419 | -419000 | -0.419 | 999563 | 999563 | 0 | 0 | 0
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | 100 | 999735 | 999760 | -25 | -2500 | -0.0025 | 999677 | 999677 | 0 | 0 | 0
74 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | 200 | 250 | 250 | 0 | 0 | 0 | 407 | 407 | 0 | 0 | 0
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 7987 | 8047 | -60 | -30000 | -0.03 | 2909 | 2917 | -8 | -4000 | -0.004
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993877 | 993952 | -75 | -75000 | -0.075 | 4037 | 4054 | -17 | -17000 | -0.017
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980353 | 980387 | -34 | -34000 | -0.034 | 520 | 524 | -4 | -4000 | -0.004
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7484 | 7516 | -32 | -32000 | -0.032 | 6929 | 6925 | 4 | 4000 | 0.004
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 993147 | 993263 | -116 | -17400 | -0.0174 | 708 | 682 | 26 | 3900 | 0.0039
80 | PASCHIM PURI - 2(L-8) | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999940 | 999958 | -18 | -18000 | -0.018 | 999999 | 999996 | 3 | 3000 | 0.003
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3264 | 3168 | 96 | 25600.32 | 0.0256 | 547 | 541 | 6 | 1600.02 | 0.0016
82 | MUKHERJEE PARK - II | 4865154 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999986 | 999995 | -9 | -9000 | -0.009 | 73 | 67 | 6 | 6000 | 0.006
REWARI LINE
83 | VISHAL-1 | 4902510 | ELSTER | Kvarh(Lead/Lag) | 400 | 998812 | 999125 | -313 | -125200 | -0.1252 | 999990 | 999992 | -2 | -800 | -0.0008
84 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999411 | 999553 | -142 | -133125 | -0.13312 | 999732 | 999734 | -2 | -1875 | -0.001875
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 978603 | 979333 | -730 | -136875 | -0.13687 | 2506 | 2515 | -9 | -1687.5 | -0.0016875
86 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999961 | 999961 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 992500 | 992734 | -234 | -23400 | -0.0234 | 32207 | 32210 | -3 | -300 | -0.0003
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -36.9063 |  |  |  |  | -5.3156
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2024
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21801 | 21835 | -34 | 17000 | 0.017 | 6175 | 6178 | -3 | 1500 | 0.0015
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992382 | 992386 | -4 | 533.32 | 0.00053332 | 1119 | 1277 | -158 | 21066.14 | 0.021066
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999442 | 999519 | -77 | 51333.359 | 0.051333 | 156 | 250 | -94 | 62666.698 | 0.062667
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1011 | 1033 | -22 | 22000 | 0.022 | 389 | 393 | -4 | 4000 | 0.004
6 | 33KV R R HOSPITAL | Q0819156 | SECURE | Kvarh(Lead/Lag) | -2 | 0 | 0 | 0 | 0 | 0 | 124200 | 93400 | 30800 | -61600 | -0.0616
EXPORTS(*)
EXPORT TO NDMC
7 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987594 | 988042 | -448 | 448000 | 0.448 | 2695 | 2695 | 0 | 0 | 0
8 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 2499 | 2577 | -78 | 12480 | 0.01248 | 45570 | 45671 | -101 | 16160 | 0.01616
9 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3779 | 3801 | -22 | 4400 | 0.0044 | 27044 | 27052 | -8 | 1600 | 0.0016
10 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965527 | 966109 | -582 | 582000 | 0.582 | 999618 | 999619 | -1 | 1000 | 0.001
EXPORT TO NDMC
11 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 903 | 899 | 4 | -400 | -0.0004 | 3590 | 3620 | -30 | 3000 | 0.003
12 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 5794 | 5923 | -129 | 12900 | 0.0129 | 6271 | 6282 | -11 | 1100 | 0.0011
13 | 33KV SAHJAHAN ROAD | 4864793 | ELSTER | Kvarh(Lead/Lag) | -200 | 998388 | 998699 | -311 | 62200 | 0.0622 | 999703 | 999703 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
14 | KILOKARI | 4902557 | ELSTER | Kvarh(Lead/Lag) | 1875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999999 | 1000000 | -1 | -833.33 | -0.00083333 | 999870 | 999871 | -1 | -833.33 | -0.00083333
16 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 633 | 521 | 112 | 93332.96 | 0.093333 | 7914 | 7771 | 143 | 119166.19 | 0.11917
KIDWAI NAGAR
17 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 533 | 508 | 25 | -15625 | -0.015625 | 8769 | 8711 | 58 | -36250 | -0.03625
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4865065 | ELSTER | Kvarh(Lead/Lag) | -266.667 | 0 | 0 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3099 | 3132 | -33 | 3300 | 0.0033 | 35713 | 35666 | 47 | -4700 | -0.0047
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 744 | 746 | -2 | 2666 | 0.002666 | 601 | 608 | -7 | 9331 | 0.009331
22 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 298 | 298 | 0 | 0 | 0 | 4738 | 4664 | 74 | -7400 | -0.0074
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999942 | 999942 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1577 | 1609 | -32 | 3200 | 0.0032 | 12918 | 12861 | 57 | -5700 | -0.0057
REWARI LINE (11KV TRANSFER OF ENERGY)
27 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
28 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999895 | 999895 | 0 | 0 | 0 | 999460 | 999460 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
29 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 2486 | 2322 | 164 | -131200 | -0.1312 | 1609 | 1607 | 2 | -1600 | -0.0016
REWARI LINE
30 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975003 | 976177 | -1174 | 1174000 | 1.174 | 1745 | 1746 | -1 | 1000 | 0.001
31 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | -281.25 | 999557 | 999557 | 0 | 0 | 0 | 435 | 435 | 0 | 0 | 0
FED FROM BRPL(RLY.)
32 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | -600 | 0.12 | 0.12 | 0 | 0 | 0 | 49.3 | 46.37 | 2.93 | -1758 | -0.001758
33 | TUGLUKABAD RY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | -3000 | 0.63 | 0.56 | 0.07 | -210 | -0.00021 | 38.06 | 35.35 | 2.71 | -8130 | -0.00813
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 2.3411 |  |  |  |  | 0.11362
FEBRUARY-2024
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -36.9063 |  |  |  |  | -5.3156
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 2.3411 |  |  |  |  | 0.11362
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.78774 |  |  |  |  | -0.014762
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.008 |  |  |  |  | -0.017325
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -35.361 |  |  |  |  | -5.234
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -35.361 | (REACTIVE MUs) |  |  |  | -5.234 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 7.8143 | (REACTIVE MUs) |  |  |  | 0.09753 | (REACTIVE MUs)
[9 empty] | TOTAL | -27.5467 | (REACTIVE MUs) |  |  |  | -5.1365 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | FEBRUARY-2024
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36443 | 36459 | -16 | -4272 | -0.004272 | 977203 | 977361 | -158 | -42186 | -0.042186
2 | KAMLA MKT.B-30 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 0 | 0 | 0 | 0 | 0 | 998858 | 998886 | -28 | -112000 | -0.112
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24928 | 24928 | 0 | 0 | 0 | 33625 | 33650 | -25 | -3333.25 | -0.0033333
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999556 | 999563 | -7 | -7000 | -0.007 | 998190 | 998208 | -18 | -18000 | -0.018
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 88 | 88 | 0 | 0 | 0 | 999077 | 999107 | -30 | -48000 | -0.048
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18398 | 18400 | -2 | -2666.66 | -0.0026667 | 3135 | 3161 | -26 | -34666.58 | -0.034667
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999439 | 999464 | -25 | -5000 | -0.005 | 984816 | 985564 | -748 | -149600 | -0.1496
RPH
8 | KAMLA MKT.-2 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999855 | 999893 | -38 | -50666.54 | -0.050667 | 999998 | 999998 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 982051 | 982224 | -173 | -86500 | -0.0865 | 546 | 548 | -2 | -1000 | -0.001
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997023 | 997069 | -46 | -46000 | -0.046 | 999765 | 999765 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982277 | 982306 | -29 | -29000 | -0.029 | 1003 | 1003 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999954 | 999958 | -4 | -5333.32 | -0.0053333 | 3186 | 3222 | -36 | -47999.88 | -0.048
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993288 | 993307 | -19 | -19000 | -0.019 | 994526 | 994528 | -2 | -2000 | -0.002
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992490 | 992493 | -3 | -3000 | -0.003 | 999587 | 999613 | -26 | -26000 | -0.026
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994315 | 994322 | -7 | -5600 | -0.0056 | 6682 | 6692 | -10 | -8000 | -0.008
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14679 | 14987 | -308 | -41065.64 | -0.041066 | 8685 | 8685 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 25 | 25 | 0 | 0 | 0 | 999857 | 999858 | -1 | -1000 | -0.001
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 179 | 218 | -39 | -39000 | -0.039 | 16394 | 16394 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 934929 | 936830 | -1901 | -2376250 | -2.3763 | 947108 | 947108 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 906056 | 909897 | -3841 | -3841000 | -3.841 | 933434 | 933434 | 0 | 0 | 0
21 | AKSHARDHAM | 4865027 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999419 | 999431 | -12 | -12000 | -0.012 | 999959 | 999959 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -6.2292 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999993 | 999993 | 0 | 0 | 0 | 999962 | 999904 | 58 | -58000 | -0.058
23 | 100 MVA TX.-2 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 655 | 373 | 282 | -282000 | -0.282 | 21 | 19 | 2 | -2000 | -0.002
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 10 | -7 | -2800 | -0.0028
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998865 | 998884 | -19 | -19000 | -0.019 | 11197 | 11203 | -6 | -6000 | -0.006
PARK STREET
26 | TX.-1 (66KV) | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19643 | 15502 | 4141 | -4141000 | -4.141 | 2295 | 2287 | 8 | -8000 | -0.008
27 | TX.-2(66KV) | Y0357712 | Secure | Kvarh(Lead/Lag) | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16699 | 15803 | 896 | -896000 | -0.896 | 999156 | 999156 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8774 | 8293 | 481 | -481000 | -0.481 | 998021 | 998021 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -2000 | 389 | 157 | 232 | -464000 | -0.464 | 157 | 134 | 23 | -46000 | -0.046
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 98935 | 98323 | 612 | -612000 | -0.612 | 6525 | 6496 | 29 | -29000 | -0.029
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 4112 | 3879 | 233 | -1165000 | -1.165 | 450 | 449 | 1 | -5000 | -0.005
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864899 | ELSTER | Kvarh(Lead/Lag) | 500 | 972983 | 973006 | -23 | -11500 | -0.0115 | 992100 | 992098 | 2 | 1000 | 0.001
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6251 | 6799 | -548 | -73064.84 | -0.073065 | 8303 | 8316 | -13 | -1733.29 | -0.0017333
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992382 | 992386 | -4 | -532 | -0.000532 | 1119 | 1277 | -158 | -21014 | -0.021014
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997570 | 996873 | 697 | -697000 | -0.697 | 990317 | 990312 | 5 | -5000 | -0.005
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995887 | 995453 | 434 | -434000 | -0.434 | 969563 | 969557 | 6 | -6000 | -0.006
[5 empty] | -1000 | 987116 | 986910 | 206 | -206000 | -0.206
DEV NAGAR
39 | TX.-3 (33KV) | Q0487636 | Secure | Kvarh(Lead/Lag) | -1 | 1391000.06 | 1172000 | 219000.06 | -219000.06 | -0.219 | 26000 | 18000 | 8000 | -8000 | -0.008
40 | TX.-4 (33KV) | Q0487633 | Secure | Kvarh(Lead/Lag) | -1 | 3639000.06 | 2998000.13 | 640999.93 | -640999.93 | -0.641 | 25000 | 16000 | 9000 | -9000 | -0.009
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -16.9155 |  |  |  |  | -0.70033
| (A) NET ENERGY TO CENTRAL | [8 empty] | -16.9155 |  |  |  |  | -0.70033
FEBRUARY-2024
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1906 | 1881 | 25 | -25000 | -0.025 | 706 | 646 | 60 | -60000 | -0.06
2 | Tx.2 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1456 | 1440 | 16 | -16000 | -0.016 | 528 | 417 | 111 | -111000 | -0.111
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 901 | 887 | 14 | -14000 | -0.014 | 293 | 250 | 43 | -43000 | -0.043
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4442 | 3859 | 583 | -583000 | -0.583 | 999810 | 999806 | 4 | -4000 | -0.004
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41971 | 41950 | 21 | -21000 | -0.021 | 1000145 | 999959 | 186 | -186000 | -0.186
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 25318 | 25240 | 78 | -39000 | -0.039 | 2861 | 2640 | 221 | -110500 | -0.1105
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 474 | 466 | 8 | -8000 | -0.008 | 360 | 297 | 63 | -63000 | -0.063
8 | 100MVA Tx.3 (33 KV) | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 138 | 120 | 18 | -18000 | -0.018 | 191 | 162 | 29 | -29000 | -0.029
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2031 | 2017 | 14 | -14000 | -0.014 | 324 | 291 | 33 | -33000 | -0.033
GEETA COLONY
10 | I/C-I | 5128441 | ELSTER | Kvarh(Lead/Lag) | -1000 | 247 | 234 | 13 | -13000 | -0.013 | 1087 | 1072 | 15 | -15000 | -0.015
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1598 | 1561 | 37 | -37000 | -0.037 | 2067 | 2021 | 46 | -46000 | -0.046
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 14376 | 14365 | 11 | -55000 | -0.055 | 1216 | 1074 | 142 | -710000 | -0.71
13 | TX-2 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3524 | 3367 | 157 | -157000 | -0.157 | 29 | 28 | 1 | -1000 | -0.001
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14752 | 14454 | 298 | -298000 | -0.298 | 912 | 912 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -1.298 |  |  |  |  | -1.4115
| (B) NET ENERGY TO EAST | [8 empty] | -1.298 |  |  |  |  | -1.4115
FEBRUARY-2024
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 989855 | 990069 | -214 | 57067.38 | 0.057067 | 999924 | 999929 | -5 | 1333.35 | 0.0013334
2 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6 | 6 | 0 | 0 | 0 | 145 | 140 | 5 | -10000 | -0.01
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 7 | 152 | -145 | 38665.7 | 0.038666 | 2146 | 2146 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -100 | 15946 | 14427 | 1519 | -151900 | -0.1519 | 1603 | 1603 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 967566 | 968538 | -972 | 194400 | 0.1944 | 244 | 244 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 222 | 342 | -120 | 120000 | 0.12 | 365 | 365 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | -800 | 999896 | 999942 | -46 | 36800 | 0.0368 | 1134 | 1134 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 1170 | 1328 | -158 | 126400 | 0.1264 | 2252 | 2252 | 0 | 0 | 0
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 936511 | 937808 | -1297 | 1037600 | 1.0376 | 987472 | 987474 | -2 | 1600 | 0.0016
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992037 | 992168 | -131 | 262000 | 0.262 | 997965 | 997978 | -13 | 26000 | 0.026
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | Y0357818 | SECURE | Kvarh(Lead/Lag) | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992072 | 992433 | -361 | 361000 | 0.361 | 24310 | 24310 | 0 | 0 | 0
DMS
15 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | -300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4902519 | ELSTER | Kvarh(Lead/Lag) | -500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999859 | 999859 | 0 | 0 | 0 | 2541 | 2531 | 10 | -5000 | -0.005
18 | DCM NO.2 | 4865089 | ELSTER | Kvarh(Lead/Lag) | -500 | 999982 | 999982 | 0 | 0 | 0 | 999936 | 999953 | -17 | 8500 | 0.0085
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1202 | 1202 | 0 | 0 | 0 | 1626 | 1636 | -10 | 5000 | 0.005
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 59505 | 59837 | -332 | 33200 | 0.0332 | 2640 | 2646 | -6 | 600 | 0.0006
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 424 | 426 | -2 | 266.66 | 0.00026666 | 1186 | 1188 | -2 | 266.66 | 0.00026666
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992315 | 992421 | -106 | 10600 | 0.0106 | 3781 | 3781 | 0 | 0 | 0
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 33 | 33 | 0 | 0 | 0 | 110 | 102 | 8 | -10666.64 | -0.010667
24 | TIBIA COLLEGE-2 | 4865082 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 8 | 7 | 1 | -133.33 | -0.00013333 | 196 | 184 | 12 | -1599.96 | -0.0016
25 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | -100 | 2764 | 2755 | 9 | -900 | -0.0009 | 541 | 510 | 31 | -3100 | -0.0031
FED FROM BYPL (RLY.)
26 | SADAR | Q0263400 | SECURE | Kvarh(Lead/Lag) | -1 | 89530 | 89390 | 140 | -140 | -0.00014 | 455630.02 | 445590.02 | 10040 | -10040 | -0.01004
27 | AJMERI GATE | Q0263398 | SECURE | Kvarh(Lead/Lag) | -1 | 59330 | 58540 | 790 | -790 | -0.00079 | 685440 | 678780.03 | 6659.97 | -6659.97 | -0.00666
28 | NDLS | Q0263402 | SECURE | Kvarh(Lead/Lag) | -1 | 354000 | 349700 | 4300 | -4300 | -0.0043 | 2353999.87 | 2337400.06 | 16599.81 | -16599.81 | -0.0166
DEV NAGAR
29 | 33KV RAMA ROAD | Q0487625 | SECURE | Kvarh(Lead/Lag) | -1 | -803000 | -746000 | -57000 | 57000 | 0.057 | -16000 | -11000 | -5000 | 5000 | 0.005
30 | 33KV SHAHZADA BAGH | Q0487626 | SECURE | Kvarh(Lead/Lag) | -1 | -307000 | -132000 | -175000 | 175000 | 0.175 | 0 | 1000 | -1000 | 1000 | 0.001
31 | 33KV NARAINA DTC CKT-I | Q0487627 | SECURE | Kvarh(Lead/Lag) | -1 | -361000 | -214000 | -147000 | 147000 | 0.147 | -8000 | -5000 | -3000 | 3000 | 0.003
32 | 33KV NARAINA DTC CKT-II | Q0487631 | SECURE | Kvarh(Lead/Lag) | -1 | -906000 | -756000 | -150000 | 150000 | 0.15 | -9000 | -7000 | -2000 | 2000 | 0.002
FED FROM BYPL (RLY.)
31 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | -1200 | 25.47 | 25.33 | 0.14 | -168 | -0.000168 | 63.83 | 60.92 | 2.91 | -3492 | -0.003492
32 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | -1200 | 1.71 | 1.69 | 0.02 | -24 | -2.4e-05 | 235.06 | 214.4 | 20.66 | -24792 | -0.024792
33 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | -1200 | 4.05 | 4 | 0.05 | -60 | -6e-05 | 54.35 | 53.58 | 0.77 | -924 | -0.000924
34 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | -1200 | 5.28 | 4.49 | 0.79 | -948 | -0.000948 | 54.47 | 53.06 | 1.41 | -1692 | -0.001692
35 | KODIYA PUL | Q0430828 | SECURE | Kvarh(Lead/Lag) | -3000 | 0.09 | 0.09 | 0 | 0 | 0 | 22.75 | 22.62 | 0.13 | -390 | -0.00039
[10 empty] | 2.6476 |  |  |  |  | -0.040656
FEBRUARY-2024
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -16.9155 |  |  |  |  | -0.70033
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 2.6476 |  |  |  |  | -0.040656
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -14.2678 |  |  |  |  | -0.74099
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -1.298 |  |  |  |  | -1.4115
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -15.5658 |  |  |  |  | -2.1525
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -15.5658 | (REACTIVE MUs) |  |  |  | -2.1525 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 4.2429 | (REACTIVE MUs) |  |  |  | 0.054955 | (REACTIVE MUs)
[9 empty] | TOTAL | -11.3229 | (REACTIVE MUs) |  |  |  | -2.0975 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2024
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 7 | 152 | -145 | -38667.15 | -0.038667 | 2146 | 2146 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 100 | 15946 | 14427 | 1519 | 151900 | 0.1519 | 1603 | 1603 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 967566 | 968538 | -972 | -194400 | -0.1944 | 244 | 244 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 222 | 342 | -120 | -120000 | -0.12 | 365 | 365 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | 800 | 999896 | 999942 | -46 | -36800 | -0.0368 | 1134 | 1134 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 1170 | 1328 | -158 | -126400 | -0.1264 | 2252 | 2252 | 0 | 0 | 0
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 936511 | 937808 | -1297 | -1037600 | -1.0376 | 987472 | 987474 | -2 | -1600 | -0.0016
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992037 | 992168 | -131 | -262000 | -0.262 | 997965 | 997978 | -13 | -26000 | -0.026
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 952637 | 952638 | -1 | -50 | -5e-05 | 22767 | 23663 | -896 | -44800 | -0.0448
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 998744 | 998777 | -33 | -3300 | -0.0033 | 1059 | 1383 | -324 | -32400 | -0.0324
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997770 | 997770 | 0 | 0 | 0 | 8567 | 8629 | -62 | -31000 | -0.031
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999817 | 999817 | 0 | 0 | 0 | 994206 | 994206 | 0 | 0 | 0
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 998334 | 998335 | -1 | -1333.33 | -0.0013333 | 4343 | 4365 | -22 | -29333.26 | -0.029333
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11074 | 11074 | 0 | 0 | 0 | 43244 | 43244 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999842 | 999845 | -3 | -3999.99 | -0.004 | 3954 | 3974 | -20 | -26666.6 | -0.026667
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987092 | 988029 | -937 | -937000 | -0.937 | 399 | 399 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 971720 | 972648 | -928 | -928000 | -0.928 | 3090 | 3090 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4864851 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999360 | 999360 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 990991 | 991381 | -390 | -975000 | -0.975 | 512 | 512 | 0 | 0 | 0
[10 empty] | -2.84 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987594 | 988042 | -448 | -448000 | -0.448 | 2695 | 2695 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 2499 | 2577 | -78 | -12480 | -0.01248 | 45570 | 45671 | -101 | -16160 | -0.01616
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3779 | 3801 | -22 | -4400 | -0.0044 | 27044 | 27052 | -8 | -1600 | -0.0016
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 965527 | 966109 | -582 | -582000 | -0.582 | 999618 | 999619 | -1 | -1000 | -0.001
A.I.I.M.S.
27 | KILOKARI | 4902557 | ELSTER | Kvarh(Lead/Lag) | -1875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999999 | 1000000 | -1 | 833.33 | 0.00083333 | 999870 | 999871 | -1 | 833.33 | 0.00083333
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 633 | 521 | 112 | -93332.96 | -0.093333 | 7914 | 7771 | 143 | -119166.19 | -0.11917
FEBRUARY-2024
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1218 | 661 | 557 | -557000 | -0.557 | 0 | 0 | 0 | 0 | 0
|  | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 302 | 0 | 302 | -302000 | -0.302 | 0 | 0 | 0 | 0 | 0 | w.e.f 19/02/2024
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14487 | 13458 | 1029 | -1029000 | -1.029 | 995101 | 995101 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998591 | 998543 | 48 | -96000 | -0.096 | 994584 | 994584 | 0 | 0 | 0
33 | 33KV TX-2 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999785 | 999633 | 152 | -152000 | -0.152 | 998753 | 998753 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 533 | 508 | 25 | 15625 | 0.015625 | 8769 | 8711 | 58 | 36250 | 0.03625
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 903 | 899 | 4 | 400 | 0.0004 | 3590 | 3620 | -30 | -3000 | -0.003
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 5794 | 5923 | -129 | -12900 | -0.0129 | 6271 | 6282 | -11 | -1100 | -0.0011
37 | 33KV SAHJAHAN ROAD | 4864793 | ELSTER | Kvarh(Lead/Lag) | 200 | 998388 | 998699 | -311 | -62200 | -0.0622 | 999703 | 999703 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21801 | 21835 | -34 | -17000 | -0.017 | 6175 | 6178 | -3 | -1500 | -0.0015
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 644 | 573 | 71 | -71000 | -0.071 | 999569 | 999595 | -26 | 26000 | 0.026
[10 empty] | -0.01775 |  |  |  |  | 0.0065 | Assessment
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994622 | 995041 | -419 | 419000 | 0.419 | 999563 | 999563 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | -100 | 999735 | 999760 | -25 | 2500 | 0.0025 | 999677 | 999677 | 0 | 0 | 0
4 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | -200 | 250 | 250 | 0 | 0 | 0 | 407 | 407 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -7.5314 |  |  |  |  | -0.26574
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -7.5314 |  |  |  |  | -0.26574
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.33542 |  |  |  |  | 0.011537
| TOTAL ENERGY TO NDMC | [8 empty] | -7.1959 |  |  |  |  | -0.25421

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2024
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3869 | 3941 | -72 | -14400 | -0.0144 | 82218 | 82216 | 2 | 400 | 0.0004
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999613 | 999638 | -25 | -4000 | -0.004 | 32821 | 32924 | -103 | -16480 | -0.01648
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 999863 | 999863 | 0 | 0 | 0 | 2479 | 2499 | -20 | -4000 | -0.004
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999733 | 999739 | -6 | -2400 | -0.0024 | 20085 | 20086 | -1 | -400 | -0.0004
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999256 | 999257 | -1 | -800 | -0.0008 | 643 | 668 | -25 | -20000 | -0.02
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2220 | 2225 | -5 | -2000 | -0.002 | 6770 | 6791 | -21 | -8400 | -0.0084
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999442 | 999519 | -77 | -51333.359 | -0.051333 | 156 | 250 | -94 | -62666.698 | -0.062667
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1011 | 1033 | -22 | -22000 | -0.022 | 389 | 393 | -4 | -4000 | -0.004
9 | 33KV R R HOSPITAL | Q0819156 | SECURE | Kvarh(Lead/Lag) | 2 | 0 | 0 | 0 | 0 | 0 | 124200 | 93400 | 30800 | 61600 | 0.0616
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.096933 |  |  |  |  | -0.053947
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
10 | R.R. HOSPITAL | 4902594 | ELSTER | Kvarh(Lead/Lag) | 500 | 165 | 149 | 16 | 8000 | 0.008 | 888 | 876 | 12 | 6000 | 0.006
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 105 | 105 | 0 | 0 | 0 | 1855 | 1849 | 6 | 600 | 0.0006
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4831 | 4831 | 0 | 0 | 0 | 75961 | 75789 | 172 | 12900 | 0.0129
13 | SUBROTO PARK | 4865088 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 784 | 784 | 0 | 0 | 0 | 5952 | 5981 | -29 | -2175 | -0.002175
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10294 | 10294 | 0 | 0 | 0 | 8853 | 8853 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.008 |  |  |  |  | 0.017325
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.096933 |  |  |  |  | -0.053947
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.088933 |  |  |  |  | -0.036622
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.088933 | (REACTIVE MUs) |  |  |  | -0.036622 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.12262 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.21155 | (REACTIVE MUs) |  |  |  | -0.036622 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2024
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991990 | 992018 | -28 | -17500 | -0.0175 | 1392 | 1377 | 15 | 9375 | 0.009375
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999605 | 999629 | -24 | -12000 | -0.012 | 822 | 820 | 2 | 1000 | 0.001
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 2486 | 2322 | 164 | 131200 | 0.1312 | 1609 | 1607 | 2 | 1600 | 0.0016
FED FROM BYPL (RLY.)
1 | SADAR | Q0263400 | SECURE | Kvarh(Lead/Lag) | 1 | 89530 | 89390 | 140 | 140 | 0.00014 | 455630.02 | 445590.02 | 10040 | 10040 | 0.01004
2 | AJMERI GATE | Q0263398 | SECURE | Kvarh(Lead/Lag) | 1 | 59330 | 58540 | 790 | 790 | 0.00079 | 685440 | 678780.03 | 6659.97 | 6659.97 | 0.00666
3 | NDLS | Q0263402 | SECURE | Kvarh(Lead/Lag) | 1 | 354000 | 349700 | 4300 | 4300 | 0.0043 | 2353999.87 | 2337400.06 | 16599.81 | 16599.81 | 0.0166
4 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | 1200 | 25.47 | 25.33 | 0.14 | 168 | 0.000168 | 63.83 | 60.92 | 2.91 | 3492 | 0.003492
5 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | 1200 | 1.71 | 1.69 | 0.02 | 24 | 2.4e-05 | 235.06 | 214.4 | 20.66 | 24792 | 0.024792
6 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | 1200 | 4.05 | 4 | 0.05 | 60 | 6e-05 | 54.35 | 53.58 | 0.77 | 924 | 0.000924
7 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | 1200 | 5.28 | 4.49 | 0.79 | 948 | 0.000948 | 54.47 | 53.06 | 1.41 | 1692 | 0.001692
8 | KODIYA PUL | Q0430828 | SECURE | Kvarh(Lead/Lag) | 3000 | 0.09 | 0.09 | 0 | 0 | 0 | 22.75 | 22.62 | 0.13 | 390 | 0.00039
FED FROM BRPL(RLY.)
9 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | 600 | 0.12 | 0.12 | 0 | 0 | 0 | 49.3 | 46.37 | 2.93 | 1758 | 0.001758
10 | TUGLUKABAD RLY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | 3000 | 0.63 | 0.56 | 0.07 | 210 | 0.00021 | 38.06 | 35.35 | 2.71 | 8130 | 0.00813
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.10834 |  |  |  |  | 0.086453
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0064587 |  |  |  |  | 0
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.1148 |  |  |  |  | 0.086453

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2024
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 992187 | 992187 | 0 | 0 | 0 | 999249 | 999249 | 0 | 0 | 0 | YARD CTR 400/1A
|  | 4865155 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 992050 | 992187 | -137 | -128437.5 | -0.12844 | 999239 | 999249 | -10 | -9375 | -0.009375 | CTR 750/1A wef 06/02
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 11977 | 13415 | -1438 | -143800 | -0.1438 | 985466 | 985473 | -7 | -700 | -0.0007
3 | O/G VISHAL-1 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 833.333 | 999680 | 999967 | -287 | -239166.571 | -0.23917 | 282 | 282 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 996752 | 996931 | -179 | -167812.5 | -0.16781 | 998681 | 998682 | -1 | -937.5 | -0.0009375
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999215 | 999215 | 0 | 0 | 0 | 998599 | 998599 | 0 | 0 | 0
|  | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 27/02/2024
6 | TX-II | 4902535 | ELSTER | Kvarh(Lead/Lag) | -1875 | 136 | 81 | 55 | -103125 | -0.10312 | 4 | 2 | 2 | -3750 | -0.00375
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 176 | 194 | -18 | -5400 | -0.0054 | 999940 | 999940 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.78774 |  |  |  |  | -0.014762
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993088 | 993088 | 0 | 0 | 0 | 998374 | 998374 | 0 | 0 | 0 | Check Meter Data
|  | 4902496 | ELSTER | Kvarh(Lead/Lag) | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 27/02/24
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993263 | 993263 | 0 | 0 | 0 | 993619 | 993619 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | 0 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 998748 | 998817 | -69 | -86250 | -0.08625 | 998434 | 998435 | -1 | -1250 | -0.00125
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997090 | 997090 | 0 | 0 | 0 | 999314 | 999314 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 983756 | 984149 | -393 | -49125 | -0.049125 | 994244 | 994236 | 8 | 1000 | 0.001
13 | O/G 33KV RAMA ROAD | 4865123 | ELSTER | Kvarh(Lead/Lag) | 1250 | 998712 | 998801 | -89 | -111250 | -0.11125 | 999923 | 999926 | -3 | -3750 | -0.00375
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997541 | 997635 | -94 | -94000 | -0.094 | 999438 | 999438 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 958824 | 960284 | -1460 | -1460000 | -1.46 | 988265 | 988300 | -35 | -35000 | -0.035
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 999429 | 999446 | -17 | 10625 | 0.010625 | 999741 | 999740 | 1 | -625 | -0.000625
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 176 | 194 | -18 | 5400 | 0.0054 | 999940 | 999940 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -1.7846 |  |  |  |  | -0.039625
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.78774 |  |  |  |  | -0.014762
| F) NET EXPORT TO BSES YPL | [8 empty] | 0 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -1.7846 |  |  |  |  | -0.039625

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2024
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 29/02/2024 | INTIAL READING 01/02/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 28439 | 26016 | 2423 | 4846000 | 4.846 | 999980 | 999980 | 0 | 0 | 0
2 | IBT-2 | 4864969 | ELSTER | kvarh (Lead/lag) | 2000 | 19348 | 16886 | 2462 | 4924000 | 4.924 | 999976 | 999976 | 0 | 0 | 0
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 9.77 |  |  |  |  | 0
[7 empty] | Generation at feeders |  | = | -9.0693 |  |  |  |  | 0
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 18.8392 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 5.5896 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 7.8239 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 4.284 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 0.93254 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864884 | ELSTER | kvarh (Lead/lag) | -1000 | 996471 | 996810 | -339 | 339000 | 0.339 | 999155 | 999235 | -80 | 80000 | 0.08
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 0.339 |  |  |  |  | 0.08
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.098988 |  |  |  |  | 0.02336
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.14174 |  |  |  |  | 0.033448
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.081021 |  |  |  |  | 0.01912
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.017255 |  |  |  |  | 0.004072
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 197747 | 196744 | 1003 | -752250 | -0.75225 | 999741 | 999741 | 0 | 0 | 0
2 | GT-II | 4902490 | ELSTER | kvarh (lag) | -1000 | 10405 | 9630 | 775 | -775000 | -0.775 | 4 | 4 | 0 | 0 | 0
3 | STG | 4902483 | ELSTER | kvarh (lag) | -750 | 993276 | 992401 | 875 | -656250 | -0.65625 | 999402 | 999402 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -2.1835 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.42098 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.61771 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.35089 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.6616 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.13232 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 264957 | 274866 | -9909 | 990900 | 0.9909 | 984104 | 984104 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 0.9909 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 46 FY2023-24) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 32.0996 | % |  |  | 0.31807 |  |  |  |  | 0
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.9051 | % |  |  | 0.41524 |  |  |  |  | 0
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 20.1992 | % |  |  | 0.20015 |  |  |  |  | 0
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.1651 | % |  |  | 0.041272 |  |  |  |  | 0
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.9792 | % |  |  | 0.0097029 |  |  |  |  | 0
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6518 | % |  |  | 0.0064587 |  |  |  |  | 0
E) | TEKHAND WASTE TO ENERGY PANT
1 | TEKHAND WASTE TO ENERGY PLANT | Q0473785 | SECURE | kvarh (Lead/lag) | -240000 | -3 | -2.49 | -0.51 | 122400 | 0.1224 | -31.32 | -30.68 | -0.64 | 153600 | 0.1536
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 30.09 | % |  |  | 0.03683 |  |  |  |  | 0.046218
| BRPL | (DERC order = |  |  |  | 41.72 | % |  |  | 0.051065 |  |  |  |  | 0.064082
| BYPL | (DERC order = |  |  |  | 23.33 | % |  |  | 0.028556 |  |  |  |  | 0.035835
| NDMC | (DERC order = |  |  |  | 4.86 | % |  |  | 0.0059486 |  |  |  |  | 0.007465
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
F) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D+E)
1) | NDPL |  |  |  | = |  |  |  |  | 5.6225 |  |  |  |  | 0.069578
2) | BRPL |  |  |  | = |  |  |  |  | 7.8143 |  |  |  |  | 0.09753
3) | BYPL |  |  |  | = |  |  |  |  | 4.2429 |  |  |  |  | 0.054955
4) | NDMC |  |  |  | = |  |  |  |  | 0.33542 |  |  |  |  | 0.011537
5) | MES |  |  |  | = |  |  |  |  | -0.12262 |  |  |  |  | 0
6) | N.Railway |  |  |  | = |  |  |  |  | 0.0064587 |  |  |  |  | 0

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st FEBRUARY-2024 TO 29th FEBRUARY-2024
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -30.0429 |  | -3.1186
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -27.5467 |  | -5.1365
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -11.3229 |  | -2.0975
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -7.1959 |  | -0.25421
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.21155 |  | -0.036622
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.1148 | + | 0.086453
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
Note:-Above Data is provided by DTL Metering Department