## NDPL
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996775 | 997966 | -1191 | 1191000 | 1.191 | 999254 | 999254 | 0 | 0 | 0
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999452 | 1000088 | -636 | 636000 | 0.636 | 998274 | 998293 | -19 | 19000 | 0.019
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12390 | 12886 | -496 | 496000 | 0.496 | 996281 | 996282 | -1 | 1000 | 0.001
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975851 | 976204 | -353 | 353000 | 0.353 | 976185 | 976190 | -5 | 5000 | 0.005
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919121 | 918825 | 296 | -296000 | -0.296 | 941078 | 941082 | -4 | 4000 | 0.004
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18768 | 18591 | 177 | -177000 | -0.177 | 17166 | 17166 | 0 | 0 | 0
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18849 | 19235 | -386 | 386000 | 0.386 | 13102 | 13104 | -2 | 2000 | 0.002
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 16697 | 17085 | -388 | 485000 | 0.485 | 995465 | 995470 | -5 | 6250 | 0.00625
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12519 | 13231 | -712 | 712000 | 0.712 | 985268 | 985271 | -3 | 3000 | 0.003
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30966 | 30942 | 24 | -24000 | -0.024 | 9097 | 9097 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995729 | 996383 | -654 | 654000 | 0.654 | 3866 | 3866 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996354 | 996562 | -208 | 208000 | 0.208 | 999335 | 999338 | -3 | 3000 | 0.003
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 916954 | 919873 | -2919 | -2919000 | -2.919 | 920513 | 920513 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994709 | 995694 | -985 | 985000 | 0.985 | 16927 | 16927 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 939 | 1655 | -716 | 716000 | 0.716 | 19649 | 19649 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 507 | 635 | -128 | 128000 | 0.128 | 999938 | 999938 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999929 | 1000000 | -71 | -14200 | -0.0142 | 993212 | 993600 | -388 | -77600 | -0.0776
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 246 | 246 | 0 | 0 | 0 | 29313 | 29388 | -75 | -75000 | -0.075
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2414 | 2342 | 72 | 7200 | 0.0072 | 154863 | 154516 | 347 | 34700 | 0.0347
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 5117 | 4845 | 272 | 27200 | 0.0272 | 228865 | 228301 | 564 | 56400 | 0.0564
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996042 | 996024 | 18 | 18000 | 0.018 | 3970 | 3928 | 42 | 42000 | 0.042
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999949 | 999945 | 4 | 4000 | 0.004 | 8114 | 7952 | 162 | 162000 | 0.162
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 647074 | 647694 | -620 | -620000 | -0.62 | 798973 | 798973 | 0 | 0 | 0
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 654647 | 655540 | -893 | -893000 | -0.893 | 832153 | 832153 | 0 | 0 | 0
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992586 | 992395 | 191 | 191000 | 0.191 | 998586 | 998585 | 1 | 1000 | 0.001
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 1252 | 1074 | 178 | 89000 | 0.089 | 2036 | 1988 | 48 | 24000 | 0.024
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14062 | 14450 | -388 | 388000 | 0.388 | 981889 | 981892 | -3 | 3000 | 0.003
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976 | 892 | 84 | -84000 | -0.084 | 999835 | 999837 | -2 | 2000 | 0.002
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992547 | 992584 | -37 | 37000 | 0.037 | 926169 | 926234 | -65 | 65000 | 0.065
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1023 | 594 | 429 | -429000 | -0.429 | 999908 | 999908 | 0 | 0 | 0
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41038 | 37442 | 3596 | -3596000 | -3.596 | 999928 | 999928 | 0 | 0 | 0
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998998 | 999284 | -286 | 286000 | 0.286 | 999999 | 999999 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
33 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1503 | 1393 | 110 | 110000 | 0.11 | 21080 | 21024 | 56 | 56000 | 0.056
34 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 295 | 233 | 62 | 62000 | 0.062 | 2028 | 2061 | -33 | -33000 | -0.033
| NDPL(+) continue | [14 empty] | OCTOBER-2013
DMS
35 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1266 | 1285 | -19 | -19000 | -0.019 | 60903 | 60901 | 2 | 2000 | 0.002
REWARI LINE
36 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 803 | 803 | 0 | 0 | 0 | 77732 | 77732 | 0 | 0 | 0
VISHAL
37 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9232 | 9229 | 3 | 300 | 0.0003 | 28866 | 28620 | 246 | 24600 | 0.0246
38 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 10472 | 10201 | 271 | 27100 | 0.0271 | 50398 | 49395 | 1003 | 100300 | 0.1003
39 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 15577 | 15545 | 32 | 3200 | 0.0032 | 52826 | 52776 | 50 | 5000 | 0.005
S.B.MILL
40 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 41909 | 40748 | 1161 | 116100 | 0.1161 | 16347 | 16155 | 192 | 19200 | 0.0192
41 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
42 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
43 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16760 | 16669 | 91 | 9100 | 0.0091 | 14647 | 14287 | 360 | 36000 | 0.036
46 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 999596 | 999838 | -242 | -10754.48 | -0.010754 | 744 | 698 | 46 | 2044.24 | 0.0020442
B.G.ROAD
47 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5338 | 5309 | 29 | 14500 | 0.0145 | 28704 | 28615 | 89 | 44500 | 0.0445
48 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3500 | 3469 | 31 | 15500 | 0.0155 | 26610 | 26546 | 64 | 32000 | 0.032
49 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 4991 | 4698 | 293 | 146500 | 0.1465 | 14543 | 14543 | 0 | 0 | 0
50 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 423 | 217 | 206 | 137333.3333 | 0.13733 | 546 | 545 | 1 | 666.6667 | 0.00066667
D.M.S.
51 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 995295 | 995692 | -397 | -39700 | -0.0397 | 5898 | 5898 | 0 | 0 | 0
52 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 8101 | 8154 | -53 | -5300 | -0.0053 | 15336 | 15336 | 0 | 0 | 0
53 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 21309 | 21310 | -1 | -100 | -0.0001 | 54092 | 54092 | 0 | 0 | 0
54 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 3921 | 2321 | 1600 | 160000 | 0.16 | 999975 | 999960 | 15 | 1500 | 0.0015
55 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998879 | 998930 | -51 | -5100 | -0.0051 | 131 | 131 | 0 | 0 | 0
56 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
57 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 16255 | 15316 | 939 | 93900 | 0.0939 | 71876 | 71859 | 17 | 1700 | 0.0017
58 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 11993 | 11216 | 777 | 77700 | 0.0777 | 62568 | 62563 | 5 | 500 | 0.0005
59 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 13418 | 12291 | 1127 | 112700 | 0.1127 | 90100 | 90091 | 9 | 900 | 0.0009
KASHMIRI GATE
60 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 132721 | 129898 | 2823 | 282300 | 0.2823 | 23936 | 24232 | -296 | -29600 | -0.0296
61 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 20288 | 19824 | 464 | 46400 | 0.0464 | 41305 | 41164 | 141 | 14100 | 0.0141
62 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 23 | 23 | 0 | 0 | 0 | 65 | 65 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
63 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
64 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999273 | 999273 | 0 | 0 | 0 | 999399 | 999399 | 0 | 0 | 0
Mundka
65 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 994101 | 994101 | 0 | 0 | 0 | 344 | 344 | 0 | 0 | 0
66 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 993613 | 994671 | -1058 | -846400 | -0.8464 | 999987 | 999987 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -0.56652 |  |  |  |  | 0.55916
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 13741 | 13556 | 185 | -18500 | -0.0185 | 14071 | 14051 | 20 | -2000 | -0.002
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8293 | 8135 | 158 | -158000 | -0.158 | 7047 | 7025 | 22 | -22000 | -0.022
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3591 | 4124 | -533 | 106600 | 0.1066 | 11798 | 11780 | 18 | -3600 | -0.0036
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14424 | 14213 | 211 | -211000 | -0.211 | 31646 | 31640 | 6 | -6000 | -0.006
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 12017 | 12260 | -243 | 24300 | 0.0243 | 61487 | 61487 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953010 | 954752 | -1742 | 1742000 | 1.742 | 992454 | 992454 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.4854 |  |  |  |  | -0.0336
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -0.56652 |  |  |  |  | 0.55916
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.4854 |  |  |  |  | -0.0336
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 2.8398 |  |  |  |  | -0.011088
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 3.7586 |  |  |  |  | 0.51447
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 3.7586 | (REACTIVE MUs) |  |  |  | 0.51447 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.25131 | (REACTIVE MUs) |  |  |  | -1.6259 | (REACTIVE MUs)
[9 empty] | TOTAL | 3.5073 | (REACTIVE MUs) |  |  |  | -1.1114 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | OCTOBER-2013
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 989264 | 988919 | 345 | 34500 | 0.0345 | 68171 | 67516 | 655 | 65500 | 0.0655
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 14331 | 15657 | -1326 | -132600 | -0.1326 | 9726 | 9747 | -21 | -2100 | -0.0021
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 19848 | 20722 | -874 | -87400 | -0.0874 | 23714 | 23751 | -37 | -3700 | -0.0037
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 3932 | 933 | 2999 | 299900 | 0.2999 | 4685 | 4066 | 619 | 61900 | 0.0619
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 10577 | 9856 | 721 | 72100 | 0.0721 | 146750 | 145744 | 1006 | 100600 | 0.1006
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 1930 | 1527 | 403 | 40300 | 0.0403 | 67641 | 68083 | -442 | -44200 | -0.0442
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997045 | 997888 | -843 | -843000 | -0.843 | 834 | 834 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999573 | 999618 | -45 | -45000 | -0.045 | 1934 | 1934 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 873 | 790 | 83 | 83000 | 0.083 | 1290 | 1289 | 1 | 1000 | 0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999713 | 999967 | -254 | -254000 | -0.254 | 2732 | 2732 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999350 | 998957 | 393 | 393000 | 0.393 | 4091 | 4090 | 1 | 1000 | 0.001
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 344 | 433 | -89 | -89000 | -0.089 | 1033 | 1034 | -1 | -1000 | -0.001
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 43 | 169 | -126 | -126000 | -0.126 | 16514 | 16514 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 549 | 625 | -76 | -76000 | -0.076 | 37091 | 37090 | 1 | 1000 | 0.001
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 290 | 265 | 25 | 25000 | 0.025 | 24477 | 24439 | 38 | 38000 | 0.038
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 699 | 736 | -37 | -37000 | -0.037 | 8353 | 8353 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 1159 | 607 | 552 | 55200 | 0.0552 | 1 | 1 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998403 | 998583 | -180 | -180000 | -0.18 | 12513 | 12515 | -2 | -2000 | -0.002
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 762242 | 765836 | -3594 | -3953400 | -3.9534
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 804992 | 808935 | -3943 | -4337300 | -4.3373
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989092 | 989240 | -148 | -148000 | -0.148 | 9122 | 9125 | -3 | -3000 | -0.003
| KASHMIRI GATE | [8 empty] | -1.2418 |  |  |  |  | -8.2557
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961845 | 962550 | -705 | 705000 | 0.705 | 966258 | 966457 | -199 | 199000 | 0.199
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975020 | 976277 | -1257 | 1257000 | 1.257 | 962296 | 962649 | -353 | 353000 | 0.353
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 23 | 23 | 0 | 0 | 0 | 65 | 65 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5 | 14 | -9 | -9000 | -0.009 | 3497 | 3507 | -10 | -10000 | -0.01
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28693 | 26684 | 2009 | -2009000 | -2.009 | 972932 | 972986 | -54 | 54000 | 0.054
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12325 | 10523 | 1802 | -1802000 | -1.802 | 968043 | 968097 | -54 | 54000 | 0.054
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997760 | 998030 | -270 | 270000 | 0.27 | 996415 | 996416 | -1 | 1000 | 0.001
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982600 | 982937 | -337 | 337000 | 0.337 | 992299 | 992305 | -6 | 6000 | 0.006
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3591 | 4124 | -533 | -106600 | -0.1066 | 11798 | 11780 | 18 | 3600 | 0.0036
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14424 | 14213 | 211 | 211000 | 0.211 | 31646 | 31640 | 6 | 6000 | 0.006
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 111608 | 111335 | 273 | 27300 | 0.0273 | 1617 | 1617 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 99708 | 93831 | 5877 | 587700 | 0.5877 | 2383 | 2383 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -1.5466 |  |  |  |  | -7.4111
| (A) NET ENERGY TO CENTRAL | [8 empty] | -1.5466 |  |  |  |  | -7.4111
OCTOBER-2013
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994668 | 994888 | -220 | 220000 | 0.22 | 918012 | 918123 | -111 | 111000 | 0.111
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13944 | 14046 | -102 | 102000 | 0.102 | 937893 | 937976 | -83 | 83000 | 0.083
| Assessment Tx-2 | 4864980 | [7 empty] | 0.016128 |  |  |  |  | 0.035136 | Y Ph. CT current missing from 19.9.13 to 15.10.13
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996899 | 997253 | -354 | 354000 | 0.354 | 982043 | 982147 | -104 | 104000 | 0.104
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919459 | 922988 | -3529 | 3529000 | 3.529 | 992037 | 992038 | -1 | 1000 | 0.001
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 909396 | 912930 | -3534 | 3534000 | 3.534 | 990458 | 990458 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1562 | 803 | 759 | -759000 | -0.759 | 992184 | 992164 | 20 | -20000 | -0.02
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998803 | 998740 | 63 | -126000 | -0.126 | 985796 | 985847 | -51 | 102000 | 0.102
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999397 | 999038 | 359 | -359000 | -0.359 | 963475 | 963564 | -89 | 89000 | 0.089
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7262 | 8479 | -1217 | 1217000 | 1.217 | 914801 | 915308 | -507 | 507000 | 0.507
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964464 | 964029 | 435 | -435000 | -0.435 | 870927 | 871084 | -157 | 157000 | 0.157
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22077 | 22139 | -62 | 62000 | 0.062 | 34073 | 34086 | -13 | 13000 | 0.013
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20671 | 20570 | 101 | -101000 | -0.101 | 43783 | 43798 | -15 | 15000 | 0.015
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 7.2541 |  |  |  |  | 1.1971
| (B) NET ENERGY TO EAST | [8 empty] | 7.2541 |  |  |  |  | 1.1971
OCTOBER-2013
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992586 | 992395 | 191 | -191000 | -0.191 | 998586 | 998585 | 1 | -1000 | -0.001
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 1252 | 1074 | 178 | -89000 | -0.089 | 2036 | 1988 | 48 | -24000 | -0.024
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 41170 | 40218 | 952 | -190400 | -0.1904 | 72223 | 72221 | 2 | -400 | -0.0004
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 70493 | 70493 | 0 | 0 | 0 | 139686 | 139686 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 984227 | 984526 | -299 | 59800 | 0.0598 | 1904 | 1905 | -1 | 200 | 0.0002
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 67524 | 66179 | 1345 | -269000 | -0.269 | 88791 | 88786 | 5 | -1000 | -0.001
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 3258 | 2424 | 834 | -667200 | -0.6672 | 1140 | 1127 | 13 | -10400 | -0.0104
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13262 | 13168 | 94 | -188000 | -0.188 | 924 | 915 | 9 | -18000 | -0.018
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 985513 | 985785 | -272 | 217600 | 0.2176 | 993049 | 993083 | -34 | 27200 | 0.0272
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 994939 | 995735 | -796 | 636800 | 0.6368 | 994960 | 995058 | -98 | 78400 | 0.0784
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 998857 | 999402 | -545 | 436000 | 0.436 | 997877 | 997963 | -86 | 68800 | 0.0688
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995747 | 996234 | -487 | 487000 | 0.487 | 37395 | 37326 | 69 | -69000 | -0.069
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 995423 | 995747 | -324 | 431998.92 | 0.432 | 999561 | 999565 | -4 | 5333.32 | 0.0053333
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1503 | 1393 | 110 | -110000 | -0.11 | 21080 | 21024 | 56 | -56000 | -0.056
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 295 | 233 | 62 | -62000 | -0.062 | 2028 | 2061 | -33 | 33000 | 0.033
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1266 | 1285 | -19 | 19000 | 0.019 | 60903 | 60901 | 2 | -2000 | -0.002
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5338 | 5309 | 29 | -14500 | -0.0145 | 28704 | 28615 | 89 | -44500 | -0.0445
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3500 | 3469 | 31 | -15500 | -0.0155 | 26610 | 26546 | 64 | -32000 | -0.032
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 4991 | 4698 | 293 | -146500 | -0.1465 | 14543 | 14543 | 0 | 0 | 0
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 423 | 217 | 206 | -137333.3333 | -0.13733 | 546 | 545 | 1 | -666.6667 | -0.00066667
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 132721 | 129898 | 2823 | -282300 | -0.2823 | 23936 | 24232 | -296 | 29600 | 0.0296
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 20288 | 19824 | 464 | -46400 | -0.0464 | 41305 | 41164 | 141 | -14100 | -0.0141
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 995295 | 995692 | -397 | 39700 | 0.0397 | 5898 | 5898 | 0 | 0 | 0
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 8101 | 8154 | -53 | 5300 | 0.0053 | 15336 | 15336 | 0 | 0 | 0
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 21309 | 21310 | -1 | 100 | 0.0001 | 54092 | 54092 | 0 | 0 | 0
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 3921 | 2321 | 1600 | -160000 | -0.16 | 999975 | 999960 | 15 | -1500 | -0.0015
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998879 | 998930 | -51 | 5100 | 0.0051 | 131 | 131 | 0 | 0 | 0
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 16255 | 15316 | 939 | -93900 | -0.0939 | 71876 | 71859 | 17 | -1700 | -0.0017
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 11993 | 11216 | 777 | -77700 | -0.0777 | 62568 | 62563 | 5 | -500 | -0.0005
31 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 13418 | 12291 | 1127 | -112700 | -0.1127 | 90100 | 90091 | 9 | -900 | -0.0009
[10 empty] | -0.51503 |  |  |  |  | -0.035133
OCTOBER-2013
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -1.5466 |  |  |  |  | -7.4111
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.51503 |  |  |  |  | -0.035133
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.4037 |  |  |  |  | -0.0002
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -3.4653 |  |  |  |  | -7.4464
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 7.2541 |  |  |  |  | 1.1971
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 3.7888 |  |  |  |  | -6.2493
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 3.7888 | (REACTIVE MUs) |  |  |  | -6.2493 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.20811 | (REACTIVE MUs) |  |  |  | -1.3464 | (REACTIVE MUs)
[9 empty] | TOTAL | 3.5807 | (REACTIVE MUs) |  |  |  | -7.5957 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | OCTOBER-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 998090 | 998060 | 30 | 120000 | 0.12 | 8808 | 8825 | -17 | -68000 | -0.068
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988313 | 988231 | 82 | 109333.06 | 0.10933 | 674011 | 674011 | 0 | 0 | 0
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6993 | 6993 | 0 | 0 | 0 | 65274 | 65300 | -26 | -26000 | -0.026
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11612 | 11483 | 129 | 129000 | 0.129 | 999554 | 999535 | 19 | 19000 | 0.019
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 10216 | 9299 | 917 | 91700 | 0.0917 | 126243 | 125686 | 557 | 55700 | 0.0557
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 30895 | 26798 | 4097 | 409700 | 0.4097 | 245111 | 245108 | 3 | 300 | 0.0003
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 6662 | 7282 | -620 | -62000 | -0.062 | 392859 | 392985 | -126 | -12600 | -0.0126
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999111 | 999223 | -112 | -100800 | -0.1008 | 998591 | 998636 | -45 | -40500 | -0.0405
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990504 | 990856 | -352 | 352000 | 0.352 | 946174 | 946356 | -182 | 182000 | 0.182
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988130 | 988610 | -480 | 480000 | 0.48 | 951184 | 951294 | -110 | 110000 | 0.11
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982672 | 983798 | -1126 | 1126000 | 1.126 | 930415 | 930508 | -93 | 93000 | 0.093
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996081 | 996476 | -395 | 395000 | 0.395 | 950698 | 950753 | -55 | 55000 | 0.055
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996873 | 998120 | -1247 | 1247000 | 1.247 | 980412 | 980438 | -26 | 26000 | 0.026
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15058 | 14584 | 474 | -474000 | -0.474 | 985418 | 985452 | -34 | 34000 | 0.034
16 | Tx.2 | 5128460 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998457 | 1000000 | -1543 | -1543000 | -1.543 | 2 | 0 | 2 | 2000 | 0.002 | New Meter wef-8/10/13 (Reverse Polarity)
NAJAFGARH
17 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2799 | 2727 | 72 | -72000 | -0.072 | 999531 | 999539 | -8 | 8000 | 0.008
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11749 | 11441 | 308 | -308000 | -0.308 | 1957 | 1979 | -22 | 22000 | 0.022
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26935 | 27149 | -214 | 214000 | 0.214 | 6302 | 6312 | -10 | 10000 | 0.01
20 | Tx.4 | 4865012 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39440 | 38045 | 1395 | -1395000 | -1.395 | 31940 | 31943 | -3 | 3000 | 0.003 | Check Meter Data used
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8293 | 8135 | 158 | 158000 | 0.158 | 7047 | 7025 | 22 | 22000 | 0.022
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 914384 | 916516 | -2132 | 2132000 | 2.132 | 890303 | 890609 | -306 | 306000 | 0.306
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961501 | 962553 | -1052 | 1052000 | 1.052 | 857225 | 857649 | -424 | 424000 | 0.424
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999783 | 1000162 | -379 | 379000 | 0.379 | 973254 | 973540 | -286 | 286000 | 0.286
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 194 | 619 | -425 | 425000 | 0.425 | 957041 | 957664 | -623 | 623000 | 0.623
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996371 | 997584 | -1213 | 1213000 | 1.213 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998806 | 999132 | -326 | 326000 | 0.326 | 889929 | 890013 | -84 | 84000 | 0.084
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998033 | 998389 | -356 | 356000 | 0.356 | 869275 | 869327 | -52 | 52000 | 0.052
BRPL(+) continue | [14 empty] | OCTOBER-2013
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997397 | 997643 | -246 | 246000 | 0.246 | 972766 | 972821 | -55 | 55000 | 0.055
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998805 | 998897 | -92 | 92000 | 0.092 | 989057 | 989269 | -212 | 212000 | 0.212
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 994346 | 994101 | 245 | -490000 | -0.49 | 970107 | 970107 | 0 | 0 | 0
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996970 | 997145 | -175 | 175000 | 0.175 | 915363 | 915780 | -417 | 417000 | 0.417
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995797 | 996450 | -653 | 653000 | 0.653 | 928164 | 928308 | -144 | 144000 | 0.144
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996837 | 997061 | -224 | 224000 | 0.224 | 920733 | 921051 | -318 | 318000 | 0.318
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 992875 | 993507 | -632 | 421332.912 | 0.42133 | 984337 | 984338 | -1 | 666.666 | 0.00066667
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1142 | 1094 | 48 | -96000 | -0.096 | 1475 | 1467 | 8 | -16000 | -0.016
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998035 | 997971 | 64 | -128000 | -0.128 | 627 | 623 | 4 | -8000 | -0.008
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951154 | 953488 | -2334 | 2334000 | 2.334 | 995781 | 995799 | -18 | 18000 | 0.018
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961337 | 962861 | -1524 | 1524000 | 1.524 | 996070 | 996223 | -153 | 153000 | 0.153
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 994101 | 994101 | 0 | 0 | 0 | 1447 | 1447 | 0 | 0 | 0
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 18307 | 15415 | 2892 | 2313600 | 2.3136 | 1045 | 1045 | 0 | 0 | 0
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 958516 | 961390 | -2874 | -2299200 | -2.2992 | 999692 | 999692 | 0 | 0 | 0
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995747 | 996234 | -487 | -487000 | -0.487 | 37395 | 37326 | 69 | 69000 | 0.069
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 995423 | 995747 | -324 | -431998.92 | -0.432 | 999561 | 999565 | -4 | -5333.32 | -0.0053333
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8532 | 8453 | 79 | -79000 | -0.079 | 975131 | 975275 | -144 | 144000 | 0.144
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999388 | 999330 | 58 | -58000 | -0.058 | 989757 | 989827 | -70 | 70000 | 0.07
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 13741 | 13556 | 185 | 18500 | 0.0185 | 14071 | 14051 | 20 | 2000 | 0.002
SUDARSHAN PARK
51 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 12017 | 12260 | -243 | -24300 | -0.0243 | 61487 | 61487 | 0 | 0 | 0
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 953010 | 954752 | -1742 | -1742000 | -1.742 | 992454 | 992454 | 0 | 0 | 0
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1396 | 1411 | -15 | -1500 | -0.0015 | 9881 | 9727 | 154 | 15400 | 0.0154
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 8863 | 8710 | 153 | 15300 | 0.0153 | 21697 | 21118 | 579 | 57900 | 0.0579
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 8.9397 |  |  |  |  | 3.9165
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 36375 | 36375 | 0 | 0 | 0 | 891565 | 891565 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 111608 | 111335 | 273 | -27300 | -0.0273 | 1617 | 1617 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 99708 | 93831 | 5877 | -587700 | -0.5877 | 2383 | 2383 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 997697 | 998003 | -306 | 30600 | 0.0306 | 999978 | 999978 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996797 | 996801 | -4 | 400 | 0.0004 | 999920 | 999920 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1152 | 1130 | 22 | -44000 | -0.044 | 73243 | 73243 | 0 | 0 | 0
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5602 | 3906 | 1696 | -1696000 | -1.696 | 81 | 81 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 890227 | 890227 | 0 | 0 | 0 | 54461 | 54461 | 0 | 0 | 0
| NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 891972 | 890227 | 1745 | -872500 | -0.8725 | 54462 | 54461 | 1 | -500 | -0.0005 | CT revised from 400/5 to 400/1 on 3/10/13
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 57364 | 56947 | 417 | -41700 | -0.0417 | 58833 | 58673 | 160 | -16000 | -0.016
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 49096 | 47618 | 1478 | -147800 | -0.1478 | 56893 | 56841 | 52 | -5200 | -0.0052
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 84858 | 84512 | 346 | -69200 | -0.0692 | 112978 | 112944 | 34 | -6800 | -0.0068
EXPORTS(*)
A.I.I.M.S.
12 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 3025 | 3471 | -446 | -223000 | -0.223 | 17890 | 18041 | -151 | -75500 | -0.0755
13 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.3333 | 3889 | 3889 | 0 | 0 | 0 | 979525 | 979525 | 0 | 0 | 0
14 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 990679 | 990679 | 0 | 0 | 0 | 993688 | 993688 | 0 | 0 | 0
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 290525 | 289333 | 1192 | -119200 | -0.1192 | 44318 | 44294 | 24 | -2400 | -0.0024
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3466 | 2386 | 1080 | -108000 | -0.108 | 18145 | 18025 | 120 | -12000 | -0.012
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 803 | 803 | 0 | 0 | 0 | 77732 | 77732 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9232 | 9229 | 3 | -300 | -0.0003 | 28866 | 28620 | 246 | -24600 | -0.0246
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 10472 | 10201 | 271 | -27100 | -0.0271 | 50398 | 49395 | 1003 | -100300 | -0.1003
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 15577 | 15545 | 32 | -3200 | -0.0032 | 52826 | 52776 | 50 | -5000 | -0.005
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 41909 | 40748 | 1161 | -116100 | -0.1161 | 16347 | 16155 | 192 | -19200 | -0.0192
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16760 | 16669 | 91 | -9100 | -0.0091 | 14647 | 14287 | 360 | -36000 | -0.036
28 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 999596 | 999838 | -242 | 10754.48 | 0.010754 | 744 | 698 | 46 | -2044.24 | -0.0020442
29 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999273 | 999273 | 0 | 0 | 0 | 999399 | 999399 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -4.0504 |  |  |  |  | -0.30554
OCTOBER-2013
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 8.9397 |  |  |  |  | 3.9165
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -4.0504 |  |  |  |  | -0.30554
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 2.5906 |  |  |  |  | 0.1615
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.226 |  |  |  |  | -0.1104
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 7.2538 |  |  |  |  | 3.6621
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 7.2538 | (REACTIVE MUs) |  |  |  | 3.6621 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.3518 | (REACTIVE MUs) |  |  |  | -2.276 | (REACTIVE MUs)
[9 empty] | TOTAL | 6.902 | (REACTIVE MUs) |  |  |  | 1.3861 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 41170 | 40218 | 952 | 190400 | 0.1904 | 72223 | 72221 | 2 | 400 | 0.0004
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 70493 | 70493 | 0 | 0 | 0 | 139686 | 139686 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 984227 | 984526 | -299 | -59800 | -0.0598 | 1904 | 1905 | -1 | -200 | -0.0002
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 67524 | 66179 | 1345 | 269000 | 0.269 | 88791 | 88786 | 5 | 1000 | 0.001
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 3258 | 2424 | 834 | 667200 | 0.6672 | 1140 | 1127 | 13 | 10400 | 0.0104
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13262 | 13168 | 94 | 188000 | 0.188 | 924 | 915 | 9 | 18000 | 0.018
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 985513 | 985785 | -272 | -217600 | -0.2176 | 993049 | 993083 | -34 | -27200 | -0.0272
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 994939 | 995735 | -796 | -636800 | -0.6368 | 994960 | 995058 | -98 | -78400 | -0.0784
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 998857 | 999402 | -545 | -436000 | -0.436 | 997877 | 997963 | -86 | -68800 | -0.0688
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999006 | 998990 | 16 | 1600 | 0.0016 | 363673 | 361066 | 2607 | 260700 | 0.2607
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6605 | 6436 | 169 | 16900 | 0.0169 | 470826 | 468877 | 1949 | 194900 | 0.1949
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 12236 | 12236 | 0 | 0 | 0 | 353734 | 347469 | 6265 | 626500 | 0.6265
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5300 | 5453 | -153 | -15300 | -0.0153 | 351098 | 352101 | -1003 | -100300 | -0.1003
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 997754 | 997754 | 0 | 0 | 0 | 295752 | 293626 | 2126 | 212600 | 0.2126
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 163 | 344 | -181 | -18100 | -0.0181 | 175798 | 175558 | 240 | 24000 | 0.024
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13432 | 13432 | 0 | 0 | 0 | 260211 | 261342 | -1131 | -113100 | -0.1131
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 51202 | 50764 | 438 | 43800 | 0.0438 | 704426 | 704101 | 325 | 32500 | 0.0325
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 73466 | 71980 | 1486 | 1634600 | 1.6346
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3360 | 3359 | 1 | 1000 | 0.001 | 37899 | 37807 | 92 | 92000 | 0.092
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 142343 | 141458 | 885 | 973500 | 0.9735
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8984 | 9116 | -132 | -132000 | -0.132 | 53191 | 53144 | 47 | 47000 | 0.047
[10 empty] | -0.131 |  |  |  |  | 2.7471
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1152 | 1130 | 22 | 44000 | 0.044 | 73243 | 73243 | 0 | 0 | 0
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5602 | 3906 | 1696 | 1696000 | 1.696 | 81 | 81 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 890227 | 890227 | 0 | 0 | 0 | 54461 | 54461 | 0 | 0 | 0
| NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 891972 | 890227 | 1745 | 872500 | 0.8725 | 54462 | 54461 | 1 | 500 | 0.0005 | CTR revised from 400/5 to 400/1 on 3/10/13
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 3025 | 3471 | -446 | 223000 | 0.223 | 17890 | 18041 | -151 | 75500 | 0.0755
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 3889 | 3889 | 0 | 0 | 0 | 979525 | 979525 | 0 | 0 | 0
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 990679 | 990679 | 0 | 0 | 0 | 993688 | 993688 | 0 | 0 | 0
OCTOBER-2013
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985003 | 984763 | 240 | -240000 | -0.24 | 992141 | 992310 | -169 | 169000 | 0.169
ELECTRIC LANE
27 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992226 | 994400 | -2174 | 2174000 | 2.174 | 990826 | 990927 | -101 | 101000 | 0.101
KIDWAI NAGAR
28 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 290525 | 289333 | 1192 | 119200 | 0.1192 | 44318 | 44294 | 24 | 2400 | 0.0024
EXHIBITION I
29 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3466 | 2386 | 1080 | 108000 | 0.108 | 18145 | 18025 | 120 | 12000 | 0.012
30 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
31 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 57364 | 56947 | 417 | 41700 | 0.0417 | 58833 | 58673 | 160 | 16000 | 0.016
32 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 49096 | 47618 | 1478 | 147800 | 0.1478 | 56893 | 56841 | 52 | 5200 | 0.0052
33 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 84858 | 84512 | 346 | 69200 | 0.0692 | 112978 | 112944 | 34 | 6800 | 0.0068
TILAK MARG
34 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 36375 | 36375 | 0 | 0 | 0 | 891565 | 891565 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1396 | 1411 | -15 | 1500 | 0.0015 | 9881 | 9727 | 154 | -15400 | -0.0154
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 8863 | 8710 | 153 | -15300 | -0.0153 | 21697 | 21118 | 579 | -57900 | -0.0579
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 5.1039 |  |  |  |  | 4.0552
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 5.1039 |  |  |  |  | 4.0552
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.043863 |  |  |  |  | -0.28378
| TOTAL ENERGY TO NDMC | [8 empty] | 5.06 |  |  |  |  | 3.7714

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2013
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 755 | 732 | 23 | 23000 | 0.023 | 23053 | 22942 | 111 | 111000 | 0.111
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 508 | 496 | 12 | 12000 | 0.012 | 25875 | 25781 | 94 | 94000 | 0.094
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1280 | 1275 | 5 | 5000 | 0.005 | 33688 | 33563 | 125 | 125000 | 0.125
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 941 | 930 | 11 | 11000 | 0.011 | 18339 | 18313 | 26 | 26000 | 0.026
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3220 | 3131 | 89 | 89000 | 0.089 | 10167 | 10164 | 3 | 3000 | 0.003
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 997697 | 998003 | -306 | -30600 | -0.0306 | 999978 | 999978 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996797 | 996801 | -4 | -400 | -0.0004 | 999920 | 999920 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.109 |  |  |  |  | 0.359
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 45059 | 44621 | 438 | 43800 | 0.0438 | 71663 | 71407 | 256 | 25600 | 0.0256
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 72215 | 72003 | 212 | 21200 | 0.0212 | 11074 | 10965 | 109 | 10900 | 0.0109
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 39763 | 38273 | 1490 | 149000 | 0.149 | 59351 | 58916 | 435 | 43500 | 0.0435
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 81270 | 81150 | 120 | 12000 | 0.012 | 58129 | 57825 | 304 | 30400 | 0.0304
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 5076 | 5041 | 35 | 3500 | 0.0035 | 1677 | 1654 | 23 | 2300 | 0.0023
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.226 |  |  |  |  | 0.1104
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.226 |  |  |  |  | 0.1104
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.109 |  |  |  |  | 0.359
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.335 |  |  |  |  | 0.4694
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.335 | (REACTIVE MUs) |  |  |  | 0.4694 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0067212 | (REACTIVE MUs) |  |  |  | -0.043484 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.32828 | (REACTIVE MUs) |  |  |  | 0.42592 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2013
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 46716 | 49556 | -2840 | -284000 | -0.284 | 79296 | 79295 | 1 | 100 | 0.0001
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 994337 | 993348 | 989 | 98900 | 0.0989 | 999177 | 999177 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 229691 | 225898 | 3793 | 379300 | 0.3793 | 98151 | 98151 | 0 | 0 | 0
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 28558 | 26900 | 1658 | 1554375 | 1.5544 | 18447 | 18447 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 987423 | 989089 | -1666 | 833000 | 0.833 | 925450 | 925462 | -12 | 6000 | 0.006
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989806 | 989824 | -18 | 9000 | 0.009 | 981061 | 981373 | -312 | 156000 | 0.156
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 17 | 17 | 0 | 0 | 0 | 2 | 4 | -2 | -600 | -0.0006
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 2.5906 |  |  |  |  | 0.1615
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 937422 | 939309 | -1887 | -377400 | -0.3774 | 991753 | 991753 | 0 | 0 | 0
9 | O/G DMS | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 773765 | 784028 | -10263 | -1026300 | -1.0263 | 928316 | 928318 | -2 | -200 | -0.0002 | Check Meter Data used
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.4037 |  |  |  |  | -0.0002
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 221777 | 216235 | 5542 | 1108400 | 1.1084 | 263805 | 263804 | 1 | 200 | 0.0002
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 95190 | 92359 | 2831 | 566200 | 0.5662 | 41507 | 41506 | 1 | 200 | 0.0002
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 150604 | 145230 | 5374 | 537400 | 0.5374 | 72389 | 72388 | 1 | 100 | 0.0001
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989444 | 989128 | 316 | 316000 | 0.316 | 998402 | 998402 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 968464 | 969687 | -1223 | -122300 | -0.1223 | 7159 | 7159 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999448 | 999443 | 5 | 4687.5 | 0.0046875 | 28 | 41 | -13 | -12187.5 | -0.012188
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 988536 | 989223 | -687 | 429375 | 0.42938 | 995547 | 995547 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 17 | 17 | 0 | 0 | 0 | 2 | 4 | -2 | 600 | 0.0006
| TOTAL NDPL | [8 empty] | 2.8398 |  |  |  |  | -0.011088
| E) NET EXPORT TO BSES RPL | [8 empty] | 2.5906 |  |  |  |  | 0.1615
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.4037 |  |  |  |  | -0.0002
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 2.8398 |  |  |  |  | -0.011088

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2013
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 1000037 | 999799 | 238 | 476000 | 0.476 | 999956 | 999948 | 8 | 16000 | 0.016
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 12372 | 12158 | 214 | 428000 | 0.428 | 2277 | 2266 | 11 | 22000 | 0.022
[7 empty] | NET REACTIVE ENERGY |  |  | 0.904 |  | NET REACTIVE ENERGY |  |  | 0.038
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 993905 | 994333 | -428 | -428000 | -0.428 | 39639 | 39639 | 0 | 0 | 0
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 996193 | 996158 | 35 | 35000 | 0.035 | 994866 | 994971 | -105 | -105000 | -0.105
[7 empty] | NET REACTIVE ENERGY |  |  | -0.393 |  | NET REACTIVE ENERGY |  |  | -0.105
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.511 |  |  |  |  | -0.067
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.2418 |  |  |  |  | -8.2557
[7 empty] | NDMC = |  |  | -0.131 |  |  |  |  | 2.7471
MES =
[7 empty] | 2)TOTAL |  |  | -1.3728 |  |  |  |  | -5.5086
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.8618 |  |  |  |  | -5.5756
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.1606 | % |  |  | -0.25131 |  |  |  |  | -1.6259
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.8212 | % |  |  | -0.3518 |  |  |  |  | -2.276
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.1486 | % |  |  | -0.20811 |  |  |  |  | -1.3464
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.0897 | % |  |  | -0.043863 |  |  |  |  | -0.28378
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7799 | % |  |  | -0.0067212 |  |  |  |  | -0.043484
Note :Sharing taken from wk-27 abt bill 2013-14

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st OCTOBER-2013 TO 31st OCTOBER-2013
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 3.5073 |  | -1.1114
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 6.902 | + | 1.3861
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 3.5807 |  | -7.5957
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 5.06 | + | 3.7714
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.32828 | + | 0.42592
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2013 | INTIAL READING 01/10/2013 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 959045 | 960358 | -1313 | -1969500 | -1.9695 | 981015 | 981015 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 998884 | 999472 | -588 | -882000 | -0.882 | 995979 | 995979 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 913714 | 915978 | -2264 | -3396000 | -3.396 | 966279 | 966279 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -6.2475 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997608 | 997477 | 131 | 655000 | 0.655 | 31052 | 31083 | -31 | -155000 | -0.155
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999634 | 999634 | 0 | 0 | 0 | 3382 | 3426 | -44 | -44000 | -0.044
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 970155 | 970302 | -147 | -147000 | -0.147 | 990105 | 990153 | -48 | -48000 | -0.048
[8 empty] | NET REACTIVE ENERGY |  | 0.508 |  |  | NET REACTIVE ENERGY |  | -0.247