## NDPL
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989645 | 990336 | -691 | 691000 | 0.691 | 995963 | 995965 | -2 | 2000 | 0.002
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993292 | 994141 | -849 | 849000 | 0.849 | 996316 | 996317 | -1 | 1000 | 0.001
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3238 | 4345 | -1107 | 1107000 | 1.107 | 996169 | 996171 | -2 | 2000 | 0.002
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974253 | 974252 | 1 | -1000 | -0.001 | 972077 | 972083 | -6 | 6000 | 0.006
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917053 | 917215 | -162 | 162000 | 0.162 | 933750 | 933778 | -28 | 28000 | 0.028
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23028 | 22971 | 57 | -57000 | -0.057 | 17964 | 17967 | -3 | 3000 | 0.003
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11917 | 12387 | -470 | 470000 | 0.47 | 11637 | 11648 | -11 | 11000 | 0.011
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 13832 | 14204 | -372 | 465000 | 0.465 | 994575 | 994581 | -6 | 7500 | 0.0075
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15617 | 6430 | 9187 | -9187000 | -9.187 | 983902 | 983906 | -4 | 4000 | 0.004
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30337 | 31026 | -689 | 689000 | 0.689 | 9032 | 9032 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991089 | 991830 | -741 | 741000 | 0.741 | 3213 | 3213 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990936 | 991702 | -766 | 766000 | 0.766 | 998017 | 998017 | 0 | 0 | 0
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 893140 | 896821 | -3681 | -3681000 | -3.681 | 920488 | 920488 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987271 | 987631 | -360 | 360000 | 0.36 | 16836 | 16836 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998318 | 998434 | -116 | 116000 | 0.116 | 20152 | 20152 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2337 | 2189 | 148 | -148000 | -0.148 | 999980 | 999980 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999926 | 999926 | 0 | 0 | 0 | 985921 | 987017 | -1096 | -219200 | -0.2192
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 661 | 661 | 0 | 0 | 0 | 29477 | 29605 | -128 | -128000 | -0.128
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 4722 | 4391 | 331 | 33100 | 0.0331 | 161577 | 161576 | 1 | 100 | 0.0001
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 19554 | 15737 | 3817 | 381700 | 0.3817 | 240823 | 240823 | 0 | 0 | 0
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996431 | 996348 | 83 | 83000 | 0.083 | 3602 | 3603 | -1 | -1000 | -0.001
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 449 | 321 | 128 | 128000 | 0.128 | 8324 | 8382 | -58 | -58000 | -0.058
[15 empty] | 0.056 | Assessment October 2014
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 639390 | 639892 | -502 | -502000 | -0.502 | 797622 | 797623 | -1 | -1000 | -0.001
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 648222 | 648449 | -227 | -227000 | -0.227 | 830705 | 830705 | 0 | 0 | 0
25 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 2294 | 2041 | 253 | 101200 | 0.1012 | 999653 | 999653 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 2704 | 2630 | 74 | 37000 | 0.037 | 4164 | 4168 | -4 | -2000 | -0.002
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16340 | 15689 | 651 | -651000 | -0.651 | 981108 | 981108 | 0 | 0 | 0
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5558 | 6021 | -463 | 463000 | 0.463 | 999444 | 999444 | 0 | 0 | 0
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998115 | 997037 | 1078 | -1078000 | -1.078 | 924247 | 924247 | 0 | 0 | 0
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4142 | 3453 | 689 | -689000 | -0.689 | 999153 | 999188 | -35 | 35000 | 0.035
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 58449 | 56982 | 1467 | -1467000 | -1.467 | 2562 | 2551 | 11 | -11000 | -0.011
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999852 | 999911 | -59 | 59000 | 0.059 | 998731 | 998731 | 0 | 0 | 0
33 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2438 | 2438 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
WAZIRPUR
34 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999252 | 999792 | -540 | 540000 | 0.54 | 999993 | 999993 | 0 | 0 | 0
35 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999916 | 999817 | 99 | -99000 | -0.099 | 999995 | 999995 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
36 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1776 | 1766 | 10 | 10000 | 0.01 | 23391 | 23266 | 125 | 125000 | 0.125
37 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 230 | 214 | 16 | 16000 | 0.016 | 2829 | 2697 | 132 | 132000 | 0.132
| NDPL(+) continue | [14 empty] | OCTOBER-2014
DMS
38 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1259 | 1274 | -15 | -15000 | -0.015 | 61321 | 61321 | 0 | 0 | 0
REWARI LINE
39 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 168964 | 168402 | 562 | 70250 | 0.07025 | 260317 | 260374 | -57 | -7125 | -0.007125
VISHAL
40 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9342 | 9371 | -29 | -2900 | -0.0029 | 29020 | 29011 | 9 | 900 | 0.0009
41 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11175 | 11078 | 97 | 9700 | 0.0097 | 57682 | 57163 | 519 | 51900 | 0.0519
42 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 17383 | 17255 | 128 | 12800 | 0.0128 | 60774 | 60073 | 701 | 70100 | 0.0701
S.B.MILL
43 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 4290 | 3887 | 403 | 40300 | 0.0403 | 3938 | 3814 | 124 | 12400 | 0.0124
44 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
45 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
46 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
47 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17739 | 17551 | 188 | 18800 | 0.0188 | 19485 | 19249 | 236 | 23600 | 0.0236
49 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 997858 | 998168 | -310 | -13776.4 | -0.013776 | 532 | 489 | 43 | 1910.92 | 0.0019109
B.G.ROAD
50 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5631 | 5629 | 2 | 1000 | 0.001 | 31320 | 31115 | 205 | 102500 | 0.1025
51 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3790 | 3786 | 4 | 2000 | 0.002 | 29046 | 28941 | 105 | 52500 | 0.0525
52 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6233 | 6158 | 75 | 37500 | 0.0375 | 14891 | 14891 | 0 | 0 | 0
53 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 1268 | 1131 | 137 | 91333.3333 | 0.091333 | 935 | 935 | 0 | 0 | 0
D.M.S.
54 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) |  | 999915 | 999965 | -50 | 0 | 0 | 21 | 21 | 0 | 0 | 0
55 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7772 | 7786 | -14 | -1400 | -0.0014 | 15271 | 15271 | 0 | 0 | 0
56 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23885 | 23592 | 293 | 29300 | 0.0293 | 57130 | 57127 | 3 | 300 | 0.0003
57 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 4490 | 4490 | 0 | 0 | 0 | 999953 | 999953 | 0 | 0 | 0
58 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998603 | 998622 | -19 | -1900 | -0.0019 | 61 | 61 | 0 | 0 | 0
59 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | 100 | 175710 | 174140 | 1570 | 157000 | 0.157 | 49974 | 49974 | 0 | 0 | 0
61 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 17381 | 16862 | 519 | 51900 | 0.0519 | 64448 | 64445 | 3 | 300 | 0.0003
62 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 5328 | 4473 | 855 | 85500 | 0.0855 | 1573 | 1567 | 6 | 600 | 0.0006
KASHMIRI GATE
63 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 151203 | 149930 | 1273 | 127300 | 0.1273 | 20888 | 20767 | 121 | 12100 | 0.0121
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 22468 | 21939 | 529 | 52900 | 0.0529 | 44418 | 44418 | 0 | 0 | 0
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 23 | 23 | 0 | 0 | 0 | 382 | 382 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 1 | 1 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
Mundka
68 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 990516 | 991719 | -1203 | -962400 | -0.9624 | 264 | 264 | 0 | 0 | 0
69 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 992335 | 991105 | 1230 | 984000 | 0.984 | 73 | 73 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -8.7448 |  |  |  |  | 0.31439
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 17259 | 17112 | 147 | -14700 | -0.0147 | 16023 | 15949 | 74 | -7400 | -0.0074
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10548 | 10526 | 22 | -22000 | -0.022 | 7595 | 7591 | 4 | -4000 | -0.004
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3794 | 3900 | -106 | 21200 | 0.0212 | 15073 | 15096 | -23 | 4600 | 0.0046
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15810 | 15810 | 0 | 0 | 0 | 35056 | 35056 | 0 | 0 | 0
[10 empty] | 0 |  |  |  |  | -0.078 | Assessment
| O/G BG Rd.2 | 4864877 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999527 | 999472 | 55 | -55000 | -0.055 | 937 | 937 | 0 | 0 | 0 | W.e.f 11/10/2014
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 11168 | 11329 | -161 | 16100 | 0.0161 | 61454 | 61480 | -26 | 2600 | 0.0026
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 940013 | 943351 | -3338 | 3338000 | 3.338 | 991947 | 991947 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999430 | 999430 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 3.2836 |  |  |  |  | -0.0822
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -8.7448 |  |  |  |  | 0.31439
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 3.2836 |  |  |  |  | -0.0822
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.0978 |  |  |  |  | -0.06705
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -4.3634 |  |  |  |  | 0.16514
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.3634 | (REACTIVE MUs) |  |  |  | 0.16514 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.57002 | (REACTIVE MUs) |  |  |  | -2.0588 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.7934 | (REACTIVE MUs) |  |  |  | -1.8937 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | OCTOBER-2014
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 1005170 | 992728 | 12442 | 1244200 | 1.2442 | 81212 | 81945 | -733 | -73300 | -0.0733
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 17412 | 16471 | 941 | 94100 | 0.0941 | 38236 | 38116 | 120 | 12000 | 0.012
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 600 | 1000528 | 999967 | 561 | 336600 | 0.3366 | 5477 | 5470 | 7 | 4200 | 0.0042
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 2031 | 2031 | 0 | 0 | 0 | 2292 | 2292 | 0 | 0 | 0 | Metering not in order
[10 empty] | 0 |  |  |  |  | 0.0171 | Assessment
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 11459 | 10274 | 1185 | 118500 | 0.1185 | 164360 | 163779 | 581 | 58100 | 0.0581
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 9213 | 5772 | 3441 | 344100 | 0.3441 | 122647 | 121901 | 746 | 74600 | 0.0746
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993444 | 993608 | -164 | -164000 | -0.164 | 947 | 948 | -1 | -1000 | -0.001
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998661 | 998709 | -48 | -48000 | -0.048 | 2030 | 2030 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 542 | 711 | -169 | -169000 | -0.169 | 1540 | 1540 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998578 | 998704 | -126 | -126000 | -0.126 | 2688 | 2688 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998697 | 999083 | -386 | -386000 | -0.386 | 4442 | 4442 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 163 | 248 | -85 | -85000 | -0.085 | 2293 | 2247 | 46 | 46000 | 0.046
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999762 | 999877 | -115 | -115000 | -0.115 | 16729 | 16730 | -1 | -1000 | -0.001
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1428 | 1556 | -128 | -128000 | -0.128 | 37359 | 37374 | -15 | -15000 | -0.015
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 181 | 258 | -77 | -77000 | -0.077 | 27536 | 27539 | -3 | -3000 | -0.003
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1450 | 1478 | -28 | -28000 | -0.028 | 9303 | 9303 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 7355 | 6912 | 443 | 44300 | 0.0443 | 250 | 250 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998613 | 998570 | 43 | 43000 | 0.043 | 14136 | 14136 | 0 | 0 | 0
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 719729 | 723306 | -3577 | -3934700 | -3.9347
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 758319 | 762198 | -3879 | -4266900 | -4.2669
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985796 | 986208 | -412 | -412000 | -0.412 | 9080 | 9080 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -1.6507 |  |  |  |  | -8.1756
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958164 | 958207 | -43 | 43000 | 0.043 | 949298 | 949336 | -38 | 38000 | 0.038
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968251 | 968762 | -511 | 511000 | 0.511 | 955464 | 955507 | -43 | 43000 | 0.043
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 23 | 23 | 0 | 0 | 0 | 382 | 382 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 286 | 140 | 146 | 146000 | 0.146 | 6020 | 6019 | 1 | 1000 | 0.001
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44254 | 44254 | 0 | 0 | 0 | 974200 | 974200 | 0 | 0 | 0
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24520 | 23998 | 522 | -522000 | -0.522 | 969802 | 969679 | 123 | -123000 | -0.123
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995512 | 995524 | -12 | 12000 | 0.012 | 996010 | 996092 | -82 | 82000 | 0.082
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975671 | 975619 | 52 | -52000 | -0.052 | 992394 | 992487 | -93 | 93000 | 0.093
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | 2000 | 491 | 182 | 309 | 618000 | 0.618 | 999790 | 999809 | -19 | -38000 | -0.038
32 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | 2000 | 436 | 143 | 293 | 586000 | 0.586 | 999998 | 999998 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3794 | 3900 | -106 | -21200 | -0.0212 | 15073 | 15096 | -23 | -4600 | -0.0046
34 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15810 | 15810 | 0 | 0 | 0 | 35056 | 35056 | 0 | 0 | 0
[10 empty] | 0 |  |  |  |  | 0.078 | Assessment
| O/G BG Rd.2 | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999527 | 999472 | 55 | 55000 | 0.055 | 937 | 937 | 0 | 0 | 0 | w.e.f 11/10/2014
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 102718 | 104139 | -1421 | -142100 | -0.1421 | 1595 | 1595 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 155147 | 148728 | 6419 | 641900 | 0.6419 | 4522 | 4522 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 2.3624 |  |  |  |  | -7.9135
| (A) NET ENERGY TO CENTRAL | [8 empty] | 2.3624 |  |  |  |  | -7.9135
OCTOBER-2014
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989282 | 991027 | -1745 | 1745000 | 1.745 | 908479 | 908484 | -5 | 5000 | 0.005
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10648 | 12028 | -1380 | 1380000 | 1.38 | 927899 | 927910 | -11 | 11000 | 0.011
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990186 | 992095 | -1909 | 1909000 | 1.909 | 973212 | 973214 | -2 | 2000 | 0.002
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 897122 | 899525 | -2403 | 2403000 | 2.403 | 990326 | 990326 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 885468 | 887897 | -2429 | 2429000 | 2.429 | 988831 | 988831 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4541 | 4665 | -124 | 124000 | 0.124 | 984468 | 985142 | -674 | 674000 | 0.674
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999771 | 999777 | -6 | 12000 | 0.012 | 976929 | 977492 | -563 | 1126000 | 1.126
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999390 | 999469 | -79 | 79000 | 0.079 | 945355 | 946709 | -1354 | 1354000 | 1.354
GEETA COLONY
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994560 | 998572 | -4012 | 4012000 | 4.012 | 991643 | 991654 | -11 | 11000 | 0.011
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961221 | 962081 | -860 | 860000 | 0.86 | 863162 | 863186 | -24 | 24000 | 0.024
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21045 | 21722 | -677 | 677000 | 0.677 | 34929 | 34930 | -1 | 1000 | 0.001
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22341 | 22466 | -125 | 125000 | 0.125 | 44989 | 44990 | -1 | 1000 | 0.001
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 15.755 |  |  |  |  | 3.209
| (B) NET ENERGY TO EAST | [8 empty] | 15.755 |  |  |  |  | 3.209
OCTOBER-2014
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 2294 | 2041 | 253 | -101200 | -0.1012 | 999653 | 999653 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 2704 | 2630 | 74 | -37000 | -0.037 | 4164 | 4168 | -4 | 2000 | 0.002
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 46305 | 46151 | 154 | -30800 | -0.0308 | 77640 | 77556 | 84 | -16800 | -0.0168
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73628 | 73701 | -73 | 7300 | 0.0073 | 139435 | 139449 | -14 | 1400 | 0.0014
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 980744 | 980914 | -170 | 34000 | 0.034 | 999049 | 999114 | -65 | 13000 | 0.013
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 74607 | 74564 | 43 | -8600 | -0.0086 | 95156 | 95039 | 117 | -23400 | -0.0234
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 7877 | 7358 | 519 | -415200 | -0.4152 | 4120 | 3908 | 212 | -169600 | -0.1696
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13713 | 13728 | -15 | 30000 | 0.03 | 2256 | 2267 | -11 | 22000 | 0.022
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 983070 | 983109 | -39 | 31200 | 0.0312 | 990800 | 990946 | -146 | 116800 | 0.1168
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 987469 | 987571 | -102 | 81600 | 0.0816 | 987735 | 988274 | -539 | 431200 | 0.4312
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 993685 | 993777 | -92 | 73600 | 0.0736 | 994842 | 995013 | -171 | 136800 | 0.1368
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991543 | 992133 | -590 | 590000 | 0.59 | 36473 | 36510 | -37 | 37000 | 0.037
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 993292 | 993097 | 195 | -259999.35 | -0.26 | 998577 | 998587 | -10 | 13333.3 | 0.013333
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1776 | 1766 | 10 | -10000 | -0.01 | 23391 | 23266 | 125 | -125000 | -0.125
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 230 | 214 | 16 | -16000 | -0.016 | 2829 | 2697 | 132 | -132000 | -0.132
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1259 | 1274 | -15 | 15000 | 0.015 | 61321 | 61321 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5631 | 5629 | 2 | -1000 | -0.001 | 31320 | 31115 | 205 | -102500 | -0.1025
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3790 | 3786 | 4 | -2000 | -0.002 | 29046 | 28941 | 105 | -52500 | -0.0525
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6233 | 6158 | 75 | -37500 | -0.0375 | 14891 | 14891 | 0 | 0 | 0
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 1268 | 1131 | 137 | -91333.3333 | -0.091333 | 935 | 935 | 0 | 0 | 0
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 151203 | 149930 | 1273 | -127300 | -0.1273 | 20888 | 20767 | 121 | -12100 | -0.0121
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 22468 | 21939 | 529 | -52900 | -0.0529 | 44418 | 44418 | 0 | 0 | 0
D.M.S.
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) |  | 999915 | 999965 | -50 | 0 | 0 | 21 | 21 | 0 | 0 | 0
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7772 | 7786 | -14 | 1400 | 0.0014 | 15271 | 15271 | 0 | 0 | 0
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23885 | 23592 | 293 | -29300 | -0.0293 | 57130 | 57127 | 3 | -300 | -0.0003
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 4490 | 4490 | 0 | 0 | 0 | 999953 | 999953 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998603 | 998622 | -19 | 1900 | 0.0019 | 61 | 61 | 0 | 0 | 0
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | -100 | 175710 | 174140 | 1570 | -157000 | -0.157 | 49974 | 49974 | 0 | 0 | 0
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 17381 | 16862 | 519 | -51900 | -0.0519 | 64448 | 64445 | 3 | -300 | -0.0003
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 5328 | 4473 | 855 | -85500 | -0.0855 | 1573 | 1567 | 6 | -600 | -0.0006
[10 empty] | -0.64853 |  |  |  |  | 0.13843
OCTOBER-2014
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 2.3624 |  |  |  |  | -7.9135
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.64853 |  |  |  |  | 0.13843
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.8644 |  |  |  |  | -0.0058
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 0.84947 |  |  |  |  | -7.7809
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 15.755 |  |  |  |  | 3.209
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 16.6045 |  |  |  |  | -4.5719
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 16.6045 | (REACTIVE MUs) |  |  |  | -4.5719 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.44416 | (REACTIVE MUs) |  |  |  | -1.6042 | (REACTIVE MUs)
[9 empty] | TOTAL | 17.0486 | (REACTIVE MUs) |  |  |  | -6.1761 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | OCTOBER-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 1000016 | 999983 | 33 | 165000 | 0.165 | 999946 | 999952 | -6 | -30000 | -0.03
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 985914 | 986124 | -210 | -279999.3 | -0.28 | 673073 | 673050 | 23 | 30666.59 | 0.030667
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 500 | 8891 | 7494 | 1397 | 698500 | 0.6985 | 68944 | 68951 | -7 | -3500 | -0.0035
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12567 | 12567 | 0 | 0 | 0 | 999386 | 999386 | 0 | 0 | 0
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 11837 | 10917 | 920 | 92000 | 0.092 | 134080 | 133829 | 251 | 25100 | 0.0251
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 741338 | 746531 | -5193 | -389475 | -0.38948 | 30440 | 30338 | 102 | 7650 | 0.00765
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 999850 | 999966 | -116 | -8700 | -0.0087 | 3449 | 3310 | 139 | 10425 | 0.010425
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999157 | 999157 | 0 | 0 | 0 | 998592 | 998592 | 0 | 0 | 0
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 1442 | 1935 | -493 | 246500 | 0.2465 | 995688 | 995837 | -149 | 74500 | 0.0745
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988498 | 988745 | -247 | 247000 | 0.247 | 948629 | 948873 | -244 | 244000 | 0.244
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 111 | 160 | -49 | 49000 | 0.049 | 996526 | 996536 | -10 | 10000 | 0.01
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992584 | 992672 | -88 | 88000 | 0.088 | 946045 | 946096 | -51 | 51000 | 0.051
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986647 | 987188 | -541 | 541000 | 0.541 | 973167 | 973271 | -104 | 104000 | 0.104
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25444 | 25053 | 391 | -391000 | -0.391 | 983728 | 983760 | -32 | 32000 | 0.032
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25194 | 24939 | 255 | -255000 | -0.255 | 995352 | 995961 | -609 | 609000 | 0.609
NAJAFGARH
17 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5746 | 0 | 5746 | -5746000 | -5.746 | 999878 | 1000000 | -122 | 122000 | 0.122 | w.e.f 01/10/2014
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7113 | 7177 | -64 | 64000 | 0.064 | 996982 | 997309 | -327 | 327000 | 0.327
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27585 | 25144 | 2441 | -2441000 | -2.441 | 3330 | 3330 | 0 | 0 | 0
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5471 | 5327 | 144 | -144000 | -0.144 | 999031 | 999150 | -119 | 119000 | 0.119
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10548 | 10526 | 22 | 22000 | 0.022 | 7595 | 7591 | 4 | 4000 | 0.004
LODHI ROAD
22 | Tx.1 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997080 | 998578 | -1498 | 1498000 | 1.498 | 986687 | 987394 | -707 | 707000 | 0.707
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 952199 | 953210 | -1011 | 1011000 | 1.011 | 842987 | 843925 | -938 | 938000 | 0.938
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999188 | 999375 | -187 | 187000 | 0.187 | 967819 | 968037 | -218 | 218000 | 0.218
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994629 | 995272 | -643 | 643000 | 0.643 | 947382 | 947919 | -537 | 537000 | 0.537
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995596 | 995596 | 0 | 0 | 0 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2995 | 6157 | -3162 | 3162000 | 3.162 | 39247 | 39247 | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999458 | 999791 | -333 | 333000 | 0.333 | 999087 | 999098 | -11 | 11000 | 0.011
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996791 | 996963 | -172 | 172000 | 0.172 | 866972 | 867069 | -97 | 97000 | 0.097
BRPL(+) continue | [14 empty] | OCTOBER-2014
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997620 | 996865 | 755 | -755000 | -0.755 | 972465 | 972471 | -6 | 6000 | 0.006
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998153 | 997989 | 164 | -164000 | -0.164 | 989064 | 989084 | -20 | 20000 | 0.02 | Data Till 20/10/2014
[10 empty] | -0.082 |  |  |  |  | 0.01 | Assessment
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998149 | 997575 | 574 | -1148000 | -1.148 | 969830 | 969830 | 0 | 0 | 0
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994794 | 995001 | -207 | 207000 | 0.207 | 910262 | 910406 | -144 | 144000 | 0.144
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995067 | 995067 | 0 | 0 | 0 | 927917 | 927917 | 0 | 0 | 0
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998377 | 998576 | -199 | 199000 | 0.199 | 995196 | 995348 | -152 | 152000 | 0.152
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989541 | 989763 | -222 | 222000 | 0.222 | 988715 | 989709 | -994 | 994000 | 0.994
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 974071 | 974801 | -730 | 486666.18 | 0.48667 | 978858 | 978866 | -8 | 5333.328 | 0.0053333
38 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997240 | 998574 | -1334 | 3335000 | 3.335 | 501 | 501 | 0 | 0 | 0
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2302 | 2287 | 15 | -30000 | -0.03 | 1918 | 1909 | 9 | -18000 | -0.018
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999316 | 999290 | 26 | -52000 | -0.052 | 993 | 991 | 2 | -4000 | -0.004
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 937892 | 939152 | -1260 | 1260000 | 1.26 | 990583 | 991010 | -427 | 427000 | 0.427
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 947800 | 949541 | -1741 | 1741000 | 1.741 | 994648 | 994817 | -169 | 169000 | 0.169
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993136 | 993104 | 32 | 25600 | 0.0256 | 1411 | 1407 | 4 | 3200 | 0.0032
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 26311 | 26311 | 0 | 0 | 0 | 1521 | 1521 | 0 | 0 | 0
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 929779 | 930688 | -909 | -727200 | -0.7272 | 999636 | 999636 | 0 | 0 | 0
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999430 | 999430 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
PARK STREET
47 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991543 | 992133 | -590 | -590000 | -0.59 | 36473 | 36510 | -37 | -37000 | -0.037
48 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 993292 | 993097 | 195 | 259999.35 | 0.26 | 998577 | 998587 | -10 | -13333.3 | -0.013333
SARITA VIHAR
49 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17305 | 15858 | 1447 | -1447000 | -1.447 | 973864 | 973864 | 0 | 0 | 0
50 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9470 | 10021 | -551 | 551000 | 0.551 | 989220 | 989220 | 0 | 0 | 0
NARAINA
51 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 17259 | 17112 | 147 | 14700 | 0.0147 | 16023 | 15949 | 74 | 7400 | 0.0074
SUDARSHAN PARK
52 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 11168 | 11329 | -161 | -16100 | -0.0161 | 61454 | 61480 | -26 | -2600 | -0.0026
REWARI LINE
53 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
54 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 940013 | 943351 | -3338 | -3338000 | -3.338 | 991947 | 991947 | 0 | 0 | 0
A.I.I.M.S.
55 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 268 | 382 | -114 | -8550 | -0.00855 | 1954 | 1955 | -1 | -75 | -7.5e-05
56 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 10801 | 10278 | 523 | 52300 | 0.0523 | 26588 | 26578 | 10 | 1000 | 0.001
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.43976 |  |  |  |  | 6.1088
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 49092 | 44871 | 4221 | -422100 | -0.4221 | 909270 | 909265 | 5 | -500 | -0.0005
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 102718 | 104139 | -1421 | 142100 | 0.1421 | 1595 | 1595 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 155147 | 148728 | 6419 | -641900 | -0.6419 | 4522 | 4522 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995804 | 996134 | -330 | 33000 | 0.033 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996479 | 996551 | -72 | 7200 | 0.0072 | 999911 | 999911 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2685 | 2012 | 673 | -673000 | -0.673 | 73763 | 73763 | 0 | 0 | 0
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12855 | 12393 | 462 | -462000 | -0.462 | 170 | 170 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 903717 | 903457 | 260 | -130000 | -0.13 | 54657 | 54657 | 0 | 0 | 0
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 13582 | 14841 | -1259 | 503600 | 0.5036 | 3081 | 3137 | -56 | 22400 | 0.0224
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 66913 | 65317 | 1596 | -159600 | -0.1596 | 65290 | 65005 | 285 | -28500 | -0.0285
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 65079 | 63784 | 1295 | -129500 | -0.1295 | 63750 | 63258 | 492 | -49200 | -0.0492
12 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 86634 | 85705 | 929 | -185800 | -0.1858 | 118057 | 117598 | 459 | -91800 | -0.0918
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 183 | 183 | 0 | 0 | 0 | 17120 | 17120 | 0 | 0 | 0
14 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.33 | 3106 | 3106 | 0 | 0 | 0 | 978921 | 978921 | 0 | 0 | 0
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987618 | 987618 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 311915 | 305990 | 5925 | -592500 | -0.5925 | 48566 | 48566 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3934 | 3944 | -10 | 1000 | 0.001 | 21091 | 20837 | 254 | -25400 | -0.0254
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 168964 | 168402 | 562 | -70250 | -0.07025 | 260317 | 260374 | -57 | 7125 | 0.007125
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9342 | 9371 | -29 | 2900 | 0.0029 | 29020 | 29011 | 9 | -900 | -0.0009
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11175 | 11078 | 97 | -9700 | -0.0097 | 57682 | 57163 | 519 | -51900 | -0.0519
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 17383 | 17255 | 128 | -12800 | -0.0128 | 60774 | 60073 | 701 | -70100 | -0.0701
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 3885 | 3885 | 0 | 0 | 0 | 3565 | 3565 | 0 | 0 | 0 | Metering not in order
[10 empty] | -0.0084 |  |  |  |  | -0.0342 | Assessment
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17739 | 17551 | 188 | -18800 | -0.0188 | 19485 | 19249 | 236 | -23600 | -0.0236
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 997858 | 998168 | -310 | 13776.4 | 0.013776 | 532 | 489 | 43 | -1910.92 | -0.0019109
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 1 | 1 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.8128 |  |  |  |  | -0.34849
OCTOBER-2014
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -0.43976 |  |  |  |  | 6.1088
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.8128 |  |  |  |  | -0.34849
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 1.3723 |  |  |  |  | 0.49282
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.2991 |  |  |  |  | -0.0799
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -2.1793 |  |  |  |  | 6.1732
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.1793 | (REACTIVE MUs) |  |  |  | 6.1732 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.74894 | (REACTIVE MUs) |  |  |  | -2.705 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.4304 | (REACTIVE MUs) |  |  |  | 3.4682 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 46305 | 46151 | 154 | 30800 | 0.0308 | 77640 | 77556 | 84 | 16800 | 0.0168
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73628 | 73701 | -73 | -7300 | -0.0073 | 139435 | 139449 | -14 | -1400 | -0.0014
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 980744 | 980914 | -170 | -34000 | -0.034 | 999049 | 999114 | -65 | -13000 | -0.013
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 74607 | 74564 | 43 | 8600 | 0.0086 | 95156 | 95039 | 117 | 23400 | 0.0234
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 7877 | 7358 | 519 | 415200 | 0.4152 | 4120 | 3908 | 212 | 169600 | 0.1696
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13723 | 13728 | -5 | -10000 | -0.01 | 2257 | 2267 | -10 | -20000 | -0.02
[10 empty] | -0.005 |  |  |  |  | -0.01 | Assesment
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 983070 | 983109 | -39 | -31200 | -0.0312 | 990800 | 990946 | -146 | -116800 | -0.1168
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 987469 | 987571 | -102 | -81600 | -0.0816 | 987735 | 988274 | -539 | -431200 | -0.4312
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 993685 | 993777 | -92 | -73600 | -0.0736 | 994842 | 995013 | -171 | -136800 | -0.1368
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999153 | 998968 | 185 | 18500 | 0.0185 | 384849 | 384356 | 493 | 49300 | 0.0493
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6605 | 6605 | 0 | 0 | 0 | 470995 | 470995 | 0 | 0 | 0
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 13555 | 12871 | 684 | 68400 | 0.0684 | 367164 | 366837 | 327 | 32700 | 0.0327
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 4921 | 5341 | -420 | -42000 | -0.042 | 364258 | 364327 | -69 | -6900 | -0.0069
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 997467 | 997645 | -178 | -17800 | -0.0178 | 308586 | 308238 | 348 | 34800 | 0.0348
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 1066 | 13 | 1053 | 105300 | 0.1053 | 191472 | 191001 | 471 | 47100 | 0.0471
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 12611 | 13312 | -701 | -70100 | -0.0701 | 259464 | 259476 | -12 | -1200 | -0.0012
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 51335 | 51335 | 0 | 0 | 0 | 705757 | 705757 | 0 | 0 | 0
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 90485 | 89218 | 1267 | 1393700 | 1.3937
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2490 | 2474 | 16 | 16000 | 0.016 | 39866 | 39827 | 39 | 39000 | 0.039
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 150570 | 150591 | -21 | -23100 | -0.0231
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6308 | 6542 | -234 | -234000 | -0.234 | 54070 | 54070 | 0 | 0 | 0
[10 empty] | -0.218 |  |  |  |  | 1.4096
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2685 | 2012 | 673 | 673000 | 0.673 | 73763 | 73763 | 0 | 0 | 0
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12855 | 12393 | 462 | 462000 | 0.462 | 170 | 170 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 903717 | 903457 | 260 | 130000 | 0.13 | 54657 | 54657 | 0 | 0 | 0
25 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 13582 | 14841 | -1259 | -503600 | -0.5036 | 3081 | 3137 | -56 | -22400 | -0.0224
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 183 | 183 | 0 | 0 | 0 | 17120 | 17120 | 0 | 0 | 0
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 3106 | 3106 | 0 | 0 | 0 | 978921 | 978921 | 0 | 0 | 0
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987618 | 987618 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
OCTOBER-2014
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980394 | 982447 | -2053 | 2053000 | 2.053 | 978508 | 978548 | -40 | 40000 | 0.04
27 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23 | 23 | 0 | 0 | 0 | 44 | 44 | 0 | 0 | 0
ELECTRIC LANE
28 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979111 | 980203 | -1092 | 1092000 | 1.092 | 984585 | 984593 | -8 | 8000 | 0.008
29 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994636 | 995766 | -1130 | 1130000 | 1.13 | 996400 | 996407 | -7 | 7000 | 0.007
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 311915 | 305990 | 5925 | 592500 | 0.5925 | 48566 | 48566 | 0 | 0 | 0
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3934 | 3944 | -10 | -1000 | -0.001 | 21091 | 20837 | 254 | 25400 | 0.0254
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 66913 | 65317 | 1596 | 159600 | 0.1596 | 65290 | 65005 | 285 | 28500 | 0.0285
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 65079 | 63784 | 1295 | 129500 | 0.1295 | 63750 | 63258 | 492 | 49200 | 0.0492
35 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 86634 | 85705 | 929 | 185800 | 0.1858 | 118057 | 117598 | 459 | 91800 | 0.0918
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 49092 | 44871 | 4221 | 422100 | 0.4221 | 909270 | 909265 | 5 | 500 | 0.0005
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 268 | 382 | -114 | 8550 | 0.00855 | 1954 | 1955 | -1 | 75 | 7.5e-05
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 10801 | 10278 | 523 | -52300 | -0.0523 | 26588 | 26578 | 10 | -1000 | -0.001
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 6.5374 |  |  |  |  | 1.2731
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 6.5374 |  |  |  |  | 1.2731
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.09584 |  |  |  |  | -0.34616
| TOTAL ENERGY TO NDMC | [8 empty] | 6.6332 |  |  |  |  | 0.92692

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2014
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1357 | 1357 | 0 | 0 | 0 | 27552 | 27273 | 279 | 279000 | 0.279
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 972 | 972 | 0 | 0 | 0 | 29115 | 28843 | 272 | 272000 | 0.272
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2280 | 2280 | 0 | 0 | 0 | 36135 | 36123 | 12 | 12000 | 0.012
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 894 | 894 | 0 | 0 | 0 | 20421 | 20043 | 378 | 378000 | 0.378
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4290 | 4191 | 99 | 99000 | 0.099 | 10879 | 10879 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 11658 | 11662 | -4 | -2000 | -0.002 | 59030 | 59015 | 15 | 7500 | 0.0075
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995804 | 996134 | -330 | -33000 | -0.033 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996479 | 996551 | -72 | -7200 | -0.0072 | 999911 | 999911 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0568 |  |  |  |  | 0.9485
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 51451 | 50041 | 1410 | 141000 | 0.141 | 76638 | 76198 | 440 | 44000 | 0.044
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 73987 | 73987 | 0 | 0 | 0 | 12988 | 12972 | 16 | 1600 | 0.0016
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 49326 | 48079 | 1247 | 124700 | 0.1247 | 67119 | 67119 | 0 | 0 | 0
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 84698 | 84364 | 334 | 33400 | 0.0334 | 60442 | 60099 | 343 | 34300 | 0.0343
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 8734 | 7259 | 1475 | 147500 | 0.1475 | 3033 | 3033 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.2991 |  |  |  |  | 0.0799
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.2991 |  |  |  |  | 0.0799
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0568 |  |  |  |  | 0.9485
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.3559 |  |  |  |  | 1.0284
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.3559 | (REACTIVE MUs) |  |  |  | 1.0284 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.014348 | (REACTIVE MUs) |  |  |  | -0.051821 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.37025 | (REACTIVE MUs) |  |  |  | 0.97658 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2014
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 5263 | 3305 | 1958 | 195800 | 0.1958 | 1684 | 1674 | 10 | 1000 | 0.001
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 1982 | 1521 | 461 | 46100 | 0.0461 | 999129 | 999127 | 2 | 200 | 0.0002
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 265681 | 263077 | 2604 | 260400 | 0.2604 | 102872 | 102817 | 55 | 5500 | 0.0055
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 35495 | 34567 | 928 | 870000 | 0.87 | 19113 | 19099 | 14 | 13125 | 0.013125
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 985209 | 985209 | 0 | 0 | 0 | 914354 | 914957 | -603 | 301500 | 0.3015
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989204 | 989204 | 0 | 0 | 0 | 978735 | 979078 | -343 | 171500 | 0.1715
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999989 | 999989 | 0 | 0 | 0 | 4 | 4 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 1.3723 |  |  |  |  | 0.49282
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 925654 | 926617 | -963 | -192600 | -0.1926 | 992203 | 992207 | -4 | -800 | -0.0008
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 970615 | 973974 | -3359 | -671800 | -0.6718 | 999404 | 999429 | -25 | -5000 | -0.005
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.8644 |  |  |  |  | -0.0058
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 253116 | 248885 | 4231 | 846200 | 0.8462 | 265531 | 265513 | 18 | 3600 | 0.0036
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 112518 | 111779 | 739 | 147800 | 0.1478 | 42436 | 42430 | 6 | 1200 | 0.0012
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 184722 | 183310 | 1412 | 141200 | 0.1412 | 74244 | 74233 | 11 | 1100 | 0.0011
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990528 | 990528 | 0 | 0 | 0 | 998437 | 998437 | 0 | 0 | 0
| O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999998 | 1000000 | -2 | -2000 | -0.002 | 999999 | 1000000 | -1 | -1000 | -0.001 | w.e.f 10/10/2014
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 960538 | 961367 | -829 | -82900 | -0.0829 | 6919 | 6926 | -7 | -700 | -0.0007
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999182 | 999182 | 0 | 0 | 0 | 997369 | 997445 | -76 | -71250 | -0.07125
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 985744 | 985820 | -76 | 47500 | 0.0475 | 995393 | 995393 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999989 | 999989 | 0 | 0 | 0 | 4 | 4 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 1.0978 |  |  |  |  | -0.06705
| E) NET EXPORT TO BSES RPL | [8 empty] | 1.3723 |  |  |  |  | 0.49282
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.8644 |  |  |  |  | -0.0058
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.0978 |  |  |  |  | -0.06705

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2014
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 8080 | 6963 | 1117 | 2234000 | 2.234 | 804 | 803 | 1 | 2000 | 0.002
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 15678 | 15382 | 296 | 592000 | 0.592 | 2292 | 2293 | -1 | -2000 | -0.002
[7 empty] | NET REACTIVE ENERGY |  |  | 2.826 |  | NET REACTIVE ENERGY |  |  | 0
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 992776 | 992454 | 322 | 322000 | 0.322 | 38627 | 38627 | 0 | 0 | 0
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 995612 | 995018 | 594 | 594000 | 0.594 | 993895 | 993895 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 0.916 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 3.742 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.6507 |  |  |  |  | -8.1756
[7 empty] | NDMC = |  |  | -0.218 |  |  |  |  | 1.4096
MES =
[7 empty] | 2)TOTAL |  |  | -1.8687 |  |  |  |  | -6.766
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.8733 |  |  |  |  | -6.766
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.4285 | % |  |  | 0.57002 |  |  |  |  | -2.0588
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 39.9797 | % |  |  | 0.74894 |  |  |  |  | -2.705
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.7098 | % |  |  | 0.44416 |  |  |  |  | -1.6042
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.1161 | % |  |  | 0.09584 |  |  |  |  | -0.34616
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7659 | % |  |  | 0.014348 |  |  |  |  | -0.051821
Note :Sharing taken from wk-29 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st October-2014 TO 31st October-2014
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -3.7934 |  | -1.8937
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -1.4304 | + | 3.4682
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 17.0486 |  | -6.1761
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 6.6332 | + | 0.92692
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.37025 | + | 0.97658
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2014 | INTIAL READING 01/10/2014 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 952691 | 953119 | -428 | -642000 | -0.642 | 979525 | 979525 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 993308 | 994328 | -1020 | -1530000 | -1.53 | 995425 | 995425 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 996717 | 999348 | -2631 | -1973250 | -1.9732 | 999331 | 999331 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -4.1452 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997874 | 997874 | 0 | 0 | 0 | 28676 | 29432 | -756 | -3780000 | -3.78
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999728 | 999728 | 0 | 0 | 0 | 327 | 1151 | -824 | -824000 | -0.824
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 974775 | 974718 | 57 | 57000 | 0.057 | 991433 | 991579 | -146 | -146000 | -0.146
[8 empty] | NET REACTIVE ENERGY |  | 0.057 |  |  | NET REACTIVE ENERGY |  | -4.75