## NDPL
DELHI TRANSCO LIMITED | [15 empty] | October-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975712 | 975703 | 9 | -9000 | -0.009 | 995525 | 995525 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 302 | 72 | 230 | -230000 | -0.23 | 176 | 176 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985685 | 987173 | -1488 | 1488000 | 1.488 | 996034 | 996034 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999867 | 999973 | -106 | 106000 | 0.106 | 993709 | 994132 | -423 | 423000 | 0.423
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919925 | 920093 | -168 | 168000 | 0.168 | 933764 | 933770 | -6 | 6000 | 0.006
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22748 | 22932 | -184 | 184000 | 0.184 | 17859 | 17868 | -9 | 9000 | 0.009
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8266 | 8266 | 0 | 0 | 0 | 11571 | 11571 | 0 | 0 | 0
[10 empty] | 0.134 |  |  |  |  | 0 | Assessment
|  | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999799 | 1000000 | -201 | 201000 | 0.201 | 0 | 0 | 0 | 0 | 0 | w.e.f 13/10/2015
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 13222 | 13377 | -155 | 193750 | 0.19375 | 993253 | 993297 | -44 | 55000 | 0.055
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 142 | 537 | -395 | 395000 | 0.395 | 982515 | 982545 | -30 | 30000 | 0.03
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19367 | 19367 | 0 | 0 | 0 | 7739 | 7739 | 0 | 0 | 0
[10 empty] | 0.152 |  |  |  |  | 0 | Assessment
|  | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999771 | 1000000 | -229 | 229000 | 0.229 | 0 | 0 | 0 | 0 | 0 | w.e.f 13/10/2015
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986419 | 986781 | -362 | 362000 | 0.362 | 3105 | 3105 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985573 | 985965 | -392 | 392000 | 0.392 | 997759 | 997759 | 0 | 0 | 0
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991905 | 995221 | -3316 | -3316000 | -3.316 | 999999 | 999999 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983970 | 984244 | -274 | 274000 | 0.274 | 16835 | 16836 | -1 | 1000 | 0.001
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 863 | 824 | 39 | -39000 | -0.039 | 20178 | 20178 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5768 | 5154 | 614 | -614000 | -0.614 | 0 | 4 | -4 | 4000 | 0.004
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 1000156 | 999998 | 158 | 31600 | 0.0316 | 982057 | 982025 | 32 | 6400 | 0.0064
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 768 | 713 | 55 | 55000 | 0.055 | 29106 | 29105 | 1 | 1000 | 0.001
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 5672 | 5582 | 90 | 9000 | 0.009 | 166394 | 166358 | 36 | 3600 | 0.0036
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 36636 | 33326 | 3310 | 331000 | 0.331 | 247880 | 247747 | 133 | 13300 | 0.0133
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996479 | 996479 | 0 | 0 | 0 | 923 | 1070 | -147 | -147000 | -0.147
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 559 | 559 | 0 | 0 | 0 | 5982 | 5954 | 28 | 28000 | 0.028
23 | Pandav Nagar | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000015 | 999949 | 66 | 66000 | 0.066 | 55 | 55 | 0 | 0 | 0
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634586 | 634586 | 0 | 0 | 0 | 797068 | 797068 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 639623 | 640397 | -774 | -774000 | -0.774 | 830234 | 830237 | -3 | -3000 | -0.003
26 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 4982 | 4804 | 178 | 71200 | 0.0712 | 999007 | 999020 | -13 | -5200 | -0.0052
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 4418 | 4071 | 347 | 173500 | 0.1735 | 3383 | 3413 | -30 | -15000 | -0.015
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23502 | 23951 | -449 | 449000 | 0.449 | 980953 | 980954 | -1 | 1000 | 0.001
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6984 | 7136 | -152 | 152000 | 0.152 | 996755 | 996755 | 0 | 0 | 0
BAWANA
30 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6837 | 6861 | -24 | 24000 | 0.024 | 923570 | 923590 | -20 | 20000 | 0.02 | Data till 19/10/2015
[10 empty] | 0.01 |  |  |  |  | 0.008 | Assessment
|  | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13 | 0 | 13 | -13000 | -0.013 | 0 | 0 | 0 | 0 | 0 | w.e.f 28/10
DSIDC BAWANA
31 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 771 | 283 | 488 | -488000 | -0.488 | 998862 | 998903 | -41 | 41000 | 0.041
32 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1499 | 561 | 938 | -938000 | -0.938 | 1484 | 1419 | 65 | -65000 | -0.065
ROHINI-II
33 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2619 | 2550 | 69 | -69000 | -0.069 | 998687 | 998687 | 0 | 0 | 0
34 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3302 | 3302 | 0 | 0 | 0 | 999996 | 999995 | 1 | -1000 | -0.001
WAZIRPUR
35 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995508 | 996017 | -509 | 509000 | 0.509 | 999496 | 999496 | 0 | 0 | 0
36 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4375 | 4481 | -106 | 106000 | 0.106 | 999993 | 999993 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
37 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2133 | 2143 | -10 | -10000 | -0.01 | 24727 | 24676 | 51 | 51000 | 0.051
38 | PUSA GRID-II | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 204 | 40 | 164 | 164000 | 0.164 | 295 | 299 | -4 | -4000 | -0.004
| NDPL(+) continue | [14 empty] | October-2015
DMS
39 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
40 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 172822 | 173024 | -202 | -25250 | -0.02525 | 261275 | 261254 | 21 | 2625 | 0.002625
VISHAL
41 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9510 | 9528 | -18 | -1800 | -0.0018 | 32302 | 32306 | -4 | -400 | -0.0004
42 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 12057 | 11433 | 624 | 62400 | 0.0624 | 64382 | 64275 | 107 | 10700 | 0.0107
43 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 19412 | 19154 | 258 | 25800 | 0.0258 | 66371 | 65995 | 376 | 37600 | 0.0376
S.B.MILL
44 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 8121 | 7958 | 163 | 16300 | 0.0163 | 6246 | 6062 | 184 | 18400 | 0.0184
45 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
46 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
47 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
48 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
49 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17102 | 17175 | -73 | -7300 | -0.0073 | 21190 | 20957 | 233 | 23300 | 0.0233
50 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 994757 | 995070 | -313 | -13909.72 | -0.01391 | 776 | 747 | 29 | 1288.76 | 0.0012888
B.G.ROAD
51 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5473 | 5473 | 0 | 0 | 0 | 32954 | 32762 | 192 | 96000 | 0.096
52 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999996 | 1000000 | -4 | -2000 | -0.002 | 225 | 182 | 43 | 21500 | 0.0215
53 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6831 | 6759 | 72 | 36000 | 0.036 | 14987 | 14986 | 1 | 500 | 0.0005
54 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2152 | 2049 | 103 | 68666.6667 | 0.068667 | 1082 | 1079 | 3 | 2000 | 0.002
D.M.S.
55 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998464 | 998465 | -1 | -100 | -0.0001 | 29 | 28 | 1 | 100 | 0.0001
56 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999910 | 999925 | -15 | -1500 | -0.0015 | 999987 | 999987 | 0 | 0 | 0
57 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 24672 | 24156 | 516 | 51600 | 0.0516 | 57144 | 57144 | 0 | 0 | 0
58 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999933 | 999954 | -21 | -2100 | -0.0021 | 999996 | 999996 | 0 | 0 | 0
60 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
61 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | 100 | 179980 | 179980 | 0 | 0 | 0 | 55257 | 55257 | 0 | 0 | 0
[10 empty] | 0.0533 |  |  |  |  | 0.0013 | Assessment
|  | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 698 | 0 | 698 | 69800 | 0.0698 | 17 | 0 | 17 | 1700 | 0.0017 | w.e.f 14/10/2015
62 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 23649 | 22625 | 1024 | 102400 | 0.1024 | 66438 | 66418 | 20 | 2000 | 0.002
63 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 11237 | 11237 | 0 | 0 | 0 | 4695 | 4695 | 0 | 0 | 0
[10 empty] | 0.062 |  |  |  |  | 0.0011 | Assessment
|  | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 811 | 0 | 811 | 81100 | 0.0811 | 15 | 0 | 15 | 1500 | 0.0015 | w.e.f 14/10/2015
KASHMIRI GATE
64 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 173628 | 171724 | 1904 | 190400 | 0.1904 | 20586 | 20535 | 51 | 5100 | 0.0051
65 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 23918 | 23895 | 23 | 2300 | 0.0023 | 47819 | 47710 | 109 | 10900 | 0.0109
66 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 22 | 22 | 0 | 0 | 0 | 426 | 418 | 8 | -2400 | -0.0024
REWARI LINE (11KV TRANSFER OF ENERGY)
67 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995596 | 995596 | 0 | 0 | 0 | 51 | 51 | 0 | 0 | 0
68 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999933 | 999933 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0
MUNDKA
69 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 976874 | 976866 | 8 | 6400 | 0.0064 | 254 | 254 | 0 | 0 | 0
70 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 853 | 529 | 324 | 648000 | 0.648 | 29 | 29 | 0 | 0 | 0
PEERAGARHI
71 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 1410 | 682 | 728 | 72800 | 0.0728 | 162 | 151 | 11 | 1100 | 0.0011
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | 1.4254 |  |  |  |  | 0.69701
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | October-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 21361 | 20862 | 499 | -49900 | -0.0499 | 21522 | 21035 | 487 | -48700 | -0.0487
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13864 | 13793 | 71 | -71000 | -0.071 | 7863 | 7864 | -1 | 1000 | 0.001
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 9288 | 9263 | 25 | -5000 | -0.005 | 21476 | 21190 | 286 | -57200 | -0.0572
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 85733 | 85726 | 7 | -7000 | -0.007 | 120110 | 119881 | 229 | -229000 | -0.229
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 9261 | 9407 | -146 | 14600 | 0.0146 | 61338 | 61339 | -1 | 100 | 0.0001
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 916966 | 917636 | -670 | 670000 | 0.67 | 991937 | 991937 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.5517 |  |  |  |  | -0.3338
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | 1.4254 |  |  |  |  | 0.69701
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.5517 |  |  |  |  | -0.3338
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.7106 |  |  |  |  | 0.04635
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 2.6877 |  |  |  |  | 0.40956
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 2.6877 | (REACTIVE MUs) |  |  |  | 0.40956 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.93397 | (REACTIVE MUs) |  |  |  | -2.2592 | (REACTIVE MUs)
[9 empty] | TOTAL | 3.6216 | (REACTIVE MUs) |  |  |  | -1.8496 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | October-2015
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 6582 | 3442 | 3140 | 314000 | 0.314 | 78 | 78 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865164 | ELSTER | Kvarh(Lead/Lag) | 50 | 32376 | 23786 | 8590 | 429500 | 0.4295 | 23107 | 23106 | 1 | 50 | 5e-05
|  | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 2491 | 0 | 2491 | 747300 | 0.7473 | 0 | 0 | 0 | 0 | 0 | w.e.f 16/10/2015
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 14809 | 7788 | 7021 | 702100 | 0.7021 | 32501 | 32501 | 0 | 0 | 0
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 618 | 504 | 114 | 34200 | 0.0342 | 5364 | 5364 | 0 | 0 | 0
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1568 | 1557 | 11 | 14666.3 | 0.014666 | 2699 | 2699 | 0 | 0 | 0 | Yard CT changed to 800/1
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 30816 | 23873 | 6943 | 694300 | 0.6943 | 172613 | 172613 | 0 | 0 | 0
7 | MINTO RD. B-34 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 100 | 39073 | 37100 | 1973 | 197300 | 0.1973 | 122482 | 122482 | 0 | 0 | 0 | Check meter Data
|  | 4865120 | ELSTER | Kvarh(Lead/Lag) | 100 | 4565 | 0 | 4565 | 456500 | 0.4565 | 0 | 0 | 0 | 0 | 0 | w.e.f 9/10/2015
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990692 | 990797 | -105 | -105000 | -0.105 | 1680 | 1617 | 63 | 63000 | 0.063
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998141 | 998233 | -92 | -92000 | -0.092 | 2872 | 2871 | 1 | 1000 | 0.001
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 949 | 599 | 350 | 350000 | 0.35 | 1299 | 1310 | -11 | -11000 | -0.011
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997663 | 997657 | 6 | 6000 | 0.006 | 2126 | 2077 | 49 | 49000 | 0.049
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997018 | 996990 | 28 | 28000 | 0.028 | 4872 | 4872 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999855 | 1000013 | -158 | -158000 | -0.158 | 999527 | 999550 | -23 | -23000 | -0.023
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999262 | 999327 | -65 | -65000 | -0.065 | 17360 | 17342 | 18 | 18000 | 0.018
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1022 | 1124 | -102 | -102000 | -0.102 | 38812 | 38726 | 86 | 86000 | 0.086
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999896 | 999938 | -42 | -42000 | -0.042 | 28345 | 27966 | 379 | 379000 | 0.379
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1600 | 1591 | 9 | 9000 | 0.009 | 9503 | 9501 | 2 | 2000 | 0.002
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 11429 | 11379 | 50 | 5000 | 0.005 | 338 | 336 | 2 | 200 | 0.0002
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996951 | 996818 | 133 | 133000 | 0.133 | 15143 | 15175 | -32 | -32000 | -0.032
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999999 | 999999 | 0 | 0 | 0 | 989494 | 992080 | -2586 | -3555750 | -3.5558
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 707540 | 711590 | -4050 | -4455000 | -4.455
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983479 | 984048 | -569 | -569000 | -0.569 | 8332 | 8332 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.602 |  |  |  |  | -7.4786
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955477 | 955529 | -52 | 52000 | 0.052 | 946289 | 947105 | -816 | 816000 | 0.816
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963662 | 964022 | -360 | 360000 | 0.36 | 955110 | 955128 | -18 | 18000 | 0.018
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 22 | 22 | 0 | 0 | 0 | 426 | 418 | 8 | 2400 | 0.0024
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 679 | 540 | 139 | 139000 | 0.139 | 5945 | 5935 | 10 | 10000 | 0.01
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 55278 | 54442 | 836 | -836000 | -0.836 | 974936 | 974918 | 18 | -18000 | -0.018
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41895 | 41816 | 79 | -79000 | -0.079 | 970599 | 970758 | -159 | 159000 | 0.159
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996956 | 996988 | -32 | 32000 | 0.032 | 994917 | 995127 | -210 | 210000 | 0.21
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 87 | 102 | -15 | 15000 | 0.015 | 999786 | 999846 | -60 | 60000 | 0.06
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2983 | 3121 | -138 | 276000 | 0.276 | 999598 | 999615 | -17 | 34000 | 0.034
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999380 | 999522 | -142 | 284000 | 0.284 | 999932 | 999933 | -1 | 2000 | 0.002
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 143 | 1012 | -869 | 869000 | 0.869 | 999919 | 999919 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 9288 | 9263 | 25 | 5000 | 0.005 | 21476 | 21190 | 286 | 57200 | 0.0572
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 85733 | 85726 | 7 | 7000 | 0.007 | 120110 | 119881 | 229 | 229000 | 0.229
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 97431 | 97721 | -290 | -29000 | -0.029 | 1073 | 1089 | -16 | -1600 | -0.0016
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 150939 | 149936 | 1003 | 100300 | 0.1003 | 17434 | 16878 | 556 | 55600 | 0.0556
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 4.1832 |  |  |  |  | -5.8449
| (A) NET ENERGY TO CENTRAL | [8 empty] | 4.1832 |  |  |  |  | -5.8449
October-2015
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982710 | 982915 | -205 | 205000 | 0.205 | 897083 | 897480 | -397 | 397000 | 0.397
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6155 | 6286 | -131 | 131000 | 0.131 | 917524 | 917984 | -460 | 460000 | 0.46
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982394 | 982644 | -250 | 250000 | 0.25 | 962531 | 962875 | -344 | 344000 | 0.344
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995828 | 996010 | -182 | 364000 | 0.364 | 984214 | 984366 | -152 | 304000 | 0.304
PPG
4 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993763 | 995617 | -1854 | 1854000 | 1.854 | 999981 | 999994 | -13 | 13000 | 0.013
5 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992520 | 993905 | -1385 | 1385000 | 1.385 | 999631 | 999631 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7019 | 6897 | 122 | -122000 | -0.122 | 984095 | 984109 | -14 | 14000 | 0.014
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864916 | ELSTER | Kvarh(Lead/Lag) |  | 981 | 1314 | -333 | 0 | 0 | 999569 | 999593 | -24 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997938 | 998229 | -291 | 291000 | 0.291 | 944500 | 944536 | -36 | 36000 | 0.036
GEETA COLONY
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983166 | 983679 | -513 | 513000 | 0.513 | 974140 | 974458 | -318 | 318000 | 0.318
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958627 | 958667 | -40 | 40000 | 0.04 | 851565 | 854216 | -2651 | 2651000 | 2.651
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15818 | 16520 | -702 | 702000 | 0.702 | 34575 | 34593 | -18 | 18000 | 0.018
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22527 | 22966 | -439 | 439000 | 0.439 | 44361 | 44416 | -55 | 55000 | 0.055
14 | TX-3 | 5269165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2478 | 1093 | 1385 | -1385000 | -1.385 | 6 | 304 | -298 | 298000 | 0.298
SB MILL
15 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 4.667 |  |  |  |  | 4.908
| (B) NET ENERGY TO EAST | [8 empty] | 4.667 |  |  |  |  | 4.908
October-2015
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 4982 | 4804 | 178 | -71200 | -0.0712 | 999007 | 999020 | -13 | 5200 | 0.0052
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 4418 | 4071 | 347 | -173500 | -0.1735 | 3383 | 3413 | -30 | 15000 | 0.015
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 51882 | 51709 | 173 | -34600 | -0.0346 | 81474 | 81258 | 216 | -43200 | -0.0432
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73630 | 73719 | -89 | 8900 | 0.0089 | 139960 | 140003 | -43 | 4300 | 0.0043
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 978251 | 978315 | -64 | 12800 | 0.0128 | 997209 | 997372 | -163 | 32600 | 0.0326
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 80875 | 80725 | 150 | -30000 | -0.03 | 101655 | 100584 | 1071 | -214200 | -0.2142
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 11697 | 11552 | 145 | -116000 | -0.116 | 7143 | 7099 | 44 | -35200 | -0.0352
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14024 | 13995 | 29 | -58000 | -0.058 | 2927 | 2921 | 6 | -12000 | -0.012
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 980524 | 980631 | -107 | 85600 | 0.0856 | 989712 | 989731 | -19 | 15200 | 0.0152
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 978669 | 979050 | -381 | 304800 | 0.3048 | 983819 | 983901 | -82 | 65600 | 0.0656
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 987948 | 988197 | -249 | 199200 | 0.1992 | 992655 | 992701 | -46 | 36800 | 0.0368
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) |  | 988696 | 988877 | -181 | 0 | 0 | 994528 | 994540 | -12 | 0 | 0 | W.E.f 04/07/2015
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988292 | 988434 | -142 | 142000 | 0.142 | 35263 | 35288 | -25 | 25000 | 0.025
14 | 66KV R VALLEY-2 | 4864958 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990549 | 990039 | 510 | -1020000 | -1.02 | 17203 | 17206 | -3 | 6000 | 0.006
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2133 | 2143 | -10 | 10000 | 0.01 | 24727 | 24676 | 51 | -51000 | -0.051
16 | PUSA GRID-II | 4864835 | ELSTER | Kvarh(Lead/Lag) | -1000 | 204 | 34 | 170 | -170000 | -0.17 | 295 | 315 | -20 | 20000 | 0.02
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5473 | 5473 | 0 | 0 | 0 | 32954 | 32762 | 192 | -96000 | -0.096
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) |  | 999996 | 1000000 | -4 | 0 | 0 | 225 | 182 | 43 | 0 | 0 | w.e.f 04/08/2015
20 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6831 | 6759 | 72 | -36000 | -0.036 | 14987 | 14986 | 1 | -500 | -0.0005
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2152 | 2049 | 103 | -68666.6667 | -0.068667 | 1082 | 1079 | 3 | -2000 | -0.002
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 173628 | 171724 | 1904 | -190400 | -0.1904 | 20586 | 20535 | 51 | -5100 | -0.0051
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 23918 | 23895 | 23 | -2300 | -0.0023 | 47819 | 47710 | 109 | -10900 | -0.0109
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998464 | 998465 | -1 | 100 | 0.0001 | 29 | 28 | 1 | -100 | -0.0001
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999910 | 999925 | -15 | 1500 | 0.0015 | 999987 | 999987 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 24672 | 24156 | 516 | -51600 | -0.0516 | 57144 | 57144 | 0 | 0 | 0
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999933 | 999954 | -21 | 2100 | 0.0021 | 999996 | 999996 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | -100 | 179980 | 179980 | 0 | 0 | 0 | 55257 | 55257 | 0 | 0 | 0
[10 empty] | -0.0533 |  |  |  |  | -0.0013 | Assessment
|  | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 698 | 0 | 698 | -69800 | -0.0698 | 17 | 0 | 17 | -1700 | -0.0017 | w.e.f 14/10/2015
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 23649 | 22625 | 1024 | -102400 | -0.1024 | 66438 | 66418 | 20 | -2000 | -0.002
32 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 11237 | 11237 | 0 | 0 | 0 | 4695 | 4695 | 0 | 0 | 0
[10 empty] | -0.062 |  |  |  |  | -0.0011 | Assessment
|  | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 811 | 0 | 811 | -81100 | -0.0811 | 15 | 0 | 15 | -1500 | -0.0015 | w.e.f 14/10/2015
[10 empty] | -1.6239 |  |  |  |  | -0.2521
October-2015
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 4.1832 |  |  |  |  | -5.8449
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -1.6239 |  |  |  |  | -0.2521
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.44897 |  |  |  |  | -0.15072
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 2.1103 |  |  |  |  | -6.2477
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 4.667 |  |  |  |  | 4.908
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 6.7773 |  |  |  |  | -1.3397
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 6.7773 | (REACTIVE MUs) |  |  |  | -1.3397 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.73634 | (REACTIVE MUs) |  |  |  | -1.7811 | (REACTIVE MUs)
[9 empty] | TOTAL | 7.5137 | (REACTIVE MUs) |  |  |  | -3.1209 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | October-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 19 | 174 | -155 | -775000 | -0.775 | 999921 | 999921 | 0 | 0 | 0
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 985086 | 985244 | -158 | -210666.14 | -0.21067 | 673109 | 673109 | 0 | 0 | 0
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 5000 | 10100 | 10188 | -88 | -440000 | -0.44 | 71149 | 71149 | 0 | 0 | 0
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15181 | 14197 | 984 | 984000 | 0.984 | 184 | 184 | 0 | 0 | 0
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 4088 | 2372 | 1716 | 171600 | 0.1716 | 367 | 367 | 0 | 0 | 0
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 724639 | 721413 | 3226 | 241950 | 0.24195 | 27920 | 27920 | 0 | 0 | 0
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 996560 | 997288 | -728 | -54600 | -0.0546 | 999803 | 999803 | 0 | 0 | 0
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999033 | 999627 | -594 | -534600 | -0.5346 | 998740 | 998740 | 0 | 0 | 0
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 999950 | 1000208 | -258 | 129000 | 0.129 | 994682 | 994683 | -1 | 500 | 0.0005
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987654 | 987787 | -133 | 133000 | 0.133 | 948093 | 948093 | 0 | 0 | 0
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995805 | 996014 | -209 | 209000 | 0.209 | 996165 | 996171 | -6 | 6000 | 0.006
13 | Tx.4 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999940 | 1000154 | -214 | 214000 | 0.214 | 999985 | 999990 | -5 | 5000 | 0.005
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978858 | 979119 | -261 | 261000 | 0.261 | 969962 | 969969 | -7 | 7000 | 0.007
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36530 | 35914 | 616 | -616000 | -0.616 | 983858 | 983855 | 3 | -3000 | -0.003
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37932 | 38294 | -362 | 362000 | 0.362 | 992416 | 992469 | -53 | 53000 | 0.053
NAJAFGARH
17 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 2675 | 2677 | -2 | 1000 | 0.001 | 996488 | 996504 | -16 | 8000 | 0.008
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1880 | 2005 | -125 | 125000 | 0.125 | 995588 | 995619 | -31 | 31000 | 0.031
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22883 | 23031 | -148 | 148000 | 0.148 | 1332 | 1341 | -9 | 9000 | 0.009
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10556 | 10491 | 65 | -65000 | -0.065 | 999739 | 999718 | 21 | -21000 | -0.021
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13864 | 13793 | 71 | 71000 | 0.071 | 7863 | 7864 | -1 | -1000 | -0.001
LODHI ROAD
22 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989835 | 990733 | -898 | 898000 | 0.898 | 993433 | 993701 | -268 | 268000 | 0.268
23 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996916 | 997407 | -491 | 491000 | 0.491 | 994378 | 994682 | -304 | 304000 | 0.304
OKHLA
24 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998373 | 998655 | -282 | 282000 | 0.282 | 997196 | 997240 | -44 | 44000 | 0.044
25 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991325 | 990496 | 829 | -829000 | -0.829 | 942494 | 942616 | -122 | 122000 | 0.122
26 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997966 | 998047 | -81 | 81000 | 0.081 | 37025 | 37063 | -38 | 38000 | 0.038
27 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999754 | 999800 | -46 | 46000 | 0.046 | 998110 | 998113 | -3 | 3000 | 0.003
28 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997036 | 997031 | 5 | -5000 | -0.005 | 864743 | 864769 | -26 | 26000 | 0.026
BRPL(+) continue | [14 empty] | October-2015
VASANT KUNJ
29 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997089 | 997297 | -208 | 208000 | 0.208 | 972319 | 972319 | 0 | 0 | 0
30 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 999970 | 1000445 | -475 | 237500 | 0.2375 | 999222 | 999222 | 0 | 0 | 0 | MF Change
Assessment
31 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2491 | 2007 | 484 | -968000 | -0.968 | 969682 | 969682 | 0 | 0 | 0
MEHRAULI
32 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992924 | 993086 | -162 | 162000 | 0.162 | 906182 | 906233 | -51 | 51000 | 0.051
33 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994499 | 994499 | 0 | 0 | 0 | 927516 | 927516 | 0 | 0 | 0
34 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996712 | 996883 | -171 | 171000 | 0.171 | 991284 | 991330 | -46 | 46000 | 0.046
35 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979574 | 980536 | -962 | 962000 | 0.962 | 980726 | 980762 | -36 | 36000 | 0.036
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 975403 | 977773 | -2370 | 1579998.42 | 1.58 | 977072 | 977073 | -1 | 666.666 | 0.00066667
37 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 991417 | 990979 | 438 | -1095000 | -1.095 | 481 | 481 | 0 | 0 | 0
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3783 | 3763 | 20 | -40000 | -0.04 | 2013 | 2006 | 7 | -14000 | -0.014
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 580 | 555 | 25 | -50000 | -0.05 | 1060 | 1055 | 5 | -10000 | -0.01
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 929339 | 929849 | -510 | 510000 | 0.51 | 988358 | 988463 | -105 | 105000 | 0.105
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 937835 | 938250 | -415 | 415000 | 0.415 | 991924 | 992113 | -189 | 189000 | 0.189
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 31170 | 30411 | 759 | 607200 | 0.6072 | 1674 | 1674 | 0 | 0 | 0
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 913016 | 914538 | -1522 | -1217600 | -1.2176 | 999542 | 999542 | 0 | 0 | 0
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988292 | 988434 | -142 | -142000 | -0.142 | 35263 | 35288 | -25 | -25000 | -0.025
47 | 66KV R VALLEY-2 | 4864958 | ELSTER | Kvarh(Lead/Lag) | 2000 | 990549 | 990039 | 510 | 1020000 | 1.02 | 17203 | 17206 | -3 | -6000 | -0.006
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30648 | 30316 | 332 | -332000 | -0.332 | 973252 | 973263 | -11 | 11000 | 0.011
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16331 | 16436 | -105 | 105000 | 0.105 | 987949 | 987957 | -8 | 8000 | 0.008
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 21361 | 20862 | 499 | 49900 | 0.0499 | 21522 | 21035 | 487 | 48700 | 0.0487
SUDARSHAN PARK
51 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 9261 | 9407 | -146 | -14600 | -0.0146 | 61338 | 61339 | -1 | -100 | -0.0001
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 916966 | 917636 | -670 | -670000 | -0.67 | 991937 | 991937 | 0 | 0 | 0
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 1841 | 1582 | 259 | 19425 | 0.019425 | 6946 | 6767 | 179 | 13425 | 0.013425
55 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 323 | 159 | 164 | 16400 | 0.0164 | 1484 | 1378 | 106 | 10600 | 0.0106
PEERGARHI
56 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 118 | 26 | 92 | 92000 | 0.092 | 999983 | 999971 | 12 | 12000 | 0.012
57 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 122 | 3 | 119 | 119000 | 0.119 | 144 | 128 | 16 | 16000 | 0.016
58 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999813 | 999971 | -158 | -158000 | -0.158 | 60 | 55 | 5 | 5000 | 0.005
59 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 175 | 14 | 161 | 161000 | 0.161 | 522 | 499 | 23 | 23000 | 0.023
60 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
61 | PASCHIM PURI - 2(L-8) | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 18 | 0 | 18 | 18000 | 0.018 | 23 | 10 | 13 | 13000 | 0.013
62 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
63 | PEERGARHI - 2(L-10) | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 230 | 16 | 214 | 214000 | 0.214 | 32 | 32 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.2989 |  |  |  |  | 1.4328
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | October-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 95996 | 90341 | 5655 | -565500 | -0.5655 | 910763 | 910763 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 97431 | 97721 | -290 | 29000 | 0.029 | 1073 | 1089 | -16 | 1600 | 0.0016
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 150939 | 149936 | 1003 | -100300 | -0.1003 | 17434 | 16878 | 556 | -55600 | -0.0556
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996171 | 996175 | -4 | 400 | 0.0004 | 1000135 | 999925 | 210 | -21000 | -0.021
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5276 | 4843 | 433 | -866000 | -0.866 | 73943 | 73943 | 0 | 0 | 0
Assessment
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14511 | 14611 | -100 | 100000 | 0.1 | 284 | 284 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 905855 | 905739 | 116 | -58000 | -0.058 | 56962 | 56786 | 176 | -88000 | -0.088
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 999377 | 1000403 | -1026 | 410400 | 0.4104 | 2926 | 2927 | -1 | 400 | 0.0004
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 76255 | 75776 | 479 | -47900 | -0.0479 | 68417 | 68322 | 95 | -9500 | -0.0095
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 81354 | 80571 | 783 | -78300 | -0.0783 | 66984 | 66867 | 117 | -11700 | -0.0117
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -200 | 10636 | 9982 | 654 | -130800 | -0.1308 | 10612 | 10099 | 513 | -102600 | -0.1026
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999654 | 999654 | 0 | 0 | 0 | 17091 | 17091 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) |  | 999953 | 999953 | 0 | 0 | 0 | 999908 | 999908 | 0 | 0 | 0
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987102 | 987102 | 0 | 0 | 0 | 993179 | 993179 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 349278 | 347196 | 2082 | -208200 | -0.2082 | 49584 | 49584 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4109 | 3992 | 117 | -11700 | -0.0117 | 23275 | 23179 | 96 | -9600 | -0.0096
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 172822 | 173024 | -202 | 25250 | 0.02525 | 261275 | 261254 | 21 | -2625 | -0.002625
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9510 | 9528 | -18 | 1800 | 0.0018 | 32302 | 32306 | -4 | 400 | 0.0004
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 12057 | 11433 | 624 | -62400 | -0.0624 | 64382 | 64275 | 107 | -10700 | -0.0107
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 19412 | 19154 | 258 | -25800 | -0.0258 | 66371 | 65995 | 376 | -37600 | -0.0376
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 8121 | 7958 | 163 | -16300 | -0.0163 | 6246 | 6062 | 184 | -18400 | -0.0184
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17102 | 17175 | -73 | 7300 | 0.0073 | 21190 | 20957 | 233 | -23300 | -0.0233
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 994757 | 995070 | -313 | 13909.72 | 0.01391 | 776 | 747 | 29 | -1288.76 | -0.0012888
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995596 | 995596 | 0 | 0 | 0 | 51 | 51 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999933 | 999933 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.5831 |  |  |  |  | -0.38951
October-2015
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 3.2989 |  |  |  |  | 1.4328
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.5831 |  |  |  |  | -0.38951
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 1.0822 |  |  |  |  | 0.015213
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.048875 |  |  |  |  | -0.15638
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 2.7491 |  |  |  |  | 0.90212
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 2.7491 | (REACTIVE MUs) |  |  |  | 0.90212 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.2805 | (REACTIVE MUs) |  |  |  | -3.0974 | (REACTIVE MUs)
[9 empty] | TOTAL | 4.0295 | (REACTIVE MUs) |  |  |  | -2.1952 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | October-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 51882 | 51709 | 173 | 34600 | 0.0346 | 81474 | 81258 | 216 | 43200 | 0.0432
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73630 | 73719 | -89 | -8900 | -0.0089 | 139960 | 140003 | -43 | -4300 | -0.0043
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 978251 | 978315 | -64 | -12800 | -0.0128 | 997209 | 997372 | -163 | -32600 | -0.0326
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 80875 | 80725 | 150 | 30000 | 0.03 | 101655 | 100584 | 1071 | 214200 | 0.2142
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 11697 | 11552 | 145 | 116000 | 0.116 | 7143 | 7099 | 44 | 35200 | 0.0352
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14024 | 13995 | 29 | 58000 | 0.058 | 2927 | 2921 | 6 | 12000 | 0.012
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 980524 | 980631 | -107 | -85600 | -0.0856 | 989712 | 989731 | -19 | -15200 | -0.0152
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 978669 | 979050 | -381 | -304800 | -0.3048 | 983819 | 983901 | -82 | -65600 | -0.0656
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 987948 | 988197 | -249 | -199200 | -0.1992 | 992655 | 992701 | -46 | -36800 | -0.0368
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) |  | 988696 | 988877 | -181 | 0 | 0 | 994528 | 994540 | -12 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 2743 | 1182 | 1561 | 156100 | 0.1561 | 397872 | 397872 | 0 | 0 | 0
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 992519 | 994891 | -2372 | -177900 | -0.1779 | 3272 | 3272 | 0 | 0 | 0
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 24396 | 21858 | 2538 | 253800 | 0.2538 | 377402 | 377402 | 0 | 0 | 0
14 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 999333 | 999574 | -241 | -24100 | -0.0241 | 327800 | 327800 | 0 | 0 | 0 | Check Meter Data
|  | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999605 | 1000000 | -395 | -148125 | -0.14813 | 999999 | 1000000 | -1 | -375 | -0.000375 | w.e.f 09/10/2015
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 994314 | 994969 | -655 | -65500 | -0.0655 | 315413 | 315413 | 0 | 0 | 0
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998527 | 999633 | -1106 | -110600 | -0.1106 | 194495 | 194495 | 0 | 0 | 0
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 11431 | 11938 | -507 | -50700 | -0.0507 | 258503 | 258503 | 0 | 0 | 0
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 71560 | 65895 | 5665 | 566500 | 0.5665 | 714163 | 714163 | 0 | 0 | 0
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 99508 | 98330 | 1178 | 1295800 | 1.2958
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1252 | 1268 | -16 | -16000 | -0.016 | 42517 | 42459 | 58 | 58000 | 0.058
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 150106 | 151294 | -1188 | -1306800 | -1.3068
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3600 | 3584 | 16 | 16000 | 0.016 | 56269 | 56266 | 3 | 3000 | 0.003
[10 empty] | 0 |  |  |  |  | 0.05
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 5276 | 4843 | 433 | 866000 | 0.866 | 73943 | 73943 | 0 | 0 | 0
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14511 | 14611 | -100 | -100000 | -0.1 | 284 | 284 | 0 | 0 | 0
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 905855 | 905739 | 116 | 58000 | 0.058 | 56962 | 56786 | 176 | 88000 | 0.088
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 999377 | 1000403 | -1026 | -410400 | -0.4104 | 2926 | 2927 | -1 | -400 | -0.0004
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999654 | 999654 | 0 | 0 | 0 | 17091 | 17091 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999953 | 999953 | 0 | 0 | 0 | 999908 | 999908 | 0 | 0 | 0
29 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987102 | 987102 | 0 | 0 | 0 | 993179 | 993179 | 0 | 0 | 0
October-2015
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962662 | 963488 | -826 | 826000 | 0.826 | 973046 | 973075 | -29 | 29000 | 0.029
31 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998128 | 998903 | -775 | 775000 | 0.775 | 997074 | 997111 | -37 | 37000 | 0.037
ELECTRIC LANE
32 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970874 | 971580 | -706 | 706000 | 0.706 | 981319 | 981389 | -70 | 70000 | 0.07
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986083 | 986816 | -733 | 733000 | 0.733 | 993117 | 993183 | -66 | 66000 | 0.066
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 349278 | 347196 | 2082 | 208200 | 0.2082 | 49584 | 49584 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4109 | 3992 | 117 | 11700 | 0.0117 | 23275 | 23179 | 96 | 9600 | 0.0096
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 76255 | 75776 | 479 | 47900 | 0.0479 | 68417 | 68322 | 95 | 9500 | 0.0095
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 81354 | 80571 | 783 | 78300 | 0.0783 | 66984 | 66867 | 117 | 11700 | 0.0117
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 10636 | 9982 | 654 | 65400 | 0.0654 | 10612 | 10099 | 513 | 51300 | 0.0513
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 95996 | 90341 | 5655 | 565500 | 0.5655 | 910763 | 910763 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 1841 | 1582 | 259 | -19425 | -0.019425 | 6946 | 6767 | 179 | -13425 | -0.013425
2 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 323 | 159 | 164 | -16400 | -0.0164 | 1484 | 1378 | 106 | -10600 | -0.0106
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 4.4215 |  |  |  |  | 0.5474
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 4.4215 |  |  |  |  | 0.5474
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.16175 |  |  |  |  | -0.39126
| TOTAL ENERGY TO NDMC | [8 empty] | 4.5833 |  |  |  |  | 0.15614

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | October-2015
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2416 | 2416 | 0 | 0 | 0 | 30839 | 30559 | 280 | 280000 | 0.28
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1482 | 1482 | 0 | 0 | 0 | 32332 | 32123 | 209 | 209000 | 0.209
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3920 | 3919 | 1 | 1000 | 0.001 | 39908 | 39452 | 456 | 456000 | 0.456
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 3 | 3 | 0 | 0 | 0 | 10914 | 10342 | 572 | 76266.476 | 0.076266
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5327 | 5327 | 0 | 0 | 0 | 11023 | 11023 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12435 | 12358 | 77 | 38500 | 0.0385 | 60601 | 60469 | 132 | 66000 | 0.066
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996171 | 996175 | -4 | -400 | -0.0004 | 1000135 | 999925 | 210 | 21000 | 0.021
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0391 |  |  |  |  | 1.1083
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 54366 | 54169 | 197 | 19700 | 0.0197 | 80527 | 80069 | 458 | 45800 | 0.0458
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 76635 | 76635 | 0 | 0 | 0 | 13217 | 13217 | 0 | 0 | 0
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 52607 | 52316 | 291 | 29100 | 0.0291 | 82418 | 81334 | 1084 | 108400 | 0.1084
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 13 | 12 | 1 | 75 | 7.5e-05 | 70 | 41 | 29 | 2175 | 0.002175
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9406 | 9375 | 31 | 3100 | 0.0031 | 3147 | 3114 | 33 | 3300 | 0.0033
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.048875 |  |  |  |  | 0.15638
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.048875 |  |  |  |  | 0.15638
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0391 |  |  |  |  | 1.1083
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.087975 |  |  |  |  | 1.2646
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.087975 | (REACTIVE MUs) |  |  |  | 1.2646 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.021716 | (REACTIVE MUs) |  |  |  | -0.052529 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.10969 | (REACTIVE MUs) |  |  |  | 1.2121 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | October-2015
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 11466 | 13439 | -1973 | -197300 | -0.1973 | 2403 | 2405 | -2 | -200 | -0.0002
2 | O/G SBMILL-2 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 375 | 1148 | 561 | 587 | 220125 | 0.22012 | 999782 | 999863 | -81 | -30375 | -0.030375 | Check mater data
|  | 4864794 | ELSTER | Kvarh(Lead/Lag) | 1000 | 355 | 0 | 355 | 355000 | 0.355 | 0 | 0 | 0 | 0 | 0 | w.e.f 28/10/2015
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 312112 | 310688 | 1424 | 142400 | 0.1424 | 104966 | 104355 | 611 | 61100 | 0.0611
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 40803 | 40818 | -15 | -14062.5 | -0.014063 | 19105 | 19124 | -19 | -17812.5 | -0.017812
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 982006 | 982695 | -689 | 344500 | 0.3445 | 909091 | 909098 | -7 | 3500 | 0.0035
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 987656 | 988119 | -463 | 231500 | 0.2315 | 976523 | 976521 | 2 | -1000 | -0.001
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 109 | 109 | 0 | 0 | 0 | 20 | 20 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 1.0822 |  |  |  |  | 0.015213
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 996423 | 996671 | -248 | -49600 | -0.0496 | 999897 | 999820 | 77 | 15400 | 0.0154
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 938686 | 939751 | -1065 | -399375 | -0.39937 | 997625 | 998068 | -443 | -166125 | -0.16612
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.44897 |  |  |  |  | -0.15072
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 275427 | 275417 | 10 | 2000 | 0.002 | 266060 | 266054 | 6 | 1200 | 0.0012
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 128153 | 127153 | 1000 | 200000 | 0.2 | 43114 | 42863 | 251 | 50200 | 0.0502
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 214233 | 212295 | 1938 | 193800 | 0.1938 | 75539 | 75044 | 495 | 49500 | 0.0495
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 736 | 621 | 115 | 115000 | 0.115 | 4 | 14 | -10 | -10000 | -0.01
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 997809 | 997809 | 0 | 0 | 0 | 999910 | 999910 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999982 | 1000000 | -18 | -2700 | -0.0027 | 999643 | 999940 | -297 | -44550 | -0.04455
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999820 | 999901 | -81 | 202500 | 0.2025 | 3075 | 3075 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 109 | 109 | 0 | 0 | 0 | 20 | 20 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.7106 |  |  |  |  | 0.04635
| E) NET EXPORT TO BSES RPL | [8 empty] | 1.0822 |  |  |  |  | 0.015213
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.44897 |  |  |  |  | -0.15072
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.7106 |  |  |  |  | 0.04635

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | October-2015
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 20115 | 18532 | 1583 | 3166000 | 3.166 | 1576 | 1575 | 1 | 2000 | 0.002
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 999970 | 999848 | 122 | 610000 | 0.61 | 999913 | 999913 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 3.776 |  | NET REACTIVE ENERGY |  |  | 0.002
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 991942 | 991870 | 72 | 72000 | 0.072 | 37072 | 37141 | -69 | -69000 | -0.069
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 994786 | 994882 | -96 | -96000 | -0.096 | 992520 | 992644 | -124 | -124000 | -0.124
[7 empty] | NET REACTIVE ENERGY |  |  | -0.024 |  | NET REACTIVE ENERGY |  |  | -0.193
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 3.752 |  |  |  |  | -0.191
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.602 |  |  |  |  | -7.4786
[7 empty] | NDMC = |  |  | 0 |  |  |  |  | 0.05
MES =
[7 empty] | 2)TOTAL |  |  | -0.602 |  |  |  |  | -7.4286
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 3.15 |  |  |  |  | -7.6196
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.6497 | % |  |  | 0.93397 |  |  |  |  | -2.2592
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.6502 | % |  |  | 1.2805 |  |  |  |  | -3.0974
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.3758 | % |  |  | 0.73634 |  |  |  |  | -1.7811
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.135 | % |  |  | 0.16175 |  |  |  |  | -0.39126
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6894 | % |  |  | 0.021716 |  |  |  |  | -0.052529
Note :Sharing taken from wk-28 abt bill 2015-16

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st October-2015 TO 1st November-2015
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | 3.6216 |  | -1.8496
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 4.0295 |  | -2.1952
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 7.5137 |  | -3.1209
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 4.5833 | + | 0.15614
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.10969 | + | 1.2121
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2015 | INTIAL READING 01/10/2015 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 953038 | 952711 | 327 | 490500 | 0.4905 | 979232 | 979232 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 991673 | 991506 | 167 | 250500 | 0.2505 | 992896 | 992872 | 24 | 36000 | 0.036
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 936433 | 942777 | -6344 | -4758000 | -4.758 | 999302 | 999302 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -4.017 |  |  | NET REACTIVE ENERGY |  | 0.036
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997886 | 997882 | 4 | 20000 | 0.02 | 30778 | 31088 | -310 | -1550000 | -1.55
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999981 | 999998 | -17 | -17000 | -0.017 | 978072 | 980316 | -2244 | -2244000 | -2.244
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 976323 | 976164 | 159 | 159000 | 0.159 | 991135 | 991135 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 0.162 |  |  | NET REACTIVE ENERGY |  | -3.794