## NDPL
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998026 | 998435 | -409 | 409000 | 0.409 | 999989 | 999999 | -10 | 10000 | 0.01
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 201 | 250 | -49 | 49000 | 0.049 | 999173 | 999286 | -113 | 113000 | 0.113
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12491 | 12804 | -313 | 313000 | 0.313 | 996384 | 996384 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976178 | 976179 | -1 | 1000 | 0.001 | 977671 | 977834 | -163 | 163000 | 0.163
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918623 | 918918 | -295 | 295000 | 0.295 | 946538 | 946538 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18601 | 18611 | -10 | 10000 | 0.01 | 17160 | 17220 | -60 | 60000 | 0.06
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19252 | 19267 | -15 | 15000 | 0.015 | 13155 | 13211 | -56 | 56000 | 0.056
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 17103 | 17216 | -113 | 141250 | 0.14125 | 996508 | 996519 | -11 | 13750 | 0.01375
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13297 | 13510 | -213 | 213000 | 0.213 | 986567 | 986579 | -12 | 12000 | 0.012
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30985 | 31184 | -199 | 199000 | 0.199 | 9558 | 9646 | -88 | 88000 | 0.088
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996578 | 996693 | -115 | 115000 | 0.115 | 999715 | 999715 | 0 | 0 | 0
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 925620 | 927728 | -2108 | -2108000 | -2.108 | 920532 | 920532 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995672 | 995705 | -33 | 33000 | 0.033 | 16933 | 16939 | -6 | 6000 | 0.006
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1110 | 1036 | 74 | -74000 | -0.074 | 19630 | 19631 | -1 | 1000 | 0.001
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 82 | 120 | -38 | 38000 | 0.038 | 20012 | 20106 | -94 | 94000 | 0.094
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999515 | 999515 | 0 | 0 | 0 | 28055 | 28040 | 15 | 15000 | 0.015 | From 01/04/13 to 10/04/13
17 | O/G REWARI LINE 1 | 5128404 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999956 | 999956 | 0 | 0 | 0 | 43 | 56 | -13 | -13000 | -0.013 | check meter,from 10/04/13 to 01/05/13
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 246 | 246 | 0 | 0 | 0 | 29878 | 29843 | 35 | 35000 | 0.035
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2335 | 2335 | 0 | 0 | 0 | 139216 | 138554 | 662 | 66200 | 0.0662
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4776 | 4773 | 3 | 300 | 0.0003 | 212965 | 211963 | 1002 | 100200 | 0.1002
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996022 | 996022 | 0 | 0 | 0 | 1001184 | 999363 | 1821 | 1821000 | 1.821 | ROLL OVER
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999940 | 999940 | 0 | 0 | 0 | 6851 | 6957 | -106 | -106000 | -0.106
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 647820 | 648167 | -347 | -347000 | -0.347 | 800177 | 800177 | 0 | 0 | 0
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 655851 | 655927 | -76 | -76000 | -0.076 | 833096 | 833096 | 0 | 0 | 0
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992266 | 992211 | 55 | 55000 | 0.055 | 998292 | 998292 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 1052 | 1019 | 33 | 16500 | 0.0165 | 194 | 176 | 18 | 9000 | 0.009
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13789 | 13782 | 7 | -7000 | -0.007 | 982100 | 982059 | 41 | -41000 | -0.041
28 | Tx.2 | 4865031 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2920 | 3075 | -155 | 155000 | 0.155 | 956198 | 956150 | 48 | -48000 | -0.048 | Check Meter used from 01/04/13 to 29/04/13
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999999 | 1000000 | -1 | 1000 | 0.001 | 999997 | 1000000 | -3 | 3000 | 0.003 | 4865029 is replaced by 4865036 on dated 29/04/13, ROLL OVER
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992483 | 992387 | 96 | -96000 | -0.096 | 927934 | 927937 | -3 | 3000 | 0.003
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999755 | 999699 | 56 | -56000 | -0.056 | 999946 | 999946 | 0 | 0 | 0
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32116 | 31742 | 374 | -374000 | -0.374 | 999925 | 999925 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1335 | 1330 | 5 | 5000 | 0.005 | 18685 | 18209 | 476 | 476000 | 0.476
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 158 | 156 | 2 | 2000 | 0.002 | 2818 | 3153 | -335 | -335000 | -0.335
| NDPL(+) continue | [14 empty] | APRIL-2013
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1282 | 1284 | -2 | -2000 | -0.002 | 59776 | 59779 | -3 | -3000 | -0.003
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000534 | 999462 | 1072 | 107200 | 0.1072 | 77611 | 73426 | 4185 | 418500 | 0.4185
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9193 | 9168 | 25 | 2500 | 0.0025 | 28136 | 27990 | 146 | 14600 | 0.0146
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9951 | 9878 | 73 | 7300 | 0.0073 | 40940 | 39130 | 1810 | 181000 | 0.181
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 14515 | 14366 | 149 | 14900 | 0.0149 | 51059 | 50361 | 698 | 69800 | 0.0698
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 39055 | 38822 | 233 | 23300 | 0.0233 | 12964 | 12928 | 36 | 3600 | 0.0036
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16657 | 16768 | -111 | -11100 | -0.0111 | 12324 | 12292 | 32 | 3200 | 0.0032
45 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997537 | 997577 | -40 | -4000 | -0.004 | 2645 | 2631 | 14 | 1400 | 0.0014
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5308 | 5302 | 6 | 3000 | 0.003 | 26345 | 26164 | 181 | 90500 | 0.0905
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3469 | 3461 | 8 | 4000 | 0.004 | 24143 | 24019 | 124 | 62000 | 0.062
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 4336 | 4254 | 82 | 41000 | 0.041 | 14087 | 14085 | 2 | 1000 | 0.001
49 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | Assessment on pro-rata base |  |  |  | 0.046 |  |  |  |  | 0.0005 | Energy taken is equal to March 2013 month energy
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 996414 | 996579 | -165 | -16500 | -0.0165 | 5951 | 5958 | -7 | -700 | -0.0007
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 8178 | 8113 | 65 | 6500 | 0.0065 | 14941 | 14936 | 5 | 500 | 0.0005
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 19646 | 18852 | 794 | 79400 | 0.0794 | 50681 | 50669 | 12 | 1200 | 0.0012
53 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 2484 | 2507 | -23 | -2300 | -0.0023 | 999986 | 999989 | -3 | -300 | -0.0003
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999020 | 999036 | -16 | -1600 | -0.0016 | 203 | 205 | -2 | -200 | -0.0002
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 8463 | 8341 | 122 | 12200 | 0.0122 | 70545 | 69989 | 556 | 55600 | 0.0556
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 7552 | 7403 | 149 | 14900 | 0.0149 | 60890 | 60146 | 744 | 74400 | 0.0744
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 8808 | 8648 | 160 | 16000 | 0.016 | 87972 | 86966 | 1006 | 100600 | 0.1006
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 127875 | 127235 | 640 | 64000 | 0.064 | 28987 | 28868 | 119 | 11900 | 0.0119
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 19547 | 19374 | 173 | 17300 | 0.0173 | 38658 | 38539 | 119 | 11900 | 0.0119
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 23 | 23 | 0 | 0 | 0 | 59 | 59 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999276 | 999276 | 0 | 0 | 0 | 999397 | 999397 | 0 | 0 | 0
Mundka
64 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 994181 | 994857 | -676 | -540800 | -0.5408 | 345 | 345 | 0 | 0 | 0
65 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 997563 | 998600 | -1037 | -829600 | -0.8296 | 999999 | 999999 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -2.0204 |  |  |  |  | 3.7001
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 9780 | 9634 | 146 | -14600 | -0.0146 | 12739 | 12734 | 5 | -500 | -0.0005
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8118 | 8069 | 49 | -49000 | -0.049 | 6853 | 6853 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 4121 | 4063 | 58 | -11600 | -0.0116 | 2465 | 2409 | 56 | -11200 | -0.0112
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14175 | 14123 | 52 | -52000 | -0.052 | 27661 | 27641 | 20 | -20000 | -0.02
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 35960 | 36660 | -700 | 70000 | 0.07 | 147017 | 147017 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957088 | 957761 | -673 | 673000 | 0.673 | 992480 | 992480 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.6158 |  |  |  |  | -0.0317
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -2.0204 |  |  |  |  | 3.7001
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.6158 |  |  |  |  | -0.0317
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 2.9113 |  |  |  |  | -0.10284
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 1.5068 |  |  |  |  | 3.5656
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.5068 | (REACTIVE MUs) |  |  |  | 3.5656 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.010386 | (REACTIVE MUs) |  |  |  | -1.9245 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.5172 | (REACTIVE MUs) |  |  |  | 1.6411 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | APRIL-2013
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988083 | 988079 | 4 | 400 | 0.0004 | 59298 | 56489 | 2809 | 280900 | 0.2809
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 16112 | 16021 | 91 | 9100 | 0.0091 | 13286 | 13903 | -617 | -61700 | -0.0617
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 21436 | 21524 | -88 | -8800 | -0.0088 | 20110 | 19004 | 1106 | 110600 | 0.1106
5 | IG STD-BAY 31 | 4865106 | ELSTER | Kvarh(Lead/Lag) | 100 | 997476 | 997512 | -36 | -3600 | -0.0036 | 9482 | 9266 | 216 | 21600 | 0.0216 | Check Meter used from 01/04/13 to 30/04/13
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 999992 | 1000000 | -8 | -800 | -0.0008 | 4865100 is replaced by 4865103 on dated 30/4/13,Roll Over
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 9323 | 9324 | -1 | -100 | -0.0001 | 113872 | 110509 | 3363 | 336300 | 0.3363
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 1279 | 1237 | 42 | 4200 | 0.0042 | 68390 | 64044 | 4346 | 434600 | 0.4346
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998209 | 998244 | -35 | -35000 | -0.035 | 372 | 371 | 1 | 1000 | 0.001
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999690 | 999698 | -8 | -8000 | -0.008 | 2219 | 2217 | 2 | 2000 | 0.002
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 780 | 786 | -6 | -6000 | -0.006 | 1481 | 1479 | 2 | 2000 | 0.002
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 65 | 70 | -5 | -5000 | -0.005 | 2867 | 2865 | 2 | 2000 | 0.002
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998829 | 998810 | 19 | 19000 | 0.019 | 3106 | 3106 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 490 | 490 | 0 | 0 | 0 | 145 | 124 | 21 | 21000 | 0.021
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 197 | 202 | -5 | -5000 | -0.005 | 15179 | 15131 | 48 | 48000 | 0.048
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 503 | 486 | 17 | 17000 | 0.017 | 35903 | 35891 | 12 | 12000 | 0.012
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 266 | 266 | 0 | 0 | 0 | 19561 | 18780 | 781 | 781000 | 0.781
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 600 | 554 | 46 | 46000 | 0.046 | 6448 | 6439 | 9 | 9000 | 0.009
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 39831 | 39062 | 769 | 76900 | 0.0769 | 636 | 636 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998625 | 998606 | 19 | 19000 | 0.019 | 10846 | 10672 | 174 | 174000 | 0.174
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 780948 | 784656 | -3708 | -4078800 | -4.0788
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 825984 | 829269 | -3285 | -3613500 | -3.6135
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989456 | 989512 | -56 | -56000 | -0.056 | 9576 | 9583 | -7 | -7000 | -0.007
| KASHMIRI GATE | [8 empty] | 0.0629 |  |  |  |  | -6.6473
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962707 | 962928 | -221 | 221000 | 0.221 | 974362 | 974392 | -30 | 30000 | 0.03
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976597 | 976902 | -305 | 305000 | 0.305 | 973047 | 973352 | -305 | 305000 | 0.305
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 23 | 23 | 0 | 0 | 0 | 59 | 59 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14 | 14 | 0 | 0 | 0 | 1479 | 1385 | 94 | 94000 | 0.094
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25895 | 25643 | 252 | -252000 | -0.252 | 973427 | 973226 | 201 | -201000 | -0.201
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9701 | 9614 | 87 | -87000 | -0.087 | 969285 | 971087 | -1802 | 1802000 | 1.802
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997746 | 997794 | -48 | 48000 | 0.048 | 998569 | 998861 | -292 | 292000 | 0.292
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982263 | 982258 | 5 | -5000 | -0.005 | 993604 | 993885 | -281 | 281000 | 0.281
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 4121 | 4063 | 58 | 11600 | 0.0116 | 2465 | 2409 | 56 | 11200 | 0.0112
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14175 | 14123 | 52 | 52000 | 0.052 | 27661 | 27641 | 20 | 20000 | 0.02
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 112292 | 111746 | 546 | 54600 | 0.0546 | 1623 | 1623 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 69365 | 65632 | 3733 | 373300 | 0.3733 | 131 | 131 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.7856 |  |  |  |  | -2.8916
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.7856 |  |  |  |  | -2.8916
APRIL-2013
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994854 | 994934 | -80 | 80000 | 0.08 | 930046 | 930671 | -625 | 625000 | 0.625
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14031 | 14065 | -34 | 34000 | 0.034 | 948998 | 949592 | -594 | 594000 | 0.594
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997230 | 997344 | -114 | 114000 | 0.114 | 993995 | 994550 | -555 | 555000 | 0.555
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 926318 | 928866 | -2548 | 2548000 | 2.548 | 993112 | 993112 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 916296 | 918923 | -2627 | 2627000 | 2.627 | 991447 | 991447 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 562 | 580 | -18 | 18000 | 0.018 | 991892 | 992487 | -595 | 595000 | 0.595
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998631 | 998643 | -12 | 24000 | 0.024 | 987392 | 987741 | -349 | 698000 | 0.698
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998967 | 998992 | -25 | 25000 | 0.025 | 968165 | 969329 | -1164 | 1164000 | 1.164
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9445 | 9659 | -214 | 214000 | 0.214 | 946581 | 947511 | -930 | 930000 | 0.93
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962696 | 962853 | -157 | 157000 | 0.157 | 877670 | 877912 | -242 | 242000 | 0.242
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21668 | 21624 | 44 | -44000 | -0.044 | 31365 | 31391 | -26 | 26000 | 0.026
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20360 | 20296 | 64 | -64000 | -0.064 | 40230 | 40280 | -50 | 50000 | 0.05
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 4902528 replaces with 4865087 on dated 05/04/13
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 5.733 |  |  |  |  | 5.479
| (B) NET ENERGY TO EAST | [8 empty] | 5.733 |  |  |  |  | 5.479
APRIL-2013
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992266 | 992211 | 55 | -55000 | -0.055 | 998292 | 998292 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 1052 | 1019 | 33 | -16500 | -0.0165 | 194 | 176 | 18 | -9000 | -0.009
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 39463 | 39214 | 249 | -49800 | -0.0498 | 66544 | 66080 | 464 | -92800 | -0.0928
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 68470 | 68172 | 298 | -29800 | -0.0298 | 128291 | 127644 | 647 | -64700 | -0.0647
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 984769 | 984824 | -55 | 11000 | 0.011 | 4028 | 4086 | -58 | 11600 | 0.0116
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 63704 | 63275 | 429 | -85800 | -0.0858 | 83314 | 83115 | 199 | -39800 | -0.0398
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 515 | 343 | 172 | -137600 | -0.1376 | 30 | 0 | 30 | -24000 | -0.024
7 | 66 KV BD MARG-I | 4865050 |  |  | Assessment due to wrong m.f for the month of March 2013 |  |  |  |  | 0.4116 |  |  |  |  | 0 | MF was taken -2000 instead of -800 for march 2013
7 | 66 KV BD MARG-I | 4865050 |  | Assessment for CT uprating from 29 OCT 2012 to 31st JAN 2013 | [5 empty] | -1.032 |  |  |  |  | -0.006
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13100 | 13080 | 20 | -40000 | -0.04 | 490 | 385 | 105 | -210000 | -0.21
8 | 66 KV BD MARG-II | 4864949 |  | Assessment for CT uprating from 9 OCT 2012 to 31st JAN 2013 | [5 empty] | -1.611 |  |  |  |  | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 985974 | 986060 | -86 | 68800 | 0.0688 | 996112 | 996727 | -615 | 492000 | 0.492
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 995859 | 995898 | -39 | 31200 | 0.0312 | 998587 | 998940 | -353 | 282400 | 0.2824
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 999520 | 999588 | -68 | 54400 | 0.0544 | 999369 | 999744 | -375 | 300000 | 0.3
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996376 | 996403 | -27 | 27000 | 0.027 | 37502 | 37540 | -38 | 38000 | 0.038
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 995935 | 995982 | -47 | 62666.51 | 0.062667 | 999946 | 1000006 | -60 | 79999.8 | 0.08 | ROLL OVER
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1335 | 1330 | 5 | -5000 | -0.005 | 18685 | 18209 | 476 | -476000 | -0.476
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 158 | 156 | 2 | -2000 | -0.002 | 2818 | 3153 | -335 | 335000 | 0.335
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1282 | 1284 | -2 | 2000 | 0.002 | 59776 | 59779 | -3 | 3000 | 0.003
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5308 | 5302 | 6 | -3000 | -0.003 | 26345 | 26164 | 181 | -90500 | -0.0905
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3469 | 3461 | 8 | -4000 | -0.004 | 24143 | 24019 | 124 | -62000 | -0.062
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 4336 | 4254 | 82 | -41000 | -0.041 | 14087 | 14085 | 2 | -1000 | -0.001
20 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | Assessment on pro-rata base |  |  |  | 0.046 |  |  |  |  | 0.0005 | Energy taken is equal to March 2013 month energy
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 127875 | 127235 | 640 | -64000 | -0.064 | 28987 | 28868 | 119 | -11900 | -0.0119
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 19547 | 19374 | 173 | -17300 | -0.0173 | 38658 | 38539 | 119 | -11900 | -0.0119
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 996414 | 996579 | -165 | 16500 | 0.0165 | 5951 | 5958 | -7 | 700 | 0.0007
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 8178 | 8113 | 65 | -6500 | -0.0065 | 14941 | 14936 | 5 | -500 | -0.0005
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 19646 | 18852 | 794 | -79400 | -0.0794 | 50681 | 50669 | 12 | -1200 | -0.0012
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 2484 | 2507 | -23 | 2300 | 0.0023 | 999986 | 999989 | -3 | 300 | 0.0003
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999020 | 999036 | -16 | 1600 | 0.0016 | 203 | 205 | -2 | 200 | 0.0002
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 8463 | 8341 | 122 | -12200 | -0.0122 | 70545 | 69989 | 556 | -55600 | -0.0556
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 7552 | 7403 | 149 | -14900 | -0.0149 | 60890 | 60146 | 744 | -74400 | -0.0744
31 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 8808 | 8648 | 160 | -16000 | -0.016 | 87972 | 86966 | 1006 | -100600 | -0.1006
[10 empty] | -2.5877 |  |  |  |  | 0.2118
APRIL-2013
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.7856 |  |  |  |  | -2.8916
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -2.5877 |  |  |  |  | 0.2118
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.3677 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.1698 |  |  |  |  | -2.6798
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 5.733 |  |  |  |  | 5.479
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 3.5632 |  |  |  |  | 2.7992
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 3.5632 | (REACTIVE MUs) |  |  |  | 2.7992 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0085224 | (REACTIVE MUs) |  |  |  | -1.5792 | (REACTIVE MUs)
[9 empty] | TOTAL | 3.5717 | (REACTIVE MUs) |  |  |  | 1.22 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | APRIL-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 998134 | 998135 | -1 | -4000 | -0.004 | 9218 | 9342 | -124 | -496000 | -0.496
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988422 | 988525 | -103 | -137332.99 | -0.13733 | 674315 | 674451 | -136 | -181332.88 | -0.18133
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6778 | 6734 | 44 | 44000 | 0.044 | 62247 | 61593 | 654 | 654000 | 0.654
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11343 | 11305 | 38 | 38000 | 0.038 | 999590 | 999378 | 212 | 212000 | 0.212
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 8847 | 8803 | 44 | 4400 | 0.0044 | 116232 | 114937 | 1295 | 129500 | 0.1295
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 28694 | 29096 | -402 | -40200 | -0.0402 | 244074 | 243862 | 212 | 21200 | 0.0212
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 7992 | 8146 | -154 | -15400 | -0.0154 | 394561 | 395342 | -781 | -78100 | -0.0781
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999230 | 999262 | -32 | -28800 | -0.0288 | 999610 | 1000004 | -394 | -354600 | -0.3546 | ROLL OVER
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990584 | 990726 | -142 | 142000 | 0.142 | 949528 | 950543 | -1015 | 1015000 | 1.015
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988220 | 988394 | -174 | 174000 | 0.174 | 954086 | 954827 | -741 | 741000 | 0.741
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984142 | 984695 | -553 | 553000 | 0.553 | 938240 | 939130 | -890 | 890000 | 0.89
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996186 | 996196 | -10 | 10000 | 0.01 | 954294 | 954924 | -630 | 630000 | 0.63
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998411 | 998453 | -42 | 42000 | 0.042 | 987133 | 987133 | 0 | 0 | 0
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14111 | 12862 | 1249 | -1249000 | -1.249 | 988500 | 988500 | 0 | 0 | 0
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43719 | 43273 | 446 | -446000 | -0.446 | 21558 | 21610 | -52 | 52000 | 0.052
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8542 | 7925 | 617 | -617000 | -0.617 | 8196 | 8358 | -162 | 162000 | 0.162
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24394 | 24099 | 295 | -295000 | -0.295 | 7208 | 7338 | -130 | 130000 | 0.13
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33093 | 31779 | 1314 | -1314000 | -1.314 | 44151 | 44207 | -56 | 56000 | 0.056
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8118 | 8069 | 49 | 49000 | 0.049 | 6853 | 6853 | 0 | 0 | 0
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918861 | 920439 | -1578 | 1578000 | 1.578 | 901305 | 901566 | -261 | 261000 | 0.261
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963670 | 965434 | -1764 | 1764000 | 1.764 | 864289 | 864289 | 0 | 0 | 0
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30 | 61 | -31 | 31000 | 0.031 | 978720 | 979737 | -1017 | 1017000 | 1.017
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999751 | 1000759 | -1008 | 1008000 | 1.008 | 956880 | 956880 | 0 | 0 | 0 | ROLL OVER
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999197 | 999298 | -101 | 101000 | 0.101 | 893496 | 893674 | -178 | 178000 | 0.178
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998486 | 998568 | -82 | 82000 | 0.082 | 873792 | 874050 | -258 | 258000 | 0.258
BRPL(+) continue | [14 empty] | APRIL-2013
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997397 | 997517 | -120 | 120000 | 0.12 | 973171 | 973286 | -115 | 115000 | 0.115
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998761 | 998883 | -122 | 122000 | 0.122 | 989661 | 989996 | -335 | 335000 | 0.335
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 993544 | 993478 | 66 | -132000 | -0.132 | 970903 | 970945 | -42 | 84000 | 0.084
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997136 | 997171 | -35 | 35000 | 0.035 | 925321 | 925947 | -626 | 626000 | 0.626
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996619 | 996790 | -171 | 171000 | 0.171 | 936059 | 936449 | -390 | 390000 | 0.39
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997045 | 997086 | -41 | 41000 | 0.041 | 930457 | 931051 | -594 | 594000 | 0.594
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 996290 | 997851 | -1561 | 1040665.626 | 1.0407 | 991422 | 991422 | 0 | 0 | 0
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 973264 | 973509 | -245 | 163333.17 | 0.16333 | 971811 | 971811 | 0 | 0 | 0
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1093 | 1072 | 21 | -42000 | -0.042 | 1308 | 1308 | 0 | 0 | 0
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997969 | 997944 | 25 | -50000 | -0.05 | 499 | 499 | 0 | 0 | 0
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955919 | 957131 | -1212 | 1212000 | 1.212 | 997444 | 997444 | 0 | 0 | 0
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964732 | 966767 | -2035 | 2035000 | 2.035 | 997913 | 997913 | 0 | 0 | 0
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 994971 | 996697 | -1726 | -1380800 | -1.3808 | 1239 | 1239 | 0 | 0 | 0
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 12900 | 10174 | 2726 | 2180800 | 2.1808 | 833 | 833 | 0 | 0 | 0
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 973398 | 976697 | -3299 | -2639200 | -2.6392 | 999697 | 999697 | 0 | 0 | 0
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996376 | 996403 | -27 | -27000 | -0.027 | 37502 | 37540 | -38 | -38000 | -0.038
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 995935 | 995982 | -47 | -62666.51 | -0.062667 | 999946 | 1000006 | -60 | -79999.8 | -0.08 | ROLL OVER
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8259 | 8164 | 95 | -95000 | -0.095 | 978904 | 978927 | -23 | 23000 | 0.023
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999248 | 999219 | 29 | -29000 | -0.029 | 986343 | 986536 | -193 | 193000 | 0.193
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 9780 | 9634 | 146 | 14600 | 0.0146 | 12739 | 12734 | 5 | 500 | 0.0005
SUDARSHAN PARK
51 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 35960 | 36660 | -700 | -70000 | -0.07 | 147017 | 147017 | 0 | 0 | 0
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 957088 | 957761 | -673 | -673000 | -0.673 | 992480 | 992480 | 0 | 0 | 0
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1405 | 1392 | 13 | 1300 | 0.0013 | 7317 | 6798 | 519 | 51900 | 0.0519
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 8390 | 8378 | 12 | 1200 | 0.0012 | 15058 | 14647 | 411 | 41100 | 0.0411
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.4109 |  |  |  |  | 7.6322
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 36375 | 36375 | 0 | 0 | 0 | 891565 | 891565 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 112292 | 111746 | 546 | -54600 | -0.0546 | 1623 | 1623 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 69365 | 65632 | 3733 | -373300 | -0.3733 | 131 | 131 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 998490 | 998355 | 135 | -13500 | -0.0135 | 999959 | 999959 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 997076 | 997126 | -50 | 5000 | 0.005 | 999920 | 999920 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 783 | 805 | -22 | 44000 | 0.044 | 72541 | 72536 | 5 | -10000 | -0.01
7 | SPM NO.2 | 4864861 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10806 | 10211 | 595 | -595000 | -0.595 | 2193 | 2193 | 0 | 0 | 0 | Check Meter used from 01/04/13 to 15/04/13
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 548 | 0 | 548 | -548000 | -0.548 | 0 | 0 | 0 | 0 | 0 | 4864852 replaces with 4864862 on dated 15/04/13
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 887048 | 883688 | 3360 | -336000 | -0.336 | 54409 | 54406 | 3 | -300 | -0.0003
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 55913 | 54895 | 1018 | -101800 | -0.1018 | 54129 | 54018 | 111 | -11100 | -0.0111
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 46546 | 44745 | 1801 | -180100 | -0.1801 | 54656 | 54645 | 11 | -1100 | -0.0011
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 82208 | 80688 | 1520 | -304000 | -0.304 | 105465 | 105465 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
12 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 4364 | 4488 | -124 | -62000 | -0.062 | 21267 | 21624 | -357 | -178500 | -0.1785
13 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.3333 | 4362 | 4362 | 0 | 0 | 0 | 987091 | 987091 | 0 | 0 | 0 | installed on dated 19/04/13
14 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 999010 | 1002581 | -3571 | -595166.6667 | -0.59517 | 994401 | 994408 | -7 | -1166.6667 | -0.0011667 | installed on dated 18/04/13,ROLL OVER
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 276519 | 267949 | 8570 | -857000 | -0.857 | 39707 | 39707 | 0 | 0 | 0
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 1234 | 1185 | 49 | -4900 | -0.0049 | 15687 | 15460 | 227 | -22700 | -0.0227
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 1000534 | 999462 | 1072 | -107200 | -0.1072 | 77611 | 73426 | 4185 | -418500 | -0.4185 | ROLL OVER
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9193 | 9168 | 25 | -2500 | -0.0025 | 28136 | 27990 | 146 | -14600 | -0.0146
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9951 | 9878 | 73 | -7300 | -0.0073 | 40940 | 39130 | 1810 | -181000 | -0.181
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 14515 | 14366 | 149 | -14900 | -0.0149 | 51059 | 50361 | 698 | -69800 | -0.0698
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 39055 | 38822 | 233 | -23300 | -0.0233 | 12964 | 12928 | 36 | -3600 | -0.0036
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16657 | 16768 | -111 | 11100 | 0.0111 | 12324 | 12292 | 32 | -3200 | -0.0032
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997537 | 997577 | -40 | 4000 | 0.004 | 2645 | 2631 | 14 | -1400 | -0.0014
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | 4902528 replaces with 4865087 on dated 05/04/13
29 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999276 | 999276 | 0 | 0 | 0 | 999397 | 999397 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -4.1165 |  |  |  |  | -0.91697
APRIL-2013
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 3.4109 |  |  |  |  | 7.6322
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -4.1165 |  |  |  |  | -0.91697
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 2.3335 |  |  |  |  | 0.5133
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.1983 |  |  |  |  | -0.2104
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 1.4296 |  |  |  |  | 7.0181
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.4296 | (REACTIVE MUs) |  |  |  | 7.0181 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.014935 | (REACTIVE MUs) |  |  |  | -2.7674 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.4446 | (REACTIVE MUs) |  |  |  | 4.2507 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 39463 | 39214 | 249 | 49800 | 0.0498 | 66544 | 66080 | 464 | 92800 | 0.0928
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 68470 | 68172 | 298 | 29800 | 0.0298 | 128291 | 127644 | 647 | 64700 | 0.0647
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 984769 | 984824 | -55 | -11000 | -0.011 | 4028 | 4086 | -58 | -11600 | -0.0116
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 63704 | 63275 | 429 | 85800 | 0.0858 | 83314 | 83115 | 199 | 39800 | 0.0398
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 515 | 343 | 172 | 137600 | 0.1376 | 30 | 0 | 30 | 24000 | 0.024
5 | 66 KV BD MARG-I | 4865050 | Assessment for CT uprating from 29 OCT 2012 to 31st JAN 2013 | [6 empty] | 1.032 |  |  |  |  | 0.006
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13100 | 13080 | 20 | 40000 | 0.04 | 490 | 385 | 105 | 210000 | 0.21
6 | 66 KV BD MARG-II | 4864949 | Assessment for CT uprating from 9 OCT 2012 to 31st JAN 2013 | [6 empty] | 1.611 |  |  |  |  | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 985974 | 986060 | -86 | -68800 | -0.0688 | 996112 | 996727 | -615 | -492000 | -0.492
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 995859 | 995898 | -39 | -31200 | -0.0312 | 998587 | 998940 | -353 | -282400 | -0.2824
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 999520 | 999588 | -68 | -54400 | -0.0544 | 999369 | 999744 | -375 | -300000 | -0.3
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999001 | 998975 | 26 | 2600 | 0.0026 | 339172 | 335235 | 3937 | 393700 | 0.3937
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6445 | 6445 | 0 | 0 | 0 | 466608 | 468338 | -1730 | -173000 | -0.173
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 12186 | 12186 | 0 | 0 | 0 | 293575 | 276454 | 17121 | 1712100 | 1.7121
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5297 | 5340 | -43 | -4300 | -0.0043 | 337191 | 337313 | -122 | -12200 | -0.0122
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 997731 | 997752 | -21 | -2100 | -0.0021 | 273003 | 270697 | 2306 | 230600 | 0.2306
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 590 | 582 | 8 | 800 | 0.0008 | 173463 | 169600 | 3863 | 386300 | 0.3863
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13447 | 13438 | 9 | 900 | 0.0009 | 259422 | 255311 | 4111 | 411100 | 0.4111
17 | BAY-42 (C PLACE) | 4865119 | ELSTER | Kvarh(Lead/Lag) | 100 | 21718 | 21308 | 410 | 41000 | 0.041 | 274622 | 271477 | 3145 | 314500 | 0.3145 | Check Meter used
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 63431 | 62724 | 707 | 777700 | 0.7777
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3411 | 3419 | -8 | -8000 | -0.008 | 35838 | 35858 | -20 | -20000 | -0.02
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 137704 | 138620 | -916 | -1007600 | -1.0076
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9120 | 9105 | 15 | 15000 | 0.015 | 50752 | 50649 | 103 | 103000 | 0.103
[10 empty] | 0.007 |  |  |  |  | -0.1469
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 783 | 805 | -22 | -44000 | -0.044 | 72541 | 72536 | 5 | 10000 | 0.01
23 | SPM NO.2 | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10806 | 10211 | 595 | 595000 | 0.595 | 2193 | 2193 | 0 | 0 | 0 | Check Meter used from 01/04/13 to 15/04/13
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 548 | 0 | 548 | 548000 | 0.548 | 0 | 0 | 0 | 0 | 0 | 4864852 is replaced with 4864862 on dated 15/04/13
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 887048 | 883688 | 3360 | 336000 | 0.336 | 54409 | 54406 | 3 | 300 | 0.0003
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 4364 | 4488 | -124 | 62000 | 0.062 | 21267 | 21624 | -357 | 178500 | 0.1785
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 4362 | 4362 | 0 | 0 | 0 | 987091 | 987091 | 0 | 0 | 0 | installed on dated 19/04/13
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 999010 | 1002581 | -3571 | 595166.6667 | 0.59517 | 994401 | 994408 | -7 | 1166.6667 | 0.0011667 | installed on dated 18/04/13,Roll Over
APRIL-2013
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984707 | 984950 | -243 | 243000 | 0.243 | 999802 | 999818 | -16 | 16000 | 0.016
ELECTRIC LANE
27 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997087 | 997210 | -123 | 123000 | 0.123 | 999829 | 999994 | -165 | 165000 | 0.165
KIDWAI NAGAR
28 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 276519 | 267949 | 8570 | 857000 | 0.857 | 39707 | 39707 | 0 | 0 | 0
EXHIBITION I
29 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 1234 | 1185 | 49 | 4900 | 0.0049 | 15687 | 15460 | 227 | 22700 | 0.0227
30 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
31 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 55913 | 54895 | 1018 | 101800 | 0.1018 | 54129 | 54018 | 111 | 11100 | 0.0111
32 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 46546 | 44745 | 1801 | 180100 | 0.1801 | 54656 | 54645 | 11 | 1100 | 0.0011
33 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 82208 | 80688 | 1520 | 304000 | 0.304 | 105465 | 105465 | 0 | 0 | 0
TILAK MARG
34 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 36375 | 36375 | 0 | 0 | 0 | 891565 | 891565 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1405 | 1392 | 13 | -1300 | -0.0013 | 7317 | 6798 | 519 | -51900 | -0.0519
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 8390 | 8378 | 12 | -1200 | -0.0012 | 15058 | 14647 | 411 | -41100 | -0.0411
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 6.77 |  |  |  |  | 2.7804
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 6.77 |  |  |  |  | 2.7804
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.0017786 |  |  |  |  | -0.32956
| TOTAL ENERGY TO NDMC | [8 empty] | 6.7717 |  |  |  |  | 2.4508

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2013
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 732 | 732 | 0 | 0 | 0 | 19104 | 18885 | 219 | 219000 | 0.219
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 496 | 496 | 0 | 0 | 0 | 22864 | 22854 | 10 | 10000 | 0.01
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1275 | 1277 | -2 | -2000 | -0.002 | 31449 | 31455 | -6 | -6000 | -0.006
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 930 | 617 | 313 | 313000 | 0.313 | 15559 | 15483 | 76 | 76000 | 0.076
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3117 | 3082 | 35 | 35000 | 0.035 | 8392 | 8392 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 998490 | 998355 | 135 | 13500 | 0.0135 | 999959 | 999959 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 997076 | 997126 | -50 | -5000 | -0.005 | 999920 | 999920 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.3545 |  |  |  |  | 0.299
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3432 | 3432 | 0 | 0 | 0 | 34363 | 34363 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 40797 | 40129 | 668 | 66800 | 0.0668 | 66969 | 66114 | 855 | 85500 | 0.0855
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 69805 | 69707 | 98 | 9800 | 0.0098 | 10466 | 9999 | 467 | 46700 | 0.0467
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 36087 | 34912 | 1175 | 117500 | 0.1175 | 53305 | 53093 | 212 | 21200 | 0.0212
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 18738 | 18738 | 0 | 0 | 0
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 80310 | 80268 | 42 | 4200 | 0.0042 | 54641 | 54071 | 570 | 57000 | 0.057
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 4443 | 3990 | 453 | 45300 | 0.0453 | 643 | 597 | 46 | 4600 | 0.0046
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1983 |  |  |  |  | 0.2104
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.1983 |  |  |  |  | 0.2104
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.3545 |  |  |  |  | 0.299
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.5528 |  |  |  |  | 0.5094
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.5528 | (REACTIVE MUs) |  |  |  | 0.5094 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0002779 | (REACTIVE MUs) |  |  |  | -0.051495 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.55308 | (REACTIVE MUs) |  |  |  | 0.45791 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2013
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 68000 | 67141 | 859 | 85900 | 0.0859 | 79793 | 79774 | 19 | 1900 | 0.0019
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 999649 | 1001462 | -1813 | -181300 | -0.1813 | 999422 | 999422 | 0 | 0 | 0 | ROLL OVER
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 203281 | 193369 | 9912 | 991200 | 0.9912 | 96666 | 96666 | 0 | 0 | 0
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 26339 | 24854 | 1485 | 1392187.5 | 1.3922 | 18202 | 18202 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 991123 | 991197 | -74 | 37000 | 0.037 | 929239 | 929558 | -319 | 159500 | 0.1595
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989837 | 989854 | -17 | 8500 | 0.0085 | 985015 | 985705 | -690 | 345000 | 0.345
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 17 | 17 | 0 | 0 | 0 | 32 | 9 | 23 | 6900 | 0.0069
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 2.3335 |  |  |  |  | 0.5133
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 941737 | 942915 | -1178 | -235600 | -0.2356 | 991778 | 991778 | 0 | 0 | 0
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 816096 | 817417 | -1321 | -132100 | -0.1321 | 928118 | 928118 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.3677 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 203663 | 197862 | 5801 | 1160200 | 1.1602 | 263341 | 263341 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 89877 | 86038 | 3839 | 767800 | 0.7678 | 41166 | 41166 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 140406 | 133366 | 7040 | 704000 | 0.704 | 71746 | 71746 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988600 | 988360 | 240 | 240000 | 0.24 | 998304 | 998304 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 972421 | 973237 | -816 | -81600 | -0.0816 | 7271 | 7271 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999441 | 999458 | -17 | -15937.5 | -0.015938 | 1446 | 1549 | -103 | -96562.5 | -0.096562
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 989984 | 990203 | -219 | 136875 | 0.13687 | 995560 | 995561 | -1 | 625 | 0.000625
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 17 | 17 | 0 | 0 | 0 | 32 | 9 | 23 | -6900 | -0.0069
| TOTAL NDPL | [8 empty] | 2.9113 |  |  |  |  | -0.10284
| E) NET EXPORT TO BSES RPL | [8 empty] | 2.3335 |  |  |  |  | 0.5133
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.3677 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 2.9113 |  |  |  |  | -0.10284

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2013
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 7978 | 7947 | 31 | 62000 | 0.062 | 353 | 333 | 20 | 40000 | 0.04
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 11311 | 11288 | 23 | 46000 | 0.046 | 1243 | 1192 | 51 | 102000 | 0.102
[7 empty] | NET REACTIVE ENERGY |  |  | 0.108 |  | NET REACTIVE ENERGY |  |  | 0.142
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 994817 | 994959 | -142 | -142000 | -0.142 | 42456 | 42456 | 0 | 0 | 0
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 996681 | 996683 | -2 | -2000 | -0.002 | 999223 | 999630 | -407 | -407000 | -0.407
[7 empty] | NET REACTIVE ENERGY |  |  | -0.142 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.034 |  |  |  |  | 0.142
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | 0.0629 |  |  |  |  | -6.6473
[7 empty] | NDMC = |  |  | 0.007 |  |  |  |  | -0.1469
MES =
[7 empty] | 2)TOTAL |  |  | 0.0699 |  |  |  |  | -6.7942
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.0359 |  |  |  |  | -6.6522
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.9304 | % |  |  | 0.010386 |  |  |  |  | -1.9245
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.6019 | % |  |  | 0.014935 |  |  |  |  | -2.7674
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.7394 | % |  |  | 0.0085224 |  |  |  |  | -1.5792
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.9542 | % |  |  | 0.0017786 |  |  |  |  | -0.32956
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7741 | % |  |  | 0.0002779 |  |  |  |  | -0.051495
Note :Sharing taken from wk-03 abt bill 2013-14

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st APRIL-2013 TO 31st APRIL-2013
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 1.5172 | + | 1.6411
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 1.4446 | + | 4.2507
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 3.5717 | + | 1.22
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 6.7717 | + | 2.4508
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.55308 | + | 0.45791
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/2013 | INTIAL READING 01/04/2013 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 964049 | 966172 | -2123 | -3184500 | -3.1845 | 981080 | 981080 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 999844 | 999824 | 20 | 30000 | 0.03 | 998126 | 998126 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 918283 | 918630 | -347 | -520500 | -0.5205 | 968097 | 968097 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -3.675 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997239 | 997239 | 0 | 0 | 0 | 31058 | 31579 | -521 | -2605000 | -2.605
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999594 | 999590 | 4 | 4000 | 0.004 | 2553 | 2801 | -248 | -248000 | -0.248
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 0.004 |  |  | NET REACTIVE ENERGY |  | -2.853