## NDPL
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984090 | 987445 | -3355 | 3355000 | 3.355 | 999213 | 999213 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19449 | 19040 | 409 | -409000 | -0.409 | 999499 | 999516 | -17 | 17000 | 0.017
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 949307 | 952753 | -3446 | 3446000 | 3.446 | 995658 | 995658 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999924 | 999973 | -49 | 49000 | 0.049 | 997474 | 997581 | -107 | 107000 | 0.107
| Tx.1 Assessment | 4864916 | ELSTER | Kvarh(Lead/Lag) | [5 empty] | -0.027 |  |  |  |  | -0.777
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990700 | 993231 | -2531 | 2531000 | 2.531 | 999574 | 999574 | 0 | 0 | 0
| Tx.2 Assessment | 5295137 | ELSTER | Kvarh(Lead/Lag) | [5 empty] | 0.0873
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24469 | 24614 | -145 | 145000 | 0.145 | 16860 | 16862 | -2 | 2000 | 0.002
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 367 | 533 | -166 | 166000 | 0.166 | 998918 | 998919 | -1 | 1000 | 0.001
8 | Tx.-3 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999143 | 999292 | -149 | 149000 | 0.149 | 998160 | 998168 | -8 | 8000 | 0.008
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 988902 | 989360 | -458 | 229000 | 0.229 | 817998 | 818013 | -15 | 7500 | 0.0075
[5 empty] | -500 | 999444 | 999583 | -139 | 69500 | 0.0695
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999276 | 999596 | -320 | 320000 | 0.32 | 999343 | 999346 | -3 | 3000 | 0.003
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1872 | 315 | 1557 | -1557000 | -1.557 | 999454 | 999454 | 0 | 0 | 0
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998753 | 998873 | -120 | 120000 | 0.12 | 998297 | 998299 | -2 | 2000 | 0.002
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 899982 | 906024 | -6042 | -6042000 | -6.042 | 999981 | 999981 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980230 | 981559 | -1329 | 1329000 | 1.329 | 16732 | 16732 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8487 | 8895 | -408 | 408000 | 0.408 | 20500 | 20502 | -2 | 2000 | 0.002
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18772 | 18321 | 451 | -451000 | -0.451 | 274 | 274 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1 | 0 | 1 | 1000 | 0.001 | 996344 | 996658 | -314 | -314000 | -0.314
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 772 | 786 | -14 | -14000 | -0.014 | 24852 | 24830 | 22 | 22000 | 0.022
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 942 | 667 | 275 | 137500 | 0.1375 | 4408 | 4347 | 61 | 30500 | 0.0305
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 132729 | 128657 | 4072 | 407200 | 0.4072 | 290121 | 290075 | 46 | 4600 | 0.0046
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996182 | 996195 | -13 | -13000 | -0.013 | 986269 | 986409 | -140 | -140000 | -0.14
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 190 | 11 | 179 | 179000 | 0.179 | 997968 | 997946 | 22 | 22000 | 0.022
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 112293 | 103088 | 9205 | 920500 | 0.9205 | 33182 | 33182 | 0 | 0 | 0
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 624130 | 625203 | -1073 | -1073000 | -1.073 | 795906 | 795906 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 609005 | 609353 | -348 | -348000 | -0.348 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 722 | 657 | 65 | 26000 | 0.026 | 998532 | 998532 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5983 | 5982 | 1 | 500 | 0.0005 | 1764 | 1698 | 66 | 33000 | 0.033
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999547 | 1000030 | -483 | 483000 | 0.483 | 997545 | 997547 | -2 | 2000 | 0.002
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 999207 | 999915 | -708 | 354000 | 0.354 | 999735 | 999736 | -1 | 500 | 0.0005
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12921 | 11841 | 1080 | -1080000 | -1.08 | 999644 | 999653 | -9 | 9000 | 0.009
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8181 | 5990 | 2191 | -4382000 | -4.382 | 101 | 101 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26872 | 24104 | 2768 | -2768000 | -2.768 | 998932 | 998932 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53281 | 48968 | 4313 | -4313000 | -4.313 | 2425 | 2425 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12573 | 12448 | 125 | -125000 | -0.125 | 999323 | 999334 | -11 | 11000 | 0.011
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5455 | 5257 | 198 | -198000 | -0.198 | 784 | 780 | 4 | -4000 | -0.004
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990764 | 991718 | -954 | 954000 | 0.954 | 998728 | 998728 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13637 | 14473 | -836 | 836000 | 0.836 | 1380 | 1380 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1988 | 1984 | 4 | 4000 | 0.004 | 28235 | 28189 | 46 | 46000 | 0.046
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000535 | 999612 | 923 | 92300 | 0.0923 | 26340 | 26103 | 237 | 23700 | 0.0237
| NDPL(+) continue | [14 empty] | OCTOBER -2017
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 996643 | 996848 | -205 | -85415.3 | -0.085415 | 999089 | 999025 | 64 | 26666.24 | 0.026666
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9122 | 9124 | -2 | -200 | -0.0002 | 37594 | 37616 | -22 | -2200 | -0.0022
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 12182 | 12191 | -9 | -900 | -0.0009 | 77745 | 77600 | 145 | 14500 | 0.0145
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 1060 | 964 | 96 | 9600 | 0.0096 | 18326 | 17833 | 493 | 49300 | 0.0493
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 262 | 164 | 98 | 130634 | 0.13063 | 218 | 217 | 1 | 1333 | 0.001333
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999097 | 999095 | 2 | 200 | 0.0002 | 16765 | 15836 | 929 | 92900 | 0.0929
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1318 | 282 | 1036 | 172659.76 | 0.17266 | 1857 | 1855 | 2 | 333.32 | 0.00033332
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999920 | 999933 | -13 | -6500 | -0.0065 | 552 | 552 | 0 | 0 | 0
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 816 | 555 | 261 | 174000.87 | 0.174 | 125 | 124 | 1 | 666.67 | 0.00066667
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 3846 | 3592 | 254 | 169333.3333 | 0.16933 | 1431 | 1430 | 1 | 666.6667 | 0.00066667
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997343 | 997521 | -178 | -17800 | -0.0178 | 2614 | 2572 | 42 | 4200 | 0.0042
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23973 | 23973 | 0 | 0 | 0 | 57892 | 57892 | 0 | 0 | 0
[10 empty] | 0.01139 |  |  |  |  | 0.0022 | Assessment
|  | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 253 | 0 | 253 | 25300 | 0.0253 | 40 | 0 | 40 | 4000 | 0.004 | w.e.f 12/10/17
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 253 | 0 | 253 | 25300 | 0.0253 | 40 | 0 | 40 | 4000 | 0.004
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1913 | 1868 | 45 | 4500 | 0.0045 | 9285 | 8947 | 338 | 33800 | 0.0338
64 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 1040 | 725 | 315 | 31500 | 0.0315 | 198 | 143 | 55 | 5500 | 0.0055
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 14600 | 14410 | 190 | 19000 | 0.019 | 5340 | 5337 | 3 | 300 | 0.0003
KASHMIRI GATE
66 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 6205 | 4753 | 1452 | 145200 | 0.1452 | 1781 | 1781 | 0 | 0 | 0
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 25337 | 25238 | 99 | 9900 | 0.0099 | 51316 | 51316 | 0 | 0 | 0
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 456 | 456 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995611 | 995611 | 0 | 0 | 0 | 81 | 81 | 0 | 0 | 0
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999887 | 999888 | -1 | -400 | -0.0004 | 999928 | 999972 | -44 | -17600 | -0.0176
MUNDKA
71 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 597 | 358 | 239 | 191200 | 0.1912 | 999998 | 999998 | 0 | 0 | 0
| 66KV MANGOL PURI Assessment | 4864983 | ELSTER | Kvarh(Lead/Lag) | [5 empty] | 0.5166
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 748 | 976 | -228 | -456000 | -0.456 | 1096 | 1096 | 0 | 0 | 0
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 999624 | 999482 | 142 | 35500 | 0.0355 | 128 | 128 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -4.8966 |  |  |  |  | -0.66063
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER -2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 9468 | 9239 | 229 | -22900 | -0.0229 | 41382 | 40727 | 655 | -65500 | -0.0655
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 36 | 5 | 31 | -24800 | -0.0248 | 1520 | 1516 | 4 | -3200 | -0.0032
| NANGLOI-2 EXP Asseessment | 5128435 | ELSTER | Kvarh(Lead/Lag) | [5 empty] | -0.00135 |  |  |  |  | 0.0594
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000285 | 999975 | 310 | -310000 | -0.31 | 390 | 390 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 1097 | 152 | 945 | -378000 | -0.378 | 9 | 9 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 5295128 | ELSTER | Kvarh(Lead/Lag) | -50 | 968021 | 969044 | -1023 | 51150 | 0.05115 | 1517 | 1519 | -2 | 100 | 0.0001 | Check Meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1 | 1 | 0 | 0 | 0 | 10 | 0 | 10 | -10000 | -0.01
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 985303 | 986523 | -1220 | 976000 | 0.976 | 999017 | 999017 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.2901 |  |  |  |  | -0.0192
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -4.8966 |  |  |  |  | -0.66063
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.2901 |  |  |  |  | -0.0192
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 2.0147 |  |  |  |  | 0.070362
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -2.5918 |  |  |  |  | -0.60947
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.5918 | (REACTIVE MUs) |  |  |  | -0.60947 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.80597 | (REACTIVE MUs) |  |  |  | -0.90574 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.7858 | (REACTIVE MUs) |  |  |  | -1.5152 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | OCTOBER -2017
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 12337 | 13255 | -918 | -91800 | -0.0918 | 997697 | 997697 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8118 | 8404 | -286 | -85800 | -0.0858 | 6070 | 6053 | 17 | 5100 | 0.0051
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 27127 | 26963 | 164 | 12300 | 0.0123 | 177105 | 176877 | 228 | 17100 | 0.0171
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999073 | 999241 | -168 | -50400 | -0.0504 | 6009 | 6009 | 0 | 0 | 0
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1758 | 1796 | -38 | -50665.4 | -0.050665 | 3045 | 3043 | 2 | 2666.6 | 0.0026666
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 35018 | 33946 | 1072 | 107200 | 0.1072 | 158906 | 158904 | 2 | 200 | 0.0002
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 11907 | 11320 | 587 | 44025 | 0.044025 | 39303 | 39303 | 0 | 0 | 0
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988514 | 988338 | 176 | 176000 | 0.176 | 2261 | 2251 | 10 | 10000 | 0.01
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996844 | 996868 | -24 | -24000 | -0.024 | 3885 | 3884 | 1 | 1000 | 0.001
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999120 | 999029 | 91 | 91000 | 0.091 | 1475 | 1475 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995003 | 995027 | -24 | -24000 | -0.024 | 1455 | 1455 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993453 | 993472 | -19 | -19000 | -0.019 | 5609 | 5772 | -163 | -163000 | -0.163
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997308 | 997224 | 84 | 84000 | 0.084 | 998739 | 998737 | 2 | 2000 | 0.002
14 | JAMA MASJID-1 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999111 | 999374 | -263 | -263000 | -0.263 | 999864 | 999864 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999111 | 999135 | -24 | -19200 | -0.0192 | 2342 | 2414 | -72 | -57600 | -0.0576
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999623 | 999557 | 66 | 66000 | 0.066 | 32997 | 32968 | 29 | 29000 | 0.029
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1738 | 1609 | 129 | 129000 | 0.129 | 9728 | 9723 | 5 | 5000 | 0.005
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2576 | 2252 | 324 | 324000 | 0.324 | 17083 | 17062 | 21 | 21000 | 0.021
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 992859 | 994584 | -1725 | -2156250 | -2.1562 | 951761 | 951761 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 977891 | 980438 | -2547 | -2801700 | -2.8017
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 971455 | 972324 | -869 | -869000 | -0.869 | 7610 | 7610 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -2.5045 |  |  |  |  | -2.9543
22 | 100 MVA TX.-1 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999988 | 1000000 | -12 | 12000 | 0.012 | 999978 | 999999 | -21 | 21000 | 0.021 | w.e.f 26/9/17
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999762 | 999897 | -135 | 135000 | 0.135 | 999973 | 999973 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 456 | 456 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000007 | 999987 | 20 | 20000 | 0.02 | 6767 | 6644 | 123 | 123000 | 0.123
PARK STREET
26 | TX.-1 (66KV) | 5295179 | ELSTER | Kvarh(Lead/Lag) | -500 | 30214 | 22767 | 7447 | -3723500 | -3.7235 | 654 | 654 | 0 | 0 | 0
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11880 | 11649 | 231 | -231000 | -0.231 | 999923 | 1000145 | -222 | 222000 | 0.222
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991849 | 992649 | -800 | 800000 | 0.8 | 991899 | 991904 | -5 | 5000 | 0.005
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996480 | 997381 | -901 | 901000 | 0.901 | 998824 | 998835 | -11 | 11000 | 0.011
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997820 | 999705 | -1885 | 1885000 | 1.885 | 999939 | 999939 | 0 | 0 | 0 | w.e.f 15/09/17
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998851 | 1000253 | -1402 | 1402000 | 1.402 | 186 | 186 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993720 | 996149 | -2429 | 2429000 | 2.429 | 999659 | 999659 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000285 | 999975 | 310 | 310000 | 0.31 | 390 | 390 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 1097 | 152 | 945 | 378000 | 0.378 | 9 | 9 | 0 | 0 | 0 | w.e.f 11/09/17
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998066 | 998066 | 0 | 0 | 0 | 1144 | 1144 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 1000 | 151224 | 151298 | -74 | -74000 | -0.074 | 54270 | 54269 | 1 | 1000 | 0.001
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984903 | 985482 | -579 | 579000 | 0.579 | 999984 | 999984 | 0 | 0 | 0
[5 empty] | -1000 | 999607 | 999795 | -188 | 188000 | 0.188
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998930 | 999658 | -728 | 728000 | 0.728 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 1.6239 |  |  |  |  | -2.5462
| (A) NET ENERGY TO CENTRAL | [8 empty] | 1.6239 |  |  |  |  | -2.5462
OCTOBER -2017
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977794 | 978909 | -1115 | 1115000 | 1.115 | 879040 | 879041 | -1 | 1000 | 0.001
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992347 | 993430 | -1083 | 1083000 | 1.083 | 962312 | 962313 | -1 | 1000 | 0.001
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998452 | 999596 | -1144 | 1144000 | 1.144 | 998957 | 998957 | 0 | 0 | 0
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 989042 | 990668 | -1626 | 3252000 | 3.252 | 972206 | 972206 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996752 | 998014 | -1262 | 1262000 | 1.262 | 999119 | 999119 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992676 | 994119 | -1443 | 1443000 | 1.443 | 998561 | 998561 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3522 | 3925 | -403 | 403000 | 0.403 | 999636 | 999636 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982691 | 983792 | -1101 | 1101000 | 1.101 | 937384 | 937384 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986142 | 987546 | -1404 | 1404000 | 1.404 | 989833 | 989833 | 0 | 0 | 0
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977464 | 979015 | -1551 | 1551000 | 1.551 | 963301 | 963314 | -13 | 13000 | 0.013
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959079 | 959914 | -835 | 835000 | 0.835 | 829374 | 829374 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15660 | 15125 | 535 | -535000 | -0.535 | 33706 | 33706 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3204 | 2768 | 436 | -436000 | -0.436 | 999918 | 999918 | 0 | 0 | 0
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960303 | 960904 | -601 | 601000 | 0.601 | 919598 | 919598 | 0 | 0 | 0
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 14.223 |  |  |  |  | 0.015
| (B) NET ENERGY TO EAST | [8 empty] | 14.223 |  |  |  |  | 0.015
OCTOBER -2017
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -400 | 722 | 657 | 65 | -26000 | -0.026 | 998532 | 998532 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5983 | 5982 | 1 | -500 | -0.0005 | 1764 | 1698 | 66 | -33000 | -0.033
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 819 | 377 | 442 | -117863.72 | -0.11786 | 524 | 520 | 4 | -1066.64 | -0.0010666 | w.e.f 05/07/17
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 74155 | 74498 | -343 | 34300 | 0.0343 | 144004 | 144006 | -2 | 200 | 0.0002
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 972241 | 972881 | -640 | 128000 | 0.128 | 994945 | 994950 | -5 | 1000 | 0.001
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 41233 | 38339 | 2894 | -578800 | -0.5788 | 118468 | 118461 | 7 | -1400 | -0.0014
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 17163 | 16889 | 274 | -219200 | -0.2192 | 13864 | 13861 | 3 | -2400 | -0.0024
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 15143 | 15052 | 91 | -182000 | -0.182 | 4478 | 4478 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 974329 | 974655 | -326 | 260800 | 0.2608 | 986568 | 986573 | -5 | 4000 | 0.004
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 983868 | 984873 | -1005 | 804000 | 0.804 | 987337 | 987350 | -13 | 10400 | 0.0104
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 990608 | 991214 | -606 | 484800 | 0.4848 | 993925 | 993936 | -11 | 8800 | 0.0088
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 979467 | 980013 | -546 | 436800 | 0.4368 | 994513 | 994518 | -5 | 4000 | 0.004
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978583 | 979690 | -1107 | 1107000 | 1.107 | 32283 | 32283 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1988 | 1984 | 4 | -4000 | -0.004 | 28235 | 28189 | 46 | -46000 | -0.046
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 1000535 | 999612 | 923 | -92300 | -0.0923 | 26340 | 26103 | 237 | -23700 | -0.0237
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1318 | 282 | 1036 | -172659.76 | -0.17266 | 1857 | 1855 | 2 | -333.32 | -0.00033332
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999920 | 999933 | -13 | 6500 | 0.0065 | 552 | 552 | 0 | 0 | 0
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 816 | 555 | 261 | -174000.87 | -0.174 | 125 | 124 | 1 | -666.67 | -0.00066667
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 3846 | 3592 | 254 | -169333.3333 | -0.16933 | 1431 | 1430 | 1 | -666.6667 | -0.00066667
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 6205 | 4753 | 1452 | -145200 | -0.1452 | 1781 | 1781 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 25337 | 25238 | 99 | -9900 | -0.0099 | 51316 | 51316 | 0 | 0 | 0
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997343 | 997521 | -178 | 17800 | 0.0178 | 2614 | 2572 | 42 | -4200 | -0.0042
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23973 | 23973 | 0 | 0 | 0 | 57892 | 57892 | 0 | 0 | 0
[10 empty] | -0.01139 |  |  |  |  | -0.0022 | Assessment
|  | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 253 | 0 | 253 | -25300 | -0.0253 | 40 | 0 | 40 | -4000 | -0.004 | w.e.f 12/10/17
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 253 | 0 | 253 | -25300 | -0.0253 | 40 | 0 | 40 | -4000 | -0.004
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1913 | 1868 | 45 | -4500 | -0.0045 | 9285 | 8947 | 338 | -33800 | -0.0338
31 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 1040 | 725 | 315 | -31500 | -0.0315 | 198 | 143 | 55 | -5500 | -0.0055
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 14600 | 14410 | 190 | -19000 | -0.019 | 5340 | 5337 | 3 | -300 | -0.0003
[10 empty] | 1.2713 |  |  |  |  | -0.13483
OCTOBER -2017
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 1.6239 |  |  |  |  | -2.5462
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.2713 |  |  |  |  | -0.13483
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.72403 |  |  |  |  | 0.001275
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 2.1711 |  |  |  |  | -2.6798
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 14.223 |  |  |  |  | 0.015
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 16.3941 |  |  |  |  | -2.6648
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 16.3941 | (REACTIVE MUs) |  |  |  | -2.6648 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.61694 | (REACTIVE MUs) |  |  |  | -0.69332 | (REACTIVE MUs)
[9 empty] | TOTAL | 17.0111 | (REACTIVE MUs) |  |  |  | -3.3581 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | OCTOBER -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999553 | 999591 | -38 | -190000 | -0.19 | 999443 | 999443 | 0 | 0 | 0
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984753 | 984715 | 38 | 50666.54 | 0.050667 | 671377 | 671375 | 2 | 2666.66 | 0.0026667
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | 874 | 1331 | -457 | -182800 | -0.1828 | 35557 | 35551 | 6 | 2400 | 0.0024
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 17148 | 17016 | 132 | 132000 | 0.132 | 996856 | 996852 | 4 | 4000 | 0.004
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18517 | 17622 | 895 | 89500 | 0.0895 | 18814 | 18791 | 23 | 2300 | 0.0023
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 729133 | 726818 | 2315 | 173625 | 0.17363 | 999383 | 999383 | 0 | 0 | 0
8 | BAY-9 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 996893 | 997610 | -717 | -71700 | -0.0717 | 4883 | 4893 | -10 | -1000 | -0.001 | Check Meter Data
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997667 | 997460 | 207 | 186300 | 0.1863 | 995773 | 995775 | -2 | -1800 | -0.0018
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1888 | 1940 | -52 | 52000 | 0.052 | 997833 | 997842 | -9 | 9000 | 0.009
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997659 | 997800 | -141 | 282000 | 0.282 | 993003 | 993030 | -27 | 54000 | 0.054
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3889 | 3649 | 240 | -240000 | -0.24 | 999403 | 999410 | -7 | 7000 | 0.007
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963988 | 963491 | 497 | -497000 | -0.497 | 996359 | 996594 | -235 | 235000 | 0.235
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972 | 187 | 785 | -785000 | -0.785 | 999849 | 999849 | 0 | 0 | 0
16 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 1411 | 506 | 905 | -452500 | -0.4525 | 129 | 128 | 1 | -500 | -0.0005
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 545 | 150 | 395 | -790000 | -0.79 | 999044 | 999044 | 0 | 0 | 0
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999451 | 999653 | -202 | 202000 | 0.202 | 902657 | 902657 | 0 | 0 | 0
[5 empty] | -1000 | 29 | 1986 | -1957 | 1957000 | 1.957
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 25/10/17
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 25/10/17
NAJAFGARH
21 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1473 | 1940 | -467 | 467000 | 0.467 | 985047 | 985067 | -20 | 20000 | 0.02
22 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997720 | 997872 | -152 | 152000 | 0.152 | 983816 | 983831 | -15 | 15000 | 0.015
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997070 | 997927 | -857 | 857000 | 0.857 | 997371 | 997386 | -15 | 15000 | 0.015
24 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14222 | 14170 | 52 | -52000 | -0.052 | 996767 | 996772 | -5 | 5000 | 0.005
IMPORT
MANGOLPURI
25 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 36 | 5 | 31 | 24800 | 0.0248 | 1520 | 1516 | 4 | 3200 | 0.0032
| NANGLOI-2 (03) IMP. Assessment | 5128435 | ELSTER | Kvarh(Lead/Lag) | [5 empty] | 0.00135 |  |  |  |  | -0.0594
LODHI ROAD
26 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979747 | 980583 | -836 | 836000 | 0.836 | 978303 | 978360 | -57 | 57000 | 0.057
27 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
28 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977854 | 978477 | -623 | 623000 | 0.623 | 999323 | 999373 | -50 | 50000 | 0.05 | w.e.f 21/08/17
[5 empty] | -1000 | 999771 | 999805 | -34 | 34000 | 0.034
OKHLA
29 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994687 | 995228 | -541 | 541000 | 0.541 | 988819 | 988844 | -25 | 25000 | 0.025
30 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990782 | 991042 | -260 | 260000 | 0.26 | 928204 | 928204 | 0 | 0 | 0
31 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3857 | 3237 | 620 | -620000 | -0.62 | 33392 | 33397 | -5 | 5000 | 0.005
32 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997052 | 997511 | -459 | 459000 | 0.459 | 996142 | 996142 | 0 | 0 | 0
33 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999125 | 999550 | -425 | 425000 | 0.425 | 999767 | 999768 | -1 | 1000 | 0.001
BRPL(+) continue | [14 empty] | OCTOBER -2017
VASANT KUNJ
34 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3983 | 3788 | 195 | -195000 | -0.195 | 999954 | 999964 | -10 | 10000 | 0.01
35 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 6405 | 6155 | 250 | -125000 | -0.125 | 998374 | 998470 | -96 | 48000 | 0.048
36 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 25339 | 21346 | 3993 | -7986000 | -7.986 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
37 | Tx.1 | 4865046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999995 | 1000005 | -10 | 10000 | 0.01 | 994392 | 994422 | -30 | 30000 | 0.03 | Check Meter Data
|  | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999486 | 1000000 | -514 | 514000 | 0.514 | 999994 | 1000000 | -6 | 6000 | 0.006 | w.e.f 10/10/17
38 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994399 | 994399 | 0 | 0 | 0 | 927385 | 927385 | 0 | 0 | 0
39 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999566 | 999999 | -433 | 433000 | 0.433 | 999640 | 999889 | -249 | 249000 | 0.249 | w.e.f
40 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999143 | 999725 | -582 | 1164000 | 1.164 | 999134 | 999134 | 0 | 0 | 0
RIDGE VALLEY
41 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 969089 | 969513 | -424 | 282666.384 | 0.28267 | 963750 | 963750 | 0 | 0 | 0
42 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998875 | 998610 | 265 | -530000 | -0.53 | 999749 | 999749 | 0 | 0 | 0
DIAL
43 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6000 | 5868 | 132 | -264000 | -0.264 | 2413 | 2413 | 0 | 0 | 0
44 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2921 | 2803 | 118 | -236000 | -0.236 | 1374 | 1374 | 0 | 0 | 0
MASJID MOD
45 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917286 | 917324 | -38 | 38000 | 0.038 | 981215 | 981423 | -208 | 208000 | 0.208
46 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 69 | 117 | -48 | 48000 | 0.048 | 996789 | 996965 | -176 | 176000 | 0.176
MUNDKA
47 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
48 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 1526 | 1823 | -297 | -237600 | -0.2376 | 27 | 27 | 0 | 0 | 0
49 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 988976 | 992341 | -3365 | -2692000 | -2.692 | 999988 | 999988 | 0 | 0 | 0
50 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
51 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1764 | 1359 | 405 | 324000 | 0.324 | 999795 | 999795 | 0 | 0 | 0
52 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 531 | 489 | 42 | 33600 | 0.0336 | 1 | 1 | 0 | 0 | 0
PARK STREET
53 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 978583 | 979690 | -1107 | -1107000 | -1.107 | 32283 | 32283 | 0 | 0 | 0
54 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
55 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33228 | 28908 | 4320 | -4320000 | -4.32 | 27 | 27 | 0 | 0 | 0
56 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9802 | 9543 | 259 | -259000 | -0.259 | 998471 | 998471 | 0 | 0 | 0
57 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15811 | 12663 | 3148 | -3148000 | -3.148 | 10 | 10 | 0 | 0 | 0
NARAINA
58 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 9468 | 9239 | 229 | 22900 | 0.0229 | 41382 | 40727 | 655 | 65500 | 0.0655
SUDARSHAN PARK
59 | VISHAL | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 968021 | 969044 | -1023 | -51150 | -0.05115 | 1517 | 1519 | -2 | -100 | -0.0001
60 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 20187 | 16078 | 4109 | 1643600 | 1.6436 | 21168 | 21168 | 0 | 0 | 0
[5 empty] | 400 | 6783 | 6159 | 624 | 249600 | 0.2496
[5 empty] | 400 | 3789 | 3789 | 0 | 0 | 0
61 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 996689 | 997435 | -746 | -298400 | -0.2984 | 34063 | 34063 | 0 | 0 | 0
REWARI LINE
62 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1 | 1 | 0 | 0 | 0 | 10 | 0 | 10 | 10000 | 0.01
KANJAWALA
63 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 985303 | 986523 | -1220 | -976000 | -0.976 | 999017 | 999017 | 0 | 0 | 0
Trauma Centre
64 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 265615 | 247389 | 18226 | 1822600 | 1.8226 | 7998 | 7998 | 0 | 0 | 0
65 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4420 | 4284 | 136 | 136000 | 0.136 | 338 | 338 | 0 | 0 | 0
A.I.I.M.S.
66 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 8916 | 8681 | 235 | 17625 | 0.017625 | 14524 | 14524 | 0 | 0 | 0
67 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 4188 | 3480 | 708 | 70800 | 0.0708 | 5818 | 5818 | 0 | 0 | 0
PEERGARHI
68 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 3792 | 3142 | 650 | 325000 | 0.325 | 2775 | 2775 | 0 | 0 | 0
69 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4117 | 3444 | 673 | 673000 | 0.673 | 4062 | 4062 | 0 | 0 | 0
70 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996728 | 997030 | -302 | -302000 | -0.302 | 1304 | 1304 | 0 | 0 | 0
71 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3571 | 2846 | 725 | 725000 | 0.725 | 6439 | 6439 | 0 | 0 | 0
72 | PASCHIM PURI - I (L-7) | 4864851 | ELSTER | Kvarh(Lead/Lag) | 1000 | 600 | 443 | 157 | 157000 | 0.157 | 379 | 379 | 0 | 0 | 0
73 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 15939 | 11540 | 4399 | 439900 | 0.4399 | 44737 | 44736 | 1 | 100 | 0.0001
74 | MUKHERJEE PARK - I | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1672 | 1251 | 421 | 421000 | 0.421 | 296 | 296 | 0 | 0 | 0
75 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
76 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1643 | 1320 | 323 | 323000 | 0.323 | 5888 | 5888 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -8.9286 |  |  |  |  | 1.2524
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER -2017
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 185177 | 182417 | 2760 | -276000 | -0.276 | 913602 | 913602 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998066 | 998066 | 0 | 0 | 0 | 1144 | 1144 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 151224 | 151298 | -74 | 74000 | 0.074 | 54270 | 54269 | 1 | -1000 | -0.001
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 996495 | 995279 | 1216 | -243200 | -0.2432 | 999125 | 999063 | 62 | -12400 | -0.0124
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8 | 1 | 7 | -7000 | -0.007 | 11 | 10 | 1 | -1000 | -0.001
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000008 | 999987 | 21 | -21000 | -0.021 | 742 | 742 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 2914 | 1978 | 936 | -149760 | -0.14976 | 3771 | 3697 | 74 | -11840 | -0.01184
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -1000 | 907169 | 907052 | 117 | -117000 | -0.117 | 62169 | 62168 | 1 | -1000 | -0.001
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998425 | 998869 | -444 | 444000 | 0.444 | 999819 | 999819 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 92358 | 89352 | 3006 | -300600 | -0.3006 | 71740 | 71740 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 103180 | 100081 | 3099 | -309900 | -0.3099 | 72466 | 72466 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 28639 | 27668 | 971 | -97100 | -0.0971 | 33196 | 33045 | 151 | -15100 | -0.0151
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999095 | 999095 | 0 | 0 | 0 | 16668 | 16668 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999868 | 999871 | -3 | -750 | -0.00075 | 999850 | 999880 | -30 | -7500 | -0.0075
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 408912 | 401616 | 7296 | -729600 | -0.7296 | 49064 | 49064 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 6198 | 5495 | 703 | -70300 | -0.0703 | 29912 | 29899 | 13 | -1300 | -0.0013
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 996643 | 996848 | -205 | 85415.3 | 0.085415 | 999089 | 999025 | 64 | -26666.24 | -0.026666
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9122 | 9124 | -2 | 200 | 0.0002 | 37594 | 37616 | -22 | 2200 | 0.0022
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 12182 | 12191 | -9 | 900 | 0.0009 | 77745 | 77600 | 145 | -14500 | -0.0145
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 1060 | 964 | 96 | -9600 | -0.0096 | 18326 | 17833 | 493 | -49300 | -0.0493
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 262 | 164 | 98 | -130634 | -0.13063 | 218 | 217 | 1 | -1333 | -0.001333
24 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999097 | 999095 | 2 | -200 | -0.0002 | 16765 | 15836 | 929 | -92900 | -0.0929
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989743 | 989743 | 0 | 0 | 0 | 390 | 390 | 0 | 0 | 0
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995611 | 995611 | 0 | 0 | 0 | 81 | 81 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999887 | 999888 | -1 | 400 | 0.0004 | 999928 | 999972 | -44 | 17600 | 0.0176
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.8577 |  |  |  |  | -0.21604
OCTOBER -2017
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -8.9286 |  |  |  |  | 1.2524
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.8577 |  |  |  |  | -0.21604
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.56166 |  |  |  |  | 0.0077125
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.2277 |  |  |  |  | -0.0742
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -10.4524 |  |  |  |  | 0.96984
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -10.4524 | (REACTIVE MUs) |  |  |  | 0.96984 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.0611 | (REACTIVE MUs) |  |  |  | -1.1925 | (REACTIVE MUs)
[9 empty] | TOTAL | -9.3913 | (REACTIVE MUs) |  |  |  | -0.22265 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER -2017
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 819 | 377 | 442 | 117868.14 | 0.11787 | 524 | 520 | 4 | 1066.68 | 0.0010667
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 74155 | 74498 | -343 | -34300 | -0.0343 | 144004 | 144006 | -2 | -200 | -0.0002
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 972241 | 972881 | -640 | -128000 | -0.128 | 994945 | 994950 | -5 | -1000 | -0.001
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 41233 | 38339 | 2894 | 578800 | 0.5788 | 118468 | 118461 | 7 | 1400 | 0.0014
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 17163 | 16889 | 274 | 219200 | 0.2192 | 13864 | 13861 | 3 | 2400 | 0.0024
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 15143 | 15052 | 91 | 182000 | 0.182 | 4478 | 4478 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 974329 | 974655 | -326 | -260800 | -0.2608 | 986568 | 986573 | -5 | -4000 | -0.004
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 983868 | 984873 | -1005 | -804000 | -0.804 | 987337 | 987350 | -13 | -10400 | -0.0104
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 990608 | 991214 | -606 | -484800 | -0.4848 | 993925 | 993936 | -11 | -8800 | -0.0088
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 979467 | 980013 | -546 | -436800 | -0.4368 | 994513 | 994518 | -5 | -4000 | -0.004
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 998967 | 999744 | -777 | -38850 | -0.03885 | 9615 | 9601 | 14 | 700 | 0.0007
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 992193 | 993144 | -951 | -71325 | -0.071325 | 14343 | 14343 | 0 | 0 | 0
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 142 | 82 | 60 | 30000 | 0.03 | 2197 | 2194 | 3 | 1500 | 0.0015
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999089 | 998947 | 142 | 53250 | 0.05325 | 2339 | 2337 | 2 | 750 | 0.00075
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 988806 | 989255 | -449 | -44900 | -0.0449 | 331255 | 331213 | 42 | 4200 | 0.0042
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 65 | 65 | 0 | 0 | 0 | 9613 | 9613 | 0 | 0 | 0
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 2715 | 3350 | -635 | -63500 | -0.0635 | 265549 | 265549 | 0 | 0 | 0
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 86614 | 83628 | 2986 | 298600 | 0.2986 | 738382 | 738382 | 0 | 0 | 0
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999464 | 999516 | -52 | -52000 | -0.052 | 102070 | 102070 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997814 | 998150 | -336 | -336000 | -0.336 | 45221 | 45221 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 996727 | 997424 | -697 | -766700 | -0.7667 | 143903 | 143903 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4282 | 3494 | 788 | 788000 | 0.788 | 59490 | 59490 | 0 | 0 | 0
[10 empty] | -0.3667 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000008 | 999987 | 21 | 21000 | 0.021 | 742 | 742 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 2914 | 1978 | 936 | 149760 | 0.14976 | 3771 | 3697 | 74 | 11840 | 0.01184
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 1000 | 907169 | 907052 | 117 | 117000 | 0.117 | 62169 | 62168 | 1 | 1000 | 0.001
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998425 | 998869 | -444 | -444000 | -0.444 | 999819 | 999819 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999095 | 999095 | 0 | 0 | 0 | 16668 | 16668 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999868 | 999871 | -3 | 750 | 0.00075 | 999850 | 999880 | -30 | 7500 | 0.0075
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
OCTOBER -2017
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 930949 | 933646 | -2697 | 2697000 | 2.697 | 970568 | 970568 | 0 | 0 | 0
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 970661 | 975795 | -5134 | 2567000 | 2.567 | 998214 | 998214 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996618 | 997209 | -591 | 1182000 | 1.182 | 999721 | 999721 | 0 | 0 | 0
33 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994215 | 995460 | -1245 | 1245000 | 1.245 | 999418 | 999418 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 408912 | 401616 | 7296 | 729600 | 0.7296 | 49064 | 49064 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 6198 | 5495 | 703 | 70300 | 0.0703 | 29912 | 29899 | 13 | 1300 | 0.0013
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 92358 | 89352 | 3006 | 300600 | 0.3006 | 71740 | 71740 | 0 | 0 | 0
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 103180 | 100081 | 3099 | 309900 | 0.3099 | 72466 | 72466 | 0 | 0 | 0
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 28639 | 27668 | 971 | 97100 | 0.0971 | 33196 | 33045 | 151 | 15100 | 0.0151
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 185177 | 182417 | 2760 | 276000 | 0.276 | 913602 | 913602 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 265615 | 247389 | 18226 | -1822600 | -1.8226 | 7998 | 7998 | 0 | 0 | 0
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4420 | 4284 | 136 | -136000 | -0.136 | 338 | 338 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 8916 | 8681 | 235 | -17625 | -0.017625 | 14524 | 14524 | 0 | 0 | 0
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 4188 | 3480 | 708 | -70800 | -0.0708 | 5818 | 5818 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 7.9763 |  |  |  |  | 0.020357
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 7.9763 |  |  |  |  | 0.020357
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.12508 |  |  |  |  | -0.14057
| TOTAL ENERGY TO NDMC | [8 empty] | 8.1014 |  |  |  |  | -0.12021

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER -2017
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 833 | 833 | 0 | 0 | 0 | 21340 | 21340 | 0 | 0 | 0
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1621 | 1509 | 112 | 112000 | 0.112 | 42168 | 42223 | -55 | -55000 | -0.055
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4134 | 4119 | 15 | 15000 | 0.015 | 52237 | 52171 | 66 | 66000 | 0.066
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999996 | 999999 | -3 | -1200 | -0.0012 | 352 | 332 | 20 | 8000 | 0.008
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6522 | 6499 | 23 | 23000 | 0.023 | 12070 | 12038 | 32 | 32000 | 0.032
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 999081 | 999081 | 0 | 0 | 0 | Cable Faulty
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996495 | 995279 | 1216 | 1216000 | 1.216 | 999125 | 999063 | 62 | 62000 | 0.062
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8 | 1 | 7 | 7000 | 0.007 | 11 | 10 | 1 | 1000 | 0.001
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 1.3718 |  |  |  |  | 0.114
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 58986 | 57665 | 1321 | 132100 | 0.1321 | 91565 | 91219 | 346 | 34600 | 0.0346
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78014 | 77959 | 55 | 5500 | 0.0055 | 16634 | 16634 | 0 | 0 | 0
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 62563 | 61662 | 901 | 90100 | 0.0901 | 112821 | 112425 | 396 | 39600 | 0.0396
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Confirm meter from ABT & MF
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1305 | 1305 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10279 | 10279 | 0 | 0 | 0 | 3981 | 3981 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.2277 |  |  |  |  | 0.0742
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.2277 |  |  |  |  | 0.0742
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 1.3718 |  |  |  |  | 0.114
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 1.5995 |  |  |  |  | 0.1882
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.5995 | (REACTIVE MUs) |  |  |  | 0.1882 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.019737 | (REACTIVE MUs) |  |  |  | -0.022181 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.6192 | (REACTIVE MUs) |  |  |  | 0.16602 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER -2017
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 996526 | 996332 | 194 | 19400 | 0.0194 | 2002 | 1997 | 5 | 500 | 0.0005
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 44281 | 39754 | 4527 | 452700 | 0.4527 | 5269 | 5275 | -6 | -600 | -0.0006
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 6638 | 5362 | 1276 | 638000 | 0.638 | 2082 | 2063 | 19 | 9500 | 0.0095
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999948 | 1000237 | -289 | -270937.5 | -0.27094 | 143 | 144 | -1 | -937.5 | -0.0009375
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 994007 | 996211 | -2204 | -551000 | -0.551 | 983682 | 983687 | -5 | -1250 | -0.00125
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 981517 | 982064 | -547 | 273500 | 0.2735 | 976404 | 976405 | -1 | 500 | 0.0005
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 999999 | 999999 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.56166 |  |  |  |  | 0.0077125
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 986996 | 986718 | 278 | 55600 | 0.0556 | 999926 | 999914 | 12 | 2400 | 0.0024
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 901160 | 903239 | -2079 | -779625 | -0.77963 | 996596 | 996599 | -3 | -1125 | -0.001125
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.72403 |  |  |  |  | 0.001275
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 298625 | 295112 | 3513 | 702600 | 0.7026 | 284329 | 284306 | 23 | 4600 | 0.0046
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 262202 | 255490 | 6712 | 671200 | 0.6712 | 998711 | 998700 | 11 | 1100 | 0.0011
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 174556 | 168451 | 6105 | 381562.5 | 0.38156 | 985547 | 985530 | 17 | 1062.5 | 0.0010625
[5 empty] | 62.5 | 165639 | 162092 | 3547 | 221687.5 | 0.22169
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 862 | 644 | 218 | 174400 | 0.1744 | 1796 | 1792 | 4 | 3200 | 0.0032
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 986815 | 987814 | -999 | -99900 | -0.0999 | 999283 | 999285 | -2 | -200 | -0.0002
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999099 | 999028 | 71 | 10650 | 0.01065 | 984354 | 983950 | 404 | 60600 | 0.0606
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998876 | 998857 | 19 | -47500 | -0.0475 | 3068 | 3068 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 999999 | 999999 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 2.0147 |  |  |  |  | 0.070362
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.56166 |  |  |  |  | 0.0077125
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.72403 |  |  |  |  | 0.001275
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 2.0147 |  |  |  |  | 0.070362

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER -2017
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 4891 | 2121 | 2770 | 2770000 | 2.77 | 999997 | 999997 | 0 | 0 | 0
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 8568 | 8022 | 546 | 2730000 | 2.73 | 80 | 80 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 5.5 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 5.5 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -2.5045 |  |  |  |  | -2.9543
[7 empty] | NDMC = |  |  | -0.3667 |  |  |  |  | 0
MES =
[7 empty] | 2)TOTAL |  |  | -2.8712 |  |  |  |  | -2.9543
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 2.6288 |  |  |  |  | -2.9543
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.6585 | % |  |  | 0.80597 |  |  |  |  | -0.90574
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.3645 | % |  |  | 1.0611 |  |  |  |  | -1.1925
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.4681 | % |  |  | 0.61694 |  |  |  |  | -0.69332
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.7581 | % |  |  | 0.12508 |  |  |  |  | -0.14057
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7508 | % |  |  | 0.019737 |  |  |  |  | -0.022181
Note :Sharing taken from wk-31 abt bill 2017-18

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st OCTOBER-2017 TO 1st NOVEMBER-2017
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -1.7858 |  | -1.5152
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -9.3913 |  | -0.22265
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 17.0111 |  | -3.3581
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 8.1014 |  | -0.12021
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 1.6192 | + | 0.16602
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/11/2017 | INTIAL READING 01/10/2017 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 11688 | 10963 | 725 | 543750 | 0.54375 | 999964 | 999964 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1000 | 367 | 88 | 279 | 279000 | 0.279 | 0 | 0 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 852695 | 852575 | 120 | 90000 | 0.09 | 998641 | 998641 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 0.91275 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 999890 | 999877 | 13 | 65000 | 0.065 | 11729 | 11729 | 0 | 0 | 0
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 925431 | 928787 | -3356 | -3356000 | -3.356
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973014 | 973199 | -185 | -185000 | -0.185 | 998256 | 998257 | -1 | -1000 | -0.001
[8 empty] | NET REACTIVE ENERGY |  | -0.12 |  |  | NET REACTIVE ENERGY |  | -3.357