## NDPL
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15630 | 15634 | -4 | 4000 | 0.004 | 978138 | 978139 | -1 | 1000 | 0.001
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 6 | 0 | 0 | 0 | 999420 | 999690 | -270 | 270000 | 0.27
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17158 | 17088 | 70 | -70000 | -0.07 | 996385 | 996384 | 1 | -1000 | -0.001
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974288 | 974212 | 76 | -76000 | -0.076 | 977886 | 977882 | 4 | -4000 | -0.004
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 921674 | 921706 | -32 | 32000 | 0.032 | 946610 | 946982 | -372 | 372000 | 0.372
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18700 | 18700 | 0 | 0 | 0 | 17384 | 17382 | 2 | -2000 | -0.002
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19615 | 19615 | 0 | 0 | 0 | 13350 | 13348 | 2 | -2000 | -0.002
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 16705 | 16707 | -2 | 2500 | 0.0025 | 996523 | 996534 | -11 | 13750 | 0.01375
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15490 | 15498 | -8 | 8000 | 0.008 | 986582 | 986591 | -9 | 9000 | 0.009
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33314 | 33375 | -61 | 61000 | 0.061 | 9657 | 9671 | -14 | 14000 | 0.014
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999738 | 999866 | -128 | 128000 | 0.128 | 4077 | 4087 | -10 | 10000 | 0.01
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997113 | 997185 | -72 | 72000 | 0.072 | 999745 | 999744 | 1 | -1000 | -0.001
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 944909 | 946261 | -1352 | -1352000 | -1.352 | 920532 | 920532 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997157 | 997206 | -49 | 49000 | 0.049 | 16941 | 16939 | 2 | -2000 | -0.002
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999758 | 999725 | 33 | -33000 | -0.033 | 19631 | 19625 | 6 | -6000 | -0.006
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 764 | 767 | -3 | 3000 | 0.003 | 20184 | 20209 | -25 | 25000 | 0.025
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999545 | 999545 | 0 | 0 | 0 | 27011 | 27164 | -153 | -153000 | -0.153
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 218 | 218 | 0 | 0 | 0 | 27733 | 27760 | -27 | -27000 | -0.027
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2339 | 2339 | 0 | 0 | 0 | 135603 | 134535 | 1068 | 106800 | 0.1068
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4219 | 4219 | 0 | 0 | 0 | 201669 | 199011 | 2658 | 265800 | 0.2658
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996022 | 996022 | 0 | 0 | 0 | 999182 | 999017 | 165 | 165000 | 0.165
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999910 | 999910 | 0 | 0 | 0 | 5857 | 5501 | 356 | 356000 | 0.356
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 652713 | 652725 | -12 | -12000 | -0.012 | 800179 | 800186 | -7 | -7000 | -0.007
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 659766 | 659797 | -31 | -31000 | -0.031 | 833096 | 833119 | -23 | -23000 | -0.023
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991630 | 991620 | 10 | 10000 | 0.01 | 998292 | 998295 | -3 | -3000 | -0.003
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 114 | 111 | 3 | 1500 | 0.0015 | 161 | 176 | -15 | -7500 | -0.0075
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8417 | 8310 | 107 | -107000 | -0.107 | 981957 | 981957 | 0 | 0 | 0
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 524 | 237 | 287 | -287000 | -0.287 | 948166 | 948166 | 0 | 0 | 0
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991574 | 991583 | -9 | 9000 | 0.009 | 928067 | 928224 | -157 | 157000 | 0.157
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999318 | 999429 | -111 | 111000 | 0.111 | 999958 | 999958 | 0 | 0 | 0
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18964 | 17343 | 1621 | -1621000 | -1.621 | 999924 | 999937 | -13 | 13000 | 0.013
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1007 | 850 | 157 | 157000 | 0.157 | 17719 | 17642 | 77 | 77000 | 0.077
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999910 | 999753 | 157 | 157000 | 0.157 | 3113 | 3134 | -21 | -21000 | -0.021
| NDPL(+) continue | [14 empty] | SEPTEMBER-2012
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1362 | 1363 | -1 | -1000 | -0.001 | 59781 | 59553 | 228 | 228000 | 0.228
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 14240 | 14240 | 0 | 0 | 0 | 66274 | 65502 | 772 | 77200 | 0.0772
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 8863 | 8860 | 3 | 300 | 0.0003 | 22823 | 22819 | 4 | 400 | 0.0004
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9691 | 9691 | 0 | 0 | 0 | 35420 | 35292 | 128 | 12800 | 0.0128
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13865 | 13793 | 72 | 7200 | 0.0072 | 47105 | 46314 | 791 | 79100 | 0.0791
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 35032 | 33927 | 1105 | 110500 | 0.1105 | 12817 | 12767 | 50 | 5000 | 0.005
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16953 | 16941 | 12 | 1200 | 0.0012 | 12120 | 11969 | 151 | 15100 | 0.0151
45 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997544 | 997145 | 399 | 39900 | 0.0399 | 2613 | 2519 | 94 | 9400 | 0.0094
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5132 | 5132 | 0 | 0 | 0 | 25542 | 25216 | 326 | 163000 | 0.163
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3313 | 3313 | 0 | 0 | 0 | 23570 | 23357 | 213 | 106500 | 0.1065
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3747 | 3571 | 176 | 88000 | 0.088 | 14076 | 14063 | 13 | 6500 | 0.0065
49 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3959 | 3826 | 133 | 66500 | 0.0665 | 16766 | 16743 | 23 | 11500 | 0.0115
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 998408 | 998727 | -319 | -31900 | -0.0319 | 6046 | 6044 | 2 | 200 | 0.0002
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7729 | 7469 | 260 | 26000 | 0.026 | 14932 | 14909 | 23 | 2300 | 0.0023
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 16159 | 16159 | 0 | 0 | 0 | 50656 | 50656 | 0 | 0 | 0
53 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 10288 | 8734 | 1554 | 155400 | 0.1554 | 19037 | 18968 | 69 | 6900 | 0.0069
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999261 | 999309 | -48 | -4800 | -0.0048 | 217 | 217 | 0 | 0 | 0
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 7392 | 7211 | 181 | 18100 | 0.0181 | 67722 | 67217 | 505 | 50500 | 0.0505
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 6242 | 6183 | 59 | 5900 | 0.0059 | 58335 | 57762 | 573 | 57300 | 0.0573
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 7289 | 7220 | 69 | 6900 | 0.0069 | 84071 | 83045 | 1026 | 102600 | 0.1026
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 116195 | 116051 | 144 | 14400 | 0.0144 | 28822 | 28250 | 572 | 57200 | 0.0572
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 16649 | 16600 | 49 | 4900 | 0.0049 | 38470 | 38160 | 310 | 31000 | 0.031
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 41 | 41 | 0 | 0 | 0 | 28 | 28 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995564 | 995550 | 14 | -5600 | -0.0056 | 22 | 12 | 10 | -4000 | -0.004 | Installed on 06/07/12
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999289 | 999289 | 0 | 0 | 0 | 999393 | 999393 | 0 | 0 | 0
Mundka
64 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 1800 | 1423 | 377 | 301600 | 0.3016 | 317 | 301 | 16 | 12800 | 0.0128
MANGOLPURI
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -1.9805 |  |  |  |  | 2.6271
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 8417 | 8108 | 309 | -30900 | -0.0309 | 11969 | 11829 | 140 | -14000 | -0.014
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6598 | 6502 | 96 | -96000 | -0.096 | 6850 | 6849 | 1 | -1000 | -0.001
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3502 | 3502 | 0 | 0 | 0 | 1605 | 1605 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13350 | 13349 | 1 | -1000 | -0.001 | 27432 | 27075 | 357 | -357000 | -0.357
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 37972 | 38113 | -141 | 14100 | 0.0141 | 146953 | 146943 | 10 | -1000 | -0.001
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971981 | 972910 | -929 | 929000 | 0.929 | 992481 | 992482 | -1 | 1000 | 0.001
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999534 | 999534 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.8152 |  |  |  |  | -0.372
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -1.9805 |  |  |  |  | 2.6271
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.8152 |  |  |  |  | -0.372
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.74743 |  |  |  |  | -0.1135
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -0.41787 |  |  |  |  | 2.1416
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.41787 | (REACTIVE MUs) |  |  |  | 2.1416 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.024039 | (REACTIVE MUs) |  |  |  | -0.15593 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.39384 | (REACTIVE MUs) |  |  |  | 1.9857 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | SEPTEMBER-2012
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37954 | 2 | 200 | 0.0002
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988335 | 988335 | 0 | 0 | 0 | 59375 | 60673 | -1298 | -129800 | -0.1298
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 17396 | 17347 | 49 | 4900 | 0.0049 | 9883 | 9761 | 122 | 12200 | 0.0122
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 22948 | 22963 | -15 | -1500 | -0.0015 | 15350 | 16938 | -1588 | -158800 | -0.1588
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998633 | 998643 | -10 | -1000 | -0.001 | 5232 | 5596 | -364 | -36400 | -0.0364
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8928 | 8914 | 14 | 1400 | 0.0014 | 96608 | 92451 | 4157 | 415700 | 0.4157
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 780 | 780 | 0 | 0 | 0 | 46114 | 45267 | 847 | 84700 | 0.0847
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999599 | 999596 | 3 | 3000 | 0.003 | 378 | 321 | 57 | 57000 | 0.057
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999782 | 999785 | -3 | -3000 | -0.003 | 2175 | 2074 | 101 | 101000 | 0.101
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 461 | 459 | 2 | 2000 | 0.002 | 1460 | 1296 | 164 | 164000 | 0.164
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 93 | 87 | 6 | 6000 | 0.006 | 2849 | 2873 | -24 | -24000 | -0.024
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999728 | 999749 | -21 | -21000 | -0.021 | 3106 | 3105 | 1 | 1000 | 0.001
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 473 | 473 | 0 | 0 | 0 | 131 | 303 | -172 | -172000 | -0.172
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 149 | 152 | -3 | -3000 | -0.003 | 15112 | 14950 | 162 | 162000 | 0.162
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 294 | 286 | 8 | 8000 | 0.008 | 35889 | 35806 | 83 | 83000 | 0.083
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 258 | 258 | 0 | 0 | 0 | 16914 | 16144 | 770 | 770000 | 0.77
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 297 | 291 | 6 | 6000 | 0.006 | 6145 | 5874 | 271 | 271000 | 0.271
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 33193 | 32692 | 501 | 50100 | 0.0501 | 636 | 636 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998550 | 998550 | 0 | 0 | 0 | 10490 | 9947 | 543 | 543000 | 0.543
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 806780 | 809324 | -2544 | -2798400 | -2.7984
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 848398 | 851398 | -3000 | -3300000 | -3.3
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991294 | 991482 | -188 | -188000 | -0.188 | 9653 | 9653 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.1399 |  |  |  |  | -4.1424
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964847 | 964881 | -34 | 34000 | 0.034 | 974437 | 974482 | -45 | 45000 | 0.045
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981028 | 981037 | -9 | 9000 | 0.009 | 973429 | 974296 | -867 | 867000 | 0.867
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 41 | 41 | 0 | 0 | 0 | 28 | 28 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1237 | 1237 | 0 | 0 | 0 | 62220 | 61772 | 448 | 448000 | 0.448
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12076 | 11427 | 649 | -649000 | -0.649 | 972764 | 972906 | -142 | 142000 | 0.142
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7138 | 7197 | -59 | 59000 | 0.059 | 973648 | 974844 | -1196 | 1196000 | 1.196
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999632 | 1000246 | -614 | 614000 | 0.614 | 999739 | 999786 | -47 | 47000 | 0.047 | ROLL OVER
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988313 | 989344 | -1031 | 1031000 | 1.031 | 994852 | 994943 | -91 | 91000 | 0.091
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3502 | 3502 | 0 | 0 | 0 | 1605 | 1605 | 0 | 0 | 0
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13350 | 13349 | 1 | 1000 | 0.001 | 27432 | 27075 | 357 | 357000 | 0.357
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 97323 | 97742 | -419 | -41900 | -0.0419 | 1620 | 1624 | -4 | -400 | -0.0004
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 64666 | 63233 | 1433 | 143300 | 0.1433 | 1000095 | 999976 | 119 | 11900 | 0.0119 | ROLL OVER
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 1.0643 |  |  |  |  | -0.7501
| (A) NET ENERGY TO CENTRAL | [8 empty] | 1.0643 |  |  |  |  | -0.7501
SEPTEMBER-2012
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996835 | 996823 | 12 | -12000 | -0.012 | 932459 | 933495 | -1036 | 1036000 | 1.036
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15174 | 15162 | 12 | -12000 | -0.012 | 951768 | 952868 | -1100 | 1100000 | 1.1
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000009 | 999998 | 11 | -11000 | -0.011 | 996153 | 997142 | -989 | 989000 | 0.989 | ROLL OVER
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 946442 | 947306 | -864 | 864000 | 0.864 | 993117 | 993141 | -24 | 24000 | 0.024
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 936861 | 937725 | -864 | 864000 | 0.864 | 991449 | 991469 | -20 | 20000 | 0.02
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 171 | 131 | 40 | -40000 | -0.04 | 993278 | 993296 | -18 | 18000 | 0.018
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998622 | 998610 | 12 | -24000 | -0.024 | 988314 | 988712 | -398 | 796000 | 0.796
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999728 | 999728 | 0 | 0 | 0 | 972197 | 974040 | -1843 | 1843000 | 1.843
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12635 | 12638 | -3 | 3000 | 0.003 | 949336 | 951941 | -2605 | 2605000 | 2.605
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966097 | 966046 | 51 | -51000 | -0.051 | 878607 | 880140 | -1533 | 1533000 | 1.533
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21507 | 21473 | 34 | -34000 | -0.034 | 31598 | 31640 | -42 | 42000 | 0.042
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19326 | 19326 | 0 | 0 | 0 | 40433 | 40327 | 106 | -106000 | -0.106
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 1.547 |  |  |  |  | 9.9
| (B) NET ENERGY TO EAST | [8 empty] | 1.547 |  |  |  |  | 9.9
SEPTEMBER-2012
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991630 | 991620 | 10 | -10000 | -0.01 | 998292 | 998295 | -3 | 3000 | 0.003
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 114 | 111 | 3 | -1500 | -0.0015 | 161 | 176 | -15 | 7500 | 0.0075
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 31225 | 28891 | 2334 | -466800 | -0.4668 | 65244 | 65230 | 14 | -2800 | -0.0028
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 55480 | 52402 | 3078 | -307800 | -0.3078 | 126728 | 126630 | 98 | -9800 | -0.0098
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 987310 | 987665 | -355 | 71000 | 0.071 | 3930 | 3932 | -2 | 400 | 0.0004
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 54216 | 51716 | 2500 | -500000 | -0.5 | 82235 | 82207 | 28 | -5600 | -0.0056
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71742 | 70590 | 1152 | -1152000 | -1.152 | 737 | 732 | 5 | -5000 | -0.005
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11042 | 10876 | 166 | -166000 | -0.166 | 367 | 366 | 1 | -1000 | -0.001
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 992167 | 992839 | -672 | 537600 | 0.5376 | 997528 | 997580 | -52 | 41600 | 0.0416
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 999350 | 999723 | -373 | 298400 | 0.2984 | 999526 | 999560 | -34 | 27200 | 0.0272
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 3248 | 3503 | -255 | 204000 | 0.204 | 405 | 418 | -13 | 10400 | 0.0104
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996783 | 996767 | 16 | -16000 | -0.016 | 37625 | 37478 | 147 | -147000 | -0.147
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 996701 | 996709 | -8 | 10666.64 | 0.010667 | 268 | 243 | 25 | -33333.25 | -0.033333
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1007 | 850 | 157 | -157000 | -0.157 | 17719 | 17642 | 77 | -77000 | -0.077
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999910 | 999753 | 157 | -157000 | -0.157 | 3113 | 3134 | -21 | 21000 | 0.021
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1362 | 1363 | -1 | 1000 | 0.001 | 59781 | 59553 | 228 | -228000 | -0.228
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5132 | 5132 | 0 | 0 | 0 | 25542 | 25216 | 326 | -163000 | -0.163
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3313 | 3313 | 0 | 0 | 0 | 23570 | 23357 | 213 | -106500 | -0.1065
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3747 | 3571 | 176 | -88000 | -0.088 | 14076 | 14063 | 13 | -6500 | -0.0065
20 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3959 | 3826 | 133 | -66500 | -0.0665 | 16766 | 16743 | 23 | -11500 | -0.0115
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 116195 | 116051 | 144 | -14400 | -0.0144 | 28822 | 28250 | 572 | -57200 | -0.0572
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 16649 | 16600 | 49 | -4900 | -0.0049 | 38470 | 38160 | 310 | -31000 | -0.031
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 998408 | 998727 | -319 | 31900 | 0.0319 | 6046 | 6044 | 2 | -200 | -0.0002
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7729 | 7469 | 260 | -26000 | -0.026 | 14932 | 14909 | 23 | -2300 | -0.0023
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 16159 | 16159 | 0 | 0 | 0 | 50656 | 50656 | 0 | 0 | 0
26 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 10288 | 8734 | 1554 | -155400 | -0.1554 | 19037 | 18968 | 69 | -6900 | -0.0069
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999261 | 999309 | -48 | 4800 | 0.0048 | 217 | 217 | 0 | 0 | 0
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 7392 | 7211 | 181 | -18100 | -0.0181 | 67722 | 67217 | 505 | -50500 | -0.0505
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 6242 | 6183 | 59 | -5900 | -0.0059 | 58335 | 57762 | 573 | -57300 | -0.0573
31 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 7289 | 7220 | 69 | -6900 | -0.0069 | 84071 | 83045 | 1026 | -102600 | -0.1026
[10 empty] | -2.1608 |  |  |  |  | -0.99393
SEPTEMBER-2012
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 1.0643 |  |  |  |  | -0.7501
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -2.1608 |  |  |  |  | -0.99393
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.4476 |  |  |  |  | 0.016
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.5441 |  |  |  |  | -1.728
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 1.547 |  |  |  |  | 9.9
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 0.0028666 |  |  |  |  | 8.172
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0028666 | (REACTIVE MUs) |  |  |  | 8.172 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.020355 | (REACTIVE MUs) |  |  |  | -0.13203 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.023221 | (REACTIVE MUs) |  |  |  | 8.0399 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | SEPTEMBER-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998178 | 998178 | 0 | 0 | 0 | 9876 | 10236 | -360 | -360000 | -0.36
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 990413 | 990401 | 12 | 15999.96 | 0.016 | 674677 | 675103 | -426 | -567998.58 | -0.568
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6687 | 6691 | -4 | -4000 | -0.004 | 57730 | 56818 | 912 | 912000 | 0.912
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10861 | 10879 | -18 | -18000 | -0.018 | 999154 | 999699 | -545 | -545000 | -0.545
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 7706 | 7692 | 14 | 1400 | 0.0014 | 112440 | 109011 | 3429 | 342900 | 0.3429
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 39314 | 39284 | 30 | 3000 | 0.003 | 244101 | 246503 | -2402 | -240200 | -0.2402
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 8545 | 8505 | 40 | 4000 | 0.004 | 389773 | 388832 | 941 | 94100 | 0.0941
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999952 | 999966 | -14 | -12600 | -0.0126 | 999596 | 999673 | -77 | -69300 | -0.0693
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992903 | 992903 | 0 | 0 | 0 | 952224 | 953469 | -1245 | 1245000 | 1.245
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991218 | 991219 | -1 | 1000 | 0.001 | 955677 | 956658 | -981 | 981000 | 0.981
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987609 | 987630 | -21 | 21000 | 0.021 | 940616 | 941550 | -934 | 934000 | 0.934
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998218 | 998248 | -30 | 30000 | 0.03 | 956630 | 957422 | -792 | 792000 | 0.792
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996081 | 996050 | 31 | -31000 | -0.031 | 987162 | 987239 | -77 | 77000 | 0.077
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6841 | 6841 | 0 | 0 | 0 | 988732 | 990424 | -1692 | 1692000 | 1.692
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43676 | 43134 | 542 | -542000 | -0.542 | 21821 | 21905 | -84 | 84000 | 0.084
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6611 | 5444 | 1167 | -1167000 | -1.167 | 8503 | 8568 | -65 | 65000 | 0.065
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27270 | 26761 | 509 | -509000 | -0.509 | 7541 | 7593 | -52 | 52000 | 0.052
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22084 | 20067 | 2017 | -2017000 | -2.017 | 44244 | 44240 | 4 | -4000 | -0.004
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6598 | 6502 | 96 | 96000 | 0.096 | 6850 | 6849 | 1 | 1000 | 0.001
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 937383 | 940935 | -3552 | 3552000 | 3.552 | 901679 | 902399 | -720 | 720000 | 0.72
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978099 | 980457 | -2358 | 2358000 | 2.358 | 864363 | 864444 | -81 | 81000 | 0.081
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 444 | 416 | 28 | -28000 | -0.028 | 985960 | 987139 | -1179 | 1179000 | 1.179
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 500 | 474 | 26 | -26000 | -0.026 | 966789 | 968401 | -1612 | 1612000 | 1.612
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1489 | 1801 | -312 | 312000 | 0.312 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999630 | 999630 | 0 | 0 | 0 | 894558 | 895726 | -1168 | 1168000 | 1.168
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999027 | 999027 | 0 | 0 | 0 | 875273 | 876777 | -1504 | 1504000 | 1.504
BRPL(+) continue | [14 empty] | SEPTEMBER-2012
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999157 | 999146 | 11 | -11000 | -0.011 | 974011 | 974147 | -136 | 136000 | 0.136
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 287 | 274 | 13 | -13000 | -0.013 | 991177 | 991302 | -125 | 125000 | 0.125
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990736 | 990736 | 0 | 0 | 0 | 971144 | 971217 | -73 | 146000 | 0.146
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997517 | 997526 | -9 | 9000 | 0.009 | 926959 | 927720 | -761 | 761000 | 0.761
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1527 | 1645 | -118 | 118000 | 0.118 | 938274 | 938824 | -550 | 550000 | 0.55
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997418 | 997434 | -16 | 16000 | 0.016 | 933747 | 934485 | -738 | 738000 | 0.738
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 997490 | 997628 | -138 | 91999.908 | 0.092 | 991411 | 992535 | -1124 | 749332.584 | 0.74933
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 973191 | 973220 | -29 | 19333.314 | 0.019333 | 971807 | 971874 | -67 | 44666.622 | 0.044667
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 558 | 556 | 2 | -4000 | -0.004 | 1248 | 1225 | 23 | -46000 | -0.046
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997341 | 997336 | 5 | -10000 | -0.01 | 455 | 437 | 18 | -36000 | -0.036
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971374 | 974911 | -3537 | 3537000 | 3.537 | 997499 | 997540 | -41 | 41000 | 0.041
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974184 | 976275 | -2091 | 2091000 | 2.091 | 998479 | 998599 | -120 | 120000 | 0.12
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 999393 | 999302 | 91 | 72800 | 0.0728 | 1116 | 1010 | 106 | 84800 | 0.0848
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 3590 | 3450 | 140 | 112000 | 0.112 | 826 | 713 | 113 | 90400 | 0.0904
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 988408 | 988692 | -284 | -227200 | -0.2272 | 999702 | 999719 | -17 | -13600 | -0.0136
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999534 | 999534 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996783 | 996767 | 16 | 16000 | 0.016 | 37625 | 37478 | 147 | 147000 | 0.147
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 996701 | 996709 | -8 | -10666.64 | -0.010667 | 268 | 243 | 25 | 33333.25 | 0.033333
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3736 | 4025 | -289 | 289000 | 0.289 | 978234 | 979448 | -1214 | 1214000 | 1.214
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999049 | 999049 | 0 | 0 | 0 | 987938 | 986937 | 1001 | -1001000 | -1.001
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 8417 | 8108 | 309 | 30900 | 0.0309 | 11969 | 11829 | 140 | 14000 | 0.014
SUDARSHAN PARK
51 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 37972 | 38113 | -141 | -14100 | -0.0141 | 146953 | 146943 | 10 | 1000 | 0.001
REWARI LINE
52 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 971981 | 972910 | -929 | -929000 | -0.929 | 992481 | 992482 | -1 | -1000 | -0.001
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1423 | 1423 | 0 | 0 | 0 | 6787 | 6787 | 0 | 0 | 0 | OFF
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 8350 | 8350 | 0 | 0 | 0 | 14600 | 14600 | 0 | 0 | 0 | OFF
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 7.2239 |  |  |  |  | 15.6474
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 9962 | 7134 | 2828 | -282800 | -0.2828 | 887476 | 885930 | 1546 | -154600 | -0.1546
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 97323 | 97742 | -419 | 41900 | 0.0419 | 1620 | 1624 | -4 | 400 | 0.0004
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 64666 | 63233 | 1433 | -143300 | -0.1433 | 1000095 | 999976 | 119 | -11900 | -0.0119 | ROLL OVER
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 998936 | 999022 | -86 | 8600 | 0.0086 | 999890 | 999894 | -4 | 400 | 0.0004
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 998718 | 998844 | -126 | 12600 | 0.0126 | 999926 | 999927 | -1 | 100 | 0.0001
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 677 | 672 | 5 | -5000 | -0.005 | 72531 | 72542 | -11 | 11000 | 0.011
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7956 | 7472 | 484 | -484000 | -0.484 | 2209 | 2200 | 9 | -9000 | -0.009
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 856361 | 852259 | 4102 | -410200 | -0.4102 | 53877 | 53485 | 392 | -39200 | -0.0392
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 40865 | 39115 | 1750 | -175000 | -0.175 | 53892 | 53373 | 519 | -51900 | -0.0519
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 32495 | 30426 | 2069 | -206900 | -0.2069 | 54631 | 54588 | 43 | -4300 | -0.0043
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 69728 | 68432 | 1296 | -259200 | -0.2592 | 105390 | 105361 | 29 | -5800 | -0.0058
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865122 | ELSTER | Kvarh(Lead/Lag) | -100 | 5252 | 4118 | 1134 | -113400 | -0.1134 | 763 | 762 | 1 | -100 | -0.0001
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 39096 | 37047 | 2049 | -204900 | -0.2049 | 682462 | 679065 | 3397 | -339700 | -0.3397
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 111427 | 111299 | 128 | -12800 | -0.0128 | 236134 | 231594 | 4540 | -454000 | -0.454
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 241123 | 234507 | 6616 | -661600 | -0.6616 | 39582 | 39552 | 30 | -3000 | -0.003
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 1140 | 1099 | 41 | -4100 | -0.0041 | 14962 | 14651 | 311 | -31100 | -0.0311
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 14240 | 14240 | 0 | 0 | 0 | 66274 | 65502 | 772 | -77200 | -0.0772
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 8863 | 8860 | 3 | -300 | -0.0003 | 22823 | 22819 | 4 | -400 | -0.0004
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9691 | 9691 | 0 | 0 | 0 | 35420 | 35292 | 128 | -12800 | -0.0128
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13865 | 13793 | 72 | -7200 | -0.0072 | 47105 | 46314 | 791 | -79100 | -0.0791
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 35032 | 33927 | 1105 | -110500 | -0.1105 | 12817 | 12767 | 50 | -5000 | -0.005
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16953 | 16941 | 12 | -1200 | -0.0012 | 12120 | 11969 | 151 | -15100 | -0.0151
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997544 | 997145 | 399 | -39900 | -0.0399 | 2613 | 2519 | 94 | -9400 | -0.0094
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995564 | 995550 | 14 | 5600 | 0.0056 | 22 | 12 | 10 | 4000 | 0.004
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999289 | 999289 | 0 | 0 | 0 | 999393 | 999393 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -3.0536 |  |  |  |  | -1.2877
SEPTEMBER-2012
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 7.2239 |  |  |  |  | 15.6474
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -3.0536 |  |  |  |  | -1.2877
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.44666 |  |  |  |  | 0.73672
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.3212 |  |  |  |  | -0.191
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 3.4024 |  |  |  |  | 14.9055
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 3.4024 | (REACTIVE MUs) |  |  |  | 14.9055 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.035757 | (REACTIVE MUs) |  |  |  | -0.23194 | (REACTIVE MUs)
[9 empty] | TOTAL | 3.4382 | (REACTIVE MUs) |  |  |  | 14.6735 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 31225 | 28891 | 2334 | 466800 | 0.4668 | 65244 | 65230 | 14 | 2800 | 0.0028
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 55480 | 52402 | 3078 | 307800 | 0.3078 | 126728 | 126630 | 98 | 9800 | 0.0098
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 987310 | 987665 | -355 | -71000 | -0.071 | 3930 | 3932 | -2 | -400 | -0.0004
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 54216 | 51716 | 2500 | 500000 | 0.5 | 82235 | 82207 | 28 | 5600 | 0.0056
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 71742 | 70590 | 1152 | 1152000 | 1.152 | 737 | 732 | 5 | 5000 | 0.005
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11042 | 10876 | 166 | 166000 | 0.166 | 367 | 366 | 1 | 1000 | 0.001
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 992167 | 992839 | -672 | -537600 | -0.5376 | 997528 | 997580 | -52 | -41600 | -0.0416
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 999350 | 999723 | -373 | -298400 | -0.2984 | 999526 | 999560 | -34 | -27200 | -0.0272
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 3248 | 3503 | -255 | -204000 | -0.204 | 405 | 418 | -13 | -10400 | -0.0104
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998436 | 998427 | 9 | 900 | 0.0009 | 328923 | 322889 | 6034 | 603400 | 0.6034
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 7124 | 7124 | 0 | 0 | 0 | 463243 | 455377 | 7866 | 786600 | 0.7866
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 11300 | 11300 | 0 | 0 | 0 | 259372 | 251732 | 7640 | 764000 | 0.764
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5391 | 5392 | -1 | -100 | -0.0001 | 334089 | 331541 | 2548 | 254800 | 0.2548
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998654 | 998654 | 0 | 0 | 0 | 266025 | 260273 | 5752 | 575200 | 0.5752
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 340 | 340 | 0 | 0 | 0 | 158055 | 153093 | 4962 | 496200 | 0.4962
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13120 | 13120 | 0 | 0 | 0 | 239342 | 231315 | 8027 | 802700 | 0.8027
17 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 13831 | 13782 | 49 | 4900 | 0.0049 | 275334 | 269623 | 5711 | 571100 | 0.5711
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 61635 | 60698 | 937 | 1030700 | 1.0307
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4737 | 4783 | -46 | -46000 | -0.046 | 36431 | 36576 | -145 | -145000 | -0.145
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 140596 | 138469 | 2127 | 2339700 | 2.3397
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9314 | 9282 | 32 | 32000 | 0.032 | 50427 | 49958 | 469 | 469000 | 0.469
[10 empty] | -0.014 |  |  |  |  | 3.6944
RIDGE VALLEY
22 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 677 | 672 | 5 | 5000 | 0.005 | 72531 | 72542 | -11 | -11000 | -0.011
23 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7956 | 7472 | 484 | 484000 | 0.484 | 2209 | 2200 | 9 | 9000 | 0.009
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 856361 | 852259 | 4102 | 410200 | 0.4102 | 53877 | 53485 | 392 | 39200 | 0.0392
25 | A.I.I.M.S.
26 | TX-I | 4865122 | ELSTER | Kvarh(Lag) | 100 | 5252 | 4118 | 1134 | 113400 | 0.1134 | 763 | 762 | 1 | 100 | 0.0001
27 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 39096 | 37047 | 2049 | 204900 | 0.2049 | 682462 | 679065 | 3397 | 339700 | 0.3397
28 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 111427 | 111299 | 128 | 12800 | 0.0128 | 236134 | 231594 | 4540 | 454000 | 0.454
SEPTEMBER-2012
NDMC(+) Continue…
TRAUMA CENTRE
29 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993813 | 997090 | -3277 | 3277000 | 3.277 | 999947 | 999947 | 0 | 0 | 0 | M.F. Sign corrected
ELECTRIC LANE
30 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999817 | 1000004 | -187 | 187000 | 0.187 | 0 | 0 | 0 | 0 | 0 | Loaded on 24/09/12
KIDWAI NAGAR
31 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 241123 | 234507 | 6616 | 661600 | 0.6616 | 39582 | 39552 | 30 | 3000 | 0.003
EXHIBITION I
32 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 1140 | 1099 | 41 | 4100 | 0.0041 | 14962 | 14651 | 311 | 31100 | 0.0311
33 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
34 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 40865 | 39115 | 1750 | 175000 | 0.175 | 53892 | 53373 | 519 | 51900 | 0.0519
35 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 32495 | 30426 | 2069 | 206900 | 0.2069 | 54631 | 54588 | 43 | 4300 | 0.0043
36 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 69728 | 68432 | 1296 | 259200 | 0.2592 | 105390 | 105361 | 29 | 5800 | 0.0058
TILAK MARG
37 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 9962 | 7134 | 2828 | 282800 | 0.2828 | 887476 | 885930 | 1546 | 154600 | 0.1546
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1423 | 1423 | 0 | 0 | 0 | 6787 | 6787 | 0 | 0 | 0 | OFF
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 8350 | 8350 | 0 | 0 | 0 | 14600 | 14600 | 0 | 0 | 0 | OFF
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 7.7572 |  |  |  |  | 9.5747
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 7.7572 |  |  |  |  | 9.5747
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.0042758 |  |  |  |  | -0.027735
| Assessment due to + sign of M.F. in Aug 2012 and Sep.2012 month for Trauma center Incomer. | [8 empty] | 5.806 |  |  |  |  | 0.054
| TOTAL ENERGY TO NDMC | [8 empty] | 13.5675 |  |  |  |  | 9.601

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2012
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 645 | 645 | 0 | 0 | 0 | 17522 | 17168 | 354 | 354000 | 0.354
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 453 | 453 | 0 | 0 | 0 | 22262 | 21817 | 445 | 445000 | 0.445
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 825 | 825 | 0 | 0 | 0 | 31086 | 30853 | 233 | 233000 | 0.233
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 464 | 464 | 0 | 0 | 0 | 15422 | 15272 | 150 | 150000 | 0.15
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2207 | 2206 | 1 | 1000 | 0.001 | 8375 | 8227 | 148 | 148000 | 0.148
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 998936 | 999022 | -86 | -8600 | -0.0086 | 999890 | 999894 | -4 | -400 | -0.0004
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 998718 | 998844 | -126 | -12600 | -0.0126 | 999926 | 999927 | -1 | -100 | -0.0001
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0202 |  |  |  |  | 1.3295
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3431 | 3431 | 0 | 0 | 0 | 34359 | 34359 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 34233 | 32470 | 1763 | 176300 | 0.1763 | 64208 | 63920 | 288 | 28800 | 0.0288
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 67328 | 67326 | 2 | 200 | 0.0002 | 9386 | 9315 | 71 | 7100 | 0.0071
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 24241 | 22882 | 1359 | 135900 | 0.1359 | 52769 | 52576 | 193 | 19300 | 0.0193
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 18738 | 18738 | 0 | 0 | 0
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 77249 | 77161 | 88 | 8800 | 0.0088 | 52399 | 51041 | 1358 | 135800 | 0.1358
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 215 | 0 | 215 | 21500 | 0.0215
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.3212 |  |  |  |  | 0.191
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.3212 |  |  |  |  | 0.191
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0202 |  |  |  |  | 1.3295
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.301 |  |  |  |  | 1.5205
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.301 | (REACTIVE MUs) |  |  |  | 1.5205 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0006734 | (REACTIVE MUs) |  |  |  | -0.004368 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.30167 | (REACTIVE MUs) |  |  |  | 1.5161 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2012
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 55442 | 60132 | -4690 | -469000 | -0.469 | 79764 | 79745 | 19 | 1900 | 0.0019
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 9106 | 10232 | -1126 | -112600 | -0.1126 | 999429 | 999446 | -17 | -1700 | -0.0017
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 171624 | 172739 | -1115 | -111500 | -0.1115 | 96599 | 96329 | 270 | 27000 | 0.027
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 17908 | 17971 | -63 | -59062.5 | -0.059062 | 18199 | 18193 | 6 | 5625 | 0.005625
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 992774 | 992774 | 0 | 0 | 0 | 931761 | 933171 | -1410 | 705000 | 0.705
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 992994 | 993605 | -611 | 305500 | 0.3055 | 986100 | 986099 | 1 | -500 | -0.0005
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 18 | 18 | 0 | 0 | 0 | 9 | 11 | -2 | -600 | -0.0006
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.44666 |  |  |  |  | 0.73672
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 949668 | 950122 | -454 | -90800 | -0.0908 | 991783 | 991689 | 94 | 18800 | 0.0188
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 857569 | 861137 | -3568 | -356800 | -0.3568 | 928134 | 928162 | -28 | -2800 | -0.0028
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.4476 |  |  |  |  | 0.016
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 179605 | 177364 | 2241 | 448200 | 0.4482 | 263301 | 263202 | 99 | 19800 | 0.0198
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 66542 | 66061 | 481 | 96200 | 0.0962 | 41144 | 41136 | 8 | 1600 | 0.0016
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 96497 | 95625 | 872 | 87200 | 0.0872 | 71702 | 71690 | 12 | 1200 | 0.0012
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987697 | 987660 | 37 | 37000 | 0.037 | 998301 | 998282 | 19 | 19000 | 0.019
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 980396 | 980914 | -518 | -51800 | -0.0518 | 7274 | 7281 | -7 | -700 | -0.0007
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 9 | 9 | 0 | 0 | 0 | 1599 | 1765 | -166 | -155625 | -0.15563
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 991279 | 991488 | -209 | 130625 | 0.13062 | 995561 | 995562 | -1 | 625 | 0.000625
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 18 | 18 | 0 | 0 | 0 | 9 | 11 | -2 | 600 | 0.0006
| TOTAL NDPL | [8 empty] | 0.74743 |  |  |  |  | -0.1135
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.44666 |  |  |  |  | 0.73672
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.4476 |  |  |  |  | 0.016
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.74743 |  |  |  |  | -0.1135

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2012
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 6367 | 6221 | 146 | 292000 | 0.292 | 223 | 223 | 0 | 0 | 0
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 9749 | 9683 | 66 | 132000 | 0.132 | 1006 | 667 | 339 | 678000 | 0.678
[7 empty] | NET REACTIVE ENERGY |  |  | 0.424 |  | NET REACTIVE ENERGY |  |  | 0.678
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999076 | 999161 | -85 | -85000 | -0.085 | 42462 | 42553 | -91 | -91000 | -0.091
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 985036 | 985136 | -100 | -100000 | -0.1 | 980826 | 981517 | -691 | -691000 | -0.691
[7 empty] | NET REACTIVE ENERGY |  |  | -0.185 |  | NET REACTIVE ENERGY |  |  | -0.782
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.239 |  |  |  |  | -0.104
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.1399 |  |  |  |  | -4.1424
[7 empty] | NDMC = |  |  | -0.014 |  |  |  |  | 3.6944
MES =
[7 empty] | 2)TOTAL |  |  | -0.1539 |  |  |  |  | -0.448
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.0851 |  |  |  |  | -0.552
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.2481 | % |  |  | 0.024039 |  |  |  |  | -0.15593
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.0176 | % |  |  | 0.035757 |  |  |  |  | -0.23194
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.9187 | % |  |  | 0.020355 |  |  |  |  | -0.13203
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.0244 | % |  |  | 0.0042758 |  |  |  |  | -0.027735
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7913 | % |  |  | 0.0006734 |  |  |  |  | -0.004368
Note :Sharing taken from wk-24 abt bill 2012-13

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st SEPTEMBER-2012 TO 30th SEPTEMBER-2012
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -0.39384 | + | 1.9857
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 3.4382 | + | 14.6735
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 0.023221 | + | 8.0399
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 13.5675 | + | 9.601
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.30167 | + | 1.5161
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/12 | INTIAL READING 01/09/12 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 967948 | 969137 | -1189 | -1783500 | -1.7835 | 981080 | 981080 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 999803 | 999822 | -19 | -28500 | -0.0285 | 998126 | 998233 | -107 | -160500 | -0.1605
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 928467 | 928545 | -78 | -117000 | -0.117 | 968097 | 968118 | -21 | -31500 | -0.0315
[8 empty] | NET REACTIVE ENERGY |  | -1.929 |  |  | NET REACTIVE ENERGY |  | -0.192
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997246 | 997246 | 0 | 0 | 0 | 33911 | 34494 | -583 | -2915000 | -2.915
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999388 | 999388 | 0 | 0 | 0 | 5260 | 5805 | -545 | -545000 | -0.545
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 970365 | 970365 | 0 | 0 | 0 | 990172 | 990172 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 0 |  |  | NET REACTIVE ENERGY |  | -3.46