## NDPL
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15634 | 15632 | 2 | -2000 | -0.002 | 978139 | 978143 | -4 | 4000 | 0.004
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 6 | 0 | 0 | 0 | 999690 | 999981 | -291 | 291000 | 0.291
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17088 | 17014 | 74 | -74000 | -0.074 | 996384 | 996381 | 3 | -3000 | -0.003
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974212 | 974211 | 1 | -1000 | -0.001 | 977882 | 977956 | -74 | 74000 | 0.074
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 921706 | 921662 | 44 | -44000 | -0.044 | 946982 | 947441 | -459 | 459000 | 0.459
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18700 | 18698 | 2 | -2000 | -0.002 | 17382 | 17371 | 11 | -11000 | -0.011
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19615 | 19613 | 2 | -2000 | -0.002 | 13348 | 13340 | 8 | -8000 | -0.008
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 16707 | 16702 | 5 | -6250 | -0.00625 | 996534 | 996539 | -5 | 6250 | 0.00625
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15498 | 15491 | 7 | -7000 | -0.007 | 986591 | 986596 | -5 | 5000 | 0.005
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33375 | 33379 | -4 | 4000 | 0.004 | 9671 | 9679 | -8 | 8000 | 0.008
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999866 | 999899 | -33 | 33000 | 0.033 | 4087 | 4093 | -6 | 6000 | 0.006
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997185 | 997195 | -10 | 10000 | 0.01 | 999744 | 999747 | -3 | 3000 | 0.003
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 946261 | 947132 | -871 | -871000 | -0.871 | 920532 | 920532 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997206 | 997189 | 17 | -17000 | -0.017 | 16939 | 16953 | -14 | 14000 | 0.014
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999725 | 999633 | 92 | -92000 | -0.092 | 19625 | 19628 | -3 | 3000 | 0.003
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 767 | 764 | 3 | -3000 | -0.003 | 20209 | 20597 | -388 | 388000 | 0.388
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999545 | 999545 | 0 | 0 | 0 | 27164 | 27410 | -246 | -246000 | -0.246
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 218 | 218 | 0 | 0 | 0 | 27760 | 27854 | -94 | -94000 | -0.094
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2339 | 2339 | 0 | 0 | 0 | 134535 | 133062 | 1473 | 147300 | 0.1473
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4219 | 4219 | 0 | 0 | 0 | 199011 | 192980 | 6031 | 603100 | 0.6031
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996022 | 996022 | 0 | 0 | 0 | 999017 | 998545 | 472 | 472000 | 0.472
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999910 | 999910 | 0 | 0 | 0 | 5501 | 4657 | 844 | 844000 | 0.844
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 652725 | 652726 | -1 | -1000 | -0.001 | 800186 | 800300 | -114 | -114000 | -0.114
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 659797 | 659798 | -1 | -1000 | -0.001 | 833119 | 833141 | -22 | -22000 | -0.022
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991620 | 991624 | -4 | -4000 | -0.004 | 998295 | 998286 | 9 | 9000 | 0.009
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 111 | 111 | 0 | 0 | 0 | 176 | 126 | 50 | 25000 | 0.025
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8310 | 8279 | 31 | -31000 | -0.031 | 981957 | 981966 | -9 | 9000 | 0.009
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 237 | 93 | 144 | -144000 | -0.144 | 948166 | 948148 | 18 | -18000 | -0.018
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991583 | 991576 | 7 | -7000 | -0.007 | 928224 | 928629 | -405 | 405000 | 0.405
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999429 | 999473 | -44 | 44000 | 0.044 | 999958 | 999958 | 0 | 0 | 0
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17343 | 15602 | 1741 | -1741000 | -1.741 | 999937 | 999938 | -1 | 1000 | 0.001
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 850 | 777 | 73 | 73000 | 0.073 | 17642 | 17495 | 147 | 147000 | 0.147
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999753 | 999670 | 83 | 83000 | 0.083 | 3134 | 3159 | -25 | -25000 | -0.025
| NDPL(+) continue | [14 empty] | AUGUST-2012
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1363 | 1363 | 0 | 0 | 0 | 59553 | 59245 | 308 | 308000 | 0.308
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 14240 | 14240 | 0 | 0 | 0 | 65502 | 65280 | 222 | 22200 | 0.0222
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 8860 | 8860 | 0 | 0 | 0 | 22819 | 20987 | 1832 | 183200 | 0.1832
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9691 | 9691 | 0 | 0 | 0 | 35292 | 34642 | 650 | 65000 | 0.065
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13793 | 13767 | 26 | 2600 | 0.0026 | 46314 | 45276 | 1038 | 103800 | 0.1038
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 33927 | 33872 | 55 | 5500 | 0.0055 | 12767 | 12455 | 312 | 31200 | 0.0312
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16941 | 16788 | 153 | 15300 | 0.0153 | 11969 | 11811 | 158 | 15800 | 0.0158
45 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997145 | 997147 | -2 | -200 | -0.0002 | 2519 | 1966 | 553 | 55300 | 0.0553
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5132 | 5132 | 0 | 0 | 0 | 25216 | 24743 | 473 | 236500 | 0.2365
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3313 | 3313 | 0 | 0 | 0 | 23357 | 22991 | 366 | 183000 | 0.183
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3571 | 3469 | 102 | 51000 | 0.051 | 14063 | 14034 | 29 | 14500 | 0.0145
49 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3826 | 3662 | 164 | 82000 | 0.082 | 16743 | 16675 | 68 | 34000 | 0.034
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 998727 | 998971 | -244 | -24400 | -0.0244 | 6044 | 6046 | -2 | -200 | -0.0002
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7469 | 5581 | 1888 | 188800 | 0.1888 | 14909 | 14909 | 0 | 0 | 0
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 16159 | 13955 | 2204 | 220400 | 0.2204 | 50656 | 50655 | 1 | 100 | 0.0001
53 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 8734 | 7942 | 792 | 79200 | 0.0792 | 18968 | 18959 | 9 | 900 | 0.0009
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999309 | 999348 | -39 | -3900 | -0.0039 | 217 | 217 | 0 | 0 | 0
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 7211 | 6662 | 549 | 54900 | 0.0549 | 67217 | 66238 | 979 | 97900 | 0.0979
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 6183 | 6171 | 12 | 1200 | 0.0012 | 57762 | 56636 | 1126 | 112600 | 0.1126
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 7220 | 7208 | 12 | 1200 | 0.0012 | 83045 | 81832 | 1213 | 121300 | 0.1213
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 116051 | 115945 | 106 | 10600 | 0.0106 | 28250 | 27662 | 588 | 58800 | 0.0588
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 16600 | 16592 | 8 | 800 | 0.0008 | 38160 | 37679 | 481 | 48100 | 0.0481
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 41 | 41 | 0 | 0 | 0 | 28 | 28 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995550 | 995550 | 0 | 0 | 0 | 12 | 12 | 0 | 0 | 0 | Installed on 06/07/12
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999289 | 999301 | -12 | -1200 | -0.0012 | 999393 | 999393 | 0 | 0 | 0
Mundka
64 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 1423 | 1162 | 261 | 208800 | 0.2088 | 301 | 291 | 10 | 8000 | 0.008
MANGOLPURI
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -1.9106 |  |  |  |  | 5.0826
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 8108 | 7794 | 314 | -31400 | -0.0314 | 11829 | 11725 | 104 | -10400 | -0.0104
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6502 | 6387 | 115 | -115000 | -0.115 | 6849 | 6848 | 1 | -1000 | -0.001
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13349 | 13350 | -1 | 1000 | 0.001 | 27075 | 26609 | 466 | -466000 | -0.466
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 38113 | 38167 | -54 | 5400 | 0.0054 | 146943 | 146962 | -19 | 1900 | 0.0019
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972910 | 973268 | -358 | 358000 | 0.358 | 992482 | 992488 | -6 | 6000 | 0.006
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999534 | 999534 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.218 |  |  |  |  | -0.4695
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -1.9106 |  |  |  |  | 5.0826
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.218 |  |  |  |  | -0.4695
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.1642 |  |  |  |  | 0.07605
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -1.5284 |  |  |  |  | 4.6892
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.5284 | (REACTIVE MUs) |  |  |  | 4.6892 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.1669 | (REACTIVE MUs) |  |  |  | -0.69591 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.6954 | (REACTIVE MUs) |  |  |  | 3.9933 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | AUGUST-2012
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988335 | 988673 | -338 | -33800 | -0.0338 | 60673 | 64549 | -3876 | -387600 | -0.3876
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 17347 | 17325 | 22 | 2200 | 0.0022 | 9761 | 6309 | 3452 | 345200 | 0.3452
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 22963 | 23310 | -347 | -34700 | -0.0347 | 16938 | 24783 | -7845 | -784500 | -0.7845
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998643 | 998665 | -22 | -2200 | -0.0022 | 5596 | 5891 | -295 | -29500 | -0.0295
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8914 | 8902 | 12 | 1200 | 0.0012 | 92451 | 86754 | 5697 | 569700 | 0.5697
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 780 | 714 | 66 | 6600 | 0.0066 | 45267 | 47290 | -2023 | -202300 | -0.2023
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999596 | 999580 | 16 | 16000 | 0.016 | 321 | 31 | 290 | 290000 | 0.29
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999785 | 999789 | -4 | -4000 | -0.004 | 2074 | 2199 | -125 | -125000 | -0.125
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 459 | 393 | 66 | 66000 | 0.066 | 1296 | 1536 | -240 | -240000 | -0.24
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 87 | 82 | 5 | 5000 | 0.005 | 2873 | 2925 | -52 | -52000 | -0.052
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999749 | 999697 | 52 | 52000 | 0.052 | 3105 | 3179 | -74 | -74000 | -0.074
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 473 | 475 | -2 | -2000 | -0.002 | 303 | 536 | -233 | -233000 | -0.233
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 152 | 155 | -3 | -3000 | -0.003 | 14950 | 14873 | 77 | 77000 | 0.077
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 286 | 298 | -12 | -12000 | -0.012 | 35806 | 35457 | 349 | 349000 | 0.349
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 258 | 258 | 0 | 0 | 0 | 16144 | 14689 | 1455 | 1455000 | 1.455
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 291 | 249 | 42 | 42000 | 0.042 | 5874 | 4809 | 1065 | 1065000 | 1.065
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 32692 | 32532 | 160 | 16000 | 0.016 | 636 | 636 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998550 | 998532 | 18 | 18000 | 0.018 | 9947 | 9445 | 502 | 502000 | 0.502
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 809324 | 812005 | -2681 | -2949100 | -2.9491
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 851398 | 854303 | -2905 | -3195500 | -3.1955
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991482 | 991962 | -480 | -480000 | -0.48 | 9653 | 9703 | -50 | -50000 | -0.05
| KASHMIRI GATE | [8 empty] | -0.286 |  |  |  |  | -3.1806
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964881 | 964881 | 0 | 0 | 0 | 974482 | 975018 | -536 | 536000 | 0.536
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981037 | 981038 | -1 | 1000 | 0.001 | 974296 | 975945 | -1649 | 1649000 | 1.649
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 41 | 41 | 0 | 0 | 0 | 28 | 28 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1237 | 1237 | 0 | 0 | 0 | 61772 | 61075 | 697 | 697000 | 0.697
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11427 | 10794 | 633 | -633000 | -0.633 | 972906 | 973237 | -331 | 331000 | 0.331
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7197 | 7157 | 40 | -40000 | -0.04 | 974844 | 975337 | -493 | 493000 | 0.493
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 246 | 445 | -199 | 199000 | 0.199 | 999786 | 999883 | -97 | 97000 | 0.097
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989344 | 989480 | -136 | 136000 | 0.136 | 994943 | 995123 | -180 | 180000 | 0.18
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13349 | 13350 | -1 | -1000 | -0.001 | 27075 | 26609 | 466 | 466000 | 0.466
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 97742 | 98041 | -299 | -29900 | -0.0299 | 1624 | 1646 | -22 | -2200 | -0.0022
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 63233 | 62802 | 431 | 43100 | 0.0431 | 999976 | 999722 | 254 | 25400 | 0.0254
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.6715 |  |  |  |  | 0.8026
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.6715 |  |  |  |  | 0.8026
AUGUST-2012
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996823 | 996823 | 0 | 0 | 0 | 933495 | 934971 | -1476 | 1476000 | 1.476
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15162 | 15162 | 0 | 0 | 0 | 952868 | 954249 | -1381 | 1381000 | 1.381
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999998 | 999998 | 0 | 0 | 0 | 997142 | 998586 | -1444 | 1444000 | 1.444
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 947306 | 947840 | -534 | 534000 | 0.534 | 993141 | 993193 | -52 | 52000 | 0.052
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 937725 | 938273 | -548 | 548000 | 0.548 | 991469 | 991520 | -51 | 51000 | 0.051
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 131 | 135 | -4 | 4000 | 0.004 | 993296 | 993583 | -287 | 287000 | 0.287
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998610 | 998626 | -16 | 32000 | 0.032 | 988712 | 988981 | -269 | 538000 | 0.538
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999728 | 999728 | 0 | 0 | 0 | 974040 | 976659 | -2619 | 2619000 | 2.619
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12638 | 12640 | -2 | 2000 | 0.002 | 951941 | 954613 | -2672 | 2672000 | 2.672
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966046 | 966046 | 0 | 0 | 0 | 880140 | 880731 | -591 | 591000 | 0.591
GAZIPUR
12 | TX.-1 | 4865004 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11528 | 11528 | 0 | 0 | 0 | 39888 | 39893 | -5 | 5000 | 0.005 | Check Meter data used from 01/8/12 to 06/08/12
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21473 | 21451 | 22 | -22000 | -0.022 | 31640 | 31667 | -27 | 27000 | 0.027
13 | TX-2 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10872 | 10872 | 0 | 0 | 0 | 43691 | 43689 | 2 | -2000 | -0.002 | Check Meter data used from 01/8/12 to 06/08/12
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19326 | 19326 | 0 | 0 | 0 | 40327 | 40114 | 213 | -213000 | -0.213
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 1.098 |  |  |  |  | 10.928
| (B) NET ENERGY TO EAST | [8 empty] | 1.098 |  |  |  |  | 10.928
AUGUST-2012
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991620 | 991624 | -4 | 4000 | 0.004 | 998295 | 998286 | 9 | -9000 | -0.009
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 111 | 111 | 0 | 0 | 0 | 176 | 126 | 50 | -25000 | -0.025
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 28891 | 28176 | 715 | -143000 | -0.143 | 65230 | 64899 | 331 | -66200 | -0.0662
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 52402 | 50704 | 1698 | -169800 | -0.1698 | 126630 | 126081 | 549 | -54900 | -0.0549
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 987665 | 987800 | -135 | 27000 | 0.027 | 3932 | 3988 | -56 | 11200 | 0.0112
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 51716 | 51085 | 631 | -126200 | -0.1262 | 82207 | 82039 | 168 | -33600 | -0.0336
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 70590 | 69693 | 897 | -897000 | -0.897 | 732 | 711 | 21 | -21000 | -0.021
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10876 | 11019 | -143 | 143000 | 0.143 | 366 | 366 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 992839 | 993255 | -416 | 332800 | 0.3328 | 997580 | 997677 | -97 | 77600 | 0.0776
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 999723 | 999853 | -130 | 104000 | 0.104 | 999560 | 999643 | -83 | 66400 | 0.0664 | loaded on 12/08/12
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 3503 | 3649 | -146 | 116800 | 0.1168 | 418 | 421 | -3 | 2400 | 0.0024
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996767 | 996778 | -11 | 11000 | 0.011 | 37478 | 37511 | -33 | 33000 | 0.033
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 996709 | 996722 | -13 | 17333.29 | 0.017333 | 243 | 244 | -1 | 1333.33 | 0.0013333
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 850 | 777 | 73 | -73000 | -0.073 | 17642 | 17495 | 147 | -147000 | -0.147
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999753 | 999670 | 83 | -83000 | -0.083 | 3134 | 3159 | -25 | 25000 | 0.025
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1363 | 1363 | 0 | 0 | 0 | 59553 | 59245 | 308 | -308000 | -0.308
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5132 | 5132 | 0 | 0 | 0 | 25216 | 24743 | 473 | -236500 | -0.2365
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3313 | 3313 | 0 | 0 | 0 | 23357 | 22991 | 366 | -183000 | -0.183
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3571 | 3469 | 102 | -51000 | -0.051 | 14063 | 14034 | 29 | -14500 | -0.0145
20 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3826 | 3662 | 164 | -82000 | -0.082 | 16743 | 16675 | 68 | -34000 | -0.034
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 116051 | 115945 | 106 | -10600 | -0.0106 | 28250 | 27662 | 588 | -58800 | -0.0588
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 16600 | 16592 | 8 | -800 | -0.0008 | 38160 | 37679 | 481 | -48100 | -0.0481
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 998727 | 998971 | -244 | 24400 | 0.0244 | 6044 | 6046 | -2 | 200 | 0.0002
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7469 | 5581 | 1888 | -188800 | -0.1888 | 14909 | 14909 | 0 | 0 | 0
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 16159 | 13955 | 2204 | -220400 | -0.2204 | 50656 | 50655 | 1 | -100 | -0.0001
26 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 8734 | 7942 | 792 | -79200 | -0.0792 | 18968 | 18959 | 9 | -900 | -0.0009
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999309 | 999348 | -39 | 3900 | 0.0039 | 217 | 217 | 0 | 0 | 0
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 7211 | 6662 | 549 | -54900 | -0.0549 | 67217 | 66238 | 979 | -97900 | -0.0979
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 6183 | 6171 | 12 | -1200 | -0.0012 | 57762 | 56636 | 1126 | -112600 | -0.1126
31 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 7220 | 7208 | 12 | -1200 | -0.0012 | 83045 | 81832 | 1213 | -121300 | -0.1213
[10 empty] | -1.3979 |  |  |  |  | -1.3553
AUGUST-2012
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.6715 |  |  |  |  | 0.8026
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -1.3979 |  |  |  |  | -1.3553
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.2619 |  |  |  |  | 0.0093
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.3313 |  |  |  |  | -0.54337
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 1.098 |  |  |  |  | 10.928
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.2333 |  |  |  |  | 10.3846
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.2333 | (REACTIVE MUs) |  |  |  | 10.3846 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.1435 | (REACTIVE MUs) |  |  |  | -0.59833 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.3768 | (REACTIVE MUs) |  |  |  | 9.7863 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | AUGUST-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998178 | 998207 | -29 | -29000 | -0.029 | 10236 | 10687 | -451 | -451000 | -0.451
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 990401 | 990403 | -2 | -2666.66 | -0.0026667 | 675103 | 675782 | -679 | -905331.07 | -0.90533
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6691 | 6702 | -11 | -11000 | -0.011 | 56818 | 55727 | 1091 | 1091000 | 1.091
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10879 | 10878 | 1 | 1000 | 0.001 | 999699 | 1000147 | -448 | -448000 | -0.448 | ROLL OVER
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 7692 | 7509 | 183 | 18300 | 0.0183 | 109011 | 105707 | 3304 | 330400 | 0.3304
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 39284 | 39709 | -425 | -42500 | -0.0425 | 246503 | 250037 | -3534 | -353400 | -0.3534
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 8505 | 8482 | 23 | 2300 | 0.0023 | 388832 | 384971 | 3861 | 386100 | 0.3861
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999966 | 999966 | 0 | 0 | 0 | 999673 | 999544 | 129 | 116100 | 0.1161
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992903 | 992903 | 0 | 0 | 0 | 953469 | 955870 | -2401 | 2401000 | 2.401
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991219 | 991219 | 0 | 0 | 0 | 956658 | 958816 | -2158 | 2158000 | 2.158
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987630 | 987630 | 0 | 0 | 0 | 941550 | 942960 | -1410 | 1410000 | 1.41
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998248 | 998248 | 0 | 0 | 0 | 957422 | 958865 | -1443 | 1443000 | 1.443
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996050 | 996047 | 3 | -3000 | -0.003 | 987239 | 987510 | -271 | 271000 | 0.271
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6841 | 6836 | 5 | -5000 | -0.005 | 990424 | 991774 | -1350 | 1350000 | 1.35
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43134 | 42046 | 1088 | -1088000 | -1.088 | 21905 | 22070 | -165 | 165000 | 0.165
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5444 | 4930 | 514 | -514000 | -0.514 | 8568 | 8721 | -153 | 153000 | 0.153
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26761 | 25581 | 1180 | -1180000 | -1.18 | 7593 | 7718 | -125 | 125000 | 0.125
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20067 | 19210 | 857 | -857000 | -0.857 | 44240 | 44150 | 90 | -90000 | -0.09
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6502 | 6387 | 115 | 115000 | 0.115 | 6849 | 6848 | 1 | 1000 | 0.001
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 940935 | 942888 | -1953 | 1953000 | 1.953 | 902399 | 902978 | -579 | 579000 | 0.579
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980457 | 981653 | -1196 | 1196000 | 1.196 | 864444 | 865298 | -854 | 854000 | 0.854
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 416 | 377 | 39 | -39000 | -0.039 | 987139 | 988499 | -1360 | 1360000 | 1.36
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 474 | 462 | 12 | -12000 | -0.012 | 968401 | 970244 | -1843 | 1843000 | 1.843
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1801 | 1710 | 91 | -91000 | -0.091 | 956880 | 956983 | -103 | 103000 | 0.103
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999630 | 999630 | 0 | 0 | 0 | 895726 | 897649 | -1923 | 1923000 | 1.923
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999027 | 999027 | 0 | 0 | 0 | 876777 | 879862 | -3085 | 3085000 | 3.085
BRPL(+) continue | [14 empty] | AUGUST-2012
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999146 | 999112 | 34 | -34000 | -0.034 | 974147 | 974177 | -30 | 30000 | 0.03
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 274 | 235 | 39 | -39000 | -0.039 | 991302 | 991325 | -23 | 23000 | 0.023
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990736 | 990728 | 8 | -16000 | -0.016 | 971217 | 971874 | -657 | 1314000 | 1.314
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997526 | 997526 | 0 | 0 | 0 | 927720 | 928535 | -815 | 815000 | 0.815
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1645 | 1643 | 2 | -2000 | -0.002 | 938824 | 939847 | -1023 | 1023000 | 1.023
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997434 | 997434 | 0 | 0 | 0 | 934485 | 935230 | -745 | 745000 | 0.745
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 997628 | 997640 | -12 | 7999.992 | 0.008 | 992535 | 995372 | -2837 | 1891331.442 | 1.8913
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 973220 | 973246 | -26 | 17333.316 | 0.017333 | 971874 | 972000 | -126 | 83999.916 | 0.084
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 556 | 556 | 0 | 0 | 0 | 1225 | 1202 | 23 | -46000 | -0.046
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997336 | 997336 | 0 | 0 | 0 | 437 | 419 | 18 | -36000 | -0.036
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974911 | 977157 | -2246 | 2246000 | 2.246 | 997540 | 997575 | -35 | 35000 | 0.035
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976275 | 977303 | -1028 | 1028000 | 1.028 | 998599 | 999078 | -479 | 479000 | 0.479
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 999302 | 999380 | -78 | -62400 | -0.0624 | 1010 | 998 | 12 | 9600 | 0.0096
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 3450 | 3246 | 204 | 163200 | 0.1632 | 713 | 701 | 12 | 9600 | 0.0096
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 988692 | 989221 | -529 | -423200 | -0.4232 | 999719 | 999725 | -6 | -4800 | -0.0048
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999534 | 999534 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996767 | 996778 | -11 | -11000 | -0.011 | 37478 | 37511 | -33 | -33000 | -0.033
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 996709 | 996722 | -13 | -17333.29 | -0.017333 | 243 | 244 | -1 | -1333.33 | -0.0013333
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4025 | 4110 | -85 | 85000 | 0.085 | 979448 | 981206 | -1758 | 1758000 | 1.758
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999049 | 999101 | -52 | 52000 | 0.052 | 986937 | 987302 | -365 | 365000 | 0.365
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 8108 | 7794 | 314 | 31400 | 0.0314 | 11829 | 11725 | 104 | 10400 | 0.0104
SUDARSHAN PARK
51 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 38113 | 38167 | -54 | -5400 | -0.0054 | 146943 | 146962 | -19 | -1900 | -0.0019
REWARI LINE
52 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 972910 | 973268 | -358 | -358000 | -0.358 | 992482 | 992488 | -6 | -6000 | -0.006
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1423 | 1428 | -5 | -500 | -0.0005 | 6787 | 6572 | 215 | 21500 | 0.0215
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 8350 | 8309 | 41 | 4100 | 0.0041 | 14600 | 13894 | 706 | 70600 | 0.0706
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.0776 |  |  |  |  | 27.4549
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 7134 | 4492 | 2642 | -264200 | -0.2642 | 885930 | 882441 | 3489 | -348900 | -0.3489
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 97742 | 98041 | -299 | 29900 | 0.0299 | 1624 | 1646 | -22 | 2200 | 0.0022
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 63233 | 62802 | 431 | -43100 | -0.0431 | 999976 | 999722 | 254 | -25400 | -0.0254
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 999022 | 999084 | -62 | 6200 | 0.0062 | 999894 | 999905 | -11 | 1100 | 0.0011
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 998844 | 998934 | -90 | 9000 | 0.009 | 999927 | 999935 | -8 | 800 | 0.0008
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 672 | 672 | 0 | 0 | 0 | 72542 | 72594 | -52 | 52000 | 0.052
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7472 | 7454 | 18 | -18000 | -0.018 | 2200 | 2198 | 2 | -2000 | -0.002
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 852259 | 850315 | 1944 | -194400 | -0.1944 | 53485 | 52666 | 819 | -81900 | -0.0819
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 39115 | 38545 | 570 | -57000 | -0.057 | 53373 | 53056 | 317 | -31700 | -0.0317
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 30426 | 29620 | 806 | -80600 | -0.0806 | 54588 | 54492 | 96 | -9600 | -0.0096
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 68432 | 67656 | 776 | -155200 | -0.1552 | 105361 | 104969 | 392 | -78400 | -0.0784
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865122 | ELSTER | Kvarh(Lead/Lag) | -100 | 4118 | 1368 | 2750 | -275000 | -0.275 | 762 | 405 | 357 | -35700 | -0.0357
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 37047 | 36766 | 281 | -28100 | -0.0281 | 679065 | 669864 | 9201 | -920100 | -0.9201
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 111299 | 111299 | 0 | 0 | 0 | 231594 | 231508 | 86 | -8600 | -0.0086
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 234507 | 228424 | 6083 | -608300 | -0.6083 | 39552 | 38602 | 950 | -95000 | -0.095
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 1099 | 1071 | 28 | -2800 | -0.0028 | 14651 | 14427 | 224 | -22400 | -0.0224
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 14240 | 14240 | 0 | 0 | 0 | 65502 | 65280 | 222 | -22200 | -0.0222
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 8860 | 8860 | 0 | 0 | 0 | 22819 | 20987 | 1832 | -183200 | -0.1832
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9691 | 9691 | 0 | 0 | 0 | 35292 | 34642 | 650 | -65000 | -0.065
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13793 | 13767 | 26 | -2600 | -0.0026 | 46314 | 45276 | 1038 | -103800 | -0.1038
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 33927 | 33872 | 55 | -5500 | -0.0055 | 12767 | 12455 | 312 | -31200 | -0.0312
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16941 | 16788 | 153 | -15300 | -0.0153 | 11969 | 11811 | 158 | -15800 | -0.0158
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997145 | 997147 | -2 | 200 | 0.0002 | 2519 | 1966 | 553 | -55300 | -0.0553
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995550 | 995550 | 0 | 0 | 0 | 12 | 12 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999289 | 999301 | -12 | 1200 | 0.0012 | 999393 | 999393 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.7036 |  |  |  |  | -2.0801
AUGUST-2012
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 2.0776 |  |  |  |  | 27.4549
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.7036 |  |  |  |  | -2.0801
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.11732 |  |  |  |  | 1.1485
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.3419 |  |  |  |  | -0.1878
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 0.14946 |  |  |  |  | 26.3355
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.14946 | (REACTIVE MUs) |  |  |  | 26.3355 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.24981 | (REACTIVE MUs) |  |  |  | -1.0416 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.10035 | (REACTIVE MUs) |  |  |  | 25.2939 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 28891 | 28176 | 715 | 143000 | 0.143 | 65230 | 64899 | 331 | 66200 | 0.0662
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 52402 | 50704 | 1698 | 169800 | 0.1698 | 126630 | 126081 | 549 | 54900 | 0.0549
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 987665 | 987800 | -135 | -27000 | -0.027 | 3932 | 3988 | -56 | -11200 | -0.0112
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 51716 | 51085 | 631 | 126200 | 0.1262 | 82207 | 82039 | 168 | 33600 | 0.0336
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 70590 | 69693 | 897 | 897000 | 0.897 | 732 | 711 | 21 | 21000 | 0.021
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10876 | 11019 | -143 | -143000 | -0.143 | 366 | 366 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 992839 | 993255 | -416 | -332800 | -0.3328 | 997580 | 997677 | -97 | -77600 | -0.0776
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 999723 | 999853 | -130 | -104000 | -0.104 | 999560 | 999643 | -83 | -66400 | -0.0664 | loaded on 12/08/12
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 3503 | 3649 | -146 | -116800 | -0.1168 | 418 | 421 | -3 | -2400 | -0.0024
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998427 | 998404 | 23 | 2300 | 0.0023 | 322889 | 317516 | 5373 | 537300 | 0.5373
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 7124 | 7124 | 0 | 0 | 0 | 455377 | 450245 | 5132 | 513200 | 0.5132
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 11300 | 11135 | 165 | 16500 | 0.0165 | 251732 | 243311 | 8421 | 842100 | 0.8421
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5392 | 5326 | 66 | 6600 | 0.0066 | 331541 | 325011 | 6530 | 653000 | 0.653
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998654 | 998699 | -45 | -4500 | -0.0045 | 260273 | 254717 | 5556 | 555600 | 0.5556
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 340 | 269 | 71 | 7100 | 0.0071 | 153093 | 149037 | 4056 | 405600 | 0.4056
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13120 | 12999 | 121 | 12100 | 0.0121 | 231315 | 224011 | 7304 | 730400 | 0.7304
17 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 13782 | 13575 | 207 | 20700 | 0.0207 | 269623 | 259927 | 9696 | 969600 | 0.9696
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 60698 | 60078 | 620 | 682000 | 0.682
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4783 | 4837 | -54 | -54000 | -0.054 | 36576 | 36709 | -133 | -133000 | -0.133
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 138469 | 135922 | 2547 | 2801700 | 2.8017
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9282 | 9239 | 43 | 43000 | 0.043 | 49958 | 49697 | 261 | 261000 | 0.261
[10 empty] | -0.011 |  |  |  |  | 3.6117
RIDGE VALLEY
22 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 672 | 672 | 0 | 0 | 0 | 72542 | 72594 | -52 | -52000 | -0.052
23 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7472 | 7454 | 18 | 18000 | 0.018 | 2200 | 2198 | 2 | 2000 | 0.002
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 852259 | 850315 | 1944 | 194400 | 0.1944 | 53485 | 52666 | 819 | 81900 | 0.0819
25 | A.I.I.M.S.
26 | TX-I | 4865122 | ELSTER | Kvarh(Lag) | 100 | 4118 | 1368 | 2750 | 275000 | 0.275 | 762 | 405 | 357 | 35700 | 0.0357
27 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 37047 | 36766 | 281 | 28100 | 0.0281 | 679065 | 669864 | 9201 | 920100 | 0.9201
28 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 111299 | 111299 | 0 | 0 | 0 | 231594 | 231508 | 86 | 8600 | 0.0086
AUGUST-2012
NDMC(+) Continue…
TRAUMA CENTRE
29 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997090 | 998707 | -1617 | -1617000 | -1.617 | 999947 | 999947 | 0 | 0 | 0
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 234507 | 228424 | 6083 | 608300 | 0.6083 | 39552 | 38602 | 950 | 95000 | 0.095
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 1099 | 1071 | 28 | 2800 | 0.0028 | 14651 | 14427 | 224 | 22400 | 0.0224
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 39115 | 38545 | 570 | 57000 | 0.057 | 53373 | 53056 | 317 | 31700 | 0.0317
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 30426 | 29620 | 806 | 80600 | 0.0806 | 54588 | 54492 | 96 | 9600 | 0.0096
35 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 68432 | 67656 | 776 | 155200 | 0.1552 | 105361 | 104969 | 392 | 78400 | 0.0784
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 7134 | 4492 | 2642 | 264200 | 0.2642 | 885930 | 882441 | 3489 | 348900 | 0.3489
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1423 | 1428 | -5 | 500 | 0.0005 | 6787 | 6572 | 215 | -21500 | -0.0215
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 8350 | 8309 | 41 | -4100 | -0.0041 | 14600 | 13894 | 706 | -70600 | -0.0706
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 0.7252 |  |  |  |  | 10.3268
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 0.7252 |  |  |  |  | 10.3268
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.03004 |  |  |  |  | -0.12525
| TOTAL ENERGY TO NDMC | [8 empty] | 0.69516 |  |  |  |  | 10.2015

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2012
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 645 | 645 | 0 | 0 | 0 | 17168 | 16692 | 476 | 476000 | 0.476
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 453 | 453 | 0 | 0 | 0 | 21817 | 21177 | 640 | 640000 | 0.64
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 825 | 825 | 0 | 0 | 0 | 30853 | 30259 | 594 | 594000 | 0.594
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 464 | 464 | 0 | 0 | 0 | 15272 | 15033 | 239 | 239000 | 0.239
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2206 | 2206 | 0 | 0 | 0 | 8227 | 7981 | 246 | 246000 | 0.246
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 999022 | 999084 | -62 | -6200 | -0.0062 | 999894 | 999905 | -11 | -1100 | -0.0011
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 998844 | 998934 | -90 | -9000 | -0.009 | 999927 | 999935 | -8 | -800 | -0.0008
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0152 |  |  |  |  | 2.1931
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3431 | 3431 | 0 | 0 | 0 | 34359 | 34272 | 87 | 8700 | 0.0087
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 32470 | 30971 | 1499 | 149900 | 0.1499 | 63920 | 63488 | 432 | 43200 | 0.0432
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 67326 | 66777 | 549 | 54900 | 0.0549 | 9315 | 9163 | 152 | 15200 | 0.0152
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 22882 | 21853 | 1029 | 102900 | 0.1029 | 52576 | 52174 | 402 | 40200 | 0.0402
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 18738 | 18738 | 0 | 0 | 0
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 77161 | 76819 | 342 | 34200 | 0.0342 | 51224 | 50446 | 778 | 77800 | 0.0778
14 | BI LINES | 4865073 | ELSTER | Kvarh(Lead/Lag) | 100 | 2762 | 2762 | 0 | 0 | 0 | 6459 | 6432 | 27 | 2700 | 0.0027 | Check meter data used from 01/08/12 to 08/08/12.4865075 installed on 08/08/12
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 0 | 15 | 1500 | 0.0015 | 0 | 0 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.3419 |  |  |  |  | 0.1878
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.3419 |  |  |  |  | 0.1878
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0152 |  |  |  |  | 2.1931
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.3267 |  |  |  |  | 2.3809
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.3267 | (REACTIVE MUs) |  |  |  | 2.3809 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0047523 | (REACTIVE MUs) |  |  |  | -0.019815 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.32195 | (REACTIVE MUs) |  |  |  | 2.3611 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2012
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 60132 | 58920 | 1212 | 121200 | 0.1212 | 79745 | 79435 | 310 | 31000 | 0.031
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 10232 | 10423 | -191 | -19100 | -0.0191 | 999446 | 999515 | -69 | -6900 | -0.0069
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 172739 | 173888 | -1149 | -114900 | -0.1149 | 96329 | 96341 | -12 | -1200 | -0.0012
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 17971 | 17965 | 6 | 5625 | 0.005625 | 18193 | 18155 | 38 | 35625 | 0.035625
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 992774 | 992776 | -2 | 1000 | 0.001 | 933171 | 935349 | -2178 | 1089000 | 1.089
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 993605 | 993852 | -247 | 123500 | 0.1235 | 986099 | 986101 | -2 | 1000 | 0.001
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 18 | 18 | 0 | 0 | 0 | 11 | 11 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.11732 |  |  |  |  | 1.1485
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 950122 | 950283 | -161 | -32200 | -0.0322 | 991689 | 991612 | 77 | 15400 | 0.0154
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 861137 | 863434 | -2297 | -229700 | -0.2297 | 928162 | 928223 | -61 | -6100 | -0.0061
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.2619 |  |  |  |  | 0.0093
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 177364 | 176184 | 1180 | 236000 | 0.236 | 263202 | 263137 | 65 | 13000 | 0.013
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 66061 | 66458 | -397 | -79400 | -0.0794 | 41136 | 41097 | 39 | 7800 | 0.0078
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 95625 | 96439 | -814 | -81400 | -0.0814 | 71690 | 71614 | 76 | 7600 | 0.0076
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987660 | 987630 | 30 | 30000 | 0.03 | 998282 | 998263 | 19 | 19000 | 0.019
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 980914 | 980974 | -60 | -6000 | -0.006 | 7281 | 7282 | -1 | -100 | -0.0001
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 9 | 9 | 0 | 0 | 0 | 1765 | 1745 | 20 | 18750 | 0.01875
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 991488 | 991592 | -104 | 65000 | 0.065 | 995562 | 995578 | -16 | 10000 | 0.01
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 18 | 18 | 0 | 0 | 0 | 11 | 11 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.1642 |  |  |  |  | 0.07605
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.11732 |  |  |  |  | 1.1485
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.2619 |  |  |  |  | 0.0093
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.1642 |  |  |  |  | 0.07605

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2012
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 6221 | 6253 | -32 | -64000 | -0.064 | 223 | 275 | -52 | -104000 | -0.104
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 9683 | 9469 | 214 | 428000 | 0.428 | 667 | 591 | 76 | 152000 | 0.152
[7 empty] | NET REACTIVE ENERGY |  |  | 0.364 |  | NET REACTIVE ENERGY |  |  | 0.048
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999161 | 999492 | -331 | -331000 | -0.331 | 42553 | 43097 | -544 | -544000 | -0.544
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 985136 | 985467 | -331 | -331000 | -0.331 | 981517 | 983933 | -2416 | -2416000 | -2.416
[7 empty] | NET REACTIVE ENERGY |  |  | -0.662 |  | NET REACTIVE ENERGY |  |  | -2.96
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.298 |  |  |  |  | -2.912
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.286 |  |  |  |  | -3.1806
[7 empty] | NDMC = |  |  | -0.011 |  |  |  |  | 3.6117
MES =
[7 empty] | 2)TOTAL |  |  | -0.297 |  |  |  |  | 0.4311
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.595 |  |  |  |  | -2.4809
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.0509 | % |  |  | -0.1669 |  |  |  |  | -0.69591
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.9842 | % |  |  | -0.24981 |  |  |  |  | -1.0416
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.1175 | % |  |  | -0.1435 |  |  |  |  | -0.59833
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.0487 | % |  |  | -0.03004 |  |  |  |  | -0.12525
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7987 | % |  |  | -0.0047523 |  |  |  |  | -0.019815
Note :Sharing taken from wk-23 abt bill 2012-13

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st AUGUST-2012 TO 31st AUGUST-2012
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -1.6954 | + | 3.9933
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -0.10035 | + | 25.2939
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -1.3768 | + | 9.7863
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 0.69516 | + | 10.2015
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.32195 | + | 2.3611
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/12 | INTIAL READING 01/08/12 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 969137 | 970016 | -879 | -1318500 | -1.3185 | 981080 | 981147 | -67 | -100500 | -0.1005
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 999822 | 999921 | -99 | -148500 | -0.1485 | 998233 | 998358 | -125 | -187500 | -0.1875
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 928545 | 929044 | -499 | -748500 | -0.7485 | 968118 | 968199 | -81 | -121500 | -0.1215
[8 empty] | NET REACTIVE ENERGY |  | -2.2155 |  |  | NET REACTIVE ENERGY |  | -0.4095
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997246 | 997237 | 9 | 45000 | 0.045 | 34494 | 34777 | -283 | -1415000 | -1.415
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999388 | 999434 | -46 | -46000 | -0.046 | 5805 | 6295 | -490 | -490000 | -0.49
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 970365 | 970365 | 0 | 0 | 0 | 990172 | 990172 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -0.001 |  |  | NET REACTIVE ENERGY |  | -1.905