## NDPL
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982669 | 984416 | -1747 | 1747000 | 1.747 | 995942 | 995942 | 0 | 0 | 0
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994174 | 993597 | 577 | -577000 | -0.577 | 996316 | 996316 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994345 | 996351 | -2006 | 2006000 | 2.006 | 996169 | 996169 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974159 | 974054 | 105 | -105000 | -0.105 | 972070 | 972074 | -4 | 4000 | 0.004
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917628 | 917376 | 252 | -252000 | -0.252 | 933748 | 933748 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23906 | 24081 | -175 | 175000 | 0.175 | 17962 | 17962 | 0 | 0 | 0
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9447 | 9716 | -269 | 269000 | 0.269 | 11633 | 11633 | 0 | 0 | 0
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 14081 | 13951 | 130 | -162500 | -0.1625 | 994574 | 994574 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3038 | 3574 | -536 | 536000 | 0.536 | 983902 | 983902 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27982 | 28590 | -608 | 608000 | 0.608 | 9032 | 9032 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989567 | 989851 | -284 | 284000 | 0.284 | 3213 | 3213 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988095 | 988676 | -581 | 581000 | 0.581 | 998017 | 998017 | 0 | 0 | 0
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 878982 | 882474 | -3492 | -3492000 | -3.492 | 920488 | 920488 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986127 | 986577 | -450 | 450000 | 0.45 | 16836 | 16836 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 726 | 405 | 321 | -321000 | -0.321 | 20152 | 20152 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3680 | 2979 | 701 | -701000 | -0.701 | 999980 | 999980 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999801 | 999808 | -7 | -1400 | -0.0014 | 986273 | 986041 | 232 | 46400 | 0.0464
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 589 | 572 | 17 | 17000 | 0.017 | 29428 | 29426 | 2 | 2000 | 0.002
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 5294 | 5200 | 94 | 9400 | 0.0094 | 161690 | 161689 | 1 | 100 | 0.0001
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 26466 | 24900 | 1566 | 156600 | 0.1566 | 240952 | 240952 | 0 | 0 | 0
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996400 | 996400 | 0 | 0 | 0 | 3468 | 3472 | -4 | -4000 | -0.004
22 | INDER PURI-2 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 1000 | 893 | 932 | -39 | -39000 | -0.039 | 2209 | 2253 | -44 | -44000 | -0.044 | Check Meter Data Used
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 635659 | 636891 | -1232 | -1232000 | -1.232 | 797622 | 797622 | 0 | 0 | 0
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 643883 | 644464 | -581 | -581000 | -0.581 | 830705 | 830705 | 0 | 0 | 0
25 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 4058 | 3901 | 157 | 62800 | 0.0628 | 999653 | 999653 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 3692 | 3601 | 91 | 45500 | 0.0455 | 4173 | 4170 | 3 | 1500 | 0.0015
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21099 | 20178 | 921 | -921000 | -0.921 | 981108 | 981108 | 0 | 0 | 0
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7479 | 7121 | 358 | -358000 | -0.358 | 999444 | 999444 | 0 | 0 | 0
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4298 | 2954 | 1344 | -1344000 | -1.344 | 924247 | 924247 | 0 | 0 | 0
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9636 | 8402 | 1234 | -1234000 | -1.234 | 999071 | 999093 | -22 | 22000 | 0.022
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 68641 | 66433 | 2208 | -2208000 | -2.208 | 2595 | 2586 | 9 | -9000 | -0.009
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2461 | 1910 | 551 | -551000 | -0.551 | 998731 | 998731 | 0 | 0 | 0
33 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3309 | 3158 | 151 | -151000 | -0.151 | 999995 | 999995 | 0 | 0 | 0
WAZIRPUR
34 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997787 | 998064 | -277 | 277000 | 0.277 | 999993 | 999993 | 0 | 0 | 0
35 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3600 | 2655 | 945 | -945000 | -0.945 | 999995 | 999995 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
36 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2016 | 1956 | 60 | 60000 | 0.06 | 23401 | 23395 | 6 | 6000 | 0.006
37 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 403 | 393 | 10 | 10000 | 0.01 | 2825 | 2825 | 0 | 0 | 0
| NDPL(+) continue | [14 empty] | FEBRUARY-2015
DMS
38 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1356 | 1169 | 187 | 187000 | 0.187 | 61321 | 61321 | 0 | 0 | 0
REWARI LINE
39 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 172379 | 171796 | 583 | 72875 | 0.072875 | 261021 | 260818 | 203 | 25375 | 0.025375
VISHAL
40 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9181 | 9287 | -106 | -10600 | -0.0106 | 29046 | 29047 | -1 | -100 | -0.0001
41 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 10919 | 11190 | -271 | -27100 | -0.0271 | 58220 | 58277 | -57 | -5700 | -0.0057
42 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 17705 | 17721 | -16 | -1600 | -0.0016 | 61848 | 61790 | 58 | 5800 | 0.0058
S.B.MILL
43 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 5476 | 5252 | 224 | 22400 | 0.0224 | 4335 | 4214 | 121 | 12100 | 0.0121
44 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
45 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
46 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
47 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16878 | 16977 | -99 | -9900 | -0.0099 | 19725 | 19697 | 28 | 2800 | 0.0028
49 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 996187 | 996516 | -329 | -14620.76 | -0.014621 | 375 | 424 | -49 | -2177.56 | -0.0021776
B.G.ROAD
50 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5521 | 5566 | -45 | -22500 | -0.0225 | 31342 | 31328 | 14 | 7000 | 0.007
51 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3795 | 3866 | -71 | -35500 | -0.0355 | 29059 | 29060 | -1 | -500 | -0.0005
52 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6414 | 6382 | 32 | 16000 | 0.016 | 14891 | 14891 | 0 | 0 | 0
53 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 1549 | 1504 | 45 | 30000 | 0.03 | 935 | 935 | 0 | 0 | 0
D.M.S.
54 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 999088 | 999290 | -202 | -20200 | -0.0202 | 27 | 27 | 0 | 0 | 0
55 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7623 | 7663 | -40 | -4000 | -0.004 | 15269 | 15269 | 0 | 0 | 0 | Data Upto 23/02/2015
[10 empty] | -0.0008 |  |  |  |  | 0
56 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 24023 | 24405 | -382 | -38200 | -0.0382 | 57143 | 57143 | 0 | 0 | 0
57 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998452 | 998480 | -28 | -2800 | -0.0028 | 58 | 58 | 0 | 0 | 0
59 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | 100 | 176800 | 176713 | 87 | 8700 | 0.0087 | 51617 | 51088 | 529 | 52900 | 0.0529
61 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 17939 | 17912 | 27 | 2700 | 0.0027 | 65660 | 65306 | 354 | 35400 | 0.0354
62 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 6090 | 6048 | 42 | 4200 | 0.0042 | 3762 | 3127 | 635 | 63500 | 0.0635
KASHMIRI GATE
63 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 161146 | 159576 | 1570 | 157000 | 0.157 | 20888 | 20888 | 0 | 0 | 0
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 23583 | 23467 | 116 | 11600 | 0.0116 | 44437 | 44425 | 12 | 1200 | 0.0012
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 22 | 22 | 0 | 0 | 0 | 381 | 382 | -1 | 300 | 0.0003
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995592 | 995592 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999989 | 999989 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
Mundka
68 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 981516 | 983391 | -1875 | -1500000 | -1.5 | 264 | 264 | 0 | 0 | 0
69 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 997782 | 996231 | 1551 | 1240800 | 1.2408 | 73 | 73 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -7.8161 |  |  |  |  | 0.2229
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 18444 | 18225 | 219 | -21900 | -0.0219 | 16153 | 16152 | 1 | -100 | -0.0001
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12156 | 11655 | 501 | -501000 | -0.501 | 7606 | 7606 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 7082 | 6182 | 900 | -180000 | -0.18 | 15129 | 15099 | 30 | -6000 | -0.006
4 | O/G BG Rd.2 | 4864877 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999349 | 999391 | -42 | 42000 | 0.042 | 936 | 936 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 10202 | 10428 | -226 | 22600 | 0.0226 | 61397 | 61410 | -13 | 1300 | 0.0013
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 927250 | 930022 | -2772 | 2772000 | 2.772 | 991947 | 991947 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999430 | 999430 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 2.1337 |  |  |  |  | -0.0048
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -7.8161 |  |  |  |  | 0.2229
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 2.1337 |  |  |  |  | -0.0048
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.77881 |  |  |  |  | 0.010475
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -4.9036 |  |  |  |  | 0.22857
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.9036 | (REACTIVE MUs) |  |  |  | 0.22857 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.080776 | (REACTIVE MUs) |  |  |  | -2.327 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.9844 | (REACTIVE MUs) |  |  |  | -2.0984 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | FEBRUARY-2015
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999859 | 999998 | -139 | -13900 | -0.0139 | 37401 | 37941 | -540 | -54000 | -0.054
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 4545 | 4545 | 0 | 0 | 0 | 59180 | 72753 | -13573 | -1357300 | -1.3573
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 16069 | 16069 | 0 | 0 | 0 | 36005 | 39676 | -3671 | -367100 | -0.3671
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 600 | 695 | 842 | -147 | -88200 | -0.0882 | 5489 | 5603 | -114 | -68400 | -0.0684
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 1964 | 1964 | 0 | 0 | 0 | 1883 | 1883 | 0 | 0 | 0 | upto 21/02/2015
|  | 4865103 | ELSTER | Kvarh(Lead/Lag) | 500 | 1964 | 1964 | 0 | 0 | 0 | 1952 | 1883 | 69 | 34500 | 0.0345 | 21/02/2015 onwards
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 15455 | 15299 | 156 | 15600 | 0.0156 | 169534 | 167587 | 1947 | 194700 | 0.1947
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 15817 | 15781 | 36 | 3600 | 0.0036 | 123424 | 122219 | 1205 | 120500 | 0.1205
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991348 | 992075 | -727 | -727000 | -0.727 | 947 | 947 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998271 | 998359 | -88 | -88000 | -0.088 | 2030 | 2030 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 758 | 751 | 7 | 7000 | 0.007 | 1540 | 1540 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998283 | 998445 | -162 | -162000 | -0.162 | 2688 | 2688 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997527 | 997659 | -132 | -132000 | -0.132 | 4442 | 4442 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 262 | 465 | -203 | -203000 | -0.203 | 2295 | 2295 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999464 | 999609 | -145 | -145000 | -0.145 | 16774 | 16774 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 826 | 987 | -161 | -161000 | -0.161 | 37356 | 37356 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999754 | 999993 | -239 | -239000 | -0.239 | 27534 | 27535 | -1 | -1000 | -0.001
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1324 | 1369 | -45 | -45000 | -0.045 | 9303 | 9303 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 9907 | 9275 | 632 | 63200 | 0.0632 | 250 | 250 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998024 | 998376 | -352 | -352000 | -0.352 | 14136 | 14136 | 0 | 0 | 0
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 707800 | 709446 | -1646 | -1810600 | -1.8106
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 741178 | 745315 | -4137 | -4550700 | -4.5507
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984856 | 984856 | 0 | 0 | 0 | 9080 | 9080 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -2.1838 |  |  |  |  | -6.3623
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 956026 | 956877 | -851 | 851000 | 0.851 | 949290 | 949292 | -2 | 2000 | 0.002
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965573 | 966431 | -858 | 858000 | 0.858 | 955464 | 955464 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 22 | 22 | 0 | 0 | 0 | 381 | 382 | -1 | -300 | -0.0003
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 497 | 471 | 26 | 26000 | 0.026 | 6083 | 6081 | 2 | 2000 | 0.002
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 49389 | 47089 | 2300 | -2300000 | -2.3 | 974199 | 974200 | -1 | 1000 | 0.001
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36208 | 33355 | 2853 | -2853000 | -2.853 | 969806 | 969805 | 1 | -1000 | -0.001
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996579 | 996690 | -111 | 111000 | 0.111 | 995583 | 995599 | -16 | 16000 | 0.016
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974747 | 974836 | -89 | 89000 | 0.089 | 992262 | 992262 | 0 | 0 | 0 | Data upto 23/02/2015
[10 empty] | 0.019 | [5 empty] | Assessment
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2486 | 1955 | 531 | 1062000 | 1.062 | 999790 | 999790 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | 2000 | 3033 | 2084 | 949 | 1898000 | 1.898 | 999998 | 999998 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 7082 | 6182 | 900 | 180000 | 0.18 | 15129 | 15099 | 30 | 6000 | 0.006
34 | O/G BG Rd.2 | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999349 | 999391 | -42 | -42000 | -0.042 | 936 | 936 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 99025 | 99751 | -726 | -72600 | -0.0726 | 1595 | 1595 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 151662 | 151590 | 72 | 7200 | 0.0072 | 4530 | 4530 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -2.4331 |  |  |  |  | -7.8337
| (A) NET ENERGY TO CENTRAL | [8 empty] | -2.4331 |  |  |  |  | -7.8337
FEBRUARY-2015
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984617 | 984911 | -294 | 294000 | 0.294 | 908309 | 908319 | -10 | 10000 | 0.01
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7579 | 7599 | -20 | 20000 | 0.02 | 927558 | 927641 | -83 | 83000 | 0.083
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984765 | 985183 | -418 | 418000 | 0.418 | 973060 | 973079 | -19 | 19000 | 0.019
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996201 | 996190 | 11 | -11000 | -0.011 | 986687 | 986687 | 0 | 0 | 0
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 897013 | 896744 | 269 | -269000 | -0.269 | 990286 | 990286 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 880550 | 881729 | -1179 | 1179000 | 1.179 | 988831 | 988831 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5686 | 5333 | 353 | -353000 | -0.353 | 984442 | 984442 | 0 | 0 | 0
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 277 | 121 | 156 | -312000 | -0.312 | 976544 | 976602 | -58 | 116000 | 0.116
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998857 | 998959 | -102 | 102000 | 0.102 | 945068 | 945230 | -162 | 162000 | 0.162
GEETA COLONY
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987254 | 988331 | -1077 | 1077000 | 1.077 | 991583 | 991604 | -21 | 21000 | 0.021
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957801 | 957622 | 179 | -179000 | -0.179 | 863142 | 863161 | -19 | 19000 | 0.019
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19497 | 18890 | 607 | -607000 | -0.607 | 34929 | 34929 | 0 | 0 | 0
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23295 | 22566 | 729 | -729000 | -0.729 | 44999 | 44981 | 18 | -18000 | -0.018
14 | TX-3 | 5128450 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 18/02/2015
SB MILL
15 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.63 |  |  |  |  | 0.412
| (B) NET ENERGY TO EAST | [8 empty] | 0.63 |  |  |  |  | 0.412
FEBRUARY-2015
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 4058 | 3901 | 157 | -62800 | -0.0628 | 999653 | 999653 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 3692 | 3601 | 91 | -45500 | -0.0455 | 4173 | 4170 | 3 | -1500 | -0.0015
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 48963 | 48099 | 864 | -172800 | -0.1728 | 77816 | 77804 | 12 | -2400 | -0.0024
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 72194 | 72514 | -320 | 32000 | 0.032 | 139373 | 139376 | -3 | 300 | 0.0003
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 979178 | 979458 | -280 | 56000 | 0.056 | 999149 | 999145 | 4 | -800 | -0.0008
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 78124 | 77286 | 838 | -167600 | -0.1676 | 95407 | 95395 | 12 | -2400 | -0.0024
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 10813 | 10484 | 329 | -263200 | -0.2632 | 4117 | 4116 | 1 | -800 | -0.0008
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13701 | 13672 | 29 | -58000 | -0.058 | 2256 | 2256 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 981483 | 981880 | -397 | 317600 | 0.3176 | 990793 | 990795 | -2 | 1600 | 0.0016
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 982036 | 983361 | -1325 | 1060000 | 1.06 | 987698 | 987707 | -9 | 7200 | 0.0072
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 989714 | 990684 | -970 | 776000 | 0.776 | 994825 | 994828 | -3 | 2400 | 0.0024
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989840 | 990349 | -509 | 509000 | 0.509 | 36473 | 36473 | 0 | 0 | 0
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 993524 | 993860 | -336 | 447998.88 | 0.448 | 998577 | 998577 | 0 | 0 | 0 | Data upto 23/02/2015
[10 empty] | 0.097 |  |  |  |  | 0 | Assessment
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2016 | 1956 | 60 | -60000 | -0.06 | 23401 | 23395 | 6 | -6000 | -0.006
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 403 | 393 | 10 | -10000 | -0.01 | 2825 | 2825 | 0 | 0 | 0
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1356 | 1169 | 187 | -187000 | -0.187 | 61321 | 61321 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5521 | 5566 | -45 | 22500 | 0.0225 | 31342 | 31328 | 14 | -7000 | -0.007
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3795 | 3866 | -71 | 35500 | 0.0355 | 29059 | 29060 | -1 | 500 | 0.0005
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6414 | 6382 | 32 | -16000 | -0.016 | 14891 | 14891 | 0 | 0 | 0
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 1549 | 1504 | 45 | -30000 | -0.03 | 935 | 935 | 0 | 0 | 0
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 161146 | 159576 | 1570 | -157000 | -0.157 | 20888 | 20888 | 0 | 0 | 0
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 23583 | 23467 | 116 | -11600 | -0.0116 | 44437 | 44425 | 12 | -1200 | -0.0012
D.M.S.
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 999088 | 999290 | -202 | 20200 | 0.0202 | 27 | 27 | 0 | 0 | 0
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7623 | 7663 | -40 | 4000 | 0.004 | 15269 | 15269 | 0 | 0 | 0 | Data upto 23/02/2015
[10 empty] | 0.0008 |  |  |  |  | 0 | Assessment
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 24023 | 24405 | -382 | 38200 | 0.0382 | 57143 | 57143 | 0 | 0 | 0
26 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998452 | 998480 | -28 | 2800 | 0.0028 | 58 | 58 | 0 | 0 | 0
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | -100 | 176800 | 176713 | 87 | -8700 | -0.0087 | 51617 | 51088 | 529 | -52900 | -0.0529
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 17939 | 17912 | 27 | -2700 | -0.0027 | 65660 | 65306 | 354 | -35400 | -0.0354
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 6090 | 6048 | 42 | -4200 | -0.0042 | 3762 | 3127 | 635 | -63500 | -0.0635
[10 empty] | 2.1625 |  |  |  |  | -0.1619
FEBRUARY-2015
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -2.4331 |  |  |  |  | -7.8337
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 2.1625 |  |  |  |  | -0.1619
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.527 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.7976 |  |  |  |  | -7.9956
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.63 |  |  |  |  | 0.412
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -0.1676 |  |  |  |  | -7.5836
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.1676 | (REACTIVE MUs) |  |  |  | -7.5836 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.05753 | (REACTIVE MUs) |  |  |  | -1.6573 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.22513 | (REACTIVE MUs) |  |  |  | -9.2409 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | FEBRUARY-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 38 | 38 | 0 | 0 | 0 | 999919 | 999911 | 8 | 40000 | 0.04
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 985100 | 985100 | 0 | 0 | 0 | 672898 | 672953 | -55 | -73333.15 | -0.073333
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 500 | 10316 | 10316 | 0 | 0 | 0 | 70511 | 69381 | 1130 | 565000 | 0.565
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12565 | 12565 | 0 | 0 | 0 | 999920 | 999914 | 6 | 6000 | 0.006
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 13285 | 13285 | 0 | 0 | 0 | 125207 | 124667 | 540 | 54000 | 0.054 | Chack Meter data Used
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 719823 | 720974 | -1151 | -86325 | -0.086325 | 26771 | 28609 | -1838 | -137850 | -0.13785
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 997032 | 997032 | 0 | 0 | 0 | 725 | 2071 | -1346 | -100950 | -0.10095
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999157 | 999157 | 0 | 0 | 0 | 998592 | 998592 | 0 | 0 | 0
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 713 | 689 | 24 | -12000 | -0.012 | 995282 | 995285 | -3 | 1500 | 0.0015
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988078 | 988079 | -1 | 1000 | 0.001 | 948415 | 948417 | -2 | 2000 | 0.002
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997602 | 998370 | -768 | 768000 | 0.768 | 996427 | 996429 | -2 | 2000 | 0.002
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990097 | 990860 | -763 | 763000 | 0.763 | 945959 | 945960 | -1 | 1000 | 0.001
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982076 | 983047 | -971 | 971000 | 0.971 | 973161 | 973161 | 0 | 0 | 0
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32118 | 30588 | 1530 | -1530000 | -1.53 | 983730 | 983730 | 0 | 0 | 0
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36669 | 33909 | 2760 | -2760000 | -2.76 | 995342 | 995342 | 0 | 0 | 0
NAJAFGARH
17 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4257 | 4824 | -567 | 567000 | 0.567 | 999547 | 999552 | -5 | 5000 | 0.005
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2700 | 3658 | -958 | 958000 | 0.958 | 996803 | 996835 | -32 | 32000 | 0.032
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24779 | 25616 | -837 | 837000 | 0.837 | 3168 | 3192 | -24 | 24000 | 0.024
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7446 | 7114 | 332 | -332000 | -0.332 | 998959 | 998975 | -16 | 16000 | 0.016
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12156 | 11655 | 501 | 501000 | 0.501 | 7606 | 7606 | 0 | 0 | 0
LODHI ROAD
22 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996923 | 998258 | -1335 | 1335000 | 1.335 | 999969 | 999973 | -4 | 4000 | 0.004
23 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999722 | 999930 | -208 | 208000 | 0.208 | 999993 | 999993 | 0 | 0 | 0
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988 | 988 | 0 | 0 | 0 | 967725 | 967725 | 0 | 0 | 0
[10 empty] | -0.13 |  |  |  |  | 0.014 | Assessment upto 12/02/2015
| Tx.1 (66 KV) | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 201 | 0 | 201 | -201000 | -0.201 | 999898 | 1000000 | -102 | 102000 | 0.102 | w.e.f 12/02/2015
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990250 | 990949 | -699 | 699000 | 0.699 | 946916 | 947102 | -186 | 186000 | 0.186
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995596 | 995596 | 0 | 0 | 0 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997169 | 997230 | -61 | 61000 | 0.061 | 39069 | 39203 | -134 | 134000 | 0.134
28 | Tx.3 (33 KV) | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000192 | 999920 | 272 | -272000 | -0.272 | 999084 | 999095 | -11 | 11000 | 0.011
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997182 | 996966 | 216 | -216000 | -0.216 | 866959 | 866972 | -13 | 13000 | 0.013
BRPL(+) continue | [14 empty] | FEBRUARY-2015
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996924 | 996885 | 39 | -39000 | -0.039 | 972472 | 972498 | -26 | 26000 | 0.026
31 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999137 | 999030 | 107 | -107000 | -0.107 | 999885 | 999973 | -88 | 88000 | 0.088
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 835 | 347 | 488 | -976000 | -0.976 | 969838 | 969837 | 1 | -2000 | -0.002
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994396 | 994540 | -144 | 144000 | 0.144 | 910222 | 910222 | 0 | 0 | 0
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994697 | 994697 | 0 | 0 | 0 | 927917 | 927917 | 0 | 0 | 0
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998128 | 998221 | -93 | 93000 | 0.093 | 995155 | 995155 | 0 | 0 | 0
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984239 | 985605 | -1366 | 1366000 | 1.366 | 988581 | 988581 | 0 | 0 | 0
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 979789 | 979809 | -20 | 13333.32 | 0.013333 | 978858 | 978858 | 0 | 0 | 0
38 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 994943 | 995471 | -528 | 1320000 | 1.32 | 501 | 501 | 0 | 0 | 0
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3341 | 3005 | 336 | -672000 | -0.672 | 1930 | 1930 | 0 | 0 | 0
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 179 | 90 | 89 | -178000 | -0.178 | 1000 | 1000 | 0 | 0 | 0
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 933195 | 934043 | -848 | 848000 | 0.848 | 990421 | 990421 | 0 | 0 | 0
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 942022 | 942921 | -899 | 899000 | 0.899 | 994531 | 994531 | 0 | 0 | 0
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993096 | 993096 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 26051 | 25929 | 122 | 97600 | 0.0976 | 1521 | 1521 | 0 | 0 | 0
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 921684 | 923509 | -1825 | -1460000 | -1.46 | 999636 | 999636 | 0 | 0 | 0
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999430 | 999430 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
PARK STREET
47 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989840 | 990349 | -509 | -509000 | -0.509 | 36473 | 36473 | 0 | 0 | 0
48 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 993524 | 993860 | -336 | -447998.88 | -0.448 | 998577 | 998577 | 0 | 0 | 0 | upto 23/02/2015
[10 empty] | -0.097 |  |  |  |  | 0 | Assessment
SARITA VIHAR
49 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26593 | 22875 | 3718 | -3718000 | -3.718 | 973859 | 973859 | 0 | 0 | 0
50 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14965 | 14154 | 811 | -811000 | -0.811 | 989220 | 989220 | 0 | 0 | 0
NARAINA
51 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 18444 | 18225 | 219 | 21900 | 0.0219 | 16153 | 16152 | 1 | 100 | 0.0001
SUDARSHAN PARK
52 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 10202 | 10428 | -226 | -22600 | -0.0226 | 61397 | 61410 | -13 | -1300 | -0.0013
REWARI LINE
53 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
54 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 927250 | 930022 | -2772 | -2772000 | -2.772 | 991947 | 991947 | 0 | 0 | 0
A.I.I.M.S.
55 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 986 | 985 | 1 | 75 | 7.5e-05 | 1954 | 1954 | 0 | 0 | 0
56 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 12207 | 11930 | 277 | 27700 | 0.0277 | 26588 | 26588 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -4.8493 |  |  |  |  | 1.0112
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 60971 | 58984 | 1987 | -198700 | -0.1987 | 909270 | 909270 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 99025 | 99751 | -726 | 72600 | 0.0726 | 1595 | 1595 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 151662 | 151590 | 72 | -7200 | -0.0072 | 4530 | 4530 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995245 | -38 | 3800 | 0.0038 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996295 | 996318 | -23 | 2300 | 0.0023 | 999911 | 999911 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3602 | 3559 | 43 | -43000 | -0.043 | 73763 | 73763 | 0 | 0 | 0
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14388 | 14304 | 84 | -84000 | -0.084 | 170 | 170 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 905523 | 905237 | 286 | -143000 | -0.143 | 54663 | 54662 | 1 | -500 | -0.0005
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 5854 | 7370 | -1516 | 606400 | 0.6064 | 3081 | 3081 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 72964 | 70999 | 1965 | -196500 | -0.1965 | 65464 | 65464 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 73171 | 71116 | 2055 | -205500 | -0.2055 | 63756 | 63756 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -200 | 3273 | 612 | 2661 | -532200 | -0.5322 | 11 | 8 | 3 | -600 | -0.0006
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 169 | 169 | 0 | 0 | 0 | 17120 | 17120 | 0 | 0 | 0
14 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.33 | 2852 | 2852 | 0 | 0 | 0 | 978921 | 978921 | 0 | 0 | 0
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987618 | 987618 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 33748 | 328833 | -295085 | 29508500 | 29.5085 | 48566 | 48566 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3870 | 3870 | 0 | 0 | 0 | 21683 | 21460 | 223 | -22300 | -0.0223
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 172379 | 171796 | 583 | -72875 | -0.072875 | 261021 | 260818 | 203 | -25375 | -0.025375
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9181 | 9287 | -106 | 10600 | 0.0106 | 29046 | 29047 | -1 | 100 | 0.0001
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 10919 | 11190 | -271 | 27100 | 0.0271 | 58220 | 58277 | -57 | 5700 | 0.0057
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 17705 | 17721 | -16 | 1600 | 0.0016 | 61848 | 61790 | 58 | -5800 | -0.0058
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 5476 | 5252 | 224 | -22400 | -0.0224 | 4335 | 4214 | 121 | -12100 | -0.0121
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16878 | 16977 | -99 | 9900 | 0.0099 | 19725 | 19697 | 28 | -2800 | -0.0028
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 996187 | 996516 | -329 | 14620.76 | 0.014621 | 375 | 424 | -49 | 2177.56 | 0.0021776
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995592 | 995592 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999989 | 999989 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 28.752 |  |  |  |  | -0.061497
FEBRUARY-2015
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -4.8493 |  |  |  |  | 1.0112
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 28.752 |  |  |  |  | -0.061497
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.8078 |  |  |  |  | 0.0527
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0767 |  |  |  |  | -0.0255
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 24.6338 |  |  |  |  | 0.97687
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 24.6338 | (REACTIVE MUs) |  |  |  | 0.97687 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.10091 | (REACTIVE MUs) |  |  |  | -2.9069 | (REACTIVE MUs)
[9 empty] | TOTAL | 24.5329 | (REACTIVE MUs) |  |  |  | -1.93 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 48963 | 48099 | 864 | 172800 | 0.1728 | 77816 | 77804 | 12 | 2400 | 0.0024
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 72194 | 72514 | -320 | -32000 | -0.032 | 139373 | 139376 | -3 | -300 | -0.0003
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 979178 | 979458 | -280 | -56000 | -0.056 | 999149 | 999145 | 4 | 800 | 0.0008
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 78124 | 77286 | 838 | 167600 | 0.1676 | 95407 | 95395 | 12 | 2400 | 0.0024
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 10813 | 10484 | 329 | 263200 | 0.2632 | 4117 | 4116 | 1 | 800 | 0.0008
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13701 | 13672 | 29 | 58000 | 0.058 | 2256 | 2256 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 981483 | 981880 | -397 | -317600 | -0.3176 | 990793 | 990795 | -2 | -1600 | -0.0016
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 982036 | 983361 | -1325 | -1060000 | -1.06 | 987698 | 987707 | -9 | -7200 | -0.0072
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 989714 | 990684 | -970 | -776000 | -0.776 | 994825 | 994828 | -3 | -2400 | -0.0024
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998210 | 998210 | 0 | 0 | 0 | 388266 | 386764 | 1502 | 150200 | 0.1502
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6605 | 6605 | 0 | 0 | 0 | 470995 | 470995 | 0 | 0 | 0
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 16222 | 16222 | 0 | 0 | 0 | 371388 | 369528 | 1860 | 186000 | 0.186
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 2450 | 2450 | 0 | 0 | 0 | 363907 | 362917 | 990 | 99000 | 0.099
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 995869 | 995869 | 0 | 0 | 0 | 308986 | 308903 | 83 | 8300 | 0.0083
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 1513 | 1513 | 0 | 0 | 0 | 195651 | 194032 | 1619 | 161900 | 0.1619
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 12629 | 12750 | -121 | -12100 | -0.0121 | 258617 | 258968 | -351 | -35100 | -0.0351
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 54340 | 54255 | 85 | 8500 | 0.0085 | 708291 | 707332 | 959 | 95900 | 0.0959
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 89074 | 89667 | -593 | -652300 | -0.6523
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1522 | 1742 | -220 | -220000 | -0.22 | 39867 | 39868 | -1 | -1000 | -0.001
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 148097 | 148366 | -269 | -295900 | -0.2959
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4227 | 4657 | -430 | -430000 | -0.43 | 54070 | 54070 | 0 | 0 | 0
[10 empty] | -0.65 |  |  |  |  | -0.9492
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3602 | 3559 | 43 | 43000 | 0.043 | 73763 | 73763 | 0 | 0 | 0
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14388 | 14304 | 84 | 84000 | 0.084 | 170 | 170 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 905523 | 905237 | 286 | 143000 | 0.143 | 54663 | 54662 | 1 | 500 | 0.0005
25 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 5854 | 7370 | -1516 | -606400 | -0.6064 | 3081 | 3081 | 0 | 0 | 0
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 169 | 169 | 0 | 0 | 0 | 17120 | 17120 | 0 | 0 | 0
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 2852 | 2852 | 0 | 0 | 0 | 978921 | 978921 | 0 | 0 | 0
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987618 | 987618 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
FEBRUARY-2015
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970638 | 972487 | -1849 | 1849000 | 1.849 | 978507 | 978507 | 0 | 0 | 0
27 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23 | 23 | 0 | 0 | 0 | 44 | 44 | 0 | 0 | 0
ELECTRIC LANE
28 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975226 | 975970 | -744 | 744000 | 0.744 | 984585 | 984585 | 0 | 0 | 0
29 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990594 | 991369 | -775 | 775000 | 0.775 | 996400 | 996400 | 0 | 0 | 0
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 333748 | 328833 | 4915 | 491500 | 0.4915 | 48566 | 48566 | 0 | 0 | 0
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3870 | 3870 | 0 | 0 | 0 | 21683 | 21460 | 223 | 22300 | 0.0223
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 72964 | 70999 | 1965 | 196500 | 0.1965 | 65464 | 65464 | 0 | 0 | 0
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 73171 | 71116 | 2055 | 205500 | 0.2055 | 63756 | 63756 | 0 | 0 | 0
35 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 3273 | 612 | 2661 | 266100 | 0.2661 | 11 | 8 | 3 | 300 | 0.0003
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 60971 | 58984 | 1987 | 198700 | 0.1987 | 909270 | 909270 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 986 | 985 | 1 | -75 | -7.5e-05 | 1954 | 1954 | 0 | 0 | 0
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 12207 | 11930 | 277 | -27700 | -0.0277 | 26588 | 26588 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.1285 |  |  |  |  | -0.265
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 2.1285 |  |  |  |  | -0.265
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.012328 |  |  |  |  | -0.35513
| TOTAL ENERGY TO NDMC | [8 empty] | 2.1162 |  |  |  |  | -0.62013

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2015
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2099 | 1901 | 198 | 198000 | 0.198 | 27666 | 27665 | 1 | 1000 | 0.001
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1367 | 1268 | 99 | 99000 | 0.099 | 29165 | 29164 | 1 | 1000 | 0.001
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3485 | 3207 | 278 | 278000 | 0.278 | 36277 | 36277 | 0 | 0 | 0
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1107 | 1066 | 41 | 41000 | 0.041 | 20427 | 20427 | 0 | 0 | 0 | upto 18/02/2015
[10 empty] | 0.022 | [5 empty] | Assessment
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4722 | 4709 | 13 | 13000 | 0.013 | 10879 | 10879 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12399 | 12112 | 287 | 143500 | 0.1435 | 59153 | 59141 | 12 | 6000 | 0.006
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995245 | -38 | -3800 | -0.0038 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996295 | 996318 | -23 | -2300 | -0.0023 | 999911 | 999911 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.7884 |  |  |  |  | 0.008
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 53244 | 53244 | 0 | 0 | 0 | 76653 | 76653 | 0 | 0 | 0
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 75455 | 74884 | 571 | 57100 | 0.0571 | 13029 | 13009 | 20 | 2000 | 0.002
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 51662 | 51465 | 197 | 19700 | 0.0197 | 68034 | 67799 | 235 | 23500 | 0.0235
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865074 | ELSTER | Kvarh(Lead/Lag) | 100 | 7702 | 7703 | -1 | -100 | -0.0001 | 10254 | 10254 | 0 | 0 | 0 | check Meter Data used
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9375 | 9371 | 4 | 400 | 0.0004 | 3043 | 3035 | 8 | 800 | 0.0008
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0767 |  |  |  |  | 0.0255
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0767 |  |  |  |  | 0.0255
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.7884 |  |  |  |  | 0.008
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.8651 |  |  |  |  | 0.0335
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.8651 | (REACTIVE MUs) |  |  |  | 0.0335 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0021063 | (REACTIVE MUs) |  |  |  | -0.060678 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.86299 | (REACTIVE MUs) |  |  |  | -0.027178 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2015
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 9992 | 8322 | 1670 | 167000 | 0.167 | 1682 | 1704 | -22 | -2200 | -0.0022
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 847 | 1826 | -979 | -97900 | -0.0979 | 999164 | 999117 | 47 | 4700 | 0.0047
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 277548 | 278231 | -683 | -68300 | -0.0683 | 102962 | 102980 | -18 | -1800 | -0.0018
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 38230 | 37678 | 552 | 517500 | 0.5175 | 19119 | 19119 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 984304 | 984798 | -494 | 247000 | 0.247 | 913701 | 913726 | -25 | 12500 | 0.0125
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 988934 | 989019 | -85 | 42500 | 0.0425 | 978068 | 978147 | -79 | 39500 | 0.0395
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 10 | 10 | 0 | 0 | 0 | 40 | 40 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.8078 |  |  |  |  | 0.0527
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864809 | ELSTER | Kvarh(Lead/Lag) | 200 | 927009 | 928300 | -1291 | -258200 | -0.2582 | 989950 | 989950 | 0 | 0 | 0 | Check Meter Data Used
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 954141 | 955485 | -1344 | -268800 | -0.2688 | 999409 | 999409 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.527 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 260748 | 259378 | 1370 | 274000 | 0.274 | 265580 | 265587 | -7 | -1400 | -0.0014
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 120255 | 118912 | 1343 | 268600 | 0.2686 | 42577 | 42577 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 199203 | 196458 | 2745 | 274500 | 0.2745 | 74519 | 74519 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999695 | 999649 | 46 | 46000 | 0.046 | 1000000 | 1000000 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 956156 | 956957 | -801 | -80100 | -0.0801 | 6914 | 6914 | 0 | 0 | 0 | Data Upto 23/02/2015
[10 empty] | -0.017 |  |  |  |  | 0 | Assessment
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998984 | 999063 | -79 | -74062.5 | -0.074063 | 997409 | 997397 | 12 | 11250 | 0.01125
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 985331 | 985470 | -139 | 86875 | 0.086875 | 995391 | 995392 | -1 | 625 | 0.000625
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 10 | 10 | 0 | 0 | 0 | 40 | 40 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.77881 |  |  |  |  | 0.010475
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.8078 |  |  |  |  | 0.0527
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.527 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.77881 |  |  |  |  | 0.010475

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2015
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 13966 | 13345 | 621 | 1242000 | 1.242 | 804 | 804 | 0 | 0 | 0
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 17300 | 16701 | 599 | 1198000 | 1.198 | 2292 | 2292 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 2.44 |  | NET REACTIVE ENERGY |  |  | 0
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 992973 | 992987 | -14 | -14000 | -0.014 | 38627 | 38627 | 0 | 0 | 0
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 995986 | 995832 | 154 | 154000 | 0.154 | 993895 | 993895 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 0.14 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 2.58 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -2.1838 |  |  |  |  | -6.3623
[7 empty] | NDMC = |  |  | -0.65 |  |  |  |  | -0.9492
MES =
[7 empty] | 2)TOTAL |  |  | -2.8338 |  |  |  |  | -7.3115
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.2538 |  |  |  |  | -7.3115
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.8268 | % |  |  | -0.080776 |  |  |  |  | -2.327
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 39.758 | % |  |  | -0.10091 |  |  |  |  | -2.9069
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.6676 | % |  |  | -0.05753 |  |  |  |  | -1.6573
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.8572 | % |  |  | -0.012328 |  |  |  |  | -0.35513
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.8299 | % |  |  | -0.0021063 |  |  |  |  | -0.060678
Note :Sharing taken from wk-47 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st February-2015 TO 1st March-2015
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -4.9844 | -2.0984
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 24.5329 | -1.93
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -0.22513 | -9.2409
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 2.1162 | -0.62013
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.86299 | -0.027178
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/2015 | INTIAL READING 01/02/2015 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 952633 | 952148 | 485 | 727500 | 0.7275 | 979525 | 979525 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 991058 | 990845 | 213 | 319500 | 0.3195 | 995425 | 995425 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 970472 | 978947 | -8475 | -6356250 | -6.3563 | 999331 | 999331 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -5.3093 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997882 | 997882 | 0 | 0 | 0 | 27773 | 27840 | -67 | -335000 | -0.335
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999729 | 999729 | 0 | 0 | 0 | 999606 | 999606 | 0 | 0 | 0
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 976657 | 976601 | 56 | 56000 | 0.056 | 991680 | 991472 | 208 | 208000 | 0.208
[8 empty] | NET REACTIVE ENERGY |  | 0.056 |  |  | NET REACTIVE ENERGY |  | -0.127