## NDPL
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16988 | 17748 | -760 | 760000 | 0.76 | 978429 | 978430 | -1 | 1000 | 0.001
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999628 | 999778 | -150 | 150000 | 0.15 | 87 | 98 | -11 | 11000 | 0.011
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18022 | 18741 | -719 | 719000 | 0.719 | 997175 | 997175 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974388 | 974583 | -195 | 195000 | 0.195 | 978394 | 978492 | -98 | 98000 | 0.098
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 922401 | 922332 | 69 | -69000 | -0.069 | 949919 | 949922 | -3 | 3000 | 0.003
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18736 | 18539 | 197 | -197000 | -0.197 | 16661 | 16573 | 88 | -88000 | -0.088
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19677 | 19492 | 185 | -185000 | -0.185 | 12778 | 12705 | 73 | -73000 | -0.073
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16414 | 15517 | 897 | -897000 | -0.897 | 986837 | 986842 | -5 | 5000 | 0.005
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34633 | 34859 | -226 | 226000 | 0.226 | 9828 | 9842 | -14 | 14000 | 0.014
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1454 | 1760 | -306 | 306000 | 0.306 | 4179 | 4188 | -9 | 9000 | 0.009
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998246 | 998708 | -462 | 462000 | 0.462 | 999514 | 999506 | 8 | -8000 | -0.008
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 952721 | 954970 | -2249 | -2249000 | -2.249 | 920550 | 920550 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997361 | 997479 | -118 | 118000 | 0.118 | 17155 | 17207 | -52 | 52000 | 0.052
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999531 | 999419 | 112 | -112000 | -0.112 | 19558 | 19571 | -13 | 13000 | 0.013
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 872 | 978 | -106 | 106000 | 0.106 | 21027 | 21074 | -47 | 47000 | 0.047
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999546 | 999556 | -10 | -10000 | -0.01 | 28111 | 28030 | 81 | 81000 | 0.081
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 209 | 202 | 7 | 7000 | 0.007 | 26569 | 26535 | 34 | 34000 | 0.034
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2183 | 2013 | 170 | 17000 | 0.017 | 122668 | 122206 | 462 | 46200 | 0.0462
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 3846 | 3485 | 361 | 36100 | 0.0361 | 171592 | 170894 | 698 | 69800 | 0.0698
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996034 | 996062 | -28 | -28000 | -0.028 | 997594 | 997600 | -6 | -6000 | -0.006
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999916 | 999932 | -16 | -16000 | -0.016 | 1776 | 1720 | 56 | 56000 | 0.056
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 653600 | 654215 | -615 | -615000 | -0.615 | 801382 | 801389 | -7 | -7000 | -0.007
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 660261 | 660683 | -422 | -422000 | -0.422 | 833850 | 833852 | -2 | -2000 | -0.002
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991381 | 991268 | 113 | 113000 | 0.113 | 998460 | 998460 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 999877 | 999734 | 143 | 71500 | 0.0715 | 999839 | 999839 | 0 | 0 | 0
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7897 | 7585 | 312 | -312000 | -0.312 | 981899 | 981896 | 3 | -3000 | -0.003
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999512 | 999154 | 358 | -358000 | -0.358 | 948565 | 948550 | 15 | -15000 | -0.015
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991885 | 992149 | -264 | 264000 | 0.264 | 933543 | 934367 | -824 | 824000 | 0.824
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 1000 | 223 | 163 | 60 | 60000 | 0.06 | 0 | 0 | 0 | 0 | 0 | Mode of connection corrected(reversed) on 13/02/12
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 141 | 223 | -82 | 82000 | 0.082 | 0 | 0 | 0 | 0 | 0
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7876 | 6737 | 1139 | -1139000 | -1.139 | 999977 | 999982 | -5 | 5000 | 0.005
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 701 | 728 | -27 | -27000 | -0.027 | 16325 | 16290 | 35 | 35000 | 0.035
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999317 | 999284 | 33 | 33000 | 0.033 | 3073 | 3039 | 34 | 34000 | 0.034
| NDPL(+) continue | [14 empty] | FEBRUARY-2012
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1144 | 1033 | 111 | 111000 | 0.111 | 56115 | 55923 | 192 | 192000 | 0.192
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 12630 | 12091 | 539 | 53900 | 0.0539 | 61758 | 61415 | 343 | 34300 | 0.0343
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 8429 | 8261 | 168 | 16800 | 0.0168 | 13734 | 13127 | 607 | 60700 | 0.0607
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9595 | 9583 | 12 | 1200 | 0.0012 | 30919 | 30822 | 97 | 9700 | 0.0097
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13736 | 13733 | 3 | 300 | 0.0003 | 37334 | 36621 | 713 | 71300 | 0.0713
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 32745 | 32437 | 308 | 30800 | 0.0308 | 10896 | 10777 | 119 | 11900 | 0.0119
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 15724 | 15591 | 133 | 13300 | 0.0133 | 11217 | 11118 | 99 | 9900 | 0.0099
45 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997513 | 997876 | -363 | -36300 | -0.0363 | 1313 | 1138 | 175 | 17500 | 0.0175
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5110 | 5102 | 8 | 4000 | 0.004 | 22767 | 22588 | 179 | 89500 | 0.0895
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3290 | 3282 | 8 | 4000 | 0.004 | 20803 | 20697 | 106 | 53000 | 0.053
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3296 | 3290 | 6 | 3000 | 0.003 | 13973 | 13919 | 54 | 27000 | 0.027
49 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3237 | 3234 | 3 | 1500 | 0.0015 | 16305 | 16209 | 96 | 48000 | 0.048
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999458 | 999558 | -100 | -10000 | -0.01 | 5798 | 5796 | 2 | 200 | 0.0002
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 3199 | 3069 | 130 | 13000 | 0.013 | 13730 | 13705 | 25 | 2500 | 0.0025
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 8229 | 7875 | 354 | 35400 | 0.0354 | 48858 | 48836 | 22 | 2200 | 0.0022
53 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 8020 | 8050 | -30 | -3000 | -0.003 | 19056 | 19062 | -6 | -600 | -0.0006
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999469 | 999510 | -41 | -4100 | -0.0041 | 251 | 252 | -1 | -100 | -0.0001
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 3000 | 2826 | 174 | 17400 | 0.0174 | 62470 | 62187 | 283 | 28300 | 0.0283
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 4747 | 4541 | 206 | 20600 | 0.0206 | 53276 | 53067 | 209 | 20900 | 0.0209
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 5520 | 5289 | 231 | 23100 | 0.0231 | 77069 | 76596 | 473 | 47300 | 0.0473
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 112336 | 110659 | 1677 | 167700 | 0.1677 | 27000 | 26996 | 4 | 400 | 0.0004
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 15602 | 15209 | 393 | 39300 | 0.0393 | 33512 | 33506 | 6 | 600 | 0.0006
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 41 | 41 | 0 | 0 | 0 | 23 | 18 | 5 | -1500 | -0.0015
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | -400 | 4570 | 4570 | 0 | 0 | 0 | 12610 | 12610 | 0 | 0 | 0
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999305 | 999305 | 0 | 0 | 0 | 999274 | 999274 | 0 | 0 | 0
Mundka
64 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 999791 | 999895 | -104 | -83200 | -0.0832 | 0 | 0 | 0 | 0 | 0 | installed on dated 21/02/12
MANGOLPURI
65 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4327 | 4330 | -3 | 3000 | 0.003 | 3697 | 3697 | 0 | 0 | 0 | For 18-2-12 to 19-2-12
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -2.4877 |  |  |  |  | 1.961
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 6347 | 6106 | 241 | -24100 | -0.0241 | 9245 | 9144 | 101 | -10100 | -0.0101
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0 | for 01-2-12 to 18-2-12
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5818 | 5821 | -3 | 3000 | 0.003 | 4522 | 4502 | 20 | -20000 | -0.02
SUBZI MANDI
4 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13198 | 13121 | 77 | -77000 | -0.077 | 24687 | 24542 | 145 | -145000 | -0.145
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 38725 | 39188 | -463 | 46300 | 0.0463 | 147054 | 147062 | -8 | 800 | 0.0008
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975361 | 976341 | -980 | 980000 | 0.98 | 992681 | 992695 | -14 | 14000 | 0.014
MUNDKA
| 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999933 | 1000001 | -68 | -136000 | -0.136 | 0 | 0 | 0 | 0 | 0 | Installed on dated 21/02/12. Roll over
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.7922 |  |  |  |  | -0.1603
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -2.4877 |  |  |  |  | 1.961
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.7922 |  |  |  |  | -0.1603
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.687 |  |  |  |  | 0.038075
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -0.0085375 |  |  |  |  | 1.8388
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.0085375 | (REACTIVE MUs) |  |  |  | 1.8388 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.06793 | (REACTIVE MUs) |  |  |  | 1.6408 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.076467 | (REACTIVE MUs) |  |  |  | 3.4796 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | FEBRUARY-2012
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988822 | 989225 | -403 | -40300 | -0.0403 | 75483 | 75724 | -241 | -24100 | -0.0241
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 17284 | 17442 | -158 | -15800 | -0.0158 | 1085 | 694 | 391 | 39100 | 0.0391
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 23923 | 24032 | -109 | -10900 | -0.0109 | 30857 | 31159 | -302 | -30200 | -0.0302
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998866 | 998893 | -27 | -2700 | -0.0027 | 7256 | 6401 | 855 | 85500 | 0.0855
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8842 | 8799 | 43 | 4300 | 0.0043 | 77411 | 75636 | 1775 | 177500 | 0.1775
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 715 | 1007 | -292 | -29200 | -0.0292 | 48476 | 48714 | -238 | -23800 | -0.0238
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999616 | 999616 | 0 | 0 | 0 | 999774 | 999768 | 6 | 6000 | 0.006
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999807 | 999810 | -3 | -3000 | -0.003 | 2273 | 2260 | 13 | 13000 | 0.013
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 408 | 404 | 4 | 4000 | 0.004 | 1545 | 1451 | 94 | 94000 | 0.094
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 84 | 84 | 0 | 0 | 0 | 2755 | 2507 | 248 | 248000 | 0.248
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999742 | 999743 | -1 | -1000 | -0.001 | 2436 | 2268 | 168 | 168000 | 0.168
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 455 | 455 | 0 | 0 | 0 | 1060 | 1056 | 4 | 4000 | 0.004
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 158 | 158 | 0 | 0 | 0 | 14262 | 13816 | 446 | 446000 | 0.446
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 299 | 300 | -1 | -1000 | -0.001 | 34443 | 34238 | 205 | 205000 | 0.205
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 254 | 254 | 0 | 0 | 0 | 11355 | 10939 | 416 | 416000 | 0.416
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 246 | 245 | 1 | 1000 | 0.001 | 5411 | 5381 | 30 | 30000 | 0.03
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 31830 | 30829 | 1001 | 100100 | 0.1001 | 536 | 536 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998550 | 998552 | -2 | -2000 | -0.002 | 6753 | 6490 | 263 | 263000 | 0.263
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 826115 | 829022 | -2907 | -3197700 | -3.1977
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 868117 | 870818 | -2701 | -2971100 | -2.9711
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992757 | 992977 | -220 | -220000 | -0.22 | 10042 | 10105 | -63 | -63000 | -0.063
| KASHMIRI GATE | [8 empty] | -0.1219 |  |  |  |  | -4.3388
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965264 | 965457 | -193 | 193000 | 0.193 | 977952 | 977952 | 0 | 0 | 0
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981843 | 981979 | -136 | 136000 | 0.136 | 984034 | 984039 | -5 | 5000 | 0.005
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 41 | 41 | 0 | 0 | 0 | 23 | 18 | 5 | 1500 | 0.0015
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1149 | 1066 | 83 | 83000 | 0.083 | 57209 | 57025 | 184 | 184000 | 0.184
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5981 | 4983 | 998 | -998000 | -0.998 | 974704 | 974621 | 83 | -83000 | -0.083
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6352 | 5542 | 810 | -810000 | -0.81 | 978443 | 979242 | -799 | 799000 | 0.799
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992962 | 993467 | -505 | 505000 | 0.505 | 990908 | 991099 | -191 | 191000 | 0.191
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994773 | 995811 | -1038 | 1038000 | 1.038 | 995989 | 996127 | -138 | 138000 | 0.138
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13198 | 13121 | 77 | 77000 | 0.077 | 24687 | 24542 | 145 | 145000 | 0.145
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 92317 | 90328 | 1989 | 198900 | 0.1989 | 1707 | 1707 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 54266 | 51394 | 2872 | 287200 | 0.2872 | 999577 | 999577 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.4936 |  |  |  |  | -2.7343
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.4936 |  |  |  |  | -2.7343
FEBRUARY-2012
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997090 | 997335 | -245 | 245000 | 0.245 | 940297 | 940988 | -691 | 691000 | 0.691
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15321 | 15449 | -128 | 128000 | 0.128 | 958734 | 959500 | -766 | 766000 | 0.766
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13264 | 13591 | -327 | 327000 | 0.327 | 946538 | 947179 | -641 | 641000 | 0.641
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 952874 | 954370 | -1496 | 1496000 | 1.496 | 993729 | 993729 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 943653 | 945247 | -1594 | 1594000 | 1.594 | 992020 | 992020 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000021 | 999647 | 374 | -374000 | -0.374 | 993735 | 993752 | -17 | 17000 | 0.017 | ROLL OVER
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1669 | 1433 | 236 | -236000 | -0.236 | 983574 | 983819 | -245 | 245000 | 0.245
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998741 | 998720 | 21 | -42000 | -0.042 | 989967 | 990007 | -40 | 80000 | 0.08
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12498 | 12555 | -57 | 57000 | 0.057 | 956837 | 957070 | -233 | 233000 | 0.233
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966754 | 967427 | -673 | 673000 | 0.673 | 900587 | 902312 | -1725 | 1725000 | 1.725
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21368 | 21368 | 0 | 0 | 0 | 28992 | 28060 | 932 | -932000 | -0.932
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19203 | 19177 | 26 | -26000 | -0.026 | 36544 | 36502 | 42 | -42000 | -0.042
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 3.842 |  |  |  |  | 3.424
| (B) NET ENERGY TO EAST | [8 empty] | 3.842 |  |  |  |  | 3.424
6
FEBRUARY-2012
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991381 | 991268 | 113 | -113000 | -0.113 | 998460 | 998460 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 999877 | 999734 | 143 | -71500 | -0.0715 | 999839 | 999839 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 22606 | 21822 | 784 | -156800 | -0.1568 | 62452 | 62357 | 95 | -19000 | -0.019
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 32631 | 29124 | 3507 | -350700 | -0.3507 | 121413 | 121184 | 229 | -22900 | -0.0229
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 989526 | 990177 | -651 | 130200 | 0.1302 | 4264 | 4260 | 4 | -800 | -0.0008
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 42190 | 40654 | 1536 | -307200 | -0.3072 | 80276 | 80160 | 116 | -23200 | -0.0232
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 67669 | 65174 | 2495 | -2495000 | -2.495 | 232 | 232 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3498 | 3363 | 135 | -135000 | -0.135 | 54 | 55 | -1 | 1000 | 0.001
9 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 996079 | 996786 | -707 | 565600 | 0.5656 | 998437 | 998573 | -136 | 108800 | 0.1088
10 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 1132 | 478 | 654 | -523200 | -0.5232 | 126 | 5 | 121 | -96800 | -0.0968
EXPORT TO SOUTH & WEST FROM PARK STREET
11 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998045 | 998176 | -131 | 131000 | 0.131 | 38077 | 38051 | 26 | -26000 | -0.026
12 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 997835 | 997985 | -150 | 199999.5 | 0.2 | 499 | 514 | -15 | 19999.95 | 0.02
EXPORT TO NORTH from SHASTRI PARK
13 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 701 | 728 | -27 | 27000 | 0.027 | 16325 | 16290 | 35 | -35000 | -0.035
14 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999317 | 999284 | 33 | -33000 | -0.033 | 3073 | 3039 | 34 | -34000 | -0.034
DMS
15 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1144 | 1033 | 111 | -111000 | -0.111 | 56115 | 55923 | 192 | -192000 | -0.192
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5110 | 5102 | 8 | -4000 | -0.004 | 22767 | 22588 | 179 | -89500 | -0.0895
17 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3290 | 3282 | 8 | -4000 | -0.004 | 20803 | 20697 | 106 | -53000 | -0.053
18 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3296 | 3290 | 6 | -3000 | -0.003 | 13973 | 13919 | 54 | -27000 | -0.027
19 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3237 | 3234 | 3 | -1500 | -0.0015 | 16305 | 16209 | 96 | -48000 | -0.048
KASHMIRI GATE
20 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 112336 | 110659 | 1677 | -167700 | -0.1677 | 27000 | 26996 | 4 | -400 | -0.0004
21 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 15602 | 15209 | 393 | -39300 | -0.0393 | 33512 | 33506 | 6 | -600 | -0.0006
D.M.S.
22 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999458 | 999558 | -100 | 10000 | 0.01 | 5798 | 5796 | 2 | -200 | -0.0002
23 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 3199 | 3069 | 130 | -13000 | -0.013 | 13730 | 13705 | 25 | -2500 | -0.0025
24 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 8229 | 7875 | 354 | -35400 | -0.0354 | 48858 | 48836 | 22 | -2200 | -0.0022
25 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 8020 | 8050 | -30 | 3000 | 0.003 | 19056 | 19062 | -6 | 600 | 0.0006
26 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999469 | 999510 | -41 | 4100 | 0.0041 | 251 | 252 | -1 | 100 | 0.0001
27 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 3000 | 2826 | 174 | -17400 | -0.0174 | 62470 | 62187 | 283 | -28300 | -0.0283
29 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 4747 | 4541 | 206 | -20600 | -0.0206 | 53276 | 53067 | 209 | -20900 | -0.0209
30 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 5520 | 5289 | 231 | -23100 | -0.0231 | 77069 | 76596 | 473 | -47300 | -0.0473
[10 empty] | -3.5545 |  |  |  |  | -0.6391
FEBRUARY-2012
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.4936 |  |  |  |  | -2.7343
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -3.5545 |  |  |  |  | -0.6391
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.07 |  |  |  |  | 0.0085
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -4.1309 |  |  |  |  | -3.3649
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 3.842 |  |  |  |  | 3.424
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -0.2889 |  |  |  |  | 0.0591
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.2889 | (REACTIVE MUs) |  |  |  | 0.0591 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.053676 | (REACTIVE MUs) |  |  |  | 1.2965 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.34258 | (REACTIVE MUs) |  |  |  | 1.3556 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | FEBRUARY-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998319 | 998546 | -227 | -227000 | -0.227 | 11091 | 11257 | -166 | -166000 | -0.166
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 990605 | 990769 | -164 | -218666.12 | -0.21867 | 677610 | 677637 | -27 | -35999.91 | -0.036
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6623 | 6662 | -39 | -39000 | -0.039 | 46355 | 46398 | -43 | -43000 | -0.043
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10881 | 10838 | 43 | 43000 | 0.043 | 698 | 626 | 72 | 72000 | 0.072
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 7468 | 7405 | 63 | 6300 | 0.0063 | 86031 | 85843 | 188 | 18800 | 0.0188
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 40902 | 42334 | -1432 | -143200 | -0.1432 | 269033 | 269054 | -21 | -2100 | -0.0021
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 8267 | 7893 | 374 | 37400 | 0.0374 | 345555 | 344271 | 1284 | 128400 | 0.1284
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999971 | 999995 | -24 | -24000 | -0.024 | 999710 | 999901 | -191 | -191000 | -0.191
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993709 | 994103 | -394 | 394000 | 0.394 | 961547 | 961692 | -145 | 145000 | 0.145
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992116 | 992569 | -453 | 453000 | 0.453 | 964286 | 964390 | -104 | 104000 | 0.104
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988207 | 988769 | -562 | 562000 | 0.562 | 948420 | 948599 | -179 | 179000 | 0.179
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999000 | 999588 | -588 | 588000 | 0.588 | 964577 | 964748 | -171 | 171000 | 0.171
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998249 | 998883 | -634 | 634000 | 0.634 | 993618 | 993622 | -4 | 4000 | 0.004
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4513 | 3175 | 1338 | -1338000 | -1.338 | 996779 | 996778 | 1 | -1000 | -0.001
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40617 | 40134 | 483 | -483000 | -0.483 | 26411 | 26515 | -104 | 104000 | 0.104
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4763 | 4314 | 449 | -449000 | -0.449 | 10990 | 11174 | -184 | 184000 | 0.184
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25128 | 24836 | 292 | -292000 | -0.292 | 12493 | 12607 | -114 | 114000 | 0.114
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16967 | 14988 | 1979 | -1979000 | -1.979 | 42611 | 42649 | -38 | 38000 | 0.038
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0 | for 01-2-12 to 18-2-12
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5818 | 5821 | -3 | -3000 | -0.003 | 4522 | 4502 | 20 | 20000 | 0.02
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953213 | 955733 | -2520 | 2520000 | 2.52 | 906489 | 906489 | 0 | 0 | 0
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985663 | 987547 | -1884 | 1884000 | 1.884 | 870102 | 870117 | -15 | 15000 | 0.015
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 320 | 320 | 0 | 0 | 0 | 993551 | 994576 | -1025 | 1025000 | 1.025
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 445 | 445 | 0 | 0 | 0 | 978660 | 980486 | -1826 | 1826000 | 1.826
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000368 | 999794 | 574 | -574000 | -0.574 | 957901 | 957902 | -1 | 1000 | 0.001 | ROLL OVER
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999630 | 999630 | 0 | 0 | 0 | 915557 | 919717 | -4160 | 4160000 | 4.16
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999027 | 999027 | 0 | 0 | 0 | 901652 | 905991 | -4339 | 4339000 | 4.339
BRPL(+) continue | [14 empty] | FEBRUARY-2012
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998860 | 998860 | 0 | 0 | 0 | 975970 | 976039 | -69 | 69000 | 0.069
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 55 | 55 | 0 | 0 | 0 | 993238 | 993688 | -450 | 450000 | 0.45
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990581 | 990581 | 0 | 0 | 0 | 972722 | 972571 | 151 | -302000 | -0.302
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997722 | 997918 | -196 | 196000 | 0.196 | 932216 | 932440 | -224 | 224000 | 0.224
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1543 | 1543 | 0 | 0 | 0 | 946658 | 947820 | -1162 | 1162000 | 1.162
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997829 | 998032 | -203 | 203000 | 0.203 | 938801 | 938989 | -188 | 188000 | 0.188
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 980215 | 983017 | -2802 | 1867998.132 | 1.868 | 976469 | 976470 | -1 | 666.666 | 0.00066667
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 432 | 324 | 108 | -216000 | -0.216 | 1149 | 1132 | 17 | -34000 | -0.034
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997190 | 997068 | 122 | -244000 | -0.244 | 405 | 393 | 12 | -24000 | -0.024
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986910 | 989078 | -2168 | 2168000 | 2.168 | 999915 | 999915 | 0 | 0 | 0
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984559 | 985773 | -1214 | 1214000 | 1.214 | 999997 | 999997 | 0 | 0 | 0
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 999263 | 999571 | -308 | -246400 | -0.2464 | 398 | 389 | 9 | 7200 | 0.0072
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 1697 | 1440 | 257 | 205600 | 0.2056 | 184 | 181 | 3 | 2400 | 0.0024
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 992688 | 993671 | -983 | -786400 | -0.7864 | 999912 | 999913 | -1 | -800 | -0.0008
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999933 | 1000001 | -68 | 136000 | 0.136 | 0 | 0 | 0 | 0 | 0 | Installed on dated 21/02/12. Roll over
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998045 | 998176 | -131 | -131000 | -0.131 | 38077 | 38051 | 26 | 26000 | 0.026
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 997835 | 997985 | -150 | -199999.5 | -0.2 | 499 | 514 | -15 | -19999.95 | -0.02
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3727 | 2024 | 1703 | -1703000 | -1.703 | 981988 | 981989 | -1 | 1000 | 0.001
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999410 | 999766 | -356 | 356000 | 0.356 | 989773 | 989967 | -194 | 194000 | 0.194
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 6347 | 6106 | 241 | 24100 | 0.0241 | 9245 | 9144 | 101 | 10100 | 0.0101
SUDARSHAN PARK
51 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 38725 | 39188 | -463 | -46300 | -0.0463 | 147054 | 147062 | -8 | -800 | -0.0008
REWARI LINE
52 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975361 | 976341 | -980 | -980000 | -0.98 | 992681 | 992695 | -14 | -14000 | -0.014
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1312 | 923 | 389 | 38900 | 0.0389 | 5349 | 5349 | 0 | 0 | 0
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 6740 | 5650 | 1090 | 109000 | 0.109 | 12620 | 12620 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.3173 |  |  |  |  | 14.1479
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | FEBRUARY-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 999619 | 996702 | 2917 | -291700 | -0.2917 | 857897 | 857886 | 11 | -1100 | -0.0011
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 92317 | 90328 | 1989 | -198900 | -0.1989 | 1707 | 1707 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 54266 | 51394 | 2872 | -287200 | -0.2872 | 999577 | 999577 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 999645 | 999903 | -258 | 25800 | 0.0258 | 999973 | 999973 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 999588 | 999906 | -318 | 31800 | 0.0318 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 668 | 640 | 28 | -28000 | -0.028 | 72621 | 72621 | 0 | 0 | 0
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6009 | 5263 | 746 | -746000 | -0.746 | 2117 | 2117 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 818602 | 812644 | 5958 | -595800 | -0.5958 | 46063 | 46063 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 29081 | 26241 | 2840 | -284000 | -0.284 | 51155 | 51164 | -9 | 900 | 0.0009
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 24419 | 22410 | 2009 | -200900 | -0.2009 | 52617 | 52576 | 41 | -4100 | -0.0041
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 64664 | 64135 | 529 | -105800 | -0.1058 | 103509 | 103509 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 37947 | 32481 | 5466 | -546600 | -0.5466 | 12536 | 12536 | 0 | 0 | 0
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 32057 | 30385 | 1672 | -167200 | -0.1672 | 629702 | 627175 | 2527 | -252700 | -0.2527
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 102129 | 97770 | 4359 | -435900 | -0.4359 | 231401 | 231383 | 18 | -1800 | -0.0018
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 205092 | 194793 | 10299 | -1029900 | -1.0299 | 36220 | 36220 | 0 | 0 | 0
| Assessment on account of putting wrong M.F. (i.e.M.F.with + sign ) for mtr. No. 4865133 for period from 01/04/11 To 01/01/12 | [8 empty] | -2.082 |  |  |  |  | -0.7226
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 865 | 865 | 0 | 0 | 0 | 12707 | 12678 | 29 | -2900 | -0.0029
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 12630 | 12091 | 539 | -53900 | -0.0539 | 61758 | 61415 | 343 | -34300 | -0.0343
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 8429 | 8261 | 168 | -16800 | -0.0168 | 13734 | 13127 | 607 | -60700 | -0.0607
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9595 | 9583 | 12 | -1200 | -0.0012 | 30919 | 30822 | 97 | -9700 | -0.0097
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13736 | 13733 | 3 | -300 | -0.0003 | 37334 | 36621 | 713 | -71300 | -0.0713
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 32745 | 32437 | 308 | -30800 | -0.0308 | 10896 | 10777 | 119 | -11900 | -0.0119
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 15724 | 15591 | 133 | -13300 | -0.0133 | 11217 | 11118 | 99 | -9900 | -0.0099
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997513 | 997876 | -363 | 36300 | 0.0363 | 1313 | 1138 | 175 | -17500 | -0.0175
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | 400 | 4570 | 4570 | 0 | 0 | 0 | 12610 | 12610 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999305 | 999305 | 0 | 0 | 0 | 999274 | 999274 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -7.0223 |  |  |  |  | -1.1996
FEBRUARY-2012
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 3.3173 |  |  |  |  | 14.1479
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -7.0223 |  |  |  |  | -1.1996
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.5632 |  |  |  |  | 0.0491
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.3558 |  |  |  |  | -0.0351
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -3.4976 |  |  |  |  | 12.9623
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.4976 | (REACTIVE MUs) |  |  |  | 12.9623 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.092907 | (REACTIVE MUs) |  |  |  | 2.2441 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.5905 | (REACTIVE MUs) |  |  |  | 15.2064 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | FEBRUARY-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 22606 | 21822 | 784 | 156800 | 0.1568 | 62452 | 62357 | 95 | 19000 | 0.019
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 32631 | 29124 | 3507 | 350700 | 0.3507 | 121413 | 121184 | 229 | 22900 | 0.0229
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 989526 | 990177 | -651 | -130200 | -0.1302 | 4264 | 4260 | 4 | 800 | 0.0008
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 42190 | 40654 | 1536 | 307200 | 0.3072 | 80276 | 80160 | 116 | 23200 | 0.0232
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 67669 | 65174 | 2495 | 2495000 | 2.495 | 232 | 232 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3498 | 3363 | 135 | 135000 | 0.135 | 54 | 55 | -1 | -1000 | -0.001
7 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 996079 | 996786 | -707 | -565600 | -0.5656 | 998437 | 998573 | -136 | -108800 | -0.1088
8 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 1132 | 478 | 654 | 523200 | 0.5232 | 126 | 5 | 121 | 96800 | 0.0968
I.P.STATION EXPORT TO NDMC
9 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998349 | 998307 | 42 | 4200 | 0.0042 | 285439 | 283918 | 1521 | 152100 | 0.1521
10 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6862 | 6729 | 133 | 13300 | 0.0133 | 418742 | 417241 | 1501 | 150100 | 0.1501
11 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 11127 | 11052 | 75 | 7500 | 0.0075 | 209787 | 207656 | 2131 | 213100 | 0.2131
12 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5369 | 5473 | -104 | -10400 | -0.0104 | 301840 | 302385 | -545 | -54500 | -0.0545
13 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998703 | 998707 | -4 | -400 | -0.0004 | 231128 | 230182 | 946 | 94600 | 0.0946
14 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000103 | 999519 | 584 | 58400 | 0.0584 | 130485 | 127538 | 2947 | 294700 | 0.2947 | ROLL OVER
15 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 12683 | 12682 | 1 | 100 | 0.0001 | 189784 | 189786 | -2 | -200 | -0.0002
16 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 13085 | 12849 | 236 | 23600 | 0.0236 | 228182 | 226568 | 1614 | 161400 | 0.1614
G.T.
17 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 57387 | 57876 | -489 | -537900 | -0.5379
18 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5064 | 5152 | -88 | -88000 | -0.088 | 36421 | 36453 | -32 | -32000 | -0.032
19 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 131324 | 131454 | -130 | -143000 | -0.143
20 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8040 | 8089 | -49 | -49000 | -0.049 | 48287 | 48268 | 19 | 19000 | 0.019
[10 empty] | -0.137 |  |  |  |  | -0.6939
RIDGE VALLEY
21 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 668 | 640 | 28 | 28000 | 0.028 | 72621 | 72621 | 0 | 0 | 0
22 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6009 | 5263 | 746 | 746000 | 0.746 | 2117 | 2117 | 0 | 0 | 0
23 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 818602 | 812644 | 5958 | 595800 | 0.5958 | 46063 | 46063 | 0 | 0 | 0
24 | A.I.I.M.S.
25 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 37947 | 32481 | 5466 | 546600 | 0.5466 | 12536 | 12536 | 0 | 0 | 0
26 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 32057 | 30385 | 1672 | 167200 | 0.1672 | 629702 | 627175 | 2527 | 252700 | 0.2527
27 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 102129 | 97770 | 4359 | 435900 | 0.4359 | 231401 | 231383 | 18 | 1800 | 0.0018
FEBRUARY-2012
NDMC(+) Continue…
KIDWAI NAGAR
28 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 205092 | 194793 | 10299 | 1029900 | 1.0299 | 36220 | 36220 | 0 | 0 | 0
| Assessment on account of putting wrong M.F. (i.e.M.F.with - sign ) for mtr. No. 4865133 for period from 01/04/11 To 01/01/12 | [8 empty] | 2.082 |  |  |  |  | 0.7226
EXHIBITION I
29 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 865 | 865 | 0 | 0 | 0 | 12707 | 12678 | 29 | 2900 | 0.0029
30 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
31 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 29081 | 26241 | 2840 | 284000 | 0.284 | 51155 | 51164 | -9 | -900 | -0.0009
32 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 24419 | 22410 | 2009 | 200900 | 0.2009 | 52617 | 52576 | 41 | 4100 | 0.0041
33 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 64664 | 64135 | 529 | 105800 | 0.1058 | 103509 | 103509 | 0 | 0 | 0
TILAK MARG
34 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 999619 | 996702 | 2917 | 291700 | 0.2917 | 857897 | 857886 | 11 | 1100 | 0.0011
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1312 | 923 | 389 | -38900 | -0.0389 | 5349 | 5349 | 0 | 0 | 0
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 6740 | 5650 | 1090 | -109000 | -0.109 | 12620 | 12620 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 9.5973 |  |  |  |  | 1.3546
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 9.5973 |  |  |  |  | 1.3546
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.012415 |  |  |  |  | 0.29988
| TOTAL ENERGY TO NDMC | [8 empty] | 9.5849 |  |  |  |  | 1.6545

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2012
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 630 | 605 | 25 | 25000 | 0.025 | 14174 | 14107 | 67 | 67000 | 0.067
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 443 | 427 | 16 | 16000 | 0.016 | 18560 | 18507 | 53 | 53000 | 0.053
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 803 | 779 | 24 | 24000 | 0.024 | 26402 | 26377 | 25 | 25000 | 0.025
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 463 | 444 | 19 | 19000 | 0.019 | 13599 | 13573 | 26 | 26000 | 0.026
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1939 | 1739 | 200 | 200000 | 0.2 | 6756 | 6750 | 6 | 6000 | 0.006
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 999645 | 999903 | -258 | -25800 | -0.0258 | 999973 | 999973 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 999588 | 999906 | -318 | -31800 | -0.0318 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.2264 |  |  |  |  | 0.177
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3287 | 3287 | 0 | 0 | 0 | 32963 | 32963 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 27780 | 26805 | 975 | 97500 | 0.0975 | 59395 | 59391 | 4 | 400 | 0.0004
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 66427 | 66034 | 393 | 39300 | 0.0393 | 7140 | 7139 | 1 | 100 | 0.0001
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 19647 | 18777 | 870 | 87000 | 0.087 | 46245 | 46162 | 83 | 8300 | 0.0083
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999895 | 999864 | 31 | 3100 | 0.0031 | 17623 | 17445 | 178 | 17800 | 0.0178
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 76550 | 75366 | 1184 | 118400 | 0.1184 | 39980 | 39896 | 84 | 8400 | 0.0084
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 2597 | 2492 | 105 | 10500 | 0.0105 | 3768 | 3767 | 1 | 100 | 0.0001
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.3558 |  |  |  |  | 0.0351
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 7848 | 7848 | 0 | 0 | 0 | 18966 | 18966 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.3558 |  |  |  |  | 0.0351
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.2264 |  |  |  |  | 0.177
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.5822 |  |  |  |  | 0.2121
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.5822 | (REACTIVE MUs) |  |  |  | 0.2121 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0021718 | (REACTIVE MUs) |  |  |  | 0.052458 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.58003 | (REACTIVE MUs) |  |  |  | 0.26456 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2012
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 58210 | 57038 | 1172 | 117200 | 0.1172 | 77742 | 77538 | 204 | 20400 | 0.0204
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 7464 | 8109 | -645 | -64500 | -0.0645 | 999463 | 999484 | -21 | -2100 | -0.0021
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 171028 | 172783 | -1755 | -175500 | -0.1755 | 91972 | 91989 | -17 | -1700 | -0.0017
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15812 | 15268 | 544 | 544000 | 0.544 | 17795 | 17777 | 18 | 18000 | 0.018
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 993554 | 993663 | -109 | 54500 | 0.0545 | 944146 | 944169 | -23 | 11500 | 0.0115
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994177 | 994352 | -175 | 87500 | 0.0875 | 987004 | 987010 | -6 | 3000 | 0.003
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999987 | 999987 | 0 | 0 | 0 | 999884 | 999884 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.5632 |  |  |  |  | 0.0491
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 954014 | 955514 | -1500 | -300000 | -0.3 | 991982 | 991932 | 50 | 10000 | 0.01
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 881275 | 888975 | -7700 | -770000 | -0.77 | 928504 | 928519 | -15 | -1500 | -0.0015
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.07 |  |  |  |  | 0.0085
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 167339 | 165610 | 1729 | 345800 | 0.3458 | 258649 | 258593 | 56 | 11200 | 0.0112
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 57645 | 54505 | 3140 | 628000 | 0.628 | 40209 | 40230 | -21 | -4200 | -0.0042
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 79666 | 74423 | 5243 | 524300 | 0.5243 | 69980 | 70019 | -39 | -3900 | -0.0039
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987310 | 987093 | 217 | 217000 | 0.217 | 997816 | 997804 | 12 | 12000 | 0.012
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 983463 | 984440 | -977 | -97700 | -0.0977 | 7391 | 7405 | -14 | -1400 | -0.0014
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 40 | 81 | -41 | -38437.5 | -0.038437 | 2773 | 2755 | 18 | 16875 | 0.016875
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 992222 | 992438 | -216 | 108000 | 0.108 | 995715 | 995730 | -15 | 7500 | 0.0075
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999987 | 999987 | 0 | 0 | 0 | 999884 | 999884 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 1.687 |  |  |  |  | 0.038075
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.5632 |  |  |  |  | 0.0491
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.07 |  |  |  |  | 0.0085
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.687 |  |  |  |  | 0.038075

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | FEBRUARY-2012
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 6539 | 6746 | -207 | -414000 | -0.414 | 13 | 5 | 8 | 16000 | 0.016
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 8052 | 7601 | 451 | 902000 | 0.902 | 1000055 | 999736 | 319 | 638000 | 0.638 | ROLL OVER
[7 empty] | NET REACTIVE ENERGY |  |  | 0.488 |  | NET REACTIVE ENERGY |  |  | 0.654
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 985552 | 985552 | 0 | 0 | 0 | 988909 | 990064 | -1155 | -1155000 | -1.155
[7 empty] | NET REACTIVE ENERGY |  |  | 0 |  | NET REACTIVE ENERGY |  |  | -1.155
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.488 |  |  |  |  | -0.501
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.1219 |  |  |  |  | -4.3388
[7 empty] | NDMC = |  |  | -0.137 |  |  |  |  | -0.6939
MES =
[7 empty] | 2)TOTAL |  |  | -0.2589 |  |  |  |  | -5.0327
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.2291 |  |  |  |  | -5.5337
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.6507 | % |  |  | 0.06793 |  |  |  |  | -1.6408
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.5532 | % |  |  | 0.092907 |  |  |  |  | -2.2441
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.429 | % |  |  | 0.053676 |  |  |  |  | -1.2965
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.4191 | % |  |  | 0.012415 |  |  |  |  | -0.29988
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.94797 | % |  |  | 0.0021718 |  |  |  |  | -0.052458
Note :Sharing taken from wk-49 abt bill 2011-12

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st FEBRUARY-2012 TO 29th FEBRUARY-2012
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -0.076467 | + | 3.4796
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -3.5905 | + | 15.2064
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -0.34258 | + | 1.3556
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 9.5849 | + | 1.6545
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.58003 | + | 0.26456
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
Assessment of 20MVA Tx. AT KIDWAI NAGAR (Meter No. 4865133) for the period April 2011 to December 2011 due to wrong M.F.. The total assessment is (-)6.246Mus on above 103%
and (-)2.1678Mus on below 97%. The assessment to be distributed equally in the month of Jan., Feb, March 2012

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/03/12 | INTIAL READING 01/02/12 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 979680 | 980968 | -1288 | -1932000 | -1.932 | 981175 | 981175 | 0 | 0 | 0
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 975553 | 975799 | -246 | -369000 | -0.369 | 986820 | 986822 | -2 | -3000 | -0.003
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 930877 | 931579 | -702 | -1053000 | -1.053 | 970187 | 970187 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -3.354 |  |  | NET REACTIVE ENERGY |  | -0.003
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997179 | 997103 | 76 | 380000 | 0.38 | 36920 | 36946 | -26 | -130000 | -0.13
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999433 | 999401 | 32 | 32000 | 0.032 | 8123 | 8237 | -114 | -114000 | -0.114
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 970556 | 970572 | -16 | -16000 | -0.016 | 990881 | 990939 | -58 | -58000 | -0.058
[8 empty] | NET REACTIVE ENERGY |  | 0.396 |  |  | NET REACTIVE ENERGY |  | -0.302