## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JULY-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990540 | 990527 | 13 | -13000 | -0.013 | 996132 | 996506 | -374 | 374000 | 0.374
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994141 | 994146 | -5 | 5000 | 0.005 | 996606 | 997707 | -1101 | 1101000 | 1.101
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4527 | 4391 | 136 | -136000 | -0.136 | 996183 | 996182 | 1 | -1000 | -0.001
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974290 | 974290 | 0 | 0 | 0 | 973176 | 975034 | -1858 | 1858000 | 1.858
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917253 | 917253 | 0 | 0 | 0 | 935472 | 937841 | -2369 | 2369000 | 2.369
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22967 | 22966 | 1 | -1000 | -0.001 | 17908 | 17719 | 189 | -189000 | -0.189
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12395 | 12393 | 2 | -2000 | -0.002 | 11935 | 12210 | -275 | 275000 | 0.275
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 14241 | 14241 | 0 | 0 | 0 | 994666 | 994977 | -311 | 388750 | 0.38875
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6504 | 6504 | 0 | 0 | 0 | 983977 | 984378 | -401 | 401000 | 0.401
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31195 | 31196 | -1 | 1000 | 0.001 | 9060 | 9136 | -76 | 76000 | 0.076
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992062 | 992083 | -21 | 21000 | 0.021 | 3290 | 3466 | -176 | 176000 | 0.176
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991817 | 991819 | -2 | 2000 | 0.002 | 998140 | 998474 | -334 | 334000 | 0.334
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 898923 | 899123 | -200 | -200000 | -0.2 | 920488 | 920501 | -13 | -13000 | -0.013
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987808 | 987816 | -8 | 8000 | 0.008 | 16836 | 16832 | 4 | -4000 | -0.004
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998488 | 998448 | 40 | -40000 | -0.04 | 19654 | 19649 | 5 | -5000 | -0.005
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2110 | 2053 | 57 | -57000 | -0.057 | 999979 | 999976 | 3 | -3000 | -0.003
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999926 | 999926 | 0 | 0 | 0 | 990923 | 992357 | -1434 | -286800 | -0.2868
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 661 | 661 | 0 | 0 | 0 | 29768 | 29738 | 30 | 30000 | 0.03
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 4386 | 4385 | 1 | 100 | 0.0001 | 160030 | 158230 | 1800 | 180000 | 0.18
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 15713 | 15712 | 1 | 100 | 0.0001 | 237521 | 235108 | 2413 | 241300 | 0.2413
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996347 | 996347 | 0 | 0 | 0 | 3860 | 4003 | -143 | -143000 | -0.143
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 321 | 321 | 0 | 0 | 0 | 8355 | 8256 | 99 | 99000 | 0.099
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 640005 | 640005 | 0 | 0 | 0 | 797826 | 798123 | -297 | -297000 | -0.297
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 648467 | 648467 | 0 | 0 | 0 | 830890 | 831385 | -495 | -495000 | -0.495
25 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 1947 | 1947 | 0 | 0 | 0 | 55 | 412 | -357 | -142800 | -0.1428
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 2596 | 2596 | 0 | 0 | 0 | 3958 | 3964 | -6 | -3000 | -0.003
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15571 | 15561 | 10 | -10000 | -0.01 | 981140 | 981243 | -103 | 103000 | 0.103
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5964 | 5949 | 15 | -15000 | -0.015 | 999516 | 999566 | -50 | 50000 | 0.05
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996976 | 996958 | 18 | -18000 | -0.018 | 924319 | 924865 | -546 | 546000 | 0.546
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3441 | 3441 | 0 | 0 | 0 | 999453 | 999565 | -112 | 112000 | 0.112
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 56953 | 56944 | 9 | -9000 | -0.009 | 2218 | 1618 | 600 | -600000 | -0.6
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 227 | 289 | -62 | 62000 | 0.062 | 998736 | 998735 | 1 | -1000 | -0.001
33 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2438 | 2438 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
WAZIRPUR
34 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999991 | 1000006 | -15 | 15000 | 0.015 | 999999 | 999999 | 0 | 0 | 0
35 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999987 | 999998 | -11 | 11000 | 0.011 | 1 | 0 | 1 | -1000 | -0.001
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
36 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1764 | 1764 | 0 | 0 | 0 | 22295 | 21905 | 390 | 390000 | 0.39
37 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 212 | 212 | 0 | 0 | 0 | 2376 | 2101 | 275 | 275000 | 0.275
| NDPL(+) continue | [14 empty] | JULY-2014
DMS
38 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1278 | 1282 | -4 | -4000 | -0.004 | 61198 | 61190 | 8 | 8000 | 0.008
REWARI LINE
39 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 2173 | 2172 | 1 | 100 | 0.0001 | 78022 | 78553 | -531 | -53100 | -0.0531 | metering not in order
[10 empty] | 0.0242 |  |  |  |  | -0.0205 | Assessment
VISHAL
40 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9412 | 9424 | -12 | -1200 | -0.0012 | 28965 | 29048 | -83 | -8300 | -0.0083
41 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 10928 | 10882 | 46 | 4600 | 0.0046 | 55609 | 54688 | 921 | 92100 | 0.0921
42 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 17141 | 16995 | 146 | 14600 | 0.0146 | 58119 | 57494 | 625 | 62500 | 0.0625
S.B.MILL
43 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 43026 | 43026 | 0 | 0 | 0 | 43026 | 43026 | 0 | 0 | 0 | metering not in order
[10 empty] | 0.0022 |  |  |  |  | 0.1181 | Assessment
44 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
45 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
46 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
47 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17503 | 17428 | 75 | 7500 | 0.0075 | 18617 | 18480 | 137 | 13700 | 0.0137
49 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 998207 | 998213 | -6 | -266.64 | -0.00026664 | 287 | 293 | -6 | -266.64 | -0.00026664
B.G.ROAD
50 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5629 | 5629 | 0 | 0 | 0 | 30462 | 29995 | 467 | 233500 | 0.2335
51 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3786 | 3786 | 0 | 0 | 0 | 28190 | 27632 | 558 | 279000 | 0.279
52 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6063 | 6037 | 26 | 13000 | 0.013 | 14818 | 14710 | 108 | 54000 | 0.054
53 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 1048 | 1032 | 16 | 10666.6667 | 0.010667 | 848 | 754 | 94 | 62666.6667 | 0.062667
D.M.S.
54 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 993037 | 993037 | 0 | 0 | 0 | 5873 | 5873 | 0 | 0 | 0
55 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7788 | 7788 | 0 | 0 | 0 | 15293 | 15304 | -11 | -1100 | -0.0011
56 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23529 | 23520 | 9 | 900 | 0.0009 | 56117 | 55607 | 510 | 51000 | 0.051
57 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 4490 | 4503 | -13 | -1300 | -0.0013 | 999953 | 999979 | -26 | -2600 | -0.0026
58 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998627 | 998630 | -3 | -300 | -0.0003 | 88 | 102 | -14 | -1400 | -0.0014
59 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | 100 | 172081 | 171015 | 1066 | 106600 | 0.1066 | 49130 | 48852 | 278 | 27800 | 0.0278
61 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 16252 | 16055 | 197 | 19700 | 0.0197 | 64393 | 64119 | 274 | 27400 | 0.0274
62 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 3211 | 2729 | 482 | 48200 | 0.0482 | 1473 | 986 | 487 | 48700 | 0.0487
KASHMIRI GATE
63 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 149356 | 149356 | 0 | 0 | 0 | 21386 | 21853 | -467 | -46700 | -0.0467
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 21595 | 21575 | 20 | 2000 | 0.002 | 44049 | 43391 | 658 | 65800 | 0.0658
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 7 | 2 | 5 | -1500 | -0.0015 | 302 | 238 | 64 | -19200 | -0.0192
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 0 | 0 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
Mundka
68 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 992085 | 992170 | -85 | -68000 | -0.068 | 264 | 269 | -5 | -4000 | -0.004
69 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 989711 | 989641 | 70 | 56000 | 0.056 | 72 | 68 | 4 | 3200 | 0.0032
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -0.1421 |  |  |  |  | 8.1848
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 16927 | 16851 | 76 | -7600 | -0.0076 | 15614 | 15348 | 266 | -26600 | -0.0266
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10527 | 10527 | 0 | 0 | 0 | 7403 | 7405 | -2 | 2000 | 0.002
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3903 | 3903 | 0 | 0 | 0 | 14137 | 12251 | 1886 | -377200 | -0.3772
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15809 | 15809 | 0 | 0 | 0 | 34218 | 33157 | 1061 | -1061000 | -1.061
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 11033 | 11039 | -6 | 600 | 0.0006 | 61500 | 61492 | 8 | -800 | -0.0008
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 944062 | 944178 | -116 | 116000 | 0.116 | 992013 | 992061 | -48 | 48000 | 0.048
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999430 | 999430 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.109 |  |  |  |  | -1.4156
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -0.1421 |  |  |  |  | 8.1848
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.109 |  |  |  |  | -1.4156
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.17177 |  |  |  |  | -0.33334
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 0.13868 |  |  |  |  | 6.4358
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.13868 | (REACTIVE MUs) |  |  |  | 6.4358 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.036612 | (REACTIVE MUs) |  |  |  | -0.12883 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.17529 | (REACTIVE MUs) |  |  |  | 6.307 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JULY-2014
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 993194 | 993194 | 0 | 0 | 0 | 81241 | 79972 | 1269 | 126900 | 0.1269
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 16821 | 16821 | 0 | 0 | 0 | 40984 | 29010 | 11974 | 1197400 | 1.1974
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 600 | 999999 | 999999 | 0 | 0 | 0 | 5659 | 5659 | 0 | 0 | 0
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 2031 | 2031 | 0 | 0 | 0 | 2292 | 2121 | 171 | 17100 | 0.0171
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 10436 | 10436 | 0 | 0 | 0 | 157734 | 152458 | 5276 | 527600 | 0.5276
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 5393 | 5393 | 0 | 0 | 0 | 116807 | 109468 | 7339 | 733900 | 0.7339
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993615 | 993615 | 0 | 0 | 0 | 1023 | 956 | 67 | 67000 | 0.067
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998708 | 998708 | 0 | 0 | 0 | 1819 | 1877 | -58 | -58000 | -0.058
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 699 | 699 | 0 | 0 | 0 | 1385 | 1221 | 164 | 164000 | 0.164
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998707 | 998707 | 0 | 0 | 0 | 2618 | 2648 | -30 | -30000 | -0.03
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999091 | 999100 | -9 | -9000 | -0.009 | 4437 | 4469 | -32 | -32000 | -0.032
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 248 | 249 | -1 | -1000 | -0.001 | 1583 | 1154 | 429 | 429000 | 0.429
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999877 | 999877 | 0 | 0 | 0 | 16636 | 16418 | 218 | 218000 | 0.218
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1551 | 1551 | 0 | 0 | 0 | 37396 | 37171 | 225 | 225000 | 0.225
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 258 | 258 | 0 | 0 | 0 | 26640 | 25492 | 1148 | 1148000 | 1.148
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1471 | 1471 | 0 | 0 | 0 | 9063 | 8766 | 297 | 297000 | 0.297
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 6860 | 6859 | 1 | 100 | 0.0001 | 182 | 93 | 89 | 8900 | 0.0089
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998580 | 998580 | 0 | 0 | 0 | 13711 | 13184 | 527 | 527000 | 0.527
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 730094 | 733171 | -3077 | -3384700 | -3.3847
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 769651 | 773003 | -3352 | -3687200 | -3.6872
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986584 | 986651 | -67 | -67000 | -0.067 | 9112 | 9154 | -42 | -42000 | -0.042
| KASHMIRI GATE | [8 empty] | -0.0769 |  |  |  |  | -4.15
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958251 | 958251 | 0 | 0 | 0 | 952631 | 955910 | -3279 | 3279000 | 3.279
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968856 | 968856 | 0 | 0 | 0 | 957247 | 959011 | -1764 | 1764000 | 1.764
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 7 | 2 | 5 | 1500 | 0.0015 | 302 | 238 | 64 | 19200 | 0.0192
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 140 | 140 | 0 | 0 | 0 | 5267 | 4754 | 513 | 513000 | 0.513
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44254 | 44253 | 1 | -1000 | -0.001 | 973470 | 973467 | 3 | -3000 | -0.003
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23987 | 23987 | 0 | 0 | 0 | 968426 | 968422 | 4 | -4000 | -0.004
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995475 | 995463 | 12 | -12000 | -0.012 | 996584 | 996390 | 194 | -194000 | -0.194
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975610 | 975588 | 22 | -22000 | -0.022 | 992345 | 992090 | 255 | -255000 | -0.255
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3903 | 3903 | 0 | 0 | 0 | 14137 | 12251 | 1886 | 377200 | 0.3772
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15809 | 15809 | 0 | 0 | 0 | 34218 | 33157 | 1061 | 1061000 | 1.061
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 105567 | 106037 | -470 | -47000 | -0.047 | 1602 | 1610 | -8 | -800 | -0.0008
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 133281 | 128685 | 4596 | 459600 | 0.4596 | 4298 | 4032 | 266 | 26600 | 0.0266
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.3022 |  |  |  |  | 5.0361
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.3022 |  |  |  |  | 5.0361
JULY-2014
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991468 | 991475 | -7 | 7000 | 0.007 | 909910 | 911212 | -1302 | 1302000 | 1.302
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12366 | 12363 | 3 | -3000 | -0.003 | 929674 | 931142 | -1468 | 1468000 | 1.468
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992584 | 992602 | -18 | 18000 | 0.018 | 974442 | 975636 | -1194 | 1194000 | 1.194
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 901066 | 901233 | -167 | 167000 | 0.167 | 990386 | 991103 | -717 | 717000 | 0.717
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 889546 | 889725 | -179 | 179000 | 0.179 | 988879 | 989541 | -662 | 662000 | 0.662
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4665 | 4665 | 0 | 0 | 0 | 991361 | 993502 | -2141 | 2141000 | 2.141
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999777 | 999777 | 0 | 0 | 0 | 980749 | 981547 | -798 | 1596000 | 1.596
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999469 | 999469 | 0 | 0 | 0 | 955879 | 959455 | -3576 | 3576000 | 3.576
GEETA COLONY
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999895 | 999983 | -88 | 88000 | 0.088 | 994271 | 998879 | -4608 | 4608000 | 4.608
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962262 | 962278 | -16 | 16000 | 0.016 | 863776 | 865391 | -1615 | 1615000 | 1.615
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21633 | 20997 | 636 | -636000 | -0.636 | 34977 | 34930 | 47 | -47000 | -0.047
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22392 | 22229 | 163 | -163000 | -0.163 | 45144 | 45128 | 16 | -16000 | -0.016
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.327 |  |  |  |  | 18.816
| (B) NET ENERGY TO EAST | [8 empty] | -0.327 |  |  |  |  | 18.816
JULY-2014
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 1947 | 1947 | 0 | 0 | 0 | 55 | 412 | -357 | 142800 | 0.1428
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 2596 | 2596 | 0 | 0 | 0 | 3958 | 3964 | -6 | 3000 | 0.003
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 46092 | 46071 | 21 | -4200 | -0.0042 | 75501 | 74341 | 1160 | -232000 | -0.232
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73722 | 73724 | -2 | 200 | 0.0002 | 139706 | 139807 | -101 | 10100 | 0.0101
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 980948 | 980950 | -2 | 400 | 0.0004 | 431 | 906 | -475 | 95000 | 0.095
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 74477 | 74462 | 15 | -3000 | -0.003 | 91970 | 90349 | 1621 | -324200 | -0.3242
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 7309 | 7278 | 31 | -24800 | -0.0248 | 3107 | 2634 | 473 | -378400 | -0.3784
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13727 | 13727 | 0 | 0 | 0 | 1733 | 1401 | 332 | -664000 | -0.664
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 983109 | 983109 | 0 | 0 | 0 | 991783 | 992144 | -361 | 288800 | 0.2888
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 987571 | 987571 | 0 | 0 | 0 | 991003 | 992063 | -1060 | 848000 | 0.848
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 993777 | 993777 | 0 | 0 | 0 | 996358 | 996746 | -388 | 310400 | 0.3104
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992427 | 992428 | -1 | 1000 | 0.001 | 37420 | 37666 | -246 | 246000 | 0.246
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 993103 | 993104 | -1 | 1333.33 | 0.0013333 | 998783 | 999153 | -370 | 493332.1 | 0.49333
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1764 | 1764 | 0 | 0 | 0 | 22295 | 21905 | 390 | -390000 | -0.39
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 212 | 212 | 0 | 0 | 0 | 2376 | 2101 | 275 | -275000 | -0.275
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1278 | 1282 | -4 | 4000 | 0.004 | 61198 | 61190 | 8 | -8000 | -0.008
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5629 | 5629 | 0 | 0 | 0 | 30462 | 29995 | 467 | -233500 | -0.2335
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3786 | 3786 | 0 | 0 | 0 | 28190 | 27632 | 558 | -279000 | -0.279
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6063 | 6037 | 26 | -13000 | -0.013 | 14818 | 14710 | 108 | -54000 | -0.054
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 1048 | 1032 | 16 | -10666.6667 | -0.010667 | 848 | 754 | 94 | -62666.6667 | -0.062667
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 149356 | 149356 | 0 | 0 | 0 | 21386 | 21853 | -467 | 46700 | 0.0467
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 21595 | 21575 | 20 | -2000 | -0.002 | 44049 | 43391 | 658 | -65800 | -0.0658
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 993037 | 993037 | 0 | 0 | 0 | 5873 | 5873 | 0 | 0 | 0
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7788 | 7788 | 0 | 0 | 0 | 15293 | 15304 | -11 | 1100 | 0.0011
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23529 | 23520 | 9 | -900 | -0.0009 | 56117 | 55607 | 510 | -51000 | -0.051
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 4490 | 4503 | -13 | 1300 | 0.0013 | 999953 | 999979 | -26 | 2600 | 0.0026
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998627 | 998630 | -3 | 300 | 0.0003 | 88 | 102 | -14 | 1400 | 0.0014
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | -100 | 172081 | 171015 | 1066 | -106600 | -0.1066 | 49130 | 48852 | 278 | -27800 | -0.0278
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 16252 | 16055 | 197 | -19700 | -0.0197 | 64393 | 64119 | 274 | -27400 | -0.0274
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 3211 | 2729 | 482 | -48200 | -0.0482 | 1473 | 986 | 487 | -48700 | -0.0487
[10 empty] | -0.22453 |  |  |  |  | -0.63223
JULY-2014
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.3022 |  |  |  |  | 5.0361
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.22453 |  |  |  |  | -0.63223
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.0788 |  |  |  |  | -0.0338
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.0011333 |  |  |  |  | 4.3701
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.327 |  |  |  |  | 18.816
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -0.32813 |  |  |  |  | 23.1861
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.32813 | (REACTIVE MUs) |  |  |  | 23.1861 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.031278 | (REACTIVE MUs) |  |  |  | -0.11006 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.29686 | (REACTIVE MUs) |  |  |  | 23.076 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JULY-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999989 | 999989 | 0 | 0 | 0 | 25 | 19 | 6 | 30000 | 0.03
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 986115 | 986115 | 0 | 0 | 0 | 673203 | 673666 | -463 | -617331.79 | -0.61733
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 500 | 7466 | 7466 | 0 | 0 | 0 | 67599 | 66391 | 1208 | 604000 | 0.604
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12567 | 12567 | 0 | 0 | 0 | 999448 | 999543 | -95 | -95000 | -0.095
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 10671 | 10671 | 0 | 0 | 0 | 130296 | 127986 | 2310 | 231000 | 0.231
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 747693 | 747719 | -26 | -1950 | -0.00195 | 38057 | 43503 | -5446 | -408450 | -0.40845
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 20 | 5417 | 5417 | 0 | 0 | 0 | 445067 | 410354 | 34713 | 694260 | 0.69426
| BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 631 | 0 | 631 | 47325 | 0.047325 | wef 29/07/14
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999157 | 999157 | 0 | 0 | 0 | 998592 | 998592 | 0 | 0 | 0
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 798 | 424 | 374 | -187000 | -0.187 | 996496 | 997341 | -845 | 422500 | 0.4225
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988152 | 987968 | 184 | -184000 | -0.184 | 949049 | 949489 | -440 | 440000 | 0.44
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999948 | 999926 | 22 | -22000 | -0.022 | 996795 | 997647 | -852 | 852000 | 0.852
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992449 | 992436 | 13 | -13000 | -0.013 | 946365 | 947398 | -1033 | 1033000 | 1.033
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987201 | 987203 | -2 | 2000 | 0.002 | 975210 | 976796 | -1586 | 1586000 | 1.586
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25054 | 25053 | 1 | -1000 | -0.001 | 984351 | 984562 | -211 | 211000 | 0.211
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24953 | 24939 | 14 | -14000 | -0.014 | 996708 | 998283 | -1575 | 1575000 | 1.575
NAJAFGARH
17 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1197 | 1115 | 82 | -82000 | -0.082 | 997777 | 998314 | -537 | 537000 | 0.537
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5966 | 5677 | 289 | -289000 | -0.289 | 997899 | 998268 | -369 | 369000 | 0.369
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22332 | 22257 | 75 | -75000 | -0.075 | 4099 | 4752 | -653 | 653000 | 0.653
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3369 | 2885 | 484 | -484000 | -0.484 | 999191 | 998849 | 342 | -342000 | -0.342
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10527 | 10527 | 0 | 0 | 0 | 7403 | 7405 | -2 | -2000 | -0.002
LODHI ROAD
22 | Tx.1 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999042 | 999124 | -82 | 82000 | 0.082 | 992748 | 995255 | -2507 | 2507000 | 2.507
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953332 | 953326 | 6 | -6000 | -0.006 | 847904 | 852275 | -4371 | 4371000 | 4.371
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999438 | 999418 | 20 | -20000 | -0.02 | 969004 | 969788 | -784 | 784000 | 0.784
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995332 | 995338 | -6 | 6000 | 0.006 | 949797 | 951260 | -1463 | 1463000 | 1.463
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995596 | 995596 | 0 | 0 | 0 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8149 | 8165 | -16 | 16000 | 0.016 | 39516 | 39818 | -302 | 302000 | 0.302
28 | Tx.3 (33 KV) | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999997 | 1000009 | -12 | 12000 | 0.012 | 999352 | 999563 | -211 | 211000 | 0.211
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997066 | 997071 | -5 | 5000 | 0.005 | 867699 | 868068 | -369 | 369000 | 0.369
BRPL(+) continue | [14 empty] | JULY-2014
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996300 | 996126 | 174 | -174000 | -0.174 | 972576 | 972595 | -19 | 19000 | 0.019
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997754 | 997685 | 69 | -69000 | -0.069 | 989204 | 989128 | 76 | -76000 | -0.076
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997256 | 997010 | 246 | -492000 | -0.492 | 969894 | 969930 | -36 | 72000 | 0.072
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995001 | 995000 | 1 | -1000 | -0.001 | 912405 | 913557 | -1152 | 1152000 | 1.152
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995069 | 995070 | -1 | 1000 | 0.001 | 927917 | 927947 | -30 | 30000 | 0.03
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998576 | 998575 | 1 | -1000 | -0.001 | 997326 | 998369 | -1043 | 1043000 | 1.043
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989778 | 989807 | -29 | 29000 | 0.029 | 993803 | 994548 | -745 | 745000 | 0.745
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 976874 | 977520 | -646 | 430666.236 | 0.43067 | 980363 | 981322 | -959 | 639332.694 | 0.63933
38 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 975227 | 975285 | -58 | 38666.628 | 0.038667 | 970845 | 971016 | -171 | 113999.886 | 0.114
| Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999849 | 999849 | 0 | 0 | 0 | 548 | 548 | 0 | 0 | 0 | w.e.f 31/07/2014
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2287 | 2287 | 0 | 0 | 0 | 1802 | 1679 | 123 | -246000 | -0.246
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999289 | 999289 | 0 | 0 | 0 | 903 | 797 | 106 | -212000 | -0.212
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 939248 | 939250 | -2 | 2000 | 0.002 | 991730 | 992671 | -941 | 941000 | 0.941
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 949602 | 949654 | -52 | 52000 | 0.052 | 997232 | 997003 | 229 | -229000 | -0.229
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993818 | 993920 | -102 | -81600 | -0.0816 | 1441 | 1416 | 25 | 20000 | 0.02
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 25788 | 25404 | 384 | 307200 | 0.3072 | 1518 | 1394 | 124 | 99200 | 0.0992
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 932157 | 932316 | -159 | -127200 | -0.1272 | 999637 | 999651 | -14 | -11200 | -0.0112
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999430 | 999430 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
PARK STREET
47 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992427 | 992428 | -1 | -1000 | -0.001 | 37420 | 37666 | -246 | -246000 | -0.246
48 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 993103 | 993104 | -1 | -1333.33 | -0.0013333 | 998783 | 999153 | -370 | -493332.1 | -0.49333
SARITA VIHAR
49 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15785 | 15596 | 189 | -189000 | -0.189 | 974337 | 974895 | -558 | 558000 | 0.558
50 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9805 | 9736 | 69 | -69000 | -0.069 | 989266 | 989334 | -68 | 68000 | 0.068
NARAINA
51 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 16927 | 16851 | 76 | 7600 | 0.0076 | 15614 | 15348 | 266 | 26600 | 0.0266
SUDARSHAN PARK
52 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 11033 | 11039 | -6 | -600 | -0.0006 | 61500 | 61492 | 8 | 800 | 0.0008
REWARI LINE
53 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
54 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 944062 | 944178 | -116 | -116000 | -0.116 | 992013 | 992061 | -48 | -48000 | -0.048
A.I.I.M.S.
55 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 394 | 394 | 0 | 0 | 0 | 952 | 817 | 135 | 10125 | 0.010125
56 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 9930 | 9914 | 16 | 1600 | 0.0016 | 25829 | 24587 | 1242 | 124200 | 0.1242
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -1.709 |  |  |  |  | 21.928
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 42222 | 41539 | 683 | -68300 | -0.0683 | 908524 | 905753 | 2771 | -277100 | -0.2771
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 105567 | 106037 | -470 | 47000 | 0.047 | 1602 | 1610 | -8 | 800 | 0.0008
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 133281 | 128685 | 4596 | -459600 | -0.4596 | 4298 | 4032 | 266 | -26600 | -0.0266
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 996357 | 996449 | -92 | 9200 | 0.0092 | 999951 | 999955 | -4 | 400 | 0.0004
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996615 | 996649 | -34 | 3400 | 0.0034 | 999912 | 999913 | -1 | 100 | 0.0001
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1836 | 1783 | 53 | -53000 | -0.053 | 73682 | 73608 | 74 | -74000 | -0.074
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10798 | 9977 | 821 | -821000 | -0.821 | 160 | 153 | 7 | -7000 | -0.007
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 902005 | 902005 | 0 | 0 | 0 | 54637 | 54637 | 0 | 0 | 0
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 15366 | 15452 | -86 | 34400 | 0.0344 | 3270 | 3421 | -151 | 60400 | 0.0604
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 65070 | 64966 | 104 | -10400 | -0.0104 | 62771 | 61643 | 1128 | -112800 | -0.1128
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 63734 | 63704 | 30 | -3000 | -0.003 | 60569 | 58773 | 1796 | -179600 | -0.1796
12 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 85451 | 85395 | 56 | -11200 | -0.0112 | 115853 | 114129 | 1724 | -344800 | -0.3448
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 187 | 187 | 0 | 0 | 0 | 17206 | 17414 | -208 | -104000 | -0.104
14 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.3333 | 3106 | 3106 | 0 | 0 | 0 | 978967 | 979057 | -90 | -7500 | -0.0075
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 988458 | 988765 | -307 | -51166.6667 | -0.051167 | 993182 | 993289 | -107 | -17833.3333 | -0.017833
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 303587 | 303094 | 493 | -49300 | -0.0493 | 47699 | 47236 | 463 | -46300 | -0.0463
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3892 | 3891 | 1 | -100 | -0.0001 | 19390 | 18730 | 660 | -66000 | -0.066
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 2173 | 2172 | 1 | -100 | -0.0001 | 78022 | 78553 | -531 | 53100 | 0.0531 | Metering not in order
[10 empty] | -0.0242 |  |  |  |  | 0.0242 | Assessment
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9412 | 9424 | -12 | 1200 | 0.0012 | 28965 | 29048 | -83 | 8300 | 0.0083
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 10928 | 10882 | 46 | -4600 | -0.0046 | 55609 | 54688 | 921 | -92100 | -0.0921
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 17141 | 16995 | 146 | -14600 | -0.0146 | 58119 | 57494 | 625 | -62500 | -0.0625
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 43026 | 43026 | 0 | 0 | 0 | 21121 | 21121 | 0 | 0 | 0 | Metering not in order
[10 empty] | -0.0022 |  |  |  |  | -0.1181 | Assessment
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17503 | 17428 | 75 | -7500 | -0.0075 | 18617 | 18480 | 137 | -13700 | -0.0137
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 998207 | 998213 | -6 | 266.64 | 0.00026664 | 287 | 293 | -6 | 266.64 | 0.00026664
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 0 | 0 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.4848 |  |  |  |  | -1.4024
JULY-2014
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -1.709 |  |  |  |  | 21.928
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.4848 |  |  |  |  | -1.4024
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.22306 |  |  |  |  | 1.4565
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.1427 |  |  |  |  | -0.187
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -3.1134 |  |  |  |  | 21.7951
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.1134 | (REACTIVE MUs) |  |  |  | 21.7951 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.05472 | (REACTIVE MUs) |  |  |  | -0.19255 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.0587 | (REACTIVE MUs) |  |  |  | 21.6026 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JULY-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 46092 | 46071 | 21 | 4200 | 0.0042 | 75501 | 74341 | 1160 | 232000 | 0.232
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73722 | 73724 | -2 | -200 | -0.0002 | 139706 | 139807 | -101 | -10100 | -0.0101
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 980948 | 980950 | -2 | -400 | -0.0004 | 431 | 906 | -475 | -95000 | -0.095
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 74477 | 74462 | 15 | 3000 | 0.003 | 91970 | 90349 | 1621 | 324200 | 0.3242
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 7309 | 7278 | 31 | 24800 | 0.0248 | 3107 | 2634 | 473 | 378400 | 0.3784
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13727 | 13727 | 0 | 0 | 0 | 1733 | 1401 | 332 | 664000 | 0.664
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 983109 | 983109 | 0 | 0 | 0 | 991783 | 992144 | -361 | -288800 | -0.2888
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 987571 | 987571 | 0 | 0 | 0 | 991003 | 992063 | -1060 | -848000 | -0.848
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 993777 | 993777 | 0 | 0 | 0 | 996358 | 996746 | -388 | -310400 | -0.3104
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999009 | 999009 | 0 | 0 | 0 | 378572 | 372257 | 6315 | 631500 | 0.6315
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6605 | 6605 | 0 | 0 | 0 | 470995 | 470995 | 0 | 0 | 0
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 12880 | 12880 | 0 | 0 | 0 | 361824 | 359166 | 2658 | 265800 | 0.2658
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5279 | 5279 | 0 | 0 | 0 | 361054 | 356136 | 4918 | 491800 | 0.4918
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 997660 | 997660 | 0 | 0 | 0 | 304844 | 301353 | 3491 | 349100 | 0.3491
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 13 | 13 | 0 | 0 | 0 | 189390 | 182512 | 6878 | 687800 | 0.6878
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13432 | 13432 | 0 | 0 | 0 | 259759 | 259759 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 51073 | 51073 | 0 | 0 | 0 | 704427 | 704427 | 0 | 0 | 0
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 84057 | 81351 | 2706 | 2976600 | 2.9766
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2323 | 2319 | 4 | 4000 | 0.004 | 39501 | 39004 | 497 | 497000 | 0.497
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 150102 | 150056 | 46 | 50600 | 0.0506
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6621 | 6646 | -25 | -25000 | -0.025 | 53930 | 53763 | 167 | 167000 | 0.167
[10 empty] | -0.021 |  |  |  |  | 3.6912
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1836 | 1783 | 53 | 53000 | 0.053 | 73682 | 73608 | 74 | 74000 | 0.074
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10798 | 9977 | 821 | 821000 | 0.821 | 160 | 153 | 7 | 7000 | 0.007
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 902005 | 902005 | 0 | 0 | 0 | 54637 | 54637 | 0 | 0 | 0
25 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 15366 | 15452 | -86 | -34400 | -0.0344 | 3270 | 3421 | -151 | -60400 | -0.0604
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 187 | 187 | 0 | 0 | 0 | 17206 | 17414 | -208 | 104000 | 0.104
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 3106 | 3106 | 0 | 0 | 0 | 978967 | 979057 | -90 | 7500 | 0.0075
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 988458 | 988765 | -307 | 51166.6667 | 0.051167 | 993182 | 993289 | -107 | 17833.3333 | 0.017833
JULY-2014
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982834 | 982942 | -108 | 108000 | 0.108 | 980443 | 983179 | -2736 | 2736000 | 2.736
27 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23 | 23 | 0 | 0 | 0 | 44 | 0 | 44 | -44000 | -0.044
ELECTRIC LANE
28 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980744 | 980912 | -168 | 168000 | 0.168 | 985533 | 986750 | -1217 | 1217000 | 1.217
29 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996332 | 996507 | -175 | 175000 | 0.175 | 997350 | 998592 | -1242 | 1242000 | 1.242
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 303587 | 303094 | 493 | 49300 | 0.0493 | 47699 | 47236 | 463 | 46300 | 0.0463
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3892 | 3891 | 1 | 100 | 0.0001 | 19390 | 18730 | 660 | 66000 | 0.066
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 65070 | 64966 | 104 | 10400 | 0.0104 | 62771 | 61643 | 1128 | 112800 | 0.1128
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 63734 | 63704 | 30 | 3000 | 0.003 | 60569 | 58773 | 1796 | 179600 | 0.1796
35 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 85451 | 85395 | 56 | 11200 | 0.0112 | 115853 | 114129 | 1724 | 344800 | 0.3448
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 42222 | 41539 | 683 | 68300 | 0.0683 | 908524 | 905753 | 2771 | 277100 | 0.2771
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 394 | 394 | 0 | 0 | 0 | 952 | 817 | 135 | -10125 | -0.010125
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 9930 | 9914 | 16 | -1600 | -0.0016 | 25829 | 24587 | 1242 | -124200 | -0.1242
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.4929 |  |  |  |  | 12.3567
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 1.4929 |  |  |  |  | 12.3567
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.0065058 |  |  |  |  | -0.022893
| TOTAL ENERGY TO NDMC | [8 empty] | 1.4994 |  |  |  |  | 12.3338

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2014
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1357 | 1357 | 0 | 0 | 0 | 26221 | 25315 | 906 | 906000 | 0.906
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 972 | 972 | 0 | 0 | 0 | 28385 | 27559 | 826 | 826000 | 0.826
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2280 | 2280 | 0 | 0 | 0 | 35532 | 35021 | 511 | 511000 | 0.511
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 894 | 894 | 0 | 0 | 0 | 19445 | 19226 | 219 | 219000 | 0.219
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4179 | 4178 | 1 | 1000 | 0.001 | 10755 | 10670 | 85 | 85000 | 0.085
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 11662 | 11662 | 0 | 0 | 0 | 58664 | 58505 | 159 | 79500 | 0.0795
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 996357 | 996449 | -92 | -9200 | -0.0092 | 999951 | 999955 | -4 | -400 | -0.0004
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996615 | 996649 | -34 | -3400 | -0.0034 | 999912 | 999913 | -1 | -100 | -0.0001
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0116 |  |  |  |  | 2.626
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 48057 | 47012 | 1045 | 104500 | 0.1045 | 75528 | 75212 | 316 | 31600 | 0.0316
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 73756 | 73756 | 0 | 0 | 0 | 12414 | 12298 | 116 | 11600 | 0.0116
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 46524 | 46142 | 382 | 38200 | 0.0382 | 66586 | 65509 | 1077 | 107700 | 0.1077
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 84338 | 84338 | 0 | 0 | 0 | 59525 | 59164 | 361 | 36100 | 0.0361
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 7016 | 6958 | 58 | 5800 | 0.0058 | 2974 | 2917 | 57 | 5700 | 0.0057
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1427 |  |  |  |  | 0.187
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.1427 |  |  |  |  | 0.187
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0116 |  |  |  |  | 2.626
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1311 |  |  |  |  | 2.813
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1311 | (REACTIVE MUs) |  |  |  | 2.813 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0009846 | (REACTIVE MUs) |  |  |  | -0.0034646 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.13208 | (REACTIVE MUs) |  |  |  | 2.8095 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2014
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 1288 | 838 | 450 | 45000 | 0.045 | 1024 | 272 | 752 | 75200 | 0.0752
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 2419 | 2434 | -15 | -1500 | -0.0015 | 999288 | 999152 | 136 | 13600 | 0.0136
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 257888 | 257025 | 863 | 86300 | 0.0863 | 102450 | 101323 | 1127 | 112700 | 0.1127
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 33846 | 33743 | 103 | 96562.5 | 0.096562 | 18895 | 18674 | 221 | 207187.5 | 0.20719
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 985209 | 985209 | 0 | 0 | 0 | 918025 | 920191 | -2166 | 1083000 | 1.083
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989204 | 989204 | 0 | 0 | 0 | 978697 | 978641 | 56 | -28000 | -0.028
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999992 | 1000003 | -11 | -3300 | -0.0033 | 2 | 26 | -24 | -7200 | -0.0072
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.22306 |  |  |  |  | 1.4565
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 927204 | 927345 | -141 | -28200 | -0.0282 | 992244 | 992140 | 104 | 20800 | 0.0208
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 975707 | 975960 | -253 | -50600 | -0.0506 | 999687 | 999960 | -273 | -54600 | -0.0546
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.0788 |  |  |  |  | -0.0338
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 244844 | 244014 | 830 | 166000 | 0.166 | 265230 | 264577 | 653 | 130600 | 0.1306
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 111942 | 112041 | -99 | -19800 | -0.0198 | 42290 | 42087 | 203 | 40600 | 0.0406
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 183872 | 184083 | -211 | -21100 | -0.0211 | 73961 | 73557 | 404 | 40400 | 0.0404
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990441 | 990433 | 8 | 8000 | 0.008 | 998421 | 998447 | -26 | -26000 | -0.026
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 961761 | 961776 | -15 | -1500 | -0.0015 | 7026 | 7053 | -27 | -2700 | -0.0027
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999182 | 999182 | 0 | 0 | 0 | 998236 | 998851 | -615 | -576562.5 | -0.57656
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 985913 | 985972 | -59 | 36875 | 0.036875 | 995418 | 995503 | -85 | 53125 | 0.053125
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999992 | 1000003 | -11 | 3300 | 0.0033 | 2 | 26 | -24 | 7200 | 0.0072
| TOTAL NDPL | [8 empty] | 0.17177 |  |  |  |  | -0.33334
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.22306 |  |  |  |  | 1.4565
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.0788 |  |  |  |  | -0.0338
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.17177 |  |  |  |  | -0.33334

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2014
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 6163 | 6097 | 66 | 132000 | 0.132 | 800 | 844 | -44 | -88000 | -0.088
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 15220 | 15172 | 48 | 96000 | 0.096 | 2233 | 2025 | 208 | 416000 | 0.416
[7 empty] | NET REACTIVE ENERGY |  |  | 0.228 |  | NET REACTIVE ENERGY |  |  | 0.328
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 992457 | 992457 | 0 | 0 | 0 | 38676 | 39090 | -414 | -414000 | -0.414
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 995084 | 995084 | 0 | 0 | 0 | 994191 | 994104 | 87 | 87000 | 0.087
[7 empty] | NET REACTIVE ENERGY |  |  | 0 |  | NET REACTIVE ENERGY |  |  | -0.327
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.228 |  |  |  |  | 0.001
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.0769 |  |  |  |  | -4.15
[7 empty] | NDMC = |  |  | -0.021 |  |  |  |  | 3.6912
MES =
[7 empty] | 2)TOTAL |  |  | -0.0979 |  |  |  |  | -0.4588
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.1301 |  |  |  |  | -0.4578
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.1414 | % |  |  | 0.036612 |  |  |  |  | -0.12883
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.0598 | % |  |  | 0.05472 |  |  |  |  | -0.19255
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.0414 | % |  |  | 0.031278 |  |  |  |  | -0.11006
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.0006 | % |  |  | 0.0065058 |  |  |  |  | -0.022893
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7568 | % |  |  | 0.0009846 |  |  |  |  | -0.0034646
Note :Sharing taken from wk-15 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JULY-2014 TO 31st JULY-2014
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 0.17529 | + | 6.307
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -3.0587 | + | 21.6026
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -0.29686 | + | 23.076
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 1.4994 | + | 12.3338
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.13208 | + | 2.8095
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2014 | INTIAL READING 01/07/2014 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 953235 | 953238 | -3 | -4500 | -0.0045 | 979909 | 980494 | -585 | -877500 | -0.8775
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 995042 | 995216 | -174 | -261000 | -0.261 | 995612 | 995750 | -138 | -207000 | -0.207
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 903744 | 903766 | -22 | -33000 | -0.033 | 964369 | 964866 | -497 | -745500 | -0.7455
| STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 0 | 0 | 0 | 0 | 0 | 999998 | 1000000 | -2 | -1500 | -0.0015 | w.e.f 15/07/2014
[8 empty] | NET REACTIVE ENERGY |  | -0.2985 |  |  | NET REACTIVE ENERGY |  | -1.83
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997874 | 997874 | 0 | 0 | 0 | 30151 | 30556 | -405 | -2025000 | -2.025
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999725 | 999725 | 0 | 0 | 0 | 2024 | 2335 | -311 | -311000 | -0.311
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 974638 | 974638 | 0 | 0 | 0 | 992089 | 990537 | 1552 | 1552000 | 1.552
[8 empty] | NET REACTIVE ENERGY |  | 0 |  |  | NET REACTIVE ENERGY |  | -0.784