## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984416 | 986409 | -1993 | 1993000 | 1.993 | 995942 | 995942 | 0 | 0 | 0
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993597 | 993086 | 511 | -511000 | -0.511 | 996316 | 996316 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996351 | 998760 | -2409 | 2409000 | 2.409 | 996169 | 996169 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974054 | 973618 | 436 | -436000 | -0.436 | 972074 | 972077 | -3 | 3000 | 0.003
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917376 | 916865 | 511 | -511000 | -0.511 | 933748 | 933745 | 3 | -3000 | -0.003
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24081 | 24119 | -38 | 38000 | 0.038 | 17962 | 17962 | 0 | 0 | 0
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9716 | 9887 | -171 | 171000 | 0.171 | 11633 | 11633 | 0 | 0 | 0
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 13951 | 13487 | 464 | -580000 | -0.58 | 994574 | 994574 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3574 | 3907 | -333 | 333000 | 0.333 | 983902 | 983902 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28590 | 28944 | -354 | 354000 | 0.354 | 9032 | 9032 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989851 | 990155 | -304 | 304000 | 0.304 | 3213 | 3213 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988676 | 989396 | -720 | 720000 | 0.72 | 998017 | 998017 | 0 | 0 | 0
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 882474 | 885564 | -3090 | -3090000 | -3.09 | 920488 | 920488 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986577 | 986811 | -234 | 234000 | 0.234 | 16836 | 16836 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000405 | 999603 | 802 | -802000 | -0.802 | 20152 | 20152 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2979 | 1887 | 1092 | -1092000 | -1.092 | 999980 | 999980 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999808 | 999872 | -64 | -12800 | -0.0128 | 986041 | 986082 | -41 | -8200 | -0.0082
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 572 | 615 | -43 | -43000 | -0.043 | 29426 | 29442 | -16 | -16000 | -0.016
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 5200 | 5111 | 89 | 8900 | 0.0089 | 161689 | 161656 | 33 | 3300 | 0.0033
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 24900 | 23217 | 1683 | 168300 | 0.1683 | 240952 | 240931 | 21 | 2100 | 0.0021
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996400 | 996458 | -58 | -58000 | -0.058 | 3472 | 3543 | -71 | -71000 | -0.071
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 503 | 509 | -6 | -6000 | -0.006 | 8151 | 8252 | -101 | -101000 | -0.101
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 636891 | 637231 | -340 | -340000 | -0.34 | 797622 | 797622 | 0 | 0 | 0
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 644464 | 646476 | -2012 | -2012000 | -2.012 | 830705 | 830705 | 0 | 0 | 0
25 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 3901 | 3711 | 190 | 76000 | 0.076 | 999653 | 999653 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 3601 | 3399 | 202 | 101000 | 0.101 | 4170 | 4170 | 0 | 0 | 0
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20178 | 19427 | 751 | -751000 | -0.751 | 981108 | 981108 | 0 | 0 | 0
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7121 | 6208 | 913 | -913000 | -0.913 | 999444 | 999444 | 0 | 0 | 0
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2954 | 1190 | 1764 | -1764000 | -1.764 | 924247 | 924247 | 0 | 0 | 0
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8402 | 6633 | 1769 | -1769000 | -1.769 | 999093 | 999104 | -11 | 11000 | 0.011
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 66433 | 63387 | 3046 | -3046000 | -3.046 | 2586 | 2574 | 12 | -12000 | -0.012
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1910 | 749 | 1161 | -1161000 | -1.161 | 998731 | 998731 | 0 | 0 | 0
33 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3158 | 3158 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
WAZIRPUR
34 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998064 | 998402 | -338 | 338000 | 0.338 | 999993 | 999993 | 0 | 0 | 0
35 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2655 | 1536 | 1119 | -1119000 | -1.119 | 999995 | 999995 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
36 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1956 | 1908 | 48 | 48000 | 0.048 | 23395 | 23395 | 0 | 0 | 0
37 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 393 | 337 | 56 | 56000 | 0.056 | 2825 | 2825 | 0 | 0 | 0
| NDPL(+) continue | [14 empty] | JANUARY-2015
DMS
38 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1169 | 1204 | -35 | -35000 | -0.035 | 61321 | 61321 | 0 | 0 | 0
REWARI LINE
39 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 171796 | 171078 | 718 | 89750 | 0.08975 | 260818 | 260482 | 336 | 42000 | 0.042
VISHAL
40 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9287 | 9282 | 5 | 500 | 0.0005 | 29047 | 29008 | 39 | 3900 | 0.0039
41 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11190 | 11236 | -46 | -4600 | -0.0046 | 58277 | 58533 | -256 | -25600 | -0.0256
42 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 17721 | 17669 | 52 | 5200 | 0.0052 | 61790 | 61597 | 193 | 19300 | 0.0193
S.B.MILL
43 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 5252 | 4955 | 297 | 29700 | 0.0297 | 4214 | 4059 | 155 | 15500 | 0.0155
44 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
45 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
46 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
47 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16977 | 17247 | -270 | -27000 | -0.027 | 19697 | 19583 | 114 | 11400 | 0.0114
49 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 996516 | 996933 | -417 | -18531.48 | -0.018531 | 424 | 505 | -81 | -3599.64 | -0.0035996
B.G.ROAD
50 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5566 | 5626 | -60 | -30000 | -0.03 | 31328 | 31320 | 8 | 4000 | 0.004
51 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3866 | 3862 | 4 | 2000 | 0.002 | 29060 | 29047 | 13 | 6500 | 0.0065
52 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6382 | 6318 | 64 | 32000 | 0.032 | 14891 | 14891 | 0 | 0 | 0
53 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 1504 | 1426 | 78 | 52000 | 0.052 | 935 | 935 | 0 | 0 | 0
D.M.S.
54 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 999290 | 999686 | -396 | -39600 | -0.0396 | 27 | 24 | 3 | 300 | 0.0003
55 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7663 | 7708 | -45 | -4500 | -0.0045 | 15269 | 15271 | -2 | -200 | -0.0002
56 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 24405 | 24582 | -177 | -17700 | -0.0177 | 57143 | 57137 | 6 | 600 | 0.0006
57 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 30/11/2014
58 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998480 | 998530 | -50 | -5000 | -0.005 | 58 | 59 | -1 | -100 | -0.0001
59 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | 100 | 176713 | 176632 | 81 | 8100 | 0.0081 | 51088 | 50455 | 633 | 63300 | 0.0633
61 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 17912 | 17842 | 70 | 7000 | 0.007 | 65306 | 64861 | 445 | 44500 | 0.0445
62 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 6048 | 5967 | 81 | 8100 | 0.0081 | 3127 | 2476 | 651 | 65100 | 0.0651
KASHMIRI GATE
63 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 159576 | 156846 | 2730 | 273000 | 0.273 | 20888 | 20888 | 0 | 0 | 0
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 23467 | 23200 | 267 | 26700 | 0.0267 | 44425 | 44418 | 7 | 700 | 0.0007
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 22 | 22 | 0 | 0 | 0 | 382 | 382 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995592 | 995592 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999989 | 999989 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
Mundka
68 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 983391 | 985954 | -2563 | -2050400 | -2.0504 | 264 | 264 | 0 | 0 | 0
69 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 996231 | 994738 | 1493 | 1194400 | 1.1944 | 73 | 73 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -13.1685 |  |  |  |  | 0.0558
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 18225 | 17776 | 449 | -44900 | -0.0449 | 16152 | 16059 | 93 | -9300 | -0.0093
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11655 | 11199 | 456 | -456000 | -0.456 | 7606 | 7606 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 6182 | 5011 | 1171 | -234200 | -0.2342 | 15099 | 15073 | 26 | -5200 | -0.0052
4 | O/G BG Rd.2 | 4864877 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999391 | 999449 | -58 | 58000 | 0.058 | 936 | 937 | -1 | 1000 | 0.001
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 10428 | 10658 | -230 | 23000 | 0.023 | 61410 | 61411 | -1 | 100 | 0.0001
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 930022 | 932409 | -2387 | 2387000 | 2.387 | 991947 | 991947 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999430 | 999430 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.7329 |  |  |  |  | -0.0134
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -13.1685 |  |  |  |  | 0.0558
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.7329 |  |  |  |  | -0.0134
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.52253 |  |  |  |  | 0.035325
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -10.9131 |  |  |  |  | 0.077725
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -10.9131 | (REACTIVE MUs) |  |  |  | 0.077725 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.52727 | (REACTIVE MUs) |  |  |  | -3.0213 | (REACTIVE MUs)
[9 empty] | TOTAL | -10.3858 | (REACTIVE MUs) |  |  |  | -2.9435 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JANUARY-2015
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37941 | 37956 | -15 | -1500 | -0.0015
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 4545 | 5673 | -1128 | -112800 | -0.1128 | 72753 | 77099 | -4346 | -434600 | -0.4346
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 16069 | 16245 | -176 | -17600 | -0.0176 | 39676 | 39411 | 265 | 26500 | 0.0265
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 600 | 842 | 974 | -132 | -79200 | -0.0792 | 5603 | 5675 | -72 | -43200 | -0.0432
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 1964 | 1964 | 0 | 0 | 0 | 1883 | 1865 | 18 | 1800 | 0.0018
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 15299 | 15518 | -219 | -21900 | -0.0219 | 167587 | 165307 | 2280 | 228000 | 0.228
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 15781 | 16128 | -347 | -34700 | -0.0347 | 122219 | 122775 | -556 | -55600 | -0.0556
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992075 | 992630 | -555 | -555000 | -0.555 | 947 | 947 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998359 | 998453 | -94 | -94000 | -0.094 | 2030 | 2030 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 751 | 600 | 151 | 151000 | 0.151 | 1540 | 1540 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998445 | 998653 | -208 | -208000 | -0.208 | 2688 | 2688 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997659 | 998096 | -437 | -437000 | -0.437 | 4442 | 4442 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 465 | 383 | 82 | 82000 | 0.082 | 2295 | 2293 | 2 | 2000 | 0.002
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999609 | 999806 | -197 | -197000 | -0.197 | 16774 | 16763 | 11 | 11000 | 0.011
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987 | 1185 | -198 | -198000 | -0.198 | 37356 | 37359 | -3 | -3000 | -0.003
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999993 | 1000116 | -123 | -123000 | -0.123 | 27535 | 27536 | -1 | -1000 | -0.001
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1369 | 1421 | -52 | -52000 | -0.052 | 9303 | 9303 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 9275 | 8650 | 625 | 62500 | 0.0625 | 250 | 250 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998376 | 998357 | 19 | 19000 | 0.019 | 14136 | 14136 | 0 | 0 | 0
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 709446 | 713064 | -3618 | -3979800 | -3.9798
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 745315 | 749869 | -4554 | -5009400 | -5.0094
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984856 | 984871 | -15 | -15000 | -0.015 | 9080 | 9080 | 0 | 0 | 0 | Data Available upto 14/01
[10 empty] | -0.016 |  |  |  |  | 0 | Assessment
| KASHMIRI GATE | [8 empty] | -1.5645 |  |  |  |  | -8.9802
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 956877 | 957566 | -689 | 689000 | 0.689 | 949292 | 949292 | 0 | 0 | 0
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966431 | 966904 | -473 | 473000 | 0.473 | 955464 | 955464 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 22 | 22 | 0 | 0 | 0 | 382 | 382 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 471 | 523 | -52 | -52000 | -0.052 | 6081 | 6068 | 13 | 13000 | 0.013
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47089 | 44644 | 2445 | -2445000 | -2.445 | 974200 | 974200 | 0 | 0 | 0
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33355 | 30218 | 3137 | -3137000 | -3.137 | 969805 | 969805 | 0 | 0 | 0
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996690 | 996057 | 633 | -633000 | -0.633 | 995599 | 995811 | -212 | 212000 | 0.212
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974836 | 975140 | -304 | 304000 | 0.304 | 992262 | 992285 | -23 | 23000 | 0.023
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1955 | 1458 | 497 | 994000 | 0.994 | 999790 | 999790 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2084 | 1109 | 975 | 1950000 | 1.95 | 999998 | 999998 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 6182 | 5011 | 1171 | 234200 | 0.2342 | 15099 | 15073 | 26 | 5200 | 0.0052
34 | O/G BG Rd.2 | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999391 | 999449 | -58 | -58000 | -0.058 | 936 | 937 | -1 | -1000 | -0.001
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 99751 | 100399 | -648 | -64800 | -0.0648 | 1595 | 1595 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 151590 | 151871 | -281 | -28100 | -0.0281 | 4530 | 4522 | 8 | 800 | 0.0008
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -3.6204 |  |  |  |  | -9.0058
| (A) NET ENERGY TO CENTRAL | [8 empty] | -3.6204 |  |  |  |  | -9.0058
JANUARY-2015
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984911 | 985206 | -295 | 295000 | 0.295 | 908319 | 908372 | -53 | 53000 | 0.053
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7599 | 7585 | 14 | -14000 | -0.014 | 927641 | 927719 | -78 | 78000 | 0.078
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985183 | 985723 | -540 | 540000 | 0.54 | 973079 | 973132 | -53 | 53000 | 0.053
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996190 | 996164 | 26 | -26000 | -0.026 | 996687 | 996687 | 0 | 0 | 0 | wef 23/12/14
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 896744 | 896151 | 593 | -593000 | -0.593 | 990286 | 990279 | 7 | -7000 | -0.007
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 881729 | 882540 | -811 | 811000 | 0.811 | 988831 | 988831 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5333 | 4785 | 548 | -548000 | -0.548 | 984442 | 984451 | -9 | 9000 | 0.009
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1000121 | 999779 | 342 | -684000 | -0.684 | 976602 | 976698 | -96 | 192000 | 0.192
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998959 | 999017 | -58 | 58000 | 0.058 | 945230 | 945267 | -37 | 37000 | 0.037
GEETA COLONY
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988331 | 989342 | -1011 | 1011000 | 1.011 | 991604 | 991627 | -23 | 23000 | 0.023
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957622 | 957782 | -160 | 160000 | 0.16 | 863161 | 863161 | 0 | 0 | 0
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18890 | 18230 | 660 | -660000 | -0.66 | 34929 | 34929 | 0 | 0 | 0
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22566 | 21789 | 777 | -777000 | -0.777 | 44981 | 44987 | -6 | 6000 | 0.006
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.427 |  |  |  |  | 0.444
| (B) NET ENERGY TO EAST | [8 empty] | -0.427 |  |  |  |  | 0.444
JANUARY-2015
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 3901 | 3711 | 190 | -76000 | -0.076 | 999653 | 999653 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 3601 | 3399 | 202 | -101000 | -0.101 | 4170 | 4170 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 48099 | 47338 | 761 | -152200 | -0.1522 | 77804 | 77704 | 100 | -20000 | -0.02
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 72514 | 72915 | -401 | 40100 | 0.0401 | 139376 | 139408 | -32 | 3200 | 0.0032
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 979458 | 979927 | -469 | 93800 | 0.0938 | 999145 | 999086 | 59 | -11800 | -0.0118
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 77286 | 76230 | 1056 | -211200 | -0.2112 | 95395 | 95260 | 135 | -27000 | -0.027
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 10484 | 9868 | 616 | -492800 | -0.4928 | 4116 | 4120 | -4 | 3200 | 0.0032
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13672 | 13632 | 40 | -80000 | -0.08 | 2256 | 2256 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 981880 | 982323 | -443 | 354400 | 0.3544 | 990795 | 990795 | 0 | 0 | 0
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 983361 | 984945 | -1584 | 1267200 | 1.2672 | 987707 | 987707 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 990684 | 991756 | -1072 | 857600 | 0.8576 | 994828 | 994829 | -1 | 800 | 0.0008
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990349 | 991110 | -761 | 761000 | 0.761 | 36473 | 36473 | 0 | 0 | 0
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 993860 | 994353 | -493 | 657331.69 | 0.65733 | 998577 | 998577 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1956 | 1908 | 48 | -48000 | -0.048 | 23395 | 23395 | 0 | 0 | 0
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 393 | 337 | 56 | -56000 | -0.056 | 2825 | 2825 | 0 | 0 | 0
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1169 | 1204 | -35 | 35000 | 0.035 | 61321 | 61321 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5566 | 5626 | -60 | 30000 | 0.03 | 31328 | 31320 | 8 | -4000 | -0.004
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3866 | 3862 | 4 | -2000 | -0.002 | 29060 | 29047 | 13 | -6500 | -0.0065
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6382 | 6318 | 64 | -32000 | -0.032 | 14891 | 14891 | 0 | 0 | 0
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 1504 | 1426 | 78 | -52000 | -0.052 | 935 | 935 | 0 | 0 | 0
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 159576 | 156846 | 2730 | -273000 | -0.273 | 20888 | 20888 | 0 | 0 | 0
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 23467 | 23200 | 267 | -26700 | -0.0267 | 44425 | 44418 | 7 | -700 | -0.0007
D.M.S.
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 999290 | 999532 | -242 | 24200 | 0.0242 | 27 | 26 | 1 | -100 | -0.0001
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7663 | 7708 | -45 | 4500 | 0.0045 | 15269 | 15271 | -2 | 200 | 0.0002
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 24405 | 24582 | -177 | 17700 | 0.0177 | 57143 | 57137 | 6 | -600 | -0.0006
26 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998480 | 998530 | -50 | 5000 | 0.005 | 58 | 59 | -1 | 100 | 0.0001
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | -100 | 176713 | 176632 | 81 | -8100 | -0.0081 | 51088 | 50455 | 633 | -63300 | -0.0633
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 17912 | 17842 | 70 | -7000 | -0.007 | 65306 | 64861 | 445 | -44500 | -0.0445
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 6048 | 5967 | 81 | -8100 | -0.0081 | 3127 | 2476 | 651 | -65100 | -0.0651
[10 empty] | 2.5217 |  |  |  |  | -0.2361
JANUARY-2015
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -3.6204 |  |  |  |  | -9.0058
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 2.5217 |  |  |  |  | -0.2361
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.7516 |  |  |  |  | 0.006
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.8503 |  |  |  |  | -9.2359
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.427 |  |  |  |  | 0.444
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -2.2773 |  |  |  |  | -8.7919
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.2773 | (REACTIVE MUs) |  |  |  | -8.7919 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.3976 | (REACTIVE MUs) |  |  |  | -2.2783 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.8797 | (REACTIVE MUs) |  |  |  | -11.0702 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JANUARY-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 38 | 45 | -7 | -35000 | -0.035 | 999911 | 999922 | -11 | -55000 | -0.055
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 985100 | 985130 | -30 | -39999.9 | -0.04 | 672953 | 673057 | -104 | -138666.32 | -0.13867
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 500 | 10316 | 10325 | -9 | -4500 | -0.0045 | 69381 | 69014 | 367 | 183500 | 0.1835
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12565 | 12565 | 0 | 0 | 0 | 999914 | 999555 | 359 | 359000 | 0.359
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 13461 | 13418 | 43 | 4300 | 0.0043 | 134750 | 134409 | 341 | 34100 | 0.0341
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 720974 | 723777 | -2803 | -210225 | -0.21022 | 28609 | 30209 | -1600 | -120000 | -0.12
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 997032 | 997176 | -144 | -10800 | -0.0108 | 2071 | 2968 | -897 | -67275 | -0.067275
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999157 | 999157 | 0 | 0 | 0 | 998592 | 998592 | 0 | 0 | 0
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 689 | 251 | 438 | -219000 | -0.219 | 995285 | 995655 | -370 | 185000 | 0.185
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988079 | 987876 | 203 | -203000 | -0.203 | 948417 | 948612 | -195 | 195000 | 0.195
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998370 | 998909 | -539 | 539000 | 0.539 | 996429 | 996525 | -96 | 96000 | 0.096
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990860 | 991393 | -533 | 533000 | 0.533 | 945960 | 946044 | -84 | 84000 | 0.084
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983047 | 984121 | -1074 | 1074000 | 1.074 | 973161 | 973167 | -6 | 6000 | 0.006
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30588 | 28675 | 1913 | -1913000 | -1.913 | 983730 | 983728 | 2 | -2000 | -0.002
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33909 | 30956 | 2953 | -2953000 | -2.953 | 995342 | 995352 | -10 | 10000 | 0.01
NAJAFGARH
17 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4824 | 5015 | -191 | 191000 | 0.191 | 999552 | 999557 | -5 | 5000 | 0.005
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3658 | 5107 | -1449 | 1449000 | 1.449 | 996835 | 996861 | -26 | 26000 | 0.026
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25616 | 26272 | -656 | 656000 | 0.656 | 3192 | 3193 | -1 | 1000 | 0.001
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7114 | 6843 | 271 | -271000 | -0.271 | 998975 | 998980 | -5 | 5000 | 0.005
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11655 | 11199 | 456 | 456000 | 0.456 | 7606 | 7606 | 0 | 0 | 0
LODHI ROAD
22 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998258 | 999420 | -1162 | 1162000 | 1.162 | 999973 | 999981 | -8 | 8000 | 0.008
23 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999930 | 1000000 | -70 | 70000 | 0.07 | 999993 | 1000000 | -7 | 7000 | 0.007
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988 | 77 | 911 | -911000 | -0.911 | 967725 | 967761 | -36 | 36000 | 0.036 | DATA upto 26/01/2015
[10 empty] | -0.175 |  |  |  |  | 0.0069 | Assessment
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990949 | 991863 | -914 | 914000 | 0.914 | 947102 | 947242 | -140 | 140000 | 0.14
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995596 | 995596 | 0 | 0 | 0 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997230 | 997641 | -411 | 411000 | 0.411 | 39203 | 39247 | -44 | 44000 | 0.044
28 | Tx.3 (33 KV) | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999920 | 999561 | 359 | -359000 | -0.359 | 999095 | 999087 | 8 | -8000 | -0.008
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996966 | 996720 | 246 | -246000 | -0.246 | 866972 | 866969 | 3 | -3000 | -0.003
BRPL(+) continue | [14 empty] | JANUARY-2015
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996885 | 996816 | 69 | -69000 | -0.069 | 972498 | 972465 | 33 | -33000 | -0.033
31 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999030 | 998925 | 105 | -105000 | -0.105 | 999973 | 999923 | 50 | -50000 | -0.05
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1000347 | 999822 | 525 | -1050000 | -1.05 | 969837 | 969830 | 7 | -14000 | -0.014
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994540 | 994656 | -116 | 116000 | 0.116 | 910222 | 910253 | -31 | 31000 | 0.031
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994697 | 995028 | -331 | 331000 | 0.331 | 927917 | 927917 | 0 | 0 | 0
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998221 | 998297 | -76 | 76000 | 0.076 | 995155 | 995187 | -32 | 32000 | 0.032
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985605 | 986504 | -899 | 899000 | 0.899 | 988581 | 988659 | -78 | 78000 | 0.078
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 979809 | 979701 | 108 | -71999.928 | -0.072 | 978858 | 978858 | 0 | 0 | 0
38 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 995471 | 996277 | -806 | 2015000 | 2.015 | 501 | 501 | 0 | 0 | 0
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3005 | 2738 | 267 | -534000 | -0.534 | 1930 | 1920 | 10 | -20000 | -0.02
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1000090 | 999804 | 286 | -572000 | -0.572 | 1000 | 994 | 6 | -12000 | -0.012
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 934043 | 934960 | -917 | 917000 | 0.917 | 990421 | 990583 | -162 | 162000 | 0.162
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 942921 | 943980 | -1059 | 1059000 | 1.059 | 994531 | 994648 | -117 | 117000 | 0.117
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993096 | 993096 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 25929 | 25798 | 131 | 104800 | 0.1048 | 1521 | 1521 | 0 | 0 | 0
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 923509 | 926513 | -3004 | -2403200 | -2.4032 | 999636 | 999636 | 0 | 0 | 0
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999430 | 999430 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
PARK STREET
47 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990349 | 991110 | -761 | -761000 | -0.761 | 36473 | 36473 | 0 | 0 | 0
48 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 993860 | 994353 | -493 | -657331.69 | -0.65733 | 998577 | 998577 | 0 | 0 | 0
SARITA VIHAR
49 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22875 | 21932 | 943 | -943000 | -0.943 | 973859 | 973864 | -5 | 5000 | 0.005
50 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14154 | 11685 | 2469 | -2469000 | -2.469 | 989220 | 989220 | 0 | 0 | 0
NARAINA
51 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 18225 | 17776 | 449 | 44900 | 0.0449 | 16152 | 16059 | 93 | 9300 | 0.0093
SUDARSHAN PARK
52 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 10428 | 10658 | -230 | -23000 | -0.023 | 61410 | 61411 | -1 | -100 | -0.0001
REWARI LINE
53 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
54 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 930022 | 932409 | -2387 | -2387000 | -2.387 | 991947 | 991947 | 0 | 0 | 0
A.I.I.M.S.
55 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 985 | 583 | 402 | 30150 | 0.03015 | 1954 | 1954 | 0 | 0 | 0
56 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 11930 | 11677 | 253 | 25300 | 0.0253 | 26588 | 26588 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -6.5186 |  |  |  |  | 1.3428
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2015
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 58984 | 54625 | 4359 | -435900 | -0.4359 | 909270 | 909270 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 99751 | 100399 | -648 | 64800 | 0.0648 | 1595 | 1595 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 151590 | 151871 | -281 | 28100 | 0.0281 | 4530 | 4522 | 8 | -800 | -0.0008
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995245 | 995385 | -140 | 14000 | 0.014 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996318 | 996361 | -43 | 4300 | 0.0043 | 999911 | 999911 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3559 | 3446 | 113 | -113000 | -0.113 | 73763 | 73763 | 0 | 0 | 0
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14304 | 14102 | 202 | -202000 | -0.202 | 170 | 170 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 905237 | 904900 | 337 | -168500 | -0.1685 | 54662 | 54657 | 5 | -2500 | -0.0025
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 7370 | 9372 | -2002 | 800800 | 0.8008 | 3081 | 3081 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 70999 | 69444 | 1555 | -155500 | -0.1555 | 65464 | 65457 | 7 | -700 | -0.0007
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 71116 | 68902 | 2214 | -221400 | -0.2214 | 63756 | 63756 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -200 | 1000612 | 999978 | 634 | -126800 | -0.1268 | 8 | 6 | 2 | -400 | -0.0004
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 169 | 169 | 0 | 0 | 0 | 17120 | 17120 | 0 | 0 | 0
14 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.33 | 2852 | 2852 | 0 | 0 | 0 | 978921 | 978921 | 0 | 0 | 0
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987618 | 987618 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 328833 | 323706 | 5127 | -512700 | -0.5127 | 48566 | 48566 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3870 | 3872 | -2 | 200 | 0.0002 | 21460 | 21307 | 153 | -15300 | -0.0153
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 171796 | 171078 | 718 | -89750 | -0.08975 | 260818 | 260482 | 336 | -42000 | -0.042
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9287 | 9282 | 5 | -500 | -0.0005 | 29047 | 29008 | 39 | -3900 | -0.0039
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11190 | 11236 | -46 | 4600 | 0.0046 | 58277 | 58533 | -256 | 25600 | 0.0256
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 17721 | 17669 | 52 | -5200 | -0.0052 | 61790 | 61597 | 193 | -19300 | -0.0193
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 5252 | 4955 | 297 | -29700 | -0.0297 | 4214 | 4059 | 155 | -15500 | -0.0155
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16977 | 17247 | -270 | 27000 | 0.027 | 19697 | 19583 | 114 | -11400 | -0.0114
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 996516 | 996933 | -417 | 18531.48 | 0.018531 | 424 | 505 | -81 | 3599.64 | 0.0035996
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995592 | 995592 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999989 | 999989 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.0986 |  |  |  |  | -0.0826
JANUARY-2015
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -6.5186 |  |  |  |  | 1.3428
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.0986 |  |  |  |  | -0.0826
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.75714 |  |  |  |  | 0.20102
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0668 |  |  |  |  | -0.0525
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -6.9269 |  |  |  |  | 1.4087
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -6.9269 | (REACTIVE MUs) |  |  |  | 1.4087 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.74335 | (REACTIVE MUs) |  |  |  | -4.2594 | (REACTIVE MUs)
[9 empty] | TOTAL | -6.1835 | (REACTIVE MUs) |  |  |  | -2.8507 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2015
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 48099 | 47338 | 761 | 152200 | 0.1522 | 77804 | 77704 | 100 | 20000 | 0.02
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 72514 | 72915 | -401 | -40100 | -0.0401 | 139376 | 139408 | -32 | -3200 | -0.0032
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 979458 | 979927 | -469 | -93800 | -0.0938 | 999145 | 999086 | 59 | 11800 | 0.0118
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 77286 | 76230 | 1056 | 211200 | 0.2112 | 95395 | 95260 | 135 | 27000 | 0.027
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 10484 | 9868 | 616 | 492800 | 0.4928 | 4116 | 4120 | -4 | -3200 | -0.0032
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13672 | 13632 | 40 | 80000 | 0.08 | 2256 | 2256 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 981880 | 982323 | -443 | -354400 | -0.3544 | 990795 | 990795 | 0 | 0 | 0
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 983361 | 984945 | -1584 | -1267200 | -1.2672 | 987707 | 987707 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 990684 | 991756 | -1072 | -857600 | -0.8576 | 994828 | 994829 | -1 | -800 | -0.0008
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998210 | 998266 | -56 | -5600 | -0.0056 | 386764 | 385304 | 1460 | 146000 | 0.146
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6605 | 6605 | 0 | 0 | 0 | 470995 | 470995 | 0 | 0 | 0
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 16222 | 16222 | 0 | 0 | 0 | 369528 | 367855 | 1673 | 167300 | 0.1673
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 2450 | 2670 | -220 | -22000 | -0.022 | 362917 | 363738 | -821 | -82100 | -0.0821
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 995869 | 995952 | -83 | -8300 | -0.0083 | 308903 | 308661 | 242 | 24200 | 0.0242
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 1513 | 1473 | 40 | 4000 | 0.004 | 194032 | 191275 | 2757 | 275700 | 0.2757
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 12750 | 13110 | -360 | -36000 | -0.036 | 258968 | 259359 | -391 | -39100 | -0.0391
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 54255 | 53902 | 353 | 35300 | 0.0353 | 707332 | 706071 | 1261 | 126100 | 0.1261
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 89667 | 90104 | -437 | -480700 | -0.4807
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1742 | 2105 | -363 | -363000 | -0.363 | 39868 | 39867 | 1 | 1000 | 0.001
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 148366 | 149119 | -753 | -828300 | -0.8283
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4657 | 5369 | -712 | -712000 | -0.712 | 54070 | 54070 | 0 | 0 | 0
[10 empty] | -1.075 |  |  |  |  | -1.308
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3559 | 3446 | 113 | 113000 | 0.113 | 73763 | 73763 | 0 | 0 | 0
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14304 | 14102 | 202 | 202000 | 0.202 | 170 | 170 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 905237 | 904900 | 337 | 168500 | 0.1685 | 54662 | 54657 | 5 | 2500 | 0.0025
25 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 7370 | 9372 | -2002 | -800800 | -0.8008 | 3081 | 3081 | 0 | 0 | 0
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 169 | 169 | 0 | 0 | 0 | 17120 | 17120 | 0 | 0 | 0
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 2852 | 2852 | 0 | 0 | 0 | 978921 | 978921 | 0 | 0 | 0
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987618 | 987618 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
JANUARY-2015
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972487 | 975123 | -2636 | 2636000 | 2.636 | 978507 | 978508 | -1 | 1000 | 0.001
27 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23 | 23 | 0 | 0 | 0 | 44 | 44 | 0 | 0 | 0
ELECTRIC LANE
28 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975970 | 976694 | -724 | 724000 | 0.724 | 984585 | 984585 | 0 | 0 | 0
29 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991369 | 992123 | -754 | 754000 | 0.754 | 996400 | 996400 | 0 | 0 | 0
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 328833 | 323706 | 5127 | 512700 | 0.5127 | 48566 | 48566 | 0 | 0 | 0
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3870 | 3872 | -2 | -200 | -0.0002 | 21460 | 21307 | 153 | 15300 | 0.0153
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 70999 | 69444 | 1555 | 155500 | 0.1555 | 65464 | 65457 | 7 | 700 | 0.0007
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 71116 | 68902 | 2214 | 221400 | 0.2214 | 63756 | 63756 | 0 | 0 | 0
35 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000612 | 999978 | 634 | 63400 | 0.0634 | 8 | 6 | 2 | 200 | 0.0002
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 58984 | 54625 | 4359 | 435900 | 0.4359 | 909270 | 909270 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 985 | 583 | 402 | -30150 | -0.03015 | 1954 | 1954 | 0 | 0 | 0
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 11930 | 11677 | 253 | -25300 | -0.0253 | 26588 | 26588 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.3454 |  |  |  |  | -0.6186
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 2.3454 |  |  |  |  | -0.6186
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.098548 |  |  |  |  | -0.56468
| TOTAL ENERGY TO NDMC | [8 empty] | 2.444 |  |  |  |  | -1.1833

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2015
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1901 | 1635 | 266 | 266000 | 0.266 | 27665 | 27634 | 31 | 31000 | 0.031
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1268 | 1137 | 131 | 131000 | 0.131 | 29164 | 29145 | 19 | 19000 | 0.019
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3207 | 2772 | 435 | 435000 | 0.435 | 36277 | 36254 | 23 | 23000 | 0.023
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1066 | 965 | 101 | 101000 | 0.101 | 20427 | 20420 | 7 | 7000 | 0.007
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4709 | 4733 | -24 | -24000 | -0.024 | 10879 | 10879 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12112 | 11650 | 462 | 231000 | 0.231 | 59141 | 59060 | 81 | 40500 | 0.0405
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995245 | 995385 | -140 | -14000 | -0.014 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996318 | 996361 | -43 | -4300 | -0.0043 | 999911 | 999911 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 1.1217 |  |  |  |  | 0.1205
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 53244 | 53244 | 0 | 0 | 0 | 76653 | 76653 | 0 | 0 | 0
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 74884 | 74389 | 495 | 49500 | 0.0495 | 13009 | 12991 | 18 | 1800 | 0.0018
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 51465 | 51291 | 174 | 17400 | 0.0174 | 67799 | 67291 | 508 | 50800 | 0.0508
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865074 | ELSTER | Kvarh(Lead/Lag) | 100 | 7703 | 7704 | -1 | -100 | -0.0001 | 10254 | 10255 | -1 | -100 | -0.0001 | Check Meter Data Used
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9371 | 9371 | 0 | 0 | 0 | 3035 | 3035 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0668 |  |  |  |  | 0.0525
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0668 |  |  |  |  | 0.0525
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 1.1217 |  |  |  |  | 0.1205
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 1.1885 |  |  |  |  | 0.173
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.1885 | (REACTIVE MUs) |  |  |  | 0.173 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.023961 | (REACTIVE MUs) |  |  |  | -0.1373 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.2125 | (REACTIVE MUs) |  |  |  | 0.035704 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2015
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 8322 | 6633 | 1689 | 168900 | 0.1689 | 1704 | 1684 | 20 | 2000 | 0.002
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 1826 | 3283 | -1457 | -145700 | -0.1457 | 999117 | 999129 | -12 | -1200 | -0.0012
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 278231 | 276301 | 1930 | 193000 | 0.193 | 102980 | 102908 | 72 | 7200 | 0.0072
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 37678 | 37221 | 457 | 428437.5 | 0.42844 | 19119 | 19113 | 6 | 5625 | 0.005625
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 984798 | 984930 | -132 | 66000 | 0.066 | 913726 | 913935 | -209 | 104500 | 0.1045
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989019 | 989112 | -93 | 46500 | 0.0465 | 978147 | 978299 | -152 | 76000 | 0.076
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 10 | 10 | 0 | 0 | 0 | 40 | 17 | 23 | 6900 | 0.0069
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.75714 |  |  |  |  | 0.20102
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864809 | ELSTER | Kvarh(Lead/Lag) | 200 | 928300 | 929007 | -707 | -141400 | -0.1414 | 989950 | 989925 | 25 | 5000 | 0.005 | Check meter Data Used
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 955485 | 958536 | -3051 | -610200 | -0.6102 | 999409 | 999404 | 5 | 1000 | 0.001
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.7516 |  |  |  |  | 0.006
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 259378 | 258145 | 1233 | 246600 | 0.2466 | 265587 | 265534 | 53 | 10600 | 0.0106
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 118912 | 117542 | 1370 | 274000 | 0.274 | 42577 | 42458 | 119 | 23800 | 0.0238
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 196458 | 194086 | 2372 | 237200 | 0.2372 | 74519 | 74292 | 227 | 22700 | 0.0227
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999649 | 999748 | -99 | -99000 | -0.099 | 0 | 0 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 956957 | 958151 | -1194 | -119400 | -0.1194 | 6914 | 6919 | -5 | -500 | -0.0005
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999063 | 999139 | -76 | -71250 | -0.07125 | 997397 | 997413 | -16 | -15000 | -0.015
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 985470 | 985557 | -87 | 54375 | 0.054375 | 995392 | 995393 | -1 | 625 | 0.000625
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 10 | 10 | 0 | 0 | 0 | 40 | 17 | 23 | -6900 | -0.0069
| TOTAL NDPL | [8 empty] | 0.52253 |  |  |  |  | 0.035325
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.75714 |  |  |  |  | 0.20102
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.7516 |  |  |  |  | 0.006
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.52253 |  |  |  |  | 0.035325

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2015
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 13345 | 10483 | 2862 | 5724000 | 5.724 | 804 | 804 | 0 | 0 | 0
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 16701 | 17147 | -446 | -892000 | -0.892 | 2292 | 2292 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 4.832 |  | NET REACTIVE ENERGY |  |  | 0
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 992987 | 993093 | -106 | -106000 | -0.106 | 38627 | 38627 | 0 | 0 | 0
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 995832 | 996123 | -291 | -291000 | -0.291 | 993895 | 993895 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | -0.397 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 4.435 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.5645 |  |  |  |  | -8.9802
[7 empty] | NDMC = |  |  | -1.075 |  |  |  |  | -1.308
MES =
[7 empty] | 2)TOTAL |  |  | -2.6395 |  |  |  |  | -10.2882
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.7955 |  |  |  |  | -10.2882
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.3664 | % |  |  | 0.52727 |  |  |  |  | -3.0213
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.401 | % |  |  | 0.74335 |  |  |  |  | -4.2594
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.1445 | % |  |  | 0.3976 |  |  |  |  | -2.2783
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.4886 | % |  |  | 0.098548 |  |  |  |  | -0.56468
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.3345 | % |  |  | 0.023961 |  |  |  |  | -0.1373
Note :Sharing taken from wk-42 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st January-2015 TO 1st February-2015
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -10.3858 |  | -2.9435
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -6.1835 |  | -2.8507
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -1.8797 |  | -11.0702
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 2.444 |  | -1.1833
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 1.2125 | + | 0.035704
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2015 | INTIAL READING 01/01/2015 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 952148 | 952431 | -283 | -424500 | -0.4245 | 979525 | 979525 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 990845 | 991652 | -807 | -1210500 | -1.2105 | 995425 | 995425 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 978947 | 982389 | -3442 | -2581500 | -2.5815 | 999331 | 999331 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -4.2165 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997882 | 997882 | 0 | 0 | 0 | 27840 | 27986 | -146 | -730000 | -0.73
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999729 | 999729 | 0 | 0 | 0 | 999606 | 999778 | -172 | -172000 | -0.172
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 976601 | 976342 | 259 | 259000 | 0.259 | 991472 | 991307 | 165 | 165000 | 0.165
[8 empty] | NET REACTIVE ENERGY |  | 0.259 |  |  | NET REACTIVE ENERGY |  | -0.737