## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11539 | 12501 | -962 | 962000 | 0.962 | 978138 | 978138 | 0 | 0 | 0
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 385 | 304 | 81 | -81000 | -0.081 | 999415 | 999418 | -3 | 3000 | 0.003
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15066 | 15563 | -497 | 497000 | 0.497 | 996385 | 996385 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976560 | 975767 | 793 | -793000 | -0.793 | 977886 | 977886 | 0 | 0 | 0
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919934 | 920291 | -357 | 357000 | 0.357 | 946538 | 946562 | -24 | 24000 | 0.024
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18688 | 18593 | 95 | -95000 | -0.095 | 17385 | 17386 | -1 | 1000 | 0.001
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19418 | 19349 | 69 | -69000 | -0.069 | 13350 | 13351 | -1 | 1000 | 0.001
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 17512 | 16806 | 706 | -882500 | -0.8825 | 996521 | 996521 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14622 | 14197 | 425 | -425000 | -0.425 | 986581 | 986581 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31675 | 31666 | 9 | -9000 | -0.009 | 9655 | 9657 | -2 | 2000 | 0.002
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997560 | 997594 | -34 | 34000 | 0.034 | 4077 | 4077 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996226 | 996059 | 167 | -167000 | -0.167 | 999732 | 999744 | -12 | 12000 | 0.012
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 933493 | 935800 | -2307 | -2307000 | -2.307 | 920532 | 920532 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995806 | 995835 | -29 | 29000 | 0.029 | 16940 | 16940 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000121 | 999562 | 559 | -559000 | -0.559 | 19631 | 19631 | 0 | 0 | 0 | ROLL OVER
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 372 | 389 | -17 | 17000 | 0.017 | 20130 | 20145 | -15 | 15000 | 0.015
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999526 | 999526 | 0 | 0 | 0 | 27829 | 27455 | 374 | 374000 | 0.374
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 230 | 230 | 0 | 0 | 0 | 29778 | 28955 | 823 | 823000 | 0.823
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2372 | 2373 | -1 | -100 | -0.0001 | 137863 | 137082 | 781 | 78100 | 0.0781
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4427 | 4415 | 12 | 1200 | 0.0012 | 209569 | 205875 | 3694 | 369400 | 0.3694
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996027 | 996027 | 0 | 0 | 0 | 999357 | 999439 | -82 | -82000 | -0.082
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999916 | 999916 | 0 | 0 | 0 | 6778 | 6518 | 260 | 260000 | 0.26
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 648930 | 649901 | -971 | -971000 | -0.971 | 800177 | 800179 | -2 | -2000 | -0.002
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 658263 | 658593 | -330 | -330000 | -0.33 | 833096 | 833096 | 0 | 0 | 0
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992051 | 991969 | 82 | 82000 | 0.082 | 998292 | 998292 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 725 | 612 | 113 | 56500 | 0.0565 | 176 | 163 | 13 | 6500 | 0.0065
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11519 | 11355 | 164 | -164000 | -0.164 | 981967 | 981968 | -1 | 1000 | 0.001
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2899 | 2854 | 45 | -45000 | -0.045 | 948165 | 948166 | -1 | 1000 | 0.001 | reading taken upto 14/01/13
28 | Tx.2 | 4865031 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2874 | 2868 | 6 | -6000 | -0.006 | 956137 | 956137 | 0 | 0 | 0 | Check meter used from 14/1/13 to 17/1/13
28 | Tx.2 | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 91 | 0 | 91 | -91000 | -0.091 | 999999 | 999999 | 0 | 0 | 0 | installed on 17/01/13
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991830 | 991620 | 210 | -210000 | -0.21 | 928000 | 928035 | -35 | 35000 | 0.035
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999381 | 999166 | 215 | -215000 | -0.215 | 999958 | 999958 | 0 | 0 | 0
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29777 | 28059 | 1718 | -1718000 | -1.718 | 999916 | 999924 | -8 | 8000 | 0.008
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1302 | 1292 | 10 | 10000 | 0.01 | 17874 | 17755 | 119 | 119000 | 0.119
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 163 | 184 | -21 | -21000 | -0.021 | 3109 | 3125 | -16 | -16000 | -0.016
| NDPL(+) continue | [14 empty] | JANUARY-2013
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1309 | 1322 | -13 | -13000 | -0.013 | 59780 | 59781 | -1 | -1000 | -0.001
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 997409 | 997979 | -570 | -57000 | -0.057 | 68678 | 68007 | 671 | 67100 | 0.0671
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 8997 | 8991 | 6 | 600 | 0.0006 | 26368 | 25555 | 813 | 81300 | 0.0813
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9724 | 9720 | 4 | 400 | 0.0004 | 37069 | 36230 | 839 | 83900 | 0.0839
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 14222 | 14116 | 106 | 10600 | 0.0106 | 49579 | 49110 | 469 | 46900 | 0.0469
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 38250 | 37671 | 579 | 57900 | 0.0579 | 12846 | 12837 | 9 | 900 | 0.0009
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17050 | 17076 | -26 | -2600 | -0.0026 | 12222 | 12218 | 4 | 400 | 0.0004
45 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997673 | 997672 | 1 | 100 | 0.0001 | 2623 | 2622 | 1 | 100 | 0.0001
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5244 | 5219 | 25 | 12500 | 0.0125 | 26084 | 25962 | 122 | 61000 | 0.061
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3388 | 3368 | 20 | 10000 | 0.01 | 23962 | 23893 | 69 | 34500 | 0.0345
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 4077 | 4026 | 51 | 25500 | 0.0255 | 14084 | 14083 | 1 | 500 | 0.0005
49 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 4325 | 4247 | 78 | 39000 | 0.039 | 16780 | 16779 | 1 | 500 | 0.0005
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 996955 | 997420 | -465 | -46500 | -0.0465 | 6038 | 6046 | -8 | -800 | -0.0008
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7907 | 7887 | 20 | 2000 | 0.002 | 14935 | 14932 | 3 | 300 | 0.0003
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 17647 | 17250 | 397 | 39700 | 0.0397 | 50665 | 50657 | 8 | 800 | 0.0008
53 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 2580 | 2663 | -83 | -8300 | -0.0083 | 999999 | 1000000 | -1 | -100 | -0.0001 | ROLL OVER
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999072 | 999120 | -48 | -4800 | -0.0048 | 215 | 217 | -2 | -200 | -0.0002
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 8296 | 8260 | 36 | 3600 | 0.0036 | 68727 | 68351 | 376 | 37600 | 0.0376
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 7337 | 7295 | 42 | 4200 | 0.0042 | 58951 | 58634 | 317 | 31700 | 0.0317
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 8593 | 8552 | 41 | 4100 | 0.0041 | 84849 | 84454 | 395 | 39500 | 0.0395
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 123564 | 121977 | 1587 | 158700 | 0.1587 | 28855 | 28824 | 31 | 3100 | 0.0031
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 18415 | 18093 | 322 | 32200 | 0.0322 | 38519 | 38506 | 13 | 1300 | 0.0013
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 41 | 41 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995588 | 995588 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999273 | 999273 | 0 | 0 | 0 | 999397 | 999397 | 0 | 0 | 0
Mundka
64 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 997078 | 998367 | -1289 | -1031200 | -1.0312 | 336 | 336 | 0 | 0 | 0
MANGOLPURI
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -7.8752 |  |  |  |  | 2.5223
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 9079 | 8860 | 219 | -21900 | -0.0219 | 12534 | 12129 | 405 | -40500 | -0.0405
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7700 | 7602 | 98 | -98000 | -0.098 | 6851 | 6850 | 1 | -1000 | -0.001
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3825 | 3810 | 15 | -3000 | -0.003 | 2354 | 2263 | 91 | -18200 | -0.0182
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13812 | 13707 | 105 | -105000 | -0.105 | 27627 | 27582 | 45 | -45000 | -0.045
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 35931 | 36500 | -569 | 56900 | 0.0569 | 146986 | 146971 | 15 | -1500 | -0.0015
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963316 | 964194 | -878 | 878000 | 0.878 | 992480 | 992481 | -1 | 1000 | 0.001
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999534 | 999534 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.707 |  |  |  |  | -0.1052
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -7.8752 |  |  |  |  | 2.5223
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.707 |  |  |  |  | -0.1052
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.5542 |  |  |  |  | -0.0075
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -5.614 |  |  |  |  | 2.4096
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.614 | (REACTIVE MUs) |  |  |  | 2.4096 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.27365 | (REACTIVE MUs) |  |  |  | -2.523 | (REACTIVE MUs)
[9 empty] | TOTAL | -5.8876 | (REACTIVE MUs) |  |  |  | -0.11341 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JANUARY-2013
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988359 | 988308 | 51 | 5100 | 0.0051 | 53493 | 55042 | -1549 | -154900 | -0.1549
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 16093 | 16511 | -418 | -41800 | -0.0418 | 11465 | 10927 | 538 | 53800 | 0.0538
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 21502 | 21838 | -336 | -33600 | -0.0336 | 17418 | 17092 | 326 | 32600 | 0.0326
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 997773 | 998093 | -320 | -32000 | -0.032 | 5509 | 5686 | -177 | -17700 | -0.0177
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8949 | 9164 | -215 | -21500 | -0.0215 | 103892 | 103001 | 891 | 89100 | 0.0891
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 758 | 834 | -76 | -7600 | -0.0076 | 57444 | 58360 | -916 | -91600 | -0.0916
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998939 | 999150 | -211 | -211000 | -0.211 | 370 | 370 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999730 | 999758 | -28 | -28000 | -0.028 | 2194 | 2194 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 681 | 533 | 148 | 148000 | 0.148 | 1475 | 1475 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 174 | 300 | -126 | -126000 | -0.126 | 2860 | 2860 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999133 | 999265 | -132 | -132000 | -0.132 | 3106 | 3106 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 395 | 449 | -54 | -54000 | -0.054 | 127 | 128 | -1 | -1000 | -0.001
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 154 | 184 | -30 | -30000 | -0.03 | 15110 | 15113 | -3 | -3000 | -0.003
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 318 | 322 | -4 | -4000 | -0.004 | 35889 | 35889 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 264 | 264 | 0 | 0 | 0 | 18512 | 18164 | 348 | 348000 | 0.348
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 459 | 385 | 74 | 74000 | 0.074 | 6222 | 6222 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 36267 | 35211 | 1056 | 105600 | 0.1056 | 636 | 636 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998427 | 998410 | 17 | 17000 | 0.017 | 10525 | 10505 | 20 | 20000 | 0.02
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 791949 | 796018 | -4069 | -4475900 | -4.4759
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 836003 | 839215 | -3212 | -3533200 | -3.5332
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989957 | 990086 | -129 | -129000 | -0.129 | 9600 | 9641 | -41 | -41000 | -0.041
| KASHMIRI GATE | [8 empty] | -0.3694 |  |  |  |  | -7.6861
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963436 | 963842 | -406 | 406000 | 0.406 | 974392 | 974433 | -41 | 41000 | 0.041
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978409 | 979146 | -737 | 737000 | 0.737 | 973361 | 973421 | -60 | 60000 | 0.06
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 41 | 41 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 53 | 52 | 1 | 1000 | 0.001 | 994 | 519 | 475 | 475000 | 0.475
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23005 | 21947 | 1058 | -1058000 | -1.058 | 973065 | 972776 | 289 | -289000 | -0.289
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8291 | 8085 | 206 | -206000 | -0.206 | 972470 | 972293 | 177 | -177000 | -0.177
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998175 | 998350 | -175 | 175000 | 0.175 | 999758 | 999722 | 36 | -36000 | -0.036
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982595 | 982816 | -221 | 221000 | 0.221 | 994734 | 994819 | -85 | 85000 | 0.085
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3825 | 3810 | 15 | 3000 | 0.003 | 2354 | 2263 | 91 | 18200 | 0.0182
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13812 | 13707 | 105 | 105000 | 0.105 | 27627 | 27582 | 45 | 45000 | 0.045
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 109825 | 109013 | 812 | 81200 | 0.0812 | 1623 | 1623 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 67236 | 67638 | -402 | -40200 | -0.0402 | 131 | 131 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.0758 |  |  |  |  | -7.5526
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.0758 |  |  |  |  | -7.5526
JANUARY-2013
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996004 | 996092 | -88 | 88000 | 0.088 | 931396 | 931821 | -425 | 425000 | 0.425
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14737 | 14702 | 35 | -35000 | -0.035 | 950486 | 951099 | -613 | 613000 | 0.613
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998675 | 998892 | -217 | 217000 | 0.217 | 995149 | 995617 | -468 | 468000 | 0.468
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 935502 | 937464 | -1962 | 1962000 | 1.962 | 993112 | 993117 | -5 | 5000 | 0.005
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 925586 | 927674 | -2088 | 2088000 | 2.088 | 991448 | 991449 | -1 | 1000 | 0.001
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 527 | 426 | 101 | -101000 | -0.101 | 992859 | 993034 | -175 | 175000 | 0.175
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998728 | 998625 | 103 | -206000 | -0.206 | 987939 | 988095 | -156 | 312000 | 0.312
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999370 | 999527 | -157 | 157000 | 0.157 | 970324 | 970795 | -471 | 471000 | 0.471
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10670 | 10699 | -29 | 29000 | 0.029 | 947811 | 948010 | -199 | 199000 | 0.199
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964369 | 964915 | -546 | 546000 | 0.546 | 878148 | 878411 | -263 | 263000 | 0.263
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21599 | 21419 | 180 | -180000 | -0.18 | 31435 | 31548 | -113 | 113000 | 0.113
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19876 | 19579 | 297 | -297000 | -0.297 | 40343 | 40450 | -107 | 107000 | 0.107
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 4.268 |  |  |  |  | 3.152
| (B) NET ENERGY TO EAST | [8 empty] | 4.268 |  |  |  |  | 3.152
JANUARY-2013
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992051 | 991969 | 82 | -82000 | -0.082 | 998292 | 998292 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 725 | 612 | 113 | -56500 | -0.0565 | 176 | 163 | 13 | -6500 | -0.0065
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 38185 | 38024 | 161 | -32200 | -0.0322 | 65353 | 65249 | 104 | -20800 | -0.0208
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 66408 | 64730 | 1678 | -167800 | -0.1678 | 126752 | 126733 | 19 | -1900 | -0.0019
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 985394 | 985628 | -234 | 46800 | 0.0468 | 3979 | 3931 | 48 | -9600 | -0.0096
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 61754 | 61277 | 477 | -95400 | -0.0954 | 82287 | 82238 | 49 | -9800 | -0.0098
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 73761 | 73634 | 127 | -127000 | -0.127 | 743 | 737 | 6 | -6000 | -0.006
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12979 | 12862 | 117 | -117000 | -0.117 | 367 | 367 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 987121 | 987375 | -254 | 203200 | 0.2032 | 997075 | 997488 | -413 | 330400 | 0.3304
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 996341 | 996436 | -95 | 76000 | 0.076 | 999140 | 999493 | -353 | 282400 | 0.2824
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 414 | 628 | -214 | 171200 | 0.1712 | 999987 | 1000383 | -396 | 316800 | 0.3168 | ROLL OVER
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996721 | 996729 | -8 | 8000 | 0.008 | 37684 | 37971 | -287 | 287000 | 0.287
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 996274 | 996315 | -41 | 54666.53 | 0.054667 | 100 | 283 | -183 | 243999.39 | 0.244
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1302 | 1292 | 10 | -10000 | -0.01 | 17874 | 17755 | 119 | -119000 | -0.119
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 163 | 184 | -21 | 21000 | 0.021 | 3109 | 3125 | -16 | 16000 | 0.016
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1309 | 1322 | -13 | 13000 | 0.013 | 59780 | 59781 | -1 | 1000 | 0.001
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5244 | 5219 | 25 | -12500 | -0.0125 | 26084 | 25962 | 122 | -61000 | -0.061
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3388 | 3368 | 20 | -10000 | -0.01 | 23962 | 23893 | 69 | -34500 | -0.0345
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 4077 | 4026 | 51 | -25500 | -0.0255 | 14084 | 14083 | 1 | -500 | -0.0005
20 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 4325 | 4247 | 78 | -39000 | -0.039 | 16780 | 16779 | 1 | -500 | -0.0005
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 123564 | 121977 | 1587 | -158700 | -0.1587 | 28855 | 28824 | 31 | -3100 | -0.0031
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 18415 | 18093 | 322 | -32200 | -0.0322 | 38519 | 38506 | 13 | -1300 | -0.0013
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 996955 | 997420 | -465 | 46500 | 0.0465 | 6038 | 6046 | -8 | 800 | 0.0008
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7907 | 7887 | 20 | -2000 | -0.002 | 14935 | 14932 | 3 | -300 | -0.0003
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 17647 | 17250 | 397 | -39700 | -0.0397 | 50665 | 50657 | 8 | -800 | -0.0008
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 2580 | 2663 | -83 | 8300 | 0.0083 | 999999 | 1000000 | -1 | 100 | 0.0001 | ROLL OVER
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999072 | 999120 | -48 | 4800 | 0.0048 | 215 | 217 | -2 | 200 | 0.0002
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 8296 | 8260 | 36 | -3600 | -0.0036 | 68727 | 68351 | 376 | -37600 | -0.0376
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 7337 | 7295 | 42 | -4200 | -0.0042 | 58951 | 58634 | 317 | -31700 | -0.0317
31 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 8593 | 8552 | 41 | -4100 | -0.0041 | 84849 | 84454 | 395 | -39500 | -0.0395
[10 empty] | -0.36593 |  |  |  |  | 1.0943
JANUARY-2013
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.0758 |  |  |  |  | -7.5526
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.36593 |  |  |  |  | 1.0943
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.5218 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.96353 |  |  |  |  | -6.4583
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 4.268 |  |  |  |  | 3.152
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 3.3045 |  |  |  |  | -3.3063
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 3.3045 | (REACTIVE MUs) |  |  |  | -3.3063 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.2191 | (REACTIVE MUs) |  |  |  | -2.02 | (REACTIVE MUs)
[9 empty] | TOTAL | 3.0854 | (REACTIVE MUs) |  |  |  | -5.3263 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JANUARY-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 998172 | 998176 | -4 | -16000 | -0.016 | 9494 | 9525 | -31 | -124000 | -0.124 | NEW YARD CTR 800/1
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 989244 | 989507 | -263 | -350665.79 | -0.35067 | 674625 | 674650 | -25 | -33333.25 | -0.033333
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6703 | 6717 | -14 | -14000 | -0.014 | 60134 | 59702 | 432 | 432000 | 0.432
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11063 | 11024 | 39 | 39000 | 0.039 | 999215 | 999084 | 131 | 131000 | 0.131
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 8351 | 8284 | 67 | 6700 | 0.0067 | 114142 | 114380 | -238 | -23800 | -0.0238
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 31332 | 33116 | -1784 | -178400 | -0.1784 | 244407 | 244519 | -112 | -11200 | -0.0112 | not recording from 17/01/13
7 | BAY-37 | ASSESSMENT for remaining days of month Jan. | [7 empty] | -0.14692 |  |  |  |  | -0.0092235 | Pro-Rata base
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 8337 | 7361 | 976 | 97600 | 0.0976 | 396171 | 395031 | 1140 | 114000 | 0.114
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999568 | 999767 | -199 | -179100 | -0.1791 | 999679 | 999866 | -187 | -168300 | -0.1683
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991278 | 991431 | -153 | 153000 | 0.153 | 951097 | 951731 | -634 | 634000 | 0.634
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989060 | 989292 | -232 | 232000 | 0.232 | 955093 | 955469 | -376 | 376000 | 0.376
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986111 | 986420 | -309 | 309000 | 0.309 | 939787 | 940194 | -407 | 407000 | 0.407
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996992 | 997252 | -260 | 260000 | 0.26 | 955664 | 956144 | -480 | 480000 | 0.48
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996423 | 995228 | 1195 | -1195000 | -1.195 | 987153 | 987156 | -3 | 3000 | 0.003
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9990 | 9757 | 233 | -233000 | -0.233 | 988537 | 988667 | -130 | 130000 | 0.13
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43779 | 43712 | 67 | -67000 | -0.067 | 21652 | 21755 | -103 | 103000 | 0.103
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8196 | 7744 | 452 | -452000 | -0.452 | 8433 | 8475 | -42 | 42000 | 0.042
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25325 | 25573 | -248 | 248000 | 0.248 | 7371 | 7481 | -110 | 110000 | 0.11
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29703 | 28403 | 1300 | -1300000 | -1.3 | 44240 | 44237 | 3 | -3000 | -0.003
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7700 | 7602 | 98 | 98000 | 0.098 | 6851 | 6850 | 1 | 1000 | 0.001
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 923638 | 924852 | -1214 | 1214000 | 1.214 | 901571 | 901678 | -107 | 107000 | 0.107
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968389 | 969009 | -620 | 620000 | 0.62 | 864353 | 864363 | -10 | 10000 | 0.01
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 624 | 385 | 239 | -239000 | -0.239 | 981475 | 982820 | -1345 | 1345000 | 1.345
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 741 | 631 | 110 | -110000 | -0.11 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999373 | 999244 | 129 | -129000 | -0.129 | 893686 | 894041 | -355 | 355000 | 0.355
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998744 | 998658 | 86 | -86000 | -0.086 | 874077 | 874538 | -461 | 461000 | 0.461
BRPL(+) continue | [14 empty] | JANUARY-2013
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998597 | 998810 | -213 | 213000 | 0.213 | 973457 | 973565 | -108 | 108000 | 0.108
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999904 | 1000034 | -130 | 130000 | 0.13 | 990209 | 990410 | -201 | 201000 | 0.201 | ROLL OVER
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992091 | 991693 | 398 | -796000 | -0.796 | 970946 | 970964 | -18 | 36000 | 0.036
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997130 | 997139 | -9 | 9000 | 0.009 | 926178 | 926683 | -505 | 505000 | 0.505
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997905 | 998200 | -295 | 295000 | 0.295 | 936788 | 937682 | -894 | 894000 | 0.894
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997027 | 997028 | -1 | 1000 | 0.001 | 931766 | 932226 | -460 | 460000 | 0.46
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 997678 | 997653 | 25 | -16666.65 | -0.016667 | 991422 | 991418 | 4 | -2666.664 | -0.0026667
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 973363 | 973337 | 26 | -17333.316 | -0.017333 | 971811 | 971809 | 2 | -1333.332 | -0.0013333
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 862 | 831 | 31 | -62000 | -0.062 | 1295 | 1266 | 29 | -58000 | -0.058
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997709 | 997668 | 41 | -82000 | -0.082 | 492 | 469 | 23 | -46000 | -0.046
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961178 | 962291 | -1113 | 1113000 | 1.113 | 997453 | 997480 | -27 | 27000 | 0.027
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967066 | 967467 | -401 | 401000 | 0.401 | 998011 | 998319 | -308 | 308000 | 0.308
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 997504 | 997639 | -135 | -108000 | -0.108 | 1193 | 1193 | 0 | 0 | 0
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 8319 | 7915 | 404 | 323200 | 0.3232 | 833 | 833 | 0 | 0 | 0
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 979296 | 981981 | -2685 | -2148000 | -2.148 | 999697 | 999697 | 0 | 0 | 0
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999534 | 999534 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996721 | 996729 | -8 | -8000 | -0.008 | 37684 | 37971 | -287 | -287000 | -0.287
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 996274 | 996315 | -41 | -54666.53 | -0.054667 | 100 | 283 | -183 | -243999.39 | -0.244
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5639 | 5186 | 453 | -453000 | -0.453 | 978927 | 978991 | -64 | 64000 | 0.064
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998339 | 998309 | 30 | -30000 | -0.03 | 986567 | 986931 | -364 | 364000 | 0.364
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 9079 | 8860 | 219 | 21900 | 0.0219 | 12534 | 12129 | 405 | 40500 | 0.0405
SUDARSHAN PARK
51 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 35931 | 36500 | -569 | -56900 | -0.0569 | 146986 | 146971 | 15 | 1500 | 0.0015
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 963316 | 964194 | -878 | -878000 | -0.878 | 992480 | 992481 | -1 | -1000 | -0.001
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -3.6222 |  |  |  |  | 7.2371
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 25911 | 22643 | 3268 | -326800 | -0.3268 | 891565 | 891092 | 473 | -47300 | -0.0473
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 109825 | 109013 | 812 | -81200 | -0.0812 | 1623 | 1623 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 67236 | 67638 | -402 | 40200 | 0.0402 | 131 | 131 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 998231 | 998440 | -209 | 20900 | 0.0209 | 999959 | 999959 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 997782 | 998018 | -236 | 23600 | 0.0236 | 999920 | 999920 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 856 | 772 | 84 | -168000 | -0.168 | 72536 | 72516 | 20 | -40000 | -0.04 | CTR found 800/1 instead of 400/1
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7534 | 7663 | -129 | 129000 | 0.129 | 2235 | 2235 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 871857 | 868754 | 3103 | -310300 | -0.3103 | 54406 | 54401 | 5 | -500 | -0.0005
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 51226 | 49933 | 1293 | -129300 | -0.1293 | 54015 | 54002 | 13 | -1300 | -0.0013
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 41019 | 39470 | 1549 | -154900 | -0.1549 | 54641 | 54641 | 0 | 0 | 0
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 75642 | 74819 | 823 | -164600 | -0.1646 | 105395 | 105394 | 1 | -200 | -0.0002
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865122 | ELSTER | Kvarh(Lead/Lag) | -100 | 5844 | 5840 | 4 | -400 | -0.0004 | 788 | 774 | 14 | -1400 | -0.0014 | Removed on dated 07/01.13
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 5136 | 5415 | -279 | -139500 | -0.1395 | 21820 | 21888 | -68 | -34000 | -0.034 | installed on dated 07/01/13
KIDWAI NAGAR
14 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 257738 | 256908 | 830 | -83000 | -0.083 | 39707 | 39706 | 1 | -100 | -0.0001
EXHIBITION I
15 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 1160 | 1189 | -29 | 2900 | 0.0029 | 15111 | 15034 | 77 | -7700 | -0.0077
16 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
17 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 997409 | 997979 | -570 | 57000 | 0.057 | 68678 | 68007 | 671 | -67100 | -0.0671
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 8997 | 8991 | 6 | -600 | -0.0006 | 26368 | 25555 | 813 | -81300 | -0.0813
19 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9724 | 9720 | 4 | -400 | -0.0004 | 37069 | 36230 | 839 | -83900 | -0.0839
20 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 14222 | 14116 | 106 | -10600 | -0.0106 | 49579 | 49110 | 469 | -46900 | -0.0469
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 38250 | 37671 | 579 | -57900 | -0.0579 | 12846 | 12837 | 9 | -900 | -0.0009
22 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17050 | 17076 | -26 | 2600 | 0.0026 | 12222 | 12218 | 4 | -400 | -0.0004
27 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997673 | 997672 | 1 | -100 | -0.0001 | 2623 | 2622 | 1 | -100 | -0.0001
28 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995588 | 995588 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999273 | 999273 | 0 | 0 | 0 | 999397 | 999397 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.3514 |  |  |  |  | -0.4131
JANUARY-2013
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -3.6222 |  |  |  |  | 7.2371
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.3514 |  |  |  |  | -0.4131
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 1.3314 |  |  |  |  | 0.1615
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.2855 |  |  |  |  | -0.0433
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -3.9277 |  |  |  |  | 6.9422
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.9277 | (REACTIVE MUs) |  |  |  | 6.9422 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.39228 | (REACTIVE MUs) |  |  |  | -3.6168 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.32 | (REACTIVE MUs) |  |  |  | 3.3255 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 38185 | 38024 | 161 | 32200 | 0.0322 | 65353 | 65249 | 104 | 20800 | 0.0208
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 66408 | 64730 | 1678 | 167800 | 0.1678 | 126752 | 126733 | 19 | 1900 | 0.0019
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 985394 | 985628 | -234 | -46800 | -0.0468 | 3979 | 3931 | 48 | 9600 | 0.0096
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 61754 | 61277 | 477 | 95400 | 0.0954 | 82287 | 82238 | 49 | 9800 | 0.0098
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 73761 | 73634 | 127 | 127000 | 0.127 | 743 | 737 | 6 | 6000 | 0.006
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12979 | 12862 | 117 | 117000 | 0.117 | 367 | 367 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 987121 | 987375 | -254 | -203200 | -0.2032 | 997075 | 997488 | -413 | -330400 | -0.3304
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 996341 | 996436 | -95 | -76000 | -0.076 | 999140 | 999493 | -353 | -282400 | -0.2824
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 414 | 628 | -214 | -171200 | -0.1712 | 999987 | 1000383 | -396 | -316800 | -0.3168
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999226 | 999020 | 206 | 20600 | 0.0206 | 333659 | 332695 | 964 | 96400 | 0.0964
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 7072 | 7124 | -52 | -5200 | -0.0052 | 469355 | 469414 | -59 | -5900 | -0.0059
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 11345 | 11332 | 13 | 1300 | 0.0013 | 270968 | 269254 | 1714 | 171400 | 0.1714
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5674 | 6067 | -393 | -39300 | -0.0393 | 334771 | 334592 | 179 | 17900 | 0.0179
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998325 | 998644 | -319 | -31900 | -0.0319 | 269568 | 269854 | -286 | -28600 | -0.0286
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 388 | 361 | 27 | 2700 | 0.0027 | 168499 | 167996 | 503 | 50300 | 0.0503
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13116 | 13120 | -4 | -400 | -0.0004 | 247068 | 244360 | 2708 | 270800 | 0.2708
17 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 19775 | 19321 | 454 | 45400 | 0.0454 | 287604 | 280956 | 6648 | 664800 | 0.6648
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 61834 | 62338 | -504 | -554400 | -0.5544
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3740 | 3802 | -62 | -62000 | -0.062 | 36050 | 36254 | -204 | -204000 | -0.204
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 140055 | 140445 | -390 | -429000 | -0.429
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9160 | 9156 | 4 | 4000 | 0.004 | 50460 | 50447 | 13 | 13000 | 0.013
[10 empty] | -0.058 |  |  |  |  | -1.1744
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 856 | 772 | 84 | 168000 | 0.168 | 72536 | 72516 | 20 | 40000 | 0.04 | CTR found 800/1 instead of 400/1
23 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7534 | 7663 | -129 | -129000 | -0.129 | 2235 | 2235 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 871857 | 868754 | 3103 | 310300 | 0.3103 | 54406 | 54401 | 5 | 500 | 0.0005
A.I.I.M.S.
25 | TX-I | 4865122 | ELSTER | Kvarh(Lag) | 100 | 5844 | 5840 | 4 | 400 | 0.0004 | 788 | 774 | 14 | 1400 | 0.0014 | Removed on dated 06/01/13
26 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 5136 | 5415 | -279 | 139500 | 0.1395 | 21820 | 21888 | -68 | 34000 | 0.034 | installed on dated 07/01/13
JANUARY-2013
NDMC(+) Continue…
TRAUMA CENTRE
27 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985889 | 986081 | -192 | 192000 | 0.192 | 999822 | 999924 | -102 | 102000 | 0.102
ELECTRIC LANE
28 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997219 | 997249 | -30 | 30000 | 0.03 | 999994 | 999999 | -5 | 5000 | 0.005
KIDWAI NAGAR
29 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 257738 | 256908 | 830 | 83000 | 0.083 | 39707 | 39706 | 1 | 100 | 0.0001
EXHIBITION I
30 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 1160 | 1189 | -29 | -2900 | -0.0029 | 15111 | 15034 | 77 | 7700 | 0.0077
31 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
32 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 51226 | 49933 | 1293 | 129300 | 0.1293 | 54015 | 54002 | 13 | 1300 | 0.0013
33 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 41019 | 39470 | 1549 | 154900 | 0.1549 | 54641 | 54641 | 0 | 0 | 0
34 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 75642 | 74819 | 823 | 164600 | 0.1646 | 105395 | 105394 | 1 | 200 | 0.0002
TILAK MARG
35 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 25911 | 22643 | 3268 | 326800 | 0.3268 | 891565 | 891092 | 473 | 47300 | 0.0473
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.5443 |  |  |  |  | -0.5793
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 1.5443 |  |  |  |  | -0.5793
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.048415 |  |  |  |  | -0.44638
| TOTAL ENERGY TO NDMC | [8 empty] | 1.4959 |  |  |  |  | -1.0257

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2013
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 666 | 665 | 1 | 1000 | 0.001 | 18583 | 18126 | 457 | 457000 | 0.457
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 468 | 468 | 0 | 0 | 0 | 22734 | 22356 | 378 | 378000 | 0.378
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1014 | 1005 | 9 | 9000 | 0.009 | 31392 | 31317 | 75 | 75000 | 0.075
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 521 | 465 | 56 | 56000 | 0.056 | 15481 | 15477 | 4 | 4000 | 0.004
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2763 | 2679 | 84 | 84000 | 0.084 | 8392 | 8381 | 11 | 11000 | 0.011
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 998231 | 998440 | -209 | -20900 | -0.0209 | 999959 | 999959 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 997782 | 998018 | -236 | -23600 | -0.0236 | 999920 | 999920 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.1055 |  |  |  |  | 0.925
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3432 | 3432 | 0 | 0 | 0 | 34363 | 34363 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 37120 | 36018 | 1102 | 110200 | 0.1102 | 65300 | 65096 | 204 | 20400 | 0.0204
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 69106 | 68585 | 521 | 52100 | 0.0521 | 9685 | 9624 | 61 | 6100 | 0.0061
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 29623 | 28621 | 1002 | 100200 | 0.1002 | 53093 | 53017 | 76 | 7600 | 0.0076
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 18738 | 18738 | 0 | 0 | 0
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 79737 | 79507 | 230 | 23000 | 0.023 | 53322 | 53230 | 92 | 9200 | 0.0092
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 2526 | 2235 | 291 | 29100 | 0.0291 | 574 | 553 | 21 | 2100 | 0.0021
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.2855 |  |  |  |  | 0.0433
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.2855 |  |  |  |  | 0.0433
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.1055 |  |  |  |  | 0.925
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.391 |  |  |  |  | 0.9683
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.391 | (REACTIVE MUs) |  |  |  | 0.9683 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.011961 | (REACTIVE MUs) |  |  |  | -0.11028 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.37904 | (REACTIVE MUs) |  |  |  | 0.85802 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2013
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 63457 | 63986 | -529 | -52900 | -0.0529 | 79766 | 79766 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 4510 | 3677 | 833 | 83300 | 0.0833 | 999426 | 999426 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 183739 | 180689 | 3050 | 305000 | 0.305 | 96598 | 96598 | 0 | 0 | 0
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 22366 | 21590 | 776 | 727500 | 0.7275 | 18202 | 18202 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 991722 | 991775 | -53 | 26500 | 0.0265 | 929945 | 930262 | -317 | 158500 | 0.1585
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 990080 | 990564 | -484 | 242000 | 0.242 | 986094 | 986100 | -6 | 3000 | 0.003
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 18 | 18 | 0 | 0 | 0 | 9 | 9 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 1.3314 |  |  |  |  | 0.1615
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 944678 | 945929 | -1251 | -250200 | -0.2502 | 991782 | 991782 | 0 | 0 | 0
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 831111 | 833827 | -2716 | -271600 | -0.2716 | 928134 | 928134 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.5218 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 191633 | 189360 | 2273 | 454600 | 0.4546 | 263301 | 263301 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 80011 | 76854 | 3157 | 631400 | 0.6314 | 41147 | 41147 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 121606 | 115563 | 6043 | 604300 | 0.6043 | 71708 | 71708 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988028 | 988036 | -8 | -8000 | -0.008 | 998300 | 998300 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 975936 | 977142 | -1206 | -120600 | -0.1206 | 7273 | 7273 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999640 | 999690 | -50 | -46875 | -0.046875 | 1545 | 1553 | -8 | -7500 | -0.0075
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 990426 | 990489 | -63 | 39375 | 0.039375 | 995561 | 995561 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 18 | 18 | 0 | 0 | 0 | 9 | 9 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 1.5542 |  |  |  |  | -0.0075
| E) NET EXPORT TO BSES RPL | [8 empty] | 1.3314 |  |  |  |  | 0.1615
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.5218 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.5542 |  |  |  |  | -0.0075

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2013
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 7554 | 7476 | 78 | 156000 | 0.156 | 350 | 281 | 69 | 138000 | 0.138
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 10713 | 10706 | 7 | 14000 | 0.014 | 1007 | 1004 | 3 | 6000 | 0.006
[7 empty] | NET REACTIVE ENERGY |  |  | 0.17 |  | NET REACTIVE ENERGY |  |  | 0.144
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 997626 | 998314 | -688 | -688000 | -0.688 | 42456 | 42456 | 0 | 0 | 0
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 998543 | 999281 | -738 | -738000 | -0.738 | 999910 | 999919 | -9 | -9000 | -0.009
[7 empty] | NET REACTIVE ENERGY |  |  | -0.688 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | -0.518 |  |  |  |  | 0.144
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.3694 |  |  |  |  | -7.6861
[7 empty] | NDMC = |  |  | -0.058 |  |  |  |  | -1.1744
MES =
[7 empty] | 2)TOTAL |  |  | -0.4274 |  |  |  |  | -8.8605
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.9454 |  |  |  |  | -8.7165
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.9452 | % |  |  | -0.27365 |  |  |  |  | -2.523
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.4935 | % |  |  | -0.39228 |  |  |  |  | -3.6168
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.175 | % |  |  | -0.2191 |  |  |  |  | -2.02
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.1211 | % |  |  | -0.048415 |  |  |  |  | -0.44638
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.2652 | % |  |  | -0.011961 |  |  |  |  | -0.11028
Note :Sharing taken from wk-44 abt bill 2012-13

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JANUARY-2013 TO 31st JANUARY-2013
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -5.8876 |  | -0.11341
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -4.32 | + | 3.3255
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 3.0854 |  | -5.3263
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 1.4959 |  | -1.0257
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.37904 | + | 0.85802
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2013 | INTIAL READING 01/01/2013 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 967884 | 968253 | -369 | -553500 | -0.5535 | 981080 | 981080 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 98 | 144 | -46 | -69000 | -0.069 | 998126 | 998126 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 920421 | 921553 | -1132 | -1698000 | -1.698 | 968097 | 968097 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -2.3205 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997247 | 997243 | 4 | 20000 | 0.02 | 32315 | 32572 | -257 | -1285000 | -1.285
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999458 | 999392 | 66 | 66000 | 0.066 | 3417 | 3594 | -177 | -177000 | -0.177
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 0.086 |  |  | NET REACTIVE ENERGY |  | -1.462