## NDPL
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3291 | 2598 | 693 | -693000 | -0.693 | 999983 | 999999 | -16 | 16000 | 0.016
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9193 | 8977 | 216 | -216000 | -0.216 | 998927 | 998991 | -64 | 64000 | 0.064
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969294 | 969500 | -206 | 206000 | 0.206 | 995729 | 995748 | -19 | 19000 | 0.019
SUBZI MANDI
4 | Tx.1 | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998991 | 998991 | 0 | 0 | 0 | 984410 | 985809 | -1399 | 1399000 | 1.399
|  | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | [5 empty] | 988148 | 989790 | -1642 | 1642000 | 1.642
5 | Tx.2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1206 | 1039 | 167 | -167000 | -0.167 | 999353 | 999370 | -17 | 17000 | 0.017
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24026 | 24035 | -9 | 9000 | 0.009 | 17667 | 17762 | -95 | 95000 | 0.095
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 427 | 440 | -13 | 13000 | 0.013 | 999786 | 999885 | -99 | 99000 | 0.099
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 12158 | 12175 | -17 | 21250 | 0.02125 | 992261 | 992310 | -49 | 61250 | 0.06125
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994978 | 995054 | -76 | 76000 | 0.076 | 981468 | 981518 | -50 | 50000 | 0.05
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999600 | 999688 | -88 | 88000 | 0.088 | 20 | 20 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999763 | 999937 | -174 | 174000 | 0.174 | 3 | 3 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978945 | 979027 | -82 | 82000 | 0.082 | 997757 | 997757 | 0 | 0 | 0
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 960191 | 962701 | -2510 | -2510000 | -2.51 | 999983 | 999983 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982746 | 982734 | 12 | -12000 | -0.012 | 16922 | 16942 | -20 | 20000 | 0.02
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5544 | 5481 | 63 | -63000 | -0.063 | 20574 | 20568 | 6 | -6000 | -0.006
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12082 | 12016 | 66 | -66000 | -0.066 | 247 | 235 | 12 | -12000 | -0.012
NARAINA
17 | O/G REWARI LINE 1(payal) | 5295159 | ELSTER | Kvarh(Lead/Lag) | 400 | 999996 | 999996 | 0 | 0 | 0 | 1000519 | 999858 | 661 | 264400 | 0.2644
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 783 | 783 | 0 | 0 | 0 | 28044 | 27829 | 215 | 215000 | 0.215
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 6805 | 6336 | 469 | 46900 | 0.0469 | 177470 | 176987 | 483 | 48300 | 0.0483
[10 empty] | 0.0117 |  |  |  |  | 0.012 | Assesment
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 98003 | 83690 | 14313 | 1431300 | 1.4313 | 253878 | 253878 | 0 | 0 | 0
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996455 | 996456 | -1 | -1000 | -0.001 | 993042 | 993938 | -896 | -896000 | -0.896
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 542 | 541 | 1 | 1000 | 0.001 | 1330 | 1881 | -551 | -551000 | -0.551
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 58105 | 57627 | 478 | 47800 | 0.0478 | 6956 | 6362 | 594 | 59400 | 0.0594
|  | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 9944 | 6326 | 3618 | 361800 | 0.3618
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634257 | 634325 | -68 | -68000 | -0.068 | 796167 | 796183 | -16 | -16000 | -0.016
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 627167 | 627188 | -21 | -21000 | -0.021 | 829350 | 829419 | -69 | -69000 | -0.069
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 338 | 227 | 111 | 44400 | 0.0444 | 999133 | 999165 | -32 | -12800 | -0.0128
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 5449 | 5449 | 0 | 0 | 0 | 2575 | 2709 | -134 | -67000 | -0.067
KANJAWALA
28 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24661 | 24726 | -65 | 65000 | 0.065 | 980860 | 980861 | -1 | 1000 | 0.001
29 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12166 | 11990 | 176 | -176000 | -0.176 | 996747 | 996747 | 0 | 0 | 0
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994631 | 995096 | -465 | 465000 | 0.465 | 999835 | 999835 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5208 | 4826 | 382 | -382000 | -0.382 | 999573 | 999576 | -3 | 3000 | 0.003
DSIDC BAWANA
32 | 66KV TX.1 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24894 | 22857 | 2037 | -2037000 | -2.037 | 13 | 16 | -3 | 3000 | 0.003
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10680 | 9519 | 1161 | -1161000 | -1.161 | 998816 | 998816 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22005 | 19858 | 2147 | -2147000 | -2.147 | 1594 | 1594 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5657 | 5691 | -34 | 34000 | 0.034 | 998414 | 998414 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 248 | 248 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993354 | 993354 | 0 | 0 | 0 | 998765 | 998835 | -70 | 70000 | 0.07
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9115 | 9111 | 4 | -4000 | -0.004 | 1384 | 1339 | 45 | -45000 | -0.045
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2074 | 2074 | 0 | 0 | 0 | 26449 | 26290 | 159 | 159000 | 0.159
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 40 | 40 | 0 | 0 | 0 | 21430 | 17437 | 3993 | 399300 | 0.3993 | w.e.f 27/04/2016
| NDPL(+) continue | [14 empty] | AUGUST-2016
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 999343 | 999900 | -557 | -232079.62 | -0.23208 | 260 | 47 | 213 | 88748.58 | 0.088749
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9151 | 9214 | -63 | -6300 | -0.0063 | 37488 | 37505 | -17 | -1700 | -0.0017
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11772 | 11612 | 160 | 16000 | 0.016 | 70554 | 70456 | 98 | 9800 | 0.0098
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 669 | 663 | 6 | 600 | 0.0006 | 11545 | 10547 | 998 | 99800 | 0.0998
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 12633 | 11822 | 811 | 81100 | 0.0811 | 11315 | 11282 | 33 | 3300 | 0.0033
47 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999999 | 1000000 | -1 | -100 | -0.0001 | 1650 | 388 | 1262 | 126200 | 0.1262
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 990217 | 990571 | -354 | -15731.76 | -0.015732 | 245 | 252 | -7 | -311.08 | -0.00031108
B.G.ROAD
53 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5539 | 5444 | 95 | 47500 | 0.0475 | 34414 | 34375 | 39 | 19500 | 0.0195
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999938 | 999899 | 39 | 19500 | 0.0195 | 540 | 526 | 14 | 7000 | 0.007
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 95 | 75 | 20 | 13333.4 | 0.013333 | 100 | 88 | 12 | 8000.04 | 0.008
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 2557 | 2525 | 32 | 21333.3333 | 0.021333 | 1298 | 1268 | 30 | 20000 | 0.02
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 998400 | 998410 | -10 | -1000 | -0.001 | 952 | 777 | 175 | 17500 | 0.0175
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999737 | 999741 | -4 | -400 | -0.0004 | 999924 | 999931 | -7 | -700 | -0.0007
59 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 24011 | 24031 | -20 | -2000 | -0.002 | 57853 | 57862 | -9 | -900 | -0.0009
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
62 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
63 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1882 | 1862 | 20 | 2000 | 0.002 | 5750 | 5389 | 361 | 36100 | 0.0361
64 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 27598 | 27320 | 278 | 27800 | 0.0278 | 67688 | 67641 | 47 | 4700 | 0.0047
65 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 5785 | 5255 | 530 | 53000 | 0.053 | 2114 | 2035 | 79 | 7900 | 0.0079
KASHMIRI GATE
66 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 192423 | 190860 | 1563 | 156300 | 0.1563 | 19717 | 19712 | 5 | 500 | 0.0005
67 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 24477 | 24476 | 1 | 100 | 0.0001 | 50582 | 50410 | 172 | 17200 | 0.0172
68 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 457 | 457 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
69 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995607 | 995607 | 0 | 0 | 0 | 54 | 54 | 0 | 0 | 0
70 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999919 | 999919 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
MUNDKA
71 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 972919 | 972919 | 0 | 0 | 0 | 996704 | 996860 | -156 | -124800 | -0.1248
72 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 2076 | 2076 | 0 | 0 | 0 | 1101 | 1083 | 18 | 36000 | 0.036
PEERAGARHI
73 | SUDARSHAN PARK(L -1) | 5269776 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RANI BAGH(L-2) | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | 999739 | 999739 | 0 | 0 | 0 | 999630 | 1000570 | -940 | -94000 | -0.094
|  | 4864811 | ELSTER | Kvarh(Lead/Lag) | 100 | [5 empty] | 570 | 57 | 513 | 51300 | 0.0513 | Last Month Assessment
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -6.3649 |  |  |  |  | 3.373
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 2256 | 508 | 1748 | -174800 | -0.1748 | 344 | 0 | 344 | -34400 | -0.0344
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14932 | 14932 | 0 | 0 | 0 | 7128 | 7140 | -12 | 12000 | 0.012 | Check Meter Data
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 11899 | 11770 | 129 | -25800 | -0.0258 | 20577 | 20405 | 172 | -34400 | -0.0344
4 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86088 | 86052 | 36 | -36000 | -0.036 | 123061 | 122775 | 286 | -286000 | -0.286
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864813 | ELSTER | Kvarh(Lead/Lag) | -100 | 19723 | 19801 | -78 | 7800 | 0.0078 | 143369 | 143376 | -7 | 700 | 0.0007 | Check Meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864964 | ELSTER | Kvarh(Lead/Lag) | -800 | 991609 | 991609 | 0 | 0 | 0 | 999959 | 999959 | 0 | 0 | 0
|  | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 998268 | 1000000 | -1732 | 1385600 | 1.3856 | 999999 | 1000000 | -1 | 800 | 0.0008 | w.e.f 01/08/2016
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.1568 |  |  |  |  | -0.3413
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -6.3649 |  |  |  |  | 3.373
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.1568 |  |  |  |  | -0.3413
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.09535 |  |  |  |  | 0.28414
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -5.1127 |  |  |  |  | 3.3158
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.1127 | (REACTIVE MUs) |  |  |  | 3.3158 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.027301 | (REACTIVE MUs) |  |  |  | -1.5863 | (REACTIVE MUs)
[9 empty] | TOTAL | -5.14 | (REACTIVE MUs) |  |  |  | 1.7295 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | AUGUST-2016
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 17543 | 15085 | 2458 | 245800 | 0.2458 | 1969 | 1855 | 114 | 11400 | 0.0114
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 6914 | 5624 | 1290 | 387000 | 0.387 | 1457 | 1291 | 166 | 49800 | 0.0498
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 1418 | 661 | 757 | 56775 | 0.056775 | 1005132 | 999787 | 5345 | 400875 | 0.40087
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 999761 | 999332 | 429 | 128700 | 0.1287 | 5287 | 5279 | 8 | 2400 | 0.0024
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1630 | 1630 | 0 | 0 | 0 | 2637 | 2637 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 33653 | 30943 | 2710 | 271000 | 0.271 | 171120 | 171010 | 110 | 11000 | 0.011
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 989902 | 992135 | -2233 | -167475 | -0.16748 | 999376 | 999438 | -62 | -4650 | -0.00465
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989306 | 989322 | -16 | -16000 | -0.016 | 1879 | 1741 | 138 | 138000 | 0.138
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997572 | 997574 | -2 | -2000 | -0.002 | 3290 | 3207 | 83 | 83000 | 0.083
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 223 | 209 | 14 | 14000 | 0.014 | 782 | 777 | 5 | 5000 | 0.005
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997203 | 997242 | -39 | -39000 | -0.039 | 1720 | 1741 | -21 | -21000 | -0.021
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994995 | 995100 | -105 | -105000 | -0.105 | 5206 | 5179 | 27 | 27000 | 0.027
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998416 | 998473 | -57 | -57000 | -0.057 | 999172 | 999263 | -91 | -91000 | -0.091
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999334 | 999335 | -1 | -1000 | -0.001 | 17374 | 17417 | -43 | -43000 | -0.043
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999934 | 999942 | -8 | -6400 | -0.0064 | 1298 | 1223 | 75 | 60000 | 0.06
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999726 | 999727 | -1 | -1000 | -0.001 | 29498 | 29391 | 107 | 107000 | 0.107
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1314 | 1356 | -42 | -42000 | -0.042 | 9675 | 9560 | 115 | 115000 | 0.115
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 12026 | 12006 | 20 | 2000 | 0.002 | 357 | 354 | 3 | 300 | 0.0003
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998212 | 998205 | 7 | 7000 | 0.007 | 15629 | 15630 | -1 | -1000 | -0.001
GT
20 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1375 | 999999 | 999999 | 0 | 0 | 0 | 964673 | 966946 | -2273 | -3125375 | -3.1254
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 668874 | 672591 | -3717 | -4088700 | -4.0887
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980586 | 980612 | -26 | -26000 | -0.026 | 7960 | 8017 | -57 | -57000 | -0.057
| KASHMIRI GATE | [8 empty] | -0.2724 |  |  |  |  | -6.8918
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950103 | 950101 | 2 | -2000 | -0.002 | 942351 | 942611 | -260 | 260000 | 0.26
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961346 | 960818 | 528 | -528000 | -0.528 | 954887 | 954965 | -78 | 78000 | 0.078
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 457 | 457 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 878 | 878 | 0 | 0 | 0 | 10198 | 8593 | 1605 | 1605000 | 1.605
PARK STREET
27 | TX.-1 (66KV) | 5295161 | ELSTER | Kvarh(Lead/Lag) | -1000 | 154 | 23 | 131 | -131000 | -0.131 | 997602 | 999920 | -2318 | 2318000 | 2.318
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53566 | 53519 | 47 | -47000 | -0.047 | 970732 | 970660 | 72 | -72000 | -0.072
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994244 | 994167 | 77 | -77000 | -0.077 | 993760 | 993860 | -100 | 100000 | 0.1
30 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997622 | 997610 | 12 | -12000 | -0.012 | 71 | 145 | -74 | 74000 | 0.074
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5774 | 4731 | 1043 | -2086000 | -2.086 | 999080 | 999101 | -21 | 42000 | 0.042
32 | TX.-2 (66KV) | 5128431 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998367 | 998372 | -5 | 10000 | 0.01 | 999558 | 999581 | -23 | 46000 | 0.046 | Chec Meter Data
33 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997427 | 997725 | -298 | 298000 | 0.298 | 999855 | 999857 | -2 | 2000 | 0.002
IMPORTS
SUBZI MANDI
34 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 11899 | 11770 | 129 | 25800 | 0.0258 | 20577 | 20405 | 172 | 34400 | 0.0344
35 | O/G BG Rd.2 | 4865144 | ELSTER | Kvarh(Lead/Lag) | 1000 | 86088 | 86052 | 36 | 36000 | 0.036 | 123061 | 122775 | 286 | 286000 | 0.286
RIDGE VALLEY
36 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 1000000 | -2 | -200 | -0.0002 | 999701 | 1000000 | -299 | -29900 | -0.0299 | w.e.f. 01/08/2016
37 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 151772 | 151772 | 0 | 0 | 0 | 41735 | 35114 | 6621 | 662100 | 0.6621
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -1.864 |  |  |  |  | -1.0154
| (A) NET ENERGY TO CENTRAL | [8 empty] | -1.864 |  |  |  |  | -1.0154
AUGUST-2016
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981303 | 981304 | -1 | 1000 | 0.001 | 883877 | 884944 | -1067 | 1067000 | 1.067
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999994 | 999995 | -1 | 1000 | 0.001 | 988027 | 989032 | -1005 | 1005000 | 1.005
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980131 | 980132 | -1 | 1000 | 0.001 | 949729 | 950728 | -999 | 999000 | 0.999
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996314 | 996316 | -2 | 4000 | 0.004 | 977352 | 978498 | -1146 | 2292000 | 2.292
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997003 | 996983 | 20 | -20000 | -0.02 | 600 | 590 | 10 | -10000 | -0.01
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993746 | 993738 | 8 | -8000 | -0.008 | 999788 | 999871 | -83 | 83000 | 0.083
7 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8304 | 8279 | 25 | -25000 | -0.025 | 983416 | 983497 | -81 | 81000 | 0.081
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997253 | 997475 | -222 | 222000 | 0.222 | 995200 | 995632 | -432 | 432000 | 0.432
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991967 | 992076 | -109 | 109000 | 0.109 | 997921 | 998121 | -200 | 200000 | 0.2
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979924 | 979892 | 32 | -32000 | -0.032 | 968993 | 969660 | -667 | 667000 | 0.667
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959546 | 959478 | 68 | -68000 | -0.068 | 835716 | 837009 | -1293 | 1293000 | 1.293
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15109 | 14990 | 119 | -119000 | -0.119 | 33831 | 33854 | -23 | 23000 | 0.023
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 373 | 263 | 110 | -110000 | -0.11 | 999852 | 999862 | -10 | 10000 | 0.01
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16776 | 17835 | -1059 | 1059000 | 1.059 | 920019 | 920023 | -4 | 4000 | 0.004
|  | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | [5 empty] | 993249 | 993249 | 0 | 0 | 0
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 1.015 |  |  |  |  | 8.146
| (B) NET ENERGY TO EAST | [8 empty] | 1.015 |  |  |  |  | 8.146
AUGUST-2016
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -400 | 338 | 227 | 111 | -44400 | -0.0444 | 999133 | 999165 | -32 | 12800 | 0.0128
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 5449 | 5449 | 0 | 0 | 0 | 2575 | 2709 | -134 | 67000 | 0.067
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 54400 | 54338 | 62 | -12400 | -0.0124 | 85252 | 84957 | 295 | -59000 | -0.059
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 72450 | 72468 | -18 | 1800 | 0.0018 | 139358 | 139399 | -41 | 4100 | 0.0041
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 976849 | 976861 | -12 | 2400 | 0.0024 | 996742 | 996930 | -188 | 37600 | 0.0376
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 85194 | 85114 | 80 | -16000 | -0.016 | 107261 | 106923 | 338 | -67600 | -0.0676 | Data till 24/08/2016
[10 empty] | -0.004 |  |  |  |  | -0.0169 | Assessment
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 14759 | 14752 | 7 | -5600 | -0.0056 | 9909 | 9443 | 466 | -372800 | -0.3728
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14196 | 14192 | 4 | -8000 | -0.008 | 3653 | 3528 | 125 | -250000 | -0.25
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 977669 | 977672 | -3 | 2400 | 0.0024 | 988500 | 988706 | -206 | 164800 | 0.1648
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 997605 | 997621 | -16 | 12800 | 0.0128 | 994970 | 995791 | -821 | 656800 | 0.6568
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 998072 | 998074 | -2 | 1600 | 0.0016 | 998238 | 998505 | -267 | 213600 | 0.2136
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 984181 | 984188 | -7 | 5600 | 0.0056 | 994283 | 994502 | -219 | 175200 | 0.1752
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983778 | 983792 | -14 | 14000 | 0.014 | 34751 | 34860 | -109 | 109000 | 0.109
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2074 | 2074 | 0 | 0 | 0 | 26449 | 26290 | 159 | -159000 | -0.159
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 40 | 40 | 0 | 0 | 0 | 21430 | 17437 | 3993 | -399300 | -0.3993
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1360 | 1360 | 0 | 0 | 0 | 61309 | 61309 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5539 | 5444 | 95 | -47500 | -0.0475 | 34414 | 34375 | 39 | -19500 | -0.0195
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999938 | 999899 | 39 | -19500 | -0.0195 | 540 | 526 | 14 | -7000 | -0.007
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 95 | 75 | 20 | -13333.4 | -0.013333 | 100 | 88 | 12 | -8000.04 | -0.008
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 2557 | 2525 | 32 | -21333.3333 | -0.021333 | 1298 | 1268 | 30 | -20000 | -0.02
KASHMIRI GATE
22 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 192423 | 190860 | 1563 | -156300 | -0.1563 | 19717 | 19712 | 5 | -500 | -0.0005
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 24477 | 24476 | 1 | -100 | -0.0001 | 50582 | 50410 | 172 | -17200 | -0.0172
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 998400 | 998410 | -10 | 1000 | 0.001 | 952 | 777 | 175 | -17500 | -0.0175
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999737 | 999741 | -4 | 400 | 0.0004 | 999924 | 999931 | -7 | 700 | 0.0007
26 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 24011 | 24031 | -20 | 2000 | 0.002 | 57853 | 57862 | -9 | 900 | 0.0009
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
29 | BREAK FAST | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FAIZ ROAD
30 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1882 | 1862 | 20 | -2000 | -0.002 | 5750 | 5389 | 361 | -36100 | -0.0361
31 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 27598 | 27320 | 278 | -27800 | -0.0278 | 67688 | 67641 | 47 | -4700 | -0.0047
32 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 5785 | 5255 | 530 | -53000 | -0.053 | 2114 | 2035 | 79 | -7900 | -0.0079
[10 empty] | -0.38727 |  |  |  |  | -0.0205
AUGUST-2016
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -1.864 |  |  |  |  | -1.0154
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.38727 |  |  |  |  | -0.0205
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.20665 |  |  |  |  | -0.0694
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.4579 |  |  |  |  | -1.1053
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 1.015 |  |  |  |  | 8.146
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.4429 |  |  |  |  | 7.0407
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.4429 | (REACTIVE MUs) |  |  |  | 7.0407 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.022285 | (REACTIVE MUs) |  |  |  | -1.2949 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.4652 | (REACTIVE MUs) |  |  |  | 5.7459 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | AUGUST-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999718 | 999740 | -22 | -110000 | -0.11 | 999825 | 999819 | 6 | 30000 | 0.03
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984867 | 984726 | 141 | 187999.53 | 0.188 | 673096 | 673102 | -6 | -7999.98 | -0.008
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 100 | 2041 | 1487 | 554 | 55400 | 0.0554 | 1042 | 1021 | 21 | 2100 | 0.0021
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 16298 | 15760 | 538 | 538000 | 0.538 | 377 | 359 | 18 | 18000 | 0.018
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 13710 | 12341 | 1369 | 136900 | 0.1369 | 3618 | 3441 | 177 | 17700 | 0.0177
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 725723 | 719356 | 6367 | 477525 | 0.47752 | 23669 | 23701 | -32 | -2400 | -0.0024
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 986838 | 987700 | -862 | -64650 | -0.06465 | 997545 | 997500 | 45 | 3375 | 0.003375
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 998009 | 997828 | 181 | 162900 | 0.1629 | 998361 | 998375 | -14 | -12600 | -0.0126
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 2632 | 2402 | 230 | -115000 | -0.115 | 989019 | 990223 | -1204 | 602000 | 0.602
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990237 | 989929 | 308 | -308000 | -0.308 | 948336 | 948415 | -79 | 79000 | 0.079
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997199 | 997071 | 128 | -128000 | -0.128 | 996297 | 996387 | -90 | 90000 | 0.09
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1892 | 1656 | 236 | -236000 | -0.236 | 66 | 162 | -96 | 96000 | 0.096
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998403 | 998402 | 1 | -1000 | -0.001 | 968559 | 969685 | -1126 | 1126000 | 1.126
|  | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | [5 empty] | 991375 | 993054 | -1679 | 1679000 | 1.679
PAAPANKALAN-II
15 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981796 | 981860 | -64 | 64000 | 0.064 | 967188 | 967252 | -64 | 64000 | 0.064
16 | Tx.2 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22354 | 22354 | 0 | 0 | 0 | 13160 | 13003 | 157 | -157000 | -0.157
|  | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11031 | 10526 | 505 | -505000 | -0.505
17 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36368 | 36404 | -36 | 36000 | 0.036 | 985375 | 986067 | -692 | 692000 | 0.692
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998952 | 999115 | -163 | 163000 | 0.163 | 970355 | 970670 | -315 | 315000 | 0.315
|  | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | [5 empty] | 993605 | 994392 | -787 | 787000 | 0.787
NAJAFGARH
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -500 | 706 | 721 | -15 | 7500 | 0.0075 | 991574 | 992735 | -1161 | 580500 | 0.5805
20 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998397 | 997882 | 515 | -515000 | -0.515 | 994933 | 995286 | -353 | 353000 | 0.353
21 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19993 | 20020 | -27 | 27000 | 0.027 | 997366 | 998049 | -683 | 683000 | 0.683
22 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14347 | 13867 | 480 | -480000 | -0.48 | 999135 | 999484 | -349 | 349000 | 0.349
IMPORT
MANGOLPURI
23 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14932 | 14932 | 0 | 0 | 0 | 7128 | 7140 | -12 | -12000 | -0.012 | Check Meter Data
LODHI ROAD
24 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984645 | 985055 | -410 | 410000 | 0.41 | 986584 | 987243 | -659 | 659000 | 0.659
25 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993117 | 993257 | -140 | 140000 | 0.14 | 986829 | 987628 | -799 | 799000 | 0.799
OKHLA
26 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995464 | 995473 | -9 | 9000 | 0.009 | 991753 | 992356 | -603 | 603000 | 0.603
27 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990746 | 990771 | -25 | 25000 | 0.025 | 933055 | 934236 | -1181 | 1181000 | 1.181
28 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 527 | 337 | 190 | -190000 | -0.19 | 34595 | 34994 | -399 | 399000 | 0.399
29 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998701 | 998799 | -98 | 98000 | 0.098 | 996869 | 996921 | -52 | 52000 | 0.052
30 | Tx.4 (33 KV)-Ckt No. 5 | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996161 | 996160 | 1 | -1000 | -0.001 | 862317 | 862581 | -264 | 264000 | 0.264
BRPL(+) continue | [14 empty] | AUGUST-2016
VASANT KUNJ
31 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996829 | 996701 | 128 | -128000 | -0.128 | 971796 | 972110 | -314 | 314000 | 0.314
32 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 999695 | 999351 | 344 | -172000 | -0.172 | 998215 | 998744 | -529 | 264500 | 0.2645
33 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7927 | 8008 | -81 | 162000 | 0.162 | 969505 | 969578 | -73 | 146000 | 0.146
MEHRAULI
34 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994003 | 994015 | -12 | 12000 | 0.012 | 900699 | 901530 | -831 | 831000 | 0.831
35 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994489 | 994492 | -3 | 3000 | 0.003 | 927478 | 927478 | 0 | 0 | 0
36 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997891 | 997906 | -15 | 15000 | 0.015 | 985829 | 986652 | -823 | 823000 | 0.823
37 | Tx.4 | 5295171 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999943 | 999992 | -49 | 49000 | 0.049 | 6607 | 7109 | -502 | 502000 | 0.502
RIDGE VALLEY
38 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 969937 | 969939 | -2 | 1333.332 | 0.0013333 | 967941 | 969677 | -1736 | 1157332.176 | 1.1573
39 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 992075 | 991990 | 85 | -212500 | -0.2125 | 999877 | 999920 | -43 | 107500 | 0.1075
DIAL
40 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4740 | 4724 | 16 | -32000 | -0.032 | 1925 | 1926 | -1 | 2000 | 0.002
41 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1651 | 1628 | 23 | -46000 | -0.046 | 975 | 977 | -2 | 4000 | 0.004
MASJID MOD
42 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 921279 | 921346 | -67 | 67000 | 0.067 | 984142 | 984500 | -358 | 358000 | 0.358
43 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 929479 | 929543 | -64 | 64000 | 0.064 | 987636 | 988120 | -484 | 484000 | 0.484
MUNDKA
44 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 1367 | 1367 | 0 | 0 | 0
45 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 30613 | 30613 | 0 | 0 | 0 | 6134 | 5902 | 232 | 185600 | 0.1856
46 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 905811 | 905811 | 0 | 0 | 0 | 997339 | 997491 | -152 | -121600 | -0.1216
47 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
48 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999891 | 999891 | 0 | 0 | 0 | 999804 | 999815 | -11 | -8800 | -0.0088
49 | BAY No 616 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999945 | 999945 | 0 | 0 | 0 | 524 | 463 | 61 | 61000 | 0.061
PARK STREET
50 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983778 | 983792 | -14 | -14000 | -0.014 | 34751 | 34860 | -109 | -109000 | -0.109
51 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
52 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 576 | 310 | 266 | -266000 | -0.266 | 999979 | 999979 | 0 | 0 | 0
53 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2694 | 2752 | -58 | 58000 | 0.058 | 999250 | 999364 | -114 | 114000 | 0.114
54 | Tx-3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15172 | 15108 | 64 | -64000 | -0.064 | 999924 | 999924 | 0 | 0 | 0
NARAINA
55 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 2256 | 508 | 1748 | 174800 | 0.1748 | 344 | 0 | 344 | 34400 | 0.0344
SUDARSHAN PARK
56 | VISHAL | 4864813 | ELSTER | Kvarh(Lead/Lag) | 100 | 19723 | 19801 | -78 | -7800 | -0.0078 | 143369 | 143376 | -7 | -700 | -0.0007 | Check Meter Data
57 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 999610 | 1000000 | -390 | -156000 | -0.156 | 300 | 0 | 300 | 120000 | 0.12
58 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 516 | 558 | -42 | -16800 | -0.0168 | 532 | 207 | 325 | 130000 | 0.13
REWARI LINE
59 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
60 | 66KV DMRC | 4864964 | ELSTER | Kvarh(Lead/Lag) | 800 | 991609 | 991609 | 0 | 0 | 0 | 999959 | 999959 | 0 | 0 | 0
|  | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 998268 | 1000000 | -1732 | -1385600 | -1.3856 | 999999 | 1000000 | -1 | -800 | -0.0008 | w.e.f 01/08/2016
Trauma Centre
61 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 101633 | 101714 | -81 | -8100 | -0.0081 | 52 | 52 | 0 | 0 | 0
|  | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 12425 | 7148 | 5277 | 527700 | 0.5277 | 6336 | 5711 | 625 | 62500 | 0.0625
62 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 100 | 297 | 115 | 182 | 18200 | 0.0182 | 112 | 80 | 32 | 3200 | 0.0032
A.I.I.M.S.
63 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 3950 | 3738 | 212 | 15900 | 0.0159 | 11097 | 10735 | 362 | 27150 | 0.02715
64 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 1289 | 1160 | 129 | 12900 | 0.0129 | 3811 | 3614 | 197 | 19700 | 0.0197
PEERGARHI
65 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999953 | 999953 | 0 | 0 | 0 | 2607 | 2311 | 296 | 296000 | 0.296
66 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 463 | 463 | 0 | 0 | 0 | 3474 | 2992 | 482 | 482000 | 0.482
67 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998409 | 998409 | 0 | 0 | 0 | 1001156 | 1000701 | 455 | 455000 | 0.455
68 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1246 | 1246 | 0 | 0 | 0 | 5963 | 5346 | 617 | 617000 | 0.617
69 | PASCHIM PURI - I (L-7) | 5269791 | ELSTER | Kvarh(Lead/Lag) | 2000 | 266 | 266 | 0 | 0 | 0 | 1077 | 1077 | 0 | 0 | 0
70 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 998883 | 998883 | 0 | 0 | 0 | 39102 | 38550 | 552 | 55200 | 0.0552
|  | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | [5 empty] | 29878 | 25218 | 4660 | 466000 | 0.466
71 | PEERGARHI - 1 (L-9) | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
72 | PEERGARHI - 2(L-10) | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 520 | 520 | 0 | 0 | 0 | 4409 | 3932 | 477 | 477000 | 0.477
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -1.4434 |  |  |  |  | 19.6899
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2016
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 152483 | 146291 | 6192 | -619200 | -0.6192 | 912835 | 912835 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -100 | 999998 | 1000000 | -2 | 200 | 0.0002 | 999701 | 1000000 | -299 | 29900 | 0.0299 | w.e.f. 01/08/2016
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 151772 | 151772 | 0 | 0 | 0 | 41735 | 35114 | 6621 | -662100 | -0.6621
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996367 | 996367 | 0 | 0 | 0 | 783 | 294 | 489 | -48900 | -0.0489
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6332 | 6330 | 2 | -4000 | -0.004 | 74855 | 74710 | 145 | -290000 | -0.29
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14766 | 14765 | 1 | -1000 | -0.001 | 576 | 83 | 493 | -493000 | -0.493
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 906634 | 906634 | 0 | 0 | 0 | 60744 | 60117 | 627 | -313500 | -0.3135
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 79612 | 79587 | 25 | -2500 | -0.0025 | 70842 | 70660 | 182 | -18200 | -0.0182
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 87997 | 87801 | 196 | -19600 | -0.0196 | 70909 | 70721 | 188 | -18800 | -0.0188
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 18403 | 17991 | 412 | -41200 | -0.0412 | 20847 | 19650 | 1197 | -119700 | -0.1197
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999377 | 999574 | -197 | -98500 | -0.0985 | 17069 | 17076 | -7 | -3500 | -0.0035
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999601 | 999601 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 370807 | 373610 | -2803 | 280300 | 0.2803 | 49058 | 49082 | -24 | 2400 | 0.0024
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 4501 | 4365 | 136 | -13600 | -0.0136 | 25791 | 25410 | 381 | -38100 | -0.0381
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 999343 | 999900 | -557 | 232079.62 | 0.23208 | 260 | 47 | 213 | -88748.58 | -0.088749
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9151 | 9214 | -63 | 6300 | 0.0063 | 37488 | 37505 | -17 | 1700 | 0.0017
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11772 | 11612 | 160 | -16000 | -0.016 | 70554 | 70456 | 98 | -9800 | -0.0098
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 669 | 663 | 6 | -600 | -0.0006 | 11545 | 10547 | 998 | -99800 | -0.0998
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 12633 | 11822 | 811 | -81100 | -0.0811 | 11315 | 11282 | 33 | -3300 | -0.0033
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999999 | 1000000 | -1 | 100 | 0.0001 | 1650 | 388 | 1262 | -126200 | -0.1262
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 990217 | 990571 | -354 | 15731.76 | 0.015732 | 245 | 252 | -7 | 311.08 | 0.00031108
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995607 | 995607 | 0 | 0 | 0 | 54 | 54 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999919 | 999919 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.36259 |  |  |  |  | -2.2993
AUGUST-2016
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -1.4434 |  |  |  |  | 19.6899
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.36259 |  |  |  |  | -2.2993
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.12473 |  |  |  |  | -0.4609
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0595 |  |  |  |  | -0.1366
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -1.7408 |  |  |  |  | 16.793
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.7408 | (REACTIVE MUs) |  |  |  | 16.793 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.039719 | (REACTIVE MUs) |  |  |  | -2.3079 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.7805 | (REACTIVE MUs) |  |  |  | 14.4851 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2016
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 54400 | 54338 | 62 | 12400 | 0.0124 | 85252 | 84957 | 295 | 59000 | 0.059
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 72450 | 72468 | -18 | -1800 | -0.0018 | 139358 | 139399 | -41 | -4100 | -0.0041
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 976849 | 976861 | -12 | -2400 | -0.0024 | 996742 | 996930 | -188 | -37600 | -0.0376
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 85194 | 85114 | 80 | 16000 | 0.016 | 107261 | 106923 | 338 | 67600 | 0.0676 | Data till 24/08/2016
[10 empty] | 0.004 |  |  |  |  | 0.0169 | Assessment
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 14759 | 14752 | 7 | 5600 | 0.0056 | 9909 | 9443 | 466 | 372800 | 0.3728
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 14196 | 14192 | 4 | 8000 | 0.008 | 3653 | 3528 | 125 | 250000 | 0.25
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 977669 | 977672 | -3 | -2400 | -0.0024 | 988500 | 988706 | -206 | -164800 | -0.1648
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 997605 | 997621 | -16 | -12800 | -0.0128 | 994970 | 995791 | -821 | -656800 | -0.6568
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 998072 | 998074 | -2 | -1600 | -0.0016 | 998238 | 998505 | -267 | -213600 | -0.2136
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 984181 | 984188 | -7 | -5600 | -0.0056 | 994283 | 994502 | -219 | -175200 | -0.1752
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 5859 | 5733 | 126 | 12600 | 0.0126 | 405576 | 405305 | 271 | 27100 | 0.0271
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 995420 | 992401 | 3019 | 226425 | 0.22642 | 5231 | 5188 | 43 | 3225 | 0.003225
13 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 28217 | 27609 | 608 | 60800 | 0.0608 | 382531 | 382402 | 129 | 12900 | 0.0129
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998348 | 998512 | -164 | -61500 | -0.0615 | 999882 | 999893 | -11 | -4125 | -0.004125
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 990768 | 990973 | -205 | -20500 | -0.0205 | 317680 | 317555 | 125 | 12500 | 0.0125
16 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 4711 | 5280 | -569 | -56900 | -0.0569 | 200357 | 200386 | -29 | -2900 | -0.0029
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 5265 | 6116 | -851 | -85100 | -0.0851 | 258077 | 258088 | -11 | -1100 | -0.0011
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 73363 | 71248 | 2115 | 211500 | 0.2115 | 715205 | 715149 | 56 | 5600 | 0.0056
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 103431 | 102704 | 727 | 799700 | 0.7997
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999973 | 999974 | -1 | -1000 | -0.001 | 43760 | 43481 | 279 | 279000 | 0.279
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 146274 | 146365 | -91 | -100100 | -0.1001
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2909 | 2902 | 7 | 7000 | 0.007 | 57753 | 57273 | 480 | 480000 | 0.48
[10 empty] | 0.006 |  |  |  |  | 1.4586
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6332 | 6330 | 2 | 4000 | 0.004 | 74855 | 74710 | 145 | 290000 | 0.29
24 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14766 | 14765 | 1 | 1000 | 0.001 | 576 | 83 | 493 | 493000 | 0.493
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 906634 | 906634 | 0 | 0 | 0 | 60744 | 60117 | 627 | 313500 | 0.3135
26 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 994836 | 994836 | 0 | 0 | 0 | 2916 | 2916 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999377 | 999574 | -197 | 98500 | 0.0985 | 17069 | 17076 | -7 | 3500 | 0.0035
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999871 | 999871 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999601 | 999601 | 0 | 0 | 0
AUGUST-2016
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950065 | 950584 | -519 | 519000 | 0.519 | 971457 | 971612 | -155 | 155000 | 0.155
31 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985858 | 986353 | -495 | 495000 | 0.495 | 995438 | 995599 | -161 | 161000 | 0.161
ELECTRIC LANE
32 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963818 | 964245 | -427 | 427000 | 0.427 | 978776 | 978950 | -174 | 174000 | 0.174
33 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978686 | 979128 | -442 | 442000 | 0.442 | 990617 | 990791 | -174 | 174000 | 0.174
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 370807 | 373610 | -2803 | -280300 | -0.2803 | 49058 | 49082 | -24 | -2400 | -0.0024
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 4501 | 4365 | 136 | 13600 | 0.0136 | 25791 | 25410 | 381 | 38100 | 0.0381
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 79612 | 79587 | 25 | 2500 | 0.0025 | 70842 | 70660 | 182 | 18200 | 0.0182
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 87997 | 87801 | 196 | 19600 | 0.0196 | 70909 | 70721 | 188 | 18800 | 0.0188
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 18403 | 17991 | 412 | 41200 | 0.0412 | 20847 | 19650 | 1197 | 119700 | 0.1197
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 152483 | 146291 | 6192 | 619200 | 0.6192 | 912835 | 912835 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 101633 | 101714 | -81 | 8100 | 0.0081 | 52 | 52 | 0 | 0 | 0
|  |  | ELSTER | Kvarh(Lead/Lag) | -100 | 12425 | 7148 | 5277 | -527700 | -0.5277 | 6336 | 5711 | 625 | -62500 | -0.0625
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -100 | 297 | 115 | 182 | -18200 | -0.0182 | 112 | 80 | 32 | -3200 | -0.0032
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 3950 | 3738 | 212 | -15900 | -0.0159 | 11097 | 10735 | 362 | -27150 | -0.02715
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 1289 | 1160 | 129 | -12900 | -0.0129 | 3811 | 3614 | 197 | -19700 | -0.0197
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.1484 |  |  |  |  | 2.8699
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 2.1484 |  |  |  |  | 2.8699
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.004441 |  |  |  |  | -0.25804
| TOTAL ENERGY TO NDMC | [8 empty] | 2.144 |  |  |  |  | 2.6118

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2016
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864858 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2238 | 2238 | 0 | 0 | 0 | 34837 | 33816 | 1021 | 1021000 | 1.021 | Check Meter Data
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1487 | 1487 | 0 | 0 | 0 | 37101 | 36299 | 802 | 802000 | 0.802
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3949 | 3949 | 0 | 0 | 0 | 45764 | 44520 | 1244 | 1244000 | 1.244
4 | KIRBY PLACE-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133.333 | 47 | 47 | 0 | 0 | 0 | 34541 | 31269 | 3272 | 436265.576 | 0.43627
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5694 | 5700 | -6 | -6000 | -0.006 | 11395 | 11369 | 26 | 26000 | 0.026
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 12639 | 12640 | -1 | -500 | -0.0005 | 61680 | 61226 | 454 | 227000 | 0.227
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995207 | 995207 | 0 | 0 | 0 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996367 | 996367 | 0 | 0 | 0 | 783 | 294 | 489 | 48900 | 0.0489
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0065 |  |  |  |  | 3.8052
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 55705 | 55617 | 88 | 8800 | 0.0088 | 87271 | 86830 | 441 | 44100 | 0.0441
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 77257 | 77022 | 235 | 23500 | 0.0235 | 14866 | 14846 | 20 | 2000 | 0.002
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 56105 | 55833 | 272 | 27200 | 0.0272 | 98194 | 97289 | 905 | 90500 | 0.0905
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1005 | 1005 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9871 | 9871 | 0 | 0 | 0 | 3203 | 3203 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0595 |  |  |  |  | 0.1366
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0595 |  |  |  |  | 0.1366
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0065 |  |  |  |  | 3.8052
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.053 |  |  |  |  | 3.9418
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.053 | (REACTIVE MUs) |  |  |  | 3.9418 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.00065419 | (REACTIVE MUs) |  |  |  | -0.038012 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.052346 | (REACTIVE MUs) |  |  |  | 3.9038 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2016
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 4440 | 3293 | 1147 | 114700 | 0.1147 | 2181 | 2170 | 11 | 1100 | 0.0011
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 23302 | 22983 | 319 | 31900 | 0.0319 | 2202 | 1683 | 519 | 51900 | 0.0519
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 3377 | 3304 | 73 | 36500 | 0.0365 | 1122 | 750 | 372 | 186000 | 0.186
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 38519 | 38557 | -38 | -35625 | -0.035625 | 19108 | 19116 | -8 | -7500 | -0.0075
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 999999 | 1000000 | -1 | -250 | -0.00025 | 994379 | 997155 | -2776 | -694000 | -0.694
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 983879 | 983834 | 45 | -22500 | -0.0225 | 976532 | 976537 | -5 | 2500 | 0.0025
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 109 | 109 | 0 | 0 | 0 | 999966 | 999969 | -3 | -900 | -0.0009
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.12473 |  |  |  |  | -0.4609
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 994575 | 994667 | -92 | -18400 | -0.0184 | 999834 | 999971 | -137 | -27400 | -0.0274
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 924118 | 924620 | -502 | -188250 | -0.18825 | 997302 | 997414 | -112 | -42000 | -0.042
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.20665 |  |  |  |  | -0.0694
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 281207 | 280955 | 252 | 50400 | 0.0504 | 266810 | 266311 | 499 | 99800 | 0.0998
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 151907 | 151542 | 365 | 36500 | 0.0365 | 999264 | 999266 | -2 | -200 | -0.0002
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 30622 | 29530 | 1092 | 68250 | 0.06825 | 987205 | 987510 | -305 | -19062.5 | -0.019062
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 18 | 0 | 18 | 14400 | 0.0144 | 138 | 0 | 138 | 110400 | 0.1104 | w.e.f. 01/08/2016
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 996656 | 996898 | -242 | -24200 | -0.0242 | 999726 | 999782 | -56 | -5600 | -0.0056
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999090 | 999090 | 0 | 0 | 0 | 996541 | 995905 | 636 | 95400 | 0.0954
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999264 | 999244 | 20 | -50000 | -0.05 | 3068 | 3069 | -1 | 2500 | 0.0025
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 109 | 109 | 0 | 0 | 0 | 999966 | 999969 | -3 | 900 | 0.0009
| TOTAL NDPL | [8 empty] | 0.09535 |  |  |  |  | 0.28414
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.12473 |  |  |  |  | -0.4609
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.20665 |  |  |  |  | -0.0694
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.09535 |  |  |  |  | 0.28414

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2016
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 27053 | 27007 | 46 | 92000 | 0.092 | 1803 | 1819 | -16 | -32000 | -0.032
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 2353 | 2337 | 16 | 80000 | 0.08 | 153 | 157 | -4 | -20000 | -0.02
[7 empty] | NET REACTIVE ENERGY |  |  | 0.172 |  | NET REACTIVE ENERGY |  |  | -0.052
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.172 |  |  |  |  | -0.052
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.2724 |  |  |  |  | -6.8918
[7 empty] | NDMC = |  |  | 0.006 |  |  |  |  | 1.4586
MES =
[7 empty] | 2)TOTAL |  |  | -0.2664 |  |  |  |  | -5.4332
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.0944 |  |  |  |  | -5.4852
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.9204 | % |  |  | -0.027301 |  |  |  |  | -1.5863
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.0754 | % |  |  | -0.039719 |  |  |  |  | -2.3079
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.6068 | % |  |  | -0.022285 |  |  |  |  | -1.2949
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.7044 | % |  |  | -0.004441 |  |  |  |  | -0.25804
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.693 | % |  |  | -0.00065419 |  |  |  |  | -0.038012
Note :Sharing taken from wk-36 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st August 2016 TO 1st September 2016
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -5.14 | + | 1.7295
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -1.7805 | + | 14.4851
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -1.4652 | + | 5.7459
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 2.144 | + | 2.6118
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.052346 | + | 3.9038
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/09/2016 | INTIAL READING 01/08/2016 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 954736 | 954530 | 206 | 309000 | 0.309 | 979117 | 979130 | -13 | -19500 | -0.0195
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 992220 | 992200 | 20 | 30000 | 0.03 | 992101 | 992197 | -96 | -144000 | -0.144
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 891939 | 893344 | -1405 | -1053750 | -1.0537 | 999174 | 999175 | -1 | -750 | -0.00075
[8 empty] | NET REACTIVE ENERGY |  | -0.71475 |  |  | NET REACTIVE ENERGY |  | -0.16425
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 999464 | 999464 | 0 | 0 | 0 | 7531 | 6706 | 825 | 4125000 | 4.125 | Check Meter Data
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 965260 | 968200 | -2940 | -2940000 | -2.94
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973670 | 975226 | -1556 | -1556000 | -1.556 | 991816 | 991831 | -15 | -15000 | -0.015
[8 empty] | NET REACTIVE ENERGY |  | -1.556 |  |  | NET REACTIVE ENERGY |  | 1.17