## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20913 | 21660 | -747 | 747000 | 0.747 | 979279 | 979285 | -6 | 6000 | 0.006
2 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999816 | 999951 | -135 | 135000 | 0.135 | 994256 | 994377 | -121 | 121000 | 0.121
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21264 | 21012 | 252 | -252000 | -0.252 | 1265 | 1263 | 2 | -2000 | -0.002
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974838 | 974781 | 57 | -57000 | -0.057 | 988261 | 988678 | -417 | 417000 | 0.417
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 925351 | 925881 | -530 | 530000 | 0.53 | 960713 | 960751 | -38 | 38000 | 0.038
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17812 | 17687 | 125 | -125000 | -0.125 | 11602 | 10050 | 1552 | -1552000 | -1.552
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18785 | 18686 | 99 | -99000 | -0.099 | 8461 | 7193 | 1268 | -1268000 | -1.268
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16858 | 16715 | 143 | -143000 | -0.143 | 996979 | 996378 | 601 | -601000 | -0.601
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11889 | 11758 | 131 | -131000 | -0.131 | 988639 | 988424 | 215 | -215000 | -0.215
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36215 | 35906 | 309 | -309000 | -0.309 | 9939 | 9956 | -17 | 17000 | 0.017
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4373 | 4160 | 213 | -213000 | -0.213 | 4236 | 4237 | -1 | 1000 | 0.001
| Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | 1000 | 27 | 0 | 27 | 27000 | 0.027 | 0 | 0 | 0 | 0 | 0 | LOADED ON 25/01/11, CONN. IN REVERSE MODE FROM 25/01/11 TO 29/01/11
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8 | 27 | -19 | 19000 | 0.019 | 0 | 0 | 0 | 0 | 0
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 972967 | 974698 | -1731 | -1731000 | -1.731 | 920612 | 920613 | -1 | -1000 | -0.001
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997574 | 997575 | -1 | 1000 | 0.001 | 16183 | 15577 | 606 | -606000 | -0.606
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998354 | 998167 | 187 | -187000 | -0.187 | 18429 | 18379 | 50 | -50000 | -0.05
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 952 | 901 | 51 | -51000 | -0.051 | 20547 | 20221 | 326 | -326000 | -0.326
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999673 | 999740 | -67 | -67000 | -0.067 | 31322 | 31401 | -79 | -79000 | -0.079
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 130 | 162 | -32 | -32000 | -0.032 | 25934 | 26051 | -117 | -117000 | -0.117
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 1693 | 1686 | 7 | 700 | 0.0007 | 97991 | 97403 | 588 | 58800 | 0.0588
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 2258 | 2182 | 76 | 7600 | 0.0076 | 153855 | 152003 | 1852 | 185200 | 0.1852
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996250 | 996258 | -8 | -8000 | -0.008 | 998376 | 998553 | -177 | -177000 | -0.177
KASHMIRI GATE
22 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 655909 | 656586 | -677 | -677000 | -0.677 | 803389 | 803672 | -283 | -283000 | -0.283
23 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 663949 | 664088 | -139 | -139000 | -0.139 | 834767 | 834798 | -31 | -31000 | -0.031
24 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992474 | 992474 | 0 | 0 | 0 | 998659 | 998654 | 5 | 5000 | 0.005
25 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 100 | 993005 | 993991 | -986 | -98600 | -0.0986 | 12093 | 12047 | 46 | 4600 | 0.0046
KANJAWALA
26 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5187 | 4531 | 656 | -656000 | -0.656 | 981465 | 980550 | 915 | -915000 | -0.915
27 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996854 | 996824 | 30 | -30000 | -0.03 | 950113 | 950461 | -348 | 348000 | 0.348
BAWANA
28 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993960 | 994274 | -314 | 314000 | 0.314 | 954967 | 957589 | -2622 | 2622000 | 2.622
EXPORT TO EAST & CENTRE
IMPORTS
SHASTRI PARK
29 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 483 | 435 | 48 | 48000 | 0.048 | 13563 | 13258 | 305 | 305000 | 0.305
30 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998903 | 998924 | -21 | -21000 | -0.021 | 3267 | 3271 | -4 | -4000 | -0.004
| NDPL(+) continue | [14 empty] | JANUARY-2011
DMS
31 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 334 | 271 | 63 | 63000 | 0.063 | 50694 | 50551 | 143 | 143000 | 0.143
REWARI LINE
32 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 7819 | 7819 | 0 | 0 | 0 | 44170 | 44170 | 0 | 0 | 0
VISHAL
33 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 6042 | 6062 | -20 | -2000 | -0.002 | 7171 | 6952 | 219 | 21900 | 0.0219
34 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 8159 | 8104 | 55 | 5500 | 0.0055 | 25513 | 25080 | 433 | 43300 | 0.0433
35 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13437 | 13384 | 53 | 5300 | 0.0053 | 34218 | 33483 | 735 | 73500 | 0.0735
S.B.MILL
36 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 27940 | 27694 | 246 | 24600 | 0.0246 | 8523 | 8522 | 1 | 100 | 0.0001
37 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
38 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
39 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 12335 | 11650 | 685 | 68500 | 0.0685 | 8340 | 8319 | 21 | 2100 | 0.0021
42 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997753 | 997781 | -28 | -2800 | -0.0028 | 999974 | 999973 | 1 | 100 | 0.0001
B.G.ROAD
43 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3354 | 3276 | 78 | 39000 | 0.039 | 26141 | 25935 | 206 | 103000 | 0.103
44 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3089 | 3042 | 47 | 23500 | 0.0235 | 17777 | 17672 | 105 | 52500 | 0.0525
45 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3133 | 3068 | 65 | 32500 | 0.0325 | 12025 | 11974 | 51 | 25500 | 0.0255
46 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3119 | 3075 | 44 | 22000 | 0.022 | 13702 | 13632 | 70 | 35000 | 0.035
D.M.S.
47 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999512 | 999490 | 22 | 2200 | 0.0022 | 4719 | 4685 | 34 | 3400 | 0.0034
48 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 1473 | 1221 | 252 | 25200 | 0.0252 | 11514 | 11423 | 91 | 9100 | 0.0091
49 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 3796 | 3546 | 250 | 25000 | 0.025 | 44113 | 43904 | 209 | 20900 | 0.0209
50 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 6908 | 6280 | 628 | 62800 | 0.0628 | 18990 | 18830 | 160 | 16000 | 0.016
51 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999829 | 999862 | -33 | -3300 | -0.0033 | 284 | 279 | 5 | 500 | 0.0005
52 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
53 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 774 | 718 | 56 | 5600 | 0.0056 | 54129 | 53591 | 538 | 53800 | 0.0538
54 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 406 | 336 | 70 | 7000 | 0.007 | 49273 | 48869 | 404 | 40400 | 0.0404
55 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 527 | 437 | 90 | 9000 | 0.009 | 70608 | 69887 | 721 | 72100 | 0.0721
KASHMIRI GATE
56 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 82913 | 81480 | 1433 | 143300 | 0.1433 | 25723 | 25723 | 0 | 0 | 0
57 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 7567 | 7400 | 167 | 16700 | 0.0167 | 27759 | 27160 | 599 | 59900 | 0.0599
58 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 2 | 2 | 0 | 0 | 0 | 999944 | 999944 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
59 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | -100 | 341 | 341 | 0 | 0 | 0 | 853 | 853 | 0 | 0 | 0
60 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999472 | 999472 | 0 | 0 | 0 | 999148 | 999148 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -2.6247 |  |  |  |  | -1.3223
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 4022 | 3802 | 220 | -22000 | -0.022 | 7540 | 7343 | 197 | -19700 | -0.0197
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4342 | 4334 | 8 | -8000 | -0.008 | 3689 | 3672 | 17 | -17000 | -0.017
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5585 | 5541 | 44 | -44000 | -0.044 | 3864 | 3858 | 6 | -6000 | -0.006
SUBZI MANDI
4 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3400 | 3400 | 0 | 0 | 0 | 3207 | 3207 | 0 | 0 | 0
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11707 | 11162 | 545 | -545000 | -0.545 | 10489 | 10375 | 114 | -114000 | -0.114
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 32558 | 31864 | 694 | -69400 | -0.0694 | 147764 | 147759 | 5 | -500 | -0.0005
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984444 | 985102 | -658 | 658000 | 0.658 | 993693 | 993983 | -290 | 290000 | 0.29
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | -0.0304 |  |  |  |  | 0.1328
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -2.6247 |  |  |  |  | -1.3223
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | -0.0304 |  |  |  |  | 0.1328
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.2859 |  |  |  |  | 0.3074
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -2.3692 |  |  |  |  | -0.8821
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.3692 | (REACTIVE MUs) |  |  |  | -0.8821 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.44921 | (REACTIVE MUs) |  |  |  | -1.3599 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.8184 | (REACTIVE MUs) |  |  |  | -2.242 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JANUARY-2011
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 995019 | 995051 | -32 | -3200 | -0.0032 | 70379 | 67097 | 3282 | 328200 | 0.3282
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 15919 | 15958 | -39 | -3900 | -0.0039 | 997229 | 996628 | 601 | 60100 | 0.0601
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 20744 | 18166 | 2578 | 257800 | 0.2578 | 28741 | 27457 | 1284 | 128400 | 0.1284
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 999440 | 999773 | -333 | -33300 | -0.0333 | 998215 | 998251 | -36 | -3600 | -0.0036
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8698 | 8970 | -272 | -27200 | -0.0272 | 68093 | 67541 | 552 | 55200 | 0.0552
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 998077 | 998601 | -524 | -52400 | -0.0524 | 45683 | 46255 | -572 | -57200 | -0.0572
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999993 | 999999 | -6 | -6000 | -0.006 | 205 | 192 | 13 | 13000 | 0.013
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999928 | 999930 | -2 | -2000 | -0.002 | 2289 | 2293 | -4 | -4000 | -0.004
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 96 | 96 | 0 | 0 | 0 | 1338 | 1238 | 100 | 100000 | 0.1
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 222 | 226 | -4 | -4000 | -0.004 | 2629 | 2628 | 1 | 1000 | 0.001
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 225 | 225 | 0 | 0 | 0 | 1849 | 1842 | 7 | 7000 | 0.007
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 295 | 295 | 0 | 0 | 0 | 654 | 233 | 421 | 421000 | 0.421
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 28 | 28 | 0 | 0 | 0 | 13236 | 13184 | 52 | 52000 | 0.052
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 116 | 116 | 0 | 0 | 0 | 33528 | 33397 | 131 | 131000 | 0.131
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 261 | 261 | 0 | 0 | 0 | 6511 | 6007 | 504 | 504000 | 0.504
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 281 | 281 | 0 | 0 | 0 | 5056 | 5038 | 18 | 18000 | 0.018
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 28400 | 27541 | 859 | 85900 | 0.0859 | 418 | 418 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998950 | 998948 | 2 | 2000 | 0.002 | 5043 | 4955 | 88 | 88000 | 0.088
| GT | [8 empty] | 0.0759 |  |  |  |  | 1.331
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 873732 | 878541 | -4809 | -5289900 | -5.2899
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 905833 | 908823 | -2990 | -3289000 | -3.289
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998075 | 998547 | -472 | -472000 | -0.472 | 10117 | 10123 | -6 | -6000 | -0.006
KASHMIRI GATE
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967525 | 967614 | -89 | 89000 | 0.089 | 980481 | 980583 | -102 | 102000 | 0.102
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987034 | 987387 | -353 | 353000 | 0.353 | 987177 | 987421 | -244 | 244000 | 0.244
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 2 | 2 | 0 | 0 | 0 | 999944 | 999944 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 739 | 689 | 50 | 50000 | 0.05 | 48726 | 48343 | 383 | 383000 | 0.383
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 598 | 590 | 8 | -8000 | -0.008 | 980862 | 981017 | -155 | 155000 | 0.155
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2566 | 2112 | 454 | -454000 | -0.454 | 985437 | 987035 | -1598 | 1598000 | 1.598
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998068 | 998475 | -407 | 407000 | 0.407 | 992637 | 993165 | -528 | 528000 | 0.528
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998788 | 998802 | -14 | 14000 | 0.014 | 997323 | 997762 | -439 | 439000 | 0.439
IMPORTS
SUBZI MANDI
| O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3400 | 3400 | 0 | 0 | 0 | 3207 | 3207 | 0 | 0 | 0
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11707 | 11162 | 545 | 545000 | 0.545 | 10489 | 10375 | 114 | 114000 | 0.114
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 64625 | 65706 | -1081 | -108100 | -0.1081 | 1644 | 1644 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 34159 | 33743 | 416 | 41600 | 0.0416 | 999406 | 999406 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.6712 |  |  |  |  | -3.1798
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.6712 |  |  |  |  | -3.1798
JANUARY-2011
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998542 | 998715 | -173 | 173000 | 0.173 | 955731 | 959042 | -3311 | 3311000 | 3.311
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16127 | 16002 | 125 | -125000 | -0.125 | 972584 | 973349 | -765 | 765000 | 0.765
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15135 | 15185 | -50 | 50000 | 0.05 | 963631 | 964598 | -967 | 967000 | 0.967
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984301 | 984558 | -257 | 257000 | 0.257 | 993846 | 993846 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975096 | 975251 | -155 | 155000 | 0.155 | 992110 | 992116 | -6 | 6000 | 0.006
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1680 | 1646 | 34 | -34000 | -0.034 | 996700 | 996992 | -292 | 292000 | 0.292
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1305 | 1241 | 64 | -64000 | -0.064 | 984969 | 984836 | 133 | -133000 | -0.133
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -1000 | 823 | 816 | 7 | -7000 | -0.007 | 996241 | 997240 | -999 | 999000 | 0.999
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999865 | 999864 | 1 | -1000 | -0.001 | 983165 | 984232 | -1067 | 1067000 | 1.067
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13752 | 13758 | -6 | 6000 | 0.006 | 969057 | 969585 | -528 | 528000 | 0.528
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971870 | 972242 | -372 | 372000 | 0.372 | 927812 | 930240 | -2428 | 2428000 | 2.428
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20912 | 20874 | 38 | -38000 | -0.038 | 21140 | 20538 | 602 | -602000 | -0.602
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14713 | 14693 | 20 | -20000 | -0.02 | 29707 | 28764 | 943 | -943000 | -0.943
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.724 |  |  |  |  | 8.685
| (B) NET ENERGY TO EAST | [8 empty] | 0.724 |  |  |  |  | 8.685
6
JANUARY-2011
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992474 | 992474 | 0 | 0 | 0 | 998659 | 998654 | 5 | -5000 | -0.005
2 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | -100 | 993005 | 993991 | -986 | 98600 | 0.0986 | 12093 | 12047 | 46 | -4600 | -0.0046
EXPORT TO NDMC
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 4386 | 3511 | 875 | -87500 | -0.0875 | 54059 | 53436 | 623 | -62300 | -0.0623
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 9629 | 7878 | 1751 | -175100 | -0.1751 | 112252 | 111876 | 376 | -37600 | -0.0376
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 995764 | 996921 | -1157 | 115700 | 0.1157 | 4313 | 4320 | -7 | 700 | 0.0007
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 10709 | 8706 | 2003 | -200300 | -0.2003 | 74351 | 73531 | 820 | -82000 | -0.082
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35270 | 33672 | 1598 | -1598000 | -1.598 | 232 | 232 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) |  |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
EXPORT TO SOUTH & WEST
9 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999785 | 999848 | -63 | 63000 | 0.063 | 36072 | 36093 | -21 | 21000 | 0.021
10 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 999749 | 999786 | -37 | 49333.21 | 0.049333 | 614 | 612 | 2 | -2666.66 | -0.0026667
EXPORT TO NORTH from SHASTRI PARK
11 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 483 | 435 | 48 | -48000 | -0.048 | 13563 | 13258 | 305 | -305000 | -0.305
12 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998903 | 998924 | -21 | 21000 | 0.021 | 3267 | 3271 | -4 | 4000 | 0.004
DMS
13 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 334 | 271 | 63 | -63000 | -0.063 | 50694 | 50551 | 143 | -143000 | -0.143
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
14 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3354 | 3276 | 78 | -39000 | -0.039 | 26141 | 25935 | 206 | -103000 | -0.103
15 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3089 | 3042 | 47 | -23500 | -0.0235 | 17777 | 17672 | 105 | -52500 | -0.0525
16 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3133 | 3068 | 65 | -32500 | -0.0325 | 12025 | 11974 | 51 | -25500 | -0.0255
17 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3119 | 3075 | 44 | -22000 | -0.022 | 13702 | 13632 | 70 | -35000 | -0.035
KASHMIRI GATE
18 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 82913 | 81480 | 1433 | -143300 | -0.1433 | 25723 | 25723 | 0 | 0 | 0
19 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 7567 | 7400 | 167 | -16700 | -0.0167 | 27759 | 27160 | 599 | -59900 | -0.0599
D.M.S.
20 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999512 | 999490 | 22 | -2200 | -0.0022 | 4719 | 4685 | 34 | -3400 | -0.0034
21 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 1473 | 1221 | 252 | -25200 | -0.0252 | 11514 | 11423 | 91 | -9100 | -0.0091
22 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 3796 | 3546 | 250 | -25000 | -0.025 | 44113 | 43904 | 209 | -20900 | -0.0209
23 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 6908 | 6280 | 628 | -62800 | -0.0628 | 18990 | 18830 | 160 | -16000 | -0.016
24 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999829 | 999862 | -33 | 3300 | 0.0033 | 284 | 279 | 5 | -500 | -0.0005
25 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
26 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 774 | 718 | 56 | -5600 | -0.0056 | 54129 | 53591 | 538 | -53800 | -0.0538
27 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 406 | 336 | 70 | -7000 | -0.007 | 49273 | 48869 | 404 | -40400 | -0.0404
28 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 527 | 437 | 90 | -9000 | -0.009 | 70608 | 69887 | 721 | -72100 | -0.0721
[10 empty] | -2.2348 |  |  |  |  | -1.1086
JANUARY-2011
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.6712 |  |  |  |  | -3.1798
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -2.2348 |  |  |  |  | -1.1086
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.4786 |  |  |  |  | -0.0545
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.0422 |  |  |  |  | -4.3429
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.724 |  |  |  |  | 8.685
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.3182 |  |  |  |  | 4.3421
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.3182 | (REACTIVE MUs) |  |  |  | 4.3421 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.36239 | (REACTIVE MUs) |  |  |  | -1.097 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.6806 | (REACTIVE MUs) |  |  |  | 3.2451 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JANUARY-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999255 | 999412 | -157 | -157000 | -0.157 | 11735 | 11930 | -195 | -195000 | -0.195
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 6328 | 11703 | -5375 | -537500 | -0.5375 | 681384 | 681477 | -93 | -9300 | -0.0093
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4928 | 5099 | -171 | -171000 | -0.171 | 42981 | 43047 | -66 | -66000 | -0.066
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9360 | 9268 | 92 | 92000 | 0.092 | 503 | 406 | 97 | 97000 | 0.097
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 117 | 126 | -9 | -2700 | -0.0027 | 163 | 77 | 86 | 25800 | 0.0258
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 3517 | 3217 | 300 | 30000 | 0.03 | 78170 | 78157 | 13 | 1300 | 0.0013
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 22999 | 23977 | -978 | -97800 | -0.0978 | 268845 | 269064 | -219 | -21900 | -0.0219
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 999226 | 998535 | 691 | 69100 | 0.0691 | 326119 | 325224 | 895 | 89500 | 0.0895
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999813 | 999822 | -9 | -9000 | -0.009 | 10532 | 10446 | 86 | 86000 | 0.086
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996142 | 996488 | -346 | 346000 | 0.346 | 967964 | 968158 | -194 | 194000 | 0.194
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994914 | 995333 | -419 | 419000 | 0.419 | 969916 | 970028 | -112 | 112000 | 0.112
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993239 | 994218 | -979 | 979000 | 0.979 | 960840 | 962448 | -1608 | 1608000 | 1.608
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999152 | 998774 | 378 | -378000 | -0.378 | 970581 | 971190 | -609 | 609000 | 0.609
PAAPANKALAN-II
14 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8060 | 6797 | 1263 | -1263000 | -1.263 | 31731 | 31651 | 80 | -80000 | -0.08
15 | Tx.2 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999374 | 999631 | -257 | 257000 | 0.257 | 979088 | 979618 | -530 | 530000 | 0.53
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37159 | 36658 | 501 | -501000 | -0.501 | 27561 | 27535 | 26 | -26000 | -0.026
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4649 | 4719 | -70 | 70000 | 0.07 | 13525 | 13996 | -471 | 471000 | 0.471
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22909 | 22623 | 286 | -286000 | -0.286 | 14448 | 14471 | -23 | 23000 | 0.023
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9147 | 8866 | 281 | -281000 | -0.281 | 40158 | 40071 | 87 | -87000 | -0.087
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4342 | 4334 | 8 | 8000 | 0.008 | 3689 | 3672 | 17 | 17000 | 0.017
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5585 | 5541 | 44 | 44000 | 0.044 | 3864 | 3858 | 6 | 6000 | 0.006
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981598 | 983123 | -1525 | 1525000 | 1.525 | 910105 | 910229 | -124 | 124000 | 0.124
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996548 | 997229 | -681 | 681000 | 0.681 | 887818 | 888215 | -397 | 397000 | 0.397
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 307 | 307 | 0 | 0 | 0 | 7188 | 6509 | 679 | -679000 | -0.679
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 448 | 448 | 0 | 0 | 0 | 999989 | 999834 | 155 | -155000 | -0.155
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997432 | 997180 | 252 | -252000 | -0.252 | 959604 | 959784 | -180 | 180000 | 0.18
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994536 | 994536 | 0 | 0 | 0 | 977143 | 977143 | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999645 | 999645 | 0 | 0 | 0 | 959359 | 961749 | -2390 | 2390000 | 2.39
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999038 | 999038 | 0 | 0 | 0 | 953343 | 956679 | -3336 | 3336000 | 3.336
BRPL(+) continue | [14 empty] | JANUARY-2011
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999820 | 1000014 | -194 | 194000 | 0.194 | 978500 | 978881 | -381 | 381000 | 0.381 | ROLL OVER
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1044 | 1217 | -173 | 173000 | 0.173 | 995103 | 995546 | -443 | 443000 | 0.443
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 989861 | 989797 | 64 | -128000 | -0.128 | 981876 | 981831 | 45 | -90000 | -0.09
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998617 | 998900 | -283 | 283000 | 0.283 | 949062 | 950734 | -1672 | 1672000 | 1.672
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1117 | 1097 | 20 | -20000 | -0.02 | 965911 | 966371 | -460 | 460000 | 0.46
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998844 | 999169 | -325 | 325000 | 0.325 | 955303 | 957011 | -1708 | 1708000 | 1.708
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 783 | 783 | 0 | 0 | 0 | 597 | 597 | 0 | 0 | 0
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 996039 | 997251 | -1212 | 807999.192 | 0.808 | 998950 | 999250 | -300 | 199999.8 | 0.2
DIAL
| Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 58 | 32 | 26 | -52000 | -0.052 | 251 | 84 | 167 | -334000 | -0.334
| Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996757 | 996723 | 34 | -68000 | -0.068 | 999600 | 999446 | 154 | -308000 | -0.308
PARK STREET
38 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999785 | 999848 | -63 | -63000 | -0.063 | 36072 | 36093 | -21 | -21000 | -0.021
39 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999749 | 999786 | -37 | -49333.21 | -0.049333 | 614 | 612 | 2 | 2666.66 | 0.0026667
SARITA VIHAR
40 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 673 | 244 | 429 | -429000 | -0.429 | 982034 | 982318 | -284 | 284000 | 0.284
41 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 581 | 526 | 55 | -55000 | -0.055 | 988387 | 988805 | -418 | 418000 | 0.418
NARAINA
42 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 4022 | 3802 | 220 | 22000 | 0.022 | 7540 | 7343 | 197 | 19700 | 0.0197
SUDARSHAN PARK
43 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 32558 | 31864 | 694 | 69400 | 0.0694 | 147764 | 147759 | 5 | 500 | 0.0005
REWARI LINE
44 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
45 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984444 | 985102 | -658 | -658000 | -0.658 | 993693 | 993983 | -290 | -290000 | -0.29
A.I.I.M.S.
46 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 999476 | 999476 | 0 | 0 | 0 | 1070 | 1070 | 0 | 0 | 0
47 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 2244 | 1969 | 275 | 27500 | 0.0275 | 3048 | 2769 | 279 | 27900 | 0.0279
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 0.96367 |  |  |  |  | 13.5512
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2011
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | 100 | 987481 | 990384 | -2903 | -290300 | -0.2903 | 859284 | 859506 | -222 | -22200 | -0.0222
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 64625 | 65706 | -1081 | 108100 | 0.1081 | 1644 | 1644 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 34159 | 33743 | 416 | -41600 | -0.0416 | 999406 | 999406 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 337 | 271 | 66 | -6600 | -0.0066 | 999974 | 999974 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 560 | 512 | 48 | -4800 | -0.0048 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 685665 | 681739 | 3926 | -392600 | -0.3926 | 43485 | 43162 | 323 | -32300 | -0.0323
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1953 | 1740 | 213 | -213000 | -0.213 | 854 | 800 | 54 | -54000 | -0.054
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 698500 | 688503 | 9997 | -999700 | -0.9997 | 38222 | 38222 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 8648 | 7267 | 1381 | -138100 | -0.1381 | 48612 | 48545 | 67 | -6700 | -0.0067
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 10110 | 8888 | 1222 | -122200 | -0.1222 | 47390 | 47186 | 204 | -20400 | -0.0204
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -100 | 30935 | 30608 | 327 | -32700 | -0.0327 | 100689 | 100667 | 22 | -2200 | -0.0022
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 10592 | 9060 | 1532 | -153200 | -0.1532 | 2348 | 2252 | 96 | -9600 | -0.0096
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 7144 | 6808 | 336 | -33600 | -0.0336 | 603784 | 604238 | -454 | 45400 | 0.0454
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 81030 | 78992 | 2038 | -203800 | -0.2038 | 159697 | 156508 | 3189 | -318900 | -0.3189
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 145835 | 145548 | 287 | 28700 | 0.0287 | 24249 | 24256 | -7 | -700 | -0.0007
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 672 | 708 | -36 | 3600 | 0.0036 | 11149 | 11137 | 12 | -1200 | -0.0012
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 7819 | 7819 | 0 | 0 | 0 | 44170 | 44170 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 6042 | 6062 | -20 | 2000 | 0.002 | 7171 | 6952 | 219 | -21900 | -0.0219
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 8159 | 8104 | 55 | -5500 | -0.0055 | 25513 | 25080 | 433 | -43300 | -0.0433
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13437 | 13384 | 53 | -5300 | -0.0053 | 34218 | 33483 | 735 | -73500 | -0.0735
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 27940 | 27694 | 246 | -24600 | -0.0246 | 8523 | 8522 | 1 | -100 | -0.0001
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 12335 | 11650 | 685 | -68500 | -0.0685 | 8340 | 8319 | 21 | -2100 | -0.0021
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997753 | 997781 | -28 | 2800 | 0.0028 | 999974 | 999973 | 1 | -100 | -0.0001
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | 100 | 341 | 341 | 0 | 0 | 0 | 853 | 853 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999472 | 999472 | 0 | 0 | 0 | 999148 | 999148 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.5909 |  |  |  |  | -0.5638
JANUARY-2011
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 0.96367 |  |  |  |  | 13.5512
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.5909 |  |  |  |  | -0.5638
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.8268 |  |  |  |  | 0.5046
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.17325 |  |  |  |  | -0.2178
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -0.97368 |  |  |  |  | 13.2742
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.97368 | (REACTIVE MUs) |  |  |  | 13.2742 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.6364 | (REACTIVE MUs) |  |  |  | -1.9265 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.6101 | (REACTIVE MUs) |  |  |  | 11.3476 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2011
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 4386 | 3511 | 875 | 87500 | 0.0875 | 54059 | 53436 | 623 | 62300 | 0.0623
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 9629 | 7878 | 1751 | 175100 | 0.1751 | 112252 | 111876 | 376 | 37600 | 0.0376
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 995764 | 996921 | -1157 | -115700 | -0.1157 | 4313 | 4320 | -7 | -700 | -0.0007
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 10709 | 8706 | 2003 | 200300 | 0.2003 | 74351 | 73531 | 820 | 82000 | 0.082
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 35270 | 33672 | 1598 | 1598000 | 1.598 | 232 | 232 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) |  |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
I.P.STATION
EXPORT TO NDMC
6 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998623 | 999353 | -730 | -73000 | -0.073 | 268433 | 268853 | -420 | -42000 | -0.042
7 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 2990 | 2662 | 328 | 32800 | 0.0328 | 397527 | 395835 | 1692 | 169200 | 0.1692
8 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 5387 | 4549 | 838 | 83800 | 0.0838 | 177931 | 175252 | 2679 | 267900 | 0.2679
9 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 3079 | 2624 | 455 | 45500 | 0.0455 | 291283 | 289753 | 1530 | 153000 | 0.153
10 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 999257 | 999291 | -34 | -3400 | -0.0034 | 198470 | 195774 | 2696 | 269600 | 0.2696
11 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999046 | 999413 | -367 | -36700 | -0.0367 | 123175 | 123631 | -456 | -45600 | -0.0456
12 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 6266 | 4976 | 1290 | 129000 | 0.129 | 176000 | 172256 | 3744 | 374400 | 0.3744
13 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 5134 | 5121 | 13 | 1300 | 0.0013 | 215360 | 214811 | 549 | 54900 | 0.0549
G.T.
14 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 46640 | 45559 | 1081 | 1189100 | 1.1891
15 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4674 | 4784 | -110 | -110000 | -0.11 | 36121 | 36043 | 78 | 78000 | 0.078
16 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 115414 | 114532 | 882 | 970200 | 0.9702
17 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7456 | 7622 | -166 | -166000 | -0.166 | 48092 | 48071 | 21 | 21000 | 0.021
[10 empty] | -0.276 |  |  |  |  | 2.2583
RIDGE VALLEY
18 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 685665 | 681739 | 3926 | 392600 | 0.3926 | 43485 | 43162 | 323 | 32300 | 0.0323
19 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1953 | 1740 | 213 | 213000 | 0.213 | 854 | 800 | 54 | 54000 | 0.054
20 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 698500 | 688503 | 9997 | 999700 | 0.9997 | 38222 | 38222 | 0 | 0 | 0
A.I.I.M.S.
21 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 10592 | 9060 | 1532 | 153200 | 0.1532 | 2348 | 2252 | 96 | 9600 | 0.0096
22 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 7144 | 6808 | 336 | 33600 | 0.0336 | 603784 | 604238 | -454 | -45400 | -0.0454
23 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 81030 | 78992 | 2038 | 203800 | 0.2038 | 159697 | 156508 | 3189 | 318900 | 0.3189
JANUARY-2011
NDMC(+) Continue…
KIDWAI NAGAR
24 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 145835 | 145548 | 287 | -28700 | -0.0287 | 24249 | 24256 | -7 | 700 | 0.0007
EXHIBITION I
25 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 672 | 708 | -36 | -3600 | -0.0036 | 11149 | 11137 | 12 | 1200 | 0.0012
26 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
27 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 8648 | 7267 | 1381 | 138100 | 0.1381 | 48612 | 48545 | 67 | 6700 | 0.0067
28 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 10110 | 8888 | 1222 | 122200 | 0.1222 | 47390 | 47186 | 204 | 20400 | 0.0204
29 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 100 | 30935 | 30608 | 327 | 32700 | 0.0327 | 100689 | 100667 | 22 | 2200 | 0.0022
TILAK MARG
30 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | -100 | 987481 | 990384 | -2903 | 290300 | 0.2903 | 859284 | 859506 | -222 | 22200 | 0.0222
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 999476 | 999476 | 0 | 0 | 0 | 1070 | 1070 | 0 | 0 | 0
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 2244 | 1969 | 275 | -27500 | -0.0275 | 3048 | 2769 | 279 | -27900 | -0.0279
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 4.3679 |  |  |  |  | 4.0358
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 4.3679 |  |  |  |  | 4.0358
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.09791 |  |  |  |  | -0.2964
| TOTAL ENERGY TO NDMC | [8 empty] | 4.27 |  |  |  |  | 3.7394

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2011
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 464 | 436 | 28 | 28000 | 0.028 | 11983 | 11846 | 137 | 137000 | 0.137
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 310 | 295 | 15 | 15000 | 0.015 | 16380 | 16332 | 48 | 48000 | 0.048
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 382 | 329 | 53 | 53000 | 0.053 | 23523 | 23382 | 141 | 141000 | 0.141
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 276 | 245 | 31 | 31000 | 0.031 | 12306 | 12232 | 74 | 74000 | 0.074
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 920 | 845 | 75 | 75000 | 0.075 | 6030 | 5969 | 61 | 61000 | 0.061
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 337 | 271 | 66 | 6600 | 0.0066 | 999974 | 999974 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 560 | 512 | 48 | 4800 | 0.0048 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.2134 |  |  |  |  | 0.461
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3211 | 3211 | 0 | 0 | 0 | 32039 | 32038 | 1 | 100 | 0.0001
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 21525 | 21274 | 251 | 25100 | 0.0251 | 52046 | 51723 | 323 | 32300 | 0.0323
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 62425 | 61873 | 552 | 55200 | 0.0552 | 5395 | 5162 | 233 | 23300 | 0.0233
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 12808 | 12596 | 212 | 21200 | 0.0212 | 36551 | 36125 | 426 | 42600 | 0.0426
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999796 | 999815 | -19 | -1900 | -0.0019 | 13827 | 13908 | -81 | -8100 | -0.0081
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 67341 | 66872 | 469 | 46900 | 0.0469 | 27710 | 26501 | 1209 | 120900 | 0.1209
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 419 | 257 | 162 | 16200 | 0.0162 | 904 | 835 | 69 | 6900 | 0.0069
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1627 |  |  |  |  | 0.218
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 7642 | 7853 | -211 | -10550 | -0.01055 | 18541 | 18537 | 4 | 200 | 0.0002
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | -0.01055 |  |  |  |  | 0.0002
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.17325 |  |  |  |  | 0.2178
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.2134 |  |  |  |  | 0.461
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.38665 |  |  |  |  | 0.6788
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.38665 | (REACTIVE MUs) |  |  |  | 0.6788 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.017983 | (REACTIVE MUs) |  |  |  | -0.05444 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.36867 | (REACTIVE MUs) |  |  |  | 0.62436 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2011
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 62316 | 60926 | 1390 | 139000 | 0.139 | 76514 | 76417 | 97 | 9700 | 0.0097
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 16612 | 16827 | -215 | -21500 | -0.0215 | 999976 | 999945 | 31 | 3100 | 0.0031
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 124832 | 124034 | 798 | 79800 | 0.0798 | 85899 | 85205 | 694 | 69400 | 0.0694
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11993 | 11491 | 502 | 502000 | 0.502 | 16848 | 16786 | 62 | 62000 | 0.062
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 993974 | 994166 | -192 | 96000 | 0.096 | 961834 | 962294 | -460 | 230000 | 0.23
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994502 | 994565 | -63 | 31500 | 0.0315 | 990801 | 991063 | -262 | 131000 | 0.131
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999989 | 999989 | 0 | 0 | 0 | 999906 | 999908 | -2 | -600 | -0.0006
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.8268 |  |  |  |  | 0.5046
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 962728 | 963433 | -705 | -141000 | -0.141 | 990999 | 991153 | -154 | -30800 | -0.0308
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 932211 | 935587 | -3376 | -337600 | -0.3376 | 931413 | 931650 | -237 | -23700 | -0.0237
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.4786 |  |  |  |  | -0.0545
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 143113 | 141630 | 1483 | 296600 | 0.2966 | 251739 | 250534 | 1205 | 241000 | 0.241
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 23324 | 22764 | 560 | 112000 | 0.112 | 38892 | 38714 | 178 | 35600 | 0.0356
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 15103 | 14082 | 1021 | 102100 | 0.1021 | 67538 | 67257 | 281 | 28100 | 0.0281
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991671 | 991920 | -249 | -249000 | -0.249 | 997628 | 997628 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 986817 | 987660 | -843 | -84300 | -0.0843 | 7846 | 7880 | -34 | -3400 | -0.0034
AT 33/11 KV LEVEL
15 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 995677 | 995894 | -217 | 108500 | 0.1085 | 995909 | 995920 | -11 | 5500 | 0.0055
16 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999989 | 999989 | 0 | 0 | 0 | 999906 | 999908 | -2 | 600 | 0.0006
| TOTAL NDPL | [8 empty] | 0.2859 |  |  |  |  | 0.3074
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.8268 |  |  |  |  | 0.5046
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.4786 |  |  |  |  | -0.0545
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.2859 |  |  |  |  | 0.3074

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2011
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 5992 | 5396 | 596 | 1192000 | 1.192 | 999918 | 999876 | 42 | 84000 | 0.084
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 4876 | 4590 | 286 | 572000 | 0.572 | 999698 | 999653 | 45 | 90000 | 0.09
[7 empty] | NET REACTIVE ENERGY |  |  | 1.764 |  | NET REACTIVE ENERGY |  |  | 0.174
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999753 | 999753 | 0 | 0 | 0 | 41501 | 40933 | 568 | 568000 | 0.568
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 991499 | 991499 | 0 | 0 | 0 | 985779 | 985376 | 403 | 403000 | 0.403
[7 empty] | NET REACTIVE ENERGY |  |  | 0 |  | NET REACTIVE ENERGY |  |  | 0.971
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 1.764 |  |  |  |  | 1.145
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | 0.0759 |  |  |  |  | 1.331
[7 empty] | NDMC = |  |  | -0.276 |  |  |  |  | 2.2583
MES =
[7 empty] | 2)TOTAL |  |  | -0.2001 |  |  |  |  | 3.5893
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.5639 |  |  |  |  | 4.7343
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.7238 | % |  |  | 0.44921 |  |  |  |  | 1.3599
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.6934 | % |  |  | 0.6364 |  |  |  |  | 1.9265
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.1722 | % |  |  | 0.36239 |  |  |  |  | 1.097
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 6.2606 | % |  |  | 0.09791 |  |  |  |  | 0.2964
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.1499 | % |  |  | 0.017983 |  |  |  |  | 0.05444
Note :Sharing taken from wk-44 abt bill 2010-11

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JANUARY-2011 TO 31st JANUARY-2011
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -2.8184 |  | -2.242
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -1.6101 | + | 11.3476
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -1.6806 | + | 3.2451
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 4.27 | + | 3.7394
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.36867 | + | 0.62436
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/11 | INTIAL READING 01/01/11 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 990246 | 990213 | 33 | 49500 | 0.0495 | 981743 | 981765 | -22 | -33000 | -0.033
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 988289 | 989169 | -880 | -1320000 | -1.32 | 987403 | 987407 | -4 | -6000 | -0.006
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 951126 | 951644 | -518 | -777000 | -0.777 | 971580 | 971702 | -122 | -183000 | -0.183
[8 empty] | NET REACTIVE ENERGY |  | -2.0475 |  |  | NET REACTIVE ENERGY |  | -0.222
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 1000 | 997053 | 997053 | 0 | 0 | 0 | 38038 | 38038 | 0 | 0 | 0
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999964 | 999946 | 18 | 18000 | 0.018 | 10316 | 11568 | -1252 | -1252000 | -1.252
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 980811 | 980460 | 351 | 351000 | 0.351 | 992749 | 992830 | -81 | -81000 | -0.081
[8 empty] | NET REACTIVE ENERGY |  | 0.369 |  |  | NET REACTIVE ENERGY |  | -1.333