## NDPL
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966294 | 966306 | -12 | 12000 | 0.012 | 998652 | 998751 | -99 | 99000 | 0.099
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 71845 | 71818 | 27 | -54000 | -0.054 | 2167 | 1994 | 173 | -346000 | -0.346
[10 empty] | -0.003 |  |  |  |  | -0.133 | Assessment
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 928132 | 928144 | -12 | 12000 | 0.012 | 992796 | 994329 | -1533 | 1533000 | 1.533
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997712 | 997798 | -86 | 86000 | 0.086 | 993541 | 993951 | -410 | 410000 | 0.41
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 877140 | 877198 | -58 | 58000 | 0.058 | 987507 | 987796 | -289 | 289000 | 0.289
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28912 | 28919 | -7 | 7000 | 0.007 | 16175 | 16175 | 0 | 0 | 0
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4091 | 4103 | -12 | 12000 | 0.012 | 998150 | 998152 | -2 | 2000 | 0.002
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1589 | 1623 | -34 | 34000 | 0.034 | 998616 | 998712 | -96 | 96000 | 0.096
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 968370 | 968493 | -123 | 61500 | 0.0615 | 844474 | 844645 | -171 | 85500 | 0.0855
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3243 | 3292 | -49 | 49000 | 0.049 | 998472 | 998473 | -1 | 1000 | 0.001
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39467 | 39346 | 121 | -121000 | -0.121 | 998378 | 998381 | -3 | 3000 | 0.003
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14809 | 14792 | 17 | -17000 | -0.017 | 996904 | 996919 | -15 | 15000 | 0.015
13 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 99999647 | 99999535 | 112 | -112 | -0.112 | 99999952 | 99999953 | -1 | 1 | 0.001
[10 empty] | -0.11889 |  |  |  |  | 0.017982 | Assessment Last month
14 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 833720 | 835211 | -1491 | -1491000 | -1.491 | 999981 | 999981 | 0 | 0 | 0
15 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 942771 | 943307 | -536 | -536000 | -0.536 | 999995 | 999995 | 0 | 0 | 0
NARELA
16 | Tx.1 | 4865027 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977716 | 977148 | 568 | -568000 | -0.568 | 14381 | 14381 | 0 | 0 | 0 | Check Meter Data till 25/8
|  | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3 | 0 | 3 | -3000 | -0.003 | 0 | 0 | 0 | 0 | 0 | w.e.f 26/8/19
17 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 22212 | 19047 | 3165 | -1582500 | -1.5825 | 999935 | 999935 | 0 | 0 | 0
18 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41054 | 41153 | -99 | 99000 | 0.099 | 173 | 197 | -24 | 24000 | 0.024
NARAINA
19 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999941 | 999943 | -2 | -2000 | -0.002 | 992117 | 992471 | -354 | -354000 | -0.354
20 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634 | 638 | -4 | -4000 | -0.004 | 22078 | 22274 | -196 | -196000 | -0.196
21 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1350 | 1350 | 0 | 0 | 0 | 10421 | 9585 | 836 | 418000 | 0.418
22 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 149969 | 149969 | 0 | 0 | 0 | 345933 | 335565 | 10368 | 1036800 | 1.0368
23 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995514 | 995506 | 8 | 8000 | 0.008 | 984173 | 984280 | -107 | -107000 | -0.107
24 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2 | 2 | 0 | 0 | 0 | 427 | 341 | 86 | 86000 | 0.086
25 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 56473 | 55898 | 575 | 57500 | 0.0575 | 188786 | 187654 | 1132 | 113200 | 0.1132
[5 empty] | 100 | [5 empty] | 127497 | 126976 | 521 | 52100 | 0.0521
KASHMIRI GATE
26 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 973789 | 974723 | -934 | -934000 | -0.934 | 999816 | 999816 | 0 | 0 | 0
27 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 556810 | 557155 | -345 | -345000 | -0.345 | 829224 | 829224 | 0 | 0 | 0
28 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999768 | 999714 | 54 | 14400.18 | 0.0144 | 999886 | 999923 | -37 | -9866.79 | -0.0098668
29 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 1019 | 1015 | 4 | 2000 | 0.002 | 999963 | 1000019 | -56 | -28000 | -0.028
KANJAWALA
30 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23155 | 22714 | 441 | -441000 | -0.441 | 996471 | 996473 | -2 | 2000 | 0.002
31 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 116919 | 115805 | 1114 | -557000 | -0.557 | 14662 | 14664 | -2 | 1000 | 0.001
[5 empty] | -500 | 114674 | 113924 | 750 | -375000 | -0.375
32 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
33 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13675 | 13536 | 139 | -139000 | -0.139 | 999962 | 999962 | 0 | 0 | 0
DSIDC BAWANA
34 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 51617 | 50555 | 1062 | -2124000 | -2.124 | 241 | 200 | 41 | -82000 | -0.082
35 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 63387 | 63150 | 237 | -237000 | -0.237 | 998562 | 998634 | -72 | 72000 | 0.072
36 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 120560 | 120053 | 507 | -507000 | -0.507 | 2720 | 2648 | 72 | -72000 | -0.072
ROHINI-II
37 | Tx.1 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -2500 | 1426 | 1402 | 24 | -60000 | -0.06 | 82 | 64 | 18 | -45000 | -0.045
38 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30011 | 29945 | 66 | -66000 | -0.066 | 1158 | 1112 | 46 | -46000 | -0.046
WAZIRPUR
39 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998444 | 998755 | -311 | 311000 | 0.311 | 998540 | 998540 | 0 | 0 | 0
40 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30482 | 30630 | -148 | 148000 | 0.148 | 1622 | 1622 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
41 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 745 | 749 | -4 | -4000 | -0.004 | 28088 | 28198 | -110 | -110000 | -0.11
42 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
| NDPL(+) continue | [14 empty] | AUGUST-2019
DMS
43 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1155 | 1157 | -2 | -2000 | -0.002 | 61260 | 61264 | -4 | -4000 | -0.004
VISHAL
44 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999508 | 999468 | 40 | 4000 | 0.004 | 999774 | 999745 | 29 | 2900 | 0.0029
46 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2707 | 2658 | 49 | 4900 | 0.0049 | 28483 | 28420 | 63 | 6300 | 0.0063
S.B.MILL
47 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 619 | 569 | 50 | 66650 | 0.06665 | 473 | 473 | 0 | 0 | 0
48 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 2830 | 2828 | 2 | 200 | 0.0002 | 1559 | 1559 | 0 | 0 | 0
49 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
50 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
51 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1052 | 807 | 245 | 24500 | 0.0245 | 1020 | 1012 | 8 | 800 | 0.0008
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999855 | 999855 | 0 | 0 | 0 | 1497 | 1442 | 55 | 27500 | 0.0275
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2023 | 2003 | 20 | 13333.4 | 0.013333 | 245 | 217 | 28 | 18666.76 | 0.018667
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4953 | 4953 | 0 | 0 | 0 | 1544 | 1544 | 0 | 0 | 0
[10 empty] | 0.0069474 |  |  |  |  | 0.014211 | Assessment
|  | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 22 | 0 | 22 | 11000 | 0.011 | 45 | 0 | 45 | 22500 | 0.0225 | w.e.f 13/8/19
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 996913 | 997066 | -153 | -15300 | -0.0153 | 4083 | 4083 | 0 | 0 | 0
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
60 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
61 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 7234 | 6951 | 283 | 28300 | 0.0283 | 11542 | 11421 | 121 | 12100 | 0.0121
62 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 7942 | 7302 | 640 | 64000 | 0.064 | 1678 | 1641 | 37 | 3700 | 0.0037
63 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 27325 | 26827 | 498 | 49800 | 0.0498 | 7120 | 7086 | 34 | 3400 | 0.0034
KASHMIRI GATE
64 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 46145 | 45934 | 211 | 21100 | 0.0211 | 1748 | 1843 | -95 | -9500 | -0.0095
65 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 26264 | 26264 | 0 | 0 | 0 | 52904 | 52904 | 0 | 0 | 0
[10 empty] | 0.00016129 |  |  |  |  | 0.015565 | Assessment
|  | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 0 | 0 | 0 | 0 | 0 | 53 | 0 | 53 | 7066.49 | 0.0070665 | w.e.f 26/8/19
66 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 316 | 316 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
67 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 62 | 61 | 1 | -400 | -0.0004
68 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999977 | 999977 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
69 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 983626 | 983637 | -11 | -8800 | -0.0088 | 999762 | 999765 | -3 | -2400 | -0.0024
70 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 998240 | 998244 | -4 | -8000 | -0.008 | 1066 | 1067 | -1 | -2000 | -0.002
PEERAGARHI
71 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 987725 | 987277 | 448 | 89600 | 0.0896 | 372 | 368 | 4 | 800 | 0.0008
[10 empty] | 0.057 |  |  |  |  | -0.0005 | Assessment
72 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998788 | 998537 | 251 | 62750 | 0.06275 | 328 | 329 | -1 | -250 | -0.00025
REWARI LINE
73 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999549 | 999483 | 66 | 66000 | 0.066 | 2340 | 2309 | 31 | 31000 | 0.031
74 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1293 | 1282 | 11 | 8250 | 0.00825 | 3006 | 2591 | 415 | 311250 | 0.31125
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -8.8856 |  |  |  |  | 3.2874
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 12760 | 12737 | 23 | -2300 | -0.0023 | 118281 | 116677 | 1604 | -160400 | -0.1604
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 187 | 172 | 15 | -12000 | -0.012 | 10304 | 9865 | 439 | -351200 | -0.3512
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 93 | 38 | 55 | -55000 | -0.055 | 35 | 6 | 29 | -29000 | -0.029
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 2209 | 1401 | 808 | -107730.64 | -0.10773 | 217 | 68 | 149 | -19866.17 | -0.019866
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998689 | 998711 | -22 | 4125 | 0.004125 | 999963 | 999964 | -1 | 187.5 | 0.0001875
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 945693 | 947535 | -1842 | 1473600 | 1.4736 | 998182 | 998182 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 993518 | 993972 | -454 | 283750 | 0.28375 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 993292 | 994122 | -830 | 518750 | 0.51875 | 999844 | 999844 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999360 | 999413 | -53 | 10600 | 0.0106 | 13800 | 13065 | 735 | -147000 | -0.147
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 996866 | 996930 | -64 | 12000 | 0.012 | 5711 | 5538 | 173 | -32437.5 | -0.032438
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998660 | 998710 | -50 | 9375 | 0.009375 | 4142 | 4059 | 83 | -15562.5 | -0.015562
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 2085 | 1913 | 172 | -43000 | -0.043 | 7436 | 7171 | 265 | -66250 | -0.06625
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999764 | 999653 | 111 | -11100 | -0.0111 | 25672 | 23136 | 2536 | -253600 | -0.2536
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 2.0811 |  |  |  |  | -1.0751
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -8.8856 |  |  |  |  | 3.2874
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 2.0811 |  |  |  |  | -1.0751
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.16392 |  |  |  |  | 0.1035
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -6.6406 |  |  |  |  | 2.3158
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -6.6406 | (REACTIVE MUs) |  |  |  | 2.3158 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -1.3188 | (REACTIVE MUs) |  |  |  | 0.09907 | (REACTIVE MUs)
[9 empty] | TOTAL | -7.9594 | (REACTIVE MUs) |  |  |  | 2.4149 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | AUGUST-2019
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 27323 | 27087 | 236 | 23600 | 0.0236 | 994134 | 993881 | 253 | 25300 | 0.0253
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11354 | 11266 | 88 | 26400 | 0.0264 | 4826 | 4408 | 418 | 125400 | 0.1254
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 54671 | 54777 | -106 | -7950 | -0.00795 | 393491 | 390813 | 2678 | 200850 | 0.20085
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 994685 | 994692 | -7 | -2100 | -0.0021 | 6000 | 5973 | 27 | 8100 | 0.0081
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1725 | 1725 | 0 | 0 | 0 | 3624 | 3617 | 7 | 9333.1 | 0.0093331
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) |  | 3634 | 3297 | 337 | 0 | 0 | 800 | 390 | 410 | 0 | 0
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 70386 | 69809 | 577 | 43275 | 0.043275 | 42058 | 41538 | 520 | 39000 | 0.039
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982710 | 982728 | -18 | -18000 | -0.018 | 2266 | 2279 | -13 | -13000 | -0.013
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 996023 | 996052 | -29 | -14500 | -0.0145 | 286 | 270 | 16 | 8000 | 0.008
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998218 | 998232 | -14 | -14000 | -0.014 | 1597 | 1587 | 10 | 10000 | 0.01
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991006 | 991123 | -117 | -117000 | -0.117 | 1466 | 1462 | 4 | 4000 | 0.004
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991941 | 991966 | -25 | -25000 | -0.025 | 6261 | 6256 | 5 | 5000 | 0.005
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999961 | 999998 | -37 | -37000 | -0.037 | 998704 | 998676 | 28 | 28000 | 0.028
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997501 | 997566 | -65 | -65000 | -0.065 | 999805 | 999807 | -2 | -2000 | -0.002
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 996168 | 996233 | -65 | -52000 | -0.052 | 4980 | 4973 | 7 | 5600 | 0.0056
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 1236 | 514 | 722 | 96264.26 | 0.096264 | 2527 | 162 | 2365 | 315325.45 | 0.31533
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1465 | 1481 | -16 | -16000 | -0.016 | 9741 | 9750 | -9 | -9000 | -0.009
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1682 | 1504 | 178 | 178000 | 0.178 | 17388 | 17386 | 2 | 2000 | 0.002
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 974034 | 974034 | 0 | 0 | 0 | 951136 | 951262 | -126 | -157500 | -0.1575
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 990854 | 990857 | -3 | -3300 | -0.0033 | 937314 | 937741 | -427 | -469700 | -0.4697
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 958245 | 958253 | -8 | -8000 | -0.008 | 6586 | 6903 | -317 | -317000 | -0.317
| KASHMIRI GATE | [8 empty] | -0.0113 |  |  |  |  | -0.9442
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992355 | 992386 | -31 | 31000 | 0.031 | 999132 | 999661 | -529 | 529000 | 0.529
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990101 | 990194 | -93 | 93000 | 0.093 | 999281 | 999533 | -252 | 252000 | 0.252
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 316 | 316 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999830 | 999830 | 0 | 0 | 0 | 12586 | 11162 | 1424 | 1424000 | 1.424
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 107295 | 107250 | 45 | -45000 | -0.045 | 8161 | 8131 | 30 | -30000 | -0.03
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29151 | 29091 | 60 | -60000 | -0.06 | 296 | 300 | -4 | 4000 | 0.004
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998127 | 998394 | -267 | 267000 | 0.267 | 999372 | 999427 | -55 | 55000 | 0.055
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996748 | 996717 | 31 | -31000 | -0.031 | 998845 | 998754 | 91 | -91000 | -0.091
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996216 | 996163 | 53 | -53000 | -0.053 | 983454 | 983604 | -150 | 150000 | 0.15
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20372 | 20321 | 51 | -51000 | -0.051 | 281 | 280 | 1 | -1000 | -0.001
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 15326 | 15228 | 98 | -196000 | -0.196 | 22 | 22 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 93 | 38 | 55 | 55000 | 0.055 | 35 | 6 | 29 | 29000 | 0.029
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 2209 | 1401 | 808 | 107730.64 | 0.10773 | 217 | 68 | 149 | 19866.17 | 0.019866
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 996421 | 996421 | 0 | 0 | 0 | 11057 | 11924 | -867 | -115311 | -0.11531
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969851 | 970616 | -765 | 765000 | 0.765 | 990186 | 990186 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983348 | 984105 | -757 | 757000 | 0.757 | 999927 | 999927 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 1.6274 |  |  |  |  | 2.0433
| (A) NET ENERGY TO CENTRAL | [8 empty] | 1.6274 |  |  |  |  | 2.0433
AUGUST-2019
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992123 | 992544 | -421 | 421000 | 0.421 | 997716 | 997732 | -16 | 16000 | 0.016
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988927 | 989176 | -249 | 249000 | 0.249 | 963456 | 963540 | -84 | 84000 | 0.084
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997255 | 997547 | -292 | 292000 | 0.292 | 998615 | 998638 | -23 | 23000 | 0.023
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990203 | 991456 | -1253 | 1253000 | 1.253 | 999403 | 999441 | -38 | 38000 | 0.038
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16567 | 16576 | -9 | 9000 | 0.009 | 997807 | 998236 | -429 | 429000 | 0.429
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2632 | 2644 | -12 | 12000 | 0.012 | 996723 | 997194 | -471 | 471000 | 0.471
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7192 | 7192 | 0 | 0 | 0 | 999511 | 999511 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7964 | 7965 | -1 | 1000 | 0.001 | 950657 | 949777 | 880 | -880000 | -0.88
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 956465 | 956451 | 14 | -14000 | -0.014 | 992358 | 992032 | 326 | -326000 | -0.326
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971411 | 971435 | -24 | 24000 | 0.024 | 978316 | 978860 | -544 | 544000 | 0.544
[5 empty] | -1000 | [5 empty] | 979137 | 979773 | -636 | 636000 | 0.636
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958882 | 958773 | 109 | -109000 | -0.109 | 826443 | 827357 | -914 | 914000 | 0.914
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36178 | 36178 | 0 | 0 | 0 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33313 | 32374 | 939 | -939000 | -0.939 | 124 | 129 | -5 | 5000 | 0.005
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19659 | 18375 | 1284 | -1284000 | -1.284 | 919545 | 919550 | -5 | 5000 | 0.005
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.085 |  |  |  |  | 1.959
| (B) NET ENERGY TO EAST | [8 empty] | -0.085 |  |  |  |  | 1.959
AUGUST-2019
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 999768 | 999714 | 54 | -14400.18 | -0.0144 | 999886 | 999923 | -37 | 9866.79 | 0.0098668
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 1019 | 1015 | 4 | -2000 | -0.002 | 999963 | 1000019 | -56 | 28000 | 0.028
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2913 | 2908 | 5 | -1333.3 | -0.0013333 | 2154 | 2135 | 19 | -5066.54 | -0.0050665
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 91815 | 90988 | 827 | -82700 | -0.0827 | 151965 | 151729 | 236 | -23600 | -0.0236
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 994338 | 994381 | -43 | 8600 | 0.0086 | 999292 | 999266 | 26 | -5200 | -0.0052
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 64889 | 63540 | 1349 | -269800 | -0.2698 | 132546 | 132360 | 186 | -37200 | -0.0372
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 696 | 687 | 9 | -7200 | -0.0072 | 1993 | 1448 | 545 | -436000 | -0.436
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3211 | 3199 | 12 | -9600 | -0.0096 | 1003 | 792 | 211 | -168800 | -0.1688
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 999992 | 1000000 | -8 | 6400 | 0.0064 | 999346 | 999600 | -254 | 203200 | 0.2032
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 966395 | 966396 | -1 | 800 | 0.0008 | 982477 | 983743 | -1266 | 1012800 | 1.0128
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 973387 | 973389 | -2 | 1600 | 0.0016 | 990666 | 991545 | -879 | 703200 | 0.7032
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999911 | 999911 | 0 | 0 | 0 | 999527 | 999712 | -185 | 370000 | 0.37
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997861 | 997865 | -4 | 8000 | 0.008 | 999540 | 999667 | -127 | 254000 | 0.254
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 745 | 749 | -4 | 4000 | 0.004 | 28088 | 28198 | -110 | 110000 | 0.11
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1155 | 1157 | -2 | 2000 | 0.002 | 61260 | 61264 | -4 | 4000 | 0.004
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999855 | 999855 | 0 | 0 | 0 | 1497 | 1442 | 55 | -27500 | -0.0275
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2023 | 2003 | 20 | -13333.4 | -0.013333 | 245 | 217 | 28 | -18666.76 | -0.018667
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4953 | 4953 | 0 | 0 | 0 | 1544 | 1544 | 0 | 0 | 0
[10 empty] | -0.0069474 |  |  |  |  | -0.014211 | Assessment
|  | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 22 | 0 | 22 | -11000 | -0.011 | 45 | 0 | 45 | -22500 | -0.0225 | w.e.f 13/8/19
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 46145 | 45934 | 211 | -21100 | -0.0211 | 1748 | 1843 | -95 | 9500 | 0.0095
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 26264 | 26264 | 0 | 0 | 0 | 52904 | 52904 | 0 | 0 | 0
[10 empty] | -0.00016129 |  |  |  |  | -0.015565
|  | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 0 | 0 | 0 | 0 | 0 | 53 | 0 | 53 | -7066.49 | -0.0070665 | w.e.f 26/8/19
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 996913 | 997066 | -153 | 15300 | 0.0153 | 4083 | 4083 | 0 | 0 | 0
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 7234 | 6951 | 283 | -28300 | -0.0283 | 11542 | 11421 | 121 | -12100 | -0.0121
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 7942 | 7302 | 640 | -64000 | -0.064 | 1678 | 1641 | 37 | -3700 | -0.0037
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 27325 | 26827 | 498 | -49800 | -0.0498 | 7120 | 7086 | 34 | -3400 | -0.0034
[10 empty] | -0.53498 |  |  |  |  | 1.904
AUGUST-2019
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 1.6274 |  |  |  |  | 2.0433
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.53498 |  |  |  |  | 1.904
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.094738 |  |  |  |  | -0.0034375
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 1.1872 |  |  |  |  | 3.9438
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.085 |  |  |  |  | 1.959
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 1.1022 |  |  |  |  | 5.9028
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.1022 | (REACTIVE MUs) |  |  |  | 5.9028 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -1.0243 | (REACTIVE MUs) |  |  |  | 0.076945 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.077926 | (REACTIVE MUs) |  |  |  | 5.9798 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | AUGUST-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999310 | 999313 | -3 | -15000 | -0.015 | 998869 | 998883 | -14 | -70000 | -0.07
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 981111 | 981096 | 15 | 19999.95 | 0.02 | 670378 | 670341 | 37 | 49333.21 | 0.049333
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 996948 | 996967 | -19 | -3800 | -0.0038 | 2682 | 2595 | 87 | 17400 | 0.0174
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999964 | 999955 | 9 | 11999.97 | 0.012 | 999689 | 999668 | 21 | 27999.93 | 0.028
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 176 | 162 | 14 | 21000 | 0.021 | 999988 | 999999 | -11 | -16500 | -0.0165
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18824 | 18824 | 0 | 0 | 0 | 22626 | 22617 | 9 | 900 | 0.0009
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 672513 | 671574 | 939 | 70425 | 0.070425 | 980919 | 980769 | 150 | 11250 | 0.01125
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 992490 | 992504 | -14 | -1050 | -0.00105 | 18374 | 18248 | 126 | 9450 | 0.00945
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 996209 | 996226 | -17 | -15300 | -0.0153 | 995273 | 995240 | 33 | 29700 | 0.0297
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 1695 | 1778 | -83 | -8300 | -0.0083 | 265587 | 265597 | -10 | -1000 | -0.001
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8164 | 8168 | -4 | 4000 | 0.004 | 996627 | 996744 | -117 | 117000 | 0.117
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1014 | 730 | 284 | -568000 | -0.568 | 997838 | 997942 | -104 | 208000 | 0.208
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13632 | 13715 | -83 | 83000 | 0.083 | 996922 | 997119 | -197 | 197000 | 0.197
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975367 | 975385 | -18 | 18000 | 0.018 | 990670 | 991331 | -661 | 661000 | 0.661
[5 empty] | -1000 | [5 empty] | 991516 | 991727 | -211 | 211000 | 0.211
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51426 | 51401 | 25 | -25000 | -0.025 | 998300 | 998300 | 0 | 0 | 0
[5 empty] | -1000 | [5 empty] | 997437 | 997187 | 250 | -250000 | -0.25
[5 empty] | -1000 | [5 empty] | 997005 | 996996 | 9 | -9000 | -0.009
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 55694 | 55686 | 8 | -4000 | -0.004 | 30675 | 28031 | 2644 | -1322000 | -1.322
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9908 | 9902 | 6 | -12000 | -0.012 | 997782 | 997487 | 295 | -590000 | -0.59
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22539 | 22549 | -10 | 10000 | 0.01 | 817685 | 819187 | -1502 | 1502000 | 1.502
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 6 | 0 | 0 | 0 | 341 | 275 | 66 | -66000 | -0.066
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 38330 | 38333 | -3 | 2400 | 0.0024 | 998074 | 998446 | -372 | 297600 | 0.2976
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 138 | 180 | -42 | 42000 | 0.042 | 962289 | 962459 | -170 | 170000 | 0.17
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995066 | 994978 | 88 | -88000 | -0.088 | 993312 | 993660 | -348 | 348000 | 0.348
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 941990 | 942173 | -183 | 183000 | 0.183 | 984151 | 984292 | -141 | 141000 | 0.141
[5 empty] | -1000 | 959062 | 959086 | -24 | 24000 | 0.024
[5 empty] | -1000 | 961305 | 961308 | -3 | 3000 | 0.003 | 986025 | 986287 | -262 | 262000 | 0.262
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1484 | 1315 | 169 | -169000 | -0.169 | 997470 | 997505 | -35 | 35000 | 0.035
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1542 | 1426 | 116 | -116000 | -0.116 | 999950 | 999950 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 187 | 273 | -86 | 86000 | 0.086 | 20 | 31 | -11 | 11000 | 0.011
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 99305 | 96967 | 2338 | -2338000 | -2.338 | 11999 | 11999 | 0 | 0 | 0
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 5209 | 5397 | -188 | 626666.04 | 0.62667 | 37 | 37 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 187 | 172 | 15 | 12000 | 0.012 | 10304 | 9865 | 439 | 351200 | 0.3512
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974760 | 975670 | -910 | 910000 | 0.91 | 966147 | 966223 | -76 | 76000 | 0.076
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989983 | 990847 | -864 | 864000 | 0.864 | 984184 | 984266 | -82 | 82000 | 0.082
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990395 | 990369 | 26 | -26000 | -0.026 | 985536 | 985561 | -25 | 25000 | 0.025
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 5454 | 5489 | -35 | 28000 | 0.028 | 999313 | 999685 | -372 | 297600 | 0.2976
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 3048 | 3071 | -23 | 36800 | 0.0368 | 999990 | 999859 | 131 | -209600 | -0.2096
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996356 | 996356 | 0 | 0 | 0 | 995335 | 995335 | 0 | 0 | 0
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 4264 | 9425 | -5161 | 2580500 | 2.5805 | 992104 | 992105 | -1 | 500 | 0.0005
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18699 | 18889 | -190 | 190000 | 0.19 | 32772 | 32866 | -94 | 94000 | 0.094
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998607 | 998582 | 25 | -25000 | -0.025 | 996117 | 996149 | -32 | 32000 | 0.032
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999549 | 999576 | -27 | 27000 | 0.027 | 999332 | 999464 | -132 | 132000 | 0.132
BRPL(+) continue | [14 empty] | AUGUST-2019
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33672 | 33577 | 95 | -95000 | -0.095 | 999687 | 999721 | -34 | 34000 | 0.034
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8894 | 8769 | 125 | -125000 | -0.125 | 999183 | 999334 | -151 | 151000 | 0.151
42 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10969 | 10824 | 145 | -145000 | -0.145 | 998973 | 999078 | -105 | 105000 | 0.105
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997646 | 997723 | -77 | 77000 | 0.077 | 925524 | 925626 | -102 | 102000 | 0.102
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24290 | 24120 | 170 | -170000 | -0.17 | 7995 | 8003 | -8 | 8000 | 0.008
[5 empty] | -1000 | [5 empty] | 8819 | 8919 | -100 | 100000 | 0.1
46 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2855 | 2960 | -105 | 210000 | 0.21 | 994537 | 994699 | -162 | 324000 | 0.324
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38955 | 38854 | 101 | -101000 | -0.101 | 997346 | 997403 | -57 | 57000 | 0.057
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 18457 | 18108 | 349 | -698000 | -0.698 | 999384 | 999385 | -1 | 2000 | 0.002
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7704 | 7684 | 20 | -40000 | -0.04 | 2353 | 2353 | 0 | 0 | 0
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5040 | 5016 | 24 | -48000 | -0.048 | 1313 | 1311 | 2 | -4000 | -0.004
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919718 | 919718 | 0 | 0 | 0 | 980154 | 980797 | -643 | 643000 | 0.643
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2233 | 2234 | -1 | 1000 | 0.001 | 995617 | 996259 | -642 | 642000 | 0.642
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1987 | 1984 | 3 | -3000 | -0.003 | 988182 | 988488 | -306 | 306000 | 0.306
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 989688 | 989689 | -1 | -800 | -0.0008 | 542 | 531 | 11 | 8800 | 0.0088
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 967044 | 967067 | -23 | -18400 | -0.0184 | 999616 | 999622 | -6 | -4800 | -0.0048
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1298 | 1299 | -1 | -800 | -0.0008 | 999826 | 999823 | 3 | 2400 | 0.0024
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 997800 | 997845 | -45 | -36000 | -0.036 | 24 | 18 | 6 | 4800 | 0.0048
PARK STREET
60 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997861 | 997865 | -4 | -8000 | -0.008 | 999540 | 999667 | -127 | -254000 | -0.254
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44681 | 41738 | 2943 | -2943000 | -2.943 | 923 | 923 | 0 | 0 | 0
63 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 74957 | 72891 | 2066 | -2066000 | -2.066 | 723 | 720 | 3 | -3000 | -0.003
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 80653 | 78869 | 1784 | -1784000 | -1.784 | 708 | 708 | 0 | 0 | 0
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 12760 | 12737 | 23 | 2300 | 0.0023 | 118281 | 116677 | 1604 | 160400 | 0.1604
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998689 | 998711 | -22 | -4125 | -0.004125 | 999963 | 999964 | -1 | -187.5 | -0.0001875
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 957892 | 957944 | -52 | -20800 | -0.0208 | 995543 | 995423 | 120 | 48000 | 0.048
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 12503 | 12042 | 461 | 184400 | 0.1844 | 71900 | 71686 | 214 | 85600 | 0.0856
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 945693 | 947535 | -1842 | -1473600 | -1.4736 | 998182 | 998182 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 391530 | 390989 | 541 | 54100 | 0.0541 | 79897 | 79149 | 748 | 74800 | 0.0748
[5 empty] | 100 | [5 empty] | 65033 | 64098 | 935 | 93500 | 0.0935
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5662 | 5650 | 12 | 12000 | 0.012 | 1919 | 1876 | 43 | 43000 | 0.043
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10812 | 10784 | 28 | 2100 | 0.0021 | 20686 | 19885 | 801 | 60075 | 0.060075
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5305 | 5297 | 8 | 800 | 0.0008 | 13274 | 12905 | 369 | 36900 | 0.0369
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 7660 | 7310 | 350 | 175000 | 0.175 | 3114 | 3099 | 15 | 7500 | 0.0075
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1146 | 1130 | 16 | 16000 | 0.016 | 4078 | 4077 | 1 | 1000 | 0.001
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991323 | 991434 | -111 | -111000 | -0.111 | 1087 | 1088 | -1 | -1000 | -0.001
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5128 | 4978 | 150 | 150000 | 0.15 | 6498 | 6497 | 1 | 1000 | 0.001
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 4070 | 3809 | 261 | 41760 | 0.04176 | 999769 | 999768 | 1 | 160 | 0.00016
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 185992 | 183579 | 2413 | 241300 | 0.2413 | 46969 | 46959 | 10 | 1000 | 0.001
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2940 | 2856 | 84 | 84000 | 0.084 | 670 | 643 | 27 | 27000 | 0.027
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3606 | 3538 | 68 | 68000 | 0.068 | 6861 | 6822 | 39 | 39000 | 0.039
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999360 | 999413 | -53 | -10600 | -0.0106 | 13800 | 13065 | 735 | 147000 | 0.147
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996866 | 996930 | -64 | -12000 | -0.012 | 5711 | 5538 | 173 | 32437.5 | 0.032438
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998660 | 998710 | -50 | -9375 | -0.009375 | 4142 | 4059 | 83 | 15562.5 | 0.015562
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 2085 | 1913 | 172 | 43000 | 0.043 | 7436 | 7171 | 265 | 66250 | 0.06625
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999764 | 999653 | 111 | 11100 | 0.0111 | 25672 | 23136 | 2536 | 253600 | 0.2536
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -6.1103 |  |  |  |  | 6.2796
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 22260 | 22260 | 0 | 0 | 0 | 4386 | 3315 | 1071 | -107100 | -0.1071
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 996421 | 996421 | 0 | 0 | 0 | 11057 | 11924 | -867 | 115597.11 | 0.1156
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1820 | 1820 | 0 | 0 | 0 | 998453 | 998543 | -90 | 90000 | 0.09
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997798 | 997745 | 53 | -53000 | -0.053 | 2093 | 2052 | 41 | -41000 | -0.041
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9106 | 9106 | 0 | 0 | 0 | 23699 | 19983 | 3716 | -594560 | -0.59456
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 2898 | 2898 | 0 | 0 | 0 | 6902 | 5672 | 1230 | -246000 | -0.246
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989124 | 989165 | -41 | 41000 | 0.041 | 999284 | 999315 | -31 | 31000 | 0.031
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 101277 | 101256 | 21 | -2100 | -0.0021 | 75511 | 75500 | 11 | -1100 | -0.0011
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 2982 | 2493 | 489 | -48900 | -0.0489 | 1169 | 1137 | 32 | -3200 | -0.0032
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 26338 | 25154 | 1184 | -118400 | -0.1184 | 69983 | 69853 | 130 | -13000 | -0.013
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998671 | 998671 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 931 | 447 | 484 | -302500 | -0.3025
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999508 | 999468 | 40 | -4000 | -0.004 | 999774 | 999745 | 29 | -2900 | -0.0029
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2707 | 2658 | 49 | -4900 | -0.0049 | 28483 | 28420 | 63 | -6300 | -0.0063
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 619 | 569 | 50 | -66650 | -0.06665 | 473 | 473 | 0 | 0 | 0
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 2830 | 2828 | 2 | -200 | -0.0002 | 1559 | 1559 | 0 | 0 | 0
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1052 | 807 | 245 | -24500 | -0.0245 | 1020 | 1012 | 8 | -800 | -0.0008 | w.w.f 27/3
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 62 | 61 | 1 | 400 | 0.0004
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999977 | 999977 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 993861 | 993618 | 243 | -97200 | -0.0972 | 2287 | 2237 | 50 | -20000 | -0.02
[5 empty] | -400 | [5 empty] | 997720 | 997551 | 169 | -67600 | -0.0676
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999549 | 999483 | 66 | -66000 | -0.066 | 2340 | 2309 | 31 | -31000 | -0.031
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1293 | 1282 | 11 | -8250 | -0.00825 | 3006 | 2591 | 415 | -311250 | -0.31125
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.4531 |  |  |  |  | -1.5113
AUGUST-2019
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -6.1103 |  |  |  |  | 6.2796
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.4531 |  |  |  |  | -1.5113
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.10896 |  |  |  |  | 0.048187
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.007475 |  |  |  |  | -0.3531
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -6.4619 |  |  |  |  | 4.4634
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -6.4619 | (REACTIVE MUs) |  |  |  | 4.4634 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -1.9562 | (REACTIVE MUs) |  |  |  | 0.14696 | (REACTIVE MUs)
[9 empty] | TOTAL | -8.4181 | (REACTIVE MUs) |  |  |  | 4.6104 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2913 | 2908 | 5 | 1333.35 | 0.0013334 | 2154 | 2135 | 19 | 5066.73 | 0.0050667
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 91815 | 90988 | 827 | 82700 | 0.0827 | 151965 | 151729 | 236 | 23600 | 0.0236
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 994338 | 994381 | -43 | -8600 | -0.0086 | 999292 | 999266 | 26 | 5200 | 0.0052
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 64889 | 63540 | 1349 | 269800 | 0.2698 | 132546 | 132360 | 186 | 37200 | 0.0372
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 696 | 687 | 9 | 7200 | 0.0072 | 1993 | 1448 | 545 | 436000 | 0.436
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3211 | 3199 | 12 | 9600 | 0.0096 | 1003 | 792 | 211 | 168800 | 0.1688
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 999992 | 1000000 | -8 | -6400 | -0.0064 | 999346 | 999600 | -254 | -203200 | -0.2032
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 966395 | 966396 | -1 | -800 | -0.0008 | 982477 | 983743 | -1266 | -1012800 | -1.0128
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 973387 | 973389 | -2 | -1600 | -0.0016 | 990666 | 991545 | -879 | -703200 | -0.7032
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999911 | 999911 | 0 | 0 | 0 | 999527 | 999712 | -185 | -370000 | -0.37
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 987970 | 988056 | -86 | -4300 | -0.0043 | 21239 | 20771 | 468 | 23400 | 0.0234
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 983248 | 983296 | -48 | -3600 | -0.0036 | 23249 | 23138 | 111 | 8325 | 0.008325
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 999666 | 999671 | -5 | -2500 | -0.0025 | 5490 | 5390 | 100 | 50000 | 0.05
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998950 | 998959 | -9 | -3375 | -0.003375 | 7675 | 7627 | 48 | 18000 | 0.018
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999861 | 999899 | -38 | -3800 | -0.0038 | 1283 | 846 | 437 | 43700 | 0.0437
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 6355 | 6199 | 156 | 11700 | 0.0117 | 39419 | 38398 | 1021 | 76575 | 0.076575
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 9153 | 9235 | -82 | -8200 | -0.0082 | 1818 | 1497 | 321 | 32100 | 0.0321
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996626 | 996626 | 0 | 0 | 0 | 104372 | 103666 | 706 | 706000 | 0.706
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996033 | 996033 | 0 | 0 | 0 | 2594 | 2164 | 430 | 430000 | 0.43
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985788 | 985788 | 0 | 0 | 0 | 144786 | 144917 | -131 | -131000 | -0.131
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999999 | 999999 | 0 | 0 | 0 | 897 | 693 | 204 | 510000 | 0.51
[10 empty] | 0 |  |  |  |  | 1.515
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997798 | 997745 | 53 | 53000 | 0.053 | 2093 | 2052 | 41 | 41000 | 0.041
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9106 | 9106 | 0 | 0 | 0 | 23699 | 19983 | 3716 | 594560 | 0.59456
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 2898 | 2898 | 0 | 0 | 0 | 6902 | 5672 | 1230 | 246000 | 0.246
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989124 | 989165 | -41 | -41000 | -0.041 | 999284 | 999315 | -31 | -31000 | -0.031
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998671 | 998671 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
AUGUST-2019
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998308 | 998356 | -48 | 48000 | 0.048 | 991102 | 991850 | -748 | 748000 | 0.748
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999823 | 999873 | -50 | 50000 | 0.05 | 996809 | 997513 | -704 | 704000 | 0.704
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997606 | 997619 | -13 | 26000 | 0.026 | 997403 | 997693 | -290 | 580000 | 0.58
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999236 | 999260 | -24 | 24000 | 0.024 | 997263 | 997902 | -639 | 639000 | 0.639
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 931 | 447 | 484 | 302500 | 0.3025
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 101277 | 101256 | 21 | 2100 | 0.0021 | 75511 | 75500 | 11 | 1100 | 0.0011
37 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 2982 | 2493 | 489 | 48900 | 0.0489 | 1169 | 1137 | 32 | 3200 | 0.0032
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 26338 | 25154 | 1184 | 118400 | 0.1184 | 69983 | 69853 | 130 | 13000 | 0.013
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 22260 | 22260 | 0 | 0 | 0 | 4386 | 3315 | 1071 | 107100 | 0.1071
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 391530 | 390989 | 541 | -54100 | -0.0541 | 79897 | 79149 | 748 | -74800 | -0.0748
[5 empty] | -100 | [5 empty] | 65033 | 64098 | 935 | -93500 | -0.0935
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5662 | 5650 | 12 | -12000 | -0.012 | 1919 | 1876 | 43 | -43000 | -0.043
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10812 | 10784 | 28 | -2100 | -0.0021 | 20686 | 19885 | 801 | -60075 | -0.060075
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5305 | 5297 | 8 | -800 | -0.0008 | 13274 | 12905 | 369 | -36900 | -0.0369
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 0.59956 |  |  |  |  | 3.794
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 0.59956 |  |  |  |  | 3.794
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.18977 |  |  |  |  | 0.014256
| TOTAL ENERGY TO NDMC | [8 empty] | 0.40979 |  |  |  |  | 3.8082

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2019
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3774 | 3774 | 0 | 0 | 0 | 56710 | 51323 | 5387 | 1077400 | 1.0774
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42414 | 42414 | 0 | 0 | 0
|  | 5128405 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 22/8/19
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4466 | 4466 | 0 | 0 | 0 | 54949 | 54202 | 747 | 747000 | 0.747
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 162 | 162 | 0 | 0 | 0 | 16162 | 15676 | 486 | 194400 | 0.1944
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 78 | 76 | 2 | 1600 | 0.0016 | 432 | 340 | 92 | 73600 | 0.0736
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 888 | 861 | 27 | 10800 | 0.0108 | 4289 | 3849 | 440 | 176000 | 0.176
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1820 | 1820 | 0 | 0 | 0 | 998453 | 998543 | -90 | -90000 | -0.09
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0124 |  |  |  |  | 2.1784
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 65998 | 65998 | 0 | 0 | 0 | 100354 | 98288 | 2066 | 206600 | 0.2066
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78409 | 78395 | 14 | 1400 | 0.0014 | 18315 | 18304 | 11 | 1100 | 0.0011
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 100 | 447 | 387 | 60 | 6000 | 0.006 | 13577 | 12123 | 1454 | 145400 | 0.1454
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 75 | 75 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 648 | 647 | 1 | 75 | 7.5e-05 | 1663 | 1663 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4348 | 4348 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.007475 |  |  |  |  | 0.3531
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0124 |  |  |  |  | 2.1784
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.019875 |  |  |  |  | 2.5315
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.019875 | (REACTIVE MUs) |  |  |  | 2.5315 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.02944 | (REACTIVE MUs) |  |  |  | 0.0022116 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.0095648 | (REACTIVE MUs) |  |  |  | 2.5337 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2019
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 993518 | 993972 | -454 | -283750 | -0.28375 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 993292 | 994122 | -830 | -518750 | -0.51875 | 999844 | 999844 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 993861 | 993618 | 243 | 97200 | 0.0972 | 2287 | 2237 | 50 | 20000 | 0.02
[5 empty] | 400 | [5 empty] | 997720 | 997551 | 169 | 67600 | 0.0676
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.7053 |  |  |  |  | 0.02
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.011461 |  |  |  |  | 0.00086096
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.71676 |  |  |  |  | 0.020861

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2019
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 960916 | 960177 | 739 | 73900 | 0.0739 | 1970 | 1975 | -5 | -500 | -0.0005
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 72235 | 72237 | -2 | -200 | -0.0002 | 6287 | 6216 | 71 | 7100 | 0.0071
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 15342 | 15291 | 51 | 25500 | 0.0255 | 3766 | 3693 | 73 | 36500 | 0.0365
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998656 | 998697 | -41 | -38437.5 | -0.038437 | 89 | 92 | -3 | -2812.5 | -0.0028125
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 996025 | 996025 | 0 | 0 | 0 | 999839 | 999839 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 994767 | 994855 | -88 | 44000 | 0.044 | 999861 | 999869 | -8 | 4000 | 0.004
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 166 | 152 | 14 | 4200 | 0.0042 | 110 | 97 | 13 | 3900 | 0.0039
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.10896 |  |  |  |  | 0.048187
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 980448 | 980504 | -56 | -11200 | -0.0112 | 999757 | 999807 | -50 | -10000 | -0.01
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 990988 | 990875 | 113 | 105937.5 | 0.10594 | 999927 | 999920 | 7 | 6562.5 | 0.0065625
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.094738 |  |  |  |  | -0.0034375
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1879 | 1874 | 5 | 6250 | 0.00625 | 999934 | 999948 | -14 | -17500 | -0.0175
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 354676 | 354429 | 247 | 24700 | 0.0247 | 169966 | 169689 | 277 | 27700 | 0.0277
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 291161 | 290891 | 270 | 16875 | 0.016875 | 102876 | 102328 | 548 | 34250 | 0.03425
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2690 | 2670 | 20 | 16000 | 0.016 | 1817 | 1839 | -22 | -17600 | -0.0176
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 965605 | 965737 | -132 | -13200 | -0.0132 | 999109 | 999125 | -16 | -1600 | -0.0016
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 995958 | 995508 | 450 | 67500 | 0.0675 | 990205 | 989674 | 531 | 79650 | 0.07965
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997575 | 997595 | -20 | 50000 | 0.05 | 3054 | 3055 | -1 | 2500 | 0.0025
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 166 | 152 | 14 | -4200 | -0.0042 | 110 | 97 | 13 | -3900 | -0.0039
| TOTAL NDPL | [8 empty] | 0.16392 |  |  |  |  | 0.1035
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.10896 |  |  |  |  | 0.048187
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.094738 |  |  |  |  | -0.0034375
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.16392 |  |  |  |  | 0.1035

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2019
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 60229 | 60213 | 16 | 16000 | 0.016 | 22212 | 22246 | -34 | -34000 | -0.034
[5 empty] | 1000 | [5 empty] | 999425 | 999458 | -33 | -33000 | -0.033
[5 empty] | 1000 | [5 empty] | 999203 | 999315 | -112 | -112000 | -0.112
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 681 | 677 | 4 | 8000 | 0.008 | 999342 | 999443 | -101 | -202000 | -0.202
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 962393 | 963315 | -922 | 461000 | 0.461 | 998840 | 999271 | -431 | 215500 | 0.2155
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 645032 | 645728 | -696 | 69600 | 0.0696 | 997108 | 997178 | -70 | 7000 | 0.007
[5 empty] | -100 | 654247 | 654425 | -178 | 17800 | 0.0178
[7 empty] | NET REACTIVE ENERGY |  |  | 0.5724 |  | NET REACTIVE ENERGY |  |  | -0.1585
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.5724 |  |  |  |  | -0.1585
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -2.868 |  |  |  |  | -0.082
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -2.2343 |  |  |  |  | -0.9342
[7 empty] | NDMC = |  |  | 0 |  |  |  |  | 1.515
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -5.1023 |  |  |  |  | 0.4988
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -4.5299 |  |  |  |  | 0.3403
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.1125 | % |  |  | -1.3188 |  |  |  |  | 0.09907
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 43.1843 | % |  |  | -1.9562 |  |  |  |  | 0.14696
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.611 | % |  |  | -1.0243 |  |  |  |  | 0.076945
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.1893 | % |  |  | -0.18977 |  |  |  |  | 0.014256
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6499 | % |  |  | -0.02944 |  |  |  |  | 0.0022116
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.253 | % |  |  | -0.011461 |  |  |  |  | 0.00086096
Note :Sharing taken from wk-22 abt bill 2019-20

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st AUGUST-2019 TO 31st AUGUST-2019
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -7.9594 | + | 2.4149
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -8.4181 | + | 4.6104
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 0.077926 | + | 5.9798
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 0.40979 | + | 3.8082
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.0095648 | + | 2.5337
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.71676 | + | 0.020861
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2019 | INTIAL READING 01/08/2019 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 50023 | 48753 | 1270 | 952500 | 0.9525 | 999899 | 999899 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 823075 | 823882 | -807 | -605250 | -0.60525 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1480 | 1483 | -3 | -15000 | -0.015 | 13151 | 13064 | 87 | 435000 | 0.435
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 865745 | 870132 | -4387 | -4387000 | -4.387
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 976134 | 976194 | -60 | -60000 | -0.06 | 290 | 569 | -279 | -279000 | -0.279
[8 empty] | NET REACTIVE ENERGY |  | -0.075 |  |  | NET REACTIVE ENERGY |  | -4.231