## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JULY-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998027 | 998027 | 0 | 0 | 0 | 999364 | 999796 | -432 | 432000 | 0.432
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 201 | 201 | 0 | 0 | 0 | 998960 | 999270 | -310 | 310000 | 0.31
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12573 | 12522 | 51 | -51000 | -0.051 | 996279 | 996258 | 21 | -21000 | -0.021
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976178 | 976178 | 0 | 0 | 0 | 976178 | 977091 | -913 | 913000 | 0.913
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918612 | 918597 | 15 | -15000 | -0.015 | 942641 | 943911 | -1270 | 1270000 | 1.27
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18595 | 18595 | 0 | 0 | 0 | 17150 | 17136 | 14 | -14000 | -0.014
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19246 | 19245 | 1 | -1000 | -0.001 | 13139 | 13128 | 11 | -11000 | -0.011
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 17112 | 17111 | 1 | -1250 | -0.00125 | 995503 | 995946 | -443 | 553750 | 0.55375
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13307 | 13307 | 0 | 0 | 0 | 985312 | 985848 | -536 | 536000 | 0.536
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30941 | 30941 | 0 | 0 | 0 | 9233 | 9232 | 1 | -1000 | -0.001
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996589 | 996580 | 9 | -9000 | -0.009 | 3867 | 3879 | -12 | 12000 | 0.012
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996568 | 996568 | 0 | 0 | 0 | 999516 | 999665 | -149 | 149000 | 0.149
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 922691 | 923694 | -1003 | -1003000 | -1.003 | 920513 | 920513 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995665 | 995663 | 2 | -2000 | -0.002 | 16926 | 16920 | 6 | -6000 | -0.006
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1148 | 1123 | 25 | -25000 | -0.025 | 19648 | 19647 | 1 | -1000 | -0.001
16 | Tx.3 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 154 | 152 | 2 | -2000 | -0.002 | 20097 | 20161 | -64 | 64000 | 0.064 | Check Meter Data
| Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21 | 0 | 21 | -21000 | -0.021 | 1 | 0 | 1 | -1000 | -0.001 | installed on dated 12/07/13
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 0 | 0 | 0 | 0 | 0 | 995389 | 997164 | -1775 | -355000 | -0.355
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 246 | 246 | 0 | 0 | 0 | 29622 | 29764 | -142 | -142000 | -0.142
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2335 | 2335 | 0 | 0 | 0 | 153099 | 149420 | 3679 | 367900 | 0.3679
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4776 | 4776 | 0 | 0 | 0 | 225710 | 220632 | 5078 | 507800 | 0.5078
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996022 | 996022 | 0 | 0 | 0 | 4030 | 4092 | -62 | -62000 | -0.062
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999940 | 999940 | 0 | 0 | 0 | 7829 | 7596 | 233 | 233000 | 0.233
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 647818 | 647818 | 0 | 0 | 0 | 799026 | 799331 | -305 | -305000 | -0.305
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 655825 | 655826 | -1 | -1000 | -0.001 | 832239 | 832559 | -320 | -320000 | -0.32
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992281 | 992285 | -4 | -4000 | -0.004 | 998535 | 998509 | 26 | 26000 | 0.026
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 1052 | 1052 | 0 | 0 | 0 | 1607 | 1239 | 368 | 184000 | 0.184
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14458 | 14096 | 362 | -362000 | -0.362 | 981927 | 981924 | 3 | -3000 | -0.003
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 820 | 289 | 531 | -531000 | -0.531 | 999852 | 999848 | 4 | -4000 | -0.004
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992515 | 992511 | 4 | -4000 | -0.004 | 926949 | 927525 | -576 | 576000 | 0.576
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000068 | 999954 | 114 | -114000 | -0.114 | 999912 | 999915 | -3 | 3000 | 0.003
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34812 | 33943 | 869 | -869000 | -0.869 | 999932 | 999928 | 4 | -4000 | -0.004
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1344 | 1339 | 5 | 5000 | 0.005 | 20536 | 19963 | 573 | 573000 | 0.573
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 167 | 163 | 4 | 4000 | 0.004 | 2251 | 2484 | -233 | -233000 | -0.233
| NDPL(+) continue | [14 empty] | JULY-2013
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1281 | 1281 | 0 | 0 | 0 | 60656 | 60385 | 271 | 271000 | 0.271
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 803 | 803 | 0 | 0 | 0 | 77732 | 77732 | 0 | 0 | 0
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9228 | 9234 | -6 | -600 | -0.0006 | 28603 | 28605 | -2 | -200 | -0.0002
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 10197 | 10198 | -1 | -100 | -0.0001 | 47641 | 46447 | 1194 | 119400 | 0.1194
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 15486 | 15320 | 166 | 16600 | 0.0166 | 52134 | 51499 | 635 | 63500 | 0.0635
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 39541 | 39496 | 45 | 4500 | 0.0045 | 14382 | 13640 | 742 | 74200 | 0.0742
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16656 | 16656 | 0 | 0 | 0 | 13231 | 12686 | 545 | 54500 | 0.0545
45 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 100 | 999985 | 999999 | -14 | -1400 | -0.0014 | 335 | 68 | 267 | 26700 | 0.0267
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5308 | 5308 | 0 | 0 | 0 | 27798 | 27425 | 373 | 186500 | 0.1865
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3469 | 3469 | 0 | 0 | 0 | 25462 | 25030 | 432 | 216000 | 0.216
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 4508 | 4408 | 100 | 50000 | 0.05 | 14393 | 14288 | 105 | 52500 | 0.0525
49 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 85 | 15 | 70 | 46666.6667 | 0.046667 | 351 | 249 | 102 | 68000 | 0.068
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 996125 | 996162 | -37 | -3700 | -0.0037 | 5910 | 5929 | -19 | -1900 | -0.0019
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 8179 | 8180 | -1 | -100 | -0.0001 | 15201 | 15162 | 39 | 3900 | 0.0039
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 20476 | 20446 | 30 | 3000 | 0.003 | 53558 | 52443 | 1115 | 111500 | 0.1115
53 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 2400 | 2422 | -22 | -2200 | -0.0022 | 999962 | 999969 | -7 | -700 | -0.0007
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998989 | 998991 | -2 | -200 | -0.0002 | 146 | 169 | -23 | -2300 | -0.0023
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 12857 | 10476 | 2381 | 238100 | 0.2381 | 71609 | 71553 | 56 | 5600 | 0.0056
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 9681 | 8479 | 1202 | 120200 | 0.1202 | 62352 | 61946 | 406 | 40600 | 0.0406
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 11413 | 10057 | 1356 | 135600 | 0.1356 | 89993 | 89408 | 585 | 58500 | 0.0585
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 128061 | 128061 | 0 | 0 | 0 | 25311 | 26880 | -1569 | -156900 | -0.1569
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 19562 | 19547 | 15 | 1500 | 0.0015 | 40692 | 39977 | 715 | 71500 | 0.0715
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 23 | 23 | 0 | 0 | 0 | 59 | 59 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999273 | 999276 | -3 | -300 | -0.0003 | 999397 | 999397 | 0 | 0 | 0
Mundka
64 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 994101 | 994101 | 0 | 0 | 0 | 344 | 344 | 0 | 0 | 0
65 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 996309 | 996908 | -599 | -479200 | -0.4792 | 999993 | 999996 | -3 | -2400 | -0.0024
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -2.8779 |  |  |  |  | 6.487
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 13125 | 12227 | 898 | -89800 | -0.0898 | 13883 | 13755 | 128 | -12800 | -0.0128
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8136 | 8136 | 0 | 0 | 0 | 6859 | 6842 | 17 | -17000 | -0.017
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 4127 | 4133 | -6 | 1200 | 0.0012 | 8868 | 7409 | 1459 | -291800 | -0.2918
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14178 | 14177 | 1 | -1000 | -0.001 | 30681 | 29815 | 866 | -866000 | -0.866
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 12437 | 12474 | -37 | 3700 | 0.0037 | 61527 | 61520 | 7 | -700 | -0.0007
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955106 | 956031 | -925 | 925000 | 0.925 | 992455 | 992459 | -4 | 4000 | 0.004
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.8391 |  |  |  |  | -1.1843
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -2.8779 |  |  |  |  | 6.487
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.8391 |  |  |  |  | -1.1843
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.25355 |  |  |  |  | -0.11449
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -1.7852 |  |  |  |  | 5.1882
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.7852 | (REACTIVE MUs) |  |  |  | 5.1882 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.10761 | (REACTIVE MUs) |  |  |  | -0.22469 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.6776 | (REACTIVE MUs) |  |  |  | 4.9635 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JULY-2013
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988124 | 988083 | 41 | 4100 | 0.0041 | 64159 | 61591 | 2568 | 256800 | 0.2568
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 15702 | 16094 | -392 | -39200 | -0.0392 | 10818 | 11067 | -249 | -24900 | -0.0249
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 21411 | 21398 | 13 | 1300 | 0.0013 | 25633 | 18972 | 6661 | 666100 | 0.6661
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 999952 | 999991 | -39 | -3900 | -0.0039 | 2423 | 2381 | 42 | 4200 | 0.0042
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 9568 | 9323 | 245 | 24500 | 0.0245 | 138652 | 132069 | 6583 | 658300 | 0.6583
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 1246 | 1279 | -33 | -3300 | -0.0033 | 66461 | 64262 | 2199 | 219900 | 0.2199
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998200 | 998203 | -3 | -3000 | -0.003 | 793 | 643 | 150 | 150000 | 0.15
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999692 | 999692 | 0 | 0 | 0 | 1950 | 2119 | -169 | -169000 | -0.169
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 782 | 789 | -7 | -7000 | -0.007 | 1319 | 1495 | -176 | -176000 | -0.176
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 53 | 58 | -5 | -5000 | -0.005 | 2723 | 2837 | -114 | -114000 | -0.114
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998842 | 998841 | 1 | 1000 | 0.001 | 3867 | 3438 | 429 | 429000 | 0.429
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 490 | 490 | 0 | 0 | 0 | 853 | 773 | 80 | 80000 | 0.08
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 197 | 197 | 0 | 0 | 0 | 16489 | 16456 | 33 | 33000 | 0.033
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 503 | 503 | 0 | 0 | 0 | 36904 | 36484 | 420 | 420000 | 0.42
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 266 | 266 | 0 | 0 | 0 | 23992 | 22635 | 1357 | 1357000 | 1.357
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 601 | 600 | 1 | 1000 | 0.001 | 8113 | 7512 | 601 | 601000 | 0.601
18 | 6.6 KV IRRG.PUMP | 4864787 | ELSTER | Kvarh(Lead/Lag) | 100 | 39218 | 39044 | 174 | 17400 | 0.0174 | 618 | 618 | 0 | 0 | 0 | Check Meter Data
| 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 158 | 0 | 158 | 15800 | 0.0158 | 1 | 0 | 1 | 100 | 0.0001 | installed on 17/7/13
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998620 | 998623 | -3 | -3000 | -0.003 | 12457 | 11431 | 1026 | 1026000 | 1.026
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 772088 | 775119 | -3031 | -3334100 | -3.3341
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 815839 | 819405 | -3566 | -3922600 | -3.9226
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989398 | 989419 | -21 | -21000 | -0.021 | 9255 | 9278 | -23 | -23000 | -0.023
| KASHMIRI GATE | [8 empty] | -0.0038 |  |  |  |  | -3.6426
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962688 | 962690 | -2 | 2000 | 0.002 | 968594 | 970467 | -1873 | 1873000 | 1.873
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976588 | 976588 | 0 | 0 | 0 | 964726 | 968827 | -4101 | 4101000 | 4.101
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 23 | 23 | 0 | 0 | 0 | 59 | 59 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14 | 14 | 0 | 0 | 0 | 3136 | 2585 | 551 | 551000 | 0.551
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26103 | 26066 | 37 | -37000 | -0.037 | 973504 | 973364 | 140 | -140000 | -0.14
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9955 | 9873 | 82 | -82000 | -0.082 | 968638 | 968516 | 122 | -122000 | -0.122
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997831 | 997813 | 18 | -18000 | -0.018 | 996616 | 997590 | -974 | 974000 | 0.974
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982579 | 982416 | 163 | -163000 | -0.163 | 992315 | 992841 | -526 | 526000 | 0.526
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 4127 | 4133 | -6 | -1200 | -0.0012 | 8868 | 7409 | 1459 | 291800 | 0.2918
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14178 | 14177 | 1 | 1000 | 0.001 | 30681 | 29815 | 866 | 866000 | 0.866
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 111547 | 111137 | 410 | 41000 | 0.041 | 1622 | 1585 | 37 | 3700 | 0.0037
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 83759 | 79544 | 4215 | 421500 | 0.4215 | 2064 | 1984 | 80 | 8000 | 0.008
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.144 |  |  |  |  | 7.0703
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.144 |  |  |  |  | 7.0703
JULY-2013
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994856 | 994856 | 0 | 0 | 0 | 919518 | 924431 | -4913 | 4913000 | 4.913
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14033 | 14033 | 0 | 0 | 0 | 939267 | 943904 | -4637 | 4637000 | 4.637
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997230 | 997230 | 0 | 0 | 0 | 983577 | 988425 | -4848 | 4848000 | 4.848
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 925344 | 925396 | -52 | 52000 | 0.052 | 992149 | 992406 | -257 | 257000 | 0.257
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 915276 | 915342 | -66 | 66000 | 0.066 | 990567 | 990821 | -254 | 254000 | 0.254
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 562 | 562 | 0 | 0 | 0 | 992110 | 992128 | -18 | 18000 | 0.018
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998631 | 998631 | 0 | 0 | 0 | 986089 | 986714 | -625 | 1250000 | 1.25
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998967 | 998967 | 0 | 0 | 0 | 964472 | 965804 | -1332 | 1332000 | 1.332
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9445 | 9445 | 0 | 0 | 0 | 920312 | 931676 | -11364 | 11364000 | 11.364
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962779 | 962671 | 108 | -108000 | -0.108 | 871692 | 873945 | -2253 | 2253000 | 2.253
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21792 | 21694 | 98 | -98000 | -0.098 | 34088 | 33093 | 995 | -995000 | -0.995
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20434 | 20381 | 53 | -53000 | -0.053 | 43777 | 42530 | 1247 | -1247000 | -1.247
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.141 |  |  |  |  | 28.884
| (B) NET ENERGY TO EAST | [8 empty] | -0.141 |  |  |  |  | 28.884
JULY-2013
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992281 | 992285 | -4 | 4000 | 0.004 | 998535 | 998509 | 26 | -26000 | -0.026
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 1052 | 1052 | 0 | 0 | 0 | 1607 | 1239 | 368 | -184000 | -0.184
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 39629 | 39557 | 72 | -14400 | -0.0144 | 71694 | 69891 | 1803 | -360600 | -0.3606
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 69113 | 68901 | 212 | -21200 | -0.0212 | 138782 | 135271 | 3511 | -351100 | -0.3511
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 984725 | 984735 | -10 | 2000 | 0.002 | 2085 | 2832 | -747 | 149400 | 0.1494
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 64505 | 64228 | 277 | -55400 | -0.0554 | 88326 | 86418 | 1908 | -381600 | -0.3816
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 1386 | 1082 | 304 | -243200 | -0.2432 | 922 | 754 | 168 | -134400 | -0.1344
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13102 | 13105 | -3 | 6000 | 0.006 | 798 | 829 | -31 | 62000 | 0.062
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 985870 | 985895 | -25 | 20000 | 0.02 | 993441 | 994329 | -888 | 710400 | 0.7104
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 995823 | 995832 | -9 | 7200 | 0.0072 | 996876 | 997445 | -569 | 455200 | 0.4552
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 999479 | 999486 | -7 | 5600 | 0.0056 | 998436 | 998653 | -217 | 173600 | 0.1736
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996356 | 996375 | -19 | 19000 | 0.019 | 36738 | 37066 | -328 | 328000 | 0.328
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 995878 | 995919 | -41 | 54666.53 | 0.054667 | 999483 | 999641 | -158 | 210666.14 | 0.21067
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1344 | 1339 | 5 | -5000 | -0.005 | 20536 | 19963 | 573 | -573000 | -0.573
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 167 | 163 | 4 | -4000 | -0.004 | 2251 | 2484 | -233 | 233000 | 0.233
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1281 | 1281 | 0 | 0 | 0 | 60656 | 60385 | 271 | -271000 | -0.271
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5308 | 5308 | 0 | 0 | 0 | 27798 | 27425 | 373 | -186500 | -0.1865
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3469 | 3469 | 0 | 0 | 0 | 25462 | 25030 | 432 | -216000 | -0.216
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 4508 | 4408 | 100 | -50000 | -0.05 | 14393 | 14288 | 105 | -52500 | -0.0525
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 85 | 15 | 70 | -46666.6667 | -0.046667 | 351 | 249 | 102 | -68000 | -0.068
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 128061 | 128061 | 0 | 0 | 0 | 25311 | 26880 | -1569 | 156900 | 0.1569
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 19562 | 19547 | 15 | -1500 | -0.0015 | 40692 | 39977 | 715 | -71500 | -0.0715
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 996125 | 996162 | -37 | 3700 | 0.0037 | 5910 | 5929 | -19 | 1900 | 0.0019
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 8179 | 8180 | -1 | 100 | 0.0001 | 15201 | 15162 | 39 | -3900 | -0.0039
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 20476 | 20446 | 30 | -3000 | -0.003 | 53558 | 52443 | 1115 | -111500 | -0.1115
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 2400 | 2422 | -22 | 2200 | 0.0022 | 999962 | 999969 | -7 | 700 | 0.0007
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998989 | 998991 | -2 | 200 | 0.0002 | 146 | 169 | -23 | 2300 | 0.0023
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 12857 | 10476 | 2381 | -238100 | -0.2381 | 71609 | 71553 | 56 | -5600 | -0.0056
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 9681 | 8479 | 1202 | -120200 | -0.1202 | 62352 | 61946 | 406 | -40600 | -0.0406
31 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 11413 | 10057 | 1356 | -135600 | -0.1356 | 89993 | 89408 | 585 | -58500 | -0.0585
[10 empty] | -0.8136 |  |  |  |  | -0.61223
JULY-2013
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.144 |  |  |  |  | 7.0703
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.8136 |  |  |  |  | -0.61223
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.2498 |  |  |  |  | 0.0083
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.9194 |  |  |  |  | 6.4664
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.141 |  |  |  |  | 28.884
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.0604 |  |  |  |  | 35.3504
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.0604 | (REACTIVE MUs) |  |  |  | 35.3504 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.090708 | (REACTIVE MUs) |  |  |  | -0.18939 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.96969 | (REACTIVE MUs) |  |  |  | 35.161 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JULY-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 998119 | 998129 | -10 | -40000 | -0.04 | 8923 | 8996 | -73 | -292000 | -0.292
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988366 | 988431 | -65 | -86666.45 | -0.086666 | 673940 | 673932 | 8 | 10666.64 | 0.010667
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6848 | 6778 | 70 | 70000 | 0.07 | 64794 | 64352 | 442 | 442000 | 0.442
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11357 | 11352 | 5 | 5000 | 0.005 | 999398 | 999314 | 84 | 84000 | 0.084
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 8854 | 8847 | 7 | 700 | 0.0007 | 122495 | 120727 | 1768 | 176800 | 0.1768
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 28261 | 29039 | -778 | -77800 | -0.0778 | 244507 | 243963 | 544 | 54400 | 0.0544
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 7902 | 7979 | -77 | -7700 | -0.0077 | 393921 | 392993 | 928 | 92800 | 0.0928
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999214 | 999230 | -16 | -14400 | -0.0144 | 998746 | 998978 | -232 | -208800 | -0.2088
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990729 | 990651 | 78 | -78000 | -0.078 | 947279 | 947931 | -652 | 652000 | 0.652
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988455 | 988316 | 139 | -139000 | -0.139 | 952068 | 952654 | -586 | 586000 | 0.586
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983997 | 984021 | -24 | 24000 | 0.024 | 932156 | 934061 | -1905 | 1905000 | 1.905
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996478 | 996472 | 6 | -6000 | -0.006 | 951476 | 952392 | -916 | 916000 | 0.916
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998443 | 998447 | -4 | 4000 | 0.004 | 982088 | 983835 | -1747 | 1747000 | 1.747
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14144 | 14121 | 23 | -23000 | -0.023 | 986957 | 987398 | -441 | 441000 | 0.441
NAJAFGARH
16 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1357 | 443 | 914 | -914000 | -0.914 | 999671 | 999763 | -92 | 92000 | 0.092
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9593 | 9034 | 559 | -559000 | -0.559 | 2584 | 3803 | -1219 | 1219000 | 1.219
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25965 | 25123 | 842 | -842000 | -0.842 | 6469 | 6590 | -121 | 121000 | 0.121
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34828 | 33951 | 877 | -877000 | -0.877 | 42779 | 42938 | -159 | 159000 | 0.159
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8136 | 8136 | 0 | 0 | 0 | 6859 | 6842 | 17 | 17000 | 0.017
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918062 | 918264 | -202 | 202000 | 0.202 | 892815 | 896183 | -3368 | 3368000 | 3.368
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963293 | 963450 | -157 | 157000 | 0.157 | 859785 | 861917 | -2132 | 2132000 | 2.132
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 215 | 24 | 191 | -191000 | -0.191 | 975375 | 976569 | -1194 | 1194000 | 1.194
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 653 | 529 | 124 | -124000 | -0.124 | 961390 | 963632 | -2242 | 2242000 | 2.242
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998796 | 999193 | -397 | 397000 | 0.397 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999193 | 999193 | 0 | 0 | 0 | 890767 | 892015 | -1248 | 1248000 | 1.248
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998477 | 998477 | 0 | 0 | 0 | 870383 | 872007 | -1624 | 1624000 | 1.624
BRPL(+) continue | [14 empty] | JULY-2013
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997578 | 997540 | 38 | -38000 | -0.038 | 973064 | 973195 | -131 | 131000 | 0.131
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998837 | 998815 | 22 | -22000 | -0.022 | 989721 | 989859 | -138 | 138000 | 0.138
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 994007 | 993938 | 69 | -138000 | -0.138 | 970622 | 970722 | -100 | 200000 | 0.2
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997129 | 997129 | 0 | 0 | 0 | 917804 | 919884 | -2080 | 2080000 | 2.08
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996586 | 996588 | -2 | 2000 | 0.002 | 930216 | 932240 | -2024 | 2024000 | 2.024
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997037 | 997036 | 1 | -1000 | -0.001 | 922710 | 924561 | -1851 | 1851000 | 1.851
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 994277 | 994343 | -66 | 43999.956 | 0.044 | 985159 | 986643 | -1484 | 989332.344 | 0.98933
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1093 | 1093 | 0 | 0 | 0 | 1352 | 1361 | -9 | 18000 | 0.018
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997969 | 997969 | 0 | 0 | 0 | 529 | 541 | -12 | 24000 | 0.024
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955307 | 955501 | -194 | 194000 | 0.194 | 996184 | 996527 | -343 | 343000 | 0.343
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964209 | 964341 | -132 | 132000 | 0.132 | 996572 | 997106 | -534 | 534000 | 0.534
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 994581 | 994674 | -93 | -74400 | -0.0744 | 344 | 1276 | -932 | -745600 | -0.7456
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 13249 | 13420 | -171 | -136800 | -0.1368 | 983 | 869 | 114 | 91200 | 0.0912
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 969229 | 970281 | -1052 | -841600 | -0.8416 | 999696 | 999697 | -1 | -800 | -0.0008
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996356 | 996375 | -19 | -19000 | -0.019 | 36738 | 37066 | -328 | -328000 | -0.328
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 995878 | 995919 | -41 | -54666.53 | -0.054667 | 999483 | 999641 | -158 | -210666.14 | -0.21067
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8409 | 8292 | 117 | -117000 | -0.117 | 976434 | 977082 | -648 | 648000 | 0.648
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999249 | 999249 | 0 | 0 | 0 | 988419 | 987024 | 1395 | -1395000 | -1.395
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 13125 | 12227 | 898 | 89800 | 0.0898 | 13883 | 13755 | 128 | 12800 | 0.0128
SUDARSHAN PARK
51 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 12437 | 12474 | -37 | -3700 | -0.0037 | 61527 | 61520 | 7 | 700 | 0.0007
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 955106 | 956031 | -925 | -925000 | -0.925 | 992455 | 992459 | -4 | -4000 | -0.004
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1407 | 1405 | 2 | 200 | 0.0002 | 9160 | 8719 | 441 | 44100 | 0.0441
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 8416 | 8391 | 25 | 2500 | 0.0025 | 19146 | 17578 | 1568 | 156800 | 0.1568
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -5.0265 |  |  |  |  | 26.6247
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 36375 | 36375 | 0 | 0 | 0 | 891565 | 891565 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 111547 | 111137 | 410 | -41000 | -0.041 | 1622 | 1585 | 37 | -3700 | -0.0037
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 83759 | 79544 | 4215 | -421500 | -0.4215 | 2064 | 1984 | 80 | -8000 | -0.008
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 998317 | 998442 | -125 | 12500 | 0.0125 | 999984 | 999986 | -2 | 200 | 0.0002
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996926 | 997081 | -155 | 15500 | 0.0155 | 999921 | 999923 | -2 | 200 | 0.0002
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 943 | 918 | 25 | -50000 | -0.05 | 72968 | 72877 | 91 | -182000 | -0.182
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2134 | 1737 | 397 | -397000 | -0.397 | 25 | 22 | 3 | -3000 | -0.003
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 890228 | 890230 | -2 | 200 | 0.0002 | 54461 | 54462 | -1 | 100 | 0.0001
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 56261 | 56211 | 50 | -5000 | -0.005 | 57435 | 56228 | 1207 | -120700 | -0.1207
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 46969 | 46858 | 111 | -11100 | -0.0111 | 56324 | 55858 | 466 | -46600 | -0.0466
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 83873 | 83505 | 368 | -73600 | -0.0736 | 111914 | 109131 | 2783 | -556600 | -0.5566
EXPORTS(*)
A.I.I.M.S.
12 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 4184 | 4323 | -139 | -69500 | -0.0695 | 18690 | 19657 | -967 | -483500 | -0.4835
13 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.3333 | 3893 | 3896 | -3 | -250 | -0.00025 | 979641 | 986402 | -6761 | -563416.6667 | -0.56342
14 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 996551 | 996903 | -352 | -58666.6667 | -0.058667 | 994291 | 994294 | -3 | -500 | -0.0005
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 282358 | 279794 | 2564 | -256400 | -0.2564 | 44269 | 43815 | 454 | -45400 | -0.0454
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 1573 | 1322 | 251 | -25100 | -0.0251 | 17540 | 16989 | 551 | -55100 | -0.0551
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 803 | 803 | 0 | 0 | 0 | 77732 | 77732 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9228 | 9234 | -6 | 600 | 0.0006 | 28603 | 28605 | -2 | 200 | 0.0002
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 10197 | 10198 | -1 | 100 | 0.0001 | 47641 | 46447 | 1194 | -119400 | -0.1194
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 15486 | 15320 | 166 | -16600 | -0.0166 | 52134 | 51499 | 635 | -63500 | -0.0635
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 39541 | 39496 | 45 | -4500 | -0.0045 | 14382 | 13640 | 742 | -74200 | -0.0742
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16656 | 16656 | 0 | 0 | 0 | 13231 | 12686 | 545 | -54500 | -0.0545
28 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -100 | 999985 | 999999 | -14 | 1400 | 0.0014 | 335 | 68 | 267 | -26700 | -0.0267
29 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 34 | 34 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999273 | 999276 | -3 | 300 | 0.0003 | 999397 | 999397 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.3996 |  |  |  |  | -2.4061
JULY-2013
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -5.0265 |  |  |  |  | 26.6247
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.3996 |  |  |  |  | -2.4061
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.087525 |  |  |  |  | 0.63281
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.2126 |  |  |  |  | -0.2742
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -6.5512 |  |  |  |  | 24.5772
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -6.5512 | (REACTIVE MUs) |  |  |  | 24.5772 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.15702 | (REACTIVE MUs) |  |  |  | -0.32784 | (REACTIVE MUs)
[9 empty] | TOTAL | -6.3942 | (REACTIVE MUs) |  |  |  | 24.2494 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JULY-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 39629 | 39557 | 72 | 14400 | 0.0144 | 71694 | 69891 | 1803 | 360600 | 0.3606
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 69113 | 68901 | 212 | 21200 | 0.0212 | 138782 | 135271 | 3511 | 351100 | 0.3511
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 984725 | 984735 | -10 | -2000 | -0.002 | 2085 | 2832 | -747 | -149400 | -0.1494
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 64505 | 64228 | 277 | 55400 | 0.0554 | 88326 | 86418 | 1908 | 381600 | 0.3816
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 1386 | 1082 | 304 | 243200 | 0.2432 | 922 | 754 | 168 | 134400 | 0.1344
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13102 | 13105 | -3 | -6000 | -0.006 | 798 | 829 | -31 | -62000 | -0.062
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 985870 | 985895 | -25 | -20000 | -0.02 | 993441 | 994329 | -888 | -710400 | -0.7104
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 995823 | 995832 | -9 | -7200 | -0.0072 | 996876 | 997445 | -569 | -455200 | -0.4552
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 999479 | 999486 | -7 | -5600 | -0.0056 | 998436 | 998653 | -217 | -173600 | -0.1736
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998999 | 999000 | -1 | -100 | -0.0001 | 353371 | 349449 | 3922 | 392200 | 0.3922
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6440 | 6440 | 0 | 0 | 0 | 467732 | 469057 | -1325 | -132500 | -0.1325
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 12225 | 12217 | 8 | 800 | 0.0008 | 331587 | 320017 | 11570 | 1157000 | 1.157
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5386 | 5299 | 87 | 8700 | 0.0087 | 347569 | 343537 | 4032 | 403200 | 0.4032
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 997754 | 997731 | 23 | 2300 | 0.0023 | 286235 | 281589 | 4646 | 464600 | 0.4646
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 572 | 590 | -18 | -1800 | -0.0018 | 175997 | 176950 | -953 | -95300 | -0.0953
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13432 | 13447 | -15 | -1500 | -0.0015 | 260247 | 261180 | -933 | -93300 | -0.0933
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 49397 | 49051 | 346 | 34600 | 0.0346 | 698785 | 694561 | 4224 | 422400 | 0.4224
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 66953 | 64504 | 2449 | 2693900 | 2.6939
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3459 | 3412 | 47 | 47000 | 0.047 | 37231 | 36736 | 495 | 495000 | 0.495
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 135856 | 136067 | -211 | -232100 | -0.2321
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9106 | 9113 | -7 | -7000 | -0.007 | 52356 | 52030 | 326 | 326000 | 0.326
[10 empty] | 0.04 |  |  |  |  | 3.2828
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 943 | 918 | 25 | 50000 | 0.05 | 72968 | 72877 | 91 | 182000 | 0.182
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2134 | 1737 | 397 | 397000 | 0.397 | 25 | 22 | 3 | 3000 | 0.003
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 890228 | 890230 | -2 | -200 | -0.0002 | 54461 | 54462 | -1 | -100 | -0.0001
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 4184 | 4323 | -139 | 69500 | 0.0695 | 18690 | 19657 | -967 | 483500 | 0.4835
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 3893 | 3896 | -3 | 250 | 0.00025 | 979641 | 986402 | -6761 | 563416.6667 | 0.56342
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 996551 | 996903 | -352 | 58666.6667 | 0.058667 | 994291 | 994294 | -3 | 500 | 0.0005
JULY-2013
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984674 | 984681 | -7 | 7000 | 0.007 | 992866 | 993977 | -1111 | 1111000 | 1.111
ELECTRIC LANE
27 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995726 | 996174 | -448 | 448000 | 0.448 | 992071 | 995580 | -3509 | 3509000 | 3.509
KIDWAI NAGAR
28 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 282358 | 279794 | 2564 | 256400 | 0.2564 | 44269 | 43815 | 454 | 45400 | 0.0454
EXHIBITION I
29 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 1573 | 1322 | 251 | 25100 | 0.0251 | 17540 | 16989 | 551 | 55100 | 0.0551
30 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
31 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 56261 | 56211 | 50 | 5000 | 0.005 | 57435 | 56228 | 1207 | 120700 | 0.1207
32 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 46969 | 46858 | 111 | 11100 | 0.0111 | 56324 | 55858 | 466 | 46600 | 0.0466
33 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 83873 | 83505 | 368 | 73600 | 0.0736 | 111914 | 109131 | 2783 | 556600 | 0.5566
TILAK MARG
34 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 36375 | 36375 | 0 | 0 | 0 | 891565 | 891565 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1407 | 1405 | 2 | -200 | -0.0002 | 9160 | 8719 | 441 | -44100 | -0.0441
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 8416 | 8391 | 25 | -2500 | -0.0025 | 19146 | 17578 | 1568 | -156800 | -0.1568
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.7751 |  |  |  |  | 11.954
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 1.7751 |  |  |  |  | 11.954
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.018566 |  |  |  |  | -0.038763
| TOTAL ENERGY TO NDMC | [8 empty] | 1.7937 |  |  |  |  | 11.9153

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2013
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 732 | 732 | 0 | 0 | 0 | 21621 | 20425 | 1196 | 1196000 | 1.196
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 496 | 496 | 0 | 0 | 0 | 24576 | 23856 | 720 | 720000 | 0.72
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1275 | 1275 | 0 | 0 | 0 | 32722 | 32004 | 718 | 718000 | 0.718
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 930 | 930 | 0 | 0 | 0 | 17627 | 16944 | 683 | 683000 | 0.683
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3118 | 3118 | 0 | 0 | 0 | 9941 | 9361 | 580 | 580000 | 0.58
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 998317 | 998442 | -125 | -12500 | -0.0125 | 999984 | 999986 | -2 | -200 | -0.0002
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996926 | 997081 | -155 | -15500 | -0.0155 | 999921 | 999923 | -2 | -200 | -0.0002
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.028 |  |  |  |  | 3.8966
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34363 | 34363 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 42798 | 42411 | 387 | 38700 | 0.0387 | 70339 | 69201 | 1138 | 113800 | 0.1138
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 71330 | 70058 | 1272 | 127200 | 0.1272 | 10870 | 10863 | 7 | 700 | 0.0007
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 37917 | 37804 | 113 | 11300 | 0.0113 | 57474 | 55920 | 1554 | 155400 | 0.1554
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 18738 | 18738 | 0 | 0 | 0
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 80783 | 80429 | 354 | 35400 | 0.0354 | 56328 | 56285 | 43 | 4300 | 0.0043
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 4771 | 4751 | 20 | 2000 | 0.002 | 1465 | 1108 | 357 | 35700 | 0.0357
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.2126 |  |  |  |  | 0.2742
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.2126 |  |  |  |  | 0.2742
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.028 |  |  |  |  | 3.8966
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1846 |  |  |  |  | 4.1708
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1846 | (REACTIVE MUs) |  |  |  | 4.1708 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0029322 | (REACTIVE MUs) |  |  |  | -0.0061221 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.18753 | (REACTIVE MUs) |  |  |  | 4.1647 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2013
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 59703 | 61688 | -1985 | -198500 | -0.1985 | 79366 | 79730 | -364 | -36400 | -0.0364
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 995670 | 996193 | -523 | -52300 | -0.0523 | 999274 | 999379 | -105 | -10500 | -0.0105
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 220619 | 219602 | 1017 | 101700 | 0.1017 | 98062 | 97248 | 814 | 81400 | 0.0814
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 25896 | 25834 | 62 | 58125 | 0.058125 | 18383 | 18308 | 75 | 70312.5 | 0.070312
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 990760 | 991117 | -357 | 178500 | 0.1785 | 925519 | 925574 | -55 | 27500 | 0.0275
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989833 | 989833 | 0 | 0 | 0 | 982094 | 983098 | -1004 | 502000 | 0.502
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 17 | 17 | 0 | 0 | 0 | 21 | 26 | -5 | -1500 | -0.0015
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.087525 |  |  |  |  | 0.63281
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 940506 | 940594 | -88 | -17600 | -0.0176 | 991707 | 991771 | -64 | -12800 | -0.0128
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 800342 | 802664 | -2322 | -232200 | -0.2322 | 927946 | 927735 | 211 | 21100 | 0.0211
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.2498 |  |  |  |  | 0.0083
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 211383 | 210479 | 904 | 180800 | 0.1808 | 263722 | 263500 | 222 | 44400 | 0.0444
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 91456 | 91185 | 271 | 54200 | 0.0542 | 41461 | 41363 | 98 | 19600 | 0.0196
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 143353 | 142875 | 478 | 47800 | 0.0478 | 72294 | 72107 | 187 | 18700 | 0.0187
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988983 | 988957 | 26 | 26000 | 0.026 | 998393 | 998380 | 13 | 13000 | 0.013
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 970720 | 970960 | -240 | -24000 | -0.024 | 7192 | 7237 | -45 | -4500 | -0.0045
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999442 | 999442 | 0 | 0 | 0 | 450 | 665 | -215 | -201562.5 | -0.20156
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 989437 | 989387 | 50 | -31250 | -0.03125 | 995558 | 995549 | 9 | -5625 | -0.005625
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 17 | 17 | 0 | 0 | 0 | 21 | 26 | -5 | 1500 | 0.0015
| TOTAL NDPL | [8 empty] | 0.25355 |  |  |  |  | -0.11449
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.087525 |  |  |  |  | 0.63281
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.2498 |  |  |  |  | 0.0083
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.25355 |  |  |  |  | -0.11449

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2013
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 7907 | 8014 | -107 | -214000 | -0.214 | 1751 | 1751 | 0 | 0 | 0 | upto 25/7/13
| Assessment on PRO-RATA base for the period 26/07/13 to 31/07/13 | [8 empty] | -0.05136 |  |  |  |  | 0 | from 26 to 31/7/13
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 11645 | 11342 | 303 | 606000 | 0.606 | 2547 | 2331 | 216 | 432000 | 0.432
[7 empty] | NET REACTIVE ENERGY |  |  | 0.34064 |  | NET REACTIVE ENERGY |  |  | 0.432
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 994817 | 994817 | 0 | 0 | 0 | 40046 | 40905 | -859 | -859000 | -0.859
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 996679 | 996681 | -2 | -2000 | -0.002 | 995455 | 997014 | -1559 | -1559000 | -1.559
[7 empty] | NET REACTIVE ENERGY |  |  | 0 |  | NET REACTIVE ENERGY |  |  | -0.859
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.34064 |  |  |  |  | -0.427
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.0038 |  |  |  |  | -3.6426
[7 empty] | NDMC = |  |  | 0.04 |  |  |  |  | 3.2828
MES =
[7 empty] | 2)TOTAL |  |  | 0.0362 |  |  |  |  | -0.3598
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.37684 |  |  |  |  | -0.7868
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.5572 | % |  |  | 0.10761 |  |  |  |  | -0.22469
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.6673 | % |  |  | 0.15702 |  |  |  |  | -0.32784
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.0707 | % |  |  | 0.090708 |  |  |  |  | -0.18939
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.9267 | % |  |  | 0.018566 |  |  |  |  | -0.038763
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7781 | % |  |  | 0.0029322 |  |  |  |  | -0.0061221
Note :Sharing taken from wk-17 abt bill 2013-14

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JULY-2013 TO 31st JULY-2013
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -1.6776 | + | 4.9635
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -6.3942 | + | 24.2494
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -0.96969 | + | 35.161
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 1.7937 | + | 11.9153
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.18753 | + | 4.1647
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/2013 | INTIAL READING 01/07/2013 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 962523 | 963186 | -663 | -994500 | -0.9945 | 981015 | 981045 | -30 | -45000 | -0.045
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 999799 | 999811 | -12 | -18000 | -0.018 | 996163 | 996794 | -631 | -946500 | -0.9465
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 917961 | 918045 | -84 | -126000 | -0.126 | 966406 | 966851 | -445 | -667500 | -0.6675
[8 empty] | NET REACTIVE ENERGY |  | -1.1385 |  |  | NET REACTIVE ENERGY |  | -1.659
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997298 | 997247 | 51 | 255000 | 0.255 | 31073 | 31005 | 68 | 340000 | 0.34
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999634 | 999594 | 40 | 40000 | 0.04 | 2365 | 2388 | -23 | -23000 | -0.023
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 0.295 |  |  | NET REACTIVE ENERGY |  | 0.317