## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966722 | 968699 | -1977 | 1977000 | 1.977 | 999036 | 999036 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 71815 | 71815 | 0 | 0 | 0 | 1861 | 1653 | 208 | -416000 | -0.416
[10 empty] | -0.776 |  |  |  |  | -0.025
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 928517 | 930793 | -2276 | 2276000 | 2.276 | 995334 | 995334 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997816 | 997822 | -6 | 6000 | 0.006 | 994431 | 995564 | -1133 | 1133000 | 1.133
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 880576 | 880580 | -4 | 4000 | 0.004 | 1111 | 876 | 235 | -235000 | -0.235
[5 empty] | -1000 | 877384 | 877406 | -22 | 22000 | 0.022
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28927 | 28937 | -10 | 10000 | 0.01 | 16207 | 16337 | -130 | 130000 | 0.13
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4114 | 4126 | -12 | 12000 | 0.012 | 998188 | 998333 | -145 | 145000 | 0.145
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1638 | 1643 | -5 | 5000 | 0.005 | 998891 | 999172 | -281 | 281000 | 0.281
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 968556 | 968715 | -159 | 79500 | 0.0795 | 845033 | 846385 | -1352 | 676000 | 0.676
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3308 | 3333 | -25 | 25000 | 0.025 | 998607 | 999011 | -404 | 404000 | 0.404
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39343 | 39262 | 81 | -81000 | -0.081 | 998447 | 998925 | -478 | 478000 | 0.478
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14767 | 14633 | 134 | -134000 | -0.134 | 996998 | 997044 | -46 | 46000 | 0.046
13 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 99998993 | 99999001 | -8 | 8 | 0.008 | 99999971 | 99999974 | -3 | 3 | 0.003 | from01/06 till 07/06
[5 empty] | 1 | 99998977 | 99998993 | -16 | -16 | -0.016 | 99999991 | 99999971 | 20 | 20 | 0.02 | from 07/06 till 13/06
[5 empty] | -1 | 99999426 | 99998977 | 449 | -449 | -0.449 | 99999971 | 99999991 | -20 | 20 | 0.02 | 13/06 onwards
14 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 836456 | 837763 | -1307 | -1307000 | -1.307 | 999981 | 999981 | 0 | 0 | 0
15 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 943677 | 944377 | -700 | -700000 | -0.7 | 999996 | 999996 | 0 | 0 | 0
NARELA
16 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979006 | 979014 | -8 | 8000 | 0.008 | 16678 | 16679 | -1 | 1000 | 0.001
17 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 16415 | 15694 | 721 | -360500 | -0.3605 | 999935 | 999999 | -64 | 32000 | 0.032
18 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41151 | 41245 | -94 | 94000 | 0.094 | 213 | 264 | -51 | 51000 | 0.051
NARAINA
19 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 999943 | 0 | 0 | 0 | 992699 | 991249 | 1450 | 1450000 | 1.45
20 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 638 | 638 | 0 | 0 | 0 | 22437 | 22637 | -200 | -200000 | -0.2
21 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1350 | 1350 | 0 | 0 | 0 | 8862 | 8289 | 573 | 286500 | 0.2865
22 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 149967 | 149912 | 55 | 5500 | 0.0055 | 327936 | 319091 | 8845 | 884500 | 0.8845
23 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995506 | 995506 | 0 | 0 | 0 | 984120 | 984125 | -5 | -5000 | -0.005
24 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2 | 2 | 0 | 0 | 0 | 999715 | 999251 | 464 | 464000 | 0.464
25 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 55562 | 54953 | 609 | 60900 | 0.0609 | 124102 | 121892 | 2210 | 221000 | 0.221
KASHMIRI GATE
26 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975640 | 976129 | -489 | -489000 | -0.489 | 999816 | 999816 | 0 | 0 | 0
27 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 557793 | 558435 | -642 | -642000 | -0.642 | 829222 | 829222 | 0 | 0 | 0
28 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999638 | 999710 | -72 | -19200.24 | -0.0192 | 999959 | 999999 | -40 | -10666.8 | -0.010667
29 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 1005 | 1003 | 2 | 1000 | 0.001 | 35 | 18 | 17 | 8500 | 0.0085
KANJAWALA
30 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22395 | 22395 | 0 | 0 | 0 | 996482 | 996874 | -392 | 392000 | 0.392
31 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 112480 | 112479 | 1 | -500 | -0.0005 | 14638 | 14925 | -287 | 143500 | 0.1435
32 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
33 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13428 | 13327 | 101 | -101000 | -0.101 | 999963 | 999964 | -1 | 1000 | 0.001
DSIDC BAWANA
34 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 49956 | 48898 | 1058 | -2116000 | -2.116 | 116 | 97 | 19 | -38000 | -0.038
35 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 63017 | 62768 | 249 | -249000 | -0.249 | 998686 | 998776 | -90 | 90000 | 0.09
36 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 119785 | 119332 | 453 | -453000 | -0.453 | 2498 | 2428 | 70 | -70000 | -0.07
ROHINI-II
37 | Tx.1 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -2500 | 1391 | 1386 | 5 | -12500 | -0.0125 | 35 | 1 | 34 | -85000 | -0.085
38 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29913 | 29899 | 14 | -14000 | -0.014 | 1026 | 919 | 107 | -107000 | -0.107
WAZIRPUR
39 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998948 | 999041 | -93 | 93000 | 0.093 | 998541 | 998597 | -56 | 56000 | 0.056
40 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30668 | 30610 | 58 | -58000 | -0.058 | 1619 | 1610 | 9 | -9000 | -0.009
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
41 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 749 | 748 | 1 | 1000 | 0.001 | 28268 | 28453 | -185 | -185000 | -0.185
42 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
| NDPL(+) continue | [14 empty] | JUNE-2019
DMS
43 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1158 | 1158 | 0 | 0 | 0 | 61272 | 61275 | -3 | -3000 | -0.003
VISHAL
44 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999400 | 999352 | 48 | 4800 | 0.0048 | 999678 | 999587 | 91 | 9100 | 0.0091
46 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2492 | 2434 | 58 | 5800 | 0.0058 | 28296 | 27805 | 491 | 49100 | 0.0491
S.B.MILL
47 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 537 | 522 | 15 | 19995 | 0.019995 | 472 | 437 | 35 | 46655 | 0.046655
48 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 2814 | 2801 | 13 | 1300 | 0.0013 | 1543 | 1539 | 4 | 400 | 0.0004
49 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
50 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
51 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 608 | 395 | 213 | 21300 | 0.0213 | 975 | 797 | 178 | 17800 | 0.0178
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999855 | 999855 | 0 | 0 | 0 | 1376 | 1297 | 79 | 39500 | 0.0395
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1972 | 1934 | 38 | 25333.46 | 0.025333 | 207 | 198 | 9 | 6000.03 | 0.006
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4921 | 4863 | 58 | 38666.6667 | 0.038667 | 1540 | 1526 | 14 | 9333.3333 | 0.0093333
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997265 | 997270 | -5 | -500 | -0.0005 | 3948 | 3797 | 151 | 15100 | 0.0151
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
60 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
61 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 6654 | 6329 | 325 | 32500 | 0.0325 | 11339 | 11169 | 170 | 17000 | 0.017
62 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 6738 | 6036 | 702 | 70200 | 0.0702 | 1559 | 1261 | 298 | 29800 | 0.0298
63 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 26394 | 26014 | 380 | 38000 | 0.038 | 7022 | 6861 | 161 | 16100 | 0.0161
KASHMIRI GATE
64 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 45637 | 45557 | 80 | 8000 | 0.008 | 1932 | 1851 | 81 | 8100 | 0.0081
65 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 26262 | 26262 | 0 | 0 | 0 | 52711 | 52159 | 552 | 55200 | 0.0552
66 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 315 | 315 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
67 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
68 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999981 | 999985 | -4 | -1600 | -0.0016 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
69 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 983645 | 983676 | -31 | -24800 | -0.0248 | 999816 | 999913 | -97 | -77600 | -0.0776
70 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 998248 | 998251 | -3 | -6000 | -0.006 | 1079 | 1079 | 0 | 0 | 0
PEERAGARHI
71 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 986707 | 986138 | 569 | 113800 | 0.1138 | 373 | 358 | 15 | 3000 | 0.003
[10 empty] | -0.006859 |  |  |  |  | 0.006836 | Assessment for April & May 2019
72 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 999206 | 999611 | -405 | -101250 | -0.10125 | 338 | 317 | 21 | 5250 | 0.00525
REWARI LINE
73 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999143 | 998959 | 184 | 184000 | 0.184 | 2034 | 1813 | 221 | 221000 | 0.221
74 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1276 | 1299 | -23 | -17250 | -0.01725 | 2663 | 2836 | -173 | -129750 | -0.12975
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -2.8844 |  |  |  |  | 6.3763
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 12696 | 12594 | 102 | -10200 | -0.0102 | 112599 | 109275 | 3324 | -332400 | -0.3324
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 160 | 160 | 0 | 0 | 0 | 9558 | 9012 | 546 | -436800 | -0.4368
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18 | 0 | 18 | -18000 | -0.018 | 999995 | 999997 | -2 | 2000 | 0.002
|  | 4865146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3460 | 3460 | 0 | 0 | 0 | 1280 | 1283 | -3 | 3000 | 0.003 | Check Mtr data 28/05 to 30/05
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 5312 | 4937 | 375 | -150000 | -0.15 | 576 | 568 | 8 | -3200 | -0.0032 | main mtr data till 24/06
|  | 4864815 | ELSTER | Kvarh(Lead/Lag) | -200 | 10618 | 10517 | 101 | -20200 | -0.0202 | 4013 | 4012 | 1 | -200 | -0.0002 | Check Mtr data'
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998734 | 998762 | -28 | 5250 | 0.00525 | 999968 | 999962 | 6 | -1125 | -0.001125
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 948245 | 948252 | -7 | 5600 | 0.0056 | 998190 | 998586 | -396 | 316800 | 0.3168
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999420 | 75 | 60000 | 0.06
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 994515 | 994567 | -52 | 32500 | 0.0325 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 994637 | 995401 | -764 | 477500 | 0.4775 | 999843 | 999879 | -36 | 22500 | 0.0225
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999416 | 999416 | 0 | 0 | 0 | 12275 | 12232 | 43 | -8600 | -0.0086
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 996944 | 996946 | -2 | 375 | 0.000375 | 5588 | 5511 | 77 | -14437.5 | -0.014438
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998719 | 998719 | 0 | 0 | 0 | 3844 | 3614 | 230 | -43125 | -0.043125
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 1803 | 1732 | 71 | -17750 | -0.01775 | 6402 | 5682 | 720 | -180000 | -0.18
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999569 | 999524 | 45 | -4500 | -0.0045 | 21045 | 18673 | 2372 | -237200 | -0.2372
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.30058 |  |  |  |  | -0.85279
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -2.8844 |  |  |  |  | 6.3763
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.30058 |  |  |  |  | -0.85279
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.18905 |  |  |  |  | 0.0567
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -2.7728 |  |  |  |  | 5.5802
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.7728 | (REACTIVE MUs) |  |  |  | 5.5802 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -1.1239 | (REACTIVE MUs) |  |  |  | 0.32752 | (REACTIVE MUs)
[9 empty] | TOTAL | -3.8968 | (REACTIVE MUs) |  |  |  | 5.9077 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JUNE-2019
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 26802 | 26216 | 586 | 58600 | 0.0586 | 993738 | 993567 | 171 | 17100 | 0.0171
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11266 | 11239 | 27 | 8100 | 0.0081 | 4272 | 4158 | 114 | 34200 | 0.0342
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 54778 | 54449 | 329 | 24675 | 0.024675 | 346420 | 345779 | 641 | 48075 | 0.048075
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 994676 | 994802 | -126 | -37800 | -0.0378 | 5945 | 5950 | -5 | -1500 | -0.0015
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1725 | 1724 | 1 | 1333.3 | 0.0013333 | 3598 | 3587 | 11 | 14666.3 | 0.014666
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 3248 | 2906 | 342 | 34200 | 0.0342 | 163 | 31 | 132 | 13200 | 0.0132
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 67777 | 67836 | -59 | -4425 | -0.004425 | 41459 | 41479 | -20 | -1500 | -0.0015
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982795 | 982843 | -48 | -48000 | -0.048 | 2294 | 2292 | 2 | 2000 | 0.002
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 996113 | 996156 | -43 | -21500 | -0.0215 | 341 | 550 | -209 | -104500 | -0.1045
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998029 | 997946 | 83 | 83000 | 0.083 | 1519 | 1518 | 1 | 1000 | 0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991182 | 991316 | -134 | -134000 | -0.134 | 1473 | 1473 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991933 | 992026 | -93 | -93000 | -0.093 | 6243 | 6227 | 16 | 16000 | 0.016
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 20 | 45 | -25 | -25000 | -0.025 | 998655 | 998652 | 3 | 3000 | 0.003
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997624 | 997701 | -77 | -77000 | -0.077 | 999799 | 999802 | -3 | -3000 | -0.003
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 996302 | 996389 | -87 | -69600 | -0.0696 | 4963 | 4972 | -9 | -7200 | -0.0072
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133 | 1000472 | 999752 | 720 | 95760 | 0.09576 | 999870 | 999843 | 27 | 3591 | 0.003591
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1494 | 1506 | -12 | -12000 | -0.012 | 9746 | 9743 | 3 | 3000 | 0.003
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1401 | 1419 | -18 | -18000 | -0.018 | 17357 | 17357 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 974034 | 974034 | 0 | 0 | 0 | 951594 | 951683 | -89 | -111250 | -0.11125
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 990857 | 990857 | 0 | 0 | 0 | 938107 | 938403 | -296 | -325600 | -0.3256
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 958253 | 958253 | 0 | 0 | 0 | 7156 | 7469 | -313 | -313000 | -0.313
| KASHMIRI GATE | [8 empty] | 0 |  |  |  |  | -0.74985
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992370 | 992372 | -2 | 2000 | 0.002 | 999731 | 999955 | -224 | 224000 | 0.224
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990249 | 990219 | 30 | -30000 | -0.03 | 999267 | 999863 | -596 | 596000 | 0.596
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 315 | 315 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999830 | 999830 | 0 | 0 | 0 | 10428 | 10021 | 407 | 407000 | 0.407
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 107238 | 107202 | 36 | -36000 | -0.036 | 1158 | 830 | 328 | -328000 | -0.328
[5 empty] | -1000 | [5 empty] | 7598 | 7528 | 70 | -70000 | -0.07
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29078 | 29071 | 7 | -7000 | -0.007 | 999693 | 999057 | 636 | -636000 | -0.636
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998526 | 998644 | -118 | 118000 | 0.118 | 999506 | 999842 | -336 | 336000 | 0.336
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996696 | 996646 | 50 | -50000 | -0.05 | 998579 | 998304 | 275 | -275000 | -0.275
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995990 | 995991 | -1 | 1000 | 0.001 | 984279 | 985279 | -1000 | 1000000 | 1
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20280 | 20169 | 111 | -111000 | -0.111 | 273 | 289 | -16 | 16000 | 0.016
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 15120 | 14978 | 142 | -284000 | -0.284 | 22 | 30 | -8 | 16000 | 0.016
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 18 | 0 | 18 | 18000 | 0.018 | 999995 | 999997 | -2 | -2000 | -0.002
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 5312 | 4937 | 375 | 150000 | 0.15 | 576 | 568 | 8 | 3200 | 0.0032 | main mtr data till 24/06
|  | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 10618 | 10517 | 101 | 20200 | 0.0202 | 4013 | 4012 | 1 | 200 | 0.0002 | Chack Meter data
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 996421 | 996421 | 0 | 0 | 0 | 12825 | 13594 | -769 | -102277 | -0.10228
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971240 | 971479 | -239 | 239000 | 0.239 | 990186 | 990186 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984600 | 984945 | -345 | 345000 | 0.345 | 999927 | 999928 | -1 | 1000 | 0.001
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.14054 |  |  |  |  | 0.47441
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.14054 |  |  |  |  | 0.47441
JUNE-2019
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993117 | 993302 | -185 | 185000 | 0.185 | 997778 | 998167 | -389 | 389000 | 0.389
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989496 | 989792 | -296 | 296000 | 0.296 | 963615 | 964094 | -479 | 479000 | 0.479
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998032 | 998181 | -149 | 149000 | 0.149 | 998704 | 999221 | -517 | 517000 | 0.517
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992865 | 993423 | -558 | 558000 | 0.558 | 999492 | 999744 | -252 | 252000 | 0.252
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16556 | 16556 | 0 | 0 | 0 | 998452 | 998461 | -9 | 9000 | 0.009
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2617 | 2566 | 51 | -51000 | -0.051 | 997384 | 997457 | -73 | 73000 | 0.073
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7192 | 7192 | 0 | 0 | 0 | 999511 | 999511 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7964 | 7852 | 112 | -112000 | -0.112 | 938337 | 937149 | 1188 | -1188000 | -1.188
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 956450 | 956394 | 56 | -56000 | -0.056 | 990785 | 989286 | 1499 | -1499000 | -1.499
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964303 | 964276 | 27 | -27000 | -0.027 | 981525 | 982154 | -629 | 629000 | 0.629
[5 empty] | -1000 | 971398 | 971376 | 22 | -22000 | -0.022 | 981283 | 981362 | -79 | 79000 | 0.079
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958632 | 958318 | 314 | -314000 | -0.314 | 827610 | 827799 | -189 | 189000 | 0.189
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36178 | 36178 | 0 | 0 | 0 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31793 | 31227 | 566 | -566000 | -0.566 | 123 | 128 | -5 | 5000 | 0.005
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16772 | 16192 | 580 | -580000 | -0.58 | 919550 | 919557 | -7 | 7000 | 0.007
[5 empty] | -1000 | 17352 | 16916 | 436 | -436000 | -0.436
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.976 |  |  |  |  | -0.059
| (B) NET ENERGY TO EAST | [8 empty] | -0.976 |  |  |  |  | -0.059
JUNE-2019
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 999638 | 999710 | -72 | 19200.24 | 0.0192 | 999959 | 999999 | -40 | 10666.8 | 0.010667
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 1005 | 1003 | 2 | -1000 | -0.001 | 35 | 18 | 17 | -8500 | -0.0085
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2957 | 2977 | -20 | 5333.2 | 0.0053332 | 2144 | 2173 | -29 | 7733.14 | 0.0077331
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 91093 | 91049 | 44 | -4400 | -0.0044 | 151762 | 150638 | 1124 | -112400 | -0.1124
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 994401 | 994404 | -3 | 600 | 0.0006 | 999151 | 998746 | 405 | -81000 | -0.081
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 62385 | 61836 | 549 | -109800 | -0.1098 | 131863 | 130096 | 1767 | -353400 | -0.3534
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 687 | 686 | 1 | -800 | -0.0008 | 803 | 277 | 526 | -420800 | -0.4208
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3199 | 3198 | 1 | -800 | -0.0008 | 799 | 644 | 155 | -124000 | -0.124
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 964524 | 964524 | 0 | 0 | 0 | 985836 | 985836 | 0 | 0 | 0 | Meter Faulty
[10 empty] | 0 |  |  |  |  | 0.16 | Assessment
|  | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999900 | 1000000 | -100 | 80000 | 0.08 | w.e.f 19/06
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 966396 | 966396 | 0 | 0 | 0 | 984940 | 985980 | -1040 | 832000 | 0.832
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 973391 | 973393 | -2 | 1600 | 0.0016 | 992083 | 992461 | -378 | 302400 | 0.3024
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999911 | 999912 | -1 | 2000 | 0.002 | 999864 | 1000003 | -139 | 278000 | 0.278
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997859 | 997862 | -3 | 6000 | 0.006 | 999814 | 999991 | -177 | 354000 | 0.354
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 749 | 748 | 1 | -1000 | -0.001 | 28268 | 28453 | -185 | 185000 | 0.185
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1158 | 1158 | 0 | 0 | 0 | 61272 | 61275 | -3 | 3000 | 0.003
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999855 | 999855 | 0 | 0 | 0 | 1376 | 1297 | 79 | -39500 | -0.0395
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1972 | 1934 | 38 | -25333.46 | -0.025333 | 207 | 198 | 9 | -6000.03 | -0.006
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4921 | 4863 | 58 | -38666.6667 | -0.038667 | 1540 | 1526 | 14 | -9333.3333 | -0.0093333
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 45637 | 45557 | 80 | -8000 | -0.008 | 1932 | 1851 | 81 | -8100 | -0.0081
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 26262 | 26262 | 0 | 0 | 0 | 52711 | 52159 | 552 | -55200 | -0.0552
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997265 | 997270 | -5 | 500 | 0.0005 | 3948 | 3797 | 151 | -15100 | -0.0151
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 6654 | 6329 | 325 | -32500 | -0.0325 | 11339 | 11169 | 170 | -17000 | -0.017
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 6738 | 6036 | 702 | -70200 | -0.0702 | 1559 | 1261 | 298 | -29800 | -0.0298
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 26394 | 26014 | 380 | -38000 | -0.038 | 7022 | 6861 | 161 | -16100 | -0.0161
[10 empty] | -0.29527 |  |  |  |  | 0.91657
JUNE-2019
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.14054 |  |  |  |  | 0.47441
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.29527 |  |  |  |  | 0.91657
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.035675 |  |  |  |  | -0.00725
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.1904 |  |  |  |  | 1.3837
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.976 |  |  |  |  | -0.059
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.1664 |  |  |  |  | 1.3247
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.1664 | (REACTIVE MUs) |  |  |  | 1.3247 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.91438 | (REACTIVE MUs) |  |  |  | 0.26646 | (REACTIVE MUs)
[9 empty] | TOTAL | -2.0808 | (REACTIVE MUs) |  |  |  | 1.5912 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JUNE-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999313 | 999313 | 0 | 0 | 0 | 998887 | 998889 | -2 | -10000 | -0.01
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 981096 | 981098 | -2 | -2666.66 | -0.0026667 | 670290 | 670298 | -8 | -10666.64 | -0.010667
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 996967 | 996957 | 10 | 2000 | 0.002 | 2492 | 2580 | -88 | -17600 | -0.0176
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999955 | 999952 | 3 | 3999.99 | 0.004 | 999656 | 999645 | 11 | 14666.63 | 0.014667
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 174 | 228 | -54 | -81000 | -0.081 | 3 | 0 | 3 | 4500 | 0.0045
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18824 | 18825 | -1 | -100 | -0.0001 | 22650 | 22645 | 5 | 500 | 0.0005
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 671210 | 671866 | -656 | -49200 | -0.0492 | 980631 | 980679 | -48 | -3600 | -0.0036
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 992504 | 992507 | -3 | -225 | -0.000225 | 18357 | 18270 | 87 | 6525 | 0.006525
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 996226 | 996226 | 0 | 0 | 0 | 995134 | 995106 | 28 | 25200 | 0.0252
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 1820 | 1902 | -82 | -8200 | -0.0082 | 265613 | 265619 | -6 | -600 | -0.0006
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8126 | 8056 | 70 | -70000 | -0.07 | 996942 | 997062 | -120 | 120000 | 0.12
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1000112 | 999948 | 164 | -328000 | -0.328 | 998014 | 998350 | -336 | 672000 | 0.672
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13734 | 13703 | 31 | -31000 | -0.031 | 997466 | 997733 | -267 | 267000 | 0.267
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975388 | 975259 | 129 | -129000 | -0.129 | 993636 | 994122 | -486 | 486000 | 0.486
[5 empty] | -1000 | [5 empty] | 993617 | 993803 | -186 | 186000 | 0.186
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51393 | 51392 | 1 | -1000 | -0.001 | 996935 | 996681 | 254 | -254000 | -0.254
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 55686 | 55686 | 0 | 0 | 0 | 25488 | 22550 | 2938 | -1469000 | -1.469
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9902 | 9902 | 0 | 0 | 0 | 997457 | 997403 | 54 | -108000 | -0.108
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22549 | 22549 | 0 | 0 | 0 | 843064 | 845690 | -2626 | 2626000 | 2.626
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999845 | 999973 | -128 | 128000 | 0.128
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 38333 | 38331 | 2 | -1600 | -0.0016 | 998647 | 998935 | -288 | 230400 | 0.2304
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3775 | 3723 | 52 | -52000 | -0.052 | 962592 | 963042 | -450 | 450000 | 0.45
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994915 | 994793 | 122 | -122000 | -0.122 | 994561 | 995222 | -661 | 661000 | 0.661
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961371 | 961393 | -22 | 22000 | 0.022 | 986408 | 986883 | -475 | 475000 | 0.475
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1254 | 1030 | 224 | -224000 | -0.224 | 997770 | 997615 | 155 | -155000 | -0.155
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1417 | 1416 | 1 | -1000 | -0.001 | 999945 | 1000004 | -59 | 59000 | 0.059
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 408 | 363 | 45 | -45000 | -0.045 | 40 | 3 | 37 | -37000 | -0.037
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 49618 | 49584 | 34 | -34000 | -0.034 | 11912 | 11527 | 385 | -385000 | -0.385
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 5533 | 5529 | 4 | -13333.32 | -0.013333 | 41 | 3 | 38 | -126666.54 | -0.12667
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 160 | 160 | 0 | 0 | 0 | 9558 | 9012 | 546 | 436800 | 0.4368
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975976 | 975983 | -7 | 7000 | 0.007 | 967776 | 968770 | -994 | 994000 | 0.994
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991138 | 991142 | -4 | 4000 | 0.004 | 985174 | 985747 | -573 | 573000 | 0.573
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990406 | 990405 | 1 | -1000 | -0.001 | 985561 | 985016 | 545 | -545000 | -0.545
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 5489 | 5489 | 0 | 0 | 0 | 999951 | 999981 | -30 | 24000 | 0.024
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 3071 | 3071 | 0 | 0 | 0 | 1000002 | 999966 | 36 | -57600 | -0.0576
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996356 | 996356 | 0 | 0 | 0 | 995335 | 995335 | 0 | 0 | 0
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 12993 | 13083 | -90 | 45000 | 0.045 | 992428 | 997277 | -4849 | 2424500 | 2.4245
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18874 | 18842 | 32 | -32000 | -0.032 | 32957 | 33027 | -70 | 70000 | 0.07
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998682 | 998705 | -23 | 23000 | 0.023 | 996235 | 996244 | -9 | 9000 | 0.009
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999632 | 999641 | -9 | 9000 | 0.009 | 999796 | 999836 | -40 | 40000 | 0.04
BRPL(+) continue | [14 empty] | JUNE-2019
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33289 | 32868 | 421 | -421000 | -0.421 | 999772 | 999883 | -111 | 111000 | 0.111
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8452 | 7472 | 980 | -980000 | -0.98 | 999375 | 999739 | -364 | 364000 | 0.364
42 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10803 | 10811 | -8 | 8000 | 0.008 | 999242 | 999373 | -131 | 131000 | 0.131
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997832 | 997898 | -66 | 66000 | 0.066 | 925900 | 926265 | -365 | 365000 | 0.365
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12654 | 12663 | -9 | 9000 | 0.009 | 9276 | 9412 | -136 | 136000 | 0.136
46 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2972 | 2995 | -23 | 46000 | 0.046 | 995350 | 996087 | -737 | 1474000 | 1.474
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38854 | 38828 | 26 | -26000 | -0.026 | 997726 | 997817 | -91 | 91000 | 0.091
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 18167 | 17899 | 268 | -536000 | -0.536 | 999431 | 999440 | -9 | 18000 | 0.018
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7674 | 7671 | 3 | -6000 | -0.006 | 2349 | 2336 | 13 | -26000 | -0.026
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5008 | 5003 | 5 | -10000 | -0.01 | 1308 | 1298 | 10 | -20000 | -0.02
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919718 | 919715 | 3 | -3000 | -0.003 | 981137 | 980994 | 143 | -143000 | -0.143
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2234 | 2234 | 0 | 0 | 0 | 996711 | 996436 | 275 | -275000 | -0.275
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1984 | 1983 | 1 | -1000 | -0.001 | 988944 | 989102 | -158 | 158000 | 0.158
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 989738 | 989800 | -62 | -49600 | -0.0496 | 473 | 417 | 56 | 44800 | 0.0448
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 967136 | 967185 | -49 | -39200 | -0.0392 | 999725 | 999826 | -101 | -80800 | -0.0808
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999420 | 75 | -60000 | -0.06
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1303 | 1313 | -10 | -8000 | -0.008 | 999827 | 999821 | 6 | 4800 | 0.0048
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 997850 | 997876 | -26 | -20800 | -0.0208 | 1000005 | 999991 | 14 | 11200 | 0.0112
PARK STREET
60 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997859 | 997862 | -3 | -6000 | -0.006 | 999814 | 999991 | -177 | -354000 | -0.354
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40213 | 39825 | 388 | -388000 | -0.388 | 920 | 698 | 222 | -222000 | -0.222
63 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 71306 | 71093 | 213 | -213000 | -0.213 | 725 | 235 | 490 | -490000 | -0.49
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 78187 | 77999 | 188 | -188000 | -0.188 | 707 | 522 | 185 | -185000 | -0.185
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 12696 | 12594 | 102 | 10200 | 0.0102 | 112599 | 109275 | 3324 | 332400 | 0.3324
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998734 | 998762 | -28 | -5250 | -0.00525 | 999968 | 999962 | 6 | 1125 | 0.001125
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 957887 | 957683 | 204 | 81600 | 0.0816 | 994640 | 994059 | 581 | 232400 | 0.2324
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 994590 | 994455 | 135 | 54000 | 0.054 | 70901 | 70409 | 492 | 196800 | 0.1968
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 948245 | 948252 | -7 | -5600 | -0.0056 | 998190 | 998586 | -396 | -316800 | -0.3168
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 390934 | 390883 | 51 | 5100 | 0.0051 | 4373 | 2136 | 2237 | 223700 | 0.2237
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5650 | 5648 | 2 | 2000 | 0.002 | 1629 | 1931 | -302 | -302000 | -0.302
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10784 | 10780 | 4 | 300 | 0.0003 | 19126 | 18539 | 587 | 44025 | 0.044025
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5297 | 5292 | 5 | 500 | 0.0005 | 12235 | 11413 | 822 | 82200 | 0.0822
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 6890 | 6566 | 324 | 162000 | 0.162 | 3066 | 2952 | 114 | 57000 | 0.057
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1152 | 1255 | -103 | -103000 | -0.103 | 4071 | 4076 | -5 | -5000 | -0.005
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991595 | 991853 | -258 | -258000 | -0.258 | 1081 | 1094 | -13 | -13000 | -0.013
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4881 | 4819 | 62 | 62000 | 0.062 | 6495 | 6492 | 3 | 3000 | 0.003
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 3112 | 4694 | -1582 | -253120 | -0.25312 | 999720 | 999757 | -37 | -5920 | -0.00592
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 180404 | 178761 | 1643 | 164300 | 0.1643 | 46835 | 46676 | 159 | 15900 | 0.0159
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2794 | 2770 | 24 | 24000 | 0.024 | 584 | 478 | 106 | 106000 | 0.106
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3499 | 3472 | 27 | 27000 | 0.027 | 6716 | 6597 | 119 | 119000 | 0.119
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999416 | 999416 | 0 | 0 | 0 | 12275 | 12232 | 43 | 8600 | 0.0086
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996944 | 996946 | -2 | -375 | -0.000375 | 5588 | 5511 | 77 | 14437.5 | 0.014438
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998719 | 998719 | 0 | 0 | 0 | 3844 | 3614 | 230 | 43125 | 0.043125
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 1803 | 1732 | 71 | 17750 | 0.01775 | 6402 | 5682 | 720 | 180000 | 0.18
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999569 | 999524 | 45 | 4500 | 0.0045 | 21045 | 18673 | 2372 | 237200 | 0.2372
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -3.887 |  |  |  |  | 10.1106
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JUNE-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 22060 | 20726 | 1334 | -133400 | -0.1334 | 3056 | 3056 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 996421 | 996421 | 0 | 0 | 0 | 12825 | 13594 | -769 | 102530.77 | 0.10253
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4404 | -1 | 200 | 0.0002
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1820 | 1820 | 0 | 0 | 0 | 998271 | 998697 | -426 | 426000 | 0.426
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997675 | 997633 | 42 | -42000 | -0.042 | 1940 | 1869 | 71 | -71000 | -0.071
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9106 | 9106 | 0 | 0 | 0 | 15462 | 12133 | 3329 | -532640 | -0.53264
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 2898 | 2898 | 0 | 0 | 0 | 4530 | 3333 | 1197 | -239400 | -0.2394
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989177 | 989188 | -11 | 11000 | 0.011 | 999441 | 999555 | -114 | 114000 | 0.114
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 101182 | 101183 | -1 | 100 | 0.0001 | 75143 | 74870 | 273 | -27300 | -0.0273
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 2230 | 2207 | 23 | -2300 | -0.0023 | 735 | 358 | 377 | -37700 | -0.0377
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 24901 | 24894 | 7 | -700 | -0.0007 | 65868 | 62607 | 3261 | -326100 | -0.3261
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998671 | 998691 | -20 | -10000 | -0.01 | 16653 | 16662 | -9 | -4500 | -0.0045
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999846 | 999849 | -3 | -750 | -0.00075
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999572 | -3 | -2499.99 | -0.0025
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 362 | 0 | 362 | -226250 | -0.22625 | w.e.f 18/06
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999400 | 999352 | 48 | -4800 | -0.0048 | 999678 | 999587 | 91 | -9100 | -0.0091
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2492 | 2434 | 58 | -5800 | -0.0058 | 28296 | 27805 | 491 | -49100 | -0.0491
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 537 | 522 | 15 | -19995 | -0.019995 | 472 | 437 | 35 | -46655 | -0.046655
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 2814 | 2801 | 13 | -1300 | -0.0013 | 1543 | 1539 | 4 | -400 | -0.0004
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 608 | 395 | 213 | -21300 | -0.0213 | 975 | 797 | 178 | -17800 | -0.0178
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999981 | 999985 | -4 | 1600 | 0.0016 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 993563 | 993572 | -9 | 3600 | 0.0036 | 999847 | 999896 | -49 | 19600 | 0.0196
| REWARI LINE |  |  |  | -400 | [5 empty] | 995862 | 995792 | 70 | -28000 | -0.028
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999143 | 998959 | 184 | -184000 | -0.184 | 2034 | 1813 | 221 | -221000 | -0.221
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1276 | 1299 | -23 | 17250 | 0.01725 | 2663 | 2836 | -173 | 129750 | 0.12975
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.39205 |  |  |  |  | -1.0481
JUNE-2019
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -3.887 |  |  |  |  | 10.1106
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.39205 |  |  |  |  | -1.0481
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.23061 |  |  |  |  | 0.1269
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0867 |  |  |  |  | -0.3227
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -4.1352 |  |  |  |  | 8.8666
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.1352 | (REACTIVE MUs) |  |  |  | 8.8666 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -1.7241 | (REACTIVE MUs) |  |  |  | 0.50243 | (REACTIVE MUs)
[9 empty] | TOTAL | -5.8593 | (REACTIVE MUs) |  |  |  | 9.3691 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JUNE-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2957 | 2977 | -20 | -5333.4 | -0.0053334 | 2144 | 2173 | -29 | -7733.43 | -0.0077334
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 91093 | 91049 | 44 | 4400 | 0.0044 | 151762 | 150638 | 1124 | 112400 | 0.1124
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 994401 | 994404 | -3 | -600 | -0.0006 | 999151 | 998746 | 405 | 81000 | 0.081
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 62385 | 61836 | 549 | 109800 | 0.1098 | 131863 | 130096 | 1767 | 353400 | 0.3534
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 687 | 686 | 1 | 800 | 0.0008 | 803 | 277 | 526 | 420800 | 0.4208
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3199 | 3198 | 1 | 800 | 0.0008 | 799 | 644 | 155 | 124000 | 0.124
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 964524 | 964524 | 0 | 0 | 0 | 985836 | 985836 | 0 | 0 | 0 | Meter Faulty
[10 empty] | 0 |  |  |  |  | -0.16 | Assessment
|  | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999900 | 1000000 | -100 | -80000 | -0.08 | w.e.f 19/06
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 966396 | 966396 | 0 | 0 | 0 | 984940 | 985980 | -1040 | -832000 | -0.832
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 973391 | 973393 | -2 | -1600 | -0.0016 | 992083 | 992461 | -378 | -302400 | -0.3024
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999911 | 999912 | -1 | -2000 | -0.002 | 999864 | 1000003 | -139 | -278000 | -0.278 | w.e.f 11/04/19
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 988055 | 988061 | -6 | -300 | -0.0003 | 19924 | 19520 | 404 | 20200 | 0.0202
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 983278 | 983133 | 145 | 10875 | 0.010875 | 22958 | 22871 | 87 | 6525 | 0.006525
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 999671 | 999670 | 1 | 500 | 0.0005 | 5316 | 5264 | 52 | 26000 | 0.026
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998959 | 998960 | -1 | -375 | -0.000375 | 7667 | 7681 | -14 | -5250 | -0.00525
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999899 | 999901 | -2 | -200 | -0.0002 | 271 | 14 | 257 | 25700 | 0.0257
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 6199 | 6173 | 26 | 1950 | 0.00195 | 37361 | 36880 | 481 | 36075 | 0.036075
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 9225 | 9174 | 51 | 5100 | 0.0051 | 1432 | 1395 | 37 | 3700 | 0.0037
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996626 | 996626 | 0 | 0 | 0 | 102365 | 102032 | 333 | 333000 | 0.333
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996033 | 996033 | 0 | 0 | 0 | 955 | 156 | 799 | 799000 | 0.799
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985788 | 985788 | 0 | 0 | 0 | 144515 | 144326 | 189 | 189000 | 0.189
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999999 | 999999 | 0 | 0 | 0 | 353 | 117 | 236 | 590000 | 0.59
[10 empty] | 0 |  |  |  |  | 1.911
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997675 | 997633 | 42 | 42000 | 0.042 | 1940 | 1869 | 71 | 71000 | 0.071
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9106 | 9106 | 0 | 0 | 0 | 15462 | 12133 | 3329 | 532640 | 0.53264
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 2898 | 2898 | 0 | 0 | 0 | 4530 | 3333 | 1197 | 239400 | 0.2394
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989177 | 989188 | -11 | -11000 | -0.011 | 999441 | 999555 | -114 | -114000 | -0.114
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998671 | 998691 | -20 | 10000 | 0.01 | 16653 | 16662 | -9 | 4500 | 0.0045
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999846 | 999849 | -3 | 750 | 0.00075
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999572 | -3 | 2499.99 | 0.0025
JUNE-2019
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998359 | 998362 | -3 | 3000 | 0.003 | 993414 | 994397 | -983 | 983000 | 0.983
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999878 | 999883 | -5 | 5000 | 0.005 | 999019 | 999930 | -911 | 911000 | 0.911
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997621 | 997623 | -2 | 4000 | 0.004 | 998203 | 998625 | -422 | 844000 | 0.844
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999263 | 999267 | -4 | 4000 | 0.004 | 998998 | 999920 | -922 | 922000 | 0.922
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 362 | 0 | 362 | 226250 | 0.22625
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 101182 | 101183 | -1 | -100 | -0.0001 | 75143 | 74870 | 273 | 27300 | 0.0273
37 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 2230 | 2207 | 23 | 2300 | 0.0023 | 735 | 358 | 377 | 37700 | 0.0377
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 24901 | 24894 | 7 | 700 | 0.0007 | 65868 | 62607 | 3261 | 326100 | 0.3261
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 22060 | 20726 | 1334 | 133400 | 0.1334 | 3056 | 3056 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 390934 | 390883 | 51 | -5100 | -0.0051 | 2922 | 2136 | 786 | -78600 | -0.0786
[5 empty] | -100 | [5 empty] | 4373 | 3566 | 807 | -80700 | -0.0807
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5650 | 5648 | 2 | -2000 | -0.002 | 1629 | 1931 | -302 | 302000 | 0.302
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10784 | 10780 | 4 | -300 | -0.0003 | 19126 | 18539 | 587 | -44025 | -0.044025
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5297 | 5292 | 5 | -500 | -0.0005 | 12235 | 11413 | 822 | -82200 | -0.0822
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 0.30922 |  |  |  |  | 6.486
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 0.30922 |  |  |  |  | 6.486
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.16585 |  |  |  |  | 0.048331
| TOTAL ENERGY TO NDMC | [8 empty] | 0.14336 |  |  |  |  | 6.5344

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2019
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3774 | 3767 | 7 | 1400 | 0.0014 | 48010 | 42190 | 5820 | 1164000 | 1.164
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42414 | 42414 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4466 | 4465 | 1 | 1000 | 0.001 | 53540 | 52847 | 693 | 693000 | 0.693
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 162 | 162 | 0 | 0 | 0 | 15146 | 14544 | 602 | 240800 | 0.2408
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 78 | 79 | -1 | -800 | -0.0008 | 347 | 322 | 25 | 20000 | 0.02
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 841 | 794 | 47 | 18800 | 0.0188 | 3469 | 2879 | 590 | 236000 | 0.236
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4404 | -1 | -200 | -0.0002
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1820 | 1820 | 0 | 0 | 0 | 998271 | 998697 | -426 | -426000 | -0.426
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0204 |  |  |  |  | 1.9276
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 64906 | 64075 | 831 | 83100 | 0.0831 | 97485 | 97193 | 292 | 29200 | 0.0292
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78283 | 78249 | 34 | 3400 | 0.0034 | 18297 | 18291 | 6 | 600 | 0.0006
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 100 | 2 | 1 | 1 | 100 | 0.0001 | 10344 | 7447 | 2897 | 289700 | 0.2897
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6 | 6 | 0 | 0 | 0 | 40 | 40 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 647 | 647 | 0 | 0 | 0 | 1663 | 1663 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10282 | 1 | 100 | 0.0001 | 4319 | 4287 | 32 | 3200 | 0.0032
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0867 |  |  |  |  | 0.3227
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0204 |  |  |  |  | 1.9276
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1071 |  |  |  |  | 2.2503
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1071 | (REACTIVE MUs) |  |  |  | 2.2503 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.026234 | (REACTIVE MUs) |  |  |  | 0.0076448 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.080866 | (REACTIVE MUs) |  |  |  | 2.2579 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2019
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 994515 | 994567 | -52 | -32500 | -0.0325 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 994637 | 995401 | -764 | -477500 | -0.4775 | 999843 | 999879 | -36 | -22500 | -0.0225
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 993563 | 993572 | -9 | -3600 | -0.0036 | 999847 | 999896 | -49 | -19600 | -0.0196
[5 empty] | 400 | [5 empty] | 995862 | 995792 | 70 | 28000 | 0.028
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.5136 |  |  |  |  | -0.0421
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.0094779 |  |  |  |  | 0.002762
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.52308 |  |  |  |  | -0.039338

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2019
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 960331 | 960462 | -131 | -13100 | -0.0131 | 1993 | 1990 | 3 | 300 | 0.0003
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 71537 | 71095 | 442 | 44200 | 0.0442 | 5907 | 5708 | 199 | 19900 | 0.0199
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 15293 | 15156 | 137 | 68500 | 0.0685 | 3501 | 3378 | 123 | 61500 | 0.0615
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998672 | 998645 | 27 | 25312.5 | 0.025313 | 95 | 103 | -8 | -7500 | -0.0075
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 996025 | 996025 | 0 | 0 | 0 | 999839 | 999839 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 994964 | 995158 | -194 | 97000 | 0.097 | 999920 | 999987 | -67 | 33500 | 0.0335
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 103 | 74 | 29 | 8700 | 0.0087 | 999957 | 999893 | 64 | 19200 | 0.0192
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.23061 |  |  |  |  | 0.1269
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 980305 | 980399 | -94 | -18800 | -0.0188 | 999819 | 999799 | 20 | 4000 | 0.004
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 990894 | 990912 | -18 | -16875 | -0.016875 | 999927 | 999939 | -12 | -11250 | -0.01125
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.035675 |  |  |  |  | -0.00725
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1872 | 1882 | -10 | -12500 | -0.0125 | 999961 | 999970 | -9 | -11250 | -0.01125
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 354731 | 355454 | -723 | -72300 | -0.0723 | 997999 | 997821 | 178 | 17800 | 0.0178
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 291277 | 293625 | -2348 | -146750 | -0.14675 | 89951 | 89807 | 144 | 9000 | 0.009
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2655 | 2638 | 17 | 13600 | 0.0136 | 1902 | 1889 | 13 | 10400 | 0.0104
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 965838 | 965912 | -74 | -7400 | -0.0074 | 999150 | 999164 | -14 | -1400 | -0.0014
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 995512 | 995512 | 0 | 0 | 0 | 986976 | 986667 | 309 | 46350 | 0.04635
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997625 | 997643 | -18 | 45000 | 0.045 | 3061 | 3063 | -2 | 5000 | 0.005
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 103 | 74 | 29 | -8700 | -0.0087 | 999957 | 999893 | 64 | -19200 | -0.0192
| TOTAL NDPL | [8 empty] | -0.18905 |  |  |  |  | 0.0567
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.23061 |  |  |  |  | 0.1269
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.035675 |  |  |  |  | -0.00725
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.18905 |  |  |  |  | 0.0567

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JUNE-2019
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 60213 | 60213 | 0 | 0 | 0 | 999833 | 999981 | -148 | -148000 | -0.148
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 677 | 677 | 0 | 0 | 0 | 999917 | 1000013 | -96 | -192000 | -0.192 | w..e.f 22/3/19
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 962941 | 963315 | -374 | 187000 | 0.187 | 999170 | 999271 | -101 | 50500 | 0.0505
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 670246 | 671579 | -1333 | 133300 | 0.1333 | 997108 | 997178 | -70 | 7000 | 0.007
[5 empty] | -100 | 656305 | 656377 | -72 | 7200 | 0.0072
[7 empty] | NET REACTIVE ENERGY |  |  | 0.187 |  | NET REACTIVE ENERGY |  |  | -0.2895
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -2.818 |  |  |  |  | -0.018
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.146 |  |  |  |  | -0.73785
[7 empty] | NDMC = |  |  | 0 |  |  |  |  | 1.911
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -3.964 |  |  |  |  | 1.1551
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -3.964 |  |  |  |  | 1.1551
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.3531 | % |  |  | -1.1239 |  |  |  |  | 0.32752
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 43.4945 | % |  |  | -1.7241 |  |  |  |  | 0.50243
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.0671 | % |  |  | -0.91438 |  |  |  |  | 0.26646
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.184 | % |  |  | -0.16585 |  |  |  |  | 0.048331
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6618 | % |  |  | -0.026234 |  |  |  |  | 0.0076448
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.2391 | % |  |  | -0.0094779 |  |  |  |  | 0.002762
Note :Sharing taken from wk-14 abt bill 2019-20

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JUNE-2019 TO 30th JUNE-2019
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -3.8968 | + | 5.9077
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -5.8593 | + | 9.3691
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -2.0808 | + | 1.5912
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 0.14336 | + | 6.5344
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.080866 | + | 2.2579
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.52308 |  | -0.039338
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/06/2019 | INTIAL READING 01/06/2019 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 46665 | 44775 | 1890 | 1417500 | 1.4175 | 999899 | 999899 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 823542 | 822229 | 1313 | 984750 | 0.98475 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1482 | 1480 | 2 | 10000 | 0.01 | 12962 | 12861 | 101 | 505000 | 0.505
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 874193 | 878136 | -3943 | -3943000 | -3.943
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 976194 | 976191 | 3 | 3000 | 0.003 | 790 | 836 | -46 | -46000 | -0.046
[8 empty] | NET REACTIVE ENERGY |  | 0.013 |  |  | NET REACTIVE ENERGY |  | -3.484