## NDPL
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964991 | 965020 | -29 | 29000 | 0.029 | 996998 | 997105 | -107 | 107000 | 0.107
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 84146 | 83403 | 743 | -1486000 | -1.486 | 4614 | 4503 | 111 | -222000 | -0.222
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1702 | 1327 | 375 | -375000 | -0.375 | 231 | 207 | 24 | -24000 | -0.024
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27419 | 26154 | 1265 | -1265000 | -1.265 | 93728 | 92041 | 1687 | -1687000 | -1.687
[5 empty] | -1000 | [5 empty] | 91389 | 91001 | 388 | -388000 | -0.388
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998485 | 998424 | 61 | -61000 | -0.061 | 992370 | 991502 | 868 | -868000 | -0.868
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 898517 | 898484 | 33 | -33000 | -0.033 | 26886 | 26240 | 646 | -646000 | -0.646
[5 empty] | -1000 | 894795 | 894787 | 8 | -8000 | -0.008
ROHINI
7 | Tx 1 | 4864985 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39190 | 39051 | 139 | -139000 | -0.139 | 10316 | 10315 | 1 | -1000 | -0.001 | Check meter data
|  | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2078 | 0 | 2078 | -2078000 | -2.078 | 0 | 0 | 0 | 0 | 0 | w.e.f 03/12
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14968 | 12965 | 2003 | -2003000 | -2.003 | 998214 | 998212 | 2 | -2000 | -0.002
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8438 | 7351 | 1087 | -1087000 | -1.087 | 997651 | 997646 | 5 | -5000 | -0.005
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 967656 | 966742 | 914 | -457000 | -0.457 | 838766 | 838774 | -8 | 4000 | 0.004
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1066 | 1112 | -46 | 46000 | 0.046 | 998771 | 998765 | 6 | -6000 | -0.006
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5654 | 4168 | 1486 | -1486000 | -1.486 | 999891 | 999890 | 1 | -1000 | -0.001
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43047 | 39470 | 3577 | -3577000 | -3.577 | 996708 | 996706 | 2 | -2000 | -0.002
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 15007 | 14132 | 875 | -875 | -0.875 | 99999735 | 99999735 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 779176 | 783191 | -4015 | -4015000 | -4.015 | 999752 | 999752 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 900842 | 912773 | -11931 | -5965500 | -5.9655 | 999995 | 999995 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10755 | 10412 | 343 | -343000 | -0.343 | 999959 | 999957 | 2 | -2000 | -0.002
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 58783 | 57485 | 1298 | -649000 | -0.649 | 277 | 218 | 59 | -29500 | -0.0295
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51045 | 50178 | 867 | -867000 | -0.867 | 998626 | 998598 | 28 | -28000 | -0.028
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999885 | 999926 | -41 | -41000 | -0.041 | 990076 | 990079 | -3 | -3000 | -0.003
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999968 | 999999 | -31 | -124000 | -0.124 | 12 | 10 | 2 | 8000 | 0.008
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1353 | 1366 | -13 | -6500 | -0.0065 | 13983 | 13982 | 1 | 500 | 0.0005
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 36364 | 35616 | 748 | 37400 | 0.0374 | 185239 | 184950 | 289 | 14450 | 0.01445
[5 empty] | 50 | 12783 | 12741 | 42 | 2100 | 0.0021
[5 empty] | 50 | 11906 | 10290 | 1616 | 80800 | 0.0808
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999873 | 1000001 | -128 | -128000 | -0.128 | 998883 | 998815 | 68 | 68000 | 0.068
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999490 | 999556 | -66 | -66000 | -0.066 | 998783 | 998780 | 3 | 3000 | 0.003
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 50349 | 53952 | -3603 | -360300 | -0.3603 | 192248 | 192248 | 0 | 0 | 0
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996635 | 997459 | -824 | -824000 | -0.824 | 999507 | 999646 | -139 | -139000 | -0.139
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 951137 | 955798 | -4661 | -2330500 | -2.3305 | 999897 | 999898 | -1 | -500 | -0.0005
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 996421 | 996815 | -394 | -105067.98 | -0.10507 | 999877 | 999880 | -3 | -800.01 | -0.00080001
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2184 | 2163 | 21 | 10500 | 0.0105 | 232 | 211 | 21 | 10500 | 0.0105
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42760 | 41765 | 995 | -995000 | -0.995 | 996549 | 996614 | -65 | 65000 | 0.065
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 221756 | 218710 | 3046 | -1523000 | -1.523 | 17437 | 17443 | -6 | 3000 | 0.003
[5 empty] | -500 | 218299 | 218156 | 143 | -71500 | -0.0715
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4208 | 3779 | 429 | -858000 | -0.858 | 999674 | 999677 | -3 | 6000 | 0.006
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43940 | 41567 | 2373 | -2373000 | -2.373 | 999008 | 999024 | -16 | 16000 | 0.016
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 102559 | 97194 | 5365 | -10730000 | -10.73 | 288 | 288 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 102736 | 99149 | 3587 | -3587000 | -3.587 | 998461 | 998462 | -1 | 1000 | 0.001
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 59631 | 41326 | 18305 | -6101605.65 | -6.1016 | 144 | 132 | 12 | -3999.96 | -0.004
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13047 | 11602 | 1445 | -2890000 | -2.89 | 245 | 239 | 6 | -12000 | -0.012
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 63244 | 60195 | 3049 | -3049000 | -3.049 | 1664 | 1654 | 10 | -10000 | -0.01
SGTN
40 | Tx.1 | XF465246 |  | Kvarh(Lead/Lag) | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
41 | Tx.2 | XF465248 |  | Kvarh(Lead/Lag) | 1 | 1884000 | 64000 | 1820000 | 1820000 | 1.82 | 0 | 0 | 0 | 0 | 0 | loaded on 29/11/20
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1573 | 782 | 791 | -791000 | -0.791 | 997840 | 997841 | -1 | 1000 | 0.001
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48559 | 47232 | 1327 | -1327000 | -1.327 | 1622 | 1622 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999015 | 999640 | -625 | -625000 | -0.625 | 26629 | 27023 | -394 | -394000 | -0.394
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | DECEMBER-2020
DMS
45 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 870 | 901 | -31 | -31000 | -0.031 | 61206 | 61207 | -1 | -1000 | -0.001
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999509 | 999526 | -17 | -1700 | -0.0017
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3073 | 3084 | -11 | -1100 | -0.0011 | 30891 | 30908 | -17 | -1700 | -0.0017
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 773 | 775 | -2 | -2666 | -0.002666 | 560 | 561 | -1 | -1333 | -0.001333
50 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3179 | 3179 | 0 | 0 | 0 | 1616 | 1615 | 1 | 100 | 0.0001
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2086 | 2091 | -5 | -500 | -0.0005 | 3512 | 3405 | 107 | 10700 | 0.0107
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999866 | 999888 | -22 | -11000 | -0.011 | 2126 | 2133 | -7 | -3500 | -0.0035
57 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2429 | 2437 | -8 | -5333.36 | -0.0053334 | 433 | 423 | 10 | 6666.7 | 0.0066667
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 986 | 970 | 16 | 8000 | 0.008 | 448 | 418 | 30 | 15000 | 0.015
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 995542 | 995933 | -391 | -39100 | -0.0391 | 3174 | 3210 | -36 | -3600 | -0.0036
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8028 | 8034 | -6 | -600 | -0.0006 | 13418 | 13496 | -78 | -7800 | -0.0078
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 10804 | 10773 | 31 | 3100 | 0.0031 | 3240 | 3090 | 150 | 15000 | 0.015
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 29825 | 29804 | 21 | 2100 | 0.0021 | 8770 | 8589 | 181 | 18100 | 0.0181
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 60865 | 61036 | -171 | -17100 | -0.0171 | 1734 | 1730 | 4 | 400 | 0.0004
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999708 | 999719 | -11 | -1466.63 | -0.0014666 | 365 | 362 | 3 | 399.99 | 0.00039999
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 75 | 75 | 0 | 0 | 0 | 664 | 665 | -1 | 300 | 0.0003
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999880 | 999880 | 0 | 0 | 0 | 999438 | 999438 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 967461 | 969397 | -1936 | -1548800 | -1.5488 | 999720 | 999721 | -1 | -800 | -0.0008
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 995864 | 996104 | -240 | -480000 | -0.48 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 977219 | 978915 | -1696 | -339200 | -0.3392 | 1420 | 1435 | -15 | -3000 | -0.003
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 997399 | 997913 | -514 | -128500 | -0.1285 | 554 | 583 | -29 | -7250 | -0.00725
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990022 | 990770 | -748 | -748000 | -0.748 | 2084 | 2188 | -104 | -104000 | -0.104
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1732 | 1916 | -184 | -138000 | -0.138 | 3312 | 3312 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -67.1293 |  |  |  |  | -4.2364
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 18451 | 18307 | 144 | -14400 | -0.0144 | 143477 | 143432 | 45 | -4500 | -0.0045
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 346 | 342 | 4 | -3200 | -0.0032 | 628 | 627 | 1 | -800 | -0.0008
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 817 | 832 | -15 | 15000 | 0.015 | 159 | 153 | 6 | -6000 | -0.006
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4680 | 5307 | -627 | 83597.91 | 0.083598 | 5628 | 5469 | 159 | -21199.47 | -0.021199
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997240 | 997341 | -101 | 18937.5 | 0.018937 | 999847 | 999852 | -5 | 937.5 | 0.0009375
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 911530 | 912341 | -811 | 648800 | 0.6488 | 997946 | 997978 | -32 | 25600 | 0.0256
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 990231 | 990072 | 159 | -99375 | -0.099375 | 1000012 | 999997 | 15 | -9375 | -0.009375
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 990560 | 990655 | -95 | 59375 | 0.059375 | 999852 | 999856 | -4 | 2500 | 0.0025
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 995508 | 996002 | -494 | 98800 | 0.0988 | 14619 | 14627 | -8 | 1600 | 0.0016
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 991450 | 991998 | -548 | 102750 | 0.10275 | 5408 | 5409 | -1 | 187.5 | 0.0001875
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 989923 | 990928 | -1005 | 188437.5 | 0.18844 | 4077 | 4076 | 1 | -187.5 | -0.0001875
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4461 | 4417 | 44 | -11000 | -0.011 | 8042 | 8039 | 3 | -750 | -0.00075
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 996771 | 997361 | -590 | 59000 | 0.059 | 29786 | 29774 | 12 | -1200 | -0.0012
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.1467 |  |  |  |  | -0.013187
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -67.1293 |  |  |  |  | -4.2364
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.1467 |  |  |  |  | -0.013187
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.34331 |  |  |  |  | -0.32455
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -66.3259 |  |  |  |  | -4.5741
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -66.3259 | (REACTIVE MUs) |  |  |  | -4.5741 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -6.9301 | (REACTIVE MUs) |  |  |  | -0.055379 | (REACTIVE MUs)
[9 empty] | TOTAL | -73.256 | (REACTIVE MUs) |  |  |  | -4.6295 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | DECEMBER-2020
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 38054 | 39192 | -1138 | -113800 | -0.1138 | 994367 | 994507 | -140 | -14000 | -0.014
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 12123 | 12323 | -200 | -60000 | -0.06 | 3019 | 3113 | -94 | -28200 | -0.0282
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 349878 | 348026 | 1852 | 138900 | 0.1389 | 403148 | 402585 | 563 | 42225 | 0.042225
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 994030 | 994500 | -470 | -141000 | -0.141 | 5906 | 5942 | -36 | -10800 | -0.0108
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1574 | 1574 | 0 | 0 | 0 | 3601 | 3601 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 14068 | 15256 | -1188 | -118800 | -0.1188 | 3767 | 3872 | -105 | -10500 | -0.0105
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 160687 | 162321 | -1634 | -122550 | -0.12255 | 892341 | 892293 | 48 | 3600 | 0.0036
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 978343 | 978692 | -349 | -349000 | -0.349 | 2276 | 2276 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 987435 | 988040 | -605 | -302500 | -0.3025 | 178 | 178 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999156 | 999439 | -283 | -283000 | -0.283 | 999998 | 1000000 | -2 | -2000 | -0.002
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985585 | 985956 | -371 | -371000 | -0.371 | 1350 | 1352 | -2 | -2000 | -0.002
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988036 | 988285 | -249 | -249000 | -0.249 | 6257 | 6257 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995167 | 995278 | -111 | -111000 | -0.111 | 998637 | 998637 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994334 | 994588 | -254 | -254000 | -0.254 | 352 | 352 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 995784 | 996094 | -310 | -248000 | -0.248 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 12007 | 13586 | -1579 | -210528.07 | -0.21053 | 3650 | 3650 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 489 | 681 | -192 | -192000 | -0.192 | 9732 | 9732 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1114 | 1008 | 106 | 106000 | 0.106 | 17471 | 17471 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 970817 | 971174 | -357 | -446250 | -0.44625 | 948423 | 948578 | -155 | -193750 | -0.19375
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981812 | 983270 | -1458 | -1458000 | -1.458 | 935390 | 935683 | -293 | -293000 | -0.293
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999303 | 999613 | -310 | -310000 | -0.31 | 999410 | 999481 | -71 | -71000 | -0.071
| KASHMIRI GATE | [8 empty] | -2.2142 |  |  |  |  | -0.55775
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985252 | 985430 | -178 | 178000 | 0.178 | 998243 | 998267 | -24 | 24000 | 0.024
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983793 | 983792 | 1 | -1000 | -0.001 | 998823 | 998825 | -2 | 2000 | 0.002
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 75 | 75 | 0 | 0 | 0 | 664 | 665 | -1 | -300 | -0.0003
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999726 | 999774 | -48 | -48000 | -0.048 | 13493 | 13506 | -13 | -13000 | -0.013
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 191518 | 187996 | 3522 | -3522000 | -3.522 | 8769 | 8701 | 68 | -68000 | -0.068
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 49524 | 46216 | 3308 | -3308000 | -3.308 | 329 | 179 | 150 | -150000 | -0.15
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1823 | 1002 | 821 | -821000 | -0.821 | 999277 | 999275 | 2 | -2000 | -0.002
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2872 | 1881 | 991 | -991000 | -0.991 | 998448 | 998443 | 5 | -5000 | -0.005
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41663 | 39173 | 2490 | -2490000 | -2.49 | 982857 | 982858 | -1 | 1000 | 0.001
[5 empty] | -1000 | 31634 | 31081 | 553 | -553000 | -0.553
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53787 | 50951 | 2836 | -2836000 | -2.836 | 323 | 317 | 6 | -6000 | -0.006
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38614 | 36578 | 2036 | -4072000 | -4.072 | 25 | 24 | 1 | -2000 | -0.002
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 817 | 832 | -15 | -15000 | -0.015 | 159 | 153 | 6 | 6000 | 0.006
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4680 | 5307 | -627 | -83597.91 | -0.083598 | 5628 | 5469 | 159 | 21199.47 | 0.021199
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993517 | 993732 | -215 | -28595 | -0.028595 | 7872 | 7958 | -86 | -11438 | -0.011438
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950395 | 950395 | 0 | 0 | 0 | 990185 | 990185 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970961 | 970961 | 0 | 0 | 0 | 999923 | 999923 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -23.6867 |  |  |  |  | -0.78296
| (A) NET ENERGY TO CENTRAL | [8 empty] | -23.6867 |  |  |  |  | -0.78296
DECEMBER-2020
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988832 | 988356 | 476 | -476000 | -0.476 | 997200 | 997255 | -55 | 55000 | 0.055
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976685 | 976169 | 516 | -516000 | -0.516 | 962535 | 962537 | -2 | 2000 | 0.002
[5 empty] | -1000 | 972301 | 972301 | 0 | 0 | 0
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991631 | 991458 | 173 | -173000 | -0.173 | 997769 | 997868 | -99 | 99000 | 0.099
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990955 | 989427 | 1528 | -1528000 | -1.528 | 998435 | 998452 | -17 | 17000 | 0.017
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29809 | 28871 | 938 | -938000 | -0.938 | 997541 | 997342 | 199 | -199000 | -0.199
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15122 | 14195 | 927 | -927000 | -0.927 | 996543 | 996341 | 202 | -202000 | -0.202
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7913 | 7274 | 639 | -639000 | -0.639 | 12223 | 12325 | -102 | 102000 | 0.102
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1210 | 47 | 1163 | -1163000 | -1.163 | 999903 | 999856 | 47 | -47000 | -0.047
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 930742 | 930742 | 0 | 0 | 0 | 978697 | 978697 | 0 | 0 | 0 | under s/dn w.e.f 20/10
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984457 | 983016 | 1441 | -1441000 | -1.441 | 974764 | 974765 | -1 | 1000 | 0.001
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964794 | 964278 | 516 | -516000 | -0.516 | 825275 | 825278 | -3 | 3000 | 0.003
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4159 | 2768 | 1391 | -2782000 | -2.782 | 4 | 4 | 0 | 0 | 0
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3116 | 2276 | 840 | -840000 | -0.84 | 77 | 77 | 0 | 0 | 0
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23012 | 22809 | 203 | -203000 | -0.203 | 225 | 225 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -12.142 |  |  |  |  | -0.169
| (B) NET ENERGY TO EAST | [8 empty] | -12.142 |  |  |  |  | -0.169
DECEMBER-2020
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 996421 | 996815 | -394 | 105067.98 | 0.10507 | 999877 | 999880 | -3 | 800.01 | 0.00080001
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2184 | 2163 | 21 | -10500 | -0.0105 | 232 | 211 | 21 | -10500 | -0.0105
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3346 | 3425 | -79 | 21066.14 | 0.021066 | 2221 | 2219 | 2 | -533.32 | -0.00053332
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 113135 | 112621 | 514 | -51400 | -0.0514 | 152457 | 152455 | 2 | -200 | -0.0002
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 986740 | 987556 | -816 | 163200 | 0.1632 | 999329 | 999330 | -1 | 200 | 0.0002
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 618 | 612 | 6 | -6000 | -0.006 | 22 | 22 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 2466 | 2521 | -55 | 44000 | 0.044 | 2636 | 2627 | 9 | -7200 | -0.0072
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3076 | 3214 | -138 | 110400 | 0.1104 | 1314 | 1313 | 1 | -800 | -0.0008
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 988143 | 988868 | -725 | 580000 | 0.58 | 998792 | 998890 | -98 | 78400 | 0.0784
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 954874 | 955630 | -756 | 604800 | 0.6048 | 980319 | 980433 | -114 | 91200 | 0.0912
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 959431 | 959431 | 0 | 0 | 0 | 989864 | 989864 | 0 | 0 | 0
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995622 | 995854 | -232 | 464000 | 0.464 | 999556 | 999567 | -11 | 22000 | 0.022
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992812 | 993276 | -464 | 928000 | 0.928 | 999505 | 999516 | -11 | 22000 | 0.022
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999015 | 999640 | -625 | 625000 | 0.625 | 26629 | 27023 | -394 | 394000 | 0.394
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 870 | 901 | -31 | 31000 | 0.031 | 61206 | 61207 | -1 | 1000 | 0.001
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999866 | 999888 | -22 | 11000 | 0.011 | 2126 | 2133 | -7 | 3500 | 0.0035
19 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2429 | 2437 | -8 | 5333.36 | 0.0053334 | 433 | 423 | 10 | -6666.7 | -0.0066667
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 986 | 970 | 16 | -8000 | -0.008 | 448 | 418 | 30 | -15000 | -0.015
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 60865 | 61036 | -171 | 17100 | 0.0171 | 1734 | 1730 | 4 | -400 | -0.0004
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999708 | 999719 | -11 | 1466.63 | 0.0014666 | 365 | 362 | 3 | -399.99 | -0.00039999
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 995542 | 995933 | -391 | 39100 | 0.0391 | 3174 | 3210 | -36 | 3600 | 0.0036
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8028 | 8034 | -6 | 600 | 0.0006 | 13418 | 13496 | -78 | 7800 | 0.0078
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 10804 | 10773 | 31 | -3100 | -0.0031 | 3240 | 3090 | 150 | -15000 | -0.015
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 29825 | 29804 | 21 | -2100 | -0.0021 | 8770 | 8589 | 181 | -18100 | -0.0181
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 23100 | 20150 | 2950 | 2950 | 0.00295 | 66670 | 59190 | 7480 | 7480 | 0.00748
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 10920 | 7600 | 3320 | 3320 | 0.00332 | 194980 | 181370 | 13610 | 13610 | 0.01361
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 52200 | 44100 | 8100 | 8100 | 0.0081 | 610400 | 582600 | 27800 | 27800 | 0.0278
[10 empty] | 3.6844 |  |  |  |  | 0.59859
DECEMBER-2020
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -23.6867 |  |  |  |  | -0.78296
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 3.6844 |  |  |  |  | 0.59859
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.34994 |  |  |  |  | -0.0564
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -20.3523 |  |  |  |  | -0.24077
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -12.142 |  |  |  |  | -0.169
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -32.4943 |  |  |  |  | -0.40977
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -32.4943 | (REACTIVE MUs) |  |  |  | -0.40977 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.5146 | (REACTIVE MUs) |  |  |  | -0.036076 | (REACTIVE MUs)
[9 empty] | TOTAL | -37.0088 | (REACTIVE MUs) |  |  |  | -0.44585 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | DECEMBER-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 998772 | 998808 | -36 | -180000 | -0.18 | 998756 | 998771 | -15 | -75000 | -0.075
2 | BAY-25 | 4864829 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 985606 | 986564 | -958 | -127730.14 | -0.12773 | 1310 | 1724 | -414 | -55198.62 | -0.055199 | Check meter data
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 987459 | 988397 | -938 | -187600 | -0.1876 | 872 | 1316 | -444 | -88800 | -0.0888
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 108 | 209 | -101 | -134666.33 | -0.13467 | 999711 | 999772 | -61 | -81333.13 | -0.081333
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 998658 | 998714 | -56 | -84000 | -0.084 | 999974 | 999979 | -5 | -7500 | -0.0075
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 13634 | 14016 | -382 | -38200 | -0.0382 | 21801 | 21911 | -110 | -11000 | -0.011
7 | BAY-37 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 75 | 991191 | 993267 | -2076 | -155700 | -0.1557 | 999730 | 999959 | -229 | -17175 | -0.017175 | w.e.f 20/10
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 948785 | 956144 | -7359 | -551925 | -0.55192 | 17378 | 17379 | -1 | -75 | -7.5e-05
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 900 | 997963 | 998181 | -218 | -196200 | -0.1962 | 999807 | 999857 | -50 | -45000 | -0.045
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 992612 | 993229 | -617 | -61700 | -0.0617 | 265129 | 265168 | -39 | -3900 | -0.0039
PAAPANKALAN
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 152 | 74 | 78 | -519999.948 | -0.52 | 4 | 0 | 4 | -26666.664 | -0.026667
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16186 | 15148 | 1038 | -1038000 | -1.038 | 996534 | 996507 | 27 | -27000 | -0.027
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2759 | 2429 | 330 | -660000 | -0.66 | 997084 | 997062 | 22 | -44000 | -0.044
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16565 | 16393 | 172 | -172000 | -0.172 | 996341 | 996330 | 11 | -11000 | -0.011
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953491 | 953491 | 0 | 0 | 0 | 990549 | 989453 | 1096 | -1096000 | -1.096
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 103301 | 102597 | 704 | -704000 | -0.704 | 18987 | 18974 | 13 | -13000 | -0.013
[5 empty] | -1000 | 100716 | 99376 | 1340 | -1340000 | -1.34
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 75889 | 74637 | 1252 | -626000 | -0.626 | 36148 | 36053 | 95 | -47500 | -0.0475
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 21120 | 19994 | 1126 | -2252000 | -2.252 | 998510 | 998486 | 24 | -48000 | -0.048
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 938286 | 937873 | 413 | -413000 | -0.413 | 813990 | 813999 | -9 | 9000 | 0.009
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 31121 | 26855 | 4266 | -3412800 | -3.4128 | 1165 | 1115 | 50 | -40000 | -0.04
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 71184 | 68053 | 3131 | -2504800 | -2.5048 | 998265 | 998227 | 38 | -30400 | -0.0304
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964564 | 964679 | -115 | 115000 | 0.115 | 960995 | 961019 | -24 | 24000 | 0.024
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 968221 | 969748 | -1527 | 3054000 | 3.054 | 992251 | 992244 | 7 | -14000 | -0.014
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 918280 | 918840 | -560 | 1120000 | 1.12 | 983791 | 983804 | -13 | 26000 | 0.026
[10 empty] | 0.058 | [5 empty] | Assessment last month
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10353 | 10320 | 33 | -33000 | -0.033 | 997056 | 997129 | -73 | 73000 | 0.073
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5339 | 5416 | -77 | 77000 | 0.077 | 53 | 53 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980510 | 980558 | -48 | 48000 | 0.048 | 999928 | 1000009 | -81 | 81000 | 0.081
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 188698 | 186054 | 2644 | -2644000 | -2.644 | 56354 | 56117 | 237 | -237000 | -0.237
[5 empty] | -1000 | 185793 | 185461 | 332 | -332000 | -0.332
[10 empty] | 0.589 | [5 empty] | Last month assessment
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 2656 | 2656 | 0 | 0 | 0 | 36 | 36 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 346 | 342 | 4 | 3200 | 0.0032 | 628 | 627 | 1 | 800 | 0.0008
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 948827 | 949828 | -1001 | 1001000 | 1.001 | 965534 | 965552 | -18 | 18000 | 0.018
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978941 | 978993 | -52 | 52000 | 0.052 | 984012 | 984014 | -2 | 2000 | 0.002
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 74288 | 70375 | 3913 | -3913000 | -3.913 | 985600 | 985569 | 31 | -31000 | -0.031
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 22918 | 21151 | 1767 | -1413600 | -1.4136 | 999017 | 999009 | 8 | -6400 | -0.0064
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 38855 | 38162 | 693 | -1108800 | -1.1088 | 978836 | 978831 | 5 | -8000 | -0.008
[5 empty] | -1600 | 38066 | 37900 | 166 | -265600 | -0.2656
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997111 | 997009 | 102 | -204000 | -0.204 | 984320 | 984351 | -31 | 62000 | 0.062
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 6588 | 6616 | -28 | 14000 | 0.014 | 989729 | 989778 | -49 | 24500 | 0.0245
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21989 | 21724 | 265 | -265000 | -0.265 | 31774 | 31781 | -7 | 7000 | 0.007
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1609 | 1024 | 585 | -585000 | -0.585 | 996435 | 996430 | 5 | -5000 | -0.005
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 407 | 220 | 187 | -187000 | -0.187 | 999949 | 999914 | 35 | -35000 | -0.035
BRPL(+) continue | [14 empty] | DECEMBER-2020
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48826 | 48309 | 517 | -517000 | -0.517 | 999523 | 999515 | 8 | -8000 | -0.008
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10030 | 9471 | 559 | -559000 | -0.559 | 77 | 69 | 8 | -8000 | -0.008
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5007 | 3858 | 1149 | -1149000 | -1.149 | 999545 | 999548 | -3 | 3000 | 0.003
[5 empty] | -1000 | 3708 | 3662 | 46 | -46000 | -0.046
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3543 | 2063 | 1480 | -1480000 | -1.48 | 235 | 222 | 13 | -13000 | -0.013
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3790 | 2568 | 1222 | -1222000 | -1.222 | 924913 | 924911 | 2 | -2000 | -0.002
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 45801 | 44993 | 808 | -808000 | -0.808 | 9845 | 9827 | 18 | -18000 | -0.018
[5 empty] | -1000 | 41346 | 40520 | 826 | -826000 | -0.826
[10 empty] | 0.316 | [5 empty] | Assessment last month
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1978 | 1215 | 763 | -1526000 | -1.526 | 999598 | 999595 | 3 | -6000 | -0.006
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 70145 | 66829 | 3316 | -3316000 | -3.316 | 997176 | 997176 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 40044 | 38166 | 1878 | -3756000 | -3.756 | 999381 | 999381 | 0 | 0 | 0
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9625 | 9319 | 306 | -612000 | -0.612 | 2691 | 2686 | 5 | -10000 | -0.01
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7895 | 7540 | 355 | -710000 | -0.71 | 1522 | 1519 | 3 | -6000 | -0.006
MASJID MOD
52 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 912733 | 912983 | -250 | 250000 | 0.25 | 979158 | 979168 | -10 | 10000 | 0.01
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994560 | 994823 | -263 | 263000 | 0.263 | 994704 | 994716 | -12 | 12000 | 0.012
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996957 | 996876 | 81 | -81000 | -0.081 | 987091 | 987095 | -4 | 4000 | 0.004
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 998895 | 999136 | 0 | 0 | 0 | 999993 | 999994 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 981255 | 981779 | -524 | -419200 | -0.4192 | 610 | 612 | -2 | -1600 | -0.0016
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 942784 | 945402 | -2618 | -2094400 | -2.0944 | 999484 | 999488 | -4 | -3200 | -0.0032
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 998778 | 999180 | -402 | -321600 | -0.3216 | 999838 | 999835 | 3 | 2400 | 0.0024
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 995983 | 996095 | -112 | -89600 | -0.0896 | 43 | 43 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992812 | 993276 | -464 | -928000 | -0.928 | 999505 | 999516 | -11 | -22000 | -0.022
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 85772 | 82720 | 3052 | -6104000 | -6.104 | 970 | 923 | 47 | -94000 | -0.094
64 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20454 | 19878 | 576 | -576000 | -0.576 | 3500 | 2877 | 623 | -623000 | -0.623
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 117575 | 117114 | 461 | -461000 | -0.461 | 1542 | 1468 | 74 | -74000 | -0.074
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 18451 | 18307 | 144 | 14400 | 0.0144 | 143477 | 143432 | 45 | 4500 | 0.0045
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997240 | 997341 | -101 | -18937.5 | -0.018937 | 999847 | 999852 | -5 | -937.5 | -0.0009375
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 945900 | 947047 | -1147 | -458800 | -0.4588 | 993083 | 993083 | 0 | 0 | 0
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 9348 | 9635 | -287 | -114800 | -0.1148 | 73275 | 73275 | 0 | 0 | 0
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 911530 | 912341 | -811 | -648800 | -0.6488 | 997946 | 997978 | -32 | -25600 | -0.0256
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 453243 | 452225 | 1018 | 101800 | 0.1018 | 86242 | 86244 | -2 | -200 | -0.0002
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3372 | 3745 | -373 | -373000 | -0.373 | 1880 | 1881 | -1 | -1000 | -0.001
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10810 | 10809 | 1 | 75 | 7.5e-05 | 23662 | 23689 | -27 | -2025 | -0.002025
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5310 | 5309 | 1 | 100 | 0.0001 | 16733 | 16656 | 77 | 7700 | 0.0077
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9166 | 9254 | -88 | -44000 | -0.044 | 3221 | 3218 | 3 | 1500 | 0.0015
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998155 | 998599 | -444 | -444000 | -0.444 | 4213 | 4217 | -4 | -4000 | -0.004
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985092 | 985390 | -298 | -298000 | -0.298 | 948 | 943 | 5 | 5000 | 0.005
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6582 | 6481 | 101 | 101000 | 0.101 | 6693 | 6690 | 3 | 3000 | 0.003
80 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 2389 | 3044 | -655 | -104800 | -0.1048 | 1555 | 1499 | 56 | 8960 | 0.00896
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 2299 | 3500 | -1201 | -120100 | -0.1201 | 910027 | 909990 | 37 | 3700 | 0.0037
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4438 | 4317 | 121 | 121000 | 0.121 | 1116 | 1113 | 3 | 3000 | 0.003
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4603 | 4648 | -45 | -45000 | -0.045 | 7428 | 7430 | -2 | -2000 | -0.002
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 995508 | 996002 | -494 | -98800 | -0.0988 | 14619 | 14627 | -8 | -1600 | -0.0016
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 991450 | 991998 | -548 | -102750 | -0.10275 | 5408 | 5409 | -1 | -187.5 | -0.0001875
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 989923 | 990928 | -1005 | -188437.5 | -0.18844 | 4077 | 4076 | 1 | 187.5 | 0.0001875
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4461 | 4417 | 44 | 11000 | 0.011 | 8042 | 8039 | 3 | 750 | 0.00075
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 996771 | 997361 | -590 | -59000 | -0.059 | 29786 | 29774 | 12 | 1200 | 0.0012
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -49.7228 |  |  |  |  | -2.6331
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21480 | 21645 | -165 | 82500 | 0.0825 | 4881 | 4883 | -2 | 1000 | 0.001
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993517 | 993732 | -215 | 28665.95 | 0.028666 | 7872 | 7958 | -86 | 11466.38 | 0.011466
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1309 | 1332 | -23 | 23000 | 0.023 | 999105 | 999099 | 6 | -6000 | -0.006
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994243 | 994910 | -667 | 667000 | 0.667 | 2251 | 2251 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 8051 | 8403 | -352 | 56320 | 0.05632 | 29877 | 29916 | -39 | 6240 | 0.00624
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3622 | 3739 | -117 | 23400 | 0.0234 | 8291 | 8324 | -33 | 6600 | 0.0066
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980476 | 981416 | -940 | 940000 | 0.94 | 999249 | 999249 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102701 | 102715 | -14 | 1400 | 0.0014 | 75966 | 75966 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4881 | 4844 | 37 | -3700 | -0.0037 | 1376 | 1374 | 2 | -200 | -0.0002
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 11922 | 14339 | -2417 | 241700 | 0.2417 | 70816 | 70821 | -5 | 500 | 0.0005
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999905 | -1 | -833.33 | -0.00083333 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 1443 | 1443 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999509 | 999526 | -17 | 1700 | 0.0017
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3073 | 3084 | -11 | 1100 | 0.0011 | 30891 | 30908 | -17 | 1700 | 0.0017
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 773 | 775 | -2 | 2666 | 0.002666 | 560 | 561 | -1 | 1333 | 0.001333
21 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3179 | 3179 | 0 | 0 | 0 | 1616 | 1615 | 1 | -100 | -0.0001
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2086 | 2091 | -5 | 500 | 0.0005 | 3512 | 3405 | 107 | -10700 | -0.0107
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999880 | 999880 | 0 | 0 | 0 | 999438 | 999438 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 995618 | 995094 | 524 | -419200 | -0.4192 | 6137 | 6136 | 1 | -800 | -0.0008
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990022 | 990770 | -748 | 748000 | 0.748 | 2084 | 2188 | -104 | 104000 | 0.104
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1732 | 1916 | -184 | 138000 | 0.138 | 3312 | 3312 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 2.5305 |  |  |  |  | 0.11674
DECEMBER-2020
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -49.7228 |  |  |  |  | -2.6331
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 2.5305 |  |  |  |  | 0.11674
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.93649 |  |  |  |  | -0.0304
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0004875 |  |  |  |  | -0.031463
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -48.1292 |  |  |  |  | -2.5782
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -48.1292 | (REACTIVE MUs) |  |  |  | -2.5782 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -8.9963 | (REACTIVE MUs) |  |  |  | -0.071889 | (REACTIVE MUs)
[9 empty] | TOTAL | -57.1255 | (REACTIVE MUs) |  |  |  | -2.6501 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3346 | 3425 | -79 | -21066.93 | -0.021067 | 2221 | 2219 | 2 | 533.34 | 0.00053334
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 113135 | 112621 | 514 | 51400 | 0.0514 | 152457 | 152455 | 2 | 200 | 0.0002
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 986740 | 987556 | -816 | -163200 | -0.1632 | 999329 | 999330 | -1 | -200 | -0.0002
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 618 | 612 | 6 | 6000 | 0.006 | 22 | 22 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 2466 | 2521 | -55 | -44000 | -0.044 | 2636 | 2627 | 9 | 7200 | 0.0072
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3076 | 3214 | -138 | -110400 | -0.1104 | 1314 | 1313 | 1 | 800 | 0.0008
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 988143 | 988868 | -725 | -580000 | -0.58 | 998792 | 998890 | -98 | -78400 | -0.0784
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 954874 | 955630 | -756 | -604800 | -0.6048 | 980319 | 980433 | -114 | -91200 | -0.0912
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 959431 | 959431 | 0 | 0 | 0 | 989864 | 989864 | 0 | 0 | 0
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 995622 | 995854 | -232 | -464000 | -0.464 | 999556 | 999567 | -11 | -22000 | -0.022
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 964000 | 965310 | -1310 | -65500 | -0.0655 | 19637 | 19966 | -329 | -16450 | -0.01645
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 974402 | 974402 | 0 | 0 | 0 | 22554 | 22554 | 0 | 0 | 0
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998479 | 998593 | -114 | -57000 | -0.057 | 5443 | 5472 | -29 | -14500 | -0.0145
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 996694 | 996853 | -159 | -59625 | -0.059625 | 7289 | 7350 | -61 | -22875 | -0.022875
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 986370 | 987571 | -1201 | -120100 | -0.1201 | 999094 | 999434 | -340 | -34000 | -0.034
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 11707 | 11872 | -165 | -12375 | -0.012375 | 40551 | 40578 | -27 | -2025 | -0.002025
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 8115 | 8879 | -764 | -76400 | -0.0764 | 2019 | 2061 | -42 | -4200 | -0.0042
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995118 | 995325 | -207 | -207000 | -0.207 | 104603 | 104716 | -113 | -113000 | -0.113
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993362 | 993755 | -393 | -393000 | -0.393 | 2407 | 2561 | -154 | -154000 | -0.154
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984772 | 984891 | -119 | -119000 | -0.119 | 145201 | 145290 | -89 | -89000 | -0.089
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998838 | 998999 | -161 | -402500 | -0.4025 | 383 | 434 | -51 | -127500 | -0.1275
[10 empty] | -1.1215 |  |  |  |  | -0.4835
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994243 | 994910 | -667 | -667000 | -0.667 | 2251 | 2251 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 8051 | 8403 | -352 | -56320 | -0.05632 | 29877 | 29916 | -39 | -6240 | -0.00624
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3622 | 3739 | -117 | -23400 | -0.0234 | 8291 | 8324 | -33 | -6600 | -0.0066
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980476 | 981416 | -940 | -940000 | -0.94 | 999249 | 999249 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999905 | -1 | 833.33 | 0.00083333 | 999569 | 999569 | 0 | 0 | 0
DECEMBER-2020
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996437 | 996152 | 285 | -285000 | -0.285 | 990012 | 990011 | 1 | -1000 | -0.001
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997738 | 997442 | 296 | -296000 | -0.296 | 995810 | 995810 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997646 | 997533 | 113 | -226000 | -0.226 | 996808 | 996808 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999242 | 999040 | 202 | -202000 | -0.202 | 995930 | 995929 | 1 | -1000 | -0.001
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 1443 | 1443 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102701 | 102715 | -14 | -1400 | -0.0014 | 75966 | 75966 | 0 | 0 | 0
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4881 | 4844 | 37 | 3700 | 0.0037 | 1376 | 1374 | 2 | 200 | 0.0002
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 11922 | 14339 | -2417 | -241700 | -0.2417 | 70816 | 70821 | -5 | -500 | -0.0005
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21480 | 21645 | -165 | -82500 | -0.0825 | 4881 | 4883 | -2 | -1000 | -0.001
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 453243 | 452225 | 1018 | -101800 | -0.1018 | 86242 | 86244 | -2 | 200 | 0.0002
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3372 | 3745 | -373 | 373000 | 0.373 | 1880 | 1881 | -1 | 1000 | 0.001
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10810 | 10809 | 1 | -75 | -7.5e-05 | 23662 | 23689 | -27 | 2025 | 0.002025
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5310 | 5309 | 1 | -100 | -0.0001 | 16733 | 16656 | 77 | -7700 | -0.0077
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -6.1883 |  |  |  |  | -0.78123
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -6.1883 |  |  |  |  | -0.78123
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.93493 |  |  |  |  | -0.007471
| TOTAL ENERGY TO NDMC | [8 empty] | -7.1233 |  |  |  |  | -0.7887

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2020
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3783 | 3318 | 465 | 93000 | 0.093 | 65228 | 65232 | -4 | -800 | -0.0008
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 1000261 | 999738 | 523 | 83680 | 0.08368 | 23185 | 22952 | 233 | 37280 | 0.03728
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4544 | 4486 | 58 | 58000 | 0.058 | 58278 | 58277 | 1 | 1000 | 0.001
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 280 | 275 | 5 | 2000 | 0.002 | 18328 | 18152 | 176 | 70400 | 0.0704
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999735 | 999699 | 36 | 28800 | 0.0288 | 704 | 705 | -1 | -800 | -0.0008
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2020 | 1959 | 61 | 24400 | 0.0244 | 5365 | 5365 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1309 | 1332 | -23 | -23000 | -0.023 | 999105 | 999099 | 6 | 6000 | 0.006
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.26688 |  |  |  |  | 0.11308
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865082 | ELSTER | Kvarh(Lead/Lag) | 50 | 19189 | 19258 | -69 | -3450 | -0.00345 | 17527 | 17329 | 198 | 9900 | 0.0099
|  | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 23 | 0 | 23 | 862.5 | 0.0008625 | 127 | 0 | 127 | 4762.5 | 0.0047625 | w.e.f 24/12
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 855 | 855 | 0 | 0 | 0 | 118 | 118 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 3599 | 3558 | 41 | 3075 | 0.003075 | 27997 | 27773 | 224 | 16800 | 0.0168
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 767 | 767 | 0 | 0 | 0 | 1710 | 1710 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4368 | 4368 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0004875 |  |  |  |  | 0.031463
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.26688 |  |  |  |  | 0.11308
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.26737 |  |  |  |  | 0.14454
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.26737 | (REACTIVE MUs) |  |  |  | 0.14454 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.24882 | (REACTIVE MUs) |  |  |  | -0.0019883 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.018547 | (REACTIVE MUs) |  |  |  | 0.14255 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2020
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 990231 | 990072 | 159 | 99375 | 0.099375 | 1000012 | 999997 | 15 | 9375 | 0.009375
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 990560 | 990655 | -95 | -59375 | -0.059375 | 999852 | 999856 | -4 | -2500 | -0.0025
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 995618 | 995094 | 524 | 419200 | 0.4192 | 6137 | 6136 | 1 | 800 | 0.0008
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 23100 | 20150 | 2950 | -2950 | -0.00295 | 66670 | 59190 | 7480 | -7480 | -0.00748
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 10920 | 7600 | 3320 | -3320 | -0.00332 | 194980 | 181370 | 13610 | -13610 | -0.01361
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 52200 | 44100 | 8100 | -8100 | -0.0081 | 610400 | 582600 | 27800 | -27800 | -0.0278
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.44483 |  |  |  |  | -0.041215
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.068464 |  |  |  |  | -0.00054709
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.37637 |  |  |  |  | -0.041762

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2020
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 943419 | 946669 | -3250 | -325000 | -0.325 | 1898 | 1898 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 53096 | 56019 | -2923 | -292300 | -0.2923 | 6301 | 6301 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 17022 | 17053 | -31 | -15500 | -0.0155 | 3951 | 4010 | -59 | -29500 | -0.0295
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998064 | 998373 | -309 | -289687.5 | -0.28969 | 999791 | 999791 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993706 | 993784 | -78 | 78000 | 0.078 | 999637 | 999637 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 992799 | 992615 | 184 | -92000 | -0.092 | 999932 | 999932 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 9 | 12 | -3 | -900 | -0.0009
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.93649 |  |  |  |  | -0.0304
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 969766 | 969861 | -95 | -19000 | -0.019 | 996469 | 996751 | -282 | -56400 | -0.0564
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 987456 | 987809 | -353 | -330937.5 | -0.33094 | 999568 | 999568 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.34994 |  |  |  |  | -0.0564
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1818 | 1825 | -7 | -8750 | -0.00875 | 999220 | 999230 | -10 | -12500 | -0.0125
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 358273 | 358821 | -548 | -54800 | -0.0548 | 264387 | 264774 | -387 | -38700 | -0.0387
[5 empty] | 100 | 367665 | 367947 | -282 | -28200 | -0.0282
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 297964 | 297985 | -21 | -1312.5 | -0.0013125 | 62575 | 62927 | -352 | -22000 | -0.022
[5 empty] | 62.5 | 312522 | 313346 | -824 | -51500 | -0.0515
[5 empty] | 62.5 | 334726 | 335014 | -288 | -18000 | -0.018
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 1231 | 1254 | -23 | -18400 | -0.0184 | 669 | 1001 | -332 | -265600 | -0.2656
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 952114 | 953289 | -1175 | -235000 | -0.235 | 998511 | 998511 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 989328 | 989627 | -299 | -44850 | -0.04485 | 988263 | 988174 | 89 | 13350 | 0.01335
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997130 | 997177 | -47 | 117500 | 0.1175 | 3042 | 3042 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 9 | 12 | -3 | 900 | 0.0009
| TOTAL NDPL | [8 empty] | -0.34331 |  |  |  |  | -0.32455
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.93649 |  |  |  |  | -0.0304
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.34994 |  |  |  |  | -0.0564
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.34331 |  |  |  |  | -0.32455

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2020
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 106104 | 103946 | 2158 | 2158000 | 2.158 | 26568 | 26118 | 450 | 450000 | 0.45
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 6882 | 5902 | 980 | 1960000 | 1.96 | 1013 | 803 | 210 | 420000 | 0.42
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 924127 | 927264 | -3137 | 1568500 | 1.5685 | 998042 | 998044 | -2 | 1000 | 0.001
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 470023 | 471704 | -1681 | 168100 | 0.1681 | 984122 | 984121 | 1 | -100 | -0.0001
[5 empty] | -100 | 472100 | 472416 | -316 | 31600 | 0.0316
[5 empty] | -100 | 479200 | 479565 | -365 | 36500 | 0.0365
[7 empty] | NET REACTIVE ENERGY |  |  | 5.8862 |  | NET REACTIVE ENERGY |  |  | 0.8709
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 5.8862 |  |  |  |  | 0.8709
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -20.4186 |  |  |  |  | -0.003
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -6.0393 |  |  |  |  | -0.55775
[7 empty] | NDMC = |  |  | -1.1215 |  |  |  |  | -0.4835
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -27.5794 |  |  |  |  | -1.0442
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -21.6932 |  |  |  |  | -0.17335
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.9461 | % |  |  | -6.9301 |  |  |  |  | -0.055379
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.4705 | % |  |  | -8.9963 |  |  |  |  | -0.071889
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 20.811 | % |  |  | -4.5146 |  |  |  |  | -0.036076
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.3098 | % |  |  | -0.93493 |  |  |  |  | -0.007471
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.147 | % |  |  | -0.24882 |  |  |  |  | -0.0019883
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.3156 | % |  |  | -0.068464 |  |  |  |  | -0.00054709
Note :Sharing taken from wk-40 abt bill 2020-21

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st December-2020 TO 31st December-2020
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -73.256 |  | -4.6295
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -57.1255 |  | -2.6501
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -37.0088 |  | -0.44585
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -7.1233 |  | -0.7887
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.018547 | + | 0.14255
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.37637 |  | -0.041762
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2020 | INTIAL READING 01/12/2020 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83