## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17748 | 18169 | -421 | 421000 | 0.421 | 978430 | 978882 | -452 | 452000 | 0.452
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999778 | 1000006 | -228 | 228000 | 0.228 | 98 | 116 | -18 | 18000 | 0.018 | ROLL OVER
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18741 | 19450 | -709 | 709000 | 0.709 | 997175 | 997175 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974583 | 974895 | -312 | 312000 | 0.312 | 978492 | 978547 | -55 | 55000 | 0.055
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 922332 | 922680 | -348 | 348000 | 0.348 | 949922 | 949966 | -44 | 44000 | 0.044
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18539 | 18359 | 180 | -180000 | -0.18 | 16573 | 16533 | 40 | -40000 | -0.04
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19492 | 19332 | 160 | -160000 | -0.16 | 12705 | 12678 | 27 | -27000 | -0.027
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15517 | 14779 | 738 | -738000 | -0.738 | 986842 | 986848 | -6 | 6000 | 0.006
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34859 | 34911 | -52 | 52000 | 0.052 | 9842 | 9878 | -36 | 36000 | 0.036
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1760 | 1847 | -87 | 87000 | 0.087 | 4188 | 4212 | -24 | 24000 | 0.024
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998708 | 999080 | -372 | 372000 | 0.372 | 999506 | 999506 | 0 | 0 | 0
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 954970 | 957305 | -2335 | -2335000 | -2.335 | 920550 | 920550 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997479 | 997632 | -153 | 153000 | 0.153 | 17207 | 17255 | -48 | 48000 | 0.048
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999419 | 999236 | 183 | -183000 | -0.183 | 19571 | 19572 | -1 | 1000 | 0.001
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978 | 1115 | -137 | 137000 | 0.137 | 21074 | 21124 | -50 | 50000 | 0.05
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999556 | 999565 | -9 | -9000 | -0.009 | 28030 | 27836 | 194 | 194000 | 0.194
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 202 | 197 | 5 | 5000 | 0.005 | 26535 | 26452 | 83 | 83000 | 0.083
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2013 | 1811 | 202 | 20200 | 0.0202 | 122206 | 121446 | 760 | 76000 | 0.076
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 3485 | 3078 | 407 | 40700 | 0.0407 | 170894 | 169587 | 1307 | 130700 | 0.1307
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996062 | 996102 | -40 | -40000 | -0.04 | 997600 | 997670 | -70 | -70000 | -0.07
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999932 | 999947 | -15 | -15000 | -0.015 | 1720 | 1740 | -20 | -20000 | -0.02
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 654215 | 654503 | -288 | -288000 | -0.288 | 801389 | 801405 | -16 | -16000 | -0.016
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 660683 | 661474 | -791 | -791000 | -0.791 | 833852 | 833894 | -42 | -42000 | -0.042
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991268 | 991185 | 83 | 83000 | 0.083 | 998460 | 998458 | 2 | 2000 | 0.002
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 999734 | 999601 | 133 | 66500 | 0.0665 | 999839 | 999824 | 15 | 7500 | 0.0075
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7585 | 7235 | 350 | -350000 | -0.35 | 981896 | 981912 | -16 | 16000 | 0.016
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999154 | 999071 | 83 | -83000 | -0.083 | 948550 | 948539 | 11 | -11000 | -0.011
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | Avg. of last four month energy(Sept.-Dec.2011) |  |  |  | 0.11375 | Avg. of last four month energy(Sept.-Dec.2011) |  |  |  | 0.725 | Meter time shift problem
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 1000 | 163 | 117 | 46 | 46000 | 0.046 | 0 | 0 | 0 | 0 | 0 | Loaded on 26/01/12
31 | 66KV TX.3 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6427 | 6266 | 161 | -161000 | -0.161 | 7 | 9 | -2 | 2000 | 0.002 | Check Meter used upto 6/1/12
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6737 | 5741 | 996 | -996000 | -0.996 | 999982 | 1000007 | -25 | 25000 | 0.025 | ROLL OVER
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 728 | 770 | -42 | -42000 | -0.042 | 16290 | 16245 | 45 | 45000 | 0.045
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999284 | 999286 | -2 | -2000 | -0.002 | 3039 | 3064 | -25 | -25000 | -0.025
| NDPL(+) continue | [14 empty] | JANUARY-2012
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1033 | 878 | 155 | 155000 | 0.155 | 55923 | 55662 | 261 | 261000 | 0.261
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 12091 | 12641 | -550 | -55000 | -0.055 | 61415 | 58503 | 2912 | 291200 | 0.2912
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 8261 | 8055 | 206 | 20600 | 0.0206 | 13127 | 12588 | 539 | 53900 | 0.0539
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9583 | 9550 | 33 | 3300 | 0.0033 | 30822 | 30692 | 130 | 13000 | 0.013
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13733 | 13712 | 21 | 2100 | 0.0021 | 36621 | 35895 | 726 | 72600 | 0.0726
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 32437 | 32127 | 310 | 31000 | 0.031 | 10777 | 10634 | 143 | 14300 | 0.0143
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 15591 | 15364 | 227 | 22700 | 0.0227 | 11118 | 10978 | 140 | 14000 | 0.014
45 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997876 | 998171 | -295 | -29500 | -0.0295 | 1138 | 947 | 191 | 19100 | 0.0191
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5102 | 5092 | 10 | 5000 | 0.005 | 22588 | 22452 | 136 | 68000 | 0.068
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3282 | 3257 | 25 | 12500 | 0.0125 | 20697 | 20550 | 147 | 73500 | 0.0735
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3290 | 3276 | 14 | 7000 | 0.007 | 13919 | 13851 | 68 | 34000 | 0.034
49 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3234 | 3222 | 12 | 6000 | 0.006 | 16209 | 16071 | 138 | 69000 | 0.069
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999558 | 999722 | -164 | -16400 | -0.0164 | 5796 | 5791 | 5 | 500 | 0.0005
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 3069 | 2795 | 274 | 27400 | 0.0274 | 13705 | 13610 | 95 | 9500 | 0.0095
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 7875 | 7519 | 356 | 35600 | 0.0356 | 48836 | 48720 | 116 | 11600 | 0.0116
53 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 8050 | 8090 | -40 | -4000 | -0.004 | 19062 | 19073 | -11 | -1100 | -0.0011
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999510 | 999553 | -43 | -4300 | -0.0043 | 252 | 254 | -2 | -200 | -0.0002
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 2826 | 2547 | 279 | 27900 | 0.0279 | 62187 | 61880 | 307 | 30700 | 0.0307
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 4541 | 4258 | 283 | 28300 | 0.0283 | 53067 | 52893 | 174 | 17400 | 0.0174
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 5289 | 5014 | 275 | 27500 | 0.0275 | 76596 | 76223 | 373 | 37300 | 0.0373
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 110659 | 108967 | 1692 | 169200 | 0.1692 | 26996 | 26833 | 163 | 16300 | 0.0163
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 15209 | 15004 | 205 | 20500 | 0.0205 | 33506 | 33459 | 47 | 4700 | 0.0047
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 41 | 2 | 39 | -11700 | -0.0117 | 1000018 | 999952 | 66 | -19800 | -0.0198 | ROLL OVER
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | -400 | 4570 | 4570 | 0 | 0 | 0 | 12610 | 12610 | 0 | 0 | 0
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999305 | 999305 | 0 | 0 | 0 | 999274 | 999301 | -27 | -2700 | -0.0027
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -2.6981 |  |  |  |  | 2.877
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 6106 | 5783 | 323 | -32300 | -0.0323 | 9144 | 9003 | 141 | -14100 | -0.0141
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5821 | 5779 | 42 | -42000 | -0.042 | 4502 | 4369 | 133 | -133000 | -0.133
SUBZI MANDI
4 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13121 | 12948 | 173 | -173000 | -0.173 | 24542 | 24254 | 288 | -288000 | -0.288
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 39188 | 39650 | -462 | 46200 | 0.0462 | 147062 | 147069 | -7 | 700 | 0.0007
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976341 | 977416 | -1075 | 1075000 | 1.075 | 992695 | 992717 | -22 | 22000 | 0.022
66KV GHEBRA
9 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | -1250 | 997899 | 997929 | -30 | 37500 | 0.0375 | 626 | 629 | -3 | 3750 | 0.00375
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.9114 |  |  |  |  | -0.40865
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -2.6981 |  |  |  |  | 2.877
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.9114 |  |  |  |  | -0.40865
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.9523 |  |  |  |  | 0.10101
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -0.83445 |  |  |  |  | 2.5694
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.83445 | (REACTIVE MUs) |  |  |  | 2.5694 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.13438 | (REACTIVE MUs) |  |  |  | 1.5987 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.70007 | (REACTIVE MUs) |  |  |  | 4.1681 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JANUARY-2012
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 989225 | 989512 | -287 | -28700 | -0.0287 | 75724 | 77180 | -1456 | -145600 | -0.1456
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 17442 | 17681 | -239 | -23900 | -0.0239 | 694 | 534 | 160 | 16000 | 0.016
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 24032 | 24165 | -133 | -13300 | -0.0133 | 31159 | 31423 | -264 | -26400 | -0.0264
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998893 | 998882 | 11 | 1100 | 0.0011 | 6401 | 5614 | 787 | 78700 | 0.0787
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8799 | 8769 | 30 | 3000 | 0.003 | 75636 | 74705 | 931 | 93100 | 0.0931
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 1007 | 1127 | -120 | -12000 | -0.012 | 48714 | 48671 | 43 | 4300 | 0.0043
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999616 | 999621 | -5 | -5000 | -0.005 | 999768 | 999732 | 36 | 36000 | 0.036
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999810 | 999834 | -24 | -24000 | -0.024 | 2260 | 2298 | -38 | -38000 | -0.038
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 404 | 376 | 28 | 28000 | 0.028 | 1451 | 1376 | 75 | 75000 | 0.075
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 84 | 142 | -58 | -58000 | -0.058 | 2507 | 2473 | 34 | 34000 | 0.034
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999743 | 999766 | -23 | -23000 | -0.023 | 2268 | 2221 | 47 | 47000 | 0.047
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 455 | 459 | -4 | -4000 | -0.004 | 1056 | 1078 | -22 | -22000 | -0.022
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 158 | 158 | 0 | 0 | 0 | 13816 | 13668 | 148 | 148000 | 0.148
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 300 | 297 | 3 | 3000 | 0.003 | 34238 | 34199 | 39 | 39000 | 0.039
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 254 | 254 | 0 | 0 | 0 | 10939 | 10169 | 770 | 770000 | 0.77
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 245 | 245 | 0 | 0 | 0 | 5381 | 5322 | 59 | 59000 | 0.059
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 30829 | 30185 | 644 | 64400 | 0.0644 | 536 | 535 | 1 | 100 | 0.0001
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998552 | 998544 | 8 | 8000 | 0.008 | 6490 | 6011 | 479 | 479000 | 0.479
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 829022 | 832329 | -3307 | -3637700 | -3.6377
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 870818 | 873762 | -2944 | -3238400 | -3.2384
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992977 | 993292 | -315 | -315000 | -0.315 | 10105 | 10106 | -1 | -1000 | -0.001
| KASHMIRI GATE | [8 empty] | -0.3256 |  |  |  |  | -5.25
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965457 | 965749 | -292 | 292000 | 0.292 | 977952 | 977989 | -37 | 37000 | 0.037
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981979 | 982501 | -522 | 522000 | 0.522 | 984039 | 984346 | -307 | 307000 | 0.307
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 41 | 2 | 39 | 11700 | 0.0117 | 1000018 | 999952 | 66 | 19800 | 0.0198 | ROLL OVER
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1066 | 958 | 108 | 108000 | 0.108 | 57025 | 56597 | 428 | 428000 | 0.428
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4983 | 3891 | 1092 | -1092000 | -1.092 | 974621 | 974705 | -84 | 84000 | 0.084
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5542 | 4667 | 875 | -875000 | -0.875 | 979242 | 979779 | -537 | 537000 | 0.537
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993467 | 993904 | -437 | 437000 | 0.437 | 991099 | 991219 | -120 | 120000 | 0.12
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995811 | 996715 | -904 | 904000 | 0.904 | 996127 | 996197 | -70 | 70000 | 0.07
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13121 | 12948 | 173 | 173000 | 0.173 | 24542 | 24254 | 288 | 288000 | 0.288
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 90328 | 87177 | 3151 | 315100 | 0.3151 | 1707 | 1707 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 51394 | 53019 | -1625 | -162500 | -0.1625 | 999577 | 999576 | 1 | 100 | 0.0001
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.2339 |  |  |  |  | -3.339
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.2339 |  |  |  |  | -3.339
JANUARY-2012
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997335 | 997628 | -293 | 293000 | 0.293 | 940988 | 942711 | -1723 | 1723000 | 1.723
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15449 | 15596 | -147 | 147000 | 0.147 | 959500 | 961235 | -1735 | 1735000 | 1.735
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13591 | 13977 | -386 | 386000 | 0.386 | 947179 | 948849 | -1670 | 1670000 | 1.67
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 954370 | 955437 | -1067 | 1067000 | 1.067 | 993729 | 993732 | -3 | 3000 | 0.003
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 945247 | 946356 | -1109 | 1109000 | 1.109 | 992020 | 992021 | -1 | 1000 | 0.001
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999647 | 999573 | 74 | -74000 | -0.074 | 993752 | 994246 | -494 | 494000 | 0.494
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1433 | 1340 | 93 | -93000 | -0.093 | 983819 | 984032 | -213 | 213000 | 0.213
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998720 | 998829 | -109 | 218000 | 0.218 | 990007 | 990435 | -428 | 856000 | 0.856
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12555 | 12753 | -198 | 198000 | 0.198 | 957070 | 957689 | -619 | 619000 | 0.619
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967427 | 968022 | -595 | 595000 | 0.595 | 902312 | 903775 | -1463 | 1463000 | 1.463
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21368 | 21368 | 0 | 0 | 0 | 28060 | 27349 | 711 | -711000 | -0.711
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19177 | 19083 | 94 | -94000 | -0.094 | 36502 | 36513 | -11 | 11000 | 0.011
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 3.752 |  |  |  |  | 8.077
| (B) NET ENERGY TO EAST | [8 empty] | 3.752 |  |  |  |  | 8.077
6
JANUARY-2012
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991268 | 991185 | 83 | -83000 | -0.083 | 998460 | 998458 | 2 | -2000 | -0.002
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 999734 | 999601 | 133 | -66500 | -0.0665 | 999839 | 999824 | 15 | -7500 | -0.0075
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 21822 | 20451 | 1371 | -274200 | -0.2742 | 62357 | 62321 | 36 | -7200 | -0.0072
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 29124 | 26326 | 2798 | -279800 | -0.2798 | 121184 | 121106 | 78 | -7800 | -0.0078
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 990177 | 990875 | -698 | 139600 | 0.1396 | 4260 | 4238 | 22 | -4400 | -0.0044
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 39736 | 38971 | 765 | -76500 | -0.0765 | 80160 | 80095 | 65 | -6500 | -0.0065
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 40654 | 39736 | 918 | -183600 | -0.1836 | 80160 | 80160 | 0 | 0 | 0 | YCTR CHANGE FROM 400/5 TO 800/5 ON DATED 08/01/12
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 65174 | 63631 | 1543 | -1543000 | -1.543 | 232 | 232 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3363 | 2788 | 575 | -575000 | -0.575 | 55 | 53 | 2 | -2000 | -0.002
9 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 996786 | 997668 | -882 | 705600 | 0.7056 | 998573 | 998652 | -79 | 63200 | 0.0632
10 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 478 | 0 | 478 | -382400 | -0.3824 | 5 | 0 | 5 | -4000 | -0.004 | Loaded on 13/01/12
EXPORT TO SOUTH & WEST FROM PARK STREET
11 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998176 | 998329 | -153 | 153000 | 0.153 | 38051 | 37910 | 141 | -141000 | -0.141
12 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 997985 | 998214 | -229 | 305332.57 | 0.30533 | 514 | 510 | 4 | -5333.32 | -0.0053333
EXPORT TO NORTH from SHASTRI PARK
13 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 728 | 770 | -42 | 42000 | 0.042 | 16290 | 16245 | 45 | -45000 | -0.045
14 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999284 | 999286 | -2 | 2000 | 0.002 | 3039 | 3064 | -25 | 25000 | 0.025
DMS
15 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1033 | 878 | 155 | -155000 | -0.155 | 55923 | 55662 | 261 | -261000 | -0.261
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5102 | 5092 | 10 | -5000 | -0.005 | 22588 | 22452 | 136 | -68000 | -0.068
17 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3282 | 3257 | 25 | -12500 | -0.0125 | 20697 | 20550 | 147 | -73500 | -0.0735
18 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3290 | 3276 | 14 | -7000 | -0.007 | 13919 | 13851 | 68 | -34000 | -0.034
19 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3234 | 3222 | 12 | -6000 | -0.006 | 16209 | 16071 | 138 | -69000 | -0.069
KASHMIRI GATE
20 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 110659 | 108967 | 1692 | -169200 | -0.1692 | 26996 | 26833 | 163 | -16300 | -0.0163
21 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 15209 | 15004 | 205 | -20500 | -0.0205 | 33506 | 33459 | 47 | -4700 | -0.0047
D.M.S.
22 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999558 | 999722 | -164 | 16400 | 0.0164 | 5796 | 5791 | 5 | -500 | -0.0005
23 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 3069 | 2795 | 274 | -27400 | -0.0274 | 13705 | 13610 | 95 | -9500 | -0.0095
24 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 7875 | 7519 | 356 | -35600 | -0.0356 | 48836 | 48720 | 116 | -11600 | -0.0116
25 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 8050 | 8090 | -40 | 4000 | 0.004 | 19062 | 19073 | -11 | 1100 | 0.0011
26 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999510 | 999553 | -43 | 4300 | 0.0043 | 252 | 254 | -2 | 200 | 0.0002
27 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 2826 | 2547 | 279 | -27900 | -0.0279 | 62187 | 61880 | 307 | -30700 | -0.0307
29 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 4541 | 4258 | 283 | -28300 | -0.0283 | 53067 | 52893 | 174 | -17400 | -0.0174
30 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 5289 | 5014 | 275 | -27500 | -0.0275 | 76596 | 76223 | 373 | -37300 | -0.0373
[10 empty] | -2.6137 |  |  |  |  | -0.77673
JANUARY-2012
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.2339 |  |  |  |  | -3.339
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -2.6137 |  |  |  |  | -0.77673
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.9188 |  |  |  |  | -0.0082
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -3.2986 |  |  |  |  | -4.1239
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 3.752 |  |  |  |  | 8.077
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 0.45343 |  |  |  |  | 3.9531
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.45343 | (REACTIVE MUs) |  |  |  | 3.9531 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.10744 | (REACTIVE MUs) |  |  |  | 1.2781 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.56087 | (REACTIVE MUs) |  |  |  | 5.2312 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JANUARY-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998546 | 998677 | -131 | -131000 | -0.131 | 11257 | 11272 | -15 | -15000 | -0.015
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 990769 | 990969 | -200 | -266666 | -0.26667 | 677637 | 677710 | -73 | -97333.09 | -0.097333
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6662 | 6629 | 33 | 33000 | 0.033 | 46398 | 46364 | 34 | 34000 | 0.034
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10838 | 10802 | 36 | 36000 | 0.036 | 626 | 515 | 111 | 111000 | 0.111
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 7405 | 7353 | 52 | 5200 | 0.0052 | 85843 | 86184 | -341 | -34100 | -0.0341
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 42334 | 42852 | -518 | -51800 | -0.0518 | 269054 | 269044 | 10 | 1000 | 0.001
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 7893 | 8053 | -160 | -16000 | -0.016 | 344271 | 344272 | -1 | -100 | -0.0001
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999916 | 999925 | -9 | -9000 | -0.009 | 15553 | 15465 | 88 | 88000 | 0.088 | Reading taken from 1/1/12 to 11/01/12
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999995 | 1000000 | -5 | -5000 | -0.005 | 999901 | 999999 | -98 | -98000 | -0.098 | Main Meter installed on 11/01/12, ROLL OVER
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994103 | 994650 | -547 | 547000 | 0.547 | 961692 | 961911 | -219 | 219000 | 0.219
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992569 | 993185 | -616 | 616000 | 0.616 | 964390 | 964553 | -163 | 163000 | 0.163
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988769 | 988785 | -16 | 16000 | 0.016 | 948599 | 948941 | -342 | 342000 | 0.342
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999588 | 999539 | 49 | -49000 | -0.049 | 964748 | 965092 | -344 | 344000 | 0.344
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998883 | 999233 | -350 | 350000 | 0.35 | 993622 | 993758 | -136 | 136000 | 0.136
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3175 | 2185 | 990 | -990000 | -0.99 | 996778 | 996780 | -2 | 2000 | 0.002
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40134 | 39775 | 359 | -359000 | -0.359 | 26515 | 26792 | -277 | 277000 | 0.277
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4314 | 4848 | -534 | 534000 | 0.534 | 11174 | 11783 | -609 | 609000 | 0.609
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24836 | 24749 | 87 | -87000 | -0.087 | 12607 | 12899 | -292 | 292000 | 0.292
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14988 | 14184 | 804 | -804000 | -0.804 | 42649 | 42797 | -148 | 148000 | 0.148
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4330 | 4330 | 0 | 0 | 0 | 3697 | 3697 | 0 | 0 | 0
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5821 | 5779 | 42 | 42000 | 0.042 | 4502 | 4369 | 133 | 133000 | 0.133
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955733 | 957767 | -2034 | 2034000 | 2.034 | 906489 | 906495 | -6 | 6000 | 0.006
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987547 | 988977 | -1430 | 1430000 | 1.43 | 870117 | 870148 | -31 | 31000 | 0.031
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 320 | 340 | -20 | 20000 | 0.02 | 994576 | 996233 | -1657 | 1657000 | 1.657
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 445 | 452 | -7 | 7000 | 0.007 | 980486 | 982866 | -2380 | 2380000 | 2.38
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999794 | 999193 | 601 | -601000 | -0.601 | 957902 | 957903 | -1 | 1000 | 0.001
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999630 | 999630 | 0 | 0 | 0 | 919717 | 923916 | -4199 | 4199000 | 4.199
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999027 | 999027 | 0 | 0 | 0 | 905991 | 910588 | -4597 | 4597000 | 4.597
BRPL(+) continue | [14 empty] | JANUARY-2012
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 55 | 69 | -14 | 14000 | 0.014 | 993688 | 994152 | -464 | 464000 | 0.464
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990581 | 990518 | 63 | -126000 | -0.126 | 972571 | 972406 | 165 | -330000 | -0.33
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997918 | 998024 | -106 | 106000 | 0.106 | 932440 | 932882 | -442 | 442000 | 0.442
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1543 | 1584 | -41 | 41000 | 0.041 | 947820 | 948831 | -1011 | 1011000 | 1.011
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998032 | 998141 | -109 | 109000 | 0.109 | 938989 | 939398 | -409 | 409000 | 0.409
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 983017 | 984778 | -1761 | 1173998.826 | 1.174 | 976470 | 976489 | -19 | 12666.654 | 0.012667
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 324 | 239 | 85 | -170000 | -0.17 | 1132 | 1075 | 57 | -114000 | -0.114
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997068 | 996974 | 94 | -188000 | -0.188 | 393 | 343 | 50 | -100000 | -0.1
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989078 | 990343 | -1265 | 1265000 | 1.265 | 999915 | 999915 | 0 | 0 | 0
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985773 | 987660 | -1887 | 1887000 | 1.887 | 999997 | 999997 | 0 | 0 | 0
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 999571 | 999756 | -185 | -148000 | -0.148 | 389 | 129 | 260 | 208000 | 0.208
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 1440 | 1158 | 282 | 225600 | 0.2256 | 181 | 60 | 121 | 96800 | 0.0968
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 993671 | 995403 | -1732 | -1385600 | -1.3856 | 999913 | 999957 | -44 | -35200 | -0.0352
PARK STREET
45 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998176 | 998329 | -153 | -153000 | -0.153 | 38051 | 37910 | 141 | 141000 | 0.141
46 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 997985 | 998214 | -229 | -305332.57 | -0.30533 | 514 | 510 | 4 | 5333.32 | 0.0053333
SARITA VIHAR
47 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2024 | 1274 | 750 | -750000 | -0.75 | 981989 | 982920 | -931 | 931000 | 0.931
48 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999766 | 999837 | -71 | 71000 | 0.071 | 989967 | 989769 | 198 | -198000 | -0.198
NARAINA
49 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 6106 | 5783 | 323 | 32300 | 0.0323 | 9144 | 9003 | 141 | 14100 | 0.0141
SUDARSHAN PARK
50 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 39188 | 39650 | -462 | -46200 | -0.0462 | 147062 | 147069 | -7 | -700 | -0.0007
REWARI LINE
51 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
52 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976341 | 977416 | -1075 | -1075000 | -1.075 | 992695 | 992717 | -22 | -22000 | -0.022
A.I.I.M.S.
53 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 923 | 398 | 525 | 52500 | 0.0525 | 5349 | 5334 | 15 | 1500 | 0.0015
54 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 5650 | 4806 | 844 | 84400 | 0.0844 | 12620 | 12600 | 20 | 2000 | 0.002
66KV GHEBRA
55 | GHEBRA-NANGLOI | 4902502 | ELSTER | Kvarh(Lead/Lag) | 1250 | 997899 | 997929 | -30 | -37500 | -0.0375 | 626 | 629 | -3 | -3750 | -0.00375
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.9779 |  |  |  |  | 18.4602
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 996702 | 996097 | 605 | -60500 | -0.0605 | 857886 | 857884 | 2 | -200 | -0.0002
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 90328 | 87177 | 3151 | -315100 | -0.3151 | 1707 | 1707 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 51394 | 53019 | -1625 | 162500 | 0.1625 | 999577 | 999576 | 1 | -100 | -0.0001
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 999903 | 1000080 | -177 | 17700 | 0.0177 | 999973 | 999974 | -1 | 100 | 0.0001 | ROLL OVER
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 999906 | 1000135 | -229 | 22900 | 0.0229 | 999997 | 999997 | 0 | 0 | 0 | ROLL OVER
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 640 | 484 | 156 | -156000 | -0.156 | 72621 | 72604 | 17 | -17000 | -0.017
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5263 | 5090 | 173 | -173000 | -0.173 | 2117 | 2117 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 812644 | 811429 | 1215 | -121500 | -0.1215 | 46063 | 46054 | 9 | -900 | -0.0009
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 26241 | 23205 | 3036 | -303600 | -0.3036 | 51164 | 51164 | 0 | 0 | 0
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 22410 | 20815 | 1595 | -159500 | -0.1595 | 52576 | 52520 | 56 | -5600 | -0.0056
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 64135 | 62945 | 1190 | -238000 | -0.238 | 103509 | 103509 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 32481 | 28636 | 3845 | -384500 | -0.3845 | 12536 | 12533 | 3 | -300 | -0.0003
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 30385 | 28808 | 1577 | -157700 | -0.1577 | 627175 | 624296 | 2879 | -287900 | -0.2879
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 97770 | 92694 | 5076 | -507600 | -0.5076 | 231383 | 230688 | 695 | -69500 | -0.0695
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 194793 | 185827 | 8966 | -896600 | -0.8966 | 36220 | 36217 | 3 | -300 | -0.0003
| Assessment on account of putting wrong M.F. (i.e.M.F.with + sign ) for mtr. No. 4865133 for period from 01/04/11 To 01/01/12 | [8 empty] | -2.082 |  |  |  |  | -0.7226
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 865 | 865 | 0 | 0 | 0 | 12678 | 12678 | 0 | 0 | 0
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 12091 | 12641 | -550 | 55000 | 0.055 | 61415 | 58503 | 2912 | -291200 | -0.2912
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 8261 | 8055 | 206 | -20600 | -0.0206 | 13127 | 12588 | 539 | -53900 | -0.0539
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9583 | 9550 | 33 | -3300 | -0.0033 | 30822 | 30692 | 130 | -13000 | -0.013
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13733 | 13712 | 21 | -2100 | -0.0021 | 36621 | 35895 | 726 | -72600 | -0.0726
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 32437 | 32127 | 310 | -31000 | -0.031 | 10777 | 10634 | 143 | -14300 | -0.0143
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 15591 | 15364 | 227 | -22700 | -0.0227 | 11118 | 10978 | 140 | -14000 | -0.014
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997876 | 998171 | -295 | 29500 | 0.0295 | 1138 | 947 | 191 | -19100 | -0.0191
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | 400 | 4570 | 4570 | 0 | 0 | 0 | 12610 | 12610 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999305 | 999305 | 0 | 0 | 0 | 999274 | 999301 | -27 | 2700 | 0.0027
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -5.3477 |  |  |  |  | -1.5797
JANUARY-2012
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 2.9779 |  |  |  |  | 18.4602
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -5.3477 |  |  |  |  | -1.5797
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.7771 |  |  |  |  | 0.3494
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.5296 |  |  |  |  | -0.1017
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -2.1223 |  |  |  |  | 17.1282
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.1223 | (REACTIVE MUs) |  |  |  | 17.1282 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.18948 | (REACTIVE MUs) |  |  |  | 2.2541 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.9328 | (REACTIVE MUs) |  |  |  | 19.3823 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 21822 | 20451 | 1371 | 274200 | 0.2742 | 62357 | 62321 | 36 | 7200 | 0.0072
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 29124 | 26326 | 2798 | 279800 | 0.2798 | 121184 | 121106 | 78 | 7800 | 0.0078
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 990177 | 990875 | -698 | -139600 | -0.1396 | 4260 | 4238 | 22 | 4400 | 0.0044
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 39736 | 38971 | 765 | 76500 | 0.0765 | 80160 | 80095 | 65 | 6500 | 0.0065
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 40654 | 39736 | 918 | 183600 | 0.1836 | 80160 | 80160 | 0 | 0 | 0 | YCTR CHANGE FROM 400/5 TO 800/5 ON DATED 08/01/12
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 65174 | 63631 | 1543 | 1543000 | 1.543 | 232 | 232 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3363 | 2788 | 575 | 575000 | 0.575 | 55 | 53 | 2 | 2000 | 0.002
7 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 996786 | 997668 | -882 | -705600 | -0.7056 | 998573 | 998652 | -79 | -63200 | -0.0632
8 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 478 | 0 | 478 | 382400 | 0.3824 | 5 | 0 | 5 | 4000 | 0.004 | Loaded on 13/01/12
I.P.STATION EXPORT TO NDMC
9 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998307 | 998329 | -22 | -2200 | -0.0022 | 283918 | 282066 | 1852 | 185200 | 0.1852
10 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6729 | 6830 | -101 | -10100 | -0.0101 | 417241 | 417390 | -149 | -14900 | -0.0149
11 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 11052 | 10816 | 236 | 23600 | 0.0236 | 207656 | 203431 | 4225 | 422500 | 0.4225
12 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5473 | 5273 | 200 | 20000 | 0.02 | 302385 | 301060 | 1325 | 132500 | 0.1325
13 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998707 | 998755 | -48 | -4800 | -0.0048 | 230182 | 229086 | 1096 | 109600 | 0.1096
14 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999519 | 999475 | 44 | 4400 | 0.0044 | 127538 | 126861 | 677 | 67700 | 0.0677
15 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 12682 | 12448 | 234 | 23400 | 0.0234 | 189786 | 187140 | 2646 | 264600 | 0.2646
16 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 12849 | 12620 | 229 | 22900 | 0.0229 | 226568 | 225617 | 951 | 95100 | 0.0951
G.T.
17 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 57876 | 58049 | -173 | -190300 | -0.1903
18 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5152 | 5205 | -53 | -53000 | -0.053 | 36453 | 36429 | 24 | 24000 | 0.024
19 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 131454 | 130618 | 836 | 919600 | 0.9196
20 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8089 | 8340 | -251 | -251000 | -0.251 | 48268 | 48267 | 1 | 1000 | 0.001
[10 empty] | -0.304 |  |  |  |  | 0.7543
RIDGE VALLEY
21 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 640 | 484 | 156 | 156000 | 0.156 | 72621 | 72604 | 17 | 17000 | 0.017
22 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5263 | 5090 | 173 | 173000 | 0.173 | 2117 | 2117 | 0 | 0 | 0
23 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 812644 | 811429 | 1215 | 121500 | 0.1215 | 46063 | 46054 | 9 | 900 | 0.0009
24 | A.I.I.M.S.
25 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 32481 | 28636 | 3845 | 384500 | 0.3845 | 12536 | 12533 | 3 | 300 | 0.0003
26 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 30385 | 28808 | 1577 | 157700 | 0.1577 | 627175 | 624296 | 2879 | 287900 | 0.2879
27 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 97770 | 92694 | 5076 | 507600 | 0.5076 | 231383 | 230688 | 695 | 69500 | 0.0695
JANUARY-2012
NDMC(+) Continue…
KIDWAI NAGAR
28 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 194793 | 185827 | 8966 | 896600 | 0.8966 | 36220 | 36217 | 3 | 300 | 0.0003
| Assessment on account of putting wrong M.F. (i.e.M.F.with - sign ) for mtr. No. 4865133 for period from 01/04/11 To 01/01/12 | [8 empty] | 2.082 |  |  |  |  | 0.7226
EXHIBITION I
29 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 865 | 865 | 0 | 0 | 0 | 12678 | 12678 | 0 | 0 | 0
30 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
31 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 26241 | 23205 | 3036 | 303600 | 0.3036 | 51164 | 51164 | 0 | 0 | 0
32 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 22410 | 20815 | 1595 | 159500 | 0.1595 | 52576 | 52520 | 56 | 5600 | 0.0056
33 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 64135 | 62945 | 1190 | 238000 | 0.238 | 103509 | 103509 | 0 | 0 | 0
TILAK MARG
34 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 996702 | 996097 | 605 | 60500 | 0.0605 | 857886 | 857884 | 2 | 200 | 0.0002
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 923 | 398 | 525 | -52500 | -0.0525 | 5349 | 5334 | 15 | -1500 | -0.0015
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 5650 | 4806 | 844 | -84400 | -0.0844 | 12620 | 12600 | 20 | -2000 | -0.002
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 7.3461 |  |  |  |  | 3.0861
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 7.3461 |  |  |  |  | 3.0861
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.022642 |  |  |  |  | 0.26936
| TOTAL ENERGY TO NDMC | [8 empty] | 7.3687 |  |  |  |  | 3.3555

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2012
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 605 | 555 | 50 | 50000 | 0.05 | 14107 | 14016 | 91 | 91000 | 0.091
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 427 | 388 | 39 | 39000 | 0.039 | 18507 | 18452 | 55 | 55000 | 0.055
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 779 | 680 | 99 | 99000 | 0.099 | 26377 | 26255 | 122 | 122000 | 0.122
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 444 | 410 | 34 | 34000 | 0.034 | 13573 | 13534 | 39 | 39000 | 0.039
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1739 | 1546 | 193 | 193000 | 0.193 | 6750 | 6718 | 32 | 32000 | 0.032
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 999903 | 1000080 | -177 | -17700 | -0.0177 | 999973 | 999974 | -1 | -100 | -0.0001 | ROLL OVER
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 999906 | 1000135 | -229 | -22900 | -0.0229 | 999997 | 999997 | 0 | 0 | 0 | ROLL OVER
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.3744 |  |  |  |  | 0.3389
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3287 | 3287 | 0 | 0 | 0 | 32963 | 32954 | 9 | 900 | 0.0009
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 26805 | 25938 | 867 | 86700 | 0.0867 | 59391 | 59201 | 190 | 19000 | 0.019
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 66034 | 64726 | 1308 | 130800 | 0.1308 | 7139 | 7139 | 0 | 0 | 0
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 18777 | 18024 | 753 | 75300 | 0.0753 | 46162 | 45688 | 474 | 47400 | 0.0474
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999864 | 999845 | 19 | 1900 | 0.0019 | 17445 | 17200 | 245 | 24500 | 0.0245
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 75366 | 73041 | 2325 | 232500 | 0.2325 | 39896 | 39805 | 91 | 9100 | 0.0091
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 2492 | 2468 | 24 | 2400 | 0.0024 | 3767 | 3759 | 8 | 800 | 0.0008
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.5296 |  |  |  |  | 0.1017
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 7848 | 7848 | 0 | 0 | 0 | 18966 | 18966 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.5296 |  |  |  |  | 0.1017
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.3744 |  |  |  |  | 0.3389
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.904 |  |  |  |  | 0.4406
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.904 | (REACTIVE MUs) |  |  |  | 0.4406 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.004658 | (REACTIVE MUs) |  |  |  | 0.055414 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.90866 | (REACTIVE MUs) |  |  |  | 0.49601 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2012
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 57038 | 55829 | 1209 | 120900 | 0.1209 | 77538 | 77473 | 65 | 6500 | 0.0065
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 8109 | 9404 | -1295 | -129500 | -0.1295 | 999484 | 999502 | -18 | -1800 | -0.0018
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 172783 | 172776 | 7 | 700 | 0.0007 | 91989 | 91962 | 27 | 2700 | 0.0027
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15268 | 14561 | 707 | 707000 | 0.707 | 17777 | 17759 | 18 | 18000 | 0.018
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 993663 | 993769 | -106 | 53000 | 0.053 | 944169 | 944605 | -436 | 218000 | 0.218
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994352 | 994402 | -50 | 25000 | 0.025 | 987010 | 987222 | -212 | 106000 | 0.106
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999987 | 999987 | 0 | 0 | 0 | 999884 | 999884 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.7771 |  |  |  |  | 0.3494
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 955514 | 956054 | -540 | -108000 | -0.108 | 991932 | 991934 | -2 | -400 | -0.0004
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 888975 | 897083 | -8108 | -810800 | -0.8108 | 928519 | 928597 | -78 | -7800 | -0.0078
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.9188 |  |  |  |  | -0.0082
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 165610 | 164994 | 616 | 123200 | 0.1232 | 258593 | 258473 | 120 | 24000 | 0.024
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 54505 | 52233 | 2272 | 454400 | 0.4544 | 40230 | 40234 | -4 | -800 | -0.0008
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 74423 | 70126 | 4297 | 429700 | 0.4297 | 70019 | 70029 | -10 | -1000 | -0.001
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987093 | 987154 | -61 | -61000 | -0.061 | 997804 | 997797 | 7 | 7000 | 0.007
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 984440 | 985465 | -1025 | -102500 | -0.1025 | 7405 | 7415 | -10 | -1000 | -0.001
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 81 | 121 | -40 | -37500 | -0.0375 | 2755 | 2680 | 75 | 70312.5 | 0.070312
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 992438 | 992730 | -292 | 146000 | 0.146 | 995730 | 995735 | -5 | 2500 | 0.0025
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999987 | 999987 | 0 | 0 | 0 | 999884 | 999884 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.9523 |  |  |  |  | 0.10101
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.7771 |  |  |  |  | 0.3494
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.9188 |  |  |  |  | -0.0082
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.9523 |  |  |  |  | 0.10101

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2012
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 6746 | 7030 | -284 | -568000 | -0.568 | 5 | 4 | 1 | 2000 | 0.002
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 7601 | 7083 | 518 | 1036000 | 1.036 | 999736 | 999716 | 20 | 40000 | 0.04
[7 empty] | NET REACTIVE ENERGY |  |  | 0.468 |  | NET REACTIVE ENERGY |  |  | 0.042
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 985552 | 985849 | -297 | -297000 | -0.297 | 990064 | 991066 | -1002 | -1002000 | -1.002
[7 empty] | NET REACTIVE ENERGY |  |  | -0.297 |  | NET REACTIVE ENERGY |  |  | -1.002
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.171 |  |  |  |  | -0.96
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.3256 |  |  |  |  | -5.25
[7 empty] | NDMC = |  |  | -0.304 |  |  |  |  | 0.7543
MES =
[7 empty] | 2)TOTAL |  |  | -0.6296 |  |  |  |  | -4.4957
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -0.4586 |  |  |  |  | -5.4557
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.3031 | % |  |  | -0.13438 |  |  |  |  | -1.5987
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.3164 | % |  |  | -0.18948 |  |  |  |  | -2.2541
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.4276 | % |  |  | -0.10744 |  |  |  |  | -1.2781
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.9373 | % |  |  | -0.022642 |  |  |  |  | -0.26936
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.0157 | % |  |  | -0.004658 |  |  |  |  | -0.055414
Note :Sharing taken from wk-36 abt bill 2011-12

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JANUARY-2012 TO 31th JANUARY-2012
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -0.70007 | + | 4.1681
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -1.9328 | + | 19.3823
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 0.56087 | + | 5.2312
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 7.3687 | + | 3.3555
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.90866 | + | 0.49601
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
Assessment of 20MVA Tx. AT KIDWAI NAGAR (Meter No. 4865133) for the period April 2011 to December 2011 due to wrong M.F.. The total assessment is (-)6.246Mus on above 103%
and (-)2.1678Mus on below 97%. The assessment to be distributed equally in the month of Jan., Feb, March 2012

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/12 | INTIAL READING 01/01/12 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 980968 | 981989 | -1021 | -1531500 | -1.5315 | 981175 | 981175 | 0 | 0 | 0
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 975799 | 976232 | -433 | -649500 | -0.6495 | 986822 | 986873 | -51 | -76500 | -0.0765
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 931579 | 932510 | -931 | -1396500 | -1.3965 | 970187 | 970190 | -3 | -4500 | -0.0045
[8 empty] | NET REACTIVE ENERGY |  | -3.5775 |  |  | NET REACTIVE ENERGY |  | -0.081
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997103 | 997040 | 63 | 315000 | 0.315 | 36946 | 36998 | -52 | -260000 | -0.26 | CTR CHANGE FROM 2000/5 TO 2000/1
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999401 | 999378 | 23 | 23000 | 0.023 | 8237 | 8013 | 224 | 224000 | 0.224 | ROLL OVER
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 970572 | 970689 | -117 | -117000 | -0.117 | 990939 | 991026 | -87 | -87000 | -0.087
[8 empty] | NET REACTIVE ENERGY |  | 0.221 |  |  | NET REACTIVE ENERGY |  | -0.123