## NDPL
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990336 | 990562 | -226 | 226000 | 0.226 | 995965 | 995966 | -1 | 1000 | 0.001
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994141 | 994141 | 0 | 0 | 0 | 996317 | 996317 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4345 | 4592 | -247 | 247000 | 0.247 | 996171 | 996181 | -10 | 10000 | 0.01
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974252 | 974290 | -38 | 38000 | 0.038 | 972083 | 972144 | -61 | 61000 | 0.061
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917215 | 917253 | -38 | 38000 | 0.038 | 933778 | 934141 | -363 | 363000 | 0.363
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22971 | 22972 | -1 | 1000 | 0.001 | 17967 | 17974 | -7 | 7000 | 0.007
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12387 | 12397 | -10 | 10000 | 0.01 | 11648 | 11675 | -27 | 27000 | 0.027
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 14204 | 14241 | -37 | 46250 | 0.04625 | 994581 | 994588 | -7 | 8750 | 0.00875
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6430 | 6506 | -76 | 76000 | 0.076 | 983906 | 983911 | -5 | 5000 | 0.005
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31026 | 31195 | -169 | 169000 | 0.169 | 9032 | 9032 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991830 | 992049 | -219 | 219000 | 0.219 | 3213 | 3213 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991702 | 991815 | -113 | 113000 | 0.113 | 998017 | 998019 | -2 | 2000 | 0.002
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 896821 | 898335 | -1514 | -1514000 | -1.514 | 920488 | 920488 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987631 | 987829 | -198 | 198000 | 0.198 | 16836 | 16836 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998434 | 998531 | -97 | 97000 | 0.097 | 20152 | 20152 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2189 | 2148 | 41 | -41000 | -0.041 | 999980 | 999980 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999926 | 999926 | 0 | 0 | 0 | 987017 | 988128 | -1111 | -222200 | -0.2222
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 661 | 661 | 0 | 0 | 0 | 29605 | 29651 | -46 | -46000 | -0.046
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 4391 | 4386 | 5 | 500 | 0.0005 | 161576 | 161077 | 499 | 49900 | 0.0499
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 15737 | 15713 | 24 | 2400 | 0.0024 | 240823 | 238997 | 1826 | 182600 | 0.1826
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996348 | 996347 | 1 | 1000 | 0.001 | 3603 | 3765 | -162 | -162000 | -0.162
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 321 | 321 | 0 | 0 | 0 | 8382 | 8442 | -60 | -60000 | -0.06
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 639892 | 640005 | -113 | -113000 | -0.113 | 797623 | 797675 | -52 | -52000 | -0.052
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 648449 | 648467 | -18 | -18000 | -0.018 | 830705 | 830711 | -6 | -6000 | -0.006
25 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 2041 | 1947 | 94 | 37600 | 0.0376 | 999653 | 999733 | -80 | -32000 | -0.032
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 2630 | 2596 | 34 | 17000 | 0.017 | 4168 | 4283 | -115 | -57500 | -0.0575
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15689 | 15607 | 82 | -82000 | -0.082 | 981108 | 981109 | -1 | 1000 | 0.001
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6021 | 6026 | -5 | 5000 | 0.005 | 999444 | 999481 | -37 | 37000 | 0.037
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997037 | 997031 | 6 | -6000 | -0.006 | 924247 | 924249 | -2 | 2000 | 0.002
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3453 | 3441 | 12 | -12000 | -0.012 | 999188 | 999361 | -173 | 173000 | 0.173
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 56982 | 56953 | 29 | -29000 | -0.029 | 2551 | 2504 | 47 | -47000 | -0.047
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999911 | 1000199 | -288 | 288000 | 0.288 | 998731 | 998731 | 0 | 0 | 0
33 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2438 | 2438 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
WAZIRPUR
34 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999792 | 999975 | -183 | 183000 | 0.183 | 999993 | 999993 | 0 | 0 | 0
35 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999817 | 999976 | -159 | 159000 | 0.159 | 999995 | 999995 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
36 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1766 | 1764 | 2 | 2000 | 0.002 | 23266 | 22824 | 442 | 442000 | 0.442
37 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 214 | 212 | 2 | 2000 | 0.002 | 2697 | 2550 | 147 | 147000 | 0.147
| NDPL(+) continue | [14 empty] | SEPTEMBER-2014
DMS
38 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1274 | 1277 | -3 | -3000 | -0.003 | 61321 | 61304 | 17 | 17000 | 0.017
REWARI LINE
39 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 168402 | 168402 | 0 | 0 | 0 | 260374 | 260399 | -25 | -3125 | -0.003125
VISHAL
40 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9371 | 9384 | -13 | -1300 | -0.0013 | 29011 | 28975 | 36 | 3600 | 0.0036
41 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11078 | 11043 | 35 | 3500 | 0.0035 | 57163 | 56538 | 625 | 62500 | 0.0625
42 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 17255 | 17219 | 36 | 3600 | 0.0036 | 60073 | 58961 | 1112 | 111200 | 0.1112
S.B.MILL
43 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 3887 | 3801 | 86 | 8600 | 0.0086 | 3814 | 3223 | 591 | 59100 | 0.0591
44 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
45 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
46 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
47 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17551 | 17514 | 37 | 3700 | 0.0037 | 19249 | 18857 | 392 | 39200 | 0.0392
49 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 998168 | 998200 | -32 | -1422.08 | -0.0014221 | 489 | 312 | 177 | 7865.88 | 0.0078659
B.G.ROAD
50 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5629 | 5629 | 0 | 0 | 0 | 31115 | 30768 | 347 | 173500 | 0.1735
51 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3786 | 3786 | 0 | 0 | 0 | 28941 | 28675 | 266 | 133000 | 0.133
52 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6158 | 6077 | 81 | 40500 | 0.0405 | 14891 | 14885 | 6 | 3000 | 0.003
53 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 1131 | 1057 | 74 | 49333.3333 | 0.049333 | 935 | 926 | 9 | 6000 | 0.006
D.M.S.
54 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 999965 | 999996 | -31 | -3100 | -0.0031 | 21 | 19 | 2 | 200 | 0.0002
55 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7786 | 7787 | -1 | -100 | -0.0001 | 15271 | 15276 | -5 | -500 | -0.0005
56 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 23592 | 23542 | 50 | 5000 | 0.005 | 57127 | 56878 | 249 | 24900 | 0.0249
57 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 4490 | 4490 | 0 | 0 | 0 | 999953 | 999953 | 0 | 0 | 0
58 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998622 | 998627 | -5 | -500 | -0.0005 | 61 | 69 | -8 | -800 | -0.0008
59 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | 100 | 174140 | 173287 | 853 | 85300 | 0.0853 | 49974 | 49581 | 393 | 39300 | 0.0393
61 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 16862 | 16478 | 384 | 38400 | 0.0384 | 64445 | 64442 | 3 | 300 | 0.0003
62 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4473 | 3767 | 706 | 70600 | 0.0706 | 1567 | 1559 | 8 | 800 | 0.0008
KASHMIRI GATE
63 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 149930 | 149431 | 499 | 49900 | 0.0499 | 20767 | 20611 | 156 | 15600 | 0.0156
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 21939 | 21630 | 309 | 30900 | 0.0309 | 44418 | 44380 | 38 | 3800 | 0.0038
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 23 | 23 | 0 | 0 | 0 | 382 | 382 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 1 | 0 | 1 | 400 | 0.0004 | 999998 | 999998 | 0 | 0 | 0
Mundka
68 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 991719 | 991906 | -187 | -149600 | -0.1496 | 264 | 264 | 0 | 0 | 0
69 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 991105 | 990145 | 960 | 768000 | 0.768 | 73 | 72 | 1 | 800 | 0.0008
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | 1.3595 |  |  |  |  | 1.5318
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 17112 | 16955 | 157 | -15700 | -0.0157 | 15949 | 15759 | 190 | -19000 | -0.019
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10526 | 10526 | 0 | 0 | 0 | 7591 | 7579 | 12 | -12000 | -0.012
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3900 | 3903 | -3 | 600 | 0.0006 | 15096 | 15097 | -1 | 200 | 0.0002
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15810 | 15809 | 1 | -1000 | -0.001 | 35056 | 34821 | 235 | -235000 | -0.235
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 11329 | 11021 | 308 | -30800 | -0.0308 | 61480 | 61484 | -4 | 400 | 0.0004
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 943351 | 943844 | -493 | 493000 | 0.493 | 991947 | 991947 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999430 | 999430 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.4461 |  |  |  |  | -0.2654
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | 1.3595 |  |  |  |  | 1.5318
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.4461 |  |  |  |  | -0.2654
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.71615 |  |  |  |  | -0.23776
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 2.5217 |  |  |  |  | 1.0286
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 2.5217 | (REACTIVE MUs) |  |  |  | 1.0286 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.13982 | (REACTIVE MUs) |  |  |  | -0.77548 | (REACTIVE MUs)
[9 empty] | TOTAL | 2.6615 | (REACTIVE MUs) |  |  |  | 0.25315 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | SEPTEMBER-2014
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 992728 | 993194 | -466 | -46600 | -0.0466 | 81945 | 83059 | -1114 | -111400 | -0.1114
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 16471 | 16821 | -350 | -35000 | -0.035 | 38116 | 35845 | 2271 | 227100 | 0.2271
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 600 | 999967 | 999999 | -32 | -19200 | -0.0192 | 5470 | 5493 | -23 | -13800 | -0.0138
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 2031 | 2031 | 0 | 0 | 0 | 2292 | 2292 | 0 | 0 | 0 | metering not in order
[10 empty] | 0 |  |  |  |  | 0.0171 | Assessment
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 10274 | 10436 | -162 | -16200 | -0.0162 | 163779 | 160188 | 3591 | 359100 | 0.3591
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 5772 | 5393 | 379 | 37900 | 0.0379 | 121901 | 119176 | 2725 | 272500 | 0.2725
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993608 | 993615 | -7 | -7000 | -0.007 | 948 | 1038 | -90 | -90000 | -0.09
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998709 | 998708 | 1 | 1000 | 0.001 | 2030 | 1876 | 154 | 154000 | 0.154
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 711 | 699 | 12 | 12000 | 0.012 | 1540 | 1465 | 75 | 75000 | 0.075
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998704 | 998707 | -3 | -3000 | -0.003 | 2688 | 2570 | 118 | 118000 | 0.118
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999083 | 999088 | -5 | -5000 | -0.005 | 4442 | 4431 | 11 | 11000 | 0.011
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 248 | 248 | 0 | 0 | 0 | 2247 | 1702 | 545 | 545000 | 0.545
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999877 | 999877 | 0 | 0 | 0 | 16730 | 16619 | 111 | 111000 | 0.111
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1556 | 1551 | 5 | 5000 | 0.005 | 37374 | 37381 | -7 | -7000 | -0.007
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 258 | 258 | 0 | 0 | 0 | 27539 | 27185 | 354 | 354000 | 0.354
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1478 | 1471 | 7 | 7000 | 0.007 | 9303 | 9228 | 75 | 75000 | 0.075
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 6912 | 6865 | 47 | 4700 | 0.0047 | 250 | 187 | 63 | 6300 | 0.0063
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998570 | 998580 | -10 | -10000 | -0.01 | 14136 | 13834 | 302 | 302000 | 0.302
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 723306 | 726586 | -3280 | -3608000 | -3.608
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 762198 | 766214 | -4016 | -4417600 | -4.4176
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986208 | 986563 | -355 | -355000 | -0.355 | 9080 | 9099 | -19 | -19000 | -0.019
| KASHMIRI GATE | [8 empty] | -0.3503 |  |  |  |  | -6.3903
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958207 | 958251 | -44 | 44000 | 0.044 | 949336 | 949767 | -431 | 431000 | 0.431
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968762 | 968863 | -101 | 101000 | 0.101 | 955507 | 955926 | -419 | 419000 | 0.419
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 23 | 23 | 0 | 0 | 0 | 382 | 382 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 140 | 140 | 0 | 0 | 0 | 6019 | 5717 | 302 | 302000 | 0.302
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44254 | 44254 | 0 | 0 | 0 | 974200 | 973685 | 515 | -515000 | -0.515
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23998 | 23987 | 11 | -11000 | -0.011 | 969679 | 969191 | 488 | -488000 | -0.488
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995524 | 995496 | 28 | -28000 | -0.028 | 996092 | 996463 | -371 | 371000 | 0.371
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975619 | 975611 | 8 | -8000 | -0.008 | 992487 | 992628 | -141 | 141000 | 0.141
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | 2000 | 182 | 37 | 145 | 290000 | 0.29 | 999809 | 999851 | -42 | -84000 | -0.084
32 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | 2000 | 143 | 0 | 143 | 286000 | 0.286 | 999998 | 1000000 | -2 | -4000 | -0.004 | w.e.f 16/09/2014
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3900 | 3903 | -3 | -600 | -0.0006 | 15096 | 15097 | -1 | -200 | -0.0002
34 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 15810 | 15809 | 1 | 1000 | 0.001 | 35056 | 34821 | 235 | 235000 | 0.235
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 104139 | 105011 | -872 | -87200 | -0.0872 | 1595 | 1595 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 148728 | 141939 | 6789 | 678900 | 0.6789 | 4522 | 4522 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 0.8367 |  |  |  |  | -4.8319
| (A) NET ENERGY TO CENTRAL | [8 empty] | 0.8367 |  |  |  |  | -4.8319
SEPTEMBER-2014
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991027 | 991462 | -435 | 435000 | 0.435 | 908484 | 908618 | -134 | 134000 | 0.134
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12028 | 12365 | -337 | 337000 | 0.337 | 927910 | 928118 | -208 | 208000 | 0.208
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992095 | 992565 | -470 | 470000 | 0.47 | 973214 | 973344 | -130 | 130000 | 0.13
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 899525 | 900654 | -1129 | 1129000 | 1.129 | 990326 | 990326 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 887897 | 889094 | -1197 | 1197000 | 1.197 | 988831 | 988831 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4665 | 4665 | 0 | 0 | 0 | 985142 | 988514 | -3372 | 3372000 | 3.372
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999777 | 999777 | 0 | 0 | 0 | 977492 | 978961 | -1469 | 2938000 | 2.938
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999469 | 999469 | 0 | 0 | 0 | 946709 | 951581 | -4872 | 4872000 | 4.872
GEETA COLONY
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998572 | 999817 | -1245 | 1245000 | 1.245 | 991654 | 991722 | -68 | 68000 | 0.068
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962081 | 962268 | -187 | 187000 | 0.187 | 863186 | 863249 | -63 | 63000 | 0.063
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21722 | 21979 | -257 | 257000 | 0.257 | 34930 | 34933 | -3 | 3000 | 0.003
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22466 | 22469 | -3 | 3000 | 0.003 | 44990 | 45054 | -64 | 64000 | 0.064
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 5.26 |  |  |  |  | 11.852
| (B) NET ENERGY TO EAST | [8 empty] | 5.26 |  |  |  |  | 11.852
SEPTEMBER-2014
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 2041 | 1947 | 94 | -37600 | -0.0376 | 999653 | 999733 | -80 | 32000 | 0.032
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 2630 | 2596 | 34 | -17000 | -0.017 | 4168 | 4283 | -115 | 57500 | 0.0575
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 46151 | 46112 | 39 | -7800 | -0.0078 | 77556 | 76888 | 668 | -133600 | -0.1336
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73701 | 73718 | -17 | 1700 | 0.0017 | 139449 | 139538 | -89 | 8900 | 0.0089
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 980914 | 980944 | -30 | 6000 | 0.006 | 999114 | 999652 | -538 | 107600 | 0.1076
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 74564 | 74506 | 58 | -11600 | -0.0116 | 95039 | 94009 | 1030 | -206000 | -0.206
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 7358 | 7317 | 41 | -32800 | -0.0328 | 3908 | 3450 | 458 | -366400 | -0.3664
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13728 | 13727 | 1 | -2000 | -0.002 | 2267 | 2066 | 201 | -402000 | -0.402
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 983109 | 983109 | 0 | 0 | 0 | 990946 | 991322 | -376 | 300800 | 0.3008
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 987571 | 987571 | 0 | 0 | 0 | 988274 | 989549 | -1275 | 1020000 | 1.02
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 993777 | 993777 | 0 | 0 | 0 | 995013 | 995481 | -468 | 374400 | 0.3744
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992133 | 992427 | -294 | 294000 | 0.294 | 36510 | 36949 | -439 | 439000 | 0.439
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 993097 | 993103 | -6 | 7999.98 | 0.008 | 998587 | 998707 | -120 | 159999.6 | 0.16
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1766 | 1764 | 2 | -2000 | -0.002 | 23266 | 22824 | 442 | -442000 | -0.442
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 214 | 212 | 2 | -2000 | -0.002 | 2697 | 2550 | 147 | -147000 | -0.147
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1274 | 1277 | -3 | 3000 | 0.003 | 61321 | 61304 | 17 | -17000 | -0.017
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5629 | 5629 | 0 | 0 | 0 | 31115 | 30768 | 347 | -173500 | -0.1735
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3786 | 3786 | 0 | 0 | 0 | 28941 | 28675 | 266 | -133000 | -0.133
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6158 | 6077 | 81 | -40500 | -0.0405 | 14891 | 14885 | 6 | -3000 | -0.003
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 1131 | 1057 | 74 | -49333.3333 | -0.049333 | 935 | 926 | 9 | -6000 | -0.006
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 149930 | 149431 | 499 | -49900 | -0.0499 | 20767 | 20611 | 156 | -15600 | -0.0156
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 21939 | 21630 | 309 | -30900 | -0.0309 | 44418 | 44380 | 38 | -3800 | -0.0038
D.M.S.
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 999965 | 999996 | -31 | -3100 | -0.0031 | 21 | 19 | 2 | 200 | 0.0002
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7786 | 7787 | -1 | 100 | 0.0001 | 15271 | 15276 | -5 | 500 | 0.0005
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 23592 | 23542 | 50 | -5000 | -0.005 | 57127 | 56878 | 249 | -24900 | -0.0249
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 4490 | 4490 | 0 | 0 | 0 | 999953 | 999953 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998622 | 998627 | -5 | 500 | 0.0005 | 61 | 69 | -8 | 800 | 0.0008
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | -100 | 174140 | 173287 | 853 | -85300 | -0.0853 | 49974 | 49581 | 393 | -39300 | -0.0393
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 16862 | 16478 | 384 | -38400 | -0.0384 | 64445 | 64442 | 3 | -300 | -0.0003
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4473 | 3767 | 706 | -70600 | -0.0706 | 1567 | 1559 | 8 | -800 | -0.0008
[10 empty] | -0.17253 |  |  |  |  | 0.3875
SEPTEMBER-2014
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 0.8367 |  |  |  |  | -4.8319
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.17253 |  |  |  |  | 0.3875
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.3564 |  |  |  |  | -0.042
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 0.30777 |  |  |  |  | -4.4864
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 5.26 |  |  |  |  | 11.852
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 5.5678 |  |  |  |  | 7.3656
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 5.5678 | (REACTIVE MUs) |  |  |  | 7.3656 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.11271 | (REACTIVE MUs) |  |  |  | -0.62509 | (REACTIVE MUs)
[9 empty] | TOTAL | 5.6805 | (REACTIVE MUs) |  |  |  | 6.7405 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | SEPTEMBER-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999983 | 999989 | -6 | -30000 | -0.03 | 999952 | 999978 | -26 | -130000 | -0.13
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 986124 | 986115 | 9 | 11999.97 | 0.012 | 673050 | 672976 | 74 | 98666.42 | 0.098666
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 500 | 7494 | 7466 | 28 | 14000 | 0.014 | 68951 | 68831 | 120 | 60000 | 0.06
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12567 | 12567 | 0 | 0 | 0 | 999386 | 999386 | 0 | 0 | 0
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 10917 | 10671 | 246 | 24600 | 0.0246 | 133829 | 132525 | 1304 | 130400 | 0.1304
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 746531 | 747563 | -1032 | -77400 | -0.0774 | 30338 | 29868 | 470 | 35250 | 0.03525
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 999966 | 1000000 | -34 | -2550 | -0.00255 | 1003310 | 999719 | 3591 | 269325 | 0.26932
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999157 | 999157 | 0 | 0 | 0 | 998592 | 998592 | 0 | 0 | 0
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 1935 | 1460 | 475 | -237500 | -0.2375 | 995837 | 996396 | -559 | 279500 | 0.2795
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988745 | 988480 | 265 | -265000 | -0.265 | 948873 | 948994 | -121 | 121000 | 0.121
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 160 | 68 | 92 | -92000 | -0.092 | 996536 | 996617 | -81 | 81000 | 0.081
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992672 | 992553 | 119 | -119000 | -0.119 | 946096 | 946175 | -79 | 79000 | 0.079
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987188 | 987201 | -13 | 13000 | 0.013 | 973271 | 973654 | -383 | 383000 | 0.383
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25053 | 25054 | -1 | 1000 | 0.001 | 983760 | 983891 | -131 | 131000 | 0.131
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24939 | 24959 | -20 | 20000 | 0.02 | 995961 | 996380 | -419 | 419000 | 0.419
NAJAFGARH
17 | Tx.1 | 4865009 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48014 | 45019 | 2995 | -2995000 | -2.995 | 13543 | 13555 | -12 | 12000 | 0.012 | Check meter data used
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7177 | 7168 | 9 | -9000 | -0.009 | 997309 | 997784 | -475 | 475000 | 0.475
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25144 | 22356 | 2788 | -2788000 | -2.788 | 3330 | 3346 | -16 | 16000 | 0.016
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5327 | 5221 | 106 | -106000 | -0.106 | 999150 | 999280 | -130 | 130000 | 0.13
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10526 | 10526 | 0 | 0 | 0 | 7591 | 7579 | 12 | 12000 | 0.012
LODHI ROAD
22 | Tx.1 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998578 | 999025 | -447 | 447000 | 0.447 | 987394 | 989792 | -2398 | 2398000 | 2.398
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953210 | 953332 | -122 | 122000 | 0.122 | 843925 | 845680 | -1755 | 1755000 | 1.755
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999375 | 999444 | -69 | 69000 | 0.069 | 968037 | 968454 | -417 | 417000 | 0.417
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995272 | 995319 | -47 | 47000 | 0.047 | 947919 | 948744 | -825 | 825000 | 0.825
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995596 | 995596 | 0 | 0 | 0 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6157 | 8136 | -1979 | 1979000 | 1.979 | 39247 | 39298 | -51 | 51000 | 0.051
28 | Tx.3 (33 KV) | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999791 | 999954 | -163 | 163000 | 0.163 | 999098 | 999181 | -83 | 83000 | 0.083
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996963 | 997038 | -75 | 75000 | 0.075 | 867069 | 867286 | -217 | 217000 | 0.217
BRPL(+) continue | [14 empty] | SEPTEMBER-2014
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996865 | 996443 | 422 | -422000 | -0.422 | 972471 | 972496 | -25 | 25000 | 0.025
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997989 | 997780 | 209 | -209000 | -0.209 | 989084 | 989127 | -43 | 43000 | 0.043
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997575 | 997394 | 181 | -362000 | -0.362 | 969830 | 969884 | -54 | 108000 | 0.108
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995001 | 995001 | 0 | 0 | 0 | 910406 | 910891 | -485 | 485000 | 0.485
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995067 | 995069 | -2 | 2000 | 0.002 | 927917 | 927917 | 0 | 0 | 0
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998576 | 998576 | 0 | 0 | 0 | 995348 | 995820 | -472 | 472000 | 0.472
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989763 | 989763 | 0 | 0 | 0 | 989709 | 992150 | -2441 | 2441000 | 2.441
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 974801 | 976252 | -1451 | 967332.366 | 0.96733 | 978866 | 979299 | -433 | 288666.378 | 0.28867
38 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998574 | 999303 | -729 | 1822500 | 1.8225 | 501 | 501 | 0 | 0 | 0
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2287 | 2287 | 0 | 0 | 0 | 1909 | 1889 | 20 | -40000 | -0.04
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999290 | 999289 | 1 | -2000 | -0.002 | 991 | 975 | 16 | -32000 | -0.032
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 939152 | 939249 | -97 | 97000 | 0.097 | 991010 | 991471 | -461 | 461000 | 0.461
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 949541 | 949610 | -69 | 69000 | 0.069 | 994817 | 996297 | -1480 | 1480000 | 1.48
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993104 | 993474 | -370 | -296000 | -0.296 | 1407 | 1442 | -35 | -28000 | -0.028
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 26311 | 25818 | 493 | 394400 | 0.3944 | 1521 | 1518 | 3 | 2400 | 0.0024
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 930688 | 931729 | -1041 | -832800 | -0.8328 | 999636 | 999637 | -1 | -800 | -0.0008
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999430 | 999430 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
PARK STREET
47 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992133 | 992427 | -294 | -294000 | -0.294 | 36510 | 36949 | -439 | -439000 | -0.439
48 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 993097 | 993103 | -6 | -7999.98 | -0.008 | 998587 | 998707 | -120 | -159999.6 | -0.16
SARITA VIHAR
49 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15858 | 15812 | 46 | -46000 | -0.046 | 973864 | 973882 | -18 | 18000 | 0.018
50 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10021 | 9969 | 52 | -52000 | -0.052 | 989220 | 989279 | -59 | 59000 | 0.059
NARAINA
51 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 17112 | 16955 | 157 | 15700 | 0.0157 | 15949 | 15759 | 190 | 19000 | 0.019
SUDARSHAN PARK
52 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 11329 | 11021 | 308 | 30800 | 0.0308 | 61480 | 61484 | -4 | -400 | -0.0004
REWARI LINE
53 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
54 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 943351 | 943844 | -493 | -493000 | -0.493 | 991947 | 991947 | 0 | 0 | 0
A.I.I.M.S.
55 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 382 | 394 | -12 | -900 | -0.0009 | 1955 | 1830 | 125 | 9375 | 0.009375
56 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 10278 | 9930 | 348 | 34800 | 0.0348 | 26578 | 26502 | 76 | 7600 | 0.0076
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -3.319 |  |  |  |  | 13.567
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 44871 | 42601 | 2270 | -227000 | -0.227 | 909265 | 909054 | 211 | -21100 | -0.0211
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 104139 | 105011 | -872 | 87200 | 0.0872 | 1595 | 1595 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 148728 | 141939 | 6789 | -678900 | -0.6789 | 4522 | 4522 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 996134 | 996208 | -74 | 7400 | 0.0074 | 999945 | 999946 | -1 | 100 | 0.0001
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996551 | 996571 | -20 | 2000 | 0.002 | 999911 | 999911 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2012 | 1890 | 122 | -122000 | -0.122 | 73763 | 73742 | 21 | -21000 | -0.021
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12393 | 11648 | 745 | -745000 | -0.745 | 170 | 170 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 903457 | 902714 | 743 | -371500 | -0.3715 | 54657 | 54657 | 0 | 0 | 0
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 14841 | 15220 | -379 | 151600 | 0.1516 | 3137 | 3151 | -14 | 5600 | 0.0056
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 65317 | 65072 | 245 | -24500 | -0.0245 | 65005 | 64103 | 902 | -90200 | -0.0902
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 63784 | 63734 | 50 | -5000 | -0.005 | 63258 | 62321 | 937 | -93700 | -0.0937
12 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 85705 | 85464 | 241 | -48200 | -0.0482 | 117598 | 116247 | 1351 | -270200 | -0.2702
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 183 | 183 | 0 | 0 | 0 | 17120 | 17120 | 0 | 0 | 0
14 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.33 | 3106 | 3106 | 0 | 0 | 0 | 978921 | 978921 | 0 | 0 | 0
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987618 | 987618 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 305990 | 304892 | 1098 | -109800 | -0.1098 | 48566 | 48557 | 9 | -900 | -0.0009
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3944 | 3892 | 52 | -5200 | -0.0052 | 20837 | 20032 | 805 | -80500 | -0.0805
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 168402 | 168402 | 0 | 0 | 0 | 260374 | 260399 | -25 | 3125 | 0.003125
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9371 | 9384 | -13 | 1300 | 0.0013 | 29011 | 28975 | 36 | -3600 | -0.0036
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11078 | 11043 | 35 | -3500 | -0.0035 | 57163 | 56538 | 625 | -62500 | -0.0625
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 17255 | 17219 | 36 | -3600 | -0.0036 | 60073 | 58961 | 1112 | -111200 | -0.1112
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 3885 | 3801 | 84 | -8400 | -0.0084 | 3565 | 3223 | 342 | -34200 | -0.0342
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17551 | 17514 | 37 | -3700 | -0.0037 | 19249 | 18857 | 392 | -39200 | -0.0392
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 998168 | 998200 | -32 | 1422.08 | 0.0014221 | 489 | 312 | 177 | -7865.88 | -0.0078659
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 50 | 50 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 1 | 0 | 1 | -400 | -0.0004 | 999998 | 999998 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.1058 |  |  |  |  | -0.82734
SEPTEMBER-2014
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -3.319 |  |  |  |  | 13.567
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.1058 |  |  |  |  | -0.82734
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 1.0455 |  |  |  |  | 0.63278
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.2201 |  |  |  |  | -0.0446
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -4.5994 |  |  |  |  | 13.3278
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -4.5994 | (REACTIVE MUs) |  |  |  | 13.3278 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.19381 | (REACTIVE MUs) |  |  |  | -1.0749 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.4056 | (REACTIVE MUs) |  |  |  | 12.2529 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 46151 | 46112 | 39 | 7800 | 0.0078 | 77556 | 76888 | 668 | 133600 | 0.1336
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73701 | 73718 | -17 | -1700 | -0.0017 | 139449 | 139538 | -89 | -8900 | -0.0089
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 980914 | 980944 | -30 | -6000 | -0.006 | 999114 | 999652 | -538 | -107600 | -0.1076
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 74564 | 74506 | 58 | 11600 | 0.0116 | 95039 | 94009 | 1030 | 206000 | 0.206
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 7358 | 7317 | 41 | 32800 | 0.0328 | 3908 | 3450 | 458 | 366400 | 0.3664
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13728 | 13727 | 1 | 2000 | 0.002 | 2267 | 2066 | 201 | 402000 | 0.402
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 983109 | 983109 | 0 | 0 | 0 | 990946 | 991322 | -376 | -300800 | -0.3008
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 987571 | 987571 | 0 | 0 | 0 | 988274 | 989549 | -1275 | -1020000 | -1.02
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 993777 | 993777 | 0 | 0 | 0 | 995013 | 995481 | -468 | -374400 | -0.3744
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998968 | 999009 | -41 | -4100 | -0.0041 | 384356 | 382105 | 2251 | 225100 | 0.2251
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6605 | 6605 | 0 | 0 | 0 | 470995 | 470995 | 0 | 0 | 0
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 12871 | 12880 | -9 | -900 | -0.0009 | 366837 | 365430 | 1407 | 140700 | 0.1407
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5341 | 5279 | 62 | 6200 | 0.0062 | 364327 | 364168 | 159 | 15900 | 0.0159
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 997645 | 997660 | -15 | -1500 | -0.0015 | 308238 | 306882 | 1356 | 135600 | 0.1356
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 13 | 13 | 0 | 0 | 0 | 191001 | 189888 | 1113 | 111300 | 0.1113
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13312 | 13432 | -120 | -12000 | -0.012 | 259476 | 259656 | -180 | -18000 | -0.018
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 51335 | 51073 | 262 | 26200 | 0.0262 | 705757 | 705628 | 129 | 12900 | 0.0129
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 89218 | 86727 | 2491 | 2740100 | 2.7401
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2474 | 2428 | 46 | 46000 | 0.046 | 39827 | 39658 | 169 | 169000 | 0.169
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 150591 | 149617 | 974 | 1071400 | 1.0714
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6542 | 6592 | -50 | -50000 | -0.05 | 54070 | 53995 | 75 | 75000 | 0.075
[10 empty] | -0.004 |  |  |  |  | 4.0555
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2012 | 1890 | 122 | 122000 | 0.122 | 73763 | 73742 | 21 | 21000 | 0.021
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12393 | 11648 | 745 | 745000 | 0.745 | 170 | 170 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 903457 | 902714 | 743 | 371500 | 0.3715 | 54657 | 54657 | 0 | 0 | 0
25 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 14841 | 15220 | -379 | -151600 | -0.1516 | 3137 | 3151 | -14 | -5600 | -0.0056
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 183 | 183 | 0 | 0 | 0 | 17120 | 17120 | 0 | 0 | 0
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 3106 | 3106 | 0 | 0 | 0 | 978921 | 978921 | 0 | 0 | 0
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987618 | 987618 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
SEPTEMBER-2014
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982447 | 982808 | -361 | 361000 | 0.361 | 978548 | 978985 | -437 | 437000 | 0.437
27 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23 | 23 | 0 | 0 | 0 | 44 | 44 | 0 | 0 | 0
ELECTRIC LANE
28 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980203 | 980591 | -388 | 388000 | 0.388 | 984593 | 984637 | -44 | 44000 | 0.044
29 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995766 | 996169 | -403 | 403000 | 0.403 | 996407 | 996449 | -42 | 42000 | 0.042
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 305990 | 304892 | 1098 | 109800 | 0.1098 | 48566 | 48557 | 9 | 900 | 0.0009
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3944 | 3892 | 52 | 5200 | 0.0052 | 20837 | 20032 | 805 | 80500 | 0.0805
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 65317 | 65072 | 245 | 24500 | 0.0245 | 65005 | 64103 | 902 | 90200 | 0.0902
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 63784 | 63734 | 50 | 5000 | 0.005 | 63258 | 62321 | 937 | 93700 | 0.0937
35 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 85705 | 85464 | 241 | 48200 | 0.0482 | 117598 | 116247 | 1351 | 270200 | 0.2702
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 44871 | 42601 | 2270 | 227000 | 0.227 | 909265 | 909054 | 211 | 21100 | 0.0211
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 382 | 394 | -12 | 900 | 0.0009 | 1955 | 1830 | 125 | -9375 | -0.009375
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 10278 | 9930 | 348 | -34800 | -0.0348 | 26578 | 26502 | 76 | -7600 | -0.0076
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.6811 |  |  |  |  | 5.0533
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 2.6811 |  |  |  |  | 5.0533
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.024713 |  |  |  |  | -0.13706
| TOTAL ENERGY TO NDMC | [8 empty] | 2.7058 |  |  |  |  | 4.9163

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2014
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1357 | 1357 | 0 | 0 | 0 | 27273 | 26832 | 441 | 441000 | 0.441
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 972 | 972 | 0 | 0 | 0 | 28843 | 28677 | 166 | 166000 | 0.166
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2280 | 2280 | 0 | 0 | 0 | 36123 | 35723 | 400 | 400000 | 0.4
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 894 | 894 | 0 | 0 | 0 | 20043 | 19873 | 170 | 170000 | 0.17
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4191 | 4180 | 11 | 11000 | 0.011 | 10879 | 10851 | 28 | 28000 | 0.028
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 11662 | 11662 | 0 | 0 | 0 | 59015 | 58846 | 169 | 84500 | 0.0845
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 996134 | 996208 | -74 | -7400 | -0.0074 | 999945 | 999946 | -1 | -100 | -0.0001
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996551 | 996571 | -20 | -2000 | -0.002 | 999911 | 999911 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0016 |  |  |  |  | 1.2894
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 50041 | 48778 | 1263 | 126300 | 0.1263 | 76198 | 75906 | 292 | 29200 | 0.0292
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 73987 | 73777 | 210 | 21000 | 0.021 | 12972 | 12916 | 56 | 5600 | 0.0056
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 48079 | 47377 | 702 | 70200 | 0.0702 | 67119 | 67047 | 72 | 7200 | 0.0072
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 84364 | 84338 | 26 | 2600 | 0.0026 | 60099 | 60073 | 26 | 2600 | 0.0026
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 7259 | 7242 | 17 | 1700 | 0.0017 | 3033 | 3033 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.2201 |  |  |  |  | 0.0446
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.2201 |  |  |  |  | 0.0446
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0016 |  |  |  |  | 1.2894
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.2217 |  |  |  |  | 1.334
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.2217 | (REACTIVE MUs) |  |  |  | 1.334 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.003649 | (REACTIVE MUs) |  |  |  | -0.020238 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.22535 | (REACTIVE MUs) |  |  |  | 1.3138 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2014
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 3305 | 1906 | 1399 | 139900 | 0.1399 | 1674 | 1469 | 205 | 20500 | 0.0205
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 1521 | 2253 | -732 | -73200 | -0.0732 | 999127 | 999201 | -74 | -7400 | -0.0074
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 263077 | 258455 | 4622 | 462200 | 0.4622 | 102817 | 102683 | 134 | 13400 | 0.0134
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 34567 | 34016 | 551 | 516562.5 | 0.51656 | 19099 | 19025 | 74 | 69375 | 0.069375
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 985209 | 985209 | 0 | 0 | 0 | 914957 | 916416 | -1459 | 729500 | 0.7295
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989204 | 989204 | 0 | 0 | 0 | 979078 | 978691 | 387 | -193500 | -0.1935
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999989 | 999989 | 0 | 0 | 0 | 4 | 1 | 3 | 900 | 0.0009
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 1.0455 |  |  |  |  | 0.63278
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 926617 | 927080 | -463 | -92600 | -0.0926 | 992207 | 992222 | -15 | -3000 | -0.003
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 973974 | 975293 | -1319 | -263800 | -0.2638 | 999429 | 999624 | -195 | -39000 | -0.039
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.3564 |  |  |  |  | -0.042
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 248885 | 245663 | 3222 | 644400 | 0.6444 | 265513 | 265436 | 77 | 15400 | 0.0154
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 111779 | 111784 | -5 | -1000 | -0.001 | 42430 | 42384 | 46 | 9200 | 0.0092
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 183310 | 183516 | -206 | -20600 | -0.0206 | 74233 | 74146 | 87 | 8700 | 0.0087
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990528 | 990445 | 83 | 83000 | 0.083 | 998437 | 998435 | 2 | 2000 | 0.002
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 961367 | 961676 | -309 | -30900 | -0.0309 | 6926 | 6957 | -31 | -3100 | -0.0031
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999182 | 999182 | 0 | 0 | 0 | 997445 | 997734 | -289 | -270937.5 | -0.27094
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 985820 | 985886 | -66 | 41250 | 0.04125 | 995393 | 995396 | -3 | 1875 | 0.001875
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999989 | 999989 | 0 | 0 | 0 | 4 | 1 | 3 | -900 | -0.0009
| TOTAL NDPL | [8 empty] | 0.71615 |  |  |  |  | -0.23776
| E) NET EXPORT TO BSES RPL | [8 empty] | 1.0455 |  |  |  |  | 0.63278
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.3564 |  |  |  |  | -0.042
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.71615 |  |  |  |  | -0.23776

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2014
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 6963 | 6539 | 424 | 848000 | 0.848 | 803 | 819 | -16 | -32000 | -0.032
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 15382 | 15357 | 25 | 50000 | 0.05 | 2293 | 2255 | 38 | 76000 | 0.076
[7 empty] | NET REACTIVE ENERGY |  |  | 0.898 |  | NET REACTIVE ENERGY |  |  | 0.044
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 992454 | 992457 | -3 | -3000 | -0.003 | 38627 | 38710 | -83 | -83000 | -0.083
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 995018 | 995084 | -66 | -66000 | -0.066 | 993895 | 994154 | -259 | -259000 | -0.259
[7 empty] | NET REACTIVE ENERGY |  |  | -0.069 |  | NET REACTIVE ENERGY |  |  | -0.342
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.829 |  |  |  |  | -0.298
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.3503 |  |  |  |  | -6.3903
[7 empty] | NDMC = |  |  | -0.004 |  |  |  |  | 4.0555
MES =
[7 empty] | 2)TOTAL |  |  | -0.3543 |  |  |  |  | -2.3348
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.4747 |  |  |  |  | -2.6328
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.4544 | % |  |  | 0.13982 |  |  |  |  | -0.77548
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.8274 | % |  |  | 0.19381 |  |  |  |  | -1.0749
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.7424 | % |  |  | 0.11271 |  |  |  |  | -0.62509
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.206 | % |  |  | 0.024713 |  |  |  |  | -0.13706
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7687 | % |  |  | 0.003649 |  |  |  |  | -0.020238
Note :Sharing taken from wk-23 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st SEPTEMBER-2014 TO 30th SEPTEMBER-2014
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 2.6615 | + | 0.25315
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -4.4056 | + | 12.2529
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 5.6805 | + | 6.7405
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 2.7058 | + | 4.9163
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.22535 | + | 1.3138
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/10/2014 | INTIAL READING 01/09/2014 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 953119 | 953235 | -116 | -174000 | -0.174 | 979525 | 979567 | -42 | -63000 | -0.063
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 994328 | 994840 | -512 | -768000 | -0.768 | 995425 | 995426 | -1 | -1500 | -0.0015
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 999348 | 1000000 | -652 | -489000 | -0.489 | 999331 | 999998 | -667 | -500250 | -0.50025
[8 empty] | NET REACTIVE ENERGY |  | -1.431 |  |  | NET REACTIVE ENERGY |  | -0.56475
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997874 | 997874 | 0 | 0 | 0 | 29432 | 29836 | -404 | -2020000 | -2.02
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999728 | 999725 | 3 | 3000 | 0.003 | 1151 | 1638 | -487 | -487000 | -0.487
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 974718 | 974638 | 80 | 80000 | 0.08 | 991579 | 992007 | -428 | -428000 | -0.428
[8 empty] | NET REACTIVE ENERGY |  | 0.083 |  |  | NET REACTIVE ENERGY |  | -2.935