## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 367 | 343 | 24 | -24000 | -0.024 | 999428 | 999417 | 11 | -11000 | -0.011
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 95969 | 94277 | 1692 | -3384000 | -3.384 | 5066 | 5066 | 0 | 0 | 0
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17999 | 17689 | 310 | -310000 | -0.31 | 999723 | 999724 | -1 | 1000 | 0.001
4 | Tx.4 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -2000 | 619 | 119 | 500 | -1000000 | -1 | 1 | 1 | 0 | 0 | 0 | I/C-4 meter shifted on GIS Panel loaded on 31.03.2023
|  | Q0491809 | Secure | Kvarh(Lead/Lag) | -1 | 18000 | 5000 | 13000 | -13000 | -0.013 | 0 | 0 | 0 | 0 | 0
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 362 | 362 | 0 | 0 | 0 | 984404 | 984404 | 0 | 0 | 0
6 | Tx.2 | 4864896 | ELSTER | Kvarh(Lead/Lag) | -2000 | 66 | 0 | 66 | -132000 | -0.132 | 123 | 38 | 85 | -170000 | -0.17
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31699 | 28784 | 2915 | -2915000 | -2.915 | 999665 | 999665 | 0 | 0 | 0
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41209 | 38086 | 3123 | -3123000 | -3.123 | 997783 | 997783 | 0 | 0 | 0
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30507 | 30224 | 283 | -283000 | -0.283 | 996598 | 996598 | 0 | 0 | 0
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 13508 | 14292 | -784 | 392000 | 0.392 | 812841 | 812841 | 0 | 0 | 0
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11254 | 9579 | 1675 | -1675000 | -1.675 | 998342 | 998342 | 0 | 0 | 0
12 | Tx.-2 | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25646 | 20681 | 4965 | -4965000 | -4.965 | 999999 | 999999 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64141 | 61636 | 2505 | -2505000 | -2.505 | 996471 | 996471 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 690544 | 693260 | -2716 | -2716000 | -2.716 | 999745 | 999745 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 726168 | 738612 | -12444 | -6222000 | -6.222 | 999988 | 999988 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15939 | 15836 | 103 | -103000 | -0.103 | 997977 | 997974 | 3 | -3000 | -0.003
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 82355 | 81728 | 627 | -313500 | -0.3135 | 225 | 210 | 15 | -7500 | -0.0075
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62606 | 62358 | 248 | -248000 | -0.248 | 999377 | 999349 | 28 | -28000 | -0.028
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998624 | 998624 | 0 | 0 | 0 | 986528 | 986539 | -11 | -11000 | -0.011
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999569 | 999569 | 0 | 0 | 0 | 999626 | 999627 | -1 | -4000 | -0.004
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1965 | 1965 | 0 | 0 | 0 | 16983 | 16982 | 1 | 500 | 0.0005
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 91926 | 91818 | 108 | 5400 | 0.0054 | 421277 | 421277 | 0 | 0 | 0
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998484 | 998485 | -1 | -1000 | -0.001 | 993085 | 993099 | -14 | -14000 | -0.014
25 | INDER PURI-2 | 4865117 | ELSTER | Kvarh(Lead/Lag) | 1333.333 | 999993 | 999993 | 0 | 0 | 0 | 998846 | 998963 | -117 | -155999.961 | -0.156
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999797 | 999842 | -45 | -45000 | -0.045 | 999979 | 999979 | 0 | 0 | 0
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977756 | 979386 | -1630 | -1630000 | -1.63 | 997857 | 997857 | 0 | 0 | 0
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 885913 | 889849 | -3936 | -1968000 | -1.968 | 999244 | 999244 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 991586 | 991661 | -75 | -20000.25 | -0.02 | 403 | 403 | 0 | 0 | 0
30 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 2000 | 4 | 1 | 3 | 6000 | 0.006 | 32 | 31 | 1 | 2000 | 0.002
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60529 | 59871 | 658 | -658000 | -0.658 | 995667 | 995667 | 0 | 0 | 0
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4913 | 3204 | 1709 | -1709000 | -1.709 | 999887 | 999887 | 0 | 0 | 0
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 37406 | 36339 | 1067 | -2134000 | -2.134 | 999523 | 999523 | 0 | 0 | 0
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 92379 | 88803 | 3576 | -3576000 | -3.576 | 995683 | 995684 | -1 | 1000 | 0.001
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 12889 | 11050 | 1839 | -7356000 | -7.356 | 999998 | 999998 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 171355 | 168137 | 3218 | -3218000 | -3.218 | 998420 | 998420 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 371186 | 351983 | 19203 | -6400935.99 | -6.4009 | 266 | 266 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 49446 | 45519 | 3927 | -7854000 | -7.854 | 999993 | 999993 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4865051 | ELSTER | Kvarh(Lead/Lag) | -2000 | 31727 | 30557 | 1170 | -2340000 | -2.34 | 138 | 138 | 0 | 0 | 0 | check meter
|  | 4864957 | ELSTER | Kvarh(Lead/Lag) | -2500 | 1161 | 0 | 1161 | -2902500 | -2.9025 | 0 | 0 | 0 | 0 | 0 | w.e.f 17.03.2023
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 156595 | 151643 | 4952 | -4952000 | -4.952 | 2317 | 2317 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 15360000 | 13656000 | 1704000 | -1704000 | -1.704 | 2817000 | 2817000 | 0 | 0 | 0
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 46331000 | 41575000 | 4756000 | -4756000 | -4.756 | 2799000 | 2799000 | 0 | 0 | 0
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40521 | 36640 | 3881 | -3881000 | -3.881 | 997783 | 997783 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60637 | 58932 | 1705 | -1705000 | -1.705 | 764 | 764 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994147 | 995085 | -938 | -938000 | -0.938 | 24719 | 24720 | -1 | -1000 | -0.001
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | MARCH-2023
DMS
45 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | 300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 999826 | 999836 | -10 | -1000 | -0.001
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3195 | 3190 | 5 | 500 | 0.0005 | 36279 | 36373 | -94 | -9400 | -0.0094
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 744 | 745 | -1 | -1333 | -0.001333 | 624 | 624 | 0 | 0 | 0
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 288 | 94 | 194 | 19400 | 0.0194 | 3599 | 3537 | 62 | 6200 | 0.0062
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 06.03.2023
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1647 | 1767 | -120 | -12000 | -0.012 | 9505 | 9477 | 28 | 2800 | 0.0028
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999806 | 999796 | 10 | 5000 | 0.005 | 2441 | 2441 | 0 | 0 | 0
57 | DCM NO.2 | 4902555 | ELSTER | Kvarh(Lead/Lag) | 500 | 999972 | 999996 | -24 | -12000 | -0.012 | 1000000 | 999999 | 1 | 500 | 0.0005
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1143 | 1136 | 7 | 3500 | 0.0035 | 1567 | 1567 | 0 | 0 | 0
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992790 | 992815 | -25 | -2500 | -0.0025 | 2903 | 2899 | 4 | 400 | 0.0004
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999999 | 1000000 | -1 | -1333.33 | -0.0013333 | 2 | 0 | 2 | 2666.66 | 0.0026667
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 16140 | 15712 | 428 | 42800 | 0.0428 | 6453 | 6453 | 0 | 0 | 0
62 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | 100 | 406 | 186 | 220 | 22000 | 0.022 | 82 | 82 | 0 | 0 | 0
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 59279 | 59818 | -539 | -53900 | -0.0539 | 2532 | 2532 | 0 | 0 | 0
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 430 | 429 | 1 | 133.33 | 0.00013333 | 963 | 1000 | -37 | -4933.21 | -0.0049332
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 12 | 7 | 5 | -2000 | -0.002
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999893 | 999893 | 0 | 0 | 0 | 999459 | 999459 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 934477 | 936595 | -2118 | -1694400 | -1.6944 | 999698 | 999698 | 0 | 0 | 0
69 | GHEWARA | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 995478 | 996482 | -1004 | -803200 | -0.8032 | 999999 | 999999 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 958670 | 960194 | -1524 | -304800 | -0.3048 | 2049 | 2049 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 988884 | 989880 | -996 | -249000 | -0.249 | 857 | 857 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979386 | 979519 | -133 | -133000 | -0.133 | 2039 | 2040 | -1 | -1000 | -0.001
73 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | 281.25 | 999590 | 999787 | -197 | -55406.25 | -0.055406 | 999999 | 999999 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -92.5061 |  |  |  |  | -0.40677
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 307 | 307 | 0 | 0 | 0 | 1581 | 1561 | 20 | -2000 | -0.002
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 611 | 606 | 5 | -4000 | -0.004 | 639 | 639 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 81 | 81 | 0 | 0 | 0 | 4 | 4 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 5993 | 6021 | -28 | 3733.24 | 0.0037332 | 8037 | 8037 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 996389 | 996622 | -233 | 43687.5 | 0.043687 | 998457 | 998457 | 0 | 0 | 0
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 894502 | 895739 | -1237 | 989600 | 0.9896 | 997618 | 997618 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 992050 | 992040 | 10 | -6250 | -0.00625 | 557 | 557 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999577 | 999659 | -82 | 41000 | 0.041 | 281 | 279 | 2 | -1000 | -0.001
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 991453 | 991666 | -213 | 42600 | 0.0426 | 20561 | 20561 | 0 | 0 | 0
11 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -937.5 | 999976 | 999999 | -23 | 21562.5 | 0.021562 | 999999 | 999999 | 0 | 0 | 0
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 980857 | 980964 | -107 | 20062.5 | 0.020063 | 3419 | 3419 | 0 | 0 | 0
13 | 20MVATX-III | 4865094 | ELSTER | Kvarh(Lead/Lag) | -1875 | 999998 | 999998 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993042 | 993143 | -101 | 10100 | 0.0101 | 30601 | 30601 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.1621 |  |  |  |  | -0.003
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -92.5061 |  |  |  |  | -0.40677
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.1621 |  |  |  |  | -0.003
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -4.4195 |  |  |  |  | 0.00785
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -95.7635 |  |  |  |  | -0.40192
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -95.7635 | (REACTIVE MUs) |  |  |  | -0.40192 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 6.2298 | (REACTIVE MUs) |  |  |  | 0.0064994 | (REACTIVE MUs)
[9 empty] | TOTAL | -89.5337 | (REACTIVE MUs) |  |  |  | -0.39542 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MARCH-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997806 | 997807 | -1 | -1000 | -0.001 | 994099 | 994636 | -537 | -537000 | -0.537
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998506 | 998511 | -5 | -5000 | -0.005 | 998464 | 998586 | -122 | -122000 | -0.122
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999434 | 999451 | -17 | -17000 | -0.017 | 988615 | 990570 | -1955 | -1955000 | -1.955
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999790 | 999791 | -1 | -1333.33 | -0.0013333 | 999095 | 999189 | -94 | -125333.02 | -0.12533
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997306 | 997321 | -15 | -22500 | -0.0225 | 999211 | 999306 | -95 | -142500 | -0.1425
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 10345 | 10355 | -10 | -1000 | -0.001 | 18633 | 18899 | -266 | -26600 | -0.0266
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994508 | 994548 | -40 | -40000 | -0.04 | 995815 | 995907 | -92 | -92000 | -0.092
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 990609 | 990612 | -3 | -225 | -0.000225 | 985744 | 985899 | -155 | -11625 | -0.011625
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 999997 | 1000000 | -3 | -2400 | -0.0024 | 999736 | 1000000 | -264 | -211200 | -0.2112 | w.e.f 01.03.2023
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988555 | 988560 | -5 | -6666.65 | -0.0066666 | 264982 | 265015 | -33 | -43999.89 | -0.044
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 952 | 951 | 1 | -6666.666 | -0.0066667 | 999949 | 999949 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34143 | 33643 | 500 | -500000 | -0.5 | 996639 | 996638 | 1 | -1000 | -0.001
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5289 | 5287 | 2 | -4000 | -0.004 | 996247 | 996238 | 9 | -18000 | -0.018
14 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1650 | 1650 | 0 | 0 | 0 | 993507 | 993509 | -2 | 2000 | 0.002
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 157701 | 157044 | 657 | -657000 | -0.657 | 23894 | 23894 | 0 | 0 | 0
16 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12720 | 11874 | 846 | -846000 | -0.846 | 999410 | 999410 | 0 | 0 | 0
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38462 | 38454 | 8 | -16000 | -0.016 | 1592 | 1571 | 21 | -42000 | -0.042
18 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3991 | 3791 | 200 | -400000 | -0.4 | 999658 | 999658 | 0 | 0 | 0
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 131086 | 130757 | 329 | -263200 | -0.2632 | 10594 | 10591 | 3 | -2400 | -0.0024
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 127598 | 124614 | 2984 | -2387200 | -2.3872 | 5695 | 5695 | 0 | 0 | 0
NAJAFGARH
21 | Tx.1 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993059 | 993057 | 2 | -2000 | -0.002 | 992496 | 992496 | 0 | 0 | 0 | check meter
|  | 4864867 | ELSTER | Kvarh(Lead/Lag) | -2500 | 1 | 0 | 1 | -2500 | -0.0025 | 999999 | 1000000 | -1 | 2500 | 0.0025 | w.e.f 06.03.2023
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952676 | 952604 | 72 | -144000 | -0.144 | 990892 | 990897 | -5 | 10000 | 0.01
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 908576 | 908600 | -24 | 48000 | 0.048 | 971051 | 971052 | -1 | 2000 | 0.002
24 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11607 | 11513 | 94 | -94000 | -0.094 | 995796 | 995799 | -3 | 3000 | 0.003
R.K.PURAM
25 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997430 | 997512 | -82 | 82000 | 0.082 | 997231 | 997231 | 0 | 0 | 0
26 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981331 | 981403 | -72 | 72000 | 0.072 | 999858 | 999858 | 0 | 0 | 0
27 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 293381 | 293162 | 219 | -219000 | -0.219 | 125036 | 125020 | 16 | -16000 | -0.016
28 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7880 | 7839 | 41 | -82000 | -0.082 | 547 | 545 | 2 | -4000 | -0.004
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 611 | 606 | 5 | 4000 | 0.004 | 639 | 639 | 0 | 0 | 0
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 933775 | 933775 | 0 | 0 | 0 | 965240 | 965240 | 0 | 0 | 0
31 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996586 | 996782 | -196 | 196000 | 0.196 | 999513 | 999513 | 0 | 0 | 0
32 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 854 | 692 | 162 | -162000 | -0.162 | 8 | 8 | 0 | 0 | 0
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 41348 | 41333 | 15 | -12000 | -0.012 | 2598 | 2565 | 33 | -26400 | -0.0264
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 63120 | 63051 | 69 | -110400 | -0.1104 | 50882 | 50862 | 20 | -32000 | -0.032
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -2000 | 95 | 84 | 11 | -22000 | -0.022 | 69 | 54 | 15 | -30000 | -0.03
36 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 403 | 403 | 0 | 0 | 0 | 998327 | 998375 | -48 | 48000 | 0.048
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24093 | 24060 | 33 | -33000 | -0.033 | 31333 | 31348 | -15 | 15000 | 0.015
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5449 | 5232 | 217 | -217000 | -0.217 | 996772 | 996773 | -1 | 1000 | 0.001
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1214 | 1214 | 0 | 0 | 0 | 1266 | 1325 | -59 | 59000 | 0.059
BRPL(+) continue | [14 empty] | MARCH-2023
VASANT KUNJ
40 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5863 | 5388 | 475 | -475000 | -0.475 | 999943 | 999943 | 0 | 0 | 0
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24493 | 24020 | 473 | -473000 | -0.473 | 343 | 343 | 0 | 0 | 0
42 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39465 | 39044 | 421 | -421000 | -0.421 | 996667 | 996667 | 0 | 0 | 0
MEHRAULI
43 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7011 | 6252 | 759 | -759000 | -0.759 | 2436 | 2438 | -2 | 2000 | 0.002
44 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 14736 | 12967 | 1769 | -884500 | -0.8845 | 1089 | 1089 | 0 | 0 | 0
45 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 2241 | 1905 | 336 | -840000 | -0.84 | 863 | 864 | -1 | 2500 | 0.0025
46 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4094 | 3608 | 486 | -972000 | -0.972 | 638 | 638 | 0 | 0 | 0
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 97242 | 96034 | 1208 | -1208000 | -1.208 | 997109 | 997109 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 68270 | 66790 | 1480 | -2960000 | -2.96 | 999373 | 999373 | 0 | 0 | 0
DIAL
49 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 8975 | 8480 | 495 | -742500 | -0.7425 | 30 | 30 | 0 | 0 | 0
50 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14013 | 13220 | 793 | -793000 | -0.793 | 999974 | 999974 | 0 | 0 | 0
MASJID MOD
51 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996900 | 996826 | 74 | -74000 | -0.074 | 999840 | 999840 | 0 | 0 | 0
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991446 | 991396 | 50 | -50000 | -0.05 | 994546 | 994546 | 0 | 0 | 0
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989682 | 989852 | -170 | 170000 | 0.17 | 986865 | 986865 | 0 | 0 | 0
MUNDKA
54 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 993878 | 993881 | -3 | -12000 | -0.012 | 999990 | 999990 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 963374 | 964244 | -870 | -696000 | -0.696 | 634 | 634 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 908520 | 909572 | -1052 | -841600 | -0.8416 | 999431 | 999431 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999723 | 999844 | -121 | -242000 | -0.242 | 0 | 0 | 0 | 0 | 0
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 993089 | 993397 | -308 | -246400 | -0.2464 | 52 | 52 | 0 | 0 | 0
60 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 987379 | 989395 | -2016 | -1612800 | -1.6128 | 999895 | 999896 | -1 | -800 | -0.0008
61 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 988817 | 990787 | -1970 | -1576000 | -1.576 | 999982 | 999982 | 0 | 0 | 0
PARK STREET
63 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
SARITA VIHAR
64 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 125021 | 120791 | 4230 | -8460000 | -8.46 | 6926 | 6926 | 0 | 0 | 0
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19244 | 19212 | 32 | -32000 | -0.032 | 5271 | 5160 | 111 | -111000 | -0.111
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 141860 | 141629 | 231 | -231000 | -0.231 | 3099 | 3099 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 307 | 307 | 0 | 0 | 0 | 1581 | 1561 | 20 | 2000 | 0.002
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996389 | 996622 | -233 | -43687.5 | -0.043687 | 998457 | 998457 | 0 | 0 | 0
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998305 | 998462 | -157 | -157000 | -0.157 | 437 | 437 | 0 | 0 | 0
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997873 | 998156 | -283 | -283000 | -0.283 | 373 | 373 | 0 | 0 | 0
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 894502 | 895739 | -1237 | -989600 | -0.9896 | 997618 | 997618 | 0 | 0 | 0
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 573 | 269 | 304 | 304000 | 0.304 | 999973 | 999973 | 0 | 0 | 0
72 | IIT CIRCUIT | 4864872 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997237 | 997648 | -411 | -411000 | -0.411 | 999915 | 999915 | 0 | 0 | 0
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | 100 | 1 | 1 | 0 | 0 | 0 | 999706 | 999726 | -20 | -2000 | -0.002
74 | 11KV NDSE | [8 empty] | 0 |  |  |  |  | -0.000192 | assessment 6 days
|  | 4865066 | ELSTER | Kvarh(Lead/Lag) | 200 | 0 | 0 | 0 | 0 | 0 | 999996 | 1000000 | -4 | -800 | -0.0008 | w.e.f 07.03.2023
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8248 | 8473 | -225 | -112500 | -0.1125 | 3095 | 3095 | 0 | 0 | 0
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994425 | 994763 | -338 | -338000 | -0.338 | 4209 | 4209 | 0 | 0 | 0
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980596 | 980791 | -195 | -195000 | -0.195 | 553 | 553 | 0 | 0 | 0
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7498 | 7362 | 136 | 136000 | 0.136 | 6924 | 6924 | 0 | 0 | 0
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 994065 | 995438 | -1373 | -205950 | -0.20595 | 241 | 241 | 0 | 0 | 0
80 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 997380 | 999098 | -1718 | -171800 | -0.1718 | 912140 | 912140 | 0 | 0 | 0
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1897 | 1919 | -22 | -5866.74 | -0.0058667 | 642 | 642 | 0 | 0 | 0
82 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5347 | 5304 | 43 | 43000 | 0.043 | 7982 | 7982 | 0 | 0 | 0
REWARI LINE
83 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 991453 | 991666 | -213 | -42600 | -0.0426 | 20561 | 20561 | 0 | 0 | 0
84 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999976 | 999999 | -23 | -21562.5 | -0.021562 | 999999 | 999999 | 0 | 0 | 0
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 980857 | 980964 | -107 | -20062.5 | -0.020063 | 3419 | 3419 | 0 | 0 | 0
86 | 20MVATX-III | 4865094 | ELSTER | Kvarh(Lead/Lag) | 1875 | 999998 | 999998 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993042 | 993143 | -101 | -10100 | -0.0101 | 30601 | 30601 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -32.8316 |  |  |  |  | -3.4048
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MARCH-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21919 | 21924 | -5 | 2500 | 0.0025 | 5206 | 5193 | 13 | -6500 | -0.0065
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992418 | 992418 | 0 | 0 | 0 | 7375 | 7840 | -465 | 61998.45 | 0.061998
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999819 | 999820 | -1 | 666.667 | 0.00066667 | 418 | 445 | -27 | 18000.009 | 0.018
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1133 | 1134 | -1 | 1000 | 0.001 | 205 | 232 | -27 | 27000 | 0.027
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989831 | 989966 | -135 | 135000 | 0.135 | 2543 | 2543 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 2856 | 2861 | -5 | 800 | 0.0008 | 38401 | 38378 | 23 | -3680 | -0.00368
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3854 | 3855 | -1 | 200 | 0.0002 | 18886 | 18797 | 89 | -17800 | -0.0178
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968666 | 968845 | -179 | 179000 | 0.179 | 999378 | 999379 | -1 | 1000 | 0.001
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 731 | 732 | -1 | 100 | 0.0001 | 1765 | 1749 | 16 | -1600 | -0.0016
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4947 | 4956 | -9 | 900 | 0.0009 | 5083 | 5081 | 2 | -200 | -0.0002
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 193 | 193 | 0 | 0 | 0 | 1426 | 1404 | 22 | 18333.26 | 0.018333
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 455 | 455 | 0 | 0 | 0 | 2627 | 2627 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 999998 | 999998 | 0 | 0 | 0 | 999826 | 999836 | -10 | 1000 | 0.001
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3195 | 3190 | 5 | -500 | -0.0005 | 36279 | 36373 | -94 | 9400 | 0.0094
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 744 | 745 | -1 | 1333 | 0.001333 | 624 | 624 | 0 | 0 | 0
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 288 | 94 | 194 | -19400 | -0.0194 | 3599 | 3537 | 62 | -6200 | -0.0062
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 06.03.2023
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1647 | 1767 | -120 | 12000 | 0.012 | 9505 | 9477 | 28 | -2800 | -0.0028
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999893 | 999893 | 0 | 0 | 0 | 999459 | 999459 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 1327 | 1238 | 89 | -71200 | -0.0712 | 565 | 563 | 2 | -1600 | -0.0016
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979386 | 979519 | -133 | 133000 | 0.133 | 2039 | 2040 | -1 | 1000 | 0.001
30 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | -281.25 | 999590 | 999787 | -197 | 55406.25 | 0.055406 | 999999 | 999999 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.43081 |  |  |  |  | 0.097352
MARCH-2023
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -32.8316 |  |  |  |  | -3.4048
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.43081 |  |  |  |  | 0.097352
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.77674 |  |  |  |  | -0.0074333
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.000875 |  |  |  |  | -0.063463
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -33.1784 |  |  |  |  | -3.3784
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -33.1784 | (REACTIVE MUs) |  |  |  | -3.3784 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 8.7021 | (REACTIVE MUs) |  |  |  | 0.0090115 | (REACTIVE MUs)
[9 empty] | TOTAL | -24.4763 | (REACTIVE MUs) |  |  |  | -3.3694 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MARCH-2023
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36293 | 36315 | -22 | -5874 | -0.005874 | 991660 | 991892 | -232 | -61944 | -0.061944
2 | KAMLA MKT.B-30 | 4865112 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 8764 | 8765 | -1 | -1333.33 | -0.0013333 | 979742 | 979771 | -29 | -38666.57 | -0.038667 | check meter
|  | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 0 | 0 | 0 | 0 | 0 | 6 | 0 | 6 | 24000 | 0.024 | w.e.f 16/03/2023
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24929 | 24929 | 0 | 0 | 0 | 35087 | 34912 | 175 | 23332.75 | 0.023333
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999603 | 999626 | -23 | -23000 | -0.023 | 999591 | 999668 | -77 | -77000 | -0.077
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 89 | 89 | 0 | 0 | 0 | 999913 | 999926 | -13 | -20800 | -0.0208
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18375 | 18386 | -11 | -14666.63 | -0.014667 | 4901 | 4894 | 7 | 9333.31 | 0.0093333
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999340 | 999384 | -44 | -8800 | -0.0088 | 998263 | 998619 | -356 | -71200 | -0.0712
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 974902 | 974940 | -38 | -38000 | -0.038 | 1212 | 1213 | -1 | -1000 | -0.001 | upto 27.03.2023
|  | 4864868 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996414 | 996420 | -6 | -6000 | -0.006 | 998961 | 998961 | 0 | 0 | 0 | check meter
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 982885 | 982992 | -107 | -53500 | -0.0535 | 263 | 263 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997244 | 997303 | -59 | -59000 | -0.059 | 999837 | 999837 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982587 | 982629 | -42 | -42000 | -0.042 | 1091 | 1091 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999968 | 999974 | -6 | -7999.98 | -0.008 | 999975 | 999977 | -2 | -2666.66 | -0.0026667
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993386 | 993427 | -41 | -41000 | -0.041 | 995251 | 995254 | -3 | -3000 | -0.003
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992501 | 992504 | -3 | -3000 | -0.003 | 1000036 | 999980 | 56 | 56000 | 0.056
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994334 | 994346 | -12 | -9600 | -0.0096 | 7099 | 7108 | -9 | -7200 | -0.0072
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14220 | 14184 | 36 | 4799.88 | 0.0047999 | 8344 | 8345 | -1 | -133.33 | -0.00013333
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 29 | 29 | 0 | 0 | 0 | 999820 | 999819 | 1 | 1000 | 0.001
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 403 | 444 | -41 | -41000 | -0.041 | 16904 | 16904 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 947148 | 948936 | -1788 | -2235000 | -2.235 | 947183 | 947183 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 929919 | 934146 | -4227 | -4227000 | -4.227 | 933516 | 933516 | 0 | 0 | 0
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992639 | 992643 | -4 | -4000 | -0.004 | 998682 | 998682 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -6.466 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999388 | 999400 | -12 | 12000 | 0.012 | 998693 | 998704 | -11 | 11000 | 0.011
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6580 | 6550 | 30 | -30000 | -0.03 | 997807 | 997809 | -2 | 2000 | 0.002
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 12 | 7 | 5 | 2000 | 0.002
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998892 | 998893 | -1 | -1000 | -0.001 | 12174 | 12181 | -7 | -7000 | -0.007
PARK STREET
26 | TX.-1 (66KV) | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3188 | 781 | 2407 | -2407000 | -2.407 | 28 | 9 | 19 | -19000 | -0.019
27 | TX.-2(66KV) | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1202 | 1202 | 0 | 0 | 0 | 1467 | 1467 | 0 | 0 | 0
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11574 | 10959 | 615 | -615000 | -0.615 | 998987 | 998986 | 1 | -1000 | -0.001
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6984 | 6888 | 96 | -96000 | -0.096 | 998036 | 998036 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 125175 | 125079 | 96 | -96000 | -0.096 | 982681 | 982681 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 97159 | 96846 | 313 | -313000 | -0.313 | 335 | 335 | 0 | 0 | 0
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 3061 | 2836 | 225 | -1125000 | -1.125 | 0 | 0 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 81 | 81 | 0 | 0 | 0 | 4 | 4 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 5993 | 6021 | -28 | -3733.24 | -0.0037332 | 8037 | 8037 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992418 | 992418 | 0 | 0 | 0 | 7375 | 7840 | -465 | -61845 | -0.061845
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975081 | 975035 | 46 | -46000 | -0.046 | 990233 | 990233 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961965 | 961855 | 110 | -110000 | -0.11 | 969515 | 969515 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -11.6467 |  |  |  |  | -0.24379
| (A) NET ENERGY TO CENTRAL | [8 empty] | -11.6467 |  |  |  |  | -0.24379
MARCH-2023
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 611 | 527 | 84 | -84000 | -0.084 | 135 | 133 | 2 | -2000 | -0.002
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982055 | 981970 | 85 | -85000 | -0.085 | 931289 | 931278 | 11 | -11000 | -0.011
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 262 | 235 | 27 | -27000 | -0.027 | 11 | 13 | -2 | 2000 | 0.002
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2496 | 2199 | 297 | -297000 | -0.297 | 999725 | 999725 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41701 | 41587 | 114 | -114000 | -0.114 | 998172 | 998172 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 24509 | 23793 | 716 | -358000 | -0.358 | 660 | 660 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 527 | 406 | 121 | -121000 | -0.121 | 999990 | 999990 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 45703 | 45696 | 7 | -7000 | -0.007 | 999420 | 999420 | 0 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1983 | 1800 | 183 | -183000 | -0.183 | 22 | 22 | 0 | 0 | 0
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972937 | 972738 | 199 | -199000 | -0.199 | 968077 | 968085 | -8 | 8000 | 0.008
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1052 | 903 | 149 | -149000 | -0.149 | 999985 | 999985 | 0 | 0 | 0
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 13764 | 13668 | 96 | -480000 | -0.48 | 217 | 212 | 5 | -25000 | -0.025
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28668 | 27118 | 1550 | -1550000 | -1.55 | 117 | 116 | 1 | -1000 | -0.001
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8947 | 7977 | 970 | -970000 | -0.97 | 6 | 6 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -4.624 |  |  |  |  | -0.029
| (B) NET ENERGY TO EAST | [8 empty] | -4.624 |  |  |  |  | -0.029
MARCH-2023
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 991586 | 991661 | -75 | 20000.25 | 0.02 | 403 | 403 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4 | 1 | 3 | -6000 | -0.006 | 32 | 31 | 1 | -2000 | -0.002
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 855 | 971 | -116 | 30932.56 | 0.030933 | 2244 | 2244 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -400 | 8914 | 7896 | 1018 | -407200 | -0.4072 | 25 | 25 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 973392 | 974150 | -758 | 151600 | 0.1516 | 999384 | 999384 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 765 | 872 | -107 | 107000 | 0.107 | 390 | 390 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | -800 | 999992 | 999996 | -4 | 3200 | 0.0032 | 4 | 0 | 4 | -3200 | -0.0032
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 1867 | 1928 | -61 | 48800 | 0.0488 | 1648 | 1650 | -2 | 1600 | 0.0016
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 942730 | 943368 | -638 | 510400 | 0.5104 | 988470 | 988479 | -9 | 7200 | 0.0072
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992346 | 992359 | -13 | 26000 | 0.026 | 999093 | 999109 | -16 | 32000 | 0.032
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994147 | 995085 | -938 | 938000 | 0.938 | 24719 | 24720 | -1 | 1000 | 0.001
DMS
15 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | -300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999806 | 999796 | 10 | -5000 | -0.005 | 2441 | 2441 | 0 | 0 | 0
18 | DCM NO.2 | 4902555 | ELSTER | Kvarh(Lead/Lag) | -500 | 999972 | 999996 | -24 | 12000 | 0.012 | 1000000 | 999999 | 1 | -500 | -0.0005
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1143 | 1136 | 7 | -3500 | -0.0035 | 1567 | 1567 | 0 | 0 | 0
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 59279 | 59818 | -539 | 53900 | 0.0539 | 2532 | 2532 | 0 | 0 | 0
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 430 | 429 | 1 | -133.33 | -0.00013333 | 963 | 1000 | -37 | 4933.21 | 0.0049332
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992790 | 992815 | -25 | 2500 | 0.0025 | 2903 | 2899 | 4 | -400 | -0.0004
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 999999 | 1000000 | -1 | 1333.33 | 0.0013333 | 2 | 0 | 2 | -2666.66 | -0.0026667
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 16140 | 15712 | 428 | -42800 | -0.0428 | 6453 | 6453 | 0 | 0 | 0
25 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | -100 | 406 | 186 | 220 | -22000 | -0.022 | 82 | 82 | 0 | 0 | 0
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 72300 | 69680 | 2620 | 2620 | 0.00262 | 352320 | 351790 | 530 | 530 | 0.00053
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 44910 | 44910 | 0 | 0 | 0 | 583320 | 574320 | 9000 | 9000 | 0.009
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 261000 | 261000 | 0 | 0 | 0 | 1875100 | 1836000 | 39100 | 39100 | 0.0391
[10 empty] | 1.4217 |  |  |  |  | 0.086597
MARCH-2023
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -11.6467 |  |  |  |  | -0.24379
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.4217 |  |  |  |  | 0.086597
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.61789 |  |  |  |  | -0.0022
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -10.8429 |  |  |  |  | -0.15939
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -4.624 |  |  |  |  | -0.029
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -15.4669 |  |  |  |  | -0.18839
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -15.4669 | (REACTIVE MUs) |  |  |  | -0.18839 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 4.7766 | (REACTIVE MUs) |  |  |  | 0.0050393 | (REACTIVE MUs)
[9 empty] | TOTAL | -10.6903 | (REACTIVE MUs) |  |  |  | -0.18335 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MARCH-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 855 | 971 | -116 | -30933.72 | -0.030934 | 2244 | 2244 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 400 | 8914 | 7896 | 1018 | 407200 | 0.4072 | 25 | 25 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 973392 | 974150 | -758 | -151600 | -0.1516 | 999384 | 999384 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 765 | 872 | -107 | -107000 | -0.107 | 390 | 390 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | 800 | 999992 | 999996 | -4 | -3200 | -0.0032 | 4 | 0 | 4 | 3200 | 0.0032
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 1867 | 1928 | -61 | -48800 | -0.0488 | 1648 | 1650 | -2 | -1600 | -0.0016
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 942730 | 943368 | -638 | -510400 | -0.5104 | 988470 | 988479 | -9 | -7200 | -0.0072
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992346 | 992359 | -13 | -26000 | -0.026 | 999093 | 999109 | -16 | -32000 | -0.032
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 952727 | 952728 | -1 | -50 | -5e-05 | 26395 | 27912 | -1517 | -75850 | -0.07585
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 998975 | 999072 | -97 | -9700 | -0.0097 | 1641 | 2127 | -486 | -48600 | -0.0486
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997778 | 997778 | 0 | 0 | 0 | 7643 | 7609 | 34 | 17000 | 0.017
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999830 | 999832 | -2 | -200 | -0.0002 | 996687 | 997406 | -719 | -71900 | -0.0719
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998338 | 998349 | -11 | -1100 | -0.0011 | 4359 | 5448 | -1089 | -108900 | -0.1089
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11074 | 11074 | 0 | 0 | 0 | 42263 | 42167 | 96 | 96000 | 0.096
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 999862 | 999999 | -137 | -13700 | -0.0137 | 1358 | 883 | 475 | 47500 | 0.0475
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991924 | 991924 | 0 | 0 | 0 | 406 | 406 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977309 | 978327 | -1018 | -1018000 | -1.018 | 2783 | 2783 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 997075 | 997485 | -410 | -1025000 | -1.025 | 81 | 81 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 994288 | 994705 | -417 | -1042500 | -1.0425 | 461 | 461 | 0 | 0 | 0
[10 empty] | -3.0855 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989831 | 989966 | -135 | -135000 | -0.135 | 2543 | 2543 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 2856 | 2861 | -5 | -800 | -0.0008 | 38401 | 38378 | 23 | 3680 | 0.00368
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3854 | 3855 | -1 | -200 | -0.0002 | 18886 | 18797 | 89 | 17800 | 0.0178
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 968666 | 968845 | -179 | -179000 | -0.179 | 999378 | 999379 | -1 | -1000 | -0.001
A.I.I.M.S.
27 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 193 | 193 | 0 | 0 | 0 | 1426 | 1404 | 22 | -18333.26 | -0.018333
MARCH-2023
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000375 | 999881 | 494 | -494000 | -0.494 | 989453 | 989453 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2850 | 2310 | 540 | -540000 | -0.54 | 995339 | 995339 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998347 | 998287 | 60 | -120000 | -0.12 | 995228 | 995228 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 445 | 335 | 110 | -110000 | -0.11 | 992465 | 992465 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 455 | 455 | 0 | 0 | 0 | 2627 | 2627 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 731 | 732 | -1 | -100 | -0.0001 | 1765 | 1749 | 16 | 1600 | 0.0016
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4947 | 4956 | -9 | -900 | -0.0009 | 5083 | 5081 | 2 | 200 | 0.0002
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21919 | 21924 | -5 | -2500 | -0.0025 | 5206 | 5193 | 13 | 6500 | 0.0065
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 573 | 269 | 304 | -304000 | -0.304 | 999973 | 999973 | 0 | 0 | 0
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997237 | 997648 | -411 | 411000 | 0.411 | 999915 | 999915 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | -100 | 1 | 1 | 0 | 0 | 0 | 999706 | 999726 | -20 | 2000 | 0.002
4 | 11KV NDSE | [8 empty] | 0 |  |  |  |  | 0.000192 | assessment 06 days
|  | 4865066 | ELSTER | Kvarh(Lead/Lag) | -200 | 0 | 0 | 0 | 0 | 0 | 999996 | 1000000 | -4 | 800 | 0.0008 | w.e.f 07.03.2023
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -5.0565 |  |  |  |  | -0.16891
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -5.0565 |  |  |  |  | -0.16891
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.78189 |  |  |  |  | 0.0010498
| TOTAL ENERGY TO NDMC | [8 empty] | -4.2746 |  |  |  |  | -0.16786

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2023
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4281 | 4293 | -12 | -2400 | -0.0024 | 80420 | 80421 | -1 | -200 | -0.0002
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999511 | 999511 | 0 | 0 | 0 | 32174 | 32174 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 999909 | 999909 | 0 | 0 | 0 | 2410 | 2412 | -2 | -400 | -0.0004
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999873 | 999873 | 0 | 0 | 0 | 19138 | 19150 | -12 | -4800 | -0.0048
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999308 | 999363 | -55 | -44000 | -0.044 | 799 | 801 | -2 | -1600 | -0.0016
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2331 | 2407 | -76 | -30400 | -0.0304 | 6649 | 6649 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999819 | 999820 | -1 | -666.667 | -0.00066667 | 418 | 445 | -27 | -18000.009 | -0.018
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1133 | 1134 | -1 | -1000 | -0.001 | 205 | 232 | -27 | -27000 | -0.027
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.078467 |  |  |  |  | -0.052
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4192 | 4208 | -16 | -600 | -0.0006 | 41466 | 41437 | 29 | 1087.5 | 0.0010875
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 87 | 79 | 8 | 800 | 0.0008 | 1694 | 1692 | 2 | 200 | 0.0002
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4406 | 4406 | 0 | 0 | 0 | 61850 | 61028 | 822 | 61650 | 0.06165
13 | SUBROTO PARK | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 27 | 27 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 784 | 783 | 1 | 75 | 7.5e-05 | 5831 | 5844 | -13 | -975 | -0.000975
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10292 | 10286 | 6 | 600 | 0.0006 | 8586 | 8571 | 15 | 1500 | 0.0015
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.000875 |  |  |  |  | 0.063463
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.078467 |  |  |  |  | -0.052
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.077592 |  |  |  |  | 0.011462
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.077592 | (REACTIVE MUs) |  |  |  | 0.011462 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.054317 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.13191 | (REACTIVE MUs) |  |  |  | 0.011462 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2023
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 992050 | 992040 | 10 | 6250 | 0.00625 | 557 | 557 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999577 | 999659 | -82 | -41000 | -0.041 | 281 | 279 | 2 | 1000 | 0.001
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 1327 | 1238 | 89 | 71200 | 0.0712 | 565 | 563 | 2 | 1600 | 0.0016
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 72300 | 69680 | 2620 | -2620 | -0.00262 | 352320 | 351790 | 530 | -530 | -0.00053
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 44910 | 44910 | 0 | 0 | 0 | 583320 | 574320 | 9000 | -9000 | -0.009
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 261000 | 261000 | 0 | 0 | 0 | 1875100 | 1836000 | 39100 | -39100 | -0.0391
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.03383 |  |  |  |  | -0.04603
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0029175 |  |  |  |  | 0
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.036748 |  |  |  |  | -0.04603

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2023
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 993537 | 994131 | -594 | -297000 | -0.297 | 999650 | 999650 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 19436 | 21318 | -1882 | -188200 | -0.1882 | 992268 | 992268 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 833.333 | 999854 | 999937 | -83 | -69166.639 | -0.069167 | 999990 | 999991 | -1 | -833.333 | -0.00083333
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 996922 | 997132 | -210 | -196875 | -0.19687 | 999333 | 999333 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999349 | 999382 | -33 | 33000 | 0.033 | 998977 | 998977 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 994114 | 993997 | 117 | -58500 | -0.0585 | 535 | 535 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 210 | 210 | 0 | 0 | 0 | 999970 | 999992 | -22 | -6600 | -0.0066
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.77674 |  |  |  |  | -0.0074333
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 954745 | 956311 | -1566 | -313200 | -0.3132 | 991368 | 991379 | -11 | -2200 | -0.0022
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993748 | 995373 | -1625 | -304687.5 | -0.30469 | 993630 | 993630 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.61789 |  |  |  |  | -0.0022
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999314 | 999678 | -364 | -455000 | -0.455 | 998648 | 998648 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998703 | 998993 | -290 | -271875 | -0.27187 | 999624 | 999624 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 994497 | 996080 | -1583 | -197875 | -0.19787 | 996676 | 996666 | 10 | 1250 | 0.00125
13 | O/G 33KV RAMA ROAD | 4865123 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999453 | 999538 | -85 | -106250 | -0.10625 | 999978 | 999978 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998274 | 998483 | -209 | -209000 | -0.209 | 999664 | 999664 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 967005 | 970302 | -3297 | -3297000 | -3.297 | 990694 | 990694 | 0 | 0 | 0
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 9 | 197 | -188 | 117500 | 0.1175 | 999796 | 999796 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 210 | 210 | 0 | 0 | 0 | 999970 | 999992 | -22 | 6600 | 0.0066
| TOTAL NDPL | [8 empty] | -4.4195 |  |  |  |  | 0.00785
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.77674 |  |  |  |  | -0.0074333
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.61789 |  |  |  |  | -0.0022
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -4.4195 |  |  |  |  | 0.00785

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MARCH-2023
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/03/2023 | INTIAL READING 01/03/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 12088 | 9677 | 2411 | 4822000 | 4.822 | 999998 | 999998 | 0 | 0 | 0
2 | IBT-2 | 4864969 | ELSTER | kvarh (Lead/lag) | 2000 | 3188 | 861 | 2327 | 4654000 | 4.654 | 0 | 0 | 0 | 0 | 0
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 9.476 |  |  |  |  | 0
[7 empty] | Generation at feeders |  | = | -9.5515 |  |  |  |  | 0
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 19.0275 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 5.6455 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 7.9021 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 4.3269 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 0.94186 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 848275 | 852433 | -4158 | 2079000 | 2.079 | 997810 | 997810 | 0 | 0 | 0
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 2.079 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.60707 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.86923 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.49688 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.10582 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 185369 | 184697 | 672 | -504000 | -0.504 | 999739 | 999739 | 0 | 0 | 0
2 | GT-II | 4902490 | ELSTER | kvarh (lag) | -1000 | 3020 | 2675 | 345 | -345000 | -0.345 | 0 | 0 | 0 | 0 | 0
3 | STG-III | 4902483 | ELSTER | kvarh (lag) | -750 | 993523 | 993399 | 124 | -93000 | -0.093 | 999391 | 999391 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -0.942 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.18162 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.26649 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.15138 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.28543 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.057085 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 353992 | 358202 | -4210 | 421000 | 0.421 | 984122 | 984122 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 0.421 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 52 FY2022-23) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 33.1144 | % |  |  | 0.13941 |  |  |  |  | 0
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.4382 | % |  |  | 0.17024 |  |  |  |  | 0
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.1813 | % |  |  | 0.089173 |  |  |  |  | 0
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.9157 | % |  |  | 0.016485 |  |  |  |  | 0
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6575 | % |  |  | 0.0027681 |  |  |  |  | 0
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.693 | % |  |  | 0.0029175 |  |  |  |  | 0
E) | TEKHAND WASTE TO ENERGY PANT
1 | TEKHAND WASTE TO ENERGY PANT | Q0473785 | SECURE | kvarh (Lead/lag) | -240000 | -1.38 | -1.11 | -0.27 | 64800 | 0.0648 | -2.71 | -2.62 | -0.09 | 21600 | 0.0216
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 30.09 | % |  |  | 0.019498 |  |  |  |  | 0.0064994
| BRPL | (DERC order = |  |  |  | 41.72 | % |  |  | 0.027035 |  |  |  |  | 0.0090115
| BYPL | (DERC order = |  |  |  | 23.33 | % |  |  | 0.015118 |  |  |  |  | 0.0050393
| NDMC | (DERC order = |  |  |  | 4.86 | % |  |  | 0.0031493 |  |  |  |  | 0.0010498
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
F) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D+E)
1) | NDPL |  |  |  | = |  |  |  |  | 6.2298 |  |  |  |  | 0.0064994
2) | BRPL |  |  |  | = |  |  |  |  | 8.7021 |  |  |  |  | 0.0090115
3) | BYPL |  |  |  | = |  |  |  |  | 4.7766 |  |  |  |  | 0.0050393
4) | NDMC |  |  |  | = |  |  |  |  | 0.78189 |  |  |  |  | 0.0010498
5) | MES |  |  |  | = |  |  |  |  | -0.054317 |  |  |  |  | 0
6) | N.Railway |  |  |  | = |  |  |  |  | 0.0029175 |  |  |  |  | 0

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MARCH-2023 TO 31st MARCH-2023
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -89.5337 |  | -0.39542
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -24.4763 |  | -3.3694
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -10.6903 |  | -0.18335
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -4.2746 |  | -0.16786
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.13191 | + | 0.011462
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.036748 |  | -0.04603
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
Above Data is provided by DTL Metering Department