## NDPL
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966284 | 966294 | -10 | 10000 | 0.01 | 998278 | 998652 | -374 | 374000 | 0.374
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 72968 | 71845 | 1123 | -2246000 | -2.246 | 2167 | 2167 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 928131 | 928132 | -1 | 1000 | 0.001 | 990548 | 992796 | -2248 | 2248000 | 2.248
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997600 | 997712 | -112 | 112000 | 0.112 | 993120 | 993541 | -421 | 421000 | 0.421
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 876933 | 877140 | -207 | 207000 | 0.207 | 987633 | 987507 | 126 | -126000 | -0.126
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28887 | 28912 | -25 | 25000 | 0.025 | 16151 | 16175 | -24 | 24000 | 0.024
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4060 | 4091 | -31 | 31000 | 0.031 | 998124 | 998150 | -26 | 26000 | 0.026
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1552 | 1589 | -37 | 37000 | 0.037 | 998249 | 998616 | -367 | 367000 | 0.367
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 968128 | 968370 | -242 | 121000 | 0.121 | 843893 | 844474 | -581 | 290500 | 0.2905
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3179 | 3243 | -64 | 64000 | 0.064 | 998340 | 998472 | -132 | 132000 | 0.132
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39474 | 39467 | 7 | -7000 | -0.007 | 998364 | 998378 | -14 | 14000 | 0.014
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14837 | 14809 | 28 | -28000 | -0.028 | 996886 | 996904 | -18 | 18000 | 0.018
13 | Tx.-4 | 40001536 | ELSTER | Kvarh(Lead/Lag) | -1 | 100000069 | 99999647 | 422 | -422 | -0.422 | 99999954 | 99999952 | 2 | -2 | -0.002
14 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 831699 | 833720 | -2021 | -2021000 | -2.021 | 999981 | 999981 | 0 | 0 | 0
15 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 942306 | 942771 | -465 | -465000 | -0.465 | 999995 | 999995 | 0 | 0 | 0
NARELA
16 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 288 | 3 | 285 | -285000 | -0.285 | 0 | 0 | 0 | 0 | 0
17 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 24189 | 22212 | 1977 | -988500 | -0.9885 | 999935 | 999935 | 0 | 0 | 0
18 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41061 | 41054 | 7 | -7000 | -0.007 | 146 | 173 | -27 | 27000 | 0.027
NARAINA
19 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999941 | 999941 | 0 | 0 | 0 | 991883 | 992117 | -234 | -234000 | -0.234
20 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 634 | 634 | 0 | 0 | 0 | 21966 | 22078 | -112 | -112000 | -0.112
21 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1350 | 1350 | 0 | 0 | 0 | 11498 | 10421 | 1077 | 538500 | 0.5385
22 | 16 MVA TX.-2 | 4864860 | ELSTER | Kvarh(Lead/Lag) | 500 | 5311 | 5311 | 0 | 0 | 0 | 21481 | 20060 | 1421 | 710500 | 0.7105 | Check Meter Data till 22/09
|  | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 32 | 0 | 32 | 1600 | 0.0016 | 1553 | 0 | 1553 | 77650 | 0.07765 | w.e.f 23/9/19
23 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995515 | 995514 | 1 | 1000 | 0.001 | 984179 | 984173 | 6 | 6000 | 0.006
24 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2 | 2 | 0 | 0 | 0 | 453 | 427 | 26 | 26000 | 0.026
25 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 56980 | 56473 | 507 | 50700 | 0.0507 | 189793 | 188786 | 1007 | 100700 | 0.1007
KASHMIRI GATE
26 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 973602 | 973789 | -187 | -187000 | -0.187 | 999814 | 999816 | -2 | -2000 | -0.002
27 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 555745 | 556810 | -1065 | -1065000 | -1.065 | 829224 | 829224 | 0 | 0 | 0
28 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999915 | 999768 | 147 | 39200.49 | 0.0392 | 999846 | 999886 | -40 | -10666.8 | -0.010667
29 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 1024 | 1019 | 5 | 2500 | 0.0025 | 999913 | 999963 | -50 | -25000 | -0.025
KANJAWALA
30 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24189 | 23155 | 1034 | -1034000 | -1.034 | 996470 | 996471 | -1 | 1000 | 0.001
31 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 120196 | 116919 | 3277 | -1638500 | -1.6385 | 14662 | 14662 | 0 | 0 | 0
32 | Tx.3 | 5295571 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998051 | 998046 | 5 | -5000 | -0.005 | 209 | 210 | -1 | 1000 | 0.001 | Check Meter Data till 18/09
|  | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999757 | 1000000 | -243 | 486000 | 0.486 | 0 | 0 | 0 | 0 | 0 | W.e.f 18/9/19
BAWANA
33 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14000 | 13675 | 325 | -325000 | -0.325 | 999961 | 999962 | -1 | 1000 | 0.001
DSIDC BAWANA
34 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52618 | 51617 | 1001 | -2002000 | -2.002 | 287 | 241 | 46 | -92000 | -0.092
35 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 63697 | 63387 | 310 | -310000 | -0.31 | 998491 | 998562 | -71 | 71000 | 0.071
36 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 121147 | 120560 | 587 | -587000 | -0.587 | 2788 | 2720 | 68 | -68000 | -0.068
ROHINI-II
37 | Tx.1 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41168 | 41164 | 4 | -4000 | -0.004 | 999370 | 999362 | 8 | -8000 | -0.008 | Check Meter Data till 23/09
|  | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19087 | 18914 | 173 | -173000 | -0.173 | 497 | 497 | 0 | 0 | 0 | w.e.f 24/9/19
38 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30086 | 30011 | 75 | -75000 | -0.075 | 1177 | 1158 | 19 | -19000 | -0.019
WAZIRPUR
39 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997942 | 998444 | -502 | 502000 | 0.502 | 998540 | 998540 | 0 | 0 | 0
40 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30351 | 30482 | -131 | 131000 | 0.131 | 1622 | 1622 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
41 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 756 | 745 | 11 | 11000 | 0.011 | 28110 | 28088 | 22 | 22000 | 0.022
42 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
| NDPL(+) continue | [14 empty] | SEPTEMBER-2019
DMS
43 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1150 | 1155 | -5 | -5000 | -0.005 | 61258 | 61260 | -2 | -2000 | -0.002
VISHAL
44 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999545 | 999508 | 37 | 3700 | 0.0037 | 999843 | 999774 | 69 | 6900 | 0.0069
46 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2734 | 2707 | 27 | 2700 | 0.0027 | 28585 | 28483 | 102 | 10200 | 0.0102
S.B.MILL
47 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 671 | 619 | 52 | 69316 | 0.069316 | 474 | 473 | 1 | 1333 | 0.001333
48 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3033 | 2830 | 203 | 20300 | 0.0203 | 1591 | 1559 | 32 | 3200 | 0.0032
49 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
50 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
51 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1285 | 1052 | 233 | 23300 | 0.0233 | 1085 | 1020 | 65 | 6500 | 0.0065
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999859 | 999855 | 4 | 2000 | 0.002 | 1545 | 1497 | 48 | 24000 | 0.024
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2074 | 2023 | 51 | 34000.17 | 0.034 | 259 | 245 | 14 | 9333.38 | 0.0093334
56 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 120 | 22 | 98 | 49000 | 0.049 | 75 | 45 | 30 | 15000 | 0.015
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 996876 | 996913 | -37 | -3700 | -0.0037 | 4089 | 4083 | 6 | 600 | 0.0006
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
60 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
61 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 7853 | 7234 | 619 | 61900 | 0.0619 | 11630 | 11542 | 88 | 8800 | 0.0088
62 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 8505 | 7942 | 563 | 56300 | 0.0563 | 1725 | 1678 | 47 | 4700 | 0.0047
63 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 27761 | 27325 | 436 | 43600 | 0.0436 | 7157 | 7120 | 37 | 3700 | 0.0037
KASHMIRI GATE
64 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 46436 | 46145 | 291 | 29100 | 0.0291 | 1500 | 1748 | -248 | -24800 | -0.0248
65 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133 | 4 | 0 | 4 | 532 | 0.000532 | 208 | 53 | 155 | 20615 | 0.020615
66 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 323 | 316 | 7 | -2100 | -0.0021
REWARI LINE (11KV TRANSFER OF ENERGY)
67 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 62 | -1 | 400 | 0.0004
68 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999977 | 999977 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
69 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 983580 | 983626 | -46 | -36800 | -0.0368 | 999760 | 999762 | -2 | -1600 | -0.0016
70 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 998229 | 998240 | -11 | -22000 | -0.022 | 1061 | 1066 | -5 | -10000 | -0.01
PEERAGARHI
71 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 988342 | 987725 | 617 | 123400 | 0.1234 | 378 | 372 | 6 | 1200 | 0.0012
72 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 999344 | 998788 | 556 | 139000 | 0.139 | 322 | 328 | -6 | -1500 | -0.0015
REWARI LINE
73 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999694 | 999549 | 145 | 145000 | 0.145 | 2396 | 2340 | 56 | 56000 | 0.056
74 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1313 | 1293 | 20 | 15000 | 0.015 | 3264 | 3006 | 258 | 193500 | 0.1935
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -11.2914 |  |  |  |  | 5.1222
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 13313 | 12760 | 553 | -55300 | -0.0553 | 119193 | 118281 | 912 | -91200 | -0.0912
MANGOLPURI
2 | NANGLOI-2 EXP | 4865002 | ELSTER | Kvarh(Lead/Lag) | -400 | 172 | 172 | 0 | 0 | 0 | 8988 | 8418 | 570 | -228000 | -0.228 | Check Meter Data till 22/9
|  | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 9 | 0 | 9 | -7200 | -0.0072 | 24 | 0 | 24 | -19200 | -0.0192 | w.e.f 23/9/19
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 218 | 93 | 125 | -125000 | -0.125 | 37 | 35 | 2 | -2000 | -0.002
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 2679 | 2209 | 470 | -62665.1 | -0.062665 | 218 | 217 | 1 | -133.33 | -0.00013333 | w.e.f 01/07
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998642 | 998689 | -47 | 8812.5 | 0.0088125 | 999962 | 999963 | -1 | 187.5 | 0.0001875
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 943036 | 945693 | -2657 | 2125600 | 2.1256 | 998182 | 998182 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 992498 | 993518 | -1020 | 637500 | 0.6375 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 993208 | 993292 | -84 | 52500 | 0.0525 | 999844 | 999844 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999362 | 999360 | 2 | -400 | -0.0004 | 14065 | 13800 | 265 | -53000 | -0.053
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 996815 | 996866 | -51 | 9562.5 | 0.0095625 | 5614 | 5711 | -97 | 18187.5 | 0.018187
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998586 | 998660 | -74 | 13875 | 0.013875 | 4320 | 4142 | 178 | -33375 | -0.033375
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 2242 | 2085 | 157 | -39250 | -0.03925 | 7755 | 7436 | 319 | -79750 | -0.07975
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999856 | 999764 | 92 | -9200 | -0.0092 | 28179 | 25672 | 2507 | -250700 | -0.2507
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 2.5488 |  |  |  |  | -0.73898
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -11.2914 |  |  |  |  | 5.1222
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 2.5488 |  |  |  |  | -0.73898
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.21506 |  |  |  |  | 0.12876
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -8.5275 |  |  |  |  | 4.5119
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -8.5275 | (REACTIVE MUs) |  |  |  | 4.5119 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -1.2971 | (REACTIVE MUs) |  |  |  | 0.080061 | (REACTIVE MUs)
[9 empty] | TOTAL | -9.8246 | (REACTIVE MUs) |  |  |  | 4.592 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | SEPTEMBER-2019
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 29308 | 27323 | 1985 | 198500 | 0.1985 | 994338 | 994134 | 204 | 20400 | 0.0204
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11653 | 11354 | 299 | 89700 | 0.0897 | 4693 | 4826 | -133 | -39900 | -0.0399
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 57783 | 54671 | 3112 | 233400 | 0.2334 | 393989 | 393491 | 498 | 37350 | 0.03735
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 994761 | 994685 | 76 | 22800 | 0.0228 | 6016 | 6000 | 16 | 4800 | 0.0048
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1719 | 1725 | -6 | -7999.8 | -0.0079998 | 3630 | 3624 | 6 | 7999.8 | 0.0079998
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 5127 | 3634 | 1493 | 149300 | 0.1493 | 941 | 800 | 141 | 14100 | 0.0141
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 76090 | 70386 | 5704 | 427800 | 0.4278 | 42019 | 42058 | -39 | -2925 | -0.002925
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982583 | 982710 | -127 | -127000 | -0.127 | 2259 | 2266 | -7 | -7000 | -0.007
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 995901 | 996023 | -122 | -61000 | -0.061 | 285 | 286 | -1 | -500 | -0.0005
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998321 | 998218 | 103 | 103000 | 0.103 | 1632 | 1597 | 35 | 35000 | 0.035
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990853 | 991006 | -153 | -153000 | -0.153 | 1458 | 1466 | -8 | -8000 | -0.008
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991955 | 991941 | 14 | 14000 | 0.014 | 6252 | 6261 | -9 | -9000 | -0.009
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999898 | 999961 | -63 | -63000 | -0.063 | 998673 | 998704 | -31 | -31000 | -0.031
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997437 | 997501 | -64 | -64000 | -0.064 | 999794 | 999805 | -11 | -11000 | -0.011
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 996297 | 996168 | 129 | 103200 | 0.1032 | 5200 | 4980 | 220 | 176000 | 0.176
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 2371 | 1236 | 1135 | 151329.55 | 0.15133 | 2939 | 2527 | 412 | 54931.96 | 0.054932
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1450 | 1465 | -15 | -15000 | -0.015 | 9730 | 9741 | -11 | -11000 | -0.011
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2053 | 1682 | 371 | 371000 | 0.371 | 17416 | 17388 | 28 | 28000 | 0.028
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 974034 | 974034 | 0 | 0 | 0 | 950999 | 951136 | -137 | -171250 | -0.17125
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 990846 | 990854 | -8 | -8800 | -0.0088 | 936883 | 937314 | -431 | -474100 | -0.4741
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 958238 | 958245 | -7 | -7000 | -0.007 | 6303 | 6586 | -283 | -283000 | -0.283
| KASHMIRI GATE | [8 empty] | -0.0158 |  |  |  |  | -0.92835
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992324 | 992355 | -31 | 31000 | 0.031 | 998807 | 999132 | -325 | 325000 | 0.325
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989593 | 989698 | -105 | 105000 | 0.105 | 999038 | 999281 | -243 | 243000 | 0.243
[5 empty] | -1000 | 990116 | 990101 | 15 | -15000 | -0.015
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 323 | 316 | 7 | 2100 | 0.0021
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999830 | 999830 | 0 | 0 | 0 | 13612 | 12586 | 1026 | 1026000 | 1.026
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 107448 | 107295 | 153 | -153000 | -0.153 | 8278 | 8161 | 117 | -117000 | -0.117
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29151 | 29151 | 0 | 0 | 0 | 97 | 296 | -199 | 199000 | 0.199
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998026 | 998127 | -101 | 101000 | 0.101 | 999335 | 999372 | -37 | 37000 | 0.037
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996781 | 996748 | 33 | -33000 | -0.033 | 999008 | 998845 | 163 | -163000 | -0.163
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996652 | 996216 | 436 | -436000 | -0.436 | 983033 | 983454 | -421 | 421000 | 0.421
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20522 | 20372 | 150 | -150000 | -0.15 | 287 | 281 | 6 | -6000 | -0.006
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 15519 | 15326 | 193 | -386000 | -0.386 | 22 | 22 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 218 | 93 | 125 | 125000 | 0.125 | 37 | 35 | 2 | 2000 | 0.002
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 2679 | 2209 | 470 | 62665.1 | 0.062665 | 218 | 217 | 1 | 133.33 | 0.00013333
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 996350 | 996421 | -71 | -9443 | -0.009443 | 10322 | 11057 | -735 | -97755 | -0.097755
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 956406 | 956676 | -270 | 270000 | 0.27 | 990185 | 990186 | -1 | 1000 | 0.001
[5 empty] | -1000 | 969663 | 969851 | -188 | 188000 | 0.188
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982478 | 982632 | -154 | 154000 | 0.154 | 999926 | 999927 | -1 | 1000 | 0.001
[5 empty] | -1000 | 982867 | 983348 | -481 | 481000 | 0.481
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 1.2115 |  |  |  |  | 1.2034
| (A) NET ENERGY TO CENTRAL | [8 empty] | 1.2115 |  |  |  |  | 1.2034
SEPTEMBER-2019
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991417 | 992123 | -706 | 706000 | 0.706 | 997670 | 997716 | -46 | 46000 | 0.046
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988576 | 988927 | -351 | 351000 | 0.351 | 963289 | 963456 | -167 | 167000 | 0.167
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996619 | 997255 | -636 | 636000 | 0.636 | 998551 | 998615 | -64 | 64000 | 0.064
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988941 | 990203 | -1262 | 1262000 | 1.262 | 999310 | 999403 | -93 | 93000 | 0.093
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16560 | 16567 | -7 | 7000 | 0.007 | 997375 | 997807 | -432 | 432000 | 0.432
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2625 | 2632 | -7 | 7000 | 0.007 | 996311 | 996723 | -412 | 412000 | 0.412
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7192 | 7192 | 0 | 0 | 0 | 999511 | 999511 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7964 | 7964 | 0 | 0 | 0 | 951856 | 951896 | -40 | 40000 | 0.04
[5 empty] | -1000 | [5 empty] | 951714 | 951249 | 465 | -465000 | -0.465
[5 empty] | -1000 | [5 empty] | 951090 | 950657 | 433 | -433000 | -0.433
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 956466 | 956465 | 1 | -1000 | -0.001 | 993581 | 993046 | 535 | -535000 | -0.535
[5 empty] | -1000 | [5 empty] | 992703 | 992358 | 345 | -345000 | -0.345
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971364 | 971411 | -47 | 47000 | 0.047 | 977717 | 978316 | -599 | 599000 | 0.599
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958874 | 958882 | -8 | 8000 | 0.008 | 825427 | 826443 | -1016 | 1016000 | 1.016
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36178 | 36178 | 0 | 0 | 0 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34189 | 33313 | 876 | -876000 | -0.876 | 111 | 124 | -13 | 13000 | 0.013
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21193 | 20340 | 853 | -853000 | -0.853 | 919505 | 919545 | -40 | 40000 | 0.04
[5 empty] | -1000 | 19706 | 19659 | 47 | -47000 | -0.047
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 1.247 |  |  |  |  | 1.144
| (B) NET ENERGY TO EAST | [8 empty] | 1.247 |  |  |  |  | 1.144
SEPTEMBER-2019
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 999915 | 999768 | 147 | -39200.49 | -0.0392 | 999846 | 999886 | -40 | 10666.8 | 0.010667
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 1024 | 1019 | 5 | -2500 | -0.0025 | 999913 | 999963 | -50 | 25000 | 0.025
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2858 | 2913 | -55 | 14666.3 | 0.014666 | 2150 | 2154 | -4 | 1066.64 | 0.0010666
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 92949 | 91815 | 1134 | -113400 | -0.1134 | 152223 | 151965 | 258 | -25800 | -0.0258
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 994262 | 994338 | -76 | 15200 | 0.0152 | 999321 | 999292 | 29 | -5800 | -0.0058
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 65788 | 64889 | 899 | -179800 | -0.1798 | 132700 | 132546 | 154 | -30800 | -0.0308
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 701 | 696 | 5 | -4000 | -0.004 | 2537 | 1993 | 544 | -435200 | -0.4352
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3214 | 3211 | 3 | -2400 | -0.0024 | 1305 | 1003 | 302 | -241600 | -0.2416
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 999989 | 999992 | -3 | 2400 | 0.0024 | 999043 | 999346 | -303 | 242400 | 0.2424
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 966395 | 966395 | 0 | 0 | 0 | 981611 | 982477 | -866 | 692800 | 0.6928
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 973385 | 973387 | -2 | 1600 | 0.0016 | 990127 | 990666 | -539 | 431200 | 0.4312
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999909 | 999911 | -2 | 4000 | 0.004 | 999594 | 999527 | 67 | -134000 | -0.134
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997861 | 997861 | 0 | 0 | 0 | 999540 | 999540 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 756 | 745 | 11 | -11000 | -0.011 | 28110 | 28088 | 22 | -22000 | -0.022
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1150 | 1155 | -5 | 5000 | 0.005 | 61258 | 61260 | -2 | 2000 | 0.002
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999859 | 999855 | 4 | -2000 | -0.002 | 1545 | 1497 | 48 | -24000 | -0.024
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2074 | 2023 | 51 | -34000.17 | -0.034 | 259 | 245 | 14 | -9333.38 | -0.0093334
21 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 120 | 22 | 98 | -49000 | -0.049 | 75 | 45 | 30 | -15000 | -0.015
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 46436 | 46145 | 291 | -29100 | -0.0291 | 1500 | 1748 | -248 | 24800 | 0.0248
23 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4 | 0 | 4 | -533.32 | -0.00053332 | 208 | 53 | 155 | -20666.15 | -0.020666
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 996876 | 996913 | -37 | 3700 | 0.0037 | 4089 | 4083 | 6 | -600 | -0.0006
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 7853 | 7234 | 619 | -61900 | -0.0619 | 11630 | 11542 | 88 | -8800 | -0.0088
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 8505 | 7942 | 563 | -56300 | -0.0563 | 1725 | 1678 | 47 | -4700 | -0.0047
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 27761 | 27325 | 436 | -43600 | -0.0436 | 7157 | 7120 | 37 | -3700 | -0.0037
[10 empty] | -0.58217 |  |  |  |  | 0.44793
SEPTEMBER-2019
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 1.2115 |  |  |  |  | 1.2034
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.58217 |  |  |  |  | 0.44793
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.02725 |  |  |  |  | 0.009675
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 0.65653 |  |  |  |  | 1.661
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 1.247 |  |  |  |  | 1.144
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 1.9035 |  |  |  |  | 2.805
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.9035 | (REACTIVE MUs) |  |  |  | 2.805 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.96632 | (REACTIVE MUs) |  |  |  | 0.059643 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.93721 | (REACTIVE MUs) |  |  |  | 2.8646 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | SEPTEMBER-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999287 | 999310 | -23 | -115000 | -0.115 | 998860 | 998869 | -9 | -45000 | -0.045
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 981103 | 981111 | -8 | -10666.64 | -0.010667 | 670363 | 670378 | -15 | -19999.95 | -0.02
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 997076 | 996948 | 128 | 25600 | 0.0256 | 2645 | 2682 | -37 | -7400 | -0.0074
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 1000013 | 999964 | 49 | 65333.17 | 0.065333 | 999695 | 999689 | 6 | 7999.98 | 0.008
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 173 | 176 | -3 | -4500 | -0.0045 | 999989 | 999988 | 1 | 1500 | 0.0015
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18752 | 18824 | -72 | -7200 | -0.0072 | 22629 | 22626 | 3 | 300 | 0.0003
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 672100 | 672513 | -413 | -30975 | -0.030975 | 980824 | 980919 | -95 | -7125 | -0.007125
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 992017 | 992490 | -473 | -35475 | -0.035475 | 18668 | 18374 | 294 | 22050 | 0.02205
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 996250 | 996209 | 41 | 36900 | 0.0369 | 995287 | 995273 | 14 | 12600 | 0.0126
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 1822 | 1695 | 127 | 12700 | 0.0127 | 265592 | 265587 | 5 | 500 | 0.0005
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8118 | 8164 | -46 | 46000 | 0.046 | 996511 | 996627 | -116 | 116000 | 0.116
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1043 | 1014 | 29 | -58000 | -0.058 | 997778 | 997838 | -60 | 120000 | 0.12
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13506 | 13632 | -126 | 126000 | 0.126 | 996723 | 996922 | -199 | 199000 | 0.199
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975365 | 975367 | -2 | 2000 | 0.002 | 989344 | 990670 | -1326 | 1326000 | 1.326
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51441 | 51426 | 15 | -15000 | -0.015 | 998796 | 998630 | 166 | -166000 | -0.166
[5 empty] | -1000 | [5 empty] | 998412 | 998300 | 112 | -112000 | -0.112
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 55694 | 55694 | 0 | 0 | 0 | 32886 | 30675 | 2211 | -1105500 | -1.1055
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9908 | 9908 | 0 | 0 | 0 | 998106 | 997782 | 324 | -648000 | -0.648
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22539 | 22539 | 0 | 0 | 0 | 815789 | 817685 | -1896 | 1896000 | 1.896
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 55 | 6 | 49 | -49000 | -0.049 | 975 | 341 | 634 | -634000 | -0.634
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 38330 | 38330 | 0 | 0 | 0 | 997936 | 998074 | -138 | 110400 | 0.1104
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64 | 138 | -74 | 74000 | 0.074 | 962069 | 962289 | -220 | 220000 | 0.22
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995048 | 995066 | -18 | 18000 | 0.018 | 993073 | 993312 | -239 | 239000 | 0.239
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 941851 | 941990 | -139 | 139000 | 0.139 | 984032 | 984151 | -119 | 119000 | 0.119
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1584 | 1484 | 100 | -100000 | -0.1 | 997447 | 997470 | -23 | 23000 | 0.023
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1522 | 1542 | -20 | 20000 | 0.02 | 999950 | 999950 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 185 | 187 | -2 | 2000 | 0.002 | 18 | 20 | -2 | 2000 | 0.002
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 103440 | 103255 | 185 | -185000 | -0.185 | 12004 | 11999 | 5 | -5000 | -0.005
[5 empty] | -1000 | 103255 | 101167 | 2088 | -2088000 | -2.088
[5 empty] | -1000 | 100825 | 100722 | 103 | -103000 | -0.103
[5 empty] | -1000 | 100051 | 99305 | 746 | -746000 | -0.746
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 5093 | 5209 | -116 | 386666.28 | 0.38667 | 37 | 37 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4865002 | ELSTER | Kvarh(Lead/Lag) | 400 | 172 | 172 | 0 | 0 | 0 | 8988 | 8418 | 570 | 228000 | 0.228 | Check Meter Data till 22/9
|  | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 9 | 0 | 9 | 7200 | 0.0072 | 24 | 0 | 24 | 19200 | 0.0192 | w.e.f 23/9/19
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973874 | 974760 | -886 | 886000 | 0.886 | 966013 | 966147 | -134 | 134000 | 0.134
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989289 | 989983 | -694 | 694000 | 0.694 | 984113 | 984184 | -71 | 71000 | 0.071
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990434 | 990395 | 39 | -39000 | -0.039 | 985500 | 985536 | -36 | 36000 | 0.036
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 5453 | 5454 | -1 | 800 | 0.0008 | 999168 | 999313 | -145 | 116000 | 0.116
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 3048 | 3048 | 0 | 0 | 0 | 999940 | 999990 | -50 | 80000 | 0.08
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996356 | 996356 | 0 | 0 | 0 | 995335 | 995335 | 0 | 0 | 0
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 1094 | 4264 | -3170 | 1585000 | 1.585 | 992104 | 992104 | 0 | 0 | 0
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18610 | 18699 | -89 | 89000 | 0.089 | 32663 | 32772 | -109 | 109000 | 0.109
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998407 | 998607 | -200 | 200000 | 0.2 | 996109 | 996117 | -8 | 8000 | 0.008
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999447 | 999549 | -102 | 102000 | 0.102 | 999254 | 999332 | -78 | 78000 | 0.078
BRPL(+) continue | [14 empty] | SEPTEMBER-2019
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33820 | 33672 | 148 | -148000 | -0.148 | 999685 | 999687 | -2 | 2000 | 0.002
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9606 | 8894 | 712 | -712000 | -0.712 | 999055 | 999183 | -128 | 128000 | 0.128
42 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11148 | 10969 | 179 | -179000 | -0.179 | 998963 | 998973 | -10 | 10000 | 0.01
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997406 | 997646 | -240 | 240000 | 0.24 | 925479 | 925524 | -45 | 45000 | 0.045
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24505 | 24290 | 215 | -215000 | -0.215 | 7984 | 7995 | -11 | 11000 | 0.011
46 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2674 | 2855 | -181 | 362000 | 0.362 | 994270 | 994537 | -267 | 534000 | 0.534
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39314 | 38955 | 359 | -359000 | -0.359 | 997183 | 997346 | -163 | 163000 | 0.163
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 18514 | 18457 | 57 | -114000 | -0.114 | 999381 | 999384 | -3 | 6000 | 0.006
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7737 | 7704 | 33 | -66000 | -0.066 | 2354 | 2353 | 1 | -2000 | -0.002
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5085 | 5040 | 45 | -90000 | -0.09 | 1314 | 1313 | 1 | -2000 | -0.002
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919718 | 919718 | 0 | 0 | 0 | 979690 | 980154 | -464 | 464000 | 0.464
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2233 | 2233 | 0 | 0 | 0 | 995188 | 995617 | -429 | 429000 | 0.429
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1986 | 1987 | -1 | 1000 | 0.001 | 987593 | 988182 | -589 | 589000 | 0.589
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 989688 | 989688 | 0 | 0 | 0 | 611 | 542 | 69 | 55200 | 0.0552
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 966971 | 967044 | -73 | -58400 | -0.0584 | 999590 | 999616 | -26 | -20800 | -0.0208
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1287 | 1298 | -11 | -8800 | -0.0088 | 999823 | 999826 | -3 | -2400 | -0.0024
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 997825 | 997800 | 25 | 20000 | 0.02 | 34 | 24 | 10 | 8000 | 0.008
PARK STREET
60 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997861 | 997861 | 0 | 0 | 0 | 999540 | 999540 | 0 | 0 | 0
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47039 | 44681 | 2358 | -2358000 | -2.358 | 923 | 923 | 0 | 0 | 0
63 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 77731 | 74957 | 2774 | -2774000 | -2.774 | 722 | 723 | -1 | 1000 | 0.001
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 82200 | 80653 | 1547 | -1547000 | -1.547 | 708 | 708 | 0 | 0 | 0
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 13313 | 12760 | 553 | 55300 | 0.0553 | 119193 | 118281 | 912 | 91200 | 0.0912
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998642 | 998689 | -47 | -8812.5 | -0.0088125 | 999962 | 999963 | -1 | -187.5 | -0.0001875
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 957691 | 957892 | -201 | -80400 | -0.0804 | 995623 | 995543 | 80 | 32000 | 0.032
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 13179 | 12503 | 676 | 270400 | 0.2704 | 72077 | 71900 | 177 | 70800 | 0.0708
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 943036 | 945693 | -2657 | -2125600 | -2.1256 | 998182 | 998182 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 391753 | 391530 | 223 | 22300 | 0.0223 | 84368 | 82323 | 2045 | 204500 | 0.2045
[5 empty] | 100 | [5 empty] | 80762 | 79897 | 865 | 86500 | 0.0865
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5670 | 5662 | 8 | 8000 | 0.008 | 1883 | 1919 | -36 | -36000 | -0.036
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10812 | 10812 | 0 | 0 | 0 | 21507 | 20686 | 821 | 61575 | 0.061575
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5305 | 5305 | 0 | 0 | 0 | 13627 | 13274 | 353 | 35300 | 0.0353
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8264 | 7660 | 604 | 302000 | 0.302 | 3137 | 3114 | 23 | 11500 | 0.0115
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1249 | 1146 | 103 | 103000 | 0.103 | 4082 | 4078 | 4 | 4000 | 0.004
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991167 | 991323 | -156 | -156000 | -0.156 | 1098 | 1087 | 11 | 11000 | 0.011
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5360 | 5128 | 232 | 232000 | 0.232 | 6499 | 6498 | 1 | 1000 | 0.001
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 4766 | 4070 | 696 | 111360 | 0.11136 | 999793 | 999769 | 24 | 3840 | 0.00384
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 189868 | 185992 | 3876 | 387600 | 0.3876 | 47062 | 46969 | 93 | 9300 | 0.0093
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3112 | 2940 | 172 | 172000 | 0.172 | 707 | 670 | 37 | 37000 | 0.037
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3767 | 3606 | 161 | 161000 | 0.161 | 6908 | 6861 | 47 | 47000 | 0.047
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999362 | 999360 | 2 | 400 | 0.0004 | 14065 | 13800 | 265 | 53000 | 0.053
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996815 | 996866 | -51 | -9562.5 | -0.0095625 | 5614 | 5711 | -97 | -18187.5 | -0.018187
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998586 | 998660 | -74 | -13875 | -0.013875 | 4320 | 4142 | 178 | 33375 | 0.033375
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 2242 | 2085 | 157 | 39250 | 0.03925 | 7755 | 7436 | 319 | 79750 | 0.07975
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999856 | 999764 | 92 | 9200 | 0.0092 | 28179 | 25672 | 2507 | 250700 | 0.2507
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -7.5953 |  |  |  |  | 6.0315
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | SEPTEMBER-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 22260 | 22260 | 0 | 0 | 0 | 4726 | 4386 | 340 | -34000 | -0.034
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 996350 | 996421 | -71 | 9466.43 | 0.0094664 | 10322 | 11057 | -735 | 97997.55 | 0.097998
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1808 | 1820 | -12 | 12000 | 0.012 | 998476 | 998453 | 23 | -23000 | -0.023
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997881 | 997798 | 83 | -83000 | -0.083 | 2241 | 2093 | 148 | -148000 | -0.148
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9134 | 9106 | 28 | -4480 | -0.00448 | 25972 | 23699 | 2273 | -363680 | -0.36368
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3061 | 2898 | 163 | -32600 | -0.0326 | 7650 | 6902 | 748 | -149600 | -0.1496
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989101 | 989124 | -23 | 23000 | 0.023 | 999247 | 999284 | -37 | 37000 | 0.037
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 101266 | 101277 | -11 | 1100 | 0.0011 | 75510 | 75511 | -1 | 100 | 0.0001
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 3390 | 2982 | 408 | -40800 | -0.0408 | 1182 | 1169 | 13 | -1300 | -0.0013
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 26787 | 26338 | 449 | -44900 | -0.0449 | 70288 | 69983 | 305 | -30500 | -0.0305
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998671 | 998671 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 1249 | 931 | 318 | -198750 | -0.19875
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999545 | 999508 | 37 | -3700 | -0.0037 | 999843 | 999774 | 69 | -6900 | -0.0069
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2734 | 2707 | 27 | -2700 | -0.0027 | 28585 | 28483 | 102 | -10200 | -0.0102
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 671 | 619 | 52 | -69316 | -0.069316 | 474 | 473 | 1 | -1333 | -0.001333
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3033 | 2830 | 203 | -20300 | -0.0203 | 1591 | 1559 | 32 | -3200 | -0.0032
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1285 | 1052 | 233 | -23300 | -0.0233 | 1085 | 1020 | 65 | -6500 | -0.0065
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 62 | -1 | -400 | -0.0004
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999977 | 999977 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 993968 | 993861 | 107 | -42800 | -0.0428 | 5994 | 5883 | 111 | -44400 | -0.0444
[5 empty] | -400 | [5 empty] | 3445 | 3422 | 23 | -9200 | -0.0092
[5 empty] | -400 | [5 empty] | 2458 | 2287 | 171 | -68400 | -0.0684
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999694 | 999549 | 145 | -145000 | -0.145 | 2396 | 2340 | 56 | -56000 | -0.056
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1313 | 1293 | 20 | -15000 | -0.015 | 3264 | 3006 | 258 | -193500 | -0.1935
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.48233 |  |  |  |  | -1.2138
SEPTEMBER-2019
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -7.5953 |  |  |  |  | 6.0315
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.48233 |  |  |  |  | -1.2138
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.24265 |  |  |  |  | 0.058525
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.051625 |  |  |  |  | -0.2784
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -7.8866 |  |  |  |  | 4.5978
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -7.8866 | (REACTIVE MUs) |  |  |  | 4.5978 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -1.7767 | (REACTIVE MUs) |  |  |  | 0.10966 | (REACTIVE MUs)
[9 empty] | TOTAL | -9.6633 | (REACTIVE MUs) |  |  |  | 4.7075 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | SEPTEMBER-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2858 | 2913 | -55 | -14666.85 | -0.014667 | 2150 | 2154 | -4 | -1066.68 | -0.0010667
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 92949 | 91815 | 1134 | 113400 | 0.1134 | 152223 | 151965 | 258 | 25800 | 0.0258
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 994262 | 994338 | -76 | -15200 | -0.0152 | 999321 | 999292 | 29 | 5800 | 0.0058
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 65788 | 64889 | 899 | 179800 | 0.1798 | 132700 | 132546 | 154 | 30800 | 0.0308
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 701 | 696 | 5 | 4000 | 0.004 | 2537 | 1993 | 544 | 435200 | 0.4352
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3214 | 3211 | 3 | 2400 | 0.0024 | 1305 | 1003 | 302 | 241600 | 0.2416
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 999989 | 999992 | -3 | -2400 | -0.0024 | 999043 | 999346 | -303 | -242400 | -0.2424
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 966395 | 966395 | 0 | 0 | 0 | 981611 | 982477 | -866 | -692800 | -0.6928
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 973385 | 973387 | -2 | -1600 | -0.0016 | 990127 | 990666 | -539 | -431200 | -0.4312
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999909 | 999911 | -2 | -4000 | -0.004 | 999594 | 999527 | 67 | 134000 | 0.134
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 987654 | 987970 | -316 | -15800 | -0.0158 | 21530 | 21239 | 291 | 14550 | 0.01455
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 984069 | 983248 | 821 | 61575 | 0.061575 | 23350 | 23249 | 101 | 7575 | 0.007575
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 999675 | 999666 | 9 | 4500 | 0.0045 | 5548 | 5490 | 58 | 29000 | 0.029
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998900 | 998950 | -50 | -18750 | -0.01875 | 7652 | 7675 | -23 | -8625 | -0.008625
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999874 | 999861 | 13 | 1300 | 0.0013 | 1529 | 1283 | 246 | 24600 | 0.0246
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 6943 | 6355 | 588 | 44100 | 0.0441 | 39977 | 39419 | 558 | 41850 | 0.04185
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 8851 | 9153 | -302 | -30200 | -0.0302 | 1807 | 1818 | -11 | -1100 | -0.0011
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996626 | 996626 | 0 | 0 | 0 | 105001 | 104372 | 629 | 629000 | 0.629
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996033 | 996033 | 0 | 0 | 0 | 2748 | 2594 | 154 | 154000 | 0.154
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985788 | 985788 | 0 | 0 | 0 | 144868 | 144786 | 82 | 82000 | 0.082
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999999 | 999999 | 0 | 0 | 0 | 897 | 897 | 0 | 0 | 0
[10 empty] | 0 |  |  |  |  | 0.865
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997881 | 997798 | 83 | 83000 | 0.083 | 2241 | 2093 | 148 | 148000 | 0.148
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9134 | 9106 | 28 | 4480 | 0.00448 | 25972 | 23699 | 2273 | 363680 | 0.36368
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3061 | 2898 | 163 | 32600 | 0.0326 | 7650 | 6902 | 748 | 149600 | 0.1496
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989101 | 989124 | -23 | -23000 | -0.023 | 999247 | 999284 | -37 | -37000 | -0.037
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998671 | 998671 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
SEPTEMBER-2019
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998287 | 998308 | -21 | 21000 | 0.021 | 990268 | 991102 | -834 | 834000 | 0.834
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999799 | 999823 | -24 | 24000 | 0.024 | 996012 | 996809 | -797 | 797000 | 0.797
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997598 | 997606 | -8 | 16000 | 0.016 | 996932 | 997403 | -471 | 942000 | 0.942
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999223 | 999236 | -13 | 13000 | 0.013 | 996251 | 997263 | -1012 | 1012000 | 1.012
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 1249 | 931 | 318 | 198750 | 0.19875
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 101266 | 101277 | -11 | -1100 | -0.0011 | 75510 | 75511 | -1 | -100 | -0.0001
37 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 3390 | 2982 | 408 | 40800 | 0.0408 | 1182 | 1169 | 13 | 1300 | 0.0013
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 26787 | 26338 | 449 | 44900 | 0.0449 | 70288 | 69983 | 305 | 30500 | 0.0305
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 22260 | 22260 | 0 | 0 | 0 | 4726 | 4386 | 340 | 34000 | 0.034
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 391753 | 391530 | 223 | -22300 | -0.0223 | 84368 | 82323 | 2045 | -204500 | -0.2045
[5 empty] | -100 | [5 empty] | 80762 | 79897 | 865 | -86500 | -0.0865
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5670 | 5662 | 8 | -8000 | -0.008 | 1883 | 1919 | -36 | 36000 | 0.036
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10812 | 10812 | 0 | 0 | 0 | 21507 | 20686 | 821 | -61575 | -0.061575
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5305 | 5305 | 0 | 0 | 0 | 13627 | 13274 | 353 | -35300 | -0.0353
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 0.53384 |  |  |  |  | 4.6004
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 0.53384 |  |  |  |  | 4.6004
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.18811 |  |  |  |  | 0.01161
| TOTAL ENERGY TO NDMC | [8 empty] | 0.34573 |  |  |  |  | 4.612

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2019
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3774 | 3774 | 0 | 0 | 0 | 62262 | 56710 | 5552 | 1110400 | 1.1104
2 | KHBR LANE-2 -EXP. | 5128405 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 33 | 0 | 33 | 33000 | 0.033
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4466 | 4466 | 0 | 0 | 0 | 55474 | 54949 | 525 | 525000 | 0.525
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 162 | 162 | 0 | 0 | 0 | 16420 | 16162 | 258 | 103200 | 0.1032
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 60 | 78 | -18 | -14400 | -0.0144 | 423 | 432 | -9 | -7200 | -0.0072
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1023 | 888 | 135 | 54000 | 0.054 | 4660 | 4289 | 371 | 148400 | 0.1484
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1808 | 1820 | -12 | -12000 | -0.012 | 998476 | 998453 | 23 | 23000 | 0.023
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0276 |  |  |  |  | 1.9358
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 66317 | 65998 | 319 | 31900 | 0.0319 | 101122 | 100354 | 768 | 76800 | 0.0768
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78495 | 78409 | 86 | 8600 | 0.0086 | 18369 | 18315 | 54 | 5400 | 0.0054
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 100 | 541 | 447 | 94 | 9400 | 0.0094 | 15536 | 13577 | 1959 | 195900 | 0.1959
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 75 | 75 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 671 | 648 | 23 | 1725 | 0.001725 | 1667 | 1663 | 4 | 300 | 0.0003
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4348 | 4348 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.051625 |  |  |  |  | 0.2784
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0276 |  |  |  |  | 1.9358
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.079225 |  |  |  |  | 2.2142
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.079225 | (REACTIVE MUs) |  |  |  | 2.2142 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.027781 | (REACTIVE MUs) |  |  |  | 0.0017147 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.051444 | (REACTIVE MUs) |  |  |  | 2.2159 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2019
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 992498 | 993518 | -1020 | -637500 | -0.6375 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 993208 | 993292 | -84 | -52500 | -0.0525 | 999844 | 999844 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 993968 | 993861 | 107 | 42800 | 0.0428 | 5994 | 5883 | 111 | 44400 | 0.0444
[5 empty] | 400 | [5 empty] | 3445 | 3422 | 23 | 9200 | 0.0092
[5 empty] | 400 | [5 empty] | 2458 | 2287 | 171 | 68400 | 0.0684
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.6472 |  |  |  |  | 0.122
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.013937 |  |  |  |  | 0.00086023
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.66114 |  |  |  |  | 0.12286

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2019
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 962564 | 960916 | 1648 | 164800 | 0.1648 | 2033 | 1970 | 63 | 6300 | 0.0063
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 71781 | 72235 | -454 | -45400 | -0.0454 | 6263 | 6287 | -24 | -2400 | -0.0024
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 15437 | 15342 | 95 | 47500 | 0.0475 | 3870 | 3766 | 104 | 52000 | 0.052
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998660 | 998656 | 4 | 3750 | 0.00375 | 87 | 89 | -2 | -1875 | -0.001875
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 996025 | 996025 | 0 | 0 | 0 | 999839 | 999839 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 994623 | 994767 | -144 | 72000 | 0.072 | 999852 | 999861 | -9 | 4500 | 0.0045
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 166 | 166 | 0 | 0 | 0 | 110 | 110 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.24265 |  |  |  |  | 0.058525
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 980378 | 980448 | -70 | -14000 | -0.014 | 999796 | 999757 | 39 | 7800 | 0.0078
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 991032 | 990988 | 44 | 41250 | 0.04125 | 999929 | 999927 | 2 | 1875 | 0.001875
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.02725 |  |  |  |  | 0.009675
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1919 | 1879 | 40 | 50000 | 0.05 | 999934 | 999934 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 354860 | 354676 | 184 | 18400 | 0.0184 | 179812 | 179494 | 318 | 31800 | 0.0318
[5 empty] | 100 | [5 empty] | 170427 | 169966 | 461 | 46100 | 0.0461
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 291934 | 291161 | 773 | 48312.5 | 0.048313 | 104165 | 102876 | 1289 | 80562.5 | 0.080562
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2716 | 2690 | 26 | 20800 | 0.0208 | 1733 | 1817 | -84 | -67200 | -0.0672
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 965400 | 965605 | -205 | -20500 | -0.0205 | 999097 | 999109 | -12 | -1200 | -0.0012
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 996295 | 995958 | 337 | 50550 | 0.05055 | 990463 | 990205 | 258 | 38700 | 0.0387
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997556 | 997575 | -19 | 47500 | 0.0475 | 3054 | 3054 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 166 | 166 | 0 | 0 | 0 | 110 | 110 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.21506 |  |  |  |  | 0.12876
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.24265 |  |  |  |  | 0.058525
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.02725 |  |  |  |  | 0.009675
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.21506 |  |  |  |  | 0.12876

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | SEPTEMBER-2019
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 60247 | 60229 | 18 | 18000 | 0.018 | 22353 | 22212 | 141 | 141000 | 0.141
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 687 | 681 | 6 | 12000 | 0.012 | 999411 | 999342 | 69 | 138000 | 0.138
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 961980 | 962393 | -413 | 206500 | 0.2065 | 998675 | 998840 | -165 | 82500 | 0.0825
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 630197 | 630584 | -387 | 38700 | 0.0387 | 997094 | 997108 | -14 | 1400 | 0.0014
[5 empty] | -100 | 643576 | 645032 | -1456 | 145600 | 0.1456
[7 empty] | NET REACTIVE ENERGY |  |  | 0.4208 |  | NET REACTIVE ENERGY |  |  | 0.3629
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.4208 |  |  |  |  | 0.3629
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -2.899 |  |  |  |  | -0.089
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.7918 |  |  |  |  | -0.87535
[7 empty] | NDMC = |  |  | 0 |  |  |  |  | 0.865
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -4.6908 |  |  |  |  | -0.09935
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -4.27 |  |  |  |  | 0.26355
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.3781 | % |  |  | -1.2971 |  |  |  |  | 0.080061
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.609 | % |  |  | -1.7767 |  |  |  |  | 0.10966
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.6305 | % |  |  | -0.96632 |  |  |  |  | 0.059643
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.4054 | % |  |  | -0.18811 |  |  |  |  | 0.01161
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6506 | % |  |  | -0.027781 |  |  |  |  | 0.0017147
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.3264 | % |  |  | -0.013937 |  |  |  |  | 0.00086023
Note :Sharing taken from wk-26 abt bill 2019-20

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st SEPTEMBER-2019 TO 30th SEPTEMBER-2019
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -9.8246 | + | 4.592
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -9.6633 | + | 4.7075
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 0.93721 | + | 2.8646
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 0.34573 | + | 4.612
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.051444 | + | 2.2159
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.66114 | + | 0.12286
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/09/2019 | INTIAL READING 01/09/2019 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 53163 | 50023 | 3140 | 2355000 | 2.355 | 999899 | 999899 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | 996635 | 995999 | 636 | 954000 | 0.954 | 28 | 28 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 821901 | 823075 | -1174 | -880500 | -0.8805 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 2.4285 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1533 | 1480 | 53 | 265000 | 0.265 | 13228 | 13151 | 77 | 385000 | 0.385
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863572 | 865745 | -2173 | -2173000 | -2.173
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 976191 | 976134 | 57 | 57000 | 0.057 | 235 | 290 | -55 | -55000 | -0.055
[8 empty] | NET REACTIVE ENERGY |  | 0.322 |  |  | NET REACTIVE ENERGY |  | -1.843