## NDPL
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965020 | 965079 | -59 | 59000 | 0.059 | 997105 | 997134 | -29 | 29000 | 0.029
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 83403 | 83354 | 49 | -98000 | -0.098 | 4503 | 4485 | 18 | -36000 | -0.036
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1327 | 1026 | 301 | -301000 | -0.301 | 207 | 202 | 5 | -5000 | -0.005
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26154 | 26154 | 0 | 0 | 0 | 91001 | 90776 | 225 | -225000 | -0.225
[5 empty] | -1000 | 19238 | 12790 | 6448 | -6448000 | -6.448
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998424 | 998197 | 227 | -227000 | -0.227 | 991502 | 991533 | -31 | 31000 | 0.031
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 894787 | 894375 | 412 | -412000 | -0.412 | 26240 | 26145 | 95 | -95000 | -0.095
ROHINI
7 | Tx 1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37190 | 36555 | 635 | -635000 | -0.635 | 16225 | 16225 | 0 | 0 | 0 | Data till 09/11
|  | 4864985 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39051 | 37266 | 1785 | -1785000 | -1.785 | 10315 | 10315 | 0 | 0 | 0 | Check meter Data
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12965 | 10713 | 2252 | -2252000 | -2.252 | 998212 | 998212 | 0 | 0 | 0
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7351 | 5836 | 1515 | -1515000 | -1.515 | 997646 | 997646 | 0 | 0 | 0
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 966742 | 966568 | 174 | -87000 | -0.087 | 838774 | 838774 | 0 | 0 | 0
[5 empty] | -500 | 966095 | 964938 | 1157 | -578500 | -0.5785
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1112 | 1603 | -491 | 491000 | 0.491 | 998765 | 998765 | 0 | 0 | 0
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4168 | 2792 | 1376 | -1376000 | -1.376 | 999890 | 999890 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39470 | 35687 | 3783 | -3783000 | -3.783 | 996706 | 996706 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 14132 | 13397 | 735 | -735 | -0.735 | 99999735 | 99999735 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 783191 | 787898 | -4707 | -4707000 | -4.707 | 999752 | 999752 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 912773 | 912773 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10412 | 9408 | 1004 | -1004000 | -1.004 | 999957 | 999956 | 1 | -1000 | -0.001
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 57485 | 54944 | 2541 | -1270500 | -1.2705 | 218 | 159 | 59 | -29500 | -0.0295
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 50178 | 48615 | 1563 | -1563000 | -1.563 | 998598 | 998589 | 9 | -9000 | -0.009
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999926 | 999930 | -4 | -4000 | -0.004 | 990079 | 990035 | 44 | 44000 | 0.044
21 | O/G REWARI LINE 2 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 998453 | 998453 | 0 | 0 | 0 | 972534 | 972520 | 14 | 2800 | 0.0028
|  | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999999 | 1000000 | -1 | -4000 | -0.004 | 10 | 0 | 10 | 40000 | 0.04 | w.e.f 02/11
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1366 | 1376 | -10 | -5000 | -0.005 | 13982 | 13979 | 3 | 1500 | 0.0015
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 10290 | 9604 | 686 | 34300 | 0.0343 | 184950 | 183906 | 1044 | 52200 | 0.0522
[5 empty] | 50 | 8840 | 4443 | 4397 | 219850 | 0.21985
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000001 | 999996 | 5 | 5000 | 0.005 | 998815 | 998701 | 114 | 114000 | 0.114
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999556 | 999598 | -42 | -42000 | -0.042 | 998780 | 998781 | -1 | -1000 | -0.001
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 53952 | 57228 | -3276 | -327600 | -0.3276 | 192248 | 192248 | 0 | 0 | 0
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997459 | 998163 | -704 | -704000 | -0.704 | 999646 | 999659 | -13 | -13000 | -0.013
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 955798 | 962458 | -6660 | -3330000 | -3.33 | 999898 | 999898 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 996815 | 997157 | -342 | -91201.14 | -0.091201 | 999880 | 999882 | -2 | -533.34 | -0.00053334
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2163 | 2153 | 10 | 5000 | 0.005 | 211 | 197 | 14 | 7000 | 0.007
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41765 | 40826 | 939 | -939000 | -0.939 | 996614 | 996635 | -21 | 21000 | 0.021
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 218156 | 214970 | 3186 | -1593000 | -1.593 | 17443 | 17434 | 9 | -4500 | -0.0045
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3779 | 3064 | 715 | -1430000 | -1.43 | 999677 | 999678 | -1 | 2000 | 0.002
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41567 | 38984 | 2583 | -2583000 | -2.583 | 999024 | 999029 | -5 | 5000 | 0.005
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 97194 | 93330 | 3864 | -7728000 | -7.728 | 288 | 288 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 99149 | 95324 | 3825 | -3825000 | -3.825 | 998462 | 998462 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 41326 | 21635 | 19691 | -6563601.03 | -6.5636 | 132 | 132 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 11602 | 9698 | 1904 | -3808000 | -3.808 | 239 | 238 | 1 | -2000 | -0.002
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60195 | 56057 | 4138 | -4138000 | -4.138 | 1654 | 1653 | 1 | -1000 | -0.001
WAZIRPUR
40 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 782 | 198 | 584 | -584000 | -0.584 | 997841 | 997841 | 0 | 0 | 0
41 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47232 | 44446 | 2786 | -2786000 | -2.786 | 1622 | 1622 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
42 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999640 | 999801 | -161 | -161000 | -0.161 | 27023 | 27218 | -195 | -195000 | -0.195
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | NOVEMBER-2020
DMS
43 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 901 | 948 | -47 | -47000 | -0.047 | 61207 | 61207 | 0 | 0 | 0
VISHAL
44 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999487 | -5 | -500 | -0.0005 | 999526 | 999544 | -18 | -1800 | -0.0018
46 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3084 | 3091 | -7 | -700 | -0.0007 | 30908 | 30914 | -6 | -600 | -0.0006
S.B.MILL
47 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 775 | 775 | 0 | 0 | 0 | 561 | 561 | 0 | 0 | 0
48 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3179 | 3179 | 0 | 0 | 0 | 1615 | 1615 | 0 | 0 | 0
49 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
50 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
|  | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 18/11
51 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2091 | 1980 | 111 | 11100 | 0.0111 | 3405 | 3374 | 31 | 3100 | 0.0031
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999888 | 999901 | -13 | -6500 | -0.0065 | 2133 | 2140 | -7 | -3500 | -0.0035
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2437 | 2407 | 30 | 20000.1 | 0.02 | 423 | 420 | 3 | 2000.01 | 0.002
56 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 970 | 868 | 102 | 51000 | 0.051 | 418 | 404 | 14 | 7000 | 0.007
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 995933 | 996268 | -335 | -33500 | -0.0335 | 3210 | 3238 | -28 | -2800 | -0.0028
FAIZ ROAD
58 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8034 | 8050 | -16 | -1600 | -0.0016 | 13496 | 13488 | 8 | 800 | 0.0008
59 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 10773 | 10717 | 56 | 5600 | 0.0056 | 3090 | 3003 | 87 | 8700 | 0.0087
60 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 29804 | 29756 | 48 | 4800 | 0.0048 | 8589 | 8467 | 122 | 12200 | 0.0122
KASHMIRI GATE
61 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 61036 | 60685 | 351 | 35100 | 0.0351 | 1730 | 1729 | 1 | 100 | 0.0001
62 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999719 | 999721 | -2 | -266.66 | -0.00026666 | 362 | 362 | 0 | 0 | 0
63 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 75 | 75 | 0 | 0 | 0 | 665 | 663 | 2 | -600 | -0.0006
REWARI LINE (11KV TRANSFER OF ENERGY)
64 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995633 | 995632 | 1 | -400 | -0.0004 | 61 | 61 | 0 | 0 | 0
65 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999880 | 999880 | 0 | 0 | 0 | 999438 | 999438 | 0 | 0 | 0
MUNDKA
66 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 969397 | 971410 | -2013 | -1610400 | -1.6104 | 999721 | 999721 | 0 | 0 | 0
67 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 996104 | 996375 | -271 | -542000 | -0.542 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
68 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 978915 | 980545 | -1630 | -326000 | -0.326 | 1435 | 1438 | -3 | -600 | -0.0006
69 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 997913 | 998259 | -346 | -86500 | -0.0865 | 583 | 589 | -6 | -1500 | -0.0015
REWARI LINE
70 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990770 | 991588 | -818 | -818000 | -0.818 | 2188 | 2204 | -16 | -16000 | -0.016
71 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1916 | 1995 | -79 | -59250 | -0.05925 | 3312 | 3312 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -72.0143 |  |  |  |  | -0.26153
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 18307 | 17491 | 816 | -81600 | -0.0816 | 143432 | 143426 | 6 | -600 | -0.0006
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 342 | 343 | -1 | 800 | 0.0008 | 627 | 627 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 832 | 824 | 8 | -8000 | -0.008 | 153 | 110 | 43 | -43000 | -0.043
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 5307 | 6400 | -1093 | 145729.69 | 0.14573 | 5469 | 5522 | -53 | 7066.49 | 0.0070665
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997341 | 997426 | -85 | 15937.5 | 0.015938 | 999852 | 999853 | -1 | 187.5 | 0.0001875
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 912341 | 913104 | -763 | 610400 | 0.6104 | 997978 | 997978 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 990072 | 989797 | 275 | -171875 | -0.17188 | 999997 | 999993 | 4 | -2500 | -0.0025
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 990655 | 990758 | -103 | 64375 | 0.064375 | 999856 | 999858 | -2 | 1250 | 0.00125
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 996002 | 996532 | -530 | 106000 | 0.106 | 14627 | 14627 | 0 | 0 | 0
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 991998 | 992655 | -657 | 123187.5 | 0.12319 | 5409 | 5410 | -1 | 187.5 | 0.0001875
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 990928 | 991631 | -703 | 131812.5 | 0.13181 | 4076 | 4078 | -2 | 375 | 0.000375
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4417 | 4296 | 121 | -30250 | -0.03025 | 8039 | 8038 | 1 | -250 | -0.00025
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 997361 | 997455 | -94 | 9400 | 0.0094 | 29774 | 29774 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.91592 |  |  |  |  | -0.037284
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -72.0143 |  |  |  |  | -0.26153
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.91592 |  |  |  |  | -0.037284
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.54727 |  |  |  |  | -0.063413
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -71.6456 |  |  |  |  | -0.36223
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -71.6456 | (REACTIVE MUs) |  |  |  | -0.36223 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -6.4884 | (REACTIVE MUs) |  |  |  | -0.024009 | (REACTIVE MUs)
[9 empty] | TOTAL | -78.134 | (REACTIVE MUs) |  |  |  | -0.38624 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | NOVEMBER-2020
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 39192 | 39819 | -627 | -62700 | -0.0627 | 994507 | 994515 | -8 | -800 | -0.0008
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 12323 | 13034 | -711 | -213300 | -0.2133 | 3113 | 3178 | -65 | -19500 | -0.0195
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 348026 | 348436 | -410 | -30750 | -0.03075 | 402585 | 402632 | -47 | -3525 | -0.003525
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 994500 | 994761 | -261 | -78300 | -0.0783 | 5942 | 5943 | -1 | -300 | -0.0003
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1574 | 1582 | -8 | -10666.4 | -0.010666 | 3601 | 3602 | -1 | -1333.3 | -0.0013333
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 15256 | 15052 | 204 | 20400 | 0.0204 | 3872 | 3865 | 7 | 700 | 0.0007
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 162321 | 162865 | -544 | -40800 | -0.0408 | 892293 | 892305 | -12 | -900 | -0.0009
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 978692 | 979163 | -471 | -471000 | -0.471 | 2276 | 2276 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 988040 | 988797 | -757 | -378500 | -0.3785 | 178 | 178 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999439 | 999842 | -403 | -403000 | -0.403 | 0 | 0 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985956 | 986523 | -567 | -567000 | -0.567 | 1352 | 1352 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988285 | 988682 | -397 | -397000 | -0.397 | 6257 | 6257 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995278 | 995808 | -530 | -530000 | -0.53 | 998637 | 998642 | -5 | -5000 | -0.005
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994588 | 994695 | -107 | -107000 | -0.107 | 352 | 352 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 996094 | 995886 | 208 | 166400 | 0.1664 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 13586 | 14119 | -533 | -71064.89 | -0.071065 | 3650 | 3650 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 681 | 800 | -119 | -119000 | -0.119 | 9732 | 9732 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1008 | 1302 | -294 | -294000 | -0.294 | 17471 | 17471 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 971174 | 971557 | -383 | -478750 | -0.47875 | 948578 | 948629 | -51 | -63750 | -0.06375
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983270 | 984880 | -1610 | -1610000 | -1.61 | 935683 | 935755 | -72 | -72000 | -0.072
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999613 | 999900 | -287 | -287000 | -0.287 | 999481 | 999493 | -12 | -12000 | -0.012
| KASHMIRI GATE | [8 empty] | -2.3758 |  |  |  |  | -0.14775
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985430 | 985602 | -172 | 172000 | 0.172 | 998267 | 998270 | -3 | 3000 | 0.003
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983792 | 983878 | -86 | 86000 | 0.086 | 998825 | 998826 | -1 | 1000 | 0.001
[5 empty] | -1000 | 984097 | 984161 | -64 | 64000 | 0.064
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 75 | 75 | 0 | 0 | 0 | 665 | 663 | 2 | 600 | 0.0006
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999774 | 999814 | -40 | -40000 | -0.04 | 13506 | 13536 | -30 | -30000 | -0.03
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 187996 | 183301 | 4695 | -4695000 | -4.695 | 8701 | 8701 | 0 | 0 | 0
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 46216 | 43928 | 2288 | -2288000 | -2.288 | 179 | 161 | 18 | -18000 | -0.018
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1001002 | 999953 | 1049 | -1049000 | -1.049 | 999275 | 999275 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1881 | 664 | 1217 | -1217000 | -1.217 | 998443 | 998442 | 1 | -1000 | -0.001
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31081 | 27913 | 3168 | -3168000 | -3.168 | 982858 | 982856 | 2 | -2000 | -0.002
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 50951 | 47157 | 3794 | -3794000 | -3.794 | 317 | 316 | 1 | -1000 | -0.001
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 36578 | 34277 | 2301 | -4602000 | -4.602 | 24 | 24 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 832 | 824 | 8 | 8000 | 0.008 | 153 | 110 | 43 | 43000 | 0.043
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 5307 | 6400 | -1093 | -145729.69 | -0.14573 | 5469 | 5522 | -53 | -7066.49 | -0.0070665
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993732 | 993852 | -120 | -15960 | -0.01596 | 7958 | 8050 | -92 | -12236 | -0.012236
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950395 | 950420 | -25 | 25000 | 0.025 | 990185 | 990185 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970961 | 971018 | -57 | 57000 | 0.057 | 999923 | 999923 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -26.5657 |  |  |  |  | -0.20211
| (A) NET ENERGY TO CENTRAL | [8 empty] | -26.5657 |  |  |  |  | -0.20211
NOVEMBER-2020
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988356 | 987759 | 597 | -597000 | -0.597 | 997255 | 997256 | -1 | 1000 | 0.001
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972301 | 971594 | 707 | -707000 | -0.707 | 962537 | 962511 | 26 | -26000 | -0.026
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991458 | 991295 | 163 | -163000 | -0.163 | 997868 | 997877 | -9 | 9000 | 0.009
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989427 | 988333 | 1094 | -1094000 | -1.094 | 998452 | 998452 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28871 | 28055 | 816 | -816000 | -0.816 | 997342 | 997293 | 49 | -49000 | -0.049
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14195 | 13244 | 951 | -951000 | -0.951 | 996341 | 996306 | 35 | -35000 | -0.035
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7274 | 6429 | 845 | -845000 | -0.845 | 12325 | 12333 | -8 | 8000 | 0.008
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000047 | 998879 | 1168 | -1168000 | -1.168 | 999856 | 999850 | 6 | -6000 | -0.006
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 930742 | 930742 | 0 | 0 | 0 | 978697 | 978697 | 0 | 0 | 0
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983016 | 982480 | 536 | -536000 | -0.536 | 974765 | 974765 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964278 | 963508 | 770 | -770000 | -0.77 | 825278 | 825278 | 0 | 0 | 0
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2768 | 1172 | 1596 | -3192000 | -3.192 | 4 | 4 | 0 | 0 | 0
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2276 | 1157 | 1119 | -1119000 | -1.119 | 77 | 77 | 0 | 0 | 0
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22809 | 22574 | 235 | -235000 | -0.235 | 225 | 225 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -12.193 |  |  |  |  | -0.098
| (B) NET ENERGY TO EAST | [8 empty] | -12.193 |  |  |  |  | -0.098
NOVEMBER-2020
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 996815 | 997157 | -342 | 91201.14 | 0.091201 | 999880 | 999882 | -2 | 533.34 | 0.00053334
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2163 | 2153 | 10 | -5000 | -0.005 | 211 | 197 | 14 | -7000 | -0.007
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3425 | 3620 | -195 | 51998.7 | 0.051999 | 2219 | 2219 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 112621 | 111491 | 1130 | -113000 | -0.113 | 152455 | 152455 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 987556 | 988391 | -835 | 167000 | 0.167 | 999330 | 999330 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 612 | 576 | 36 | -36000 | -0.036 | 22 | 22 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 2521 | 2587 | -66 | 52800 | 0.0528 | 2627 | 2626 | 1 | -800 | -0.0008
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3214 | 3403 | -189 | 151200 | 0.1512 | 1313 | 1314 | -1 | 800 | 0.0008
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 988868 | 989906 | -1038 | 830400 | 0.8304 | 998890 | 998901 | -11 | 8800 | 0.0088
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 955630 | 956861 | -1231 | 984800 | 0.9848 | 980433 | 980446 | -13 | 10400 | 0.0104
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 959431 | 959468 | -37 | 29600 | 0.0296 | 989864 | 989864 | 0 | 0 | 0
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 995854 | 996148 | -294 | 588000 | 0.588 | 999567 | 999567 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 993860 | 994689 | -829 | 1658000 | 1.658 | 999516 | 999516 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999640 | 999801 | -161 | 161000 | 0.161 | 27023 | 27218 | -195 | 195000 | 0.195
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 901 | 948 | -47 | 47000 | 0.047 | 61207 | 61207 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999888 | 999901 | -13 | 6500 | 0.0065 | 2133 | 2140 | -7 | 3500 | 0.0035
19 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2437 | 2407 | 30 | -20000.1 | -0.02 | 423 | 420 | 3 | -2000.01 | -0.002
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 970 | 868 | 102 | -51000 | -0.051 | 418 | 404 | 14 | -7000 | -0.007
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 61036 | 60685 | 351 | -35100 | -0.0351 | 1730 | 1729 | 1 | -100 | -0.0001
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999719 | 999721 | -2 | 266.66 | 0.00026666 | 362 | 362 | 0 | 0 | 0
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 995933 | 996268 | -335 | 33500 | 0.0335 | 3210 | 3238 | -28 | 2800 | 0.0028
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8034 | 8050 | -16 | 1600 | 0.0016 | 13496 | 13488 | 8 | -800 | -0.0008
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 10773 | 10717 | 56 | -5600 | -0.0056 | 3090 | 3003 | 87 | -8700 | -0.0087
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 29804 | 29756 | 48 | -4800 | -0.0048 | 8589 | 8467 | 122 | -12200 | -0.0122
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 20150 | 20150 | 0 | 0 | 0 | 59190 | 50820 | 8370 | 8370 | 0.00837
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 7600 | 6820 | 780 | 780 | 0.00078 | 181370 | 170720 | 10650 | 10650 | 0.01065
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 44100 | 42100 | 2000 | 2000 | 0.002 | 582600 | 550300 | 32300 | 32300 | 0.0323
[10 empty] | 4.5871 |  |  |  |  | 0.23455
NOVEMBER-2020
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -26.5657 |  |  |  |  | -0.20211
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 4.5871 |  |  |  |  | 0.23455
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.16553 |  |  |  |  | -0.022888
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -22.1441 |  |  |  |  | 0.009555
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -12.193 |  |  |  |  | -0.098
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -34.3371 |  |  |  |  | -0.088445
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -34.3371 | (REACTIVE MUs) |  |  |  | -0.088445 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.1126 | (REACTIVE MUs) |  |  |  | -0.015218 | (REACTIVE MUs)
[9 empty] | TOTAL | -38.4497 | (REACTIVE MUs) |  |  |  | -0.10366 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | NOVEMBER-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 998808 | 998871 | -63 | -315000 | -0.315 | 998771 | 998774 | -3 | -15000 | -0.015
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 979808 | 980033 | -225 | -299999.25 | -0.3 | 670549 | 670558 | -9 | -11999.97 | -0.012
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 988397 | 989578 | -1181 | -236200 | -0.2362 | 1316 | 1354 | -38 | -7600 | -0.0076
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 209 | 327 | -118 | -157332.94 | -0.15733 | 999772 | 999770 | 2 | 2666.66 | 0.0026667
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 998714 | 999001 | -287 | -430500 | -0.4305 | 999979 | 999980 | -1 | -1500 | -0.0015
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 14016 | 14550 | -534 | -53400 | -0.0534 | 21911 | 21934 | -23 | -2300 | -0.0023
7 | BAY-37 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 75 | 993267 | 997917 | -4650 | -348750 | -0.34875 | 999959 | 999989 | -30 | -2250 | -0.00225 | w.e.f 20/10
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 956144 | 965905 | -9761 | -732075 | -0.73208 | 17379 | 17382 | -3 | -225 | -0.000225
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 900 | 998181 | 998472 | -291 | -261900 | -0.2619 | 999857 | 999871 | -14 | -12600 | -0.0126
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 993229 | 994152 | -923 | -92300 | -0.0923 | 265168 | 265175 | -7 | -700 | -0.0007
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0 | under ShutDown
|  | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.667 | 74 | 0 | 74 | -493333.358 | -0.49333 | 0 | 0 | 0 | 0 | 0 | w.e.f 5/11
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15148 | 14421 | 727 | -727000 | -0.727 | 996507 | 996491 | 16 | -16000 | -0.016
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2429 | 2394 | 35 | -70000 | -0.07 | 997062 | 997043 | 19 | -38000 | -0.038
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16393 | 16195 | 198 | -198000 | -0.198 | 996330 | 996319 | 11 | -11000 | -0.011
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 953491 | 953429 | 62 | -62000 | -0.062 | 989453 | 988820 | 633 | -633000 | -0.633
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 99376 | 96441 | 2935 | -2935000 | -2.935 | 18974 | 18974 | 0 | 0 | 0
[10 empty] | 1.3022 | [5 empty] | Last month assessment
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 74637 | 72332 | 2305 | -1152500 | -1.1525 | 36053 | 35958 | 95 | -47500 | -0.0475
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 19994 | 18257 | 1737 | -3474000 | -3.474 | 998486 | 998482 | 4 | -8000 | -0.008
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 937873 | 938853 | -980 | 980000 | 0.98 | 813999 | 814021 | -22 | 22000 | 0.022
[5 empty] | -1000 | 939072 | 939083 | -11 | 11000 | 0.011
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 26855 | 20145 | 6710 | -5368000 | -5.368 | 1115 | 1112 | 3 | -2400 | -0.0024
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 68053 | 63545 | 4508 | -3606400 | -3.6064 | 998227 | 998226 | 1 | -800 | -0.0008
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964679 | 965316 | -637 | 637000 | 0.637 | 961019 | 961020 | -1 | 1000 | 0.001
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 969748 | 971047 | -1299 | 2598000 | 2.598 | 992244 | 992244 | 0 | 0 | 0
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 918840 | 919111 | -271 | 542000 | 0.542 | 983804 | 983804 | 0 | 0 | 0
[5 empty] | -2000 | 919734 | 920209 | -475 | 950000 | 0.95
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10320 | 10253 | 67 | -67000 | -0.067 | 997129 | 997129 | 0 | 0 | 0
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5416 | 5095 | 321 | -321000 | -0.321 | 53 | 53 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980558 | 980251 | 307 | -307000 | -0.307 | 9 | 9 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 185461 | 184582 | 879 | -879000 | -0.879 | 56117 | 56105 | 12 | -12000 | -0.012
[5 empty] | -1000 | 179781 | 178573 | 1208 | -1208000 | -1.208
[5 empty] | -1000 | 176620 | 173768 | 2852 | -2852000 | -2.852
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 2656 | 2656 | 0 | 0 | 0 | 36 | 36 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 342 | 343 | -1 | -800 | -0.0008 | 627 | 627 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 949828 | 951424 | -1596 | 1596000 | 1.596 | 965552 | 965552 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978993 | 979241 | -248 | 248000 | 0.248 | 984014 | 984014 | 0 | 0 | 0
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 70375 | 67300 | 3075 | -3075000 | -3.075 | 985569 | 985569 | 0 | 0 | 0
[5 empty] | -1000 | 63062 | 60572 | 2490 | -2490000 | -2.49
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 21151 | 18526 | 2625 | -2100000 | -2.1 | 999009 | 999009 | 0 | 0 | 0
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 37900 | 36580 | 1320 | -2112000 | -2.112 | 978831 | 978831 | 0 | 0 | 0
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997009 | 996718 | 291 | -582000 | -0.582 | 984351 | 984352 | -1 | 2000 | 0.002
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 6616 | 6102 | 514 | -257000 | -0.257 | 989778 | 989804 | -26 | 13000 | 0.013
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21724 | 21546 | 178 | -178000 | -0.178 | 31781 | 31783 | -2 | 2000 | 0.002
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1024 | 294 | 730 | -730000 | -0.73 | 996430 | 996429 | 1 | -1000 | -0.001
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000220 | 999921 | 299 | -299000 | -0.299 | 999914 | 999907 | 7 | -7000 | -0.007
BRPL(+) continue | [14 empty] | NOVEMBER-2020
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48309 | 47533 | 776 | -776000 | -0.776 | 999515 | 999514 | 1 | -1000 | -0.001
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9471 | 8713 | 758 | -758000 | -0.758 | 69 | 64 | 5 | -5000 | -0.005
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3662 | 2394 | 1268 | -1268000 | -1.268 | 999548 | 999548 | 0 | 0 | 0
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2063 | 456 | 1607 | -1607000 | -1.607 | 222 | 217 | 5 | -5000 | -0.005
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2568 | 1457 | 1111 | -1111000 | -1.111 | 924911 | 924913 | -2 | 2000 | 0.002
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40520 | 38474 | 2046 | -2046000 | -2.046 | 9827 | 9823 | 4 | -4000 | -0.004
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1215 | 299 | 916 | -1832000 | -1.832 | 999595 | 999594 | 1 | -2000 | -0.002
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 66829 | 65486 | 1343 | -1343000 | -1.343 | 997176 | 997176 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38166 | 34406 | 3760 | -7520000 | -7.52 | 999381 | 999381 | 0 | 0 | 0
DIAL
50 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 9319 | 8958 | 361 | -722000 | -0.722 | 2686 | 2686 | 0 | 0 | 0
51 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7540 | 7116 | 424 | -848000 | -0.848 | 1519 | 1519 | 0 | 0 | 0
MASJID MOD
52 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 912983 | 914186 | -1203 | 1203000 | 1.203 | 979168 | 979168 | 0 | 0 | 0
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994823 | 996093 | -1270 | 1270000 | 1.27 | 994716 | 994716 | 0 | 0 | 0
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996876 | 997613 | -737 | 737000 | 0.737 | 987095 | 987095 | 0 | 0 | 0
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999136 | 999623 | 0 | 0 | 0 | 999994 | 999994 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 981779 | 981779 | 0 | 0 | 0 | 612 | 612 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 945402 | 948552 | -3150 | -2520000 | -2.52 | 999488 | 999488 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999180 | 999421 | -241 | -192800 | -0.1928 | 999835 | 999835 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 996095 | 996437 | -342 | -273600 | -0.2736 | 43 | 43 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 993276 | 993860 | -584 | -1168000 | -1.168 | 999516 | 999516 | 0 | 0 | 0
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 82720 | 77771 | 4949 | -9898000 | -9.898 | 923 | 923 | 0 | 0 | 0
64 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19878 | 17556 | 2322 | -2322000 | -2.322 | 2877 | 2874 | 3 | -3000 | -0.003
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 117114 | 116405 | 709 | -709000 | -0.709 | 1468 | 1468 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 18307 | 17491 | 816 | 81600 | 0.0816 | 143432 | 143426 | 6 | 600 | 0.0006
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997341 | 997426 | -85 | -15937.5 | -0.015938 | 999852 | 999853 | -1 | -187.5 | -0.0001875
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 947047 | 949080 | -2033 | -813200 | -0.8132 | 993083 | 993083 | 0 | 0 | 0
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 9635 | 9413 | 222 | 88800 | 0.0888 | 73275 | 73275 | 0 | 0 | 0
[10 empty] | 0.4904 | [5 empty] | Last month assessment
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 912341 | 913104 | -763 | -610400 | -0.6104 | 997978 | 997978 | 0 | 0 | 0
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 452225 | 449932 | 2293 | 229300 | 0.2293 | 86244 | 86243 | 1 | 100 | 0.0001
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3745 | 4013 | -268 | -268000 | -0.268 | 1881 | 1881 | 0 | 0 | 0
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10809 | 10809 | 0 | 0 | 0 | 23689 | 23695 | -6 | -450 | -0.00045
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5309 | 5309 | 0 | 0 | 0 | 16656 | 16588 | 68 | 6800 | 0.0068
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9254 | 9067 | 187 | 93500 | 0.0935 | 3218 | 3218 | 0 | 0 | 0
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998599 | 999081 | -482 | -482000 | -0.482 | 4217 | 4217 | 0 | 0 | 0
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985390 | 985743 | -353 | -353000 | -0.353 | 943 | 943 | 0 | 0 | 0
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6481 | 6348 | 133 | 133000 | 0.133 | 6690 | 6690 | 0 | 0 | 0
80 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 3044 | 3621 | -577 | -92320 | -0.09232 | 1499 | 1499 | 0 | 0 | 0
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 3500 | 4141 | -641 | -64100 | -0.0641 | 909990 | 909985 | 5 | 500 | 0.0005
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4317 | 4167 | 150 | 150000 | 0.15 | 1113 | 1113 | 0 | 0 | 0
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4648 | 4668 | -20 | -20000 | -0.02 | 7430 | 7430 | 0 | 0 | 0
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 996002 | 996532 | -530 | -106000 | -0.106 | 14627 | 14627 | 0 | 0 | 0
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 991998 | 992655 | -657 | -123187.5 | -0.12319 | 5409 | 5410 | -1 | -187.5 | -0.0001875
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 990928 | 991631 | -703 | -131812.5 | -0.13181 | 4076 | 4078 | -2 | -375 | -0.000375
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4417 | 4296 | 121 | 30250 | 0.03025 | 8039 | 8038 | 1 | 250 | 0.00025
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 997361 | 997455 | -94 | -9400 | -0.0094 | 29774 | 29774 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -65.1042 |  |  |  |  | -0.79916
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21645 | 21886 | -241 | 120500 | 0.1205 | 4883 | 4883 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993732 | 993852 | -120 | 15999.6 | 0.016 | 7958 | 8050 | -92 | 12266.36 | 0.012266
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1332 | 1277 | 55 | -55000 | -0.055 | 999099 | 999091 | 8 | -8000 | -0.008
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994910 | 995639 | -729 | 729000 | 0.729 | 2251 | 2251 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 8403 | 9003 | -600 | 96000 | 0.096 | 29916 | 29924 | -8 | 1280 | 0.00128
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3739 | 3846 | -107 | 21400 | 0.0214 | 8324 | 8337 | -13 | 2600 | 0.0026
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981416 | 982703 | -1287 | 1287000 | 1.287 | 999249 | 999249 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102715 | 102659 | 56 | -5600 | -0.0056 | 75966 | 75959 | 7 | -700 | -0.0007
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4844 | 4863 | -19 | 1900 | 0.0019 | 1374 | 1374 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 14339 | 17111 | -2772 | 277200 | 0.2772 | 70821 | 70821 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999905 | 999906 | -1 | -833.33 | -0.00083333 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 1443 | 1443 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999487 | -5 | 500 | 0.0005 | 999526 | 999544 | -18 | 1800 | 0.0018
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3084 | 3091 | -7 | 700 | 0.0007 | 30908 | 30914 | -6 | 600 | 0.0006
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 775 | 775 | 0 | 0 | 0 | 561 | 561 | 0 | 0 | 0
21 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3179 | 3179 | 0 | 0 | 0 | 1615 | 1615 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
|  | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 18/11
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2091 | 1980 | 111 | -11100 | -0.0111 | 3405 | 3374 | 31 | -3100 | -0.0031
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995633 | 995632 | 1 | 400 | 0.0004 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999880 | 999880 | 0 | 0 | 0 | 999438 | 999438 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 995094 | 994813 | 281 | -224800 | -0.2248 | 6136 | 6136 | 0 | 0 | 0
[5 empty] | -800 | 994280 | 994186 | 94 | -75200 | -0.0752
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990770 | 991588 | -818 | 818000 | 0.818 | 2188 | 2204 | -16 | 16000 | 0.016
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1916 | 1995 | -79 | 59250 | 0.05925 | 3312 | 3312 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 3.0553 |  |  |  |  | 0.022746
NOVEMBER-2020
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -65.1042 |  |  |  |  | -0.79916
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 3.0553 |  |  |  |  | 0.022746
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.83555 |  |  |  |  | -0.0105
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.00875 |  |  |  |  | -0.016725
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -62.8932 |  |  |  |  | -0.80364
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -62.8932 | (REACTIVE MUs) |  |  |  | -0.80364 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -7.7938 | (REACTIVE MUs) |  |  |  | -0.028839 | (REACTIVE MUs)
[9 empty] | TOTAL | -70.687 | (REACTIVE MUs) |  |  |  | -0.83248 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3425 | 3620 | -195 | -52000.65 | -0.052001 | 2219 | 2219 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 112621 | 111491 | 1130 | 113000 | 0.113 | 152455 | 152455 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 987556 | 988391 | -835 | -167000 | -0.167 | 999330 | 999330 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 612 | 576 | 36 | 36000 | 0.036 | 22 | 22 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 2521 | 2587 | -66 | -52800 | -0.0528 | 2627 | 2626 | 1 | 800 | 0.0008
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3214 | 3403 | -189 | -151200 | -0.1512 | 1313 | 1314 | -1 | -800 | -0.0008
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 988868 | 989906 | -1038 | -830400 | -0.8304 | 998890 | 998901 | -11 | -8800 | -0.0088
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 955630 | 956861 | -1231 | -984800 | -0.9848 | 980433 | 980446 | -13 | -10400 | -0.0104
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 959431 | 959468 | -37 | -29600 | -0.0296 | 989864 | 989864 | 0 | 0 | 0
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 995854 | 996148 | -294 | -588000 | -0.588 | 999567 | 999567 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 965310 | 967373 | -2063 | -103150 | -0.10315 | 19966 | 20041 | -75 | -3750 | -0.00375
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 974402 | 974444 | -42 | -3150 | -0.00315 | 22554 | 22554 | 0 | 0 | 0
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998593 | 998728 | -135 | -67500 | -0.0675 | 5472 | 5476 | -4 | -2000 | -0.002
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 996853 | 997101 | -248 | -93000 | -0.093 | 7350 | 7364 | -14 | -5250 | -0.00525
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 987571 | 989496 | -1925 | -192500 | -0.1925 | 999434 | 999516 | -82 | -8200 | -0.0082
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 11872 | 12161 | -289 | -21675 | -0.021675 | 40578 | 40591 | -13 | -975 | -0.000975
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 8879 | 9692 | -813 | -81300 | -0.0813 | 2061 | 2063 | -2 | -200 | -0.0002
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995325 | 995555 | -230 | -230000 | -0.23 | 104716 | 104777 | -61 | -61000 | -0.061
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993755 | 994289 | -534 | -534000 | -0.534 | 2561 | 2627 | -66 | -66000 | -0.066
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 984891 | 985050 | -159 | -159000 | -0.159 | 145290 | 145317 | -27 | -27000 | -0.027
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998999 | 999175 | -176 | -440000 | -0.44 | 434 | 452 | -18 | -45000 | -0.045
[10 empty] | -1.363 |  |  |  |  | -0.199
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994910 | 995639 | -729 | -729000 | -0.729 | 2251 | 2251 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 8403 | 9003 | -600 | -96000 | -0.096 | 29916 | 29924 | -8 | -1280 | -0.00128
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3739 | 3846 | -107 | -21400 | -0.0214 | 8324 | 8337 | -13 | -2600 | -0.0026
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981416 | 982703 | -1287 | -1287000 | -1.287 | 999249 | 999249 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998665 | 998665 | 0 | 0 | 0 | 16621 | 16621 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999905 | 999906 | -1 | 833.33 | 0.00083333 | 999569 | 999569 | 0 | 0 | 0
NOVEMBER-2020
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996152 | 996063 | 89 | -89000 | -0.089 | 990011 | 990012 | -1 | 1000 | 0.001
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997442 | 997351 | 91 | -91000 | -0.091 | 995810 | 995810 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997533 | 997455 | 78 | -156000 | -0.156 | 996808 | 996808 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999040 | 998903 | 137 | -137000 | -0.137 | 995929 | 995929 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 1443 | 1443 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102715 | 102659 | 56 | 5600 | 0.0056 | 75966 | 75959 | 7 | 700 | 0.0007
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4844 | 4863 | -19 | -1900 | -0.0019 | 1374 | 1374 | 0 | 0 | 0
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 14339 | 17111 | -2772 | -277200 | -0.2772 | 70821 | 70821 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21645 | 21886 | -241 | -120500 | -0.1205 | 4883 | 4883 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 452225 | 449932 | 2293 | -229300 | -0.2293 | 86244 | 86243 | 1 | -100 | -0.0001
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3745 | 4013 | -268 | 268000 | 0.268 | 1881 | 1881 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10809 | 10809 | 0 | 0 | 0 | 23689 | 23695 | -6 | 450 | 0.00045
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5309 | 5309 | 0 | 0 | 0 | 16656 | 16588 | 68 | -6800 | -0.0068
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -7.5929 |  |  |  |  | -0.24721
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -7.5929 |  |  |  |  | -0.24721
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.74282 |  |  |  |  | -0.0027487
| TOTAL ENERGY TO NDMC | [8 empty] | -8.3358 |  |  |  |  | -0.24995

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2020
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3318 | 3668 | -350 | -70000 | -0.07 | 65232 | 65297 | -65 | -13000 | -0.013
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999738 | 1000034 | -296 | -47360 | -0.04736 | 22952 | 22757 | 195 | 31200 | 0.0312
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4486 | 4513 | -27 | -27000 | -0.027 | 58277 | 58279 | -2 | -2000 | -0.002
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 275 | 165 | 110 | 44000 | 0.044 | 18152 | 17962 | 190 | 76000 | 0.076
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999699 | 999987 | -288 | -230400 | -0.2304 | 705 | 705 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1959 | 1527 | 432 | 172800 | 0.1728 | 5365 | 5365 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1332 | 1277 | 55 | 55000 | 0.055 | 999099 | 999091 | 8 | 8000 | 0.008
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.10296 |  |  |  |  | 0.1002
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865082 | ELSTER | Kvarh(Lead/Lag) | 50 | 19258 | 19296 | -38 | -1900 | -0.0019 | 17329 | 17323 | 6 | 300 | 0.0003 | Check Data
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 855 | 853 | 2 | 75 | 7.5e-05 | 118 | 72 | 46 | 1725 | 0.001725
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 3558 | 3417 | 141 | 10575 | 0.010575 | 27773 | 27577 | 196 | 14700 | 0.0147
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 767 | 767 | 0 | 0 | 0 | 1710 | 1710 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4368 | 4368 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.00875 |  |  |  |  | 0.016725
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.10296 |  |  |  |  | 0.1002
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.09421 |  |  |  |  | 0.11693
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.09421 | (REACTIVE MUs) |  |  |  | 0.11693 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.17637 | (REACTIVE MUs) |  |  |  | -0.00065264 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.27058 | (REACTIVE MUs) |  |  |  | 0.11627 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2020
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 990072 | 989797 | 275 | 171875 | 0.17188 | 999997 | 999993 | 4 | 2500 | 0.0025
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 990655 | 990758 | -103 | -64375 | -0.064375 | 999856 | 999858 | -2 | -1250 | -0.00125
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 995094 | 994813 | 281 | 224800 | 0.2248 | 6136 | 6136 | 0 | 0 | 0
[5 empty] | 800 | 994280 | 994186 | 94 | 75200 | 0.0752
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 20150 | 20150 | 0 | 0 | 0 | 59190 | 50820 | 8370 | -8370 | -0.00837
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 7600 | 6820 | 780 | -780 | -0.00078 | 181370 | 170720 | 10650 | -10650 | -0.01065
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 44100 | 42100 | 2000 | -2000 | -0.002 | 582600 | 550300 | 32300 | -32300 | -0.0323
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.40472 |  |  |  |  | -0.05007
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.076359 |  |  |  |  | -0.00028255
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.32836 |  |  |  |  | -0.050353

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2020
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 946669 | 949794 | -3125 | -312500 | -0.3125 | 1898 | 1898 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 56019 | 57045 | -1026 | -102600 | -0.1026 | 6301 | 6301 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 17053 | 17261 | -208 | -104000 | -0.104 | 4010 | 4031 | -21 | -10500 | -0.0105
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998373 | 998753 | -380 | -356250 | -0.35625 | 999791 | 999791 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993784 | 993908 | -124 | 124000 | 0.124 | 999637 | 999637 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 992615 | 992446 | 169 | -84500 | -0.0845 | 999932 | 999932 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 230 | 1 | 300 | 0.0003 | 12 | 12 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.83555 |  |  |  |  | -0.0105
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 969861 | 970548 | -687 | -137400 | -0.1374 | 996751 | 996842 | -91 | -18200 | -0.0182
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 987809 | 987839 | -30 | -28125 | -0.028125 | 999568 | 999573 | -5 | -4687.5 | -0.0046875
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.16553 |  |  |  |  | -0.022888
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1825 | 1871 | -46 | -57500 | -0.0575 | 999230 | 999236 | -6 | -7500 | -0.0075
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 367947 | 369385 | -1438 | -143800 | -0.1438 | 264774 | 264723 | 51 | 5100 | 0.0051
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 335014 | 337108 | -2094 | -130875 | -0.13087 | 62927 | 62844 | 83 | 5187.5 | 0.0051875
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 1254 | 1364 | -110 | -88000 | -0.088 | 1001 | 1092 | -91 | -72800 | -0.0728
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 953289 | 954127 | -838 | -167600 | -0.1676 | 998511 | 998511 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 989627 | 990355 | -728 | -109200 | -0.1092 | 988174 | 988130 | 44 | 6600 | 0.0066
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997177 | 997237 | -60 | 150000 | 0.15 | 3042 | 3042 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 230 | 1 | -300 | -0.0003 | 12 | 12 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.54727 |  |  |  |  | -0.063413
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.83555 |  |  |  |  | -0.0105
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.16553 |  |  |  |  | -0.022888
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.54727 |  |  |  |  | -0.063413

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2020
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 103946 | 101441 | 2505 | 2505000 | 2.505 | 26118 | 25955 | 163 | 163000 | 0.163
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 5902 | 4829 | 1073 | 2146000 | 2.146 | 803 | 747 | 56 | 112000 | 0.112
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 927264 | 931235 | -3971 | 1985500 | 1.9855 | 998044 | 998044 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 479565 | 482079 | -2514 | 251400 | 0.2514 | 984121 | 984121 | 0 | 0 | 0
[5 empty] | -100 | 483118 | 484349 | -1231 | 123100 | 0.1231
[7 empty] | NET REACTIVE ENERGY |  |  | 7.011 |  | NET REACTIVE ENERGY |  |  | 0.275
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 7.011 |  |  |  |  | 0.275
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -18.1166 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -6.9218 |  |  |  |  | -0.14775
[7 empty] | NDMC = |  |  | -1.363 |  |  |  |  | -0.199
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -26.4014 |  |  |  |  | -0.34675
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -19.3904 |  |  |  |  | -0.07175
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 33.4621 | % |  |  | -6.4884 |  |  |  |  | -0.024009
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.1941 | % |  |  | -7.7938 |  |  |  |  | -0.028839
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.2095 | % |  |  | -4.1126 |  |  |  |  | -0.015218
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.8309 | % |  |  | -0.74282 |  |  |  |  | -0.0027487
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.9096 | % |  |  | -0.17637 |  |  |  |  | -0.00065264
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.3938 | % |  |  | -0.076359 |  |  |  |  | -0.00028255
Note :Sharing taken from wk-35 abt bill 2020-21

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st November-2020 TO 30th November-2020
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -78.134 |  | -0.38624
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -70.687 |  | -0.83248
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -38.4497 |  | -0.10366
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -8.3358 |  | -0.24995
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.27058 | + | 0.11627
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.32836 |  | -0.050353
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2020 | INTIAL READING 01/11/2020 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83