## NDPL
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22845 | 23593 | -748 | 748000 | 0.748 | 979291 | 979293 | -2 | 2000 | 0.002
2 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 369 | 581 | -212 | 212000 | 0.212 | 994397 | 994431 | -34 | 34000 | 0.034
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20818 | 20570 | 248 | -248000 | -0.248 | 1262 | 1263 | -1 | 1000 | 0.001
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974158 | 974127 | 31 | -31000 | -0.031 | 988785 | 989208 | -423 | 423000 | 0.423
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 927183 | 928118 | -935 | 935000 | 0.935 | 960753 | 960792 | -39 | 39000 | 0.039
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16549 | 15308 | 1241 | -1241000 | -1.241 | 9063 | 8881 | 182 | -182000 | -0.182
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17502 | 16204 | 1298 | -1298000 | -1.298 | 6315 | 6101 | 214 | -214000 | -0.214
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15323 | 13043 | 2280 | -2280000 | -2.28 | 995944 | 995923 | 21 | -21000 | -0.021
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10836 | 9369 | 1467 | -1467000 | -1.467 | 988331 | 988358 | -27 | 27000 | 0.027
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35974 | 35688 | 286 | -286000 | -0.286 | 9992 | 9991 | 1 | -1000 | -0.001
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3674 | 4501 | -827 | 827000 | 0.827 | 4236 | 4239 | -3 | 3000 | 0.003
12 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 977181 | 980020 | -2839 | -2839000 | -2.839 | 920613 | 920614 | -1 | -1000 | -0.001
NARELA
13 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997630 | 998031 | -401 | 401000 | 0.401 | 15276 | 15284 | -8 | 8000 | 0.008
14 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998136 | 998261 | -125 | 125000 | 0.125 | 18345 | 18282 | 63 | -63000 | -0.063
15 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 755 | 716 | 39 | -39000 | -0.039 | 20078 | 20017 | 61 | -61000 | -0.061
NARAINA
16 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999892 | 1000133 | -241 | -241000 | -0.241 | 31475 | 31443 | 32 | 32000 | 0.032 | ROLL OVER
17 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 229 | 301 | -72 | -72000 | -0.072 | 26052 | 26001 | 51 | 51000 | 0.051
18 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 1546 | 804 | 742 | 74200 | 0.0742 | 97019 | 96760 | 259 | 25900 | 0.0259
19 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 1998 | 1496 | 502 | 50200 | 0.0502 | 150537 | 149815 | 722 | 72200 | 0.0722
20 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996538 | 997045 | -507 | -507000 | -0.507 | 998947 | 998935 | 12 | 12000 | 0.012
KASHMIRI GATE
21 | 220 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 50 | 657610 | 659449 | -1839 | -91950 | -0.09195 | 803813 | 804252 | -439 | -21950 | -0.02195 | ICT BYPASSED ON 16/11/2011
21 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 657347 | 657610 | -263 | -263000 | -0.263 | 803807 | 803813 | -6 | -6000 | -0.006
22 | 220 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 50 | 664742 | 665962 | -1220 | -61000 | -0.061 | 834946 | 835007 | -61 | -3050 | -0.00305 | ICT BYPASSED ON 16/11/2011
22 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 664443 | 664742 | -299 | -299000 | -0.299 | 834929 | 834946 | -17 | -17000 | -0.017
23 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992450 | 992329 | 121 | 121000 | 0.121 | 998659 | 998658 | 1 | 1000 | 0.001
24 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 100 | 993154 | 991743 | 1411 | 141100 | 0.1411 | 11906 | 11898 | 8 | 800 | 0.0008
KANJAWALA
25 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3489 | 1872 | 1617 | -1617000 | -1.617 | 979906 | 979795 | 111 | -111000 | -0.111
26 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997078 | 997215 | -137 | 137000 | 0.137 | 950789 | 950914 | -125 | 125000 | 0.125
BAWANA
27 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995072 | 995856 | -784 | 784000 | 0.784 | 959570 | 959917 | -347 | 347000 | 0.347
EXPORT TO EAST & CENTRE
IMPORTS
SHASTRI PARK
28 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 389 | 349 | 40 | 40000 | 0.04 | 12960 | 12741 | 219 | 219000 | 0.219
29 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998942 | 998947 | -5 | -5000 | -0.005 | 3207 | 3146 | 61 | 61000 | 0.061
| NDPL(+) continue | [14 empty] | NOVEMBER 2010
DMS
30 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 177 | 54 | 123 | 123000 | 0.123 | 50188 | 49878 | 310 | 310000 | 0.31
REWARI LINE
31 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 7772 | 7594 | 178 | 17800 | 0.0178 | 44195 | 43999 | 196 | 19600 | 0.0196
VISHAL
32 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 6047 | 6023 | 24 | 2400 | 0.0024 | 6729 | 6418 | 311 | 31100 | 0.0311
33 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 8062 | 8028 | 34 | 3400 | 0.0034 | 24900 | 24792 | 108 | 10800 | 0.0108
34 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13090 | 12815 | 275 | 27500 | 0.0275 | 32933 | 32316 | 617 | 61700 | 0.0617
S.B.MILL
35 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 26678 | 25223 | 1455 | 145500 | 0.1455 | 8520 | 8520 | 0 | 0 | 0
36 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 829 | 11 | 1100 | 0.0011 | 185 | 185 | 0 | 0 | 0
37 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
38 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
40 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 10848 | 9898 | 950 | 95000 | 0.095 | 8307 | 8307 | 0 | 0 | 0
41 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997847 | 997881 | -34 | -3400 | -0.0034 | 999973 | 999973 | 0 | 0 | 0
B.G.ROAD
42 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | 500 | 3196 | 3077 | 119 | 59500 | 0.0595 | 25778 | 25693 | 85 | 42500 | 0.0425
43 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 2975 | 2878 | 97 | 48500 | 0.0485 | 17581 | 17531 | 50 | 25000 | 0.025
44 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 2970 | 2877 | 93 | 46500 | 0.0465 | 11941 | 11926 | 15 | 7500 | 0.0075
45 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3005 | 2948 | 57 | 28500 | 0.0285 | 13589 | 13555 | 34 | 17000 | 0.017
D.M.S.
46 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999468 | 999564 | -96 | -9600 | -0.0096 | 4654 | 4633 | 21 | 2100 | 0.0021
47 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 940 | 793 | 147 | 14700 | 0.0147 | 11361 | 11326 | 35 | 3500 | 0.0035
48 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 3111 | 2595 | 516 | 51600 | 0.0516 | 43761 | 43661 | 100 | 10000 | 0.01
49 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 5821 | 5415 | 406 | 40600 | 0.0406 | 18762 | 18716 | 46 | 4600 | 0.0046
50 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999904 | 999939 | -35 | -3500 | -0.0035 | 284 | 273 | 11 | 1100 | 0.0011
51 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
52 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 662 | 578 | 84 | 8400 | 0.0084 | 53013 | 52383 | 630 | 63000 | 0.063
53 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 221 | 166 | 55 | 5500 | 0.0055 | 48326 | 47882 | 444 | 44400 | 0.0444
54 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 301 | 246 | 55 | 5500 | 0.0055 | 68958 | 68135 | 823 | 82300 | 0.0823
KASHMIRI GATE
55 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 79487 | 73751 | 5736 | 573600 | 0.5736 | 25627 | 25579 | 48 | 4800 | 0.0048
56 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 7124 | 6943 | 181 | 18100 | 0.0181 | 26030 | 25876 | 154 | 15400 | 0.0154
57 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 1000002 | 999999 | 3 | -900 | -0.0009 | 999944 | 999943 | 1 | -300 | -0.0003 | ROLL OVER
REWARI LINE (11KV TRANSFER OF ENERGY)
58 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | -100 | 341 | 341 | 0 | 0 | 0 | 839 | 839 | 0 | 0 | 0
59 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999472 | 999468 | 4 | 400 | 0.0004 | 999147 | 999145 | 2 | 200 | 0.0002
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -6.9908 |  |  |  |  | 1.5382
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER 2010
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 3822 | 3718 | 104 | -10400 | -0.0104 | 7336 | 7265 | 71 | -7100 | -0.0071
MANGOLPURI
2 | NANGLOI-1 EXP | 4864954 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4296 | 4314 | -18 | 18000 | 0.018 | 3264 | 3268 | -4 | 4000 | 0.004
3 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5398 | 4886 | 512 | -512000 | -0.512 | 3745 | 3562 | 183 | -183000 | -0.183
SUBZI MANDI
4 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3400 | 2781 | 619 | -123800 | -0.1238 | 3207 | 3120 | 87 | -17400 | -0.0174
5 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10421 | 9842 | 579 | -579000 | -0.579 | 10342 | 10336 | 6 | -6000 | -0.006
SUDARSHAN PARK
6 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 28784 | 28837 | -53 | 5300 | 0.0053 | 147543 | 147831 | -288 | 28800 | 0.0288
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
7 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
8 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986324 | 987993 | -1669 | 1669000 | 1.669 | 994079 | 994126 | -47 | 47000 | 0.047
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.4671 |  |  |  |  | -0.1337
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -6.9908 |  |  |  |  | 1.5382
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.4671 |  |  |  |  | -0.1337
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.765 |  |  |  |  | 0.0853
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -5.7587 |  |  |  |  | 1.4898
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.7587 | (REACTIVE MUs) |  |  |  | 1.4898 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.5588 | (REACTIVE MUs) |  |  |  | -1.4158 | (REACTIVE MUs)
[9 empty] | TOTAL | -6.3175 | (REACTIVE MUs) |  |  |  | 0.074037 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | NOVEMBER 2010
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 994756 | 994966 | -210 | -21000 | -0.021 | 65315 | 64771 | 544 | 54400 | 0.0544
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 13358 | 11425 | 1933 | 193300 | 0.1933 | 995419 | 995111 | 308 | 30800 | 0.0308
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 16807 | 16979 | -172 | -17200 | -0.0172 | 27068 | 27009 | 59 | 5900 | 0.0059
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 100 | 25 | 75 | 7500 | 0.0075 | 997115 | 996803 | 312 | 31200 | 0.0312
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8892 | 8656 | 236 | 23600 | 0.0236 | 67305 | 66218 | 1087 | 108700 | 0.1087
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 999444 | 999015 | 429 | 42900 | 0.0429 | 46711 | 46256 | 455 | 45500 | 0.0455
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 1000126 | 999978 | 148 | 148000 | 0.148 | ROLL OVER
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999937 | 999937 | 0 | 0 | 0 | 2418 | 2391 | 27 | 27000 | 0.027
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 77 | 77 | 0 | 0 | 0 | 982 | 737 | 245 | 245000 | 0.245
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 237 | 237 | 0 | 0 | 0 | 2494 | 2537 | -43 | -43000 | -0.043
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 223 | 223 | 0 | 0 | 0 | 1858 | 1800 | 58 | 58000 | 0.058
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 292 | 292 | 0 | 0 | 0 | 999510 | 998750 | 760 | 760000 | 0.76
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 30 | 30 | 0 | 0 | 0 | 12896 | 12793 | 103 | 103000 | 0.103
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 112 | 112 | 0 | 0 | 0 | 33050 | 32691 | 359 | 359000 | 0.359
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 263 | 263 | 0 | 0 | 0 | 6083 | 5946 | 137 | 137000 | 0.137
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 279 | 279 | 0 | 0 | 0 | 4815 | 4527 | 288 | 288000 | 0.288
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 26885 | 26676 | 209 | 20900 | 0.0209 | 418 | 418 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998963 | 998963 | 0 | 0 | 0 | 4570 | 3736 | 834 | 834000 | 0.834
| GT | [8 empty] | 0.0209 |  |  |  |  | 2.916
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 883716 | 888704 | -4988 | -5486800 | -5.4868
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 911886 | 914902 | -3016 | -3317600 | -3.3176
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998916 | 999363 | -447 | -447000 | -0.447 | 10124 | 10127 | -3 | -3000 | -0.003
KASHMIRI GATE
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967974 | 969261 | -1287 | 1287000 | 1.287 | 980642 | 980646 | -4 | 4000 | 0.004
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987889 | 989762 | -1873 | 1873000 | 1.873 | 987701 | 987794 | -93 | 93000 | 0.093
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 1000002 | 999999 | 3 | 900 | 0.0009 | 999944 | 999943 | 1 | 300 | 0.0003 | ROLL OVER
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 426 | 124 | 302 | 302000 | 0.302 | 48022 | 47731 | 291 | 291000 | 0.291
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 327 | 163 | 164 | -164000 | -0.164 | 980877 | 980856 | 21 | -21000 | -0.021
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1774 | 1660 | 114 | -114000 | -0.114 | 988067 | 988663 | -596 | 596000 | 0.596
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999035 | 1000013 | -978 | 978000 | 0.978 | 993403 | 993462 | -59 | 59000 | 0.059 | ROLL OVER
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999096 | 999806 | -710 | 710000 | 0.71 | 997915 | 998134 | -219 | 219000 | 0.219
IMPORTS
SUBZI MANDI
| O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3400 | 2781 | 619 | 123800 | 0.1238 | 3207 | 3120 | 87 | 17400 | 0.0174
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10421 | 9842 | 579 | 579000 | 0.579 | 10342 | 10336 | 6 | 6000 | 0.006
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 62426 | 61907 | 519 | 51900 | 0.0519 | 1633 | 1633 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 28652 | 28680 | -28 | -2800 | -0.0028 | 999407 | 999407 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 5.4278 |  |  |  |  | -4.3502
| (A) NET ENERGY TO CENTRAL | [8 empty] | 5.4278 |  |  |  |  | -4.3502
NOVEMBER 2010
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999089 | 999345 | -256 | 256000 | 0.256 | 962486 | 965607 | -3121 | 3121000 | 3.121
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16166 | 16334 | -168 | 168000 | 0.168 | 973799 | 974447 | -648 | 648000 | 0.648
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15614 | 15935 | -321 | 321000 | 0.321 | 965138 | 965778 | -640 | 640000 | 0.64
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986178 | 988427 | -2249 | 2249000 | 2.249 | 993846 | 993846 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976761 | 978767 | -2006 | 2006000 | 2.006 | 992116 | 992116 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1630 | 1642 | -12 | 12000 | 0.012 | 997195 | 997585 | -390 | 390000 | 0.39
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1147 | 1051 | 96 | -96000 | -0.096 | 984660 | 984626 | 34 | -34000 | -0.034
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -1000 | 908 | 965 | -57 | 57000 | 0.057 | 998004 | 998688 | -684 | 684000 | 0.684
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999903 | 999921 | -18 | 18000 | 0.018 | 985187 | 986074 | -887 | 887000 | 0.887
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13769 | 13835 | -66 | 66000 | 0.066 | 970622 | 971544 | -922 | 922000 | 0.922
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973140 | 973555 | -415 | 415000 | 0.415 | 933461 | 935701 | -2240 | 2240000 | 2.24
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20993 | 21219 | -226 | 226000 | 0.226 | 20636 | 20736 | -100 | 100000 | 0.1
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14714 | 14832 | -118 | 118000 | 0.118 | 28816 | 29044 | -228 | 228000 | 0.228
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 5.816 |  |  |  |  | 9.826
| (B) NET ENERGY TO EAST | [8 empty] | 5.816 |  |  |  |  | 9.826
6
NOVEMBER 2010
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992450 | 992329 | 121 | -121000 | -0.121 | 998659 | 998658 | 1 | -1000 | -0.001
2 | CIVIL LINE-2 | 4864800 | ELSTER | Kvarh(Lead/Lag) | -100 | 993154 | 991743 | 1411 | -141100 | -0.1411 | 11906 | 11898 | 8 | -800 | -0.0008
EXPORT TO NDMC
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -100 | 2680 | 2228 | 452 | -45200 | -0.0452 | 52964 | 52856 | 108 | -10800 | -0.0108
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 5366 | 2206 | 3160 | -316000 | -0.316 | 111486 | 111362 | 124 | -12400 | -0.0124
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -100 | 998174 | 999308 | -1134 | 113400 | 0.1134 | 4303 | 4314 | -11 | 1100 | 0.0011
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 5661 | 3584 | 2077 | -207700 | -0.2077 | 73101 | 72907 | 194 | -19400 | -0.0194
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32570 | 31478 | 1092 | -1092000 | -1.092 | 232 | 232 | 0 | 0 | 0
EXPORT TO SOUTH & WEST
8 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999948 | 999981 | -33 | 33000 | 0.033 | 36330 | 36474 | -144 | 144000 | 0.144
9 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 999927 | 1000010 | -83 | 110666.39 | 0.11067 | 688 | 733 | -45 | 59999.85 | 0.06 | ROLL OVER
EXPORT TO NORTH from SHASTRI PARK
10 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 389 | 349 | 40 | -40000 | -0.04 | 12960 | 12741 | 219 | -219000 | -0.219
11 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998942 | 998947 | -5 | 5000 | 0.005 | 3207 | 3146 | 61 | -61000 | -0.061
DMS
12 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 177 | 54 | 123 | -123000 | -0.123 | 50188 | 49878 | 310 | -310000 | -0.31
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
13 | CSA | 4902529 | ELSTER | Kvarh(Lead/Lag) | -500 | 3196 | 3077 | 119 | -59500 | -0.0595 | 25778 | 25693 | 85 | -42500 | -0.0425
14 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 2975 | 2878 | 97 | -48500 | -0.0485 | 17581 | 17531 | 50 | -25000 | -0.025
15 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 2970 | 2877 | 93 | -46500 | -0.0465 | 11941 | 11926 | 15 | -7500 | -0.0075
16 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3005 | 2948 | 57 | -28500 | -0.0285 | 13589 | 13555 | 34 | -17000 | -0.017
KASHMIRI GATE
17 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 79487 | 73751 | 5736 | -573600 | -0.5736 | 25627 | 25579 | 48 | -4800 | -0.0048
18 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 7124 | 6943 | 181 | -18100 | -0.0181 | 26030 | 25876 | 154 | -15400 | -0.0154
D.M.S.
19 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999468 | 999564 | -96 | 9600 | 0.0096 | 4654 | 4633 | 21 | -2100 | -0.0021
20 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 940 | 793 | 147 | -14700 | -0.0147 | 11361 | 11326 | 35 | -3500 | -0.0035
21 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 3111 | 2595 | 516 | -51600 | -0.0516 | 43761 | 43661 | 100 | -10000 | -0.01
22 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 5821 | 5415 | 406 | -40600 | -0.0406 | 18762 | 18716 | 46 | -4600 | -0.0046
23 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999904 | 999939 | -35 | 3500 | 0.0035 | 284 | 273 | 11 | -1100 | -0.0011
24 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
25 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 662 | 578 | 84 | -8400 | -0.0084 | 53013 | 52383 | 630 | -63000 | -0.063
26 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 221 | 166 | 55 | -5500 | -0.0055 | 48326 | 47882 | 444 | -44400 | -0.0444
27 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 301 | 246 | 55 | -5500 | -0.0055 | 68958 | 68135 | 823 | -82300 | -0.0823
[10 empty] | -2.7118 |  |  |  |  | -0.7525
NOVEMBER 2010
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 5.4278 |  |  |  |  | -4.3502
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -2.7118 |  |  |  |  | -0.7525
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.175 |  |  |  |  | 0.04
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 1.541 |  |  |  |  | -5.0627
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 5.816 |  |  |  |  | 9.826
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 7.357 |  |  |  |  | 4.7633
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 7.357 | (REACTIVE MUs) |  |  |  | 4.7633 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.48397 | (REACTIVE MUs) |  |  |  | -1.2262 | (REACTIVE MUs)
[9 empty] | TOTAL | 6.873 | (REACTIVE MUs) |  |  |  | 3.5371 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | NOVEMBER 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999630 | 999716 | -86 | -86000 | -0.086 | 11973 | 11997 | -24 | -24000 | -0.024
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 100 | 14089 | 16314 | -2225 | -222500 | -0.2225 | 681257 | 681180 | 77 | 7700 | 0.0077
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5267 | 4738 | 529 | 529000 | 0.529 | 43002 | 42943 | 59 | 59000 | 0.059
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9115 | 8942 | 173 | 173000 | 0.173 | 351 | 338 | 13 | 13000 | 0.013
5 | BAY-54 | 4864826 | ELSTER | Kvarh(Lead/Lag) | 200 | 3938 | 3470 | 468 | 93600 | 0.0936 | 986989 | 986940 | 49 | 9800 | 0.0098
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 2558 | 2451 | 107 | 10700 | 0.0107 | 78243 | 77684 | 559 | 55900 | 0.0559
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 21500 | 23365 | -1865 | -186500 | -0.1865 | 269077 | 269098 | -21 | -2100 | -0.0021
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 999552 | 999784 | -232 | -23200 | -0.0232 | 325830 | 325693 | 137 | 13700 | 0.0137
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999979 | 999958 | 21 | 21000 | 0.021 | 10498 | 9964 | 534 | 534000 | 0.534
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997363 | 998413 | -1050 | 1050000 | 1.05 | 968499 | 969208 | -709 | 709000 | 0.709
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996300 | 997564 | -1264 | 1264000 | 1.264 | 970241 | 970710 | -469 | 469000 | 0.469
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995744 | 997544 | -1800 | 1800000 | 1.8 | 963431 | 963760 | -329 | 329000 | 0.329
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998452 | 998462 | -10 | 10000 | 0.01 | 971570 | 971769 | -199 | 199000 | 0.199
PAAPANKALAN-II
14 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5031 | 3319 | 1712 | -1712000 | -1.712 | 31631 | 31625 | 6 | -6000 | -0.006
15 | Tx.2 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999857 | 1000424 | -567 | 567000 | 0.567 | 979718 | 979758 | -40 | 40000 | 0.04 | ROLL OVER
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37216 | 37326 | -110 | 110000 | 0.11 | 27672 | 27747 | -75 | 75000 | 0.075
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5097 | 5104 | -7 | 7000 | 0.007 | 14091 | 14179 | -88 | 88000 | 0.088
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23504 | 23938 | -434 | 434000 | 0.434 | 14663 | 14737 | -74 | 74000 | 0.074
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8866 | 8866 | 0 | 0 | 0 | 40071 | 40071 | 0 | 0 | 0
IMPORT
MANGOLPURI
20 | NANGLOI-1 (03) IMP. | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4296 | 4314 | -18 | -18000 | -0.018 | 3264 | 3268 | -4 | -4000 | -0.004
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5398 | 4886 | 512 | 512000 | 0.512 | 3745 | 3562 | 183 | 183000 | 0.183
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984841 | 986063 | -1222 | 1222000 | 1.222 | 910292 | 910341 | -49 | 49000 | 0.049
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997854 | 998357 | -503 | 503000 | 0.503 | 889160 | 889847 | -687 | 687000 | 0.687
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 307 | 307 | 0 | 0 | 0 | 7711 | 10146 | -2435 | 2435000 | 2.435
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 445 | 445 | 0 | 0 | 0 | 730 | 2988 | -2258 | 2258000 | 2.258
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996901 | 996281 | 620 | -620000 | -0.62 | 959827 | 959838 | -11 | 11000 | 0.011
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994536 | 994536 | 0 | 0 | 0 | 977143 | 977143 | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999645 | 999645 | 0 | 0 | 0 | 964976 | 968172 | -3196 | 3196000 | 3.196
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999082 | 999082 | 0 | 0 | 0 | 960949 | 965438 | -4489 | 4489000 | 4.489
BRPL(+) continue | [14 empty] | NOVEMBER 2010
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 457 | 611 | -154 | 154000 | 0.154 | 979302 | 979551 | -249 | 249000 | 0.249
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1668 | 1826 | -158 | 158000 | 0.158 | 995938 | 996214 | -276 | 276000 | 0.276
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 989578 | 989527 | 51 | -102000 | -0.102 | 982313 | 982454 | -141 | 282000 | 0.282
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999139 | 999665 | -526 | 526000 | 0.526 | 952025 | 953238 | -1213 | 1213000 | 1.213
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2348 | 3507 | -1159 | 1159000 | 1.159 | 967537 | 967740 | -203 | 203000 | 0.203
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999437 | 1000045 | -608 | 608000 | 0.608 | 958237 | 959379 | -1142 | 1142000 | 1.142 | ROLL OVER
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 850 | 1523 | -673 | 448666.218 | 0.44867 | 618 | 744 | -126 | 83999.916 | 0.084
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 999276 | 999893 | -617 | 411332.922 | 0.41133 | 999430 | 999430 | 0 | 0 | 0
DIAL
| Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999969 | 999969 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
| Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996650 | 996559 | 91 | -182000 | -0.182 | 999371 | 999337 | 34 | -68000 | -0.068
PARK STREET
38 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999948 | 999981 | -33 | -33000 | -0.033 | 36330 | 36474 | -144 | -144000 | -0.144
39 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999927 | 1000010 | -83 | -110666.39 | -0.11067 | 688 | 733 | -45 | -59999.85 | -0.06 | ROLL OVER
SARITA VIHAR
40 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 610 | 752 | -142 | 142000 | 0.142 | 983490 | 983786 | -296 | 296000 | 0.296
41 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 384 | 384 | 0 | 0 | 0 | 988766 | 988836 | -70 | 70000 | 0.07
NARAINA
42 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 3822 | 3718 | 104 | 10400 | 0.0104 | 7336 | 7265 | 71 | 7100 | 0.0071
SUDARSHAN PARK
43 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 28784 | 28837 | -53 | -5300 | -0.0053 | 147543 | 147831 | -288 | -28800 | -0.0288
REWARI LINE
44 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999975 | 999975 | 0 | 0 | 0
KANJAWALA
45 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986324 | 987993 | -1669 | -1669000 | -1.669 | 994079 | 994126 | -47 | -47000 | -0.047
A.I.I.M.S.
46 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 999486 | 999806 | -320 | -32000 | -0.032 | 1067 | 1076 | -9 | -900 | -0.0009 | ROLL OVER
47 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 1473 | 550 | 923 | 92300 | 0.0923 | 2567 | 2500 | 67 | 6700 | 0.0067
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 7.0138 |  |  |  |  | 19.4281
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER 2010
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | 100 | 990769 | 991701 | -932 | -93200 | -0.0932 | 859514 | 859638 | -124 | -12400 | -0.0124
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 62426 | 61907 | 519 | -51900 | -0.0519 | 1633 | 1633 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 28652 | 28680 | -28 | 2800 | 0.0028 | 999407 | 999407 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 271 | 271 | 0 | 0 | 0 | 999974 | 999974 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 512 | 513 | -1 | 100 | 0.0001 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -100 | 688567 | 682705 | 5862 | -586200 | -0.5862 | 43182 | 43192 | -10 | 1000 | 0.001
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1602 | 1416 | 186 | -186000 | -0.186 | 775 | 774 | 1 | -1000 | -0.001
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 680483 | 663074 | 17409 | -1740900 | -1.7409 | 38217 | 38217 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 5846 | 4579 | 1267 | -126700 | -0.1267 | 48496 | 48461 | 35 | -3500 | -0.0035
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 7823 | 6997 | 826 | -82600 | -0.0826 | 46817 | 46373 | 444 | -44400 | -0.0444
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -100 | 30737 | 29445 | 1292 | -129200 | -0.1292 | 100671 | 100649 | 22 | -2200 | -0.0022
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 6842 | 4130 | 2712 | -271200 | -0.2712 | 2203 | 2200 | 3 | -300 | -0.0003
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 6648 | 6726 | -78 | 7800 | 0.0078 | 605962 | 607173 | -1211 | 121100 | 0.1211
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 74751 | 70584 | 4167 | -416700 | -0.4167 | 153887 | 153006 | 881 | -88100 | -0.0881
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 145612 | 145709 | -97 | -9700 | -0.0097 | 24262 | 24263 | -1 | -100 | -0.0001
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 753 | 811 | -58 | 5800 | 0.0058 | 11132 | 11115 | 17 | -1700 | -0.0017
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 7772 | 7594 | 178 | -17800 | -0.0178 | 44195 | 43999 | 196 | -19600 | -0.0196
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 6047 | 6023 | 24 | -2400 | -0.0024 | 6729 | 6418 | 311 | -31100 | -0.0311
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 8062 | 8028 | 34 | -3400 | -0.0034 | 24900 | 24792 | 108 | -10800 | -0.0108
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13090 | 12815 | 275 | -27500 | -0.0275 | 32933 | 32316 | 617 | -61700 | -0.0617
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 26678 | 25223 | 1455 | -145500 | -0.1455 | 8520 | 8520 | 0 | 0 | 0
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 829 | 11 | -1100 | -0.0011 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 10848 | 9898 | 950 | -95000 | -0.095 | 8307 | 8307 | 0 | 0 | 0
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997847 | 997881 | -34 | 3400 | 0.0034 | 999973 | 999973 | 0 | 0 | 0
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902514 | ELSTER | Kvarh(Lead/Lag) | 100 | 341 | 314 | 27 | 2700 | 0.0027 | 839 | 839 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999472 | 999468 | 4 | -400 | -0.0004 | 999147 | 999145 | 2 | -200 | -0.0002
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -3.9648 |  |  |  |  | -0.155
NOVEMBER 2010
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 7.0138 |  |  |  |  | 19.4281
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -3.9648 |  |  |  |  | -0.155
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 1.8229 |  |  |  |  | 0.1459
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.05535 |  |  |  |  | -0.09295
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 4.8166 |  |  |  |  | 19.3261
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 4.8166 | (REACTIVE MUs) |  |  |  | 19.3261 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.8425 | (REACTIVE MUs) |  |  |  | -2.1345 | (REACTIVE MUs)
[9 empty] | TOTAL | 3.9741 | (REACTIVE MUs) |  |  |  | 17.1915 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER 2010
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 100 | 2680 | 2228 | 452 | 45200 | 0.0452 | 52964 | 52856 | 108 | 10800 | 0.0108
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 5366 | 2206 | 3160 | 316000 | 0.316 | 111486 | 111362 | 124 | 12400 | 0.0124
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 100 | 998174 | 999308 | -1134 | -113400 | -0.1134 | 4303 | 4314 | -11 | -1100 | -0.0011
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 5661 | 3584 | 2077 | 207700 | 0.2077 | 73101 | 72907 | 194 | 19400 | 0.0194
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 32570 | 31478 | 1092 | 1092000 | 1.092 | 232 | 232 | 0 | 0 | 0
I.P.STATION
EXPORT TO NDMC
6 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999924 | 1000172 | -248 | -24800 | -0.0248 | 268667 | 268351 | 316 | 31600 | 0.0316
7 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 1916 | 1695 | 221 | 22100 | 0.0221 | 393705 | 392284 | 1421 | 142100 | 0.1421
8 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 2603 | 1973 | 630 | 63000 | 0.063 | 172312 | 170199 | 2113 | 211300 | 0.2113
9 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 1715 | 1123 | 592 | 59200 | 0.0592 | 288865 | 287903 | 962 | 96200 | 0.0962
10 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 999805 | 999958 | -153 | -15300 | -0.0153 | 195381 | 194529 | 852 | 85200 | 0.0852
11 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 42 | 472 | -430 | -43000 | -0.043 | 123833 | 123968 | -135 | -13500 | -0.0135
12 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3167 | 2350 | 817 | 81700 | 0.0817 | 170004 | 168458 | 1546 | 154600 | 0.1546
13 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 3857 | 2887 | 970 | 97000 | 0.097 | 213892 | 212983 | 909 | 90900 | 0.0909
G.T.
14 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 44591 | 43019 | 1572 | 1729200 | 1.7292
15 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4925 | 5143 | -218 | -218000 | -0.218 | 36033 | 36028 | 5 | 5000 | 0.005
16 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 114097 | 113170 | 927 | 1019700 | 1.0197
17 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7620 | 7509 | 111 | 111000 | 0.111 | 48051 | 48033 | 18 | 18000 | 0.018
[10 empty] | -0.107 |  |  |  |  | 2.7719
RIDGE VALLEY
18 | SPM NO.1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 100 | 688567 | 682705 | 5862 | 586200 | 0.5862 | 43182 | 43192 | -10 | -1000 | -0.001
19 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1602 | 1416 | 186 | 186000 | 0.186 | 775 | 774 | 1 | 1000 | 0.001
20 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 680483 | 663074 | 17409 | 1740900 | 1.7409 | 38217 | 38217 | 0 | 0 | 0
A.I.I.M.S.
21 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 6842 | 4130 | 2712 | 271200 | 0.2712 | 2203 | 2200 | 3 | 300 | 0.0003
22 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 6648 | 6726 | -78 | -7800 | -0.0078 | 605962 | 607173 | -1211 | -121100 | -0.1211
23 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 74751 | 70584 | 4167 | 416700 | 0.4167 | 153887 | 153006 | 881 | 88100 | 0.0881
NOVEMBER 2010
NDMC(+) Continue…
KIDWAI NAGAR
24 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 145612 | 145709 | -97 | 9700 | 0.0097 | 24262 | 24263 | -1 | 100 | 0.0001
EXHIBITION I
25 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 753 | 811 | -58 | -5800 | -0.0058 | 11132 | 11115 | 17 | 1700 | 0.0017
26 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
27 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 5846 | 4579 | 1267 | 126700 | 0.1267 | 48496 | 48461 | 35 | 3500 | 0.0035
28 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 7823 | 6997 | 826 | 82600 | 0.0826 | 46817 | 46373 | 444 | 44400 | 0.0444
29 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 100 | 30737 | 29445 | 1292 | 129200 | 0.1292 | 100671 | 100649 | 22 | 2200 | 0.0022
TILAK MARG
30 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | -100 | 990769 | 991701 | -932 | 93200 | 0.0932 | 859514 | 859638 | -124 | 12400 | 0.0124
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 999486 | 999806 | -320 | 32000 | 0.032 | 1067 | 1076 | -9 | 900 | 0.0009 | ROLL OVER
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 1447 | 550 | 897 | -89700 | -0.0897 | 2567 | 2500 | 67 | -6700 | -0.0067
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 5.2515 |  |  |  |  | 3.6376
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 5.2515 |  |  |  |  | 3.6376
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.098095 |  |  |  |  | -0.24853
| TOTAL ENERGY TO NDMC | [8 empty] | 5.1534 |  |  |  |  | 3.3891

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER 2010
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 326 | 226 | 100 | 100000 | 0.1 | 11778 | 11692 | 86 | 86000 | 0.086
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 203 | 123 | 80 | 80000 | 0.08 | 16284 | 16254 | 30 | 30000 | 0.03
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 163 | 41 | 122 | 122000 | 0.122 | 23307 | 23228 | 79 | 79000 | 0.079
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 163 | 107 | 56 | 56000 | 0.056 | 12188 | 12142 | 46 | 46000 | 0.046
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 695 | 551 | 144 | 144000 | 0.144 | 5931 | 5916 | 15 | 15000 | 0.015
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 271 | 271 | 0 | 0 | 0 | 999974 | 999974 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 512 | 513 | -1 | -100 | -0.0001 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.5019 |  |  |  |  | 0.256
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3140 | 3092 | 48 | 4800 | 0.0048 | 32029 | 32021 | 8 | 800 | 0.0008
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 21004 | 20973 | 31 | 3100 | 0.0031 | 51485 | 51425 | 60 | 6000 | 0.006
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 61796 | 61796 | 0 | 0 | 0 | 5155 | 5154 | 1 | 100 | 0.0001
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 12129 | 11663 | 466 | 46600 | 0.0466 | 35797 | 35673 | 124 | 12400 | 0.0124
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999903 | 999911 | -8 | -800 | -0.0008 | 13982 | 13910 | 72 | 7200 | 0.0072
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 65979 | 65129 | 850 | 85000 | 0.085 | 25513 | 24848 | 665 | 66500 | 0.0665
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 257 | 257 | 0 | 0 | 0 | 835 | 835 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1387 |  |  |  |  | 0.093
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 8100 | 6433 | 1667 | 83350 | 0.08335 | 18537 | 18536 | 1 | 50 | 5e-05
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.08335 |  |  |  |  | 5e-05
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.05535 |  |  |  |  | 0.09295
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.5019 |  |  |  |  | 0.256
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.55725 |  |  |  |  | 0.34895
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.55725 | (REACTIVE MUs) |  |  |  | 0.34895 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.016535 | (REACTIVE MUs) |  |  |  | -0.041893 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.54071 | (REACTIVE MUs) |  |  |  | 0.30706 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER 2010
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 61579 | 62399 | -820 | -82000 | -0.082 | 76418 | 76418 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 14041 | 7886 | 6155 | 615500 | 0.6155 | 999863 | 999858 | 5 | 500 | 0.0005
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 124342 | 125598 | -1256 | -125600 | -0.1256 | 85092 | 85173 | -81 | -8100 | -0.0081
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11009 | 9876 | 1133 | 1133000 | 1.133 | 16767 | 16764 | 3 | 3000 | 0.003
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 994460 | 994819 | -359 | 179500 | 0.1795 | 962752 | 962913 | -161 | 80500 | 0.0805
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994680 | 994885 | -205 | 102500 | 0.1025 | 991438 | 991584 | -146 | 73000 | 0.073
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999989 | 999989 | 0 | 0 | 0 | 999890 | 999900 | -10 | -3000 | -0.003
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 1.8229 |  |  |  |  | 0.1459
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 964290 | 964823 | -533 | -106600 | -0.1066 | 991136 | 990932 | 204 | 40800 | 0.0408
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 943847 | 954531 | -10684 | -1068400 | -1.0684 | 931784 | 931792 | -8 | -800 | -0.0008
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.175 |  |  |  |  | 0.04
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 139031 | 136266 | 2765 | 553000 | 0.553 | 248824 | 248487 | 337 | 67400 | 0.0674
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 21750 | 20508 | 1242 | 248400 | 0.2484 | 38729 | 38682 | 47 | 9400 | 0.0094
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 12201 | 9879 | 2322 | 232200 | 0.2322 | 67353 | 67277 | 76 | 7600 | 0.0076
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992073 | 992435 | -362 | -362000 | -0.362 | 997601 | 997603 | -2 | -2000 | -0.002
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 988244 | 989360 | -1116 | -111600 | -0.1116 | 7893 | 7894 | -1 | -100 | -0.0001
AT 33/11 KV LEVEL
15 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -500 | 996189 | 996599 | -410 | 205000 | 0.205 | 995926 | 995926 | 0 | 0 | 0
16 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999989 | 999989 | 0 | 0 | 0 | 999890 | 999900 | -10 | 3000 | 0.003
| TOTAL NDPL | [8 empty] | 0.765 |  |  |  |  | 0.0853
| E) NET EXPORT TO BSES RPL | [8 empty] | 1.8229 |  |  |  |  | 0.1459
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.175 |  |  |  |  | 0.04
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.765 |  |  |  |  | 0.0853

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER 2010
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 5351 | 4803 | 548 | 1096000 | 1.096 | 999851 | 999844 | 7 | 14000 | 0.014
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 4042 | 3547 | 495 | 990000 | 0.99 | 999621 | 999609 | 12 | 24000 | 0.024
[8 empty] | NET REACTIVE ENERGY |  | 2.086 |  |  | NET REACTIVE ENERGY |  | 0.038
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999773 | 999773 | 0 | 0 | 0 | 40455 | 40282 | 173 | 173000 | 0.173
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 991532 | 991532 | 0 | 0 | 0 | 985608 | 986440 | -832 | -832000 | -0.832
[8 empty] | NET REACTIVE ENERGY |  | 0 |  |  | NET REACTIVE ENERGY |  | -0.659
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 2.086 |  |  |  |  | -0.621
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | 0.0209 |  |  |  |  | 2.916
[7 empty] | NDMC = |  |  | -0.107 |  |  |  |  | 2.7719
MES =
[7 empty] | 2)TOTAL |  |  | -0.0861 |  |  |  |  | 5.6879
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.9999 |  |  |  |  | 5.0669
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 27.9414 | % |  |  | 0.5588 |  |  |  |  | 1.4158
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.1273 | % |  |  | 0.8425 |  |  |  |  | 2.1345
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.1995 | % |  |  | 0.48397 |  |  |  |  | 1.2262
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.905 | % |  |  | 0.098095 |  |  |  |  | 0.24853
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.8268 | % |  |  | 0.016535 |  |  |  |  | 0.041893
Note :Sharing taken from wk-32 abt bill 2010-11

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st NOVEMBER-2010 TO 30th NOVEMBER-2010
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -6.3175 | + | 0.074037
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 3.9741 | + | 17.1915
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 6.873 | + | 3.5371
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 5.1534 | + | 3.3891
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.54071 | + | 0.30706
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/10 | INTIAL READING 01/11/10 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 990260 | 990515 | -255 | -382500 | -0.3825 | 981820 | 981827 | -7 | -10500 | -0.0105
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 989844 | 990595 | -751 | -1126500 | -1.1265 | 987407 | 987407 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 952625 | 953222 | -597 | -895500 | -0.8955 | 971752 | 971757 | -5 | -7500 | -0.0075
[8 empty] | NET REACTIVE ENERGY |  | -2.4045 |  |  | NET REACTIVE ENERGY |  | -0.018
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 1000 | 997139 | 997546 | -407 | -407000 | -0.407 | 38092 | 38321 | -229 | -229000 | -0.229
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 109 | 222 | -113 | -113000 | -0.113 | 12428 | 12827 | -399 | -399000 | -0.399
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981005 | 981993 | -988 | -988000 | -0.988 | 992895 | 992911 | -16 | -16000 | -0.016
[8 empty] | NET REACTIVE ENERGY |  | -1.508 |  |  | NET REACTIVE ENERGY |  | -0.644