## NDPL
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965327 | 965360 | -33 | 33000 | 0.033 | 998216 | 998262 | -46 | 46000 | 0.046
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 78358 | 76945 | 1413 | -2826000 | -2.826 | 2239 | 2178 | 61 | -122000 | -0.122
3 | Tx.3 | 4865007 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998124 | 998126 | -2 | 2000 | 0.002 | 995196 | 995196 | 0 | 0 | 0 | Check Meter Data
|  | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 281 | 0 | 281 | -281000 | -0.281 | 4 | 0 | 4 | -4000 | -0.004 | w.e.f 3/12/19
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997334 | 996767 | 567 | -567000 | -0.567 | 993157 | 993125 | 32 | -32000 | -0.032
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 886734 | 885848 | 886 | -886000 | -0.886 | 987720 | 987665 | 55 | -55000 | -0.055
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30597 | 29676 | 921 | -921000 | -0.921 | 16128 | 16151 | -23 | 23000 | 0.023
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5486 | 4649 | 837 | -837000 | -0.837 | 998100 | 998125 | -25 | 25000 | 0.025
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1995 | 1419 | 576 | -576000 | -0.576 | 998255 | 998249 | 6 | -6000 | -0.006
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 965234 | 965246 | -12 | 6000 | 0.006 | 843889 | 843893 | -4 | 2000 | 0.002
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1990 | 1668 | 322 | -322000 | -0.322 | 998310 | 998339 | -29 | 29000 | 0.029
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44441 | 41982 | 2459 | -2459000 | -2.459 | 998379 | 998364 | 15 | -15000 | -0.015
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20403 | 18727 | 1676 | -1676000 | -1.676 | 996893 | 996886 | 7 | -7000 | -0.007
13 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 4996 | 3557 | 1439 | -1439 | -1.439 | 99999952 | 99999952 | 0 | 0 | 0
[10 empty] | 0.461 |  |  |  |  | -0.017 | Assessment
14 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 820478 | 824988 | -4510 | -4510000 | -4.51 | 999981 | 999981 | 0 | 0 | 0
15 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 925590 | 934428 | -8838 | -8838000 | -8.838 | 999995 | 999995 | 0 | 0 | 0
NARELA
16 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3387 | 2376 | 1011 | -1011000 | -1.011 | 999999 | 1000000 | -1 | 1000 | 0.001
17 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 37299 | 33473 | 3826 | -1913000 | -1.913 | 999947 | 999936 | 11 | -5500 | -0.0055
18 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42626 | 41768 | 858 | -858000 | -0.858 | 111 | 136 | -25 | 25000 | 0.025
NARAINA
19 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999938 | 999938 | 0 | 0 | 0 | 991979 | 991942 | 37 | 37000 | 0.037
20 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 598 | 598 | 0 | 0 | 0 | 21938 | 21962 | -24 | -24000 | -0.024
21 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1354 | 1354 | 0 | 0 | 0 | 12080 | 11946 | 134 | 67000 | 0.067
22 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 881 | 859 | 22 | 1100 | 0.0011 | 32658 | 31875 | 783 | 39150 | 0.03915
[5 empty] | 50 | [5 empty] | 30882 | 29014 | 1868 | 93400 | 0.0934
23 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995363 | 995365 | -2 | -2000 | -0.002 | 983886 | 984234 | -348 | -348000 | -0.348
24 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999799 | 999859 | -60 | -60000 | -0.06 | 390 | 531 | -141 | -141000 | -0.141
25 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 58549 | 58747 | -198 | -19800 | -0.0198 | 189917 | 189885 | 32 | 3200 | 0.0032
KASHMIRI GATE
26 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 968394 | 969341 | -947 | -947000 | -0.947 | 999810 | 999814 | -4 | -4000 | -0.004
27 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 984038 | 990302 | -6264 | -3132000 | -3.132 | 999999 | 999999 | 0 | 0 | 0
28 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 998456 | 999155 | -699 | -186402.33 | -0.1864 | 999846 | 999846 | 0 | 0 | 0
29 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 1407 | 1248 | 159 | 79500 | 0.0795 | 999915 | 999914 | 1 | 500 | 0.0005
KANJAWALA
30 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30847 | 28479 | 2368 | -2368000 | -2.368 | 996474 | 996470 | 4 | -4000 | -0.004
31 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 139146 | 132599 | 6547 | -3273500 | -3.2735 | 14690 | 14662 | 28 | -14000 | -0.014
32 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999566 | 999281 | 285 | -570000 | -0.57 | 999976 | 999999 | -23 | 46000 | 0.046
BAWANA
33 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21995 | 19202 | 2793 | -2793000 | -2.793 | 999958 | 999961 | -3 | 3000 | 0.003
DSIDC BAWANA
34 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 63593 | 60698 | 2895 | -5790000 | -5.79 | 280 | 287 | -7 | 14000 | 0.014
35 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 72007 | 69346 | 2661 | -2661000 | -2.661 | 998486 | 998491 | -5 | 5000 | 0.005
36 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 136434 | 131553 | 4881 | -4881000 | -4.881 | 2795 | 2788 | 7 | -7000 | -0.007
ROHINI-II
37 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2084 | 449 | 1635 | -3270000 | -3.27 | 1 | 0 | 1 | -2000 | -0.002
38 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40095 | 36670 | 3425 | -3425000 | -3.425 | 1179 | 1177 | 2 | -2000 | -0.002
WAZIRPUR
39 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997226 | 997084 | 142 | -142000 | -0.142 | 998536 | 998540 | -4 | 4000 | 0.004
40 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35814 | 33133 | 2681 | -2681000 | -2.681 | 1639 | 1622 | 17 | -17000 | -0.017
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
41 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 210 | 534 | -324 | -324000 | -0.324 | 28072 | 28109 | -37 | -37000 | -0.037
| NDPL(+) continue | [14 empty] | DECEMBER-2019
DMS
43 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1069 | 1088 | -19 | -19000 | -0.019 | 61256 | 61257 | -1 | -1000 | -0.001
VISHAL
44 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999502 | 999551 | -49 | -4900 | -0.0049 | 999618 | 999839 | -221 | -22100 | -0.0221
46 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2765 | 2740 | 25 | 2500 | 0.0025 | 28742 | 28652 | 90 | 9000 | 0.009
S.B.MILL
47 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 762 | 749 | 13 | 17329 | 0.017329 | 485 | 482 | 3 | 3999 | 0.003999
48 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3179 | 3179 | 0 | 0 | 0 | 1594 | 1594 | 0 | 0 | 0
49 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
50 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
51 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2099 | 2059 | 40 | 4000 | 0.004 | 1349 | 1323 | 26 | 2600 | 0.0026
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999899 | 999899 | 0 | 0 | 0 | 1621 | 1552 | 69 | 34500 | 0.0345
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2260 | 2257 | 3 | 2000.01 | 0.002 | 287 | 262 | 25 | 16666.75 | 0.016667
56 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 533 | 517 | 16 | 8000 | 0.008 | 118 | 80 | 38 | 19000 | 0.019
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 996732 | 996807 | -75 | -7500 | -0.0075 | 4071 | 4073 | -2 | -200 | -0.0002
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
60 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
61 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8009 | 8139 | -130 | -13000 | -0.013 | 11784 | 11714 | 70 | 7000 | 0.007
62 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 9185 | 9083 | 102 | 10200 | 0.0102 | 1832 | 1801 | 31 | 3100 | 0.0031
63 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 28351 | 28253 | 98 | 9800 | 0.0098 | 7256 | 7222 | 34 | 3400 | 0.0034
KASHMIRI GATE
64 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 53118 | 53320 | -202 | -20200 | -0.0202 | 1503 | 1500 | 3 | 300 | 0.0003
65 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 51 | 37 | 14 | 1866.62 | 0.0018666 | 254 | 339 | -85 | -11333.05 | -0.011333
66 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 76 | 76 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
67 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
68 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999979 | 999969 | 10 | 4000 | 0.004 | 999531 | 999637 | -106 | -42400 | -0.0424
MUNDKA
69 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 977288 | 979926 | -2638 | -2110400 | -2.1104 | 999760 | 999760 | 0 | 0 | 0
70 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997417 | 997721 | -304 | -608000 | -0.608 | 1060 | 1061 | -1 | -2000 | -0.002
PEERAGARHI
71 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 985676 | 987363 | -1687 | -337400 | -0.3374 | 378 | 378 | 0 | 0 | 0
72 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 657 | 977 | -320 | -80000 | -0.08 | 322 | 322 | 0 | 0 | 0
REWARI LINE
73 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996839 | 997881 | -1042 | -1042000 | -1.042 | 2432 | 2396 | 36 | 36000 | 0.036
74 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1670 | 1564 | 106 | 79500 | 0.0795 | 3279 | 3270 | 9 | 6750 | 0.00675
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -69.9663 |  |  |  |  | -0.33697
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 15831 | 15641 | 190 | -19000 | -0.019 | 119393 | 119259 | 134 | -13400 | -0.0134
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 999953 | 1000211 | -258 | 206400 | 0.2064 | 205 | 39 | 166 | -132800 | -0.1328
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 619 | 661 | -42 | 42000 | 0.042 | 37 | 37 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6812 | 6501 | 311 | -41465.63 | -0.041466 | 271 | 220 | 51 | -6799.83 | -0.0067998
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998117 | 998202 | -85 | 15937.5 | 0.015938 | 999961 | 999962 | -1 | 187.5 | 0.0001875
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 936637 | 938312 | -1675 | 1340000 | 1.34 | 998176 | 998182 | -6 | 4800 | 0.0048
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 990793 | 991197 | -404 | 252500 | 0.2525 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 992092 | 992485 | -393 | 245625 | 0.24563 | 999844 | 999844 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 998442 | 998916 | -474 | 94800 | 0.0948 | 14111 | 14066 | 45 | -9000 | -0.009
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 995484 | 995611 | -127 | 23812.5 | 0.023813 | 5537 | 5606 | -69 | 12937.5 | 0.012937
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 995935 | 996631 | -696 | 130500 | 0.1305 | 4305 | 4321 | -16 | 3000 | 0.003
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3052 | 3052 | 0 | 0 | 0 | 7764 | 7764 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 998480 | 999554 | -1074 | 107400 | 0.1074 | 28316 | 28242 | 74 | -7400 | -0.0074
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 2.3985 |  |  |  |  | -0.14847
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -69.9663 |  |  |  |  | -0.33697
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 2.3985 |  |  |  |  | -0.14847
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.3929 |  |  |  |  | 0.01095
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -67.1749 |  |  |  |  | -0.47449
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -67.1749 | (REACTIVE MUs) |  |  |  | -0.47449 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -5.9347 | (REACTIVE MUs) |  |  |  | -0.035793 | (REACTIVE MUs)
[9 empty] | TOTAL | -73.1096 | (REACTIVE MUs) |  |  |  | -0.51028 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | DECEMBER-2019
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 29682 | 31052 | -1370 | -137000 | -0.137 | 994300 | 994375 | -75 | -7500 | -0.0075
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 12466 | 13137 | -671 | -201300 | -0.2013 | 4585 | 4721 | -136 | -40800 | -0.0408
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 80226 | 81249 | -1023 | -76725 | -0.076725 | 393861 | 394362 | -501 | -37575 | -0.037575
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 995454 | 995514 | -60 | -18000 | -0.018 | 6018 | 6019 | -1 | -300 | -0.0003
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1724 | 1724 | 0 | 0 | 0 | 3629 | 3629 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 8713 | 9209 | -496 | -49600 | -0.0496 | 962 | 972 | -10 | -1000 | -0.001
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 96023 | 96646 | -623 | -46725 | -0.046725 | 42112 | 42045 | 67 | 5025 | 0.005025
[5 empty] | 75 | 97272 | 98200 | -928 | -69600 | -0.0696
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982087 | 982385 | -298 | -298000 | -0.298 | 2277 | 2313 | -36 | -36000 | -0.036
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 993675 | 994462 | -787 | -393500 | -0.3935 | 180 | 249 | -69 | -34500 | -0.0345
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998311 | 998122 | 189 | 189000 | 0.189 | 1624 | 1585 | 39 | 39000 | 0.039
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989477 | 989859 | -382 | -382000 | -0.382 | 1354 | 1399 | -45 | -45000 | -0.045
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992140 | 992597 | -457 | -457000 | -0.457 | 6252 | 6252 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998723 | 999125 | -402 | -402000 | -0.402 | 998671 | 998671 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997125 | 997167 | -42 | -42000 | -0.042 | 999794 | 999794 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 996791 | 996404 | 387 | 309600 | 0.3096 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 3933 | 1667 | 2266 | 302125.78 | 0.30213 | 3656 | 3294 | 362 | 48265.46 | 0.048265
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1161 | 1273 | -112 | -112000 | -0.112 | 9730 | 9730 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1979 | 1994 | -15 | -15000 | -0.015 | 17472 | 17369 | 103 | 103000 | 0.103
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 972756 | 973104 | -348 | -435000 | -0.435 | 950872 | 950983 | -111 | -138750 | -0.13875
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 987767 | 988678 | -911 | -1002100 | -1.0021 | 936730 | 936855 | -125 | -137500 | -0.1375
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 957085 | 957359 | -274 | -274000 | -0.274 | 6261 | 6295 | -34 | -34000 | -0.034
| KASHMIRI GATE | [8 empty] | -1.7111 |  |  |  |  | -0.31025
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990596 | 990796 | -200 | 200000 | 0.2 | 998807 | 998807 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986673 | 986840 | -167 | 167000 | 0.167 | 999035 | 999038 | -3 | 3000 | 0.003
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 76 | 76 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999830 | 999830 | 0 | 0 | 0 | 13721 | 13758 | -37 | -37000 | -0.037
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 126155 | 122840 | 3315 | -3315000 | -3.315 | 8283 | 8282 | 1 | -1000 | -0.001
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33476 | 31181 | 2295 | -2295000 | -2.295 | 999914 | 999908 | 6 | -6000 | -0.006
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) |  | 998429 | 997774 | 655 | 0 | 0 | 999335 | 999335 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997392 | 996639 | 753 | -753000 | -0.753 | 998960 | 998959 | 1 | -1000 | -0.001
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17133 | 15325 | 1808 | -1808000 | -1.808 | 983031 | 983031 | 0 | 0 | 0
[5 empty] | -1000 | 1001036 | 998374 | 2662 | -2662000 | -2.662
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30739 | 26634 | 4105 | -4105000 | -4.105 | 287 | 287 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 21779 | 19250 | 2529 | -5058000 | -5.058 | 22 | 22 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 619 | 661 | -42 | -42000 | -0.042 | 37 | 37 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6812 | 6501 | 311 | 41465.63 | 0.041466 | 271 | 220 | 51 | 6799.83 | 0.0067998
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 994601 | 994825 | -224 | -29792 | -0.029792 | 10176 | 10252 | -76 | -10108 | -0.010108
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955038 | 955038 | 0 | 0 | 0 | 990185 | 990185 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981071 | 981071 | 0 | 0 | 0 | 999926 | 999936 | -10 | 10000 | 0.01
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -23.2702 |  |  |  |  | -0.35294
| (A) NET ENERGY TO CENTRAL | [8 empty] | -23.2702 |  |  |  |  | -0.35294
DECEMBER-2019
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989365 | 988786 | 579 | -579000 | -0.579 | 997673 | 997669 | 4 | -4000 | -0.004
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987662 | 987141 | 521 | -521000 | -0.521 | 963310 | 963296 | 14 | -14000 | -0.014
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993674 | 993421 | 253 | -253000 | -0.253 | 998547 | 998550 | -3 | 3000 | 0.003
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988570 | 987136 | 1434 | -1434000 | -1.434 | 999311 | 999310 | 1 | -1000 | -0.001
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20226 | 18260 | 1966 | -1966000 | -1.966 | 997410 | 997376 | 34 | -34000 | -0.034
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6730 | 4626 | 2104 | -2104000 | -2.104 | 996355 | 996309 | 46 | -46000 | -0.046
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7192 | 7192 | 0 | 0 | 0 | 999511 | 999511 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10569 | 10141 | 428 | -428000 | -0.428 | 951816 | 951808 | 8 | -8000 | -0.008
|  | 5128413 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991486 | 990951 | 535 | -535000 | -0.535 | 968948 | 968933 | 15 | -15000 | -0.015 | Check Meter Data
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958998 | 957554 | 1444 | -1444000 | -1.444 | 979006 | 978929 | 77 | -77000 | -0.077
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970343 | 969768 | 575 | -575000 | -0.575 | 976371 | 976400 | -29 | 29000 | 0.029
[5 empty] | -1000 | [5 empty] | 977700 | 977713 | -13 | 13000 | 0.013
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959640 | 959085 | 555 | -555000 | -0.555 | 825376 | 825392 | -16 | 16000 | 0.016
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36178 | 36178 | 0 | 0 | 0 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 45025 | 41370 | 3655 | -3655000 | -3.655 | 111 | 111 | 0 | 0 | 0
15 | TX-3 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5518 | 5508 | 10 | -20000 | -0.02 | 999979 | 999979 | 0 | 0 | 0
|  | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4505 | 0 | 4505 | -4505000 | -4.505 | 0 | 0 | 0 | 0 | 0 | w.e.f 02/12/119
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -18.574 |  |  |  |  | -0.138
| (B) NET ENERGY TO EAST | [8 empty] | -18.574 |  |  |  |  | -0.138
DECEMBER-2019
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 998456 | 999155 | -699 | 186402.33 | 0.1864 | 999846 | 999846 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 1407 | 1248 | 159 | -79500 | -0.0795 | 999915 | 999914 | 1 | -500 | -0.0005
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2188 | 2437 | -249 | 66398.34 | 0.066398 | 2150 | 2150 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 100284 | 98674 | 1610 | -161000 | -0.161 | 152233 | 152230 | 3 | -300 | -0.0003
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 992118 | 992850 | -732 | 146400 | 0.1464 | 999322 | 999322 | 0 | 0 | 0
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 69990 | 69672 | 318 | -63600 | -0.0636 | 132703 | 132702 | 1 | -200 | -0.0002
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 961 | 847 | 114 | -91200 | -0.0912 | 2558 | 2557 | 1 | -800 | -0.0008
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3380 | 3390 | -10 | 8000 | 0.008 | 1309 | 1309 | 0 | 0 | 0
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 998921 | 999319 | -398 | 318400 | 0.3184 | 999015 | 999018 | -3 | 2400 | 0.0024
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 965209 | 966028 | -819 | 655200 | 0.6552 | 981204 | 981283 | -79 | 63200 | 0.0632
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 971266 | 971715 | -449 | 359200 | 0.3592 | 990089 | 990090 | -1 | 800 | 0.0008
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999014 | 999331 | -317 | 634000 | 0.634 | 999597 | 999597 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997701 | 997861 | -160 | 320000 | 0.32 | 999540 | 999540 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 210 | 534 | -324 | 324000 | 0.324 | 28072 | 28109 | -37 | 37000 | 0.037
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1069 | 1088 | -19 | 19000 | 0.019 | 61256 | 61257 | -1 | 1000 | 0.001
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999899 | 999899 | 0 | 0 | 0 | 1621 | 1552 | 69 | -34500 | -0.0345
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2260 | 2257 | 3 | -2000.01 | -0.002 | 287 | 262 | 25 | -16666.75 | -0.016667
21 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 533 | 517 | 16 | -8000 | -0.008 | 118 | 80 | 38 | -19000 | -0.019
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 53118 | 53320 | -202 | 20200 | 0.0202 | 1503 | 1500 | 3 | -300 | -0.0003
23 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 51 | 37 | 14 | -1866.62 | -0.0018666 | 254 | 339 | -85 | 11333.05 | 0.011333
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 996732 | 996807 | -75 | 7500 | 0.0075 | 4071 | 4073 | -2 | 200 | 0.0002
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8009 | 8139 | -130 | 13000 | 0.013 | 11784 | 11714 | 70 | -7000 | -0.007
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 9185 | 9083 | 102 | -10200 | -0.0102 | 1832 | 1801 | 31 | -3100 | -0.0031
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 28351 | 28253 | 98 | -9800 | -0.0098 | 7256 | 7222 | 34 | -3400 | -0.0034
[10 empty] | 2.6505 |  |  |  |  | 0.030166
DECEMBER-2019
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -23.2702 |  |  |  |  | -0.35294
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 2.6505 |  |  |  |  | 0.030166
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.94837 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -21.568 |  |  |  |  | -0.32278
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -18.574 |  |  |  |  | -0.138
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -40.142 |  |  |  |  | -0.46078
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -40.142 | (REACTIVE MUs) |  |  |  | -0.46078 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.0018 | (REACTIVE MUs) |  |  |  | -0.024135 | (REACTIVE MUs)
[9 empty] | TOTAL | -44.1438 | (REACTIVE MUs) |  |  |  | -0.48491 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | DECEMBER-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999133 | 999180 | -47 | -235000 | -0.235 | 998853 | 998859 | -6 | -30000 | -0.03
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 980419 | 980593 | -174 | -231999.42 | -0.232 | 670348 | 670360 | -12 | -15999.96 | -0.016
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 994212 | 995298 | -1086 | -217200 | -0.2172 | 2494 | 2620 | -126 | -25200 | -0.0252
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 38 | 88 | -50 | -66666.5 | -0.066667 | 999712 | 999697 | 15 | 19999.95 | 0.02
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 999323 | 999501 | -178 | -267000 | -0.267 | 999978 | 999981 | -3 | -4500 | -0.0045
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 17370 | 17691 | -321 | -32100 | -0.0321 | 22579 | 22618 | -39 | -3900 | -0.0039
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 650331 | 656294 | -5963 | -447225 | -0.44722 | 980738 | 980809 | -71 | -5325 | -0.005325
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 985007 | 986843 | -1836 | -137700 | -0.1377 | 18598 | 18648 | -50 | -3750 | -0.00375
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 995532 | 995623 | -91 | -81900 | -0.0819 | 995279 | 995280 | -1 | -900 | -0.0009
|  | 4865180 | ELSTER | Kvarh(Lead/Lag) | 900 | 995902 | 996170 | -268 | -241200 | -0.2412 | 996750 | 996779 | -29 | -26100 | -0.0261 | Check Meter Data
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 998412 | 999272 | -860 | -86000 | -0.086 | 265565 | 265583 | -18 | -1800 | -0.0018
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10790 | 9678 | 1112 | -1112000 | -1.112 | 996529 | 996514 | 15 | -15000 | -0.015
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1848 | 1356 | 492 | -984000 | -0.984 | 997732 | 997775 | -43 | 86000 | 0.086
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14486 | 13816 | 670 | -670000 | -0.67 | 996692 | 996724 | -32 | 32000 | 0.032
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976540 | 975815 | 725 | -725000 | -0.725 | 989688 | 989402 | 286 | -286000 | -0.286
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 57005 | 54932 | 2073 | -2073000 | -2.073 | 998846 | 998797 | 49 | -49000 | -0.049
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 61841 | 59464 | 2377 | -1188500 | -1.1885 | 33392 | 32994 | 398 | -199000 | -0.199
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 12717 | 11667 | 1050 | -2100000 | -2.1 | 998163 | 998110 | 53 | -106000 | -0.106
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20483 | 20546 | -63 | 63000 | 0.063 | 815498 | 815697 | -199 | 199000 | 0.199
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3069 | 1172 | 1897 | -1897000 | -1.897 | 1018 | 1037 | -19 | 19000 | 0.019
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 50514 | 47589 | 2925 | -2340000 | -2.34 | 998018 | 997833 | 185 | -148000 | -0.148
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 923 | 174 | 749 | -749000 | -0.749 | 961803 | 962042 | -239 | 239000 | 0.239
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987412 | 990317 | -2905 | 2905000 | 2.905 | 992808 | 993060 | -252 | 252000 | 0.252
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 941851 | 941851 | 0 | 0 | 0 | 984032 | 984032 | 0 | 0 | 0
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2217 | 1627 | 590 | -590000 | -0.59 | 997357 | 997438 | -81 | 81000 | 0.081
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4272 | 4164 | 108 | -108000 | -0.108 | 999950 | 999950 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 517 | 485 | 32 | -32000 | -0.032 | 29 | 18 | 11 | -11000 | -0.011
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 126473 | 119390 | 7083 | -7083000 | -7.083 | 12006 | 12004 | 2 | -2000 | -0.002
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 3144 | 3866 | -722 | 2406664.26 | 2.4067 | 36 | 37 | -1 | 3333.33 | 0.0033333
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 999953 | 1000211 | -258 | -206400 | -0.2064 | 205 | 39 | 166 | 132800 | 0.1328
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966424 | 967823 | -1399 | 1399000 | 1.399 | 966003 | 966012 | -9 | 9000 | 0.009
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986325 | 986609 | -284 | 284000 | 0.284 | 984112 | 984113 | -1 | 1000 | 0.001
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26616 | 25935 | 681 | -681000 | -0.681 | 985508 | 985500 | 8 | -8000 | -0.008
[5 empty] | -1000 | 20741 | 17992 | 2749 | -2749000 | -2.749
[5 empty] | -1000 | 10190 | 9426 | 764 | -764000 | -0.764
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 10033 | 7418 | 2615 | -2092000 | -2.092 | 999085 | 999087 | -2 | 1600 | 0.0016
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 5412 | 4034 | 1378 | -2204800 | -2.2048 | 999900 | 999899 | 1 | -1600 | -0.0016
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996006 | 996356 | -350 | 700000 | 0.7 | 985070 | 985076 | -6 | 12000 | 0.012 | Tx loaded on 11/12/2020
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 3832 | 3188 | 644 | -322000 | -0.322 | 991927 | 992047 | -120 | 60000 | 0.06
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19814 | 19031 | 783 | -783000 | -0.783 | 32615 | 32662 | -47 | 47000 | 0.047
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998844 | 998455 | 389 | -389000 | -0.389 | 996083 | 996110 | -27 | 27000 | 0.027
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999489 | 999365 | 124 | -124000 | -0.124 | 999208 | 999254 | -46 | 46000 | 0.046
BRPL(+) continue | [14 empty] | DECEMBER-2019
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39378 | 38190 | 1188 | -1188000 | -1.188 | 999371 | 999656 | -285 | 285000 | 0.285
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12120 | 10734 | 1386 | -1386000 | -1.386 | 999052 | 999008 | 44 | -44000 | -0.044
42 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17540 | 15343 | 2197 | -2197000 | -2.197 | 998959 | 998963 | -4 | 4000 | 0.004
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998097 | 997583 | 514 | -514000 | -0.514 | 925478 | 925479 | -1 | 1000 | 0.001
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31272 | 28995 | 2277 | -2277000 | -2.277 | 7985 | 7984 | 1 | -1000 | -0.001
46 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 206 | 478 | -272 | 544000 | 0.544 | 994246 | 994270 | -24 | 48000 | 0.048
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44303 | 42728 | 1575 | -1575000 | -1.575 | 997183 | 997183 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 24201 | 21392 | 2809 | -5618000 | -5.618 | 999381 | 999381 | 0 | 0 | 0
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8238 | 8071 | 167 | -334000 | -0.334 | 2385 | 2356 | 29 | -58000 | -0.058
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5815 | 5599 | 216 | -432000 | -0.432 | 1338 | 1314 | 24 | -48000 | -0.048
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919678 | 919684 | -6 | 6000 | 0.006 | 979450 | 979540 | -90 | 90000 | 0.09
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2130 | 2165 | -35 | 35000 | 0.035 | 994981 | 995065 | -84 | 84000 | 0.084
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1812 | 1806 | 6 | -6000 | -0.006 | 987543 | 987570 | -27 | 27000 | 0.027
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 985498 | 987117 | -1619 | -1295200 | -1.2952 | 611 | 611 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 956088 | 959626 | -3538 | -2830400 | -2.8304 | 999588 | 999590 | -2 | -1600 | -0.0016
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 452 | 917 | -465 | -372000 | -0.372 | 999824 | 999823 | 1 | 800 | 0.0008
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 997345 | 997438 | -93 | -74400 | -0.0744 | 34 | 34 | 0 | 0 | 0
PARK STREET
60 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997701 | 997861 | -160 | -320000 | -0.32 | 999540 | 999540 | 0 | 0 | 0
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 65158 | 57502 | 7656 | -7656000 | -7.656 | 923 | 923 | 0 | 0 | 0
63 | Tx-2 | 4865014 | ELSTER | Kvarh(Lead/Lag) | -1000 | 79328 | 79183 | 145 | -145000 | -0.145 | 1460 | 1460 | 0 | 0 | 0
|  | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1727 | 0 | 1727 | -1727000 | -1.727 | 0 | 0 | 0 | 0 | 0 | w.e.f 04/12/19
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 97479 | 90991 | 6488 | -6488000 | -6.488 | 708 | 708 | 0 | 0 | 0
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 15831 | 15641 | 190 | 19000 | 0.019 | 119393 | 119259 | 134 | 13400 | 0.0134
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998117 | 998202 | -85 | -15937.5 | -0.015938 | 999961 | 999962 | -1 | -187.5 | -0.0001875
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 952798 | 953634 | -836 | -334400 | -0.3344 | 995604 | 995619 | -15 | -6000 | -0.006
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 13215 | 13728 | -513 | -205200 | -0.2052 | 72112 | 72077 | 35 | 14000 | 0.014
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 936637 | 938312 | -1675 | -1340000 | -1.34 | 998176 | 998182 | -6 | -4800 | -0.0048
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 416099 | 411697 | 4402 | 440200 | 0.4402 | 84601 | 84596 | 5 | 500 | 0.0005
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5324 | 5604 | -280 | -280000 | -0.28 | 1888 | 1888 | 0 | 0 | 0
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10812 | 10812 | 0 | 0 | 0 | 21999 | 21965 | 34 | 2550 | 0.00255
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5305 | 5305 | 0 | 0 | 0 | 13887 | 13829 | 58 | 5800 | 0.0058
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 10834 | 10518 | 316 | 158000 | 0.158 | 3137 | 3137 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 173 | 507 | -334 | -334000 | -0.334 | 4079 | 4082 | -3 | -3000 | -0.003
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989311 | 990078 | -767 | -767000 | -0.767 | 1105 | 1098 | 7 | 7000 | 0.007
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6286 | 6306 | -20 | -20000 | -0.02 | 6498 | 6499 | -1 | -1000 | -0.001
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 7568 | 7521 | 47 | 7520 | 0.00752 | 999795 | 999793 | 2 | 320 | 0.00032
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 195088 | 194334 | 754 | 75400 | 0.0754 | 48931 | 47062 | 1869 | 186900 | 0.1869
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3857 | 3716 | 141 | 141000 | 0.141 | 709 | 707 | 2 | 2000 | 0.002
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4143 | 4054 | 89 | 89000 | 0.089 | 6908 | 6908 | 0 | 0 | 0
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 998442 | 998916 | -474 | -94800 | -0.0948 | 14111 | 14066 | 45 | 9000 | 0.009
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 995484 | 995611 | -127 | -23812.5 | -0.023813 | 5537 | 5606 | -69 | -12937.5 | -0.012937
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 995935 | 996631 | -696 | -130500 | -0.1305 | 4305 | 4321 | -16 | -3000 | -0.003
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3052 | 3052 | 0 | 0 | 0 | 7764 | 7764 | 0 | 0 | 0
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 998480 | 999554 | -1074 | -107400 | -0.1074 | 28316 | 28242 | 74 | 7400 | 0.0074
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -64.826 |  |  |  |  | 0.9298
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 22236 | 22260 | -24 | 2400 | 0.0024 | 4890 | 4890 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 994601 | 994825 | -224 | 29865.92 | 0.029866 | 10176 | 10252 | -76 | 10133.08 | 0.010133
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1385 | 1464 | -79 | 79000 | 0.079 | 998468 | 998474 | -6 | 6000 | 0.006
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997693 | 998043 | -350 | 350000 | 0.35 | 2242 | 2242 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9861 | 10048 | -187 | 29920 | 0.02992 | 26039 | 25986 | 53 | -8480 | -0.00848
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3889 | 3919 | -30 | 6000 | 0.006 | 7631 | 7650 | -19 | 3800 | 0.0038
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986959 | 987844 | -885 | 885000 | 0.885 | 999247 | 999247 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 101967 | 101853 | 114 | -11400 | -0.0114 | 75513 | 75522 | -9 | 900 | 0.0009
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4476 | 4476 | 0 | 0 | 0 | 1182 | 1182 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 25858 | 27335 | -1477 | 147700 | 0.1477 | 70289 | 70288 | 1 | -100 | -0.0001
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998671 | 998671 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 1249 | 1249 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999502 | 999551 | -49 | 4900 | 0.0049 | 999618 | 999839 | -221 | 22100 | 0.0221
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2765 | 2740 | 25 | -2500 | -0.0025 | 28742 | 28652 | 90 | -9000 | -0.009
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 762 | 749 | 13 | -17329 | -0.017329 | 485 | 482 | 3 | -3999 | -0.003999
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3179 | 3179 | 0 | 0 | 0 | 1594 | 1594 | 0 | 0 | 0
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2099 | 2059 | 40 | -4000 | -0.004 | 1349 | 1323 | 26 | -2600 | -0.0026
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999979 | 999969 | 10 | -4000 | -0.004 | 999531 | 999637 | -106 | 42400 | 0.0424
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 6733 | 4491 | 2242 | -896800 | -0.8968 | 5995 | 5995 | 0 | 0 | 0
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996839 | 997881 | -1042 | 1042000 | 1.042 | 2432 | 2396 | 36 | -36000 | -0.036
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1670 | 1564 | 106 | -79500 | -0.0795 | 3279 | 3270 | 9 | -6750 | -0.00675
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 1.5613 |  |  |  |  | 0.018404
DECEMBER-2019
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -64.826 |  |  |  |  | 0.9298
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 1.5613 |  |  |  |  | 0.018404
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.029037 |  |  |  |  | -0.0108
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0040125 |  |  |  |  | -0.11746
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -63.2397 |  |  |  |  | 0.81994
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -63.2397 | (REACTIVE MUs) |  |  |  | 0.81994 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -8.0977 | (REACTIVE MUs) |  |  |  | -0.048838 | (REACTIVE MUs)
[9 empty] | TOTAL | -71.3373 | (REACTIVE MUs) |  |  |  | 0.77111 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2188 | 2437 | -249 | -66400.83 | -0.066401 | 2150 | 2150 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 100284 | 98674 | 1610 | 161000 | 0.161 | 152233 | 152230 | 3 | 300 | 0.0003
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 992118 | 992850 | -732 | -146400 | -0.1464 | 999322 | 999322 | 0 | 0 | 0
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 69990 | 69672 | 318 | 63600 | 0.0636 | 132703 | 132702 | 1 | 200 | 0.0002
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 961 | 847 | 114 | 91200 | 0.0912 | 2558 | 2557 | 1 | 800 | 0.0008
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3380 | 3390 | -10 | -8000 | -0.008 | 1309 | 1309 | 0 | 0 | 0
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 998921 | 999319 | -398 | -318400 | -0.3184 | 999015 | 999018 | -3 | -2400 | -0.0024
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 965209 | 966028 | -819 | -655200 | -0.6552 | 981204 | 981283 | -79 | -63200 | -0.0632
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 971266 | 971715 | -449 | -359200 | -0.3592 | 990089 | 990090 | -1 | -800 | -0.0008
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999014 | 999331 | -317 | -634000 | -0.634 | 999597 | 999597 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 978133 | 980528 | -2395 | -119750 | -0.11975 | 21354 | 21458 | -104 | -5200 | -0.0052
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 981804 | 984039 | -2235 | -167625 | -0.16762 | 23332 | 23390 | -58 | -4350 | -0.00435
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 999179 | 999323 | -144 | -72000 | -0.072 | 5532 | 5547 | -15 | -7500 | -0.0075
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998129 | 998295 | -166 | -62250 | -0.06225 | 7631 | 7646 | -15 | -5625 | -0.005625
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 996819 | 998004 | -1185 | -118500 | -0.1185 | 1345 | 1496 | -151 | -15100 | -0.0151
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 9632 | 9456 | 176 | 13200 | 0.0132 | 40038 | 40047 | -9 | -675 | -0.000675
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 11942 | 11903 | 39 | 3900 | 0.0039 | 1876 | 1862 | 14 | 1400 | 0.0014
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996155 | 996358 | -203 | -203000 | -0.203 | 104957 | 104998 | -41 | -41000 | -0.041
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995026 | 995232 | -206 | -206000 | -0.206 | 2605 | 2705 | -100 | -100000 | -0.1
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985384 | 985473 | -89 | -89000 | -0.089 | 144895 | 144909 | -14 | -14000 | -0.014
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999654 | 999773 | -119 | -297500 | -0.2975 | 862 | 888 | -26 | -65000 | -0.065
[10 empty] | -0.7955 |  |  |  |  | -0.22
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997693 | 998043 | -350 | -350000 | -0.35 | 2242 | 2242 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9861 | 10048 | -187 | -29920 | -0.02992 | 26039 | 25986 | 53 | 8480 | 0.00848
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3889 | 3919 | -30 | -6000 | -0.006 | 7631 | 7650 | -19 | -3800 | -0.0038
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986959 | 987844 | -885 | -885000 | -0.885 | 999247 | 999247 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998671 | 998671 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
DECEMBER-2019
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997018 | 997149 | -131 | 131000 | 0.131 | 990250 | 990251 | -1 | 1000 | 0.001
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998488 | 998622 | -134 | 134000 | 0.134 | 995997 | 995997 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997393 | 997373 | 20 | -40000 | -0.04 | 996928 | 996928 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998828 | 998788 | 40 | -40000 | -0.04 | 996231 | 996231 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 1249 | 1249 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 101967 | 101853 | 114 | 11400 | 0.0114 | 75513 | 75522 | -9 | -900 | -0.0009
37 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4476 | 4476 | 0 | 0 | 0 | 1182 | 1182 | 0 | 0 | 0
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 25858 | 27335 | -1477 | -147700 | -0.1477 | 70289 | 70288 | 1 | 100 | 0.0001
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 22236 | 22260 | -24 | -2400 | -0.0024 | 4890 | 4890 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 416099 | 411697 | 4402 | -440200 | -0.4402 | 84601 | 84596 | 5 | -500 | -0.0005
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5324 | 5604 | -280 | 280000 | 0.28 | 1888 | 1888 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10812 | 10812 | 0 | 0 | 0 | 21999 | 21965 | 34 | -2550 | -0.00255
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5305 | 5305 | 0 | 0 | 0 | 13887 | 13829 | 58 | -5800 | -0.0058
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -4.5751 |  |  |  |  | -0.32612
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -4.5751 |  |  |  |  | -0.32612
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.8581 |  |  |  |  | -0.0051753
| TOTAL ENERGY TO NDMC | [8 empty] | -5.4332 |  |  |  |  | -0.3313

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2019
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3779 | 3779 | 0 | 0 | 0 | 64594 | 63383 | 1211 | 242200 | 0.2422
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 0 | 0 | 0 | 0 | 0 | 2398 | 1504 | 894 | 143040 | 0.14304
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4474 | 4475 | -1 | -1000 | -0.001 | 55572 | 55521 | 51 | 51000 | 0.051
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 162 | 162 | 0 | 0 | 0 | 16785 | 16810 | -25 | -10000 | -0.01
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 49 | 55 | -6 | -4800 | -0.0048 | 482 | 427 | 55 | 44000 | 0.044
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1424 | 1455 | -31 | -12400 | -0.0124 | 4670 | 4674 | -4 | -1600 | -0.0016
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1385 | 1464 | -79 | -79000 | -0.079 | 998468 | 998474 | -6 | -6000 | -0.006
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0972 |  |  |  |  | 0.46264
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 66612 | 66594 | 18 | 1800 | 0.0018 | 102006 | 101959 | 47 | 4700 | 0.0047
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 3 | 0 | 3 | 112.5 | 0.0001125 | 71 | 34 | 37 | 1387.5 | 0.0013875
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 100 | 607 | 586 | 21 | 2100 | 0.0021 | 18495 | 17379 | 1116 | 111600 | 0.1116
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 75 | 75 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 738 | 738 | 0 | 0 | 0 | 1664 | 1667 | -3 | -225 | -0.000225
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4364 | 4364 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0040125 |  |  |  |  | 0.11746
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0972 |  |  |  |  | 0.46264
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.093188 |  |  |  |  | 0.5801
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.093188 | (REACTIVE MUs) |  |  |  | 0.5801 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.21127 | (REACTIVE MUs) |  |  |  | -0.0012742 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.30446 | (REACTIVE MUs) |  |  |  | 0.57883 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2019
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 990793 | 991197 | -404 | -252500 | -0.2525 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 992092 | 992485 | -393 | -245625 | -0.24563 | 999844 | 999844 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 6733 | 4491 | 2242 | 896800 | 0.8968 | 5995 | 5995 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.39868 |  |  |  |  | 0
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.088668 |  |  |  |  | -0.00053477
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.31001 |  |  |  |  | -0.00053477

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2019
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 966339 | 967116 | -777 | -77700 | -0.0777 | 2033 | 2033 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 62069 | 65319 | -3250 | -325000 | -0.325 | 6263 | 6263 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 15146 | 15266 | -120 | -60000 | -0.06 | 3870 | 3870 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998301 | 997956 | 345 | 323437.5 | 0.32344 | 87 | 87 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 994596 | 994836 | -240 | 120000 | 0.12 | 999825 | 999825 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993680 | 993758 | -78 | 39000 | 0.039 | 999852 | 999852 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 185 | 154 | 31 | 9300 | 0.0093 | 76 | 112 | -36 | -10800 | -0.0108
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.029037 |  |  |  |  | -0.0108
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 976692 | 978687 | -1995 | -399000 | -0.399 | 999795 | 999795 | 0 | 0 | 0
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 989664 | 990250 | -586 | -549375 | -0.54937 | 999929 | 999929 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.94837 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1799 | 1883 | -84 | -105000 | -0.105 | 999934 | 999934 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 370906 | 365935 | 4971 | 497100 | 0.4971 | 179814 | 179814 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 317650 | 309602 | 8048 | 503000 | 0.503 | 104171 | 104171 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2841 | 3145 | -304 | -243200 | -0.2432 | 1733 | 1733 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 960440 | 962038 | -1598 | -159800 | -0.1598 | 999097 | 999097 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 997310 | 998126 | -816 | -122400 | -0.1224 | 990474 | 990473 | 1 | 150 | 0.00015
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997382 | 997395 | -13 | 32500 | 0.0325 | 3054 | 3054 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 185 | 154 | 31 | -9300 | -0.0093 | 76 | 112 | -36 | 10800 | 0.0108
| TOTAL NDPL | [8 empty] | 0.3929 |  |  |  |  | 0.01095
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.029037 |  |  |  |  | -0.0108
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.94837 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.3929 |  |  |  |  | 0.01095

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2019
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 85753 | 84015 | 1738 | 1738000 | 1.738 | 23532 | 23513 | 19 | 19000 | 0.019
[5 empty] | 1000 | [5 empty] | 22574 | 22399 | 175 | 175000 | 0.175
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 3033 | 2255 | 778 | 1556000 | 1.556 | 999537 | 999433 | 104 | 208000 | 0.208
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 954611 | 956490 | -1879 | 939500 | 0.9395 | 998674 | 998675 | -1 | 500 | 0.0005
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 610200 | 616129 | -5929 | 592900 | 0.5929 | 997094 | 997094 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 4.8264 |  | NET REACTIVE ENERGY |  |  | 0.4025
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 4.8264 |  |  |  |  | 0.4025
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -13.332 |  |  |  |  | 0.012
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -9.8911 |  |  |  |  | -0.31025
[7 empty] | NDMC = |  |  | -0.7955 |  |  |  |  | -0.22
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -24.0186 |  |  |  |  | -0.51825
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -19.1922 |  |  |  |  | -0.11575
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.9224 | % |  |  | -5.9347 |  |  |  |  | -0.035793
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.1925 | % |  |  | -8.0977 |  |  |  |  | -0.048838
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 20.8513 | % |  |  | -4.0018 |  |  |  |  | -0.024135
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.4711 | % |  |  | -0.8581 |  |  |  |  | -0.0051753
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.1008 | % |  |  | -0.21127 |  |  |  |  | -0.0012742
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.462 | % |  |  | -0.088668 |  |  |  |  | -0.00053477
Note :Sharing taken from wk-39 abt bill 2019-20
.

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st DECEMBER-2019 TO 31st DECEMBER-2019
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -73.1096 |  | -0.51028
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -71.3373 | + | 0.77111
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -44.1438 |  | -0.48491
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -5.4332 |  | -0.3313
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.30446 | + | 0.57883
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.31001 |  | -0.00053477
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/01/2020 | INTIAL READING 01/12/2019 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 70850 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 810396 | 814103 | -3707 | -2780250 | -2.7803 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1571 | 1774 | -203 | -1015000 | -1.015 | 13229 | 13228 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 862424 | 861296 | 1128 | 1128000 | 1.128
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 980228 | 978798 | 1430 | 1430000 | 1.43 | 466 | 272 | 194 | 194000 | 0.194
[8 empty] | NET REACTIVE ENERGY |  | 0.415 |  |  | NET REACTIVE ENERGY |  | 1.327