## NDPL
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965753 | 966284 | -531 | 531000 | 0.531 | 998278 | 998278 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 75208 | 72968 | 2240 | -4480000 | -4.48 | 2167 | 2167 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 927607 | 928131 | -524 | 524000 | 0.524 | 990548 | 990548 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996371 | 997600 | -1229 | 1229000 | 1.229 | 993120 | 993120 | 0 | 0 | 0
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 876718 | 876933 | -215 | 215000 | 0.215 | 987633 | 987633 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29079 | 28887 | 192 | -192000 | -0.192 | 16151 | 16151 | 0 | 0 | 0
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4133 | 4060 | 73 | -73000 | -0.073 | 998124 | 998124 | 0 | 0 | 0
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1092 | 1552 | -460 | 460000 | 0.46 | 998249 | 998249 | 0 | 0 | 0
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 965706 | 968128 | -2422 | 1211000 | 1.211 | 843893 | 843893 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1944 | 3179 | -1235 | 1235000 | 1.235 | 998340 | 998340 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39704 | 39474 | 230 | -230000 | -0.23 | 998364 | 998364 | 0 | 0 | 0
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16554 | 14837 | 1717 | -1717000 | -1.717 | 996886 | 996886 | 0 | 0 | 0
13 | Tx.-4 | 40001536 | ELSTER | Kvarh(Lead/Lag) | -1 | 2067 | 69 | 1998 | -1998 | -1.998 | 99999954 | 99999954 | 0 | 0 | 0
14 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 828693 | 831699 | -3006 | -3006000 | -3.006 | 999981 | 999981 | 0 | 0 | 0
15 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 939788 | 942306 | -2518 | -2518000 | -2.518 | 999995 | 999995 | 0 | 0 | 0
NARELA
16 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1280 | 288 | 992 | -992000 | -0.992 | 0 | 0 | 0 | 0 | 0
17 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 29597 | 24189 | 5408 | -2704000 | -2.704 | 999935 | 999935 | 0 | 0 | 0
18 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40944 | 41061 | -117 | 117000 | 0.117 | 146 | 146 | 0 | 0 | 0
NARAINA
19 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999940 | 999941 | -1 | -1000 | -0.001 | 991898 | 991883 | 15 | 15000 | 0.015
20 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 614 | 634 | -20 | -20000 | -0.02 | 21968 | 21966 | 2 | 2000 | 0.002
21 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1354 | 1350 | 4 | 2000 | 0.002 | 11753 | 11498 | 255 | 127500 | 0.1275
22 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 843 | 32 | 811 | 40550 | 0.04055 | 4157 | 1553 | 2604 | 130200 | 0.1302
23 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995495 | 995515 | -20 | -20000 | -0.02 | 984280 | 984179 | 101 | 101000 | 0.101
24 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999998 | 1000002 | -4 | -4000 | -0.004 | 538 | 453 | 85 | 85000 | 0.085
25 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 58539 | 56980 | 1559 | 155900 | 0.1559 | 189866 | 189793 | 73 | 7300 | 0.0073
KASHMIRI GATE
26 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 970790 | 973602 | -2812 | -2812000 | -2.812 | 999814 | 999814 | 0 | 0 | 0
27 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 555745 | 555745 | 0 | 0 | 0 | 829224 | 829224 | 0 | 0 | 0 | Meter Faulty
[10 empty] | -0.64061 |  |  |  |  | 0 | Assessment
|  | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 998226 | 1000000 | -1774 | -887000 | -0.887 | 0 | 0 | 0 | 0 | 0 | w.e.f 14/10
28 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1000194 | 999915 | 279 | 74400.93 | 0.074401 | 999846 | 999846 | 0 | 0 | 0
29 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 1192 | 1024 | 168 | 84000 | 0.084 | 999913 | 999913 | 0 | 0 | 0
KANJAWALA
30 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26060 | 24189 | 1871 | -1871000 | -1.871 | 996470 | 996470 | 0 | 0 | 0
31 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 125993 | 120196 | 5797 | -2898500 | -2.8985 | 14662 | 14662 | 0 | 0 | 0
32 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999475 | 999757 | -282 | 564000 | 0.564 | 0 | 0 | 0 | 0 | 0
BAWANA
33 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15637 | 14000 | 1637 | -1637000 | -1.637 | 999961 | 999961 | 0 | 0 | 0
DSIDC BAWANA
34 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 57820 | 52618 | 5202 | -10404000 | -10.404 | 287 | 287 | 0 | 0 | 0
35 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 66632 | 63697 | 2935 | -2935000 | -2.935 | 998491 | 998491 | 0 | 0 | 0
36 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 126465 | 121147 | 5318 | -5318000 | -5.318 | 2788 | 2788 | 0 | 0 | 0
ROHINI-II
37 | Tx.1 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26006 | 19087 | 6919 | -6919000 | -6.919 | 497 | 497 | 0 | 0 | 0
38 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33525 | 30086 | 3439 | -3439000 | -3.439 | 1177 | 1177 | 0 | 0 | 0
WAZIRPUR
39 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997062 | 997942 | -880 | 880000 | 0.88 | 998540 | 998540 | 0 | 0 | 0
40 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31271 | 30351 | 920 | -920000 | -0.92 | 1622 | 1622 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
41 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 750 | 756 | -6 | -6000 | -0.006 | 28109 | 28110 | -1 | -1000 | -0.001
42 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
| NDPL(+) continue | [14 empty] | OCTOBER-2019
DMS
43 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1116 | 1150 | -34 | -34000 | -0.034 | 61258 | 61258 | 0 | 0 | 0
VISHAL
44 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999553 | 999545 | 8 | 800 | 0.0008 | 999988 | 999843 | 145 | 14500 | 0.0145
46 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2739 | 2734 | 5 | 500 | 0.0005 | 28636 | 28585 | 51 | 5100 | 0.0051
S.B.MILL
47 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 718 | 671 | 47 | 62651 | 0.062651 | 482 | 474 | 8 | 10664 | 0.010664
48 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3179 | 3033 | 146 | 14600 | 0.0146 | 1594 | 1591 | 3 | 300 | 0.0003
49 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
50 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
51 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1624 | 1285 | 339 | 33900 | 0.0339 | 1312 | 1085 | 227 | 22700 | 0.0227
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999907 | 999859 | 48 | 24000 | 0.024 | 1545 | 1545 | 0 | 0 | 0
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2236 | 2074 | 162 | 108000.54 | 0.108 | 259 | 259 | 0 | 0 | 0
56 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 461 | 120 | 341 | 170500 | 0.1705 | 75 | 75 | 0 | 0 | 0
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 996837 | 996876 | -39 | -3900 | -0.0039 | 4082 | 4089 | -7 | -700 | -0.0007
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
60 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
61 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 8211 | 7853 | 358 | 35800 | 0.0358 | 11693 | 11630 | 63 | 6300 | 0.0063
62 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 8975 | 8505 | 470 | 47000 | 0.047 | 1764 | 1725 | 39 | 3900 | 0.0039
63 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 28154 | 27761 | 393 | 39300 | 0.0393 | 7190 | 7157 | 33 | 3300 | 0.0033
KASHMIRI GATE
64 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 50580 | 46436 | 4144 | 414400 | 0.4144 | 1500 | 1500 | 0 | 0 | 0
65 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 8 | 4 | 4 | 533.32 | 0.00053332 | 323 | 208 | 115 | 15332.95 | 0.015333
66 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 17 | 15 | 2 | -600 | -0.0006 | 622 | 323 | 299 | -89700 | -0.0897
REWARI LINE (11KV TRANSFER OF ENERGY)
67 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
68 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999972 | 999977 | -5 | -2000 | -0.002 | 999695 | 999705 | -10 | -4000 | -0.004
MUNDKA
69 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 982224 | 983580 | -1356 | -1084800 | -1.0848 | 999760 | 999760 | 0 | 0 | 0
70 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 998015 | 998229 | -214 | -428000 | -0.428 | 1061 | 1061 | 0 | 0 | 0
PEERAGARHI
71 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 988871 | 988342 | 529 | 105800 | 0.1058 | 378 | 378 | 0 | 0 | 0
72 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 1000764 | 999344 | 1420 | 355000 | 0.355 | 322 | 322 | 0 | 0 | 0
REWARI LINE
73 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999057 | 999694 | -637 | -637000 | -0.637 | 2396 | 2396 | 0 | 0 | 0
74 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1446 | 1313 | 133 | 99750 | 0.09975 | 3270 | 3264 | 6 | 4500 | 0.0045
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -51.997 |  |  |  |  | 0.4592
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 15051 | 13313 | 1738 | -173800 | -0.1738 | 119251 | 119193 | 58 | -5800 | -0.0058
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 206 | 9 | 197 | -157600 | -0.1576 | 24 | 24 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 668 | 218 | 450 | -450000 | -0.45 | 37 | 37 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 5751 | 2679 | 3072 | -409589.76 | -0.40959 | 218 | 218 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998409 | 998642 | -233 | 43687.5 | 0.043687 | 999962 | 999962 | 0 | 0 | 0
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 941119 | 943036 | -1917 | 1533600 | 1.5336 | 998182 | 998182 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991676 | 992498 | -822 | 513750 | 0.51375 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 993058 | 993208 | -150 | 93750 | 0.09375 | 999844 | 999844 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999272 | 999362 | -90 | 18000 | 0.018 | 14061 | 14065 | -4 | 800 | 0.0008
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 996238 | 996815 | -577 | 108187.5 | 0.10819 | 5607 | 5614 | -7 | 1312.5 | 0.0013125
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997687 | 998586 | -899 | 168562.5 | 0.16856 | 4318 | 4320 | -2 | 375 | 0.000375
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 2866 | 2242 | 624 | -156000 | -0.156 | 7762 | 7755 | 7 | -1750 | -0.00175
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 1000043 | 999856 | 187 | -18700 | -0.0187 | 28225 | 28179 | 46 | -4600 | -0.0046
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.1138 |  |  |  |  | -0.0096625
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -51.997 |  |  |  |  | 0.4592
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.1138 |  |  |  |  | -0.0096625
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.5434 |  |  |  |  | 0.000875
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -49.3397 |  |  |  |  | 0.45041
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -49.3397 | (REACTIVE MUs) |  |  |  | 0.45041 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -8.5588 | (REACTIVE MUs) |  |  |  | 0.006269 | (REACTIVE MUs)
[9 empty] | TOTAL | -57.8986 | (REACTIVE MUs) |  |  |  | 0.45668 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | OCTOBER-2019
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 30083 | 29308 | 775 | 77500 | 0.0775 | 994371 | 994338 | 33 | 3300 | 0.0033
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 12929 | 11653 | 1276 | 382800 | 0.3828 | 4728 | 4693 | 35 | 10500 | 0.0105
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 77403 | 57783 | 19620 | 1471500 | 1.4715 | 394370 | 393989 | 381 | 28575 | 0.028575
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 995372 | 994761 | 611 | 183300 | 0.1833 | 6019 | 6016 | 3 | 900 | 0.0009
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1758 | 1719 | 39 | 51998.7 | 0.051999 | 3630 | 3630 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 6900 | 5127 | 1773 | 177300 | 0.1773 | 970 | 941 | 29 | 2900 | 0.0029
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 93570 | 76090 | 17480 | 1311000 | 1.311 | 42046 | 42019 | 27 | 2025 | 0.002025
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982752 | 982583 | 169 | 169000 | 0.169 | 2313 | 2259 | 54 | 54000 | 0.054
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 995437 | 995901 | -464 | -232000 | -0.232 | 249 | 285 | -36 | -18000 | -0.018
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998172 | 998321 | -149 | -149000 | -0.149 | 1585 | 1632 | -47 | -47000 | -0.047
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990485 | 990853 | -368 | -368000 | -0.368 | 1399 | 1458 | -59 | -59000 | -0.059
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992966 | 991955 | 1011 | 1011000 | 1.011 | 6252 | 6252 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999426 | 999898 | -472 | -472000 | -0.472 | 998671 | 998673 | -2 | -2000 | -0.002
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997087 | 997437 | -350 | -350000 | -0.35 | 999794 | 999794 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 996831 | 996297 | 534 | 427200 | 0.4272 | 5204 | 5200 | 4 | 3200 | 0.0032
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 1643 | 2371 | -728 | -97064.24 | -0.097064 | 3294 | 2939 | 355 | 47332.15 | 0.047332
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1368 | 1450 | -82 | -82000 | -0.082 | 9730 | 9730 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2356 | 2053 | 303 | 303000 | 0.303 | 17369 | 17416 | -47 | -47000 | -0.047
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 973706 | 974034 | -328 | -410000 | -0.41 | 950995 | 950999 | -4 | -5000 | -0.005
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 989980 | 990846 | -866 | -952600 | -0.9526 | 936878 | 936883 | -5 | -5500 | -0.0055
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 957850 | 958238 | -388 | -388000 | -0.388 | 6302 | 6303 | -1 | -1000 | -0.001
| KASHMIRI GATE | [8 empty] | -1.7506 |  |  |  |  | -0.0115
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991472 | 992324 | -852 | 852000 | 0.852 | 998807 | 998807 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987935 | 989593 | -1658 | 1658000 | 1.658 | 999038 | 999038 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 17 | 15 | 2 | 600 | 0.0006 | 622 | 323 | 299 | 89700 | 0.0897
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999830 | 999830 | 0 | 0 | 0 | 13739 | 13612 | 127 | 127000 | 0.127
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 111135 | 107448 | 3687 | -3687000 | -3.687 | 8280 | 8278 | 2 | -2000 | -0.002
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29581 | 29151 | 430 | -430000 | -0.43 | 999904 | 1000097 | -193 | 193000 | 0.193
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) |  | 997423 | 998026 | -603 | 0 | 0 | 999335 | 999335 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996611 | 996781 | -170 | 170000 | 0.17 | 998961 | 999008 | -47 | 47000 | 0.047
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996500 | 996652 | -152 | 152000 | 0.152 | 983031 | 983033 | -2 | 2000 | 0.002
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23190 | 20522 | 2668 | -2668000 | -2.668 | 287 | 287 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 17172 | 15519 | 1653 | -3306000 | -3.306 | 22 | 22 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 668 | 218 | 450 | 450000 | 0.45 | 37 | 37 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) |  | 5751 | 2679 | 3072 | 0 | 0 | 218 | 218 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 995168 | 996350 | -1182 | -157206 | -0.15721 | 10322 | 10322 | 0 | 0 | 0
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955113 | 956406 | -1293 | 1293000 | 1.293 | 990185 | 990185 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981162 | 982478 | -1316 | 1316000 | 1.316 | 999926 | 999926 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -2.2917 |  |  |  |  | 0.42493
| (A) NET ENERGY TO CENTRAL | [8 empty] | -2.2917 |  |  |  |  | 0.42493
OCTOBER-2019
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989138 | 991417 | -2279 | 2279000 | 2.279 | 997670 | 997670 | 0 | 0 | 0
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987076 | 988576 | -1500 | 1500000 | 1.5 | 963289 | 963289 | 0 | 0 | 0
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994167 | 996619 | -2452 | 2452000 | 2.452 | 998551 | 998551 | 0 | 0 | 0
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986570 | 988941 | -2371 | 2371000 | 2.371 | 999310 | 999310 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17012 | 16560 | 452 | -452000 | -0.452 | 997375 | 997375 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3114 | 2625 | 489 | -489000 | -0.489 | 996311 | 996311 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7192 | 7192 | 0 | 0 | 0 | 999511 | 999511 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8363 | 7964 | 399 | -399000 | -0.399 | 951787 | 951856 | -69 | 69000 | 0.069
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 956439 | 956466 | -27 | 27000 | 0.027 | 993488 | 993581 | -93 | 93000 | 0.093
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970409 | 971364 | -955 | 955000 | 0.955 | 977717 | 977717 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958729 | 958874 | -145 | 145000 | 0.145 | 825393 | 825427 | -34 | 34000 | 0.034
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36178 | 36178 | 0 | 0 | 0 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37550 | 34189 | 3361 | -3361000 | -3.361 | 111 | 111 | 0 | 0 | 0
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30860 | 21193 | 9667 | -9667000 | -9.667 | 919505 | 919505 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -4.639 |  |  |  |  | 0.196
| (B) NET ENERGY TO EAST | [8 empty] | -4.639 |  |  |  |  | 0.196
OCTOBER-2019
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 1000194 | 999915 | 279 | -74400.93 | -0.074401 | 999846 | 999846 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 1192 | 1024 | 168 | -84000 | -0.084 | 999913 | 999913 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2617 | 2858 | -241 | 64265.06 | 0.064265 | 2150 | 2150 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 97727 | 92949 | 4778 | -477800 | -0.4778 | 152230 | 152223 | 7 | -700 | -0.0007
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 993584 | 994262 | -678 | 135600 | 0.1356 | 999322 | 999321 | 1 | -200 | -0.0002
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 68941 | 65788 | 3153 | -630600 | -0.6306 | 132702 | 132700 | 2 | -400 | -0.0004
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 801 | 701 | 100 | -80000 | -0.08 | 2557 | 2537 | 20 | -16000 | -0.016
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3154 | 3214 | -60 | 48000 | 0.048 | 1308 | 1305 | 3 | -2400 | -0.0024
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 999732 | 999989 | -257 | 205600 | 0.2056 | 999019 | 999043 | -24 | 19200 | 0.0192
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 966251 | 966395 | -144 | 115200 | 0.1152 | 981396 | 981611 | -215 | 172000 | 0.172
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 972679 | 973385 | -706 | 564800 | 0.5648 | 990096 | 990127 | -31 | 24800 | 0.0248
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999652 | 999909 | -257 | 514000 | 0.514 | 999598 | 999594 | 4 | -8000 | -0.008
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997861 | 997861 | 0 | 0 | 0 | 999540 | 999540 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 750 | 756 | -6 | 6000 | 0.006 | 28109 | 28110 | -1 | 1000 | 0.001
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 53983 | 53983 | 0 | 0 | 0 | 26360 | 26360 | 0 | 0 | 0
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1116 | 1150 | -34 | 34000 | 0.034 | 61258 | 61258 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999907 | 999859 | 48 | -24000 | -0.024 | 1545 | 1545 | 0 | 0 | 0
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2236 | 2074 | 162 | -108000.54 | -0.108 | 259 | 259 | 0 | 0 | 0
21 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 461 | 120 | 341 | -170500 | -0.1705 | 75 | 75 | 0 | 0 | 0
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 50580 | 46436 | 4144 | -414400 | -0.4144 | 1500 | 1500 | 0 | 0 | 0
23 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 8 | 4 | 4 | -533.32 | -0.00053332 | 323 | 208 | 115 | -15332.95 | -0.015333
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 996837 | 996876 | -39 | 3900 | 0.0039 | 4082 | 4089 | -7 | 700 | 0.0007
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 8211 | 7853 | 358 | -35800 | -0.0358 | 11693 | 11630 | 63 | -6300 | -0.0063
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 8975 | 8505 | 470 | -47000 | -0.047 | 1764 | 1725 | 39 | -3900 | -0.0039
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 28154 | 27761 | 393 | -39300 | -0.0393 | 7190 | 7157 | 33 | -3300 | -0.0033
[10 empty] | -0.49497 |  |  |  |  | 0.16117
OCTOBER-2019
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -2.2917 |  |  |  |  | 0.42493
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.49497 |  |  |  |  | 0.16117
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.31694 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -3.1036 |  |  |  |  | 0.5861
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -4.639 |  |  |  |  | 0.196
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -7.7426 |  |  |  |  | 0.7821
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -7.7426 | (REACTIVE MUs) |  |  |  | 0.7821 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -6.4525 | (REACTIVE MUs) |  |  |  | 0.0047262 | (REACTIVE MUs)
[9 empty] | TOTAL | -14.1951 | (REACTIVE MUs) |  |  |  | 0.78683 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | OCTOBER-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999211 | 999287 | -76 | -380000 | -0.38 | 998860 | 998860 | 0 | 0 | 0
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 980931 | 981103 | -172 | -229332.76 | -0.22933 | 670361 | 670363 | -2 | -2666.66 | -0.0026667
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 996872 | 997076 | -204 | -40800 | -0.0408 | 2629 | 2645 | -16 | -3200 | -0.0032
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 102 | 13 | 89 | 118666.37 | 0.11867 | 999697 | 999695 | 2 | 2666.66 | 0.0026667
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 999730 | 1000173 | -443 | -664500 | -0.6645 | 999981 | 999989 | -8 | -12000 | -0.012
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18161 | 18752 | -591 | -59100 | -0.0591 | 22621 | 22629 | -8 | -800 | -0.0008
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 665616 | 672100 | -6484 | -486300 | -0.4863 | 980809 | 980824 | -15 | -1125 | -0.001125
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 989352 | 992017 | -2665 | -199875 | -0.19987 | 18652 | 18668 | -16 | -1200 | -0.0012
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 995995 | 996250 | -255 | -229500 | -0.2295 | 995282 | 995287 | -5 | -4500 | -0.0045
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 477 | 1822 | -1345 | -134500 | -0.1345 | 265584 | 265592 | -8 | -800 | -0.0008
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8691 | 8118 | 573 | -573000 | -0.573 | 996511 | 996511 | 0 | 0 | 0
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1049 | 1043 | 6 | -12000 | -0.012 | 997774 | 997778 | -4 | 8000 | 0.008
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13326 | 13506 | -180 | 180000 | 0.18 | 996723 | 996723 | 0 | 0 | 0
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975583 | 975365 | 218 | -218000 | -0.218 | 989301 | 989344 | -43 | 43000 | 0.043
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52993 | 51441 | 1552 | -1552000 | -1.552 | 998795 | 998796 | -1 | 1000 | 0.001
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 57371 | 55694 | 1677 | -838500 | -0.8385 | 32945 | 32886 | 59 | -29500 | -0.0295
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 10652 | 9908 | 744 | -1488000 | -1.488 | 998105 | 998106 | -1 | 2000 | 0.002
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21760 | 22539 | -779 | 779000 | 0.779 | 815710 | 815789 | -79 | 79000 | 0.079
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61 | 55 | 6 | -6000 | -0.006 | 1031 | 975 | 56 | -56000 | -0.056
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 39742 | 38330 | 1412 | -1129600 | -1.1296 | 997830 | 997936 | -106 | 84800 | 0.0848
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 281 | 64 | 217 | -217000 | -0.217 | 962043 | 962069 | -26 | 26000 | 0.026
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994166 | 995048 | -882 | 882000 | 0.882 | 993063 | 993073 | -10 | 10000 | 0.01
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 941851 | 941851 | 0 | 0 | 0 | 984032 | 984032 | 0 | 0 | 0
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1649 | 1584 | 65 | -65000 | -0.065 | 997440 | 997447 | -7 | 7000 | 0.007
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3933 | 3889 | 44 | -44000 | -0.044 | 999950 | 999950 | 0 | 0 | 0
[5 empty] | -1000 | 1704 | 1522 | 182 | -182000 | -0.182
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 265 | 185 | 80 | -80000 | -0.08 | 18 | 18 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 111532 | 103440 | 8092 | -8092000 | -8.092 | 12004 | 12004 | 0 | 0 | 0
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 4495 | 5093 | -598 | 1993331.34 | 1.9933 | 37 | 37 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 206 | 9 | 197 | 157600 | 0.1576 | 24 | 24 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969694 | 973874 | -4180 | 4180000 | 4.18 | 966013 | 966013 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987383 | 989289 | -1906 | 1906000 | 1.906 | 984113 | 984113 | 0 | 0 | 0
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994001 | 990434 | 3567 | -3567000 | -3.567 | 985500 | 985500 | 0 | 0 | 0
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 5756 | 5453 | 303 | -242400 | -0.2424 | 999088 | 999168 | -80 | 64000 | 0.064
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 3199 | 3048 | 151 | -241600 | -0.2416 | 999899 | 999940 | -41 | 65600 | 0.0656
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996356 | 996356 | 0 | 0 | 0 | 995335 | 995335 | 0 | 0 | 0
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 1540 | 1094 | 446 | -223000 | -0.223 | 992104 | 992104 | 0 | 0 | 0
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18429 | 18610 | -181 | 181000 | 0.181 | 32663 | 32663 | 0 | 0 | 0
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998135 | 998407 | -272 | 272000 | 0.272 | 996109 | 996109 | 0 | 0 | 0
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999131 | 999447 | -316 | 316000 | 0.316 | 999254 | 999254 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | OCTOBER-2019
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36006 | 33820 | 2186 | -2186000 | -2.186 | 999655 | 999685 | -30 | 30000 | 0.03
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9230 | 9606 | -376 | 376000 | 0.376 | 999008 | 999055 | -47 | 47000 | 0.047
42 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12833 | 11148 | 1685 | -1685000 | -1.685 | 998963 | 998963 | 0 | 0 | 0
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996987 | 997406 | -419 | 419000 | 0.419 | 925479 | 925479 | 0 | 0 | 0
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26323 | 24505 | 1818 | -1818000 | -1.818 | 7984 | 7984 | 0 | 0 | 0
46 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1355 | 2674 | -1319 | 2638000 | 2.638 | 994270 | 994270 | 0 | 0 | 0
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42232 | 39314 | 2918 | -2918000 | -2.918 | 997183 | 997183 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 18987 | 18514 | 473 | -946000 | -0.946 | 999381 | 999381 | 0 | 0 | 0
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7906 | 7737 | 169 | -338000 | -0.338 | 2354 | 2354 | 0 | 0 | 0
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5316 | 5085 | 231 | -462000 | -0.462 | 1314 | 1314 | 0 | 0 | 0
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919713 | 919718 | -5 | 5000 | 0.005 | 979556 | 979690 | -134 | 134000 | 0.134
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2220 | 2233 | -13 | 13000 | 0.013 | 995070 | 995188 | -118 | 118000 | 0.118
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1850 | 1986 | -136 | 136000 | 0.136 | 987571 | 987593 | -22 | 22000 | 0.022
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 988756 | 989688 | -932 | -745600 | -0.7456 | 611 | 611 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 962927 | 966971 | -4044 | -3235200 | -3.2352 | 999590 | 999590 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1103 | 1287 | -184 | -147200 | -0.1472 | 999823 | 999823 | 0 | 0 | 0
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 997672 | 997825 | -153 | -122400 | -0.1224 | 34 | 34 | 0 | 0 | 0
PARK STREET
60 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997861 | 997861 | 0 | 0 | 0 | 999540 | 999540 | 0 | 0 | 0
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51034 | 47039 | 3995 | -3995000 | -3.995 | 923 | 923 | 0 | 0 | 0
63 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 83134 | 77731 | 5403 | -5403000 | -5.403 | 722 | 722 | 0 | 0 | 0
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 85125 | 82200 | 2925 | -2925000 | -2.925 | 708 | 708 | 0 | 0 | 0
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 15051 | 13313 | 1738 | 173800 | 0.1738 | 119251 | 119193 | 58 | 5800 | 0.0058
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998409 | 998642 | -233 | -43687.5 | -0.043687 | 999962 | 999962 | 0 | 0 | 0
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 956538 | 957691 | -1153 | -461200 | -0.4612 | 995624 | 995623 | 1 | 400 | 0.0004
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 14359 | 13179 | 1180 | 472000 | 0.472 | 72077 | 72077 | 0 | 0 | 0
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 941119 | 943036 | -1917 | -1533600 | -1.5336 | 998182 | 998182 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 402248 | 398737 | 3511 | 351100 | 0.3511 | 84596 | 84368 | 228 | 22800 | 0.0228
[5 empty] | 100 | 395847 | 391753 | 4094 | 409400 | 0.4094
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5722 | 5670 | 52 | 52000 | 0.052 | 1888 | 1883 | 5 | 5000 | 0.005
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10812 | 10812 | 0 | 0 | 0 | 21819 | 21507 | 312 | 23400 | 0.0234
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5305 | 5305 | 0 | 0 | 0 | 13761 | 13627 | 134 | 13400 | 0.0134
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 10027 | 8264 | 1763 | 881500 | 0.8815 | 3137 | 3137 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1191 | 1249 | -58 | -58000 | -0.058 | 4082 | 4082 | 0 | 0 | 0
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990625 | 991167 | -542 | -542000 | -0.542 | 1098 | 1098 | 0 | 0 | 0
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5883 | 5360 | 523 | 523000 | 0.523 | 6499 | 6499 | 0 | 0 | 0
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 6271 | 4766 | 1505 | 240800 | 0.2408 | 999793 | 999793 | 0 | 0 | 0
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 195056 | 189868 | 5188 | 518800 | 0.5188 | 47062 | 47062 | 0 | 0 | 0
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3451 | 3112 | 339 | 339000 | 0.339 | 707 | 707 | 0 | 0 | 0
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3985 | 3767 | 218 | 218000 | 0.218 | 6908 | 6908 | 0 | 0 | 0
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999272 | 999362 | -90 | -18000 | -0.018 | 14061 | 14065 | -4 | -800 | -0.0008
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996238 | 996815 | -577 | -108187.5 | -0.10819 | 5607 | 5614 | -7 | -1312.5 | -0.0013125
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997687 | 998586 | -899 | -168562.5 | -0.16856 | 4318 | 4320 | -2 | -375 | -0.000375
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 2866 | 2242 | 624 | 156000 | 0.156 | 7762 | 7755 | 7 | 1750 | 0.00175
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000043 | 999856 | 187 | 18700 | 0.0187 | 28225 | 28179 | 46 | 4600 | 0.0046
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -32.1479 |  |  |  |  | 0.70694
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2019
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 22260 | 22260 | 0 | 0 | 0 | 4890 | 4890 | 0 | 0 | 0 | w.e.f 21/10
[5 empty] | -100 | 22260 | 22260 | 0 | 0 | 0 | 4890 | 4726 | 164 | -16400 | -0.0164
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 995168 | 996350 | -1182 | 157596.06 | 0.1576 | 10322 | 10322 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1569 | 1808 | -239 | 239000 | 0.239 | 998475 | 998476 | -1 | 1000 | 0.001
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997984 | 997881 | 103 | -103000 | -0.103 | 2242 | 2241 | 1 | -1000 | -0.001
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 10088 | 9134 | 954 | -152640 | -0.15264 | 25991 | 25972 | 19 | -3040 | -0.00304
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3919 | 3061 | 858 | -171600 | -0.1716 | 7650 | 7650 | 0 | 0 | 0
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988553 | 989101 | -548 | 548000 | 0.548 | 999247 | 999247 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 101549 | 101266 | 283 | -28300 | -0.0283 | 75510 | 75510 | 0 | 0 | 0
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4271 | 3390 | 881 | -88100 | -0.0881 | 1182 | 1182 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 28428 | 26787 | 1641 | -164100 | -0.1641 | 70288 | 70288 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998671 | 998671 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 1249 | 1249 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999553 | 999545 | 8 | -800 | -0.0008 | 999988 | 999843 | 145 | -14500 | -0.0145
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2739 | 2734 | 5 | -500 | -0.0005 | 28636 | 28585 | 51 | -5100 | -0.0051
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 718 | 671 | 47 | -62651 | -0.062651 | 482 | 474 | 8 | -10664 | -0.010664
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3179 | 3033 | 146 | -14600 | -0.0146 | 1594 | 1591 | 3 | -300 | -0.0003
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1624 | 1285 | 339 | -33900 | -0.0339 | 1312 | 1085 | 227 | -22700 | -0.0227
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999972 | 999977 | -5 | 2000 | 0.002 | 999695 | 999705 | -10 | 4000 | 0.004
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 1000255 | 999416 | 839 | -335600 | -0.3356 | 5995 | 5994 | 1 | -400 | -0.0004
[5 empty] | -400 | 995077 | 993968 | 1109 | -443600 | -0.4436
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999057 | 999694 | -637 | 637000 | 0.637 | 2396 | 2396 | 0 | 0 | 0
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1446 | 1313 | 133 | -99750 | -0.09975 | 3270 | 3264 | 6 | -4500 | -0.0045
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.11554 |  |  |  |  | -0.073604
OCTOBER-2019
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -32.1479 |  |  |  |  | 0.70694
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.11554 |  |  |  |  | -0.073604
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.33049 |  |  |  |  | 0.0082
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.038425 |  |  |  |  | -0.1493
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -31.9714 |  |  |  |  | 0.49223
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -31.9714 | (REACTIVE MUs) |  |  |  | 0.49223 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -12.007 | (REACTIVE MUs) |  |  |  | 0.0087947 | (REACTIVE MUs)
[9 empty] | TOTAL | -43.9785 | (REACTIVE MUs) |  |  |  | 0.50103 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2019
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2617 | 2858 | -241 | -64267.47 | -0.064267 | 2150 | 2150 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 97727 | 92949 | 4778 | 477800 | 0.4778 | 152230 | 152223 | 7 | 700 | 0.0007
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 993584 | 994262 | -678 | -135600 | -0.1356 | 999322 | 999321 | 1 | 200 | 0.0002
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 68941 | 65788 | 3153 | 630600 | 0.6306 | 132702 | 132700 | 2 | 400 | 0.0004
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 801 | 701 | 100 | 80000 | 0.08 | 2557 | 2537 | 20 | 16000 | 0.016
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3154 | 3214 | -60 | -48000 | -0.048 | 1308 | 1305 | 3 | 2400 | 0.0024
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 999732 | 999989 | -257 | -205600 | -0.2056 | 999019 | 999043 | -24 | -19200 | -0.0192
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 966251 | 966395 | -144 | -115200 | -0.1152 | 981396 | 981611 | -215 | -172000 | -0.172
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 972679 | 973385 | -706 | -564800 | -0.5648 | 990096 | 990127 | -31 | -24800 | -0.0248
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999652 | 999909 | -257 | -514000 | -0.514 | 999598 | 999594 | 4 | 8000 | 0.008
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 984044 | 987654 | -3610 | -180500 | -0.1805 | 21479 | 21530 | -51 | -2550 | -0.00255
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 985481 | 984069 | 1412 | 105900 | 0.1059 | 23390 | 23350 | 40 | 3000 | 0.003
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 999485 | 999675 | -190 | -95000 | -0.095 | 5547 | 5548 | -1 | -500 | -0.0005
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 998576 | 998900 | -324 | -121500 | -0.1215 | 7647 | 7652 | -5 | -1875 | -0.001875
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999528 | 999874 | -346 | -34600 | -0.0346 | 1508 | 1529 | -21 | -2100 | -0.0021
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 8810 | 6943 | 1867 | 140025 | 0.14003 | 40040 | 39977 | 63 | 4725 | 0.004725
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 10047 | 8851 | 1196 | 119600 | 0.1196 | 1859 | 1807 | 52 | 5200 | 0.0052
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996564 | 996626 | -62 | -62000 | -0.062 | 105018 | 105001 | 17 | 17000 | 0.017
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995804 | 996033 | -229 | -229000 | -0.229 | 2730 | 2748 | -18 | -18000 | -0.018
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985698 | 985788 | -90 | -90000 | -0.09 | 144903 | 144868 | 35 | 35000 | 0.035
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999915 | 999999 | -84 | -210000 | -0.21 | 894 | 897 | -3 | -7500 | -0.0075
[10 empty] | -0.591 |  |  |  |  | 0.0265
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997984 | 997881 | 103 | 103000 | 0.103 | 2242 | 2241 | 1 | 1000 | 0.001
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 10088 | 9134 | 954 | 152640 | 0.15264 | 25991 | 25972 | 19 | 3040 | 0.00304
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3919 | 3061 | 858 | 171600 | 0.1716 | 7650 | 7650 | 0 | 0 | 0
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988553 | 989101 | -548 | -548000 | -0.548 | 999247 | 999247 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998671 | 998671 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
OCTOBER-2019
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997675 | 998287 | -612 | 612000 | 0.612 | 990251 | 990268 | -17 | 17000 | 0.017
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999164 | 999799 | -635 | 635000 | 0.635 | 995997 | 996012 | -15 | 15000 | 0.015 | w.e.f 16/04/19
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997404 | 997598 | -194 | 388000 | 0.388 | 996928 | 996932 | -4 | 8000 | 0.008
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998855 | 999223 | -368 | 368000 | 0.368 | 996231 | 996251 | -20 | 20000 | 0.02
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 1249 | 1249 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 101549 | 101266 | 283 | 28300 | 0.0283 | 75510 | 75510 | 0 | 0 | 0
37 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4271 | 3390 | 881 | 88100 | 0.0881 | 1182 | 1182 | 0 | 0 | 0
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 28428 | 26787 | 1641 | 164100 | 0.1641 | 70288 | 70288 | 0 | 0 | 0
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 500 | 22260 | 22260 | 0 | 0 | 0 | 4890 | 4890 | 0 | 0 | 0 | w.e.f 21/1019
[5 empty] | 100 | 22260 | 22260 | 0 | 0 | 0 | 4890 | 4726 | 164 | 16400 | 0.0164
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 402248 | 398737 | 3511 | -351100 | -0.3511 | 84596 | 84368 | 228 | -22800 | -0.0228
[5 empty] | -100 | 395847 | 391753 | 4094 | -409400 | -0.4094
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5722 | 5670 | 52 | -52000 | -0.052 | 1888 | 1883 | 5 | -5000 | -0.005
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10812 | 10812 | 0 | 0 | 0 | 21819 | 21507 | 312 | -23400 | -0.0234
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5305 | 5305 | 0 | 0 | 0 | 13761 | 13627 | 134 | -13400 | -0.0134
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 0.2341 |  |  |  |  | -0.15646
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 0.2341 |  |  |  |  | -0.15646
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -1.3136 |  |  |  |  | 0.00096215
| TOTAL ENERGY TO NDMC | [8 empty] | -1.0795 |  |  |  |  | -0.1555

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2019
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3779 | 3774 | 5 | 1000 | 0.001 | 62974 | 62262 | 712 | 142400 | 0.1424
2 | KHBR LANE-2 -EXP. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 200 | 15 | 9 | 6 | 1200 | 0.0012 | 831 | 10 | 821 | 164200 | 0.1642
|  | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 0 | 0 | 0 | 0 | 0 | 817 | 0 | 817 | 130720 | 0.13072 | w.e.f 18/10
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4462 | 4466 | -4 | -4000 | -0.004 | 55502 | 55474 | 28 | 28000 | 0.028
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 162 | 162 | 0 | 0 | 0 | 16888 | 16420 | 468 | 187200 | 0.1872
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 59 | 60 | -1 | -800 | -0.0008 | 427 | 423 | 4 | 3200 | 0.0032
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1420 | 1023 | 397 | 158800 | 0.1588 | 4670 | 4660 | 10 | 4000 | 0.004
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1569 | 1808 | -239 | -239000 | -0.239 | 998475 | 998476 | -1 | -1000 | -0.001
| TOTAL FED FROM BRPL SYSTEM. | [8 empty] | -0.0828 |  |  |  |  | 0.65872
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 66606 | 66317 | 289 | 28900 | 0.0289 | 101809 | 101122 | 687 | 68700 | 0.0687
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78495 | 78495 | 0 | 0 | 0 | 18369 | 18369 | 0 | 0 | 0
|  | 4865070 | ELSTER | Kvarh(Lead/Lag) | 100 | 58764 | 58764 | 0 | 0 | 0 | 18386 | 18386 | 0 | 0 | 0 | Check Meter Data w.e.f 16/10
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 100 | 586 | 541 | 45 | 4500 | 0.0045 | 16342 | 15536 | 806 | 80600 | 0.0806
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 75 | 75 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 738 | 671 | 67 | 5025 | 0.005025 | 1667 | 1667 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4348 | 4348 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.038425 |  |  |  |  | 0.1493
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0828 |  |  |  |  | 0.65872
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.044375 |  |  |  |  | 0.80802
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.044375 | (REACTIVE MUs) |  |  |  | 0.80802 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.18925 | (REACTIVE MUs) |  |  |  | 0.00013862 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.23363 | (REACTIVE MUs) |  |  |  | 0.80816 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2019
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991676 | 992498 | -822 | -513750 | -0.51375 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 993058 | 993208 | -150 | -93750 | -0.09375 | 999844 | 999844 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 1000255 | 999416 | 839 | 335600 | 0.3356 | 5995 | 5994 | 1 | 400 | 0.0004
[5 empty] | 400 | 995077 | 993968 | 1109 | 443600 | 0.4436
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.1717 |  |  |  |  | 0.0004
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.14909 |  |  |  |  | 0.0001092
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.022614 |  |  |  |  | 0.0005092

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2019
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 964865 | 962564 | 2301 | 230100 | 0.2301 | 2033 | 2033 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 69357 | 71781 | -2424 | -242400 | -0.2424 | 6263 | 6263 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 15365 | 15437 | -72 | -36000 | -0.036 | 3870 | 3870 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998305 | 998660 | -355 | -332812.5 | -0.33281 | 87 | 87 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 995228 | 996025 | -797 | 398500 | 0.3985 | 999825 | 999839 | -14 | 7000 | 0.007
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993989 | 994623 | -634 | 317000 | 0.317 | 999852 | 999852 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 153 | 166 | -13 | -3900 | -0.0039 | 114 | 110 | 4 | 1200 | 0.0012
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.33049 |  |  |  |  | 0.0082
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 979548 | 980378 | -830 | -166000 | -0.166 | 999796 | 999796 | 0 | 0 | 0
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 990871 | 991032 | -161 | -150937.5 | -0.15094 | 999929 | 999929 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.31694 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 2045 | 1919 | 126 | 157500 | 0.1575 | 999934 | 999934 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 359126 | 354860 | 4266 | 426600 | 0.4266 | 179814 | 179812 | 2 | 200 | 0.0002
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 298642 | 291934 | 6708 | 419250 | 0.41925 | 104171 | 104165 | 6 | 375 | 0.000375
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2969 | 2716 | 253 | 202400 | 0.2024 | 1733 | 1733 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 963925 | 965400 | -1475 | -147500 | -0.1475 | 999097 | 999097 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 997937 | 996295 | 1642 | 246300 | 0.2463 | 990473 | 990463 | 10 | 1500 | 0.0015
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997462 | 997556 | -94 | 235000 | 0.235 | 3054 | 3054 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 153 | 166 | -13 | 3900 | 0.0039 | 114 | 110 | 4 | -1200 | -0.0012
| TOTAL NDPL | [8 empty] | 1.5434 |  |  |  |  | 0.000875
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.33049 |  |  |  |  | 0.0082
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.31694 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.5434 |  |  |  |  | 0.000875

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2019
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 81659 | 81266 | 393 | 393000 | 0.393 | 22355 | 22353 | 2 | 2000 | 0.002
[5 empty] | 1000 | 76699 | 76149 | 550 | 550000 | 0.55
[5 empty] | 1000 | 61564 | 60247 | 1317 | 1317000 | 1.317
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 1201 | 687 | 514 | 1028000 | 1.028 | 999413 | 999411 | 2 | 4000 | 0.004
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 959094 | 961980 | -2886 | 1443000 | 1.443 | 998675 | 998675 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 623944 | 630197 | -6253 | 625300 | 0.6253 | 997094 | 997094 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 5.3563 |  | NET REACTIVE ENERGY |  |  | 0.006
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 5.3563 |  |  |  |  | 0.006
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -18.657 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -14.7786 |  |  |  |  | -0.0115
[7 empty] | NDMC = |  |  | -0.591 |  |  |  |  | 0.0265
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -34.0266 |  |  |  |  | 0.015
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -28.6703 |  |  |  |  | 0.021
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.8526 | % |  |  | -8.5588 |  |  |  |  | 0.006269
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.8797 | % |  |  | -12.007 |  |  |  |  | 0.0087947
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.5059 | % |  |  | -6.4525 |  |  |  |  | 0.0047262
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.5817 | % |  |  | -1.3136 |  |  |  |  | 0.00096215
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6601 | % |  |  | -0.18925 |  |  |  |  | 0.00013862
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.52 | % |  |  | -0.14909 |  |  |  |  | 0.0001092
Note :Sharing taken from wk-31 abt bill 2019-20

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st OCTOBER-2019 TO 31st OCTOBER-2019
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -57.8986 | + | 0.45668
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -43.9785 | + | 0.50103
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -14.1951 | + | 0.78683
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -1.0795 |  | -0.1555
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.23363 | + | 0.80816
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.022614 | + | 0.0005092
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2019 | INTIAL READING 01/10/2019 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 53163 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | 997863 | #N/A | #N/A | #N/A | #N/A | 28 | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 817823 | 821901 | -4078 | -3058500 | -3.0585 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1829 | 1533 | 296 | 1480000 | 1.48 | 13228 | 13228 | 0 | 0 | 0
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 861817 | 863572 | -1755 | -1755000 | -1.755
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 977037 | 976191 | 846 | 846000 | 0.846 | 235 | 235 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 2.326 |  |  | NET REACTIVE ENERGY |  | -1.755