## NDPL
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963202 | 963202 | 0 | 0 | 0 | 993332 | 993310 | 22 | -22000 | -0.022
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 89900 | 88873 | 1027 | -2054000 | -2.054 | 4985 | 4985 | 0 | 0 | 0
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11528 | 7561 | 3967 | -3967000 | -3.967 | 418 | 418 | 0 | 0 | 0
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39226 | 32543 | 6683 | -6683000 | -6.683 | 96757 | 96757 | 0 | 0 | 0
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998484 | 998427 | 57 | -57000 | -0.057 | 986475 | 986459 | 16 | -16000 | -0.016
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 899183 | 898891 | 292 | -292000 | -0.292 | 26544 | 26514 | 30 | -30000 | -0.03
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16353 | 13276 | 3077 | -3077000 | -3.077 | 999811 | 999811 | 0 | 0 | 0
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25109 | 24532 | 577 | -577000 | -0.577 | 997984 | 997984 | 0 | 0 | 0
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17295 | 15288 | 2007 | -2007000 | -2.007 | 996976 | 996976 | 0 | 0 | 0
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 994531 | 992737 | 1794 | -897000 | -0.897 | 837119 | 837119 | 0 | 0 | 0
[5 empty] | -500 | 976217 | 975038 | 1179 | -589500 | -0.5895
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 492 | 115 | 377 | -377000 | -0.377 | 998385 | 998385 | 0 | 0 | 0
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10550 | 8932 | 1618 | -1618000 | -1.618 | 999604 | 999604 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54232 | 53285 | 947 | -947000 | -0.947 | 996582 | 996582 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 24995 | 24059 | 936 | -936 | -0.936 | 99999723 | 99999723 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 740850 | 744032 | -3182 | -3182000 | -3.182 | 999747 | 999747 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 835260 | 847037 | -11777 | -5888500 | -5.8885 | 999991 | 999991 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14349 | 13700 | 649 | -649000 | -0.649 | 999380 | 999378 | 2 | -2000 | -0.002
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 72921 | 70480 | 2441 | -1220500 | -1.2205 | 440 | 440 | 0 | 0 | 0
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 58591 | 57526 | 1065 | -1065000 | -1.065 | 998775 | 998770 | 5 | -5000 | -0.005
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999526 | 999745 | -219 | -219000 | -0.219 | 988740 | 988740 | 0 | 0 | 0
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999810 | 999880 | -70 | -280000 | -0.28 | 999839 | 999839 | 0 | 0 | 0
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1939 | 1803 | 136 | 68000 | 0.068 | 15064 | 15064 | 0 | 0 | 0
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 78947 | 71985 | 6962 | 348100 | 0.3481 | 214260 | 214260 | 0 | 0 | 0
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999385 | 999689 | -304 | -304000 | -0.304 | 996229 | 996229 | 0 | 0 | 0
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999393 | 999455 | -62 | -62000 | -0.062 | 999560 | 999560 | 0 | 0 | 0
26 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 40641 | 45304 | -4663 | -466300 | -0.4663 | 193647 | 193647 | 0 | 0 | 0
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991093 | 993220 | -2127 | -2127000 | -2.127 | 997984 | 997984 | 0 | 0 | 0
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 921907 | 925875 | -3968 | -1984000 | -1.984 | 999477 | 999477 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 994892 | 995329 | -437 | -116534.79 | -0.11653 | 84 | 84 | 0 | 0 | 0
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2266 | 2260 | 6 | 3000 | 0.003 | 1150 | 1149 | 1 | 500 | 0.0005
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48852 | 47244 | 1608 | -1608000 | -1.608 | 996515 | 996515 | 0 | 0 | 0
32 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 267196 | 258216 | 8980 | -4490000 | -4.49 | 17481 | 17481 | 0 | 0 | 0
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 11841 | 9101 | 2740 | -5480000 | -5.48 | 999498 | 999498 | 0 | 0 | 0
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62403 | 59555 | 2848 | -2848000 | -2.848 | 997330 | 997330 | 0 | 0 | 0
DSIDC BAWANA
35 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 145413 | 142203 | 3210 | -6420000 | -6.42 | 293 | 293 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 138891 | 135844 | 3047 | -3047000 | -3.047 | 998448 | 998448 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 209201 | 196302 | 12899 | -4299623.67 | -4.2996 | 228 | 228 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 10378 | 7528 | 2850 | -5700000 | -5.7 | 2 | 2 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 26001 | 23566 | 2435 | -4870000 | -4.87 | 470 | 470 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 90311 | 85232 | 5079 | -5079000 | -5.079 | 2090 | 2090 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | 1 | 3700000 | 2187000 | 1513000 | 1513000 | 1.513 | 1115000 | 1115000 | 0 | 0 | 0
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | 1 | 13971000 | 11601000 | 2370000 | 2370000 | 2.37 | 1150000 | 1150000 | 0 | 0 | 0
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9565 | 6326 | 3239 | -3239000 | -3.239 | 997665 | 997665 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 51254 | 50747 | 507 | -507000 | -0.507 | 1437 | 1437 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998129 | 998129 | 0 | 0 | 0 | 26126 | 26314 | -188 | -188000 | -0.188
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | NOVEMBER-2021
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 998985 | 999474 | -489 | -48900 | -0.0489 | 999845 | 999845 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3192 | 3191 | 1 | 100 | 0.0001 | 32767 | 32498 | 269 | 26900 | 0.0269
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 762 | 765 | -3 | -3999 | -0.003999 | 601 | 602 | -1 | -1333 | -0.001333
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 2069 | 2012 | 57 | 5700 | 0.0057 | 4916 | 4833 | 83 | 8300 | 0.0083
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999797 | 999816 | -19 | -9500 | -0.0095 | 2261 | 2261 | 0 | 0 | 0
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 29 | 33 | -4 | -2000 | -0.002 | 160 | 155 | 5 | 2500 | 0.0025
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1092 | 1080 | 12 | 6000 | 0.006 | 998 | 979 | 19 | 9500 | 0.0095
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 993902 | 994261 | -359 | -35900 | -0.0359 | 2737 | 2740 | -3 | -300 | -0.0003
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 9100 | 9064 | 36 | 3600 | 0.0036 | 14853 | 14853 | 0 | 0 | 0
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 12647 | 12276 | 371 | 37100 | 0.0371 | 5665 | 5664 | 1 | 100 | 0.0001
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 31262 | 30964 | 298 | 29800 | 0.0298 | 10919 | 10918 | 1 | 100 | 0.0001
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 62699 | 63001 | -302 | -30200 | -0.0302 | 2406 | 2406 | 0 | 0 | 0
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 259 | 252 | 7 | 933.31 | 0.00093331 | 792 | 793 | -1 | -133.33 | -0.00013333
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999879 | 999879 | 0 | 0 | 0 | 999432 | 999432 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 954960 | 957126 | -2166 | -1732800 | -1.7328 | 999703 | 999703 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 994022 | 994316 | -294 | -588000 | -0.588 | 1053 | 1053 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 974385 | 976349 | -1964 | -392800 | -0.3928 | 1723 | 1723 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 995596 | 996137 | -541 | -135250 | -0.13525 | 733 | 733 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986446 | 988185 | -1739 | -1739000 | -1.739 | 2363 | 2363 | 0 | 0 | 0
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1835 | 1795 | 40 | 30000 | 0.03 | 3410 | 3410 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -89.533 |  |  |  |  | -0.21687
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 30179 | 29523 | 656 | -65600 | -0.0656 | 149942 | 149938 | 4 | -400 | -0.0004
|  | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 67 | 0 | 67 | -6700 | -0.0067 | 0 | 0 | 0 | 0 | 0 | w.e.f 26/11
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1263 | 1109 | 154 | -154000 | -0.154 | 516 | 516 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4659 | 5007 | -348 | 46398.84 | 0.046399 | 7304 | 7304 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997177 | 997177 | 0 | 0 | 0 | 998955 | 998978 | -23 | 4312.5 | 0.0043125
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 902934 | 902934 | 0 | 0 | 0 | 997776 | 997776 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 990845 | 990947 | -102 | 63750 | 0.06375 | 206 | 201 | 5 | -3125 | -0.003125
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999709 | 999799 | -90 | 45000 | 0.045 | 49 | 50 | -1 | 500 | 0.0005
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 994500 | 994726 | -226 | 45200 | 0.0452 | 15248 | 15248 | 0 | 0 | 0
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 989027 | 990186 | -1159 | 217312.5 | 0.21731 | 4781 | 4781 | 0 | 0 | 0
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 985905 | 987363 | -1458 | 273375 | 0.27337 | 3876 | 3876 | 0 | 0 | 0
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 4415 | 4551 | -136 | 34000 | 0.034 | 8122 | 8122 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 994317 | 994735 | -418 | 41800 | 0.0418 | 29815 | 29815 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.54054 |  |  |  |  | 0.0012875
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -89.533 |  |  |  |  | -0.21687
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.54054 |  |  |  |  | 0.0012875
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.87215 |  |  |  |  | -0.02645
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -89.8646 |  |  |  |  | -0.24203
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -89.8646 | (REACTIVE MUs) |  |  |  | -0.24203 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -8.192 | (REACTIVE MUs) |  |  |  | -0.0050323 | (REACTIVE MUs)
[9 empty] | TOTAL | -98.0566 | (REACTIVE MUs) |  |  |  | -0.24706 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | NOVEMBER-2021
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36820 | 37179 | -359 | -95853 | -0.095853 | 994582 | 994661 | -79 | -21093 | -0.021093
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 11530 | 11658 | -128 | -38400 | -0.0384 | 2438 | 2531 | -93 | -27900 | -0.0279
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 75 | 24898 | 24682 | 216 | 16200 | 0.0162 | 33395 | 33249 | 146 | 10950 | 0.01095
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999960 | 999999 | -39 | -39000 | -0.039 | 999973 | 1000000 | -27 | -27000 | -0.027
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 99 | 92 | 7 | 11200 | 0.0112 | 53 | 46 | 7 | 11200 | 0.0112
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18522 | 18571 | -49 | -65333.17 | -0.065333 | 4966 | 4963 | 3 | 3999.99 | 0.004
7 | MINTO RD. B-34 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 980316 | 980364 | -48 | -63999.84 | -0.064 | 998709 | 998713 | -4 | -5333.32 | -0.0053333
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975556 | 975635 | -79 | -79000 | -0.079 | 2279 | 2279 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 984034 | 984096 | -62 | -31000 | -0.031 | 205 | 231 | -26 | -13000 | -0.013
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997654 | 997755 | -101 | -101000 | -0.101 | 999994 | 999995 | -1 | -1000 | -0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983185 | 983325 | -140 | -140000 | -0.14 | 1349 | 1350 | -1 | -1000 | -0.001
12 | LAHORI GATE-1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3 | 57 | -54 | -54000 | -0.054 | 140 | 146 | -6 | -6000 | -0.006
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993744 | 993744 | 0 | 0 | 0 | 998423 | 998494 | -71 | -71000 | -0.071
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992629 | 992646 | -17 | -17000 | -0.017 | 321 | 330 | -9 | -9000 | -0.009
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994370 | 994491 | -121 | -96800 | -0.0968 | 5276 | 5278 | -2 | -1600 | -0.0016
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 12242 | 13059 | -817 | -108930.61 | -0.10893 | 3693 | 3693 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 694 | 719 | -25 | -25000 | -0.025 | 17467 | 17467 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 965170 | 966914 | -1744 | -2180000 | -2.18 | 947192 | 947192 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 967768 | 971814 | -4046 | -4046000 | -4.046 | 933562 | 933562 | 0 | 0 | 0
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995243 | 996232 | -989 | -989000 | -0.989 | 998708 | 998708 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -7.215 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999336 | 999765 | -429 | 429000 | 0.429 | 999971 | 999971 | 0 | 0 | 0 | Check meter
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980070 | 980260 | -190 | 190000 | 0.19 | 997942 | 997942 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 999997 | 999997 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999422 | 999704 | -282 | -282000 | -0.282 | 13910 | 13910 | 0 | 0 | 0
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 256740 | 253845 | 2895 | -2895000 | -2.895 | 9336 | 9288 | 48 | -48000 | -0.048
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 63941 | 62684 | 1257 | -1257000 | -1.257 | 239 | 193 | 46 | -46000 | -0.046
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5787 | 5280 | 507 | -507000 | -0.507 | 999031 | 999031 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5521 | 4704 | 817 | -817000 | -0.817 | 998129 | 998129 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 95078 | 92560 | 2518 | -2518000 | -2.518 | 982830 | 982830 | 0 | 0 | 0
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 80251 | 76063 | 4188 | -4188000 | -4.188 | 323 | 323 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 57278 | 54829 | 2449 | -4898000 | -4.898 | 25 | 25 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1263 | 1109 | 154 | 154000 | 0.154 | 516 | 516 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4659 | 5007 | -348 | -46398.84 | -0.046399 | 7304 | 7304 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865153 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 26/11
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992848 | 993249 | -401 | -53333 | -0.053333 | 12547 | 12582 | -35 | -4655 | -0.004655
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950269 | 948829 | 1440 | -1440000 | -1.44 | 990121 | 990121 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969818 | 968479 | 1339 | -1339000 | -1.339 | 981160 | 981160 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -27.6106 |  |  |  |  | -0.25643
| (A) NET ENERGY TO CENTRAL | [8 empty] | -27.6106 |  |  |  |  | -0.25643
NOVEMBER-2021
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990965 | 990405 | 560 | -560000 | -0.56 | 993648 | 993645 | 3 | -3000 | -0.003
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979765 | 979247 | 518 | -518000 | -0.518 | 929728 | 929711 | 17 | -17000 | -0.017
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992517 | 992259 | 258 | -258000 | -0.258 | 993342 | 993340 | 2 | -2000 | -0.002
4 | Tx.4 | 4865045 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999575 | 999392 | 183 | -366000 | -0.366 | 998469 | 998469 | 0 | 0 | 0 | Check meter till 15/11
|  | 4865034 | ELSTER | Kvarh(Lead/Lag) | -2000 | 146 | 0 | 146 | -292000 | -0.292 | 999999 | 1000000 | -1 | 2000 | 0.002 | w.e.f 16/11
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36894 | 36102 | 792 | -792000 | -0.792 | 997635 | 997623 | 12 | -12000 | -0.012
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 8240 | 5800 | 2440 | -1220000 | -1.22 | 185 | 177 | 8 | -4000 | -0.004
7 | 100 MVA Tx.1 (33 KV) | 5128419 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999252 | 999100 | 152 | -152000 | -0.152 | 999500 | 999501 | -1 | 1000 | 0.001
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1605 | 1605 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1909 | 1634 | 275 | -275000 | -0.275 | 999508 | 999509 | -1 | 1000 | 0.001
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 939959 | 939049 | 910 | -910000 | -0.91 | 978388 | 978386 | 2 | -2000 | -0.002 | under s/dn w.e.f 20/10
[5 empty] | -1000 | 936850 | 936088 | 762 | -762000 | -0.762
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990342 | 989891 | 451 | -451000 | -0.451 | 955644 | 955644 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967309 | 966787 | 522 | -522000 | -0.522 | 823834 | 823832 | 2 | -2000 | -0.002
GAZIPUR
13 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 11874 | 11294 | 580 | -2900000 | -2.9 | 37 | 34 | 3 | -15000 | -0.015
14 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14668 | 12318 | 2350 | -2350000 | -2.35 | 77 | 77 | 0 | 0 | 0
15 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3042 | 1875 | 1167 | -1167000 | -1.167 | 999990 | 999990 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -13.495 |  |  |  |  | -0.053
| (B) NET ENERGY TO EAST | [8 empty] | -13.495 |  |  |  |  | -0.053
NOVEMBER-2021
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 994892 | 995329 | -437 | 116534.79 | 0.11653 | 84 | 84 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2266 | 2260 | 6 | -3000 | -0.003 | 1150 | 1149 | 1 | -500 | -0.0005
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1889 | 2046 | -157 | 41865.62 | 0.041866 | 2323 | 2323 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 3233 | 1555 | 1678 | -167800 | -0.1678 | 16 | 16 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 981791 | 981831 | -40 | 8000 | 0.008 | 999383 | 999383 | 0 | 0 | 0 | DATA TILL 12/11
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1259 | 1109 | 150 | -150000 | -0.15 | 81 | 81 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3781 | 3929 | -148 | 118400 | 0.1184 | 2757 | 2760 | -3 | 2400 | 0.0024
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2538 | 2687 | -149 | 119200 | 0.1192 | 1325 | 1328 | -3 | 2400 | 0.0024
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0 | UNDER S/DN
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0 | UNDER S/DN
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 949323 | 950466 | -1143 | 914400 | 0.9144 | 989604 | 989607 | -3 | 2400 | 0.0024
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992961 | 993183 | -222 | 444000 | 0.444 | 999548 | 999557 | -9 | 18000 | 0.018
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 987803 | 988120 | -317 | 634000 | 0.634 | 999464 | 999467 | -3 | 6000 | 0.006
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998129 | 998129 | 0 | 0 | 0 | 26126 | 26314 | -188 | 188000 | 0.188
DMS
16 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 998985 | 999474 | -489 | 48900 | 0.0489 | 999845 | 999845 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999797 | 999816 | -19 | 9500 | 0.0095 | 2261 | 2261 | 0 | 0 | 0
19 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 29 | 33 | -4 | 2000 | 0.002 | 160 | 155 | 5 | -2500 | -0.0025
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1092 | 1080 | 12 | -6000 | -0.006 | 998 | 979 | 19 | -9500 | -0.0095
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 62699 | 63001 | -302 | 30200 | 0.0302 | 2406 | 2406 | 0 | 0 | 0
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 259 | 252 | 7 | -933.31 | -0.00093331 | 792 | 793 | -1 | 133.33 | 0.00013333
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 993902 | 994261 | -359 | 35900 | 0.0359 | 2737 | 2740 | -3 | 300 | 0.0003
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 9100 | 9064 | 36 | -3600 | -0.0036 | 14853 | 14853 | 0 | 0 | 0
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 12647 | 12276 | 371 | -37100 | -0.0371 | 5665 | 5664 | 1 | -100 | -0.0001
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 31262 | 30964 | 298 | -29800 | -0.0298 | 10919 | 10918 | 1 | -100 | -0.0001
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 58330 | 58310 | 20 | 20 | 2e-05 | 224590 | 222220 | 2370 | 2370 | 0.00237
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 32290 | 32290 | 0 | 0 | 0 | 378689 | 368609 | 10080 | 10080 | 0.01008
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 129400 | 129400 | 0 | 0 | 0 | 1184400 | 1152099 | 32301 | 32301 | 0.032301
[10 empty] | 2.1247 |  |  |  |  | 0.25168
NOVEMBER-2021
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -27.6106 |  |  |  |  | -0.25643
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 2.1247 |  |  |  |  | 0.25168
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.072337 |  |  |  |  | -0.0006
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -25.4136 |  |  |  |  | -0.005347
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -13.495 |  |  |  |  | -0.053
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -38.9086 |  |  |  |  | -0.058347
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -38.9086 | (REACTIVE MUs) |  |  |  | -0.058347 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -5.1691 | (REACTIVE MUs) |  |  |  | -0.0031754 | (REACTIVE MUs)
[9 empty] | TOTAL | -44.0777 | (REACTIVE MUs) |  |  |  | -0.061522 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | NOVEMBER-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998066 | 998168 | -102 | -102000 | -0.102 | 998164 | 998318 | -154 | -154000 | -0.154
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998804 | 998927 | -123 | -123000 | -0.123 | 999694 | 999792 | -98 | -98000 | -0.098
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 982822 | 983311 | -489 | -97800 | -0.0978 | 998478 | 998569 | -91 | -18200 | -0.0182
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999880 | 999914 | -34 | -45333.22 | -0.045333 | 999791 | 999800 | -9 | -11999.97 | -0.012
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997952 | 998119 | -167 | -250500 | -0.2505 | 999918 | 999940 | -22 | -33000 | -0.033
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 11108 | 11279 | -171 | -17100 | -0.0171 | 22212 | 22534 | -322 | -32200 | -0.0322
7 | BAY-37 | 4902524 | ELSTER | Kvarh(Lead/Lag) | 225 | 970125 | 970295 | -170 | -38250 | -0.03825 | 979786 | 979790 | -4 | -900 | -0.0009 | Check meter data
|  | 4865160 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 999957 | 1000000 | -43 | -3225 | -0.003225 | w.e.f 25/11/21
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 994828 | 995330 | -502 | -37650 | -0.03765 | 998359 | 998589 | -230 | -17250 | -0.01725
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 997058 | 997169 | -111 | -88800 | -0.0888 | 999628 | 999697 | -69 | -55200 | -0.0552
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988715 | 988750 | -35 | -46666.55 | -0.046667 | 265074 | 265081 | -7 | -9333.31 | -0.0093333
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 459 | 336 | 0 | 0 | 0 | 35 | 35 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22516 | 19345 | 3171 | -3171000 | -3.171 | 996590 | 996590 | 0 | 0 | 0
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4379 | 3285 | 1094 | -2188000 | -2.188 | 996424 | 996424 | 0 | 0 | 0
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16359 | 16639 | -280 | 280000 | 0.28 | 996291 | 996291 | 0 | 0 | 0
15 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 416 | 3 | 413 | -413000 | -0.413 | 999887 | 999887 | 0 | 0 | 0
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 126422 | 122304 | 4118 | -4118000 | -4.118 | 19346 | 19346 | 0 | 0 | 0
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1673 | 335 | 1338 | -1338000 | -1.338 | 999817 | 999817 | 0 | 0 | 0
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 29720 | 25929 | 3791 | -7582000 | -7.582 | 998798 | 998798 | 0 | 0 | 0
19 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 633 | 25 | 608 | -1216000 | -1.216 | 999999 | 999999 | 0 | 0 | 0
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 90983 | 70767 | 20216 | -16172800 | -16.1728 | 1964 | 1964 | 0 | 0 | 0
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 100438 | 90110 | 10328 | -8262400 | -8.2624 | 998920 | 998920 | 0 | 0 | 0
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950882 | 951071 | -189 | 189000 | 0.189 | 959350 | 959351 | -1 | 1000 | 0.001
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 959494 | 959900 | -406 | 812000 | 0.812 | 991340 | 991340 | 0 | 0 | 0
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 912389 | 912820 | -431 | 862000 | 0.862 | 971815 | 971815 | 0 | 0 | 0
[5 empty] | -2000 | 913273 | 913637 | -364 | 728000 | 0.728
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10475 | 9651 | 824 | -824000 | -0.824 | 996089 | 996089 | 0 | 0 | 0
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997157 | 996820 | 337 | -337000 | -0.337 | 999995 | 999995 | 0 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980835 | 980491 | 344 | -344000 | -0.344 | 999864 | 999864 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 253786 | 250383 | 3403 | -3403000 | -3.403 | 120869 | 120827 | 42 | -42000 | -0.042
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6847 | 5363 | 1484 | -2968000 | -2.968 | 40 | 27 | 13 | -26000 | -0.026
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 346 | 346 | 0 | 0 | 0 | 629 | 629 | 0 | 0 | 0
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 935299 | 936045 | -746 | 746000 | 0.746 | 965460 | 965460 | 0 | 0 | 0
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971982 | 972189 | -207 | 207000 | 0.207 | 983983 | 983983 | 0 | 0 | 0
33 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 101960 | 100416 | 1544 | -1544000 | -1.544 | 985625 | 985625 | 0 | 0 | 0 | Data till 10/11
|  | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 592 | 0 | 592 | -592000 | -0.592 | 0 | 0 | 0 | 0 | 0 | w.e.f 11/11/21
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 34051 | 31762 | 2289 | -1831200 | -1.8312 | 999226 | 999226 | 0 | 0 | 0
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 54414 | 54266 | 148 | -236800 | -0.2368 | 978991 | 978991 | 0 | 0 | 0
[5 empty] | -1600 | 50569 | 49580 | 989 | -1582400 | -1.5824
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996087 | 995645 | 442 | -884000 | -0.884 | 984303 | 984289 | 14 | -28000 | -0.028
37 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 4330 | 4260 | 70 | -35000 | -0.035 | 990300 | 990553 | -253 | 126500 | 0.1265
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22941 | 22613 | 328 | -328000 | -0.328 | 31863 | 31864 | -1 | 1000 | 0.001
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2577 | 2080 | 497 | -497000 | -0.497 | 996553 | 996553 | 0 | 0 | 0
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 724 | 492 | 232 | -232000 | -0.232 | 655 | 654 | 1 | -1000 | -0.001
BRPL(+) continue | [14 empty] | NOVEMBER-2021
VASANT KUNJ
41 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52960 | 52014 | 946 | -946000 | -0.946 | 999474 | 999474 | 0 | 0 | 0
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13636 | 12783 | 853 | -853000 | -0.853 | 402 | 402 | 0 | 0 | 0
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9023 | 8077 | 946 | -946000 | -0.946 | 998393 | 998393 | 0 | 0 | 0
MEHRAULI
44 | Tx.1 | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10459 | 7890 | 2569 | -2569000 | -2.569 | 458 | 458 | 0 | 0 | 0
45 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8420 | 6070 | 2350 | -2350000 | -2.35 | 925064 | 925064 | 0 | 0 | 0
46 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 68700 | 68382 | 318 | -318000 | -0.318 | 17549 | 17549 | 0 | 0 | 0
[5 empty] | -1000 | 67398 | 65556 | 1842 | -1842000 | -1.842
[5 empty] | -1000 | 63611 | 62991 | 620 | -620000 | -0.62
47 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3885 | 3280 | 605 | -1210000 | -1.21 | 999556 | 999556 | 0 | 0 | 0
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 76941 | 74961 | 1980 | -1980000 | -1.98 | 997153 | 997153 | 0 | 0 | 0
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 51481 | 50168 | 1313 | -2626000 | -2.626 | 999377 | 999377 | 0 | 0 | 0
DIAL
50 | Tx-1 | 5295175 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34077 | 31440 | 2637 | -2637000 | -2.637 | 2516 | 2516 | 0 | 0 | 0 | Check meter data
|  | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 371 | 0 | 371 | -556500 | -0.5565 | 0 | 0 | 0 | 0 | 0 | w.e.f 18/11/21
51 | Tx-2 | 5295176 | ELSTER | Kvarh(Lead/Lag) | -1000 | 151048 | 150151 | 897 | -897000 | -0.897 | 993189 | 993189 | 0 | 0 | 0 | Check meter data
|  | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 566 | 0 | 566 | -566000 | -0.566 | 0 | 0 | 0 | 0 | 0 | w.e.f 18/11/21
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996181 | 996170 | 11 | -11000 | -0.011 | 999975 | 999976 | -1 | 1000 | 0.001
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991008 | 991998 | -990 | 990000 | 0.99 | 994638 | 994638 | 0 | 0 | 0
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990919 | 990982 | -63 | 63000 | 0.063 | 987076 | 987076 | 0 | 0 | 0
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 997283 | 997402 | 0 | 0 | 0 | 999992 | 999992 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 975912 | 977473 | -1561 | -1248800 | -1.2488 | 607 | 607 | 0 | 0 | 0
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 924555 | 927303 | -2748 | -2198400 | -2.1984 | 999475 | 999475 | 0 | 0 | 0
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 998104 | 998537 | -433 | -346400 | -0.3464 | 999835 | 999835 | 0 | 0 | 0
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 995747 | 995942 | -195 | -156000 | -0.156 | 40 | 40 | 0 | 0 | 0
PARK STREET
61 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 987803 | 988120 | -317 | -634000 | -0.634 | 999464 | 999467 | -3 | -6000 | -0.006
62 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 100915 | 97918 | 2997 | -5994000 | -5.994 | 1919 | 1786 | 133 | -266000 | -0.266
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1060 | 42 | 1018 | -1018000 | -1.018 | 29 | 11 | 18 | -18000 | -0.018
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 128202 | 125938 | 2264 | -2264000 | -2.264 | 1949 | 1949 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 30179 | 29523 | 656 | 65600 | 0.0656 | 149942 | 149938 | 4 | 400 | 0.0004
|  | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 67 | 0 | 67 | 6700 | 0.0067 | 0 | 0 | 0 | 0 | 0 | w.e.f 26/11
67 | SUDARSHAN PARK
68 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997177 | 997177 | 0 | 0 | 0 | 998955 | 998978 | -23 | -4312.5 | -0.0043125
69 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 941787 | 943266 | -1479 | -591600 | -0.5916 | 994579 | 994579 | 0 | 0 | 0
70 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 978779 | 980167 | -1388 | -555200 | -0.5552 | 73982 | 73982 | 0 | 0 | 0
KANJAWALA
71 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 902934 | 902934 | 0 | 0 | 0 | 997776 | 997776 | 0 | 0 | 0
Trauma Centre
72 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 500866 | 500006 | 860 | 86000 | 0.086 | 85812 | 85812 | 0 | 0 | 0 | Data till 8/11
[10 empty] | 0.021 |  |  |  |  | 0 | Assessment
|  | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 157 | 0 | 157 | 157000 | 0.157 | 0 | 0 | 0 | 0 | 0 | w.e.f 11/11/21
73 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1611 | 1725 | -114 | -114000 | -0.114 | 1570 | 1570 | 0 | 0 | 0 | Data till 8/11
|  | 4864872 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 1000000 | -57 | -57000 | -0.057 | 0 | 0 | 0 | 0 | 0 | w.e.f 25/11/21
A.I.I.M.S.
74 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10747 | 10808 | -61 | -4575 | -0.004575 | 25922 | 25923 | -1 | -75 | -7.5e-05
75 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5398 | 5313 | 85 | 8500 | 0.0085 | 19146 | 19144 | 2 | 200 | 0.0002
PEERGARHI
76 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 10348 | 10647 | -299 | -149500 | -0.1495 | 3257 | 3257 | 0 | 0 | 0
77 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997789 | 998243 | -454 | -454000 | -0.454 | 4221 | 4221 | 0 | 0 | 0
78 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983029 | 983443 | -414 | -414000 | -0.414 | 914 | 914 | 0 | 0 | 0
79 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7749 | 7756 | -7 | -7000 | -0.007 | 6740 | 6740 | 0 | 0 | 0
80 | PASCHIM PURI - I (L-7) | 4864858 | ELSTER | Kvarh(Lead/Lag) | 1000 | 208 | 341 | -133 | -133000 | -0.133 | 18 | 18 | 0 | 0 | 0
81 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 991214 | 992071 | -857 | -85700 | -0.0857 | 910413 | 910413 | 0 | 0 | 0
82 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6402 | 6263 | 139 | 139000 | 0.139 | 1125 | 1125 | 0 | 0 | 0
83 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5744 | 5739 | 5 | 5000 | 0.005 | 7450 | 7449 | 1 | 1000 | 0.001
REWARI LINE
84 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 994500 | 994726 | -226 | -45200 | -0.0452 | 15248 | 15248 | 0 | 0 | 0
85 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 989027 | 990186 | -1159 | -217312.5 | -0.21731 | 4781 | 4781 | 0 | 0 | 0
86 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 985905 | 987363 | -1458 | -273375 | -0.27337 | 3876 | 3876 | 0 | 0 | 0
87 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 4415 | 4551 | -136 | -34000 | -0.034 | 8122 | 8122 | 0 | 0 | 0
88 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 994317 | 994735 | -418 | -41800 | -0.0418 | 29815 | 29815 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -93.5453 |  |  |  |  | -0.6936
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2021
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21988 | 21863 | 125 | -62500 | -0.0625 | 4979 | 4974 | 5 | -2500 | -0.0025
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 26/11/21
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992848 | 993249 | -401 | 53465.33 | 0.053465 | 12547 | 12582 | -35 | 4666.55 | 0.0046666
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1596 | 1220 | 376 | -376000 | -0.376 | 999336 | 999336 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992437 | 992848 | -411 | 411000 | 0.411 | 2284 | 2284 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 5346 | 6634 | -1288 | 206080 | 0.20608 | 32001 | 32001 | 0 | 0 | 0
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3495 | 3563 | -68 | 13600 | 0.0136 | 10963 | 10964 | -1 | 200 | 0.0002
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975277 | 976295 | -1018 | 1018000 | 1.018 | 999295 | 999295 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102959 | 103044 | -85 | 8500 | 0.0085 | 76419 | 76424 | -5 | 500 | 0.0005 | data till 23/11
|  | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 24890 | 24898 | -8 | 800 | 0.0008 | 5005 | 5019 | -14 | 1400 | 0.0014 | Check meter data
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4021 | 4266 | -245 | 24500 | 0.0245 | 1593 | 1594 | -1 | 100 | 0.0001
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 853 | 2287 | -1434 | 143400 | 0.1434 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998664 | 998664 | 0 | 0 | 0 | 16617 | 16617 | 0 | 0 | 0
|  | 4865154 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 25/11
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 239 | 239 | 0 | 0 | 0 | 1284 | 1284 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3192 | 3191 | 1 | -100 | -0.0001 | 32767 | 32498 | 269 | -26900 | -0.0269
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 762 | 765 | -3 | 3999 | 0.003999 | 601 | 602 | -1 | 1333 | 0.001333
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 2069 | 2012 | 57 | -5700 | -0.0057 | 4916 | 4833 | 83 | -8300 | -0.0083
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995633 | 995633 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999879 | 999879 | 0 | 0 | 0 | 999432 | 999432 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 999075 | 997518 | 1557 | -1245600 | -1.2456 | 6224 | 6224 | 0 | 0 | 0
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986446 | 988185 | -1739 | 1739000 | 1.739 | 2363 | 2363 | 0 | 0 | 0
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1835 | 1795 | 40 | -30000 | -0.03 | 3410 | 3410 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 1.9024 |  |  |  |  | -0.0295
NOVEMBER-2021
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -93.5453 |  |  |  |  | -0.6936
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 1.9024 |  |  |  |  | -0.0295
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.64075 |  |  |  |  | 0.0009
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0.006825 |  |  |  |  | -0.075762
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -92.2767 |  |  |  |  | -0.79796
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -92.2767 | (REACTIVE MUs) |  |  |  | -0.79796 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -9.767 | (REACTIVE MUs) |  |  |  | -0.0059999 | (REACTIVE MUs)
[9 empty] | TOTAL | -102.0438 | (REACTIVE MUs) |  |  |  | -0.80396 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2021
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1889 | 2046 | -157 | -41867.19 | -0.041867 | 2323 | 2323 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 3233 | 1555 | 1678 | 167800 | 0.1678 | 16 | 16 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 981791 | 981831 | -40 | -8000 | -0.008 | 999383 | 999383 | 0 | 0 | 0 | DATA TILL 12/11
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1259 | 1109 | 150 | 150000 | 0.15 | 81 | 81 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3781 | 3929 | -148 | -118400 | -0.1184 | 2757 | 2760 | -3 | -2400 | -0.0024
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2538 | 2687 | -149 | -119200 | -0.1192 | 1325 | 1328 | -3 | -2400 | -0.0024
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0 | UNDER S/DN
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0 | UNDER S/DN
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 949323 | 950466 | -1143 | -914400 | -0.9144 | 989604 | 989607 | -3 | -2400 | -0.0024
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992961 | 993183 | -222 | -444000 | -0.444 | 999548 | 999557 | -9 | -18000 | -0.018
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 955265 | 955991 | -726 | -36300 | -0.0363 | 21817 | 22394 | -577 | -28850 | -0.02885
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 966129 | 968195 | -2066 | -154950 | -0.15495 | 22526 | 22881 | -355 | -26625 | -0.026625
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997954 | 998004 | -50 | -25000 | -0.025 | 5543 | 5556 | -13 | -6500 | -0.0065
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 996089 | 996132 | -43 | -16125 | -0.016125 | 7540 | 7582 | -42 | -15750 | -0.01575
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999717 | 999717 | 0 | 0 | 0 | 405 | 405 | 0 | 0 | 0
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 11265 | 11265 | 0 | 0 | 0 | 41331 | 41331 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 3227 | 3830 | -603 | -60300 | -0.0603 | 1990 | 2128 | -138 | -13800 | -0.0138
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998417 | 999413 | -996 | -996000 | -0.996 | 281 | 281 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988773 | 990614 | -1841 | -1841000 | -1.841 | 2709 | 2709 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999562 | 999771 | -209 | -522500 | -0.5225 | 34 | 34 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 997549 | 997906 | -357 | -892500 | -0.8925 | 461 | 461 | 0 | 0 | 0
[10 empty] | -4.252 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992437 | 992848 | -411 | -411000 | -0.411 | 2284 | 2284 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 5346 | 6634 | -1288 | -206080 | -0.20608 | 32001 | 32001 | 0 | 0 | 0
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3495 | 3563 | -68 | -13600 | -0.0136 | 10963 | 10964 | -1 | -200 | -0.0002
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975277 | 976295 | -1018 | -1018000 | -1.018 | 999295 | 999295 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998664 | 998664 | 0 | 0 | 0 | 16617 | 16617 | 0 | 0 | 0
|  | 4865154 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 25/11
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
NOVEMBER-2021
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996379 | 996306 | 73 | -73000 | -0.073 | 989799 | 989799 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997767 | 997545 | 222 | -222000 | -0.222 | 995612 | 995612 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997802 | 997727 | 75 | -150000 | -0.15 | 996394 | 996394 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999490 | 999353 | 137 | -137000 | -0.137 | 995019 | 995019 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 239 | 239 | 0 | 0 | 0 | 1284 | 1284 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102959 | 103044 | -85 | -8500 | -0.0085 | 76419 | 76424 | -5 | -500 | -0.0005 | data till 23/11
|  | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 24890 | 24898 | -8 | -800 | -0.0008 | 5005 | 5019 | -14 | -1400 | -0.0014 | Check meter data
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4021 | 4266 | -245 | -24500 | -0.0245 | 1593 | 1594 | -1 | -100 | -0.0001
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 853 | 2287 | -1434 | -143400 | -0.1434 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21988 | 21863 | 125 | 62500 | 0.0625 | 4979 | 4974 | 5 | 2500 | 0.0025
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 500866 | 500006 | 860 | -86000 | -0.086 | 85812 | 85812 | 0 | 0 | 0 | Data till 8/11
[10 empty] | -0.021 | [5 empty] | Assessment
|  | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 157 | 0 | 157 | -157000 | -0.157 | 0 | 0 | 0 | 0 | 0 | w.e.f 11/11
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1611 | 1725 | -114 | 114000 | 0.114 | 1570 | 1570 | 0 | 0 | 0 | Data till 8/11
|  | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999943 | 1000000 | -57 | 57000 | 0.057 | 0 | 0 | 0 | 0 | 0 | w.e.f 25/11/21
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10747 | 10808 | -61 | 4575 | 0.004575 | 25922 | 25923 | -1 | 75 | 7.5e-05
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5398 | 5313 | 85 | -8500 | -0.0085 | 19146 | 19144 | 2 | -200 | -0.0002
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -8.315 |  |  |  |  | -0.11655
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -8.315 |  |  |  |  | -0.11655
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.95654 |  |  |  |  | -0.0005876
| TOTAL ENERGY TO NDMC | [8 empty] | -9.2716 |  |  |  |  | -0.11714

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2021
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4058 | 4058 | 0 | 0 | 0 | 77437 | 77437 | 0 | 0 | 0
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 998927 | 1001708 | -2781 | -444960 | -0.44496 | 30570 | 30570 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4644 | 4698 | -54 | -54000 | -0.054 | 59190 | 59190 | 0 | 0 | 0
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 45 | 187 | -142 | -56800 | -0.0568 | 19469 | 19469 | 0 | 0 | 0
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999560 | 999602 | -42 | -33600 | -0.0336 | 724 | 724 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2804 | 2671 | 133 | 53200 | 0.0532 | 6044 | 6044 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1596 | 1220 | 376 | 376000 | 0.376 | 999336 | 999336 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.16016 |  |  |  |  | 0
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4144 | 4326 | -182 | -6825 | -0.006825 | 10604 | 10529 | 75 | 2812.5 | 0.0028125
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78 | 78 | 0 | 0 | 0 | 79 | 79 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4280 | 4280 | 0 | 0 | 0 | 35511 | 34763 | 748 | 56100 | 0.0561
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 1983 | 1993 | -10 | -750 | -0.00075
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4555 | 4379 | 176 | 17600 | 0.0176
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | -0.006825 |  |  |  |  | 0.075762
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.16016 |  |  |  |  | 0
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.16698 |  |  |  |  | 0.075762
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.16698 | (REACTIVE MUs) |  |  |  | 0.075762 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.19373 | (REACTIVE MUs) |  |  |  | -0.00011901 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.36072 | (REACTIVE MUs) |  |  |  | 0.075643 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2021
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 990845 | 990947 | -102 | -63750 | -0.06375 | 206 | 201 | 5 | 3125 | 0.003125
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999709 | 999799 | -90 | -45000 | -0.045 | 49 | 50 | -1 | -500 | -0.0005
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 999075 | 997518 | 1557 | 1245600 | 1.2456 | 6224 | 6224 | 0 | 0 | 0
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 58330 | 58310 | 20 | -20 | -2e-05 | 224590 | 222220 | 2370 | -2370 | -0.00237
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 32290 | 32290 | 0 | 0 | 0 | 378689 | 368609 | 10080 | -10080 | -0.01008
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 129400 | 129400 | 0 | 0 | 0 | 1184400 | 1152099 | 32301 | -32301 | -0.032301
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 1.1368 |  |  |  |  | -0.042126
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.13977 |  |  |  |  | -8.586e-05
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.99706 |  |  |  |  | -0.042212

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2021
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 998619 | 999509 | -890 | -445000 | -0.445 | 999999 | 999999 | 0 | 0 | 0 | w.e.f 30/9
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 41580 | 44165 | -2585 | -258500 | -0.2585 | 998589 | 998589 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16706 | 16705 | 1 | 500 | 0.0005 | 5296 | 5293 | 3 | 1500 | 0.0015
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997946 | 997918 | 28 | 26250 | 0.02625 | 999706 | 999706 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999771 | 999884 | -113 | 113000 | 0.113 | 999723 | 999723 | 0 | 0 | 0 | w.e.f 13/5
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993234 | 993080 | 154 | -77000 | -0.077 | 163 | 163 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 3 | 5 | -2 | -600 | -0.0006
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.64075 |  |  |  |  | 0.0009
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 966892 | 967960 | -1068 | -213600 | -0.2136 | 993764 | 993767 | -3 | -600 | -0.0006
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 987003 | 986698 | 305 | 285937.5 | 0.28594 | 999446 | 999446 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.072337 |  |  |  |  | -0.0006
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1655 | 1715 | -60 | -75000 | -0.075 | 998656 | 998657 | -1 | -1250 | -0.00125
11 | O/G 33KV RAMPURA-1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | 140.625 | 62396 | 63295 | -899 | -126421.875 | -0.12642 | 987491 | 987523 | -32 | -4500 | -0.0045
12 | O/G 33KV RAMPURA-2 | 4864790 | ELSTER | Kvarh(Lead/Lag) | 166.667 | 43483 | 44173 | -690 | -115000.23 | -0.115 | 988649 | 988676 | -27 | -4500.009 | -0.0045
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 900 | 932 | -32 | -120000 | -0.12 | 166 | 171 | -5 | -18750 | -0.01875
14 | O/G 33KV SH.W.BAGH-2 | 4902550 | ELSTER | Kvarh(Lead/Lag) | 3000 | 996575 | 996659 | -84 | -252000 | -0.252 | 999858 | 999858 | 0 | 0 | 0 | Check meter Data
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 985213 | 986692 | -1479 | -221850 | -0.22185 | 988292 | 988279 | 13 | 1950 | 0.00195
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 999846 | 999907 | -61 | 38125 | 0.038125 | 999914 | 999914 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 3 | 5 | -2 | 600 | 0.0006
| TOTAL NDPL | [8 empty] | -0.87215 |  |  |  |  | -0.02645
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.64075 |  |  |  |  | 0.0009
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.072337 |  |  |  |  | -0.0006
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.87215 |  |  |  |  | -0.02645

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2021
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 139595 | 133814 | 5781 | 5781000 | 5.781 | 47829 | 47829 | 0 | 0 | 0
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 16305 | 13549 | 2756 | 5512000 | 5.512 | 1630 | 1630 | 0 | 0 | 0
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 888266 | 891297 | -3031 | 1515500 | 1.5155 | 998004 | 998004 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 425190 | 426429 | -1239 | 123900 | 0.1239 | 984122 | 984122 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 12.9324 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 12.9324 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -19.4666 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -13.632 |  |  |  |  | -0.015
[7 empty] | NDMC = |  |  | -4.252 |  |  |  |  | 0
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -37.3506 |  |  |  |  | -0.015
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -24.4182 |  |  |  |  | -0.015
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 33.5488 | % |  |  | -8.192 |  |  |  |  | -0.0050323
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 39.999 | % |  |  | -9.767 |  |  |  |  | -0.0059999
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.1691 | % |  |  | -5.1691 |  |  |  |  | -0.0031754
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.9173 | % |  |  | -0.95654 |  |  |  |  | -0.0005876
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7934 | % |  |  | -0.19373 |  |  |  |  | -0.00011901
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.5724 | % |  |  | -0.13977 |  |  |  |  | -8.586e-05
Note :Sharing taken from wk-35 abt bill 2020-21

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st NOVEMBER-2021 TO 31ST NOVEMBER-2021
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -98.0566 |  | -0.24706
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -102.0438 |  | -0.80396
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -44.0777 |  | -0.061522
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -9.2716 |  | -0.11714
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.36072 | + | 0.075643
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.99706 |  | -0.042212
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/11/2021 | INTIAL READING 01/11/2021 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83