## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MAY-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 369 | 368 | 1 | -1000 | -0.001 | 999356 | 999367 | -11 | 11000 | 0.011
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 97808 | 96815 | 993 | -1986000 | -1.986 | 5066 | 5066 | 0 | 0 | 0
|  | Q0491811 | Secure | Kvarh(Lead/Lag) | -1 | 35000 | 0 | 35000 | -35000 | -0.035 | 0 | 0 | 0 | 0 | 0 | w.e.f 20.05.2023
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18503 | 18167 | 336 | -336000 | -0.336 | 999805 | 999727 | 78 | -78000 | -0.078
4 | Tx.4 | Q0491809 | Secure | Kvarh(Lead/Lag) | -1 | 1236000 | 383000 | 853000 | -853000 | -0.853 | 38000 | -1000 | 39000 | -39000 | -0.039
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 362 | 362 | 0 | 0 | 0 | 984404 | 984404 | 0 | 0 | 0
6 | Tx.2 | 4864896 | ELSTER | Kvarh(Lead/Lag) | -2000 | 190 | 70 | 120 | -240000 | -0.24 | 793 | 552 | 241 | -482000 | -0.482
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34345 | 33591 | 754 | -754000 | -0.754 | 999640 | 999665 | -25 | 25000 | 0.025
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43963 | 43182 | 781 | -781000 | -0.781 | 997755 | 997783 | -28 | 28000 | 0.028
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30963 | 30651 | 312 | -312000 | -0.312 | 996607 | 996598 | 9 | -9000 | -0.009
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 13473 | 13212 | 261 | -130500 | -0.1305 | 812843 | 812840 | 3 | -1500 | -0.0015
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12270 | 11979 | 291 | -291000 | -0.291 | 998350 | 998342 | 8 | -8000 | -0.008
12 | Tx.-2 | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30678 | 28855 | 1823 | -1823000 | -1.823 | 36 | 3 | 33 | -33000 | -0.033
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64384 | 64349 | 35 | -35000 | -0.035 | 996473 | 996471 | 2 | -2000 | -0.002
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 682385 | 685543 | -3158 | -3158000 | -3.158 | 999745 | 999745 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 711503 | 719167 | -7664 | -3832000 | -3.832 | 999988 | 999988 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15981 | 15940 | 41 | -41000 | -0.041 | 998454 | 998083 | 371 | -371000 | -0.371
18 | Tx.2 | 4865043 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 0 | 6 | -6000 | -0.006 | 533 | 51 | 482 | -482000 | -0.482
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62720 | 62639 | 81 | -81000 | -0.081 | 999814 | 999442 | 372 | -372000 | -0.372
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998623 | 998624 | -1 | -1000 | -0.001 | 986432 | 986493 | -61 | -61000 | -0.061
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999568 | 999569 | -1 | -4000 | -0.004 | 999617 | 999623 | -6 | -24000 | -0.024
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1965 | 1965 | 0 | 0 | 0 | 17060 | 16993 | 67 | 33500 | 0.0335
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 92046 | 91956 | 90 | 4500 | 0.0045 | 421659 | 421280 | 379 | 18950 | 0.01895
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998484 | 998484 | 0 | 0 | 0 | 992751 | 993047 | -296 | -296000 | -0.296
25 | INDER PURI-2 | 4865117 | ELSTER | Kvarh(Lead/Lag) | 1333.333 | 999993 | 999993 | 0 | 0 | 0 | 996939 | 998104 | -1165 | -1553332.945 | -1.5533
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999777 | 999784 | -7 | -7000 | -0.007 | 999999 | 999979 | 20 | 20000 | 0.02
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975844 | 976726 | -882 | -882000 | -0.882 | 997857 | 997857 | 0 | 0 | 0
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 882880 | 884071 | -1191 | -595500 | -0.5955 | 999244 | 999244 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 991434 | 991612 | -178 | -47467.26 | -0.047467 | 322 | 409 | -87 | -23200.29 | -0.0232
30 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 2000 | 0 | 4 | -4 | -8000 | -0.008 | 50 | 40 | 10 | 20000 | 0.02
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60896 | 60819 | 77 | -77000 | -0.077 | 995682 | 995660 | 22 | -22000 | -0.022
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5633 | 5440 | 193 | -193000 | -0.193 | 999929 | 999887 | 42 | -42000 | -0.042
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 39627 | 38657 | 970 | -1940000 | -1.94 | 999551 | 999523 | 28 | -56000 | -0.056
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 95472 | 93999 | 1473 | -1473000 | -1.473 | 995678 | 995683 | -5 | 5000 | 0.005
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 15711 | 14339 | 1372 | -5488000 | -5.488 | 999998 | 999998 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 175636 | 173623 | 2013 | -2013000 | -2.013 | 998424 | 998420 | 4 | -4000 | -0.004
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 400170 | 386403 | 13767 | -4588954.11 | -4.589 | 266 | 266 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 54935 | 52400 | 2535 | -5070000 | -5.07 | 1000001 | 999993 | 8 | -16000 | -0.016
ROHINI-II
38 | Tx.1 | 4864957 | ELSTER | Kvarh(Lead/Lag) | -2500 | 3218 | 2206 | 1012 | -2530000 | -2.53 | 0 | 0 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 161806 | 159399 | 2407 | -2407000 | -2.407 | 2317 | 2317 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 16812000 | 16258000 | 554000 | -554000 | -0.554 | 2829000 | 2817000 | 12000 | -12000 | -0.012
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 51375000 | 49054000 | 2321000 | -2321000 | -2.321 | 2802000 | 2799000 | 3000 | -3000 | -0.003
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43359 | 42283 | 1076 | -1076000 | -1.076 | 997783 | 997783 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61452 | 61118 | 334 | -334000 | -0.334 | 767 | 764 | 3 | -3000 | -0.003
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993576 | 993877 | -301 | -301000 | -0.301 | 24669 | 24701 | -32 | -32000 | -0.032
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | MAY-2023
DMS
45 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | 300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 999999 | 999998 | 1 | 100 | 0.0001 | 999777 | 999798 | -21 | -2100 | -0.0021
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3206 | 3195 | 11 | 1100 | 0.0011 | 34761 | 34569 | 192 | 19200 | 0.0192
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 744 | 744 | 0 | 0 | 0 | 626 | 626 | 0 | 0 | 0
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 298 | 292 | 6 | 600 | 0.0006 | 4042 | 3669 | 373 | 37300 | 0.0373
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1636 | 1637 | -1 | -100 | -0.0001 | 10074 | 9670 | 404 | 40400 | 0.0404
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999819 | 999808 | 11 | 5500 | 0.0055 | 2447 | 2442 | 5 | 2500 | 0.0025
57 | DCM NO.2 | 4902555 | ELSTER | Kvarh(Lead/Lag) | 500 | 999946 | 999962 | -16 | -8000 | -0.008 | 4 | 1 | 3 | 1500 | 0.0015
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1149 | 1145 | 4 | 2000 | 0.002 | 1587 | 1579 | 8 | 4000 | 0.004
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992793 | 992790 | 3 | 300 | 0.0003 | 3027 | 2918 | 109 | 10900 | 0.0109
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999999 | 999999 | 0 | 0 | 0 | 33 | 12 | 21 | 27999.93 | 0.028
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 16763 | 16284 | 479 | 47900 | 0.0479 | 6498 | 6472 | 26 | 2600 | 0.0026
62 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | 100 | 828 | 503 | 325 | 32500 | 0.0325 | 106 | 88 | 18 | 1800 | 0.0018
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 59204 | 59144 | 60 | 6000 | 0.006 | 2577 | 2532 | 45 | 4500 | 0.0045
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 439 | 430 | 9 | 1199.97 | 0.0012 | 1025 | 975 | 50 | 6666.5 | 0.0066665
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 12 | 12 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999893 | 999893 | 0 | 0 | 0 | 999459 | 999459 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 932539 | 933428 | -889 | -711200 | -0.7112 | 999698 | 999698 | 0 | 0 | 0
69 | GHEWARA | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 993845 | 994186 | -341 | -272800 | -0.2728 | 999999 | 999999 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 957609 | 957933 | -324 | -64800 | -0.0648 | 2049 | 2049 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 988467 | 988564 | -97 | -24250 | -0.02425 | 857 | 857 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979283 | 979359 | -76 | -76000 | -0.076 | 1977 | 2020 | -43 | -43000 | -0.043
73 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | 281.25 | 999577 | 999576 | 1 | 281.25 | 0.00028125 | 1000029 | 999999 | 30 | 8437.5 | 0.0084375
DEV NAGAR
74 | 33KV RAMA ROAD | Q0487625 | Secure | Kvarh(Lead/Lag) | 1 | -46000 | -12000 | -34000 | -34000 | -0.034 | 0 | 0 | 0 | 0 | 0 | w.e.f 15.05.2023
75 | 33KV SHAHZADA BAGH | Q0487626 | Secure | Kvarh(Lead/Lag) | 1 | -15000 | 0 | -15000 | -15000 | -0.015 | 0 | 0 | 0 | 0 | 0 | w.e.f 13.05.2023
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -47.7106 |  |  |  |  | -3.7409
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 307 | 307 | 0 | 0 | 0 | 2267 | 1649 | 618 | -61800 | -0.0618
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 643 | 623 | 20 | -16000 | -0.016 | 639 | 639 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 112 | 78 | 34 | -45333.22 | -0.045333 | 7 | 4 | 3 | -3999.99 | -0.004
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6690 | 6154 | 536 | -71464.88 | -0.071465 | 8030 | 8037 | -7 | 933.31 | 0.00093331
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 996267 | 996308 | -41 | 7687.5 | 0.0076875 | 998451 | 998457 | -6 | 1125 | 0.001125
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 893565 | 893913 | -348 | 278400 | 0.2784 | 997591 | 997618 | -27 | 21600 | 0.0216
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 992024 | 992037 | -13 | 8125 | 0.008125 | 629 | 560 | 69 | -43125 | -0.043125
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999607 | 999570 | 37 | -18500 | -0.0185 | 379 | 285 | 94 | -47000 | -0.047
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 991423 | 991433 | -10 | 2000 | 0.002 | 20639 | 20568 | 71 | -14200 | -0.0142
11 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -937.5 | 999969 | 999972 | -3 | 2812.5 | 0.0028125 | 999958 | 999990 | -32 | 30000 | 0.03
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 980832 | 980841 | -9 | 1687.5 | 0.0016875 | 3297 | 3378 | -81 | 15187.5 | 0.015187
13 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | -2500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993030 | 993026 | 4 | -400 | -0.0004 | 30647 | 30601 | 46 | -4600 | -0.0046
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.14901 |  |  |  |  | -0.10588
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -47.7106 |  |  |  |  | -3.7409
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.14901 |  |  |  |  | -0.10588
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.68181 |  |  |  |  | -0.18238
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -48.2434 |  |  |  |  | -4.0291
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -48.2434 | (REACTIVE MUs) |  |  |  | -4.0291 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 3.4918 | (REACTIVE MUs) |  |  |  | 0.14076 | (REACTIVE MUs)
[9 empty] | TOTAL | -44.7516 | (REACTIVE MUs) |  |  |  | -3.8884 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MAY-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997806 | 997806 | 0 | 0 | 0 | 991925 | 993249 | -1324 | -1324000 | -1.324
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998506 | 998506 | 0 | 0 | 0 | 997968 | 998265 | -297 | -297000 | -0.297
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 200 | 999434 | 999434 | 0 | 0 | 0 | 982421 | 985988 | -3567 | -713400 | -0.7134
[10 empty] | 0.3008 |  |  |  |  | 9.0896 | Assesment due to wrong M.F(March 2022 to March 2023)
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999790 | 999790 | 0 | 0 | 0 | 998266 | 998787 | -521 | -694664.93 | -0.69466
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997306 | 997306 | 0 | 0 | 0 | 998706 | 999050 | -344 | -516000 | -0.516
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 10345 | 10345 | 0 | 0 | 0 | 18588 | 18588 | 0 | 0 | 0
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994508 | 994508 | 0 | 0 | 0 | 995332 | 995789 | -457 | -457000 | -0.457
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990609 | 990609 | 0 | 0 | 0 | 985410 | 985580 | -170 | -170000 | -0.17
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 999997 | 999997 | 0 | 0 | 0 | 999013 | 999730 | -717 | -573600 | -0.5736
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988555 | 988555 | 0 | 0 | 0 | 264925 | 264941 | -16 | -21333.28 | -0.021333
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 954 | 952 | 2 | -13333.332 | -0.013333 | 999954 | 999949 | 5 | -33333.33 | -0.033333
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34329 | 34255 | 74 | -74000 | -0.074 | 996709 | 996639 | 70 | -70000 | -0.07
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5292 | 5289 | 3 | -6000 | -0.006 | 996335 | 996233 | 102 | -204000 | -0.204
14 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1648 | 1650 | -2 | 2000 | 0.002 | 993542 | 993457 | 85 | -85000 | -0.085
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 157910 | 157805 | 105 | -105000 | -0.105 | 24054 | 23894 | 160 | -160000 | -0.16
[5 empty] | -1000 | 187451 | 187434 | 17 | -17000 | -0.017
16 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13357 | 13024 | 333 | -333000 | -0.333 | 999405 | 999410 | -5 | 5000 | 0.005
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38464 | 38462 | 2 | -4000 | -0.004 | 2511 | 1747 | 764 | -1528000 | -1.528
18 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4096 | 3977 | 119 | -238000 | -0.238 | 999642 | 999658 | -16 | 32000 | 0.032
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 131143 | 131092 | 51 | -40800 | -0.0408 | 10658 | 10593 | 65 | -52000 | -0.052 | upto 15.05.2023
[10 empty] | -0.01092 |  |  |  |  | -0.03246 | assessment 5 days
|  | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1600 | 10 | 0 | 10 | -16000 | -0.016 | 73 | 0 | 73 | -116800 | -0.1168 | w.e.f 20.05.2023
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 129043 | 128127 | 916 | -732800 | -0.7328 | 5854 | 5695 | 159 | -127200 | -0.1272
NAJAFGARH
21 | Tx.1 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999934 | 1000000 | -66 | 165000 | 0.165 | 999964 | 999966 | -2 | 5000 | 0.005
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952616 | 952699 | -83 | 166000 | 0.166 | 990161 | 990469 | -308 | 616000 | 0.616
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 908183 | 908574 | -391 | 782000 | 0.782 | 971005 | 971016 | -11 | 22000 | 0.022
24 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11607 | 11607 | 0 | 0 | 0 | 995796 | 995796 | 0 | 0 | 0
R.K.PURAM
25 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997417 | 997329 | 88 | -88000 | -0.088 | 997231 | 997231 | 0 | 0 | 0
26 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981241 | 981222 | 19 | -19000 | -0.019 | 999859 | 999858 | 1 | -1000 | -0.001
27 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 293771 | 293422 | 349 | -349000 | -0.349 | 125181 | 125038 | 143 | -143000 | -0.143
28 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7952 | 7885 | 67 | -134000 | -0.134 | 572 | 548 | 24 | -48000 | -0.048
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 643 | 623 | 20 | 16000 | 0.016 | 639 | 639 | 0 | 0 | 0
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 933775 | 933775 | 0 | 0 | 0 | 965240 | 965240 | 0 | 0 | 0
31 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995739 | 996394 | -655 | 655000 | 0.655 | 999510 | 999513 | -3 | 3000 | 0.003
32 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 860 | 900 | -40 | 40000 | 0.04 | 6 | 8 | -2 | 2000 | 0.002
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 41381 | 41353 | 28 | -22400 | -0.0224 | 3635 | 2630 | 1005 | -804000 | -0.804
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 63149 | 63124 | 25 | -40000 | -0.04 | 51282 | 50905 | 377 | -603200 | -0.6032
[5 empty] | -1600 | [5 empty] | 54874 | 54771 | 103 | -164800 | -0.1648
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -2000 | 96 | 95 | 1 | -2000 | -0.002 | 539 | 83 | 456 | -912000 | -0.912
36 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 403 | 403 | 0 | 0 | 0 | 999010 | 998139 | 871 | -871000 | -0.871
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24103 | 24098 | 5 | -5000 | -0.005 | 31340 | 31329 | 11 | -11000 | -0.011
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5604 | 5527 | 77 | -77000 | -0.077 | 996767 | 996772 | -5 | 5000 | 0.005
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1254 | 1226 | 28 | -28000 | -0.028 | 1300 | 1241 | 59 | -59000 | -0.059
BRPL(+) continue | [14 empty] | MAY-2023
VASANT KUNJ
40 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6601 | 6186 | 415 | -415000 | -0.415 | 999947 | 999943 | 4 | -4000 | -0.004
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25022 | 24819 | 203 | -203000 | -0.203 | 594 | 343 | 251 | -251000 | -0.251
42 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39607 | 39494 | 113 | -113000 | -0.113 | 996669 | 996667 | 2 | -2000 | -0.002
MEHRAULI
43 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7680 | 7439 | 241 | -241000 | -0.241 | 2480 | 2435 | 45 | -45000 | -0.045
44 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 16634 | 15718 | 916 | -458000 | -0.458 | 1112 | 1086 | 26 | -13000 | -0.013
45 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 2539 | 2432 | 107 | -267500 | -0.2675 | 878 | 863 | 15 | -37500 | -0.0375
46 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4552 | 4325 | 227 | -454000 | -0.454 | 655 | 638 | 17 | -34000 | -0.034
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 99017 | 98404 | 613 | -613000 | -0.613 | 997101 | 997109 | -8 | 8000 | 0.008
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 70094 | 69450 | 644 | -1288000 | -1.288 | 999373 | 999373 | 0 | 0 | 0
DIAL
49 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 9569 | 9278 | 291 | -436500 | -0.4365 | 32 | 30 | 2 | -3000 | -0.003
50 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14884 | 14434 | 450 | -450000 | -0.45 | 999977 | 999974 | 3 | -3000 | -0.003
MASJID MOD
51 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996816 | 996904 | -88 | 88000 | 0.088 | 999823 | 999840 | -17 | 17000 | 0.017
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991325 | 991443 | -118 | 118000 | 0.118 | 994531 | 994546 | -15 | 15000 | 0.015
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989576 | 989660 | -84 | 84000 | 0.084 | 986840 | 986865 | -25 | 25000 | 0.025
MUNDKA
54 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 993875 | 993875 | 0 | 0 | 0 | 999990 | 999990 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 962467 | 963082 | -615 | -492000 | -0.492 | 634 | 634 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 906864 | 907591 | -727 | -581600 | -0.5816 | 999431 | 999431 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4864985 | ELSTER | Kvarh(Lead/Lag) | 800 | 85 | 22 | 63 | 50400 | 0.0504 | 0 | 0 | 0 | 0 | 0
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 992729 | 992896 | -167 | -133600 | -0.1336 | 52 | 52 | 0 | 0 | 0
60 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 985426 | 986073 | -647 | -517600 | -0.5176 | 999782 | 999896 | -114 | -91200 | -0.0912
61 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 984538 | 986584 | -2046 | -1636800 | -1.6368 | 999982 | 999982 | 0 | 0 | 0
PARK STREET
63 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
SARITA VIHAR
64 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 128568 | 127354 | 1214 | -2428000 | -2.428 | 6936 | 6926 | 10 | -20000 | -0.02
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19645 | 19353 | 292 | -292000 | -0.292 | 6061 | 5307 | 754 | -754000 | -0.754
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 142562 | 142104 | 458 | -458000 | -0.458 | 3103 | 3099 | 4 | -4000 | -0.004
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 307 | 307 | 0 | 0 | 0 | 2267 | 1649 | 618 | 61800 | 0.0618
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996267 | 996308 | -41 | -7687.5 | -0.0076875 | 998451 | 998457 | -6 | -1125 | -0.001125
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998246 | 998267 | -21 | -21000 | -0.021 | 462 | 437 | 25 | 25000 | 0.025
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997791 | 997828 | -37 | -37000 | -0.037 | 391 | 373 | 18 | 18000 | 0.018
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 893565 | 893913 | -348 | -278400 | -0.2784 | 997591 | 997618 | -27 | -21600 | -0.0216
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 878 | 759 | 119 | 119000 | 0.119 | 999967 | 999973 | -6 | -6000 | -0.006
72 | IIT CIRCUIT | 4864872 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997077 | 997165 | -88 | -88000 | -0.088 | 999914 | 999915 | -1 | -1000 | -0.001
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | 100 | 999990 | 1000000 | -10 | -1000 | -0.001 | 999635 | 999649 | -14 | -1400 | -0.0014
74 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | 200 | 18 | 0 | 18 | 3600 | 0.0036 | 57 | 5 | 52 | 10400 | 0.0104
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8140 | 8171 | -31 | -15500 | -0.0155 | 3095 | 3095 | 0 | 0 | 0
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994227 | 994303 | -76 | -76000 | -0.076 | 4209 | 4209 | 0 | 0 | 0
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980419 | 980499 | -80 | -80000 | -0.08 | 554 | 553 | 1 | 1000 | 0.001
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7510 | 7473 | 37 | 37000 | 0.037 | 6924 | 6924 | 0 | 0 | 0
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 993475 | 993846 | -371 | -55650 | -0.05565 | 242 | 241 | 1 | 150 | 0.00015
80 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 997281 | 997220 | 61 | 6100 | 0.0061 | 912141 | 912140 | 1 | 100 | 0.0001
[5 empty] | 100 | 154121 | 153916 | 205 | 20500 | 0.0205
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2918 | 2560 | 358 | 95467.86 | 0.095468 | 642 | 642 | 0 | 0 | 0
82 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5419 | 5346 | 73 | 73000 | 0.073 | 7984 | 7984 | 0 | 0 | 0
REWARI LINE
83 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 991423 | 991433 | -10 | -2000 | -0.002 | 20639 | 20568 | 71 | 14200 | 0.0142
84 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999969 | 999972 | -3 | -2812.5 | -0.0028125 | 999958 | 999990 | -32 | -30000 | -0.03
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 980832 | 980841 | -9 | -1687.5 | -0.0016875 | 3297 | 3378 | -81 | -15187.5 | -0.015187
86 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | 2500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993030 | 993026 | 4 | 400 | 0.0004 | 30647 | 30601 | 46 | 4600 | 0.0046
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -11.6783 |  |  |  |  | -2.151
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21916 | 21916 | 0 | 0 | 0 | 5383 | 5271 | 112 | -56000 | -0.056
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992416 | 992418 | -2 | 266.66 | 0.00026666 | 6505 | 7141 | -636 | 84797.88 | 0.084798
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999811 | 999819 | -8 | 5333.336 | 0.0053333 | 233 | 414 | -181 | 120666.727 | 0.12067
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1130 | 1133 | -3 | 3000 | 0.003 | 253 | 182 | 71 | -71000 | -0.071
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989531 | 989657 | -126 | 126000 | 0.126 | 2540 | 2543 | -3 | 3000 | 0.003
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 2840 | 2856 | -16 | 2560 | 0.00256 | 39288 | 38580 | 708 | -113280 | -0.11328
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3851 | 3854 | -3 | 600 | 0.0006 | 19737 | 18995 | 742 | -148400 | -0.1484
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968295 | 968419 | -124 | 124000 | 0.124 | 999404 | 999378 | 26 | -26000 | -0.026
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 754 | 731 | 23 | -2300 | -0.0023 | 2266 | 1974 | 292 | -29200 | -0.0292
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4990 | 4955 | 35 | -3500 | -0.0035 | 5475 | 5229 | 246 | -24600 | -0.0246
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 209 | 193 | 16 | 13333.28 | 0.013333 | 2308 | 1541 | 767 | 639164.11 | 0.63916
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 455 | 455 | 0 | 0 | 0 | 2732 | 2732 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 999999 | 999998 | 1 | -100 | -0.0001 | 999777 | 999798 | -21 | 2100 | 0.0021
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3206 | 3195 | 11 | -1100 | -0.0011 | 34761 | 34569 | 192 | -19200 | -0.0192
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 744 | 744 | 0 | 0 | 0 | 626 | 626 | 0 | 0 | 0
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 298 | 292 | 6 | -600 | -0.0006 | 4042 | 3669 | 373 | -37300 | -0.0373
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1636 | 1637 | -1 | 100 | 0.0001 | 10074 | 9670 | 404 | -40400 | -0.0404 | s
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999893 | 999893 | 0 | 0 | 0 | 999459 | 999459 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 1789 | 1548 | 241 | -192800 | -0.1928 | 617 | 565 | 52 | -41600 | -0.0416
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979283 | 979359 | -76 | 76000 | 0.076 | 1977 | 2020 | -43 | 43000 | 0.043
30 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | -281.25 | 999577 | 999576 | 1 | -281.25 | -0.00028125 | 1000029 | 999999 | 30 | -8437.5 | -0.0084375
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.15051 |  |  |  |  | 0.27731
MAY-2023
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -11.6783 |  |  |  |  | -2.151
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.15051 |  |  |  |  | 0.27731
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.19225 |  |  |  |  | -0.0384
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0047 |  |  |  |  | -0.1201
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -11.3403 |  |  |  |  | -2.0321
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -11.3403 | (REACTIVE MUs) |  |  |  | -2.0321 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 4.891 | (REACTIVE MUs) |  |  |  | 0.19514 | (REACTIVE MUs)
[9 empty] | TOTAL | -6.4492 | (REACTIVE MUs) |  |  |  | -1.837 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MAY-2023
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36293 | 36293 | 0 | 0 | 0 | 988449 | 990618 | -2169 | -579123 | -0.57912
2 | KAMLA MKT.B-30 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 0 | 0 | 0 | 0 | 0 | 999645 | 999754 | -109 | -436000 | -0.436
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24929 | 24929 | 0 | 0 | 0 | 34669 | 35019 | -350 | -46665.5 | -0.046666
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999603 | 999603 | 0 | 0 | 0 | 999251 | 999399 | -148 | -148000 | -0.148
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 89 | 89 | 0 | 0 | 0 | 999754 | 999906 | -152 | -243200 | -0.2432
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18375 | 18375 | 0 | 0 | 0 | 4830 | 5053 | -223 | -297332.59 | -0.29733
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999340 | 999340 | 0 | 0 | 0 | 997122 | 998478 | -1356 | -271200 | -0.2712
RPH
8 | KAMLA MKT.-2 | 4865183 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999983 | 999999 | -16 | -64000 | -0.064 | 999996 | 999998 | -2 | -8000 | -0.008
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 982821 | 982866 | -45 | -22500 | -0.0225 | 249 | 262 | -13 | -6500 | -0.0065
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997230 | 997233 | -3 | -3000 | -0.003 | 999841 | 999837 | 4 | 4000 | 0.004
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982524 | 982573 | -49 | -49000 | -0.049 | 1082 | 1091 | -9 | -9000 | -0.009
12 | LAHORI GATE-1 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999967 | 999968 | -1 | -1333.33 | -0.0013333 | 255 | 56 | 199 | 265332.67 | 0.26533
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993357 | 993383 | -26 | -26000 | -0.026 | 995196 | 995239 | -43 | -43000 | -0.043
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992495 | 992501 | -6 | -6000 | -0.006 | 999887 | 999977 | -90 | -90000 | -0.09
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994334 | 994334 | 0 | 0 | 0 | 6881 | 6992 | -111 | -88800 | -0.0888
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14599 | 14239 | 360 | 47998.8 | 0.047999 | 8345 | 8348 | -3 | -399.99 | -0.00039999
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 29 | 29 | 0 | 0 | 0 | 999825 | 999820 | 5 | 5000 | 0.005
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 417 | 400 | 17 | 17000 | 0.017 | 16883 | 16903 | -20 | -20000 | -0.02
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 944823 | 945805 | -982 | -1227500 | -1.2275 | 947181 | 947183 | -2 | -2500 | -0.0025
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 925132 | 927502 | -2370 | -2370000 | -2.37 | 933515 | 933516 | -1 | -1000 | -0.001
21 | AKSHARDHAM | 4865027 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999738 | 999923 | -185 | -185000 | -0.185 | 999999 | 1000000 | -1 | -1000 | -0.001
| KASHMIRI GATE | [8 empty] | -3.5975 |  |  |  |  | -0.0035
22 | 100 MVA TX.-1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11 | 0 | 11 | -11000 | -0.011 | 999942 | 999948 | -6 | 6000 | 0.006
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6644 | 6598 | 46 | -46000 | -0.046 | 997808 | 997802 | 6 | -6000 | -0.006
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 12 | 12 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998892 | 998892 | 0 | 0 | 0 | 12124 | 12589 | -465 | -465000 | -0.465
PARK STREET
26 | TX.-1 (66KV) | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4330 | 3613 | 717 | -717000 | -0.717 | 237 | 82 | 155 | -155000 | -0.155
27 | TX.-2(66KV) | 4902495 | ELSTER | Kvarh(Lead/Lag) | -750 | 1267 | 1202 | 65 | -48750 | -0.04875 | 1692 | 1475 | 217 | -162750 | -0.16275
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11975 | 11774 | 201 | -201000 | -0.201 | 998987 | 998981 | 6 | -6000 | -0.006
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7084 | 7026 | 58 | -58000 | -0.058 | 998031 | 998036 | -5 | 5000 | 0.005
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 125175 | 125175 | 0 | 0 | 0 | 982726 | 982693 | 33 | -33000 | -0.033
[5 empty] | -1000 | [5 empty] | 983673 | 983148 | 525 | -525000 | -0.525
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 97159 | 97159 | 0 | 0 | 0 | 1072 | 361 | 711 | -711000 | -0.711
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 3066 | 3063 | 3 | -15000 | -0.015 | 43 | 0 | 43 | -215000 | -0.215
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 112 | 78 | 34 | 45333.22 | 0.045333 | 7 | 4 | 3 | 3999.99 | 0.004
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6690 | 6154 | 536 | 71464.88 | 0.071465 | 8030 | 8037 | -7 | -933.31 | -0.00093331
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992416 | 992418 | -2 | -266 | -0.000266 | 6505 | 7141 | -636 | -84588 | -0.084588
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975322 | 975091 | 231 | -231000 | -0.231 | 990270 | 990270 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962200 | 961977 | 223 | -223000 | -0.223 | 969524 | 969524 | 0 | 0 | 0
DEV NAGAR
39 | TX.-3 (33KV) | Q0487636 | Secure | Kvarh(Lead/Lag) | -1 | 78000 | -3000 | 81000 | -81000 | -0.081 | 0 | 0 | 0 | 0 | 0
40 | TX.-4 (33KV) | Q0487633 | Secure | Kvarh(Lead/Lag) | -1 | 353000 | 2000 | 351000 | -351000 | -0.351 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -5.7556 |  |  |  |  | -4.3667
| (A) NET ENERGY TO CENTRAL | [8 empty] | -5.7556 |  |  |  |  | -4.3667
MAY-2023
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 656 | 613 | 43 | -43000 | -0.043 | 317 | 140 | 177 | -177000 | -0.177
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982108 | 982056 | 52 | -52000 | -0.052 | 931318 | 931299 | 19 | -19000 | -0.019
[5 empty] | -1000 | [5 empty] | 933218 | 933185 | 33 | -33000 | -0.033
[5 empty] | -1000 | [5 empty] | 933835 | 933592 | 243 | -243000 | -0.243
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 280 | 262 | 18 | -18000 | -0.018 | 97 | 12 | 85 | -85000 | -0.085
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2571 | 2541 | 30 | -30000 | -0.03 | 999770 | 999718 | 52 | -52000 | -0.052
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41710 | 41702 | 8 | -8000 | -0.008 | 998473 | 998194 | 279 | -279000 | -0.279
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 24545 | 24521 | 24 | -12000 | -0.012 | 1013 | 665 | 348 | -174000 | -0.174
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 537 | 530 | 7 | -7000 | -0.007 | 1000031 | 999992 | 39 | -39000 | -0.039
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 45703 | 45703 | 0 | 0 | 0 | 999415 | 999419 | -4 | 4000 | 0.004
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2011 | 1987 | 24 | -24000 | -0.024 | 70 | 24 | 46 | -46000 | -0.046
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973086 | 973049 | 37 | -37000 | -0.037 | 968159 | 968054 | 105 | -105000 | -0.105
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1153 | 1074 | 79 | -79000 | -0.079 | 1000070 | 999975 | 95 | -95000 | -0.095
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 14026 | 13810 | 216 | -1080000 | -1.08 | 221 | 220 | 1 | -5000 | -0.005
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30208 | 29515 | 693 | -693000 | -0.693 | 131 | 117 | 14 | -14000 | -0.014
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10224 | 9808 | 416 | -416000 | -0.416 | 13 | 6 | 7 | -7000 | -0.007
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -2.499 |  |  |  |  | -1.369
| (B) NET ENERGY TO EAST | [8 empty] | -2.499 |  |  |  |  | -1.369
MAY-2023
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 991434 | 991612 | -178 | 47467.26 | 0.047467 | 322 | 409 | -87 | 23200.29 | 0.0232
2 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | -2000 | 0 | 4 | -4 | 8000 | 0.008 | 50 | 40 | 10 | -20000 | -0.02
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 751 | 804 | -53 | 14132.98 | 0.014133 | 2240 | 2244 | -4 | 1066.64 | 0.0010666
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -100 | 10145 | 9424 | 721 | -72100 | -0.0721 | 133 | 31 | 102 | -10200 | -0.0102
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 972800 | 973058 | -258 | 51600 | 0.0516 | 999420 | 999385 | 35 | -7000 | -0.007
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 808 | 769 | 39 | -39000 | -0.039 | 390 | 390 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | -800 | 999999 | 999991 | 8 | -6400 | -0.0064 | 71 | 27 | 44 | -35200 | -0.0352
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 1831 | 1858 | -27 | 21600 | 0.0216 | 1664 | 1643 | 21 | -16800 | -0.0168
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 942247 | 942594 | -347 | 277600 | 0.2776 | 988376 | 988452 | -76 | 60800 | 0.0608
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992333 | 992345 | -12 | 24000 | 0.024 | 999006 | 999063 | -57 | 114000 | 0.114
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993576 | 993877 | -301 | 301000 | 0.301 | 24669 | 24701 | -32 | 32000 | 0.032
DMS
15 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | -300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999819 | 999808 | 11 | -5500 | -0.0055 | 2447 | 2442 | 5 | -2500 | -0.0025
18 | DCM NO.2 | 4902555 | ELSTER | Kvarh(Lead/Lag) | -500 | 999946 | 999962 | -16 | 8000 | 0.008 | 4 | 1 | 3 | -1500 | -0.0015
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1149 | 1145 | 4 | -2000 | -0.002 | 1587 | 1579 | 8 | -4000 | -0.004
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 59204 | 59144 | 60 | -6000 | -0.006 | 2577 | 2532 | 45 | -4500 | -0.0045
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 439 | 430 | 9 | -1199.97 | -0.0012 | 1025 | 975 | 50 | -6666.5 | -0.0066665
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992793 | 992790 | 3 | -300 | -0.0003 | 3027 | 2918 | 109 | -10900 | -0.0109
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 999999 | 999999 | 0 | 0 | 0 | 33 | 12 | 21 | -27999.93 | -0.028
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 16763 | 16284 | 479 | -47900 | -0.0479 | 6498 | 6472 | 26 | -2600 | -0.0026
25 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | -100 | 828 | 503 | 325 | -32500 | -0.0325 | 106 | 88 | 18 | -1800 | -0.0018
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 76110 | 73780 | 2330 | 2330 | 0.00233 | 367969 | 362489 | 5480 | 5480 | 0.00548
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 47080 | 45370 | 1710 | 1710 | 0.00171 | 600540 | 592819 | 7721 | 7721 | 0.007721
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 279600 | 266400 | 13200 | 13200 | 0.0132 | 1970099 | 1924700 | 45399 | 45399 | 0.045399
DEV NAGAR
29 | 33KV RAMA ROAD | Q0487625 | SECURE | Kvarh(Lead/Lag) | -1 | -46000 | -12000 | -34000 | 34000 | 0.034 | 0 | 0 | 0 | 0 | 0 | w.e.f 15.05.2023
30 | 33KV SHAHZADA BAGH | Q0487626 | SECURE | Kvarh(Lead/Lag) | -1 | -15000 | 0 | -15000 | 15000 | 0.015 | 0 | 0 | 0 | 0 | 0 | w.e.f 13.05.2023
[10 empty] | 0.60674 |  |  |  |  | 0.138
MAY-2023
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -5.7556 |  |  |  |  | -4.3667
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.60674 |  |  |  |  | 0.138
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -5.1488 |  |  |  |  | -4.2287
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -2.499 |  |  |  |  | -1.369
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -7.6478 |  |  |  |  | -5.5977
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -7.6478 | (REACTIVE MUs) |  |  |  | -5.5977 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 2.6721 | (REACTIVE MUs) |  |  |  | 0.10916 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.9757 | (REACTIVE MUs) |  |  |  | -5.4885 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MAY-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 751 | 804 | -53 | -14133.51 | -0.014134 | 2240 | 2244 | -4 | -1066.68 | -0.0010667
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 100 | 10145 | 9424 | 721 | 72100 | 0.0721 | 133 | 31 | 102 | 10200 | 0.0102
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 972800 | 973058 | -258 | -51600 | -0.0516 | 999420 | 999385 | 35 | 7000 | 0.007
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 808 | 769 | 39 | 39000 | 0.039 | 390 | 390 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | 800 | 999999 | 999991 | 8 | 6400 | 0.0064 | 71 | 27 | 44 | 35200 | 0.0352
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 1831 | 1858 | -27 | -21600 | -0.0216 | 1664 | 1643 | 21 | 16800 | 0.0168
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 942247 | 942594 | -347 | -277600 | -0.2776 | 988376 | 988452 | -76 | -60800 | -0.0608
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992333 | 992345 | -12 | -24000 | -0.024 | 999006 | 999063 | -57 | -114000 | -0.114
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 952727 | 952727 | 0 | 0 | 0 | 26817 | 24216 | 2601 | 130050 | 0.13005
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 998975 | 998975 | 0 | 0 | 0 | 142 | 607 | -465 | -46500 | -0.0465
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997778 | 997778 | 0 | 0 | 0 | 8262 | 7910 | 352 | 176000 | 0.176
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999830 | 999830 | 0 | 0 | 0 | 996304 | 996568 | -264 | -26400 | -0.0264
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 998338 | 998338 | 0 | 0 | 0 | 4250 | 4213 | 37 | 49333.21 | 0.049333
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11074 | 11074 | 0 | 0 | 0 | 42708 | 42517 | 191 | 191000 | 0.191
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 999862 | 999862 | 0 | 0 | 0 | 2033 | 1533 | 500 | 50000 | 0.05
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991623 | 991924 | -301 | -301000 | -0.301 | 409 | 406 | 3 | 3000 | 0.003
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976437 | 976810 | -373 | -373000 | -0.373 | 2783 | 2783 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 996824 | 996934 | -110 | -275000 | -0.275 | 84 | 81 | 3 | 7500 | 0.0075
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 993695 | 993963 | -268 | -670000 | -0.67 | 462 | 461 | 1 | 2500 | 0.0025
[10 empty] | -1.619 |  |  |  |  | 0.013
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989531 | 989657 | -126 | -126000 | -0.126 | 2540 | 2543 | -3 | -3000 | -0.003
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 2840 | 2856 | -16 | -2560 | -0.00256 | 39288 | 38580 | 708 | 113280 | 0.11328
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3851 | 3854 | -3 | -600 | -0.0006 | 19737 | 18995 | 742 | 148400 | 0.1484
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 968295 | 968419 | -124 | -124000 | -0.124 | 999404 | 999378 | 26 | 26000 | 0.026
A.I.I.M.S.
27 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 209 | 193 | 16 | -13333.28 | -0.013333 | 2308 | 1541 | 767 | -639164.11 | -0.63916
MAY-2023
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 664 | 589 | 75 | -75000 | -0.075 | 989431 | 989453 | -22 | 22000 | 0.022
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3159 | 3083 | 76 | -76000 | -0.076 | 995322 | 995339 | -17 | 17000 | 0.017
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998332 | 998354 | -22 | 44000 | 0.044 | 995178 | 995228 | -50 | 100000 | 0.1
33 | 33KV TX-2 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999923 | 999983 | -60 | 60000 | 0.06 | 999912 | 1000000 | -88 | 88000 | 0.088
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 455 | 455 | 0 | 0 | 0 | 2732 | 2732 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 754 | 731 | 23 | 2300 | 0.0023 | 2266 | 1974 | 292 | 29200 | 0.0292
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4990 | 4955 | 35 | 3500 | 0.0035 | 5475 | 5229 | 246 | 24600 | 0.0246
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21916 | 21916 | 0 | 0 | 0 | 5383 | 5271 | 112 | 56000 | 0.056
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 878 | 759 | 119 | -119000 | -0.119 | 999967 | 999973 | -6 | 6000 | 0.006
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997077 | 997165 | -88 | 88000 | 0.088 | 999914 | 999915 | -1 | 1000 | 0.001
AIIMS
3 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | -100 | 999990 | 1000000 | -10 | 1000 | 0.001 | 999635 | 999649 | -14 | 1400 | 0.0014
4 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | -200 | 18 | 0 | 18 | -3600 | -0.0036 | 57 | 5 | 52 | -10400 | -0.0104
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -2.2317 |  |  |  |  | 0.41013
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -2.2317 |  |  |  |  | 0.41013
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.18142 |  |  |  |  | 0.022723
| TOTAL ENERGY TO NDMC | [8 empty] | -2.0503 |  |  |  |  | 0.43286

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2023
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4281 | 4281 | 0 | 0 | 0 | 80420 | 80420 | 0 | 0 | 0
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999495 | 999511 | -16 | -2560 | -0.00256 | 32479 | 32214 | 265 | 42400 | 0.0424
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 999908 | 999909 | -1 | -200 | -0.0002 | 2383 | 2406 | -23 | -4600 | -0.0046
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999873 | 999873 | 0 | 0 | 0 | 19434 | 19302 | 132 | 52800 | 0.0528
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999301 | 999306 | -5 | -4000 | -0.004 | 765 | 799 | -34 | -27200 | -0.0272
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2327 | 2328 | -1 | -400 | -0.0004 | 6763 | 6650 | 113 | 45200 | 0.0452
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999811 | 999819 | -8 | -5333.336 | -0.0053333 | 233 | 414 | -181 | -120666.727 | -0.12067
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1130 | 1133 | -3 | -3000 | -0.003 | 253 | 182 | 71 | 71000 | 0.071
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.015493 |  |  |  |  | 0.058933
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | R.R. HOSPITAL | 4902551 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 147 | 93 | 54 | 2025 | 0.002025 | 687 | 393 | 294 | 11025 | 0.011025 | check meter
|  | 4902594 | ELSTER | Kvarh(Lead/Lag) | 500 | 4 | 0 | 4 | 2000 | 0.002 | 121 | 0 | 121 | 60500 | 0.0605 | w.e.f 11.05.2023
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 87 | 87 | 0 | 0 | 0 | 1754 | 1754 | 0 | 0 | 0
11 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4407 | 4406 | 1 | 75 | 7.5e-05 | 62965 | 62432 | 533 | 39975 | 0.039975
12 | SUBROTO PARK | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 6 | 0 | 6 | 600 | 0.0006 | 172 | 86 | 86 | 8600 | 0.0086
13 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 784 | 784 | 0 | 0 | 0 | 5828 | 5828 | 0 | 0 | 0
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10292 | 10292 | 0 | 0 | 0 | 8624 | 8624 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0047 |  |  |  |  | 0.1201
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.015493 |  |  |  |  | 0.058933
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.010793 |  |  |  |  | 0.17903
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.010793 | (REACTIVE MUs) |  |  |  | 0.17903 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.083132 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.093925 | (REACTIVE MUs) |  |  |  | 0.17903 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2023
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 992024 | 992037 | -13 | -8125 | -0.008125 | 629 | 560 | 69 | 43125 | 0.043125
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999607 | 999570 | 37 | 18500 | 0.0185 | 379 | 285 | 94 | 47000 | 0.047
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 1789 | 1548 | 241 | 192800 | 0.1928 | 617 | 565 | 52 | 41600 | 0.0416
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 76110 | 73780 | 2330 | -2330 | -0.00233 | 367969 | 362489 | 5480 | -5480 | -0.00548
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 47080 | 45370 | 1710 | -1710 | -0.00171 | 600540 | 592819 | 7721 | -7721 | -0.007721
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 279600 | 266400 | 13200 | -13200 | -0.0132 | 1970099 | 1924700 | 45399 | -45399 | -0.045399
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.18594 |  |  |  |  | 0.073125
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0030698 |  |  |  |  | 0
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.189 |  |  |  |  | 0.073125

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2023
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 993169 | 993273 | -104 | -52000 | -0.052 | 999646 | 999650 | -4 | -2000 | -0.002
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 18524 | 18905 | -381 | -38100 | -0.0381 | 992090 | 992274 | -184 | -18400 | -0.0184
3 | O/G VISHAL-1 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 833.333 | 1000106 | 999813 | 293 | 244166.569 | 0.24417 | 999990 | 999990 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 996937 | 996940 | -3 | -2812.5 | -0.0028125 | 999322 | 999338 | -16 | -15000 | -0.015
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999309 | 999332 | -23 | 23000 | 0.023 | 998959 | 998975 | -16 | 16000 | 0.016
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 994109 | 994145 | -36 | 18000 | 0.018 | 573 | 535 | 38 | -19000 | -0.019
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 210 | 210 | 0 | 0 | 0 | 999968 | 999968 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.19225 |  |  |  |  | -0.0384
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 954745 | 954745 | 0 | 0 | 0 | 991368 | 991368 | 0 | 0 | 0
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993263 | 993263 | 0 | 0 | 0 | 993619 | 993619 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | 0 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999098 | 999139 | -41 | -51250 | -0.05125 | 998644 | 998648 | -4 | -5000 | -0.005
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998450 | 998567 | -117 | -109687.5 | -0.10969 | 999624 | 999624 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 993465 | 993952 | -487 | -60875 | -0.060875 | 996676 | 996676 | 0 | 0 | 0
13 | O/G 33KV RAMA ROAD | 4865123 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999371 | 999399 | -28 | -35000 | -0.035 | 999978 | 999978 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998177 | 998208 | -31 | -31000 | -0.031 | 999651 | 999662 | -11 | -11000 | -0.011
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 965526 | 965945 | -419 | -419000 | -0.419 | 990527 | 990694 | -167 | -167000 | -0.167
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 999826 | 999866 | -40 | 25000 | 0.025 | 999795 | 999796 | -1 | 625 | 0.000625
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 210 | 210 | 0 | 0 | 0 | 999968 | 999968 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.68181 |  |  |  |  | -0.18238
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.19225 |  |  |  |  | -0.0384
| F) NET EXPORT TO BSES YPL | [8 empty] | 0 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.68181 |  |  |  |  | -0.18238

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2023
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2023 | INTIAL READING 01/05/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 14930 | 13606 | 1324 | 2648000 | 2.648 | 999999 | 999998 | 1 | 2000 | 0.002
2 | IBT-2 | 4864969 | ELSTER | kvarh (Lead/lag) | 2000 | 6018 | 4653 | 1365 | 2730000 | 2.73 | 0 | 0 | 0 | 0 | 0
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 5.378 |  |  |  |  | 0.002
[7 empty] | Generation at feeders |  | = | -5.2165 |  |  |  |  | 0.0095
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 10.5945 |  |  |  |  | -0.0075
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 3.1434 |  |  |  |  | -0.0022252
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 4.3999 |  |  |  |  | -0.0031147
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 2.4092 |  |  |  |  | -0.0017055
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 0.52443 |  |  |  |  | -0.00037125
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 842347 | 844927 | -2580 | 1290000 | 1.29 | 997810 | 997810 | 0 | 0 | 0
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 1.29 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.37668 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.53935 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.30831 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.065661 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 187711 | 185966 | 1745 | -1308750 | -1.3088 | 999739 | 999739 | 0 | 0 | 0
2 | GT-II | 4902490 | ELSTER | kvarh (lag) | -1000 | 3781 | 3232 | 549 | -549000 | -0.549 | 0 | 0 | 0 | 0 | 0
3 | STG-III | 4902483 | ELSTER | kvarh (lag) | -750 | 993071 | 993606 | -535 | 401250 | 0.40125 | 999391 | 999391 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -1.4565 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.28081 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.41204 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.23406 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.44132 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.088264 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 341066 | 347481 | -6415 | 641500 | 0.6415 | 984122 | 984122 | 0 | 0 | 0
[5 empty] | -100 | 331573 | 333329 | -1756 | 175600 | 0.1756
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 0.8171 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 8 FY2023-24) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.8506 | % |  |  | 0.24391 |  |  |  |  | 0
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 43.0539 | % |  |  | 0.35179 |  |  |  |  | 0
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.2672 | % |  |  | 0.18195 |  |  |  |  | 0
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.8246 | % |  |  | 0.031251 |  |  |  |  | 0
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6281 | % |  |  | 0.0051322 |  |  |  |  | 0
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.3757 | % |  |  | 0.0030698 |  |  |  |  | 0
E) | TEKHAND WASTE TO ENERGY PANT
1 | TEKHAND WASTE TO ENERGY PANT | Q0473785 | SECURE | kvarh (Lead/lag) | -240000 | -1.53 | -1.41 | -0.12 | 28800 | 0.0288 | -4.78 | -2.8 | -1.98 | 475200 | 0.4752
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 30.09 | % |  |  | 0.0086659 |  |  |  |  | 0.14299
| BRPL | (DERC order = |  |  |  | 41.72 | % |  |  | 0.012015 |  |  |  |  | 0.19825
| BYPL | (DERC order = |  |  |  | 23.33 | % |  |  | 0.006719 |  |  |  |  | 0.11086
| NDMC | (DERC order = |  |  |  | 4.86 | % |  |  | 0.0013997 |  |  |  |  | 0.023095
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
F) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D+E)
1) | NDPL |  |  |  | = |  |  |  |  | 3.4918 |  |  |  |  | 0.14076
2) | BRPL |  |  |  | = |  |  |  |  | 4.891 |  |  |  |  | 0.19514
3) | BYPL |  |  |  | = |  |  |  |  | 2.6721 |  |  |  |  | 0.10916
4) | NDMC |  |  |  | = |  |  |  |  | 0.18142 |  |  |  |  | 0.022723
5) | MES |  |  |  | = |  |  |  |  | -0.083132 |  |  |  |  | 0
6) | N.Railway |  |  |  | = |  |  |  |  | 0.0030698 |  |  |  |  | 0

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MAY-2023 TO 31st MAY-2023
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -44.7516 |  | -3.8884
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -6.4492 |  | -1.837
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -4.9757 |  | -5.4885
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -2.0503 | + | 0.43286
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.093925 | + | 0.17903
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.189 | + | 0.073125
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
Note:-Above Data is provided by DTL Metering Department