## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JULY-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 369 | 369 | 0 | 0 | 0 | 999066 | 999232 | -166 | 166000 | 0.166
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 98688 | 98422 | 266 | -532000 | -0.532 | 5079 | 5073 | 6 | -12000 | -0.012
|  | Q0491811 | Secure | Kvarh(Lead/Lag) | -1 | 995000 | 796000 | 199000 | -199000 | -0.199 | -1000 | 0 | -1000 | 1000 | 0.001
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18503 | 18503 | 0 | 0 | 0 | 784 | 330 | 454 | -454000 | -0.454
4 | Tx.4 | Q0491809 | Secure | Kvarh(Lead/Lag) | -1 | 1272000 | 1171000 | 101000 | -101000 | -0.101 | -84000 | 0 | -84000 | 84000 | 0.084
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 362 | 362 | 0 | 0 | 0 | 984404 | 984404 | 0 | 0 | 0
6 | Tx.2 | 4864896 | ELSTER | Kvarh(Lead/Lag) | -2000 | 254 | 244 | 10 | -20000 | -0.02 | 832 | 839 | -7 | 14000 | 0.014
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34363 | 34383 | -20 | 20000 | 0.02 | 999072 | 999102 | -30 | 30000 | 0.03
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43966 | 44008 | -42 | 42000 | 0.042 | 997328 | 997341 | -13 | 13000 | 0.013
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31129 | 31099 | 30 | -30000 | -0.03 | 996863 | 996922 | -59 | 59000 | 0.059
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 13426 | 13575 | -149 | 74500 | 0.0745 | 812785 | 813015 | -230 | 115000 | 0.115
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12324 | 12324 | 0 | 0 | 0 | 998311 | 998299 | 12 | -12000 | -0.012
12 | Tx.-2 | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31413 | 31074 | 339 | -339000 | -0.339 | 201 | 233 | -32 | 32000 | 0.032
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64390 | 64390 | 0 | 0 | 0 | 995845 | 996165 | -320 | 320000 | 0.32
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 680423 | 681436 | -1013 | -1013000 | -1.013 | 999743 | 999745 | -2 | -2000 | -0.002
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 705395 | 707295 | -1900 | -950000 | -0.95 | 999974 | 999988 | -14 | -7000 | -0.007
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15986 | 15982 | 4 | -4000 | -0.004 | 998502 | 998581 | -79 | 79000 | 0.079
18 | Tx.2 | 4865043 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 6 | 0 | 0 | 0 | 1168 | 1055 | 113 | -113000 | -0.113
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62897 | 62748 | 149 | -149000 | -0.149 | 333 | 204 | 129 | -129000 | -0.129
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998623 | 998623 | 0 | 0 | 0 | 985642 | 985766 | -124 | -124000 | -0.124
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999568 | 999568 | 0 | 0 | 0 | 999542 | 999548 | -6 | -24000 | -0.024
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1965 | 1965 | 0 | 0 | 0 | 17340 | 17315 | 25 | 12500 | 0.0125
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 157505 | 157232 | 273 | 13650 | 0.01365 | 424572 | 424454 | 118 | 5900 | 0.0059
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998484 | 998484 | 0 | 0 | 0 | 992018 | 992068 | -50 | -50000 | -0.05
25 | INDER PURI-2 | 4865117 | ELSTER | Kvarh(Lead/Lag) | 1333.333 | 999993 | 999993 | 0 | 0 | 0 | 994449 | 995039 | -590 | -786666.47 | -0.78667
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999776 | 999777 | -1 | -1000 | -0.001 | 6 | 26 | -20 | -20000 | -0.02
KASHMIRI GATE
27 | 220 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975344 | 975351 | -7 | -7000 | -0.007 | 997849 | 997849 | 0 | 0 | 0 | upto 03.07.2023
[10 empty] | -0.0039 |  |  |  |  | -0.00011 | assessment 03 days
|  | 5128479 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999971 | 1000000 | -29 | -29000 | -0.029 | 999999 | 1000000 | -1 | -1000 | -0.001 | w.e.f 06-07-2023
28 | 220 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 882132 | 882628 | -496 | -248000 | -0.248 | 999236 | 999233 | 3 | 1500 | 0.0015
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 991159 | 991430 | -271 | -72267.57 | -0.072268 | 999973 | 999966 | 7 | 1866.69 | 0.0018667
30 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1 | 0 | 1 | 2000 | 0.002 | 53 | 51 | 2 | 4000 | 0.004
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60861 | 60885 | -24 | 24000 | 0.024 | 995130 | 995213 | -83 | 83000 | 0.083
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5675 | 5654 | 21 | -21000 | -0.021 | 999745 | 999775 | -30 | 30000 | 0.03
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 40212 | 39784 | 428 | -856000 | -0.856 | 999673 | 999669 | 4 | -8000 | -0.008
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 96105 | 95802 | 303 | -303000 | -0.303 | 995563 | 995556 | 7 | -7000 | -0.007
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 16314 | 16138 | 176 | -704000 | -0.704 | 44 | 11 | 33 | -132000 | -0.132
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 176120 | 176090 | 30 | -30000 | -0.03 | 998457 | 998433 | 24 | -24000 | -0.024
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 406141 | 404436 | 1705 | -568327.65 | -0.56833 | 1066 | 528 | 538 | -179331.54 | -0.17933
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 55639 | 55561 | 78 | -156000 | -0.156 | 107 | 34 | 73 | -146000 | -0.146
ROHINI-II
38 | Tx.1 | 4864957 | ELSTER | Kvarh(Lead/Lag) | -2500 | 3548 | 3374 | 174 | -435000 | -0.435 | 59 | 29 | 30 | -75000 | -0.075
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 162707 | 162239 | 468 | -468000 | -0.468 | 2459 | 2390 | 69 | -69000 | -0.069
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 16947000 | 16947000 | 0 | 0 | 0 | 4303000 | 3460000 | 843000 | -843000 | -0.843
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 52483000 | 52170000 | 313000 | -313000 | -0.313 | 3153000 | 3009000 | 144000 | -144000 | -0.144
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43675 | 43674 | 1 | -1000 | -0.001 | 998006 | 997905 | 101 | -101000 | -0.101
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61423 | 61424 | -1 | 1000 | 0.001 | 915 | 913 | 2 | -2000 | -0.002
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993409 | 993464 | -55 | -55000 | -0.055 | 24554 | 24616 | -62 | -62000 | -0.062
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | JULY-2023
DMS
45 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | 300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 999999 | 999999 | 0 | 0 | 0 | 999720 | 999735 | -15 | -1500 | -0.0015
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3230 | 3230 | 0 | 0 | 0 | 35131 | 34994 | 137 | 13700 | 0.0137
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 744 | 744 | 0 | 0 | 0 | 634 | 630 | 4 | 5332 | 0.005332
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 298 | 298 | 0 | 0 | 0 | 4664 | 4664 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1636 | 1636 | 0 | 0 | 0 | 11301 | 10828 | 473 | 47300 | 0.0473
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0 | upto 03.07.2023
[10 empty] | 0 |  |  |  |  | 0 | assessment 17 days
|  | 4902519 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 20.07.2023
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999846 | 999831 | 15 | 7500 | 0.0075 | 2465 | 2455 | 10 | 5000 | 0.005
57 | DCM NO.2 | 4902555 | ELSTER | Kvarh(Lead/Lag) | 500 | 999935 | 999936 | -1 | -500 | -0.0005 | 6 | 6 | 0 | 0 | 0 | upto 17.07.2023
[10 empty] | 0 |  |  |  |  | 0.00038 | assessment 03 days
|  | 4865089 | ELSTER | Kvarh(Lead/Lag) | 500 | 1 | 0 | 1 | 500 | 0.0005 | 7 | 0 | 7 | 3500 | 0.0035 | w.e.f 20.07.2023
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1177 | 1158 | 19 | 9500 | 0.0095 | 1624 | 1599 | 25 | 12500 | 0.0125
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992789 | 992791 | -2 | -200 | -0.0002 | 3188 | 3121 | 67 | 6700 | 0.0067
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 9 | 1 | 8 | 10666.64 | 0.010667 | 61 | 53 | 8 | 10666.64 | 0.010667
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 17855 | 17205 | 650 | 65000 | 0.065 | 6564 | 6538 | 26 | 2600 | 0.0026
62 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | 100 | 1425 | 1218 | 207 | 20700 | 0.0207 | 155 | 141 | 14 | 1400 | 0.0014
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 59638 | 59260 | 378 | 37800 | 0.0378 | 2621 | 2617 | 4 | 400 | 0.0004
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 443 | 439 | 4 | 533.32 | 0.00053332 | 1157 | 1151 | 6 | 799.98 | 0.00079998
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 10 | 12 | -2 | 800 | 0.0008
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999893 | 999893 | 0 | 0 | 0 | 999459 | 999459 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 932199 | 932278 | -79 | -63200 | -0.0632 | 999694 | 999698 | -4 | -3200 | -0.0032
69 | GHEWARA | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 993680 | 993726 | -46 | -36800 | -0.0368 | 999999 | 999999 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 957496 | 957587 | -91 | -18200 | -0.0182 | 2087 | 2051 | 36 | 7200 | 0.0072
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 988499 | 988496 | 3 | 750 | 0.00075 | 890 | 868 | 22 | 5500 | 0.0055
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979279 | 979282 | -3 | -3000 | -0.003 | 1823 | 1900 | -77 | -77000 | -0.077
73 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | 281.25 | 999583 | 999574 | 9 | 2531.25 | 0.0025313 | 73 | 52 | 21 | 5906.25 | 0.0059063
DEV NAGAR
74 | 33KV RAMA ROAD | Q0487625 | Secure | Kvarh(Lead/Lag) | 1 | -121000 | -104000 | -17000 | -17000 | -0.017 | 0 | 0 | 0 | 0 | 0
75 | 33KV SHAHZADA BAGH | Q0487626 | Secure | Kvarh(Lead/Lag) | 1 | 670000 | 316000 | 354000 | 354000 | 0.354 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -7.0608 |  |  |  |  | -2.4274
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 326 | 308 | 18 | -1800 | -0.0018 | 3541 | 3503 | 38 | -3800 | -0.0038
MANGOLPURI
2 | NANGLOI-2 EXP | Y0357821 | Secure | Kvarh(Lead/Lag) | -0.8 | 652500 | 643500 | 9000 | -7200 | -0.0072 | 8500 | 7000 | 1500 | -1200 | -0.0012
SUBZI MANDI
3 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 186 | 170 | 16 | -21333.28 | -0.021333 | 6 | 6 | 0 | 0 | 0 | upto 05.07.2023
|  | 4864899 | ELSTER | Kvarh(Lead/Lag) | -500 | 973028 | 972980 | 48 | -24000 | -0.024 | 992004 | 991875 | 129 | -64500 | -0.0645 | w.e.f 06.07.2023
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 7188 | 6887 | 301 | -40132.33 | -0.040132 | 8348 | 8039 | 309 | -41198.97 | -0.041199
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 996254 | 996263 | -9 | 1687.5 | 0.0016875 | 998335 | 998403 | -68 | 12750 | 0.01275
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 893516 | 893516 | 0 | 0 | 0 | 997528 | 997528 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991994 | 992016 | -22 | 13750 | 0.01375 | 867 | 869 | -2 | 1250 | 0.00125
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999719 | 999651 | 68 | -34000 | -0.034 | 418 | 380 | 38 | -19000 | -0.019
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 991420 | 991421 | -1 | 200 | 0.0002 | 20489 | 20562 | -73 | 14600 | 0.0146
11 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -937.5 | 999969 | 999969 | 0 | 0 | 0 | 999877 | 999920 | -43 | 40312.5 | 0.040313
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 980831 | 980831 | 0 | 0 | 0 | 3239 | 3212 | 27 | -5062.5 | -0.0050625
13 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | -2500 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | -3 | 7500 | 0.0075
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993037 | 993035 | 2 | -200 | -0.0002 | 31202 | 30902 | 300 | -30000 | -0.03
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | -0.11303 |  |  |  |  | -0.088349
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -7.0608 |  |  |  |  | -2.4274
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | -0.11303 |  |  |  |  | -0.088349
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.07725 |  |  |  |  | -0.26544
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -7.251 |  |  |  |  | -2.7811
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -7.251 | (REACTIVE MUs) |  |  |  | -2.7811 | (REACTIVE MUs)
Assessment of Reactive energy on SGTN 66KV I/C-I & II for the period Dec-2020 to Dec-2021 due to wrong MF.Total Assessment of (-) 39.766 Mu at 103% and (-) 4.59 MU at 97% will be distributed equally in 4-Months i.e July-2023 to Oct-2023. | [9 empty] | -9.9415 | (REACTIVE MUs) |  |  |  | -1.1475 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.25271 | (REACTIVE MUs) |  |  |  | 0.42273 | (REACTIVE MUs)
[9 empty] | TOTAL | -16.9398 | (REACTIVE MUs) |  |  |  | -3.5059 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JULY-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997806 | 997806 | 0 | 0 | 0 | 987977 | 990108 | -2131 | -2131000 | -2.131
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998506 | 998506 | 0 | 0 | 0 | 998148 | 998098 | 50 | 50000 | 0.05
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 200 | 999434 | 999434 | 0 | 0 | 0 | 969780 | 975819 | -6039 | -1207800 | -1.2078
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999790 | 999790 | 0 | 0 | 0 | 996113 | 997112 | -999 | -1331996.67 | -1.332
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997306 | 997306 | 0 | 0 | 0 | 997659 | 998507 | -848 | -1272000 | -1.272
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 10345 | 10345 | 0 | 0 | 0 | 18579 | 18588 | -9 | -11999.97 | -0.012
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994508 | 994508 | 0 | 0 | 0 | 995214 | 995253 | -39 | -39000 | -0.039
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990609 | 990609 | 0 | 0 | 0 | 985423 | 985273 | 150 | 150000 | 0.15
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 999997 | 999997 | 0 | 0 | 0 | 998394 | 998723 | -329 | -263200 | -0.2632
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988555 | 988555 | 0 | 0 | 0 | 265003 | 264941 | 62 | 82666.46 | 0.082666
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 954 | 954 | 0 | 0 | 0 | 1000018 | 999958 | 60 | -399999.96 | -0.4
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34333 | 34330 | 3 | -3000 | -0.003 | 997121 | 996837 | 284 | -284000 | -0.284
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5292 | 5292 | 0 | 0 | 0 | 997664 | 996832 | 832 | -1664000 | -1.664
14 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1648 | 1648 | 0 | 0 | 0 | 994505 | 993473 | 1032 | -1032000 | -1.032
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 188517 | 188157 | 360 | -360000 | -0.36 | 24144 | 24108 | 36 | -36000 | -0.036
[5 empty] | -1000 | 189537 | 189330 | 207 | -207000 | -0.207
16 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13376 | 13376 | 0 | 0 | 0 | 1000144 | 999777 | 367 | -367000 | -0.367
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38472 | 38465 | 7 | -14000 | -0.014 | 3442 | 3229 | 213 | -426000 | -0.426
18 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4081 | 4081 | 0 | 0 | 0 | 999771 | 999727 | 44 | -88000 | -0.088
PAAPANKALAN-III
19 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1600 | 53 | 53 | 0 | 0 | 0 | 985 | 463 | 522 | -835200 | -0.8352
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 129164 | 129097 | 67 | -53600 | -0.0536 | 6915 | 6422 | 493 | -394400 | -0.3944
NAJAFGARH
21 | Tx.1 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999822 | 999878 | -56 | 140000 | 0.14 | 999922 | 999945 | -23 | 57500 | 0.0575
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952436 | 952519 | -83 | 166000 | 0.166 | 989589 | 989746 | -157 | 314000 | 0.314
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 907041 | 907783 | -742 | 1484000 | 1.484 | 970968 | 970988 | -20 | 40000 | 0.04
24 | Tx.4 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999711 | 999911 | -200 | 200000 | 0.2 | 999953 | 999976 | -23 | 23000 | 0.023
R.K.PURAM
25 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997449 | 997417 | 32 | -32000 | -0.032 | 997248 | 997236 | 12 | -12000 | -0.012
[5 empty] | -1000 | 997383 | 997383 | 0 | 0 | 0
26 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981262 | 981241 | 21 | -21000 | -0.021 | 999868 | 999864 | 4 | -4000 | -0.004
[5 empty] | -1000 | [5 empty] | 12968 | 12968 | 0 | 0 | 0
27 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 293846 | 293846 | 0 | 0 | 0 | 126061 | 125945 | 116 | -116000 | -0.116
[5 empty] | -1000 | [5 empty] | 127286 | 126465 | 821 | -821000 | -0.821
[5 empty] | -1000 | [5 empty] | 137844 | 137755 | 89 | -89000 | -0.089
28 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7964 | 7964 | 0 | 0 | 0 | 1171 | 809 | 362 | -724000 | -0.724
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | Y0357821 | Secure | Kvarh(Lead/Lag) | 0.8 | 652500 | 643500 | 9000 | 7200 | 0.0072 | 8500 | 7000 | 1500 | 1200 | 0.0012
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 933778 | 933775 | 3 | -3000 | -0.003 | 965242 | 965240 | 2 | -2000 | -0.002
31 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994478 | 994954 | -476 | 476000 | 0.476 | 999505 | 999509 | -4 | 4000 | 0.004
32 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 728 | 751 | -23 | 23000 | 0.023 | 999986 | 1000001 | -15 | 15000 | 0.015
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 41381 | 41381 | 0 | 0 | 0 | 9627 | 6567 | 3060 | -2448000 | -2.448
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 63149 | 63149 | 0 | 0 | 0 | 58939 | 56923 | 2016 | -3225600 | -3.2256
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999994 | 1000084 | -90 | 180000 | 0.18 | 1146 | 1150 | -4 | 8000 | 0.008
36 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 348 | 399 | -51 | 51000 | 0.051 | 1 | 44 | -43 | 43000 | 0.043
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24080 | 24103 | -23 | 23000 | 0.023 | 31103 | 31181 | -78 | 78000 | 0.078
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5591 | 5607 | -16 | 16000 | 0.016 | 996803 | 996803 | 0 | 0 | 0
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1249 | 1249 | 0 | 0 | 0 | 1634 | 1656 | -22 | 22000 | 0.022
BRPL(+) continue | [14 empty] | JULY-2023
VASANT KUNJ
40 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6773 | 6722 | 51 | -51000 | -0.051 | 999983 | 999958 | 25 | -25000 | -0.025
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25120 | 25096 | 24 | -24000 | -0.024 | 691 | 620 | 71 | -71000 | -0.071
42 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39669 | 39616 | 53 | -53000 | -0.053 | 997244 | 997246 | -2 | 2000 | 0.002
MEHRAULI
43 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7699 | 7698 | 1 | -1000 | -0.001 | 2843 | 2572 | 271 | -271000 | -0.271
44 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 16747 | 16716 | 31 | -15500 | -0.0155 | 1609 | 1195 | 414 | -207000 | -0.207
45 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 2548 | 2548 | 0 | 0 | 0 | 1010 | 912 | 98 | -245000 | -0.245
46 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4572 | 4570 | 2 | -4000 | -0.004 | 912 | 732 | 180 | -360000 | -0.36
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 99177 | 99146 | 31 | -31000 | -0.031 | 997010 | 997068 | -58 | 58000 | 0.058
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 70524 | 70366 | 158 | -316000 | -0.316 | 999355 | 999367 | -12 | 24000 | 0.024
DIAL
49 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 9849 | 9690 | 159 | -238500 | -0.2385 | 49 | 33 | 16 | -24000 | -0.024
50 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15201 | 15093 | 108 | -108000 | -0.108 | 999994 | 999979 | 15 | -15000 | -0.015
MASJID MOD
51 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996816 | 996816 | 0 | 0 | 0 | 999997 | 999882 | 115 | -115000 | -0.115
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991325 | 991325 | 0 | 0 | 0 | 994665 | 994562 | 103 | -103000 | -0.103
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989579 | 989575 | 4 | -4000 | -0.004 | 986843 | 986828 | 15 | -15000 | -0.015
MUNDKA
54 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 993842 | 993842 | 0 | 0 | 0 | 999990 | 999990 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 962137 | 962189 | -52 | -41600 | -0.0416 | 627 | 633 | -6 | -4800 | -0.0048
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 906490 | 906572 | -82 | -65600 | -0.0656 | 999427 | 999431 | -4 | -3200 | -0.0032
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4864985 | ELSTER | Kvarh(Lead/Lag) | 800 | 174 | 150 | 24 | 19200 | 0.0192 | 1 | 0 | 1 | 800 | 0.0008
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 992688 | 992694 | -6 | -4800 | -0.0048 | 54 | 52 | 2 | 1600 | 0.0016
60 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 985134 | 985172 | -38 | -30400 | -0.0304 | 999761 | 999776 | -15 | -12000 | -0.012
61 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 983490 | 983668 | -178 | -142400 | -0.1424 | 999975 | 999982 | -7 | -5600 | -0.0056
PARK STREET
63 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
SARITA VIHAR
64 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 128727 | 128706 | 21 | -42000 | -0.042 | 7267 | 7044 | 223 | -446000 | -0.446
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19647 | 19645 | 2 | -2000 | -0.002 | 10519 | 8787 | 1732 | -1732000 | -1.732
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 142654 | 142613 | 41 | -41000 | -0.041 | 3303 | 3148 | 155 | -155000 | -0.155
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 326 | 308 | 18 | 1800 | 0.0018 | 3541 | 3503 | 38 | 3800 | 0.0038
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996254 | 996263 | -9 | -1687.5 | -0.0016875 | 998335 | 998403 | -68 | -12750 | -0.01275
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998242 | 998246 | -4 | -4000 | -0.004 | 404 | 482 | -78 | -78000 | -0.078
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997790 | 997791 | -1 | -1000 | -0.001 | 389 | 391 | -2 | -2000 | -0.002
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 893516 | 893516 | 0 | 0 | 0 | 997528 | 997528 | 0 | 0 | 0
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 923 | 923 | 0 | 0 | 0 | 999805 | 999897 | -92 | -92000 | -0.092
72 | IIT CIRCUIT | 4864872 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997067 | 997070 | -3 | -3000 | -0.003 | 999658 | 999820 | -162 | -162000 | -0.162
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | 100 | 999994 | 999994 | 0 | 0 | 0 | 999734 | 999777 | -43 | -4300 | -0.0043
74 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | 200 | 22 | 22 | 0 | 0 | 0 | 197 | 81 | 116 | 23200 | 0.0232
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8138 | 8136 | 2 | 1000 | 0.001 | 3087 | 3097 | -10 | -5000 | -0.005
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994219 | 994219 | 0 | 0 | 0 | 4174 | 4183 | -9 | -9000 | -0.009
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980418 | 980418 | 0 | 0 | 0 | 516 | 522 | -6 | -6000 | -0.006
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7524 | 7516 | 8 | 8000 | 0.008 | 6926 | 6927 | -1 | -1000 | -0.001
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 993507 | 993503 | 4 | 600 | 0.0006 | 324 | 308 | 16 | 2400 | 0.0024
80 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 154219 | 154210 | 9 | 900 | 0.0009 | 912237 | 912213 | 24 | 2400 | 0.0024
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2987 | 2979 | 8 | 2133.36 | 0.0021334 | 654 | 643 | 11 | 2933.37 | 0.0029334
82 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5426 | 5426 | 0 | 0 | 0 | 8035 | 7993 | 42 | 42000 | 0.042
REWARI LINE
83 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 991420 | 991421 | -1 | -200 | -0.0002 | 20489 | 20562 | -73 | -14600 | -0.0146
84 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999969 | 999969 | 0 | 0 | 0 | 999877 | 999920 | -43 | -40312.5 | -0.040313
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 980831 | 980831 | 0 | 0 | 0 | 3239 | 3212 | 27 | 5062.5 | 0.0050625
86 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | 2500 | 0 | 0 | 0 | 0 | 0 | 1 | 4 | -3 | -7500 | -0.0075
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993037 | 993035 | 2 | 200 | 0.0002 | 31202 | 30902 | 300 | 30000 | 0.03
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 0.88075 |  |  |  |  | -22.3827
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21916 | 21916 | 0 | 0 | 0 | 6175 | 5549 | 626 | -313000 | -0.313
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992416 | 992416 | 0 | 0 | 0 | 4828 | 5500 | -672 | 89597.76 | 0.089598
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999811 | 999811 | 0 | 0 | 0 | 40 | 292 | -252 | 168000.084 | 0.168
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1130 | 1130 | 0 | 0 | 0 | 653 | 355 | 298 | -298000 | -0.298
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989494 | 989502 | -8 | 8000 | 0.008 | 2545 | 2548 | -3 | 3000 | 0.003
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 2840 | 2840 | 0 | 0 | 0 | 43001 | 40475 | 2526 | -404160 | -0.40416
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3851 | 3851 | 0 | 0 | 0 | 24181 | 21694 | 2487 | -497400 | -0.4974
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968271 | 968275 | -4 | 4000 | 0.004 | 999397 | 999361 | 36 | -36000 | -0.036
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 772 | 773 | -1 | 100 | 0.0001 | 2918 | 2430 | 488 | -48800 | -0.0488
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4936 | 4935 | 1 | -100 | -0.0001 | 5712 | 5566 | 146 | -14600 | -0.0146
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 209 | 209 | 0 | 0 | 0 | 3526 | 3526 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 455 | 455 | 0 | 0 | 0 | 5027 | 3407 | 1620 | -1012500 | -1.0125
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 999999 | 999999 | 0 | 0 | 0 | 999720 | 999735 | -15 | 1500 | 0.0015
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3230 | 3230 | 0 | 0 | 0 | 35131 | 34994 | 137 | -13700 | -0.0137
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 744 | 744 | 0 | 0 | 0 | 634 | 630 | 4 | -5332 | -0.005332
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 298 | 298 | 0 | 0 | 0 | 4664 | 4664 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1636 | 1636 | 0 | 0 | 0 | 11301 | 10828 | 473 | -47300 | -0.0473
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999893 | 999893 | 0 | 0 | 0 | 999459 | 999459 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 1816 | 1811 | 5 | -4000 | -0.004 | 973 | 753 | 220 | -176000 | -0.176
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979279 | 979282 | -3 | 3000 | 0.003 | 1823 | 1900 | -77 | 77000 | 0.077
30 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | -281.25 | 999583 | 999574 | 9 | -2531.25 | -0.0025313 | 73 | 52 | 21 | -5906.25 | -0.0059063
FED FROM BRPL(RLY.)
31 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | -600 | 0.12 | 0.05 | 0.07 | -42 | -4.2e-05 | 19.74 | 8.97 | 10.77 | -6462 | -0.006462
32 | TUGLUKABAD RY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | -3000 | 0.15 | 0 | 0.15 | -450 | -0.00045 | 9.26 | 3.79 | 5.47 | -16410 | -0.01641
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.0079767 |  |  |  |  | -2.5565
JULY-2023
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 0.88075 |  |  |  |  | -22.3827
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.0079767 |  |  |  |  | -2.5565
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.1086 |  |  |  |  | -0.3944
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.001 |  |  |  |  | -0.33035
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 0.99633 |  |  |  |  | -25.6639
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.99633 | (REACTIVE MUs) |  |  |  | -25.6639 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.34582 | (REACTIVE MUs) |  |  |  | 0.58963 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.3422 | (REACTIVE MUs) |  |  |  | -25.0743 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JULY-2023
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36293 | 36293 | 0 | 0 | 0 | 979240 | 983997 | -4757 | -1270119 | -1.2701
2 | KAMLA MKT.B-30 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 0 | 0 | 0 | 0 | 0 | 999155 | 999304 | -149 | -596000 | -0.596
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24929 | 24929 | 0 | 0 | 0 | 33722 | 34231 | -509 | -67864.97 | -0.067865
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999603 | 999603 | 0 | 0 | 0 | 998623 | 998893 | -270 | -270000 | -0.27
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 89 | 89 | 0 | 0 | 0 | 999213 | 999305 | -92 | -147200 | -0.1472
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18375 | 18375 | 0 | 0 | 0 | 3246 | 4116 | -870 | -1159997.1 | -1.16
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999340 | 999340 | 0 | 0 | 0 | 991728 | 994117 | -2389 | -477800 | -0.4778
RPH
8 | KAMLA MKT.-2 | 4865183 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999974 | 999979 | -5 | -20000 | -0.02 | 999983 | 999994 | -11 | -44000 | -0.044
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 982814 | 982814 | 0 | 0 | 0 | 407 | 279 | 128 | 64000 | 0.064
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997232 | 997238 | -6 | -6000 | -0.006 | 999773 | 999830 | -57 | -57000 | -0.057
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982509 | 982513 | -4 | -4000 | -0.004 | 1046 | 1061 | -15 | -15000 | -0.015
12 | LAHORI GATE-1 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999965 | 999965 | 0 | 0 | 0 | 1592 | 993 | 599 | 798664.67 | 0.79866
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993353 | 993353 | 0 | 0 | 0 | 994930 | 995009 | -79 | -79000 | -0.079
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992495 | 992495 | 0 | 0 | 0 | 999745 | 999754 | -9 | -9000 | -0.009
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994334 | 994334 | 0 | 0 | 0 | 6681 | 6616 | 65 | 52000 | 0.052
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14637 | 14648 | -11 | -1466.63 | -0.0014666 | 8256 | 8408 | -152 | -20266.16 | -0.020266
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 29 | 29 | 0 | 0 | 0 | 999851 | 999793 | 58 | 58000 | 0.058
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 425 | 429 | -4 | -4000 | -0.004 | 16681 | 16844 | -163 | -163000 | -0.163
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 944470 | 944573 | -103 | -128750 | -0.12875 | 947146 | 947174 | -28 | -35000 | -0.035
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 924184 | 924471 | -287 | -287000 | -0.287 | 933466 | 933504 | -38 | -38000 | -0.038
21 | AKSHARDHAM | 4865027 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999463 | 999595 | -132 | -132000 | -0.132 | 999965 | 999990 | -25 | -25000 | -0.025
| KASHMIRI GATE | [8 empty] | -0.41575 |  |  |  |  | -0.073
22 | 100 MVA TX.-1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26 | 11 | 15 | -15000 | -0.015 | 15 | 64 | -49 | 49000 | 0.049
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6636 | 6703 | -67 | 67000 | 0.067 | 985295 | 985293 | 2 | -2000 | -0.002
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 10 | 12 | -2 | -800 | -0.0008
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998892 | 998892 | 0 | 0 | 0 | 11750 | 11795 | -45 | -45000 | -0.045
PARK STREET
26 | TX.-1 (66KV) | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4760 | 4633 | 127 | -127000 | -0.127 | 770 | 480 | 290 | -290000 | -0.29
27 | TX.-2(66KV) | 4902495 | ELSTER | Kvarh(Lead/Lag) | -750 | 1301 | 1301 | 0 | 0 | 0 | 1702 | 1702 | 0 | 0 | 0
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12016 | 12016 | 0 | 0 | 0 | 999110 | 999026 | 84 | -84000 | -0.084
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7137 | 7066 | 71 | -71000 | -0.071 | 998080 | 998052 | 28 | -28000 | -0.028
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 125175 | 125175 | 0 | 0 | 0 | 987758 | 986137 | 1621 | -1621000 | -1.621
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 97159 | 97159 | 0 | 0 | 0 | 4026 | 2431 | 1595 | -1595000 | -1.595
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 3066 | 3066 | 0 | 0 | 0 | 258 | 128 | 130 | -650000 | -0.65
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 186 | 170 | 16 | 21333.28 | 0.021333 | 6 | 6 | 0 | 0 | 0 | upto 05.07.2023
|  | 4864899 | ELSTER | Kvarh(Lead/Lag) | 500 | 973028 | 972980 | 48 | 24000 | 0.024 | 992004 | 991875 | 129 | 64500 | 0.0645 | w.e.f 06.07.2023
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 7188 | 6887 | 301 | 40132.33 | 0.040132 | 8348 | 8039 | 309 | 41198.97 | 0.041199
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992416 | 992416 | 0 | 0 | 0 | 4828 | 5500 | -672 | -89376 | -0.089376
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975475 | 975415 | 60 | -60000 | -0.06 | 990266 | 990270 | -4 | 4000 | 0.004
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962357 | 962295 | 62 | -62000 | -0.062 | 969521 | 969523 | -2 | 2000 | 0.002
DEV NAGAR
39 | TX.-3 (33KV) | Q0487636 | Secure | Kvarh(Lead/Lag) | -1 | -604000 | -99000 | -505000 | 505000 | 0.505 | 0 | 0 | 0 | 0 | 0
40 | TX.-4 (33KV) | Q0487633 | Secure | Kvarh(Lead/Lag) | -1 | 382000 | 311000 | 71000 | -71000 | -0.071 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.33175 |  |  |  |  | -7.7461
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.33175 |  |  |  |  | -7.7461
JULY-2023
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 626 | 651 | -25 | 25000 | 0.025 | 367 | 378 | -11 | 11000 | 0.011
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982098 | 982107 | -9 | 9000 | 0.009 | 933958 | 933958 | 0 | 0 | 0
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 247 | 276 | -29 | 29000 | 0.029 | 89 | 114 | -25 | 25000 | 0.025
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2349 | 2497 | -148 | 148000 | 0.148 | 999765 | 999787 | -22 | 22000 | 0.022
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41739 | 41713 | 26 | -26000 | -0.026 | 998680 | 998659 | 21 | -21000 | -0.021
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 24644 | 24562 | 82 | -41000 | -0.041 | 1302 | 1295 | 7 | -3500 | -0.0035
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 428 | 502 | -74 | 74000 | 0.074 | 31 | 31 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 45703 | 45703 | 0 | 0 | 0 | 999401 | 999415 | -14 | 14000 | 0.014
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1918 | 1981 | -63 | 63000 | 0.063 | 77 | 77 | 0 | 0 | 0
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973125 | 973110 | 15 | -15000 | -0.015 | 968679 | 968630 | 49 | -49000 | -0.049
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1157 | 1157 | 0 | 0 | 0 | 399 | 161 | 238 | -238000 | -0.238
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 14045 | 14043 | 2 | -10000 | -0.01 | 416 | 253 | 163 | -815000 | -0.815
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30327 | 30323 | 4 | -4000 | -0.004 | 386 | 206 | 180 | -180000 | -0.18
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10465 | 10433 | 32 | -32000 | -0.032 | 134 | 18 | 116 | -116000 | -0.116
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.22 |  |  |  |  | -1.3505
| (B) NET ENERGY TO EAST | [8 empty] | 0.22 |  |  |  |  | -1.3505
JULY-2023
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 991159 | 991430 | -271 | 72267.57 | 0.072268 | 999973 | 999966 | 7 | -1866.69 | -0.0018667
2 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1 | 0 | 1 | -2000 | -0.002 | 53 | 51 | 2 | -4000 | -0.004
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 737 | 737 | 0 | 0 | 0 | 2192 | 2219 | -27 | 7199.82 | 0.0071998
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -100 | 10304 | 10304 | 0 | 0 | 0 | 1460 | 918 | 542 | -54200 | -0.0542
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 972732 | 972736 | -4 | 800 | 0.0008 | 999808 | 999591 | 217 | -43400 | -0.0434
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 791 | 793 | -2 | 2000 | 0.002 | 371 | 388 | -17 | 17000 | 0.017
7 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | -800 | 4 | 6 | -2 | 1600 | 0.0016 | 408 | 241 | 167 | -133600 | -0.1336
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 1823 | 1821 | 2 | -1600 | -0.0016 | 1884 | 1701 | 183 | -146400 | -0.1464
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 942044 | 942098 | -54 | 43200 | 0.0432 | 988102 | 988210 | -108 | 86400 | 0.0864
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992330 | 992330 | 0 | 0 | 0 | 998661 | 998879 | -218 | 436000 | 0.436
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993409 | 993464 | -55 | 55000 | 0.055 | 24554 | 24616 | -62 | 62000 | 0.062
DMS
15 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | -300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0 | upto 03.07.2023
[10 empty] | 0 |  |  |  |  | 0 | assessment 17 days
|  | 4902519 | ELSTER | Kvarh(Lead/Lag) | -500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 20.07.2023
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999846 | 999831 | 15 | -7500 | -0.0075 | 2465 | 2455 | 10 | -5000 | -0.005
18 | DCM NO.2 | 4902555 | ELSTER | Kvarh(Lead/Lag) | -500 | 999935 | 999936 | -1 | 500 | 0.0005 | 6 | 6 | 0 | 0 | 0 | upto 17.07.2023
[10 empty] | 0 |  |  |  |  | -0.00038 | assessment 03 days
|  | 4865089 | ELSTER | Kvarh(Lead/Lag) | -500 | 1 | 0 | 1 | -500 | -0.0005 | 7 | 0 | 7 | -3500 | -0.0035 | w.e.f 20.07.2023
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1177 | 1158 | 19 | -9500 | -0.0095 | 1624 | 1599 | 25 | -12500 | -0.0125
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 59638 | 59260 | 378 | -37800 | -0.0378 | 2621 | 2617 | 4 | -400 | -0.0004
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 443 | 439 | 4 | -533.32 | -0.00053332 | 1157 | 1151 | 6 | -799.98 | -0.00079998
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992789 | 992791 | -2 | 200 | 0.0002 | 3188 | 3121 | 67 | -6700 | -0.0067
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 9 | 1 | 8 | -10666.64 | -0.010667 | 61 | 53 | 8 | -10666.64 | -0.010667
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 17855 | 17205 | 650 | -65000 | -0.065 | 6564 | 6538 | 26 | -2600 | -0.0026
25 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | -100 | 1425 | 1218 | 207 | -20700 | -0.0207 | 155 | 141 | 14 | -1400 | -0.0014
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 86150 | 84810 | 1340 | -1340 | -0.00134 | 380190 | 375270 | 4920 | -4920 | -0.00492
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 48410 | 47550 | 860 | -860 | -0.00086 | 621500 | 611480 | 10020 | -10020 | -0.01002
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 292200 | 283200 | 9000 | -9000 | -0.009 | 2091200 | 2031800 | 59400 | -59400 | -0.0594
DEV NAGAR
29 | 33KV RAMA ROAD | Q0487625 | SECURE | Kvarh(Lead/Lag) | -1 | -121000 | -104000 | -17000 | 17000 | 0.017 | 0 | 0 | 0 | 0 | 0
30 | 33KV SHAHZADA BAGH | Q0487626 | SECURE | Kvarh(Lead/Lag) | -1 | 670000 | 316000 | 354000 | -354000 | -0.354 | 0 | 0 | 0 | 0 | 0
FED FROM BYPL (RLY.)
31 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | -1200 | 15.3 | 13.11 | 2.19 | -2628 | -0.002628 | 24.19 | 16.82 | 7.37 | -8844 | -0.008844
32 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | -1200 | 0.39 | 0.26 | 0.13 | -156 | -0.000156 | 58.47 | 33.38 | 25.09 | -30108 | -0.030108
33 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | -1200 | 0.27 | 0.23 | 0.04 | -48 | -4.8e-05 | 27.18 | 13.77 | 13.41 | -16092 | -0.016092
34 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | -1200 | 0.91 | 0.72 | 0.19 | -228 | -0.000228 | 24.74 | 13.03 | 11.71 | -14052 | -0.014052
35 | KODIYA PUL | Q0430828 | SECURE | Kvarh(Lead/Lag) | -3000 | 0 | 0 | 0 | 0 | 0 | 10.03 | 6.6 | 3.43 | -10290 | -0.01029
[10 empty] | -0.33149 |  |  |  |  | 0.027461
JULY-2023
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.33175 |  |  |  |  | -7.7461
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.33149 |  |  |  |  | 0.027461
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.66324 |  |  |  |  | -7.7186
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.22 |  |  |  |  | -1.3505
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -0.44324 |  |  |  |  | -9.0691
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.44324 | (REACTIVE MUs) |  |  |  | -9.0691 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.18253 | (REACTIVE MUs) |  |  |  | 0.33287 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.26071 | (REACTIVE MUs) |  |  |  | -8.7362 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JULY-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 737 | 737 | 0 | 0 | 0 | 2192 | 2219 | -27 | -7200.09 | -0.0072001
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 100 | 10304 | 10304 | 0 | 0 | 0 | 1460 | 918 | 542 | 54200 | 0.0542
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 972732 | 972736 | -4 | -800 | -0.0008 | 999808 | 999591 | 217 | 43400 | 0.0434
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 791 | 793 | -2 | -2000 | -0.002 | 371 | 388 | -17 | -17000 | -0.017
5 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | 800 | 4 | 6 | -2 | -1600 | -0.0016 | 408 | 241 | 167 | 133600 | 0.1336
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 1823 | 1821 | 2 | 1600 | 0.0016 | 1884 | 1701 | 183 | 146400 | 0.1464
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 942044 | 942098 | -54 | -43200 | -0.0432 | 988102 | 988210 | -108 | -86400 | -0.0864
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992330 | 992330 | 0 | 0 | 0 | 998661 | 998879 | -218 | -436000 | -0.436
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 952727 | 952727 | 0 | 0 | 0 | 30026 | 29144 | 882 | 44100 | 0.0441
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 998975 | 998975 | 0 | 0 | 0 | 1001951 | 998948 | 3003 | 300300 | 0.3003
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997778 | 997778 | 0 | 0 | 0 | 9121 | 8778 | 343 | 171500 | 0.1715
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999830 | 999830 | 0 | 0 | 0 | 995895 | 997423 | -1528 | -152800 | -0.1528
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 998338 | 998338 | 0 | 0 | 0 | 4388 | 4325 | 63 | 83999.79 | 0.084
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11074 | 11074 | 0 | 0 | 0 | 43244 | 43244 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999862 | 999862 | 0 | 0 | 0 | 4031 | 3721 | 310 | 413332.3 | 0.41333
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991478 | 991508 | -30 | -30000 | -0.03 | 342 | 392 | -50 | -50000 | -0.05
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976369 | 976381 | -12 | -12000 | -0.012 | 2991 | 2820 | 171 | 171000 | 0.171
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 996808 | 996812 | -4 | -10000 | -0.01 | 163 | 115 | 48 | 120000 | 0.12
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 993611 | 993630 | -19 | -47500 | -0.0475 | 498 | 468 | 30 | 75000 | 0.075
[10 empty] | -0.0995 |  |  |  |  | 0.316
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989494 | 989502 | -8 | -8000 | -0.008 | 2545 | 2548 | -3 | -3000 | -0.003
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 2840 | 2840 | 0 | 0 | 0 | 43001 | 40475 | 2526 | 404160 | 0.40416
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3851 | 3851 | 0 | 0 | 0 | 24181 | 21694 | 2487 | 497400 | 0.4974
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 968271 | 968275 | -4 | -4000 | -0.004 | 999397 | 999361 | 36 | 36000 | 0.036
A.I.I.M.S.
27 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 209 | 209 | 0 | 0 | 0 | 3526 | 3526 | 0 | 0 | 0
JULY-2023
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 644 | 643 | 1 | -1000 | -0.001 | 989266 | 989324 | -58 | 58000 | 0.058
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3135 | 3134 | 1 | -1000 | -0.001 | 995168 | 995213 | -45 | 45000 | 0.045
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998324 | 998324 | 0 | 0 | 0 | 994892 | 995030 | -138 | 276000 | 0.276
33 | 33KV TX-2 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999901 | 999902 | -1 | 1000 | 0.001 | 999418 | 999653 | -235 | 235000 | 0.235
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 455 | 455 | 0 | 0 | 0 | 5027 | 3407 | 1620 | 1012500 | 1.0125
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 772 | 773 | -1 | -100 | -0.0001 | 2918 | 2430 | 488 | 48800 | 0.0488
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4936 | 4935 | 1 | 100 | 0.0001 | 5712 | 5566 | 146 | 14600 | 0.0146
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21916 | 21916 | 0 | 0 | 0 | 6175 | 5549 | 626 | 313000 | 0.313
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 923 | 923 | 0 | 0 | 0 | 999805 | 999897 | -92 | 92000 | 0.092
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997067 | 997070 | -3 | 3000 | 0.003 | 999658 | 999820 | -162 | 162000 | 0.162
AIIMS
3 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | -100 | 999994 | 999994 | 0 | 0 | 0 | 999734 | 999777 | -43 | 4300 | 0.0043
4 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | -200 | 22 | 22 | 0 | 0 | 0 | 197 | 81 | 116 | -23200 | -0.0232
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.1555 |  |  |  |  | 4.18
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -0.1555 |  |  |  |  | 4.18
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.20585 |  |  |  |  | 0.066101
| TOTAL ENERGY TO NDMC | [8 empty] | -0.36135 |  |  |  |  | 4.2461

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2023
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4281 | 4281 | 0 | 0 | 0 | 82098 | 80420 | 1678 | 335600 | 0.3356
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999495 | 999495 | 0 | 0 | 0 | 32964 | 32932 | 32 | 5120 | 0.00512
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 999908 | 999908 | 0 | 0 | 0 | 2319 | 2323 | -4 | -800 | -0.0008
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999873 | 999873 | 0 | 0 | 0 | 20031 | 19958 | 73 | 29200 | 0.0292
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999302 | 999301 | 1 | 800 | 0.0008 | 763 | 740 | 23 | 18400 | 0.0184
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2325 | 2327 | -2 | -800 | -0.0008 | 6754 | 6786 | -32 | -12800 | -0.0128
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999811 | 999811 | 0 | 0 | 0 | 40 | 292 | -252 | -168000.084 | -0.168
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1130 | 1130 | 0 | 0 | 0 | 653 | 355 | 298 | 298000 | 0.298
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0 |  |  |  |  | 0.50472
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | R.R. HOSPITAL | 4902594 | ELSTER | Kvarh(Lead/Lag) | 500 | 27 | 25 | 2 | 1000 | 0.001 | 498 | 263 | 235 | 117500 | 0.1175
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 88 | 88 | 0 | 0 | 0 | 1774 | 1774 | 0 | 0 | 0
11 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4407 | 4407 | 0 | 0 | 0 | 67548 | 65131 | 2417 | 181275 | 0.18127
12 | SUBROTO PARK | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 6 | 6 | 0 | 0 | 0 | 196 | 196 | 0 | 0 | 0
13 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 784 | 784 | 0 | 0 | 0 | 6011 | 5822 | 189 | 14175 | 0.014175
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10294 | 10294 | 0 | 0 | 0 | 8847 | 8673 | 174 | 17400 | 0.0174
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.001 |  |  |  |  | 0.33035
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0 |  |  |  |  | 0.50472
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.001 |  |  |  |  | 0.83507
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.001 | (REACTIVE MUs) |  |  |  | 0.83507 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.054419 | (REACTIVE MUs) |  |  |  | -0.00067056 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.053419 | (REACTIVE MUs) |  |  |  | 0.8344 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2023
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991994 | 992016 | -22 | -13750 | -0.01375 | 867 | 869 | -2 | -1250 | -0.00125
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999719 | 999651 | 68 | 34000 | 0.034 | 418 | 380 | 38 | 19000 | 0.019
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 1816 | 1811 | 5 | 4000 | 0.004 | 973 | 753 | 220 | 176000 | 0.176
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 86150 | 84810 | 1340 | 1340 | 0.00134 | 380190 | 375270 | 4920 | 4920 | 0.00492
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 48410 | 47550 | 860 | 860 | 0.00086 | 621500 | 611480 | 10020 | 10020 | 0.01002
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 292200 | 283200 | 9000 | 9000 | 0.009 | 2091200 | 2031800 | 59400 | 59400 | 0.0594
4 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | 1200 | 15.3 | 13.11 | 2.19 | 2628 | 0.002628 | 24.19 | 16.82 | 7.37 | 8844 | 0.008844
5 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | 1200 | 0.39 | 0.26 | 0.13 | 156 | 0.000156 | 58.47 | 33.38 | 25.09 | 30108 | 0.030108
6 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | 1200 | 0.27 | 0.23 | 0.04 | 48 | 4.8e-05 | 27.18 | 13.77 | 13.41 | 16092 | 0.016092
7 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | 1200 | 0.91 | 0.72 | 0.19 | 228 | 0.000228 | 24.74 | 13.03 | 11.71 | 14052 | 0.014052
8 | KODIYA PUL | Q0430828 | SECURE | Kvarh(Lead/Lag) | 3000 | 0 | 0 | 0 | 0 | 0 | 10.03 | 6.6 | 3.43 | 10290 | 0.01029
FED FROM BRPL(RLY.)
9 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | 600 | 0.12 | 0.05 | 0.07 | 42 | 4.2e-05 | 19.74 | 8.97 | 10.77 | 6462 | 0.006462
10 | TUGLUKABAD RLY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | 3000 | 0.15 | 0 | 0.15 | 450 | 0.00045 | 9.26 | 3.79 | 5.47 | 16410 | 0.01641
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.039002 |  |  |  |  | 0.37035
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.00053678 |  |  |  |  | 0.00050368
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.039539 |  |  |  |  | 0.37085

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2023
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 993144 | 993158 | -14 | -7000 | -0.007 | 999377 | 999533 | -156 | -78000 | -0.078
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 18477 | 18487 | -10 | -1000 | -0.001 | 988558 | 990313 | -1755 | -175500 | -0.1755
3 | O/G VISHAL-1 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 833.333 | 385 | 293 | 92 | 76666.636 | 0.076667 | 154 | 128 | 26 | 21666.658 | 0.021667
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 996955 | 996938 | 17 | 15937.5 | 0.015938 | 999061 | 999268 | -207 | -194062.5 | -0.19406
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999295 | 999304 | -9 | 9000 | 0.009 | 998751 | 998837 | -86 | 86000 | 0.086
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 994052 | 994082 | -30 | 15000 | 0.015 | 502 | 393 | 109 | -54500 | -0.0545
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 210 | 210 | 0 | 0 | 0 | 999967 | 999967 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.1086 |  |  |  |  | -0.3944
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 954745 | 954745 | 0 | 0 | 0 | 991368 | 991368 | 0 | 0 | 0
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993263 | 993263 | 0 | 0 | 0 | 993619 | 993619 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | 0 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999078 | 999090 | -12 | -15000 | -0.015 | 998512 | 998560 | -48 | -60000 | -0.06
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998398 | 998420 | -22 | -20625 | -0.020625 | 999564 | 999561 | 3 | 2812.5 | 0.0028125
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 993259 | 993338 | -79 | -9875 | -0.009875 | 996199 | 996169 | 30 | 3750 | 0.00375
13 | O/G 33KV RAMA ROAD | 4865123 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999352 | 999360 | -8 | -10000 | -0.01 | 999956 | 999959 | -3 | -3750 | -0.00375
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998162 | 998171 | -9 | -9000 | -0.009 | 999543 | 999588 | -45 | -45000 | -0.045
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 965494 | 965513 | -19 | -19000 | -0.019 | 990187 | 990364 | -177 | -177000 | -0.177
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 999808 | 999818 | -10 | 6250 | 0.00625 | 999745 | 999767 | -22 | 13750 | 0.01375
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 210 | 210 | 0 | 0 | 0 | 999967 | 999967 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.07725 |  |  |  |  | -0.26544
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.1086 |  |  |  |  | -0.3944
| F) NET EXPORT TO BSES YPL | [8 empty] | 0 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.07725 |  |  |  |  | -0.26544

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2023
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2023 | INTIAL READING 01/07/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 15508 | 15331 | 177 | 354000 | 0.354 | 999993 | 1000001 | -8 | -16000 | -0.016
2 | IBT-2 | 4864969 | ELSTER | kvarh (Lead/lag) | 2000 | 6573 | 6410 | 163 | 326000 | 0.326 | 999992 | 1000003 | -11 | -22000 | -0.022
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 0.68 |  |  |  |  | -0.038
[7 empty] | Generation at feeders |  | = | -0.51525 |  |  |  |  | 0.243
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 1.1952 |  |  |  |  | -0.281
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 0.35463 |  |  |  |  | -0.083373
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 0.49639 |  |  |  |  | -0.1167
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 0.2718 |  |  |  |  | -0.063899
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 0.059165 |  |  |  |  | -0.013909
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 5297458 | ELSTER | kvarh (Lead/lag) | -100 | 419780 | 419895 | -115 | 11500 | 0.0115 | 987539 | 987908 | -369 | 36900 | 0.0369 | check meter
|  | 4864884 | ELSTER | kvarh (Lead/lag) | -1000 | 999887 | 1000000 | -113 | 113000 | 0.113 | 999678 | 1000000 | -322 | 322000 | 0.322 | w.e.f 05.07.2023
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 0.1245 |  |  |  |  | 0.3589
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.036354 |  |  |  |  | 0.1048
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.052053 |  |  |  |  | 0.15006
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.029755 |  |  |  |  | 0.085777
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.006337 |  |  |  |  | 0.018268
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 190379 | 189754 | 625 | -468750 | -0.46875 | 999739 | 999739 | 0 | 0 | 0
2 | GT-II | 4902490 | ELSTER | kvarh (lag) | -1000 | 4977 | 4339 | 638 | -638000 | -0.638 | 1000004 | 999998 | 6 | -6000 | -0.006
3 | STG-III | 4902483 | ELSTER | kvarh (lag) | -750 | 992935 | 993195 | -260 | 195000 | 0.195 | 999398 | 999391 | 7 | -5250 | -0.00525
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -0.91175 |  |  |  |  | -0.01125
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.17579 |  |  |  |  | -0.002169
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.25793 |  |  |  |  | -0.0031826
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.14652 |  |  |  |  | -0.0018079
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.27626 |  |  |  |  | -0.0034087
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.055252 |  |  |  |  | -0.00068175
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 327137 | 328403 | -1266 | 126600 | 0.1266 | 984104 | 984121 | -17 | 1700 | 0.0017
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 0.1266 |  |  |  |  | 0.0017
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 18 FY2023-24) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.6283 | % |  |  | 0.037509 |  |  |  |  | 0.00050368
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 43.6947 | % |  |  | 0.055317 |  |  |  |  | 0.00074281
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.7151 | % |  |  | 0.027491 |  |  |  |  | 0.00036916
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.8799 | % |  |  | 0.004912 |  |  |  |  | 6.5958e-05
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.658 | % |  |  | 0.00083303 |  |  |  |  | 1.1186e-05
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.424 | % |  |  | 0.00053678 |  |  |  |  | 0.00050368
E) | TEKHAND WASTE TO ENERGY PANT
1 | TEKHAND WASTE TO ENERGY PANT | Q0473785 | SECURE | kvarh (Lead/lag) | -240000 | -1.53 | -1.53 | 0 | 0 | 0 | -16.92 | -11.34 | -5.58 | 1339200 | 1.3392
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 30.09 | % |  |  | 0 |  |  |  |  | 0.40297
| BRPL | (DERC order = |  |  |  | 41.72 | % |  |  | 0 |  |  |  |  | 0.55871
| BYPL | (DERC order = |  |  |  | 23.33 | % |  |  | 0 |  |  |  |  | 0.31244
| NDMC | (DERC order = |  |  |  | 4.86 | % |  |  | 0 |  |  |  |  | 0.065085
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
F) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D+E)
1) | NDPL |  |  |  | = |  |  |  |  | 0.25271 |  |  |  |  | 0.42273
2) | BRPL |  |  |  | = |  |  |  |  | 0.34582 |  |  |  |  | 0.58963
3) | BYPL |  |  |  | = |  |  |  |  | 0.18253 |  |  |  |  | 0.33287
4) | NDMC |  |  |  | = |  |  |  |  | -0.20585 |  |  |  |  | 0.066101
5) | MES |  |  |  | = |  |  |  |  | -0.054419 |  |  |  |  | -0.00067056
6) | N.Railway |  |  |  | = |  |  |  |  | 0.00053678 |  |  |  |  | 0.00050368

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JULY-2023 TO 31st JULY-2023
FINAL EXECUTIVE SUMMERY
[7 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. | [5 empty] | -16.9398 |  | -3.5059
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | + | 1.3422 |  | -25.0743
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. | [5 empty] | -0.26071 |  | -8.7362
4 | NET REACTIVE ENERGY TO NDMC | [5 empty] | -0.36135 | + | 4.2461
5 | NET REACTIVE ENERGY TO MES | [5 empty] | -0.053419 | + | 0.8344
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | + | 0.039539 | + | 0.37085
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
Note:-Above Data is provided by DTL Metering Department