## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982532 | 983221 | -689 | 689000 | 0.689 | 999213 | 999213 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31399 | 26538 | 4861 | -4861000 | -4.861 | 999499 | 999499 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 947286 | 947878 | -592 | 592000 | 0.592 | 995658 | 995658 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999095 | 999532 | -437 | 437000 | 0.437 | 997440 | 997440 | 0 | 0 | 0 | w.e.f 28/07/17
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988503 | 987390 | 1113 | -1113000 | -1.113 | 999574 | 999574 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25496 | 25093 | 403 | -403000 | -0.403 | 16850 | 16855 | -5 | 5000 | 0.005
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1254 | 901 | 353 | -353000 | -0.353 | 998910 | 998913 | -3 | 3000 | 0.003
8 | Tx.-3 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998808 | 998815 | -7 | 7000 | 0.007 | 998078 | 998120 | -42 | 42000 | 0.042
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 975300 | 976095 | -795 | 397500 | 0.3975 | 817817 | 817927 | -110 | 55000 | 0.055 | w.e.f 22/08/17
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000379 | 999911 | 468 | -468000 | -0.468 | 999343 | 999343 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9393 | 6354 | 3039 | -3039000 | -3.039 | 999453 | 999453 | 0 | 0 | 0
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1142 | 172 | 970 | -970000 | -0.97 | 998297 | 998297 | 0 | 0 | 0
13 | 220KV DMRC | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 885762 | 888349 | -2587 | -2587000 | -2.587 | 999981 | 999981 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981141 | 980292 | 849 | -849000 | -0.849 | 16729 | 16732 | -3 | 3000 | 0.003
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11804 | 10226 | 1578 | -1578000 | -1.578 | 20500 | 20500 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23526 | 21847 | 1679 | -1679000 | -1.679 | 274 | 274 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999965 | 999967 | -2 | -2000 | -0.002 | 996059 | 996057 | 2 | 2000 | 0.002
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 736 | 759 | -23 | -23000 | -0.023 | 25201 | 25116 | 85 | 85000 | 0.085
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1061 | 1056 | 5 | 2500 | 0.0025 | 4609 | 4576 | 33 | 16500 | 0.0165
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 136666 | 135333 | 1333 | 133300 | 0.1333 | 290608 | 290547 | 61 | 6100 | 0.0061
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995928 | 996028 | -100 | -100000 | -0.1 | 986170 | 986230 | -60 | -60000 | -0.06
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 82 | 154 | -72 | -72000 | -0.072 | 997928 | 997936 | -8 | -8000 | -0.008
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 50495 | 51299 | -804 | -80400 | -0.0804 | 33214 | 33182 | 32 | 3200 | 0.0032
KASHMIRI GATE
24 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 617924 | 619851 | -1927 | -1927000 | -1.927 | 795906 | 795906 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 597655 | 601976 | -4321 | -4321000 | -4.321 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | 400 | 1133 | 1133 | 0 | 0 | 0 | 998532 | 998532 | 0 | 0 | 0 | U/SD uptill 25/1/18
[10 empty] | -0.010133 |  |  |  |  | 0
|  | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999962 | 1000000 | -38 | -10133.46 | -0.010133 | 0 | 0 | 0 | 0 | 0 | w.e.f 29/1/18
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 6668 | 6333 | 335 | 167500 | 0.1675 | 1765 | 1765 | 0 | 0 | 0
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000210 | 999705 | 505 | -505000 | -0.505 | 997531 | 997545 | -14 | 14000 | 0.014
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 4643 | 2660 | 1983 | -991500 | -0.9915 | 999718 | 999735 | -17 | 8500 | 0.0085
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16767 | 15346 | 1421 | -1421000 | -1.421 | 999630 | 999634 | -4 | 4000 | 0.004
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 14650 | 12581 | 2069 | -4138000 | -4.138 | 101 | 101 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32379 | 30555 | 1824 | -1824000 | -1.824 | 998932 | 998932 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64547 | 60801 | 3746 | -3746000 | -3.746 | 2425 | 2425 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18146 | 15902 | 2244 | -2244000 | -2.244 | 999323 | 999323 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9635 | 8500 | 1135 | -1135000 | -1.135 | 784 | 784 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995733 | 993412 | 2321 | -2321000 | -2.321 | 998728 | 998728 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14301 | 14285 | 16 | -16000 | -0.016 | 1380 | 1380 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1840 | 1872 | -32 | -32000 | -0.032 | 28237 | 28235 | 2 | 2000 | 0.002
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 8704 | 7750 | 954 | 95400 | 0.0954 | 26232 | 26254 | -22 | -2200 | -0.0022
| NDPL(+) continue | [14 empty] | JANUARY-2018
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1324 | 1338 | -14 | -14000 | -0.014 | 61303 | 61304 | -1 | -1000 | -0.001
REWARI LINE
42 | 20MVA Tx-2 | 4902503 | ELSTER | Kvarh(Lead/Lag) | 416.66 | 997852 | 997557 | 295 | 122914.7 | 0.12291 | 999093 | 999092 | 1 | 416.66 | 0.00041666
VISHAL
43 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9021 | 9027 | -6 | -600 | -0.0006 | 37550 | 37568 | -18 | -1800 | -0.0018
44 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11828 | 11844 | -16 | -1600 | -0.0016 | 77725 | 77802 | -77 | -7700 | -0.0077
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 1397 | 1330 | 67 | 6700 | 0.0067 | 18916 | 18688 | 228 | 22800 | 0.0228
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 354 | 322 | 32 | 42656 | 0.042656 | 252 | 229 | 23 | 30659 | 0.030659
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000035 | 999996 | 39 | 3900 | 0.0039 | 999997 | 999999 | -2 | -200 | -0.0002
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 999432 | 999563 | -131 | -13100 | -0.0131 | 17107 | 17096 | 11 | 1100 | 0.0011
52 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989674 | 989743 | -69 | -3066.36 | -0.0030664 | 367 | 390 | -23 | -1022.12 | -0.0010221
B.G.ROAD
53 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1430 | 1454 | -24 | -3999.84 | -0.0039998 | 1880 | 1880 | 0 | 0 | 0
54 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999842 | 999860 | -18 | -9000 | -0.009 | 547 | 549 | -2 | -1000 | -0.001
55 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1118 | 1063 | 55 | 36666.85 | 0.036667 | 126 | 126 | 0 | 0 | 0
56 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4072 | 4075 | -3 | -2000 | -0.002 | 1431 | 1431 | 0 | 0 | 0
D.M.S.
57 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997278 | 997280 | -2 | -200 | -0.0002 | 2436 | 2658 | -222 | -22200 | -0.0222
58 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
59 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 218 | 219 | -1 | -100 | -0.0001 | 14 | 31 | -17 | -1700 | -0.0017 | w.e.f 12/10/17
[10 empty] | 0.0037 |  |  |  |  | 0.0008 | Assessment Breakfast last month
60 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 999939 | 999962 | -23 | -2300 | -0.0023 | 999990 | 999992 | -2 | -200 | -0.0002
61 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
62 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 1959 | 1949 | 10 | 1000 | 0.001 | 10090 | 9806 | 284 | 28400 | 0.0284
63 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 2029 | 1703 | 326 | 32600 | 0.0326 | 264 | 222 | 42 | 4200 | 0.0042
64 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 15735 | 15297 | 438 | 43800 | 0.0438 | 5528 | 5380 | 148 | 14800 | 0.0148
KASHMIRI GATE
65 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 15123 | 12420 | 2703 | 270300 | 0.2703 | 1781 | 1781 | 0 | 0 | 0
66 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 25419 | 25438 | -19 | -1900 | -0.0019 | 51318 | 51316 | 2 | 200 | 0.0002
67 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 464 | 464 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
68 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995611 | 995611 | 0 | 0 | 0 | 86 | 81 | 5 | -2000 | -0.002
69 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999989 | 999989 | 0 | 0 | 0 | 999705 | 999719 | -14 | -5600 | -0.0056
MUNDKA
70 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 998244 | 999107 | -863 | -690400 | -0.6904 | 999998 | 999998 | 0 | 0 | 0
71 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 291 | 473 | -182 | -364000 | -0.364 | 1096 | 1096 | 0 | 0 | 0
PEERAGARHI
72 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 997468 | 998855 | -1387 | -138700 | -0.1387 | 999856 | 999856 | 0 | 0 | 0
73 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998540 | 999158 | -618 | -154500 | -0.1545 | 128 | 128 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -41.1332 |  |  |  |  | 0.23805
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 10284 | 10102 | 182 | -18200 | -0.0182 | 45365 | 44301 | 1064 | -106400 | -0.1064
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 999983 | 1000004 | -21 | 16800 | 0.0168 | 1781 | 1693 | 88 | -70400 | -0.0704
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 836 | 649 | 187 | -187000 | -0.187 | 390 | 390 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 1885 | 2022 | -137 | 54800 | 0.0548 | 9 | 9 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 5295128 | ELSTER | Kvarh(Lead/Lag) | -50 | 963334 | 964902 | -1568 | 78400 | 0.0784 | 1517 | 1517 | 0 | 0 | 0 | Check Meter Data
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999998 | 999998 | 0 | 0 | 0 | 22 | 23 | -1 | 1000 | 0.001
KANJAWALA
7 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 979884 | 981123 | -1239 | 991200 | 0.9912 | 999017 | 999017 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
|  | 4864971 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.936 |  |  |  |  | -0.1758
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -41.1332 |  |  |  |  | 0.23805
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.936 |  |  |  |  | -0.1758
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 2.4754 |  |  |  |  | 0.0357
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -37.7218 |  |  |  |  | 0.097954
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -37.7218 | (REACTIVE MUs) |  |  |  | 0.097954 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.483 | (REACTIVE MUs) |  |  |  | -1.21 | (REACTIVE MUs)
[9 empty] | TOTAL | -36.2388 | (REACTIVE MUs) |  |  |  | -1.112 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JANUARY-2018
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 11884 | 12330 | -446 | -44600 | -0.0446 | 999319 | 999068 | 251 | 25100 | 0.0251
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8370 | 8186 | 184 | 55200 | 0.0552 | 7388 | 7899 | -511 | -153300 | -0.1533
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 28343 | 27619 | 724 | 54300 | 0.0543 | 194838 | 192290 | 2548 | 191100 | 0.1911
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 998522 | 999035 | -513 | -153900 | -0.1539 | 5923 | 5936 | -13 | -3900 | -0.0039
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1724 | 1753 | -29 | -38665.7 | -0.038666 | 3047 | 3056 | -9 | -11999.7 | -0.012
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 34559 | 34726 | -167 | -16700 | -0.0167 | 158929 | 158900 | 29 | 2900 | 0.0029
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 14631 | 13426 | 1205 | 90375 | 0.090375 | 44395 | 44096 | 299 | 22425 | 0.022425
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987445 | 987846 | -401 | -401000 | -0.401 | 2261 | 2261 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996142 | 996384 | -242 | -242000 | -0.242 | 3885 | 3885 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999258 | 999165 | 93 | 93000 | 0.093 | 1475 | 1475 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993465 | 993923 | -458 | -458000 | -0.458 | 1455 | 1455 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993427 | 993437 | -10 | -10000 | -0.01 | 5606 | 5605 | 1 | 1000 | 0.001
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997260 | 997276 | -16 | -16000 | -0.016 | 998703 | 998750 | -47 | -47000 | -0.047
14 | JAMA MASJID-1 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999150 | 998944 | 206 | 206000 | 0.206 | 999871 | 999864 | 7 | 7000 | 0.007
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999063 | 999076 | -13 | -10400 | -0.0104 | 2353 | 2384 | -31 | -24800 | -0.0248
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998969 | 999232 | -263 | -263000 | -0.263 | 32997 | 32997 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2167 | 2178 | -11 | -11000 | -0.011 | 9728 | 9728 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1972 | 2109 | -137 | -137000 | -0.137 | 17083 | 17083 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 986652 | 988824 | -2172 | -2715000 | -2.715 | 951761 | 951761 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 969908 | 973386 | -3478 | -3825800 | -3.8258
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 968005 | 969053 | -1048 | -1048000 | -1.048 | 7610 | 7610 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -3.763 |  |  |  |  | -3.8258
22 | 100 MVA TX.-1 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997481 | 997978 | -497 | 497000 | 0.497 | 999978 | 999978 | 0 | 0 | 0 | w.e.f 26/9/17
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996541 | 997511 | -970 | 970000 | 0.97 | 999973 | 999973 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 464 | 464 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999844 | 999911 | -67 | -67000 | -0.067 | 6840 | 6830 | 10 | 10000 | 0.01
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13184 | 6556 | 6628 | -6628000 | -6.628 | 0 | 0 | 0 | 0 | 0 | w.e.f 08/12
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15179 | 13944 | 1235 | -1235000 | -1.235 | 999923 | 999923 | 0 | 0 | 0
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989924 | 990243 | -319 | 319000 | 0.319 | 991899 | 991899 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993733 | 993694 | 39 | -39000 | -0.039 | 998824 | 998824 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997489 | 997435 | 54 | -54000 | -0.054 | 999760 | 999912 | -152 | 152000 | 0.152 | w.e.f 15/09/17
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998602 | 998610 | -8 | 8000 | 0.008 | 151 | 179 | -28 | 28000 | 0.028
32 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992446 | 992517 | -71 | 71000 | 0.071 | 999646 | 999659 | -13 | 13000 | 0.013
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 836 | 649 | 187 | 187000 | 0.187 | 390 | 390 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 1885 | 2022 | -137 | -54800 | -0.0548 | 9 | 9 | 0 | 0 | 0 | w.e.f 11/09/17
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998110 | 998105 | 5 | 5000 | 0.005 | 1144 | 1144 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 1000 | 150874 | 151054 | -180 | -180000 | -0.18 | 54270 | 54270 | 0 | 0 | 0
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983807 | 983773 | 34 | -34000 | -0.034 | 999984 | 999984 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997838 | 997803 | 35 | -35000 | -0.035 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -11.2672 |  |  |  |  | -3.6143
| (A) NET ENERGY TO CENTRAL | [8 empty] | -11.2672 |  |  |  |  | -3.6143
JANUARY-2018
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977772 | 977300 | 472 | -472000 | -0.472 | 879040 | 879040 | 0 | 0 | 0
2 | Tx.2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994763 | 993180 | 1583 | -1583000 | -1.583 | 962312 | 962312 | 0 | 0 | 0
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997049 | 997150 | -101 | 101000 | 0.101 | 998957 | 998957 | 0 | 0 | 0 | w.e.f 28/07/17
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 985406 | 986449 | -1043 | 2086000 | 2.086 | 972206 | 972206 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998418 | 997247 | 1171 | -1171000 | -1.171 | 999119 | 999119 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993933 | 992682 | 1251 | -1251000 | -1.251 | 998561 | 998561 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3618 | 3256 | 362 | -362000 | -0.362 | 999628 | 999636 | -8 | 8000 | 0.008
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984485 | 983762 | 723 | -723000 | -0.723 | 937384 | 937384 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983951 | 984677 | -726 | 726000 | 0.726 | 989818 | 989833 | -15 | 15000 | 0.015
GEETA COLONY
11 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975799 | 976420 | -621 | 621000 | 0.621 | 963296 | 963301 | -5 | 5000 | 0.005
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958595 | 958211 | 384 | -384000 | -0.384 | 829373 | 829374 | -1 | 1000 | 0.001
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20693 | 18681 | 2012 | -2012000 | -2.012 | 33706 | 33706 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7532 | 6072 | 1460 | -1460000 | -1.46 | 999918 | 999918 | 0 | 0 | 0
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965052 | 962750 | 2302 | -2302000 | -2.302 | 919598 | 919598 | 0 | 0 | 0
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -8.186 |  |  |  |  | 0.029
| (B) NET ENERGY TO EAST | [8 empty] | -8.186 |  |  |  |  | 0.029
JANUARY-2018
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4902506 | ELSTER | Kvarh(Lead/Lag) | -400 | 1133 | 1133 | 0 | 0 | 0 | 998532 | 998532 | 0 | 0 | 0 | U/SD uptill 25/1/18
[10 empty] | 0.010133 |  |  |  |  | 0 | Assessment
|  | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 999962 | 1000000 | -38 | 10133.46 | 0.010133 | 0 | 0 | 0 | 0 | 0 | w.e.f 29/1/18
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 6668 | 6333 | 335 | -167500 | -0.1675 | 1765 | 1765 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2795 | 2390 | 405 | -107997.3 | -0.108 | 524 | 524 | 0 | 0 | 0 | w.e.f 05/07/17
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 76541 | 75612 | 929 | -92900 | -0.0929 | 144004 | 144004 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 969544 | 970131 | -587 | 117400 | 0.1174 | 994945 | 994945 | 0 | 0 | 0
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 46294 | 45511 | 783 | -156600 | -0.1566 | 118468 | 118468 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 18168 | 17833 | 335 | -268000 | -0.268 | 13864 | 13864 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 15548 | 15421 | 127 | -254000 | -0.254 | 4478 | 4478 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 971959 | 972640 | -681 | 544800 | 0.5448 | 986568 | 986568 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 977941 | 979392 | -1451 | 1160800 | 1.1608 | 987337 | 987337 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 986304 | 987505 | -1201 | 960800 | 0.9608 | 993925 | 993925 | 0 | 0 | 0
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 975954 | 976922 | -968 | 774400 | 0.7744 | 994513 | 994513 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972525 | 974277 | -1752 | 1752000 | 1.752 | 32283 | 32283 | 0 | 0 | 0
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1840 | 1872 | -32 | 32000 | 0.032 | 28237 | 28235 | 2 | -2000 | -0.002
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 8704 | 7750 | 954 | -95400 | -0.0954 | 26232 | 26254 | -22 | 2200 | 0.0022
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1324 | 1338 | -14 | 14000 | 0.014 | 61303 | 61304 | -1 | 1000 | 0.001
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1430 | 1454 | -24 | 3999.84 | 0.0039998 | 1880 | 1880 | 0 | 0 | 0
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999842 | 999860 | -18 | 9000 | 0.009 | 547 | 549 | -2 | 1000 | 0.001
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1118 | 1063 | 55 | -36666.85 | -0.036667 | 126 | 126 | 0 | 0 | 0
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4072 | 4075 | -3 | 2000 | 0.002 | 1431 | 1431 | 0 | 0 | 0
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 15123 | 12420 | 2703 | -270300 | -0.2703 | 1781 | 1781 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 25419 | 25438 | -19 | 1900 | 0.0019 | 51318 | 51316 | 2 | -200 | -0.0002
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997278 | 997280 | -2 | 200 | 0.0002 | 2436 | 2658 | -222 | 22200 | 0.0222
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) |  | 218 | 219 | -1 | 0 | 0 | 14 | 31 | -17 | 0 | 0 | w.e.f 12/10/17
27 | H BLOCK | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 999939 | 999962 | -23 | 2300 | 0.0023 | 999990 | 999992 | -2 | 200 | 0.0002
28 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 1959 | 1949 | 10 | -1000 | -0.001 | 10090 | 9806 | 284 | -28400 | -0.0284
30 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 2029 | 1703 | 326 | -32600 | -0.0326 | 264 | 222 | 42 | -4200 | -0.0042
31 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 15735 | 15297 | 438 | -43800 | -0.0438 | 5528 | 5380 | 148 | -14800 | -0.0148
[10 empty] | 3.8691 |  |  |  |  | -0.023
JANUARY-2018
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -11.2672 |  |  |  |  | -3.6143
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 3.8691 |  |  |  |  | -0.023
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.377 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -8.7751 |  |  |  |  | -3.6373
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -8.186 |  |  |  |  | 0.029
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -16.9611 |  |  |  |  | -3.6083
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -16.9611 | (REACTIVE MUs) |  |  |  | -3.6083 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.0146 | (REACTIVE MUs) |  |  |  | -0.82782 | (REACTIVE MUs)
[9 empty] | TOTAL | -15.9465 | (REACTIVE MUs) |  |  |  | -4.4361 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JANUARY-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999516 | 999538 | -22 | -110000 | -0.11 | 999404 | 999443 | -39 | -195000 | -0.195
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984631 | 984702 | -71 | -94666.43 | -0.094666 | 671136 | 671202 | -66 | -87999.78 | -0.088
3 | BAY-13 | 5295153 | ELSTER | Kvarh(Lead/Lag) | 400 | 1088 | 933 | 155 | 62000 | 0.062 | 56526 | 55702 | 824 | 329600 | 0.3296
[15 empty] | -7.4684 | Assessment last month
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999974 | 999999 | -25 | -33333.25 | -0.033333 | 1000001 | 999999 | 2 | 2666.66 | 0.0026667
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18765 | 18660 | 105 | 10500 | 0.0105 | 20059 | 19904 | 155 | 15500 | 0.0155
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 722817 | 725951 | -3134 | -235050 | -0.23505 | 997101 | 997670 | -569 | -42675 | -0.042675
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 999492 | 1000008 | -516 | -38700 | -0.0387 | 30 | 324 | -294 | -22050 | -0.02205
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997529 | 997614 | -85 | -76500 | -0.0765 | 995510 | 995718 | -208 | -187200 | -0.1872
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3339 | 2409 | 930 | -930000 | -0.93 | 997793 | 997832 | -39 | 39000 | 0.039
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000335 | 999467 | 868 | -868000 | -0.868 | 992983 | 993001 | -18 | 18000 | 0.018
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9752 | 7996 | 1756 | -1756000 | -1.756 | 999403 | 999403 | 0 | 0 | 0
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965087 | 964259 | 828 | -828000 | -0.828 | 996352 | 996356 | -4 | 4000 | 0.004
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9360 | 6246 | 3114 | -3114000 | -3.114 | 999849 | 999849 | 0 | 0 | 0
16 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13717 | 8894 | 4823 | -4823000 | -4.823 | 141 | 130 | 11 | -11000 | -0.011
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5454 | 3740 | 1714 | -3428000 | -3.428 | 999044 | 999044 | 0 | 0 | 0
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997664 | 997949 | -285 | 285000 | 0.285 | 902652 | 902657 | -5 | 5000 | 0.005
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 25/10/17
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 25/10/17
NAJAFGARH
21 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2787 | 1577 | 1210 | -1210000 | -1.21 | 983184 | 983184 | 0 | 0 | 0
[5 empty] | -1000 | [5 empty] | 984821 | 984966 | -145 | 145000 | 0.145
22 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996988 | 997193 | -205 | 205000 | 0.205 | 983582 | 983648 | -66 | 66000 | 0.066
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997254 | 996418 | 836 | -836000 | -0.836 | 996832 | 997331 | -499 | 499000 | 0.499
24 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13692 | 13900 | -208 | 208000 | 0.208 | 996567 | 996634 | -67 | 67000 | 0.067
IMPORT
MANGOLPURI
25 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 999983 | 1000004 | -21 | -16800 | -0.0168 | 1781 | 1693 | 88 | 70400 | 0.0704
LODHI ROAD
26 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978935 | 979449 | -514 | 514000 | 0.514 | 978303 | 978303 | 0 | 0 | 0
27 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
28 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978707 | 977855 | 852 | -852000 | -0.852 | 999323 | 999323 | 0 | 0 | 0 | w.e.f 21/08/17
[5 empty] | -1000 | 977019 | 976936 | 83 | -83000 | -0.083
OKHLA
29 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995783 | 995462 | 321 | -321000 | -0.321 | 988711 | 988730 | -19 | 19000 | 0.019
30 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992965 | 992225 | 740 | -740000 | -0.74 | 928172 | 928179 | -7 | 7000 | 0.007
31 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6440 | 5612 | 828 | -828000 | -0.828 | 33392 | 33392 | 0 | 0 | 0
32 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997842 | 997286 | 556 | -556000 | -0.556 | 996142 | 996142 | 0 | 0 | 0
33 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999803 | 999421 | 382 | -382000 | -0.382 | 999725 | 999728 | -3 | 3000 | 0.003
BRPL(+) continue | [14 empty] | JANUARY-2018
VASANT KUNJ
34 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7039 | 6837 | 202 | -202000 | -0.202 | 999945 | 999954 | -9 | 9000 | 0.009
35 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 10931 | 10543 | 388 | -194000 | -0.194 | 998250 | 998355 | -105 | 52500 | 0.0525
36 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38741 | 32453 | 6288 | -12576000 | -12.576 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
37 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) |  | 1000 | 373 | 627 | 0 | 0 | 999939 | 999982 | -43 | 0 | 0 | w.e.f 10/10/17
38 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994397 | 994397 | 0 | 0 | 0 | 927385 | 927385 | 0 | 0 | 0
39 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000585 | 999920 | 665 | -665000 | -0.665 | 999315 | 999610 | -295 | 295000 | 0.295 | w.e.f
40 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1000234 | 999121 | 1113 | -2226000 | -2.226 | 999118 | 999132 | -14 | 28000 | 0.028
RIDGE VALLEY
41 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 973194 | 970927 | 2267 | -1511331.822 | -1.5113 | 963750 | 963750 | 0 | 0 | 0
42 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4858 | 3435 | 1423 | -2846000 | -2.846 | 999749 | 999749 | 0 | 0 | 0
DIAL
43 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6417 | 6278 | 139 | -278000 | -0.278 | 2413 | 2413 | 0 | 0 | 0
44 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3202 | 3118 | 84 | -168000 | -0.168 | 1376 | 1374 | 2 | -4000 | -0.004
MASJID MOD
45 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917304 | 917259 | 45 | -45000 | -0.045 | 981210 | 981215 | -5 | 5000 | 0.005
46 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999997 | 999980 | 17 | -17000 | -0.017 | 996785 | 996789 | -4 | 4000 | 0.004
MUNDKA
47 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
48 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 998810 | 1000474 | -1664 | -1331200 | -1.3312 | 27 | 27 | 0 | 0 | 0
49 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 984175 | 986131 | -1956 | -1564800 | -1.5648 | 999988 | 999988 | 0 | 0 | 0
50 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999427 | 999427 | 0 | 0 | 0 | 30 | 30 | 0 | 0 | 0
|  | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 01/01/18
51 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1589 | 1679 | -90 | -72000 | -0.072 | 999795 | 999795 | 0 | 0 | 0
52 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 517 | 529 | -12 | -9600 | -0.0096 | 1 | 1 | 0 | 0 | 0
PARK STREET
53 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 972525 | 974277 | -1752 | -1752000 | -1.752 | 32283 | 32283 | 0 | 0 | 0
54 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 2000 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
55 | TX-1 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 56708 | 48306 | 8402 | -8402000 | -8.402 | 27 | 27 | 0 | 0 | 0
56 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14407 | 13211 | 1196 | -1196000 | -1.196 | 998471 | 998471 | 0 | 0 | 0
57 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 36680 | 28821 | 7859 | -7859000 | -7.859 | 10 | 10 | 0 | 0 | 0
NARAINA
58 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 10284 | 10102 | 182 | 18200 | 0.0182 | 45365 | 44301 | 1064 | 106400 | 0.1064
SUDARSHAN PARK
59 | VISHAL | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 963334 | 964902 | -1568 | -78400 | -0.0784 | 1517 | 1517 | 0 | 0 | 0
60 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 11227 | 11826 | -599 | -239600 | -0.2396 | 21169 | 21169 | 0 | 0 | 0
[5 empty] | 400 | 17583 | 18409 | -826 | -330400 | -0.3304
61 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 996402 | 996728 | -326 | -130400 | -0.1304 | 34170 | 34063 | 107 | 42800 | 0.0428
REWARI LINE
62 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999998 | 999998 | 0 | 0 | 0 | 22 | 23 | -1 | -1000 | -0.001
KANJAWALA
63 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 979884 | 981123 | -1239 | -991200 | -0.9912 | 999017 | 999017 | 0 | 0 | 0
Trauma Centre
64 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 285543 | 280144 | 5399 | 539900 | 0.5399 | 7998 | 7998 | 0 | 0 | 0
65 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4572 | 4588 | -16 | -16000 | -0.016 | 338 | 338 | 0 | 0 | 0
A.I.I.M.S.
66 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10089 | 9941 | 148 | 11100 | 0.0111 | 14526 | 14524 | 2 | 150 | 0.00015
67 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 4767 | 4715 | 52 | 5200 | 0.0052 | 5818 | 5818 | 0 | 0 | 0
PEERGARHI
68 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 3416 | 3545 | -129 | -64500 | -0.0645 | 2775 | 2775 | 0 | 0 | 0
69 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4025 | 4034 | -9 | -9000 | -0.009 | 4062 | 4062 | 0 | 0 | 0
70 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995865 | 996317 | -452 | -452000 | -0.452 | 1304 | 1304 | 0 | 0 | 0
71 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3748 | 3633 | 115 | 115000 | 0.115 | 6439 | 6439 | 0 | 0 | 0
72 | PASCHIM PURI - I (L-7) | 4864851 | ELSTER | Kvarh(Lead/Lag) | 1000 | 666 | 698 | -32 | -32000 | -0.032 | 379 | 379 | 0 | 0 | 0
73 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 48176 | 49634 | -1458 | -145800 | -0.1458 | 44737 | 44737 | 0 | 0 | 0
74 | MUKHERJEE PARK - I | 5269785 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6493 | 5520 | 973 | 973000 | 0.973 | 263 | 263 | 0 | 0 | 0 | Check Meter Data
75 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2014 | 1870 | 144 | 144000 | 0.144 | 5890 | 5888 | 2 | 2000 | 0.002
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -64.4734 |  |  |  |  | -6.1843
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 192142 | 190057 | 2085 | -208500 | -0.2085 | 913602 | 913602 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998110 | 998105 | 5 | -5000 | -0.005 | 1144 | 1144 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 150874 | 151054 | -180 | 180000 | 0.18 | 54270 | 54270 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 997563 | 997896 | -333 | 66600 | 0.0666 | 999125 | 999125 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 428 | 193 | 235 | -235000 | -0.235 | 11 | 11 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999450 | 999732 | -282 | 282000 | 0.282 | 742 | 742 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 3890 | 3918 | -28 | 4480 | 0.00448 | 3771 | 3771 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -1000 | 907376 | 907432 | -56 | 56000 | 0.056 | 62169 | 62169 | 0 | 0 | 0
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995947 | 996601 | -654 | 654000 | 0.654 | 999819 | 999819 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 96351 | 96087 | 264 | -26400 | -0.0264 | 71760 | 71752 | 8 | -800 | -0.0008
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 105192 | 104544 | 648 | -64800 | -0.0648 | 72466 | 72466 | 0 | 0 | 0
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 29865 | 30411 | -546 | 54600 | 0.0546 | 33191 | 33191 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999090 | 999090 | 0 | 0 | 0 | 16668 | 16668 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 424683 | 420451 | 4232 | -423200 | -0.4232 | 49064 | 49064 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 6427 | 6285 | 142 | -14200 | -0.0142 | 30136 | 30039 | 97 | -9700 | -0.0097
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4902503 | ELSTER | Kvarh(Lead/Lag) | -416.66 | 997852 | 997557 | 295 | -122914.7 | -0.12291 | 999093 | 999092 | 1 | -416.66 | -0.00041666
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9021 | 9027 | -6 | 600 | 0.0006 | 37550 | 37568 | -18 | 1800 | 0.0018
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11828 | 11844 | -16 | 1600 | 0.0016 | 77725 | 77802 | -77 | 7700 | 0.0077
22 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 1397 | 1330 | 67 | -6700 | -0.0067 | 18916 | 18688 | 228 | -22800 | -0.0228
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 354 | 322 | 32 | -42656 | -0.042656 | 252 | 229 | 23 | -30659 | -0.030659
24 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 1000035 | 999996 | 39 | -3900 | -0.0039 | 999997 | 999999 | -2 | 200 | 0.0002
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 999432 | 999563 | -131 | 13100 | 0.0131 | 17107 | 17096 | 11 | -1100 | -0.0011
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989674 | 989743 | -69 | 3066.36 | 0.0030664 | 367 | 390 | -23 | 1022.12 | 0.0010221
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995611 | 995611 | 0 | 0 | 0 | 86 | 81 | 5 | 2000 | 0.002
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999989 | 999989 | 0 | 0 | 0 | 999705 | 999719 | -14 | 5600 | 0.0056
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.16278 |  |  |  |  | -0.047154
JANUARY-2018
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -64.4734 |  |  |  |  | -6.1843
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.16278 |  |  |  |  | -0.047154
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.14505 |  |  |  |  | -0.0132
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0269 |  |  |  |  | -0.0291
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -64.4826 |  |  |  |  | -6.2738
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -64.4826 | (REACTIVE MUs) |  |  |  | -6.2738 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 1.9135 | (REACTIVE MUs) |  |  |  | -1.5612 | (REACTIVE MUs)
[9 empty] | TOTAL | -62.5691 | (REACTIVE MUs) |  |  |  | -7.835 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2795 | 2390 | 405 | 108001.35 | 0.108 | 524 | 524 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 76541 | 75612 | 929 | 92900 | 0.0929 | 144004 | 144004 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 969544 | 970131 | -587 | -117400 | -0.1174 | 994945 | 994945 | 0 | 0 | 0
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 46294 | 45511 | 783 | 156600 | 0.1566 | 118468 | 118468 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 18168 | 17833 | 335 | 268000 | 0.268 | 13864 | 13864 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 15548 | 15421 | 127 | 254000 | 0.254 | 4478 | 4478 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 971959 | 972640 | -681 | -544800 | -0.5448 | 986568 | 986568 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 977941 | 979392 | -1451 | -1160800 | -1.1608 | 987337 | 987337 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 986304 | 987505 | -1201 | -960800 | -0.9608 | 993925 | 993925 | 0 | 0 | 0
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 975954 | 976922 | -968 | -774400 | -0.7744 | 994513 | 994513 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 997889 | 998490 | -601 | -30050 | -0.03005 | 8312 | 8633 | -321 | -16050 | -0.01605
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 990316 | 991193 | -877 | -65775 | -0.065775 | 14295 | 14339 | -44 | -3300 | -0.0033
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 143 | 160 | -17 | -8500 | -0.0085 | 2268 | 2260 | 8 | 4000 | 0.004
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999183 | 999131 | 52 | 19500 | 0.0195 | 2858 | 2707 | 151 | 56625 | 0.056625
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 988298 | 988574 | -276 | -27600 | -0.0276 | 331176 | 331127 | 49 | 4900 | 0.0049
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 200 | 97 | 103 | 7725 | 0.007725 | 10243 | 9966 | 277 | 20775 | 0.020775
17 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3358 | 2867 | 491 | 49100 | 0.0491 | 265638 | 265449 | 189 | 18900 | 0.0189
18 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 88238 | 87655 | 583 | 58300 | 0.0583 | 739436 | 739309 | 127 | 12700 | 0.0127
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998102 | 998694 | -592 | -592000 | -0.592 | 102070 | 102070 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995507 | 996180 | -673 | -673000 | -0.673 | 45221 | 45221 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993990 | 994864 | -874 | -874000 | -0.874 | 143903 | 143903 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5258 | 5580 | -322 | -322000 | -0.322 | 59490 | 59490 | 0 | 0 | 0
[10 empty] | -2.461 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999450 | 999732 | -282 | -282000 | -0.282 | 742 | 742 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 3890 | 3918 | -28 | -4480 | -0.00448 | 3771 | 3771 | 0 | 0 | 0
25 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 1000 | 907376 | 907432 | -56 | -56000 | -0.056 | 62169 | 62169 | 0 | 0 | 0
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995947 | 996601 | -654 | -654000 | -0.654 | 999819 | 999819 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999090 | 999090 | 0 | 0 | 0 | 16668 | 16668 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
JANUARY-2018
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 927505 | 928279 | -774 | 774000 | 0.774 | 970568 | 970568 | 0 | 0 | 0
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 964283 | 965665 | -1382 | 691000 | 0.691 | 998214 | 998214 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997321 | 996731 | 590 | -1180000 | -1.18 | 999721 | 999721 | 0 | 0 | 0
33 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992418 | 993425 | -1007 | 1007000 | 1.007 | 999418 | 999418 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 424683 | 420451 | 4232 | 423200 | 0.4232 | 49064 | 49064 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 6427 | 6285 | 142 | 14200 | 0.0142 | 30136 | 30039 | 97 | 9700 | 0.0097
36 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
37 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 96351 | 96087 | 264 | 26400 | 0.0264 | 71760 | 71752 | 8 | 800 | 0.0008
38 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 105192 | 104544 | 648 | 64800 | 0.0648 | 72466 | 72466 | 0 | 0 | 0
39 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 29865 | 30411 | -546 | -54600 | -0.0546 | 33191 | 33191 | 0 | 0 | 0
TILAK MARG
40 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 192142 | 190057 | 2085 | 208500 | 0.2085 | 913602 | 913602 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 285543 | 280144 | 5399 | -539900 | -0.5399 | 7998 | 7998 | 0 | 0 | 0
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4572 | 4588 | -16 | 16000 | 0.016 | 338 | 338 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10089 | 9941 | 148 | -11100 | -0.0111 | 14526 | 14524 | 2 | -150 | -0.00015
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 4767 | 4715 | 52 | -5200 | -0.0052 | 5818 | 5818 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -4.1753 |  |  |  |  | 0.1089
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -4.1753 |  |  |  |  | 0.1089
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.22684 |  |  |  |  | -0.18508
| TOTAL ENERGY TO NDMC | [8 empty] | -3.9484 |  |  |  |  | -0.076177

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2018
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 2158 | 1605 | 553 | 110600 | 0.1106 | 21829 | 21528 | 301 | 60200 | 0.0602
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1730 | 1721 | 9 | 9000 | 0.009 | 42441 | 42423 | 18 | 18000 | 0.018
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4203 | 4173 | 30 | 30000 | 0.03 | 52280 | 52278 | 2 | 2000 | 0.002
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 1000044 | 999992 | 52 | 20800 | 0.0208 | 612 | 403 | 209 | 83600 | 0.0836 | w.e.f 14/07/17
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6473 | 6473 | 0 | 0 | 0 | 12075 | 12075 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 248 | 195 | 53 | 21200 | 0.0212 | 999219 | 999060 | 159 | 63600 | 0.0636 | w.e.f 22/07/17
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 997563 | 997896 | -333 | -66600 | -0.0666 | 999125 | 999125 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 428 | 193 | 235 | 235000 | 0.235 | 11 | 11 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.36 |  |  |  |  | 0.2274
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3438 | 3438 | 0 | 0 | 0 | 34490 | 34490 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 59297 | 59300 | -3 | -300 | -0.0003 | 91778 | 91769 | 9 | 900 | 0.0009
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78148 | 78130 | 18 | 1800 | 0.0018 | 16675 | 16636 | 39 | 3900 | 0.0039
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 65134 | 64880 | 254 | 25400 | 0.0254 | 113084 | 112841 | 243 | 24300 | 0.0243
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Confirm meter from ABT & MF
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 629 | 629 | 0 | 0 | 0 | 1309 | 1309 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10281 | 10280 | 1 | 100 | 0.0001 | 3986 | 3986 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0269 |  |  |  |  | 0.0291
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0269 |  |  |  |  | 0.0291
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.36 |  |  |  |  | 0.2274
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.3869 |  |  |  |  | 0.2565
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.3869 | (REACTIVE MUs) |  |  |  | 0.2565 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.051101 | (REACTIVE MUs) |  |  |  | -0.041694 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.438 | (REACTIVE MUs) |  |  |  | 0.21481 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2018
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 993856 | 995026 | -1170 | -117000 | -0.117 | 1983 | 2002 | -19 | -1900 | -0.0019
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 51997 | 48177 | 3820 | 382000 | 0.382 | 5269 | 5269 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 9048 | 8673 | 375 | 187500 | 0.1875 | 2077 | 2082 | -5 | -2500 | -0.0025
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999282 | 999734 | -452 | -423750 | -0.42375 | 143 | 143 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5129957 | ELSTER | Kvarh(Lead/Lag) | 250 | 988324 | 989956 | -1632 | -408000 | -0.408 | 983682 | 983682 | 0 | 0 | 0
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 980159 | 980613 | -454 | 227000 | 0.227 | 976331 | 976341 | -10 | 5000 | 0.005
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 1000023 | 999999 | 24 | 7200 | 0.0072 | 999937 | 999983 | -46 | -13800 | -0.0138
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.14505 |  |  |  |  | -0.0132
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 987505 | 989219 | -1714 | -342800 | -0.3428 | 999926 | 999926 | 0 | 0 | 0
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 375 | 892338 | 895096 | -2758 | -1034250 | -1.0342 | 996596 | 996596 | 0 | 0 | 0 | w.e.f 22/01/18
[10 empty] | -0.4231 |  |  |  |  | 0 | Assessment
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.377 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 200 | 13073 | 11613 | 1460 | 292000 | 0.292 | 15618 | 15618 | 0 | 0 | 0 | Check Meter Data
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 293716 | 285007 | 8709 | 870900 | 0.8709 | 998711 | 998711 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 233203 | 211398 | 21805 | 1362812.5 | 1.3628 | 985547 | 985547 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 1618 | 1629 | -11 | -8800 | -0.0088 | 1796 | 1796 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 981931 | 983534 | -1603 | -160300 | -0.1603 | 999283 | 999283 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 999880 | 999857 | 23 | 3450 | 0.00345 | 984969 | 984823 | 146 | 21900 | 0.0219
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998589 | 998638 | -49 | 122500 | 0.1225 | 3068 | 3068 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 1000023 | 999999 | 24 | -7200 | -0.0072 | 999937 | 999983 | -46 | 13800 | 0.0138
| TOTAL NDPL | [8 empty] | 2.4754 |  |  |  |  | 0.0357
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.14505 |  |  |  |  | -0.0132
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.377 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 2.4754 |  |  |  |  | 0.0357

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2018
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 19519 | 13911 | 5608 | 5608000 | 5.608 | 999997 | 999997 | 0 | 0 | 0 | w.e.f 18/08/17
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 11379 | 10318 | 1061 | 5305000 | 5.305 | 80 | 80 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 10.913 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 10.913 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -3.763 |  |  |  |  | -3.8258
[7 empty] | NDMC = |  |  | -2.461 |  |  |  |  | 0
MES =
[7 empty] | 2)TOTAL |  |  | -6.224 |  |  |  |  | -3.8258
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 4.689 |  |  |  |  | -3.8258
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.6274 | % |  |  | 1.483 |  |  |  |  | -1.21
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.8073 | % |  |  | 1.9135 |  |  |  |  | -1.5612
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 21.6379 | % |  |  | 1.0146 |  |  |  |  | -0.82782
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.8376 | % |  |  | 0.22684 |  |  |  |  | -0.18508
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.0898 | % |  |  | 0.051101 |  |  |  |  | -0.041694
Note :Sharing taken from wk-43 abt bill 2017-18

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JANUARY-2018 TO 1st FEBRUARY-2018
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -36.2388 |  | -1.112
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -62.5691 |  | -7.835
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -15.9465 |  | -4.4361
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -3.9484 |  | -0.076177
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.438 | + | 0.21481
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/02/2018 | INTIAL READING 01/01/2017 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 12307 | 12397 | -90 | -67500 | -0.0675 | 999964 | 999964 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | 998850 | 998076 | 774 | 1161000 | 1.161 | 0 | 0 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 852302 | 852054 | 248 | 186000 | 0.186 | 998641 | 998641 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 1.2795 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 585 | 527 | 58 | 290000 | 0.29 | 11729 | 11729 | 0 | 0 | 0
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 921202 | 921469 | -267 | -267000 | -0.267
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973567 | 973277 | 290 | 290000 | 0.29 | 998406 | 998352 | 54 | 54000 | 0.054
[8 empty] | NET REACTIVE ENERGY |  | 0.58 |  |  | NET REACTIVE ENERGY |  | -0.213