## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 320 | 254 | 66 | -66000 | -0.066 | 999366 | 999316 | 50 | -50000 | -0.05
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 94207 | 94155 | 52 | -104000 | -0.104 | 5066 | 5066 | 0 | 0 | 0
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17562 | 17478 | 84 | -84000 | -0.084 | 999707 | 999737 | -30 | 30000 | 0.03
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 106686 | 104172 | 2514 | -2514000 | -2.514 | 112203 | 112203 | 0 | 0 | 0
[5 empty] | -1000 | [5 empty] | 114748 | 114695 | 53 | -53000 | -0.053
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 362 | 362 | 0 | 0 | 0 | 984404 | 984404 | 0 | 0 | 0
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919005 | 918341 | 664 | -664000 | -0.664 | 36821 | 36725 | 96 | -96000 | -0.096
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26174 | 23700 | 2474 | -2474000 | -2.474 | 999665 | 999664 | 1 | -1000 | -0.001
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35712 | 33509 | 2203 | -2203000 | -2.203 | 997782 | 997780 | 2 | -2000 | -0.002
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29912 | 28746 | 1166 | -1166000 | -1.166 | 996596 | 996589 | 7 | -7000 | -0.007
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 14312 | 12942 | 1370 | -685000 | -0.685 | 813307 | 813315 | -8 | 4000 | 0.004
[5 empty] | -500 | [5 empty] | 812805 | 812805 | 0 | 0 | 0
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8515 | 7236 | 1279 | -1279000 | -1.279 | 998342 | 998340 | 2 | -2000 | -0.002
12 | Tx.-2 | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15863 | 9626 | 6237 | -6237000 | -6.237 | 999999 | 999999 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60098 | 58452 | 1646 | -1646000 | -1.646 | 996471 | 996470 | 1 | -1000 | -0.001
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 696595 | 703119 | -6524 | -6524000 | -6.524 | 999745 | 999745 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 748039 | 752708 | -4669 | -2334500 | -2.3345 | 999988 | 999988 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15763 | 15599 | 164 | -164000 | -0.164 | 998008 | 998015 | -7 | 7000 | 0.007
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 81313 | 80649 | 664 | -332000 | -0.332 | 183 | 102 | 81 | -40500 | -0.0405
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62239 | 61997 | 242 | -242000 | -0.242 | 999282 | 999192 | 90 | -90000 | -0.09
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998626 | 998641 | -15 | -15000 | -0.015 | 986609 | 986733 | -124 | -124000 | -0.124
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999570 | 999581 | -11 | -44000 | -0.044 | 999633 | 999643 | -10 | -40000 | -0.04
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1967 | 1982 | -15 | -7500 | -0.0075 | 16983 | 16977 | 6 | 3000 | 0.003
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 91524 | 91441 | 83 | 4150 | 0.00415 | 421269 | 421225 | 44 | 2200 | 0.0022
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998494 | 998550 | -56 | -56000 | -0.056 | 993118 | 993167 | -49 | -49000 | -0.049
25 | INDER PURI-2 | 4865117 | ELSTER | Kvarh(Lead/Lag) | 1333.333 | 999993 | 999999 | -6 | -7999.998 | -0.008 | 999168 | 999380 | -212 | -282666.596 | -0.28267
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999882 | 999954 | -72 | -72000 | -0.072 | 999980 | 999985 | -5 | -5000 | -0.005
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981182 | 982194 | -1012 | -1012000 | -1.012 | 997857 | 997857 | 0 | 0 | 0
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 891281 | 894362 | -3081 | -1540500 | -1.5405 | 999244 | 999244 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 991758 | 992024 | -266 | -70934.22 | -0.070934 | 403 | 399 | 4 | 1066.68 | 0.0010667
30 | CIVIL LINE-2 | [8 empty] | 0.0005 |  |  |  |  | 0.0001 | assessment 1 day dec-22
|  | 4865184 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1 | 0 | 1 | 2000 | 0.002 | 26 | 8 | 18 | 36000 | 0.036
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 59424 | 57635 | 1789 | -1789000 | -1.789 | 995668 | 995646 | 22 | -22000 | -0.022
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2490 | 1786 | 704 | -704000 | -0.704 | 999883 | 999883 | 0 | 0 | 0
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 34710 | 31949 | 2761 | -5522000 | -5.522 | 999523 | 999515 | 8 | -16000 | -0.016
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86405 | 83669 | 2736 | -2736000 | -2.736 | 995726 | 995754 | -28 | 28000 | 0.028
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 9802 | 8499 | 1303 | -5212000 | -5.212 | 999998 | 999998 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 165952 | 163303 | 2649 | -2649000 | -2.649 | 998421 | 998421 | 0 | 0 | 0
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 338830 | 324972 | 13858 | -4619287.14 | -4.6193 | 266 | 266 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 42695 | 39386 | 3309 | -6618000 | -6.618 | 999993 | 999993 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 50326 | 48016 | 2310 | -4620000 | -4.62 | 560 | 559 | 1 | -2000 | -0.002
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 148067 | 143286 | 4781 | -4781000 | -4.781 | 2317 | 2316 | 1 | -1000 | -0.001
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 12562000 | 11040000 | 1522000 | -1522000 | -1.522 | 2813000 | 2801000 | 12000 | -12000 | -0.012
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 37540000 | 32954000 | 4586000 | -4586000 | -4.586 | 2797000 | 2792000 | 5000 | -5000 | -0.005
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33817 | 29627 | 4190 | -4190000 | -4.19 | 997783 | 997783 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 57674 | 56423 | 1251 | -1251000 | -1.251 | 765 | 772 | -7 | 7000 | 0.007
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996039 | 996769 | -730 | -730000 | -0.73 | 24723 | 24728 | -5 | -5000 | -0.005
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | JANUARY-2023
DMS
45 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | 300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 999850 | 999879 | -29 | -2900 | -0.0029
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3162 | 3137 | 25 | 2500 | 0.0025 | 36124 | 36131 | -7 | -700 | -0.0007
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 747 | 749 | -2 | -2666 | -0.002666 | 626 | 630 | -4 | -5332 | -0.005332
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 21 | 25 | -4 | -400 | -0.0004 | 3318 | 3318 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1834 | 1910 | -76 | -7600 | -0.0076 | 9414 | 9383 | 31 | 3100 | 0.0031
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999796 | 999797 | -1 | -500 | -0.0005 | 2441 | 2441 | 0 | 0 | 0
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 999945 | 999974 | -29 | -14500 | -0.0145 | 297 | 296 | 1 | 500 | 0.0005
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1136 | 1136 | 0 | 0 | 0 | 1566 | 1564 | 2 | 1000 | 0.001
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992848 | 992893 | -45 | -4500 | -0.0045 | 2898 | 2902 | -4 | -400 | -0.0004
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 9475 | 9499 | -24 | -2400 | -0.0024 | 16308 | 16286 | 22 | 2200 | 0.0022
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 15670 | 15617 | 53 | 5300 | 0.0053 | 6406 | 6387 | 19 | 1900 | 0.0019
62 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | 100 | 154 | 115 | 39 | 3900 | 0.0039 | 62 | 49 | 13 | 1300 | 0.0013
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 60238 | 60892 | -654 | -65400 | -0.0654 | 2533 | 2533 | 0 | 0 | 0
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 427 | 434 | -7 | -933.31 | -0.00093331 | 998 | 997 | 1 | 133.33 | 0.00013333
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 7 | 3 | 4 | -1600 | -0.0016
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999893 | 999894 | -1 | -400 | -0.0004 | 999457 | 999458 | -1 | -400 | -0.0004
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 938433 | 940907 | -2474 | -1979200 | -1.9792 | 999698 | 999698 | 0 | 0 | 0
69 | GHEWARA | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 997046 | 997682 | -636 | -508800 | -0.5088 | 999999 | 999999 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 961383 | 963276 | -1893 | -378600 | -0.3786 | 2049 | 2050 | -1 | -200 | -0.0002
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 990597 | 991332 | -735 | -183750 | -0.18375 | 857 | 857 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979673 | 979816 | -143 | -143000 | -0.143 | 2042 | 2071 | -29 | -29000 | -0.029
73 | SAGARPUR | [8 empty] | -0.0053 |  |  |  |  | -5.41e-05 | 5 days assessmet
|  | 5129960 | ELSTER | Kvarh(Lead/Lag) | 281.25 | 999902 | 1000000 | -98 | -27562.5 | -0.027563 | 999999 | 1000000 | -1 | -281.25 | -0.00028125 | w.e.f 06.01.2023
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -86.3809 |  |  |  |  | -0.81853
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 307 | 336 | -29 | 2900 | 0.0029 | 1513 | 1453 | 60 | -6000 | -0.006
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 580 | 530 | 50 | -40000 | -0.04 | 639 | 639 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 70 | 58 | 12 | -15999.96 | -0.016 | 3 | 3 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6033 | 6057 | -24 | 3199.92 | 0.0031999 | 8037 | 8037 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 996792 | 996939 | -147 | 27562.5 | 0.027563 | 998458 | 998459 | -1 | 187.5 | 0.0001875
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 896596 | 897917 | -1321 | 1056800 | 1.0568 | 997620 | 997637 | -17 | 13600 | 0.0136
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 992003 | 992007 | -4 | 2500 | 0.0025 | 553 | 521 | 32 | -20000 | -0.02
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999658 | 999721 | -63 | 31500 | 0.0315 | 223 | 216 | 7 | -3500 | -0.0035
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 991766 | 991876 | -110 | 22000 | 0.022 | 20560 | 20571 | -11 | 2200 | 0.0022
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 983853 | 984594 | -741 | 138937.5 | 0.13894 | 4307 | 4306 | 1 | -187.5 | -0.0001875
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 981023 | 981093 | -70 | 13125 | 0.013125 | 3422 | 3435 | -13 | 2437.5 | 0.0024375
13 | 20MVATX-III | 4865094 | ELSTER | Kvarh(Lead/Lag) | -1875 | 999998 | 1000000 | -2 | 3750 | 0.00375 | 999999 | 999999 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993197 | 993246 | -49 | 4900 | 0.0049 | 30602 | 30613 | -11 | 1100 | 0.0011
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.2512 |  |  |  |  | -0.010162
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -86.3809 |  |  |  |  | -0.81853
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.2512 |  |  |  |  | -0.010162
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -4.5373 |  |  |  |  | -0.0256
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -89.667 |  |  |  |  | -0.8543
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -89.667 | (REACTIVE MUs) |  |  |  | -0.8543 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 4.1258 | (REACTIVE MUs) |  |  |  | -0.0064994 | (REACTIVE MUs)
[9 empty] | TOTAL | -85.5412 | (REACTIVE MUs) |  |  |  | -0.8608 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JANUARY-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997810 | 997823 | -13 | -13000 | -0.013 | 994800 | 995000 | -200 | -200000 | -0.2
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998520 | 998546 | -26 | -26000 | -0.026 | 998626 | 998667 | -41 | -41000 | -0.041
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999479 | 999561 | -82 | -82000 | -0.082 | 991284 | 992181 | -897 | -897000 | -0.897
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999791 | 999796 | -5 | -6666.65 | -0.0066666 | 999230 | 999275 | -45 | -59999.85 | -0.06
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997359 | 997451 | -92 | -138000 | -0.138 | 999293 | 999285 | 8 | 12000 | 0.012
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 10359 | 10378 | -19 | -1900 | -0.0019 | 19123 | 19465 | -342 | -34200 | -0.0342
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994623 | 994754 | -131 | -131000 | -0.131 | 995925 | 995946 | -21 | -21000 | -0.021
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 990662 | 990874 | -212 | -15900 | -0.0159 | 986482 | 987446 | -964 | -72300 | -0.0723
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 996639 | 996732 | -93 | -74400 | -0.0744 | 998767 | 998806 | -39 | -31200 | -0.0312
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988568 | 988585 | -17 | -22666.61 | -0.022667 | 265018 | 265022 | -4 | -5333.32 | -0.0053333
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 948 | 945 | 3 | -19999.998 | -0.02 | 999950 | 999957 | -7 | 46666.662 | 0.046667
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33347 | 32703 | 644 | -644000 | -0.644 | 996638 | 996626 | 12 | -12000 | -0.012
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5282 | 5280 | 2 | -4000 | -0.004 | 996222 | 996136 | 86 | -172000 | -0.172
14 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1644 | 1639 | 5 | -5000 | -0.005 | 993543 | 993720 | -177 | 177000 | 0.177
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 151336 | 150941 | 395 | -395000 | -0.395 | 23892 | 23870 | 22 | -22000 | -0.022
[5 empty] | -1000 | 156263 | 156024 | 239 | -239000 | -0.239
16 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10988 | 9937 | 1051 | -1051000 | -1.051 | 999410 | 999411 | -1 | 1000 | 0.001
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38408 | 38372 | 36 | -72000 | -0.072 | 1498 | 1386 | 112 | -224000 | -0.224
18 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3440 | 2999 | 441 | -882000 | -0.882 | 999658 | 999658 | 0 | 0 | 0
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 130012 | 128534 | 1478 | -1182400 | -1.1824 | 10581 | 10534 | 47 | -37600 | -0.0376
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 123635 | 122943 | 692 | -553600 | -0.5536 | 5689 | 5641 | 48 | -38400 | -0.0384
NAJAFGARH
21 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 944142 | 944084 | 58 | -58000 | -0.058 | 959067 | 959109 | -42 | 42000 | 0.042
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952425 | 952313 | 112 | -224000 | -0.224 | 990930 | 990960 | -30 | 60000 | 0.06
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 908622 | 908601 | 21 | -42000 | -0.042 | 971059 | 971106 | -47 | 94000 | 0.094
24 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11294 | 11128 | 166 | -166000 | -0.166 | 995814 | 995843 | -29 | 29000 | 0.029
R.K.PURAM
25 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997569 | 997503 | 66 | -66000 | -0.066 | 997231 | 997231 | 0 | 0 | 0
26 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981458 | 981377 | 81 | -81000 | -0.081 | 999858 | 999858 | 0 | 0 | 0
27 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 292063 | 291861 | 202 | -202000 | -0.202 | 124967 | 124865 | 102 | -102000 | -0.102
[5 empty] | -1000 | 292926 | 292783 | 143 | -143000 | -0.143
28 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7780 | 7734 | 46 | -92000 | -0.092 | 532 | 529 | 3 | -6000 | -0.006
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 580 | 530 | 50 | 40000 | 0.04 | 639 | 639 | 0 | 0 | 0
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 933725 | 933452 | 273 | -273000 | -0.273 | 965240 | 965240 | 0 | 0 | 0
31 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996788 | 996652 | 136 | -136000 | -0.136 | 999513 | 999513 | 0 | 0 | 0
32 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 683 | 592 | 91 | -91000 | -0.091 | 999999 | 1000000 | -1 | 1000 | 0.001
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 41104 | 41037 | 67 | -53600 | -0.0536 | 2471 | 1923 | 548 | -438400 | -0.4384
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 62857 | 62833 | 24 | -38400 | -0.0384 | 996280 | 996174 | 106 | -169600 | -0.1696 | 01.01.23-09.01.23
[5 empty] | -1600 | [5 empty] | 20427 | 20310 | 117 | -187200 | -0.1872 | 14.01.23-25.01.23
[5 empty] | -1600 | [5 empty] | 50795 | 50765 | 30 | -48000 | -0.048 | 27.01.23-01.02.23
[15 empty] | -0.118 | Assessment for 07 days(Recording Disturbed)
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4864792 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999306 | 999304 | 2 | -2000 | -0.002 | 973761 | 973385 | 376 | -376000 | -0.376 | check meter
|  | 5128411 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3 | 0 | 3 | -6000 | -0.006 | 18 | 0 | 18 | -36000 | -0.036 | w.e.f 25.01.23
36 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 357 | 355 | 2 | -2000 | -0.002 | 998397 | 998108 | 289 | -289000 | -0.289
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23990 | 23955 | 35 | -35000 | -0.035 | 31368 | 31414 | -46 | 46000 | 0.046
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4908 | 4079 | 829 | -829000 | -0.829 | 996774 | 996765 | 9 | -9000 | -0.009
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1162 | 1149 | 13 | -13000 | -0.013 | 1318 | 1315 | 3 | -3000 | -0.003
BRPL(+) continue | [14 empty] | JANUARY-2023
VASANT KUNJ
40 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5147 | 4689 | 458 | -458000 | -0.458 | 999943 | 999943 | 0 | 0 | 0
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23771 | 23303 | 468 | -468000 | -0.468 | 343 | 343 | 0 | 0 | 0
42 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15156 | 14940 | 216 | -216000 | -0.216 | 996668 | 996668 | 0 | 0 | 0
[5 empty] | -1000 | 38187 | 37402 | 785 | -785000 | -0.785
MEHRAULI
43 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5402 | 4401 | 1001 | -1001000 | -1.001 | 2440 | 2446 | -6 | 6000 | 0.006
44 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 11895 | 9821 | 2074 | -1037000 | -1.037 | 1089 | 1089 | 0 | 0 | 0
45 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 1528 | 1106 | 422 | -1055000 | -1.055 | 864 | 867 | -3 | 7500 | 0.0075
46 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3139 | 2532 | 607 | -1214000 | -1.214 | 638 | 636 | 2 | -4000 | -0.004
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 95196 | 93050 | 2146 | -2146000 | -2.146 | 997109 | 997109 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 65487 | 63540 | 1947 | -3894000 | -3.894 | 999373 | 999373 | 0 | 0 | 0
DIAL
49 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 8034 | 7510 | 524 | -786000 | -0.786 | 30 | 30 | 0 | 0 | 0
50 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12564 | 11754 | 810 | -810000 | -0.81 | 999974 | 999973 | 1 | -1000 | -0.001
MASJID MOD
51 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996820 | 996702 | 118 | -118000 | -0.118 | 999840 | 999840 | 0 | 0 | 0
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991388 | 991272 | 116 | -116000 | -0.116 | 994546 | 994546 | 0 | 0 | 0
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989836 | 989877 | -41 | 41000 | 0.041 | 986865 | 986865 | 0 | 0 | 0
MUNDKA
54 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 993910 | 994346 | -436 | -1744000 | -1.744 | 999990 | 999990 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 964744 | 966156 | -1412 | -1129600 | -1.1296 | 634 | 634 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 909572 | 909948 | -376 | -300800 | -0.3008 | 999431 | 999431 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 996074 | 996089 | -15 | -12000 | -0.012 | 999853 | 999853 | 0 | 0 | 0 | upto 02.01.2023
[10 empty] | -0.096 |  |  |  |  | 0 | assessment 18 days
|  | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999968 | 1000000 | -32 | -64000 | -0.064 | 0 | 0 | 0 | 0 | 0 | w.e.f 20.01.2023
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 993650 | 993948 | -298 | -238400 | -0.2384 | 52 | 52 | 0 | 0 | 0
60 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 991074 | 993149 | -2075 | -1660000 | -1.66 | 999898 | 999898 | 0 | 0 | 0
61 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 990787 | 992678 | -1891 | -1512800 | -1.5128 | 999982 | 999982 | 0 | 0 | 0
PARK STREET
63 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
SARITA VIHAR
64 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 116931 | 113566 | 3365 | -6730000 | -6.73 | 6926 | 6925 | 1 | -2000 | -0.002
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19120 | 17450 | 1670 | -1670000 | -1.67 | 4718 | 4687 | 31 | -31000 | -0.031
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 141404 | 141404 | 0 | 0 | 0 | 3099 | 3099 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 307 | 336 | -29 | -2900 | -0.0029 | 1513 | 1453 | 60 | 6000 | 0.006
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996792 | 996939 | -147 | -27562.5 | -0.027563 | 998458 | 998459 | -1 | -187.5 | -0.0001875
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998580 | 998701 | -121 | -121000 | -0.121 | 437 | 433 | 4 | 4000 | 0.004
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998355 | 998607 | -252 | -252000 | -0.252 | 373 | 361 | 12 | 12000 | 0.012
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 896596 | 897917 | -1321 | -1056800 | -1.0568 | 997620 | 997637 | -17 | -13600 | -0.0136
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 149 | 225 | -76 | -76000 | -0.076 | 999973 | 999973 | 0 | 0 | 0
72 | IIT CIRCUIT | [8 empty] | -0.471 |  |  |  |  | -0.022 | Assessment dec-2022
|  | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997832 | 998229 | -397 | -397000 | -0.397 | 999915 | 999915 | 0 | 0 | 0
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | 100 | 1 | 1 | 0 | 0 | 0 | 999773 | 999893 | -120 | -12000 | -0.012
74 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 4 | 4 | 0 | 0 | 0 | 2865 | 2827 | 38 | 3800 | 0.0038
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8692 | 8989 | -297 | -148500 | -0.1485 | 3096 | 3096 | 0 | 0 | 0
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995230 | 995821 | -591 | -591000 | -0.591 | 4209 | 4209 | 0 | 0 | 0
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980972 | 981273 | -301 | -301000 | -0.301 | 552 | 552 | 0 | 0 | 0
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7376 | 7433 | -57 | -57000 | -0.057 | 6924 | 6924 | 0 | 0 | 0
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 996769 | 998485 | -1716 | -257400 | -0.2574 | 240 | 240 | 0 | 0 | 0
80 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 243 | 1737 | -1494 | -149400 | -0.1494 | 912141 | 912140 | 1 | 100 | 0.0001
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1122 | 155 | 967 | 257869.89 | 0.25787 | 642 | 642 | 0 | 0 | 0
82 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5369 | 5481 | -112 | -112000 | -0.112 | 7982 | 7982 | 0 | 0 | 0
REWARI LINE
83 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 991766 | 991876 | -110 | -22000 | -0.022 | 20560 | 20571 | -11 | -2200 | -0.0022
84 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 983853 | 984594 | -741 | -138937.5 | -0.13894 | 4307 | 4306 | 1 | 187.5 | 0.0001875
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 981023 | 981093 | -70 | -13125 | -0.013125 | 3422 | 3435 | -13 | -2437.5 | -0.0024375
86 | 20MVATX-III | 4865094 | ELSTER | Kvarh(Lead/Lag) | 1875 | 999998 | 1000000 | -2 | -3750 | -0.00375 | 999999 | 999999 | 0 | 0 | 0
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993197 | 993246 | -49 | -4900 | -0.0049 | 30602 | 30613 | -11 | -1100 | -0.0011
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -41.2385 |  |  |  |  | -3.1935
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21924 | 21926 | -2 | 1000 | 0.001 | 5226 | 5248 | -22 | 11000 | 0.011
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992418 | 992433 | -15 | 1999.95 | 0.002 | 8385 | 8771 | -386 | 51465.38 | 0.051465
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999821 | 999866 | -45 | 30000.015 | 0.03 | 493 | 480 | 13 | -8666.671 | -0.0086667
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1134 | 1168 | -34 | 34000 | 0.034 | 273 | 290 | -17 | 17000 | 0.017
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990059 | 990295 | -236 | 236000 | 0.236 | 2543 | 2543 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 2861 | 2927 | -66 | 10560 | 0.01056 | 38602 | 38531 | 71 | -11360 | -0.01136
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3855 | 3853 | 2 | -400 | -0.0004 | 18745 | 18652 | 93 | -18600 | -0.0186
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969008 | 969716 | -708 | 708000 | 0.708 | 999380 | 999381 | -1 | 1000 | 0.001
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 732 | 752 | -20 | 2000 | 0.002 | 1719 | 1725 | -6 | 600 | 0.0006
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4956 | 4921 | 35 | -3500 | -0.0035 | 5125 | 5076 | 49 | -4900 | -0.0049
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 192 | 52 | 140 | 116666.2 | 0.11667 | 1215 | 976 | 239 | 199165.87 | 0.19917
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 455 | 455 | 0 | 0 | 0 | 2627 | 2627 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 999998 | 999998 | 0 | 0 | 0 | 999850 | 999879 | -29 | 2900 | 0.0029
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3162 | 3137 | 25 | -2500 | -0.0025 | 36124 | 36131 | -7 | 700 | 0.0007
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 747 | 749 | -2 | 2666 | 0.002666 | 626 | 630 | -4 | 5332 | 0.005332
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 21 | 25 | -4 | 400 | 0.0004 | 3318 | 3318 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1834 | 1910 | -76 | 7600 | 0.0076 | 9414 | 9383 | 31 | -3100 | -0.0031
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999893 | 999894 | -1 | 400 | 0.0004 | 999457 | 999458 | -1 | 400 | 0.0004
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 1201 | 983 | 218 | -174400 | -0.1744 | 558 | 555 | 3 | -2400 | -0.0024
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979673 | 979816 | -143 | 143000 | 0.143 | 2042 | 2071 | -29 | 29000 | 0.029
30 | SAGARPUR | [8 empty] | 0.0053 |  |  |  |  | 5.41e-05 | 5 days assessment
|  | 5129960 | ELSTER | Kvarh(Lead/Lag) | -281.25 | 999902 | 1000000 | -98 | 27562.5 | 0.027563 | 999999 | 1000000 | -1 | 281.25 | 0.00028125 | w.e.f 06.01.2023
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 1.1464 |  |  |  |  | 0.26987
JANUARY-2023
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -41.2385 |  |  |  |  | -3.1935
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 1.1464 |  |  |  |  | 0.26987
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.64354 |  |  |  |  | -0.0020375
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.000325 |  |  |  |  | -0.047337
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -40.736 |  |  |  |  | -2.973
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -40.736 | (REACTIVE MUs) |  |  |  | -2.973 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 5.748 | (REACTIVE MUs) |  |  |  | -0.0090115 | (REACTIVE MUs)
[9 empty] | TOTAL | -34.988 | (REACTIVE MUs) |  |  |  | -2.982 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JANUARY-2023
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36365 | 36460 | -95 | -25365 | -0.025365 | 991938 | 991978 | -40 | -10680 | -0.01068
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 4000 | 11231 | 11232 | -1 | -4000 | -0.004 | 1357 | 1380 | -23 | -92000 | -0.092
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24929 | 24930 | -1 | -133.33 | -0.00013333 | 34899 | 34874 | 25 | 3333.25 | 0.0033333
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999659 | 999690 | -31 | -31000 | -0.031 | 999680 | 999686 | -6 | -6000 | -0.006
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 89 | 90 | -1 | -1600 | -0.0016 | 999936 | 999947 | -11 | -17600 | -0.0176
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18396 | 18419 | -23 | -30666.59 | -0.030667 | 4900 | 4909 | -9 | -11999.97 | -0.012
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999473 | 999593 | -120 | -24000 | -0.024 | 998769 | 998923 | -154 | -30800 | -0.0308
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 974941 | 974989 | -48 | -48000 | -0.048 | 1214 | 1214 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 983032 | 983166 | -134 | -67000 | -0.067 | 270 | 275 | -5 | -2500 | -0.0025
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997307 | 997379 | -72 | -72000 | -0.072 | 999837 | 999838 | -1 | -1000 | -0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982649 | 982704 | -55 | -55000 | -0.055 | 1092 | 1092 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993435 | 993435 | 0 | 0 | 0 | 3897 | 4054 | -157 | -157000 | -0.157 | check meter
|  | 4865120 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999992 | 1000000 | -8 | -10666.64 | -0.010667 | 999980 | 1000000 | -20 | -26666.6 | -0.026667 | w.e.f 19.01.2023
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993431 | 993437 | -6 | -6000 | -0.006 | 995271 | 995435 | -164 | -164000 | -0.164
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992504 | 992506 | -2 | -2000 | -0.002 | 999976 | 1000097 | -121 | -121000 | -0.121
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994354 | 994363 | -9 | -7200 | -0.0072 | 7123 | 7289 | -166 | -132800 | -0.1328
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14284 | 14371 | -87 | -11599.71 | -0.0116 | 8347 | 8345 | 2 | 266.66 | 0.00026666
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 29 | 36 | -7 | -7000 | -0.007 | 999823 | 999826 | -3 | -3000 | -0.003
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 453 | 522 | -69 | -69000 | -0.069 | 16906 | 16906 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 949633 | 950842 | -1209 | -1511250 | -1.5112 | 947183 | 947183 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 935863 | 938635 | -2772 | -2772000 | -2.772 | 933516 | 933516 | 0 | 0 | 0
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992643 | 992643 | 0 | 0 | 0 | 998682 | 998682 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -4.2832 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999391 | 999382 | 9 | -9000 | -0.009 | 998708 | 998741 | -33 | 33000 | 0.033
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6514 | 6437 | 77 | -77000 | -0.077 | 997811 | 997809 | 2 | -2000 | -0.002
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 7 | 3 | 4 | 1600 | 0.0016
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998894 | 998913 | -19 | -19000 | -0.019 | 12202 | 12287 | -85 | -85000 | -0.085
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 268123 | 267500 | 623 | -623000 | -0.623 | 26425 | 26389 | 36 | -36000 | -0.036
[5 empty] | -1000 | 273351 | 271863 | 1488 | -1488000 | -1.488
27 | TX.-2(66KV) | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1202 | 1047 | 155 | -155000 | -0.155 | 1467 | 1346 | 121 | -121000 | -0.121
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10730 | 9568 | 1162 | -1162000 | -1.162 | 998980 | 998980 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6844 | 6571 | 273 | -273000 | -0.273 | 998036 | 998036 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 125003 | 124817 | 186 | -186000 | -0.186 | 982677 | 982676 | 1 | -1000 | -0.001
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 96715 | 96026 | 689 | -689000 | -0.689 | 335 | 335 | 0 | 0 | 0
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 2683 | 2291 | 392 | -1960000 | -1.96 | 0 | 0 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 70 | 58 | 12 | 15999.96 | 0.016 | 3 | 3 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6033 | 6057 | -24 | -3199.92 | -0.0031999 | 8037 | 8037 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992418 | 992433 | -15 | -1995 | -0.001995 | 8385 | 8771 | -386 | -51338 | -0.051338
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975025 | 975007 | 18 | -18000 | -0.018 | 990214 | 990187 | 27 | -27000 | -0.027
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961844 | 961828 | 16 | -16000 | -0.016 | 969499 | 969489 | 10 | -10000 | -0.01
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -11.4197 |  |  |  |  | -1.0722
| (A) NET ENERGY TO CENTRAL | [8 empty] | -11.4197 |  |  |  |  | -1.0722
JANUARY-2023
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 479 | 219 | 260 | -260000 | -0.26 | 112 | 89 | 23 | -23000 | -0.023
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981876 | 981551 | 325 | -325000 | -0.325 | 930955 | 930821 | 134 | -134000 | -0.134
[5 empty] | -1000 | [5 empty] | 931213 | 931213 | 0 | 0 | 0
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 196 | 59 | 137 | -137000 | -0.137 | 1000002 | 999999 | 3 | -3000 | -0.003
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1721 | 728 | 993 | -993000 | -0.993 | 999723 | 999729 | -6 | 6000 | 0.006
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41506 | 40971 | 535 | -535000 | -0.535 | 998172 | 998170 | 2 | -2000 | -0.002
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 23295 | 22080 | 1215 | -607500 | -0.6075 | 660 | 658 | 2 | -1000 | -0.001
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 333 | 206 | 127 | -127000 | -0.127 | 999990 | 999990 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 45650 | 45497 | 153 | -153000 | -0.153 | 999420 | 999420 | 0 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1696 | 1511 | 185 | -185000 | -0.185 | 22 | 22 | 0 | 0 | 0
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972536 | 971377 | 1159 | -1159000 | -1.159 | 968080 | 968067 | 13 | -13000 | -0.013
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 802 | 588 | 214 | -214000 | -0.214 | 999997 | 1000019 | -22 | 22000 | 0.022
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 13668 | 13660 | 8 | -40000 | -0.04 | 82 | 66 | 16 | -80000 | -0.08
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26838 | 25838 | 1000 | -1000000 | -1 | 113 | 113 | 0 | 0 | 0
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7766 | 7277 | 489 | -489000 | -0.489 | 5 | 5 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -6.2245 |  |  |  |  | -0.228
| (B) NET ENERGY TO EAST | [8 empty] | -6.2245 |  |  |  |  | -0.228
JANUARY-2023
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 991758 | 992024 | -266 | 70934.22 | 0.070934 | 403 | 399 | 4 | -1066.68 | -0.0010667
2 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1 | 0 | 1 | -2000 | -0.002 | 26 | 8 | 18 | -36000 | -0.036
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1006 | 1123 | -117 | 31199.22 | 0.031199 | 2245 | 2245 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -400 | 7659 | 6811 | 848 | -339200 | -0.3392 | 25 | 23 | 2 | -800 | -0.0008
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 974503 | 975379 | -876 | 175200 | 0.1752 | 999385 | 999384 | 1 | -200 | -0.0002
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919 | 1015 | -96 | 96000 | 0.096 | 390 | 390 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3615 | 3640 | -25 | 20000 | 0.02 | 4783 | 4774 | 9 | -7200 | -0.0072
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 1987 | 2032 | -45 | 36000 | 0.036 | 1650 | 1653 | -3 | 2400 | 0.0024
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 943931 | 944544 | -613 | 490400 | 0.4904 | 988499 | 988509 | -10 | 8000 | 0.008
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992367 | 992514 | -147 | 294000 | 0.294 | 999139 | 999154 | -15 | 30000 | 0.03
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996039 | 996769 | -730 | 730000 | 0.73 | 24723 | 24728 | -5 | 5000 | 0.005
DMS
15 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999796 | 999797 | -1 | 500 | 0.0005 | 2441 | 2441 | 0 | 0 | 0
18 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 999945 | 999974 | -29 | 14500 | 0.0145 | 297 | 296 | 1 | -500 | -0.0005
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1136 | 1136 | 0 | 0 | 0 | 1566 | 1564 | 2 | -1000 | -0.001
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 60238 | 60892 | -654 | 65400 | 0.0654 | 2533 | 2533 | 0 | 0 | 0
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 427 | 434 | -7 | 933.31 | 0.00093331 | 998 | 997 | 1 | -133.33 | -0.00013333
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992848 | 992893 | -45 | 4500 | 0.0045 | 2898 | 2902 | -4 | 400 | 0.0004
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 9475 | 9499 | -24 | 2400 | 0.0024 | 16308 | 16286 | 22 | -2200 | -0.0022
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 15670 | 15617 | 53 | -5300 | -0.0053 | 6406 | 6387 | 19 | -1900 | -0.0019
25 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | -100 | 154 | 115 | 39 | -3900 | -0.0039 | 62 | 49 | 13 | -1300 | -0.0013
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 69170 | 68620 | 550 | 550 | 0.00055 | 349750 | 346569 | 3181 | 3181 | 0.003181
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 44060 | 42140 | 1920 | 1920 | 0.00192 | 565939 | 561020 | 4919 | 4919 | 0.004919
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 254900 | 245100 | 9800 | 9800 | 0.0098 | 1801400 | 1778099 | 23301 | 23301 | 0.023301
[10 empty] | 1.6938 |  |  |  |  | 0.024901
JANUARY-2023
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -11.4197 |  |  |  |  | -1.0722
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.6938 |  |  |  |  | 0.024901
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.5449 |  |  |  |  | -0.0045
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -10.2707 |  |  |  |  | -1.0518
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -6.2245 |  |  |  |  | -0.228
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -16.4952 |  |  |  |  | -1.2798
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -16.4952 | (REACTIVE MUs) |  |  |  | -1.2798 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 3.125 | (REACTIVE MUs) |  |  |  | -0.0050393 | (REACTIVE MUs)
[9 empty] | TOTAL | -13.3703 | (REACTIVE MUs) |  |  |  | -1.2848 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1006 | 1123 | -117 | -31200.39 | -0.0312 | 2245 | 2245 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 400 | 7659 | 6811 | 848 | 339200 | 0.3392 | 25 | 23 | 2 | 800 | 0.0008
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 974503 | 975379 | -876 | -175200 | -0.1752 | 999385 | 999384 | 1 | 200 | 0.0002
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 919 | 1015 | -96 | -96000 | -0.096 | 390 | 390 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3615 | 3640 | -25 | -20000 | -0.02 | 4783 | 4774 | 9 | 7200 | 0.0072
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 1987 | 2032 | -45 | -36000 | -0.036 | 1650 | 1653 | -3 | -2400 | -0.0024
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 943931 | 944544 | -613 | -490400 | -0.4904 | 988499 | 988509 | -10 | -8000 | -0.008
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992367 | 992514 | -147 | -294000 | -0.294 | 999139 | 999154 | -15 | -30000 | -0.03
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 952728 | 952791 | -63 | -3150 | -0.00315 | 27912 | 28131 | -219 | -10950 | -0.01095
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 999164 | 999296 | -132 | -13200 | -0.0132 | 2230 | 2308 | -78 | -7800 | -0.0078
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997778 | 997783 | -5 | -2500 | -0.0025 | 7609 | 7608 | 1 | 500 | 0.0005
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999838 | 999860 | -22 | -2200 | -0.0022 | 997591 | 997857 | -266 | -26600 | -0.0266
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998367 | 998404 | -37 | -3700 | -0.0037 | 5733 | 5916 | -183 | -18300 | -0.0183
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11074 | 11075 | -1 | -1000 | -0.001 | 42166 | 42155 | 11 | 11000 | 0.011
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 168 | 572 | -404 | -40400 | -0.0404 | 920 | 1033 | -113 | -11300 | -0.0113
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991924 | 991924 | 0 | 0 | 0 | 406 | 406 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 978666 | 979398 | -732 | -732000 | -0.732 | 2783 | 2783 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 997550 | 997745 | -195 | -487500 | -0.4875 | 81 | 81 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 994940 | 995164 | -224 | -560000 | -0.56 | 461 | 461 | 0 | 0 | 0
[10 empty] | -1.7795 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990059 | 990295 | -236 | -236000 | -0.236 | 2543 | 2543 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 2861 | 2927 | -66 | -10560 | -0.01056 | 38602 | 38531 | 71 | 11360 | 0.01136
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3855 | 3853 | 2 | 400 | 0.0004 | 18745 | 18652 | 93 | 18600 | 0.0186
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 969008 | 969716 | -708 | -708000 | -0.708 | 999380 | 999381 | -1 | -1000 | -0.001
A.I.I.M.S.
27 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 192 | 52 | 140 | -116666.2 | -0.11667 | 1215 | 976 | 239 | -199165.87 | -0.19917
JANUARY-2023
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999472 | 998664 | 808 | -808000 | -0.808 | 989453 | 989453 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1856 | 998 | 858 | -858000 | -0.858 | 995339 | 995339 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998275 | 998163 | 112 | -224000 | -0.224 | 995227 | 995227 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 316 | 101 | 215 | -215000 | -0.215 | 992463 | 992463 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 455 | 455 | 0 | 0 | 0 | 2627 | 2627 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 732 | 752 | -20 | -2000 | -0.002 | 1719 | 1725 | -6 | -600 | -0.0006
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4956 | 4921 | 35 | 3500 | 0.0035 | 5125 | 5076 | 49 | 4900 | 0.0049
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21924 | 21926 | -2 | -1000 | -0.001 | 5226 | 5248 | -22 | -11000 | -0.011
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 149 | 225 | -76 | 76000 | 0.076 | 999973 | 999973 | 0 | 0 | 0
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997832 | 998229 | -397 | 397000 | 0.397 | 999915 | 999915 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | -100 | 1 | 1 | 0 | 0 | 0 | 999773 | 999893 | -120 | 12000 | 0.012
4 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) | -100 | 4 | 4 | 0 | 0 | 0 | 2865 | 2827 | 38 | -3800 | -0.0038
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -5.3516 |  |  |  |  | -0.26436
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -5.3516 |  |  |  |  | -0.26436
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.23256 |  |  |  |  | -0.0010498
| TOTAL ENERGY TO NDMC | [8 empty] | -5.119 |  |  |  |  | -0.26541

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2023
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4293 | 4293 | 0 | 0 | 0 | 80421 | 79168 | 0 | 0 | 0
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999525 | 999622 | -97 | -15520 | -0.01552 | 32180 | 32196 | -16 | -2560 | -0.00256
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 999923 | 999941 | -18 | -3600 | -0.0036 | 2433 | 2341 | 92 | 18400 | 0.0184
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999879 | 999882 | -3 | -1200 | -0.0012 | 19186 | 19197 | -11 | -4400 | -0.0044
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999407 | 999473 | -66 | -52800 | -0.0528 | 802 | 812 | -10 | -8000 | -0.008
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2456 | 2549 | -93 | -37200 | -0.0372 | 6650 | 6649 | 1 | 400 | 0.0004
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999821 | 999866 | -45 | -30000.015 | -0.03 | 493 | 480 | 13 | 8666.671 | 0.0086667
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1134 | 1168 | -34 | -34000 | -0.034 | 273 | 290 | -17 | -17000 | -0.017
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.17432 |  |  |  |  | -0.0044933
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4212 | 4206 | 6 | 225 | 0.000225 | 41179 | 40390 | 789 | 29587.5 | 0.029587
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 79 | 79 | 0 | 0 | 0 | 1692 | 1692 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4406 | 4406 | 0 | 0 | 0 | 60330 | 60329 | 1 | 75 | 7.5e-05
13 | SUBROTO PARK | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 27 | 27 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 5958 | 6153 | -195 | -14625 | -0.014625
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10286 | 10285 | 1 | 100 | 0.0001 | 8427 | 8104 | 323 | 32300 | 0.0323
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.000325 |  |  |  |  | 0.047337
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.17432 |  |  |  |  | -0.0044933
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.174 |  |  |  |  | 0.042844
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.174 | (REACTIVE MUs) |  |  |  | 0.042844 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.089115 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.26311 | (REACTIVE MUs) |  |  |  | 0.042844 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2023
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 992003 | 992007 | -4 | -2500 | -0.0025 | 553 | 521 | 32 | 20000 | 0.02
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999658 | 999721 | -63 | -31500 | -0.0315 | 223 | 216 | 7 | 3500 | 0.0035
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 1201 | 983 | 218 | 174400 | 0.1744 | 558 | 555 | 3 | 2400 | 0.0024
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 69170 | 68620 | 550 | -550 | -0.00055 | 349750 | 346569 | 3181 | -3181 | -0.003181
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 44060 | 42140 | 1920 | -1920 | -0.00192 | 565939 | 561020 | 4919 | -4919 | -0.004919
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 254900 | 245100 | 9800 | -9800 | -0.0098 | 1801400 | 1778099 | 23301 | -23301 | -0.023301
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.12813 |  |  |  |  | -0.005501
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0060555 |  |  |  |  | 0
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.13419 |  |  |  |  | -0.005501

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2023
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 994625 | 995131 | -506 | -253000 | -0.253 | 999651 | 999651 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 22608 | 25002 | -2394 | -239400 | -0.2394 | 992310 | 992322 | -12 | -1200 | -0.0012
3 | O/G VISHAL-1 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 833.333 | 999984 | 999915 | 69 | 57499.977 | 0.0575 | 999991 | 999991 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997302 | 997463 | -161 | -150937.5 | -0.15094 | 999334 | 999335 | -1 | -937.5 | -0.0009375
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999406 | 999420 | -14 | 14000 | 0.014 | 998978 | 998979 | -1 | 1000 | 0.001
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993883 | 993742 | 141 | -70500 | -0.0705 | 536 | 536 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 207 | 211 | -4 | -1200 | -0.0012 | 6 | 9 | -3 | -900 | -0.0009
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.64354 |  |  |  |  | -0.0020375
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 958221 | 960098 | -1877 | -375400 | -0.3754 | 991381 | 991411 | -30 | -6000 | -0.006
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996266 | 997170 | -904 | -169500 | -0.1695 | 993645 | 993637 | 8 | 1500 | 0.0015
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.5449 |  |  |  |  | -0.0045
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 221 | 859 | -638 | -797500 | -0.7975 | 998649 | 998649 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999214 | 999492 | -278 | -260625 | -0.26062 | 999624 | 999626 | -2 | -1875 | -0.001875
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 996912 | 997868 | -956 | -119500 | -0.1195 | 996665 | 996714 | -49 | -6125 | -0.006125
13 | O/G 33KV RAMA ROAD | 4865123 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999646 | 999930 | -284 | -355000 | -0.355 | 999978 | 999992 | -14 | -17500 | -0.0175
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998656 | 998838 | -182 | -182000 | -0.182 | 999666 | 999667 | -1 | -1000 | -0.001
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 972193 | 975080 | -2887 | -2887000 | -2.887 | 990705 | 990705 | 0 | 0 | 0
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 318 | 419 | -101 | 63125 | 0.063125 | 999796 | 999796 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 207 | 211 | -4 | 1200 | 0.0012 | 6 | 9 | -3 | 900 | 0.0009
| TOTAL NDPL | [8 empty] | -4.5373 |  |  |  |  | -0.0256
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.64354 |  |  |  |  | -0.0020375
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.5449 |  |  |  |  | -0.0045
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -4.5373 |  |  |  |  | -0.0256

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2023
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2023 | INTIAL READING 01/01/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 8740 | 7161 | 1579 | 3158000 | 3.158 | 999998 | 999998 | 0 | 0 | 0
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 35922 | 35179 | 743 | 1486000 | 1.486 | 1628 | 1628 | 0 | 0 | 0 | upto 16.01.2023
[10 empty] | 1.585 |  |  |  |  | 0 | 16 days assessment
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 6.229 |  |  |  |  | 0
[7 empty] | Generation at feeders |  | = | -6.0627 |  |  |  |  | 0
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 12.2918 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 3.647 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 5.1048 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 2.7951 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 0.60844 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 855515 | 858789 | -3274 | 1637000 | 1.637 | 997811 | 997811 | 0 | 0 | 0
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 1.637 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.478 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.68443 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.39124 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.083323 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 183601 | 182524 | 1077 | -807750 | -0.80775 | 999739 | 999739 | 0 | 0 | 0
2 | GT-II | 4902490 | ELSTER | kvarh (lag) | -1000 | 1558 | 213 | 1345 | -1345000 | -1.345 | 0 | 0 | 0 | 0 | 0
3 | STG-III | 4902483 | ELSTER | kvarh (lag) | -750 | 993675 | 994335 | -660 | 495000 | 0.495 | 999391 | 999391 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -1.6578 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.31961 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.46898 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.2664 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.5023 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.10046 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 370242 | 380836 | -10594 | 1059400 | 1.0594 | 984122 | 984122 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 1.0594 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 43 FY2022-23) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.5473 | % |  |  | 0.33421 |  |  |  |  | 0
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.1795 | % |  |  | 0.44685 |  |  |  |  | 0
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 20.3535 | % |  |  | 0.21562 |  |  |  |  | 0
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.2771 | % |  |  | 0.045312 |  |  |  |  | 0
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.0709 | % |  |  | 0.011345 |  |  |  |  | 0
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.5716 | % |  |  | 0.0060555 |  |  |  |  | 0
E) | TEKHAND WASTE TO ENERGY PLANT | [5 empty] | w.e.f 26.01.2023
1 | TEKHAND WASTE TO ENERGY PLANT | Q0473785 | SECURE | kvarh (Lead/lag) | 240000 | -0.47 | -0.28 | -0.19 | -45600 | -0.0456 | -2.32 | -2.23 | -0.09 | -21600 | -0.0216 | C.O.D wef 26.01.2023
Reactive Energy distribution to DISCOMs in proportion to their allocation for TEKHAND:
| NDPL | (DERC order = |  |  |  | 30.09 | % |  |  | -0.013721 |  |  |  |  | -0.0064994
| BRPL | (DERC order = |  |  |  | 41.72 | % |  |  | -0.019024 |  |  |  |  | -0.0090115
| BYPL | (DERC order = |  |  |  | 23.33 | % |  |  | -0.010638 |  |  |  |  | -0.0050393
| NDMC | (DERC order = |  |  |  | 4.86 | % |  |  | -0.0022162 |  |  |  |  | -0.0010498
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
F) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D+E)
1) | NDPL |  |  |  | = |  |  |  |  | 4.1258 |  |  |  |  | -0.0064994
2) | BRPL |  |  |  | = |  |  |  |  | 5.748 |  |  |  |  | -0.0090115
3) | BYPL |  |  |  | = |  |  |  |  | 3.125 |  |  |  |  | -0.0050393
4) | NDMC |  |  |  | = |  |  |  |  | 0.23256 |  |  |  |  | -0.0010498
5) | MES |  |  |  | = |  |  |  |  | -0.089115 |  |  |  |  | 0
6) | N.Railway |  |  |  | = |  |  |  |  | 0.0060555 |  |  |  |  | 0

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JANUARY-2023 TO 31st JANUARY-2023
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -85.5412 |  | -0.8608
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -34.988 |  | -2.982
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -13.3703 |  | -1.2848
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -5.119 |  | -0.26541
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.26311 | + | 0.042844
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.13419 |  | -0.005501
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system