## NDPL
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 254 | 156 | 98 | -98000 | -0.098 | 999316 | 999318 | -2 | 2000 | 0.002
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 94155 | 93885 | 270 | -540000 | -0.54 | 5066 | 5066 | 0 | 0 | 0
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17478 | 17186 | 292 | -292000 | -0.292 | 999737 | 999735 | 2 | -2000 | -0.002
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 91294 | 90503 | 791 | -791000 | -0.791 | 112203 | 112116 | 87 | -87000 | -0.087
[5 empty] | -1000 | 104172 | 103365 | 807 | -807000 | -0.807
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 362 | 241 | 121 | -121000 | -0.121 | 984404 | 984381 | 23 | -23000 | -0.023
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918341 | 917970 | 371 | -371000 | -0.371 | 36725 | 36419 | 306 | -306000 | -0.306
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23700 | 23301 | 399 | -399000 | -0.399 | 999664 | 999664 | 0 | 0 | 0
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33509 | 33205 | 304 | -304000 | -0.304 | 997780 | 997780 | 0 | 0 | 0
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28746 | 26268 | 2478 | -2478000 | -2.478 | 996589 | 996587 | 2 | -2000 | -0.002
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 12942 | 8748 | 4194 | -2097000 | -2.097 | 813315 | 813314 | 1 | -500 | -0.0005
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7236 | 5868 | 1368 | -1368000 | -1.368 | 998340 | 998340 | 0 | 0 | 0
12 | Tx.-2 | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9626 | 3592 | 6034 | -6034000 | -6.034 | 999999 | 999999 | 0 | 0 | 0
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 58452 | 57034 | 1418 | -1418000 | -1.418 | 996470 | 996470 | 0 | 0 | 0
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 703119 | 709089 | -5970 | -5970000 | -5.97 | 999745 | 999745 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 752708 | 758815 | -6107 | -3053500 | -3.0535 | 999988 | 999988 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15599 | 15352 | 247 | -247000 | -0.247 | 998015 | 997993 | 22 | -22000 | -0.022
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 80649 | 79900 | 749 | -374500 | -0.3745 | 102 | 2 | 100 | -50000 | -0.05
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61997 | 61646 | 351 | -351000 | -0.351 | 999192 | 999134 | 58 | -58000 | -0.058
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998641 | 998646 | -5 | -5000 | -0.005 | 986733 | 986814 | -81 | -81000 | -0.081
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999581 | 999593 | -12 | -48000 | -0.048 | 999643 | 999647 | -4 | -16000 | -0.016
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1982 | 1994 | -12 | -6000 | -0.006 | 16977 | 16966 | 11 | 5500 | 0.0055
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 91441 | 91331 | 110 | 5500 | 0.0055 | 421225 | 421137 | 88 | 4400 | 0.0044
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998550 | 998589 | -39 | -39000 | -0.039 | 993167 | 993234 | -67 | -67000 | -0.067
25 | INDER PURI-2 | 4865117 | ELSTER | Kvarh(Lead/Lag) | 1333.333 | 999999 | 1000000 | -1 | -1333.333 | -0.0013333 | 999380 | 999818 | -438 | -583999.854 | -0.584
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999954 | 999977 | -23 | -23000 | -0.023 | 999985 | 999989 | -4 | -4000 | -0.004
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982194 | 983437 | -1243 | -1243000 | -1.243 | 997857 | 997878 | -21 | -21000 | -0.021
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 894362 | 897428 | -3066 | -1533000 | -1.533 | 999244 | 999244 | 0 | 0 | 0
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 992024 | 992427 | -403 | -107468.01 | -0.10747 | 399 | 392 | 7 | 1866.69 | 0.0018667
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2174 | 2176 | -2 | -1000 | -0.001 | 2327 | 2324 | 3 | 1500 | 0.0015 | upto 12.12.2022
|  | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 999885 | 999865 | 20 | 2000 | 0.002 | 2402 | 2395 | 7 | 700 | 0.0007 | check meter
|  | 4865184 | ELSTER | Kvarh(Lead/Lag) | 2000 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 8 | 16000 | 0.016 | w.e.f 20.12.22
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 57635 | 55687 | 1948 | -1948000 | -1.948 | 995646 | 995614 | 32 | -32000 | -0.032
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1786 | 1786 | 0 | 0 | 0 | 999883 | 999883 | 0 | 0 | 0
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 31949 | 30395 | 1554 | -3108000 | -3.108 | 999515 | 999501 | 14 | -28000 | -0.028
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 83669 | 81000 | 2669 | -2669000 | -2.669 | 995754 | 995796 | -42 | 42000 | 0.042
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 8499 | 7500 | 999 | -3996000 | -3.996 | 999998 | 999998 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 163303 | 161007 | 2296 | -2296000 | -2.296 | 998421 | 998423 | -2 | 2000 | 0.002
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 324972 | 313828 | 11144 | -3714629.52 | -3.7146 | 266 | 266 | 0 | 0 | 0
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 39386 | 36465 | 2921 | -5842000 | -5.842 | 999993 | 999993 | 0 | 0 | 0
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 48016 | 45621 | 2395 | -4790000 | -4.79 | 559 | 559 | 0 | 0 | 0
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 143286 | 138380 | 4906 | -4906000 | -4.906 | 2316 | 2316 | 0 | 0 | 0
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 11040000 | 9484000 | 1556000 | -1556000 | -1.556 | 2801000 | 2803000 | -2000 | 2000 | 0.002
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 32954000 | 27844000 | 5110000 | -5110000 | -5.11 | 2792000 | 2792000 | 0 | 0 | 0
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29627 | 26286 | 3341 | -3341000 | -3.341 | 997783 | 997783 | 0 | 0 | 0
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 56423 | 55643 | 780 | -780000 | -0.78 | 772 | 772 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996769 | 997469 | -700 | -700000 | -0.7 | 24728 | 24772 | -44 | -44000 | -0.044
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | DECEMBER-2022
DMS
45 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | 300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 999879 | 999919 | -40 | -4000 | -0.004
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3137 | 3139 | -2 | -200 | -0.0002 | 36131 | 36196 | -65 | -6500 | -0.0065
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 749 | 752 | -3 | -3999 | -0.003999 | 630 | 633 | -3 | -3999 | -0.003999
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 25 | 21 | 4 | 400 | 0.0004 | 3318 | 3297 | 21 | 2100 | 0.0021
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1910 | 1902 | 8 | 800 | 0.0008 | 9383 | 9349 | 34 | 3400 | 0.0034
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999797 | 999792 | 5 | 2500 | 0.0025 | 2441 | 2440 | 1 | 500 | 0.0005
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 999974 | 1000005 | -31 | -15500 | -0.0155 | 296 | 296 | 0 | 0 | 0
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1136 | 1132 | 4 | 2000 | 0.002 | 1564 | 1563 | 1 | 500 | 0.0005
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992893 | 992940 | -47 | -4700 | -0.0047 | 2902 | 2908 | -6 | -600 | -0.0006
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 9499 | 9512 | -13 | -1300 | -0.0013 | 16286 | 16239 | 47 | 4700 | 0.0047
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 15617 | 15581 | 36 | 3600 | 0.0036 | 6387 | 6359 | 28 | 2800 | 0.0028
62 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | 100 | 115 | 85 | 30 | 3000 | 0.003 | 49 | 16 | 33 | 3300 | 0.0033
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 60892 | 61547 | -655 | -65500 | -0.0655 | 2533 | 2535 | -2 | -200 | -0.0002
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 434 | 439 | -5 | -666.65 | -0.00066665 | 997 | 997 | 0 | 0 | 0
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999894 | 999892 | 2 | 800 | 0.0008 | 999458 | 999460 | -2 | -800 | -0.0008
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 940907 | 942967 | -2060 | -1648000 | -1.648 | 999698 | 999698 | 0 | 0 | 0
69 | GHEWARA | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 997682 | 998194 | -512 | -409600 | -0.4096 | 999999 | 1000000 | -1 | -800 | -0.0008
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 963276 | 964711 | -1435 | -287000 | -0.287 | 2050 | 2051 | -1 | -200 | -0.0002
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 991332 | 991937 | -605 | -151250 | -0.15125 | 857 | 857 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979816 | 980048 | -232 | -232000 | -0.232 | 2071 | 2107 | -36 | -36000 | -0.036
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1126 | 1155 | -29 | -21750 | -0.02175 | 4404 | 4404 | 0 | 0 | 0 | upto 26.12.22
[10 empty] | -0.00522 |  |  |  |  | 0 | assesment 6 days
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -77.7035 |  |  |  |  | -1.3853
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 336 | 367 | -31 | 3100 | 0.0031 | 1453 | 1454 | -1 | 100 | 0.0001
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 530 | 480 | 50 | -40000 | -0.04 | 639 | 639 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 58 | 49 | 9 | -11999.97 | -0.012 | 3 | 3 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6057 | 5947 | 110 | -14666.3 | -0.014666 | 8037 | 8037 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 996939 | 997001 | -62 | 11625 | 0.011625 | 998459 | 998459 | 0 | 0 | 0
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 897917 | 897917 | 0 | 0 | 0 | 997637 | 997637 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 992007 | 991954 | 53 | -33125 | -0.033125 | 521 | 512 | 9 | -5625 | -0.005625
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999721 | 999784 | -63 | 31500 | 0.0315 | 216 | 213 | 3 | -1500 | -0.0015
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 991876 | 991936 | -60 | 12000 | 0.012 | 20571 | 20594 | -23 | 4600 | 0.0046
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 984594 | 985703 | -1109 | 207937.5 | 0.20794 | 4306 | 4306 | 0 | 0 | 0
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 981093 | 981138 | -45 | 8437.5 | 0.0084375 | 3435 | 3463 | -28 | 5250 | 0.00525
13 | 20MVATX-III | [8 empty] | 0 |  |  |  |  | 0.00054688 | assesment 7 days
|  | 4865094 | ELSTER | Kvarh(Lead/Lag) | -1875 | 0 | 0 | 0 | 0 | 0 | 999999 | 1000000 | -1 | 1875 | 0.001875 | w.e.f 08.12.22
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993246 | 993279 | -33 | 3300 | 0.0033 | 30613 | 30624 | -11 | 1100 | 0.0011
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.17811 |  |  |  |  | 0.0063469
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -77.7035 |  |  |  |  | -1.3853
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.17811 |  |  |  |  | 0.0063469
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -3.0136 |  |  |  |  | -0.022813
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -80.539 |  |  |  |  | -1.4018
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -80.539 | (REACTIVE MUs) |  |  |  | -1.4018 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 5.2909 | (REACTIVE MUs) |  |  |  | 0.000146 | (REACTIVE MUs)
[9 empty] | TOTAL | -75.2481 | (REACTIVE MUs) |  |  |  | -1.4017 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | DECEMBER-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997823 | 997830 | -7 | -7000 | -0.007 | 995000 | 995117 | -117 | -117000 | -0.117
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998546 | 998558 | -12 | -12000 | -0.012 | 998667 | 998741 | -74 | -74000 | -0.074
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999561 | 999616 | -55 | -55000 | -0.055 | 992181 | 992837 | -656 | -656000 | -0.656
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999796 | 999800 | -4 | -5333.32 | -0.0053333 | 999275 | 999315 | -40 | -53333.2 | -0.053333
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997451 | 997535 | -84 | -126000 | -0.126 | 999285 | 999309 | -24 | -36000 | -0.036
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 10378 | 10411 | -33 | -3300 | -0.0033 | 19465 | 19821 | -356 | -35600 | -0.0356
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994754 | 994840 | -86 | -86000 | -0.086 | 995946 | 995983 | -37 | -37000 | -0.037
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 990874 | 990985 | -111 | -8325 | -0.008325 | 987446 | 988606 | -1160 | -87000 | -0.087
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 996732 | 996771 | -39 | -31200 | -0.0312 | 998806 | 998870 | -64 | -51200 | -0.0512
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988585 | 988598 | -13 | -17333.29 | -0.017333 | 265022 | 265032 | -10 | -13333.3 | -0.013333
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 945 | 943 | 2 | -13333.332 | -0.013333 | 999957 | 999956 | 1 | -6666.666 | -0.0066667
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 32703 | 32144 | 559 | -559000 | -0.559 | 996626 | 996609 | 17 | -17000 | -0.017
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5280 | 5275 | 5 | -10000 | -0.01 | 996136 | 996069 | 67 | -134000 | -0.134
14 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1639 | 1638 | 1 | -1000 | -0.001 | 993720 | 993788 | -68 | 68000 | 0.068
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 150941 | 150201 | 740 | -740000 | -0.74 | 22309 | 22270 | 39 | -39000 | -0.039
[5 empty] | -1000 | [5 empty] | 23870 | 23860 | 10 | -10000 | -0.01
16 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9937 | 8676 | 1261 | -1261000 | -1.261 | 999411 | 999412 | -1 | 1000 | 0.001
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38372 | 38361 | 11 | -22000 | -0.022 | 1386 | 1229 | 157 | -314000 | -0.314
18 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2999 | 2406 | 593 | -1186000 | -1.186 | 999658 | 999658 | 0 | 0 | 0
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 128534 | 127243 | 1291 | -1032800 | -1.0328 | 10534 | 10464 | 70 | -56000 | -0.056
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 122943 | 122451 | 492 | -393600 | -0.3936 | 5641 | 5553 | 88 | -70400 | -0.0704
NAJAFGARH
21 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 944084 | 943989 | 95 | -95000 | -0.095 | 959109 | 959154 | -45 | 45000 | 0.045
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952313 | 952261 | 52 | -104000 | -0.104 | 990960 | 991105 | -145 | 290000 | 0.29
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 908601 | 908582 | 19 | -38000 | -0.038 | 971106 | 971070 | 36 | -72000 | -0.072
24 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11128 | 11021 | 107 | -107000 | -0.107 | 995843 | 995888 | -45 | 45000 | 0.045
R.K.PURAM
25 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997503 | 997352 | 151 | -151000 | -0.151 | 997231 | 997231 | 0 | 0 | 0
26 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981377 | 981230 | 147 | -147000 | -0.147 | 999858 | 999859 | -1 | 1000 | 0.001
27 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 278753 | 278462 | 291 | -291000 | -0.291 | 124865 | 124837 | 28 | -28000 | -0.028
[5 empty] | -1000 | 291861 | 291540 | 321 | -321000 | -0.321
28 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7734 | 7692 | 42 | -84000 | -0.084 | 529 | 525 | 4 | -8000 | -0.008
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 530 | 480 | 50 | 40000 | 0.04 | 639 | 639 | 0 | 0 | 0
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 933452 | 933120 | 332 | -332000 | -0.332 | 965240 | 965240 | 0 | 0 | 0
31 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996652 | 996489 | 163 | -163000 | -0.163 | 999513 | 999513 | 0 | 0 | 0
32 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 592 | 592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 41037 | 41031 | 6 | -4800 | -0.0048 | 1923 | 1494 | 429 | -343200 | -0.3432
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 62833 | 62824 | 9 | -14400 | -0.0144 | 996174 | 995798 | 376 | -601600 | -0.6016
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997434 | 997430 | 4 | -8000 | -0.008 | 987893 | 987729 | 164 | -328000 | -0.328
36 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 355 | 329 | 26 | -26000 | -0.026 | 998108 | 997957 | 151 | -151000 | -0.151
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23955 | 23874 | 81 | -81000 | -0.081 | 31414 | 31452 | -38 | 38000 | 0.038
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4079 | 3295 | 784 | -784000 | -0.784 | 996765 | 996766 | -1 | 1000 | 0.001
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1149 | 1149 | 0 | 0 | 0 | 1315 | 1289 | 26 | -26000 | -0.026
BRPL(+) continue | [14 empty] | DECEMBER-2022
VASANT KUNJ
40 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4689 | 4137 | 552 | -552000 | -0.552 | 999943 | 999943 | 0 | 0 | 0
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23303 | 22759 | 544 | -544000 | -0.544 | 343 | 343 | 0 | 0 | 0
42 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14940 | 13379 | 1561 | -1561000 | -1.561 | 996668 | 996670 | -2 | 2000 | 0.002
MEHRAULI
43 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4401 | 3410 | 991 | -991000 | -0.991 | 2446 | 2450 | -4 | 4000 | 0.004
44 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 9821 | 7196 | 2625 | -1312500 | -1.3125 | 1089 | 1080 | 9 | -4500 | -0.0045
45 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 1106 | 680 | 426 | -1065000 | -1.065 | 867 | 868 | -1 | 2500 | 0.0025
46 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2532 | 1970 | 562 | -1124000 | -1.124 | 636 | 631 | 5 | -10000 | -0.01
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 93050 | 90341 | 2709 | -2709000 | -2.709 | 997109 | 997109 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 63540 | 61273 | 2267 | -4534000 | -4.534 | 999373 | 999373 | 0 | 0 | 0
DIAL
49 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 7510 | 7064 | 446 | -669000 | -0.669 | 30 | 27 | 3 | -4500 | -0.0045
50 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11754 | 10907 | 847 | -847000 | -0.847 | 999973 | 999968 | 5 | -5000 | -0.005
MASJID MOD
51 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996702 | 996552 | 150 | -150000 | -0.15 | 999840 | 999841 | -1 | 1000 | 0.001
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991272 | 991132 | 140 | -140000 | -0.14 | 994546 | 994546 | 0 | 0 | 0
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989877 | 989952 | -75 | 75000 | 0.075 | 986865 | 986865 | 0 | 0 | 0
MUNDKA
54 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 994346 | 994392 | -46 | -184000 | -0.184 | 999990 | 999990 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 966156 | 967344 | -1188 | -950400 | -0.9504 | 634 | 634 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 909948 | 910816 | -868 | -694400 | -0.6944 | 999431 | 999431 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 996089 | 996427 | -338 | -270400 | -0.2704 | 999853 | 999853 | 0 | 0 | 0
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 993948 | 994201 | -253 | -202400 | -0.2024 | 52 | 52 | 0 | 0 | 0
60 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 993149 | 995075 | -1926 | -1540800 | -1.5408 | 999898 | 999982 | -84 | -67200 | -0.0672
61 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 992678 | 992948 | -270 | -216000 | -0.216 | 999982 | 999982 | 0 | 0 | 0
PARK STREET
62 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
SARITA VIHAR
63 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 113566 | 109925 | 3641 | -7282000 | -7.282 | 6925 | 6921 | 4 | -8000 | -0.008
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17450 | 16005 | 1445 | -1445000 | -1.445 | 4687 | 4670 | 17 | -17000 | -0.017
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 141404 | 141404 | 0 | 0 | 0 | 3099 | 3099 | 0 | 0 | 0
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 336 | 367 | -31 | -3100 | -0.0031 | 1453 | 1454 | -1 | -100 | -0.0001
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996939 | 997001 | -62 | -11625 | -0.011625 | 998459 | 998459 | 0 | 0 | 0
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998701 | 998726 | -25 | -25000 | -0.025 | 433 | 426 | 7 | 7000 | 0.007
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998607 | 998691 | -84 | -84000 | -0.084 | 361 | 339 | 22 | 22000 | 0.022
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 897917 | 897917 | 0 | 0 | 0 | 997637 | 997637 | 0 | 0 | 0
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 225 | 386 | -161 | -161000 | -0.161 | 999973 | 999973 | 0 | 0 | 0
72 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998607 | 998691 | -84 | -84000 | -0.084 | 361 | 339 | 22 | 22000 | 0.022
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | 100 | 1 | 1 | 0 | 0 | 0 | 999893 | 999962 | -69 | -6900 | -0.0069
74 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 4 | 4 | 0 | 0 | 0 | 2827 | 2787 | 40 | 4000 | 0.004
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8989 | 9224 | -235 | -117500 | -0.1175 | 3096 | 3096 | 0 | 0 | 0
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995821 | 996186 | -365 | -365000 | -0.365 | 4209 | 4209 | 0 | 0 | 0
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981273 | 981363 | -90 | -90000 | -0.09 | 552 | 546 | 6 | 6000 | 0.006
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7433 | 7498 | -65 | -65000 | -0.065 | 6924 | 6924 | 0 | 0 | 0
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 998485 | 999212 | -727 | -109050 | -0.10905 | 240 | 240 | 0 | 0 | 0
80 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 1737 | 3369 | -1632 | -163200 | -0.1632 | 912140 | 912140 | 0 | 0 | 0
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 155 | 11 | 144 | 38400.48 | 0.0384 | 642 | 642 | 0 | 0 | 0
82 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5481 | 5545 | -64 | -64000 | -0.064 | 7982 | 7981 | 1 | 1000 | 0.001
REWARI LINE
83 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 991876 | 991936 | -60 | -12000 | -0.012 | 20571 | 20594 | -23 | -4600 | -0.0046
84 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 984594 | 985703 | -1109 | -207937.5 | -0.20794 | 4306 | 4306 | 0 | 0 | 0
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 981093 | 981138 | -45 | -8437.5 | -0.0084375 | 3435 | 3463 | -28 | -5250 | -0.00525
86 | 20MVATX-III | [8 empty] | 0 |  |  |  |  | -0.00054688 | assesment 7 days
|  | 4865094 | ELSTER | Kvarh(Lead/Lag) | 1875 | 0 | 0 | 0 | 0 | 0 | 999999 | 1000000 | -1 | -1875 | -0.001875 | w.e.f 08.12.22
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993246 | 993279 | -33 | -3300 | -0.0033 | 30613 | 30624 | -11 | -1100 | -0.0011
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -38.7261 |  |  |  |  | -2.9414
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | DECEMBER-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21926 | 21928 | -2 | 1000 | 0.001 | 5248 | 5279 | -31 | 15500 | 0.0155
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992433 | 992507 | -74 | 9866.42 | 0.0098664 | 8771 | 8704 | 67 | -8933.11 | -0.0089331
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999866 | 999930 | -64 | 42666.688 | 0.042667 | 480 | 496 | -16 | 10666.672 | 0.010667
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1168 | 1200 | -32 | 32000 | 0.032 | 290 | 307 | -17 | 17000 | 0.017
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990295 | 990295 | 0 | 0 | 0 | 2543 | 2543 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 2927 | 3039 | -112 | 17920 | 0.01792 | 38531 | 38585 | -54 | 8640 | 0.00864
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3853 | 3863 | -10 | 2000 | 0.002 | 18652 | 18644 | 8 | -1600 | -0.0016
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969716 | 970637 | -921 | 921000 | 0.921 | 999381 | 999383 | -2 | 2000 | 0.002
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 752 | 789 | -37 | 3700 | 0.0037 | 1725 | 1727 | -2 | 200 | 0.0002
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4921 | 4905 | 16 | -1600 | -0.0016 | 5076 | 5073 | 3 | -300 | -0.0003
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 1000052 | 999931 | 121 | 100832.93 | 0.10083 | 976 | 867 | 109 | 90832.97 | 0.090833
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 455 | 455 | 0 | 0 | 0 | 2627 | 2627 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 999998 | 999998 | 0 | 0 | 0 | 999879 | 999919 | -40 | 4000 | 0.004
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3137 | 3139 | -2 | 200 | 0.0002 | 36131 | 36196 | -65 | 6500 | 0.0065
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 749 | 752 | -3 | 3999 | 0.003999 | 630 | 633 | -3 | 3999 | 0.003999
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 25 | 21 | 4 | -400 | -0.0004 | 3318 | 3297 | 21 | -2100 | -0.0021
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1910 | 1902 | 8 | -800 | -0.0008 | 9383 | 9349 | 34 | -3400 | -0.0034
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999894 | 999892 | 2 | -800 | -0.0008 | 999458 | 999460 | -2 | 800 | 0.0008
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 983 | 757 | 226 | -180800 | -0.1808 | 555 | 549 | 6 | -4800 | -0.0048
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979816 | 980048 | -232 | 232000 | 0.232 | 2071 | 2107 | -36 | 36000 | 0.036
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1126 | 1155 | -29 | 21750 | 0.02175 | 4404 | 4404 | 0 | 0 | 0 | upto 26.12.22
[10 empty] | 0.00522 |  |  |  |  | 0 | assesment 6 days
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 1.2098 |  |  |  |  | 0.17501
DECEMBER-2022
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -38.7261 |  |  |  |  | -2.9414
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 1.2098 |  |  |  |  | 0.17501
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.60641 |  |  |  |  | -0.012567
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 3.75e-05 |  |  |  |  | -0.050188
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -38.1227 |  |  |  |  | -2.8292
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -38.1227 | (REACTIVE MUs) |  |  |  | -2.8292 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 7.3881 | (REACTIVE MUs) |  |  |  | 0.00020905 | (REACTIVE MUs)
[9 empty] | TOTAL | -30.7346 | (REACTIVE MUs) |  |  |  | -2.8289 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | DECEMBER-2022
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36460 | 36544 | -84 | -22428 | -0.022428 | 991978 | 991981 | -3 | -801 | -0.000801
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 4000 | 11232 | 11233 | -1 | -4000 | -0.004 | 1380 | 1394 | -14 | -56000 | -0.056
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24930 | 24929 | 1 | 133.33 | 0.00013333 | 34874 | 34849 | 25 | 3333.25 | 0.0033333
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999690 | 999741 | -51 | -51000 | -0.051 | 999686 | 999725 | -39 | -39000 | -0.039
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 90 | 91 | -1 | -1600 | -0.0016 | 999947 | 999947 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18419 | 18438 | -19 | -25333.27 | -0.025333 | 4909 | 4936 | -27 | -35999.91 | -0.036
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999593 | 999608 | -15 | -3000 | -0.003 | 998923 | 999106 | -183 | -36600 | -0.0366
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 974989 | 975002 | -13 | -13000 | -0.013 | 1214 | 1215 | -1 | -1000 | -0.001
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 983166 | 983324 | -158 | -79000 | -0.079 | 275 | 279 | -4 | -2000 | -0.002
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997379 | 997535 | -156 | -156000 | -0.156 | 999838 | 999839 | -1 | -1000 | -0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982704 | 982717 | -13 | -13000 | -0.013 | 1092 | 1094 | -2 | -2000 | -0.002
12 | LAHORI GATE-1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 135 | 135 | 0 | 0 | 0 | 3368 | 3361 | 7 | 7000 | 0.007
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993437 | 993437 | 0 | 0 | 0 | 995435 | 995505 | -70 | -70000 | -0.07
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992506 | 992506 | 0 | 0 | 0 | 1000097 | 999991 | 106 | 106000 | 0.106
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994363 | 994363 | 0 | 0 | 0 | 7289 | 7406 | -117 | -93600 | -0.0936
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14371 | 14434 | -63 | -8399.79 | -0.0083998 | 8345 | 8353 | -8 | -1066.64 | -0.0010666
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 36 | 36 | 0 | 0 | 0 | 999826 | 999826 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 522 | 594 | -72 | -72000 | -0.072 | 16906 | 16907 | -1 | -1000 | -0.001
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 950842 | 952419 | -1577 | -1971250 | -1.9712 | 947183 | 947183 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 938635 | 941488 | -2853 | -2853000 | -2.853 | 933516 | 933516 | 0 | 0 | 0
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992643 | 992643 | 0 | 0 | 0 | 998682 | 998682 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -4.8243 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999382 | 999379 | 3 | -3000 | -0.003 | 998741 | 998756 | -15 | 15000 | 0.015
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6437 | 6379 | 58 | -58000 | -0.058 | 997809 | 997808 | 1 | -1000 | -0.001
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998913 | 998920 | -7 | -7000 | -0.007 | 12287 | 12323 | -36 | -36000 | -0.036
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 267500 | 265871 | 1629 | -1629000 | -1.629 | 26090 | 26053 | 37 | -37000 | -0.037
[5 empty] | -1000 | [5 empty] | 26389 | 26344 | 45 | -45000 | -0.045
27 | TX.-2(66KV) | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1047 | 754 | 293 | -293000 | -0.293 | 1346 | 1196 | 150 | -150000 | -0.15
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9568 | 8663 | 905 | -905000 | -0.905 | 998980 | 998980 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6571 | 6341 | 230 | -230000 | -0.23 | 998036 | 998036 | 0 | 0 | 0
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 124817 | 124601 | 216 | -216000 | -0.216 | 982676 | 982674 | 2 | -2000 | -0.002
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 96026 | 95201 | 825 | -825000 | -0.825 | 335 | 334 | 1 | -1000 | -0.001
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 2291 | 1832 | 459 | -2295000 | -2.295 | 0 | 0 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 58 | 49 | 9 | 11999.97 | 0.012 | 3 | 3 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6057 | 5947 | 110 | 14666.3 | 0.014666 | 8037 | 8037 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992433 | 992507 | -74 | -9842 | -0.009842 | 8771 | 8704 | 67 | 8911 | 0.008911
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975007 | 974957 | 50 | -50000 | -0.05 | 990187 | 990097 | 90 | -90000 | -0.09
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961828 | 961733 | 95 | -95000 | -0.095 | 969111 | 969105 | 6 | -6000 | -0.006
[5 empty] | -1000 | [5 empty] | 969489 | 969486 | 3 | -3000 | -0.003
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -11.8621 |  |  |  |  | -0.57082
| (A) NET ENERGY TO CENTRAL | [8 empty] | -11.8621 |  |  |  |  | -0.57082
DECEMBER-2022
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 219 | 75 | 144 | -144000 | -0.144 | 89 | 58 | 31 | -31000 | -0.031
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981551 | 981331 | 220 | -220000 | -0.22 | 930821 | 930752 | 69 | -69000 | -0.069
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 59 | 9 | 50 | -50000 | -0.05 | 999999 | 999984 | 15 | -15000 | -0.015
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000728 | 999908 | 820 | -820000 | -0.82 | 999729 | 999723 | 6 | -6000 | -0.006
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40971 | 40642 | 329 | -329000 | -0.329 | 998170 | 998157 | 13 | -13000 | -0.013
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 22080 | 20666 | 1414 | -707000 | -0.707 | 658 | 645 | 13 | -6500 | -0.0065
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 206 | 41 | 165 | -165000 | -0.165 | 999990 | 999989 | 1 | -1000 | -0.001
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44469 | 44370 | 99 | -99000 | -0.099 | 999420 | 999422 | -2 | 2000 | 0.002
[5 empty] | -1000 | 45497 | 45441 | 56 | -56000 | -0.056
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1511 | 1278 | 233 | -233000 | -0.233 | 22 | 21 | 1 | -1000 | -0.001
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971377 | 970916 | 461 | -461000 | -0.461 | 968067 | 968048 | 19 | -19000 | -0.019
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 588 | 435 | 153 | -153000 | -0.153 | 19 | 31 | -12 | 12000 | 0.012
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 13660 | 13593 | 67 | -335000 | -0.335 | 66 | 56 | 10 | -50000 | -0.05
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25838 | 25511 | 327 | -327000 | -0.327 | 113 | 82 | 31 | -31000 | -0.031
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7277 | 6497 | 780 | -780000 | -0.78 | 5 | 4 | 1 | -1000 | -0.001
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -4.879 |  |  |  |  | -0.2295
| (B) NET ENERGY TO EAST | [8 empty] | -4.879 |  |  |  |  | -0.2295
DECEMBER-2022
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 992024 | 992427 | -403 | 107468.01 | 0.10747 | 399 | 392 | 7 | -1866.69 | -0.0018667
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2174 | 2176 | -2 | 1000 | 0.001 | 2327 | 2324 | 3 | -1500 | -0.0015 | upto 12.12.2022
|  | 4864817 | ELSTER | Kvarh(Lead/Lag) | -100 | 999885 | 999865 | 20 | -2000 | -0.002 | 2402 | 2395 | 7 | -700 | -0.0007 | check meter
|  | 4865184 | ELSTER | Kvarh(Lead/Lag) | -2000 | 0 | 0 | 0 | 0 | 0 | 8 | 0 | 8 | -16000 | -0.016 | w.e.f 20.12.22
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1123 | 1240 | -117 | 31199.22 | 0.031199 | 2245 | 2245 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -400 | 6811 | 5691 | 1120 | -448000 | -0.448 | 23 | 23 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 975379 | 976406 | -1027 | 205400 | 0.2054 | 999384 | 999384 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1015 | 1141 | -126 | 126000 | 0.126 | 390 | 390 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3640 | 3654 | -14 | 11200 | 0.0112 | 4774 | 4751 | 23 | -18400 | -0.0184
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2032 | 2073 | -41 | 32800 | 0.0328 | 1653 | 1662 | -9 | 7200 | 0.0072
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 944544 | 945034 | -490 | 392000 | 0.392 | 988509 | 988564 | -55 | 44000 | 0.044
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992514 | 992544 | -30 | 60000 | 0.06 | 999154 | 999180 | -26 | 52000 | 0.052
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996769 | 997469 | -700 | 700000 | 0.7 | 24728 | 24772 | -44 | 44000 | 0.044
DMS
15 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | -300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999797 | 999792 | 5 | -2500 | -0.0025 | 2441 | 2440 | 1 | -500 | -0.0005
18 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 999974 | 1000005 | -31 | 15500 | 0.0155 | 296 | 296 | 0 | 0 | 0
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1136 | 1132 | 4 | -2000 | -0.002 | 1564 | 1563 | 1 | -500 | -0.0005
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 60892 | 61547 | -655 | 65500 | 0.0655 | 2533 | 2535 | -2 | 200 | 0.0002
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 434 | 439 | -5 | 666.65 | 0.00066665 | 997 | 997 | 0 | 0 | 0
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992893 | 992940 | -47 | 4700 | 0.0047 | 2902 | 2908 | -6 | 600 | 0.0006
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 9499 | 9512 | -13 | 1300 | 0.0013 | 16286 | 16239 | 47 | -4700 | -0.0047
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 15617 | 15581 | 36 | -3600 | -0.0036 | 6387 | 6359 | 28 | -2800 | -0.0028
25 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | -100 | 115 | 85 | 30 | -3000 | -0.003 | 49 | 16 | 33 | -3300 | -0.0033
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 68620 | 68480 | 140 | 140 | 0.00014 | 346570 | 338560 | 8010 | 8010 | 0.00801
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 42140 | 39430 | 2710 | 2710 | 0.00271 | 561020 | 556129 | 4891 | 4891 | 0.004891
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 245100 | 234100 | 11000 | 11000 | 0.011 | 1778099 | 1761699 | 16400 | 16400 | 0.0164
[10 empty] | 1.3075 |  |  |  |  | 0.12703
DECEMBER-2022
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -11.8621 |  |  |  |  | -0.57082
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.3075 |  |  |  |  | 0.12703
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.49226 |  |  |  |  | -0.008525
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -11.0468 |  |  |  |  | -0.45231
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -4.879 |  |  |  |  | -0.2295
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -15.9258 |  |  |  |  | -0.68181
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -15.9258 | (REACTIVE MUs) |  |  |  | -0.68181 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 4.0341 | (REACTIVE MUs) |  |  |  | 0.0001195 | (REACTIVE MUs)
[9 empty] | TOTAL | -11.8917 | (REACTIVE MUs) |  |  |  | -0.68169 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | DECEMBER-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1123 | 1240 | -117 | -31200.39 | -0.0312 | 2245 | 2245 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 400 | 6811 | 5691 | 1120 | 448000 | 0.448 | 23 | 23 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 975379 | 976406 | -1027 | -205400 | -0.2054 | 999384 | 999384 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1015 | 1141 | -126 | -126000 | -0.126 | 390 | 390 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3640 | 3654 | -14 | -11200 | -0.0112 | 4774 | 4751 | 23 | 18400 | 0.0184
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2032 | 2073 | -41 | -32800 | -0.0328 | 1653 | 1662 | -9 | -7200 | -0.0072
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 944544 | 945034 | -490 | -392000 | -0.392 | 988509 | 988564 | -55 | -44000 | -0.044
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992514 | 992544 | -30 | -60000 | -0.06 | 999154 | 999180 | -26 | -52000 | -0.052
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 952791 | 952889 | -98 | -4900 | -0.0049 | 28131 | 29031 | -900 | -45000 | -0.045
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 999296 | 999348 | -52 | -5200 | -0.0052 | 2308 | 2577 | -269 | -26900 | -0.0269
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997783 | 997791 | -8 | -4000 | -0.004 | 7608 | 7629 | -21 | -10500 | -0.0105
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999860 | 999871 | -11 | -1100 | -0.0011 | 997857 | 997954 | -97 | -9700 | -0.0097
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998404 | 998454 | -50 | -5000 | -0.005 | 5916 | 6460 | -544 | -54400 | -0.0544
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11075 | 11075 | 0 | 0 | 0 | 42155 | 42155 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 572 | 743 | -171 | -17100 | -0.0171 | 1033 | 1176 | -143 | -14300 | -0.0143
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991924 | 992585 | -661 | -661000 | -0.661 | 406 | 406 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979398 | 980424 | -1026 | -1026000 | -1.026 | 2783 | 2783 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 997745 | 998144 | -399 | -997500 | -0.9975 | 81 | 81 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 995164 | 995417 | -253 | -632500 | -0.6325 | 461 | 461 | 0 | 0 | 0
[10 empty] | -3.317 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990295 | 990295 | 0 | 0 | 0 | 2543 | 2543 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 2927 | 3039 | -112 | -17920 | -0.01792 | 38531 | 38585 | -54 | -8640 | -0.00864
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3853 | 3863 | -10 | -2000 | -0.002 | 18652 | 18644 | 8 | 1600 | 0.0016
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 969716 | 970637 | -921 | -921000 | -0.921 | 999381 | 999383 | -2 | -2000 | -0.002
A.I.I.M.S.
27 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 1000052 | 999931 | 121 | -100832.93 | -0.10083 | 976 | 867 | 109 | -90832.97 | -0.090833
DECEMBER-2022
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998664 | 997684 | 980 | -980000 | -0.98 | 989453 | 989453 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000998 | 999931 | 1067 | -1067000 | -1.067 | 995339 | 995339 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998163 | 998046 | 117 | -234000 | -0.234 | 995227 | 995227 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000101 | 999881 | 220 | -220000 | -0.22 | 992463 | 992463 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 455 | 455 | 0 | 0 | 0 | 2627 | 2627 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 752 | 789 | -37 | -3700 | -0.0037 | 1725 | 1727 | -2 | -200 | -0.0002
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4921 | 4905 | 16 | 1600 | 0.0016 | 5076 | 5073 | 3 | 300 | 0.0003
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21926 | 21928 | -2 | -1000 | -0.001 | 5248 | 5279 | -31 | -15500 | -0.0155
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 225 | 386 | -161 | 161000 | 0.161 | 999973 | 999973 | 0 | 0 | 0
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998229 | 998784 | -555 | 555000 | 0.555 | 999915 | 999915 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | -100 | 1 | 1 | 0 | 0 | 0 | 999893 | 999962 | -69 | 6900 | 0.0069
4 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) | -100 | 4 | 4 | 0 | 0 | 0 | 2827 | 2787 | 40 | -4000 | -0.004
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -6.5948 |  |  |  |  | -0.35797
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -6.5948 |  |  |  |  | -0.35797
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.69557 |  |  |  |  | 2.545e-05
| TOTAL ENERGY TO NDMC | [8 empty] | -5.8992 |  |  |  |  | -0.35795

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2022
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4293 | 4293 | 0 | 0 | 0 | 79168 | 79168 | 0 | 0 | 0
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999622 | 999889 | -267 | -42720 | -0.04272 | 32196 | 32273 | -77 | -12320 | -0.01232
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 999941 | 1000017 | -76 | -15200 | -0.0152 | 2341 | 2302 | 39 | 7800 | 0.0078
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999882 | 999884 | -2 | -800 | -0.0008 | 19197 | 19206 | -9 | -3600 | -0.0036
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999473 | 999493 | -20 | -16000 | -0.016 | 812 | 812 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2549 | 2608 | -59 | -23600 | -0.0236 | 6649 | 6654 | -5 | -2000 | -0.002
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999866 | 999930 | -64 | -42666.688 | -0.042667 | 480 | 496 | -16 | -10666.672 | -0.010667
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1168 | 1200 | -32 | -32000 | -0.032 | 290 | 307 | -17 | -17000 | -0.017
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.17299 |  |  |  |  | -0.037787
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4206 | 4207 | -1 | -37.5 | -3.75e-05 | 40390 | 40157 | 233 | 8737.5 | 0.0087375
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 79 | 79 | 0 | 0 | 0 | 1692 | 1692 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4406 | 4406 | 0 | 0 | 0 | 60329 | 60015 | 314 | 23550 | 0.02355
13 | SUBROTO PARK | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 27 | 27 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 6153 | 6165 | -12 | -900 | -0.0009
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10285 | 10285 | 0 | 0 | 0 | 8104 | 7916 | 188 | 18800 | 0.0188
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | -3.75e-05 |  |  |  |  | 0.050188
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.17299 |  |  |  |  | -0.037787
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.17302 |  |  |  |  | 0.012401
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.17302 | (REACTIVE MUs) |  |  |  | 0.012401 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.033774 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.2068 | (REACTIVE MUs) |  |  |  | 0.012401 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2022
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 992007 | 991954 | 53 | 33125 | 0.033125 | 521 | 512 | 9 | 5625 | 0.005625
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999721 | 999784 | -63 | -31500 | -0.0315 | 216 | 213 | 3 | 1500 | 0.0015
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 983 | 757 | 226 | 180800 | 0.1808 | 555 | 549 | 6 | 4800 | 0.0048
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 68620 | 68480 | 140 | -140 | -0.00014 | 346569 | 338560 | 8009 | -8009 | -0.008009
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 42140 | 39430 | 2710 | -2710 | -0.00271 | 561020 | 556129 | 4891 | -4891 | -0.004891
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 245100 | 234100 | 11000 | -11000 | -0.011 | 1778099 | 1761699 | 16400 | -16400 | -0.0164
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.16858 |  |  |  |  | -0.017375
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0036801 |  |  |  |  | 0
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.17226 |  |  |  |  | -0.017375

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2022
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 995131 | 995462 | -331 | -165500 | -0.1655 | 999651 | 999651 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 25002 | 27629 | -2627 | -262700 | -0.2627 | 992322 | 992331 | -9 | -900 | -0.0009
3 | O/G VISHAL-1 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 833.333 | 999915 | 1000018 | -103 | -85833.299 | -0.085833 | 999991 | 999999 | -8 | -6666.664 | -0.0066667
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997463 | 997569 | -106 | -99375 | -0.099375 | 999335 | 999335 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999420 | 999409 | 11 | -11000 | -0.011 | 998979 | 998980 | -1 | 1000 | 0.001
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993742 | 993790 | -48 | 24000 | 0.024 | 536 | 536 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 211 | 231 | -20 | -6000 | -0.006 | 9 | 29 | -20 | -6000 | -0.006
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.60641 |  |  |  |  | -0.012567
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 960098 | 961199 | -1101 | -220200 | -0.2202 | 991411 | 991448 | -37 | -7400 | -0.0074
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997170 | 998621 | -1451 | -272062.5 | -0.27206 | 993637 | 993643 | -6 | -1125 | -0.001125
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.49226 |  |  |  |  | -0.008525
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 859 | 1134 | -275 | -343750 | -0.34375 | 998649 | 998649 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999492 | 999713 | -221 | -207187.5 | -0.20719 | 999626 | 999635 | -9 | -8437.5 | -0.0084375
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 997868 | 999087 | -1219 | -152375 | -0.15238 | 996714 | 996781 | -67 | -8375 | -0.008375
13 | O/G 33KV RAMA ROAD | 4865123 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999930 | 999998 | -68 | -85000 | -0.085 | 999992 | 1000000 | -8 | -10000 | -0.01
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998838 | 999050 | -212 | -212000 | -0.212 | 999667 | 999668 | -1 | -1000 | -0.001
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975080 | 976973 | -1893 | -1893000 | -1.893 | 990705 | 990706 | -1 | -1000 | -0.001
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 419 | 217 | 202 | -126250 | -0.12625 | 999796 | 999796 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 211 | 231 | -20 | 6000 | 0.006 | 9 | 29 | -20 | 6000 | 0.006
| TOTAL NDPL | [8 empty] | -3.0136 |  |  |  |  | -0.022813
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.60641 |  |  |  |  | -0.012567
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.49226 |  |  |  |  | -0.008525
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -3.0136 |  |  |  |  | -0.022813

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | DECEMBER-2022
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/12/2022 | INTIAL READING 01/12/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 7161 | 5096 | 2065 | 4130000 | 4.13 | 999998 | 999998 | 0 | 0 | 0
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 35179 | 33010 | 2169 | 4338000 | 4.338 | 1628 | 1628 | 0 | 0 | 0
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 8.468 |  |  |  |  | 0
[7 empty] | Generation at feeders |  | = | -8.1412 |  |  |  |  | 0
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 16.6092 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 4.928 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 6.8978 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 3.7769 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 0.82216 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 858789 | 860718 | -1929 | 964500 | 0.9645 | 997811 | 997812 | -1 | 500 | 0.0005
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 0.9645 |  |  |  |  | 0.0005
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.28163 |  |  |  |  | 0.000146
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.40326 |  |  |  |  | 0.00020905
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.23052 |  |  |  |  | 0.0001195
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.049093 |  |  |  |  | 2.545e-05
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 182524 | 181975 | 549 | -411750 | -0.41175 | 999739 | 999739 | 0 | 0 | 0
2 | GT-II | [8 empty] | -0.01469 |  |  |  |  | 0 | assesment 2 days
|  | 4902490 | ELSTER | kvarh (lag) | -1000 | 213 | 0 | 213 | -213000 | -0.213 | 0 | 0 | 0 | 0 | 0 | w.e.f 02.12.22
3 | STG-III | 4902483 | ELSTER | kvarh (lag) | -750 | 994335 | 994293 | 42 | -31500 | -0.0315 | 999391 | 999391 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -0.67094 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.12936 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.18981 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.10782 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.20329 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.040659 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 380836 | 387437 | -6601 | 660100 | 0.6601 | 984122 | 984122 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 0.6601 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 40 FY2022-23) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.9123 | % |  |  | 0.21065 |  |  |  |  | 0
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.934 | % |  |  | 0.27681 |  |  |  |  | 0
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 20.369 | % |  |  | 0.13446 |  |  |  |  | 0
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.1829 | % |  |  | 0.027611 |  |  |  |  | 0
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.043 | % |  |  | 0.0068848 |  |  |  |  | 0
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.5575 | % |  |  | 0.0036801 |  |  |  |  | 0
E) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D)
1) | NDPL |  |  |  | = |  |  |  |  | 5.2909 |  |  |  |  | 0.000146
2) | BRPL |  |  |  | = |  |  |  |  | 7.3881 |  |  |  |  | 0.00020905
3) | BYPL |  |  |  | = |  |  |  |  | 4.0341 |  |  |  |  | 0.0001195
4) | NDMC |  |  |  | = |  |  |  |  | 0.69557 |  |  |  |  | 2.545e-05
5) | MES |  |  |  | = |  |  |  |  | -0.033774 |  |  |  |  | 0
6) | N.Railway |  |  |  | = |  |  |  |  | 0.0036801 |  |  |  |  | 0

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st DECEMBER-2022 TO 31st DECEMBER-2022
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -75.2481 |  | -1.4017
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -30.7346 |  | -2.8289
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -11.8917 |  | -0.68169
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -5.8992 |  | -0.35795
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.2068 | + | 0.012401
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.17226 |  | -0.017375
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
Note:- Reactive Energy is Provided by Metering Department