## NDPL
DELHI TRANSCO LIMITED | [15 empty] | MAY-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965078 | 965078 | 0 | 0 | 0 | 997893 | 998085 | -192 | 192000 | 0.192
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 83259 | 83234 | 25 | -50000 | -0.05 | 2738 | 2537 | 201 | -402000 | -0.402
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1018 | 1020 | -2 | 2000 | 0.002 | 999753 | 999998 | -245 | 245000 | 0.245
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998197 | 998197 | 0 | 0 | 0 | 993142 | 993169 | -27 | 27000 | 0.027
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 894375 | 894373 | 2 | -2000 | -0.002 | 8329 | 7839 | 490 | -490000 | -0.49
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35738 | 35592 | 146 | -146000 | -0.146 | 16106 | 16118 | -12 | 12000 | 0.012
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10009 | 9894 | 115 | -115000 | -0.115 | 998076 | 998089 | -13 | 13000 | 0.013
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5541 | 5530 | 11 | -11000 | -0.011 | 998043 | 998256 | -213 | 213000 | 0.213
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 965423 | 966141 | -718 | 359000 | 0.359 | 843683 | 843874 | -191 | 95500 | 0.0955
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1786 | 1893 | -107 | 107000 | 0.107 | 998301 | 998294 | 7 | -7000 | -0.007
11 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2331 | 2414 | -83 | 83000 | 0.083 | 8 | 1 | 7 | -7000 | -0.007
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34456 | 33526 | 930 | -930000 | -0.93 | 996895 | 996894 | 1 | -1000 | -0.001
13 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 11970 | 11220 | 750 | -750 | -0.75 | 99999952 | 99999952 | 0 | 0 | 0
14 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 806192 | 809859 | -3667 | -3667000 | -3.667 | 999752 | 999774 | -22 | -22000 | -0.022
15 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 912773 | 912773 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
NARELA
16 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8533 | 8268 | 265 | -265000 | -0.265 | 999999 | 999999 | 0 | 0 | 0
17 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 51718 | 51133 | 585 | -292500 | -0.2925 | 67 | 22 | 45 | -22500 | -0.0225
18 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47426 | 47355 | 71 | -71000 | -0.071 | 86 | 124 | -38 | 38000 | 0.038
NARAINA
19 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999930 | 999930 | 0 | 0 | 0 | 991315 | 991574 | -259 | -259000 | -0.259
20 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 452 | 452 | 0 | 0 | 0 | 21437 | 21589 | -152 | -152000 | -0.152
21 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1357 | 1357 | 0 | 0 | 0 | 12237 | 12154 | 83 | 41500 | 0.0415
22 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 2565 | 2560 | 5 | 250 | 0.00025 | 89864 | 87521 | 2343 | 117150 | 0.11715
[5 empty] | 50 | [5 empty] | 68931 | 66988 | 1943 | 97150 | 0.09715
[5 empty] | 50 | [5 empty] | 57762 | 56065 | 1697 | 84850 | 0.08485
23 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995075 | 995075 | 0 | 0 | 0 | 983497 | 983413 | 84 | 84000 | 0.084
24 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999590 | 999590 | 0 | 0 | 0 | 106 | 295 | -189 | -189000 | -0.189
25 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 54851 | 54826 | 25 | 2500 | 0.0025 | 189897 | 189734 | 163 | 16300 | 0.0163
KASHMIRI GATE
26 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998375 | 998660 | -285 | -285000 | -0.285 | 999992 | 999997 | -5 | -5000 | -0.005
27 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 965796 | 966611 | -815 | -407500 | -0.4075 | 999999 | 999999 | 0 | 0 | 0
28 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 997053 | 996793 | 260 | 69334.2 | 0.069334 | 999852 | 999846 | 6 | 1600.02 | 0.0016
29 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 1793 | 1784 | 9 | 4500 | 0.0045 | 999978 | 999924 | 54 | 27000 | 0.027
KANJAWALA
30 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37785 | 37759 | 26 | -26000 | -0.026 | 996463 | 996497 | -34 | 34000 | 0.034
31 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 191211 | 191083 | 128 | -64000 | -0.064 | 14809 | 14752 | 57 | -28500 | -0.0285
32 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3444 | 3440 | 4 | -8000 | -0.008 | 999931 | 999982 | -51 | 102000 | 0.102
BAWANA
33 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35914 | 34356 | 1558 | -1558000 | -1.558 | 999959 | 999958 | 1 | -1000 | -0.001
DSIDC BAWANA
34 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 84355 | 80515 | 3840 | -7680000 | -7.68 | 280 | 280 | 0 | 0 | 0
35 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 88217 | 85451 | 2766 | -2766000 | -2.766 | 998486 | 998486 | 0 | 0 | 0
36 | 66KV TX.3 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 80896 | 77744 | 3152 | -3152000 | -3.152 | 350 | 350 | 0 | 0 | 0
|  | 4864919 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1570 | 0 | 1570 | -1570000 | -1.57 | 0 | 0 | 0 | 0 | 0 | w.e.f 20/5/20
ROHINI-II
37 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8563 | 8334 | 229 | -458000 | -0.458 | 13 | 8 | 5 | -10000 | -0.01
38 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53568 | 53079 | 489 | -489000 | -0.489 | 1206 | 1193 | 13 | -13000 | -0.013
WAZIRPUR
39 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 555 | 702 | -147 | 147000 | 0.147 | 998503 | 998534 | -31 | 31000 | 0.031
40 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42764 | 41913 | 851 | -851000 | -0.851 | 1638 | 1637 | 1 | -1000 | -0.001
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
41 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999969 | 999972 | -3 | -3000 | -0.003 | 27566 | 27816 | -250 | -250000 | -0.25
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | MAY-2020
DMS
42 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 970 | 971 | -1 | -1000 | -0.001 | 61240 | 61247 | -7 | -7000 | -0.007
VISHAL
43 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999465 | 999465 | 0 | 0 | 0 | 999227 | 998791 | 436 | 43600 | 0.0436
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3022 | 2946 | 76 | 7600 | 0.0076 | 29550 | 29295 | 255 | 25500 | 0.0255
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 771 | 771 | 0 | 0 | 0 | 501 | 491 | 10 | 13330 | 0.01333
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3179 | 3179 | 0 | 0 | 0 | 1592 | 1592 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1871 | 1860 | 11 | 1100 | 0.0011 | 1546 | 1478 | 68 | 6800 | 0.0068
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999899 | 999899 | 0 | 0 | 0 | 1710 | 1660 | 50 | 25000 | 0.025
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2259 | 2257 | 2 | 1333.34 | 0.0013333 | 336 | 319 | 17 | 11333.39 | 0.011333
55 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 571 | 568 | 3 | 1500 | 0.0015 | 212 | 176 | 36 | 18000 | 0.018
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 996383 | 996383 | 0 | 0 | 0 | 3574 | 3854 | -280 | -28000 | -0.028
FAIZ ROAD
57 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 7541 | 7524 | 17 | 1700 | 0.0017 | 12256 | 11908 | 348 | 34800 | 0.0348
58 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 9398 | 9342 | 56 | 5600 | 0.0056 | 2439 | 2122 | 317 | 31700 | 0.0317
59 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 28720 | 28669 | 51 | 5100 | 0.0051 | 8005 | 7726 | 279 | 27900 | 0.0279
KASHMIRI GATE
60 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 53067 | 52958 | 109 | 10900 | 0.0109 | 1525 | 1504 | 21 | 2100 | 0.0021
61 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999703 | 999713 | -10 | -1333.3 | -0.0013333 | 263 | 251 | 12 | 1599.96 | 0.0016
62 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 76 | 76 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
63 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
64 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999880 | 999880 | 0 | 0 | 0 | 999439 | 999439 | 0 | 0 | 0
MUNDKA
65 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 972530 | 972782 | -252 | -201600 | -0.2016 | 999766 | 999760 | 6 | 4800 | 0.0048
66 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 996606 | 996718 | -112 | -224000 | -0.224 | 1055 | 1055 | 0 | 0 | 0
PEERAGARHI
67 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 980622 | 980571 | 51 | 10200 | 0.0102 | 377 | 380 | -3 | -600 | -0.0006
68 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998287 | 998262 | 25 | 6250 | 0.00625 | 340 | 325 | 15 | 3750 | 0.00375
REWARI LINE
69 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993029 | 993091 | -62 | -62000 | -0.062 | 2218 | 2349 | -131 | -131000 | -0.131
70 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1819 | 1817 | 2 | 1500 | 0.0015 | 3300 | 3295 | 5 | 3750 | 0.00375
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -25.2796 |  |  |  |  | -0.30059
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 15325 | 15301 | 24 | -2400 | -0.0024 | 120210 | 119617 | 593 | -59300 | -0.0593
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 267 | 179 | 88 | -70400 | -0.0704 | 547 | 429 | 118 | -94400 | -0.0944
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 821 | 820 | 1 | -1000 | -0.001 | 143 | 110 | 33 | -33000 | -0.033
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6546 | 6524 | 22 | -2933.26 | -0.0029333 | 370 | 374 | -4 | 533.32 | 0.00053332
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997424 | 997500 | -76 | 14250 | 0.01425 | 999954 | 999959 | -5 | 937.5 | 0.0009375
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 921917 | 922313 | -396 | 316800 | 0.3168 | 998082 | 998143 | -61 | 48800 | 0.0488
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 989713 | 989719 | -6 | 3750 | 0.00375 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 990858 | 990895 | -37 | 23125 | 0.023125 | 999844 | 999844 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 997143 | 997201 | -58 | 11600 | 0.0116 | 14464 | 14450 | 14 | -2800 | -0.0028
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 993932 | 993987 | -55 | 10312.5 | 0.010313 | 5456 | 5511 | -55 | 10312.5 | 0.010313
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 992703 | 992767 | -64 | 12000 | 0.012 | 4034 | 4142 | -108 | 20250 | 0.02025
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3131 | 3057 | 74 | -18500 | -0.0185 | 7914 | 7791 | 123 | -30750 | -0.03075
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 995899 | 995817 | 82 | -8200 | -0.0082 | 28669 | 28346 | 323 | -32300 | -0.0323
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.2884 |  |  |  |  | -0.17172
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -25.2796 |  |  |  |  | -0.30059
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.2884 |  |  |  |  | -0.17172
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.053112 |  |  |  |  | -0.011288
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -24.938 |  |  |  |  | -0.48359
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -24.938 | (REACTIVE MUs) |  |  |  | -0.48359 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -5.428 | (REACTIVE MUs) |  |  |  | -0.062132 | (REACTIVE MUs)
[9 empty] | TOTAL | -30.3661 | (REACTIVE MUs) |  |  |  | -0.54572 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | MAY-2020
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 24723 | 24698 | 25 | 2500 | 0.0025 | 994116 | 994091 | 25 | 2500 | 0.0025
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 10959 | 10898 | 61 | 18300 | 0.0183 | 3447 | 3490 | -43 | -12900 | -0.0129
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 86243 | 85738 | 505 | 37875 | 0.037875 | 399925 | 396597 | 3328 | 249600 | 0.2496
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 994938 | 994989 | -51 | -15300 | -0.0153 | 5953 | 5998 | -45 | -13500 | -0.0135
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1545 | 1548 | -3 | -3999.9 | -0.0039999 | 3584 | 3584 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 10447 | 10367 | 80 | 8000 | 0.008 | 3231 | 1757 | 1474 | 147400 | 0.1474
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 103981 | 102672 | 1309 | 98175 | 0.098175 | 892000 | 891251 | 749 | 56175 | 0.056175
[5 empty] | 75 | [5 empty] | 890639 | 889175 | 1464 | 109800 | 0.1098
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980253 | 980619 | -366 | -366000 | -0.366 | 2276 | 2276 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 989916 | 990418 | -502 | -251000 | -0.251 | 178 | 178 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996594 | 996904 | -310 | -310000 | -0.31 | 1621 | 1623 | -2 | -2000 | -0.002
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988062 | 988038 | 24 | 24000 | 0.024 | 1354 | 1350 | 4 | 4000 | 0.004
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990340 | 990744 | -404 | -404000 | -0.404 | 6258 | 6252 | 6 | 6000 | 0.006
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997511 | 997723 | -212 | -212000 | -0.212 | 998667 | 998652 | 15 | 15000 | 0.015
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995595 | 995871 | -276 | -276000 | -0.276 | 999794 | 999794 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 995743 | 996133 | -390 | -312000 | -0.312 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 1951 | 3965 | -2014 | -268526.62 | -0.26853 | 3650 | 3651 | -1 | -133.33 | -0.00013333
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 864 | 913 | -49 | -49000 | -0.049 | 9730 | 9730 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 815 | 888 | -73 | -73000 | -0.073 | 17471 | 17471 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 971612 | 971612 | 0 | 0 | 0 | 949883 | 950417 | -534 | -667500 | -0.6675
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 985081 | 985081 | 0 | 0 | 0 | 936318 | 936389 | -71 | -78100 | -0.0781
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999993 | 999996 | -3 | -3000 | -0.003 | 999875 | 999961 | -86 | -86000 | -0.086
| KASHMIRI GATE | [8 empty] | -0.003 |  |  |  |  | -0.8316
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988392 | 988549 | -157 | 157000 | 0.157 | 998662 | 998793 | -131 | 131000 | 0.131
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986102 | 986152 | -50 | 50000 | 0.05 | 998998 | 999031 | -33 | 33000 | 0.033
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 76 | 76 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999814 | 999814 | 0 | 0 | 0 | 13454 | 13639 | -185 | -185000 | -0.185
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 151439 | 150677 | 762 | -762000 | -0.762 | 8706 | 8696 | 10 | -10000 | -0.01
[5 empty] | -1000 | 150201 | 149819 | 382 | -382000 | -0.382 | 8394 | 8325 | 69 | -69000 | -0.069
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40101 | 40000 | 101 | -101000 | -0.101 | 242 | 105 | 137 | -137000 | -0.137
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1198 | 1296 | -98 | 98000 | 0.098 | 999310 | 999335 | -25 | 25000 | 0.025
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 153 | 150 | 3 | -3000 | -0.003 | 998893 | 998959 | -66 | 66000 | 0.066
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25988 | 25560 | 428 | -428000 | -0.428 | 982958 | 983032 | -74 | 74000 | 0.074
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42858 | 42409 | 449 | -449000 | -0.449 | 298 | 295 | 3 | -3000 | -0.003
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 30225 | 29728 | 497 | -994000 | -0.994 | 23 | 24 | -1 | 2000 | 0.002
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 821 | 820 | 1 | 1000 | 0.001 | 143 | 110 | 33 | 33000 | 0.033
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6546 | 6524 | 22 | 2933.26 | 0.0029333 | 370 | 374 | -4 | -533.32 | -0.00053332
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993880 | 993886 | -6 | -798 | -0.000798 | 9893 | 10059 | -166 | -22078 | -0.022078
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 954635 | 955033 | -398 | 398000 | 0.398 | 990185 | 990185 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980613 | 981065 | -452 | 452000 | 0.452 | 999923 | 999226 | 697 | -697000 | -0.697
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -4.3158 |  |  |  |  | -1.0293
| (A) NET ENERGY TO CENTRAL | [8 empty] | -4.3158 |  |  |  |  | -1.0293
MAY-2020
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990711 | 990906 | -195 | 195000 | 0.195 | 997454 | 997545 | -91 | 91000 | 0.091
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989465 | 989594 | -129 | 129000 | 0.129 | 963036 | 963198 | -162 | 162000 | 0.162
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993953 | 994132 | -179 | 179000 | 0.179 | 998178 | 998322 | -144 | 144000 | 0.144
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993975 | 994311 | -336 | 336000 | 0.336 | 999127 | 999249 | -122 | 122000 | 0.122
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27219 | 27181 | 38 | -38000 | -0.038 | 997521 | 997550 | -29 | 29000 | 0.029
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12674 | 12659 | 15 | -15000 | -0.015 | 996536 | 996540 | -4 | 4000 | 0.004
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7280 | 7772 | -492 | 492000 | 0.492 | 12500 | 12521 | -21 | 21000 | 0.021
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999575 | 999984 | -409 | 409000 | 0.409 | 999995 | 1000011 | -16 | 16000 | 0.016
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957856 | 958127 | -271 | 271000 | 0.271 | 979092 | 979111 | -19 | 19000 | 0.019
[5 empty] | -1000 | 961249 | 961325 | -76 | 76000 | 0.076
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971987 | 971923 | 64 | -64000 | -0.064 | 975996 | 976220 | -224 | 224000 | 0.224
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962451 | 962446 | 5 | -5000 | -0.005 | 825371 | 825360 | 11 | -11000 | -0.011
GAZIPUR
13 | TX.-1 | 5128447 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2378 | 1911 | 467 | -934000 | -0.934 | 0 | 0 | 0 | 0 | 0 | Data tll 11/05
|  | 5295150 | ELSTER | Kvarh(Lead/Lag) | -2000 | 59838 | 58752 | 1086 | -2172000 | -2.172 | 984149 | 984154 | -5 | 10000 | 0.01 | Check Meter Data
14 | TX-2 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52739 | 52141 | 598 | -598000 | -0.598 | 214 | 214 | 0 | 0 | 0 | Check Meter data
|  | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 269 | 0 | 269 | -269000 | -0.269 | 7 | 0 | 7 | -7000 | -0.007 | w.e.f 21/5/20
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21863 | 21093 | 770 | -770000 | -0.77 | 999989 | 1000000 | -11 | 11000 | 0.011
[5 empty] | -1000 | 20865 | 20157 | 708 | -708000 | -0.708
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -3.486 |  |  |  |  | 0.835
| (B) NET ENERGY TO EAST | [8 empty] | -3.486 |  |  |  |  | 0.835
MAY-2020
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 997053 | 996793 | 260 | -69334.2 | -0.069334 | 999852 | 999846 | 6 | -1600.02 | -0.0016
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 1793 | 1784 | 9 | -4500 | -0.0045 | 999978 | 999924 | 54 | -27000 | -0.027
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2607 | 2470 | 137 | -36532.42 | -0.036532 | 2196 | 2151 | 45 | -11999.7 | -0.012
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 103992 | 103426 | 566 | -56600 | -0.0566 | 152389 | 152237 | 152 | -15200 | -0.0152
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 989256 | 989395 | -139 | 27800 | 0.0278 | 999322 | 999321 | 1 | -200 | -0.0002
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999974 | 999949 | 25 | -25000 | -0.025 | 1000016 | 999999 | 17 | -17000 | -0.017
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 1380 | 1334 | 46 | -36800 | -0.0368 | 2607 | 2564 | 43 | -34400 | -0.0344
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3338 | 3372 | -34 | 27200 | 0.0272 | 1312 | 1323 | -11 | 8800 | 0.0088
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 995295 | 995385 | -90 | 72000 | 0.072 | 998909 | 998980 | -71 | 56800 | 0.0568
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 961684 | 961875 | -191 | 152800 | 0.1528 | 980527 | 980821 | -294 | 235200 | 0.2352
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 965642 | 965896 | -254 | 203200 | 0.2032 | 989887 | 990020 | -133 | 106400 | 0.1064
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997826 | 997887 | -61 | 122000 | 0.122 | 999571 | 999589 | -18 | 36000 | 0.036
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996310 | 996437 | -127 | 254000 | 0.254 | 999516 | 999533 | -17 | 34000 | 0.034
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999969 | 999972 | -3 | 3000 | 0.003 | 27566 | 27816 | -250 | 250000 | 0.25
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 970 | 971 | -1 | 1000 | 0.001 | 61240 | 61247 | -7 | 7000 | 0.007
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999899 | 999899 | 0 | 0 | 0 | 1710 | 1660 | 50 | -25000 | -0.025
19 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2259 | 2257 | 2 | -1333.34 | -0.0013333 | 336 | 319 | 17 | -11333.39 | -0.011333
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 571 | 568 | 3 | -1500 | -0.0015 | 212 | 176 | 36 | -18000 | -0.018
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 53067 | 52958 | 109 | -10900 | -0.0109 | 1525 | 1504 | 21 | -2100 | -0.0021
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999703 | 999713 | -10 | 1333.3 | 0.0013333 | 263 | 251 | 12 | -1599.96 | -0.0016
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 996383 | 996383 | 0 | 0 | 0 | 3574 | 3854 | -280 | 28000 | 0.028
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 7541 | 7524 | 17 | -1700 | -0.0017 | 12256 | 11908 | 348 | -34800 | -0.0348
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 9398 | 9342 | 56 | -5600 | -0.0056 | 2439 | 2122 | 317 | -31700 | -0.0317
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 28720 | 28669 | 51 | -5100 | -0.0051 | 8005 | 7726 | 279 | -27900 | -0.0279
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 15230 | 15220 | 10 | 10 | 1e-05 | 19670 | 15630 | 4040 | 4040 | 0.00404
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 5510 | 5080 | 430 | 430 | 0.00043 | 64710 | 57440 | 7270 | 7270 | 0.00727
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 30100 | 24500 | 5600 | 5600 | 0.0056 | 245600 | 198800 | 46800 | 46800 | 0.0468
[10 empty] | 0.61547 |  |  |  |  | 0.56048
MAY-2020
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -4.3158 |  |  |  |  | -1.0293
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.61547 |  |  |  |  | 0.56048
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.33964 |  |  |  |  | -0.0088375
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -4.04 |  |  |  |  | -0.47763
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -3.486 |  |  |  |  | 0.835
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -7.526 |  |  |  |  | 0.35737
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -7.526 | (REACTIVE MUs) |  |  |  | 0.35737 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.2349 | (REACTIVE MUs) |  |  |  | -0.048474 | (REACTIVE MUs)
[9 empty] | TOTAL | -11.7609 | (REACTIVE MUs) |  |  |  | 0.3089 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | MAY-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 998927 | 998931 | -4 | -20000 | -0.02 | 998787 | 998816 | -29 | -145000 | -0.145
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 980268 | 980270 | -2 | -2666.66 | -0.0026667 | 670532 | 670443 | 89 | 118666.37 | 0.11867
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 990235 | 990263 | -28 | -5600 | -0.0056 | 1336 | 1689 | -353 | -70600 | -0.0706
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999829 | 999829 | 0 | 0 | 0 | 999750 | 999748 | 2 | 2666.66 | 0.0026667
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 998875 | 998867 | 8 | 12000 | 0.012 | 999977 | 999945 | 32 | 48000 | 0.048
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 15930 | 15947 | -17 | -1700 | -0.0017 | 22009 | 22234 | -225 | -22500 | -0.0225
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 629445 | 629816 | -371 | -27825 | -0.027825 | 979543 | 979401 | 142 | 10650 | 0.01065
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 979029 | 979225 | -196 | -14700 | -0.0147 | 17415 | 17889 | -474 | -35550 | -0.03555
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 900 | 998989 | 998994 | -5 | -4500 | -0.0045 | 999849 | 999851 | -2 | -1800 | -0.0018
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 995774 | 995812 | -38 | -3800 | -0.0038 | 265195 | 265336 | -141 | -14100 | -0.0141
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13790 | 13794 | -4 | 4000 | 0.004 | 996566 | 996590 | -24 | 24000 | 0.024
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2547 | 2580 | -33 | 66000 | 0.066 | 997207 | 997576 | -369 | 738000 | 0.738
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16022 | 16042 | -20 | 20000 | 0.02 | 996364 | 996529 | -165 | 165000 | 0.165
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977402 | 977392 | 10 | -10000 | -0.01 | 992346 | 991232 | 1114 | -1114000 | -1.114
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 87488 | 87357 | 131 | -131000 | -0.131 | 18975 | 18840 | 135 | -135000 | -0.135
[5 empty] | -1000 | [5 empty] | 999025 | 998980 | 45 | -45000 | -0.045
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 70081 | 69941 | 140 | -70000 | -0.07 | 35818 | 35061 | 757 | -378500 | -0.3785
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 16239 | 16183 | 56 | -112000 | -0.112 | 998481 | 998383 | 98 | -196000 | -0.196
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7982 | 8259 | -277 | 277000 | 0.277 | 814110 | 814898 | -788 | 788000 | 0.788
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 12974 | 12911 | 63 | -50400 | -0.0504 | 1136 | 1179 | -43 | 34400 | 0.0344
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 60184 | 60152 | 32 | -25600 | -0.0256 | 998227 | 998577 | -350 | 280000 | 0.28
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995556 | 995990 | -434 | 434000 | 0.434 | 961073 | 961231 | -158 | 158000 | 0.158
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 983207 | 984072 | -865 | 1730000 | 1.73 | 992282 | 992620 | -338 | 676000 | 0.676
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 939180 | 939589 | -409 | 818000 | 0.818 | 983832 | 983955 | -123 | 246000 | 0.246
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10188 | 10013 | 175 | -175000 | -0.175 | 997224 | 997322 | -98 | 98000 | 0.098
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4868 | 4866 | 2 | -2000 | -0.002 | 53 | 28 | 25 | -25000 | -0.025
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1287 | 1659 | -372 | 372000 | 0.372 | 21 | 29 | -8 | 8000 | 0.008
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 160716 | 160609 | 107 | -107000 | -0.107 | 14208 | 13923 | 285 | -285000 | -0.285
[5 empty] | -1000 | [5 empty] | 13696 | 13604 | 92 | -92000 | -0.092
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 2656 | 2656 | 0 | 0 | 0 | 36 | 36 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 267 | 179 | 88 | 70400 | 0.0704 | 547 | 429 | 118 | 94400 | 0.0944
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959834 | 960214 | -380 | 380000 | 0.38 | 965846 | 965997 | -151 | 151000 | 0.151
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984236 | 984524 | -288 | 288000 | 0.288 | 984081 | 984111 | -30 | 30000 | 0.03
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 50584 | 50188 | 396 | -396000 | -0.396 | 985552 | 985516 | 36 | -36000 | -0.036
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 17703 | 17662 | 41 | -32800 | -0.0328 | 999088 | 999123 | -35 | 28000 | 0.028
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 36122 | 36107 | 15 | -24000 | -0.024 | 999905 | 999922 | -17 | 27200 | 0.0272
[5 empty] | -1600 | 24752 | 24750 | 2 | -3200 | -0.0032
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996678 | 996617 | 61 | -122000 | -0.122 | 985049 | 985095 | -46 | 92000 | 0.092
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 5993 | 5990 | 3 | -1500 | -0.0015 | 991264 | 991880 | -616 | 308000 | 0.308
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21447 | 21463 | -16 | 16000 | 0.016 | 32450 | 32561 | -111 | 111000 | 0.111
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 164 | 128 | 36 | -36000 | -0.036 | 996083 | 996076 | 7 | -7000 | -0.007
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999910 | 999910 | 0 | 0 | 0 | 999196 | 999188 | 8 | -8000 | -0.008
BRPL(+) continue | [14 empty] | MAY-2020
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47273 | 47094 | 179 | -179000 | -0.179 | 999205 | 999174 | 31 | -31000 | -0.031
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8578 | 8761 | -183 | 183000 | 0.183 | 999121 | 999055 | 66 | -66000 | -0.066
42 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 948 | 913 | 35 | -35000 | -0.035 | 3 | 13 | -10 | 10000 | 0.01
MEHRAULI
2+ | Tx.1 | 4865046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22925 | 22911 | 14 | -14000 | -0.014 | 993278 | 993297 | -19 | 19000 | 0.019 | Check Meter Data
|  | 4864928 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2 | 0 | 2 | -2000 | -0.002 | 999995 | 1000000 | -5 | 5000 | 0.005 | w.e.f 29/5/20
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1162 | 1153 | 9 | -9000 | -0.009 | 925267 | 925478 | -211 | 211000 | 0.211
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37910 | 37839 | 71 | -71000 | -0.071 | 7619 | 7619 | 0 | 0 | 0
[5 empty] | -1000 | [5 empty] | 8033 | 8031 | 2 | -2000 | -0.002
46 | Tx.4 | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 112 | 22 | 90 | -180000 | -0.18 | 999871 | 999879 | -8 | 16000 | 0.016
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60256 | 57887 | 2369 | -2369000 | -2.369 | 997183 | 997183 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 30788 | 30591 | 197 | -394000 | -0.394 | 999381 | 999381 | 0 | 0 | 0
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8879 | 8850 | 29 | -58000 | -0.058 | 2487 | 2454 | 33 | -66000 | -0.066
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6957 | 6918 | 39 | -78000 | -0.078 | 1409 | 1368 | 41 | -82000 | -0.082
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919080 | 919398 | -318 | 318000 | 0.318 | 979169 | 979351 | -182 | 182000 | 0.182
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1376 | 1705 | -329 | 329000 | 0.329 | 994717 | 994887 | -170 | 170000 | 0.17
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1637 | 1942 | -305 | 305000 | 0.305 | 987388 | 987490 | -102 | 102000 | 0.102
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0 | Meter Faulty
[5 empty] | 800 |  |  |  |  | -0.072 |  |  |  |  | 0 | Ckt energised on 25/5
|  | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999976 | 1000000 | -24 | -96000 | -0.096 | 0 | 0 | 0 | 0 | 0 | w.e.f 28/5/20
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 981826 | 982277 | -451 | -360800 | -0.3608 | 587 | 578 | 9 | 7200 | 0.0072
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 950831 | 952093 | -1262 | -1009600 | -1.0096 | 999546 | 999568 | -22 | -17600 | -0.0176
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999550 | 999613 | -63 | -50400 | -0.0504 | 999821 | 999820 | 1 | 800 | 0.0008
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 996332 | 996321 | 11 | 8800 | 0.0088 | 26 | 22 | 4 | 3200 | 0.0032
PARK STREET
60 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 996310 | 996437 | -127 | -254000 | -0.254 | 999516 | 999533 | -17 | -34000 | -0.034
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 65058 | 65058 | 0 | 0 | 0 | 923 | 923 | 0 | 0 | 0
63 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11651 | 11118 | 533 | -533000 | -0.533 | 2778 | 1022 | 1756 | -1756000 | -1.756
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 114644 | 114438 | 206 | -206000 | -0.206 | 1469 | 1003 | 466 | -466000 | -0.466
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 15325 | 15301 | 24 | 2400 | 0.0024 | 120210 | 119617 | 593 | 59300 | 0.0593
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997424 | 997500 | -76 | -14250 | -0.01425 | 999954 | 999959 | -5 | -937.5 | -0.0009375
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 949862 | 949864 | -2 | -800 | -0.0008 | 996082 | 995627 | 455 | 182000 | 0.182
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 10607 | 10617 | -10 | -4000 | -0.004 | 72385 | 72029 | 356 | 142400 | 0.1424
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 921917 | 922313 | -396 | -316800 | -0.3168 | 998082 | 998143 | -61 | -48800 | -0.0488
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 445401 | 442133 | 3268 | 326800 | 0.3268 | 84822 | 84604 | 218 | 21800 | 0.0218
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4198 | 4177 | 21 | 21000 | 0.021 | 1883 | 1888 | -5 | -5000 | -0.005
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10809 | 10809 | 0 | 0 | 0 | 22055 | 21990 | 65 | 4875 | 0.004875
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5309 | 5309 | 0 | 0 | 0 | 14239 | 14017 | 222 | 22200 | 0.0222
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8822 | 8753 | 69 | 34500 | 0.0345 | 3144 | 3137 | 7 | 3500 | 0.0035
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999205 | 999227 | -22 | -22000 | -0.022 | 4054 | 4077 | -23 | -23000 | -0.023
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985839 | 986096 | -257 | -257000 | -0.257 | 1085 | 1108 | -23 | -23000 | -0.023
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6294 | 6369 | -75 | -75000 | -0.075 | 6540 | 6497 | 43 | 43000 | 0.043
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 3533 | 3860 | -327 | -52320 | -0.05232 | 999984 | 999804 | 180 | 28800 | 0.0288
79 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 3613 | 1614 | 1999 | 199900 | 0.1999 | 159 | 0 | 159 | 15900 | 0.0159
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4051 | 3958 | 93 | 93000 | 0.093 | 789 | 709 | 80 | 80000 | 0.08
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4615 | 4486 | 129 | 129000 | 0.129 | 6987 | 6910 | 77 | 77000 | 0.077
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 997143 | 997201 | -58 | -11600 | -0.0116 | 14464 | 14450 | 14 | 2800 | 0.0028
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993932 | 993987 | -55 | -10312.5 | -0.010313 | 5456 | 5511 | -55 | -10312.5 | -0.010313
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 992703 | 992767 | -64 | -12000 | -0.012 | 4034 | 4142 | -108 | -20250 | -0.02025
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3131 | 3057 | 74 | 18500 | 0.0185 | 7914 | 7791 | 123 | 30750 | 0.03075
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 995899 | 995817 | 82 | 8200 | 0.0082 | 28669 | 28346 | 323 | 32300 | 0.0323
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -1.6617 |  |  |  |  | 0.44686
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | MAY-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21830 | 21840 | -10 | 5000 | 0.005 | 4882 | 4889 | -7 | 3500 | 0.0035
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993880 | 993886 | -6 | 799.98 | 0.00079998 | 9893 | 10059 | -166 | 22132.78 | 0.022133
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1297 | 1300 | -3 | 3000 | 0.003 | 998561 | 998458 | 103 | -103000 | -0.103
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996459 | 996378 | 81 | -81000 | -0.081 | 2242 | 2241 | 1 | -1000 | -0.001
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9123 | 9120 | 3 | -480 | -0.00048 | 26227 | 26081 | 146 | -23360 | -0.02336
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3856 | 3857 | -1 | 200 | 0.0002 | 7683 | 7626 | 57 | -11400 | -0.0114
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983478 | 983713 | -235 | 235000 | 0.235 | 999246 | 999247 | -1 | 1000 | 0.001
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102335 | 102335 | 0 | 0 | 0 | 75578 | 75549 | 29 | -2900 | -0.0029
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 3996 | 3990 | 6 | -600 | -0.0006 | 1306 | 1180 | 126 | -12600 | -0.0126
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 16564 | 16813 | -249 | 24900 | 0.0249 | 70352 | 70283 | 69 | -6900 | -0.0069
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998665 | 998665 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 1249 | 1249 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999465 | 999465 | 0 | 0 | 0 | 999227 | 998791 | 436 | -43600 | -0.0436
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3022 | 2946 | 76 | -7600 | -0.0076 | 29550 | 29295 | 255 | -25500 | -0.0255
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 771 | 771 | 0 | 0 | 0 | 501 | 491 | 10 | -13330 | -0.01333
21 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3179 | 3179 | 0 | 0 | 0 | 1592 | 1592 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1871 | 1860 | 11 | -1100 | -0.0011 | 1546 | 1478 | 68 | -6800 | -0.0068
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999880 | 999880 | 0 | 0 | 0 | 999439 | 999439 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 12029 | 12037 | -8 | 6400 | 0.0064 | 5997 | 5995 | 2 | -1600 | -0.0016
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993029 | 993091 | -62 | 62000 | 0.062 | 2218 | 2349 | -131 | 131000 | 0.131
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1819 | 1817 | 2 | -1500 | -0.0015 | 3300 | 3295 | 5 | -3750 | -0.00375
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.24502 |  |  |  |  | -0.098107
MAY-2020
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -1.6617 |  |  |  |  | 0.44686
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.24502 |  |  |  |  | -0.098107
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.96176 |  |  |  |  | 0.028338
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.02925 |  |  |  |  | -0.28918
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -0.48414 |  |  |  |  | 0.087913
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.48414 | (REACTIVE MUs) |  |  |  | 0.087913 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -8.4264 | (REACTIVE MUs) |  |  |  | -0.096453 | (REACTIVE MUs)
[9 empty] | TOTAL | -8.9105 | (REACTIVE MUs) |  |  |  | -0.0085394 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | MAY-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2607 | 2470 | 137 | 36533.79 | 0.036534 | 2196 | 2151 | 45 | 12000.15 | 0.012
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 103992 | 103426 | 566 | 56600 | 0.0566 | 152389 | 152237 | 152 | 15200 | 0.0152
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 989256 | 989395 | -139 | -27800 | -0.0278 | 999322 | 999321 | 1 | 200 | 0.0002
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999974 | 999949 | 25 | 25000 | 0.025 | 1000016 | 999999 | 17 | 17000 | 0.017
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 1380 | 1334 | 46 | 36800 | 0.0368 | 2607 | 2564 | 43 | 34400 | 0.0344
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3338 | 3372 | -34 | -27200 | -0.0272 | 1312 | 1323 | -11 | -8800 | -0.0088
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 995295 | 995385 | -90 | -72000 | -0.072 | 998909 | 998980 | -71 | -56800 | -0.0568
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 961684 | 961875 | -191 | -152800 | -0.1528 | 980527 | 980821 | -294 | -235200 | -0.2352
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 965642 | 965896 | -254 | -203200 | -0.2032 | 989887 | 990020 | -133 | -106400 | -0.1064
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997826 | 997887 | -61 | -122000 | -0.122 | 999571 | 999589 | -18 | -36000 | -0.036
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 971750 | 971810 | -60 | -3000 | -0.003 | 19651 | 20022 | -371 | -18550 | -0.01855
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 975856 | 975965 | -109 | -8175 | -0.008175 | 22529 | 22750 | -221 | -16575 | -0.016575
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998860 | 998858 | 2 | 1000 | 0.001 | 5473 | 5494 | -21 | -10500 | -0.0105
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 997484 | 997491 | -7 | -2625 | -0.002625 | 7392 | 7488 | -96 | -36000 | -0.036
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 992506 | 992548 | -42 | -4200 | -0.0042 | 999438 | 1000093 | -655 | -65500 | -0.0655
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 11632 | 11600 | 32 | 2400 | 0.0024 | 40161 | 40102 | 59 | 4425 | 0.004425
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 11827 | 11945 | -118 | -11800 | -0.0118 | 1918 | 2105 | -187 | -18700 | -0.0187
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995577 | 995577 | 0 | 0 | 0 | 104598 | 104655 | -57 | -57000 | -0.057
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994304 | 994304 | 0 | 0 | 0 | 1903 | 2227 | -324 | -324000 | -0.324
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985062 | 985062 | 0 | 0 | 0 | 144622 | 144757 | -135 | -135000 | -0.135
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999205 | 999205 | 0 | 0 | 0 | 591 | 720 | -129 | -322500 | -0.3225
[10 empty] | 0 |  |  |  |  | -0.8385
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996459 | 996378 | 81 | 81000 | 0.081 | 2242 | 2241 | 1 | 1000 | 0.001
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9123 | 9120 | 3 | 480 | 0.00048 | 26227 | 26081 | 146 | 23360 | 0.02336
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3856 | 3857 | -1 | -200 | -0.0002 | 7683 | 7626 | 57 | 11400 | 0.0114
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983478 | 983713 | -235 | -235000 | -0.235 | 999246 | 999247 | -1 | -1000 | -0.001
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998665 | 998665 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
MAY-2020
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996327 | 996504 | -177 | 177000 | 0.177 | 990233 | 990250 | -17 | 17000 | 0.017
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997684 | 997887 | -203 | 203000 | 0.203 | 995982 | 995996 | -14 | 14000 | 0.014
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997519 | 997554 | -35 | 70000 | 0.07 | 996921 | 996928 | -7 | 14000 | 0.014
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999030 | 999101 | -71 | 71000 | 0.071 | 996215 | 996231 | -16 | 16000 | 0.016
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 1249 | 1249 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102335 | 102335 | 0 | 0 | 0 | 75578 | 75549 | 29 | 2900 | 0.0029
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 3996 | 3990 | 6 | 600 | 0.0006 | 1306 | 1180 | 126 | 12600 | 0.0126
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 16564 | 16813 | -249 | -24900 | -0.0249 | 70352 | 70283 | 69 | 6900 | 0.0069
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 500 | 21830 | 21840 | -10 | -5000 | -0.005 | 4882 | 4889 | -7 | -3500 | -0.0035
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 445401 | 442133 | 3268 | -326800 | -0.3268 | 84822 | 84604 | 218 | -21800 | -0.0218
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4198 | 4177 | 21 | -21000 | -0.021 | 1883 | 1888 | -5 | 5000 | 0.005
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10809 | 10809 | 0 | 0 | 0 | 22055 | 21990 | 65 | -4875 | -0.004875
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5309 | 5309 | 0 | 0 | 0 | 14239 | 14017 | 222 | -22200 | -0.0222
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.48629 |  |  |  |  | -1.2935
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -0.48629 |  |  |  |  | -1.2935
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.64335 |  |  |  |  | -0.0073641
| TOTAL ENERGY TO NDMC | [8 empty] | -1.1296 |  |  |  |  | -1.3009

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2020
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3654 | 3654 | 0 | 0 | 0 | 63573 | 63810 | -237 | -47400 | -0.0474
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 32 | 32 | 0 | 0 | 0 | 8883 | 7271 | 1612 | 257920 | 0.25792
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4510 | 4510 | 0 | 0 | 0 | 55880 | 55668 | 212 | 212000 | 0.212
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 165 | 165 | 0 | 0 | 0 | 17489 | 16692 | 797 | 318800 | 0.3188
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 12 | 12 | 0 | 0 | 0 | 290 | 425 | -135 | -108000 | -0.108
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1440 | 1440 | 0 | 0 | 0 | 4935 | 4681 | 254 | 101600 | 0.1016
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1297 | 1300 | -3 | -3000 | -0.003 | 998561 | 998458 | 103 | 103000 | 0.103
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.003 |  |  |  |  | 0.83792
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 67020 | 66909 | 111 | 11100 | 0.0111 | 102976 | 102488 | 488 | 48800 | 0.0488
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 3 | 3 | 0 | 0 | 0 | 72 | 72 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 998 | 756 | 242 | 18150 | 0.01815 | 24894 | 21717 | 3177 | 238275 | 0.23827
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 75 | 75 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 738 | 738 | 0 | 0 | 0 | 1706 | 1678 | 28 | 2100 | 0.0021
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4366 | 4366 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.02925 |  |  |  |  | 0.28918
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.003 |  |  |  |  | 0.83792
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.02625 |  |  |  |  | 1.1271
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.02625 | (REACTIVE MUs) |  |  |  | 1.1271 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.1365 | (REACTIVE MUs) |  |  |  | -0.0015624 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.11025 | (REACTIVE MUs) |  |  |  | 1.1255 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2020
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 989713 | 989719 | -6 | -3750 | -0.00375 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 990858 | 990895 | -37 | -23125 | -0.023125 | 999844 | 999844 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 12029 | 12037 | -8 | -6400 | -0.0064 | 5997 | 5995 | 2 | 1600 | 0.0016
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 15230 | 15220 | 10 | -10 | -1e-05 | 19670 | 15630 | 4040 | -4040 | -0.00404
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 5510 | 5080 | 430 | -430 | -0.00043 | 64710 | 57440 | 7270 | -7270 | -0.00727
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 30100 | 24500 | 5600 | -5600 | -0.0056 | 245600 | 198800 | 46800 | -46800 | -0.0468
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.039315 |  |  |  |  | -0.05651
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.036223 |  |  |  |  | -0.00041462
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.075538 |  |  |  |  | -0.056925

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2020
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 950325 | 951743 | -1418 | -141800 | -0.1418 | 2032 | 2031 | 1 | 100 | 0.0001
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 57055 | 57316 | -261 | -26100 | -0.0261 | 6224 | 6265 | -41 | -4100 | -0.0041
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16466 | 15491 | 975 | 487500 | 0.4875 | 3870 | 3871 | -1 | -500 | -0.0005
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998840 | 998529 | 311 | 291562.5 | 0.29156 | 104 | 87 | 17 | 15937.5 | 0.015938
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994020 | 994096 | -76 | 76000 | 0.076 | 999811 | 999825 | -14 | 14000 | 0.014
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 992599 | 993150 | -551 | 275500 | 0.2755 | 999843 | 999850 | -7 | 3500 | 0.0035
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 230 | 233 | -3 | -900 | -0.0009 | 17 | 19 | -2 | -600 | -0.0006
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.96176 |  |  |  |  | 0.028338
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 970683 | 971289 | -606 | -121200 | -0.1212 | 999777 | 999779 | -2 | -400 | -0.0004
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 987873 | 988106 | -233 | -218437.5 | -0.21844 | 999919 | 999928 | -9 | -8437.5 | -0.0084375
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.33964 |  |  |  |  | -0.0088375
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1843 | 1794 | 49 | 61250 | 0.06125 | 999935 | 999935 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 376354 | 375952 | 402 | 40200 | 0.0402 | 179853 | 179850 | 3 | 300 | 0.0003
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 334742 | 334353 | 389 | 24312.5 | 0.024313 | 104248 | 104243 | 5 | 312.5 | 0.0003125
[5 empty] | 62.5 | 333968 | 333281 | 687 | 42937.5 | 0.042938
[5 empty] | 62.5 | 328755 | 328228 | 527 | 32937.5 | 0.032938
[5 empty] | 62.5 | 327942 | 326868 | 1074 | 67125 | 0.067125
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 1485 | 1699 | -214 | -171200 | -0.1712 | 1723 | 1724 | -1 | -800 | -0.0008
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 954187 | 954812 | -625 | -62500 | -0.0625 | 999066 | 999094 | -28 | -2800 | -0.0028
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 990310 | 990329 | -19 | -2850 | -0.00285 | 990395 | 990471 | -76 | -11400 | -0.0114
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997271 | 997279 | -8 | 20000 | 0.02 | 3053 | 3054 | -1 | 2500 | 0.0025
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 230 | 233 | -3 | 900 | 0.0009 | 17 | 19 | -2 | 600 | 0.0006
| TOTAL NDPL | [8 empty] | 0.053112 |  |  |  |  | -0.011288
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.96176 |  |  |  |  | 0.028338
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.33964 |  |  |  |  | -0.0088375
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.053112 |  |  |  |  | -0.011288

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | MAY-2020
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 100802 | 100799 | 3 | 3000 | 0.003 | 25260 | 24578 | 682 | 682000 | 0.682
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 4686 | 4685 | 1 | 2000 | 0.002 | 1000359 | 999981 | 378 | 756000 | 0.756
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 938699 | 941830 | -3131 | 1565500 | 1.5655 | 998674 | 998674 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 581806 | 583268 | -1462 | 146200 | 0.1462 | 997077 | 997094 | -17 | 1700 | 0.0017
[7 empty] | NET REACTIVE ENERGY |  |  | 1.7167 |  | NET REACTIVE ENERGY |  |  | 1.4397
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 1.7167 |  |  |  |  | 1.4397
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -15.168 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -5.454 |  |  |  |  | -0.8176
[7 empty] | NDMC = |  |  | 0 |  |  |  |  | -0.8385
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -20.622 |  |  |  |  | -1.6561
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -18.9053 |  |  |  |  | -0.2164
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.7116 | % |  |  | -5.428 |  |  |  |  | -0.062132
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 44.5715 | % |  |  | -8.4264 |  |  |  |  | -0.096453
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.4004 | % |  |  | -4.2349 |  |  |  |  | -0.048474
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.403 | % |  |  | -0.64335 |  |  |  |  | -0.0073641
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.722 | % |  |  | -0.1365 |  |  |  |  | -0.0015624
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.1916 | % |  |  | -0.036223 |  |  |  |  | -0.00041462
Note :Sharing taken from wk-08 abt bill 2020-21

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st MAY-2020 TO 31st MAY-2020
FINAL EXECUTIVE SUMMERY
[5 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | -30.3661 |  | -0.54572
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | -8.9105 |  | -0.0085394
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | -11.7609 | + | 0.3089
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | -1.1296 |  | -1.3009
5 | NET REACTIVE ENERGY TO MES |  |  |  | -0.11025 | + | 1.1255
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | -0.075538 |  | -0.056925
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/05/2020 | INTIAL READING 01/05/2020 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83