## NDPL
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976929 | 978716 | -1787 | 1787000 | 1.787 | 999034 | 999034 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34838 | 34837 | 1 | -1000 | -0.001 | 1576 | 1111 | 465 | -465000 | -0.465
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 941066 | 942727 | -1661 | 1661000 | 1.661 | 995530 | 995530 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999290 | 999290 | 0 | 0 | 0 | 996116 | 996660 | -544 | 544000 | 0.544
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 879958 | 880660 | -702 | 702000 | 0.702 | 999454 | 999454 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25989 | 25973 | 16 | -16000 | -0.016 | 16448 | 16496 | -48 | 48000 | 0.048
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1678 | 1663 | 15 | -15000 | -0.015 | 998458 | 998508 | -50 | 50000 | 0.05
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999988 | 999987 | 1 | -1000 | -0.001 | 999530 | 999747 | -217 | 217000 | 0.217
[10 empty] | -0.153 |  |  |  |  | 0.03 | Assessment JULY 2018
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 973525 | 973508 | 17 | -8500 | -0.0085 | 847918 | 848405 | -487 | 243500 | 0.2435
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1319 | 1325 | -6 | 6000 | 0.006 | 998910 | 999038 | -128 | 128000 | 0.128
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14768 | 14644 | 124 | -124000 | -0.124 | 999172 | 999184 | -12 | 12000 | 0.012
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2386 | 2315 | 71 | -71000 | -0.071 | 997044 | 997089 | -45 | 45000 | 0.045
13 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 864941 | 865729 | -788 | -788000 | -0.788 | 999981 | 999981 | 0 | 0 | 0
14 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990277 | 992073 | -1796 | -1796000 | -1.796 | 999996 | 999996 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981237 | 981646 | -409 | 409000 | 0.409 | 16679 | 16679 | 0 | 0 | 0
15 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) |  | 999903 | 25 | 999878 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28863 | 28655 | 208 | -208000 | -0.208 | 264 | 264 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 999943 | 0 | 0 | 0 | 991059 | 992008 | -949 | -949000 | -0.949
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 680 | 680 | 0 | 0 | 0 | 22777 | 23283 | -506 | -506000 | -0.506
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1096 | 1096 | 0 | 0 | 0 | 7285 | 6675 | 610 | 305000 | 0.305
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 138691 | 138685 | 6 | 600 | 0.0006 | 309901 | 306211 | 3690 | 369000 | 0.369
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995831 | 995831 | 0 | 0 | 0 | 984674 | 984887 | -213 | -213000 | -0.213
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 24 | 24 | 0 | 0 | 0 | 998857 | 998552 | 305 | 305000 | 0.305
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 50840 | 50827 | 13 | 1300 | 0.0013 | 121218 | 120073 | 1145 | 114500 | 0.1145
KASHMIRI GATE
24 | 221 KV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999676 | 999682 | -6 | -6000 | -0.006 | 999816 | 999827 | -11 | -11000 | -0.011
25 | 221 KV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 585783 | 586554 | -771 | -771000 | -0.771 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999485 | 999992 | -507 | -135201.69 | -0.1352 | 999999 | 999999 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 7199 | 7193 | 6 | 3000 | 0.003 | 1746 | 1747 | -1 | -500 | -0.0005
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1257 | 1050 | 207 | -207000 | -0.207 | 996962 | 997013 | -51 | 51000 | 0.051
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 18308 | 17956 | 352 | -176000 | -0.176 | 14971 | 15017 | -46 | 23000 | 0.023
[5 empty] | -500 | 9364 | 8633 | 731 | -365500 | -0.3655
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21941 | 21731 | 210 | -210000 | -0.21 | 998532 | 998619 | -87 | 87000 | 0.087
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 23365 | 21878 | 1487 | -2974000 | -2.974 | 96 | 96 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40267 | 38968 | 1299 | -1299000 | -1.299 | 998777 | 998777 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 78953 | 76898 | 2055 | -2055000 | -2.055 | 2426 | 2426 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21967 | 21967 | 0 | 0 | 0 | 999270 | 999297 | -27 | 27000 | 0.027
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11764 | 11764 | 0 | 0 | 0 | 914 | 927 | -13 | 13000 | 0.013
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 969 | 973 | -4 | 4000 | 0.004 | 998710 | 998717 | -7 | 7000 | 0.007
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15377 | 14793 | 584 | -584000 | -0.584 | 1576 | 1576 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1903 | 1870 | 33 | 33000 | 0.033 | 28552 | 28542 | 10 | 10000 | 0.01
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 12607 | 12268 | 339 | 33900 | 0.0339 | 29913 | 29344 | 569 | 56900 | 0.0569
| NDPL(+) continue | [14 empty] | AUGUST-2018
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1272 | 1272 | 0 | 0 | 0 | 61277 | 61277 | 0 | 0 | 0
VISHAL
42 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 12016 | 12008 | 8 | 800 | 0.0008 | 78939 | 78800 | 139 | 13900 | 0.0139
44 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 1910 | 1868 | 42 | 4200 | 0.0042 | 25599 | 24113 | 1486 | 148600 | 0.1486
S.B.MILL
45 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 387 | 385 | 2 | 2666 | 0.002666 | 361 | 332 | 29 | 38657 | 0.038657
46 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 327 | 244 | 83 | 8300 | 0.0083 | 1252 | 1080 | 172 | 17200 | 0.0172
47 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
48 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
49 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 569 | 454 | 115 | 11500 | 0.0115 | 21402 | 20789 | 613 | 61300 | 0.0613
51 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1420 | 1420 | 0 | 0 | 0 | 5976 | 5196 | 780 | 129994.8 | 0.12999
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999832 | 999832 | 0 | 0 | 0 | 1083 | 1004 | 79 | 39500 | 0.0395
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1472 | 1399 | 73 | 48666.91 | 0.048667 | 151 | 150 | 1 | 666.67 | 0.00066667
55 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4459 | 4323 | 136 | 90666.6667 | 0.090667 | 1455 | 1454 | 1 | 666.6667 | 0.00066667
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997502 | 997502 | 0 | 0 | 0 | 3864 | 3913 | -49 | -4900 | -0.0049
57 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
58 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 5754 | 4830 | 924 | 92400 | 0.0924 | 10941 | 10907 | 34 | 3400 | 0.0034
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 3960 | 3775 | 185 | 18500 | 0.0185 | 355 | 354 | 1 | 100 | 0.0001
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 24264 | 22381 | 1883 | 188300 | 0.1883 | 6134 | 6116 | 18 | 1800 | 0.0018
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 27025 | 25129 | 1896 | 189600 | 0.1896 | 1823 | 1822 | 1 | 100 | 0.0001
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 25619 | 25572 | 47 | 4700 | 0.0047 | 51555 | 51550 | 5 | 500 | 0.0005
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 302 | 302 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995619 | 995619 | 0 | 0 | 0 | 85 | 85 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 996334 | 996334 | 0 | 0 | 0 | 999916 | 999929 | -13 | -10400 | -0.0104
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999995 | 999996 | -1 | -2000 | -0.002 | 1079 | 1083 | -4 | -8000 | -0.008
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 995796 | 995825 | -29 | -2900 | -0.0029 | 250 | 254 | -4 | -400 | -0.0004
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998593 | 998541 | 52 | 13000 | 0.013 | 255 | 215 | 40 | 10000 | 0.01
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2363 | 2157 | 206 | 206000 | 0.206 | 1742 | 1696 | 46 | 46000 | 0.046
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 146 | 144 | 2 | 1500 | 0.0015 | 2008 | 1406 | 602 | 451500 | 0.4515
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -6.4475 |  |  |  |  | 1.4816
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 10693 | 10693 | 0 | 0 | 0 | 101894 | 96221 | 5673 | -567300 | -0.5673
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 32 | 32 | 0 | 0 | 0 | 8549 | 7518 | 1031 | -824800 | -0.8248
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1268 | 1273 | -5 | 5000 | 0.005 | 597 | 581 | 16 | -16000 | -0.016
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 2737 | 2704 | 33 | -13200 | -0.0132 | 461 | 435 | 26 | -10400 | -0.0104
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999830 | 999831 | -1 | 187.5 | 0.0001875 | 999934 | 999935 | -1 | 187.5 | 0.0001875
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 973823 | 975111 | -1288 | 1030400 | 1.0304 | 998693 | 998712 | -19 | 15200 | 0.0152
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 998025 | 998511 | -486 | 303750 | 0.30375 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 999566 | 999489 | 77 | -48125 | -0.048125 | 999883 | 999877 | 6 | -3750 | -0.00375
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 999613 | 999614 | -1 | 200 | 0.0002 | 7344 | 4059 | 3285 | -657000 | -0.657
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999020 | 999027 | -7 | 1312.5 | 0.0013125 | 4396 | 4465 | -69 | 12937.5 | 0.012937
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999013 | 999015 | -2 | 375 | 0.000375 | 3258 | 2803 | 455 | -85312.5 | -0.085312
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 110 | 81 | 29 | -7250 | -0.00725 | 4824 | 4013 | 811 | -202750 | -0.20275
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 999900 | 999897 | 3 | -300 | -0.0003 | 13134 | 8918 | 4216 | -421600 | -0.4216
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.2724 |  |  |  |  | -2.7606
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -6.4475 |  |  |  |  | 1.4816
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.2724 |  |  |  |  | -2.7606
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.052563 |  |  |  |  | 0.009125
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -5.2277 |  |  |  |  | -1.2699
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -5.2277 | (REACTIVE MUs) |  |  |  | -1.2699 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.57562 | (REACTIVE MUs) |  |  |  | -1.1561 | (REACTIVE MUs)
[9 empty] | TOTAL | -4.6521 | (REACTIVE MUs) |  |  |  | -2.426 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | AUGUST-2018
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 11141 | 11150 | -9 | -900 | -0.0009 | 993306 | 993448 | -142 | -14200 | -0.0142
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 8285 | 8285 | 0 | 0 | 0 | 3903 | 3943 | -40 | -12000 | -0.012
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 29757 | 29781 | -24 | -1800 | -0.0018 | 339689 | 330128 | 9561 | 717075 | 0.71708
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 998258 | 998290 | -32 | -9600 | -0.0096 | 5951 | 5925 | 26 | 7800 | 0.0078
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1735 | 1735 | 0 | 0 | 0 | 3557 | 3477 | 80 | 106664 | 0.10666
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 36381 | 36416 | -35 | -3500 | -0.0035 | 155563 | 154191 | 1372 | 137200 | 0.1372
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 18016 | 18040 | -24 | -1800 | -0.0018 | 43980 | 44308 | -328 | -24600 | -0.0246
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986030 | 985971 | 59 | 59000 | 0.059 | 2292 | 2285 | 7 | 7000 | 0.007
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 3 | 3 | 0 | 0 | 0 | 563 | 406 | 157 | 78500 | 0.0785
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999507 | 999293 | 214 | 214000 | 0.214 | 1515 | 1508 | 7 | 7000 | 0.007
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992074 | 992120 | -46 | -46000 | -0.046 | 1472 | 1467 | 5 | 5000 | 0.005
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993398 | 993398 | 0 | 0 | 0 | 6146 | 5908 | 238 | 238000 | 0.238
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997239 | 997239 | 0 | 0 | 0 | 998523 | 998613 | -90 | -90000 | -0.09
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999997 | 1000000 | -3 | -3000 | -0.003 | 999977 | 1000000 | -23 | -23000 | -0.023
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 999064 | 999064 | 0 | 0 | 0 | 4946 | 4537 | 409 | 327200 | 0.3272
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999090 | 999058 | 32 | 32000 | 0.032 | 33449 | 33336 | 113 | 113000 | 0.113
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1993 | 2004 | -11 | -11000 | -0.011 | 9743 | 9744 | -1 | -1000 | -0.001
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3741 | 3527 | 214 | 214000 | 0.214 | 17367 | 17357 | 10 | 10000 | 0.01
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 980048 | 980963 | -915 | -1143750 | -1.1438 | 951761 | 951761 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 947381 | 951004 | -3623 | -3985300 | -3.9853
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 963301 | 963671 | -370 | -370000 | -0.37 | 7609 | 7609 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -1.5137 |  |  |  |  | -3.9853
22 | 100 MVA TX.-1 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995203 | 995411 | -208 | 208000 | 0.208 | 999979 | 999979 | 0 | 0 | 0
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992606 | 992972 | -366 | 366000 | 0.366 | 999906 | 999906 | 0 | 0 | 0
[5 empty] | -1000 | 993951 | 994396 | -445 | 445000 | 0.445
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 302 | 302 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999838 | 999838 | 0 | 0 | 0 | 8433 | 7289 | 1144 | 1144000 | 1.144
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34418 | 33134 | 1284 | -1284000 | -1.284 | 850 | 869 | -19 | 19000 | 0.019
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17933 | 17481 | 452 | -452000 | -0.452 | 999663 | 999748 | -85 | 85000 | 0.085
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989316 | 989332 | -16 | 16000 | 0.016 | 990793 | 990846 | -53 | 53000 | 0.053
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993808 | 993728 | 80 | -80000 | -0.08 | 998466 | 998605 | -139 | 139000 | 0.139
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997411 | 997554 | -143 | 143000 | 0.143 | 985897 | 985925 | -28 | 28000 | 0.028
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998013 | 998251 | -238 | 238000 | 0.238 | 289 | 293 | -4 | 4000 | 0.004
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999161 | 999531 | -370 | 740000 | 0.74 | 30 | 30 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1268 | 1273 | -5 | -5000 | -0.005 | 597 | 581 | 16 | 16000 | 0.016
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 2737 | 2704 | 33 | 13200 | 0.0132 | 461 | 435 | 26 | 10400 | 0.0104
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 32 | 33 | -1 | -133 | -0.000133 | 13870 | 13492 | 378 | 50274 | 0.050274
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983385 | 983534 | -149 | 149000 | 0.149 | 990186 | 990186 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996741 | 996864 | -123 | 123000 | 0.123 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.45228 |  |  |  |  | -0.84699
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.45228 |  |  |  |  | -0.84699
AUGUST-2018
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999600 | 999623 | -23 | 23000 | 0.023 | 998769 | 999249 | -480 | 480000 | 0.48
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999814 | 999814 | 0 | 0 | 0 | 998116 | 998970 | -854 | 854000 | 0.854
[5 empty] | -1000 | [5 empty] | 999277 | 999361 | -84 | 84000 | 0.084
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996216 | 996219 | -3 | 3000 | 0.003 | 995834 | 996552 | -718 | 718000 | 0.718
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 982356 | 982515 | -159 | 318000 | 0.318 | 971222 | 971418 | -196 | 392000 | 0.392
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1863 | 1672 | 191 | -191000 | -0.191 | 998812 | 998832 | -20 | 20000 | 0.02
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995266 | 995145 | 121 | -121000 | -0.121 | 997785 | 997943 | -158 | 158000 | 0.158
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3401 | 3065 | 336 | -336000 | -0.336 | 999511 | 999537 | -26 | 26000 | 0.026
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991981 | 991811 | 170 | -170000 | -0.17 | 937191 | 937259 | -68 | 68000 | 0.068
[5 empty] | -1000 | 983693 | 983628 | 65 | -65000 | -0.065
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960095 | 960065 | 30 | -30000 | -0.03 | 989486 | 989522 | -36 | 36000 | 0.036
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3064 | 3194 | -130 | 130000 | 0.13 | 989820 | 989926 | -106 | 106000 | 0.106
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959807 | 959747 | 60 | -60000 | -0.06 | 827891 | 828034 | -143 | 143000 | 0.143
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24212 | 24388 | -176 | 176000 | 0.176 | 33503 | 33630 | -127 | 127000 | 0.127
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10713 | 10273 | 440 | -440000 | -0.44 | 135 | 119 | 16 | -16000 | -0.016
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986728 | 987144 | -416 | 416000 | 0.416 | 919565 | 919578 | -13 | 13000 | 0.013
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.347 |  |  |  |  | 3.209
| (B) NET ENERGY TO EAST | [8 empty] | -0.347 |  |  |  |  | 3.209
AUGUST-2018
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 999485 | 999992 | -507 | 135201.69 | 0.1352 | 999999 | 999999 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 7199 | 7193 | 6 | -3000 | -0.003 | 1746 | 1747 | -1 | 500 | 0.0005
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3870 | 3881 | -11 | 2933.26 | 0.0029333 | 2201 | 2179 | 22 | -5866.52 | -0.0058665
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 79457 | 79480 | -23 | 2300 | 0.0023 | 149307 | 149288 | 19 | -1900 | -0.0019
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 999826 | 999891 | -65 | 13000 | 0.013 | 998986 | 999005 | -19 | 3800 | 0.0038
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 50491 | 50099 | 392 | -78400 | -0.0784 | 124435 | 124229 | 206 | -41200 | -0.0412
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 19464 | 19265 | 199 | -159200 | -0.1592 | 14499 | 14475 | 24 | -19200 | -0.0192
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 1009 | 665 | 344 | -275200 | -0.2752 | 680 | 643 | 37 | -29600 | -0.0296
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 969729 | 969950 | -221 | 176800 | 0.1768 | 985977 | 985996 | -19 | 15200 | 0.0152
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 973790 | 974351 | -561 | 448800 | 0.4488 | 986629 | 986715 | -86 | 68800 | 0.0688
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 982718 | 983047 | -329 | 263200 | 0.2632 | 992736 | 992839 | -103 | 82400 | 0.0824
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 973042 | 973361 | -319 | 255200 | 0.2552 | 994436 | 994449 | -13 | 10400 | 0.0104
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967264 | 967848 | -584 | 584000 | 0.584 | 31720 | 31729 | -9 | 9000 | 0.009
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1903 | 1870 | 33 | -33000 | -0.033 | 28552 | 28542 | 10 | -10000 | -0.01
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 12607 | 12268 | 339 | -33900 | -0.0339 | 29913 | 29344 | 569 | -56900 | -0.0569
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1272 | 1272 | 0 | 0 | 0 | 61277 | 61277 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1420 | 1420 | 0 | 0 | 0 | 5976 | 5196 | 780 | -129994.8 | -0.12999
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999832 | 999832 | 0 | 0 | 0 | 1083 | 1004 | 79 | -39500 | -0.0395
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1472 | 1399 | 73 | -48666.91 | -0.048667 | 151 | 150 | 1 | -666.67 | -0.00066667
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4459 | 4323 | 136 | -90666.6667 | -0.090667 | 1455 | 1454 | 1 | -666.6667 | -0.00066667
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 27025 | 25129 | 1896 | -189600 | -0.1896 | 1823 | 1822 | 1 | -100 | -0.0001
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 25619 | 25572 | 47 | -4700 | -0.0047 | 51555 | 51550 | 5 | -500 | -0.0005
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997502 | 997502 | 0 | 0 | 0 | 3864 | 3913 | -49 | 4900 | 0.0049
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 5754 | 4830 | 924 | -92400 | -0.0924 | 10941 | 10907 | 34 | -3400 | -0.0034
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 3960 | 3775 | 185 | -18500 | -0.0185 | 355 | 354 | 1 | -100 | -0.0001
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 24264 | 22381 | 1883 | -188300 | -0.1883 | 6134 | 6116 | 18 | -1800 | -0.0018
[10 empty] | 0.6659 |  |  |  |  | -0.14639
AUGUST-2018
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.45228 |  |  |  |  | -0.84699
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.6659 |  |  |  |  | -0.14639
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.081338 |  |  |  |  | -0.00225
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 0.13228 |  |  |  |  | -0.99563
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.347 |  |  |  |  | 3.209
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -0.21472 |  |  |  |  | 2.2134
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.21472 | (REACTIVE MUs) |  |  |  | 2.2134 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.45399 | (REACTIVE MUs) |  |  |  | -0.91183 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.23927 | (REACTIVE MUs) |  |  |  | 1.3015 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | AUGUST-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999510 | 999510 | 0 | 0 | 0 | 998912 | 998915 | -3 | -15000 | -0.015
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984582 | 984581 | 1 | 1333.33 | 0.0013333 | 670307 | 670248 | 59 | 78666.47 | 0.078666
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 998327 | 998328 | -1 | -200 | -0.0002 | 1002340 | 999992 | 2348 | 469600 | 0.4696
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 17 | 18 | -1 | -1333.33 | -0.0013333 | 999599 | 999464 | 135 | 179999.55 | 0.18
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18853 | 18853 | 0 | 0 | 0 | 22637 | 22535 | 102 | 10200 | 0.0102
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 719936 | 720119 | -183 | -13725 | -0.013725 | 980917 | 980491 | 426 | 31950 | 0.03195
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 999354 | 999353 | 1 | 75 | 7.5e-05 | 17538 | 12650 | 4888 | 366600 | 0.3666
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997487 | 997487 | 0 | 0 | 0 | 995113 | 994818 | 295 | 265500 | 0.2655
10 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3358 | 3358 | 0 | 0 | 0 | 265638 | 265638 | 0 | 0 | 0
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988926 | 988926 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3763 | 3677 | 86 | -86000 | -0.086 | 997231 | 997429 | -198 | 198000 | 0.198
12 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 168 | 143 | 25 | -50000 | -0.05 | 998806 | 999269 | -463 | 926000 | 0.926
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10628 | 10612 | 16 | -16000 | -0.016 | 998313 | 998548 | -235 | 235000 | 0.235
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967945 | 967943 | 2 | -2000 | -0.002 | 993705 | 993876 | -171 | 171000 | 0.171
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31582 | 31582 | 0 | 0 | 0 | 996928 | 996936 | -8 | 8000 | 0.008
16 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 19336 | 19336 | 0 | 0 | 0 | 18658 | 14084 | 4574 | -2287000 | -2.287
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7788 | 7788 | 0 | 0 | 0 | 998138 | 998976 | -838 | 1676000 | 1.676
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996415 | 996415 | 0 | 0 | 0 | 850319 | 851226 | -907 | 907000 | 0.907
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 32 | 26 | 6 | -4800 | -0.0048 | 998583 | 999145 | -562 | 449600 | 0.4496
NAJAFGARH
21 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3047 | 2994 | 53 | -53000 | -0.053 | 980650 | 981073 | -423 | 423000 | 0.423
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 220 | 85 | 135 | -135000 | -0.135 | 996354 | 997656 | -1302 | 1302000 | 1.302
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982738 | 982724 | 14 | -14000 | -0.014 | 987524 | 988258 | -734 | 734000 | 0.734
24 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 304 | 265 | 39 | -39000 | -0.039 | 998815 | 998776 | 39 | -39000 | -0.039
R.K.PURAM
25 | 33KV I/C-1 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 33KV I/C-2 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21986 | 21387 | 599 | -599000 | -0.599 | 999999 | 999998 | 1 | -1000 | -0.001
[5 empty] | -1000 | 3113 | 1322 | 1791 | -1791000 | -1.791
28 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 32 | 32 | 0 | 0 | 0 | 8549 | 7518 | 1031 | 824800 | 0.8248
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978250 | 978250 | 0 | 0 | 0 | 970295 | 972761 | -2466 | 2466000 | 2.466
31 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
32 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980156 | 980156 | 0 | 0 | 0 | 995206 | 994862 | 344 | -344000 | -0.344
TUGLAKABAD
33 | 66KV I/C-1 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 30/8/18
34 | 66KV I/C-2 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 30/8/18
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996356 | 996333 | 23 | -23000 | -0.023 | 985225 | 986096 | -871 | 871000 | 0.871
36 | Tx.2 (66 KV)-circuit no. 2 | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994269 | 994258 | 11 | -11000 | -0.011 | 922734 | 924067 | -1333 | 1333000 | 1.333
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10430 | 9567 | 863 | -863000 | -0.863 | 33167 | 33207 | -40 | 40000 | 0.04
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997811 | 997803 | 8 | -8000 | -0.008 | 996219 | 996272 | -53 | 53000 | 0.053
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999716 | 999712 | 4 | -4000 | -0.004 | 999755 | 999997 | -242 | 242000 | 0.242
BRPL(+) continue | [14 empty] | AUGUST-2018
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10347 | 9334 | 1013 | -1013000 | -1.013 | 999892 | 1000042 | -150 | 150000 | 0.15
41 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 16035 | 15174 | 861 | -430500 | -0.4305 | 997956 | 999165 | -1209 | 604500 | 0.6045
| Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
42 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2392 | 2374 | 18 | -18000 | -0.018 | 999359 | 999745 | -386 | 386000 | 0.386
43 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994346 | 994354 | -8 | 8000 | 0.008 | 926377 | 927129 | -752 | 752000 | 0.752
44 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2564 | 2282 | 282 | -282000 | -0.282 | 9778 | 10163 | -385 | 385000 | 0.385
45 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1692 | 1694 | -2 | 4000 | 0.004 | 996635 | 997151 | -516 | 1032000 | 1.032
RIDGE VALLEY
46 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1698 | 1679 | 19 | -19000 | -0.019 | 997876 | 998207 | -331 | 331000 | 0.331
47 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8022 | 8000 | 22 | -44000 | -0.044 | 999440 | 999469 | -29 | 58000 | 0.058
DIAL
48 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6558 | 6558 | 0 | 0 | 0 | 2311 | 2314 | -3 | 6000 | 0.006
49 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3352 | 3351 | 1 | -2000 | -0.002 | 1277 | 1285 | -8 | 16000 | 0.016
50 | MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917438 | 917438 | 0 | 0 | 0 | 981356 | 981206 | 150 | -150000 | -0.15
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8 | 8 | 0 | 0 | 0 | 996821 | 996709 | 112 | -112000 | -0.112
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 468 | 468 | 0 | 0 | 0 | 991581 | 994712 | -3131 | 3131000 | 3.131
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 996782 | 996782 | 0 | 0 | 0 | 414 | 313 | 101 | 80800 | 0.0808
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 982352 | 982352 | 0 | 0 | 0 | 999839 | 999857 | -18 | -14400 | -0.0144
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1451 | 1451 | 0 | 0 | 0 | 999817 | 999803 | 14 | 11200 | 0.0112
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 234 | 235 | -1 | -800 | -0.0008 | 999991 | 999984 | 7 | 5600 | 0.0056
PARK STREET
60 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 967264 | 967848 | -584 | -584000 | -0.584 | 31720 | 31729 | -9 | -9000 | -0.009
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1499 | 849 | 650 | -650000 | -0.65 | 684 | 683 | 1 | -1000 | -0.001
63 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16941 | 16745 | 196 | -196000 | -0.196 | 168 | 167 | 1 | -1000 | -0.001
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 49090 | 49031 | 59 | -59000 | -0.059 | 503 | 505 | -2 | 2000 | 0.002
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 10693 | 10693 | 0 | 0 | 0 | 101894 | 96221 | 5673 | 567300 | 0.5673
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999830 | 999831 | -1 | -187.5 | -0.0001875 | 999934 | 999935 | -1 | -187.5 | -0.0001875
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 8114 | 8112 | 2 | 800 | 0.0008 | 993838 | 995976 | -2138 | -855200 | -0.8552
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 996455 | 996445 | 10 | 4000 | 0.004 | 70236 | 70227 | 9 | 3600 | 0.0036
[5 empty] | 400 | [5 empty] | 43363 | 43171 | 192 | 76800 | 0.0768
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 973823 | 975111 | -1288 | -1030400 | -1.0304 | 998693 | 998712 | -19 | -15200 | -0.0152
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 344184 | 344184 | 0 | 0 | 0 | 998990 | 991200 | 7790 | 779000 | 0.779
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4640 | 4640 | 0 | 0 | 0 | 1444 | 889 | 555 | 555000 | 0.555
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10275 | 10275 | 0 | 0 | 0 | 17012 | 16483 | 529 | 39675 | 0.039675
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 4868 | 4868 | 0 | 0 | 0 | 9309 | 8514 | 795 | 79500 | 0.0795
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 5099 | 4513 | 586 | 293000 | 0.293 | 2822 | 2822 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3478 | 3374 | 104 | 104000 | 0.104 | 4095 | 4093 | 2 | 2000 | 0.002
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995103 | 995169 | -66 | -66000 | -0.066 | 1160 | 1159 | 1 | 1000 | 0.001
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3947 | 3916 | 31 | 31000 | 0.031 | 6516 | 6504 | 12 | 12000 | 0.012
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 452 | 87 | 365 | 58400 | 0.0584 | 999701 | 999667 | 34 | 5440 | 0.00544
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 167725 | 166491 | 1234 | 123400 | 0.1234 | 45852 | 45849 | 3 | 300 | 0.0003
[5 empty] | 100 | 50804 | 50288 | 516 | 51600 | 0.0516
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 202 | 129 | 73 | 73000 | 0.073 | 337 | 319 | 18 | 18000 | 0.018
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2557 | 2505 | 52 | 52000 | 0.052 | 6439 | 6416 | 23 | 23000 | 0.023
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 999613 | 999614 | -1 | -200 | -0.0002 | 7344 | 4059 | 3285 | 657000 | 0.657
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999020 | 999027 | -7 | -1312.5 | -0.0013125 | 4396 | 4465 | -69 | -12937.5 | -0.012937
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999013 | 999015 | -2 | -375 | -0.000375 | 3258 | 2803 | 455 | 85312.5 | 0.085312
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 110 | 81 | 29 | 7250 | 0.00725 | 4824 | 4013 | 811 | 202750 | 0.20275
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 999900 | 999897 | 3 | 300 | 0.0003 | 13134 | 8918 | 4216 | 421600 | 0.4216
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -7.2987 |  |  |  |  | 20.8854
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -300 | 5565 | 3106 | 2459 | -737700 | -0.7377 | 276 | 276 | 0 | 0 | 0 | w.e.f 31/05/18
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 32 | 33 | -1 | 133.33 | 0.00013333 | 13870 | 13492 | 378 | -50398.74 | -0.050399
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 997570 | 997572 | -2 | 400 | 0.0004 | 3585 | 3748 | -163 | 32600 | 0.0326
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1021 | 1022 | -1 | 1000 | 0.001 | 998670 | 999002 | -332 | 332000 | 0.332
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999097 | 999085 | 12 | -12000 | -0.012 | 1831 | 1544 | 287 | -287000 | -0.287
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 5605 | 5605 | 0 | 0 | 0 | 10455 | 9247 | 1208 | -193280 | -0.19328
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 427 | 426 | 1 | -200 | -0.0002 | 2345 | 1453 | 892 | -178400 | -0.1784
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994187 | 994189 | -2 | 2000 | 0.002 | 999645 | 999693 | -48 | 48000 | 0.048
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 97770 | 97208 | 562 | -56200 | -0.0562 | 74098 | 74079 | 19 | -1900 | -0.0019
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 107471 | 106654 | 817 | -81700 | -0.0817 | 77493 | 77445 | 48 | -4800 | -0.0048
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 28118 | 28118 | 0 | 0 | 0 | 59172 | 52068 | 7104 | -710400 | -0.7104
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 435982 | 435981 | 1 | -100 | -0.0001 | 46864 | 47005 | -141 | 14100 | 0.0141
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 12016 | 12008 | 8 | -800 | -0.0008 | 78939 | 78800 | 139 | -13900 | -0.0139
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 1910 | 1868 | 42 | -4200 | -0.0042 | 25599 | 24113 | 1486 | -148600 | -0.1486
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 387 | 385 | 2 | -2666 | -0.002666 | 361 | 332 | 29 | -38657 | -0.038657
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 327 | 244 | 83 | -8300 | -0.0083 | 1252 | 1080 | 172 | -17200 | -0.0172
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 569 | 454 | 115 | -11500 | -0.0115 | 21402 | 20789 | 613 | -61300 | -0.0613
27 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
28 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995619 | 995619 | 0 | 0 | 0 | 85 | 85 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 999736 | 999739 | -3 | 1200 | 0.0012 | 999807 | 999480 | 327 | -130800 | -0.1308
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2363 | 2157 | 206 | -206000 | -0.206 | 1742 | 1696 | 46 | -46000 | -0.046
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 146 | 144 | 2 | -1500 | -0.0015 | 2008 | 1406 | 602 | -451500 | -0.4515
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.1181 |  |  |  |  | -1.9074
AUGUST-2018
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -7.2987 |  |  |  |  | 20.8854
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.1181 |  |  |  |  | -1.9074
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.0061875 |  |  |  |  | 0.15494
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0181 |  |  |  |  | -0.20705
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -8.4287 |  |  |  |  | 18.9258
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -8.4287 | (REACTIVE MUs) |  |  |  | 18.9258 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.85492 | (REACTIVE MUs) |  |  |  | -1.7171 | (REACTIVE MUs)
[9 empty] | TOTAL | -7.5738 | (REACTIVE MUs) |  |  |  | 17.2087 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3870 | 3881 | -11 | -2933.37 | -0.0029334 | 2201 | 2179 | 22 | 5866.74 | 0.0058667
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 79457 | 79480 | -23 | -2300 | -0.0023 | 149307 | 149288 | 19 | 1900 | 0.0019
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 999826 | 999891 | -65 | -13000 | -0.013 | 998986 | 999005 | -19 | -3800 | -0.0038
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 50491 | 50099 | 392 | 78400 | 0.0784 | 124435 | 124229 | 206 | 41200 | 0.0412
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 19464 | 19265 | 199 | 159200 | 0.1592 | 14499 | 14475 | 24 | 19200 | 0.0192
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 1009 | 665 | 344 | 275200 | 0.2752 | 680 | 643 | 37 | 29600 | 0.0296
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 969729 | 969950 | -221 | -176800 | -0.1768 | 985977 | 985996 | -19 | -15200 | -0.0152
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 973790 | 974351 | -561 | -448800 | -0.4488 | 986629 | 986715 | -86 | -68800 | -0.0688
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 982718 | 983047 | -329 | -263200 | -0.2632 | 992736 | 992839 | -103 | -82400 | -0.0824
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 973042 | 973361 | -319 | -255200 | -0.2552 | 994436 | 994449 | -13 | -10400 | -0.0104
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 997433 | 997433 | 0 | 0 | 0 | 19155 | 17858 | 1297 | 64850 | 0.06485
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 989266 | 989276 | -10 | -750 | -0.00075 | 22748 | 22441 | 307 | 23025 | 0.023025
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 162 | 162 | 0 | 0 | 0 | 5122 | 4565 | 557 | 278500 | 0.2785
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999237 | 999237 | 0 | 0 | 0 | 7542 | 6920 | 622 | 233250 | 0.23325
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 988057 | 988058 | -1 | -100 | -0.0001 | 339964 | 339046 | 918 | 91800 | 0.0918
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 454 | 453 | 1 | 75 | 7.5e-05 | 35204 | 32208 | 2996 | 224700 | 0.2247
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 153 | 140 | 13 | 1300 | 0.0013 | 1122 | 465 | 657 | 65700 | 0.0657
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998019 | 997863 | 156 | 156000 | 0.156 | 102116 | 102116 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999688 | 999838 | -150 | -150000 | -0.15 | 17 | 17 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989971 | 990367 | -396 | -396000 | -0.396 | 143923 | 143923 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5913 | 5998 | -85 | -85000 | -0.085 | 59497 | 59497 | 0 | 0 | 0
[10 empty] | -0.475 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999097 | 999085 | 12 | 12000 | 0.012 | 1831 | 1544 | 287 | 287000 | 0.287
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 5605 | 5605 | 0 | 0 | 0 | 10455 | 9247 | 1208 | 193280 | 0.19328
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 427 | 426 | 1 | 200 | 0.0002 | 2345 | 1453 | 892 | 178400 | 0.1784
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994187 | 994189 | -2 | -2000 | -0.002 | 999645 | 999693 | -48 | -48000 | -0.048
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
AUGUST-2018
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999923 | 999923 | 0 | 0 | 0 | 995062 | 996510 | -1448 | 1448000 | 1.448
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 961634 | 961634 | 0 | 0 | 0 | 988065 | 991027 | -2962 | 1481000 | 1.481
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998705 | 998814 | -109 | 218000 | 0.218 | 998656 | 998659 | -3 | 6000 | 0.006
33 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988618 | 988865 | -247 | 247000 | 0.247 | 997199 | 997205 | -6 | 6000 | 0.006
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 435982 | 435981 | 1 | 100 | 0.0001 | 46864 | 47005 | -141 | -14100 | -0.0141
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 97770 | 97208 | 562 | 56200 | 0.0562 | 74098 | 74079 | 19 | 1900 | 0.0019
37 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 107471 | 106654 | 817 | 81700 | 0.0817 | 77493 | 77445 | 48 | 4800 | 0.0048
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 28118 | 28118 | 0 | 0 | 0 | 59172 | 52068 | 7104 | 710400 | 0.7104
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 5565 | 3106 | 2459 | 245900 | 0.2459 | 276 | 276 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 344184 | 344184 | 0 | 0 | 0 | 998990 | 991200 | 7790 | -779000 | -0.779
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4640 | 4640 | 0 | 0 | 0 | 1444 | 889 | 555 | -555000 | -0.555
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10275 | 10275 | 0 | 0 | 0 | 17012 | 16483 | 529 | -39675 | -0.039675
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 4868 | 4868 | 0 | 0 | 0 | 9309 | 8514 | 795 | -79500 | -0.0795
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.26481 |  |  |  |  | 3.7005
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -0.26481 |  |  |  |  | 3.7005
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.082612 |  |  |  |  | -0.16592
| TOTAL ENERGY TO NDMC | [8 empty] | -0.1822 |  |  |  |  | 3.5346

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2018
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3392 | 3392 | 0 | 0 | 0 | 29682 | 26889 | 2793 | 558600 | 0.5586
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42414 | 42414 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4249 | 4249 | 0 | 0 | 0 | 52484 | 52505 | -21 | -21000 | -0.021
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 151 | 151 | 0 | 0 | 0 | 12034 | 10236 | 1798 | 719200 | 0.7192
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 320 | 19 | 301 | 240800 | 0.2408
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1022 | 1022 | 0 | 0 | 0 | 999474 | 999474 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 997570 | 997572 | -2 | -400 | -0.0004 | 3585 | 3748 | -163 | -32600 | -0.0326
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1021 | 1022 | -1 | -1000 | -0.001 | 998670 | 999002 | -332 | -332000 | -0.332
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0014 |  |  |  |  | 1.133
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 61098 | 60927 | 171 | 17100 | 0.0171 | 95540 | 94750 | 790 | 79000 | 0.079
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78238 | 78238 | 0 | 0 | 0 | 18220 | 18202 | 18 | 1800 | 0.0018
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 65912 | 65902 | 10 | 1000 | 0.001 | 121503 | 120437 | 1066 | 106600 | 0.1066
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 632 | 632 | 0 | 0 | 0 | 1578 | 1320 | 258 | 19350 | 0.01935
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10282 | 10282 | 0 | 0 | 0 | 4260 | 4257 | 3 | 300 | 0.0003
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.0181 |  |  |  |  | 0.20705
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0181 |  |  |  |  | 0.20705
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0014 |  |  |  |  | 1.133
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0167 |  |  |  |  | 1.34
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0167 | (REACTIVE MUs) |  |  |  | 1.34 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.013527 | (REACTIVE MUs) |  |  |  | -0.027168 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.030227 | (REACTIVE MUs) |  |  |  | 1.3129 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2018
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 998025 | 998511 | -486 | -303750 | -0.30375 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 999566 | 999489 | 77 | 48125 | 0.048125 | 999883 | 999877 | 6 | 3750 | 0.00375
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 999736 | 999739 | -3 | -1200 | -0.0012 | 999807 | 999480 | 327 | 130800 | 0.1308
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.25682 |  |  |  |  | 0.13455

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2018
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 977622 | 977937 | -315 | -31500 | -0.0315 | 1979 | 1892 | 87 | 8700 | 0.0087
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 72885 | 72010 | 875 | 87500 | 0.0875 | 5736 | 5413 | 323 | 32300 | 0.0323
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 11635 | 11448 | 187 | 93500 | 0.0935 | 2715 | 2445 | 270 | 135000 | 0.135
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999826 | 999877 | -51 | -47812.5 | -0.047813 | 107 | 114 | -7 | -6562.5 | -0.0065625
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | 500 | 999412 | 999620 | -208 | -104000 | -0.104 | 999845 | 999871 | -26 | -13000 | -0.013
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 978518 | 978535 | -17 | 8500 | 0.0085 | 976367 | 976364 | 3 | -1500 | -0.0015
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 36 | 36 | 0 | 0 | 0 | 999921 | 999921 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.0061875 |  |  |  |  | 0.15494
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 986910 | 986937 | -27 | -5400 | -0.0054 | 999947 | 999827 | 120 | 24000 | 0.024
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998101 | 998182 | -81 | -75937.5 | -0.075938 | 999936 | 999964 | -28 | -26250 | -0.02625
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.081338 |  |  |  |  | -0.00225
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 938 | 937 | 1 | 1250 | 0.00125 | 78 | 64 | 14 | 17500 | 0.0175
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 326450 | 326718 | -268 | -26800 | -0.0268 | 999210 | 997936 | 1274 | 127400 | 0.1274
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 254545 | 255198 | -653 | -40812.5 | -0.040813 | 93645 | 93828 | -183 | -11437.5 | -0.011437
[5 empty] | 62.5 | [5 empty] | 990404 | 990007 | 397 | 24812.5 | 0.024813
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2578 | 2589 | -11 | -8800 | -0.0088 | 1935 | 1878 | 57 | 45600 | 0.0456
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 976993 | 977167 | -174 | -17400 | -0.0174 | 999183 | 999242 | -59 | -5900 | -0.0059
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 178 | 178 | 0 | 0 | 0 | 986885 | 988194 | -1309 | -196350 | -0.19635
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998233 | 998249 | -16 | 40000 | 0.04 | 3063 | 3066 | -3 | 7500 | 0.0075
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 36 | 36 | 0 | 0 | 0 | 999921 | 999921 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.052563 |  |  |  |  | 0.009125
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.0061875 |  |  |  |  | 0.15494
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.081338 |  |  |  |  | -0.00225
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.052563 |  |  |  |  | 0.009125

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2018
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 38126 | 36063 | 2063 | 2063000 | 2.063 | 999989 | 999989 | 0 | 0 | 0
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 14842 | 14460 | 382 | 1910000 | 1.91 | 78 | 78 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 3.973 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 3.973 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.5137 |  |  |  |  | -3.9853
[7 empty] | NDMC = |  |  | -0.475 |  |  |  |  | 0
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -1.9888 |  |  |  |  | -3.9853
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.9842 |  |  |  |  | -3.9853
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.0095 | % |  |  | 0.57562 |  |  |  |  | -1.1561
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 43.0854 | % |  |  | 0.85492 |  |  |  |  | -1.7171
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.8798 | % |  |  | 0.45399 |  |  |  |  | -0.91183
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.1634 | % |  |  | 0.082612 |  |  |  |  | -0.16592
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6817 | % |  |  | 0.013527 |  |  |  |  | -0.027168
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.1802 | % |  |  | 0.0035756 |  |  |  |  | -0.0071815
Note :Sharing taken from wk-21 abt bill 2018-19

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st AUGUST-2018 TO 31st AUGUST-2018
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -4.6521 |  | -2.426
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -7.5738 | + | 17.2087
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 0.23927 | + | 1.3015
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -0.1822 | + | 3.5346
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.030227 | + | 1.3129
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.25682 | + | 0.13455
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2018 | INTIAL READING 01/08/2018 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 17064 | 15665 | 1399 | 1049250 | 1.0493 | 999899 | 999900 | -1 | -750 | -0.00075
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | 6501 | 5774 | 727 | 1090500 | 1.0905 | 33 | 33 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 844467 | 845063 | -596 | -447000 | -0.447 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 1.6928 |  |  | NET REACTIVE ENERGY |  | -0.00075
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1185 | 1185 | 0 | 0 | 0 | 12832 | 12701 | 131 | 655000 | 0.655
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 902711 | 907778 | -5067 | -5067000 | -5.067
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 973639 | 973649 | -10 | -10000 | -0.01 | 999385 | 1000048 | -663 | -663000 | -0.663
[8 empty] | NET REACTIVE ENERGY |  | -0.01 |  |  | NET REACTIVE ENERGY |  | -5.075