## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JULY-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40 | 2 | 38 | -38000 | -0.038 | 999385 | 999573 | -188 | 188000 | 0.188
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 93054 | 92493 | 561 | -1122000 | -1.122 | 5070 | 5040 | 30 | -60000 | -0.06
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14661 | 14708 | -47 | 47000 | 0.047 | 999876 | 999903 | -27 | 27000 | 0.027
4 | Tx.4 | 5295184 | ELSTER | Kvarh(Lead/Lag) | -1000 | 68430 | 68428 | 2 | -2000 | -0.002 | 111987 | 112003 | -16 | 16000 | 0.016
SUBZI MANDI
5 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999578 | 999577 | 1 | -1000 | -0.001 | 985352 | 985859 | -507 | 507000 | 0.507
6 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917734 | 917735 | -1 | 1000 | 0.001 | 31879 | 31289 | 590 | -590000 | -0.59
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21322 | 21241 | 81 | -81000 | -0.081 | 999678 | 999731 | -53 | 53000 | 0.053
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31633 | 31573 | 60 | -60000 | -0.06 | 997799 | 997863 | -64 | 64000 | 0.064
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21369 | 21338 | 31 | -31000 | -0.031 | 996592 | 996784 | -192 | 192000 | 0.192
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 77 | 237 | -160 | 80000 | 0.08 | 813342 | 813838 | -496 | 248000 | 0.248
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4143 | 4206 | -63 | 63000 | 0.063 | 998376 | 998337 | 39 | -39000 | -0.039
12 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16815 | 16620 | 195 | -195000 | -0.195 | 999433 | 999490 | -57 | 57000 | 0.057
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54485 | 54618 | -133 | 133000 | 0.133 | 996496 | 996539 | -43 | 43000 | 0.043
14 | Tx.-4 | 40001535 | Secure | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
[10 empty] | 0.0045 |  |  |  |  | 0.006 | Asssessment Last month(3days)
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 720685 | 722680 | -1995 | -1995000 | -1.995 | 999745 | 999747 | -2 | -2000 | -0.002
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 785384 | 786427 | -1043 | -521500 | -0.5215 | 999990 | 999991 | -1 | -500 | -0.0005
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14960 | 14960 | 0 | 0 | 0 | 998435 | 998650 | -215 | 215000 | 0.215
18 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 77347 | 77342 | 5 | -2500 | -0.0025 | 88 | 132 | -44 | 22000 | 0.022
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60431 | 60426 | 5 | -5000 | -0.005 | 999038 | 999004 | 34 | -34000 | -0.034
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998646 | 998646 | 0 | 0 | 0 | 987136 | 987713 | -577 | -577000 | -0.577
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999593 | 999593 | 0 | 0 | 0 | 999693 | 999696 | -3 | -12000 | -0.012
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1993 | 1993 | 0 | 0 | 0 | 16218 | 15982 | 236 | 118000 | 0.118
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 91190 | 91190 | 0 | 0 | 0 | 259522 | 259450 | 72 | 3600 | 0.0036
[5 empty] | 50 | [5 empty] | 252598 | 249879 | 2719 | 135950 | 0.13595
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998589 | 998589 | 0 | 0 | 0 | 994591 | 994893 | -302 | -302000 | -0.302
25 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999159 | 999159 | 0 | 0 | 0 | 996824 | 996991 | -167 | -167000 | -0.167
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8 | 0 | 8 | 8000 | 0.008 | 999987 | 999982 | 5 | 5000 | 0.005
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986512 | 986555 | -43 | -43000 | -0.043 | 997932 | 997975 | -43 | -43000 | -0.043
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 902978 | 903002 | -24 | -12000 | -0.012 | 999361 | 999398 | -37 | -18500 | -0.0185
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 993225 | 993190 | 35 | 9333.45 | 0.0093335 | 365 | 304 | 61 | 16266.87 | 0.016267
30 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 2200 | 2200 | 0 | 0 | 0 | 1924 | 1731 | 193 | 96500 | 0.0965
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54798 | 54807 | -9 | 9000 | 0.009 | 995713 | 995842 | -129 | 129000 | 0.129
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 124 | 1 | 123 | -123000 | -0.123 | 999916 | 999981 | -65 | 65000 | 0.065
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 22829 | 22521 | 308 | -616000 | -0.616 | 999548 | 999547 | 1 | -2000 | -0.002
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 74090 | 73418 | 672 | -672000 | -0.672 | 996532 | 996769 | -237 | 237000 | 0.237
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 4221 | 3630 | 591 | -2364000 | -2.364 | 0 | 0 | 0 | 0 | 0
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 152839 | 151346 | 1493 | -1493000 | -1.493 | 998447 | 998448 | -1 | 1000 | 0.001
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 275885 | 267951 | 7934 | -2644640.22 | -2.6446 | 247 | 245 | 2 | -666.66 | -0.00066666
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 26405 | 24028 | 2377 | -4754000 | -4.754 | 999998 | 999997 | 1 | -2000 | -0.002
ROHINI-II
38 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 39679 | 39203 | 476 | -952000 | -0.952 | 525 | 499 | 26 | -52000 | -0.052
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 118837 | 117838 | 999 | -999000 | -0.999 | 2208 | 2150 | 58 | -58000 | -0.058
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 7480000 | 7480000 | 0 | 0 | 0 | 2288000 | 1881000 | 407000 | -407000 | -0.407
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 19872000 | 19854000 | 18000 | -18000 | -0.018 | 2374000 | 1942000 | 432000 | -432000 | -0.432
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20842 | 20832 | 10 | -10000 | -0.01 | 997714 | 997692 | 22 | -22000 | -0.022
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 54668 | 54668 | 0 | 0 | 0 | 1186 | 1160 | 26 | -26000 | -0.026
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998113 | 998116 | -3 | -3000 | -0.003 | 24820 | 25091 | -271 | -271000 | -0.271
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | JULY-2022
DMS
45 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | 100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 999990 | 999996 | -6 | -600 | -0.0006
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3162 | 3162 | 0 | 0 | 0 | 35381 | 34846 | 535 | 53500 | 0.0535
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 754 | 754 | 0 | 0 | 0 | 620 | 611 | 9 | 11997 | 0.011997
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 1729 | 1046 | 683 | 68300 | 0.0683
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1927 | 1926 | 1 | 100 | 0.0001 | 8070 | 7503 | 567 | 56700 | 0.0567
B.G.ROAD
55 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999775 | 999775 | 0 | 0 | 0 | 2418 | 2398 | 20 | 10000 | 0.01
57 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | 500 | 26 | 25 | 1 | 500 | 0.0005 | 288 | 271 | 17 | 8500 | 0.0085
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1102 | 1098 | 4 | 2000 | 0.002 | 1538 | 1502 | 36 | 18000 | 0.018
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992958 | 992964 | -6 | -600 | -0.0006 | 2856 | 2844 | 12 | 1200 | 0.0012
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 9385 | 9293 | 92 | 9200 | 0.0092 | 15652 | 15361 | 291 | 29100 | 0.0291
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 14713 | 13962 | 751 | 75100 | 0.0751 | 6242 | 6183 | 59 | 5900 | 0.0059
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 32732 | 32167 | 565 | 56500 | 0.0565 | 11297 | 11267 | 30 | 3000 | 0.003
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 61708 | 61372 | 336 | 33600 | 0.0336 | 2512 | 2462 | 50 | 5000 | 0.005
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 104 | 104 | 0 | 0 | 0 | 906 | 846 | 60 | 7999.8 | 0.0079998
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 43 | 50 | -7 | 2800 | 0.0028
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999893 | 999892 | 1 | 400 | 0.0004 | 999454 | 999454 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 946149 | 946160 | -11 | -8800 | -0.0088 | 999698 | 999695 | 3 | 2400 | 0.0024
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992904 | 992913 | -9 | -18000 | -0.018 | 1052 | 1052 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 967650 | 967650 | 0 | 0 | 0 | 2009 | 1777 | 232 | 46400 | 0.0464
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 992766 | 992766 | 0 | 0 | 0 | 834 | 759 | 75 | 18750 | 0.01875
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981295 | 981498 | -203 | -203000 | -0.203 | 2079 | 2041 | 38 | 38000 | 0.038
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1197 | 1197 | 0 | 0 | 0 | 4209 | 3990 | 219 | 164250 | 0.16425
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -18.4558 |  |  |  |  | -0.12115
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 208 | 185 | 23 | -2300 | -0.0023 | 1335 | 1270 | 65 | -6500 | -0.0065
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 359 | 350 | 9 | -7200 | -0.0072 | 638 | 635 | 3 | -2400 | -0.0024
SUBZI MANDI
3 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 1000000 | 999998 | 2 | -2666.66 | -0.0026667 | 1000001 | 999999 | 2 | -2666.66 | -0.0026667
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 4798 | 4739 | 59 | -7866.47 | -0.0078665 | 7988 | 7901 | 87 | -11599.71 | -0.0116
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997113 | 997113 | 0 | 0 | 0 | 998564 | 998631 | -67 | 12562.5 | 0.012563
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 898243 | 898718 | -475 | 380000 | 0.38 | 997649 | 997672 | -23 | 18400 | 0.0184
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991484 | 991453 | 31 | -19375 | -0.019375 | 469 | 432 | 37 | -23125 | -0.023125
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999897 | 999884 | 13 | -6500 | -0.0065 | 227 | 232 | -5 | 2500 | 0.0025
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 992042 | 992042 | 0 | 0 | 0 | 19193 | 17938 | 1255 | -251000 | -0.251
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 987933 | 988003 | -70 | 13125 | 0.013125 | 4441 | 4578 | -137 | 25687.5 | 0.025687
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 981882 | 981938 | -56 | 10500 | 0.0105 | 3248 | 3364 | -116 | 21750 | 0.02175
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3948 | 3943 | 5 | -1250 | -0.00125 | 8517 | 8398 | 119 | -29750 | -0.02975
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993337 | 993337 | 0 | 0 | 0 | 30855 | 30357 | 498 | -49800 | -0.0498
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.35647 |  |  |  |  | -0.29594
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -18.4558 |  |  |  |  | -0.12115
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.35647 |  |  |  |  | -0.29594
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.058563 |  |  |  |  | 0.12181
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -18.0408 |  |  |  |  | -0.29528
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -18.0408 | (REACTIVE MUs) |  |  |  | -0.29528 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -3.076 | (REACTIVE MUs) |  |  |  | 0.0055082 | (REACTIVE MUs)
[9 empty] | TOTAL | -21.1168 | (REACTIVE MUs) |  |  |  | -0.28977 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JULY-2022
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36223 | 36222 | 1 | 267 | 0.000267 | 992767 | 993572 | -805 | -214935 | -0.21493
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 4000 | 11229 | 11229 | 0 | 0 | 0 | 1655 | 1663 | -8 | -32000 | -0.032
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 24930 | 24930 | 0 | 0 | 0 | 34687 | 34545 | 142 | 189332.86 | 0.18933
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999828 | 999828 | 0 | 0 | 0 | 999818 | 999741 | 77 | 77000 | 0.077
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 92 | 92 | 0 | 0 | 0 | 999935 | 999984 | -49 | -78400 | -0.0784
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18472 | 18472 | 0 | 0 | 0 | 4974 | 5065 | -91 | -121333.03 | -0.12133
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999824 | 999824 | 0 | 0 | 0 | 999982 | 1000285 | -303 | -60600 | -0.0606
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 975331 | 975350 | -19 | -19000 | -0.019 | 1221 | 1286 | -65 | -65000 | -0.065
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 983637 | 983639 | -2 | -1000 | -0.001 | 278 | 246 | 32 | 16000 | 0.016
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997552 | 997568 | -16 | -16000 | -0.016 | 999838 | 999836 | 2 | 2000 | 0.002
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983061 | 983082 | -21 | -21000 | -0.021 | 1094 | 1092 | 2 | 2000 | 0.002
12 | LAHORI GATE-1 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999927 | 999927 | 0 | 0 | 0 | 3251 | 2591 | 660 | 660000 | 0.66
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993593 | 993597 | -4 | -4000 | -0.004 | 995545 | 995880 | -335 | -335000 | -0.335
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992622 | 992623 | -1 | -1000 | -0.001 | 999987 | 1000057 | -70 | -70000 | -0.07
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994296 | 994298 | -2 | -1600 | -0.0016 | 7463 | 7427 | 36 | 28800 | 0.0288
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 11794 | 11660 | 134 | 17866.22 | 0.017866 | 8356 | 8140 | 216 | 28799.28 | 0.028799
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999962 | 999961 | 1 | 1000 | 0.001 | 999840 | 999894 | -54 | -54000 | -0.054
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 522 | 505 | 17 | 17000 | 0.017 | 16908 | 16912 | -4 | -4000 | -0.004
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 955828 | 956265 | -437 | -546250 | -0.54625 | 947185 | 947187 | -2 | -2500 | -0.0025
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 947909 | 948880 | -971 | -971000 | -0.971 | 933519 | 933525 | -6 | -6000 | -0.006
21 | AKSHARDHAM | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992864 | 993099 | -235 | -235000 | -0.235 | 998689 | 998689 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -1.7523 |  |  |  |  | -0.0085
22 | 100 MVA TX.-1 | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999374 | 999376 | -2 | 2000 | 0.002 | 999208 | 999339 | -131 | 131000 | 0.131
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978509 | 978472 | 37 | -37000 | -0.037 | 997865 | 997857 | 8 | -8000 | -0.008
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 3 | 3 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998920 | 998920 | 0 | 0 | 0 | 12977 | 13178 | -201 | -201000 | -0.201
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 263257 | 263257 | 0 | 0 | 0 | 25914 | 25873 | 41 | -41000 | -0.041
27 | TX.-2(66KV) | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 0 | 6 | -6000 | -0.006 | 983 | 593 | 390 | -390000 | -0.39
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8101 | 7519 | 582 | -582000 | -0.582 | 998982 | 998982 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6345 | 6345 | 0 | 0 | 0 | 998036 | 998036 | 0 | 0 | 0 | under S/D
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 101064 | 101019 | 45 | -45000 | -0.045 | 982695 | 982702 | -7 | 7000 | 0.007
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 93370 | 93365 | 5 | -5000 | -0.005 | 332 | 330 | 2 | -2000 | -0.002
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 782 | 750 | 32 | -160000 | -0.16 | 999999 | 999999 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4865119 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 1000000 | 999998 | 2 | 2666.66 | 0.0026667 | 1000001 | 999999 | 2 | 2666.66 | 0.0026667
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 4798 | 4739 | 59 | 7866.47 | 0.0078665 | 7988 | 7901 | 87 | 11599.71 | 0.0116
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992633 | 992633 | 0 | 0 | 0 | 9689 | 10433 | -744 | -98952 | -0.098952
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975157 | 975097 | 60 | -60000 | -0.06 | 990097 | 990097 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974877 | 974842 | 35 | -35000 | -0.035 | 969105 | 969105 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -2.6972 |  |  |  |  | -0.62852
| (A) NET ENERGY TO CENTRAL | [8 empty] | -2.6972 |  |  |  |  | -0.62852
JULY-2022
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992434 | 992434 | 0 | 0 | 0 | 993839 | 993806 | 33 | -33000 | -0.033
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981151 | 981151 | 0 | 0 | 0 | 930579 | 930500 | 79 | -79000 | -0.079
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993246 | 993246 | 0 | 0 | 0 | 993161 | 993160 | 1 | -1000 | -0.001
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999813 | 999857 | -44 | 44000 | 0.044 | 999764 | 999849 | -85 | 85000 | 0.085
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39238 | 39073 | 165 | -165000 | -0.165 | 997918 | 997918 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 16764 | 16273 | 491 | -245500 | -0.2455 | 366 | 366 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999804 | 999889 | -85 | 85000 | 0.085 | 999985 | 999985 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9793 | 9968 | -175 | 175000 | 0.175 | 999480 | 999480 | 0 | 0 | 0
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 851 | 885 | -34 | 34000 | 0.034 | 7 | 7 | 0 | 0 | 0
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991403 | 991290 | 113 | -113000 | -0.113 | 954936 | 954892 | 44 | -44000 | -0.044
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968940 | 968929 | 11 | -11000 | -0.011 | 823774 | 823789 | -15 | 15000 | 0.015
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 13017 | 12992 | 25 | -125000 | -0.125 | 51 | 51 | 0 | 0 | 0
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22311 | 21686 | 625 | -625000 | -0.625 | 81 | 81 | 0 | 0 | 0
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5261 | 5370 | -109 | 109000 | 0.109 | 4 | 4 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.8375 |  |  |  |  | -0.057
| (B) NET ENERGY TO EAST | [8 empty] | -0.8375 |  |  |  |  | -0.057
JULY-2022
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 993225 | 993190 | 35 | -9333.45 | -0.0093335 | 365 | 304 | 61 | -16266.87 | -0.016267
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 2200 | 2200 | 0 | 0 | 0 | 1924 | 1731 | 193 | -96500 | -0.0965
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 1478 | 1479 | -1 | 266.66 | 0.00026666 | 2251 | 2332 | -81 | 21599.46 | 0.021599
4 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | -100 | 7636 | 7606 | 30 | -3000 | -0.003 | 3017 | 646 | 2371 | -237100 | -0.2371
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 978158 | 978656 | -498 | 99600 | 0.0996 | 999380 | 999380 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1442 | 1510 | -68 | 68000 | 0.068 | 391 | 6 | 385 | -385000 | -0.385
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 3628 | 3628 | 0 | 0 | 0 | 4593 | 4046 | 547 | -437600 | -0.4376
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 2163 | 2163 | 0 | 0 | 0 | 1683 | 1736 | -53 | 42400 | 0.0424
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 946200 | 946206 | -6 | 4800 | 0.0048 | 988653 | 988450 | 203 | -162400 | -0.1624
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992544 | 992544 | 0 | 0 | 0 | 999180 | 999180 | 0 | 0 | 0 | Data till 7/7/22
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986978 | 986980 | -2 | 4000 | 0.004 | 998562 | 998734 | -172 | 344000 | 0.344
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998113 | 998116 | -3 | 3000 | 0.003 | 24820 | 25091 | -271 | 271000 | 0.271
DMS
15 | 33KV PANDAV NGR | 5295200 | ELSTER | Kvarh(Lead/Lag) | -100 | 998049 | 998049 | 0 | 0 | 0 | 999841 | 999841 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999775 | 999775 | 0 | 0 | 0 | 2418 | 2398 | 20 | -10000 | -0.01
18 | DCM NO.2 | 4902526 | ELSTER | Kvarh(Lead/Lag) | -500 | 26 | 25 | 1 | -500 | -0.0005 | 288 | 271 | 17 | -8500 | -0.0085
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1102 | 1098 | 4 | -2000 | -0.002 | 1538 | 1502 | 36 | -18000 | -0.018
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 61708 | 61372 | 336 | -33600 | -0.0336 | 2512 | 2462 | 50 | -5000 | -0.005
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 104 | 104 | 0 | 0 | 0 | 906 | 846 | 60 | -7999.8 | -0.0079998
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992958 | 992964 | -6 | 600 | 0.0006 | 2856 | 2844 | 12 | -1200 | -0.0012
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 9385 | 9293 | 92 | -9200 | -0.0092 | 15652 | 15361 | 291 | -29100 | -0.0291
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 14713 | 13962 | 751 | -75100 | -0.0751 | 6242 | 6183 | 59 | -5900 | -0.0059
25 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 32732 | 32167 | 565 | -56500 | -0.0565 | 11297 | 11267 | 30 | -3000 | -0.003
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 65850 | 62490 | 3360 | 3360 | 0.00336 | 297140 | 287420 | 9720 | 9720 | 0.00972
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 36040 | 34500 | 1540 | 1540 | 0.00154 | 526870 | 521000 | 5870 | 5870 | 0.00587
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 204100 | 179500 | 24600 | 24600 | 0.0246 | 1553900 | 1539399 | 14501 | 14501 | 0.014501
[15 empty] | -0.0546 | Last month Asessment
[10 empty] | 0.020533 |  |  |  |  | -0.76908
JULY-2022
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -2.6972 |  |  |  |  | -0.62852
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.020533 |  |  |  |  | -0.76908
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0.007175 |  |  |  |  | -0.25152
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.6695 |  |  |  |  | -1.6491
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.8375 |  |  |  |  | -0.057
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -3.507 |  |  |  |  | -1.7061
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -3.507 | (REACTIVE MUs) |  |  |  | -1.7061 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -2.3749 | (REACTIVE MUs) |  |  |  | 0.0042527 | (REACTIVE MUs)
[9 empty] | TOTAL | -5.8819 | (REACTIVE MUs) |  |  |  | -1.7019 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JULY-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997889 | 997889 | 0 | 0 | 0 | 996015 | 996415 | -400 | -400000 | -0.4
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998558 | 998558 | 0 | 0 | 0 | 998970 | 999058 | -88 | -88000 | -0.088
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999783 | 999783 | 0 | 0 | 0 | 995504 | 996426 | -922 | -922000 | -0.922
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999791 | 999791 | 0 | 0 | 0 | 999475 | 999817 | -342 | -455998.86 | -0.456
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997555 | 997554 | 1 | 1500 | 0.0015 | 999323 | 999469 | -146 | -219000 | -0.219
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 10530 | 10530 | 0 | 0 | 0 | 20516 | 20569 | -53 | -5300 | -0.0053
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994850 | 994851 | -1 | -1000 | -0.001 | 996084 | 996123 | -39 | -39000 | -0.039
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 75 | 991738 | 991738 | 0 | 0 | 0 | 992346 | 991921 | 425 | 31875 | 0.031875
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 800 | 996796 | 996796 | 0 | 0 | 0 | 999004 | 998991 | 13 | 10400 | 0.0104
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988619 | 988619 | 0 | 0 | 0 | 265037 | 265035 | 2 | 2666.66 | 0.0026667
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 1015 | 1016 | -1 | 6666.666 | 0.0066667 | 999998 | 1000002 | -4 | 26666.664 | 0.026667
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 28518 | 28402 | 116 | -116000 | -0.116 | 996639 | 996633 | 6 | -6000 | -0.006
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5207 | 5206 | 1 | -2000 | -0.002 | 996219 | 996308 | -89 | 178000 | 0.178
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 124 | 1 | 123 | -123000 | -0.123 | 999916 | 999981 | -65 | 65000 | 0.065
15 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3035 | 3035 | 0 | 0 | 0 | 994903 | 995601 | -698 | 698000 | 0.698
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 141833 | 141811 | 22 | -22000 | -0.022 | 20263 | 19987 | 276 | -276000 | -0.276
[5 empty] | -1000 | [5 empty] | 19711 | 19649 | 62 | -62000 | -0.062
17 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6554 | 6561 | -7 | 7000 | 0.007 | 999655 | 999712 | -57 | 57000 | 0.057
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38320 | 38320 | 0 | 0 | 0 | 999567 | 998944 | 623 | -1246000 | -1.246
19 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1754 | 1783 | -29 | 58000 | 0.058 | 999839 | 999899 | -60 | 120000 | 0.12
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -800 | 122600 | 122574 | 26 | -20800 | -0.0208 | 8325 | 7326 | 999 | -799200 | -0.7992
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 121739 | 121739 | 0 | 0 | 0 | 3730 | 2712 | 1018 | -814400 | -0.8144
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 945458 | 945683 | -225 | 225000 | 0.225 | 959282 | 959292 | -10 | 10000 | 0.01
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 953881 | 955138 | -1257 | 2514000 | 2.514 | 991305 | 991306 | -1 | 2000 | 0.002
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 909976 | 910216 | -240 | 480000 | 0.48 | 971781 | 971791 | -10 | 20000 | 0.02
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11624 | 11881 | -257 | 257000 | 0.257 | 995965 | 995980 | -15 | 15000 | 0.015
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) |  | 997224 | 997230 | -6 | 0 | 0 | 998179 | 999994 | -1815 | 0 | 0
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980885 | 980936 | -51 | 51000 | 0.051 | 999859 | 999859 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 277463 | 277462 | 1 | -1000 | -0.001 | 122543 | 122314 | 229 | -229000 | -0.229
29 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7521 | 7521 | 0 | 0 | 0 | 385 | 337 | 48 | -96000 | -0.096
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 359 | 350 | 9 | 7200 | 0.0072 | 638 | 635 | 3 | 2400 | 0.0024
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 935437 | 935515 | -78 | 78000 | 0.078 | 965292 | 965315 | -23 | 23000 | 0.023
32 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999909 | 999963 | -54 | 54000 | 0.054 | 999653 | 999759 | -106 | 106000 | 0.106
33 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 592 | 592 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TUGLAKABAD
34 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 40768 | 40768 | 0 | 0 | 0 | 883 | 515 | 368 | -294400 | -0.2944
35 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 62688 | 62688 | 0 | 0 | 0 | 995348 | 995133 | 215 | -344000 | -0.344
[5 empty] | -1600 | [5 empty] | 989018 | 989018 | 0 | 0 | 0
OKHLA
36 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996282 | 996241 | 41 | -82000 | -0.082 | 987735 | 987771 | -36 | 72000 | 0.072
37 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000080 | 999965 | 115 | -115000 | -0.115 | 998227 | 998275 | -48 | 48000 | 0.048
38 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23566 | 23575 | -9 | 9000 | 0.009 | 31536 | 31517 | 19 | -19000 | -0.019
39 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2466 | 2503 | -37 | 37000 | 0.037 | 996785 | 996783 | 2 | -2000 | -0.002
40 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 855 | 856 | -1 | 1000 | 0.001 | 1430 | 1506 | -76 | 76000 | 0.076
BRPL(+) continue | [14 empty] | JULY-2022
VASANT KUNJ
41 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3398 | 3453 | -55 | 55000 | 0.055 | 999943 | 999946 | -3 | 3000 | 0.003
42 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21961 | 22009 | -48 | 48000 | 0.048 | 343 | 346 | -3 | 3000 | 0.003
43 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15635 | 15813 | -178 | 178000 | 0.178 | 998102 | 998105 | -3 | 3000 | 0.003
MEHRAULI
44 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1139 | 1129 | 10 | -10000 | -0.01 | 1850 | 1433 | 417 | -417000 | -0.417
45 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 39 | 39 | 0 | 0 | 0 | 1095 | 914 | 181 | -90500 | -0.0905
46 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 9 | 5 | 4 | -10000 | -0.01 | 658 | 516 | 142 | -355000 | -0.355
47 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 502 | 502 | 0 | 0 | 0 | 569 | 459 | 110 | -220000 | -0.22
RIDGE VALLEY
48 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86021 | 86020 | 1 | -1000 | -0.001 | 997385 | 997361 | 24 | -24000 | -0.024
49 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 57260 | 57252 | 8 | -16000 | -0.016 | 999375 | 999376 | -1 | 2000 | 0.002
DIAL
50 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 5633 | 5516 | 117 | -175500 | -0.1755 | 20 | 14 | 6 | -9000 | -0.009
51 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8694 | 8515 | 179 | -179000 | -0.179 | 999991 | 999988 | 3 | -3000 | -0.003
MASJID MOD
52 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996527 | 996538 | -11 | 11000 | 0.011 | 999928 | 999928 | 0 | 0 | 0
53 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991188 | 991210 | -22 | 22000 | 0.022 | 994618 | 994619 | -1 | 1000 | 0.001
54 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990754 | 990787 | -33 | 33000 | 0.033 | 986966 | 986975 | -9 | 9000 | 0.009
MUNDKA
55 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 995246 | 995263 | 0 | 0 | 0 | 999991 | 999993 | 0 | 0 | 0
56 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 970217 | 970244 | -27 | -21600 | -0.0216 | 628 | 629 | -1 | -800 | -0.0008
57 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 915802 | 915898 | -96 | -76800 | -0.0768 | 999442 | 999461 | -19 | -15200 | -0.0152
58 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
59 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 997077 | 997071 | 6 | 4800 | 0.0048 | 999845 | 999843 | 2 | 1600 | 0.0016
60 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 994582 | 994575 | 7 | 5600 | 0.0056 | 50 | 47 | 3 | 2400 | 0.0024
61 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 999899 | 1000000 | -101 | -80800 | -0.0808 | 0 | 0 | 0 | 0 | 0
62 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 999886 | 1000000 | -114 | -91200 | -0.0912 | 999999 | 1000000 | -1 | -800 | -0.0008
PARK STREET
63 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 986978 | 986980 | -2 | -4000 | -0.004 | 998562 | 998734 | -172 | -344000 | -0.344
SARITA VIHAR
64 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 109544 | 109544 | 0 | 0 | 0 | 4942 | 4728 | 214 | -428000 | -0.428
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11514 | 11514 | 0 | 0 | 0 | 3548 | 3019 | 529 | -529000 | -0.529
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 138126 | 138126 | 0 | 0 | 0 | 2804 | 2599 | 205 | -205000 | -0.205
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 208 | 185 | 23 | 2300 | 0.0023 | 1335 | 1270 | 65 | 6500 | 0.0065
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997113 | 997113 | 0 | 0 | 0 | 998564 | 998631 | -67 | -12562.5 | -0.012563
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998781 | 998780 | 1 | 1000 | 0.001 | 220 | 165 | 55 | 55000 | 0.055
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998791 | 998789 | 2 | 2000 | 0.002 | 164 | 132 | 32 | 32000 | 0.032
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 898243 | 898718 | -475 | -380000 | -0.38 | 997649 | 997672 | -23 | -18400 | -0.0184
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 550 | 551 | -1 | -1000 | -0.001 | 999974 | 1000010 | -36 | -36000 | -0.036
72 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998791 | 998789 | 2 | 2000 | 0.002 | 164 | 132 | 32 | 32000 | 0.032
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865073 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 1210 | 752 | 458 | 45800 | 0.0458
74 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 1843 | 1336 | 507 | 50700 | 0.0507
[10 empty] | 0 |  |  |  |  | 0.0819 | Last month Assessment
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 9536 | 9536 | 0 | 0 | 0 | 3165 | 3211 | -46 | -23000 | -0.023
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996590 | 996590 | 0 | 0 | 0 | 4170 | 4199 | -29 | -29000 | -0.029
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981727 | 981727 | 0 | 0 | 0 | 634 | 718 | -84 | -84000 | -0.084
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7669 | 7669 | 0 | 0 | 0 | 6814 | 6812 | 2 | 2000 | 0.002
79 | PASCHIM PURI - I (L-7) | 4864858 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999645 | 999645 | 0 | 0 | 0 | 122 | 126 | -4 | -4000 | -0.004
80 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 4814 | 4814 | 0 | 0 | 0 | 911159 | 911243 | -84 | -8400 | -0.0084
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 999945 | 999945 | 0 | 0 | 0 | 180 | 145 | 35 | 9333.45 | 0.0093335
82 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5550 | 5550 | 0 | 0 | 0 | 7606 | 7592 | 14 | 14000 | 0.014
REWARI LINE
83 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 992042 | 992042 | 0 | 0 | 0 | 19193 | 17938 | 1255 | 251000 | 0.251
84 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 987933 | 988003 | -70 | -13125 | -0.013125 | 4441 | 4578 | -137 | -25687.5 | -0.025687
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 981882 | 981938 | -56 | -10500 | -0.0105 | 3248 | 3364 | -116 | -21750 | -0.02175
86 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3948 | 3943 | 5 | 1250 | 0.00125 | 8517 | 8398 | 119 | 29750 | 0.02975
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993337 | 993337 | 0 | 0 | 0 | 30855 | 30357 | 498 | 49800 | 0.0498
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.599 |  |  |  |  | -6.9726
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JULY-2022
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21965 | 21967 | -2 | 1000 | 0.001 | 5255 | 5152 | 103 | -51500 | -0.0515
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992633 | 992633 | 0 | 0 | 0 | 9689 | 10433 | -744 | 99197.52 | 0.099198
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 0 | 0 | 0 | 0 | 0 | 999965 | 999847 | 118 | -78666.706 | -0.078667
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1272 | 1272 | 0 | 0 | 0 | 406 | 144 | 262 | -262000 | -0.262
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990847 | 990849 | -2 | 2000 | 0.002 | 2493 | 2459 | 34 | -34000 | -0.034
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 3037 | 3037 | 0 | 0 | 0 | 35874 | 33951 | 1923 | -307680 | -0.30768
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3810 | 3810 | 0 | 0 | 0 | 15395 | 13669 | 1726 | -345200 | -0.3452
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971873 | 971873 | 0 | 0 | 0 | 999188 | 999188 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 999878 | 999878 | 0 | 0 | 0 | 1465 | 1034 | 431 | -43100 | -0.0431
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 3742 | 3742 | 0 | 0 | 0 | 4685 | 3685 | 1000 | -100000 | -0.1
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999904 | 999904 | 0 | 0 | 0 | 999741 | 999741 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 455 | 455 | 0 | 0 | 0 | 1904 | 1904 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 999990 | 999996 | -6 | 600 | 0.0006
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3162 | 3162 | 0 | 0 | 0 | 35381 | 34846 | 535 | -53500 | -0.0535
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 754 | 754 | 0 | 0 | 0 | 620 | 611 | 9 | -11997 | -0.011997
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 1729 | 1046 | 683 | -68300 | -0.0683
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865089 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1927 | 1926 | 1 | -100 | -0.0001 | 8070 | 7503 | 567 | -56700 | -0.0567
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 43 | 50 | -7 | -2800 | -0.0028
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999893 | 999892 | 1 | -400 | -0.0004 | 999454 | 999454 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -800 | 9319 | 9318 | 1 | -800 | -0.0008 | 9841 | 9691 | 150 | -120000 | -0.12
[5 empty] | -800 | [5 empty] | 9232 | 7895 | 1337 | -1069600 | -1.0696
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981295 | 981498 | -203 | 203000 | 0.203 | 2079 | 2041 | 38 | -38000 | -0.038
30 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1197 | 1197 | 0 | 0 | 0 | 4209 | 3990 | 219 | -164250 | -0.16425
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 0.2047 |  |  |  |  | -2.7075
JULY-2022
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 2.599 |  |  |  |  | -6.9726
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 0.2047 |  |  |  |  | -2.7075
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.003275 |  |  |  |  | -0.047925
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | 0 |  |  |  |  | -0.66192
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 2.807 |  |  |  |  | -10.39
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 2.807 | (REACTIVE MUs) |  |  |  | -10.39 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -4.5464 | (REACTIVE MUs) |  |  |  | 0.0081411 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.7394 | (REACTIVE MUs) |  |  |  | -10.3818 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JULY-2022
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1478 | 1479 | -1 | -266.67 | -0.00026667 | 2251 | 2332 | -81 | -21600.27 | -0.0216
2 | BAIRD RD.2 | 4865139 | ELSTER | Kvarh(Lead/Lag) | 100 | 7636 | 7606 | 30 | 3000 | 0.003 | 3017 | 646 | 2371 | 237100 | 0.2371
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 978158 | 978656 | -498 | -99600 | -0.0996 | 999380 | 999380 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1442 | 1510 | -68 | -68000 | -0.068 | 391 | 6 | 385 | 385000 | 0.385
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 3628 | 3628 | 0 | 0 | 0 | 4593 | 4046 | 547 | 437600 | 0.4376
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 2163 | 2163 | 0 | 0 | 0 | 1683 | 1736 | -53 | -42400 | -0.0424
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 946200 | 946206 | -6 | -4800 | -0.0048 | 988653 | 988450 | 203 | 162400 | 0.1624
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992544 | 992544 | 0 | 0 | 0 | 999180 | 999180 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 953333 | 953333 | 0 | 0 | 0 | 27137 | 23965 | 3172 | 158600 | 0.1586
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 999947 | 999947 | 0 | 0 | 0 | 2675 | 1293 | 1382 | 138200 | 0.1382
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997792 | 997792 | 0 | 0 | 0 | 6888 | 6244 | 644 | 322000 | 0.322
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999871 | 999871 | 0 | 0 | 0 | 997954 | 998770 | -816 | -81600 | -0.0816
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 998688 | 998688 | 0 | 0 | 0 | 5487 | 2848 | 2639 | 263900 | 0.2639
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11064 | 11064 | 0 | 0 | 0 | 41831 | 41480 | 351 | 351000 | 0.351
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 1102 | 1104 | -2 | -200 | -0.0002 | 1784 | 1873 | -89 | -8900 | -0.0089
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994265 | 994364 | -99 | -99000 | -0.099 | 405 | 402 | 3 | 3000 | 0.003
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982169 | 982319 | -150 | -150000 | -0.15 | 2777 | 2746 | 31 | 31000 | 0.031
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 998420 | 998435 | -15 | -37500 | -0.0375 | 73 | 73 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 995893 | 995956 | -63 | -157500 | -0.1575 | 459 | 459 | 0 | 0 | 0
[10 empty] | -0.444 |  |  |  |  | 0.034
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990847 | 990849 | -2 | -2000 | -0.002 | 2493 | 2459 | 34 | 34000 | 0.034
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 3037 | 3037 | 0 | 0 | 0 | 35874 | 33951 | 1923 | 307680 | 0.30768
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3810 | 3810 | 0 | 0 | 0 | 15395 | 13669 | 1726 | 345200 | 0.3452
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 971873 | 971873 | 0 | 0 | 0 | 999188 | 999188 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4865154 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999904 | 999904 | 0 | 0 | 0 | 999741 | 999741 | 0 | 0 | 0
JULY-2022
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996781 | 996801 | -20 | 20000 | 0.02 | 989553 | 989588 | -35 | 35000 | 0.035
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998965 | 998998 | -33 | 33000 | 0.033 | 995422 | 995445 | -23 | 23000 | 0.023
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998048 | 998062 | -14 | 28000 | 0.028 | 995490 | 995765 | -275 | 550000 | 0.55
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999961 | 999984 | -23 | 23000 | 0.023 | 993073 | 993668 | -595 | 595000 | 0.595
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 455 | 455 | 0 | 0 | 0 | 1904 | 1904 | 0 | 0 | 0
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 999878 | 999878 | 0 | 0 | 0 | 1465 | 1034 | 431 | 43100 | 0.0431
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 3742 | 3742 | 0 | 0 | 0 | 4685 | 3685 | 1000 | 100000 | 0.1
37 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 1213 | 1213 | 0 | 0 | 0 | 70842 | 70842 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21965 | 21967 | -2 | -1000 | -0.001 | 5255 | 5152 | 103 | 51500 | 0.0515
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 550 | 551 | -1 | 1000 | 0.001 | 999974 | 1000010 | -36 | 36000 | 0.036
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999539 | 999552 | -13 | 13000 | 0.013 | 999914 | 999950 | -36 | 36000 | 0.036
AIIMS
3 | 11KV VIKAS SADAN | 4865073 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 1210 | 752 | 458 | -45800 | -0.0458
[15 empty] | -0.0628 | Last month Asessment
4 | 11KV NDSE | 4865078 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 1843 | 1336 | 507 | -50700 | -0.0507
[15 empty] | -0.0819 | Last month Asessment
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.49887 |  |  |  |  | 4.2506
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -0.49887 |  |  |  |  | 4.2506
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.41164 |  |  |  |  | 0.00073712
| TOTAL ENERGY TO NDMC | [8 empty] | -0.91051 |  |  |  |  | 4.2513

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2022
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4287 | 4287 | 0 | 0 | 0 | 78534 | 78470 | 64 | 12800 | 0.0128
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999895 | 999895 | 0 | 0 | 0 | 32210 | 31744 | 466 | 74560 | 0.07456
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 0 | 0 | 0 | 0 | 0 | 1091 | 516 | 575 | 115000 | 0.115
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999886 | 999886 | 0 | 0 | 0 | 19343 | 19374 | -31 | -12400 | -0.0124
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999476 | 999477 | -1 | -800 | -0.0008 | 777 | 762 | 15 | 12000 | 0.012
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2711 | 2697 | 14 | 5600 | 0.0056 | 6673 | 6597 | 76 | 30400 | 0.0304
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 0 | 0 | 0 | 0 | 0 | 999965 | 999847 | 118 | 78666.706 | 0.078667
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1272 | 1272 | 0 | 0 | 0 | 406 | 144 | 262 | 262000 | 0.262
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0048 |  |  |  |  | 0.57303
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4902519 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 4047 | 4047 | 0 | 0 | 0 | 32453 | 27037 | 5416 | 203100 | 0.2031
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78 | 78 | 0 | 0 | 0 | 1438 | 1151 | 287 | 28700 | 0.0287
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4280 | 4280 | 0 | 0 | 0 | 53276 | 48826 | 4450 | 333750 | 0.33375
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 105 | 105 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 783 | 783 | 0 | 0 | 0 | 5412 | 4459 | 953 | 71475 | 0.071475
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 7036 | 6787 | 249 | 24900 | 0.0249
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0 |  |  |  |  | 0.66192
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0048 |  |  |  |  | 0.57303
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0048 |  |  |  |  | 1.235
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0048 | (REACTIVE MUs) |  |  |  | 1.235 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.070772 | (REACTIVE MUs) |  |  |  | 0.00012673 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.065972 | (REACTIVE MUs) |  |  |  | 1.2351 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2022
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991484 | 991453 | 31 | 19375 | 0.019375 | 469 | 432 | 37 | 23125 | 0.023125
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999897 | 999884 | 13 | 6500 | 0.0065 | 227 | 232 | -5 | -2500 | -0.0025
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 800 | 9319 | 9318 | 1 | 800 | 0.0008 | 9841 | 9691 | 150 | 120000 | 0.12
[5 empty] | 800 | [5 empty] | 9232 | 7895 | 1337 | 1069600 | 1.0696
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 65850 | 62490 | 3360 | -3360 | -0.00336 | 297140 | 287420 | 9720 | -9720 | -0.00972
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 36040 | 34500 | 1540 | -1540 | -0.00154 | 526870 | 521000 | 5870 | -5870 | -0.00587
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 204100 | 179500 | 24600 | -24600 | -0.0246 | 1553900 | 1539399 | 14501 | -14501 | -0.014501
[15 empty] | 0.0546 | Last month Assessment
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.002825 |  |  |  |  | 1.2347
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.037663 |  |  |  |  | 6.7442e-05
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.040488 |  |  |  |  | 1.2348

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2022
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 996133 | 996136 | -3 | -1500 | -0.0015 | 999743 | 999827 | -84 | -42000 | -0.042
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 29727 | 29728 | -1 | -100 | -0.0001 | 993223 | 994701 | -1478 | -147800 | -0.1478
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 16144 | 16140 | 4 | 2000 | 0.002 | 6148 | 5921 | 227 | 113500 | 0.1135
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997468 | 997466 | 2 | 1875 | 0.001875 | 999412 | 999490 | -78 | -73125 | -0.073125
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999453 | 999454 | -1 | 1000 | 0.001 | 999173 | 999262 | -89 | 89000 | 0.089
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993768 | 993768 | 0 | 0 | 0 | 97 | 122 | -25 | 12500 | 0.0125
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 231 | 231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.003275 |  |  |  |  | -0.047925
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 961948 | 961914 | 34 | 6800 | 0.0068 | 991704 | 991666 | 38 | 7600 | 0.0076
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 67 | 65 | 2 | 375 | 0.000375 | 996242 | 997624 | -1382 | -259125 | -0.25912
| TOTAL (BSES Y.P.L.) | [8 empty] | 0.007175 |  |  |  |  | -0.25152
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1364 | 1338 | 26 | 32500 | 0.0325 | 998660 | 998680 | -20 | -25000 | -0.025
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 1000008 | 999999 | 9 | 8437.5 | 0.0084375 | 999669 | 999664 | 5 | 4687.5 | 0.0046875
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 999846 | 999785 | 61 | 7625 | 0.007625 | 997014 | 997040 | -26 | -3250 | -0.00325
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 3750 | 619 | 622 | -3 | -11250 | -0.01125 | 153 | 127 | 26 | 97500 | 0.0975
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999229 | 999229 | 0 | 0 | 0 | 999779 | 999827 | -48 | -48000 | -0.048
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 978649 | 978629 | 20 | 20000 | 0.02 | 990188 | 990114 | 74 | 74000 | 0.074
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 364 | 366 | -2 | 1250 | 0.00125 | 999833 | 999868 | -35 | 21875 | 0.021875
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 231 | 231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 0.058563 |  |  |  |  | 0.12181
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.003275 |  |  |  |  | -0.047925
| F) NET EXPORT TO BSES YPL | [8 empty] | 0.007175 |  |  |  |  | -0.25152
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.058563 |  |  |  |  | 0.12181

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2022
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 902 | 335 | 567 | 1134000 | 1.134 | 999998 | 999999 | -1 | -2000 | -0.002
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 28686 | 28107 | 579 | 1158000 | 1.158 | 1627 | 1629 | -2 | -4000 | -0.004
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 871673 | 873691 | -2018 | 1009000 | 1.009 | 997989 | 997991 | -2 | 1000 | 0.001
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 414558 | 417303 | -2745 | 274500 | 0.2745 | 984122 | 984122 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 3.5755 |  | NET REACTIVE ENERGY |  |  | -0.005
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 3.5755 |  |  |  |  | -0.005
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -11.2556 |  |  |  |  | -0.0016667
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -2.3933 |  |  |  |  | -0.0085
[7 empty] | NDMC = |  |  | -0.444 |  |  |  |  | 0.034
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -14.0929 |  |  |  |  | 0.023833
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -10.5174 |  |  |  |  | 0.018833
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.2471 | % |  |  | -3.076 |  |  |  |  | 0.0055082
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 43.2272 | % |  |  | -4.5464 |  |  |  |  | 0.0081411
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.5808 | % |  |  | -2.3749 |  |  |  |  | 0.0042527
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.9139 | % |  |  | -0.41164 |  |  |  |  | 0.00073712
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6729 | % |  |  | -0.070772 |  |  |  |  | 0.00012673
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.3581 | % |  |  | -0.037663 |  |  |  |  | 6.7442e-05
Note :Sharing taken from wk-16 abt bill 2022-23

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JULY-2022 TO 31st JULY-2022
FINAL EXECUTIVE SUMMERY
[5 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | -21.1168 |  | -0.28977
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | -1.7394 |  | -10.3818
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | -5.8819 |  | -1.7019
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | -0.91051 | + | 4.2513
5 | NET REACTIVE ENERGY TO MES |  |  |  | -0.065972 | + | 1.2351
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | -0.040488 | + | 1.2348
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/07/2022 | INTIAL READING 01/07/2022 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83