## NDPL
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 369 | 369 | 0 | 0 | 0 | 998266 | 999066 | -800 | 800000 | 0.8
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 98735 | 98688 | 47 | -94000 | -0.094 | 5088 | 5079 | 9 | -18000 | -0.018
|  | Q0491811 | Secure | Kvarh(Lead/Lag) | -1 | 913000 | 995000 | -82000 | 82000 | 0.082 | -600 | -1000 | 400 | -400 | -0.0004
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18503 | 18503 | 0 | 0 | 0 | 1447 | 784 | 663 | -663000 | -0.663
4 | Tx.4 | Q0491809 | Secure | Kvarh(Lead/Lag) | -1 | 1279000 | 1272000 | 7000 | -7000 | -0.007 | -91000 | -84000 | -7000 | 7000 | 0.007
SUBZI MANDI
5 | Tx.1 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1398 | 1398 | 0 | 0 | 0 | 988618 | 988622 | -4 | 4000 | 0.004 | 25.08.23-29.08.23
|  | 4865012 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | -2000 | -0.002 | w.e.f 29.08.2023
6 | Tx.2 | 4864896 | ELSTER | Kvarh(Lead/Lag) | -2000 | 254 | 254 | 0 | 0 | 0 | 875 | 832 | 43 | -86000 | -0.086
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34359 | 34363 | -4 | 4000 | 0.004 | 999052 | 999072 | -20 | 20000 | 0.02
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43961 | 43966 | -5 | 5000 | 0.005 | 997321 | 997328 | -7 | 7000 | 0.007
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31138 | 31129 | 9 | -9000 | -0.009 | 996858 | 996863 | -5 | 5000 | 0.005
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 13423 | 13426 | -3 | 1500 | 0.0015 | 812716 | 812785 | -69 | 34500 | 0.0345
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12324 | 12324 | 0 | 0 | 0 | 998421 | 998311 | 110 | -110000 | -0.11
12 | Tx.-2 | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31606 | 31413 | 193 | -193000 | -0.193 | 194 | 201 | -7 | 7000 | 0.007
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 64390 | 64390 | 0 | 0 | 0 | 995686 | 995845 | -159 | 159000 | 0.159
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 678567 | 680423 | -1856 | -1856000 | -1.856 | 999743 | 999743 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 704651 | 705395 | -744 | -372000 | -0.372 | 999974 | 999974 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15986 | 15986 | 0 | 0 | 0 | 998690 | 998502 | 188 | -188000 | -0.188
18 | Tx.2 | 4865043 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 6 | 0 | 0 | 0 | 2071 | 1168 | 903 | -903000 | -0.903
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62897 | 62897 | 0 | 0 | 0 | 866 | 333 | 533 | -533000 | -0.533
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998623 | 998623 | 0 | 0 | 0 | 985587 | 985642 | -55 | -55000 | -0.055
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999567 | 999568 | -1 | -4000 | -0.004 | 999540 | 999542 | -2 | -8000 | -0.008
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1965 | 1965 | 0 | 0 | 0 | 17345 | 17340 | 5 | 2500 | 0.0025
23 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 158249 | 157505 | 744 | 37200 | 0.0372 | 424989 | 424572 | 417 | 20850 | 0.02085
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998485 | 998484 | 1 | 1000 | 0.001 | 991999 | 992018 | -19 | -19000 | -0.019
25 | INDER PURI-2 | 4865117 | ELSTER | Kvarh(Lead/Lag) | 1333.333 | 999993 | 999993 | 0 | 0 | 0 | 993914 | 994449 | -535 | -713333.155 | -0.71333
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999784 | 999776 | 8 | 8000 | 0.008 | 1 | 6 | -5 | -5000 | -0.005
KASHMIRI GATE
27 | 221 kV DMRC #1 | 5128479 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999972 | 999971 | 1 | 1000 | 0.001 | 1000007 | 999999 | 8 | 8000 | 0.008
28 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 882106 | 882132 | -26 | -13000 | -0.013 | 999238 | 999236 | 2 | 1000 | 0.001
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 991111 | 991159 | -48 | -12800.16 | -0.0128 | 999965 | 999973 | -8 | -2133.36 | -0.0021334
30 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1 | 1 | 0 | 0 | 0 | 63 | 53 | 10 | 20000 | 0.02
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60857 | 60861 | -4 | 4000 | 0.004 | 995066 | 995130 | -64 | 64000 | 0.064
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5676 | 5675 | 1 | -1000 | -0.001 | 999726 | 999745 | -19 | 19000 | 0.019
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 40235 | 40212 | 23 | -46000 | -0.046 | 999676 | 999673 | 3 | -6000 | -0.006
BAWANA
34 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 96408 | 96105 | 303 | -303000 | -0.303 | 995563 | 995563 | 0 | 0 | 0
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 16331 | 16314 | 17 | -68000 | -0.068 | 59 | 44 | 15 | -60000 | -0.06
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 176129 | 176120 | 9 | -9000 | -0.009 | 998436 | 998457 | -21 | 21000 | 0.021
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 406311 | 406141 | 170 | -56666.1 | -0.056666 | 1356 | 1066 | 290 | -96665.7 | -0.096666
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 55658 | 55639 | 19 | -38000 | -0.038 | 132 | 107 | 25 | -50000 | -0.05
ROHINI-II
38 | Tx.1 | 4864957 | ELSTER | Kvarh(Lead/Lag) | -2500 | 3565 | 3548 | 17 | -42500 | -0.0425 | 81 | 59 | 22 | -55000 | -0.055
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 162769 | 162707 | 62 | -62000 | -0.062 | 2504 | 2459 | 45 | -45000 | -0.045
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 16947000 | 16947000 | 0 | 0 | 0 | 4712000 | 4303000 | 409000 | -409000 | -0.409
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 52533000 | 52483000 | 50000 | -50000 | -0.05 | 3210000 | 3153000 | 57000 | -57000 | -0.057
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 43675 | 43675 | 0 | 0 | 0 | 998000 | 998006 | -6 | 6000 | 0.006
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61423 | 61423 | 0 | 0 | 0 | 898 | 915 | -17 | 17000 | 0.017
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993408 | 993409 | -1 | -1000 | -0.001 | 24442 | 24554 | -112 | -112000 | -0.112
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | AUGUST-2023
DMS
45 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | 300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 999999 | 999999 | 0 | 0 | 0 | 999718 | 999720 | -2 | -200 | -0.0002 | upto 07.08.2023
[10 empty] | 0 |  |  |  |  | -0.00064615 | assessment 18 days
|  | 4865065 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 0 | 0 | 0 | 0 | 0 | 999999 | 1000000 | -1 | -266.67 | -0.00026667 | w.e.f 25.08.2023
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3230 | 3230 | 0 | 0 | 0 | 35243 | 35131 | 112 | 11200 | 0.0112
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 744 | 744 | 0 | 0 | 0 | 638 | 634 | 4 | 5332 | 0.005332
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 298 | 298 | 0 | 0 | 0 | 4664 | 4664 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
52 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1636 | 1636 | 0 | 0 | 0 | 11885 | 11301 | 584 | 58400 | 0.0584
B.G.ROAD
55 | CSA | 4902519 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999852 | 999846 | 6 | 3000 | 0.003 | 2468 | 2465 | 3 | 1500 | 0.0015
57 | DCM NO.2 | 4865089 | ELSTER | Kvarh(Lead/Lag) | 500 | 999998 | 1000001 | -3 | -1500 | -0.0015 | 20 | 7 | 13 | 6500 | 0.0065
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1193 | 1177 | 16 | 8000 | 0.008 | 1646 | 1624 | 22 | 11000 | 0.011
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992784 | 992789 | -5 | -500 | -0.0005 | 3375 | 3188 | 187 | 18700 | 0.0187
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 17 | 9 | 8 | 10666.64 | 0.010667 | 72 | 61 | 11 | 14666.63 | 0.014667
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 18356 | 17855 | 501 | 50100 | 0.0501 | 6603 | 6564 | 39 | 3900 | 0.0039
62 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | 100 | 1706 | 1425 | 281 | 28100 | 0.0281 | 184 | 155 | 29 | 2900 | 0.0029
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 60188 | 59638 | 550 | 55000 | 0.055 | 2638 | 2621 | 17 | 1700 | 0.0017
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 443 | 443 | 0 | 0 | 0 | 1168 | 1157 | 11 | 1466.63 | 0.0014666
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 10 | 10 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999893 | 999893 | 0 | 0 | 0 | 999459 | 999459 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 932191 | 932199 | -8 | -6400 | -0.0064 | 999693 | 999694 | -1 | -800 | -0.0008
69 | GHEWARA | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 993670 | 993680 | -10 | -8000 | -0.008 | 999999 | 999999 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 957496 | 957496 | 0 | 0 | 0 | 2084 | 2087 | -3 | -600 | -0.0006
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 988499 | 988499 | 0 | 0 | 0 | 895 | 890 | 5 | 1250 | 0.00125
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 979278 | 979279 | -1 | -1000 | -0.001 | 1797 | 1823 | -26 | -26000 | -0.026
73 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | 281.25 | 999583 | 999583 | 0 | 0 | 0 | 285 | 73 | 212 | 59625 | 0.059625
DEV NAGAR
74 | 33KV RAMA ROAD | Q0487625 | Secure | Kvarh(Lead/Lag) | 1 | -162000 | -121000 | -41000 | -41000 | -0.041 | 0 | 0 | 0 | 0 | 0
75 | 33KV SHAHZADA BAGH | Q0487626 | Secure | Kvarh(Lead/Lag) | 1 | 819000 | 670000 | 149000 | 149000 | 0.149 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -2.8488 |  |  |  |  | -2.8041
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 326 | 326 | 0 | 0 | 0 | 3548 | 3541 | 7 | -700 | -0.0007
MANGOLPURI
2 | NANGLOI-2 EXP | Y0357821 | Secure | Kvarh(Lead/Lag) | -0.8 | 655500 | 652500 | 3000 | -2400 | -0.0024 | 9000 | 8500 | 500 | -400 | -0.0004
SUBZI MANDI
3 | O/G BG Rd.1 | 4864899 | ELSTER | Kvarh(Lead/Lag) | -500 | 973030 | 973028 | 2 | -1000 | -0.001 | 992095 | 992004 | 91 | -45500 | -0.0455
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 7168 | 7188 | -20 | 2666.6 | 0.0026666 | 8372 | 8348 | 24 | -3199.92 | -0.0031999
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 996254 | 996254 | 0 | 0 | 0 | 998257 | 998335 | -78 | 14625 | 0.014625
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 893516 | 893516 | 0 | 0 | 0 | 997528 | 997528 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 991994 | 991994 | 0 | 0 | 0 | 954 | 867 | 87 | -54375 | -0.054375
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999719 | 999719 | 0 | 0 | 0 | 750 | 418 | 332 | -166000 | -0.166
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 991420 | 991420 | 0 | 0 | 0 | 20944 | 20489 | 455 | -91000 | -0.091
11 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -937.5 | 999969 | 999969 | 0 | 0 | 0 | 999812 | 999877 | -65 | 60937.5 | 0.060937
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 980831 | 980831 | 0 | 0 | 0 | 2752 | 3239 | -487 | 91312.5 | 0.091313
13 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | -2500 | 0 | 0 | 0 | 0 | 0 | 999997 | 1000001 | -4 | 10000 | 0.01
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 993038 | 993037 | 1 | -100 | -0.0001 | 31805 | 31202 | 603 | -60300 | -0.0603
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | -0.0008334 |  |  |  |  | -0.2446
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -2.8488 |  |  |  |  | -2.8041
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | -0.0008334 |  |  |  |  | -0.2446
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -0.012312 |  |  |  |  | -0.541
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -2.8619 |  |  |  |  | -3.5897
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -2.8619 | (REACTIVE MUs) |  |  |  | -3.5897 | (REACTIVE MUs)
Assessment of Reactive energy on SGTN 66KV I/C-I & II for the period Dec-2020 to Dec-2021 due to wrong MF.Total Assessment of (-) 39.766 Mu at 103% and (-) 4.59 MU at 97% will be distributed equally in 4-Months i.e July-2023 to Oct-2023. | [9 empty] | -9.9415 | (REACTIVE MUs) |  |  |  | -1.1475 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.23264 | (REACTIVE MUs) |  |  |  | 0.33153 | (REACTIVE MUs)
[9 empty] | TOTAL | -12.5708 | (REACTIVE MUs) |  |  |  | -4.4056 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | AUGUST-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997806 | 997806 | 0 | 0 | 0 | 987849 | 987977 | -128 | -128000 | -0.128
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998506 | 998506 | 0 | 0 | 0 | 998148 | 998148 | 0 | 0 | 0
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 200 | 999433 | 999434 | -1 | -200 | -0.0002 | 969354 | 969780 | -426 | -85200 | -0.0852
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999790 | 999790 | 0 | 0 | 0 | 995855 | 996113 | -258 | -343999.14 | -0.344
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997307 | 997306 | 1 | 1500 | 0.0015 | 997561 | 997659 | -98 | -147000 | -0.147
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 10345 | 10345 | 0 | 0 | 0 | 18580 | 18579 | 1 | 1333.33 | 0.0013333
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994514 | 994508 | 6 | 6000 | 0.006 | 995202 | 995214 | -12 | -12000 | -0.012
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990609 | 990609 | 0 | 0 | 0 | 985504 | 985423 | 81 | 81000 | 0.081
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 999997 | 999997 | 0 | 0 | 0 | 998436 | 998394 | 42 | 33600 | 0.0336
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988555 | 988555 | 0 | 0 | 0 | 265019 | 265003 | 16 | 21333.28 | 0.021333
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 954 | 954 | 0 | 0 | 0 | 71 | 18 | 53 | -353333.298 | -0.35333
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34333 | 34333 | 0 | 0 | 0 | 997273 | 997121 | 152 | -152000 | -0.152
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 5292 | 5292 | 0 | 0 | 0 | 998460 | 997664 | 796 | -1592000 | -1.592
14 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1648 | 1648 | 0 | 0 | 0 | 995564 | 994505 | 1059 | -1059000 | -1.059
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 189629 | 189537 | 92 | -92000 | -0.092 | 24326 | 24144 | 182 | -182000 | -0.182
|  | 4864958 | ELSTER | Kvarh(Lead/Lag) | -1250 | 0 | 0 | 0 | 0 | 0 | 18 | 0 | 18 | -22500 | -0.0225 | w.e.f 22.08.2023
16 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13383 | 13376 | 7 | -7000 | -0.007 | 241 | 144 | 97 | -97000 | -0.097
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38472 | 38472 | 0 | 0 | 0 | 4176 | 3442 | 734 | -1468000 | -1.468
18 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4088 | 4081 | 7 | -14000 | -0.014 | 999779 | 999771 | 8 | -16000 | -0.016
PAAPANKALAN-III
19 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1600 | 59 | 53 | 6 | -9600 | -0.0096 | 1350 | 985 | 365 | -584000 | -0.584
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 129169 | 129164 | 5 | -4000 | -0.004 | 7419 | 6915 | 504 | -403200 | -0.4032
NAJAFGARH
21 | Tx.1 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999775 | 999822 | -47 | 117500 | 0.1175 | 999906 | 999922 | -16 | 40000 | 0.04
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952408 | 952436 | -28 | 56000 | 0.056 | 989436 | 989589 | -153 | 306000 | 0.306
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 906770 | 907041 | -271 | 542000 | 0.542 | 970956 | 970968 | -12 | 24000 | 0.024
|  | 4864787 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999819 | 1000000 | -181 | 362000 | 0.362 | 999999 | 1000000 | -1 | 2000 | 0.002 | w.e.f 22.08.2023
24 | Tx.4 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999581 | 999711 | -130 | 130000 | 0.13 | 999942 | 999953 | -11 | 11000 | 0.011
R.K.PURAM
25 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997379 | 997383 | -4 | 4000 | 0.004 | 997256 | 997248 | 8 | -8000 | -0.008
26 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981263 | 981262 | 1 | -1000 | -0.001 | 12975 | 12968 | 7 | -7000 | -0.007
27 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 293850 | 293846 | 4 | -4000 | -0.004 | 138381 | 137844 | 537 | -537000 | -0.537
[5 empty] | -1000 | [5 empty] | 139800 | 139681 | 119 | -119000 | -0.119
28 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7965 | 7964 | 1 | -2000 | -0.002 | 1449 | 1171 | 278 | -556000 | -0.556
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | Y0357821 | Secure | Kvarh(Lead/Lag) | 0.8 | 655500 | 652500 | 3000 | 2400 | 0.0024 | 9000 | 8500 | 500 | 400 | 0.0004
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 933831 | 933778 | 53 | -53000 | -0.053 | 965244 | 965242 | 2 | -2000 | -0.002
31 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993742 | 994478 | -736 | 736000 | 0.736 | 999503 | 999505 | -2 | 2000 | 0.002
32 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 500 | 728 | -228 | 228000 | 0.228 | 999970 | 999986 | -16 | 16000 | 0.016
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 41381 | 41381 | 0 | 0 | 0 | 12268 | 9627 | 2641 | -2112800 | -2.1128
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 63149 | 63149 | 0 | 0 | 0 | 60117 | 58939 | 1178 | -1884800 | -1.8848
[5 empty] | -1600 | [5 empty] | 60699 | 60378 | 321 | -513600 | -0.5136
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999907 | 999994 | -87 | 174000 | 0.174 | 1145 | 1146 | -1 | 2000 | 0.002
36 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 353 | 348 | 5 | -5000 | -0.005 | 999975 | 1000001 | -26 | 26000 | 0.026
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 24053 | 24080 | -27 | 27000 | 0.027 | 31051 | 31103 | -52 | 52000 | 0.052
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5546 | 5591 | -45 | 45000 | 0.045 | 996803 | 996803 | 0 | 0 | 0
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1235 | 1249 | -14 | 14000 | 0.014 | 1617 | 1634 | -17 | 17000 | 0.017
BRPL(+) continue | [14 empty] | AUGUST-2023
VASANT KUNJ
40 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6779 | 6773 | 6 | -6000 | -0.006 | 1000012 | 999983 | 29 | -29000 | -0.029
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25122 | 25120 | 2 | -2000 | -0.002 | 779 | 691 | 88 | -88000 | -0.088
42 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39758 | 39669 | 89 | -89000 | -0.089 | 997221 | 997244 | -23 | 23000 | 0.023
[5 empty] | -1000 | 40763 | 40732 | 31 | -31000 | -0.031 | 968782 | 968787 | -5 | 5000 | 0.005
MEHRAULI
43 | Tx.1 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7699 | 7699 | 0 | 0 | 0 | 3086 | 2843 | 243 | -243000 | -0.243
44 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 16762 | 16747 | 15 | -7500 | -0.0075 | 1795 | 1609 | 186 | -93000 | -0.093
45 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 2548 | 2548 | 0 | 0 | 0 | 1090 | 1010 | 80 | -200000 | -0.2
46 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4573 | 4572 | 1 | -2000 | -0.002 | 1011 | 912 | 99 | -198000 | -0.198
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 99153 | 99177 | -24 | 24000 | 0.024 | 996859 | 997010 | -151 | 151000 | 0.151
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 70384 | 70524 | -140 | 280000 | 0.28 | 999343 | 999355 | -12 | 24000 | 0.024
DIAL
49 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 10014 | 9849 | 165 | -247500 | -0.2475 | 54 | 49 | 5 | -7500 | -0.0075
50 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15214 | 15201 | 13 | -13000 | -0.013 | 999996 | 999994 | 2 | -2000 | -0.002
MASJID MOD
51 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996816 | 996816 | 0 | 0 | 0 | 1000060 | 999997 | 63 | -63000 | -0.063
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991325 | 991325 | 0 | 0 | 0 | 994707 | 994665 | 42 | -42000 | -0.042
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989578 | 989579 | -1 | 1000 | 0.001 | 986727 | 986843 | -116 | 116000 | 0.116
MUNDKA
54 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 993842 | 993842 | 0 | 0 | 0 | 999990 | 999990 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 962127 | 962137 | -10 | -8000 | -0.008 | 625 | 627 | -2 | -1600 | -0.0016
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 906473 | 906490 | -17 | -13600 | -0.0136 | 999427 | 999427 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4864985 | ELSTER | Kvarh(Lead/Lag) | 800 | 179 | 174 | 5 | 4000 | 0.004 | 1 | 1 | 0 | 0 | 0
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 992683 | 992688 | -5 | -4000 | -0.004 | 55 | 54 | 1 | 800 | 0.0008
60 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 985129 | 985134 | -5 | -4000 | -0.004 | 999736 | 999761 | -25 | -20000 | -0.02
61 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 983463 | 983490 | -27 | -21600 | -0.0216 | 999974 | 999975 | -1 | -800 | -0.0008
PARK STREET
63 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
SARITA VIHAR
64 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -2000 | 128743 | 128727 | 16 | -32000 | -0.032 | 7445 | 7267 | 178 | -356000 | -0.356
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19647 | 19647 | 0 | 0 | 0 | 13130 | 10519 | 2611 | -2611000 | -2.611
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 142668 | 142654 | 14 | -14000 | -0.014 | 3415 | 3303 | 112 | -112000 | -0.112
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 326 | 326 | 0 | 0 | 0 | 3548 | 3541 | 7 | 700 | 0.0007
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 996254 | 996254 | 0 | 0 | 0 | 998257 | 998335 | -78 | -14625 | -0.014625
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998243 | 998242 | 1 | 1000 | 0.001 | 412 | 404 | 8 | 8000 | 0.008
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997813 | 997790 | 23 | 23000 | 0.023 | 393 | 389 | 4 | 4000 | 0.004
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 893516 | 893516 | 0 | 0 | 0 | 997528 | 997528 | 0 | 0 | 0
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 923 | 923 | 0 | 0 | 0 | 999764 | 999805 | -41 | -41000 | -0.041
72 | IIT CIRCUIT | 4864872 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997067 | 997067 | 0 | 0 | 0 | 999575 | 999658 | -83 | -83000 | -0.083
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | 100 | 999992 | 999994 | -2 | -200 | -0.0002 | 999709 | 999734 | -25 | -2500 | -0.0025
74 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | 200 | 26 | 22 | 4 | 800 | 0.0008 | 299 | 197 | 102 | 20400 | 0.0204
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8138 | 8138 | 0 | 0 | 0 | 3074 | 3087 | -13 | -6500 | -0.0065
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994219 | 994219 | 0 | 0 | 0 | 4167 | 4174 | -7 | -7000 | -0.007
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980418 | 980418 | 0 | 0 | 0 | 512 | 516 | -4 | -4000 | -0.004
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7524 | 7524 | 0 | 0 | 0 | 6926 | 6926 | 0 | 0 | 0
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 993507 | 993507 | 0 | 0 | 0 | 338 | 324 | 14 | 2100 | 0.0021
80 | PASCHIM PURI - 2(L-8) | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 154219 | 154219 | 0 | 0 | 0 | 912250 | 912237 | 13 | 1300 | 0.0013
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2987 | 2987 | 0 | 0 | 0 | 651 | 654 | -3 | -800.01 | -0.00080001
82 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 5426 | 5426 | 0 | 0 | 0 | 8074 | 8035 | 39 | 39000 | 0.039
REWARI LINE
83 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 991420 | 991420 | 0 | 0 | 0 | 20944 | 20489 | 455 | 91000 | 0.091
84 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999969 | 999969 | 0 | 0 | 0 | 999812 | 999877 | -65 | -60937.5 | -0.060937
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 980831 | 980831 | 0 | 0 | 0 | 2752 | 3239 | -487 | -91312.5 | -0.091313
86 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | 2500 | 0 | 0 | 0 | 0 | 0 | 999997 | 1000001 | -4 | -10000 | -0.01
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 993038 | 993037 | 1 | 100 | 0.0001 | 31805 | 31202 | 603 | 60300 | 0.0603
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.0921 |  |  |  |  | -15.5917
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | AUGUST-2023
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21912 | 21916 | -4 | 2000 | 0.002 | 6202 | 6175 | 27 | -13500 | -0.0135
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992416 | 992416 | 0 | 0 | 0 | 3760 | 4828 | -1068 | 142396.44 | 0.1424
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999811 | 999811 | 0 | 0 | 0 | 313 | 40 | 273 | -182000.091 | -0.182
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1130 | 1130 | 0 | 0 | 0 | 607 | 653 | -46 | 46000 | 0.046
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989506 | 989494 | 12 | -12000 | -0.012 | 2636 | 2545 | 91 | -91000 | -0.091
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 2840 | 2840 | 0 | 0 | 0 | 45170 | 43001 | 2169 | -347040 | -0.34704
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3851 | 3851 | 0 | 0 | 0 | 25478 | 24181 | 1297 | -259400 | -0.2594
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 968270 | 968271 | -1 | 1000 | 0.001 | 999520 | 999397 | 123 | -123000 | -0.123
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 772 | 772 | 0 | 0 | 0 | 3306 | 2918 | 388 | -38800 | -0.0388
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 4985 | 4936 | 49 | -4900 | -0.0049 | 5789 | 5712 | 77 | -7700 | -0.0077
12 | 33KV SAHJAHAN ROAD | 4864793 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 209 | 209 | 0 | 0 | 0 | 5411 | 3526 | 1885 | 1570827.05 | 1.5708
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 455 | 455 | 0 | 0 | 0 | 6497 | 5027 | 1470 | -918750 | -0.91875
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
17 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 999999 | 999999 | 0 | 0 | 0 | 999718 | 999720 | -2 | 200 | 0.0002 | upto 07.08.2023
[10 empty] | 0 |  |  |  |  | 0.00064615 | assessment 18 days
|  | 4865065 | ELSTER | Kvarh(Lead/Lag) | -266.667 | 0 | 0 | 0 | 0 | 0 | 999999 | 1000000 | -1 | 266.667 | 0.00026667 | w.e.f 25.08.2023
18 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
19 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3230 | 3230 | 0 | 0 | 0 | 35243 | 35131 | 112 | -11200 | -0.0112
S.B.MILL
20 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 744 | 744 | 0 | 0 | 0 | 638 | 634 | 4 | -5332 | -0.005332
21 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 298 | 298 | 0 | 0 | 0 | 4664 | 4664 | 0 | 0 | 0
22 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
23 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1636 | 1636 | 0 | 0 | 0 | 11885 | 11301 | 584 | -58400 | -0.0584
REWARI LINE (11KV TRANSFER OF ENERGY)
26 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
27 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999893 | 999893 | 0 | 0 | 0 | 999459 | 999459 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
28 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 1816 | 1816 | 0 | 0 | 0 | 1321 | 973 | 348 | -278400 | -0.2784
REWARI LINE
29 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979278 | 979279 | -1 | 1000 | 0.001 | 1797 | 1823 | -26 | 26000 | 0.026
30 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | -281.25 | 999583 | 999583 | 0 | 0 | 0 | 285 | 73 | 212 | -59625 | -0.059625
FED FROM BRPL(RLY.)
31 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | -600 | 0.12 | 0.12 | 0 | 0 | 0 | 32.64 | 19.74 | 12.9 | -7740 | -0.00774
32 | TUGLUKABAD RY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | -3000 | 0.19 | 0.15 | 0.04 | -120 | -0.00012 | 12.42 | 9.26 | 3.16 | -9480 | -0.00948
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -0.01302 |  |  |  |  | -0.62503
AUGUST-2023
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 2.0921 |  |  |  |  | -15.5917
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -0.01302 |  |  |  |  | -0.62503
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.005 |  |  |  |  | -0.27403
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.004 |  |  |  |  | -0.31968
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 2.0801 |  |  |  |  | -16.8105
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 2.0801 | (REACTIVE MUs) |  |  |  | -16.8105 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.3024 | (REACTIVE MUs) |  |  |  | 0.47567 | (REACTIVE MUs)
[9 empty] | TOTAL | 2.3825 | (REACTIVE MUs) |  |  |  | -16.3348 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | AUGUST-2023
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36292 | 36293 | -1 | -267 | -0.000267 | 978508 | 979240 | -732 | -195444 | -0.19544
2 | KAMLA MKT.B-30 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999999 | 1000000 | -1 | -4000 | -0.004 | 999110 | 999155 | -45 | -180000 | -0.18
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24929 | 24929 | 0 | 0 | 0 | 33718 | 33722 | -4 | -533.32 | -0.00053332
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999602 | 999603 | -1 | -1000 | -0.001 | 998599 | 998623 | -24 | -24000 | -0.024
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 89 | 89 | 0 | 0 | 0 | 999273 | 999213 | 60 | 96000 | 0.096
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18375 | 18375 | 0 | 0 | 0 | 3240 | 3246 | -6 | -7999.98 | -0.008
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999339 | 999340 | -1 | -200 | -0.0002 | 991613 | 991728 | -115 | -23000 | -0.023
RPH
8 | KAMLA MKT.-2 | 4865183 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999974 | 999974 | 0 | 0 | 0 | 999977 | 999983 | -6 | -24000 | -0.024
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 982814 | 982814 | 0 | 0 | 0 | 512 | 407 | 105 | 52500 | 0.0525
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997232 | 997232 | 0 | 0 | 0 | 999789 | 999773 | 16 | 16000 | 0.016
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982509 | 982509 | 0 | 0 | 0 | 1003 | 1046 | -43 | -43000 | -0.043
12 | LAHORI GATE-1 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999965 | 999965 | 0 | 0 | 0 | 2537 | 1592 | 945 | 1259996.85 | 1.26
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993353 | 993353 | 0 | 0 | 0 | 994737 | 994930 | -193 | -193000 | -0.193
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992495 | 992495 | 0 | 0 | 0 | 999559 | 999745 | -186 | -186000 | -0.186
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994334 | 994334 | 0 | 0 | 0 | 6802 | 6681 | 121 | 96800 | 0.0968
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14637 | 14637 | 0 | 0 | 0 | 8610 | 8256 | 354 | 47198.82 | 0.047199
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 29 | 29 | 0 | 0 | 0 | 999865 | 999851 | 14 | 14000 | 0.014
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 425 | 425 | 0 | 0 | 0 | 16551 | 16681 | -130 | -130000 | -0.13
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 944254 | 944470 | -216 | -270000 | -0.27 | 947112 | 947146 | -34 | -42500 | -0.0425
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 923780 | 924184 | -404 | -404000 | -0.404 | 933436 | 933466 | -30 | -30000 | -0.03
21 | AKSHARDHAM | 4865027 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999431 | 999463 | -32 | -32000 | -0.032 | 999959 | 999965 | -6 | -6000 | -0.006
| KASHMIRI GATE | [8 empty] | -0.706 |  |  |  |  | -0.0785
22 | 100 MVA TX.-1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27 | 26 | 1 | -1000 | -0.001 | 999978 | 1000015 | -37 | 37000 | 0.037
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6637 | 6636 | 1 | -1000 | -0.001 | 985285 | 985295 | -10 | 10000 | 0.01
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 10 | 10 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998893 | 998892 | 1 | 1000 | 0.001 | 11727 | 11750 | -23 | -23000 | -0.023
PARK STREET
26 | TX.-1 (66KV) | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4760 | 4760 | 0 | 0 | 0 | 1342 | 770 | 572 | -572000 | -0.572
27 | TX.-2(66KV) | 4902495 | ELSTER | Kvarh(Lead/Lag) | -750 | 1301 | 1301 | 0 | 0 | 0 | 1702 | 1702 | 0 | 0 | 0
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12022 | 12016 | 6 | -6000 | -0.006 | 999205 | 999110 | 95 | -95000 | -0.095
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7138 | 7137 | 1 | -1000 | -0.001 | 998084 | 998080 | 4 | -4000 | -0.004
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 125175 | 125175 | 0 | 0 | 0 | 988985 | 987758 | 1227 | -1227000 | -1.227
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 97159 | 97159 | 0 | 0 | 0 | 5467 | 4026 | 1441 | -1441000 | -1.441
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 3066 | 3066 | 0 | 0 | 0 | 385 | 258 | 127 | -635000 | -0.635
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864899 | ELSTER | Kvarh(Lead/Lag) | 500 | 973030 | 973028 | 2 | 1000 | 0.001 | 992095 | 992004 | 91 | 45500 | 0.0455
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 7168 | 7188 | -20 | -2666.6 | -0.0026666 | 8372 | 8348 | 24 | 3199.92 | 0.0031999
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992416 | 992416 | 0 | 0 | 0 | 3760 | 4828 | -1068 | -142044 | -0.14204
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975536 | 975475 | 61 | -61000 | -0.061 | 990271 | 990266 | 5 | -5000 | -0.005
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962444 | 962357 | 87 | -87000 | -0.087 | 969524 | 969521 | 3 | -3000 | -0.003
DEV NAGAR
39 | TX.-3 (33KV) | Q0487636 | Secure | Kvarh(Lead/Lag) | -1 | -898000 | -604000 | -294000 | 294000 | 0.294 | 0 | 0 | 0 | 0 | 0
40 | TX.-4 (33KV) | Q0487633 | Secure | Kvarh(Lead/Lag) | -1 | 480000 | 382000 | 98000 | -98000 | -0.098 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.67313 |  |  |  |  | -3.5543
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.67313 |  |  |  |  | -3.5543
AUGUST-2023
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 625 | 626 | -1 | 1000 | 0.001 | 361 | 367 | -6 | 6000 | 0.006
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982098 | 982098 | 0 | 0 | 0 | 933960 | 933958 | 2 | -2000 | -0.002
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 247 | 247 | 0 | 0 | 0 | 62 | 89 | -27 | 27000 | 0.027
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2350 | 2349 | 1 | -1000 | -0.001 | 999759 | 999765 | -6 | 6000 | 0.006
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41747 | 41739 | 8 | -8000 | -0.008 | 998737 | 998680 | 57 | -57000 | -0.057
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 24717 | 24644 | 73 | -36500 | -0.0365 | 1366 | 1302 | 64 | -32000 | -0.032
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 423 | 428 | -5 | 5000 | 0.005 | 33 | 31 | 2 | -2000 | -0.002
8 | 100MVA Tx.3 (33 KV) | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 45708 | 45703 | 5 | -5000 | -0.005 | 999399 | 999401 | -2 | 2000 | 0.002
|  | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999989 | 1000000 | -11 | 11000 | 0.011 | 999933 | 1000000 | -67 | 67000 | 0.067 | w.e.f 04.08.2023
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1912 | 1918 | -6 | 6000 | 0.006 | 81 | 77 | 4 | -4000 | -0.004
GEETA COLONY
10 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973125 | 973125 | 0 | 0 | 0 | 968709 | 968679 | 30 | -30000 | -0.03
|  | 5128441 | ELSTER | Kvarh(Lead/Lag) | -1000 | 52 | 0 | 52 | -52000 | -0.052 | 1000295 | 999997 | 298 | -298000 | -0.298 | w.e.f 04.08.2023
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1157 | 1157 | 0 | 0 | 0 | 857 | 399 | 458 | -458000 | -0.458
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 14045 | 14045 | 0 | 0 | 0 | 602 | 416 | 186 | -930000 | -0.93
13 | TX-2 | 4864929 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30394 | 30327 | 67 | -67000 | -0.067 | 478 | 386 | 92 | -92000 | -0.092
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10462 | 10465 | -3 | 3000 | 0.003 | 913 | 134 | 779 | -779000 | -0.779
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -0.1435 |  |  |  |  | -2.576
| (B) NET ENERGY TO EAST | [8 empty] | -0.1435 |  |  |  |  | -2.576
AUGUST-2023
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 991111 | 991159 | -48 | 12800.16 | 0.0128 | 999965 | 999973 | -8 | 2133.36 | 0.0021334
2 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1 | 1 | 0 | 0 | 0 | 63 | 53 | 10 | -20000 | -0.02
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 736 | 737 | -1 | 266.66 | 0.00026666 | 2164 | 2192 | -28 | 7466.48 | 0.0074665
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -100 | 10320 | 10304 | 16 | -1600 | -0.0016 | 1442 | 1460 | -18 | 1800 | 0.0018
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 972725 | 972732 | -7 | 1400 | 0.0014 | 1000160 | 999808 | 352 | -70400 | -0.0704
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 789 | 791 | -2 | 2000 | 0.002 | 366 | 371 | -5 | 5000 | 0.005
7 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | -800 | 4 | 4 | 0 | 0 | 0 | 772 | 408 | 364 | -291200 | -0.2912
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 1823 | 1823 | 0 | 0 | 0 | 2129 | 1884 | 245 | -196000 | -0.196
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 942044 | 942044 | 0 | 0 | 0 | 987845 | 988102 | -257 | 205600 | 0.2056
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992330 | 992330 | 0 | 0 | 0 | 998394 | 998661 | -267 | 534000 | 0.534
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 986645 | 986645 | 0 | 0 | 0 | 998514 | 998514 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993408 | 993409 | -1 | 1000 | 0.001 | 24442 | 24554 | -112 | 112000 | 0.112
DMS
15 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | -300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4902519 | ELSTER | Kvarh(Lead/Lag) | -500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999852 | 999846 | 6 | -3000 | -0.003 | 2468 | 2465 | 3 | -1500 | -0.0015
18 | DCM NO.2 | 4865089 | ELSTER | Kvarh(Lead/Lag) | -500 | 999998 | 1000001 | -3 | 1500 | 0.0015 | 20 | 7 | 13 | -6500 | -0.0065
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1193 | 1177 | 16 | -8000 | -0.008 | 1646 | 1624 | 22 | -11000 | -0.011
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 60188 | 59638 | 550 | -55000 | -0.055 | 2638 | 2621 | 17 | -1700 | -0.0017
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 443 | 443 | 0 | 0 | 0 | 1168 | 1157 | 11 | -1466.63 | -0.0014666
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992784 | 992789 | -5 | 500 | 0.0005 | 3375 | 3188 | 187 | -18700 | -0.0187
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 17 | 9 | 8 | -10666.64 | -0.010667 | 72 | 61 | 11 | -14666.63 | -0.014667
24 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 18356 | 17855 | 501 | -50100 | -0.0501 | 6603 | 6564 | 39 | -3900 | -0.0039
25 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | -100 | 1706 | 1425 | 281 | -28100 | -0.0281 | 184 | 155 | 29 | -2900 | -0.0029
FED FROM BYPL (RLY.)
26 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 87270 | 86150 | 1120 | -1120 | -0.00112 | 389400 | 380190 | 9210 | -9210 | -0.00921
27 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 50680 | 48410 | 2270 | -2270 | -0.00227 | 626890 | 621500 | 5390 | -5390 | -0.00539
28 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 308700 | 292200 | 16500 | -16500 | -0.0165 | 2113799.94 | 2091200 | 22599.94 | -22599.94 | -0.0226
DEV NAGAR
29 | 33KV RAMA ROAD | Q0487625 | SECURE | Kvarh(Lead/Lag) | -1 | -162000 | -121000 | -41000 | 41000 | 0.041 | 0 | 0 | 0 | 0 | 0
30 | 33KV SHAHZADA BAGH | Q0487626 | SECURE | Kvarh(Lead/Lag) | -1 | 819000 | 670000 | 149000 | -149000 | -0.149 | 0 | 0 | 0 | 0 | 0
FED FROM BYPL (RLY.)
31 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | -1200 | 20.5 | 15.3 | 5.2 | -6240 | -0.00624 | 27.05 | 24.19 | 2.86 | -3432 | -0.003432
32 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | -1200 | 0.52 | 0.39 | 0.13 | -156 | -0.000156 | 85.56 | 58.47 | 27.09 | -32508 | -0.032508
33 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | -1200 | 0.39 | 0.27 | 0.12 | -144 | -0.000144 | 32.48 | 27.18 | 5.3 | -6360 | -0.00636
34 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | -1200 | 0.91 | 0.91 | 0 | 0 | 0 | 38.87 | 24.74 | 14.13 | -16956 | -0.016956
35 | KODIYA PUL | Q0430828 | SECURE | Kvarh(Lead/Lag) | -3000 | 0 | 0 | 0 | 0 | 0 | 13.38 | 10.03 | 3.35 | -10050 | -0.01005
[10 empty] | -0.27143 |  |  |  |  | 0.12156
AUGUST-2023
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.67313 |  |  |  |  | -3.5543
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.27143 |  |  |  |  | 0.12156
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -0.94456 |  |  |  |  | -3.4328
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -0.1435 |  |  |  |  | -2.576
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.0881 |  |  |  |  | -6.0088
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.0881 | (REACTIVE MUs) |  |  |  | -6.0088 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.15285 | (REACTIVE MUs) |  |  |  | 0.24452 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.93522 | (REACTIVE MUs) |  |  |  | -5.7642 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | AUGUST-2023
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 736 | 737 | -1 | -266.67 | -0.00026667 | 2164 | 2192 | -28 | -7466.76 | -0.0074668
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 100 | 10320 | 10304 | 16 | 1600 | 0.0016 | 1442 | 1460 | -18 | -1800 | -0.0018
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 972725 | 972732 | -7 | -1400 | -0.0014 | 1000160 | 999808 | 352 | 70400 | 0.0704
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 789 | 791 | -2 | -2000 | -0.002 | 366 | 371 | -5 | -5000 | -0.005
5 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | 800 | 4 | 4 | 0 | 0 | 0 | 772 | 408 | 364 | 291200 | 0.2912
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 1823 | 1823 | 0 | 0 | 0 | 2129 | 1884 | 245 | 196000 | 0.196
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 942044 | 942044 | 0 | 0 | 0 | 987845 | 988102 | -257 | -205600 | -0.2056
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992330 | 992330 | 0 | 0 | 0 | 998394 | 998661 | -267 | -534000 | -0.534
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 952726 | 952727 | -1 | -50 | -5e-05 | 30685 | 30026 | 659 | 32950 | 0.03295
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 998974 | 998975 | -1 | -100 | -0.0001 | 2885 | 1951 | 934 | 93400 | 0.0934
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997779 | 997778 | 1 | 500 | 0.0005 | 9299 | 9121 | 178 | 89000 | 0.089
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999829 | 999830 | -1 | -100 | -0.0001 | 995545 | 995895 | -350 | -35000 | -0.035
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 998338 | 998338 | 0 | 0 | 0 | 4488 | 4388 | 100 | 133333 | 0.13333
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11074 | 11074 | 0 | 0 | 0 | 43244 | 43244 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999862 | 999862 | 0 | 0 | 0 | 4076 | 4031 | 45 | 59999.85 | 0.06
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991420 | 991478 | -58 | -58000 | -0.058 | 364 | 342 | 22 | 22000 | 0.022
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976344 | 976369 | -25 | -25000 | -0.025 | 3099 | 2991 | 108 | 108000 | 0.108
21 | SCHOOL LANE-1 | 4865146 | ELSTER | Kvarh(Lead/Lag) | 2500 | 996804 | 996808 | -4 | -10000 | -0.01 | 222 | 163 | 59 | 147500 | 0.1475
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 993572 | 993611 | -39 | -97500 | -0.0975 | 510 | 498 | 12 | 30000 | 0.03
[10 empty] | -0.1905 |  |  |  |  | 0.3075
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989506 | 989494 | 12 | 12000 | 0.012 | 2636 | 2545 | 91 | 91000 | 0.091
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 2840 | 2840 | 0 | 0 | 0 | 45170 | 43001 | 2169 | 347040 | 0.34704
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3851 | 3851 | 0 | 0 | 0 | 25478 | 24181 | 1297 | 259400 | 0.2594
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 968270 | 968271 | -1 | -1000 | -0.001 | 999520 | 999397 | 123 | 123000 | 0.123
A.I.I.M.S.
27 | KILOKARI | 4865103 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 999871 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 209 | 209 | 0 | 0 | 0 | 5411 | 3526 | 1885 | -1570827.05 | -1.5708
AUGUST-2023
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 644 | 644 | 0 | 0 | 0 | 989198 | 989266 | -68 | 68000 | 0.068
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3134 | 3135 | -1 | 1000 | 0.001 | 995121 | 995168 | -47 | 47000 | 0.047
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998324 | 998324 | 0 | 0 | 0 | 994726 | 994892 | -166 | 332000 | 0.332
33 | 33KV TX-2 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999900 | 999901 | -1 | 1000 | 0.001 | 999134 | 999418 | -284 | 284000 | 0.284
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 455 | 455 | 0 | 0 | 0 | 6497 | 5027 | 1470 | 918750 | 0.91875
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 772 | 772 | 0 | 0 | 0 | 3306 | 2918 | 388 | 38800 | 0.0388
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 4985 | 4936 | 49 | 4900 | 0.0049 | 5789 | 5712 | 77 | 7700 | 0.0077
37 | 33KV SAHJAHAN ROAD | 4864793 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21912 | 21916 | -4 | -2000 | -0.002 | 6202 | 6175 | 27 | 13500 | 0.0135
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 923 | 923 | 0 | 0 | 0 | 999764 | 999805 | -41 | 41000 | 0.041
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997067 | 997067 | 0 | 0 | 0 | 999575 | 999658 | -83 | 83000 | 0.083
AIIMS
3 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | -100 | 999992 | 999994 | -2 | 200 | 0.0002 | 999709 | 999734 | -25 | 2500 | 0.0025
4 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | -200 | 26 | 22 | 4 | -800 | -0.0008 | 299 | 197 | 102 | -20400 | -0.0204
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -0.17702 |  |  |  |  | 1.5504
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -0.17702 |  |  |  |  | 1.5504
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.47317 |  |  |  |  | 0.038607
| TOTAL ENERGY TO NDMC | [8 empty] | -0.65019 |  |  |  |  | 1.589

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2023
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 4282 | 4281 | 1 | 200 | 0.0002 | 82135 | 82098 | 37 | 7400 | 0.0074
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999495 | 999495 | 0 | 0 | 0 | 32964 | 32964 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 999925 | 999908 | 17 | 3400 | 0.0034 | 2328 | 2319 | 9 | 1800 | 0.0018
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999872 | 999873 | -1 | -400 | -0.0004 | 20073 | 20031 | 42 | 16800 | 0.0168
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999283 | 999302 | -19 | -15200 | -0.0152 | 757 | 763 | -6 | -4800 | -0.0048
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2349 | 2325 | 24 | 9600 | 0.0096 | 6773 | 6754 | 19 | 7600 | 0.0076
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999811 | 999811 | 0 | 0 | 0 | 313 | 40 | 273 | 182000.091 | 0.182
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1130 | 1130 | 0 | 0 | 0 | 607 | 653 | -46 | -46000 | -0.046
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0024 |  |  |  |  | 0.1648
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | R.R. HOSPITAL | 4902594 | ELSTER | Kvarh(Lead/Lag) | 500 | 35 | 27 | 8 | 4000 | 0.004 | 704 | 498 | 206 | 103000 | 0.103
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 88 | 88 | 0 | 0 | 0 | 1846 | 1774 | 72 | 7200 | 0.0072
11 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4407 | 4407 | 0 | 0 | 0 | 70181 | 67548 | 2633 | 197475 | 0.19748
12 | SUBROTO PARK | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 6 | 6 | 0 | 0 | 0 | 310 | 196 | 114 | 11400 | 0.0114
13 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 784 | 784 | 0 | 0 | 0 | 6011 | 6011 | 0 | 0 | 0
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10294 | 10294 | 0 | 0 | 0 | 8853 | 8847 | 6 | 600 | 0.0006
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.004 |  |  |  |  | 0.31968
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0024 |  |  |  |  | 0.1648
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.0016 |  |  |  |  | 0.48448
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.0016 | (REACTIVE MUs) |  |  |  | 0.48448 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.1134 | (REACTIVE MUs) |  |  |  | 0.0064786 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.1118 | (REACTIVE MUs) |  |  |  | 0.49095 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2023
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 991994 | 991994 | 0 | 0 | 0 | 954 | 867 | 87 | 54375 | 0.054375
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999719 | 999719 | 0 | 0 | 0 | 750 | 418 | 332 | 166000 | 0.166
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 1816 | 1816 | 0 | 0 | 0 | 1321 | 973 | 348 | 278400 | 0.2784
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 87270 | 86150 | 1120 | 1120 | 0.00112 | 389400 | 380190 | 9210 | 9210 | 0.00921
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 50680 | 48410 | 2270 | 2270 | 0.00227 | 626889.98 | 621500 | 5389.98 | 5389.98 | 0.00539
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 308700 | 292200 | 16500 | 16500 | 0.0165 | 2113799.94 | 2091200 | 22599.94 | 22599.94 | 0.0226
4 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | 1200 | 20.5 | 15.3 | 5.2 | 6240 | 0.00624 | 27.05 | 24.19 | 2.86 | 3432 | 0.003432
5 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | 1200 | 0.52 | 0.39 | 0.13 | 156 | 0.000156 | 85.56 | 58.47 | 27.09 | 32508 | 0.032508
6 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | 1200 | 0.39 | 0.27 | 0.12 | 144 | 0.000144 | 32.48 | 27.18 | 5.3 | 6360 | 0.00636
7 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | 1200 | 0.91 | 0.91 | 0 | 0 | 0 | 38.87 | 24.74 | 14.13 | 16956 | 0.016956
8 | KODIYA PUL | Q0430828 | SECURE | Kvarh(Lead/Lag) | 3000 | 0 | 0 | 0 | 0 | 0 | 13.38 | 10.03 | 3.35 | 10050 | 0.01005
FED FROM BRPL(RLY.)
9 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | 600 | 0.12 | 0.12 | 0 | 0 | 0 | 32.64 | 19.74 | 12.9 | 7740 | 0.00774
10 | TUGLUKABAD RLY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | 3000 | 0.19 | 0.15 | 0.04 | 120 | 0.00012 | 12.42 | 9.26 | 3.16 | 9480 | 0.00948
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.02655 |  |  |  |  | 0.6225
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.00059013 |  |  |  |  | 0.0052024
TOTAL ENERGY TO Northern Railway | [9 empty] | 0.02714 |  |  |  |  | 0.6277

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2023
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 993144 | 993144 | 0 | 0 | 0 | 999258 | 999377 | -119 | -59500 | -0.0595
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 18477 | 18477 | 0 | 0 | 0 | 986601 | 988558 | -1957 | -195700 | -0.1957
3 | O/G VISHAL-1 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 833.333 | 391 | 385 | 6 | 4999.998 | 0.005 | 252 | 154 | 98 | 81666.634 | 0.081667
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 996955 | 996955 | 0 | 0 | 0 | 998813 | 999061 | -248 | -232500 | -0.2325
AT 33/11 KV LEVEL
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999295 | 999295 | 0 | 0 | 0 | 998652 | 998751 | -99 | 99000 | 0.099
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 994052 | 994052 | 0 | 0 | 0 | 436 | 502 | -66 | 33000 | 0.033
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 210 | 210 | 0 | 0 | 0 | 999967 | 999967 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.005 |  |  |  |  | -0.27403
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 954745 | 954745 | 0 | 0 | 0 | 991368 | 991368 | 0 | 0 | 0
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993263 | 993263 | 0 | 0 | 0 | 993619 | 993619 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | 0 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999080 | 999078 | 2 | 2500 | 0.0025 | 998448 | 998512 | -64 | -80000 | -0.08
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998389 | 998398 | -9 | -8437.5 | -0.0084375 | 999460 | 999564 | -104 | -97500 | -0.0975
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 993218 | 993259 | -41 | -5125 | -0.005125 | 995530 | 996199 | -669 | -83625 | -0.083625
13 | O/G 33KV RAMA ROAD | 4865123 | ELSTER | Kvarh(Lead/Lag) | 1250 | 999351 | 999352 | -1 | -1250 | -0.00125 | 999940 | 999956 | -16 | -20000 | -0.02
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998162 | 998162 | 0 | 0 | 0 | 999490 | 999543 | -53 | -53000 | -0.053
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 965494 | 965494 | 0 | 0 | 0 | 989977 | 990187 | -210 | -210000 | -0.21
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 999808 | 999808 | 0 | 0 | 0 | 999740 | 999745 | -5 | 3125 | 0.003125
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 210 | 210 | 0 | 0 | 0 | 999967 | 999967 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | -0.012312 |  |  |  |  | -0.541
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.005 |  |  |  |  | -0.27403
| F) NET EXPORT TO BSES YPL | [8 empty] | 0 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -0.012312 |  |  |  |  | -0.541

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | AUGUST-2023
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/08/2023 | INTIAL READING 01/08/2023 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 15747 | 15508 | 239 | 478000 | 0.478 | 999982 | 999993 | -11 | -22000 | -0.022
2 | IBT-2 | 4864969 | ELSTER | kvarh (Lead/lag) | 2000 | 6811 | 6573 | 238 | 476000 | 0.476 | 999978 | 999992 | -14 | -28000 | -0.028
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 0.954 |  |  |  |  | -0.05
[7 empty] | Generation at feeders |  | = | -0.8965 |  |  |  |  | 0.229
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 1.8505 |  |  |  |  | -0.279
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 0.54904 |  |  |  |  | -0.082779
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 0.76851 |  |  |  |  | -0.11587
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 0.4208 |  |  |  |  | -0.063445
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 0.0916 |  |  |  |  | -0.01381
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864884 | ELSTER | kvarh (Lead/lag) | -1000 | 999874 | 999887 | -13 | 13000 | 0.013 | 999555 | 999678 | -123 | 123000 | 0.123
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 0.013 |  |  |  |  | 0.123
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.003796 |  |  |  |  | 0.035916
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.0054353 |  |  |  |  | 0.051426
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.003107 |  |  |  |  | 0.029397
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.0006617 |  |  |  |  | 0.0062607
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 192486 | 190379 | 2107 | -1580250 | -1.5802 | 999741 | 999739 | 2 | -1500 | -0.0015
2 | GT-II | 4902490 | ELSTER | kvarh (lag) | -1000 | 5035 | 4977 | 58 | -58000 | -0.058 | 7 | 4 | 3 | -3000 | -0.003
3 | STG-III | 4902483 | ELSTER | kvarh (lag) | -750 | 993263 | 992935 | 328 | -246000 | -0.246 | 999402 | 999398 | 4 | -3000 | -0.003
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -1.8842 |  |  |  |  | -0.0075
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.36328 |  |  |  |  | -0.001446
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.53305 |  |  |  |  | -0.0021217
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.3028 |  |  |  |  | -0.0012053
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.57093 |  |  |  |  | -0.0022725
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.11419 |  |  |  |  | -0.0004545
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 325705 | 327137 | -1432 | 143200 | 0.1432 | 984104 | 984104 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 0.1432 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 4 FY2023-24) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.0883 | % |  |  | 0.043086 |  |  |  |  | 0
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.9523 | % |  |  | 0.061508 |  |  |  |  | 0
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.1618 | % |  |  | 0.031736 |  |  |  |  | 0
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.8363 | % |  |  | 0.0054936 |  |  |  |  | 0
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.5492 | % |  |  | 0.00078645 |  |  |  |  | 0
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.4121 | % |  |  | 0.00059013 |  |  |  |  | 0
E) | TEKHAND WASTE TO ENERGY PANT
1 | TEKHAND WASTE TO ENERGY PANT | Q0473785 | SECURE | kvarh (Lead/lag) | -240000 | -1.53 | -1.53 | 0 | 0 | 0 | -22.18 | -16.92 | -5.26 | 1262400 | 1.2624
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 30.0883 | % |  |  | 0 |  |  |  |  | 0.37983
| BRPL | (DERC order = |  |  |  | 42.9523 | % |  |  | 0 |  |  |  |  | 0.54223
| BYPL | (DERC order = |  |  |  | 22.1618 | % |  |  | 0 |  |  |  |  | 0.27977
| NDMC | (DERC order = |  |  |  | 3.8363 | % |  |  | 0 |  |  |  |  | 0.048429
| MES | (DERC order = |  |  |  | 0.5492 | % |  |  | 0 |  |  |  |  | 0.0069331
| N.Railway | (DERC order = |  |  |  | 0.4121 | % |  |  | 0 |  |  |  |  | 0.0052024
F) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D+E)
1) | NDPL |  |  |  | = |  |  |  |  | 0.23264 |  |  |  |  | 0.33153
2) | BRPL |  |  |  | = |  |  |  |  | 0.3024 |  |  |  |  | 0.47567
3) | BYPL |  |  |  | = |  |  |  |  | 0.15285 |  |  |  |  | 0.24452
4) | NDMC |  |  |  | = |  |  |  |  | -0.47317 |  |  |  |  | 0.038607
5) | MES |  |  |  | = |  |  |  |  | -0.1134 |  |  |  |  | 0.0064786
6) | N.Railway |  |  |  | = |  |  |  |  | 0.00059013 |  |  |  |  | 0.0052024

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st AUGUST-2023 TO 31st AUGUST-2023
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -12.5708 |  | -4.4056
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 2.3825 |  | -16.3348
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -0.93522 |  | -5.7642
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -0.65019 | + | 1.589
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.1118 | + | 0.49095
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.02714 | + | 0.6277
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
Note:-Above Data is provided by DTL Metering Department