## NDPL
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965078 | 965081 | -3 | 3000 | 0.003 | 998085 | 998185 | -100 | 100000 | 0.1
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 83234 | 83063 | 171 | -342000 | -0.342 | 2537 | 2362 | 175 | -350000 | -0.35
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1020 | 949 | 71 | -71000 | -0.071 | 999998 | 1000006 | -8 | 8000 | 0.008
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998197 | 998191 | 6 | -6000 | -0.006 | 993169 | 993207 | -38 | 38000 | 0.038
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 894373 | 894352 | 21 | -21000 | -0.021 | 7839 | 7622 | 217 | -217000 | -0.217
[5 empty] | -1000 | [5 empty] | 987942 | 987831 | 111 | -111000 | -0.111
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35592 | 34745 | 847 | -847000 | -0.847 | 16118 | 16120 | -2 | 2000 | 0.002
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9894 | 9117 | 777 | -777000 | -0.777 | 998089 | 998092 | -3 | 3000 | 0.003
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5530 | 4872 | 658 | -658000 | -0.658 | 998256 | 998253 | 3 | -3000 | -0.003
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 966141 | 966924 | -783 | 391500 | 0.3915 | 843874 | 843885 | -11 | 5500 | 0.0055
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1893 | 1997 | -104 | 104000 | 0.104 | 998294 | 998306 | -12 | 12000 | 0.012
11 | Tx.-2 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2414 | 1809 | 605 | -605000 | -0.605 | 1 | 0 | 1 | -1000 | -0.001
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33526 | 28869 | 4657 | -4657000 | -4.657 | 996894 | 996893 | 1 | -1000 | -0.001
13 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 11220 | 10049 | 1171 | -1171 | -1.171 | 99999952 | 99999952 | 0 | 0 | 0
14 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 809859 | 809903 | -44 | -44000 | -0.044 | 999774 | 999976 | -202 | -202000 | -0.202
15 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 912773 | 912773 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
[10 empty] | 6.682 |  |  |  |  | 0 | Assessment last month
NARELA
16 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8268 | 7480 | 788 | -788000 | -0.788 | 999999 | 999999 | 0 | 0 | 0
17 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) | -500 | 51133 | 49214 | 1919 | -959500 | -0.9595 | 1000022 | 999984 | 38 | -19000 | -0.019
18 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47355 | 46712 | 643 | -643000 | -0.643 | 124 | 123 | 1 | -1000 | -0.001
NARAINA
19 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999930 | 999930 | 0 | 0 | 0 | 991574 | 991978 | -404 | -404000 | -0.404
20 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 452 | 452 | 0 | 0 | 0 | 21589 | 21870 | -281 | -281000 | -0.281
21 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1357 | 1357 | 0 | 0 | 0 | 12154 | 12196 | -42 | -21000 | -0.021
22 | 16 MVA TX.-2 | 5295128 | ELSTER | Kvarh(Lead/Lag) | 50 | 2560 | 2547 | 13 | 650 | 0.00065 | 56065 | 53757 | 2308 | 115400 | 0.1154
23 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995075 | 995075 | 0 | 0 | 0 | 983413 | 983582 | -169 | -169000 | -0.169
24 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999590 | 999591 | -1 | -1000 | -0.001 | 295 | 302 | -7 | -7000 | -0.007
25 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 54826 | 54870 | -44 | -4400 | -0.0044 | 189734 | 189838 | -104 | -10400 | -0.0104
KASHMIRI GATE
26 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 962641 | 962641 | 0 | 0 | 0 | 999810 | 999810 | 0 | 0 | 0
[10 empty] | -0.134 |  |  |  |  | -0.0003 | Assessment till 3/4/20
|  | 5128473 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998660 | 1000000 | -1340 | -1340000 | -1.34 | 999997 | 1000000 | -3 | -3000 | -0.003 | w.e.f 4/4/20
27 | 221 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 966611 | 967254 | -643 | -321500 | -0.3215 | 999999 | 999999 | 0 | 0 | 0
28 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 996793 | 996668 | 125 | 33333.75 | 0.033334 | 999846 | 999846 | 0 | 0 | 0
29 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | 500 | 1784 | 1724 | 60 | 30000 | 0.03 | 999924 | 999915 | 9 | 4500 | 0.0045
KANJAWALA
30 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37759 | 37276 | 483 | -483000 | -0.483 | 996497 | 996473 | 24 | -24000 | -0.024
31 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 191083 | 190874 | 209 | -104500 | -0.1045 | 14752 | 14691 | 61 | -30500 | -0.0305
[5 empty] | -500 | 190442 | 188776 | 1666 | -833000 | -0.833
32 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3440 | 3110 | 330 | -660000 | -0.66 | 999982 | 999975 | 7 | -14000 | -0.014
BAWANA
33 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 34356 | 31857 | 2499 | -2499000 | -2.499 | 999958 | 999957 | 1 | -1000 | -0.001
DSIDC BAWANA
34 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 80515 | 75532 | 4983 | -9966000 | -9.966 | 280 | 280 | 0 | 0 | 0
35 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 85451 | 81495 | 3956 | -3956000 | -3.956 | 998486 | 998486 | 0 | 0 | 0
36 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 160058 | 153196 | 6862 | -6862000 | -6.862 | 2795 | 2795 | 0 | 0 | 0
ROHINI-II
37 | Tx.1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8334 | 7490 | 844 | -1688000 | -1.688 | 8 | 1 | 7 | -14000 | -0.014
38 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53079 | 51327 | 1752 | -1752000 | -1.752 | 1193 | 1179 | 14 | -14000 | -0.014
WAZIRPUR
39 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 702 | 699 | 3 | -3000 | -0.003 | 998534 | 998535 | -1 | 1000 | 0.001
40 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41913 | 40595 | 1318 | -1318000 | -1.318 | 1637 | 1637 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
41 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999972 | 999980 | -8 | -8000 | -0.008 | 27816 | 27903 | -87 | -87000 | -0.087
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | APRIL-2020
DMS
42 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 971 | 972 | -1 | -1000 | -0.001 | 61247 | 61255 | -8 | -8000 | -0.008
VISHAL
43 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999465 | 999465 | 0 | 0 | 0 | 998791 | 999167 | -376 | -37600 | -0.0376
45 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 2946 | 2946 | 0 | 0 | 0 | 29295 | 28810 | 485 | 48500 | 0.0485
S.B.MILL
46 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 771 | 772 | -1 | -1333 | -0.001333 | 491 | 492 | -1 | -1333 | -0.001333
47 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 3179 | 3179 | 0 | 0 | 0 | 1592 | 1592 | 0 | 0 | 0
48 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
49 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
50 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
51 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1860 | 1865 | -5 | -500 | -0.0005 | 1478 | 1507 | -29 | -2900 | -0.0029
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999899 | 999899 | 0 | 0 | 0 | 1660 | 1659 | 1 | 500 | 0.0005
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 2257 | 2256 | 1 | 666.67 | 0.00066667 | 319 | 313 | 6 | 4000.02 | 0.004
55 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 568 | 566 | 2 | 1000 | 0.001 | 176 | 160 | 16 | 8000 | 0.008
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 996383 | 996384 | -1 | -100 | -0.0001 | 3854 | 4035 | -181 | -18100 | -0.0181
FAIZ ROAD
57 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 7524 | 7521 | 3 | 300 | 0.0003 | 11908 | 11823 | 85 | 8500 | 0.0085
58 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 9342 | 9342 | 0 | 0 | 0 | 2122 | 1891 | 231 | 23100 | 0.0231
59 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 28669 | 28666 | 3 | 300 | 0.0003 | 7726 | 7474 | 252 | 25200 | 0.0252
KASHMIRI GATE
60 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 52958 | 53093 | -135 | -13500 | -0.0135 | 1504 | 1503 | 1 | 100 | 0.0001
61 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 999713 | 999809 | -96 | -12799.68 | -0.0128 | 251 | 254 | -3 | -399.99 | -0.00039999
62 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 76 | 76 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
63 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
64 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999880 | 999880 | 0 | 0 | 0 | 999439 | 999439 | 0 | 0 | 0
MUNDKA
65 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 972782 | 972782 | 0 | 0 | 0 | 999760 | 999760 | 0 | 0 | 0
66 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 996718 | 996765 | -47 | -94000 | -0.094 | 1055 | 1060 | -5 | -10000 | -0.01
PEERAGARHI
67 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 980571 | 980785 | -214 | -42800 | -0.0428 | 380 | 378 | 2 | 400 | 0.0004
68 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 998262 | 998132 | 130 | 32500 | 0.0325 | 325 | 323 | 2 | 500 | 0.0005
REWARI LINE
69 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993091 | 993162 | -71 | -71000 | -0.071 | 2349 | 2405 | -56 | -56000 | -0.056
70 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 1817 | 1807 | 10 | 7500 | 0.0075 | 3295 | 3281 | 14 | 10500 | 0.0105
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -36.4732 |  |  |  |  | -1.7008
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 15301 | 15324 | -23 | 2300 | 0.0023 | 119617 | 119631 | -14 | 1400 | 0.0014
MANGOLPURI
2 | NANGLOI-2 EXP | 4864787 | ELSTER | Kvarh(Lead/Lag) | -800 | 1000179 | 999989 | 190 | -152000 | -0.152 | 429 | 363 | 66 | -52800 | -0.0528
SUBZI MANDI
3 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | -1000 | 820 | 815 | 5 | -5000 | -0.005 | 110 | 83 | 27 | -27000 | -0.027
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6524 | 6434 | 90 | -11999.7 | -0.012 | 374 | 266 | 108 | -14399.64 | -0.0144
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 997500 | 997730 | -230 | 43125 | 0.043125 | 999959 | 999960 | -1 | 187.5 | 0.0001875
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 922313 | 924598 | -2285 | 1828000 | 1.828 | 998143 | 998176 | -33 | 26400 | 0.0264
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 989719 | 989686 | 33 | -20625 | -0.020625 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 990895 | 990910 | -15 | 9375 | 0.009375 | 999844 | 999844 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 997201 | 997198 | 3 | -600 | -0.0006 | 14450 | 14150 | 300 | -60000 | -0.06
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 993987 | 994040 | -53 | 9937.5 | 0.0099375 | 5511 | 5495 | 16 | -3000 | -0.003
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 992767 | 992833 | -66 | 12375 | 0.012375 | 4142 | 4297 | -155 | 29062.5 | 0.029063
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 3057 | 3053 | 4 | -1000 | -0.001 | 7791 | 7764 | 27 | -6750 | -0.00675
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 995817 | 995841 | -24 | 2400 | 0.0024 | 28346 | 28358 | -12 | 1200 | 0.0012
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.7163 |  |  |  |  | -0.1057
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -36.4732 |  |  |  |  | -1.7008
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.7163 |  |  |  |  | -0.1057
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.038138 |  |  |  |  | -0.0031625
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -34.7188 |  |  |  |  | -1.8097
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -34.7188 | (REACTIVE MUs) |  |  |  | -1.8097 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -6.5803 | (REACTIVE MUs) |  |  |  | -0.052836 | (REACTIVE MUs)
[9 empty] | TOTAL | -41.2991 | (REACTIVE MUs) |  |  |  | -1.8625 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | APRIL-2020
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 24698 | 25067 | -369 | -36900 | -0.0369 | 994091 | 994317 | -226 | -22600 | -0.0226
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 10898 | 10951 | -53 | -15900 | -0.0159 | 3490 | 4042 | -552 | -165600 | -0.1656
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 85738 | 84919 | 819 | 61425 | 0.061425 | 396597 | 393712 | 2885 | 216375 | 0.21638
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 994989 | 995055 | -66 | -19800 | -0.0198 | 5998 | 6030 | -32 | -9600 | -0.0096
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1548 | 1556 | -8 | -10666.4 | -0.010666 | 3584 | 3603 | -19 | -25332.7 | -0.025333
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 100 | 10367 | 10060 | 307 | 30700 | 0.0307 | 1757 | 1400 | 357 | 35700 | 0.0357
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 102672 | 101656 | 1016 | 76200 | 0.0762 | 889175 | 889313 | -138 | -10350 | -0.01035
| RPH |  |  |  | 75 | [5 empty] | 43040 | 42355 | 685 | 51375 | 0.051375
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980619 | 980976 | -357 | -357000 | -0.357 | 2276 | 2276 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 990418 | 991258 | -840 | -420000 | -0.42 | 178 | 178 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996904 | 997217 | -313 | -313000 | -0.313 | 1623 | 1623 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988038 | 988229 | -191 | -191000 | -0.191 | 1350 | 1350 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990744 | 991106 | -362 | -362000 | -0.362 | 6252 | 6252 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997723 | 997998 | -275 | -275000 | -0.275 | 998652 | 998666 | -14 | -14000 | -0.014
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995871 | 996168 | -297 | -297000 | -0.297 | 999794 | 999794 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 996133 | 996533 | -400 | -320000 | -0.32 | 5204 | 5204 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 3965 | 5984 | -2019 | -269193.27 | -0.26919 | 3651 | 3651 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 913 | 971 | -58 | -58000 | -0.058 | 9730 | 9730 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 888 | 1216 | -328 | -328000 | -0.328 | 17471 | 17471 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 971612 | 971642 | -30 | -37500 | -0.0375 | 950417 | 950645 | -228 | -285000 | -0.285
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 985081 | 985155 | -74 | -81400 | -0.0814 | 936389 | 936449 | -60 | -66000 | -0.066
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 956335 | 956335 | 0 | 0 | 0 | 6205 | 6205 | 0 | 0 | 0
[10 empty] | -0.157 |  |  |  |  | 0 | Assessment till 16/4
|  | 4864989 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999996 | 1000000 | -4 | -4000 | -0.004 | 999961 | 1000000 | -39 | -39000 | -0.039 | w.e.f 17/4/20
| KASHMIRI GATE | [8 empty] | -0.2799 |  |  |  |  | -0.39
22 | 100 MVA TX.-1 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988549 | 988996 | -447 | 447000 | 0.447 | 998793 | 998807 | -14 | 14000 | 0.014
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986152 | 986250 | -98 | 98000 | 0.098 | 999031 | 999034 | -3 | 3000 | 0.003
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 76 | 76 | 0 | 0 | 0 | 663 | 663 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999814 | 999814 | 0 | 0 | 0 | 13639 | 13537 | 102 | 102000 | 0.102
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 149819 | 147937 | 1882 | -1882000 | -1.882 | 8325 | 8272 | 53 | -53000 | -0.053
[5 empty] | -1000 | 147234 | 147234 | 0 | 0 | 0
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40000 | 39700 | 300 | -300000 | -0.3 | 1000105 | 999933 | 172 | -172000 | -0.172
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1296 | 1043 | 253 | -253000 | -0.253 | 999335 | 999335 | 0 | 0 | 0
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000150 | 999810 | 340 | -340000 | -0.34 | 998959 | 998960 | -1 | 1000 | 0.001
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25560 | 25077 | 483 | -483000 | -0.483 | 983032 | 983031 | 1 | -1000 | -0.001
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42409 | 41085 | 1324 | -1324000 | -1.324 | 295 | 287 | 8 | -8000 | -0.008
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 29728 | 28648 | 1080 | -2160000 | -2.16 | 24 | 22 | 2 | -4000 | -0.004
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 820 | 815 | 5 | 5000 | 0.005 | 110 | 83 | 27 | 27000 | 0.027
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6524 | 6434 | 90 | 11999.7 | 0.012 | 374 | 266 | 108 | 14399.64 | 0.0144
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 993886 | 994019 | -133 | -17689 | -0.017689 | 10059 | 10071 | -12 | -1596 | -0.001596
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 955033 | 955033 | 0 | 0 | 0 | 990185 | 990185 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981065 | 981065 | 0 | 0 | 0 | 999226 | 999926 | -700 | 700000 | 0.7
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -9.5827 |  |  |  |  | 0.28777
| (A) NET ENERGY TO CENTRAL | [8 empty] | -9.5827 |  |  |  |  | 0.28777
APRIL-2020
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990906 | 990869 | 37 | -37000 | -0.037 | 997545 | 997660 | -115 | 115000 | 0.115
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989594 | 989543 | 51 | -51000 | -0.051 | 963198 | 963325 | -127 | 127000 | 0.127
3 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994132 | 994140 | -8 | 8000 | 0.008 | 998322 | 998509 | -187 | 187000 | 0.187
4 | Tx.4 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994311 | 993408 | 903 | -903000 | -0.903 | 999249 | 999297 | -48 | 48000 | 0.048
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27181 | 26303 | 878 | -878000 | -0.878 | 997550 | 997492 | 58 | -58000 | -0.058
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12659 | 12194 | 465 | -465000 | -0.465 | 996540 | 996427 | 113 | -113000 | -0.113
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7772 | 7773 | -1 | 1000 | 0.001 | 12521 | 12573 | -52 | 52000 | 0.052
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5128413 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992424 | 992400 | 24 | -24000 | -0.024 | 968943 | 968961 | -18 | 18000 | 0.018
|  | 5295133 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999984 | 1000000 | -16 | 16000 | 0.016 | 11 | 0 | 11 | -11000 | -0.011 | w.e.f 17/4/20
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961325 | 961137 | 188 | -188000 | -0.188 | 979111 | 979095 | 16 | -16000 | -0.016
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971923 | 971734 | 189 | -189000 | -0.189 | 976220 | 976266 | -46 | 46000 | 0.046
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 962446 | 962247 | 199 | -199000 | -0.199 | 825360 | 825346 | 14 | -14000 | -0.014
GAZIPUR
13 | TX.-1 | 5128447 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1911 | 936 | 975 | -1950000 | -1.95 | 0 | 0 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 56924 | 55697 | 1227 | -1227000 | -1.227 | 111 | 111 | 0 | 0 | 0
15 | TX-3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20157 | 18951 | 1206 | -1206000 | -1.206 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -7.292 |  |  |  |  | 0.381
| (B) NET ENERGY TO EAST | [8 empty] | -7.292 |  |  |  |  | 0.381
APRIL-2020
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 996793 | 996668 | 125 | -33333.75 | -0.033334 | 999846 | 999846 | 0 | 0 | 0
2 | CIVIL LINE-2 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -500 | 1784 | 1724 | 60 | -30000 | -0.03 | 999924 | 999915 | 9 | -4500 | -0.0045
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 2470 | 2103 | 367 | -97864.22 | -0.097864 | 2151 | 2150 | 1 | -266.66 | -0.00026666
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 103426 | 102754 | 672 | -67200 | -0.0672 | 152237 | 152234 | 3 | -300 | -0.0003
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 989395 | 989570 | -175 | 35000 | 0.035 | 999321 | 999322 | -1 | 200 | 0.0002
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999949 | 999978 | -29 | 29000 | 0.029 | 999999 | 1000000 | -1 | 1000 | 0.001
7 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | -800 | 1334 | 1290 | 44 | -35200 | -0.0352 | 2564 | 2558 | 6 | -4800 | -0.0048
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 3372 | 3463 | -91 | 72800 | 0.0728 | 1323 | 1325 | -2 | 1600 | 0.0016
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 995385 | 995521 | -136 | 108800 | 0.1088 | 998980 | 999010 | -30 | 24000 | 0.024
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 961875 | 961959 | -84 | 67200 | 0.0672 | 980821 | 981147 | -326 | 260800 | 0.2608
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 965896 | 966268 | -372 | 297600 | 0.2976 | 990020 | 990085 | -65 | 52000 | 0.052
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997887 | 997977 | -90 | 180000 | 0.18 | 999589 | 999597 | -8 | 16000 | 0.016
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 996437 | 996598 | -161 | 322000 | 0.322 | 999533 | 999539 | -6 | 12000 | 0.012
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999972 | 999980 | -8 | 8000 | 0.008 | 27816 | 27903 | -87 | 87000 | 0.087
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 971 | 972 | -1 | 1000 | 0.001 | 61247 | 61255 | -8 | 8000 | 0.008
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1412 | 1412 | 0 | 0 | 0 | 7172 | 7172 | 0 | 0 | 0
18 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999899 | 999899 | 0 | 0 | 0 | 1660 | 1659 | 1 | -500 | -0.0005
19 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 2257 | 2256 | 1 | -666.67 | -0.00066667 | 319 | 313 | 6 | -4000.02 | -0.004
20 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 568 | 566 | 2 | -1000 | -0.001 | 176 | 160 | 16 | -8000 | -0.008
KASHMIRI GATE
21 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 52958 | 53093 | -135 | 13500 | 0.0135 | 1504 | 1503 | 1 | -100 | -0.0001
22 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999713 | 999809 | -96 | 12799.68 | 0.0128 | 251 | 254 | -3 | 399.99 | 0.00039999
D.M.S
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 996383 | 996384 | -1 | 100 | 0.0001 | 3854 | 4035 | -181 | 18100 | 0.0181
FAIZ ROAD
24 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 7524 | 7521 | 3 | -300 | -0.0003 | 11908 | 11823 | 85 | -8500 | -0.0085
25 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 9342 | 9342 | 0 | 0 | 0 | 2122 | 1891 | 231 | -23100 | -0.0231
26 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 28669 | 28666 | 3 | -300 | -0.0003 | 7726 | 7474 | 252 | -25200 | -0.0252
FED FROM BYPL (RLY.)
27 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | 1 | 15220 | 15220 | 0 | 0 | 0 | 15630 | 13780 | 1850 | 1850 | 0.00185
28 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | 1 | 5080 | 4260 | 820 | 820 | 0.00082 | 57440 | 54770 | 2670 | 2670 | 0.00267
29 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | 1 | 24500 | 15200 | 9300 | 9300 | 0.0093 | 198800 | 157200 | 41600 | 41600 | 0.0416
[10 empty] | 0.89206 |  |  |  |  | 0.44795
APRIL-2020
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -9.5827 |  |  |  |  | 0.28777
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.89206 |  |  |  |  | 0.44795
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.69936 |  |  |  |  | -0.0027375
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -9.39 |  |  |  |  | 0.73299
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -7.292 |  |  |  |  | 0.381
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -16.682 |  |  |  |  | 1.114
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -16.682 | (REACTIVE MUs) |  |  |  | 1.114 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -5.0787 | (REACTIVE MUs) |  |  |  | -0.040779 | (REACTIVE MUs)
[9 empty] | TOTAL | -21.7608 | (REACTIVE MUs) |  |  |  | 1.0732 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | APRIL-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 998931 | 998940 | -9 | -45000 | -0.045 | 998816 | 998833 | -17 | -85000 | -0.085
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 980270 | 980274 | -4 | -5333.32 | -0.0053333 | 670443 | 670399 | 44 | 58666.52 | 0.058667
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 990263 | 990455 | -192 | -38400 | -0.0384 | 1689 | 2046 | -357 | -71400 | -0.0714
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999829 | 999838 | -9 | -11999.97 | -0.012 | 999748 | 999750 | -2 | -2666.66 | -0.0026667
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 998867 | 998891 | -24 | -36000 | -0.036 | 999945 | 999959 | -14 | -21000 | -0.021
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 15947 | 16030 | -83 | -8300 | -0.0083 | 22234 | 22422 | -188 | -18800 | -0.0188
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 629816 | 631421 | -1605 | -120375 | -0.12037 | 979401 | 980276 | -875 | -65625 | -0.065625
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 979225 | 979588 | -363 | -27225 | -0.027225 | 17889 | 18267 | -378 | -28350 | -0.02835
9 | BAY-5 LAJPAT NAGAR | 4865183 | ELSTER | Kvarh(Lead/Lag) | 900 | 998994 | 999040 | -46 | -41400 | -0.0414 | 999851 | 999917 | -66 | -59400 | -0.0594
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 995812 | 995986 | -174 | -17400 | -0.0174 | 265336 | 265420 | -84 | -8400 | -0.0084
PAAPANKALAN
11 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13794 | 13752 | 42 | -42000 | -0.042 | 996590 | 996565 | 25 | -25000 | -0.025
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2580 | 2582 | -2 | 4000 | 0.004 | 997576 | 997717 | -141 | 282000 | 0.282
14 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16042 | 16028 | 14 | -14000 | -0.014 | 996529 | 996678 | -149 | 149000 | 0.149
15 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977392 | 977392 | 0 | 0 | 0 | 991232 | 990748 | 484 | -484000 | -0.484
PAAPANKALAN-II
16 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 87357 | 86989 | 368 | -368000 | -0.368 | 998980 | 998899 | 81 | -81000 | -0.081
[5 empty] | -1000 | 75201 | 75038 | 163 | -163000 | -0.163
17 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 69941 | 69901 | 40 | -20000 | -0.02 | 35061 | 34212 | 849 | -424500 | -0.4245
18 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 16183 | 16092 | 91 | -182000 | -0.182 | 998383 | 998244 | 139 | -278000 | -0.278
19 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8259 | 8314 | -55 | 55000 | 0.055 | 814898 | 815146 | -248 | 248000 | 0.248
PAAPANKALAN-III
20 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12911 | 12620 | 291 | -291000 | -0.291 | 1179 | 995 | 184 | -184000 | -0.184
21 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 60152 | 59650 | 502 | -401600 | -0.4016 | 998577 | 998423 | 154 | -123200 | -0.1232
NAJAFGARH
22 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995990 | 996329 | -339 | 339000 | 0.339 | 961231 | 961315 | -84 | 84000 | 0.084
23 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 984072 | 984183 | -111 | 222000 | 0.222 | 992620 | 992660 | -40 | 80000 | 0.08 | CTR changed from 1000/1 to 2000/1 on 24/4
[5 empty] | -1000 | 984265 | 985042 | -777 | 777000 | 0.777 | 992660 | 992660 | 0 | 0 | 0
24 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -2000 | 939589 | 940093 | -504 | 1008000 | 1.008 | 983955 | 984025 | -70 | 140000 | 0.14
25 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10013 | 8988 | 1025 | -1025000 | -1.025 | 997322 | 997296 | 26 | -26000 | -0.026
R.K.PURAM
26 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4866 | 4866 | 0 | 0 | 0 | 1000028 | 999953 | 75 | -75000 | -0.075
27 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1659 | 1248 | 411 | -411000 | -0.411 | 29 | 29 | 0 | 0 | 0
28 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 160609 | 160544 | 65 | -65000 | -0.065 | 13604 | 13134 | 470 | -470000 | -0.47
[5 empty] | -1000 | [5 empty] | 12201 | 12010 | 191 | -191000 | -0.191
29 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 2656 | 2656 | 0 | 0 | 0 | 36 | 36 | 0 | 0 | 0
IMPORT
MANGOLPURI
30 | NANGLOI-2 (03) IMP. | 4864787 | ELSTER | Kvarh(Lead/Lag) | 800 | 1000179 | 999989 | 190 | 152000 | 0.152 | 429 | 363 | 66 | 52800 | 0.0528
LODHI ROAD
31 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 960214 | 961150 | -936 | 936000 | 0.936 | 965997 | 966000 | -3 | 3000 | 0.003
32 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984524 | 984837 | -313 | 313000 | 0.313 | 984111 | 984112 | -1 | 1000 | 0.001
| Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 50188 | 47558 | 2630 | -2630000 | -2.63 | 985516 | 985511 | 5 | -5000 | -0.005
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 17662 | 17358 | 304 | -243200 | -0.2432 | 999123 | 999083 | 40 | -32000 | -0.032
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 24750 | 24710 | 40 | -64000 | -0.064 | 999922 | 999900 | 22 | -35200 | -0.0352
[5 empty] | -1600 | 20449 | 20341 | 108 | -172800 | -0.1728
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996617 | 996601 | 16 | -16000 | -0.016 | 985095 | 985069 | 26 | -26000 | -0.026
36 | Tx.2 (66 KV)-circuit no. 2 | 5128458 | ELSTER | Kvarh(Lead/Lag) | -500 | 5990 | 5892 | 98 | -49000 | -0.049 | 991880 | 991820 | 60 | -30000 | -0.03
[5 empty] | -500 |  |  |  |  | 0.224 | [5 empty] | Assessment Last month
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21463 | 21477 | -14 | 14000 | 0.014 | 32561 | 32592 | -31 | 31000 | 0.031
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 128 | 47 | 81 | -81000 | -0.081 | 996076 | 996050 | 26 | -26000 | -0.026
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999910 | 999903 | 7 | -7000 | -0.007 | 999188 | 999071 | 117 | -117000 | -0.117
BRPL(+) continue | [14 empty] | APRIL-2020
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 47094 | 45732 | 1362 | -1362000 | -1.362 | 999174 | 999139 | 35 | -35000 | -0.035
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8761 | 9988 | -1227 | 1227000 | 1.227 | 999055 | 999078 | -23 | 23000 | 0.023
42 | Tx.3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 906 | 544 | 362 | -362000 | -0.362 | 13 | 0 | 13 | -13000 | -0.013
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23739 | 23526 | 213 | -213000 | -0.213 | 999002 | 998958 | 44 | -44000 | -0.044
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1153 | 1035 | 118 | -118000 | -0.118 | 925478 | 925477 | 1 | -1000 | -0.001
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37839 | 37529 | 310 | -310000 | -0.31 | 8031 | 7990 | 41 | -41000 | -0.041
46 | Tx.4 | 5128423 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999053 | 999029 | 24 | -48000 | -0.048 | 997735 | 997735 | 0 | 0 | 0
|  | 4865023 | ELSTER | Kvarh(Lead/Lag) | -2000 | 22 | 0 | 22 | -44000 | -0.044 | 999879 | 1000000 | -121 | 242000 | 0.242 | w.e.f 5/4/20
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 57887 | 52933 | 4954 | -4954000 | -4.954 | 997183 | 997183 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 30591 | 29216 | 1375 | -2750000 | -2.75 | 999381 | 999381 | 0 | 0 | 0
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8850 | 8761 | 89 | -178000 | -0.178 | 2454 | 2426 | 28 | -56000 | -0.056
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6918 | 6682 | 236 | -472000 | -0.472 | 1368 | 1353 | 15 | -30000 | -0.03
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 919398 | 919415 | -17 | 17000 | 0.017 | 979351 | 979398 | -47 | 47000 | 0.047
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1705 | 1732 | -27 | 27000 | 0.027 | 994887 | 994931 | -44 | 44000 | 0.044
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1942 | 1991 | -49 | 49000 | 0.049 | 987490 | 987520 | -30 | 30000 | 0.03
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 982277 | 982442 | -165 | -132000 | -0.132 | 578 | 611 | -33 | -26400 | -0.0264
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 952093 | 952204 | -111 | -88800 | -0.0888 | 999568 | 999588 | -20 | -16000 | -0.016
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 999613 | 999631 | -18 | -14400 | -0.0144 | 999820 | 999824 | -4 | -3200 | -0.0032
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 996321 | 996370 | -49 | -39200 | -0.0392 | 22 | 34 | -12 | -9600 | -0.0096
PARK STREET
60 | 66KV R VALLEY-1 | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 996437 | 996598 | -161 | -322000 | -0.322 | 999533 | 999539 | -6 | -12000 | -0.012
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 65058 | 65058 | 0 | 0 | 0 | 923 | 923 | 0 | 0 | 0
[10 empty] | 0.0966 | [5 empty] | Assessment last month
63 | Tx-2 | 5128415 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11118 | 9661 | 1457 | -1457000 | -1.457 | 1022 | 302 | 720 | -720000 | -0.72
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 114438 | 113367 | 1071 | -1071000 | -1.071 | 1003 | 745 | 258 | -258000 | -0.258
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 15301 | 15324 | -23 | -2300 | -0.0023 | 119617 | 119631 | -14 | -1400 | -0.0014
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 997500 | 997730 | -230 | -43125 | -0.043125 | 999959 | 999960 | -1 | -187.5 | -0.0001875
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 949864 | 949921 | -57 | -22800 | -0.0228 | 995627 | 995622 | 5 | 2000 | 0.002
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 10617 | 10750 | -133 | -53200 | -0.0532 | 72029 | 72097 | -68 | -27200 | -0.0272
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 922313 | 924598 | -2285 | -1828000 | -1.828 | 998143 | 998176 | -33 | -26400 | -0.0264
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 442133 | 441116 | 1017 | 101700 | 0.1017 | 84604 | 84604 | 0 | 0 | 0
[5 empty] | 100 | 440748 | 440375 | 373 | 37300 | 0.0373
[5 empty] | 100 | 436213 | 434034 | 2179 | 217900 | 0.2179
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4177 | 4392 | -215 | -215000 | -0.215 | 1888 | 1888 | 0 | 0 | 0
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10809 | 10809 | 0 | 0 | 0 | 21990 | 21986 | 4 | 300 | 0.0003
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 5309 | 5309 | 0 | 0 | 0 | 14017 | 13969 | 48 | 4800 | 0.0048
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8753 | 9033 | -280 | -140000 | -0.14 | 3137 | 3137 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999227 | 999379 | -152 | -152000 | -0.152 | 4077 | 4077 | 0 | 0 | 0
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 986096 | 986395 | -299 | -299000 | -0.299 | 1108 | 1109 | -1 | -1000 | -0.001
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6369 | 6463 | -94 | -94000 | -0.094 | 6497 | 6497 | 0 | 0 | 0
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 3860 | 4336 | -476 | -76160 | -0.07616 | 999804 | 999805 | -1 | -160 | -0.00016
79 | PASCHIM PURI - 2(L-8) | 5269777 | ELSTER | Kvarh(Lead/Lag) | 2000 | 4901 | 4901 | 0 | 0 | 0 | 3407 | 3407 | 0 | 0 | 0 | Check Meter Data
[10 empty] | 0.0807 |  |  |  |  | 0 | Assessment till 15/04/20
|  | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 1614 | 0 | 1614 | 161400 | 0.1614 | 0 | 0 | 0 | 0 | 0 | w.e.f 16/4/20
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3958 | 4043 | -85 | -85000 | -0.085 | 709 | 709 | 0 | 0 | 0
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4486 | 4373 | 113 | 113000 | 0.113 | 6910 | 6908 | 2 | 2000 | 0.002
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 997201 | 997198 | 3 | 600 | 0.0006 | 14450 | 14150 | 300 | 60000 | 0.06
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993987 | 994040 | -53 | -9937.5 | -0.0099375 | 5511 | 5495 | 16 | 3000 | 0.003
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 992767 | 992833 | -66 | -12375 | -0.012375 | 4142 | 4297 | -155 | -29062.5 | -0.029063
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 3057 | 3053 | 4 | 1000 | 0.001 | 7791 | 7764 | 27 | 6750 | 0.00675
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 995817 | 995841 | -24 | -2400 | -0.0024 | 28346 | 28358 | -12 | -1200 | -0.0012
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -17.3935 |  |  |  |  | -2.751
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | APRIL-2020
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -100 | 21840 | 21873 | -33 | 3300 | 0.0033 | 4889 | 4890 | -1 | 100 | 0.0001
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 993886 | 994019 | -133 | 17732.89 | 0.017733 | 10059 | 10071 | -12 | 1599.96 | 0.0016
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1300 | 1321 | -21 | 21000 | 0.021 | 998458 | 998462 | -4 | 4000 | 0.004
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996378 | 996444 | -66 | 66000 | 0.066 | 2241 | 2241 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 9120 | 9174 | -54 | 8640 | 0.00864 | 26081 | 26114 | -33 | 5280 | 0.00528
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3857 | 3956 | -99 | 19800 | 0.0198 | 7626 | 7633 | -7 | 1400 | 0.0014
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983713 | 984391 | -678 | 678000 | 0.678 | 999247 | 999247 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 102335 | 102334 | 1 | -100 | -0.0001 | 75549 | 75517 | 32 | -3200 | -0.0032
11 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 3990 | 4066 | -76 | 7600 | 0.0076 | 1180 | 1182 | -2 | 200 | 0.0002
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 16813 | 18267 | -1454 | 145400 | 0.1454 | 70283 | 70288 | -5 | 500 | 0.0005
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 998665 | 998665 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
KIDWAI NAGAR
16 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 0 | 0 | 0 | 0 | 0 | 1249 | 1249 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 562 | 556 | 6 | 450 | 0.00045 | 1406 | 2 | 1404 | 105300 | 0.1053
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999465 | 999465 | 0 | 0 | 0 | 998791 | 999167 | -376 | 37600 | 0.0376
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 2946 | 2946 | 0 | 0 | 0 | 29295 | 28810 | 485 | -48500 | -0.0485
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 771 | 772 | -1 | 1333 | 0.001333 | 491 | 492 | -1 | 1333 | 0.001333
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 3179 | 3179 | 0 | 0 | 0 | 1592 | 1592 | 0 | 0 | 0
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1860 | 1865 | -5 | 500 | 0.0005 | 1478 | 1507 | -29 | 2900 | 0.0029
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995632 | 0 | 0 | 0 | 61 | 61 | 0 | 0 | 0
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999880 | 999880 | 0 | 0 | 0 | 999439 | 999439 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 12037 | 12023 | 14 | -5600 | -0.0056 | 5995 | 5995 | 0 | 0 | 0
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993091 | 993162 | -71 | 71000 | 0.071 | 2349 | 2405 | -56 | 56000 | 0.056
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 1817 | 1807 | 10 | -7500 | -0.0075 | 3295 | 3281 | 14 | -10500 | -0.0105
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 1.0276 |  |  |  |  | 0.15401
APRIL-2020
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -17.3935 |  |  |  |  | -2.751
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 1.0276 |  |  |  |  | 0.15401
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.088737 |  |  |  |  | -0.0004
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.0007 |  |  |  |  | -0.25254
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -16.2779 |  |  |  |  | -2.85
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -16.2779 | (REACTIVE MUs) |  |  |  | -2.85 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -10.315 | (REACTIVE MUs) |  |  |  | -0.082824 | (REACTIVE MUs)
[9 empty] | TOTAL | -26.5929 | (REACTIVE MUs) |  |  |  | -2.9328 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2020
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 2470 | 2103 | 367 | 97867.89 | 0.097868 | 2151 | 2150 | 1 | 266.67 | 0.00026667
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 103426 | 102754 | 672 | 67200 | 0.0672 | 152237 | 152234 | 3 | 300 | 0.0003
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 989395 | 989570 | -175 | -35000 | -0.035 | 999321 | 999322 | -1 | -200 | -0.0002
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999949 | 999978 | -29 | -29000 | -0.029 | 999999 | 1000000 | -1 | -1000 | -0.001
5 | 66 KV BD MARG-I | 4864968 | ELSTER | Kvarh(Lead/Lag) | 800 | 1334 | 1290 | 44 | 35200 | 0.0352 | 2564 | 2558 | 6 | 4800 | 0.0048
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 3372 | 3463 | -91 | -72800 | -0.0728 | 1323 | 1325 | -2 | -1600 | -0.0016
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 995385 | 995521 | -136 | -108800 | -0.1088 | 998980 | 999010 | -30 | -24000 | -0.024
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 961875 | 961959 | -84 | -67200 | -0.0672 | 980821 | 981147 | -326 | -260800 | -0.2608
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 965896 | 966268 | -372 | -297600 | -0.2976 | 990020 | 990085 | -65 | -52000 | -0.052
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 997887 | 997977 | -90 | -180000 | -0.18 | 999589 | 999597 | -8 | -16000 | -0.016
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 971810 | 972009 | -199 | -9950 | -0.00995 | 20022 | 20614 | -592 | -29600 | -0.0296
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 975965 | 976396 | -431 | -32325 | -0.032325 | 22750 | 23047 | -297 | -22275 | -0.022275
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 998858 | 998869 | -11 | -5500 | -0.0055 | 5494 | 5516 | -22 | -11000 | -0.011
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 997491 | 997530 | -39 | -14625 | -0.014625 | 7488 | 7580 | -92 | -34500 | -0.0345
15 | BAY-16 (N BWN) | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 992548 | 992801 | -253 | -25300 | -0.0253 | 93 | 767 | -674 | -67400 | -0.0674
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 11600 | 11463 | 137 | 10275 | 0.010275 | 40102 | 40244 | -142 | -10650 | -0.01065
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 11945 | 11902 | 43 | 4300 | 0.0043 | 2105 | 2098 | 7 | 700 | 0.0007
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995577 | 995581 | -4 | -4000 | -0.004 | 104655 | 104773 | -118 | -118000 | -0.118
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994304 | 994325 | -21 | -21000 | -0.021 | 2227 | 2442 | -215 | -215000 | -0.215
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985062 | 985065 | -3 | -3000 | -0.003 | 144757 | 144889 | -132 | -132000 | -0.132
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999205 | 999217 | -12 | -30000 | -0.03 | 720 | 788 | -68 | -170000 | -0.17
[10 empty] | -0.058 |  |  |  |  | -0.635
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996378 | 996444 | -66 | -66000 | -0.066 | 2241 | 2241 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 9120 | 9174 | -54 | -8640 | -0.00864 | 26081 | 26114 | -33 | -5280 | -0.00528
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3857 | 3956 | -99 | -19800 | -0.0198 | 7626 | 7633 | -7 | -1400 | -0.0014
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983713 | 984391 | -678 | -678000 | -0.678 | 999247 | 999247 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 998665 | 998665 | 0 | 0 | 0 | 16650 | 16650 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999855 | 999855 | 0 | 0 | 0 | 999413 | 999413 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 999906 | 999906 | 0 | 0 | 0 | 999569 | 999569 | 0 | 0 | 0
APRIL-2020
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996504 | 996611 | -107 | 107000 | 0.107 | 990250 | 990250 | 0 | 0 | 0
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997887 | 998001 | -114 | 114000 | 0.114 | 995996 | 995996 | 0 | 0 | 0
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997554 | 997506 | 48 | -96000 | -0.096 | 996928 | 996928 | 0 | 0 | 0
33 | 33KV TX-2 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999101 | 999015 | 86 | -86000 | -0.086 | 996231 | 996231 | 0 | 0 | 0
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 0 | 0 | 0 | 0 | 0 | 1249 | 1249 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 562 | 556 | 6 | 450 | 0.00045 | 1406 | 2 | 1404 | 105300 | 0.1053
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 102335 | 102334 | 1 | 100 | 0.0001 | 75549 | 75517 | 32 | 3200 | 0.0032
37 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 3990 | 4066 | -76 | -7600 | -0.0076 | 1180 | 1182 | -2 | -200 | -0.0002
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 16813 | 18267 | -1454 | -145400 | -0.1454 | 70283 | 70288 | -5 | -500 | -0.0005
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 21840 | 21873 | -33 | -3300 | -0.0033 | 4889 | 4890 | -1 | -100 | -0.0001
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 442133 | 441116 | 1017 | -101700 | -0.1017 | 84604 | 84604 | 0 | 0 | 0
[5 empty] | -100 | 440748 | 440375 | 373 | -37300 | -0.0373
[5 empty] | -100 | 436213 | 434034 | 2179 | -217900 | -0.2179
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4177 | 4392 | -215 | 215000 | 0.215 | 1888 | 1888 | 0 | 0 | 0
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10809 | 10809 | 0 | 0 | 0 | 21990 | 21986 | 4 | -300 | -0.0003
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 5309 | 5309 | 0 | 0 | 0 | 14017 | 13969 | 48 | -4800 | -0.0048
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -1.7523 |  |  |  |  | -1.064
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -1.7523 |  |  |  |  | -1.064
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | -0.83226 |  |  |  |  | -0.0066826
| TOTAL ENERGY TO NDMC | [8 empty] | -2.5846 |  |  |  |  | -1.0707

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2020
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3654 | 3654 | 0 | 0 | 0 | 63810 | 65091 | -1281 | -256200 | -0.2562
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 32 | 32 | 0 | 0 | 0 | 7271 | 4980 | 2291 | 366560 | 0.36656
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4510 | 4510 | 0 | 0 | 0 | 55668 | 55697 | -29 | -29000 | -0.029
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 165 | 165 | 0 | 0 | 0 | 16692 | 16743 | -51 | -20400 | -0.0204
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 12 | 11 | 1 | 800 | 0.0008 | 425 | 475 | -50 | -40000 | -0.04
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 1440 | 1442 | -2 | -800 | -0.0008 | 4681 | 4692 | -11 | -4400 | -0.0044
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 994312 | 994312 | 0 | 0 | 0 | 4403 | 4403 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1300 | 1321 | -21 | -21000 | -0.021 | 998458 | 998462 | -4 | -4000 | -0.004
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.021 |  |  |  |  | 0.01256
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 66909 | 66902 | 7 | 700 | 0.0007 | 102488 | 102432 | 56 | 5600 | 0.0056
11 | DEFENCE CLUB | 4902560 | ELSTER | Kvarh(Lead/Lag) | 37.5 | 3 | 3 | 0 | 0 | 0 | 72 | 71 | 1 | 37.5 | 3.75e-05
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 100 | 756 | 756 | 0 | 0 | 0 | 21717 | 19248 | 2469 | 246900 | 0.2469
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7 | 7 | 0 | 0 | 0 | 75 | 75 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 738 | 738 | 0 | 0 | 0 | 1678 | 1678 | 0 | 0 | 0
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10283 | 10283 | 0 | 0 | 0 | 4366 | 4366 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.0007 |  |  |  |  | 0.25254
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.021 |  |  |  |  | 0.01256
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.0203 |  |  |  |  | 0.2651
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.0203 | (REACTIVE MUs) |  |  |  | 0.2651 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.18471 | (REACTIVE MUs) |  |  |  | -0.0014831 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.20501 | (REACTIVE MUs) |  |  |  | 0.26361 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2020
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 989719 | 989686 | 33 | 20625 | 0.020625 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 990895 | 990910 | -15 | -9375 | -0.009375 | 999844 | 999844 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 12037 | 12023 | 14 | 5600 | 0.0056 | 5995 | 5995 | 0 | 0 | 0
FED FROM BYPL (RLY.)
1 | SADAR | Q00263400 | SECURE | Kvarh(Lead/Lag) | -1 | 15220 | 15220 | 0 | 0 | 0 | 15630 | 13780 | 1850 | -1850 | -0.00185
2 | AJMERI GATE | Q00263398 | SECURE | Kvarh(Lead/Lag) | -1 | 5080 | 4260 | 820 | -820 | -0.00082 | 57440 | 54770 | 2670 | -2670 | -0.00267
3 | NDLS | Q00263402 | SECURE | Kvarh(Lead/Lag) | -1 | 24500 | 15200 | 9300 | -9300 | -0.0093 | 198800 | 157200 | 41600 | -41600 | -0.0416
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.00673 |  |  |  |  | -0.04612
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.049191 |  |  |  |  | -0.00039497
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.042461 |  |  |  |  | -0.046515

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2020
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 951743 | 956136 | -4393 | -439300 | -0.4393 | 2031 | 2033 | -2 | -200 | -0.0002
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 57316 | 57765 | -449 | -44900 | -0.0449 | 6265 | 6263 | 2 | 200 | 0.0002
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 15491 | 15865 | -374 | -187000 | -0.187 | 3871 | 3872 | -1 | -500 | -0.0005
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 998529 | 997952 | 577 | 540937.5 | 0.54094 | 87 | 87 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) | -500 | 994096 | 994158 | -62 | 31000 | 0.031 | 999825 | 999825 | 0 | 0 | 0
6 | TX-II | 4864851 | ELSTER | Kvarh(Lead/Lag) | -500 | 993150 | 993526 | -376 | 188000 | 0.188 | 999850 | 999852 | -2 | 1000 | 0.001
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 233 | 233 | 0 | 0 | 0 | 19 | 22 | -3 | -900 | -0.0009
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.088737 |  |  |  |  | -0.0004
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 971289 | 972578 | -1289 | -257800 | -0.2578 | 999779 | 999788 | -9 | -1800 | -0.0018
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 988106 | 988577 | -471 | -441562.5 | -0.44156 | 999928 | 999929 | -1 | -937.5 | -0.0009375
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.69936 |  |  |  |  | -0.0027375
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1794 | 1692 | 102 | 127500 | 0.1275 | 999935 | 999934 | 1 | 1250 | 0.00125
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 375952 | 373512 | 2440 | 244000 | 0.244 | 179850 | 179868 | -18 | -1800 | -0.0018
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 326868 | 322829 | 4039 | 252437.5 | 0.25244 | 104243 | 104272 | -29 | -1812.5 | -0.0018125
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 1699 | 1985 | -286 | -228800 | -0.2288 | 1724 | 1725 | -1 | -800 | -0.0008
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 954812 | 956092 | -1280 | -128000 | -0.128 | 999094 | 999097 | -3 | -300 | -0.0003
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 990329 | 992339 | -2010 | -301500 | -0.3015 | 990471 | 990475 | -4 | -600 | -0.0006
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 997279 | 997308 | -29 | 72500 | 0.0725 | 3054 | 3054 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 233 | 233 | 0 | 0 | 0 | 19 | 22 | -3 | 900 | 0.0009
| TOTAL NDPL | [8 empty] | 0.038138 |  |  |  |  | -0.0031625
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.088737 |  |  |  |  | -0.0004
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.69936 |  |  |  |  | -0.0027375
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.038138 |  |  |  |  | -0.0031625

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2020
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 100799 | 100589 | 210 | 210000 | 0.21 | 24578 | 24158 | 420 | 420000 | 0.42
2 | IBT-2 | 4864970 | ELSTER | kvarh (Lead/lag) | 2000 | 4685 | 4608 | 77 | 154000 | 0.154 | 999981 | 999771 | 210 | 420000 | 0.42
3 | MSW BAWANA | 4864958 | ELSTER | kvarh (Lead/lag) | -500 | 941830 | 945694 | -3864 | 1932000 | 1.932 | 998674 | 998674 | 0 | 0 | 0
4 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 583268 | 584955 | -1687 | 168700 | 0.1687 | 997094 | 997094 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 2.4647 |  | NET REACTIVE ENERGY |  |  | 0.84
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 2.4647 |  |  |  |  | 0.84
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | -20.784 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -4.6629 |  |  |  |  | -0.39
[7 empty] | NDMC = |  |  | -0.058 |  |  |  |  | -0.635
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -25.5049 |  |  |  |  | -1.025
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | -23.0402 |  |  |  |  | -0.185
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.5601 | % |  |  | -6.5803 |  |  |  |  | -0.052836
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 44.7696 | % |  |  | -10.315 |  |  |  |  | -0.082824
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.0429 | % |  |  | -5.0787 |  |  |  |  | -0.040779
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 3.6122 | % |  |  | -0.83226 |  |  |  |  | -0.0066826
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.8017 | % |  |  | -0.18471 |  |  |  |  | -0.0014831
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.2135 | % |  |  | -0.049191 |  |  |  |  | -0.00039497
Note :Sharing taken from wk-05 abt bill 2020-21

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st APRIL-2020 TO 30th APRIL-2020
FINAL EXECUTIVE SUMMERY
[5 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | -41.2991 |  | -1.8625
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | -26.5929 |  | -2.9328
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | -21.7608 | + | 1.0732
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | -2.5846 |  | -1.0707
5 | NET REACTIVE ENERGY TO MES |  |  |  | -0.20501 | + | 0.26361
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | -0.042461 |  | -0.046515
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 30/04/2020 | INTIAL READING 01/04/2020 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | #N/A | 81377 | #N/A | #N/A | #N/A | #N/A | 999899 | #N/A | #N/A | #N/A
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 804440 | 807080 | -2640 | -1980000 | -1.98 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | #N/A |  |  | NET REACTIVE ENERGY |  | #N/A
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1246 | 1411 | -165 | -825000 | -0.825 | 13231 | 13230 | 1 | 5000 | 0.005
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 863601 | 863409 | 192 | 192000 | 0.192
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 981986 | 981242 | 744 | 744000 | 0.744 | 2628 | 1995 | 633 | 633000 | 0.633
[8 empty] | NET REACTIVE ENERGY |  | -0.081 |  |  | NET REACTIVE ENERGY |  | 0.83