## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JULY-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15632 | 15621 | 11 | -11000 | -0.011 | 978143 | 978380 | -237 | 237000 | 0.237
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 7 | -1 | 1000 | 0.001 | 999981 | 999693 | 288 | -288000 | -0.288
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17014 | 17003 | 11 | -11000 | -0.011 | 996381 | 996656 | -275 | 275000 | 0.275
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974211 | 974210 | 1 | -1000 | -0.001 | 977956 | 977787 | 169 | -169000 | -0.169
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 921662 | 921658 | 4 | -4000 | -0.004 | 947441 | 949051 | -1610 | 1610000 | 1.61
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18698 | 18697 | 1 | -1000 | -0.001 | 17371 | 17083 | 288 | -288000 | -0.288
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19613 | 19612 | 1 | -1000 | -0.001 | 13340 | 13098 | 242 | -242000 | -0.242
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 16702 | 16661 | 41 | -51250 | -0.05125 | 996539 | 996490 | 49 | -61250 | -0.06125
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15491 | 15430 | 61 | -61000 | -0.061 | 986596 | 986571 | 25 | -25000 | -0.025
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33379 | 33359 | 20 | -20000 | -0.02 | 9679 | 9700 | -21 | 21000 | 0.021
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999899 | 999861 | 38 | -38000 | -0.038 | 4093 | 4096 | -3 | 3000 | 0.003
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997195 | 997215 | -20 | 20000 | 0.02 | 999747 | 999649 | 98 | -98000 | -0.098
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 947132 | 947544 | -412 | -412000 | -0.412 | 920532 | 920539 | -7 | -7000 | -0.007
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997189 | 997190 | -1 | 1000 | 0.001 | 16953 | 17070 | -117 | 117000 | 0.117
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999633 | 999614 | 19 | -19000 | -0.019 | 19628 | 19630 | -2 | 2000 | 0.002
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 764 | 757 | 7 | -7000 | -0.007 | 20597 | 20835 | -238 | 238000 | 0.238
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999545 | 999545 | 0 | 0 | 0 | 27410 | 27179 | 231 | 231000 | 0.231
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 218 | 218 | 0 | 0 | 0 | 27854 | 27518 | 336 | 336000 | 0.336
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2339 | 2338 | 1 | 100 | 0.0001 | 133062 | 129696 | 3366 | 336600 | 0.3366
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4219 | 4214 | 5 | 500 | 0.0005 | 192980 | 188737 | 4243 | 424300 | 0.4243
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996022 | 996022 | 0 | 0 | 0 | 998545 | 998028 | 517 | 517000 | 0.517
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999910 | 999910 | 0 | 0 | 0 | 4657 | 3491 | 1166 | 1166000 | 1.166
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 652726 | 652730 | -4 | -4000 | -0.004 | 800300 | 800478 | -178 | -178000 | -0.178
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 659798 | 659799 | -1 | -1000 | -0.001 | 833141 | 833590 | -449 | -449000 | -0.449
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991624 | 991634 | -10 | -10000 | -0.01 | 998286 | 998356 | -70 | -70000 | -0.07
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 111 | 112 | -1 | -500 | -0.0005 | 1000126 | 999952 | 174 | 87000 | 0.087 | ROLL OVER
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8279 | 8262 | 17 | -17000 | -0.017 | 981966 | 981918 | 48 | -48000 | -0.048
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 93 | 98 | -5 | 5000 | 0.005 | 948148 | 948336 | -188 | 188000 | 0.188
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991576 | 991578 | -2 | 2000 | 0.002 | 928629 | 930140 | -1511 | 1511000 | 1.511
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999473 | 999499 | -26 | 26000 | 0.026 | 999958 | 999984 | -26 | 26000 | 0.026
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15602 | 14157 | 1445 | -1445000 | -1.445 | 999938 | 999947 | -9 | 9000 | 0.009
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 777 | 748 | 29 | 29000 | 0.029 | 17495 | 17070 | 425 | 425000 | 0.425
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999670 | 999668 | 2 | 2000 | 0.002 | 3159 | 3195 | -36 | -36000 | -0.036
| NDPL(+) continue | [14 empty] | JULY-2012
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1363 | 1363 | 0 | 0 | 0 | 59245 | 58732 | 513 | 513000 | 0.513
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 14240 | 14240 | 0 | 0 | 0 | 65280 | 65217 | 63 | 6300 | 0.0063
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 8860 | 8860 | 0 | 0 | 0 | 20987 | 19115 | 1872 | 187200 | 0.1872
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9691 | 9691 | 0 | 0 | 0 | 34642 | 33348 | 1294 | 129400 | 0.1294
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13767 | 13767 | 0 | 0 | 0 | 45276 | 43021 | 2255 | 225500 | 0.2255
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 33872 | 33703 | 169 | 16900 | 0.0169 | 12455 | 11964 | 491 | 49100 | 0.0491
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16788 | 16281 | 507 | 50700 | 0.0507 | 11811 | 11720 | 91 | 9100 | 0.0091
45 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997147 | 997133 | 14 | 1400 | 0.0014 | 1966 | 1510 | 456 | 45600 | 0.0456
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5132 | 5132 | 0 | 0 | 0 | 24743 | 24178 | 565 | 282500 | 0.2825
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3313 | 3313 | 0 | 0 | 0 | 22991 | 22166 | 825 | 412500 | 0.4125
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3469 | 3427 | 42 | 21000 | 0.021 | 14034 | 14024 | 10 | 5000 | 0.005
49 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3662 | 3548 | 114 | 57000 | 0.057 | 16675 | 16616 | 59 | 29500 | 0.0295
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 998971 | 999033 | -62 | -6200 | -0.0062 | 6046 | 6014 | 32 | 3200 | 0.0032
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 5581 | 3962 | 1619 | 161900 | 0.1619 | 14909 | 14854 | 55 | 5500 | 0.0055
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 13955 | 10473 | 3482 | 348200 | 0.3482 | 50655 | 50576 | 79 | 7900 | 0.0079
53 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 7942 | 7976 | -34 | -3400 | -0.0034 | 18959 | 18968 | -9 | -900 | -0.0009
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999348 | 999375 | -27 | -2700 | -0.0027 | 217 | 221 | -4 | -400 | -0.0004
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 6662 | 6383 | 279 | 27900 | 0.0279 | 66238 | 64848 | 1390 | 139000 | 0.139
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 6171 | 6149 | 22 | 2200 | 0.0022 | 56636 | 55138 | 1498 | 149800 | 0.1498
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 7208 | 7185 | 23 | 2300 | 0.0023 | 81832 | 79832 | 2000 | 200000 | 0.2
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 115945 | 115941 | 4 | 400 | 0.0004 | 27662 | 26632 | 1030 | 103000 | 0.103
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 16592 | 16587 | 5 | 500 | 0.0005 | 37679 | 36272 | 1407 | 140700 | 0.1407
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 41 | 41 | 0 | 0 | 0 | 28 | 28 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | -400 | [10 empty] | Meter faulty
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995550 | 995550 | 0 | 0 | 0 | 1000012 | 999999 | 13 | -5200 | -0.0052 | Installed on 06/07/12,Roll over
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999301 | 999301 | 0 | 0 | 0 | 999393 | 999393 | 0 | 0 | 0
Mundka
64 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 1162 | 1295 | -133 | -106400 | -0.1064 | 291 | 295 | -4 | -3200 | -0.0032
MANGOLPURI
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -1.4565 |  |  |  |  | 8.4348
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | JULY-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 7794 | 7549 | 245 | -24500 | -0.0245 | 11725 | 11289 | 436 | -43600 | -0.0436
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6387 | 6389 | -2 | 2000 | 0.002 | 6848 | 6534 | 314 | -314000 | -0.314
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13350 | 13350 | 0 | 0 | 0 | 26609 | 25939 | 670 | -670000 | -0.67
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 38167 | 38206 | -39 | 3900 | 0.0039 | 146962 | 147033 | -71 | 7100 | 0.0071
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973268 | 973399 | -131 | 131000 | 0.131 | 992488 | 992550 | -62 | 62000 | 0.062
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999534 | 999534 | 0 | 0 | 0 | 999980 | 999983 | -3 | -6000 | -0.006
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.1124 |  |  |  |  | -0.9645
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -1.4565 |  |  |  |  | 8.4348
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.1124 |  |  |  |  | -0.9645
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 0.30417 |  |  |  |  | 0.083975
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -1.0399 |  |  |  |  | 7.5542
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.0399 | (REACTIVE MUs) |  |  |  | 7.5542 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.034964 | (REACTIVE MUs) |  |  |  | 0.044324 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.0049 | (REACTIVE MUs) |  |  |  | 7.5985 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JULY-2012
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988673 | 988676 | -3 | -300 | -0.0003 | 64549 | 71470 | -6921 | -692100 | -0.6921
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 17325 | 17348 | -23 | -2300 | -0.0023 | 6309 | 4583 | 1726 | 172600 | 0.1726
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 23310 | 23337 | -27 | -2700 | -0.0027 | 24783 | 23123 | 1660 | 166000 | 0.166
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998665 | 998668 | -3 | -300 | -0.0003 | 5891 | 8199 | -2308 | -230800 | -0.2308
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8902 | 8902 | 0 | 0 | 0 | 86754 | 77684 | 9070 | 907000 | 0.907
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 714 | 714 | 0 | 0 | 0 | 47290 | 48479 | -1189 | -118900 | -0.1189
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999580 | 999574 | 6 | 6000 | 0.006 | 1000031 | 999755 | 276 | 276000 | 0.276 | ROLL OVER
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999789 | 999791 | -2 | -2000 | -0.002 | 2199 | 2292 | -93 | -93000 | -0.093
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 393 | 396 | -3 | -3000 | -0.003 | 1536 | 1762 | -226 | -226000 | -0.226
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 82 | 83 | -1 | -1000 | -0.001 | 2925 | 3094 | -169 | -169000 | -0.169
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999697 | 999699 | -2 | -2000 | -0.002 | 3179 | 3251 | -72 | -72000 | -0.072
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 475 | 476 | -1 | -1000 | -0.001 | 536 | 724 | -188 | -188000 | -0.188
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 155 | 156 | -1 | -1000 | -0.001 | 14873 | 14955 | -82 | -82000 | -0.082
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 298 | 299 | -1 | -1000 | -0.001 | 35457 | 35043 | 414 | 414000 | 0.414
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 258 | 256 | 2 | 2000 | 0.002 | 14689 | 13623 | 1066 | 1066000 | 1.066
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 249 | 251 | -2 | -2000 | -0.002 | 4809 | 4993 | -184 | -184000 | -0.184
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 32532 | 32437 | 95 | 9500 | 0.0095 | 636 | 620 | 16 | 1600 | 0.0016
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998532 | 998535 | -3 | -3000 | -0.003 | 9445 | 8922 | 523 | 523000 | 0.523
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 812005 | 814485 | -2480 | -2728000 | -2.728
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999999 | -1 | -1100 | -0.0011 | 854303 | 856856 | -2553 | -2808300 | -2.8083
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991962 | 991968 | -6 | -6000 | -0.006 | 9703 | 9919 | -216 | -216000 | -0.216
| KASHMIRI GATE | [8 empty] | -0.0056 |  |  |  |  | -4.4857
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964881 | 964880 | 1 | -1000 | -0.001 | 975018 | 976162 | -1144 | 1144000 | 1.144
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981038 | 981038 | 0 | 0 | 0 | 975945 | 979748 | -3803 | 3803000 | 3.803
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 41 | 41 | 0 | 0 | 0 | 28 | 28 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1237 | 1237 | 0 | 0 | 0 | 61075 | 60416 | 659 | 659000 | 0.659
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10794 | 10492 | 302 | -302000 | -0.302 | 973237 | 973474 | -237 | 237000 | 0.237
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7157 | 7059 | 98 | -98000 | -0.098 | 975337 | 975542 | -205 | 205000 | 0.205
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 445 | 523 | -78 | 78000 | 0.078 | 999883 | 999983 | -100 | 100000 | 0.1
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989480 | 989534 | -54 | 54000 | 0.054 | 995123 | 995500 | -377 | 377000 | 0.377
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13350 | 13350 | 0 | 0 | 0 | 26609 | 25939 | 670 | 670000 | 0.67
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 98041 | 97242 | 799 | 79900 | 0.0799 | 1646 | 1653 | -7 | -700 | -0.0007
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 62802 | 63206 | -404 | -40400 | -0.0404 | 999722 | 999901 | -179 | -17900 | -0.0179
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.2407 |  |  |  |  | 2.8945
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.2407 |  |  |  |  | 2.8945
JULY-2012
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996823 | 996818 | 5 | -5000 | -0.005 | 934971 | 936858 | -1887 | 1887000 | 1.887
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15162 | 15159 | 3 | -3000 | -0.003 | 954249 | 955821 | -1572 | 1572000 | 1.572
3 | Tx.3 | 4865008 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3519 | 3516 | 3 | -3000 | -0.003 | 939271 | 939860 | -589 | 589000 | 0.589 | Check Meter Data used from 01/07/12 to 16/07/12
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999998 | 1000000 | -2 | 2000 | 0.002 | 998586 | 1000000 | -1414 | 1414000 | 1.414 | New Meter installed on 16/07/12,Roll Over
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 947840 | 947984 | -144 | 144000 | 0.144 | 993193 | 993438 | -245 | 245000 | 0.245
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 938273 | 938419 | -146 | 146000 | 0.146 | 991520 | 991753 | -233 | 233000 | 0.233
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 135 | 138 | -3 | 3000 | 0.003 | 993583 | 993753 | -170 | 170000 | 0.17
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 981867 | -1058 | 1058000 | 1.058
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998626 | 998631 | -5 | 10000 | 0.01 | 988981 | 989399 | -418 | 836000 | 0.836
9 | 100MVA Tx.4 (33 KV) | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992009 | 992009 | 0 | 0 | 0 | 971130 | 971212 | -82 | 82000 | 0.082 | Check Meter Data used from 13/07/12 to 19/07/12,I/C loaded on 13/07/12
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999728 | 999729 | -1 | 1000 | 0.001 | 976659 | 977050 | -391 | 391000 | 0.391
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12640 | 12586 | 54 | -54000 | -0.054 | 954613 | 956264 | -1651 | 1651000 | 1.651
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966046 | 966045 | 1 | -1000 | -0.001 | 880731 | 886440 | -5709 | 5709000 | 5.709
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21443 | 21441 | 2 | -2000 | -0.002 | 31486 | 31409 | 77 | -77000 | -0.077 | time disturebed on 04/07/12
12 | TX.-1 | 4865004 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11528 | 11525 | 3 | -3000 | -0.003 | 39893 | 39522 | 371 | -371000 | -0.371 | Check Meter Data used from 04/07/12 to 01/0812
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19325 | 19325 | 0 | 0 | 0 | 39246 | 38879 | 367 | -367000 | -0.367 | time disturbed on 04/07/12
13 | TX-2 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10872 | 10871 | 1 | -1000 | -0.001 | 43689 | 42515 | 1174 | -1174000 | -1.174 | Check Meter Data used from 04/07/12 to 01/0812
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 0.234 |  |  |  |  | 13.848
| (B) NET ENERGY TO EAST | [8 empty] | 0.234 |  |  |  |  | 13.848
JULY-2012
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991624 | 991634 | -10 | 10000 | 0.01 | 998286 | 998356 | -70 | 70000 | 0.07
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 111 | 112 | -1 | 500 | 0.0005 | 1000126 | 999952 | 174 | -87000 | -0.087 | ROLL OVER
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 28176 | 27794 | 382 | -76400 | -0.0764 | 64899 | 63541 | 1358 | -271600 | -0.2716
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 50704 | 48995 | 1709 | -170900 | -0.1709 | 126081 | 123008 | 3073 | -307300 | -0.3073
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 987800 | 987862 | -62 | 12400 | 0.0124 | 3988 | 4167 | -179 | 35800 | 0.0358
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 51085 | 50272 | 813 | -162600 | -0.1626 | 82039 | 81053 | 986 | -197200 | -0.1972
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 69693 | 69072 | 621 | -621000 | -0.621 | 711 | 591 | 120 | -120000 | -0.12
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11019 | 11131 | -112 | 112000 | 0.112 | 366 | 369 | -3 | 3000 | 0.003
9 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 993255 | 993428 | -173 | 138400 | 0.1384 | 997677 | 997938 | -261 | 208800 | 0.2088
10 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 3649 | 3684 | -35 | 28000 | 0.028 | 421 | 341 | 80 | -64000 | -0.064
EXPORT TO SOUTH & WEST FROM PARK STREET
11 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996778 | 996831 | -53 | 53000 | 0.053 | 37511 | 37914 | -403 | 403000 | 0.403
12 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 996722 | 996782 | -60 | 79999.8 | 0.08 | 244 | 344 | -100 | 133333 | 0.13333
EXPORT TO NORTH from SHASTRI PARK
13 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 777 | 748 | 29 | -29000 | -0.029 | 17495 | 17070 | 425 | -425000 | -0.425
14 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999670 | 999668 | 2 | -2000 | -0.002 | 3159 | 3195 | -36 | 36000 | 0.036
DMS
15 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1363 | 1363 | 0 | 0 | 0 | 59245 | 58732 | 513 | -513000 | -0.513
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5132 | 5132 | 0 | 0 | 0 | 24743 | 24178 | 565 | -282500 | -0.2825
17 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3313 | 3313 | 0 | 0 | 0 | 22991 | 22166 | 825 | -412500 | -0.4125
18 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3469 | 3427 | 42 | -21000 | -0.021 | 14034 | 14024 | 10 | -5000 | -0.005
19 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3662 | 3548 | 114 | -57000 | -0.057 | 16675 | 16616 | 59 | -29500 | -0.0295
KASHMIRI GATE
20 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 115945 | 115941 | 4 | -400 | -0.0004 | 27662 | 26632 | 1030 | -103000 | -0.103
21 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 16592 | 16587 | 5 | -500 | -0.0005 | 37679 | 36272 | 1407 | -140700 | -0.1407
D.M.S.
22 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 998971 | 999033 | -62 | 6200 | 0.0062 | 6046 | 6014 | 32 | -3200 | -0.0032
23 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 5581 | 3962 | 1619 | -161900 | -0.1619 | 14909 | 14854 | 55 | -5500 | -0.0055
24 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 13955 | 10473 | 3482 | -348200 | -0.3482 | 50655 | 50576 | 79 | -7900 | -0.0079
25 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 7942 | 7976 | -34 | 3400 | 0.0034 | 18959 | 18968 | -9 | 900 | 0.0009
26 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999348 | 999375 | -27 | 2700 | 0.0027 | 217 | 221 | -4 | 400 | 0.0004
27 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 6662 | 6383 | 279 | -27900 | -0.0279 | 66238 | 64848 | 1390 | -139000 | -0.139
29 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 6171 | 6149 | 22 | -2200 | -0.0022 | 56636 | 55138 | 1498 | -149800 | -0.1498
30 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 7208 | 7185 | 23 | -2300 | -0.0023 | 81832 | 79832 | 2000 | -200000 | -0.2
[10 empty] | -1.2367 |  |  |  |  | -2.5725
JULY-2012
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.2407 |  |  |  |  | 2.8945
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -1.2367 |  |  |  |  | -2.5725
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.1241 |  |  |  |  | -0.0148
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.6015 |  |  |  |  | 0.30723
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 0.234 |  |  |  |  | 13.848
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -1.3675 |  |  |  |  | 14.1552
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -1.3675 | (REACTIVE MUs) |  |  |  | 14.1552 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.030006 | (REACTIVE MUs) |  |  |  | 0.038039 | (REACTIVE MUs)
[9 empty] | TOTAL | -1.3375 | (REACTIVE MUs) |  |  |  | 14.1933 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JULY-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998207 | 998207 | 0 | 0 | 0 | 10687 | 10564 | 123 | 123000 | 0.123
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 990403 | 990402 | 1 | 1333.33 | 0.0013333 | 675782 | 676661 | -879 | -1171997.07 | -1.172
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6702 | 6702 | 0 | 0 | 0 | 55727 | 52121 | 3606 | 3606000 | 3.606
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10878 | 10885 | -7 | -7000 | -0.007 | 147 | 555 | -408 | -408000 | -0.408
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 7509 | 7509 | 0 | 0 | 0 | 105707 | 97316 | 8391 | 839100 | 0.8391
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 39709 | 39815 | -106 | -10600 | -0.0106 | 250037 | 260904 | -10867 | -1086700 | -1.0867
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 8482 | 8482 | 0 | 0 | 0 | 384971 | 373222 | 11749 | 1174900 | 1.1749
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999966 | 999966 | 0 | 0 | 0 | 999544 | 1000342 | -798 | -718200 | -0.7182 | ROLL OVER
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992903 | 992883 | 20 | -20000 | -0.02 | 955870 | 958376 | -2506 | 2506000 | 2.506
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991219 | 991195 | 24 | -24000 | -0.024 | 958816 | 961141 | -2325 | 2325000 | 2.325
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987630 | 987623 | 7 | -7000 | -0.007 | 942960 | 945247 | -2287 | 2287000 | 2.287
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998248 | 998242 | 6 | -6000 | -0.006 | 958865 | 961282 | -2417 | 2417000 | 2.417
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996047 | 996016 | 31 | -31000 | -0.031 | 987510 | 989473 | -1963 | 1963000 | 1.963
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6836 | 6833 | 3 | -3000 | -0.003 | 991774 | 993784 | -2010 | 2010000 | 2.01
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42046 | 41701 | 345 | -345000 | -0.345 | 22070 | 23534 | -1464 | 1464000 | 1.464
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4930 | 4844 | 86 | -86000 | -0.086 | 8721 | 9268 | -547 | 547000 | 0.547
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25581 | 25208 | 373 | -373000 | -0.373 | 7718 | 9363 | -1645 | 1645000 | 1.645
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19210 | 19052 | 158 | -158000 | -0.158 | 44150 | 43628 | 522 | -522000 | -0.522
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6387 | 6389 | -2 | -2000 | -0.002 | 6848 | 6534 | 314 | 314000 | 0.314
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 942888 | 943882 | -994 | 994000 | 0.994 | 902978 | 905193 | -2215 | 2215000 | 2.215
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981653 | 982302 | -649 | 649000 | 0.649 | 865298 | 867165 | -1867 | 1867000 | 1.867
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 377 | 340 | 37 | -37000 | -0.037 | 988499 | 989274 | -775 | 775000 | 0.775
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 462 | 454 | 8 | -8000 | -0.008 | 970244 | 971492 | -1248 | 1248000 | 1.248
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1710 | 1679 | 31 | -31000 | -0.031 | 956983 | 957381 | -398 | 398000 | 0.398
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999630 | 999630 | 0 | 0 | 0 | 897649 | 900546 | -2897 | 2897000 | 2.897
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999027 | 999027 | 0 | 0 | 0 | 879862 | 883220 | -3358 | 3358000 | 3.358
BRPL(+) continue | [14 empty] | JULY-2012
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999112 | 999035 | 77 | -77000 | -0.077 | 974177 | 974481 | -304 | 304000 | 0.304
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 235 | 147 | 88 | -88000 | -0.088 | 991325 | 991592 | -267 | 267000 | 0.267
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990728 | 990718 | 10 | -20000 | -0.02 | 971874 | 972633 | -759 | 1518000 | 1.518
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997526 | 997524 | 2 | -2000 | -0.002 | 928535 | 930512 | -1977 | 1977000 | 1.977
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1643 | 1611 | 32 | -32000 | -0.032 | 939847 | 940913 | -1066 | 1066000 | 1.066
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997434 | 997432 | 2 | -2000 | -0.002 | 935230 | 937157 | -1927 | 1927000 | 1.927
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 997640 | 997544 | 96 | -63999.936 | -0.064 | 995372 | 997324 | -1952 | 1301332.032 | 1.3013
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 973246 | 973223 | 23 | -15333.318 | -0.015333 | 972000 | 972347 | -347 | 231333.102 | 0.23133
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 556 | 555 | 1 | -2000 | -0.002 | 1202 | 1214 | -12 | 24000 | 0.024
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997336 | 997336 | 0 | 0 | 0 | 419 | 451 | -32 | 64000 | 0.064
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977157 | 978171 | -1014 | 1014000 | 1.014 | 997575 | 998479 | -904 | 904000 | 0.904
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977303 | 978114 | -811 | 811000 | 0.811 | 999078 | 999747 | -669 | 669000 | 0.669
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 999380 | 999442 | -62 | -49600 | -0.0496 | 998 | 853 | 145 | 116000 | 0.116
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 3246 | 3372 | -126 | -100800 | -0.1008 | 701 | 576 | 125 | 100000 | 0.1
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 989221 | 989612 | -391 | -312800 | -0.3128 | 999725 | 999755 | -30 | -24000 | -0.024
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999534 | 999534 | 0 | 0 | 0 | 999980 | 999983 | -3 | 6000 | 0.006
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996778 | 996831 | -53 | -53000 | -0.053 | 37511 | 37914 | -403 | -403000 | -0.403
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 996722 | 996782 | -60 | -79999.8 | -0.08 | 244 | 344 | -100 | -133333 | -0.13333
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4110 | 4121 | -11 | 11000 | 0.011 | 981206 | 981643 | -437 | 437000 | 0.437
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999101 | 999095 | 6 | -6000 | -0.006 | 987302 | 987373 | -71 | 71000 | 0.071
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 7794 | 7549 | 245 | 24500 | 0.0245 | 11725 | 11289 | 436 | 43600 | 0.0436
SUDARSHAN PARK
51 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 38167 | 38206 | -39 | -3900 | -0.0039 | 146962 | 147033 | -71 | -7100 | -0.0071
REWARI LINE
52 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 973268 | 973399 | -131 | -131000 | -0.131 | 992488 | 992550 | -62 | -62000 | -0.062
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1428 | 1429 | -1 | -100 | -0.0001 | 6572 | 5968 | 604 | 60400 | 0.0604
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 8309 | 8202 | 107 | 10700 | 0.0107 | 13894 | 12777 | 1117 | 111700 | 0.1117
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.3274 |  |  |  |  | 42.641
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | JULY-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 4492 | 4346 | 146 | -14600 | -0.0146 | 882441 | 872054 | 10387 | -1038700 | -1.0387
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 98041 | 97242 | 799 | -79900 | -0.0799 | 1646 | 1653 | -7 | 700 | 0.0007
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 62802 | 63206 | -404 | 40400 | 0.0404 | 999722 | 999901 | -179 | 17900 | 0.0179
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 999084 | 999146 | -62 | 6200 | 0.0062 | 999905 | 999930 | -25 | 2500 | 0.0025
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 998934 | 999016 | -82 | 8200 | 0.0082 | 999935 | 999957 | -22 | 2200 | 0.0022
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 672 | 633 | 39 | -39000 | -0.039 | 72594 | 72582 | 12 | -12000 | -0.012
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7454 | 7445 | 9 | -9000 | -0.009 | 2198 | 2185 | 13 | -13000 | -0.013
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 850315 | 849211 | 1104 | -110400 | -0.1104 | 52666 | 51235 | 1431 | -143100 | -0.1431
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 38545 | 38130 | 415 | -41500 | -0.0415 | 53056 | 52081 | 975 | -97500 | -0.0975
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 29620 | 29213 | 407 | -40700 | -0.0407 | 54492 | 54086 | 406 | -40600 | -0.0406
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 67656 | 66890 | 766 | -153200 | -0.1532 | 104969 | 104130 | 839 | -167800 | -0.1678
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865123 | ELSTER | Kvarh(Lead/Lag) | -100 | 58214 | 55961 | 2253 | -225300 | -0.2253 | 14706 | 13923 | 783 | -78300 | -0.0783 | Check Meter Data used from 01/07/12 to 20/07/12
12 | TRANSFORMER-1 | 4865122 | ELSTER | Kvarh(Lead/Lag) | -100 | 1368 | 0 | 1368 | -136800 | -0.1368 | 405 | 0 | 405 | -40500 | -0.0405 | New Meter Installed on 20/7/12
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 36766 | 36580 | 186 | -18600 | -0.0186 | 669864 | 659261 | 10603 | -1060300 | -1.0603
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 228424 | 224684 | 3740 | -374000 | -0.374 | 38602 | 37557 | 1045 | -104500 | -0.1045
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 1071 | 885 | 186 | -18600 | -0.0186 | 14427 | 14079 | 348 | -34800 | -0.0348
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 14240 | 14240 | 0 | 0 | 0 | 65280 | 65217 | 63 | -6300 | -0.0063
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 8860 | 8860 | 0 | 0 | 0 | 20987 | 19115 | 1872 | -187200 | -0.1872
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9691 | 9691 | 0 | 0 | 0 | 34642 | 33348 | 1294 | -129400 | -0.1294
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13767 | 13767 | 0 | 0 | 0 | 45276 | 43021 | 2255 | -225500 | -0.2255
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 33872 | 33703 | 169 | -16900 | -0.0169 | 12455 | 11964 | 491 | -49100 | -0.0491
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16788 | 16281 | 507 | -50700 | -0.0507 | 11811 | 11720 | 91 | -9100 | -0.0091
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997147 | 997133 | 14 | -1400 | -0.0014 | 1966 | 1510 | 456 | -45600 | -0.0456
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | 400 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | Meter faulty
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995550 | 995550 | 0 | 0 | 0 | 1000012 | 999999 | 13 | 5200 | 0.0052 | Installed on 06/07/12
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999301 | 999301 | 0 | 0 | 0 | 999393 | 999393 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.2758 |  |  |  |  | -3.4548
JULY-2012
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 1.3274 |  |  |  |  | 42.641
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.2758 |  |  |  |  | -3.4548
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.03845 |  |  |  |  | 1.8867
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.1501 |  |  |  |  | -0.6203
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -0.06005 |  |  |  |  | 40.4527
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.06005 | (REACTIVE MUs) |  |  |  | 40.4527 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.052315 | (REACTIVE MUs) |  |  |  | 0.066319 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.0077343 | (REACTIVE MUs) |  |  |  | 40.519 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JULY-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 28176 | 27794 | 382 | 76400 | 0.0764 | 64899 | 63541 | 1358 | 271600 | 0.2716
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 50704 | 48995 | 1709 | 170900 | 0.1709 | 126081 | 123008 | 3073 | 307300 | 0.3073
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 987800 | 987862 | -62 | -12400 | -0.0124 | 3988 | 4167 | -179 | -35800 | -0.0358
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 51085 | 50272 | 813 | 162600 | 0.1626 | 82039 | 81053 | 986 | 197200 | 0.1972
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 69693 | 69072 | 621 | 621000 | 0.621 | 711 | 591 | 120 | 120000 | 0.12
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11019 | 11131 | -112 | -112000 | -0.112 | 366 | 369 | -3 | -3000 | -0.003
7 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 993255 | 993428 | -173 | -138400 | -0.1384 | 997677 | 997938 | -261 | -208800 | -0.2088
8 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 3649 | 3684 | -35 | -28000 | -0.028 | 421 | 341 | 80 | 64000 | 0.064
I.P.STATION EXPORT TO NDMC
9 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998404 | 998401 | 3 | 300 | 0.0003 | 317516 | 307450 | 10066 | 1006600 | 1.0066
10 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 7124 | 7124 | 0 | 0 | 0 | 450245 | 437173 | 13072 | 1307200 | 1.3072
11 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 11135 | 11134 | 1 | 100 | 0.0001 | 243311 | 234940 | 8371 | 837100 | 0.8371
12 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5326 | 5320 | 6 | 600 | 0.0006 | 325011 | 313832 | 11179 | 1117900 | 1.1179
13 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998699 | 998700 | -1 | -100 | -0.0001 | 254717 | 246813 | 7904 | 790400 | 0.7904
14 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 269 | 265 | 4 | 400 | 0.0004 | 149037 | 143954 | 5083 | 508300 | 0.5083
15 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 12999 | 12999 | 0 | 0 | 0 | 224011 | 213089 | 10922 | 1092200 | 1.0922
16 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 13575 | 13556 | 19 | 1900 | 0.0019 | 259927 | 250585 | 9342 | 934200 | 0.9342
G.T.
17 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 60078 | 59485 | 593 | 652300 | 0.6523
18 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4837 | 4826 | 11 | 11000 | 0.011 | 36709 | 36532 | 177 | 177000 | 0.177
19 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 135922 | 134121 | 1801 | 1981100 | 1.9811
20 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9239 | 9194 | 45 | 45000 | 0.045 | 49697 | 48759 | 938 | 938000 | 0.938
[10 empty] | 0.056 |  |  |  |  | 3.7484
RIDGE VALLEY
21 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 672 | 633 | 39 | 39000 | 0.039 | 72594 | 72582 | 12 | 12000 | 0.012
22 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7454 | 7445 | 9 | 9000 | 0.009 | 2198 | 2185 | 13 | 13000 | 0.013
23 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 850315 | 849211 | 1104 | 110400 | 0.1104 | 52666 | 51235 | 1431 | 143100 | 0.1431
24 | A.I.I.M.S.
25 | TX-I | 4865123 | ELSTER | Kvarh(Lag) | 100 | 58214 | 55961 | 2253 | 225300 | 0.2253 | 14706 | 13923 | 783 | 78300 | 0.0783 | Check Meter data
25 | TX-I | 4865122 | ELSTER | Kvarh(Lag) | 100 | 1368 | 0 | 1368 | 136800 | 0.1368 | 405 | 0 | 405 | 40500 | 0.0405 | New Meter Installed on 20/7/12
26 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 36766 | 36580 | 186 | 18600 | 0.0186 | 669864 | 659261 | 10603 | 1060300 | 1.0603
27 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0 | OFF
JULY-2012
NDMC(+) Continue…
TRAUMA CENTRE
| 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998707 | 999993 | -1286 | -1286000 | -1.286 | 999947 | 999974 | -27 | -27000 | -0.027
KIDWAI NAGAR
28 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 228424 | 224684 | 3740 | 374000 | 0.374 | 38602 | 37557 | 1045 | 104500 | 0.1045
EXHIBITION I
29 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 1071 | 885 | 186 | 18600 | 0.0186 | 14427 | 14079 | 348 | 34800 | 0.0348
30 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
31 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 38545 | 38130 | 415 | 41500 | 0.0415 | 53056 | 52081 | 975 | 97500 | 0.0975
32 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 29620 | 29213 | 407 | 40700 | 0.0407 | 54492 | 54086 | 406 | 40600 | 0.0406
33 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 67656 | 66890 | 766 | 153200 | 0.1532 | 104969 | 104130 | 839 | 167800 | 0.1678
TILAK MARG
34 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 4492 | 4346 | 146 | 14600 | 0.0146 | 882441 | 872054 | 10387 | 1038700 | 1.0387
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1428 | 1429 | -1 | 100 | 0.0001 | 6572 | 5968 | 604 | -60400 | -0.0604
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 8309 | 8202 | 107 | -10700 | -0.0107 | 13894 | 12777 | 1117 | -111700 | -0.1117
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 0.6844 |  |  |  |  | 14.6868
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 0.6844 |  |  |  |  | 14.6868
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.0061604 |  |  |  |  | 0.0078095
| TOTAL ENERGY TO NDMC | [8 empty] | 0.69056 |  |  |  |  | 14.6946

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2012
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 645 | 645 | 0 | 0 | 0 | 16692 | 15699 | 993 | 993000 | 0.993
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 453 | 452 | 1 | 1000 | 0.001 | 21177 | 20024 | 1153 | 1153000 | 1.153
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 825 | 825 | 0 | 0 | 0 | 30259 | 29165 | 1094 | 1094000 | 1.094
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 464 | 464 | 0 | 0 | 0 | 15033 | 14543 | 490 | 490000 | 0.49
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2206 | 2205 | 1 | 1000 | 0.001 | 7981 | 7436 | 545 | 545000 | 0.545
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 999084 | 999146 | -62 | -6200 | -0.0062 | 999905 | 999930 | -25 | -2500 | -0.0025
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 998934 | 999016 | -82 | -8200 | -0.0082 | 999935 | 999957 | -22 | -2200 | -0.0022
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0124 |  |  |  |  | 4.2703
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3431 | 3287 | 144 | 14400 | 0.0144 | 34272 | 33238 | 1034 | 103400 | 0.1034
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 30971 | 30480 | 491 | 49100 | 0.0491 | 63488 | 61860 | 1628 | 162800 | 0.1628
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 66777 | 66776 | 1 | 100 | 0.0001 | 9163 | 9022 | 141 | 14100 | 0.0141
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 21853 | 20992 | 861 | 86100 | 0.0861 | 52174 | 50995 | 1179 | 117900 | 0.1179
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 18738 | 18738 | 0 | 0 | 0
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 76819 | 76815 | 4 | 400 | 0.0004 | 50446 | 48225 | 2221 | 222100 | 0.2221
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 2970 | 2970 | 0 | 0 | 0 | 5475 | 5475 | 0 | 0 | 0 | Check Meter data used from 02/07/12 to 01/08/12
14 | BI LINES | 4865073 | ELSTER | Kvarh(Lead/Lag) | 100 | 2762 | 2692 | 70 | 7000 | 0.007 | 6432 | 5958 | 474 | 47400 | 0.0474
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1501 |  |  |  |  | 0.6203
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.1501 |  |  |  |  | 0.6203
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0124 |  |  |  |  | 4.2703
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1377 |  |  |  |  | 4.8906
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1377 | (REACTIVE MUs) |  |  |  | 4.8906 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.00095365 | (REACTIVE MUs) |  |  |  | 0.0012089 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.13865 | (REACTIVE MUs) |  |  |  | 4.8918 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2012
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 58920 | 58359 | 561 | 56100 | 0.0561 | 79435 | 78018 | 1417 | 141700 | 0.1417
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 10423 | 10712 | -289 | -28900 | -0.0289 | 999515 | 999851 | -336 | -33600 | -0.0336
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 173888 | 173569 | 319 | 31900 | 0.0319 | 96341 | 95770 | 571 | 57100 | 0.0571
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 17965 | 18009 | -44 | -41250 | -0.04125 | 18155 | 17970 | 185 | 173437.5 | 0.17344
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 992776 | 992776 | 0 | 0 | 0 | 935349 | 938309 | -2960 | 1480000 | 1.48
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 993852 | 993880 | -28 | 14000 | 0.014 | 986101 | 986194 | -93 | 46500 | 0.0465
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 1000018 | 999996 | 22 | 6600 | 0.0066 | 1000011 | 999939 | 72 | 21600 | 0.0216 | ROLL OVER
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.03845 |  |  |  |  | 1.8867
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 950283 | 950423 | -140 | -28000 | -0.028 | 991612 | 991627 | -15 | -3000 | -0.003
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 863434 | 864395 | -961 | -96100 | -0.0961 | 928223 | 928341 | -118 | -11800 | -0.0118
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.1241 |  |  |  |  | -0.0148
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 176184 | 175319 | 865 | 173000 | 0.173 | 263137 | 261808 | 1329 | 265800 | 0.2658
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 66458 | 66426 | 32 | 6400 | 0.0064 | 41097 | 40848 | 249 | 49800 | 0.0498
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 96439 | 96402 | 37 | 3700 | 0.0037 | 71614 | 71140 | 474 | 47400 | 0.0474
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987630 | 987584 | 46 | 46000 | 0.046 | 998263 | 998126 | 137 | 137000 | 0.137
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 980974 | 981001 | -27 | -2700 | -0.0027 | 7282 | 7295 | -13 | -1300 | -0.0013
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 9 | 9 | 0 | 0 | 0 | 1745 | 2237 | -492 | -461250 | -0.46125
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 991592 | 991727 | -135 | 84375 | 0.084375 | 995578 | 995687 | -109 | 68125 | 0.068125
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 1000018 | 999996 | 22 | -6600 | -0.0066 | 1000011 | 999939 | 72 | -21600 | -0.0216 | ROLL OVER
| TOTAL NDPL | [8 empty] | 0.30417 |  |  |  |  | 0.083975
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.03845 |  |  |  |  | 1.8867
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.1241 |  |  |  |  | -0.0148
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 0.30417 |  |  |  |  | 0.083975

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JULY-2012
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 6253 | 6208 | 45 | 90000 | 0.09 | 275 | 64 | 211 | 422000 | 0.422
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 9469 | 9520 | -51 | -102000 | -0.102 | 591 | 392 | 199 | 398000 | 0.398
[7 empty] | NET REACTIVE ENERGY |  |  | -0.012 |  | NET REACTIVE ENERGY |  |  | 0.82
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902482 | ELSTER | kvarh (Lead/lag) | 1000 | 990136 | 990050 | 86 | 86000 | 0.086 | 995915 | 996051 | -136 | -136000 | -0.136 | Check Meter Data
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 985471 | 985471 | 0 | 0 | 0 | 985174 | 984963 | 211 | 211000 | 0.211 | from 01/07/12 to 06/07/12
4 | IBT-2 | 4902483 | ELSTER | kvarh (Lead/lag) | 1000 | 287404 | 287048 | 356 | 356000 | 0.356 | 726 | 582 | 144 | 144000 | 0.144 | Check Meter Data after 06/07/12
[7 empty] | NET REACTIVE ENERGY |  |  | 0.086 |  | NET REACTIVE ENERGY |  |  | 0.075
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.074 |  |  |  |  | 0.895
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.0056 |  |  |  |  | -4.4857
[7 empty] | NDMC = |  |  | 0.056 |  |  |  |  | 3.7484
MES =
[7 empty] | 2)TOTAL |  |  | 0.0504 |  |  |  |  | -0.7373
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.1244 |  |  |  |  | 0.1577
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 28.1063 | % |  |  | 0.034964 |  |  |  |  | 0.044324
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 42.0542 | % |  |  | 0.052315 |  |  |  |  | 0.066319
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 24.1208 | % |  |  | 0.030006 |  |  |  |  | 0.038039
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.9521 | % |  |  | 0.0061604 |  |  |  |  | 0.0078095
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.7666 | % |  |  | 0.00095365 |  |  |  |  | 0.0012089
Note :Sharing taken from wk-16 abt bill 2012-13

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JULY-2012 TO 31st JULY-2012
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -1.0049 | + | 7.5985
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -0.0077343 | + | 40.519
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -1.3375 | + | 14.1933
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 0.69056 | + | 14.6946
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.13865 | + | 4.8918
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/08/12 | INTIAL READING 01/07/12 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 970016 | 971682 | -1666 | -2499000 | -2.499 | 981147 | 981169 | -22 | -33000 | -0.033
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 999921 | 999971 | -50 | -75000 | -0.075 | 998358 | 999597 | -1239 | -1858500 | -1.8585
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 929044 | 929120 | -76 | -114000 | -0.114 | 968199 | 969143 | -944 | -1416000 | -1.416
[8 empty] | NET REACTIVE ENERGY |  | -2.688 |  |  | NET REACTIVE ENERGY |  | -3.3075
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997237 | 997237 | 0 | 0 | 0 | 34777 | 35560 | -783 | -3915000 | -3.915
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999434 | 999434 | 0 | 0 | 0 | 6295 | 7325 | -1030 | -1030000 | -1.03
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 970365 | 970322 | 43 | 43000 | 0.043 | 990172 | 989870 | 302 | 302000 | 0.302
[8 empty] | NET REACTIVE ENERGY |  | 0.043 |  |  | NET REACTIVE ENERGY |  | -4.643