## NDPL
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2024
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4902497 | ELSTER | Kvarh(Lead/Lag) | -1000 | 626 | 533 | 93 | -93000 | -0.093 | 998858 | 998529 | 329 | -329000 | -0.329
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -2000 | 100321 | 100108 | 213 | -426000 | -0.426 | 5262 | 5146 | 116 | -232000 | -0.232
|  | Q0491811 | Secure | Kvarh(Lead/Lag) | -1 | 2018000 | 1728999 | 289001 | -289001 | -0.289 | 5000 | -5000 | 10000 | -10000 | -0.01
3 | Tx.3 | 4864924 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18707 | 18618 | 89 | -89000 | -0.089 | 2568 | 2523 | 45 | -45000 | -0.045
4 | Tx.4 | Q0491809 | Secure | Kvarh(Lead/Lag) | -1 | 2955000 | 2334000 | 621000 | -621000 | -0.621 | 37000 | -84000 | 121000 | -121000 | -0.121
SUBZI MANDI
5 | Tx.1 | 4865012 | ELSTER | Kvarh(Lead/Lag) | -1000 | 353 | 212 | 141 | -141000 | -0.141 | 443 | 131 | 312 | -312000 | -0.312
6 | Tx.2 | 4864896 | ELSTER | Kvarh(Lead/Lag) | -2000 | 324 | 318 | 6 | -12000 | -0.012 | 1874 | 1505 | 369 | -738000 | -0.738
ROHINI
7 | Tx 1 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39761 | 38886 | 875 | -875000 | -0.875 | 999145 | 999058 | 87 | -87000 | -0.087
8 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 48985 | 48145 | 840 | -840000 | -0.84 | 997389 | 997327 | 62 | -62000 | -0.062 | Data till 29/01/2024
|  | 5295154 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86185 | 86004 | 181 | -181000 | -0.181 | 967072 | 967072 | 0 | 0 | 0 | Check Meter Data
9 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 35834 | 34898 | 936 | -936000 | -0.936 | 997014 | 996894 | 120 | -120000 | -0.12
10 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 54635 | 54584 | 51 | -25500 | -0.0255 | 812689 | 812688 | 1 | -500 | -0.0005
|  | 4902498 | ELSTER | Kvarh(Lead/Lag) | -1000 | 550 | 0 | 550 | -550000 | -0.55 | 49 | 0 | 49 | -49000 | -0.049 | w.e.f 02/01/2024
SHALIMAR BAGH
11 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15754 | 14876 | 878 | -878000 | -0.878 | 998562 | 998530 | 32 | -32000 | -0.032
12 | Tx.-2 | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38805 | 37919 | 886 | -886000 | -0.886 | 225 | 145 | 80 | -80000 | -0.08
13 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 65158 | 64926 | 232 | -232000 | -0.232 | 995677 | 995665 | 12 | -12000 | -0.012
14 | Tx.-4 | 40001535 | ELSTER | Kvarh(Lead/Lag) | -1 | 30877 | 30877 | 0 | 0 | 0 | 99999712 | 99999712 | 0 | 0 | 0
15 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 661864 | 664282 | -2418 | -2418000 | -2.418 | 999743 | 999743 | 0 | 0 | 0
16 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 500 | 665302 | 676445 | -11143 | -5571500 | -5.5715 | 999974 | 999974 | 0 | 0 | 0
NARELA
17 | Tx.1 | 4864963 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16307 | 16126 | 181 | -181000 | -0.181 | 632 | 389 | 243 | -243000 | -0.243
18 | Tx.2 | 4865043 | ELSTER | Kvarh(Lead/Lag) | -1000 | 112 | 6 | 106 | -106000 | -0.106 | 9901 | 8869 | 1032 | -1032000 | -1.032
19 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 63805 | 63328 | 477 | -477000 | -0.477 | 2450 | 2252 | 198 | -198000 | -0.198
NARAINA
20 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998573 | 998580 | -7 | -7000 | -0.007 | 985362 | 985459 | -97 | -97000 | -0.097
21 | O/G REWARI LINE 2 | 4865182 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999549 | 999549 | 0 | 0 | 0 | 999501 | 999518 | -17 | -68000 | -0.068
22 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1953 | 1984 | -31 | -15500 | -0.0155 | 17394 | 17377 | 17 | 8500 | 0.0085
23 | 16 MVA TX.-2 | 4864860 | ELSTER | Kvarh(Lead/Lag) | 500 | 11260 | 11273 | -13 | -6500 | -0.0065 | 31187 | 31167 | 20 | 10000 | 0.01
24 | INDER PURI | 4864865 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998106 | 998236 | -130 | -130000 | -0.13 | 991922 | 991974 | -52 | -52000 | -0.052
25 | INDER PURI-2 | 4865117 | ELSTER | Kvarh(Lead/Lag) | 1333.333 | 999992 | 999992 | 0 | 0 | 0 | 993105 | 993371 | -266 | -354666.578 | -0.35467
26 | Pandav Nagar | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999731 | 999752 | -21 | -21000 | -0.021 | 8 | 26 | -18 | -18000 | -0.018
KASHMIRI GATE
27 | 220 kV DMRC #1 | 5128479 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996811 | 997948 | -1137 | -1137000 | -1.137 | 28 | 31 | -3 | -3000 | -0.003
28 | 220 kV DMRC #2 | 4902482 | ELSTER | Kvarh(Lead/Lag) | 500 | 874728 | 876363 | -1635 | -817500 | -0.8175 | 999209 | 999216 | -7 | -3500 | -0.0035
29 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 990069 | 990415 | -346 | -92267.82 | -0.092268 | 999929 | 999948 | -19 | -5066.73 | -0.0050667
30 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 2000 | 6 | 6 | 0 | 0 | 0 | 140 | 93 | 47 | 94000 | 0.094
KANJAWALA
31 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 61685 | 60981 | 704 | -704000 | -0.704 | 995459 | 995153 | 306 | -306000 | -0.306
32 | Tx.2 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6982 | 6091 | 891 | -891000 | -0.891 | 1000280 | 999924 | 356 | -356000 | -0.356
33 | Tx.3 | 4864788 | ELSTER | Kvarh(Lead/Lag) | -2000 | 44006 | 43137 | 869 | -1738000 | -1.738 | 999934 | 999711 | 223 | -446000 | -0.446
BAWANA
34 | I/C 100 MVA PR.TR. | 4864847 | ELSTER | Kvarh(Lead/Lag) | -2500 | 2193 | 1635 | 558 | -1395000 | -1.395 | 3 | 2 | 1 | -2500 | -0.0025
DSIDC BAWANA
35 | 66KV TX.1 | 4864892 | ELSTER | Kvarh(Lead/Lag) | -4000 | 19120 | 18720 | 400 | -1600000 | -1.6 | 128 | 85 | 43 | -172000 | -0.172
36 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 180599 | 179981 | 618 | -618000 | -0.618 | 998522 | 998470 | 52 | -52000 | -0.052
37 | 66KV TX.3 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -333.33 | 431192 | 427759 | 3433 | -1144321.89 | -1.1443 | 2137 | 1815 | 322 | -107332.26 | -0.10733
38 | 66KV TX.4 | 5128449 | ELSTER | Kvarh(Lead/Lag) | -2000 | 61756 | 60797 | 959 | -1918000 | -1.918 | 150 | 144 | 6 | -12000 | -0.012
ROHINI-II
38 | Tx.1 | 4864957 | ELSTER | Kvarh(Lead/Lag) | -2500 | 6268 | 5731 | 537 | -1342500 | -1.3425 | 147 | 92 | 55 | -137500 | -0.1375
39 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 170134 | 168636 | 1498 | -1498000 | -1.498 | 2648 | 2528 | 120 | -120000 | -0.12
SGTN
40 | Tx.1 | XF465246 | Secure | Kvarh(Lead/Lag) | -1 | 21438000 | 20513000 | 925000 | -925000 | -0.925 | 5097000 | 5015000 | 82000 | -82000 | -0.082
41 | Tx.2 | XF465248 | Secure | Kvarh(Lead/Lag) | -1 | 62789000 | 61004000 | 1785000 | -1785000 | -1.785 | 3321000 | 3270000 | 51000 | -51000 | -0.051
WAZIRPUR
42 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 50809 | 49753 | 1056 | -1056000 | -1.056 | 998035 | 998006 | 29 | -29000 | -0.029
43 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 62161 | 62121 | 40 | -40000 | -0.04 | 981 | 899 | 82 | -82000 | -0.082
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
44 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992433 | 992572 | -139 | -139000 | -0.139 | 24310 | 24320 | -10 | -10000 | -0.01
[6 empty] | #N/A | #N/A |  |  |  | #N/A | #N/A
| NDPL(+) continue | [14 empty] | JANUARY-2024
DMS
45 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | 300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
VISHAL
46 | RAMESH NAGAR-1 | 4865065 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 0 | 0 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
47 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
48 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 3132 | 3142 | -10 | -1000 | -0.001 | 35666 | 35682 | -16 | -1600 | -0.0016
S.B.MILL
49 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 746 | 746 | 0 | 0 | 0 | 608 | 623 | -15 | -19995 | -0.019995
50 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 298 | 298 | 0 | 0 | 0 | 4664 | 4664 | 0 | 0 | 0
51 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999942 | 999943 | -1 | -100 | -0.0001
52 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
53 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | 100 | 1609 | 1616 | -7 | -700 | -0.0007 | 12861 | 12801 | 60 | 6000 | 0.006
B.G.ROAD
55 | CSA | 4902519 | ELSTER | Kvarh(Lead/Lag) | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
56 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999859 | 999859 | 0 | 0 | 0 | 2531 | 2518 | 13 | 6500 | 0.0065
57 | DCM NO.2 | 4865089 | ELSTER | Kvarh(Lead/Lag) | 500 | 999982 | 999982 | 0 | 0 | 0 | 999953 | 999981 | -28 | -14000 | -0.014
58 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | 500 | 1202 | 1202 | 0 | 0 | 0 | 1636 | 1671 | -35 | -17500 | -0.0175
D.M.S.
59 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 992421 | 992518 | -97 | -9700 | -0.0097 | 3781 | 3868 | -87 | -8700 | -0.0087
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 33 | 33 | 0 | 0 | 0 | 102 | 90 | 12 | 15999.96 | 0.016
61 | TIBIA COLLEGE-2 | 4865082 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 7 | 9 | -2 | -266.66 | -0.00026666 | 184 | 111 | 73 | 9733.09 | 0.0097331
62 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | 100 | 2755 | 2752 | 3 | 300 | 0.0003 | 510 | 362 | 148 | 14800 | 0.0148
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 59837 | 60389 | -552 | -55200 | -0.0552 | 2646 | 2644 | 2 | 200 | 0.0002
64 | FLYOVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 426 | 431 | -5 | -666.65 | -0.00066665 | 1188 | 1199 | -11 | -1466.63 | -0.0014666
65 | B/C (IMP. TO NDPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | -400 | 999998 | 999998 | 0 | 0 | 0 | 10 | 10 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | -400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999895 | 999895 | 0 | 0 | 0 | 999460 | 999460 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 929049 | 929605 | -556 | -444800 | -0.4448 | 999633 | 999679 | -46 | -36800 | -0.0368
69 | GHEWARA | 4865032 | ELSTER | Kvarh(Lead/Lag) | 800 | 992446 | 992804 | -358 | -286400 | -0.2864 | 999987 | 999998 | -11 | -8800 | -0.0088
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 200 | 956832 | 956933 | -101 | -20200 | -0.0202 | 2287 | 2338 | -51 | -10200 | -0.0102
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 988184 | 988259 | -75 | -18750 | -0.01875 | 835 | 911 | -76 | -19000 | -0.019
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 976177 | 977016 | -839 | -839000 | -0.839 | 1746 | 1757 | -11 | -11000 | -0.011
73 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | 281.25 | 999557 | 999557 | 0 | 0 | 0 | 435 | 429 | 6 | 1687.5 | 0.0016875
DEV NAGAR
74 | 33KV RAMA ROAD | Q0487625 | Secure | Kvarh(Lead/Lag) | 1 | -746000 | -637000 | -109000 | -109000 | -0.109 | -11000 | 0 | -11000 | -11000 | -0.011
75 | 33KV SHAHZADA BAGH | Q0487626 | Secure | Kvarh(Lead/Lag) | 1 | -132000 | 166000 | -298000 | -298000 | -0.298 | 1000 | 0 | 1000 | 1000 | 0.001
76 | 33KV NARAINA DTC CKT-I | Q0487627 | Secure | Kvarh(Lead/Lag) | 1 | -214000 | -37000 | -177000 | -177000 | -0.177 | -5000 | 0 | -5000 | -5000 | -0.005
77 | 33KV NARAINA DTC CKT-II | Q0487631 | Secure | Kvarh(Lead/Lag) | 1 | -756000 | -575000 | -181000 | -181000 | -0.181 | -7000 | 0 | -7000 | -7000 | -0.007
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -37.29 |  |  |  |  | -6.2728
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2024
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | -100 | 677 | 679 | -2 | 200 | 0.0002 | 4535 | 3915 | 620 | -62000 | -0.062
MANGOLPURI
2 | NANGLOI-2 EXP | Y0357821 | Secure | Kvarh(Lead/Lag) | -0.8 | 817000 | 794000 | 23000 | -18400 | -0.0184 | 14500 | 9500 | 5000 | -4000 | -0.004
SUBZI MANDI
3 | O/G BG Rd.1 | 4864899 | ELSTER | Kvarh(Lead/Lag) | -500 | 973006 | 973098 | -92 | 46000 | 0.046 | 992098 | 992123 | -25 | 12500 | 0.0125
4 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 6799 | 7567 | -768 | 102397.44 | 0.1024 | 8316 | 8367 | -51 | 6799.83 | 0.0067998
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 995783 | 995865 | -82 | 15375 | 0.015375 | 998186 | 998216 | -30 | 5625 | 0.005625
KANJAWALA
6 | 66KV DMRC | Y0357713 | ELSTER | Kvarh(Lead/Lag) | -0.4 | -1689000 | -1116000 | -573000 | 229200 | 0.2292 | -2627000 | -2193000 | -434000 | 173600 | 0.1736
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 992018 | 991986 | 32 | -20000 | -0.02 | 1377 | 1361 | 16 | -10000 | -0.01
9 | 66KV RLY Ckt-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | -500 | 999629 | 999668 | -39 | 19500 | 0.0195 | 820 | 807 | 13 | -6500 | -0.0065
REWARI LINE
10 | VISHAL-1 | 4902510 | ELSTER | Kvarh(Lead/Lag) | -400 | 999125 | 999419 | -294 | 117600 | 0.1176 | 999992 | 999997 | -5 | 2000 | 0.002
11 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | -937.5 | 999553 | 999669 | -116 | 108750 | 0.10875 | 999734 | 999738 | -4 | 3750 | 0.00375
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 979333 | 979886 | -553 | 103687.5 | 0.10369 | 2515 | 2527 | -12 | 2250 | 0.00225
13 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999961 | 999965 | -4 | 10000 | 0.01 | 999997 | 999997 | 0 | 0 | 0
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 992734 | 992869 | -135 | 13500 | 0.0135 | 32210 | 32213 | -3 | 300 | 0.0003
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 0.72781 |  |  |  |  | 0.12432
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -37.29 |  |  |  |  | -6.2728
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 0.72781 |  |  |  |  | 0.12432
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | -2.7441 |  |  |  |  | -0.36921
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -39.3063 |  |  |  |  | -6.5177
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -39.3063 | (REACTIVE MUs) |  |  |  | -6.5177 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 4.5236 | (REACTIVE MUs) |  |  |  | 0.16792 | (REACTIVE MUs)
[9 empty] | TOTAL | -34.7827 | (REACTIVE MUs) |  |  |  | -6.3498 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | JANUARY-2024
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997800 | 997803 | -3 | -3000 | -0.003 | 986316 | 986803 | -487 | -487000 | -0.487
2 | BAY-25 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998503 | 998503 | 0 | 0 | 0 | 997493 | 997671 | -178 | -178000 | -0.178
3 | BAY-13 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 200 | 999384 | 999409 | -25 | -5000 | -0.005 | 962547 | 964330 | -1783 | -356600 | -0.3566
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999792 | 999793 | -1 | -1333.33 | -0.0013333 | 995418 | 995505 | -87 | -115999.71 | -0.116
5 | BAY-54 | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1500 | 997330 | 997344 | -14 | -21000 | -0.021 | 997103 | 997283 | -180 | -270000 | -0.27
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 10342 | 10343 | -1 | -1333.33 | -0.0013333 | 17952 | 18136 | -184 | -245332.72 | -0.24533
7 | BAY-37 | 4865160 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994450 | 994468 | -18 | -18000 | -0.018 | 994513 | 994776 | -263 | -263000 | -0.263
8 | BAY-9 | 4865157 | ELSTER | Kvarh(Lead/Lag) | 1000 | 990600 | 990604 | -4 | -4000 | -0.004 | 984848 | 985088 | -240 | -240000 | -0.24
9 | BAY-5 LAJPAT NAGAR | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 999991 | 999995 | -4 | -3200 | -0.0032 | 997018 | 997474 | -456 | -364800 | -0.3648
10 | BAY-38 | 4865130 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 988544 | 988546 | -2 | -2666.66 | -0.0026667 | 264922 | 264956 | -34 | -45333.22 | -0.045333
PAAPANKALAN-I
11 | Tx.1 | 4864786 | ELSTER | Kvarh(Lead/Lag) | -6666.666 | 1326 | 1145 | 181 | -1206666.546 | -1.2067 | 108 | 106 | 2 | -13333.332 | -0.013333
12 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 40280 | 38567 | 1713 | -1713000 | -1.713 | 997379 | 997370 | 9 | -9000 | -0.009
13 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6257 | 5908 | 349 | -698000 | -0.698 | 999705 | 999704 | 1 | -2000 | -0.002
14 | Tx.5 | 5128464 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3889 | 2606 | 1283 | -1283000 | -1.283 | 996131 | 996091 | 40 | -40000 | -0.04
PAAPANKALAN-II
15 | Tx.1 | 4864958 | ELSTER | Kvarh(Lead/Lag) | -1250 | 2796 | 2053 | 743 | -928750 | -0.92875 | 284 | 183 | 101 | -126250 | -0.12625
16 | Tx.2 | 5128438 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13758 | 13724 | 34 | -34000 | -0.034 | 854 | 639 | 215 | -215000 | -0.215
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 38751 | 38671 | 80 | -160000 | -0.16 | 5987 | 5642 | 345 | -690000 | -0.69
18 | Tx.4 | 4864938 | ELSTER | Kvarh(Lead/Lag) | -2000 | 4579 | 4477 | 102 | -204000 | -0.204 | 999873 | 999830 | 43 | -86000 | -0.086
PAAPANKALAN-III
19 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1600 | 5574 | 4606 | 968 | -1548800 | -1.5488 | 2111 | 1858 | 253 | -404800 | -0.4048
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 139142 | 136825 | 2317 | -1853600 | -1.8536 | 8140 | 7902 | 238 | -190400 | -0.1904
NAJAFGARH
21 | Tx.1 | 4864867 | ELSTER | Kvarh(Lead/Lag) | -2500 | 999961 | 999807 | 154 | -385000 | -0.385 | 999890 | 999897 | -7 | 17500 | 0.0175
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -2000 | 952599 | 952427 | 172 | -344000 | -0.344 | 989015 | 989215 | -200 | 400000 | 0.4
23 | Tx.3 | 4864787 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998487 | 998457 | 30 | -60000 | -0.06 | 999969 | 999990 | -21 | 42000 | 0.042
24 | Tx.4 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 945 | 375 | 570 | -570000 | -0.57 | 999915 | 999931 | -16 | 16000 | 0.016
R.K.PURAM
25 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997659 | 997596 | 63 | -63000 | -0.063 | 997354 | 997262 | 92 | -92000 | -0.092
26 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981541 | 981476 | 65 | -65000 | -0.065 | 13077 | 12985 | 92 | -92000 | -0.092
27 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 296539 | 296495 | 44 | -44000 | -0.044 | 140195 | 140062 | 133 | -133000 | -0.133
|  | 5100234 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6 | 0 | 6 | -12000 | -0.012 | 1 | 0 | 1 | -2000 | -0.002 | w.e.f 25/01/2024
28 | 66KV I/C-2 | 5100228 | ELSTER | Kvarh(Lead/Lag) | -2000 | 8558 | 8548 | 10 | -20000 | -0.02 | 1561 | 1545 | 16 | -32000 | -0.032
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | Y0357821 | Secure | Kvarh(Lead/Lag) | 0.8 | 817000 | 794000 | 23000 | 18400 | 0.0184 | 14500 | 9500 | 5000 | 4000 | 0.004
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 929311 | 928434 | 877 | -877000 | -0.877 | 965241 | 965242 | -1 | 1000 | 0.001
31 | Tx.2 | 5269749 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992315 | 992099 | 216 | -216000 | -0.216 | 999484 | 999495 | -11 | 11000 | 0.011
32 | Tx.3 | 4864945 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5996 | 6001 | -5 | 5000 | 0.005 | 999976 | 999976 | 0 | 0 | 0
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -800 | 41844 | 41732 | 112 | -89600 | -0.0896 | 16731 | 15720 | 1011 | -808800 | -0.8088
34 | 66KV I/C-2 | 4902495 | ELSTER | Kvarh(Lead/Lag) | -1200 | 422 | 355 | 67 | -80400 | -0.0804 | 1404 | 719 | 685 | -822000 | -0.822
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 5128411 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1000237 | 999862 | 375 | -750000 | -0.75 | 1926 | 1345 | 581 | -1162000 | -1.162
36 | Tx.2 (66 KV)-circuit no. 2 | 4864947 | ELSTER | Kvarh(Lead/Lag) | -1000 | 262 | 232 | 30 | -30000 | -0.03 | 1023 | 456 | 567 | -567000 | -0.567
37 | Tx.5 (33 KV)-Ckt No.3 | 5128413 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 6 | 0 | 0 | 0 | 505 | 361 | 144 | -144000 | -0.144
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5750 | 5727 | 23 | -23000 | -0.023 | 997652 | 996982 | 670 | -670000 | -0.67
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1324 | 1324 | 0 | 0 | 0 | 4459 | 2805 | 1654 | -1654000 | -1.654
BRPL(+) continue | [14 empty] | JANUARY-2024
VASANT KUNJ
40 | Tx.1 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11060 | 11201 | -141 | 141000 | 0.141 | 76 | 71 | 5 | -5000 | -0.005
41 | Tx.2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25782 | 25396 | 386 | -386000 | -0.386 | 1359 | 1005 | 354 | -354000 | -0.354
42 | Tx.3 | 4864900 | ELSTER | Kvarh(Lead/Lag) | -2500 | 100 | 43 | 57 | -142500 | -0.1425 | 999963 | 999993 | -30 | 75000 | 0.075
MEHRAULI
43 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1793 | 1170 | 623 | -623000 | -0.623 | 239 | 30 | 209 | -209000 | -0.209
44 | Tx.2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | -500 | 23785 | 22709 | 1076 | -538000 | -0.538 | 2138 | 1928 | 210 | -105000 | -0.105
45 | Tx.3 | 4864840 | ELSTER | Kvarh(Lead/Lag) | -2500 | 3343 | 3067 | 276 | -690000 | -0.69 | 1215 | 1134 | 81 | -202500 | -0.2025
46 | Tx.4 | 4865042 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6502 | 6173 | 329 | -658000 | -0.658 | 1243 | 1097 | 146 | -292000 | -0.292
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 107748 | 105475 | 2273 | -2273000 | -2.273 | 996806 | 996803 | 3 | -3000 | -0.003
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 77352 | 75312 | 2040 | -4080000 | -4.08 | 999341 | 999341 | 0 | 0 | 0
DIAL
49 | Tx-1 | 5128472 | ELSTER | Kvarh(Lead/Lag) | -1500 | 14369 | 13896 | 473 | -709500 | -0.7095 | 69 | 57 | 12 | -18000 | -0.018
50 | Tx-2 | 5128452 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17041 | 16292 | 749 | -749000 | -0.749 | 1000014 | 999997 | 17 | -17000 | -0.017
MASJID MOD
51 | Tx-1 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996824 | 996808 | 16 | -16000 | -0.016 | 366 | 162 | 204 | -204000 | -0.204
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991320 | 991285 | 35 | -35000 | -0.035 | 994894 | 994725 | 169 | -169000 | -0.169
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989915 | 989874 | 41 | -41000 | -0.041 | 986774 | 986696 | 78 | -78000 | -0.078
MUNDKA
54 | 66KV NANGLOI | 4902509 | ELSTER | Kvarh(Lead/Lag) | 4000 | 992979 | 993179 | -200 | -800000 | -0.8 | 999981 | 999990 | -9 | -36000 | -0.036
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 959480 | 960224 | -744 | -595200 | -0.5952 | 596 | 624 | -28 | -22400 | -0.0224
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 904628 | 905066 | -438 | -350400 | -0.3504 | 999390 | 999421 | -31 | -24800 | -0.0248
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 999495 | 999495 | 0 | 0 | 0
58 | BAY No 611 | 4864985 | ELSTER | Kvarh(Lead/Lag) | 800 | 999631 | 999956 | -325 | -260000 | -0.26 | 21 | 9 | 12 | 9600 | 0.0096
59 | BAY No 612 | 4902511 | ELSTER | Kvarh(Lead/Lag) | 4000 | 999973 | 999983 | -10 | -40000 | -0.04 | 11 | 1 | 10 | 40000 | 0.04
60 | 66KV Nilothi Ckt-1 | 5128428 | ELSTER | Kvarh(Lead/Lag) | 800 | 981328 | 982656 | -1328 | -1062400 | -1.0624 | 999165 | 999260 | -95 | -76000 | -0.076
61 | 66KV Nilothi Ckt-2 | 4864926 | ELSTER | Kvarh(Lead/Lag) | 800 | 976493 | 978311 | -1818 | -1454400 | -1.4544 | 999890 | 999960 | -70 | -56000 | -0.056
PARK STREET
63 | 66KV R VALLEY-1 | Y0357818 | Secure | Kvarh(Lead/Lag) | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SARITA VIHAR
64 | TX-1 | 5100232 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3222 | 1361 | 1861 | -3722000 | -3.722 | 25 | 0 | 25 | -50000 | -0.05
64 | Tx-2 | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20167 | 19946 | 221 | -221000 | -0.221 | 18827 | 17516 | 1311 | -1311000 | -1.311
65 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 147206 | 146234 | 972 | -972000 | -0.972 | 3520 | 3506 | 14 | -14000 | -0.014
NARAINA
66 | GOPI NATH BAZAAR | 4902566 | ELSTER | Kvarh(Lead/Lag) | 100 | 677 | 679 | -2 | -200 | -0.0002 | 4535 | 3915 | 620 | 62000 | 0.062
SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 995783 | 995865 | -82 | -15375 | -0.015375 | 998186 | 998216 | -30 | -5625 | -0.005625
68 | MAYA PURI -I | 4864870 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997882 | 997930 | -48 | -48000 | -0.048 | 368 | 433 | -65 | -65000 | -0.065
69 | MAYA PURI -II | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997244 | 997333 | -89 | -89000 | -0.089 | 347 | 391 | -44 | -44000 | -0.044
KANJAWALA
70 | 66KV DMRC | Y0357713 | Secure | Kvarh(Lead/Lag) | 0.4 | -1689000 | -1116000 | -573000 | -229200 | -0.2292 | -2627000 | -2193000 | -434000 | -173600 | -0.1736
Trauma Centre
71 | 33kV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 573 | 627 | -54 | -54000 | -0.054 | 999595 | 999777 | -182 | -182000 | -0.182
72 | IIT CIRCUIT | 4864872 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995041 | 995387 | -346 | -346000 | -0.346 | 999563 | 999564 | -1 | -1000 | -0.001
A.I.I.M.S.
73 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | 100 | 999760 | 999781 | -21 | -2100 | -0.0021 | 999677 | 999678 | -1 | -100 | -0.0001
74 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | 200 | 250 | 255 | -5 | -1000 | -0.001 | 407 | 407 | 0 | 0 | 0
PEERGARHI
75 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 8047 | 8059 | -12 | -6000 | -0.006 | 2917 | 2981 | -64 | -32000 | -0.032
76 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993952 | 993988 | -36 | -36000 | -0.036 | 4054 | 4124 | -70 | -70000 | -0.07
77 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 980387 | 980398 | -11 | -11000 | -0.011 | 524 | 519 | 5 | 5000 | 0.005
78 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7516 | 7539 | -23 | -23000 | -0.023 | 6925 | 6933 | -8 | -8000 | -0.008
79 | PASCHIM PURI - I (L-7) | 4865064 | ELSTER | Kvarh(Lead/Lag) | 150 | 993263 | 993306 | -43 | -6450 | -0.00645 | 682 | 470 | 212 | 31800 | 0.0318
80 | PASCHIM PURI - 2(L-8) | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999958 | 999962 | -4 | -4000 | -0.004 | 999996 | 1000000 | -4 | -4000 | -0.004
81 | MUKHERJEE PARK - I | 4864790 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3168 | 3285 | -117 | -31200.39 | -0.0312 | 541 | 701 | -160 | -42667.2 | -0.042667
82 | MUKHERJEE PARK - II | 4865154 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999995 | 999999 | -4 | -4000 | -0.004 | 67 | 21 | 46 | 46000 | 0.046
REWARI LINE
83 | VISHAL-1 | 4902510 | ELSTER | Kvarh(Lead/Lag) | 400 | 999125 | 999419 | -294 | -117600 | -0.1176 | 999992 | 999997 | -5 | -2000 | -0.002
84 | VISHAL-2 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999553 | 999669 | -116 | -108750 | -0.10875 | 999734 | 999738 | -4 | -3750 | -0.00375
85 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 979333 | 979886 | -553 | -103687.5 | -0.10369 | 2515 | 2527 | -12 | -2250 | -0.00225
86 | 20MVATX-III | 4865080 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999961 | 999965 | -4 | -10000 | -0.01 | 999997 | 999997 | 0 | 0 | 0
87 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 992734 | 992869 | -135 | -13500 | -0.0135 | 32210 | 32213 | -3 | -300 | -0.0003
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -34.8324 |  |  |  |  | -13.6437
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | JANUARY-2024
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -500 | 21835 | 21873 | -38 | 19000 | 0.019 | 6178 | 6188 | -10 | 5000 | 0.005
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 992386 | 992395 | -9 | 1199.97 | 0.0012 | 1277 | 1726 | -449 | 59865.17 | 0.059865
4 | KHYBER LANE-1 EXP. | 4865164 | ELSTER | Kvarh(Lead/Lag) | -666.667 | 999519 | 999635 | -116 | 77333.372 | 0.077333 | 250 | 448 | -198 | 132000.066 | 0.132
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1033 | 1058 | -25 | 25000 | 0.025 | 393 | 358 | 35 | -35000 | -0.035
6 | 33KV R R HOSPITAL | Q0819156 | SECURE | Kvarh(Lead/Lag) | -2 | 0 | 0 | 0 | 0 | 0 | 93400 | 58800 | 34600 | -69200 | -0.0692
EXPORTS(*)
EXPORT TO NDMC
7 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988042 | 988368 | -326 | 326000 | 0.326 | 2695 | 2698 | -3 | 3000 | 0.003
8 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 2577 | 2651 | -74 | 11840 | 0.01184 | 45671 | 45785 | -114 | 18240 | 0.01824
9 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 3801 | 3830 | -29 | 5800 | 0.0058 | 27052 | 26984 | 68 | -13600 | -0.0136
10 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966109 | 966644 | -535 | 535000 | 0.535 | 999619 | 999625 | -6 | 6000 | 0.006
EXPORT TO NDMC
11 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | -100 | 899 | 910 | -11 | 1100 | 0.0011 | 3620 | 3602 | 18 | -1800 | -0.0018
12 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 5923 | 5939 | -16 | 1600 | 0.0016 | 6282 | 6200 | 82 | -8200 | -0.0082
13 | 33KV SAHJAHAN ROAD | 4864793 | ELSTER | Kvarh(Lead/Lag) | -200 | 998699 | 999125 | -426 | 85200 | 0.0852 | 999703 | 999703 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
14 | KILOKARI | 4902557 | ELSTER | Kvarh(Lead/Lag) | 1875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 1000000 | -129 | -107499.57 | -0.1075
16 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 521 | 384 | 137 | 114166.21 | 0.11417 | 7771 | 7310 | 461 | 384165.13 | 0.38417
KIDWAI NAGAR
17 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | -625 | 508 | 473 | 35 | -21875 | -0.021875 | 8711 | 8413 | 298 | -186250 | -0.18625
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4865065 | ELSTER | Kvarh(Lead/Lag) | -266.667 | 0 | 0 | 0 | 0 | 0 | 999995 | 999995 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 999482 | 999482 | 0 | 0 | 0 | 999486 | 999486 | 0 | 0 | 0
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 3132 | 3142 | -10 | 1000 | 0.001 | 35666 | 35682 | -16 | 1600 | 0.0016
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 746 | 746 | 0 | 0 | 0 | 608 | 623 | -15 | 19995 | 0.019995
22 | 53 RAMA ROAD | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 298 | 298 | 0 | 0 | 0 | 4664 | 4664 | 0 | 0 | 0
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999942 | 999943 | -1 | 100 | 0.0001
24 | 70 RAMA ROAD | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 4902564 | ELSTER | Kvarh(Lead/Lag) | -100 | 1609 | 1616 | -7 | 700 | 0.0007 | 12861 | 12801 | 60 | -6000 | -0.006
REWARI LINE (11KV TRANSFER OF ENERGY)
27 | BSES -NDPL(EX.) ON BUS-1&2 | 4902529 | ELSTER | Kvarh(Lead/Lag) | 400 | 999999 | 999999 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
28 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999895 | 999895 | 0 | 0 | 0 | 999460 | 999460 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
29 | 66KV RLY Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -800 | 2322 | 2424 | -102 | 81600 | 0.0816 | 1607 | 1593 | 14 | -11200 | -0.0112
REWARI LINE
30 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 976177 | 977016 | -839 | 839000 | 0.839 | 1746 | 1757 | -11 | 11000 | 0.011
31 | SAGARPUR | 5129960 | ELSTER | Kvarh(Lead/Lag) | -281.25 | 999557 | 999557 | 0 | 0 | 0 | 435 | 429 | 6 | -1687.5 | -0.0016875
FED FROM BRPL(RLY.)
32 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | -600 | 0.12 | 0.12 | 0 | 0 | 0 | 46.37 | 47.88 | -1.51 | 906 | 0.000906
33 | TUGLUKABAD RY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | -3000 | 0.56 | 0.56 | 0 | 0 | 0 | 35.35 | 30.63 | 4.72 | -14160 | -0.01416
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | 2.1037 |  |  |  |  | 0.18727
JANUARY-2024
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -34.8324 |  |  |  |  | -13.6437
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | 2.1037 |  |  |  |  | 0.18727
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | -0.64328 |  |  |  |  | -0.083583
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.019 |  |  |  |  | -0.0968
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -33.391 |  |  |  |  | -13.6369
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -33.391 | (REACTIVE MUs) |  |  |  | -13.6369 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 6.3131 | (REACTIVE MUs) |  |  |  | 0.23503 | (REACTIVE MUs)
[9 empty] | TOTAL | -27.078 | (REACTIVE MUs) |  |  |  | -13.4018 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | JANUARY-2024
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 267 | 36459 | 36459 | 0 | 0 | 0 | 977361 | 977604 | -243 | -64881 | -0.064881
2 | KAMLA MKT.B-30 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 0 | 0 | 0 | 0 | 0 | 998886 | 998952 | -66 | -264000 | -0.264
3 | P. HOSPITAL BAY-19 | 4865108 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 24928 | 24928 | 0 | 0 | 0 | 33650 | 33698 | -48 | -6399.84 | -0.0063998
4 | IG STD- BAY-29 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999563 | 999583 | -20 | -20000 | -0.02 | 998208 | 998400 | -192 | -192000 | -0.192
5 | IG STD-BAY 31 | 4865126 | ELSTER | Kvarh(Lead/Lag) | 1600 | 88 | 88 | 0 | 0 | 0 | 999107 | 999157 | -50 | -80000 | -0.08
6 | DELHI GATE B-17 | 4865104 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 18400 | 18403 | -3 | -3999.99 | -0.004 | 3161 | 3217 | -56 | -74666.48 | -0.074666
7 | MINTO RD. B-34 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 200 | 999464 | 999513 | -49 | -9800 | -0.0098 | 985564 | 987444 | -1880 | -376000 | -0.376
RPH
8 | KAMLA MKT.-2 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999893 | 999999 | -106 | -141332.98 | -0.14133 | 999998 | 1000000 | -2 | -2666.66 | -0.0026667
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 982224 | 982433 | -209 | -104500 | -0.1045 | 548 | 553 | -5 | -2500 | -0.0025
10 | MINTO RD BAY-17 | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997069 | 997108 | -39 | -39000 | -0.039 | 999765 | 999766 | -1 | -1000 | -0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 982306 | 982371 | -65 | -65000 | -0.065 | 1003 | 1004 | -1 | -1000 | -0.001
12 | LAHORI GATE-1 | 4865120 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999958 | 999963 | -5 | -6666.65 | -0.0066666 | 3222 | 3296 | -74 | -98666.42 | -0.098666
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993307 | 993319 | -12 | -12000 | -0.012 | 994528 | 994544 | -16 | -16000 | -0.016
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992493 | 992494 | -1 | -1000 | -0.001 | 999613 | 999686 | -73 | -73000 | -0.073
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 994322 | 994326 | -4 | -3200 | -0.0032 | 6692 | 6735 | -43 | -34400 | -0.0344
16 | GB PANTH(Bay-13) | 4864826 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 14987 | 14917 | 70 | 9333.1 | 0.0093331 | 8685 | 8689 | -4 | -533.32 | -0.00053332
17 | SACHV. (Bay-12) | 4865143 | ELSTER | Kvarh(Lead/Lag) | 1000 | 25 | 25 | 0 | 0 | 0 | 999858 | 999858 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 218 | 350 | -132 | -132000 | -0.132 | 16394 | 16397 | -3 | -3000 | -0.003
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 936830 | 938146 | -1316 | -1645000 | -1.645 | 947108 | 947108 | 0 | 0 | 0
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1000 | 909897 | 912977 | -3080 | -3080000 | -3.08 | 933434 | 933434 | 0 | 0 | 0
21 | AKSHARDHAM | 4865027 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999431 | 999431 | 0 | 0 | 0 | 999959 | 999959 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -4.725 |  |  |  |  | 0
22 | 100 MVA TX.-1 | 4902505 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999993 | 999993 | 0 | 0 | 0 | 999904 | 999763 | 141 | -141000 | -0.141
23 | 100 MVA TX.-2 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 373 | 91 | 282 | -282000 | -0.282 | 19 | 1 | 18 | -18000 | -0.018
24 | B/C (IMP. TO BYPL) | 4902585 | ELSTER | Kvarh(Lead/Lag) | 400 | 999998 | 999998 | 0 | 0 | 0 | 10 | 10 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998884 | 998888 | -4 | -4000 | -0.004 | 11203 | 11464 | -261 | -261000 | -0.261
PARK STREET
26 | TX.-1 (66KV) | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15502 | 12333 | 3169 | -3169000 | -3.169 | 2287 | 2156 | 131 | -131000 | -0.131
27 | TX.-2(66KV) | Y0357712 | Secure | Kvarh(Lead/Lag) | -0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | TX.-1(33KV) | 4864934 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15803 | 15161 | 642 | -642000 | -0.642 | 999156 | 999154 | 2 | -2000 | -0.002
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8293 | 7990 | 303 | -303000 | -0.303 | 998021 | 998020 | 1 | -1000 | -0.001
HARSH VIHAR
30 | TX.-1 (66KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -2000 | 157 | 74 | 83 | -166000 | -0.166 | 134 | 59 | 75 | -150000 | -0.15
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 98323 | 97908 | 415 | -415000 | -0.415 | 6496 | 6341 | 155 | -155000 | -0.155
32 | TX.-3 (66KV) | 4864830 | ELSTER | Kvarh(Lead/Lag) | -5000 | 3879 | 3635 | 244 | -1220000 | -1.22 | 449 | 441 | 8 | -40000 | -0.04
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864899 | ELSTER | Kvarh(Lead/Lag) | 500 | 973006 | 973098 | -92 | -46000 | -0.046 | 992098 | 992123 | -25 | -12500 | -0.0125
34 | O/G BG Rd.2 | 4864825 | ELSTER | Kvarh(Lead/Lag) | 133.33 | 6799 | 7567 | -768 | -102397.44 | -0.1024 | 8316 | 8367 | -51 | -6799.83 | -0.0067998
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 992386 | 992395 | -9 | -1197 | -0.001197 | 1277 | 1726 | -449 | -59717 | -0.059717
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996873 | 996297 | 576 | -576000 | -0.576 | 990312 | 990272 | 40 | -40000 | -0.04
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986910 | 986237 | 673 | -673000 | -0.673 | 969557 | 969527 | 30 | -30000 | -0.03
DEV NAGAR
39 | TX.-3 (33KV) | Q0487636 | Secure | Kvarh(Lead/Lag) | -1 | 1172000 | 634000 | 538000 | -538000 | -0.538 | 18000 | 0 | 18000 | -18000 | -0.018
40 | TX.-4 (33KV) | Q0487633 | Secure | Kvarh(Lead/Lag) | -1 | 2998000 | 2376000 | 622000 | -622000 | -0.622 | 16000 | 0 | 16000 | -16000 | -0.016
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -14.0138 |  |  |  |  | -2.3727
| (A) NET ENERGY TO CENTRAL | [8 empty] | -14.0138 |  |  |  |  | -2.3727
JANUARY-2024
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1881 | 1702 | 179 | -179000 | -0.179 | 646 | 455 | 191 | -191000 | -0.191
2 | Tx.2 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1440 | 1311 | 129 | -129000 | -0.129 | 417 | 131 | 286 | -286000 | -0.286
3 | Tx.3 | 5100230 | ELSTER | Kvarh(Lead/Lag) | -1000 | 887 | 774 | 113 | -113000 | -0.113 | 250 | 116 | 134 | -134000 | -0.134
4 | Tx.4 | 4864812 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3859 | 3080 | 779 | -779000 | -0.779 | 999806 | 999768 | 38 | -38000 | -0.038
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41950 | 41950 | 0 | 0 | 0 | 999959 | 999502 | 457 | -457000 | -0.457
6 | Tx.2 (66 KV) | 5128466 | ELSTER | Kvarh(Lead/Lag) | -500 | 25240 | 25230 | 10 | -5000 | -0.005 | 2640 | 2191 | 449 | -224500 | -0.2245
7 | 100 MVA Tx.1 (33 KV) | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 466 | 466 | 0 | 0 | 0 | 297 | 148 | 149 | -149000 | -0.149
8 | 100MVA Tx.3 (33 KV) | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 120 | 100 | 20 | -20000 | -0.02 | 162 | 74 | 88 | -88000 | -0.088
9 | 100MVA Tx.4 (33 KV) | 4865024 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2017 | 2012 | 5 | -5000 | -0.005 | 291 | 188 | 103 | -103000 | -0.103
GEETA COLONY
10 | I/C-I | 5128441 | ELSTER | Kvarh(Lead/Lag) | -1000 | 234 | 189 | 45 | -45000 | -0.045 | 1072 | 945 | 127 | -127000 | -0.127
11 | I/C-II | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1561 | 1294 | 267 | -267000 | -0.267 | 2021 | 1852 | 169 | -169000 | -0.169
GAZIPUR
12 | TX.-1 | 4864838 | ELSTER | Kvarh(Lead/Lag) | -5000 | 14365 | 14365 | 0 | 0 | 0 | 1074 | 844 | 230 | -1150000 | -1.15
13 | TX-2 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3367 | 3335 | 32 | -32000 | -0.032 | 28 | 0 | 28 | -28000 | -0.028
14 | TX-3 | 4864931 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14454 | 13446 | 1008 | -1008000 | -1.008 | 912 | 912 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | -2.582 |  |  |  |  | -3.1445
| (B) NET ENERGY TO EAST | [8 empty] | -2.582 |  |  |  |  | -3.1445
JANUARY-2024
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 990069 | 990415 | -346 | 92267.82 | 0.092268 | 999929 | 999948 | -19 | 5066.73 | 0.0050667
2 | CIVIL LINE-2 | 4865184 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6 | 6 | 0 | 0 | 0 | 140 | 93 | 47 | -94000 | -0.094
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 152 | 262 | -110 | 29332.6 | 0.029333 | 2146 | 2146 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | -100 | 14427 | 13480 | 947 | -94700 | -0.0947 | 1603 | 1603 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 968538 | 969321 | -783 | 156600 | 0.1566 | 244 | 244 | 0 | 0 | 0
6 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | -1000 | 342 | 437 | -95 | 95000 | 0.095 | 365 | 365 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | -800 | 999942 | 999932 | 10 | -8000 | -0.008 | 1134 | 1118 | 16 | -12800 | -0.0128
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 1328 | 1471 | -143 | 114400 | 0.1144 | 2252 | 2262 | -10 | 8000 | 0.008
9 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 937808 | 938871 | -1063 | 850400 | 0.8504 | 987474 | 987516 | -42 | 33600 | 0.0336
12 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | -2000 | 992168 | 992238 | -70 | 140000 | 0.14 | 997978 | 998037 | -59 | 118000 | 0.118
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | Y0357818 | SECURE | Kvarh(Lead/Lag) | -0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992433 | 992572 | -139 | 139000 | 0.139 | 24310 | 24320 | -10 | 10000 | 0.01
DMS
15 | 33KV PANDAV NGR | 4902578 | ELSTER | Kvarh(Lead/Lag) | -300 | 998507 | 998507 | 0 | 0 | 0 | 999767 | 999767 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4902519 | ELSTER | Kvarh(Lead/Lag) | -500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999859 | 999859 | 0 | 0 | 0 | 2531 | 2518 | 13 | -6500 | -0.0065
18 | DCM NO.2 | 4865089 | ELSTER | Kvarh(Lead/Lag) | -500 | 999982 | 999982 | 0 | 0 | 0 | 999953 | 999981 | -28 | 14000 | 0.014
19 | SADAR S/S | 4865090 | ELSTER | Kvarh(Lead/Lag) | -500 | 1202 | 1202 | 0 | 0 | 0 | 1636 | 1671 | -35 | 17500 | 0.0175
KASHMIRI GATE
20 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 59837 | 60389 | -552 | 55200 | 0.0552 | 2646 | 2644 | 2 | -200 | -0.0002
21 | FLY OVER | 4865074 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 426 | 431 | -5 | 666.65 | 0.00066665 | 1188 | 1199 | -11 | 1466.63 | 0.0014666
D.M.S
22 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 992421 | 992518 | -97 | 9700 | 0.0097 | 3781 | 3868 | -87 | 8700 | 0.0087
FAIZ ROAD
23 | TIBIA COLLEGE-1 | 4902599 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 33 | 33 | 0 | 0 | 0 | 102 | 90 | 12 | -15999.96 | -0.016
24 | TIBIA COLLEGE-2 | 4865082 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 7 | 9 | -2 | 266.66 | 0.00026666 | 184 | 111 | 73 | -9733.09 | -0.0097331
25 | MANAK PURA | 4902577 | ELSTER | Kvarh(Lead/Lag) | -100 | 2755 | 2752 | 3 | -300 | -0.0003 | 510 | 362 | 148 | -14800 | -0.0148
FED FROM BYPL (RLY.)
26 | SADAR | Q0263400 | SECURE | Kvarh(Lead/Lag) | -1 | 89390 | 89220 | 170 | -170 | -0.00017 | 445590 | 431600 | 13990 | -13990 | -0.01399
27 | AJMERI GATE | Q0263398 | SECURE | Kvarh(Lead/Lag) | -1 | 58540 | 55790 | 2750 | -2750 | -0.00275 | 678780 | 672140 | 6640 | -6640 | -0.00664
28 | NDLS | Q0263402 | SECURE | Kvarh(Lead/Lag) | -1 | 349700 | 337400 | 12300 | -12300 | -0.0123 | 2337400 | 2319000 | 18400 | -18400 | -0.0184
DEV NAGAR
29 | 33KV RAMA ROAD | Q0487625 | SECURE | Kvarh(Lead/Lag) | -1 | -746000 | -637000 | -109000 | 109000 | 0.109 | -11000 | 0 | -11000 | 11000 | 0.011
30 | 33KV SHAHZADA BAGH | Q0487626 | SECURE | Kvarh(Lead/Lag) | -1 | -132000 | 166000 | -298000 | 298000 | 0.298 | 1000 | 0 | 1000 | -1000 | -0.001
31 | 33KV NARAINA DTC CKT-I | Q0487627 | SECURE | Kvarh(Lead/Lag) | -1 | -214000 | -37000 | -177000 | 177000 | 0.177 | -5000 | 0 | -5000 | 5000 | 0.005
32 | 33KV NARAINA DTC CKT-II | Q0487631 | SECURE | Kvarh(Lead/Lag) | -1 | -756000 | -575000 | -181000 | 181000 | 0.181 | -7000 | 0 | -7000 | 7000 | 0.007
FED FROM BYPL (RLY.)
31 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | -1200 | 25.33 | 25.27 | 0.06 | -72 | -7.2e-05 | 60.92 | 55.92 | 5 | -6000 | -0.006
32 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | -1200 | 1.69 | 1.36 | 0.33 | -396 | -0.000396 | 214.4 | 200.33 | 14.07 | -16884 | -0.016884
33 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | -1200 | 4 | 4 | 0 | 0 | 0 | 53.58 | 50.15 | 3.43 | -4116 | -0.004116
34 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | -1200 | 4.49 | 3.71 | 0.78 | -936 | -0.000936 | 53.06 | 50.81 | 2.25 | -2700 | -0.0027 | 69*
35 | KODIYA PUL | Q0430828 | SECURE | Kvarh(Lead/Lag) | -3000 | 0.09 | 0.09 | 0 | 0 | 0 | 22.62 | 21.83 | 0.79 | -2370 | -0.00237
[10 empty] | 2.3282 |  |  |  |  | 0.0132
JANUARY-2024
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -14.0138 |  |  |  |  | -2.3727
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 2.3282 |  |  |  |  | 0.0132
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | 0 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -11.6856 |  |  |  |  | -2.3595
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | -2.582 |  |  |  |  | -3.1445
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | -14.2676 |  |  |  |  | -5.504
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -14.2676 | (REACTIVE MUs) |  |  |  | -5.504 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 3.428 | (REACTIVE MUs) |  |  |  | 0.1323 | (REACTIVE MUs)
[9 empty] | TOTAL | -10.8395 | (REACTIVE MUs) |  |  |  | -5.3717 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | JANUARY-2024
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 152 | 262 | -110 | -29333.7 | -0.029334 | 2146 | 2146 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865150 | ELSTER | Kvarh(Lead/Lag) | 100 | 14427 | 13480 | 947 | 94700 | 0.0947 | 1603 | 1603 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 968538 | 969321 | -783 | -156600 | -0.1566 | 244 | 244 | 0 | 0 | 0
4 | H.LANE | 4865172 | ELSTER | Kvarh(Lead/Lag) | 1000 | 342 | 437 | -95 | -95000 | -0.095 | 365 | 365 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865010 | ELSTER | Kvarh(Lead/Lag) | 800 | 999942 | 999932 | 10 | 8000 | 0.008 | 1134 | 1118 | 16 | 12800 | 0.0128
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 1328 | 1471 | -143 | -114400 | -0.1144 | 2252 | 2262 | -10 | -8000 | -0.008
7 | 66KV DMRC-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 982119 | 982119 | 0 | 0 | 0 | 998603 | 998603 | 0 | 0 | 0
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 950267 | 950267 | 0 | 0 | 0 | 979419 | 979419 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 937808 | 938871 | -1063 | -850400 | -0.8504 | 987474 | 987516 | -42 | -33600 | -0.0336
10 | 66KV SCHOOL LANE | 5128403 | ELSTER | Kvarh(Lead/Lag) | 2000 | 992168 | 992238 | -70 | -140000 | -0.14 | 997978 | 998037 | -59 | -118000 | -0.118
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 952638 | 952668 | -30 | -1500 | -0.0015 | 23663 | 25939 | -2276 | -113800 | -0.1138
12 | BAY-4 (E LANE) | 4865115 | ELSTER | Kvarh(Lead/Lag) | 100 | 998777 | 998833 | -56 | -5600 | -0.0056 | 1383 | 2370 | -987 | -98700 | -0.0987
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 997770 | 997774 | -4 | -2000 | -0.002 | 8629 | 8846 | -217 | -108500 | -0.1085
14 | BAY-10 (E LANE) | 4865121 | ELSTER | Kvarh(Lead/Lag) | 100 | 999817 | 999817 | 0 | 0 | 0 | 994206 | 994206 | 0 | 0 | 0
15 | BAY-16 (N BWN) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 998335 | 998336 | -1 | -1333.33 | -0.0013333 | 4365 | 4439 | -74 | -98666.42 | -0.098666
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11074 | 11074 | 0 | 0 | 0 | 43244 | 43244 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 999845 | 999849 | -4 | -5333.32 | -0.0053333 | 3974 | 4036 | -62 | -82666.46 | -0.082666
G.T.
19 | VIDYUT BHAWAN-1 | 4864996 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988029 | 988662 | -633 | -633000 | -0.633 | 399 | 399 | 0 | 0 | 0
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 972648 | 973456 | -808 | -808000 | -0.808 | 3090 | 3090 | 0 | 0 | 0
21 | SCHOOL LANE-1 | 4864851 | ELSTER | Kvarh(Lead/Lag) | 2500 | 999360 | 999468 | -108 | -270000 | -0.27 | 999999 | 999999 | 0 | 0 | 0
22 | SCHOOL LANE-2 | 4864885 | ELSTER | Kvarh(Lead/Lag) | 2500 | 991381 | 991837 | -456 | -1140000 | -1.14 | 512 | 512 | 0 | 0 | 0
[10 empty] | -2.851 |  |  |  |  | 0
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988042 | 988368 | -326 | -326000 | -0.326 | 2695 | 2698 | -3 | -3000 | -0.003
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 2577 | 2651 | -74 | -11840 | -0.01184 | 45671 | 45785 | -114 | -18240 | -0.01824
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 3801 | 3830 | -29 | -5800 | -0.0058 | 27052 | 26984 | 68 | 13600 | 0.0136
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 966109 | 966644 | -535 | -535000 | -0.535 | 999619 | 999625 | -6 | -6000 | -0.006
A.I.I.M.S.
27 | KILOKARI | 4902557 | ELSTER | Kvarh(Lead/Lag) | -1875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | SIRI FORT | 4865114 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 0 | 0 | 0 | 0 | 0 | 999871 | 1000000 | -129 | 107499.57 | 0.1075
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 521 | 384 | 137 | -114166.21 | -0.11417 | 7771 | 7310 | 461 | -384165.13 | -0.38417
JANUARY-2024
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997686 | 997686 | 0 | 0 | 0 | 999999 | 999999 | 0 | 0 | 0
|  | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 661 | 0 | 661 | -661000 | -0.661 | 0 | 0 | 0 | 0 | 0 | w.e.f 03/01/2024
31 | 33KV TX-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13458 | 12640 | 818 | -818000 | -0.818 | 995101 | 995100 | 1 | -1000 | -0.001
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998543 | 998334 | 209 | -418000 | -0.418 | 994584 | 994585 | -1 | 2000 | 0.002
33 | 33KV TX-2 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999633 | 999854 | -221 | 221000 | 0.221 | 998753 | 998752 | 1 | -1000 | -0.001
KIDWAI NAGAR
34 | I/C from R.Valley at kidwai ngr | 4864850 | ELSTER | Kvarh(Lead/Lag) | 625 | 508 | 473 | 35 | 21875 | 0.021875 | 8711 | 8413 | 298 | 186250 | 0.18625
LODHI ROAD
35 | SHAN NAGAR 1 | 4902580 | ELSTER | Kvarh(Lead/Lag) | 100 | 899 | 910 | -11 | -1100 | -0.0011 | 3620 | 3602 | 18 | 1800 | 0.0018
36 | SHAN NAGAR 2 | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 5923 | 5939 | -16 | -1600 | -0.0016 | 6282 | 6200 | 82 | 8200 | 0.0082
37 | 33KV SAHJAHAN ROAD | 4864793 | ELSTER | Kvarh(Lead/Lag) | 200 | 998699 | 999125 | -426 | -85200 | -0.0852 | 999703 | 999703 | 0 | 0 | 0
TILAK MARG
38 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | 500 | 21835 | 21873 | -38 | -19000 | -0.019 | 6178 | 6188 | -10 | -5000 | -0.005
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 4864839 | ELSTER | Kvarh(Lead/Lag) | -1000 | 573 | 627 | -54 | 54000 | 0.054 | 999595 | 999777 | -182 | 182000 | 0.182
2 | 33KV IIT Circuit | 4864872 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995041 | 995387 | -346 | 346000 | 0.346 | 999563 | 999564 | -1 | 1000 | 0.001
AIIMS
3 | 11KV VIKAS SADAN | 4865072 | ELSTER | Kvarh(Lead/Lag) | -100 | 999760 | 999781 | -21 | 2100 | 0.0021 | 999677 | 999678 | -1 | 100 | 0.0001
4 | 11KV NDSE | 4865066 | ELSTER | Kvarh(Lead/Lag) | -200 | 250 | 255 | -5 | 1000 | 0.001 | 407 | 407 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -6.5005 |  |  |  |  | -0.56509
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | -6.5005 |  |  |  |  | -0.56509
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.2003 |  |  |  |  | 0.027746
| TOTAL ENERGY TO NDMC | [8 empty] | -6.3002 |  |  |  |  | -0.53734

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2024
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3941 | 3941 | 0 | 0 | 0 | 82216 | 82166 | 50 | 10000 | 0.01
2 | KHBR LANE-2 -EXP. | 4864819 | ELSTER | Kvarh(Lead/Lag) | 160 | 999638 | 999686 | -48 | -7680 | -0.00768 | 32924 | 32948 | -24 | -3840 | -0.00384
3 | KIRBY PLACE-1 | 4864815 | ELSTER | Kvarh(Lead/Lag) | 200 | 999863 | 999870 | -7 | -1400 | -0.0014 | 2499 | 2276 | 223 | 44600 | 0.0446
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 999739 | 999745 | -6 | -2400 | -0.0024 | 20086 | 20097 | -11 | -4400 | -0.0044
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 999257 | 999258 | -1 | -800 | -0.0008 | 668 | 725 | -57 | -45600 | -0.0456
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 2225 | 2233 | -8 | -3200 | -0.0032 | 6791 | 6748 | 43 | 17200 | 0.0172
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4865164 | ELSTER | Kvarh(Lead/Lag) | 666.667 | 999519 | 999635 | -116 | -77333.372 | -0.077333 | 250 | 448 | -198 | -132000.066 | -0.132
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1033 | 1058 | -25 | -25000 | -0.025 | 393 | 358 | 35 | 35000 | 0.035
9 | 33KV R R HOSPITAL | Q0819156 | SECURE | Kvarh(Lead/Lag) | 2 | 0 | 0 | 0 | 0 | 0 | 93400 | 58800 | 34600 | 69200 | 0.0692
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.11781 |  |  |  |  | -0.0098401
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
10 | R.R. HOSPITAL | 4902594 | ELSTER | Kvarh(Lead/Lag) | 500 | 149 | 111 | 38 | 19000 | 0.019 | 876 | 815 | 61 | 30500 | 0.0305
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 105 | 105 | 0 | 0 | 0 | 1849 | 1849 | 0 | 0 | 0
12 | SUBROTO PARK | 4902562 | ELSTER | Kvarh(Lead/Lag) | 75 | 4831 | 4831 | 0 | 0 | 0 | 75789 | 74875 | 914 | 68550 | 0.06855
13 | SUBROTO PARK | 4865088 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 784 | 784 | 0 | 0 | 0 | 5981 | 6011 | -30 | -2250 | -0.00225
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10294 | 10294 | 0 | 0 | 0 | 8853 | 8853 | 0 | 0 | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.019 |  |  |  |  | 0.0968
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.11781 |  |  |  |  | -0.0098401
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | -0.098813 |  |  |  |  | 0.08696
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -0.098813 | (REACTIVE MUs) |  |  |  | 0.08696 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | -0.11646 | (REACTIVE MUs) |  |  |  | 0 | (REACTIVE MUs)
[9 empty] | TOTAL | -0.21527 | (REACTIVE MUs) |  |  |  | 0.08696 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2024
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 992018 | 991986 | 32 | 20000 | 0.02 | 1377 | 1361 | 16 | 10000 | 0.01
2 | 66KV Rly Ckt-2 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 500 | 999629 | 999668 | -39 | -19500 | -0.0195 | 820 | 807 | 13 | 6500 | 0.0065
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | 800 | 2322 | 2424 | -102 | -81600 | -0.0816 | 1607 | 1593 | 14 | 11200 | 0.0112
FED FROM BYPL (RLY.)
1 | SADAR | Q0263400 | SECURE | Kvarh(Lead/Lag) | 1 | 89390 | 89220 | 170 | 170 | 0.00017 | 445590 | 431600 | 13990 | 13990 | 0.01399
2 | AJMERI GATE | Q0263398 | SECURE | Kvarh(Lead/Lag) | 1 | 58540 | 55790 | 2750 | 2750 | 0.00275 | 678780 | 672140 | 6640 | 6640 | 0.00664
3 | NDLS | Q0263402 | SECURE | Kvarh(Lead/Lag) | 1 | 349700 | 337400 | 12300 | 12300 | 0.0123 | 2337400 | 2319000 | 18400 | 18400 | 0.0184
4 | ANAND VIHAR | Q0430841 | SECURE | Kvarh(Lead/Lag) | 1200 | 25.33 | 25.27 | 0.06 | 72 | 7.2e-05 | 60.92 | 55.92 | 5 | 6000 | 0.006
5 | THOMSON ROAD | Q0430833 | SECURE | Kvarh(Lead/Lag) | 1200 | 1.69 | 1.36 | 0.33 | 396 | 0.000396 | 214.4 | 200.33 | 14.07 | 16884 | 0.016884
6 | SHIVAJI BRIDGE | Q0430835 | SECURE | Kvarh(Lead/Lag) | 1200 | 4 | 4 | 0 | 0 | 0 | 53.58 | 50.15 | 3.43 | 4116 | 0.004116
7 | RRI HAMILTON RD. | Q0430822 | SECURE | Kvarh(Lead/Lag) | 1200 | 4.49 | 3.71 | 0.78 | 936 | 0.000936 | 53.06 | 50.81 | 2.25 | 2700 | 0.0027
8 | KODIYA PUL | Q0430828 | SECURE | Kvarh(Lead/Lag) | 3000 | 0.09 | 0.09 | 0 | 0 | 0 | 22.62 | 21.83 | 0.79 | 2370 | 0.00237
FED FROM BRPL(RLY.)
9 | NIZAMUDDIN RLY STN | Q0430831 | SECURE | Kvarh(Lead/Lag) | 600 | 0.12 | 0.12 | 0 | 0 | 0 | 46.37 | 47.88 | -1.51 | -906 | -0.000906
10 | TUGLUKABAD RLY STN | Q0430821 | SECURE | Kvarh(Lead/Lag) | 3000 | 0.56 | 0.56 | 0 | 0 | 0 | 35.35 | 30.63 | 4.72 | 14160 | 0.01416
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.064476 |  |  |  |  | 0.11205
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0033204 |  |  |  |  | 0
TOTAL ENERGY TO Northern Railway | [9 empty] | -0.061156 |  |  |  |  | 0.11205

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2024
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4865155 | ELSTER | Kvarh(Lead/Lag) | 500 | 992187 | 992187 | 0 | 0 | 0 | 999249 | 999249 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 13415 | 15452 | -2037 | -203700 | -0.2037 | 985473 | 986042 | -569 | -56900 | -0.0569
3 | O/G VISHAL-1 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 833.333 | 999967 | 1000200 | -233 | -194166.589 | -0.19417 | 282 | 283 | -1 | -833.333 | -0.00083333
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 996931 | 997094 | -163 | -152812.5 | -0.15281 | 998682 | 998742 | -60 | -56250 | -0.05625
AT 33/11 KV LEVEL
-1875
5 | TX.-I | 5252046 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999215 | 999126 | 89 | -89000 | -0.089 | 998599 | 998633 | -34 | 34000 | 0.034
6 | TX-II | 4902535 | ELSTER | Kvarh(Lead/Lag) | -1500 | 81 | 81 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0
|  | 4902535 | ELSTER | Kvarh(Lead/Lag) | -1875 | 81 | 81 | 0 | 0 | 0 | 2 | 2 | 0 | 0 | 0 | CTR changed to 500/1A w.e.f 27/01/2024
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 194 | 206 | -12 | -3600 | -0.0036 | 999940 | 999952 | -12 | -3600 | -0.0036
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | -0.64328 |  |  |  |  | -0.083583
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 954745 | 954745 | 0 | 0 | 0 | 991368 | 991368 | 0 | 0 | 0 | Data till 29/01/2024
[5 empty] | 1000 | 993088 | 993088 | 0 | 0 | 0 | 998374 | 998374 | 0 | 0 | 0 | Check meter Data
9 | O/G DMS | 4864804 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 993263 | 993263 | 0 | 0 | 0 | 993619 | 993619 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | 0 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 998817 | 998958 | -141 | -176250 | -0.17625 | 998435 | 998442 | -7 | -8750 | -0.00875
11 | O/G 33KV RAMPURA-1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 997090 | 997555 | -465 | -435937.5 | -0.43594 | 999314 | 999315 | -1 | -937.5 | -0.0009375
12 | O/G 33KV RAMPURA-2 | 4864814 | ELSTER | Kvarh(Lead/Lag) | 125 | 984149 | 987508 | -3359 | -419875 | -0.41987 | 994236 | 994249 | -13 | -1625 | -0.001625
13 | O/G 33KV RAMA ROAD | 4865123 | ELSTER | Kvarh(Lead/Lag) | 1250 | 998801 | 998909 | -108 | -135000 | -0.135 | 999926 | 999936 | -10 | -12500 | -0.0125
14 | O/G 33KV SH.W.BAGH-2 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997635 | 997750 | -115 | -115000 | -0.115 | 999438 | 999461 | -23 | -23000 | -0.023
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 1000 | 960284 | 961764 | -1480 | -1480000 | -1.48 | 988300 | 988626 | -326 | -326000 | -0.326
AT 33/11 KV LEVEL
16 | TX-III | 5128406 | ELSTER | Kvarh(Lead/Lag) | -625 | 999446 | 999469 | -23 | 14375 | 0.014375 | 999740 | 999740 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 194 | 206 | -12 | 3600 | 0.0036 | 999940 | 999952 | -12 | 3600 | 0.0036
| TOTAL NDPL | [8 empty] | -2.7441 |  |  |  |  | -0.36921
| E) NET EXPORT TO BSES RPL | [8 empty] | -0.64328 |  |  |  |  | -0.083583
| F) NET EXPORT TO BSES YPL | [8 empty] | 0 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | -2.7441 |  |  |  |  | -0.36921

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | JANUARY-2024
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/01/2024 | INTIAL READING 01/01/2024 | DIFF. | CONSP. | REACTIVE MUs | REMARK
A) | G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865015 | ELSTER | kvarh (Lead/lag) | 2000 | 26016 | 23952 | 2064 | 4128000 | 4.128 | 999980 | 999980 | 0 | 0 | 0
2 | IBT-2 | 4864969 | ELSTER | kvarh (Lead/lag) | 2000 | 16886 | 14921 | 1965 | 3930000 | 3.93 | 999976 | 999976 | 0 | 0 | 0
[7 empty] | Total Generation at GT(IBT1+IBT2) = |  |  | 8.058 |  |  |  |  | 0
[7 empty] | Generation at feeders |  | = | -7.576 |  |  |  |  | 0
[7 empty] | NET REACTIVE ENERGY at GT = |  |  | 15.634 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for GT:
| NDPL | (DERC order = |  |  |  | 29.67 | % |  |  | 4.6386 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 41.53 | % |  |  | 6.4928 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 22.74 | % |  |  | 3.5552 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 4.95 | % |  |  | 0.77388 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
B) | MSW BAWANA
1 | MSW BAWANA | 4864884 | ELSTER | kvarh (Lead/lag) | -1000 | 996810 | 997175 | -365 | 365000 | 0.365 | 999235 | 999402 | -167 | 167000 | 0.167
[6 empty] | NET REACTIVE ENERGY at MSW BAWANA = |  |  |  | 0.365 |  |  |  |  | 0.167
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 29.2 | % |  |  | 0.10658 |  |  |  |  | 0.048764
| BRPL | (DERC order = |  |  |  | 41.81 | % |  |  | 0.15261 |  |  |  |  | 0.069823
| BYPL | (DERC order = |  |  |  | 23.9 | % |  |  | 0.087235 |  |  |  |  | 0.039913
| NDMC | (DERC order = |  |  |  | 5.09 | % |  |  | 0.018579 |  |  |  |  | 0.0085003
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
C) | PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | -750 | 196744 | 196159 | 585 | -438750 | -0.43875 | 999741 | 999741 | 0 | 0 | 0
2 | GT-II | 4902490 | ELSTER | kvarh (lag) | -1000 | 9630 | 8530 | 1100 | -1100000 | -1.1 | 4 | 4 | 0 | 0 | 0
3 | STG | 4902483 | ELSTER | kvarh (lag) | -750 | 992401 | 991747 | 654 | -490500 | -0.4905 | 999402 | 999402 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at PRAGATI = |  | -2.0293 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their allocation for PRAGATI :
| NDPL | (DERC order = |  |  |  | 19.28 | % |  |  | -0.39124 |  |  |  |  | 0
| BRPL | (DERC order = |  |  |  | 28.29 | % |  |  | -0.57407 |  |  |  |  | 0
| BYPL | (DERC order = |  |  |  | 16.07 | % |  |  | -0.3261 |  |  |  |  | 0
| NDMC | (DERC order = |  |  |  | 30.3 | % |  |  | -0.61486 |  |  |  |  | 0
| MES | (DERC order = |  |  |  | 6.06 | % |  |  | -0.12297 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
D) | EAST DELHI WASTE - Ghazipur
1 | E.Delhi Waste GZP | 5295115 | ELSTER | kvarh (Lead/lag) | -100 | 274866 | 280902 | -6036 | 603600 | 0.6036 | 984104 | 984104 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY at EDWMP = |  | 0.6036 |  |  |  |  | 0
Reactive Energy distribution to DISCOMs in proportion to their Active Energy drawl(week No- 44 FY2023-24) for EDWMP-GHAZIPUR :
| NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 30.4969 | % |  |  | 0.18408 |  |  |  |  | 0
| BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 43.3645 | % |  |  | 0.26175 |  |  |  |  | 0
| BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 20.3615 | % |  |  | 0.1229 |  |  |  |  | 0
| NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.148 | % |  |  | 0.025037 |  |  |  |  | 0
| MES | (ACTIVE ENERGY DRAWL= |  |  |  | 1.079 | % |  |  | 0.0065128 |  |  |  |  | 0
| N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.5501 | % |  |  | 0.0033204 |  |  |  |  | 0
E) | TEKHAND WASTE TO ENERGY PANT
1 | TEKHAND WASTE TO ENERGY PLANT | Q0473785 | SECURE | kvarh (Lead/lag) | -240000 | -2.49 | -2.69 | 0.2 | -48000 | -0.048 | -30.68 | -29.03 | -1.65 | 396000 | 0.396
Reactive Energy distribution to DISCOMs in proportion to their allocation for MSW-BAWANA:
| NDPL | (DERC order = |  |  |  | 30.09 | % |  |  | -0.014443 |  |  |  |  | 0.11916
| BRPL | (DERC order = |  |  |  | 41.72 | % |  |  | -0.020026 |  |  |  |  | 0.16521
| BYPL | (DERC order = |  |  |  | 23.33 | % |  |  | -0.011198 |  |  |  |  | 0.092387
| NDMC | (DERC order = |  |  |  | 4.86 | % |  |  | -0.0023328 |  |  |  |  | 0.019246
| MES | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
| N.Railway | (DERC order = |  |  |  | 0 | % |  |  | 0 |  |  |  |  | 0
F) | TOTAL REACTIVE ENRGY DISTRIBUTION OF EACH DISCOM ON DELHI GENERATORS (A+B+C+D+E)
1) | NDPL |  |  |  | = |  |  |  |  | 4.5236 |  |  |  |  | 0.16792
2) | BRPL |  |  |  | = |  |  |  |  | 6.3131 |  |  |  |  | 0.23503
3) | BYPL |  |  |  | = |  |  |  |  | 3.428 |  |  |  |  | 0.1323
4) | NDMC |  |  |  | = |  |  |  |  | 0.2003 |  |  |  |  | 0.027746
5) | MES |  |  |  | = |  |  |  |  | -0.11646 |  |  |  |  | 0
6) | N.Railway |  |  |  | = |  |  |  |  | 0.0033204 |  |  |  |  | 0

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st JANUARY-2024 TO 31st JANUARY-2024
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -34.7827 |  | -6.3498
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -27.078 |  | -13.4018
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  |  | -10.8395 |  | -5.3717
4 | NET REACTIVE ENERGY TO NDMC |  |  |  |  | -6.3002 |  | -0.53734
5 | NET REACTIVE ENERGY TO MES |  |  |  |  | -0.21527 | + | 0.08696
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  |  | -0.061156 | + | 0.11205
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system
Note:-Above Data is provided by DTL Metering Department