## NDPL
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15659 | 16112 | -453 | 453000 | 0.453 | 978421 | 978429 | -8 | 8000 | 0.008
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999986 | 1000014 | -28 | 28000 | 0.028 | 999915 | 1000052 | -137 | 137000 | 0.137 | ROLL OVER
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17026 | 17297 | -271 | 271000 | 0.271 | 997174 | 997175 | -1 | 1000 | 0.001
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974210 | 974212 | -2 | 2000 | 0.002 | 978155 | 978291 | -136 | 136000 | 0.136
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 921682 | 922019 | -337 | 337000 | 0.337 | 949919 | 949919 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18699 | 18707 | -8 | 8000 | 0.008 | 16495 | 16555 | -60 | 60000 | 0.06
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19614 | 19625 | -11 | 11000 | 0.011 | 12619 | 12677 | -58 | 58000 | 0.058
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 16642 | 16953 | -311 | 388750 | 0.38875 | 996621 | 996631 | -10 | 12500 | 0.0125
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15403 | 15956 | -553 | 553000 | 0.553 | 986824 | 986832 | -8 | 8000 | 0.008
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 33392 | 33999 | -607 | 607000 | 0.607 | 9807 | 9808 | -1 | 1000 | 0.001
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999899 | 1000669 | -770 | 770000 | 0.77 | 4166 | 4167 | -1 | 1000 | 0.001 | ROLL OVER
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997263 | 997883 | -620 | 620000 | 0.62 | 999512 | 999513 | -1 | 1000 | 0.001
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 948243 | 950702 | -2459 | -2459000 | -2.459 | 920550 | 920550 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997194 | 997244 | -50 | 50000 | 0.05 | 17149 | 17149 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999605 | 999634 | -29 | 29000 | 0.029 | 19558 | 19555 | 3 | -3000 | -0.003
16 | Tx.3 | 4902500 | ELSTER | Kvarh(Lead/Lag) | -1000 | 755 | 782 | -27 | 27000 | 0.027 | 20960 | 21005 | -45 | 45000 | 0.045
NARAINA
17 | O/G REWARI LINE 1 | 4864886 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999545 | 999546 | -1 | -1000 | -0.001 | 28083 | 28203 | -120 | -120000 | -0.12
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 218 | 212 | 6 | 6000 | 0.006 | 26731 | 26660 | 71 | 71000 | 0.071
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2338 | 2306 | 32 | 3200 | 0.0032 | 123515 | 123207 | 308 | 30800 | 0.0308
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 4214 | 4109 | 105 | 10500 | 0.0105 | 172971 | 172420 | 551 | 55100 | 0.0551
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996022 | 996023 | -1 | -1000 | -0.001 | 997575 | 997585 | -10 | -10000 | -0.01
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999910 | 999909 | 1 | 1000 | 0.001 | 1834 | 1804 | 30 | 30000 | 0.03
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 652741 | 652985 | -244 | -244000 | -0.244 | 801370 | 801377 | -7 | -7000 | -0.007
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 659828 | 659982 | -154 | -154000 | -0.154 | 833848 | 833849 | -1 | -1000 | -0.001
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991628 | 991489 | 139 | 139000 | 0.139 | 998460 | 998460 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 108 | 6 | 102 | 51000 | 0.051 | 999845 | 999843 | 2 | 1000 | 0.001
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8185 | 8057 | 128 | -128000 | -0.128 | 981904 | 981904 | 0 | 0 | 0
28 | Tx.2 | 4865055 | ELSTER | Kvarh(Lead/Lag) | -1000 | 106 | 59 | 47 | -47000 | -0.047 | 948562 | 948563 | -1 | 1000 | 0.001
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991578 | 991761 | -183 | 183000 | 0.183 | 933404 | 933409 | -5 | 5000 | 0.005
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999514 | 999834 | -320 | 320000 | 0.32 | 0 | 0 | 0 | 0 | 0
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11756 | 9985 | 1771 | -1771000 | -1.771 | 999970 | 999970 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
32 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 725 | 687 | 38 | 38000 | 0.038 | 16402 | 16372 | 30 | 30000 | 0.03
33 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999603 | 999419 | 184 | 184000 | 0.184 | 3183 | 3175 | 8 | 8000 | 0.008
| NDPL(+) continue | [14 empty] | APRIL-2012
DMS
34 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1361 | 1286 | 75 | 75000 | 0.075 | 56374 | 56251 | 123 | 123000 | 0.123
REWARI LINE
35 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 14267 | 14018 | 249 | 24900 | 0.0249 | 62522 | 61784 | 738 | 73800 | 0.0738
VISHAL
36 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 8849 | 8781 | 68 | 6800 | 0.0068 | 15370 | 13976 | 1394 | 139400 | 0.1394
37 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 9681 | 9668 | 13 | 1300 | 0.0013 | 31397 | 30964 | 433 | 43300 | 0.0433
38 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 13757 | 13752 | 5 | 500 | 0.0005 | 39479 | 38042 | 1437 | 143700 | 0.1437
S.B.MILL
39 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 33364 | 33100 | 264 | 26400 | 0.0264 | 11020 | 10957 | 63 | 6300 | 0.0063
40 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
41 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
42 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16025 | 15843 | 182 | 18200 | 0.0182 | 11291 | 11244 | 47 | 4700 | 0.0047
45 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 997175 | 997311 | -136 | -13600 | -0.0136 | 1337 | 1324 | 13 | 1300 | 0.0013
B.G.ROAD
46 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5132 | 5126 | 6 | 3000 | 0.003 | 22929 | 22836 | 93 | 46500 | 0.0465
47 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3313 | 3309 | 4 | 2000 | 0.002 | 20907 | 20845 | 62 | 31000 | 0.031
48 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 3354 | 3333 | 21 | 10500 | 0.0105 | 13993 | 13991 | 2 | 1000 | 0.001
49 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | 500 | 3338 | 3282 | 56 | 28000 | 0.028 | 16411 | 16355 | 56 | 28000 | 0.028
D.M.S.
50 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 999051 | 999173 | -122 | -12200 | -0.0122 | 5806 | 5799 | 7 | 700 | 0.0007
51 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 3826 | 3431 | 395 | 39500 | 0.0395 | 13744 | 13740 | 4 | 400 | 0.0004
52 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 9952 | 8850 | 1102 | 110200 | 0.1102 | 48870 | 48869 | 1 | 100 | 0.0001
53 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 7989 | 8005 | -16 | -1600 | -0.0016 | 19040 | 19046 | -6 | -600 | -0.0006
54 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 999387 | 999421 | -34 | -3400 | -0.0034 | 250 | 251 | -1 | -100 | -0.0001
55 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
56 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 3825 | 3289 | 536 | 53600 | 0.0536 | 63145 | 62857 | 288 | 28800 | 0.0288
57 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 5653 | 5026 | 627 | 62700 | 0.0627 | 53507 | 53456 | 51 | 5100 | 0.0051
58 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 6634 | 5889 | 745 | 74500 | 0.0745 | 77541 | 77456 | 85 | 8500 | 0.0085
KASHMIRI GATE
59 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 115617 | 113953 | 1664 | 166400 | 0.1664 | 27023 | 27008 | 15 | 1500 | 0.0015
60 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 16552 | 16028 | 524 | 52400 | 0.0524 | 33519 | 33515 | 4 | 400 | 0.0004
61 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 41 | 41 | 0 | 0 | 0 | 23 | 23 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
62 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | -400 | 4570 | 4570 | 0 | 0 | 0 | 12611 | 12611 | 0 | 0 | 0
63 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999301 | 999301 | 0 | 0 | 0 | 999393 | 999393 | 0 | 0 | 0
Mundka
64 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 1001203 | 999840 | 1363 | 1090400 | 1.0904 | 45 | 0 | 45 | 36000 | 0.036 | ROLL OVER
MANGOLPURI
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | 2.1009 |  |  |  |  | 1.2822
NDPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | APRIL-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 6700 | 6548 | 152 | -15200 | -0.0152 | 9835 | 9442 | 393 | -39300 | -0.0393
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6383 | 6003 | 380 | -380000 | -0.38 | 4786 | 4633 | 153 | -153000 | -0.153
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13349 | 13301 | 48 | -48000 | -0.048 | 24753 | 24730 | 23 | -23000 | -0.023
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864792 | ELSTER | Kvarh(Lead/Lag) | -100 | 38176 | 38246 | -70 | 7000 | 0.007 | 147101 | 147056 | 45 | -4500 | -0.0045
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973711 | 974433 | -722 | 722000 | 0.722 | 992679 | 992679 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999564 | 999898 | -334 | -668000 | -0.668 | 999998 | 1000000 | -2 | -4000 | -0.004 | ROLL OVER
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | -0.3822 |  |  |  |  | -0.2238
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | 2.1009 |  |  |  |  | 1.2822
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | -0.3822 |  |  |  |  | -0.2238
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 2.389 |  |  |  |  | 0.054837
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 4.1077 |  |  |  |  | 1.1132
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 4.1077 | (REACTIVE MUs) |  |  |  | 1.1132 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.47385 | (REACTIVE MUs) |  |  |  | -1.2431 | (REACTIVE MUs)
[9 empty] | TOTAL | 4.5816 | (REACTIVE MUs) |  |  |  | -0.12982 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | APRIL-2012
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37954 | 37954 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 988708 | 988780 | -72 | -7200 | -0.0072 | 78967 | 79117 | -150 | -15000 | -0.015
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 17251 | 17233 | 18 | 1800 | 0.0018 | 3256 | 1305 | 1951 | 195100 | 0.1951
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 23855 | 23872 | -17 | -1700 | -0.0017 | 31927 | 31018 | 909 | 90900 | 0.0909
5 | IG STD-BAY 31 | 4865100 | ELSTER | Kvarh(Lead/Lag) | 100 | 998676 | 998853 | -177 | -17700 | -0.0177 | 7003 | 7643 | -640 | -64000 | -0.064
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 8911 | 8839 | 72 | 7200 | 0.0072 | 79983 | 77717 | 2266 | 226600 | 0.2266
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 710 | 550 | 160 | 16000 | 0.016 | 49164 | 48547 | 617 | 61700 | 0.0617
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999589 | 999615 | -26 | -26000 | -0.026 | 999776 | 999775 | 1 | 1000 | 0.001
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999794 | 999797 | -3 | -3000 | -0.003 | 2283 | 2282 | 1 | 1000 | 0.001
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 400 | 406 | -6 | -6000 | -0.006 | 1691 | 1692 | -1 | -1000 | -0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 84 | 91 | -7 | -7000 | -0.007 | 3271 | 3278 | -7 | -7000 | -0.007
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999709 | 999726 | -17 | -17000 | -0.017 | 2756 | 2575 | 181 | 181000 | 0.181
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 476 | 449 | 27 | 27000 | 0.027 | 1144 | 1099 | 45 | 45000 | 0.045
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 157 | 155 | 2 | 2000 | 0.002 | 14972 | 14816 | 156 | 156000 | 0.156
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 302 | 293 | 9 | 9000 | 0.009 | 34791 | 34702 | 89 | 89000 | 0.089
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 256 | 255 | 1 | 1000 | 0.001 | 12404 | 12010 | 394 | 394000 | 0.394
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 250 | 252 | -2 | -2000 | -0.002 | 5525 | 5518 | 7 | 7000 | 0.007
18 | 6.6 KV IRRG.PUMP | 4864786 | ELSTER | Kvarh(Lead/Lag) | 100 | 32264 | 32134 | 130 | 13000 | 0.013 | 536 | 536 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998523 | 998541 | -18 | -18000 | -0.018 | 8251 | 8251 | 0 | 0 | 0
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 820035 | 822999 | -2964 | -3260400 | -3.2604
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 862125 | 865087 | -2962 | -3258200 | -3.2582
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992035 | 992552 | -517 | -517000 | -0.517 | 10042 | 10042 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -0.544 |  |  |  |  | -5.6526
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 964903 | 965064 | -161 | 161000 | 0.161 | 977925 | 977930 | -5 | 5000 | 0.005
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981052 | 981351 | -299 | 299000 | 0.299 | 983991 | 984020 | -29 | 29000 | 0.029
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 41 | 41 | 0 | 0 | 0 | 23 | 23 | 0 | 0 | 0
NARAINA
26 | DMS | 4864830 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1237 | 1212 | 25 | 25000 | 0.025 | 57646 | 57497 | 149 | 149000 | 0.149
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10236 | 8535 | 1701 | -1701000 | -1.701 | 974685 | 974685 | 0 | 0 | 0
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6955 | 7024 | -69 | 69000 | 0.069 | 977174 | 977630 | -456 | 456000 | 0.456
29 | TX.-1(33KV) | 4864902 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990260 | 991512 | -1252 | 1252000 | 1.252 | 990807 | 990807 | 0 | 0 | 0 | Meter faulty
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999935 | 1000000 | -65 | 65000 | 0.065 | 999999 | 1000000 | -1 | 1000 | 0.001 | Installed on 27/04/12,ROLL OVER
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989525 | 992603 | -3078 | 3078000 | 3.078 | 995904 | 995905 | -1 | 1000 | 0.001
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13349 | 13301 | 48 | 48000 | 0.048 | 24753 | 24730 | 23 | 23000 | 0.023
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 95417 | 91786 | 3631 | 363100 | 0.3631 | 1707 | 1707 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 61920 | 59899 | 2021 | 202100 | 0.2021 | 999577 | 999577 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 3.3156 |  |  |  |  | -4.4933
| (A) NET ENERGY TO CENTRAL | [8 empty] | 3.3156 |  |  |  |  | -4.4933
APRIL-2012
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996819 | 996842 | -23 | 23000 | 0.023 | 938906 | 939658 | -752 | 752000 | 0.752
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 15158 | 15157 | 1 | -1000 | -0.001 | 957377 | 958045 | -668 | 668000 | 0.668
3 | Tx.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12906 | 12952 | -46 | 46000 | 0.046 | 945235 | 945944 | -709 | 709000 | 0.709
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 947994 | 950408 | -2414 | 2414000 | 2.414 | 993715 | 993727 | -12 | 12000 | 0.012
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 938404 | 940981 | -2577 | 2577000 | 2.577 | 992010 | 992018 | -8 | 8000 | 0.008
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 133 | 83 | 50 | -50000 | -0.05 | 993283 | 993445 | -162 | 162000 | 0.162
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1654 | 1670 | -16 | 16000 | 0.016 | 983021 | 983387 | -366 | 366000 | 0.366
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998638 | 998670 | -32 | 64000 | 0.064 | 989564 | 989707 | -143 | 286000 | 0.286
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12485 | 12444 | 41 | -41000 | -0.041 | 956614 | 956728 | -114 | 114000 | 0.114
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966049 | 966277 | -228 | 228000 | 0.228 | 897378 | 899153 | -1775 | 1775000 | 1.775
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21428 | 21379 | 49 | -49000 | -0.049 | 29490 | 29504 | -14 | 14000 | 0.014
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19310 | 19257 | 53 | -53000 | -0.053 | 36627 | 36631 | -4 | 4000 | 0.004
SB MILL
14 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | 100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 5.174 |  |  |  |  | 4.87
| (B) NET ENERGY TO EAST | [8 empty] | 5.174 |  |  |  |  | 4.87
6
APRIL-2012
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991628 | 991489 | 139 | -139000 | -0.139 | 998460 | 998460 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 108 | 6 | 102 | -51000 | -0.051 | 999845 | 999843 | 2 | -1000 | -0.001
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 26522 | 24406 | 2116 | -423200 | -0.4232 | 62480 | 62490 | -10 | 2000 | 0.002
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 44190 | 38195 | 5995 | -599500 | -0.5995 | 121505 | 121505 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 988140 | 988843 | -703 | 140600 | 0.1406 | 4293 | 4293 | 0 | 0 | 0
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 47924 | 44652 | 3272 | -654400 | -0.6544 | 80321 | 80321 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | -1000 | 67942 | 67410 | 532 | -532000 | -0.532 | 232 | 232 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9201 | 5877 | 3324 | -3324000 | -3.324 | 54 | 54 | 0 | 0 | 0
9 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 993544 | 994597 | -1053 | 842400 | 0.8424 | 998394 | 998394 | 0 | 0 | 0
10 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 3568 | 2398 | 1170 | -936000 | -0.936 | 160 | 160 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
11 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996874 | 997432 | -558 | 558000 | 0.558 | 38056 | 38056 | 0 | 0 | 0
12 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 996863 | 997353 | -490 | 653331.7 | 0.65333 | 491 | 491 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
13 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 725 | 687 | 38 | -38000 | -0.038 | 16402 | 16372 | 30 | -30000 | -0.03
14 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999603 | 999419 | 184 | -184000 | -0.184 | 3183 | 3175 | 8 | -8000 | -0.008
DMS
15 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1361 | 1286 | 75 | -75000 | -0.075 | 56374 | 56251 | 123 | -123000 | -0.123
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
16 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5132 | 5126 | 6 | -3000 | -0.003 | 22929 | 22836 | 93 | -46500 | -0.0465
17 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3313 | 3309 | 4 | -2000 | -0.002 | 20907 | 20845 | 62 | -31000 | -0.031
18 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 3354 | 3333 | 21 | -10500 | -0.0105 | 13993 | 13991 | 2 | -1000 | -0.001
19 | SADAR S/S | 4902532 | ELSTER | Kvarh(Lead/Lag) | -500 | 3338 | 3282 | 56 | -28000 | -0.028 | 16411 | 16355 | 56 | -28000 | -0.028
KASHMIRI GATE
20 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 115617 | 113953 | 1664 | -166400 | -0.1664 | 27023 | 27008 | 15 | -1500 | -0.0015
21 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 16552 | 16028 | 524 | -52400 | -0.0524 | 33519 | 33515 | 4 | -400 | -0.0004
D.M.S.
22 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 999051 | 999173 | -122 | 12200 | 0.0122 | 5806 | 5799 | 7 | -700 | -0.0007
23 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 3826 | 3431 | 395 | -39500 | -0.0395 | 13744 | 13740 | 4 | -400 | -0.0004
24 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 9952 | 8850 | 1102 | -110200 | -0.1102 | 48870 | 48869 | 1 | -100 | -0.0001
25 | H BLOCK | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 7989 | 8005 | -16 | 1600 | 0.0016 | 19040 | 19046 | -6 | 600 | 0.0006
26 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 999387 | 999421 | -34 | 3400 | 0.0034 | 250 | 251 | -1 | 100 | 0.0001
27 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 3825 | 3289 | 536 | -53600 | -0.0536 | 63145 | 62857 | 288 | -28800 | -0.0288
29 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 5653 | 5026 | 627 | -62700 | -0.0627 | 53507 | 53456 | 51 | -5100 | -0.0051
30 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 6634 | 5889 | 745 | -74500 | -0.0745 | 77541 | 77456 | 85 | -8500 | -0.0085
[10 empty] | -5.3474 |  |  |  |  | -0.3113
APRIL-2012
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 3.3156 |  |  |  |  | -4.4933
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -5.3474 |  |  |  |  | -0.3113
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -0.963 |  |  |  |  | -0.0002
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.9948 |  |  |  |  | -4.8048
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 5.174 |  |  |  |  | 4.87
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 2.1792 |  |  |  |  | 0.0652
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 2.1792 | (REACTIVE MUs) |  |  |  | 0.0652 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.37791 | (REACTIVE MUs) |  |  |  | -0.99136 | (REACTIVE MUs)
[9 empty] | TOTAL | 2.5571 | (REACTIVE MUs) |  |  |  | -0.92616 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | APRIL-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998213 | 998234 | -21 | -21000 | -0.021 | 10779 | 11010 | -231 | -231000 | -0.231
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 990439 | 990541 | -102 | -135999.66 | -0.136 | 677359 | 677598 | -239 | -318665.87 | -0.31867
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6686 | 6677 | 9 | 9000 | 0.009 | 48049 | 47101 | 948 | 948000 | 0.948
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10906 | 10896 | 10 | 10000 | 0.01 | 893 | 874 | 19 | 19000 | 0.019
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 7486 | 7481 | 5 | 500 | 0.0005 | 88004 | 86788 | 1216 | 121600 | 0.1216
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 40708 | 40708 | 0 | 0 | 0 | 269300 | 269301 | -1 | -100 | -0.0001
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 8396 | 8384 | 12 | 1200 | 0.0012 | 351192 | 348116 | 3076 | 307600 | 0.3076
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999968 | 999973 | -5 | -5000 | -0.005 | 1000432 | 999960 | 472 | 472000 | 0.472 | ROLL OVER
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992895 | 993088 | -193 | 193000 | 0.193 | 961100 | 961412 | -312 | 312000 | 0.312
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991207 | 991399 | -192 | 192000 | 0.192 | 963851 | 964186 | -335 | 335000 | 0.335
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987624 | 987851 | -227 | 227000 | 0.227 | 947812 | 948279 | -467 | 467000 | 0.467
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998246 | 998437 | -191 | 191000 | 0.191 | 963976 | 964466 | -490 | 490000 | 0.49
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996079 | 997063 | -984 | 984000 | 0.984 | 993439 | 993570 | -131 | 131000 | 0.131
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6769 | 5396 | 1373 | -1373000 | -1.373 | 996773 | 996777 | -4 | 4000 | 0.004
NAJAFGARH
16 | Tx.1 | 4864969 | ELSTER | Kvarh(Lead/Lag) | -1000 | 41612 | 41572 | 40 | -40000 | -0.04 | 25969 | 26191 | -222 | 222000 | 0.222
17 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4500 | 4386 | 114 | -114000 | -0.114 | 10673 | 10852 | -179 | 179000 | 0.179
18 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25118 | 25223 | -105 | 105000 | 0.105 | 12069 | 12240 | -171 | 171000 | 0.171
19 | Tx.4 | 4864972 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18435 | 17433 | 1002 | -1002000 | -1.002 | 42492 | 42562 | -70 | 70000 | 0.07
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6383 | 6003 | 380 | 380000 | 0.38 | 4786 | 4633 | 153 | 153000 | 0.153
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 945556 | 950149 | -4593 | 4593000 | 4.593 | 906489 | 906489 | 0 | 0 | 0
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 982951 | 985583 | -2632 | 2632000 | 2.632 | 869875 | 870102 | -227 | 227000 | 0.227
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 333 | 321 | 12 | -12000 | -0.012 | 991895 | 992489 | -594 | 594000 | 0.594
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 446 | 445 | 1 | -1000 | -0.001 | 975919 | 976885 | -966 | 966000 | 0.966
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1358 | 1053 | 305 | -305000 | -0.305 | 957888 | 957901 | -13 | 13000 | 0.013
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999630 | 999630 | 0 | 0 | 0 | 907298 | 911236 | -3938 | 3938000 | 3.938
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999027 | 999027 | 0 | 0 | 0 | 892587 | 896885 | -4298 | 4298000 | 4.298
BRPL(+) continue | [14 empty] | APRIL-2012
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998878 | 998857 | 21 | -21000 | -0.021 | 975057 | 975412 | -355 | 355000 | 0.355
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 68 | 53 | 15 | -15000 | -0.015 | 992133 | 992658 | -525 | 525000 | 0.525
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 990702 | 990611 | 91 | -182000 | -0.182 | 972880 | 972851 | 29 | -58000 | -0.058
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997527 | 997761 | -234 | 234000 | 0.234 | 932060 | 932149 | -89 | 89000 | 0.089
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1500 | 1529 | -29 | 29000 | 0.029 | 944651 | 945856 | -1205 | 1205000 | 1.205
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997420 | 997696 | -276 | 276000 | 0.276 | 938652 | 938743 | -91 | 91000 | 0.091
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 997697 | 999443 | -1746 | 1163998.836 | 1.164 | 596 | 597 | -1 | 666.666 | 0.00066667
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 973592 | 976937 | -3345 | 2229997.77 | 2.23 | 976462 | 976467 | -5 | 3333.33 | 0.0033333
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 553 | 521 | 32 | -64000 | -0.064 | 1160 | 1157 | 3 | -6000 | -0.006
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997334 | 997294 | 40 | -80000 | -0.08 | 414 | 412 | 2 | -4000 | -0.004
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980291 | 983549 | -3258 | 3258000 | 3.258 | 999915 | 999915 | 0 | 0 | 0
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979682 | 983564 | -3882 | 3882000 | 3.882 | 999997 | 999997 | 0 | 0 | 0
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 999577 | 999463 | 114 | 91200 | 0.0912 | 550 | 465 | 85 | 68000 | 0.068
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 3510 | 3025 | 485 | 388000 | 0.388 | 224 | 224 | 0 | 0 | 0
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 989928 | 991057 | -1129 | -903200 | -0.9032 | 999896 | 999903 | -7 | -5600 | -0.0056
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999564 | 999898 | -334 | 668000 | 0.668 | 999998 | 1000000 | -2 | 4000 | 0.004 | ROLL OVER
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996874 | 997432 | -558 | -558000 | -0.558 | 38056 | 38056 | 0 | 0 | 0
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 996863 | 997353 | -490 | -653331.7 | -0.65333 | 491 | 491 | 0 | 0 | 0
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3603 | 4578 | -975 | 975000 | 0.975 | 981965 | 981976 | -11 | 11000 | 0.011
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999108 | 999374 | -266 | 266000 | 0.266 | 989719 | 989768 | -49 | 49000 | 0.049
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 6700 | 6548 | 152 | 15200 | 0.0152 | 9835 | 9442 | 393 | 39300 | 0.0393
SUDARSHAN PARK
51 | VISHAL | 4864792 | ELSTER | Kvarh(Lead/Lag) | 100 | 38176 | 38246 | -70 | -7000 | -0.007 | 147101 | 147056 | 45 | 4500 | 0.0045
REWARI LINE
52 | 33KV B/C | 4865170 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 999972 | 999972 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 973711 | 974433 | -722 | -722000 | -0.722 | 992679 | 992679 | 0 | 0 | 0
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1428 | 1449 | -21 | -2100 | -0.0021 | 5353 | 5351 | 2 | 200 | 0.0002
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 8202 | 8030 | 172 | 17200 | 0.0172 | 12641 | 12632 | 9 | 900 | 0.0009
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 16.7947 |  |  |  |  | 16.2607
BRPL (-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 % |  |  | APRIL-2012
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 3059 | 1891 | 1168 | -116800 | -0.1168 | 858411 | 857955 | 456 | -45600 | -0.0456
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 95417 | 91786 | 3631 | -363100 | -0.3631 | 1707 | 1707 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 61920 | 59899 | 2021 | -202100 | -0.2021 | 999577 | 999577 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 999282 | 999373 | -91 | 9100 | 0.0091 | 999973 | 999973 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 999207 | 999264 | -57 | 5700 | 0.0057 | 999997 | 999997 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 660 | 632 | 28 | -28000 | -0.028 | 72621 | 72621 | 0 | 0 | 0
7 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | -1000 | 7860 | 6942 | 918 | -918000 | -0.918 | 2117 | 2117 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -100 | 842227 | 828626 | 13601 | -1360100 | -1.3601 | 46068 | 46063 | 5 | -500 | -0.0005
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 36344 | 32250 | 4094 | -409400 | -0.4094 | 51151 | 51132 | 19 | -1900 | -0.0019
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 28956 | 27163 | 1793 | -179300 | -0.1793 | 52818 | 52655 | 163 | -16300 | -0.0163
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 64045 | 63422 | 623 | -124600 | -0.1246 | 103479 | 103509 | -30 | 6000 | 0.006
EXPORTS(*)
A.I.I.M.S.
12 | TRANSFORMER-1 | 4865103 | ELSTER | Kvarh(Lead/Lag) | -100 | 49886 | 42120 | 7766 | -776600 | -0.7766 | 12543 | 12543 | 0 | 0 | 0
13 | TRANSFORMER-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | -100 | 36248 | 32690 | 3558 | -355800 | -0.3558 | 636150 | 630921 | 5229 | -522900 | -0.5229
14 | TRANSFORMER-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | -100 | 111299 | 110198 | 1101 | -110100 | -0.1101 | 231508 | 231424 | 84 | -8400 | -0.0084
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 219464 | 215395 | 4069 | -406900 | -0.4069 | 36220 | 36220 | 0 | 0 | 0
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 863 | 861 | 2 | -200 | -0.0002 | 13178 | 12833 | 345 | -34500 | -0.0345
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 14267 | 14018 | 249 | -24900 | -0.0249 | 62522 | 61784 | 738 | -73800 | -0.0738
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 8849 | 8781 | 68 | -6800 | -0.0068 | 15370 | 13976 | 1394 | -139400 | -0.1394
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 9681 | 9668 | 13 | -1300 | -0.0013 | 31397 | 30964 | 433 | -43300 | -0.0433
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 13757 | 13752 | 5 | -500 | -0.0005 | 39479 | 38042 | 1437 | -143700 | -0.1437
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 33364 | 33100 | 264 | -26400 | -0.0264 | 11020 | 10957 | 63 | -6300 | -0.0063
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16025 | 15843 | 182 | -18200 | -0.0182 | 11291 | 11244 | 47 | -4700 | -0.0047
28 | PHILIPS | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 997175 | 997311 | -136 | 13600 | 0.0136 | 1337 | 1324 | 13 | -1300 | -0.0013
29 | ZAKHIRA | 4902528 | ELSTER | Kvarh(Lead/Lag) | -100 | 11525 | 11525 | 0 | 0 | 0 | 4086 | 4086 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4865087 | ELSTER | Kvarh(Lead/Lag) | 400 | 4570 | 4570 | 0 | 0 | 0 | 12611 | 12611 | 0 | 0 | 0
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999301 | 999301 | 0 | 0 | 0 | 999393 | 999393 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -5.4007 |  |  |  |  | -1.0366
APRIL-2012
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 16.7947 |  |  |  |  | 16.2607
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -5.4007 |  |  |  |  | -1.0366
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 1.616 |  |  |  |  | 0.22725
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.1202 |  |  |  |  | -0.2406
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 12.8897 |  |  |  |  | 15.2108
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 12.8897 | (REACTIVE MUs) |  |  |  | 15.2108 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.65751 | (REACTIVE MUs) |  |  |  | -1.7249 | (REACTIVE MUs)
[9 empty] | TOTAL | 13.5473 | (REACTIVE MUs) |  |  |  | 13.4859 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | APRIL-2012
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 26522 | 24406 | 2116 | 423200 | 0.4232 | 62480 | 62490 | -10 | -2000 | -0.002
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 44190 | 38195 | 5995 | 599500 | 0.5995 | 121505 | 121505 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 988140 | 988843 | -703 | -140600 | -0.1406 | 4293 | 4293 | 0 | 0 | 0
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 47924 | 44652 | 3272 | 654400 | 0.6544 | 80321 | 80321 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4864948 | ELSTER | Kvarh(Lead/Lag) | 1000 | 67942 | 67410 | 532 | 532000 | 0.532 | 232 | 232 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9201 | 5877 | 3324 | 3324000 | 3.324 | 54 | 54 | 0 | 0 | 0
7 | 66KV DMRC | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 993544 | 994597 | -1053 | -842400 | -0.8424 | 998394 | 998394 | 0 | 0 | 0
8 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 3568 | 2398 | 1170 | 936000 | 0.936 | 160 | 160 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
9 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998362 | 998367 | -5 | -500 | -0.0005 | 290071 | 287049 | 3022 | 302200 | 0.3022
10 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 7079 | 6952 | 127 | 12700 | 0.0127 | 422564 | 420168 | 2396 | 239600 | 0.2396
11 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 11134 | 11134 | 0 | 0 | 0 | 224126 | 214859 | 9267 | 926700 | 0.9267
12 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5280 | 5301 | -21 | -2100 | -0.0021 | 301349 | 301378 | -29 | -2900 | -0.0029
13 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 998701 | 998701 | 0 | 0 | 0 | 234542 | 232057 | 2485 | 248500 | 0.2485
14 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 200 | 93 | 107 | 10700 | 0.0107 | 132685 | 131089 | 1596 | 159600 | 0.1596
15 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 12996 | 12970 | 26 | 2600 | 0.0026 | 197501 | 193305 | 4196 | 419600 | 0.4196
16 | BAY-42 (C PLACE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 100 | 13456 | 13229 | 227 | 22700 | 0.0227 | 235341 | 230500 | 4841 | 484100 | 0.4841
G.T.
17 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 58339 | 56914 | 1425 | 1567500 | 1.5675
18 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4820 | 4972 | -152 | -152000 | -0.152 | 36470 | 36470 | 0 | 0 | 0
19 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 131743 | 131186 | 557 | 612700 | 0.6127
20 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 9080 | 8285 | 795 | 795000 | 0.795 | 48402 | 48402 | 0 | 0 | 0
[10 empty] | 0.643 |  |  |  |  | 2.1802
RIDGE VALLEY
21 | SPM NO.1 | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 660 | 632 | 28 | 28000 | 0.028 | 72621 | 72621 | 0 | 0 | 0
22 | SPM NO.2 | 4864852 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7860 | 6942 | 918 | 918000 | 0.918 | 2117 | 2117 | 0 | 0 | 0
23 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 100 | 842227 | 828626 | 13601 | 1360100 | 1.3601 | 46068 | 46063 | 5 | 500 | 0.0005
24 | A.I.I.M.S.
25 | TX-I | 4865103 | ELSTER | Kvarh(Lag) | 100 | 49886 | 42120 | 7766 | 776600 | 0.7766 | 12543 | 12543 | 0 | 0 | 0
26 | TX-2 | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 36248 | 32690 | 3558 | 355800 | 0.3558 | 636150 | 630921 | 5229 | 522900 | 0.5229
27 | TX-3 | 4864803 | ELSTER | Kvarh(Lead/Lag) | 100 | 111299 | 110198 | 1101 | 110100 | 0.1101 | 231508 | 231424 | 84 | 8400 | 0.0084
APRIL-2012
NDMC(+) Continue…
KIDWAI NAGAR
28 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 219464 | 215395 | 4069 | 406900 | 0.4069 | 36220 | 36220 | 0 | 0 | 0
EXHIBITION I
29 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 863 | 861 | 2 | 200 | 0.0002 | 13178 | 12833 | 345 | 34500 | 0.0345
30 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
31 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 36344 | 32250 | 4094 | 409400 | 0.4094 | 51151 | 51132 | 19 | 1900 | 0.0019
32 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 28956 | 27163 | 1793 | 179300 | 0.1793 | 52818 | 52655 | 163 | 16300 | 0.0163
33 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 64045 | 63422 | 623 | 124600 | 0.1246 | 103479 | 103509 | -30 | -6000 | -0.006
TILAK MARG
34 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 3059 | 1891 | 1168 | 116800 | 0.1168 | 858411 | 857955 | 456 | 45600 | 0.0456
NDMC(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1428 | 1449 | -21 | 2100 | 0.0021 | 5353 | 5351 | 2 | -200 | -0.0002
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 8202 | 8030 | 172 | -17200 | -0.0172 | 12641 | 12632 | 9 | -900 | -0.0009
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 10.9459 |  |  |  |  | 5.5786
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 10.9459 |  |  |  |  | 5.5786
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.082821 |  |  |  |  | -0.21727
| TOTAL ENERGY TO NDMC | [8 empty] | 11.0287 |  |  |  |  | 5.3613

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2012
CUSTOMER- MES
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 643 | 642 | 1 | 1000 | 0.001 | 14311 | 14216 | 95 | 95000 | 0.095
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 452 | 452 | 0 | 0 | 0 | 18656 | 18605 | 51 | 51000 | 0.051
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 823 | 822 | 1 | 1000 | 0.001 | 26650 | 26496 | 154 | 154000 | 0.154
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 463 | 463 | 0 | 0 | 0 | 13599 | 13601 | -2 | -2000 | -0.002
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2200 | 2121 | 79 | 79000 | 0.079 | 6764 | 6760 | 4 | 4000 | 0.004
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 999282 | 999373 | -91 | -9100 | -0.0091 | 999973 | 999973 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 999207 | 999264 | -57 | -5700 | -0.0057 | 999997 | 999997 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0662 |  |  |  |  | 0.302
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3287 | 3287 | 0 | 0 | 0 | 32967 | 32963 | 4 | 400 | 0.0004
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 29464 | 28798 | 666 | 66600 | 0.0666 | 59608 | 59487 | 121 | 12100 | 0.0121
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 66775 | 66686 | 89 | 8900 | 0.0089 | 7290 | 7181 | 109 | 10900 | 0.0109
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 20706 | 20361 | 345 | 34500 | 0.0345 | 46996 | 46440 | 556 | 55600 | 0.0556
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999982 | 999972 | 10 | 1000 | 0.001 | 18220 | 17869 | 351 | 35100 | 0.0351
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 76815 | 76815 | 0 | 0 | 0 | 41123 | 40234 | 889 | 88900 | 0.0889
14 | BI LINES | 4865081 | ELSTER | Kvarh(Lead/Lag) | 100 | 2888 | 2796 | 92 | 9200 | 0.0092 | 4280 | 3904 | 376 | 37600 | 0.0376
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.1202 |  |  |  |  | 0.2406
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 7848 | 7848 | 0 | 0 | 0 | 18966 | 18966 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.1202 |  |  |  |  | 0.2406
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.0662 |  |  |  |  | 0.302
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.1864 |  |  |  |  | 0.5426
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.1864 | (REACTIVE MUs) |  |  |  | 0.5426 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.012906 | (REACTIVE MUs) |  |  |  | -0.033856 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.19931 | (REACTIVE MUs) |  |  |  | 0.50874 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2012
ROHTAK ROAD
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 57563 | 58294 | -731 | -73100 | -0.0731 | 77748 | 77749 | -1 | -100 | -0.0001
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 11799 | 8716 | 3083 | 308300 | 0.3083 | 999481 | 999467 | 14 | 1400 | 0.0014
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 172705 | 173471 | -766 | -76600 | -0.0766 | 91993 | 91994 | -1 | -100 | -0.0001
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 18091 | 16777 | 1314 | 1231875 | 1.2319 | 17801 | 17797 | 4 | 3750 | 0.00375
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 992859 | 993256 | -397 | 198500 | 0.1985 | 943615 | 943863 | -248 | 124000 | 0.124
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 994044 | 994098 | -54 | 27000 | 0.027 | 986433 | 986629 | -196 | 98000 | 0.098
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999987 | 999987 | 0 | 0 | 0 | 999884 | 999883 | 1 | 300 | 0.0003
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 1.616 |  |  |  |  | 0.22725
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 950839 | 952502 | -1663 | -332600 | -0.3326 | 991979 | 991980 | -1 | -200 | -0.0002
9 | O/G DMS | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 865022 | 871326 | -6304 | -630400 | -0.6304 | 928495 | 928495 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -0.963 |  |  |  |  | -0.0002
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 173874 | 170331 | 3543 | 708600 | 0.7086 | 258664 | 258656 | 8 | 1600 | 0.0016
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 65417 | 61528 | 3889 | 777800 | 0.7778 | 40207 | 40209 | -2 | -400 | -0.0004
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 94487 | 87301 | 7186 | 718600 | 0.7186 | 69971 | 69975 | -4 | -400 | -0.0004
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 987488 | 987316 | 172 | 172000 | 0.172 | 997820 | 997819 | 1 | 1000 | 0.001
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 981418 | 982411 | -993 | -99300 | -0.0993 | 7389 | 7390 | -1 | -100 | -0.0001
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 1000015 | 999993 | 22 | 20625 | 0.020625 | 2891 | 2834 | 57 | 53437.5 | 0.053437 | ROLL OVER
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 991938 | 992083 | -145 | 90625 | 0.090625 | 995715 | 995715 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999987 | 999987 | 0 | 0 | 0 | 999884 | 999883 | 1 | -300 | -0.0003
| TOTAL NDPL | [8 empty] | 2.389 |  |  |  |  | 0.054837
| E) NET EXPORT TO BSES RPL | [8 empty] | 1.616 |  |  |  |  | 0.22725
| F) NET EXPORT TO BSES YPL | [8 empty] | -0.963 |  |  |  |  | -0.0002
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 2.389 |  |  |  |  | 0.054837

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | APRIL-2012
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4902497 | ELSTER | kvarh (Lead/lag) | 2000 | 6170 | 6102 | 68 | 136000 | 0.136 | 999985 | 999985 | 0 | 0 | 0
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 9426 | 8704 | 722 | 1444000 | 1.444 | 137 | 137 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 1.58 |  | NET REACTIVE ENERGY |  |  | 0
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 999579 | 999647 | -68 | -68000 | -0.068 | 43618 | 43618 | 0 | 0 | 0
4 | IBT-2 | 4902506 | ELSTER | kvarh (Lead/lag) | 1000 | 985509 | 985515 | -6 | -6000 | -0.006 | 985445 | 986183 | -738 | -738000 | -0.738
[7 empty] | NET REACTIVE ENERGY |  |  | -0.074 |  | NET REACTIVE ENERGY |  |  | -0.738
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 1.506 |  |  |  |  | -0.738
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.544 |  |  |  |  | -5.6526
[7 empty] | NDMC = |  |  | 0.643 |  |  |  |  | 2.1802
MES =
[7 empty] | 2)TOTAL |  |  | 0.099 |  |  |  |  | -3.4724
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.605 |  |  |  |  | -4.2104
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.5235 | % |  |  | 0.47385 |  |  |  |  | -1.2431
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 40.9666 | % |  |  | 0.65751 |  |  |  |  | -1.7249
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.5456 | % |  |  | 0.37791 |  |  |  |  | -0.99136
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.1602 | % |  |  | 0.082821 |  |  |  |  | -0.21727
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.8041 | % |  |  | 0.012906 |  |  |  |  | -0.033856
Note :Sharing taken from wk-1 abt bill 2012-13

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st APRIL-2012 TO 30th APRIL-2012
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 4.5816 |  | -0.12982
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 13.5473 | + | 13.4859
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 2.5571 |  | -0.92616
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 11.0287 | + | 5.3613
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.19931 | + | 0.50874
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIEVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/05/12 | INTIAL READING 01/04/12 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 975271 | 977434 | -2163 | -3244500 | -3.2445 | 981175 | 981175 | 0 | 0 | 0
2 | GT-II | 4902493 | ELSTER | kvarh (lag) | 1500 | 975441 | 975571 | -130 | -195000 | -0.195 | 986777 | 986801 | -24 | -36000 | -0.036
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 929576 | 930170 | -594 | -891000 | -0.891 | 970170 | 970178 | -8 | -12000 | -0.012
[8 empty] | NET REACTIVE ENERGY |  | -4.3305 |  |  | NET REACTIVE ENERGY |  | -0.048
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997235 | 997226 | 9 | 45000 | 0.045 | 36525 | 36729 | -204 | -1020000 | -1.02
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999433 | 999433 | 0 | 0 | 0 | 7828 | 8097 | -269 | -269000 | -0.269
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 970039 | 970216 | -177 | -177000 | -0.177 | 990152 | 990594 | -442 | -442000 | -0.442
[8 empty] | NET REACTIVE ENERGY |  | -0.132 |  |  | NET REACTIVE ENERGY |  | -1.731