## NDPL
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 5128429 | ELSTER | Kvarh(Lead/Lag) | -1000 | 972520 | 974960 | -2440 | 2440000 | 2.44 | 999034 | 999034 | 0 | 0 | 0
2 | TX.2 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 38831 | 35545 | 3286 | -3286000 | -3.286 | 1628 | 1627 | 1 | -1000 | -0.001
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 936552 | 938616 | -2064 | 2064000 | 2.064 | 995530 | 995530 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998386 | 999138 | -752 | 752000 | 0.752 | 996083 | 996083 | 0 | 0 | 0
5 | Tx.2 | 5295137 | ELSTER | Kvarh(Lead/Lag) | -1000 | 876315 | 878152 | -1837 | 1837000 | 1.837 | 999454 | 999454 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 25714 | 25959 | -245 | 245000 | 0.245 | 16437 | 16437 | 0 | 0 | 0
7 | Tx.2 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1296 | 1621 | -325 | 325000 | 0.325 | 998446 | 998446 | 0 | 0 | 0
8 | Tx.-3 | 4864997 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999768 | 999830 | -62 | 62000 | 0.062 | 999518 | 999518 | 0 | 0 | 0
9 | Tx.-4 | 5295166 | ELSTER | Kvarh(Lead/Lag) | -500 | 970659 | 972285 | -1626 | 813000 | 0.813 | 847907 | 847907 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864930 | ELSTER | Kvarh(Lead/Lag) | -1000 | 912 | 1227 | -315 | 315000 | 0.315 | 998908 | 998908 | 0 | 0 | 0
11 | Tx.-2 | 5128412 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18105 | 15597 | 2508 | -2508000 | -2.508 | 999172 | 999172 | 0 | 0 | 0
12 | Tx.-3 | 4864922 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3074 | 2447 | 627 | -627000 | -0.627 | 997044 | 997044 | 0 | 0 | 0
13 | 220KV DMRC-1 | 4902494 | ELSTER | Kvarh(Lead/Lag) | 1000 | 862251 | 864027 | -1776 | -1776000 | -1.776 | 999981 | 999981 | 0 | 0 | 0
14 | 220KV DMRC-2 | 4902484 | ELSTER | Kvarh(Lead/Lag) | 1000 | 981134 | 986904 | -5770 | -5770000 | -5.77 | 999996 | 999996 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 978018 | 980039 | -2021 | 2021000 | 2.021 | 16679 | 16679 | 0 | 0 | 0
15 | Tx.2 | 5128462 | ELSTER | Kvarh(Lead/Lag) |  | 998707 | 999303 | -596 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 30256 | 29304 | 952 | -952000 | -0.952 | 264 | 264 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1(payal) | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999943 | 999943 | 0 | 0 | 0 | 990739 | 990628 | 111 | 111000 | 0.111
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 669 | 679 | -10 | -10000 | -0.01 | 22654 | 22621 | 33 | 33000 | 0.033
19 | 16 MVA TX.-1 | 4864880 | ELSTER | Kvarh(Lead/Lag) | 500 | 1234 | 1111 | 123 | 61500 | 0.0615 | 7528 | 7528 | 0 | 0 | 0
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 142610 | 139482 | 3128 | 312800 | 0.3128 | 310573 | 310573 | 0 | 0 | 0
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995830 | 995820 | 10 | 10000 | 0.01 | 984591 | 984591 | 0 | 0 | 0
22 | INDER PURI-2 | 4864873 | ELSTER | Kvarh(Lead/Lag) | 1000 | 25 | 24 | 1 | 1000 | 0.001 | 998921 | 998834 | 87 | 87000 | 0.087
23 | Pandav Nagar | 5295124 | ELSTER | Kvarh(Lead/Lag) | 100 | 53215 | 51503 | 1712 | 171200 | 0.1712 | 121231 | 121231 | 0 | 0 | 0
KASHMIRI GATE
24 | 221 kV DMRC #1 | 5128477 | ELSTER | Kvarh(Lead/Lag) | 1000 | 997601 | 998674 | -1073 | -1073000 | -1.073 | 999816 | 999816 | 0 | 0 | 0
25 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 581379 | 584746 | -3367 | -3367000 | -3.367 | 829222 | 829222 | 0 | 0 | 0
26 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 1000608 | 999851 | 757 | 201869.19 | 0.20187 | 999999 | 999999 | 0 | 0 | 0
27 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 7562 | 7279 | 283 | 141500 | 0.1415 | 1767 | 1767 | 0 | 0 | 0
KANJAWALA
28 | TX-1 | 4865041 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2621 | 1595 | 1026 | -1026000 | -1.026 | 996962 | 996962 | 0 | 0 | 0
29 | Tx.2 | 5295182 | ELSTER | Kvarh(Lead/Lag) | -500 | 26191 | 22513 | 3678 | -1839000 | -1.839 | 14971 | 14971 | 0 | 0 | 0
30 | Tx.3 | 5295168 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18889 | 18889 | 0 | 0 | 0 | 497 | 497 | 0 | 0 | 0
BAWANA
31 | I/C 100 MVA PR.TR. | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2250 | 678 | 1572 | -1572000 | -1.572 | 999970 | 999970 | 0 | 0 | 0
DSIDC BAWANA
32 | 66KV TX.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -2000 | 27675 | 24984 | 2691 | -5382000 | -5.382 | 96 | 96 | 0 | 0 | 0
33 | 66KV TX.2 | 4864992 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44853 | 42027 | 2826 | -2826000 | -2.826 | 998777 | 998777 | 0 | 0 | 0
34 | 66KV TX.3 | 4864981 | ELSTER | Kvarh(Lead/Lag) | -1000 | 86452 | 81836 | 4616 | -4616000 | -4.616 | 2426 | 2426 | 0 | 0 | 0
ROHINI-II
35 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22751 | 22092 | 659 | -659000 | -0.659 | 999268 | 999268 | 0 | 0 | 0
36 | Tx.2 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12732 | 11923 | 809 | -809000 | -0.809 | 916 | 916 | 0 | 0 | 0
WAZIRPUR
37 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999394 | 1000402 | -1008 | 1008000 | 1.008 | 998710 | 998710 | 0 | 0 | 0
38 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17321 | 15883 | 1438 | -1438000 | -1.438 | 1576 | 1576 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
39 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1906 | 1919 | -13 | -13000 | -0.013 | 28636 | 28604 | 32 | 32000 | 0.032
40 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | 100 | 14089 | 13737 | 352 | 35200 | 0.0352 | 26449 | 26590 | -141 | -14100 | -0.0141
| NDPL(+) continue | [14 empty] | OCTOBER-2018
DMS
41 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1272 | 1272 | 0 | 0 | 0 | 61277 | 61277 | 0 | 0 | 0
VISHAL
42 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
43 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 20 | 17 | 3 | 300 | 0.0003 | 999891 | 1000005 | -114 | -11400 | -0.0114
44 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 1968 | 1967 | 1 | 100 | 0.0001 | 26624 | 26101 | 523 | 52300 | 0.0523
S.B.MILL
45 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | 1333 | 441 | 410 | 31 | 41323 | 0.041323 | 370 | 366 | 4 | 5332 | 0.005332
46 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | 100 | 1280 | 799 | 481 | 48100 | 0.0481 | 1508 | 1375 | 133 | 13300 | 0.0133
47 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
48 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
49 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | 100 | 1072 | 1028 | 44 | 4400 | 0.0044 | 30274 | 21753 | 8521 | 852100 | 0.8521
51 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
B.G.ROAD
52 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | 166.66 | 1425 | 1425 | 0 | 0 | 0 | 6669 | 6669 | 0 | 0 | 0
53 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | 500 | 999895 | 999890 | 5 | 2500 | 0.0025 | 1186 | 1186 | 0 | 0 | 0
54 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | 666.67 | 1839 | 1627 | 212 | 141334.04 | 0.14133 | 155 | 155 | 0 | 0 | 0
55 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 4795 | 4606 | 189 | 126000 | 0.126 | 1459 | 1459 | 0 | 0 | 0
D.M.S.
56 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 997466 | 997498 | -32 | -3200 | -0.0032 | 3827 | 3835 | -8 | -800 | -0.0008
57 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | 100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
58 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | 100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
59 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | 100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 6414 | 6378 | 36 | 3600 | 0.0036 | 10996 | 10957 | 39 | 3900 | 0.0039
61 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 4888 | 4514 | 374 | 37400 | 0.0374 | 375 | 363 | 12 | 1200 | 0.0012
62 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 25116 | 24458 | 658 | 65800 | 0.0658 | 6186 | 6140 | 46 | 4600 | 0.0046
KASHMIRI GATE
63 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 34141 | 30285 | 3856 | 385600 | 0.3856 | 1823 | 1823 | 0 | 0 | 0
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 26245 | 25768 | 477 | 47700 | 0.0477 | 51562 | 51561 | 1 | 100 | 0.0001
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 15 | 15 | 0 | 0 | 0 | 302 | 302 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995632 | 995619 | 13 | -5200 | -0.0052 | 68 | 83 | -15 | 6000 | 0.006
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
MUNDKA
68 | 66KV MANGOL PURI | 4864983 | ELSTER | Kvarh(Lead/Lag) | 800 | 995386 | 995985 | -599 | -479200 | -0.4792 | 999916 | 999916 | 0 | 0 | 0
69 | GHEWARA | 4864950 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999816 | 999940 | -124 | -248000 | -0.248 | 1079 | 1079 | 0 | 0 | 0
PEERAGARHI
70 | SUDARSHAN PARK(L -1) | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 1001511 | 999426 | 2085 | 208500 | 0.2085 | 250 | 250 | 0 | 0 | 0
71 | RANI BAGH(L-2) | 4864901 | ELSTER | Kvarh(Lead/Lag) | 250 | 1537 | 281 | 1256 | 314000 | 0.314 | 255 | 255 | 0 | 0 | 0
REWARI LINE
72 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2613 | 2533 | 80 | 80000 | 0.08 | 1742 | 1742 | 0 | 0 | 0 | Data till 29/10
73 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | 750 | 718 | 252 | 466 | 349500 | 0.3495 | 2679 | 2642 | 37 | 27750 | 0.02775
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | -25.6114 |  |  |  |  | 1.2023
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | -100 | 12220 | 11004 | 1216 | -121600 | -0.1216 | 103187 | 103037 | 150 | -15000 | -0.015
MANGOLPURI
2 | NANGLOI-2 EXP | 5128435 | ELSTER | Kvarh(Lead/Lag) | -800 | 174 | 27 | 147 | -117600 | -0.1176 | 8921 | 8908 | 13 | -10400 | -0.0104
SUBZI MANDI
3 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1679 | 1406 | 273 | -273000 | -0.273 | 606 | 606 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | -400 | 4184 | 3389 | 795 | -318000 | -0.318 | 486 | 486 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4865149 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 999584 | 999806 | -222 | 41625 | 0.041625 | 999934 | 999934 | 0 | 0 | 0
KANJAWALA
6 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | -800 | 969991 | 972115 | -2124 | 1699200 | 1.6992 | 998693 | 998693 | 0 | 0 | 0
MUNDKA
7 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | 800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NARELA (RAILWAY CKTS)
8 | 66KV RLY Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -625 | 996962 | 996947 | 15 | -9375 | -0.009375 | 999990 | 999990 | 0 | 0 | 0
9 | 66KV RLY Ckt-1 | 5129958 | ELSTER | Kvarh(Lead/Lag) | -625 | 999037 | 999612 | -575 | 359375 | 0.35938 | 999883 | 999883 | 0 | 0 | 0
REWARI LINE
10 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | -200 | 1000136 | 999703 | 433 | -86600 | -0.0866 | 11154 | 10283 | 871 | -174200 | -0.1742
11 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998973 | 999014 | -41 | 7687.5 | 0.0076875 | 5083 | 4993 | 90 | -16875 | -0.016875
12 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | -187.5 | 998789 | 998961 | -172 | 32250 | 0.03225 | 3614 | 3561 | 53 | -9937.5 | -0.0099375
13 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | -250 | 562 | 197 | 365 | -91250 | -0.09125 | 5377 | 5358 | 19 | -4750 | -0.00475
14 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | -100 | 1000051 | 999977 | 74 | -7400 | -0.0074 | 16764 | 16134 | 630 | -63000 | -0.063
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.1153 |  |  |  |  | -0.29416
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | -25.6114 |  |  |  |  | 1.2023
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.1153 |  |  |  |  | -0.29416
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.844 |  |  |  |  | 0.0243
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | -22.6521 |  |  |  |  | 0.93242
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -22.6521 | (REACTIVE MUs) |  |  |  | 0.93242 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.56022 | (REACTIVE MUs) |  |  |  | -1.355 | (REACTIVE MUs)
[9 empty] | TOTAL | -22.0919 | (REACTIVE MUs) |  |  |  | -0.4226 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | OCTOBER-2018
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865110 | ELSTER | Kvarh(Lead/Lag) | 100 | 18038 | 17215 | 823 | 82300 | 0.0823 | 993540 | 993540 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865080 | ELSTER | Kvarh(Lead/Lag) | 300 | 10816 | 8521 | 2295 | 688500 | 0.6885 | 3873 | 3873 | 0 | 0 | 0
3 | P. HOSPITAL BAY-19 | 5295197 | ELSTER | Kvarh(Lead/Lag) | 75 | 33911 | 33058 | 853 | 63975 | 0.063975 | 343455 | 343455 | 0 | 0 | 0
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 300 | 998113 | 998400 | -287 | -86100 | -0.0861 | 5954 | 5954 | 0 | 0 | 0
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 1333.3 | 1843 | 1767 | 76 | 101330.8 | 0.10133 | 3587 | 3587 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 47229 | 39654 | 7575 | 757500 | 0.7575 | 155770 | 155764 | 6 | 600 | 0.0006
7 | MINTO RD. B-34 | 5295196 | ELSTER | Kvarh(Lead/Lag) | 75 | 1013162 | 997464 | 15698 | 1177350 | 1.1773 | 44986 | 44985 | 1 | 75 | 7.5e-05
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985353 | 985839 | -486 | -486000 | -0.486 | 2295 | 2295 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864897 | ELSTER | Kvarh(Lead/Lag) | 500 | 999584 | 999892 | -308 | -154000 | -0.154 | 564 | 564 | 0 | 0 | 0 | w.e.f 04/06/18
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999825 | 999359 | 466 | 466000 | 0.466 | 1522 | 1522 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991841 | 992202 | -361 | -361000 | -0.361 | 1473 | 1473 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994057 | 993498 | 559 | 559000 | 0.559 | 6231 | 6231 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996578 | 997086 | -508 | -508000 | -0.508 | 998570 | 998571 | -1 | -1000 | -0.001
14 | JAMA MASJID-1 | 4864859 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999630 | 999837 | -207 | -207000 | -0.207 | 999975 | 999975 | 0 | 0 | 0 | w.e.f 23/7/18
15 | JAMA MASJID-2 | 4864895 | ELSTER | Kvarh(Lead/Lag) | 800 | 998538 | 998950 | -412 | -329600 | -0.3296 | 4977 | 4977 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000247 | 999396 | 851 | 851000 | 0.851 | 33439 | 33439 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1762 | 1933 | -171 | -171000 | -0.171 | 9743 | 9743 | 0 | 0 | 0
18 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3087 | 3473 | -386 | -386000 | -0.386 | 17363 | 17363 | 0 | 0 | 0
GT
19 | DMRC. CKT.-I | 4864954 | ELSTER | Kvarh(Lead/Lag) | 1250 | 978365 | 978791 | -426 | -532500 | -0.5325 | 951762 | 951761 | 1 | 1250 | 0.00125
20 | DMRC CKT.-II | 4865030 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999999 | 999999 | 0 | 0 | 0 | 940069 | 943918 | -3849 | -4233900 | -4.2339
21 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 961970 | 962496 | -526 | -526000 | -0.526 | 7609 | 7609 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -1.0585 |  |  |  |  | -4.2327
22 | 100 MVA TX.-1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996753 | 997464 | -711 | 711000 | 0.711 | 999991 | 999991 | 0 | 0 | 0 | Check Meter Data
|  | 4864932 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998623 | 1000000 | -1377 | 1377000 | 1.377 | 0 | 0 | 0 | 0 | 0 | w.e.f 18/10/18
23 | 100 MVA TX.-2 | 5295140 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988228 | 991377 | -3149 | 3149000 | 3.149 | 999906 | 999906 | 0 | 0 | 0
24 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 15 | 15 | 0 | 0 | 0 | 302 | 302 | 0 | 0 | 0
NARAINA
25 | DMS | 4864854 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999845 | 999844 | 1 | 1000 | 0.001 | 9355 | 9138 | 217 | 217000 | 0.217
PARK STREET
26 | TX.-1 (66KV) | 5295159 | ELSTER | Kvarh(Lead/Lag) | -1000 | 42008 | 37783 | 4225 | -4225000 | -4.225 | 835 | 835 | 0 | 0 | 0
27 | TX.-2(66KV) | 4865029 | ELSTER | Kvarh(Lead/Lag) | -1000 | 18644 | 17923 | 721 | -721000 | -0.721 | 999069 | 999263 | -194 | 194000 | 0.194
28 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988969 | 989022 | -53 | 53000 | 0.053 | 990693 | 990752 | -59 | 59000 | 0.059
29 | TX.-2(33KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993686 | 993540 | 146 | -146000 | -0.146 | 998352 | 998399 | -47 | 47000 | 0.047
HARSH VIHAR
30 | TX.-1 (66KV) | 5295177 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983762 | 984587 | -825 | 825000 | 0.825 | 985887 | 985887 | 0 | 0 | 0
[5 empty] | -1000 | 996460 | 996762 | -302 | 302000 | 0.302
31 | TX.-2 (66KV) | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1001008 | 998391 | 2617 | -2617000 | -2.617 | 289 | 289 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128443 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1001037 | 999517 | 1520 | -3040000 | -3.04 | 30 | 30 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864875 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1679 | 1406 | 273 | 273000 | 0.273 | 606 | 606 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864914 | ELSTER | Kvarh(Lead/Lag) | 400 | 4184 | 3389 | 795 | 318000 | 0.318 | 486 | 486 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | 133 | 999412 | 999896 | -484 | -64372 | -0.064372 | 13678 | 13678 | 0 | 0 | 0
PREET VIHAR
37 | TX-1 | 5295145 | ELSTER | Kvarh(Lead/Lag) | -1000 | 979886 | 982376 | -2490 | 2490000 | 2.49 | 990186 | 990186 | 0 | 0 | 0
38 | Tx-2 | 5295146 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993158 | 995731 | -2573 | 2573000 | 2.573 | 999928 | 999928 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | 2.2584 |  |  |  |  | -3.716
| (A) NET ENERGY TO CENTRAL | [8 empty] | 2.2584 |  |  |  |  | -3.716
OCTOBER-2018
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864994 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996478 | 998483 | -2005 | 2005000 | 2.005 | 998769 | 998769 | 0 | 0 | 0 | w.e.f 11/06/18
2 | Tx.2 | 5295153 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989764 | 990265 | -501 | 501000 | 0.501 | 965182 | 965182 | 0 | 0 | 0 | w.e.f 3/7/18
[5 empty] | -1000 | 997159 | 997819 | -660 | 660000 | 0.66
3 | Tx.3 | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993444 | 995268 | -1824 | 1824000 | 1.824 | 995831 | 995831 | 0 | 0 | 0
4 | Tx.4 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -2000 | 979776 | 981294 | -1518 | 3036000 | 3.036 | 971220 | 971220 | 0 | 0 | 0
PPG
5 | Tx.1 (66 KV) | 4864978 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3943 | 2018 | 1925 | -1925000 | -1.925 | 998809 | 998809 | 0 | 0 | 0
6 | Tx.2 (66 KV) | 5128449 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994184 | 994958 | -774 | 774000 | 0.774 | 997784 | 997784 | 0 | 0 | 0
7 | 100 MVA Tx.1 (33 KV) | 5295141 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3905 | 3140 | 765 | -765000 | -0.765 | 999511 | 999511 | 0 | 0 | 0
8 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
9 | 50MVA Tx.3 (33 KV) | 5295134 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990713 | 991698 | -985 | 985000 | 0.985 | 937188 | 937188 | 0 | 0 | 0
10 | 100MVA Tx.4 (33 KV) | 5295135 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958260 | 959237 | -977 | 977000 | 0.977 | 989486 | 989486 | 0 | 0 | 0
GEETA COLONY
11 | I/C-I | 5295129 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973630 | 976131 | -2501 | 2501000 | 2.501 | 989820 | 989820 | 0 | 0 | 0
[5 empty] | -1000 | 994954 | 994954 | 0 | 0 | 0
12 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958183 | 959491 | -1308 | 1308000 | 1.308 | 827844 | 827885 | -41 | 41000 | 0.041
GAZIPUR
13 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23262 | 23701 | -439 | 439000 | 0.439 | 33503 | 33503 | 0 | 0 | 0
14 | TX-2 | 5128445 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16481 | 12321 | 4160 | -4160000 | -4.16 | 136 | 136 | 0 | 0 | 0
15 | TX-3 | 5295165 | ELSTER | Kvarh(Lead/Lag) | -1000 | 983054 | 985293 | -2239 | 2239000 | 2.239 | 919565 | 919565 | 0 | 0 | 0
SB MILL
16 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 10.399 |  |  |  |  | 0.041
| (B) NET ENERGY TO EAST | [8 empty] | 10.399 |  |  |  |  | 0.041
OCTOBER-2018
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864791 | ELSTER | Kvarh(Lead/Lag) | -266.67 | 1000608 | 999851 | 757 | -201869.19 | -0.20187 | 999999 | 999999 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 7562 | 7279 | 283 | -141500 | -0.1415 | 1767 | 1767 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | -266.66 | 3807 | 3838 | -31 | 8266.46 | 0.0082665 | 2196 | 2198 | -2 | 533.32 | 0.00053332
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 80063 | 79831 | 232 | -23200 | -0.0232 | 149421 | 149368 | 53 | -5300 | -0.0053
5 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 999405 | 999679 | -274 | 54800 | 0.0548 | 998999 | 998987 | 12 | -2400 | -0.0024 | w.e.f 18/05/18
6 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | -200 | 52254 | 51928 | 326 | -65200 | -0.0652 | 124666 | 124527 | 139 | -27800 | -0.0278
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 19895 | 19818 | 77 | -61600 | -0.0616 | 14520 | 14513 | 7 | -5600 | -0.0056
8 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | -800 | 1851 | 1816 | 35 | -28000 | -0.028 | 705 | 697 | 8 | -6400 | -0.0064 | w.e.f 03-05-2018
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 969028 | 969298 | -270 | 216000 | 0.216 | 985959 | 985969 | -10 | 8000 | 0.008
10 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | -800 | 972242 | 972480 | -238 | 190400 | 0.1904 | 986539 | 986612 | -73 | 58400 | 0.0584
11 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | -800 | 981357 | 981858 | -501 | 400800 | 0.4008 | 992674 | 992706 | -32 | 25600 | 0.0256
12 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | -800 | 971954 | 972415 | -461 | 368800 | 0.3688 | 994421 | 994427 | -6 | 4800 | 0.0048
EXPORT TO SOUTH & WEST FROM PARK STREET
13 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 965185 | 966152 | -967 | 967000 | 0.967 | 31711 | 31712 | -1 | 1000 | 0.001
14 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | -800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
15 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1906 | 1919 | -13 | 13000 | 0.013 | 28636 | 28604 | 32 | -32000 | -0.032
16 | PUSA GRID-II | 5295123 | ELSTER | Kvarh(Lead/Lag) | -100 | 14089 | 13737 | 352 | -35200 | -0.0352 | 26449 | 26590 | -141 | 14100 | 0.0141
DMS
17 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1272 | 1272 | 0 | 0 | 0 | 61277 | 61277 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
18 | CSA | 4865088 | ELSTER | Kvarh(Lead/Lag) | -166.66 | 1425 | 1425 | 0 | 0 | 0 | 6669 | 6669 | 0 | 0 | 0
19 | DCM NO.1 | 4902579 | ELSTER | Kvarh(Lead/Lag) | -500 | 999895 | 999890 | 5 | -2500 | -0.0025 | 1186 | 1186 | 0 | 0 | 0
20 | DCM NO.2 | 4902585 | ELSTER | Kvarh(Lead/Lag) | -666.67 | 1839 | 1627 | 212 | -141334.04 | -0.14133 | 155 | 155 | 0 | 0 | 0
21 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 4795 | 4606 | 189 | -126000 | -0.126 | 1459 | 1459 | 0 | 0 | 0
KASHMIRI GATE
22 | 20MVA TX. | 4864797 | ELSTER | Kvarh(Lead/Lag) | -100 | 34141 | 30285 | 3856 | -385600 | -0.3856 | 1823 | 1823 | 0 | 0 | 0
23 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 26245 | 25768 | 477 | -47700 | -0.0477 | 51562 | 51561 | 1 | -100 | -0.0001
D.M.S.
24 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 997466 | 997498 | -32 | 3200 | 0.0032 | 3827 | 3835 | -8 | 800 | 0.0008
25 | 69 NG ROAD | 4902549 | ELSTER | Kvarh(Lead/Lag) | -100 | 999748 | 999748 | 0 | 0 | 0 | 999983 | 999983 | 0 | 0 | 0
26 | J BLOCK KIRTI NGR | 4902527 | ELSTER | Kvarh(Lead/Lag) | -100 | 225 | 225 | 0 | 0 | 0 | 999991 | 999991 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902538 | ELSTER | Kvarh(Lead/Lag) | -100 | 999762 | 999762 | 0 | 0 | 0 | 999987 | 999987 | 0 | 0 | 0
FAIZ ROAD
28 | TIBIA COLLEGE-1 | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 6414 | 6378 | 36 | -3600 | -0.0036 | 10996 | 10957 | 39 | -3900 | -0.0039
29 | TIBIA COLLEGE-2 | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 4888 | 4514 | 374 | -37400 | -0.0374 | 375 | 363 | 12 | -1200 | -0.0012
30 | MANAK PURA | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 25116 | 24458 | 658 | -65800 | -0.0658 | 6186 | 6140 | 46 | -4600 | -0.0046
[10 empty] | 0.85576 |  |  |  |  | 0.023933
OCTOBER-2018
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | 2.2584 |  |  |  |  | -3.716
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 0.85576 |  |  |  |  | 0.023933
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.3648 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | 1.7493 |  |  |  |  | -3.692
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 10.399 |  |  |  |  | 0.041
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 12.1483 |  |  |  |  | -3.651
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 12.1483 | (REACTIVE MUs) |  |  |  | -3.651 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.39842 | (REACTIVE MUs) |  |  |  | -0.96368 | (REACTIVE MUs)
[9 empty] | TOTAL | 12.5468 | (REACTIVE MUs) |  |  |  | -4.6147 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | OCTOBER-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 999454 | 999505 | -51 | -255000 | -0.255 | 998905 | 998905 | 0 | 0 | 0
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 984221 | 984391 | -170 | -226666.1 | -0.22667 | 670303 | 670303 | 0 | 0 | 0
3 | BAY-13 | 4864812 | ELSTER | Kvarh(Lead/Lag) | 200 | 999499 | 997965 | 1534 | 306800 | 0.3068 | 2552 | 2552 | 0 | 0 | 0
4 | BAY-53 | 4865127 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 213 | 95 | 118 | 157332.94 | 0.15733 | 999631 | 999631 | 0 | 0 | 0
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865111 | ELSTER | Kvarh(Lead/Lag) | 100 | 18841 | 18802 | 39 | 3900 | 0.0039 | 22638 | 22638 | 0 | 0 | 0
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 702936 | 715199 | -12263 | -919725 | -0.91973 | 980886 | 980886 | 0 | 0 | 0
8 | BAY-9 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 75 | 998217 | 1000317 | -2100 | -157500 | -0.1575 | 18415 | 18415 | 0 | 0 | 0
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 997187 | 997326 | -139 | -125100 | -0.1251 | 995158 | 995158 | 0 | 0 | 0
10 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 3358 | 3358 | 0 | 0 | 0 | 265638 | 265638 | 0 | 0 | 0
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 16168 | 16168 | 0 | 0 | 0 | 988296 | 988296 | 0 | 0 | 0
11 | Tx.2 | 4865025 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3765 | 3737 | 28 | -28000 | -0.028 | 997137 | 997137 | 0 | 0 | 0
12 | Tx.3 | 5128433 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999628 | 1000029 | -401 | 802000 | 0.802 | 998597 | 998597 | 0 | 0 | 0
13 | Tx.4 | 4902499 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10212 | 10507 | -295 | 295000 | 0.295 | 997889 | 997890 | -1 | 1000 | 0.001
14 | Tx.5 | 5295169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 966237 | 967873 | -1636 | 1636000 | 1.636 | 992259 | 992302 | -43 | 43000 | 0.043
PAAPANKALAN-II
15 | Tx.1 | 5295164 | ELSTER | Kvarh(Lead/Lag) | -1000 | 37394 | 37312 | 82 | -82000 | -0.082 | 996616 | 996620 | -4 | 4000 | 0.004
[5 empty] | -1000 | 31603 | 31586 | 17 | -17000 | -0.017
16 | Tx.2 | 5129959 | ELSTER | Kvarh(Lead/Lag) | -500 | 19828 | 19336 | 492 | -246000 | -0.246 | 21217 | 21037 | 180 | -90000 | -0.09
17 | Tx.3 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7795 | 7788 | 7 | -14000 | -0.014 | 997379 | 997421 | -42 | 84000 | 0.084
18 | Tx.4 | 5295572 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996497 | 996405 | 92 | -92000 | -0.092 | 845956 | 846093 | -137 | 137000 | 0.137
PAAPANKALAN-III
19 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | Tx.2 | 5128459 | ELSTER | Kvarh(Lead/Lag) | -800 | 5326 | 1757 | 3569 | -2855200 | -2.8552 | 998996 | 998996 | 0 | 0 | 0
NAJAFGARH
21 | Tx.1 | 5295151 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1869 | 2896 | -1027 | 1027000 | 1.027 | 963292 | 963292 | 0 | 0 | 0
22 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998774 | 1000100 | -1326 | 1326000 | 1.326 | 996046 | 996046 | 0 | 0 | 0
23 | Tx.3 | 5295147 | ELSTER | Kvarh(Lead/Lag) | -1000 | 973916 | 973971 | -55 | 55000 | 0.055 | 987239 | 987240 | -1 | 1000 | 0.001
[5 empty] | -1000 | 980910 | 982495 | -1585 | 1585000 | 1.585
24 | Tx.4 | 4865001 | ELSTER | Kvarh(Lead/Lag) | -1000 | 471 | 370 | 101 | -101000 | -0.101 | 998733 | 998733 | 0 | 0 | 0
R.K.PURAM
25 | 33KV I/C-1 | 5295131 | ELSTER | Kvarh(Lead/Lag) | -1000 | 76 | 11 | 65 | -65000 | -0.065 | 999999 | 999999 | 0 | 0 | 0
26 | 33KV I/C-2 | 5295139 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 66KV I/C-1 | 5295173 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27054 | 24477 | 2577 | -2577000 | -2.577 | 999999 | 999999 | 0 | 0 | 0
28 | 66KV I/C-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -3333.33 | 1925 | 617 | 1308 | -4359995.64 | -4.36 | 0 | 0 | 0 | 0 | 0
IMPORT
MANGOLPURI
29 | NANGLOI-2 (03) IMP. | 5128435 | ELSTER | Kvarh(Lead/Lag) | 800 | 174 | 27 | 147 | 117600 | 0.1176 | 8921 | 8908 | 13 | 10400 | 0.0104
LODHI ROAD
30 | Tx.1 | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977730 | 978124 | -394 | 394000 | 0.394 | 968992 | 969291 | -299 | 299000 | 0.299
31 | Tx.2 | 5269211 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991515 | 991515 | 0 | 0 | 0 | 985938 | 985938 | 0 | 0 | 0
32 | Tx.3 | 5269209 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980531 | 980156 | 375 | -375000 | -0.375 | 993976 | 994405 | -429 | 429000 | 0.429
TUGLAKABAD
33 | 66KV I/C-1 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
34 | 66KV I/C-2 | 5295149 | ELSTER | Kvarh(Lead/Lag) | -1600 | 180 | 0 | 180 | -288000 | -0.288 | 0 | 0 | 0 | 0 | 0
OKHLA
35 | Tx.1 (66 KV)-circuit No.1 | 4865010 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996356 | 996356 | 0 | 0 | 0 | 985335 | 985225 | 110 | -110000 | -0.11
36 | Tx.2 (66 KV)-circuit no. 2 | 4902568 | ELSTER | Kvarh(Lead/Lag) | -750 | 997466 | 997498 | -32 | 24000 | 0.024 | 3827 | 3835 | -8 | 6000 | 0.006 | Check Meter Data
37 | Tx.2 (33 KV)-Ckt No.3 | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12156 | 11014 | 1142 | -1142000 | -1.142 | 33167 | 33167 | 0 | 0 | 0
38 | Tx.3 (33 KV)-Ckt No.4 | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996550 | 997354 | -804 | 804000 | 0.804 | 996219 | 996219 | 0 | 0 | 0
39 | Tx.4 (33 KV)-Ckt No. 5 | 4864942 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998423 | 999365 | -942 | 942000 | 0.942 | 999746 | 999746 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | OCTOBER-2018
VASANT KUNJ
40 | Tx.1 | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 12505 | 10492 | 2013 | -2013000 | -2.013 | 999885 | 999885 | 0 | 0 | 0
41 | Tx.2 | 5128455 | ELSTER | Kvarh(Lead/Lag) | -500 | 16883 | 17017 | -134 | 67000 | 0.067 | 997291 | 997315 | -24 | 12000 | 0.012 | Data till 15/10
[10 empty] | 0.067 |  |  |  |  | 0.012 | Assessment
42 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 52926 | 52926 | 0 | 0 | 0 | 969570 | 969570 | 0 | 0 | 0
MEHRAULI
43 | Tx.1 | 4865018 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3452 | 2541 | 911 | -911000 | -0.911 | 999354 | 999354 | 0 | 0 | 0
44 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993259 | 993955 | -696 | 696000 | 0.696 | 926352 | 926352 | 0 | 0 | 0
45 | Tx.3 | 5295144 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3739 | 2734 | 1005 | -1005000 | -1.005 | 9364 | 9364 | 0 | 0 | 0
46 | Tx.4 | 4864964 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1313 | 1525 | -212 | 424000 | 0.424 | 996535 | 996535 | 0 | 0 | 0
RIDGE VALLEY
47 | Tx-1 | 5128461 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4674 | 2137 | 2537 | -2537000 | -2.537 | 997817 | 997817 | 0 | 0 | 0
48 | Tx-2 | 4865003 | ELSTER | Kvarh(Lead/Lag) | -2000 | 7934 | 7856 | 78 | -156000 | -0.156 | 999440 | 999440 | 0 | 0 | 0
DIAL
49 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 6883 | 6634 | 249 | -498000 | -0.498 | 2310 | 2310 | 0 | 0 | 0
50 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 3587 | 3375 | 212 | -424000 | -0.424 | 1276 | 1276 | 0 | 0 | 0
MASJID MOD
51 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 917437 | 917438 | -1 | 1000 | 0.001 | 981009 | 981058 | -49 | 49000 | 0.049
52 | Tx-2 | 4902504 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 8 | -2 | 2000 | 0.002 | 996478 | 996520 | -42 | 42000 | 0.042
53 | Tx-3 | 5128426 | ELSTER | Kvarh(Lead/Lag) | -1000 | 445 | 468 | -23 | 23000 | 0.023 | 989284 | 989917 | -633 | 633000 | 0.633
MUNDKA
54 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993087 | 993087 | 0 | 0 | 0 | 993087 | 993087 | 0 | 0 | 0
55 | 66KV NGL. WATER WORKS | 4865026 | ELSTER | Kvarh(Lead/Lag) | 800 | 996828 | 996857 | -29 | -23200 | -0.0232 | 414 | 414 | 0 | 0 | 0
56 | 66KV DMRC | 5100233 | ELSTER | Kvarh(Lead/Lag) | 800 | 980715 | 981691 | -976 | -780800 | -0.7808 | 999839 | 999839 | 0 | 0 | 0
57 | 66KV NGL. T-OFF MGL P | 4864971 | ELSTER | Kvarh(Lead/Lag) | -800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
58 | BAY No 611 | 4865049 | ELSTER | Kvarh(Lead/Lag) | 800 | 1603 | 1515 | 88 | 70400 | 0.0704 | 999817 | 999817 | 0 | 0 | 0
59 | BAY No 616 | 5128436 | ELSTER | Kvarh(Lead/Lag) | 800 | 999693 | 999863 | -170 | -136000 | -0.136 | 999991 | 999991 | 0 | 0 | 0
PARK STREET
60 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 965185 | 966152 | -967 | -967000 | -0.967 | 31711 | 31712 | -1 | -1000 | -0.001
61 | 66KV R VALLEY-2 | 4865016 | ELSTER | Kvarh(Lead/Lag) | 800 | 7 | 7 | 0 | 0 | 0 | 999722 | 999722 | 0 | 0 | 0
SARITA VIHAR
62 | TX-1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9029 | 3814 | 5215 | -5215000 | -5.215 | 684 | 684 | 0 | 0 | 0
63 | Tx-2 | 4865020 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22890 | 18145 | 4745 | -4745000 | -4.745 | 168 | 168 | 0 | 0 | 0
64 | Tx-3 | 4864999 | ELSTER | Kvarh(Lead/Lag) | -1000 | 53503 | 50151 | 3352 | -3352000 | -3.352 | 503 | 503 | 0 | 0 | 0
NARAINA
65 | GOPI NATH BAZAAR | 5295192 | ELSTER | Kvarh(Lead/Lag) | 100 | 12220 | 11004 | 1216 | 121600 | 0.1216 | 103187 | 103037 | 150 | 15000 | 0.015
66 | SUDARSHAN PARK
67 | VISHAL | 4865149 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 999584 | 999806 | -222 | -41625 | -0.041625 | 999934 | 999934 | 0 | 0 | 0
68 | MAYA PURI -I | 5295156 | ELSTER | Kvarh(Lead/Lag) | 400 | 9091 | 8626 | 465 | 186000 | 0.186 | 993849 | 993849 | 0 | 0 | 0
69 | MAYA PURI -II | 5295157 | ELSTER | Kvarh(Lead/Lag) | 400 | 997469 | 997008 | 461 | 184400 | 0.1844 | 70239 | 70239 | 0 | 0 | 0
KANJAWALA
70 | 66KV DMRC | 5128439 | ELSTER | Kvarh(Lead/Lag) | 800 | 969991 | 972115 | -2124 | -1699200 | -1.6992 | 998693 | 998693 | 0 | 0 | 0
Trauma Centre
70 | 33kV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | 100 | 348621 | 344746 | 3875 | 387500 | 0.3875 | 2036 | 1980 | 56 | 5600 | 0.0056
71 | IIT CIRCUIT | 5128400 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4878 | 4723 | 155 | 155000 | 0.155 | 1922 | 1921 | 1 | 1000 | 0.001
A.I.I.M.S.
72 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 10288 | 10285 | 3 | 225 | 0.000225 | 17589 | 17344 | 245 | 18375 | 0.018375
73 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | 100 | 4887 | 4884 | 3 | 300 | 0.0003 | 9883 | 9615 | 268 | 26800 | 0.0268
PEERGARHI
74 | 33KV VISHAL (L-3) | 4864861 | ELSTER | Kvarh(Lead/Lag) | 500 | 6723 | 6214 | 509 | 254500 | 0.2545 | 2822 | 2822 | 0 | 0 | 0
75 | 33KV (LINE - 4) | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4471 | 4075 | 396 | 396000 | 0.396 | 4095 | 4095 | 0 | 0 | 0
76 | 33KV UDYOG NAGAR(L-5) | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 994412 | 994850 | -438 | -438000 | -0.438 | 1160 | 1160 | 0 | 0 | 0
77 | 33KV MADIPUR(L-6) | 4864882 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4541 | 4107 | 434 | 434000 | 0.434 | 6516 | 6516 | 0 | 0 | 0
78 | PASCHIM PURI - I (L-7) | 4864824 | ELSTER | Kvarh(Lead/Lag) | 160 | 6297 | 3474 | 2823 | 451680 | 0.45168 | 999701 | 999701 | 0 | 0 | 0
79 | PASCHIM PURI - 2(L-8) | 5295121 | ELSTER | Kvarh(Lead/Lag) | 100 | 180519 | 178237 | 2282 | 228200 | 0.2282 | 45852 | 45852 | 0 | 0 | 0
80 | MUKHERJEE PARK - I | 4864879 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1441 | 804 | 637 | 637000 | 0.637 | 337 | 337 | 0 | 0 | 0
81 | MUKHERJEE PARK - II | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3527 | 2992 | 535 | 535000 | 0.535 | 6439 | 6439 | 0 | 0 | 0
REWARI LINE
82 | VISHAL-1 | 4865158 | ELSTER | Kvarh(Lead/Lag) | 200 | 1000136 | 999703 | 433 | 86600 | 0.0866 | 11154 | 10283 | 871 | 174200 | 0.1742
83 | VISHAL-2 | 4864816 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998973 | 999014 | -41 | -7687.5 | -0.0076875 | 5083 | 4993 | 90 | 16875 | 0.016875
84 | MAYAPURI | 4864808 | ELSTER | Kvarh(Lead/Lag) | 187.5 | 998789 | 998961 | -172 | -32250 | -0.03225 | 3614 | 3561 | 53 | 9937.5 | 0.0099375
85 | 20MVATX-1 | 4865005 | ELSTER | Kvarh(Lead/Lag) | 250 | 562 | 197 | 365 | 91250 | 0.09125 | 5377 | 5358 | 19 | 4750 | 0.00475
86 | 16MVA TX-1 | 4864822 | ELSTER | Kvarh(Lead/Lag) | 100 | 1000051 | 999977 | 74 | 7400 | 0.0074 | 16764 | 16134 | 630 | 63000 | 0.063
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | -23.9253 |  |  |  |  | 1.8969
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | OCTOBER-2018
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865151 | ELSTER | Kvarh(Lead/Lag) | -300 | 11902 | 9744 | 2158 | -647400 | -0.6474 | 277 | 276 | 1 | -300 | -0.0003
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 5295199 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998183 | 998183 | 0 | 0 | 0 | 1170 | 1170 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -133.33 | 999412 | 999896 | -484 | 64531.72 | 0.064532 | 13678 | 13678 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -200 | 997266 | 997664 | -398 | 79600 | 0.0796 | 4084 | 4084 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 882 | 1030 | -148 | 148000 | 0.148 | 998679 | 998679 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999318 | 999162 | 156 | -156000 | -0.156 | 1869 | 1869 | 0 | 0 | 0
7 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | -160 | 6455 | 5685 | 770 | -123200 | -0.1232 | 10774 | 10774 | 0 | 0 | 0
8 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | -200 | 890 | 533 | 357 | -71400 | -0.0714 | 2791 | 2791 | 0 | 0 | 0
9 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993678 | 994115 | -437 | 437000 | 0.437 | 999640 | 999640 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 100611 | 98811 | 1800 | -180000 | -0.18 | 74099 | 74098 | 1 | -100 | -0.0001
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 108838 | 108838 | 0 | 0 | 0 | 77493 | 77493 | 0 | 0 | 0 | Mtr Faulty
[10 empty] | -0.1367 |  |  |  |  | 0 | Assessment
12 | VIDYUT BHAWAN | 5269199 | ELSTER | Kvarh(Lead/Lag) | -100 | 28642 | 28253 | 389 | -38900 | -0.0389 | 62222 | 61720 | 502 | -50200 | -0.0502
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
14 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | 250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
15 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | 833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 440670 | 436221 | 4449 | -444900 | -0.4449 | 46706 | 46706 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
18 | RAMESH NAGAR-1 | 4902572 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | BALI NAGAR -1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 20 | 17 | 3 | -300 | -0.0003 | 999891 | 1000005 | -114 | 11400 | 0.0114
20 | ESI HOSPITAL | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 1968 | 1967 | 1 | -100 | -0.0001 | 26624 | 26101 | 523 | -52300 | -0.0523
S.B.MILL
21 | MOTI NAGAR KIOSK | 4902591 | ELSTER | Kvarh(Lead/Lag) | -1333 | 441 | 410 | 31 | -41323 | -0.041323 | 370 | 366 | 4 | -5332 | -0.005332
22 | 53 RAMA ROAD | 4902565 | ELSTER | Kvarh(Lead/Lag) | -100 | 1280 | 799 | 481 | -48100 | -0.0481 | 1508 | 1375 | 133 | -13300 | -0.0133
23 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
24 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
25 | MOTI NAGAR 2 | 4902548 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | NAJAFGARH ROAD | 5295190 | ELSTER | Kvarh(Lead/Lag) | -100 | 1072 | 1028 | 44 | -4400 | -0.0044 | 30274 | 21753 | 8521 | -852100 | -0.8521
27 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 989588 | 989588 | 0 | 0 | 0 | 297 | 297 | 0 | 0 | 0
28 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
29 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995632 | 995619 | 13 | 5200 | 0.0052 | 68 | 83 | -15 | -6000 | -0.006
30 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 999985 | 999985 | 0 | 0 | 0 | 999705 | 999705 | 0 | 0 | 0
RIDGE VALLEY (RAILWAY CKTS)
31 | 66KV RLY Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | -400 | 1001027 | 999987 | 1040 | -416000 | -0.416 | 999893 | 999893 | 0 | 0 | 0
REWARI LINE
32 | PPK-1 | 4864960 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2567 | 2533 | 34 | -34000 | -0.034 | 1742 | 1742 | 0 | 0 | 0
33 | SAGARPUR | 5128441 | ELSTER | Kvarh(Lead/Lag) | -750 | 718 | 252 | 466 | -349500 | -0.3495 | 2679 | 2642 | 37 | -27750 | -0.02775
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -1.9579 |  |  |  |  | -0.99598
OCTOBER-2018
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | -23.9253 |  |  |  |  | 1.8969
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -1.9579 |  |  |  |  | -0.99598
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 0.36816 |  |  |  |  | 0
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.2324 |  |  |  |  | -0.0151
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | -25.7474 |  |  |  |  | 0.88586
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | -25.7474 | (REACTIVE MUs) |  |  |  | 0.88586 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.68834 | (REACTIVE MUs) |  |  |  | -1.6649 | (REACTIVE MUs)
[9 empty] | TOTAL | -25.0591 | (REACTIVE MUs) |  |  |  | -0.77905 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | OCTOBER-2018
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865107 | ELSTER | Kvarh(Lead/Lag) | 266.67 | 3807 | 3838 | -31 | -8266.77 | -0.0082668 | 2196 | 2198 | -2 | -533.34 | -0.00053334
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 80063 | 79831 | 232 | 23200 | 0.0232 | 149421 | 149368 | 53 | 5300 | 0.0053
3 | NIRMAN BHAWAN | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 999405 | 999679 | -274 | -54800 | -0.0548 | 998999 | 998987 | 12 | 2400 | 0.0024 | w.e.f 18/05/18
4 | H.LANE | 5295200 | ELSTER | Kvarh(Lead/Lag) | 200 | 52254 | 51928 | 326 | 65200 | 0.0652 | 124666 | 124527 | 139 | 27800 | 0.0278
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 19895 | 19818 | 77 | 61600 | 0.0616 | 14520 | 14513 | 7 | 5600 | 0.0056
6 | 66 KV BD MARG-II | 4865004 | ELSTER | Kvarh(Lead/Lag) | 800 | 1851 | 1816 | 35 | 28000 | 0.028 | 705 | 697 | 8 | 6400 | 0.0064 | w.e.f 03-05-18
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 969028 | 969298 | -270 | -216000 | -0.216 | 985959 | 985969 | -10 | -8000 | -0.008
8 | 66KV DMRC-II | 4864998 | ELSTER | Kvarh(Lead/Lag) | 800 | 972242 | 972480 | -238 | -190400 | -0.1904 | 986539 | 986612 | -73 | -58400 | -0.0584
9 | 66KV GUEST HOUSE | 4864993 | ELSTER | Kvarh(Lead/Lag) | 800 | 981357 | 981858 | -501 | -400800 | -0.4008 | 992674 | 992706 | -32 | -25600 | -0.0256
10 | 66KV SCHOOL LANE | 5128447 | ELSTER | Kvarh(Lead/Lag) | 800 | 971954 | 972415 | -461 | -368800 | -0.3688 | 994421 | 994427 | -6 | -4800 | -0.0048
I.P.STATION EXPORT TO NDMC
11 | BAY-2 (N BWN) | 4865161 | ELSTER | Kvarh(Lead/Lag) | 50 | 995580 | 997005 | -1425 | -71250 | -0.07125 | 19306 | 19306 | 0 | 0 | 0
12 | BAY-4 (E LANE) | 4865131 | ELSTER | Kvarh(Lead/Lag) | 75 | 988312 | 989199 | -887 | -66525 | -0.066525 | 22824 | 22824 | 0 | 0 | 0
13 | BAY-6 (T MARG) | 4902512 | ELSTER | Kvarh(Lead/Lag) | 500 | 163 | 160 | 3 | 1500 | 0.0015 | 5213 | 5213 | 0 | 0 | 0
14 | BAY-10 (E LANE) | 4865178 | ELSTER | Kvarh(Lead/Lag) | 375 | 999442 | 999332 | 110 | 41250 | 0.04125 | 7701 | 7701 | 0 | 0 | 0
15 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 987126 | 987876 | -750 | -75000 | -0.075 | 340370 | 340370 | 0 | 0 | 0
16 | BAY-28 (C PLACE) | 4865159 | ELSTER | Kvarh(Lead/Lag) | 75 | 2817 | 1287 | 1530 | 114750 | 0.11475 | 36178 | 36178 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865122 | ELSTER | Kvarh(Lead/Lag) | 100 | 3139 | 990 | 2149 | 214900 | 0.2149 | 1265 | 1265 | 0 | 0 | 0
G.T.
19 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998424 | 998374 | 50 | 50000 | 0.05 | 102136 | 102116 | 20 | 20000 | 0.02
20 | VIDYUT BHAWAN-2 | 4865000 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999352 | 999565 | -213 | -213000 | -0.213 | 16 | 17 | -1 | -1000 | -0.001
21 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988933 | 989211 | -278 | -278000 | -0.278 | 143916 | 143923 | -7 | -7000 | -0.007
22 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6198 | 6193 | 5 | 5000 | 0.005 | 59503 | 59497 | 6 | 6000 | 0.006
[10 empty] | -0.436 |  |  |  |  | 0.018
RIDGE VALLEY
23 | SPM NO.1/ BAPUDHAM | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999318 | 999162 | 156 | 156000 | 0.156 | 1869 | 1869 | 0 | 0 | 0
24 | SPM NO.2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 160 | 6455 | 5685 | 770 | 123200 | 0.1232 | 10774 | 10774 | 0 | 0 | 0
25 | NEHRU PARK | 4864811 | ELSTER | Kvarh(Lead/Lag) | 200 | 890 | 533 | 357 | 71400 | 0.0714 | 2791 | 2791 | 0 | 0 | 0
26 | Guest House | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993678 | 994115 | -437 | -437000 | -0.437 | 999640 | 999640 | 0 | 0 | 0
A.I.I.M.S.
27 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 999028 | 999028 | 0 | 0 | 0 | 16662 | 16662 | 0 | 0 | 0
28 | SIRI FORT | 4865048 | ELSTER | Kvarh(Lead/Lag) | -250 | 999862 | 999862 | 0 | 0 | 0 | 999849 | 999849 | 0 | 0 | 0
29 | RIDGE VALLEY | 4902508 | ELSTER | Kvarh(Lead/Lag) | -833.33 | 2 | 2 | 0 | 0 | 0 | 999580 | 999580 | 0 | 0 | 0
OCTOBER-2018
NDMC(+) Continue…
TRAUMA CENTRE
30 | 33KV TX-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999731 | 999844 | -113 | 113000 | 0.113 | 994496 | 994506 | -10 | 10000 | 0.01 | w.e.f 07/05/18
31 | 33KV TX-2 | 5128457 | ELSTER | Kvarh(Lead/Lag) | -500 | 961268 | 961481 | -213 | 106500 | 0.1065 | 986905 | 986930 | -25 | 12500 | 0.0125
ELECTRIC LANE
32 | 33KV TX-1 | 4864891 | ELSTER | Kvarh(Lead/Lag) | -2000 | 997995 | 998503 | -508 | 1016000 | 1.016 | 998656 | 998656 | 0 | 0 | 0
33 | 33KV TX-2 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987090 | 988172 | -1082 | 1082000 | 1.082 | 997199 | 997199 | 0 | 0 | 0
KIDWAI NAGAR
34 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 440670 | 436221 | 4449 | 444900 | 0.4449 | 46706 | 46706 | 0 | 0 | 0
EXHIBITION I
35 | TILAK MARG | 4902554 | ELSTER | Kvarh(Lead/Lag) | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
LODHI ROAD
36 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 100611 | 98811 | 1800 | 180000 | 0.18 | 74099 | 74098 | 1 | 100 | 0.0001
37 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 108838 | 108838 | 0 | 0 | 0 | 77493 | 77493 | 0 | 0 | 0 | Mtr faulty
[10 empty] | 0.1367 |  |  |  |  | 0 | Assessment
38 | VIDYUT BHAWAN (exp) | 5269199 | ELSTER | Kvarh(Lead/Lag) | 100 | 28642 | 28253 | 389 | 38900 | 0.0389 | 62222 | 61720 | 502 | 50200 | 0.0502
TILAK MARG
39 | EXHB-II | 4865151 | ELSTER | Kvarh(Lag) | 100 | 11902 | 9744 | 2158 | 215800 | 0.2158 | 277 | 276 | 1 | 100 | 0.0001 | w.e.f 31/05/18
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TRAUMA CENTRE
1 | 33KV Bhikaji Cama Place | 5295127 | ELSTER | Kvarh(Lead/Lag) | -100 | 348621 | 344746 | 3875 | -387500 | -0.3875 | 2036 | 1980 | 56 | -5600 | -0.0056
2 | 33KV IIT Circuit | 5128400 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4878 | 4723 | 155 | -155000 | -0.155 | 1922 | 1921 | 1 | -1000 | -0.001
AIIMS
3 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 10288 | 10825 | -537 | 40275 | 0.040275 | 17589 | 17344 | 245 | -18375 | -0.018375
4 | 11KV NDSE | 4902581 | ELSTER | Kvarh(Lead/Lag) | -100 | 4887 | 4884 | 3 | -300 | -0.0003 | 9883 | 9615 | 268 | -26800 | -0.0268
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 1.4074 |  |  |  |  | -0.010708
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 1.4074 |  |  |  |  | -0.010708
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.077911 |  |  |  |  | -0.18845
| TOTAL ENERGY TO NDMC | [8 empty] | 1.4853 |  |  |  |  | -0.19915

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2018
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 5128430 | ELSTER | Kvarh(Lead/Lag) | 200 | 3533 | 3505 | 28 | 5600 | 0.0056 | 31697 | 31367 | 330 | 66000 | 0.066
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1728 | 1728 | 0 | 0 | 0 | 42414 | 42414 | 0 | 0 | 0
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4341 | 4247 | 94 | 94000 | 0.094 | 52477 | 52477 | 0 | 0 | 0
4 | KIRBY PLACE-2 | 4864918 | ELSTER | Kvarh(Lead/Lag) | 400 | 155 | 155 | 0 | 0 | 0 | 12800 | 12771 | 29 | 11600 | 0.0116
5 | SHEKHAWATI- 1 | 4864894 | ELSTER | Kvarh(Lead/Lag) | 800 | 1000073 | 999987 | 86 | 68800 | 0.0688 | 354 | 353 | 1 | 800 | 0.0008 | w.e.f 30/7/18
6 | SHEKHAWATI- 2 | 5128425 | ELSTER | Kvarh(Lead/Lag) | 400 | 325 | 293 | 32 | 12800 | 0.0128 | 2696 | 2699 | -3 | -1200 | -0.0012
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 200 | 997266 | 997664 | -398 | -79600 | -0.0796 | 4084 | 4084 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 882 | 1030 | -148 | -148000 | -0.148 | 998679 | 998679 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0464 |  |  |  |  | 0.0772
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34489 | 34489 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 64580 | 62565 | 2015 | 201500 | 0.2015 | 95734 | 95734 | 0 | 0 | 0
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 78248 | 78238 | 10 | 1000 | 0.001 | 18234 | 18233 | 1 | 100 | 0.0001
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 66476 | 66177 | 299 | 29900 | 0.0299 | 122001 | 121863 | 138 | 13800 | 0.0138
13 | SUBROTO PARK | 4902599 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | BI LINES | 4902552 | ELSTER | Kvarh(Lead/Lag) | 75 | 647 | 647 | 0 | 0 | 0 | 1662 | 1646 | 16 | 1200 | 0.0012
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 10282 | 10282 | 0 | 0 | 0 | 4260 | 4260 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.2324 |  |  |  |  | 0.0151
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.2324 |  |  |  |  | 0.0151
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | -0.0464 |  |  |  |  | 0.0772
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.186 |  |  |  |  | 0.0923
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.186 | (REACTIVE MUs) |  |  |  | 0.0923 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.011633 | (REACTIVE MUs) |  |  |  | -0.028137 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.19763 | (REACTIVE MUs) |  |  |  | 0.064163 | (REACTIVE MUs)

## Railway
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2018
CUSTOMER- NORTHERN RAILWAYS
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
RAILWAY(+)
FED FROM DTL SYSTEM.
NARELA DSIDC-1
1 | 66KV Rly Ckt-1 | 4864952 | ELSTER | Kvarh(Lead/Lag) | 625 | 996962 | 996947 | 15 | 9375 | 0.009375 | 999990 | 999990 | 0 | 0 | 0
2 | 66KV Rly Ckt-2 | 5129958 | ELSTER | Kvarh(Lead/Lag) | 625 | 999037 | 999612 | -575 | -359375 | -0.35938 | 999883 | 999883 | 0 | 0 | 0
RIDGE VALLEY
1 | 66KV Rly Ckt-1 | 5295160 | ELSTER | Kvarh(Lead/Lag) | 400 | 1001027 | 999987 | 1040 | 416000 | 0.416 | 999893 | 999893 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.066 |  |  |  |  | 0

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2018
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 979589 | 977695 | 1894 | 189400 | 0.1894 | 2000 | 2000 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864794 | ELSTER | Kvarh(Lead/Lag) | 100 | 75768 | 75606 | 162 | 16200 | 0.0162 | 5721 | 5721 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864896 | ELSTER | Kvarh(Lead/Lag) | 500 | 12029 | 11894 | 135 | 67500 | 0.0675 | 2766 | 2766 | 0 | 0 | 0
4 | O/G MADI PUR | 4864863 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999675 | 999612 | 63 | 59062.5 | 0.059062 | 106 | 106 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 5128406 | ELSTER | Kvarh(Lead/Lag) |  | 997988 | 998451 | -463 | 0 | 0 | 999839 | 999839 | 0 | 0 | 0 | w.e.f 21/06/18
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 978403 | 978475 | -72 | 36000 | 0.036 | 976366 | 976366 | 0 | 0 | 0
7 | B/C (IMP.TO BRPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | 300 | 36 | 36 | 0 | 0 | 0 | 999921 | 999921 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 0.36816 |  |  |  |  | 0
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864796 | ELSTER | Kvarh(Lead/Lag) | 200 | 985475 | 986510 | -1035 | -207000 | -0.207 | 23 | 23 | 0 | 0 | 0
9 | O/G DMS | 5128407 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 996050 | 997285 | -1235 | -1157812.5 | -1.1578 | 999929 | 999929 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.3648 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864866 | ELSTER | Kvarh(Lead/Lag) | 1250 | 1569 | 984 | 585 | 731250 | 0.73125 | 90 | 90 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 5295125 | ELSTER | Kvarh(Lead/Lag) | 100 | 334971 | 330115 | 4856 | 485600 | 0.4856 | 999475 | 999475 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 5295126 | ELSTER | Kvarh(Lead/Lag) | 62.5 | 262352 | 255311 | 7041 | 440062.5 | 0.44006 | 94061 | 94061 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865179 | ELSTER | Kvarh(Lead/Lag) | 800 | 2882 | 2779 | 103 | 82400 | 0.0824 | 1936 | 1936 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864795 | ELSTER | Kvarh(Lead/Lag) | 100 | 975068 | 976239 | -1171 | -117100 | -0.1171 | 999175 | 999175 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 4864821 | ELSTER | Kvarh(Lead/Lag) | 150 | 430 | 385 | 45 | 6750 | 0.00675 | 987196 | 987034 | 162 | 24300 | 0.0243
AT 33/11 KV LEVEL
16 | TX-III | 4865185 | ELSTER | Kvarh(Lead/Lag) | -2500 | 998086 | 998172 | -86 | 215000 | 0.215 | 3063 | 3063 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902559 | ELSTER | Kvarh(Lead/Lag) | -300 | 36 | 36 | 0 | 0 | 0 | 999921 | 999921 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 1.844 |  |  |  |  | 0.0243
| E) NET EXPORT TO BSES RPL | [8 empty] | 0.36816 |  |  |  |  | 0
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.3648 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.844 |  |  |  |  | 0.0243

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | OCTOBER-2018
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 5295181 | ELSTER | kvarh (Lead/lag) | 1000 | 42969 | 40987 | 1982 | 1982000 | 1.982 | 999989 | 999989 | 0 | 0 | 0
2 | IBT-2 | 4864886 | ELSTER | kvarh (Lead/lag) | 5000 | 15632 | 15381 | 251 | 1255000 | 1.255 | 78 | 78 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 3.237 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 3.237 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.0585 |  |  |  |  | -4.2327
[7 empty] | NDMC = |  |  | -0.436 |  |  |  |  | 0.018
[7 empty] | MES = |  |  | 0 |  |  |  |  | 0
[7 empty] | N.RAILWAY= |  |  | 0 |  |  |  |  | 0
[7 empty] | 2)TOTAL |  |  | -1.4945 |  |  |  |  | -4.2147
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.7425 |  |  |  |  | -4.2147
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 32.1502 | % |  |  | 0.56022 |  |  |  |  | -1.355
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 39.5028 | % |  |  | 0.68834 |  |  |  |  | -1.6649
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 22.865 | % |  |  | 0.39842 |  |  |  |  | -0.96368
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 4.4712 | % |  |  | 0.077911 |  |  |  |  | -0.18845
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.6676 | % |  |  | 0.011633 |  |  |  |  | -0.028137
6) | N.Railway | (ACTIVE ENERGY DRAWL= |  |  |  | 0.3432 | % |  |  | 0.0059803 |  |  |  |  | -0.014465
Note :Sharing taken from wk-32 abt bill 2018-19

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st OCTOBER-2018 TO 31st OCTOBER-2018
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | -22.0919 |  | -0.4226
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  |  | -25.0591 |  | -0.77905
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 12.5468 |  | -4.6147
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 1.4853 |  | -0.19915
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.19763 | + | 0.064163
6 | NET REACTIVE ENERGY TO N. RAILWAYS |  |  |  | + | 0.066 | + | 0
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 31/10/2018 | INTIAL READING 1/10/2018 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 5100238 | ELSTER | kvarh (lag) | 750 | 20516 | 18894 | 1622 | 1216500 | 1.2165 | 999899 | 999899 | 0 | 0 | 0
2 | GT-II | 5295188 | ELSTER | kvarh (lag) | 1500 | 11777 | 7886 | 3891 | 5836500 | 5.8365 | 33 | 33 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 839292 | 842740 | -3448 | -2586000 | -2.586 | 998653 | 998653 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 4.467 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 5100232 | ELSTER | kvarh (lag) | 5000 | 1429 | 1304 | 125 | 625000 | 0.625 | 12856 | 12856 | 0 | 0 | 0
2 | IBT-2 | 4864938 | ELSTER | kvarh (lag) | 1000 | 999964 | 999964 | 0 | 0 | 0 | 894479 | 896885 | -2406 | -2406000 | -2.406
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 974118 | 973841 | 277 | 277000 | 0.277 | 999340 | 999326 | 14 | 14000 | 0.014
[8 empty] | NET REACTIVE ENERGY |  | 0.902 |  |  | NET REACTIVE ENERGY |  | -2.392