## NDPL
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994928 | 996775 | -1847 | 1847000 | 1.847 | 999254 | 999254 | 0 | 0 | 0
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998394 | 999452 | -1058 | 1058000 | 1.058 | 998274 | 998274 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10481 | 12390 | -1909 | 1909000 | 1.909 | 996281 | 996281 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975073 | 975851 | -778 | 778000 | 0.778 | 976185 | 976185 | 0 | 0 | 0
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 918730 | 919121 | -391 | 391000 | 0.391 | 941078 | 941078 | 0 | 0 | 0
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19506 | 18768 | 738 | -738000 | -0.738 | 17166 | 17166 | 0 | 0 | 0
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17708 | 18849 | -1141 | 1141000 | 1.141 | 13102 | 13102 | 0 | 0 | 0
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 16043 | 16697 | -654 | 817500 | 0.8175 | 995465 | 995465 | 0 | 0 | 0
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 11259 | 12519 | -1260 | 1260000 | 1.26 | 985268 | 985268 | 0 | 0 | 0
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31019 | 30966 | 53 | -53000 | -0.053 | 9097 | 9097 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995100 | 995729 | -629 | 629000 | 0.629 | 3866 | 3866 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996000 | 996354 | -354 | 354000 | 0.354 | 999329 | 999335 | -6 | 6000 | 0.006
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 915695 | 916954 | -1259 | -1259000 | -1.259 | 920513 | 920513 | 0 | 0 | 0 | Data upto 11/11/3
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993440 | 994709 | -1269 | 1269000 | 1.269 | 16927 | 16927 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 383 | 939 | -556 | 556000 | 0.556 | 19649 | 19649 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 744 | 507 | 237 | -237000 | -0.237 | 999938 | 999938 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999990 | 999929 | 61 | 12200 | 0.0122 | 993169 | 993212 | -43 | -8600 | -0.0086
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 307 | 246 | 61 | 61000 | 0.061 | 29304 | 29313 | -9 | -9000 | -0.009
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 2535 | 2414 | 121 | 12100 | 0.0121 | 154875 | 154863 | 12 | 1200 | 0.0012
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 7141 | 5117 | 2024 | 202400 | 0.2024 | 228980 | 228865 | 115 | 11500 | 0.0115
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996139 | 996042 | 97 | 97000 | 0.097 | 3978 | 3970 | 8 | 8000 | 0.008
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000019 | 999949 | 70 | 70000 | 0.07 | 8163 | 8114 | 49 | 49000 | 0.049
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 645873 | 647074 | -1201 | -1201000 | -1.201 | 798973 | 798973 | 0 | 0 | 0
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 653273 | 654647 | -1374 | -1374000 | -1.374 | 832153 | 832153 | 0 | 0 | 0
25 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 | 992704 | 992586 | 118 | 118000 | 0.118 | 998586 | 998586 | 0 | 0 | 0
| CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | 1000 |  |  |  |  | 0.090235 |  |  |  |  | 0 | Assessment from 18/11/13 to 30/11/13
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 1571 | 1252 | 319 | 159500 | 0.1595 | 2036 | 2036 | 0 | 0 | 0
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14379 | 14062 | 317 | -317000 | -0.317 | 981889 | 981889 | 0 | 0 | 0
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2129 | 976 | 1153 | -1153000 | -1.153 | 999835 | 999835 | 0 | 0 | 0
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993211 | 992547 | 664 | -664000 | -0.664 | 926159 | 926169 | -10 | 10000 | 0.01
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1649 | 1023 | 626 | -626000 | -0.626 | 999908 | 999908 | 0 | 0 | 0
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 45081 | 41038 | 4043 | -4043000 | -4.043 | 999928 | 999928 | 0 | 0 | 0
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999722 | 998998 | 724 | -724000 | -0.724 | 999999 | 999999 | 0 | 0 | 0
33 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1000000 | 999956 | 44 | 44000 | 0.044 | 0 | 0 | 0 | 0 | 0 | New Meter wef 27/11/13(Reverse polarity)
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
34 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1539 | 1503 | 36 | 36000 | 0.036 | 21080 | 21080 | 0 | 0 | 0
35 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 303 | 295 | 8 | 8000 | 0.008 | 2027 | 2028 | -1 | -1000 | -0.001
| NDPL(+) continue | [14 empty] | NOVEMBER-2013
DMS
36 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1230 | 1266 | -36 | -36000 | -0.036 | 60903 | 60903 | 0 | 0 | 0
REWARI LINE
37 | 20MVA Tx-2 | 4864824 | ELSTER | Kvarh(Lead/Lag) | 100 | 804 | 803 | 1 | 100 | 0.0001 | 77721 | 77732 | -11 | -1100 | -0.0011
VISHAL
38 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9217 | 9232 | -15 | -1500 | -0.0015 | 28824 | 28866 | -42 | -4200 | -0.0042
39 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 10530 | 10472 | 58 | 5800 | 0.0058 | 51144 | 50398 | 746 | 74600 | 0.0746
40 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 15718 | 15577 | 141 | 14100 | 0.0141 | 53261 | 52826 | 435 | 43500 | 0.0435
S.B.MILL
41 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | 100 | 42213 | 41909 | 304 | 30400 | 0.0304 | 16639 | 16347 | 292 | 29200 | 0.0292
42 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
43 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
44 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
46 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 16862 | 16760 | 102 | 10200 | 0.0102 | 14755 | 14647 | 108 | 10800 | 0.0108
47 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 999372 | 999596 | -224 | -9954.56 | -0.0099546 | 761 | 744 | 17 | 755.48 | 0.00075548
B.G.ROAD
48 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5393 | 5338 | 55 | 27500 | 0.0275 | 28716 | 28704 | 12 | 6000 | 0.006
49 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3556 | 3500 | 56 | 28000 | 0.028 | 26616 | 26610 | 6 | 3000 | 0.003
50 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 5121 | 4991 | 130 | 65000 | 0.065 | 14543 | 14543 | 0 | 0 | 0
51 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 514 | 423 | 91 | 60666.6667 | 0.060667 | 546 | 546 | 0 | 0 | 0
D.M.S.
52 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | 100 | 994664 | 995295 | -631 | -63100 | -0.0631 | 5898 | 5898 | 0 | 0 | 0
53 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 8046 | 8101 | -55 | -5500 | -0.0055 | 15336 | 15336 | 0 | 0 | 0
54 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 21664 | 21309 | 355 | 35500 | 0.0355 | 54092 | 54092 | 0 | 0 | 0
55 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 4748 | 3921 | 827 | 82700 | 0.0827 | 999975 | 999975 | 0 | 0 | 0
56 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998810 | 998879 | -69 | -6900 | -0.0069 | 131 | 131 | 0 | 0 | 0
57 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
58 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | 100 | 16890 | 16255 | 635 | 63500 | 0.0635 | 71877 | 71876 | 1 | 100 | 0.0001
59 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 12610 | 11993 | 617 | 61700 | 0.0617 | 62590 | 62568 | 22 | 2200 | 0.0022
60 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 | 13998 | 13418 | 580 | 58000 | 0.058 | 90100 | 90100 | 0 | 0 | 0
| MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.025133 |  |  |  |  | 0 | Assessment from 18/11/13 to 30/11/13
KASHMIRI GATE
61 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 135809 | 132721 | 3088 | 308800 | 0.3088 | 23936 | 23936 | 0 | 0 | 0
62 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 20688 | 20288 | 400 | 40000 | 0.04 | 41312 | 41305 | 7 | 700 | 0.0007
63 | B/C (IMP. TO NDPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | -300 | 23 | 23 | 0 | 0 | 0 | 65 | 65 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
64 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995589 | 995589 | 0 | 0 | 0 | 36 | 34 | 2 | -800 | -0.0008
65 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | 100 | 999273 | 999273 | 0 | 0 | 0 | 999398 | 999399 | -1 | -100 | -0.0001
Mundka
66 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 994101 | 994101 | 0 | 0 | 0 | 344 | 344 | 0 | 0 | 0
67 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 992627 | 993613 | -986 | -788800 | -0.7888 | 999987 | 999987 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | 0.53628 |  |  |  |  | 0.23176
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 13861 | 13741 | 120 | -12000 | -0.012 | 14070 | 14071 | -1 | 100 | 0.0001
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8717 | 8293 | 424 | -424000 | -0.424 | 7047 | 7047 | 0 | 0 | 0
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 3962 | 3591 | 371 | -74200 | -0.0742 | 11798 | 11798 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14713 | 14424 | 289 | -289000 | -0.289 | 31646 | 31646 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 11735 | 12017 | -282 | 28200 | 0.0282 | 61487 | 61487 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 950752 | 953010 | -2258 | 2258000 | 2.258 | 992454 | 992454 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 1.487 |  |  |  |  | 0.0001
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | 0.53628 |  |  |  |  | 0.23176
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 1.487 |  |  |  |  | 0.0001
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 2.946 |  |  |  |  | -0.023137
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 4.9692 |  |  |  |  | 0.20872
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 4.9692 | (REACTIVE MUs) |  |  |  | 0.20872 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.13948 | (REACTIVE MUs) |  |  |  | -2.2803 | (REACTIVE MUs)
[9 empty] | TOTAL | 5.1087 | (REACTIVE MUs) |  |  |  | -2.0716 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | NOVEMBER-2013
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 989268 | 989264 | 4 | 400 | 0.0004 | 68107 | 68171 | -64 | -6400 | -0.0064
|  | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.024484 |  |  |  |  | 0.046484 | Assessment from 9/11/13 to 30/11/13 (metering not in order)
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 14534 | 14331 | 203 | 20300 | 0.0203 | 9726 | 9726 | 0 | 0 | 0
4 | IG STD- BAY-29 | 4865162 | ELSTER | Kvarh(Lead/Lag) | 100 | 19180 | 19848 | -668 | -66800 | -0.0668 | 23722 | 23714 | 8 | 800 | 0.0008
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 5086 | 3932 | 1154 | 115400 | 0.1154 | 4685 | 4685 | 0 | 0 | 0
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 10764 | 10577 | 187 | 18700 | 0.0187 | 146818 | 146750 | 68 | 6800 | 0.0068
|  | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.051168 |  |  |  |  | 0.071394 | Assessment from 9/11/13 to 30/11/13 (metering not in order)
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 1605 | 1930 | -325 | -32500 | -0.0325 | 67641 | 67641 | 0 | 0 | 0
|  | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.0286 |  |  |  |  | -0.031368 | Assessment from 9/11/13 to 30/11/13 (metering not in order)
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996288 | 997045 | -757 | -757000 | -0.757 | 834 | 834 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999601 | 999573 | 28 | 28000 | 0.028 | 1934 | 1934 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 930 | 873 | 57 | 57000 | 0.057 | 1291 | 1290 | 1 | 1000 | 0.001
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999677 | 999713 | -36 | -36000 | -0.036 | 2732 | 2732 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999252 | 999350 | -98 | -98000 | -0.098 | 4091 | 4091 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 747 | 344 | 403 | 403000 | 0.403 | 1035 | 1033 | 2 | 2000 | 0.002
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 150 | 43 | 107 | 107000 | 0.107 | 16514 | 16514 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 732 | 549 | 183 | 183000 | 0.183 | 37091 | 37091 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 259 | 290 | -31 | -31000 | -0.031 | 24525 | 24477 | 48 | 48000 | 0.048
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 839 | 699 | 140 | 140000 | 0.14 | 8353 | 8353 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 1552 | 1159 | 393 | 39300 | 0.0393 | 1 | 1 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998542 | 998403 | 139 | 139000 | 0.139 | 12518 | 12513 | 5 | 5000 | 0.005
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 758269 | 762242 | -3973 | -4370300 | -4.3703
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 800954 | 804992 | -4038 | -4441800 | -4.4418
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 988757 | 989092 | -335 | -335000 | -0.335 | 9094 | 9122 | -28 | -28000 | -0.028
| KASHMIRI GATE | [8 empty] | -0.1607 |  |  |  |  | -8.7841
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 961233 | 961845 | -612 | 612000 | 0.612 | 966255 | 966258 | -3 | 3000 | 0.003
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974049 | 975020 | -971 | 971000 | 0.971 | 962296 | 962296 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902571 | ELSTER | Kvarh(Lead/Lag) | 300 | 23 | 23 | 0 | 0 | 0 | 65 | 65 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 107 | 5 | 102 | 102000 | 0.102 | 3490 | 3497 | -7 | -7000 | -0.007
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 31494 | 28693 | 2801 | -2801000 | -2.801 | 972932 | 972932 | 0 | 0 | 0
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 14576 | 12325 | 2251 | -2251000 | -2.251 | 968043 | 968043 | 0 | 0 | 0
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997346 | 997760 | -414 | 414000 | 0.414 | 996415 | 996415 | 0 | 0 | 0
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 981283 | 982600 | -1317 | 1317000 | 1.317 | 992299 | 992299 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
31 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 3962 | 3591 | 371 | 74200 | 0.0742 | 11798 | 11798 | 0 | 0 | 0
32 | O/G BG Rd.2 | 4864841 | ELSTER | Kvarh(Lead/Lag) | 1000 | 14713 | 14424 | 289 | 289000 | 0.289 | 31646 | 31646 | 0 | 0 | 0
RIDGE VALLEY
33 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 110284 | 111608 | -1324 | -132400 | -0.1324 | 1617 | 1617 | 0 | 0 | 0
34 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 103629 | 99708 | 3921 | 392100 | 0.3921 | 2383 | 2383 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -1.014 |  |  |  |  | -8.7004
| (A) NET ENERGY TO CENTRAL | [8 empty] | -1.014 |  |  |  |  | -8.7004
NOVEMBER-2013
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994114 | 994668 | -554 | 554000 | 0.554 | 918012 | 918012 | 0 | 0 | 0
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13721 | 13944 | -223 | 223000 | 0.223 | 937892 | 937893 | -1 | 1000 | 0.001
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996133 | 996899 | -766 | 766000 | 0.766 | 982043 | 982043 | 0 | 0 | 0
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 915348 | 919459 | -4111 | 4111000 | 4.111 | 992037 | 992037 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 905171 | 909396 | -4225 | 4225000 | 4.225 | 990458 | 990458 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2459 | 1562 | 897 | -897000 | -0.897 | 992180 | 992184 | -4 | 4000 | 0.004
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998808 | 998803 | 5 | -10000 | -0.01 | 985703 | 985796 | -93 | 186000 | 0.186
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999705 | 999397 | 308 | -308000 | -0.308 | 963424 | 963475 | -51 | 51000 | 0.051
GEETA COLONY
10 | I/C-I | 4864916 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5828 | 7262 | -1434 | 1434000 | 1.434 | 914771 | 914801 | -30 | 30000 | 0.03
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 963909 | 964464 | -555 | 555000 | 0.555 | 870927 | 870927 | 0 | 0 | 0
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 21760 | 22077 | -317 | 317000 | 0.317 | 34073 | 34073 | 0 | 0 | 0
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20936 | 20671 | 265 | -265000 | -0.265 | 43782 | 43783 | -1 | 1000 | 0.001
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 10.705 |  |  |  |  | 0.273
| (B) NET ENERGY TO EAST | [8 empty] | 10.705 |  |  |  |  | 0.273
NOVEMBER-2013
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992704 | 992586 | 118 | -118000 | -0.118 | 998586 | 998586 | 0 | 0 | 0
| CIVIL LINE | 4864889 | ELSTER | Kvarh(Lead/Lag) | -1000 |  |  |  |  | -0.090235 |  |  |  |  | 0 | Assessment from 18/11/13 to 30/11/13
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 1571 | 1252 | 319 | -159500 | -0.1595 | 2036 | 2036 | 0 | 0 | 0
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 41653 | 41170 | 483 | -96600 | -0.0966 | 72223 | 72223 | 0 | 0 | 0
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 70493 | 70493 | 0 | 0 | 0 | 139686 | 139686 | 0 | 0 | 0
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 983645 | 984227 | -582 | 116400 | 0.1164 | 1904 | 1904 | 0 | 0 | 0
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 68759 | 67524 | 1235 | -247000 | -0.247 | 88791 | 88791 | 0 | 0 | 0
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 4038 | 3258 | 780 | -624000 | -0.624 | 1140 | 1140 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13421 | 13262 | 159 | -318000 | -0.318 | 924 | 924 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 985046 | 985513 | -467 | 373600 | 0.3736 | 993049 | 993049 | 0 | 0 | 0
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 993695 | 994939 | -1244 | 995200 | 0.9952 | 994960 | 994960 | 0 | 0 | 0
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 997768 | 998857 | -1089 | 871200 | 0.8712 | 997877 | 997877 | 0 | 0 | 0
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995061 | 995747 | -686 | 686000 | 0.686 | 37395 | 37395 | 0 | 0 | 0
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 994977 | 995423 | -446 | 594665.18 | 0.59467 | 999561 | 999561 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1539 | 1503 | 36 | -36000 | -0.036 | 21080 | 21080 | 0 | 0 | 0
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 303 | 295 | 8 | -8000 | -0.008 | 2027 | 2028 | -1 | 1000 | 0.001
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1230 | 1266 | -36 | 36000 | 0.036 | 60903 | 60903 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5393 | 5338 | 55 | -27500 | -0.0275 | 28716 | 28704 | 12 | -6000 | -0.006
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3556 | 3500 | 56 | -28000 | -0.028 | 26616 | 26610 | 6 | -3000 | -0.003
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 5121 | 4991 | 130 | -65000 | -0.065 | 14543 | 14543 | 0 | 0 | 0
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 514 | 423 | 91 | -60666.6667 | -0.060667 | 546 | 546 | 0 | 0 | 0
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 135809 | 132721 | 3088 | -308800 | -0.3088 | 23936 | 23936 | 0 | 0 | 0
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 20688 | 20288 | 400 | -40000 | -0.04 | 41312 | 41305 | 7 | -700 | -0.0007
D.M.S.
23 | PHILIPS | 4902535 | ELSTER | Kvarh(Lead/Lag) | -100 | 994664 | 995295 | -631 | 63100 | 0.0631 | 5898 | 5898 | 0 | 0 | 0
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 8046 | 8101 | -55 | 5500 | 0.0055 | 15336 | 15336 | 0 | 0 | 0
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 21664 | 21309 | 355 | -35500 | -0.0355 | 54092 | 54092 | 0 | 0 | 0
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 4748 | 3921 | 827 | -82700 | -0.0827 | 999975 | 999975 | 0 | 0 | 0
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998810 | 998879 | -69 | 6900 | 0.0069 | 131 | 131 | 0 | 0 | 0
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902541 | ELSTER | Kvarh(Lead/Lag) | -100 | 16890 | 16255 | 635 | -63500 | -0.0635 | 71877 | 71876 | 1 | -100 | -0.0001
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 12610 | 11993 | 617 | -61700 | -0.0617 | 62590 | 62568 | 22 | -2200 | -0.0022
31 | MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 | 13998 | 13418 | 580 | -58000 | -0.058 | 90100 | 90100 | 0 | 0 | 0
| MANAK PURA | 4902543 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  |  |  | -0.025133 |  |  |  |  | 0 | Assessment from 18/11/13 to 30/11/13
[10 empty] | 1.1947 |  |  |  |  | -0.011
NOVEMBER-2013
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -1.014 |  |  |  |  | -8.7004
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | 1.1947 |  |  |  |  | -0.011
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.4343 |  |  |  |  | 0
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -1.2536 |  |  |  |  | -8.7114
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 10.705 |  |  |  |  | 0.273
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 9.4514 |  |  |  |  | -8.4384
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 9.4514 | (REACTIVE MUs) |  |  |  | -8.4384 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.11491 | (REACTIVE MUs) |  |  |  | -1.8785 | (REACTIVE MUs)
[9 empty] | TOTAL | 9.5663 | (REACTIVE MUs) |  |  |  | -10.3169 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | NOVEMBER-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865180 | ELSTER | Kvarh(Lead/Lag) | 4000 | 998056 | 998090 | -34 | -136000 | -0.136 | 8806 | 8808 | -2 | -8000 | -0.008
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 987893 | 988313 | -420 | -559998.6 | -0.56 | 674011 | 674011 | 0 | 0 | 0
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 1000 | 7167 | 6993 | 174 | 174000 | 0.174 | 65293 | 65274 | 19 | 19000 | 0.019
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 11782 | 11612 | 170 | 170000 | 0.17 | 999554 | 999554 | 0 | 0 | 0
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 10385 | 10216 | 169 | 16900 | 0.0169 | 126249 | 126243 | 6 | 600 | 0.0006
|  | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0.065077 |  |  |  |  | 0.039529 | Assessment from 9/11/13 to 30/11/13 (metering not in order)
7 | BAY-37 | 4865097 | ELSTER | Kvarh(Lead/Lag) | 100 | 24743 | 30895 | -6152 | -615200 | -0.6152 | 245111 | 245111 | 0 | 0 | 0
8 | BAY-9 | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 | 6358 | 6662 | -304 | -30400 | -0.0304 | 392859 | 392859 | 0 | 0 | 0
|  | 4864789 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.044 |  |  |  |  | -0.0089419 | Assessment from 9/11/13 to 30/11/13 (metering not in order)
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999157 | 999111 | 46 | 41400 | 0.0414 | 998592 | 998591 | 1 | 900 | 0.0009
|  | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 |  |  |  |  | -0.071535 |  |  |  |  | -0.028742 | Assessment from 9/11/13 to 30/11/13 (metering not in order)
PAAPANKALAN
10 | Tx.1 | 4864973 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989621 | 990504 | -883 | 883000 | 0.883 | 946125 | 946174 | -49 | 49000 | 0.049
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987097 | 988130 | -1033 | 1033000 | 1.033 | 951156 | 951184 | -28 | 28000 | 0.028
12 | Tx.3 | 4864975 | ELSTER | Kvarh(Lead/Lag) | -1000 | 980302 | 982672 | -2370 | 2370000 | 2.37 | 930415 | 930415 | 0 | 0 | 0
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995258 | 996081 | -823 | 823000 | 0.823 | 950698 | 950698 | 0 | 0 | 0
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994614 | 996873 | -2259 | 2259000 | 2.259 | 980412 | 980412 | 0 | 0 | 0
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 16737 | 15058 | 1679 | -1679000 | -1.679 | 985418 | 985418 | 0 | 0 | 0
16 | Tx.2 | 5128460 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995604 | 998457 | -2853 | -2853000 | -2.853 | 2 | 2 | 0 | 0 | 0
| Tx.2 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999495 | 995604 | 3891 | -3891000 | -3.891 | 2 | 2 | 0 | 0 | 0 | Reverse Polarity Corrected on 14/11/13
NAJAFGARH
17 | Tx.1 | 4864977 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2463 | 2799 | -336 | 336000 | 0.336 | 999529 | 999531 | -2 | 2000 | 0.002
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10901 | 11749 | -848 | 848000 | 0.848 | 1951 | 1957 | -6 | 6000 | 0.006
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26145 | 26935 | -790 | 790000 | 0.79 | 6300 | 6302 | -2 | 2000 | 0.002
20 | Tx.4 | 4865012 | ELSTER | Kvarh(Lead/Lag) | -1000 | 39692 | 39440 | 252 | -252000 | -0.252 | 31939 | 31940 | -1 | 1000 | 0.001 | Check Meter Data used
| Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6 | 3 | 3 | -3000 | -0.003 | 999997 | 1000000 | -3 | 3000 | 0.003 | Main Meter replaced on 15/11/13
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8717 | 8293 | 424 | 424000 | 0.424 | 7047 | 7047 | 0 | 0 | 0
LODHI ROAD
22 | Tx.1 | 4864908 | ELSTER | Kvarh(Lead/Lag) | -1000 | 912441 | 914384 | -1943 | 1943000 | 1.943 | 890303 | 890303 | 0 | 0 | 0
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959840 | 961501 | -1661 | 1661000 | 1.661 | 857225 | 857225 | 0 | 0 | 0
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999434 | 999783 | -349 | 349000 | 0.349 | 972761 | 973254 | -493 | 493000 | 0.493
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999784 | 194 | 999590 | -999590000 | -999.59 | 957002 | 957041 | -39 | 39000 | 0.039
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996056 | 996371 | -315 | 315000 | 0.315 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864891 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864906 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998633 | 998806 | -173 | 173000 | 0.173 | 889929 | 889929 | 0 | 0 | 0
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 997680 | 998033 | -353 | 353000 | 0.353 | 869275 | 869275 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | NOVEMBER-2013
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996623 | 997397 | -774 | 774000 | 0.774 | 972766 | 972766 | 0 | 0 | 0
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998309 | 998805 | -496 | 496000 | 0.496 | 988999 | 989057 | -58 | 58000 | 0.058
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 994826 | 994346 | 480 | -960000 | -0.96 | 970107 | 970107 | 0 | 0 | 0
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996559 | 996970 | -411 | 411000 | 0.411 | 915355 | 915363 | -8 | 8000 | 0.008
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995227 | 995797 | -570 | 570000 | 0.57 | 928164 | 928164 | 0 | 0 | 0
35 | Tx.3 | 4865048 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996497 | 996933 | -436 | 436000 | 0.436 | 919411 | 919417 | -6 | 6000 | 0.006 | Check Meter Data Used
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999311 | 1000000 | -689 | 689000 | 0.689 | 999999 | 1000000 | -1 | 1000 | 0.001 | New Meter installed wef 07/11/13
RIDGE VALLEY
36 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 991231 | 992875 | -1644 | 1095998.904 | 1.096 | 984337 | 984337 | 0 | 0 | 0
37 | Tx-2 | 4864828 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DIAL
38 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1449 | 1142 | 307 | -614000 | -0.614 | 1475 | 1475 | 0 | 0 | 0
39 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 998367 | 998035 | 332 | -664000 | -0.664 | 627 | 627 | 0 | 0 | 0
MASJID MOD
40 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 948577 | 951154 | -2577 | 2577000 | 2.577 | 995781 | 995781 | 0 | 0 | 0
41 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 959683 | 961337 | -1654 | 1654000 | 1.654 | 996014 | 996070 | -56 | 56000 | 0.056
MUNDKA
42 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 994101 | 994101 | 0 | 0 | 0 | 1447 | 1447 | 0 | 0 | 0
43 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 19357 | 18307 | 1050 | 840000 | 0.84 | 1045 | 1045 | 0 | 0 | 0
44 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 954748 | 958516 | -3768 | -3014400 | -3.0144 | 999692 | 999692 | 0 | 0 | 0
45 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999423 | 999423 | 0 | 0 | 0 | 999980 | 999980 | 0 | 0 | 0
PARK STREET
46 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 995061 | 995747 | -686 | -686000 | -0.686 | 37395 | 37395 | 0 | 0 | 0
47 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 994977 | 995423 | -446 | -594665.18 | -0.59467 | 999561 | 999561 | 0 | 0 | 0
SARITA VIHAR
48 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9604 | 8532 | 1072 | -1072000 | -1.072 | 975131 | 975131 | 0 | 0 | 0
49 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 816 | 999388 | -998572 | 998572000 | 998.572 | 989740 | 989757 | -17 | 17000 | 0.017
NARAINA
50 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 13861 | 13741 | 120 | 12000 | 0.012 | 14070 | 14071 | -1 | -100 | -0.0001
SUDARSHAN PARK
51 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 11735 | 12017 | -282 | -28200 | -0.0282 | 61487 | 61487 | 0 | 0 | 0
REWARI LINE
52 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
53 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 950752 | 953010 | -2258 | -2258000 | -2.258 | 992454 | 992454 | 0 | 0 | 0
A.I.I.M.S.
54 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | 100 | 1303 | 1396 | -93 | -9300 | -0.0093 | 9880 | 9881 | -1 | -100 | -0.0001
55 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 9084 | 8863 | 221 | 22100 | 0.0221 | 21700 | 21697 | 3 | 300 | 0.0003
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.5508 |  |  |  |  | 0.78345
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2013
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 36375 | 36375 | 0 | 0 | 0 | 891566 | 891565 | 1 | -100 | -0.0001
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 110284 | 111608 | -1324 | 132400 | 0.1324 | 1617 | 1617 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 103629 | 99708 | 3921 | -392100 | -0.3921 | 2383 | 2383 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 997370 | 997697 | -327 | 32700 | 0.0327 | 999978 | 999978 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996770 | 996797 | -27 | 2700 | 0.0027 | 999920 | 999920 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -2000 | 1054 | 1152 | -98 | 196000 | 0.196 | 73243 | 73243 | 0 | 0 | 0
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6563 | 5602 | 961 | -961000 | -0.961 | 81 | 81 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 893843 | 891972 | 1871 | -935500 | -0.9355 | 54462 | 54462 | 0 | 0 | 0
EXPORT TO NDMC
9 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 58401 | 57364 | 1037 | -103700 | -0.1037 | 58837 | 58833 | 4 | -400 | -0.0004
10 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 51134 | 49096 | 2038 | -203800 | -0.2038 | 56893 | 56893 | 0 | 0 | 0
11 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 85214 | 84858 | 356 | -71200 | -0.0712 | 112978 | 112978 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
12 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 2206 | 3025 | -819 | -409500 | -0.4095 | 17889 | 17890 | -1 | -500 | -0.0005
13 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.3333 | 3889 | 3889 | 0 | 0 | 0 | 979525 | 979525 | 0 | 0 | 0
14 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 990679 | 990679 | 0 | 0 | 0 | 993688 | 993688 | 0 | 0 | 0
KIDWAI NAGAR
15 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 292449 | 290525 | 1924 | -192400 | -0.1924 | 44320 | 44318 | 2 | -200 | -0.0002
EXHIBITION I
16 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3491 | 3466 | 25 | -2500 | -0.0025 | 18159 | 18145 | 14 | -1400 | -0.0014
17 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
18 | 20 MVA TX.-2(Delv.) | 4864824 | ELSTER | Kvarh(Lead/Lag) | -100 | 804 | 803 | 1 | -100 | -0.0001 | 77721 | 77732 | -11 | 1100 | 0.0011
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
19 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9217 | 9232 | -15 | 1500 | 0.0015 | 28824 | 28866 | -42 | 4200 | 0.0042
20 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 10530 | 10472 | 58 | -5800 | -0.0058 | 51144 | 50398 | 746 | -74600 | -0.0746
21 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 15718 | 15577 | 141 | -14100 | -0.0141 | 53261 | 52826 | 435 | -43500 | -0.0435
S.B.MILL
22 | MOTI NAGAR KIOSK | 4902521 | ELSTER | Kvarh(Lead/Lag) | -100 | 42213 | 41909 | 304 | -30400 | -0.0304 | 16639 | 16347 | 292 | -29200 | -0.0292
23 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
24 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
25 | 70 RAMA ROAD | 4902524 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 16862 | 16760 | 102 | -10200 | -0.0102 | 14755 | 14647 | 108 | -10800 | -0.0108
28 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 999372 | 999596 | -224 | 9954.56 | 0.0099546 | 761 | 744 | 17 | -755.48 | -0.00075548
29 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
30 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995589 | 995589 | 0 | 0 | 0 | 36 | 34 | 2 | 800 | 0.0008
31 | BSES -NDPL(EX.) ON BUS-2&3 | 4902516 | ELSTER | Kvarh(Lead/Lag) | -100 | 999273 | 999273 | 0 | 0 | 0 | 999398 | 999399 | -1 | 100 | 0.0001
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.957 |  |  |  |  | -0.15526
NOVEMBER-2013
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 3.5508 |  |  |  |  | 0.78345
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.957 |  |  |  |  | -0.15526
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 3.1539 |  |  |  |  | 0.0802
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.2904 |  |  |  |  | -0.0188
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 3.4572 |  |  |  |  | 0.68959
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 3.4572 | (REACTIVE MUs) |  |  |  | 0.68959 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.1967 | (REACTIVE MUs) |  |  |  | -3.2156 | (REACTIVE MUs)
[9 empty] | TOTAL | 3.6539 | (REACTIVE MUs) |  |  |  | -2.526 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2013
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 41653 | 41170 | 483 | 96600 | 0.0966 | 72223 | 72223 | 0 | 0 | 0
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 70493 | 70493 | 0 | 0 | 0 | 139686 | 139686 | 0 | 0 | 0
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 983645 | 984227 | -582 | -116400 | -0.1164 | 1904 | 1904 | 0 | 0 | 0
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 68759 | 67524 | 1235 | 247000 | 0.247 | 88791 | 88791 | 0 | 0 | 0
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 4038 | 3258 | 780 | 624000 | 0.624 | 1140 | 1140 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13421 | 13262 | 159 | 318000 | 0.318 | 924 | 924 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 985046 | 985513 | -467 | -373600 | -0.3736 | 993049 | 993049 | 0 | 0 | 0
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 993695 | 994939 | -1244 | -995200 | -0.9952 | 994960 | 994960 | 0 | 0 | 0
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 997768 | 998857 | -1089 | -871200 | -0.8712 | 997877 | 997877 | 0 | 0 | 0
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 999006 | 999006 | 0 | 0 | 0 | 364016 | 363673 | 343 | 34300 | 0.0343
[10 empty] | 0.0011355 |  |  |  |  | 0.18501 | Assessment from 9/11/13 to 30/11/13 (metering not in order)
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6605 | 6605 | 0 | 0 | 0 | 470995 | 470826 | 169 | 16900 | 0.0169
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 12236 | 12236 | 0 | 0 | 0 | 354819 | 353734 | 1085 | 108500 | 0.1085
|  | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | 0 |  |  |  |  | 0.44461 | Assessment from 9/11/13 to 30/11/13 (metering not in order)
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 5300 | 5300 | 0 | 0 | 0 | 351008 | 351098 | -90 | -9000 | -0.009
|  | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  |  |  | -0.010858 |  |  |  |  | -0.071181 | Assessment from 9/11/13 to 30/11/13 (metering not in order)
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 997754 | 997754 | 0 | 0 | 0 | 295801 | 295752 | 49 | 4900 | 0.0049
|  | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | [9 empty] | 0.15088 | Assessment from 9/11/13 to 30/11/13 (metering not in order)
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 999881 | 1000163 | -282 | -28200 | -0.0282 | 175798 | 175798 | 0 | 0 | 0
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13432 | 13432 | 0 | 0 | 0 | 259759 | 260211 | -452 | -45200 | -0.0452
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 51073 | 51202 | -129 | -12900 | -0.0129 | 704427 | 704426 | 1 | 100 | 0.0001
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 73436 | 73466 | -30 | -33000 | -0.033
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3269 | 3360 | -91 | -91000 | -0.091 | 37884 | 37899 | -15 | -15000 | -0.015
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 143008 | 142343 | 665 | 731500 | 0.7315
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 8771 | 8984 | -213 | -213000 | -0.213 | 53221 | 53191 | 30 | 30000 | 0.03
[10 empty] | -0.304 |  |  |  |  | 0.7135
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 2000 | 1054 | 1152 | -98 | -196000 | -0.196 | 73243 | 73243 | 0 | 0 | 0
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6563 | 5602 | 961 | 961000 | 0.961 | 81 | 81 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 893843 | 891972 | 1871 | 935500 | 0.9355 | 54462 | 54462 | 0 | 0 | 0
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 2206 | 3025 | -819 | 409500 | 0.4095 | 17889 | 17890 | -1 | 500 | 0.0005
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 3889 | 3889 | 0 | 0 | 0 | 979525 | 979525 | 0 | 0 | 0
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 990679 | 990679 | 0 | 0 | 0 | 993688 | 993688 | 0 | 0 | 0
NOVEMBER-2013
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 984543 | 985003 | -460 | 460000 | 0.46 | 991888 | 992141 | -253 | 253000 | 0.253
ELECTRIC LANE
27 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 989987 | 992226 | -2239 | 2239000 | 2.239 | 990826 | 990826 | 0 | 0 | 0
KIDWAI NAGAR
28 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 292449 | 290525 | 1924 | 192400 | 0.1924 | 44320 | 44318 | 2 | 200 | 0.0002
EXHIBITION I
29 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3491 | 3466 | 25 | 2500 | 0.0025 | 18159 | 18145 | 14 | 1400 | 0.0014
30 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
31 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 58401 | 57364 | 1037 | 103700 | 0.1037 | 58837 | 58833 | 4 | 400 | 0.0004
32 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 51134 | 49096 | 2038 | 203800 | 0.2038 | 56893 | 56893 | 0 | 0 | 0
33 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 85214 | 84858 | 356 | 71200 | 0.0712 | 112978 | 112978 | 0 | 0 | 0
TILAK MARG
34 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 36375 | 36375 | 0 | 0 | 0 | 891566 | 891565 | 1 | 100 | 0.0001
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902586 | ELSTER | Kvarh(Lead/Lag) | -100 | 1303 | 1396 | -93 | 9300 | 0.0093 | 9880 | 9881 | -1 | 100 | 0.0001
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 9084 | 8863 | 221 | -22100 | -0.0221 | 21700 | 21697 | 3 | -300 | -0.0003
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 3.9442 |  |  |  |  | 1.7887
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 3.9442 |  |  |  |  | 1.7887
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.024061 |  |  |  |  | -0.39335
| TOTAL ENERGY TO NDMC | [8 empty] | 3.9682 |  |  |  |  | 1.3954

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2013
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 928 | 755 | 173 | 173000 | 0.173 | 23078 | 23053 | 25 | 25000 | 0.025
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 613 | 508 | 105 | 105000 | 0.105 | 25889 | 25875 | 14 | 14000 | 0.014
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1522 | 1280 | 242 | 242000 | 0.242 | 33708 | 33688 | 20 | 20000 | 0.02
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 927 | 941 | -14 | -14000 | -0.014 | 18339 | 18339 | 0 | 0 | 0
5 | SHEKHAWATI | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3567 | 3220 | 347 | 347000 | 0.347 | 10167 | 10167 | 0 | 0 | 0
RIDGE VALLEY ON 33KV
6 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 997370 | 997697 | -327 | -32700 | -0.0327 | 999978 | 999978 | 0 | 0 | 0
7 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996770 | 996797 | -27 | -2700 | -0.0027 | 999920 | 999920 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.8176 |  |  |  |  | 0.059
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
8 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
9 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 45445 | 45059 | 386 | 38600 | 0.0386 | 71666 | 71663 | 3 | 300 | 0.0003
10 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 72403 | 72215 | 188 | 18800 | 0.0188 | 11074 | 11074 | 0 | 0 | 0
11 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 41394 | 39763 | 1631 | 163100 | 0.1631 | 59529 | 59351 | 178 | 17800 | 0.0178
12 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
13 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 81969 | 81270 | 699 | 69900 | 0.0699 | 58136 | 58129 | 7 | 700 | 0.0007
14 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 5267 | 5076 | 191 | 19100 | 0.0191 | 1759 | 1677 | 82 | 8200 | 0.0082
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.2904 |  |  |  |  | 0.0188
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
15 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.2904 |  |  |  |  | 0.0188
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.8176 |  |  |  |  | 0.059
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 1.108 |  |  |  |  | 0.0778
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.108 | (REACTIVE MUs) |  |  |  | 0.0778 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.0041488 | (REACTIVE MUs) |  |  |  | -0.067825 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.1121 | (REACTIVE MUs) |  |  |  | 0.009975 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2013
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864796 | ELSTER | Kvarh(Lead/Lag) | 100 | 44325 | 46716 | -2391 | -239100 | -0.2391 | 79296 | 79296 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 996916 | 994337 | 2579 | 257900 | 0.2579 | 999177 | 999177 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 242401 | 229691 | 12710 | 1271000 | 1.271 | 98151 | 98151 | 0 | 0 | 0
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 29701 | 28558 | 1143 | 1071562.5 | 1.0716 | 18447 | 18447 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 985970 | 987423 | -1453 | 726500 | 0.7265 | 925449 | 925450 | -1 | 500 | 0.0005
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989674 | 989806 | -132 | 66000 | 0.066 | 980901 | 981061 | -160 | 80000 | 0.08
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 17 | 17 | 0 | 0 | 0 | 1 | 2 | -1 | -300 | -0.0003
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 3.1539 |  |  |  |  | 0.0802
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 934977 | 937422 | -2445 | -489000 | -0.489 | 991753 | 991753 | 0 | 0 | 0
9 | O/G DMS | 4864810 | ELSTER | Kvarh(Lead/Lag) | 100 | 764312 | 773765 | -9453 | -945300 | -0.9453 | 928316 | 928316 | 0 | 0 | 0 | Check Meter Data used
| O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 997889 | 1000000 | -2111 | -422200 | -0.4222 | 0 | 0 | 0 | 0 | 0 | Main Meter Replaced 20/11/13
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.4343 |  |  |  |  | 0
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 225880 | 221777 | 4103 | 820600 | 0.8206 | 263805 | 263805 | 0 | 0 | 0
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 99327 | 95190 | 4137 | 827400 | 0.8274 | 41507 | 41507 | 0 | 0 | 0
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 158568 | 150604 | 7964 | 796400 | 0.7964 | 72389 | 72389 | 0 | 0 | 0
13 | O/G 33KV SH.W.BAGH-I | 4865168 | ELSTER | Kvarh(Lead/Lag) | 1000 | 989785 | 989444 | 341 | 341000 | 0.341 | 998402 | 998402 | 0 | 0 | 0
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 967379 | 968464 | -1085 | -108500 | -0.1085 | 7159 | 7159 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999399 | 999448 | -49 | -45937.5 | -0.045937 | 3 | 28 | -25 | -23437.5 | -0.023438
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 988032 | 988536 | -504 | 315000 | 0.315 | 995547 | 995547 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 17 | 17 | 0 | 0 | 0 | 1 | 2 | -1 | 300 | 0.0003
| TOTAL NDPL | [8 empty] | 2.946 |  |  |  |  | -0.023137
| E) NET EXPORT TO BSES RPL | [8 empty] | 3.1539 |  |  |  |  | 0.0802
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.4343 |  |  |  |  | 0
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 2.946 |  |  |  |  | -0.023137

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2013
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 476 | 37 | 439 | 878000 | 0.878 | 1000031 | 999956 | 75 | 150000 | 0.15
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 12794 | 12372 | 422 | 844000 | 0.844 | 2363 | 2277 | 86 | 172000 | 0.172
[7 empty] | NET REACTIVE ENERGY |  |  | 1.722 |  | NET REACTIVE ENERGY |  |  | 0.322
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 993241 | 993905 | -664 | -664000 | -0.664 | 39638 | 39639 | -1 | -1000 | -0.001
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 996079 | 996193 | -114 | -114000 | -0.114 | 994780 | 994866 | -86 | -86000 | -0.086
[7 empty] | NET REACTIVE ENERGY |  |  | -0.778 |  | NET REACTIVE ENERGY |  |  | -0.087
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 0.944 |  |  |  |  | 0.235
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -0.1607 |  |  |  |  | -8.7841
[7 empty] | NDMC = |  |  | -0.304 |  |  |  |  | 0.7135
MES =
[7 empty] | 2)TOTAL |  |  | -0.4647 |  |  |  |  | -8.0706
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 0.4793 |  |  |  |  | -7.8356
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 29.1016 | % |  |  | 0.13948 |  |  |  |  | -2.2803
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 41.0385 | % |  |  | 0.1967 |  |  |  |  | -3.2156
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.9742 | % |  |  | 0.11491 |  |  |  |  | -1.8785
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.02 | % |  |  | 0.024061 |  |  |  |  | -0.39335
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.8656 | % |  |  | 0.0041488 |  |  |  |  | -0.067825
Note :Sharing taken from wk-32 abt bill 2013-14

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st NOVEMBER-2013 TO 30th NOVEMBER-2013
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  | + | 5.1087 |  | -2.0716
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 3.6539 |  | -2.526
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 9.5663 |  | -10.3169
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 3.9682 | + | 1.3954
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 1.1121 | + | 0.009975
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2013 | INTIAL READING 01/11/2013 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 958415 | 959045 | -630 | -945000 | -0.945 | 981015 | 981015 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 998180 | 998884 | -704 | -1056000 | -1.056 | 995979 | 995979 | 0 | 0 | 0
3 | STG-III | 4902494 | ELSTER | kvarh (lag) | 1500 | 911662 | 913714 | -2052 | -3078000 | -3.078 | 966279 | 966279 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -5.079 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997689 | 997608 | 81 | 405000 | 0.405 | 31059 | 31052 | 7 | 35000 | 0.035
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999635 | 999634 | 1 | 1000 | 0.001 | 3196 | 3382 | -186 | -186000 | -0.186
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 970801 | 970155 | 646 | 646000 | 0.646 | 990105 | 990105 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | 1.052 |  |  | NET REACTIVE ENERGY |  | -0.151

## Sheet1 (hidden)
IP Assessment | 22 Day Assessment |  | REF:-Oct.13 Reactive Bill
|  | Above 103% | Assessment | Below 97% | Assessment | *Metering not in order from 9/11/13 to 30/11/13
NDMC | 4865124 | 0.0016 | 0.0011355 | 0.2607 | 0.18501
| 1865126 | 0 | 0 | 0.6265 | 0.44461
| 1865127 | -0.0153 | -0.010858 | -0.1003 | -0.071181
| 4865128 | 0 | 0 | 0.2126 | 0.15088
BRPL | 4865181 | -0.1008 | -0.071535 | -0.0405 | -0.028742
| 4865096 | 0.0917 | 0.065077 | 0.0557 | 0.039529
| 4864789 | -0.062 | -0.044 | -0.0126 | -0.0089419
BYPL | 4865101 | 0.0721 | 0.051168 | 0.1006 | 0.071394
| 4865161 | 0.0345 | 0.024484 | 0.0655 | 0.046484
| 4865102 | 0.0403 | 0.0286 | -0.0442 | -0.031368