## NDPL
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
Customer:NORTH DELHI POWER LIMITED.
NDPL(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
GOPAL PUR
1 | Tx.1 | 4864925 | ELSTER | Kvarh(Lead/Lag) | -1000 | 988315 | 989645 | -1330 | 1330000 | 1.33 | 995942 | 995963 | -21 | 21000 | 0.021
2 | TX.2 | 5128432 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992787 | 993292 | -505 | 505000 | 0.505 | 996316 | 996316 | 0 | 0 | 0
3 | Tx.3 | 4864905 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1028 | 3238 | -2210 | 2210000 | 2.21 | 996169 | 996169 | 0 | 0 | 0
SUBZI MANDI
4 | Tx.1 | 4864912 | ELSTER | Kvarh(Lead/Lag) | -1000 | 974026 | 974253 | -227 | 227000 | 0.227 | 972077 | 972077 | 0 | 0 | 0
5 | Tx.2 | 4864913 | ELSTER | Kvarh(Lead/Lag) | -1000 | 916840 | 917053 | -213 | 213000 | 0.213 | 933744 | 933750 | -6 | 6000 | 0.006
ROHINI
6 | Tx.1 | 4864982 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23405 | 23028 | 377 | -377000 | -0.377 | 17962 | 17964 | -2 | 2000 | 0.002
7 | Tx.2 | 4864983 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10884 | 11917 | -1033 | 1033000 | 1.033 | 11633 | 11637 | -4 | 4000 | 0.004
8 | Tx.-3 | 4864953 | ELSTER | Kvarh(Lead/Lag) | -1250 | 13398 | 13832 | -434 | 542500 | 0.5425 | 994574 | 994575 | -1 | 1250 | 0.00125
9 | Tx.-4 | 4864984 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4561 | 5617 | -1056 | 1056000 | 1.056 | 983902 | 983902 | 0 | 0 | 0
[10 empty] | 10 |  |  |  |  | 0 | Assessment for October
SHALIMAR BAGH
10 | Tx.1 | 4864939 | ELSTER | Kvarh(Lead/Lag) | -1000 | 29638 | 30337 | -699 | 699000 | 0.699 | 9032 | 9032 | 0 | 0 | 0
11 | Tx.-2 | 4864940 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990467 | 991089 | -622 | 622000 | 0.622 | 3213 | 3213 | 0 | 0 | 0
12 | Tx.-3 | 5128410 | ELSTER | Kvarh(Lead/Lag) | -1000 | 990078 | 990936 | -858 | 858000 | 0.858 | 998017 | 998017 | 0 | 0 | 0
13 | 220KV DMRC | 4865060 | ELSTER | Kvarh(Lead/Lag) | 1000 | 889064 | 893140 | -4076 | -4076000 | -4.076 | 920488 | 920488 | 0 | 0 | 0
NARELA
14 | Tx.1 | 4865034 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986925 | 987271 | -346 | 346000 | 0.346 | 16836 | 16836 | 0 | 0 | 0
15 | Tx.2 | 4865035 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998664 | 998318 | 346 | -346000 | -0.346 | 20152 | 20152 | 0 | 0 | 0
16 | Tx.3 | 4865052 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2128 | 2337 | -209 | 209000 | 0.209 | 999980 | 999980 | 0 | 0 | 0
NARAINA
17 | O/G REWARI LINE 1 | 4864800 | ELSTER | Kvarh(Lead/Lag) | 200 | 999914 | 999926 | -12 | -2400 | -0.0024 | 986023 | 985921 | 102 | 20400 | 0.0204
18 | O/G REWARI LINE 2 | 4864887 | ELSTER | Kvarh(Lead/Lag) | 1000 | 656 | 661 | -5 | -5000 | -0.005 | 29448 | 29477 | -29 | -29000 | -0.029
19 | 16 MVA TX.-1 | 4864798 | ELSTER | Kvarh(Lead/Lag) | 100 | 4871 | 4722 | 149 | 14900 | 0.0149 | 161637 | 161577 | 60 | 6000 | 0.006
20 | 16 MVA TX.-2 | 4864799 | ELSTER | Kvarh(Lead/Lag) | 100 | 21337 | 19554 | 1783 | 178300 | 0.1783 | 240929 | 240823 | 106 | 10600 | 0.0106
21 | INDER PURI | 4864888 | ELSTER | Kvarh(Lead/Lag) | 1000 | 996455 | 996431 | 24 | 24000 | 0.024 | 3580 | 3602 | -22 | -22000 | -0.022
22 | INDER PURI-2 | 5128402 | ELSTER | Kvarh(Lead/Lag) | 1000 | 461 | 449 | 12 | 12000 | 0.012 | 8300 | 8324 | -24 | -24000 | -0.024
KASHMIRI GATE
23 | 221 kV DMRC #1 | 4865057 | ELSTER | Kvarh(Lead/Lag) | 1000 | 637979 | 639390 | -1411 | -1411000 | -1.411 | 797622 | 797622 | 0 | 0 | 0
24 | 221 kV DMRC #2 | 4865058 | ELSTER | Kvarh(Lead/Lag) | 1000 | 647964 | 648222 | -258 | -258000 | -0.258 | 830705 | 830705 | 0 | 0 | 0
25 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | 400 | 2862 | 2294 | 568 | 227200 | 0.2272 | 999653 | 999653 | 0 | 0 | 0
26 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | 500 | 2936 | 2704 | 232 | 116000 | 0.116 | 4170 | 4164 | 6 | 3000 | 0.003
KANJAWALA
27 | TX-1 | 4865054 | ELSTER | Kvarh(Lead/Lag) | -1000 | 17486 | 16340 | 1146 | -1146000 | -1.146 | 981108 | 981108 | 0 | 0 | 0
28 | Tx.2 | 4865036 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5636 | 5558 | 78 | -78000 | -0.078 | 999444 | 999444 | 0 | 0 | 0
BAWANA
29 | I/C 100 MVA PR.TR. | 4865056 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999548 | 998115 | 1433 | -1433000 | -1.433 | 924247 | 924247 | 0 | 0 | 0
DSIDC BAWANA
30 | 66KV TX.2 | 4865049 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5121 | 4142 | 979 | -979000 | -0.979 | 999150 | 999153 | -3 | 3000 | 0.003
31 | 66KV TX.3 | 4865022 | ELSTER | Kvarh(Lead/Lag) | -1000 | 60317 | 58449 | 1868 | -1868000 | -1.868 | 2565 | 2562 | 3 | -3000 | -0.003
ROHINI-II
32 | Tx.1 | 5128463 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000408 | 999852 | 556 | -556000 | -0.556 | 998731 | 998731 | 0 | 0 | 0
33 | Tx.2 | 5128456 | ELSTER | Kvarh(Lead/Lag) | -1000 | 2440 | 2438 | 2 | -2000 | -0.002 | 999995 | 999995 | 0 | 0 | 0
WAZIRPUR
34 | Tx.1 | 4864903 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998721 | 999252 | -531 | 531000 | 0.531 | 999993 | 999993 | 0 | 0 | 0
35 | Tx.2 | 4864946 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1000550 | 999916 | 634 | -634000 | -0.634 | 999995 | 999995 | 0 | 0 | 0
EXPORT TO EAST & CENTRE IMPORTS
SHASTRI PARK
36 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1833 | 1776 | 57 | 57000 | 0.057 | 23394 | 23391 | 3 | 3000 | 0.003
37 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | 1000 | 294 | 230 | 64 | 64000 | 0.064 | 2827 | 2829 | -2 | -2000 | -0.002
| NDPL(+) continue | [14 empty] | NOVEMBER-2014
DMS
38 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1235 | 1259 | -24 | -24000 | -0.024 | 61321 | 61321 | 0 | 0 | 0
REWARI LINE
39 | 20MVA Tx-2 | 4864806 | ELSTER | Kvarh(Lead/Lag) | 125 | 170202 | 168964 | 1238 | 154750 | 0.15475 | 260365 | 260317 | 48 | 6000 | 0.006
VISHAL
40 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | 100 | 9332 | 9342 | -10 | -1000 | -0.001 | 28967 | 29020 | -53 | -5300 | -0.0053
41 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | 100 | 11196 | 11175 | 21 | 2100 | 0.0021 | 58125 | 57682 | 443 | 44300 | 0.0443
42 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | 100 | 17513 | 17383 | 130 | 13000 | 0.013 | 61161 | 60774 | 387 | 38700 | 0.0387
S.B.MILL
43 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | 100 | 4676 | 4290 | 386 | 38600 | 0.0386 | 3997 | 3938 | 59 | 5900 | 0.0059
44 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | 100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
45 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | 100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
46 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | 100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
47 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
48 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | 100 | 17532 | 17739 | -207 | -20700 | -0.0207 | 19576 | 19485 | 91 | 9100 | 0.0091
49 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | 44.44 | 997402 | 997858 | -456 | -20264.64 | -0.020265 | 522 | 532 | -10 | -444.4 | -0.0004444
B.G.ROAD
50 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | 500 | 5656 | 5631 | 25 | 12500 | 0.0125 | 31320 | 31320 | 0 | 0 | 0
51 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | 500 | 3817 | 3790 | 27 | 13500 | 0.0135 | 29046 | 29046 | 0 | 0 | 0
52 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | 500 | 6281 | 6233 | 48 | 24000 | 0.024 | 14891 | 14891 | 0 | 0 | 0
53 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | 666.6667 | 1354 | 1268 | 86 | 57333.3333 | 0.057333 | 935 | 935 | 0 | 0 | 0
D.M.S.
54 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | 100 | 999686 | 999965 | -279 | -27900 | -0.0279 | 24 | 21 | 3 | 300 | 0.0003 | October Assessment Included
55 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | 100 | 7746 | 7772 | -26 | -2600 | -0.0026 | 15271 | 15271 | 0 | 0 | 0
56 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | 100 | 24187 | 23885 | 302 | 30200 | 0.0302 | 57130 | 57130 | 0 | 0 | 0
57 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | 100 | 4490 | 4490 | 0 | 0 | 0 | 999953 | 999953 | 0 | 0 | 0
|  | 4902578 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 28/11/2014
58 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | 100 | 998576 | 998603 | -27 | -2700 | -0.0027 | 61 | 61 | 0 | 0 | 0
59 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | 100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
60 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | 100 | 176410 | 175710 | 700 | 70000 | 0.07 | 50196 | 49974 | 222 | 22200 | 0.0222
61 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | 100 | 17761 | 17381 | 380 | 38000 | 0.038 | 64577 | 64448 | 129 | 12900 | 0.0129
62 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | 100 | 5828 | 5328 | 500 | 50000 | 0.05 | 1831 | 1573 | 258 | 25800 | 0.0258
KASHMIRI GATE
63 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | 100 | 154395 | 151203 | 3192 | 319200 | 0.3192 | 20888 | 20888 | 0 | 0 | 0
64 | FLYOVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | 100 | 22944 | 22468 | 476 | 47600 | 0.0476 | 44418 | 44418 | 0 | 0 | 0
65 | B/C (IMP. TO NDPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | -300 | 22 | 23 | -1 | 300 | 0.0003 | 382 | 382 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
66 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | -400 | 995590 | 995589 | 1 | -400 | -0.0004 | 50 | 50 | 0 | 0 | 0
67 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | 400 | 1 | 1 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
Mundka
68 | 66KV MANGOL PURI | 5128444 | ELSTER | Kvarh(Lead/Lag) | 800 | 988124 | 990516 | -2392 | -1913600 | -1.9136 | 264 | 264 | 0 | 0 | 0
69 | GHEWARA | 5100232 | ELSTER | Kvarh(Lead/Lag) | 800 | 993211 | 992335 | 876 | 700800 | 0.7008 | 73 | 73 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11 KV LEVEL | [8 empty] | 7.4622 |  |  |  |  | 0.15971
NDPL(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
NARAINA
1 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | -100 | 17423 | 17259 | 164 | -16400 | -0.0164 | 16024 | 16023 | 1 | -100 | -0.0001
MANGOLPURI
2 | NANGLOI-2 EXP | 4864955 | ELSTER | Kvarh(Lead/Lag) | -1000 | 10848 | 10548 | 300 | -300000 | -0.3 | 7604 | 7595 | 9 | -9000 | -0.009
SUBZI MANDI
3 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | -200 | 4409 | 3794 | 615 | -123000 | -0.123 | 15073 | 15073 | 0 | 0 | 0
4 | O/G BG Rd.2 | 4864877 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999496 | 999527 | -31 | 31000 | 0.031 | 937 | 937 | 0 | 0 | 0
SUDARSHAN PARK
5 | VISHAL (EXP) | 4864898 | ELSTER | Kvarh(Lead/Lag) | -100 | 10930 | 11168 | -238 | 23800 | 0.0238 | 61454 | 61454 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
6 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | -1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
7 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | -1000 | 936551 | 940013 | -3462 | 3462000 | 3.462 | 991947 | 991947 | 0 | 0 | 0
MUNDKA
8 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | 2000 | 999430 | 999430 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
| TOTAL OF INTER COMPANY EXCHANGE POINTS | [8 empty] | 3.0774 |  |  |  |  | -0.0091
EXECUTIVE SUMMERY N.D.P.L.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (Refer sheet NDPL(+)) | [9 empty] | 7.4622 |  |  |  |  | 0.15971
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet NDPL(-)) | [9 empty] | 3.0774 |  |  |  |  | -0.0091
3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL) | [9 empty] | 1.2762 |  |  |  |  | 0.022762
NET ENERGY TO NORTH DELHI POWER LIMITED | [9 empty] | 11.8158 |  |  |  |  | 0.17337
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 11.8158 | (REACTIVE MUs) |  |  |  | 0.17337 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.47535 | (REACTIVE MUs) |  |  |  | -2.8547 | (REACTIVE MUs)
[9 empty] | TOTAL | 12.2911 | (REACTIVE MUs) |  |  |  | -2.6813 | (REACTIVE MUs)

## BYPL
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [15 empty] | NOVEMBER-2014
Customer:BSES YAMUNA POWER LIMITED.
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION 33KV FEEDER
1 | KAMLA MKT.-B-18 | 4865098 | ELSTER | Kvarh(Lead/Lag) | 100 | 999998 | 999998 | 0 | 0 | 0 | 37956 | 37956 | 0 | 0 | 0
2 | KAMLA MKT.B-30 | 4865161 | ELSTER | Kvarh(Lead/Lag) | 100 | 10503 | 5170 | 5333 | 533300 | 0.5333 | 81212 | 81212 | 0 | 0 | 0
3 | P. HOSPITAL BAY-19 | 4865099 | ELSTER | Kvarh(Lead/Lag) | 100 | 16751 | 17412 | -661 | -66100 | -0.0661 | 38237 | 38236 | 1 | 100 | 0.0001
4 | IG STD- BAY-29 | 4865184 | ELSTER | Kvarh(Lead/Lag) | 600 | 704 | 528 | 176 | 105600 | 0.1056 | 5477 | 5477 | 0 | 0 | 0
5 | IG STD-BAY 31 | 4865103 | ELSTER | Kvarh(Lead/Lag) | 100 | 2031 | 2031 | 0 | 0 | 0 | 2292 | 2292 | 0 | 0 | 0
[10 empty] | 0 |  |  |  |  | 0.0171
6 | DELHI GATE B-17 | 4865101 | ELSTER | Kvarh(Lead/Lag) | 100 | 13925 | 11459 | 2466 | 246600 | 0.2466 | 164360 | 164360 | 0 | 0 | 0
7 | MINTO RD. B-34 | 4865102 | ELSTER | Kvarh(Lead/Lag) | 100 | 14607 | 9213 | 5394 | 539400 | 0.5394 | 122648 | 122647 | 1 | 100 | 0.0001
RPH
8 | KAMLA MKT.-2 | 4864884 | ELSTER | Kvarh(Lead/Lag) | 1000 | 993077 | 993444 | -367 | -367000 | -0.367 | 947 | 947 | 0 | 0 | 0
9 | FOUNTAIN BAY-16 | 4864831 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998510 | 998661 | -151 | -151000 | -0.151 | 2030 | 2030 | 0 | 0 | 0
10 | MINTO RD BAY-17 | 4864832 | ELSTER | Kvarh(Lead/Lag) | 1000 | 447 | 542 | -95 | -95000 | -0.095 | 1540 | 1540 | 0 | 0 | 0
11 | TOWN HALL-3 | 4864833 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998942 | 998578 | 364 | 364000 | 0.364 | 2688 | 2688 | 0 | 0 | 0
12 | LAHORI GATE-1 | 4864834 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998175 | 998697 | -522 | -522000 | -0.522 | 4442 | 4442 | 0 | 0 | 0
13 | LAHORI GATE-2 | 4864835 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999898 | 1000163 | -265 | -265000 | -0.265 | 2293 | 2293 | 0 | 0 | 0
14 | JAMA MASJID-1 | 4864836 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999611 | 999762 | -151 | -151000 | -0.151 | 16729 | 16729 | 0 | 0 | 0
15 | JAMA MASJID-2 | 4864837 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1250 | 1428 | -178 | -178000 | -0.178 | 37359 | 37359 | 0 | 0 | 0
16 | GB PANTH(Bay-13) | 4864838 | ELSTER | Kvarh(Lead/Lag) | 1000 | 185 | 181 | 4 | 4000 | 0.004 | 27536 | 27536 | 0 | 0 | 0
17 | SACHV. (Bay-12) | 4864839 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1455 | 1450 | 5 | 5000 | 0.005 | 9303 | 9303 | 0 | 0 | 0
18 | 6.6 KV IRRG.PUMP | 4864788 | ELSTER | Kvarh(Lead/Lag) | 100 | 8295 | 7355 | 940 | 94000 | 0.094 | 250 | 250 | 0 | 0 | 0
19 | KAMLA MKT. (B-19) | 4864883 | ELSTER | Kvarh(Lead/Lag) | 1000 | 998588 | 998613 | -25 | -25000 | -0.025 | 14136 | 14136 | 0 | 0 | 0
GT
20 | DMRC. CKT.-I | 4865041 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 716482 | 719729 | -3247 | -3571700 | -3.5717
21 | DMRC CKT.-II | 4865042 | ELSTER | Kvarh(Lead/Lag) | 1100 | 999998 | 999998 | 0 | 0 | 0 | 754149 | 758319 | -4170 | -4587000 | -4.587
22 | AKSHARDHAM | 4864943 | ELSTER | Kvarh(Lead/Lag) | 1000 | 985450 | 985796 | -346 | -346000 | -0.346 | 9080 | 9080 | 0 | 0 | 0
| KASHMIRI GATE | [8 empty] | -1.633 |  |  |  |  | -8.1587
23 | 100 MVA TX.-1 | 4864910 | ELSTER | Kvarh(Lead/Lag) | -1000 | 957832 | 958164 | -332 | 332000 | 0.332 | 949292 | 949298 | -6 | 6000 | 0.006
24 | 100 MVA TX.-2 | 4864911 | ELSTER | Kvarh(Lead/Lag) | -1000 | 967332 | 968251 | -919 | 919000 | 0.919 | 955464 | 955464 | 0 | 0 | 0
25 | B/C (IMP. TO BYPL) | 4902528 | ELSTER | Kvarh(Lead/Lag) | 300 | 22 | 23 | -1 | -300 | -0.0003 | 382 | 382 | 0 | 0 | 0
NARAINA
26 | DMS | 5128409 | ELSTER | Kvarh(Lead/Lag) | 1000 | 366 | 286 | 80 | 80000 | 0.08 | 6050 | 6020 | 30 | 30000 | 0.03
PARK STREET
27 | TX.-1 (66KV) | 4864962 | ELSTER | Kvarh(Lead/Lag) | -1000 | 44254 | 44254 | 0 | 0 | 0 | 974200 | 974200 | 0 | 0 | 0
28 | TX.-2(66KV) | 4865033 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26925 | 24520 | 2405 | -2405000 | -2.405 | 969802 | 969802 | 0 | 0 | 0
29 | TX.-1(33KV) | 5128420 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995811 | 995512 | 299 | -299000 | -0.299 | 995966 | 996010 | -44 | 44000 | 0.044
30 | TX.-2(33KV) | 4864935 | ELSTER | Kvarh(Lead/Lag) | -1000 | 975542 | 975671 | -129 | 129000 | 0.129 | 992352 | 992394 | -42 | 42000 | 0.042
HARSH VIHAR
31 | TX.-1 (66KV) | 4865002 | ELSTER | Kvarh(Lead/Lag) | 2000 | 864 | 491 | 373 | 746000 | 0.746 | 999790 | 999790 | 0 | 0 | 0
32 | TX.-3 (66KV) | 5128452 | ELSTER | Kvarh(Lead/Lag) | 2000 | 682 | 436 | 246 | 492000 | 0.492 | 999998 | 999998 | 0 | 0 | 0
IMPORTS
SUBZI MANDI
33 | O/G BG Rd.1 | 4864808 | ELSTER | Kvarh(Lead/Lag) | 200 | 4409 | 3794 | 615 | 123000 | 0.123 | 15073 | 15073 | 0 | 0 | 0
34 | O/G BG Rd.2 | 4864877 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999496 | 999527 | -31 | -31000 | -0.031 | 937 | 937 | 0 | 0 | 0
RIDGE VALLEY
35 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | 100 | 101360 | 102718 | -1358 | -135800 | -0.1358 | 1595 | 1595 | 0 | 0 | 0
36 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | 100 | 152658 | 155147 | -2489 | -248900 | -0.2489 | 4522 | 4522 | 0 | 0 | 0
| ENERGY INPUT AT 66/33KK LEVEL | [8 empty] | -0.5732 |  |  |  |  | -8.0194
| (A) NET ENERGY TO CENTRAL | [8 empty] | -0.5732 |  |  |  |  | -8.0194
NOVEMBER-2014
BYPL(+) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
S.O.W.
1 | Tx.1 | 4864968 | ELSTER | Kvarh(Lead/Lag) | -1000 | 986409 | 989282 | -2873 | 2873000 | 2.873 | 908479 | 908479 | 0 | 0 | 0
2 | Tx.2 | 4864980 | ELSTER | Kvarh(Lead/Lag) | -1000 | 8363 | 10648 | -2285 | 2285000 | 2.285 | 927899 | 927899 | 0 | 0 | 0
3 | Tx.3 | 5128436 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987113 | 990186 | -3073 | 3073000 | 3.073 | 973212 | 973212 | 0 | 0 | 0
PPG
4 | Tx.1 (66 KV) | 4864915 | ELSTER | Kvarh(Lead/Lag) | -1000 | 895052 | 897122 | -2070 | 2070000 | 2.07 | 990326 | 990326 | 0 | 0 | 0
5 | Tx.2 (66 KV) | 4864993 | ELSTER | Kvarh(Lead/Lag) | -1000 | 883472 | 885468 | -1996 | 1996000 | 1.996 | 988831 | 988831 | 0 | 0 | 0
6 | 100 MVA Tx.1 (33 KV) | 4864914 | ELSTER | Kvarh(Lead/Lag) | -1000 | 4335 | 4541 | -206 | 206000 | 0.206 | 984468 | 984468 | 0 | 0 | 0
7 | 50 MVA Tx.-2 (33 KV) | 4865167 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1655 | 1655 | 0 | 0 | 0 | 980809 | 980809 | 0 | 0 | 0
8 | 50MVA Tx.3 (33 KV) | 4864893 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999743 | 999771 | -28 | 56000 | 0.056 | 976884 | 976929 | -45 | 90000 | 0.09
9 | 100MVA Tx.4 (33 KV) | 4864918 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999113 | 999390 | -277 | 277000 | 0.277 | 945357 | 945355 | 2 | -2000 | -0.002
GEETA COLONY
10 | I/C-I | 5100229 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991518 | 994560 | -3042 | 3042000 | 3.042 | 991643 | 991643 | 0 | 0 | 0
11 | I/C-II | 4864917 | ELSTER | Kvarh(Lead/Lag) | -1000 | 958498 | 961221 | -2723 | 2723000 | 2.723 | 863162 | 863162 | 0 | 0 | 0
GAZIPUR
12 | TX.-1 | 4865053 | ELSTER | Kvarh(Lead/Lag) | -1000 | 19771 | 21045 | -1274 | 1274000 | 1.274 | 34929 | 34929 | 0 | 0 | 0
13 | TX-2 | 4864986 | ELSTER | Kvarh(Lead/Lag) | -1000 | 22312 | 22341 | -29 | 29000 | 0.029 | 44989 | 44989 | 0 | 0 | 0
SB MILL
14 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| ENERGY INPUT AT 66/33/11KV LEVEL | [8 empty] | 19.904 |  |  |  |  | 0.088
| (B) NET ENERGY TO EAST | [8 empty] | 19.904 |  |  |  |  | 0.088
NOVEMBER-2014
BYPL(-) | [7 empty] | DELIEVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
KASHMIRI GATE
1 | CIVIL LINE | 4864902 | ELSTER | Kvarh(Lead/Lag) | -400 | 2862 | 2294 | 568 | -227200 | -0.2272 | 999653 | 999653 | 0 | 0 | 0
2 | CIVIL LINE-2 | 5128405 | ELSTER | Kvarh(Lead/Lag) | -500 | 2936 | 2704 | 232 | -116000 | -0.116 | 4170 | 4164 | 6 | -3000 | -0.003
EXPORT TO NDMC FROM PARK STREET
3 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | -200 | 47158 | 46305 | 853 | -170600 | -0.1706 | 77666 | 77640 | 26 | -5200 | -0.0052
4 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | -100 | 73347 | 73628 | -281 | 28100 | 0.0281 | 139428 | 139435 | -7 | 700 | 0.0007
5 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | -200 | 980377 | 980744 | -367 | 73400 | 0.0734 | 999045 | 999049 | -4 | 800 | 0.0008
6 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | -200 | 75031 | 74607 | 424 | -84800 | -0.0848 | 95173 | 95156 | 17 | -3400 | -0.0034
7 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | -800 | 8833 | 7877 | 956 | -764800 | -0.7648 | 4120 | 4120 | 0 | 0 | 0
8 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | -2000 | 13683 | 13713 | -30 | 60000 | 0.06 | 2256 | 2256 | 0 | 0 | 0
9 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | -800 | 982774 | 983070 | -296 | 236800 | 0.2368 | 990799 | 990800 | -1 | 800 | 0.0008
10 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | -800 | 986506 | 987469 | -963 | 770400 | 0.7704 | 987727 | 987735 | -8 | 6400 | 0.0064
11 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | -800 | 992980 | 993685 | -705 | 564000 | 0.564 | 994839 | 994842 | -3 | 2400 | 0.0024
EXPORT TO SOUTH & WEST FROM PARK STREET
12 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | -1000 | 991231 | 991543 | -312 | 312000 | 0.312 | 36473 | 36473 | 0 | 0 | 0
13 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 993831 | 993292 | 539 | -718664.87 | -0.71866 | 998577 | 998577 | 0 | 0 | 0
EXPORT TO NORTH from SHASTRI PARK
14 | PUSA GRID-I | 4864843 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1833 | 1776 | 57 | -57000 | -0.057 | 23394 | 23391 | 3 | -3000 | -0.003
15 | PUSA GRID-II | 4864844 | ELSTER | Kvarh(Lead/Lag) | -1000 | 294 | 230 | 64 | -64000 | -0.064 | 2827 | 2829 | -2 | 2000 | 0.002
DMS
16 | 33KV PANDAV NGR | 4865169 | ELSTER | Kvarh(Lead/Lag) | -1000 | 1235 | 1259 | -24 | 24000 | 0.024 | 61321 | 61321 | 0 | 0 | 0
EXCHANGE OF ENERGY 11KV
EXPORTS
B.G.ROAD
17 | CSA | 4865091 | ELSTER | Kvarh(Lead/Lag) | -500 | 5656 | 5631 | 25 | -12500 | -0.0125 | 31320 | 31320 | 0 | 0 | 0
18 | DCM NO.1 | 4902530 | ELSTER | Kvarh(Lead/Lag) | -500 | 3817 | 3790 | 27 | -13500 | -0.0135 | 29046 | 29046 | 0 | 0 | 0
19 | DCM NO.2 | 4902531 | ELSTER | Kvarh(Lead/Lag) | -500 | 6281 | 6233 | 48 | -24000 | -0.024 | 14891 | 14891 | 0 | 0 | 0
20 | SADAR S/S | 4865072 | ELSTER | Kvarh(Lead/Lag) | -666.6667 | 1354 | 1268 | 86 | -57333.3333 | -0.057333 | 935 | 935 | 0 | 0 | 0
KASHMIRI GATE
21 | 20MVA TX. | 4864807 | ELSTER | Kvarh(Lead/Lag) | -100 | 154395 | 151203 | 3192 | -319200 | -0.3192 | 20888 | 20888 | 0 | 0 | 0
22 | FLY OVER | 4865086 | ELSTER | Kvarh(Lead/Lag) | -100 | 22944 | 22468 | 476 | -47600 | -0.0476 | 44418 | 44418 | 0 | 0 | 0
D.M.S.
23 | PHILIPS | 4902568 | ELSTER | Kvarh(Lead/Lag) | -100 | 999686 | 999965 | -279 | 27900 | 0.0279 | 24 | 21 | 3 | -300 | -0.0003 | October Assessment Included
24 | 69 NG ROAD | 4902536 | ELSTER | Kvarh(Lead/Lag) | -100 | 7746 | 7772 | -26 | 2600 | 0.0026 | 15271 | 15271 | 0 | 0 | 0
25 | J BLOCK KIRTI NGR | 4902537 | ELSTER | Kvarh(Lead/Lag) | -100 | 24187 | 23885 | 302 | -30200 | -0.0302 | 57130 | 57130 | 0 | 0 | 0
26 | H BLOCK | 4902579 | ELSTER | Kvarh(Lead/Lag) | -100 | 4490 | 4490 | 0 | 0 | 0 | 999953 | 999953 | 0 | 0 | 0
|  | 4902578 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | w.e.f 28/11/2014
27 | SHADI KHAM PUR | 4902539 | ELSTER | Kvarh(Lead/Lag) | -100 | 998576 | 998603 | -27 | 2700 | 0.0027 | 61 | 61 | 0 | 0 | 0
28 | BREAK FAST | 4902540 | ELSTER | Kvarh(Lead/Lag) | -100 | 15 | 15 | 0 | 0 | 0 | 13398 | 13398 | 0 | 0 | 0
FAIZ ROAD
29 | TIBIA COLLEGE-1 | 4902551 | ELSTER | Kvarh(Lead/Lag) | -100 | 176410 | 175710 | 700 | -70000 | -0.07 | 50196 | 49974 | 222 | -22200 | -0.0222
30 | TIBIA COLLEGE-2 | 4902542 | ELSTER | Kvarh(Lead/Lag) | -100 | 17761 | 17381 | 380 | -38000 | -0.038 | 64577 | 64448 | 129 | -12900 | -0.0129
31 | MANAK PURA | 4902544 | ELSTER | Kvarh(Lead/Lag) | -100 | 5828 | 5328 | 500 | -50000 | -0.05 | 1831 | 1573 | 258 | -25800 | -0.0258
[10 empty] | -0.7635 |  |  |  |  | -0.0627
NOVEMBER-2014
EXECUTIVE SUMMARY
ENERGY RELEASED TO CENTRAL
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre A- Page -1) | [8 empty] | -0.5732 |  |  |  |  | -8.0194
| 2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer C Page-3) | [8 empty] | -0.7635 |  |  |  |  | -0.0627
| 3) FROM ROHTAK ROAD (REFER ENERGY BALANCE SHEET ROHTAK ROAD ENCL.) | [8 empty] | -1.4468 |  |  |  |  | -0.0006
| TOTAL ENERGY TO BSES YAMUNA POWER LTD. - CENTRAL PART | [8 empty] | -2.7835 |  |  |  |  | -8.0827
ENERGY RELEASED TO EAST
| 1) ENERGY AT 66/33/11 KV LEVEL (Refre B- Page -2) | [8 empty] | 19.904 |  |  |  |  | 0.088
| NET ENERGY TO BSES YAMUNA POWER LIMITED | [8 empty] | 17.1205 |  |  |  |  | -7.9947
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 17.1205 | (REACTIVE MUs) |  |  |  | -7.9947 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.34929 | (REACTIVE MUs) |  |  |  | -2.0976 | (REACTIVE MUs)
[9 empty] | TOTAL | 17.4698 | (REACTIVE MUs) |  |  |  | -10.0923 | (REACTIVE MUs)

## BRPL
DELHI TRANSCO LIMITED | [14 empty] | NOVEMBER-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-BSES RAJDHANI POWER LIMITED
BRPL (+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
I.P.STATION
1 | BAY-24 | 4865170 | ELSTER | Kvarh(Lead/Lag) | 5000 | 38 | 16 | 22 | 110000 | 0.11 | 999946 | 999946 | 0 | 0 | 0
2 | BAY-25 | 4865095 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 985483 | 985914 | -431 | -574665.23 | -0.57467 | 673073 | 673073 | 0 | 0 | 0
3 | BAY-13 | 4865166 | ELSTER | Kvarh(Lead/Lag) | 500 | 10007 | 8891 | 1116 | 558000 | 0.558 | 68944 | 68944 | 0 | 0 | 0
4 | BAY-53 | 4865151 | ELSTER | Kvarh(Lead/Lag) | 1000 | 12567 | 12567 | 0 | 0 | 0 | 999386 | 999386 | 0 | 0 | 0
5 | BAY-54 | 4865152 | ELSTER | Kvarh(Lead/Lag) | 300 | 1605 | 1605 | 0 | 0 | 0 | 112 | 112 | 0 | 0 | 0
6 | BAY-7 | 4865096 | ELSTER | Kvarh(Lead/Lag) | 100 | 12832 | 11837 | 995 | 99500 | 0.0995 | 134080 | 134080 | 0 | 0 | 0
7 | BAY-37 | 4865140 | ELSTER | Kvarh(Lead/Lag) | 75 | 731037 | 741338 | -10301 | -772575 | -0.77258 | 30440 | 30440 | 0 | 0 | 0
8 | BAY-9 | 4865148 | ELSTER | Kvarh(Lead/Lag) | 75 | 998790 | 999850 | -1060 | -79500 | -0.0795 | 3449 | 3449 | 0 | 0 | 0
9 | BAY-5 LAJPAT NAGAR | 4865181 | ELSTER | Kvarh(Lead/Lag) | 900 | 999157 | 999157 | 0 | 0 | 0 | 998592 | 998592 | 0 | 0 | 0
PAAPANKALAN
10 | Tx.1 | 5128454 | ELSTER | Kvarh(Lead/Lag) | -500 | 411 | 1442 | -1031 | 515500 | 0.5155 | 995687 | 995688 | -1 | 500 | 0.0005
11 | Tx.2 | 4864974 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987973 | 988498 | -525 | 525000 | 0.525 | 948629 | 948629 | 0 | 0 | 0
12 | Tx.3 | 5100234 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999530 | 1000111 | -581 | 581000 | 0.581 | 996526 | 996526 | 0 | 0 | 0
13 | Tx.4 | 4864976 | ELSTER | Kvarh(Lead/Lag) | -1000 | 992006 | 992584 | -578 | 578000 | 0.578 | 946045 | 946045 | 0 | 0 | 0
PAAPANKALAN-II
14 | Tx.1 | 5128437 | ELSTER | Kvarh(Lead/Lag) | -1000 | 985454 | 986647 | -1193 | 1193000 | 1.193 | 973167 | 973167 | 0 | 0 | 0
15 | Tx.2 | 5128439 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26803 | 25444 | 1359 | -1359000 | -1.359 | 983728 | 983728 | 0 | 0 | 0
16 | Tx.3 | 5128460 | ELSTER | Kvarh(Lead/Lag) | -1000 | 27622 | 25194 | 2428 | -2428000 | -2.428 | 995352 | 995352 | 0 | 0 | 0
NAJAFGARH
17 | Tx.1 | 5128451 | ELSTER | Kvarh(Lead/Lag) | -1000 | 5375 | 5746 | -371 | 371000 | 0.371 | 999688 | 999878 | -190 | 190000 | 0.19
18 | Tx.2 | 4864970 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6533 | 7113 | -580 | 580000 | 0.58 | 996962 | 996982 | -20 | 20000 | 0.02
19 | Tx.3 | 4864971 | ELSTER | Kvarh(Lead/Lag) | -1000 | 26931 | 27585 | -654 | 654000 | 0.654 | 3255 | 3330 | -75 | 75000 | 0.075
20 | Tx.4 | 4864995 | ELSTER | Kvarh(Lead/Lag) | -1000 | 6516 | 5471 | 1045 | -1045000 | -1.045 | 999024 | 999031 | -7 | 7000 | 0.007
IMPORT
MANGOLPURI
21 | NANGLOI-2 (03) IMP. | 4864955 | ELSTER | Kvarh(Lead/Lag) | 1000 | 10848 | 10548 | 300 | 300000 | 0.3 | 7604 | 7595 | 9 | 9000 | 0.009
LODHI ROAD
22 | Tx.1 | 5100231 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996164 | 997080 | -916 | 916000 | 0.916 | 986687 | 986687 | 0 | 0 | 0
|  | 5269210 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999841 | 1000000 | -159 | 159000 | 0.159 | 0 | 0 | 0 | 0 | 0 | w.e.f 20/11/2014
23 | Tx.2 | 4864909 | ELSTER | Kvarh(Lead/Lag) | -1000 | 951251 | 952199 | -948 | 948000 | 0.948 | 842987 | 842987 | 0 | 0 | 0
OKHLA
24 | Tx.1 (66 KV) | 4864964 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999345 | 999188 | 157 | -157000 | -0.157 | 967782 | 967819 | -37 | 37000 | 0.037
25 | Tx.2 (66 KV) | 4864965 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993149 | 994629 | -1480 | 1480000 | 1.48 | 947350 | 947382 | -32 | 32000 | 0.032
26 | Tx.1 (33 KV) | 4864890 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995596 | 995596 | 0 | 0 | 0 | 956880 | 956880 | 0 | 0 | 0
27 | Tx.2 (33 KV) | 4864933 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999683 | 1002995 | -3312 | 3312000 | 3.312 | 39247 | 39247 | 0 | 0 | 0
28 | Tx.3 (33 KV) | 4864904 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999409 | 999458 | -49 | 49000 | 0.049 | 999087 | 999087 | 0 | 0 | 0
29 | Tx.4 (33 KV) | 4864907 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996707 | 996791 | -84 | 84000 | 0.084 | 866972 | 866972 | 0 | 0 | 0
BRPL(+) continue | [14 empty] | NOVEMBER-2014
VASANT KUNJ
30 | Tx.1 | 4864988 | ELSTER | Kvarh(Lead/Lag) | -1000 | 996988 | 997620 | -632 | 632000 | 0.632 | 972465 | 972465 | 0 | 0 | 0
31 | Tx.2 | 4864989 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998153 | 998153 | 0 | 0 | 0 | 972465 | 972465 | 0 | 0 | 0
[10 empty] | -0.082 |  |  |  |  | 0.01 | Assessment
|  | 5128455 | ELSTER | Kvarh(Lead/Lag) | -1000 | 999148 | 1000000 | -852 | 852000 | 0.852 | 999979 | 1000000 | -21 | 21000 | 0.021 | w.e.f 11/11/2014
32 | Tx.3 | 4864979 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999146 | 998149 | 997 | -1994000 | -1.994 | 969830 | 969830 | 0 | 0 | 0
MEHRAULI
33 | Tx.1 | 4864966 | ELSTER | Kvarh(Lead/Lag) | -1000 | 994771 | 994794 | -23 | 23000 | 0.023 | 910261 | 910262 | -1 | 1000 | 0.001
34 | Tx.2 | 4864967 | ELSTER | Kvarh(Lead/Lag) | -1000 | 995039 | 995067 | -28 | 28000 | 0.028 | 927917 | 927917 | 0 | 0 | 0
35 | Tx.3 | 4865000 | ELSTER | Kvarh(Lead/Lag) | -1000 | 998380 | 998377 | 3 | -3000 | -0.003 | 995194 | 995196 | -2 | 2000 | 0.002
36 | Tx.4 | 5128468 | ELSTER | Kvarh(Lead/Lag) | -1000 | 987973 | 989541 | -1568 | 1568000 | 1.568 | 988707 | 988715 | -8 | 8000 | 0.008
RIDGE VALLEY
37 | Tx-1 | 4864827 | ELSTER | Kvarh(Lead/Lag) | -666.666 | 975282 | 974071 | 1211 | -807332.526 | -0.80733 | 978858 | 978858 | 0 | 0 | 0
38 | Tx-2 | 4864952 | ELSTER | Kvarh(Lead/Lag) | -2500 | 996907 | 997240 | -333 | 832500 | 0.8325 | 501 | 501 | 0 | 0 | 0
DIAL
39 | Tx-1 | 4865024 | ELSTER | Kvarh(Lead/Lag) | -2000 | 2465 | 2302 | 163 | -326000 | -0.326 | 1918 | 1918 | 0 | 0 | 0
40 | Tx-2 | 4864920 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999512 | 999316 | 196 | -392000 | -0.392 | 993 | 993 | 0 | 0 | 0
MASJID MOD
41 | Tx-1 | 5128414 | ELSTER | Kvarh(Lead/Lag) | -1000 | 936315 | 937892 | -1577 | 1577000 | 1.577 | 990583 | 990583 | 0 | 0 | 0
42 | Tx-2 | 5128416 | ELSTER | Kvarh(Lead/Lag) | -1000 | 945715 | 947800 | -2085 | 2085000 | 2.085 | 994648 | 994648 | 0 | 0 | 0
MUNDKA
43 | 66KV NANGLOI | 5100228 | ELSTER | Kvarh(Lead/Lag) | 800 | 993096 | 993136 | -40 | -32000 | -0.032 | 1367 | 1411 | -44 | -35200 | -0.0352
44 | 66KV NGL. WATER WORKS | 5128441 | ELSTER | Kvarh(Lead/Lag) | 800 | 25568 | 26311 | -743 | -594400 | -0.5944 | 1521 | 1521 | 0 | 0 | 0
45 | 66KV DMRC | 5128443 | ELSTER | Kvarh(Lead/Lag) | 800 | 927529 | 929779 | -2250 | -1800000 | -1.8 | 999636 | 999636 | 0 | 0 | 0
46 | 66KV NGL. T-OFF MGL P | 5128407 | ELSTER | Kvarh(Lead/Lag) | -2000 | 999430 | 999430 | 0 | 0 | 0 | 999958 | 999958 | 0 | 0 | 0
PARK STREET
47 | 66KV R VALLEY-1 | 4864951 | ELSTER | Kvarh(Lead/Lag) | 1000 | 991231 | 991543 | -312 | -312000 | -0.312 | 36473 | 36473 | 0 | 0 | 0
48 | 66KV R VALLEY-2 | 4902501 | ELSTER | Kvarh(Lead/Lag) | 1333.33 | 993831 | 993292 | 539 | 718664.87 | 0.71866 | 998577 | 998577 | 0 | 0 | 0
SARITA VIHAR
49 | TX-1 | 4864990 | ELSTER | Kvarh(Lead/Lag) | -1000 | 20243 | 17305 | 2938 | -2938000 | -2.938 | 973864 | 973864 | 0 | 0 | 0
50 | Tx-2 | 4864991 | ELSTER | Kvarh(Lead/Lag) | -1000 | 9526 | 9470 | 56 | -56000 | -0.056 | 989220 | 989220 | 0 | 0 | 0
NARAINA
51 | GOPI NATH BAZAAR | 4865092 | ELSTER | Kvarh(Lead/Lag) | 100 | 17423 | 17259 | 164 | 16400 | 0.0164 | 16024 | 16023 | 1 | 100 | 0.0001
SUDARSHAN PARK
52 | VISHAL | 4864898 | ELSTER | Kvarh(Lead/Lag) | 100 | 10930 | 11168 | -238 | -23800 | -0.0238 | 61454 | 61454 | 0 | 0 | 0
REWARI LINE
53 | 33KV B/C | 4865174 | ELSTER | Kvarh(Lead/Lag) | 1000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
KANJAWALA
54 | 66KV DMRC | 4864961 | ELSTER | Kvarh(Lead/Lag) | 1000 | 936551 | 940013 | -3462 | -3462000 | -3.462 | 991947 | 991947 | 0 | 0 | 0
A.I.I.M.S.
55 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | 75 | 197 | 268 | -71 | -5325 | -0.005325 | 1954 | 1954 | 0 | 0 | 0
56 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | 100 | 11289 | 10801 | 488 | 48800 | 0.0488 | 26588 | 26588 | 0 | 0 | 0
SUM OF ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 2.1508 |  |  |  |  | 0.3774
BRPL (-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 % |  |  | NOVEMBER-2014
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TILAK MARG
1 | EXHB-II | 4865143 | ELSTER | Kvarh(Lead/Lag) | -100 | 51490 | 49092 | 2398 | -239800 | -0.2398 | 909270 | 909270 | 0 | 0 | 0
EXPORT TO EAST & CENTRE
RIDGE VALLEY
2 | O/G SHANKAR RD.1 | 4865134 | ELSTER | Kvarh(Lead/Lag) | -100 | 101360 | 102718 | -1358 | 135800 | 0.1358 | 1595 | 1595 | 0 | 0 | 0
3 | O/G SHANKAR RD.2 | 4865135 | ELSTER | Kvarh(Lead/Lag) | -100 | 152658 | 155147 | -2489 | 248900 | 0.2489 | 4522 | 4522 | 0 | 0 | 0
4 | KHYBER LANE-1 EXP. | 4864804 | ELSTER | Kvarh(Lead/Lag) | -100 | 995580 | 995804 | -224 | 22400 | 0.0224 | 999945 | 999945 | 0 | 0 | 0
5 | KHYBER LANE-2 EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | -100 | 996426 | 996479 | -53 | 5300 | 0.0053 | 999911 | 999911 | 0 | 0 | 0
EXPORTS(*)
EXPORT TO NDMC
6 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | -1000 | 3251 | 2685 | 566 | -566000 | -0.566 | 73763 | 73763 | 0 | 0 | 0
7 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | -1000 | 13668 | 12855 | 813 | -813000 | -0.813 | 170 | 170 | 0 | 0 | 0
8 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | -500 | 904506 | 903717 | 789 | -394500 | -0.3945 | 54657 | 54657 | 0 | 0 | 0
9 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | -400 | 11586 | 13582 | -1996 | 798400 | 0.7984 | 3081 | 3081 | 0 | 0 | 0
EXPORT TO NDMC
10 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | -100 | 68993 | 66913 | 2080 | -208000 | -0.208 | 65437 | 65290 | 147 | -14700 | -0.0147
11 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | -100 | 67115 | 65079 | 2036 | -203600 | -0.2036 | 63752 | 63750 | 2 | -200 | -0.0002
12 | VIDYUT BHAWAN | 4865144 | ELSTER | Kvarh(Lead/Lag) | -200 | 86088 | 86634 | -546 | 109200 | 0.1092 | 118057 | 118057 | 0 | 0 | 0
EXPORTS(*)
A.I.I.M.S.
13 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | 500 | 183 | 183 | 0 | 0 | 0 | 17120 | 17120 | 0 | 0 | 0
14 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | 83.33 | 3106 | 3106 | 0 | 0 | 0 | 978921 | 978921 | 0 | 0 | 0
15 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | 166.6667 | 987618 | 987618 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
KIDWAI NAGAR
16 | TR(10MVA)KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | -100 | 319624 | 311915 | 7709 | -770900 | -0.7709 | 48566 | 48566 | 0 | 0 | 0
EXHIBITION I
17 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | -100 | 3913 | 3934 | -21 | 2100 | 0.0021 | 21229 | 21091 | 138 | -13800 | -0.0138
18 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (ENERGY EXCHANGE WITH NDPL)
19 | 20 MVA TX.-2(Delv.) | 4864806 | ELSTER | Kvarh(Lead/Lag) | -125 | 170202 | 168964 | 1238 | -154750 | -0.15475 | 260365 | 260317 | 48 | -6000 | -0.006
EXCHANGE OF ENERGY 11KV
EXPORTS
VISHAL
20 | RAMESH NAGAR-1 | 4865090 | ELSTER | Kvarh(Lead/Lag) | -100 | 9332 | 9342 | -10 | 1000 | 0.001 | 28967 | 29020 | -53 | 5300 | 0.0053
21 | BALI NAGAR -1 | 4902519 | ELSTER | Kvarh(Lead/Lag) | -100 | 11196 | 11175 | 21 | -2100 | -0.0021 | 58125 | 57682 | 443 | -44300 | -0.0443
22 | ESI HOSPITAL | 4902520 | ELSTER | Kvarh(Lead/Lag) | -100 | 17513 | 17383 | 130 | -13000 | -0.013 | 61161 | 60774 | 387 | -38700 | -0.0387
S.B.MILL
23 | MOTI NAGAR KIOSK | 4902554 | ELSTER | Kvarh(Lead/Lag) | -100 | 4676 | 4290 | 386 | -38600 | -0.0386 | 3997 | 3938 | 59 | -5900 | -0.0059
24 | 53 RAMA ROAD | 4902522 | ELSTER | Kvarh(Lead/Lag) | -100 | 840 | 840 | 0 | 0 | 0 | 185 | 185 | 0 | 0 | 0
25 | BREAK FAST | 4902523 | ELSTER | Kvarh(Lead/Lag) | -100 | 999815 | 999815 | 0 | 0 | 0 | 999943 | 999943 | 0 | 0 | 0
26 | 70 RAMA ROAD | 4902547 | ELSTER | Kvarh(Lead/Lag) | -100 | 5885 | 5885 | 0 | 0 | 0 | 8891 | 8891 | 0 | 0 | 0
27 | MOTI NAGAR 2 | 4902605 | ELSTER | Kvarh(Lead/Lag) | -1333.33 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | NAJAFGARH ROAD | 4902526 | ELSTER | Kvarh(Lead/Lag) | -100 | 17532 | 17739 | -207 | 20700 | 0.0207 | 19576 | 19485 | 91 | -9100 | -0.0091
29 | PHILIPS | 4902529 | ELSTER | Kvarh(Lead/Lag) | -44.44 | 997402 | 997858 | -456 | 20264.64 | 0.020265 | 522 | 532 | -10 | 444.4 | 0.0004444
30 | ZAKHIRA | 4865087 | ELSTER | Kvarh(Lead/Lag) | -100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
REWARI LINE (11KV TRANSFER OF ENERGY)
31 | BSES -NDPL(EX.) ON BUS-1&2 | 4902577 | ELSTER | Kvarh(Lead/Lag) | 400 | 995590 | 995589 | 1 | 400 | 0.0004 | 50 | 50 | 0 | 0 | 0
32 | BSES -NDPL(EX.) ON BUS-2&3 | 4902525 | ELSTER | Kvarh(Lead/Lag) | -400 | 1 | 1 | 0 | 0 | 0 | 999998 | 999998 | 0 | 0 | 0
TOTAL OF ENERGY AT INTER COMPANY EXCHANGE POINTS | [9 empty] | -2.0398 |  |  |  |  | -0.12696
NOVEMBER-2014
EXECUTIVE SUMMERY BSES R.P. LTD.
1) ENERGY RELEASED AT 66/33/11 KV LEVEL (REFER SHEET BRPL (+)) | [9 empty] | 2.1508 |  |  |  |  | 0.3774
2) INTER COMPANY EXCHANGE OF ENERGY AT 66/33/11 KV (Refer sheet BRPL(-)) | [9 empty] | -2.0398 |  |  |  |  | -0.12696
3)ENERGY RECEIVED FROM ROHTAK ROAD (REFER ROHTAK ROAD SHEET ENC.) | [9 empty] | 1.5351 |  |  |  |  | 0.2826
4) ENERGY RELEASED TO MES BY BRPL | [9 empty] | -0.3817 |  |  |  |  | -0.002
NET ENERGY TO BSES RAJDHANI POWER LIMITED | [9 empty] | 1.2644 |  |  |  |  | 0.53104
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 1.2644 | (REACTIVE MUs) |  |  |  | 0.53104 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.6002 | (REACTIVE MUs) |  |  |  | -3.6044 | (REACTIVE MUs)
[9 empty] | TOTAL | 1.8646 | (REACTIVE MUs) |  |  |  | -3.0734 | (REACTIVE MUs)

## NDMC
DELHI TRANSCO LIMITED | [15 empty] | NOVEMBER-2014
REACTIVE ENERGY CONSUMPTION STATEMENT
CUSTOMER-NDMC
NDMC(+) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AT PARK STREET
EXPORT TO NDMC
1 | BAIRD RD.1 | 4865136 | ELSTER | Kvarh(Lead/Lag) | 200 | 47158 | 46305 | 853 | 170600 | 0.1706 | 77666 | 77640 | 26 | 5200 | 0.0052
2 | BAIRD RD.2 | 4865137 | ELSTER | Kvarh(Lead/Lag) | 100 | 73347 | 73628 | -281 | -28100 | -0.0281 | 139428 | 139435 | -7 | -700 | -0.0007
3 | NIRMAN BHAWAN | 4865138 | ELSTER | Kvarh(Lead/Lag) | 200 | 980377 | 980744 | -367 | -73400 | -0.0734 | 999045 | 999049 | -4 | -800 | -0.0008
4 | H.LANE | 4865139 | ELSTER | Kvarh(Lead/Lag) | 200 | 75031 | 74607 | 424 | 84800 | 0.0848 | 95173 | 95156 | 17 | 3400 | 0.0034
5 | 66 KV BD MARG-I | 4865050 | ELSTER | Kvarh(Lead/Lag) | 800 | 8833 | 7877 | 956 | 764800 | 0.7648 | 4120 | 4120 | 0 | 0 | 0
6 | 66 KV BD MARG-II | 4864949 | ELSTER | Kvarh(Lead/Lag) | 2000 | 13683 | 13720 | -37 | -74000 | -0.074 | 2256 | 2256 | 0 | 0 | 0
7 | 66KV DMRC-I | 5128434 | ELSTER | Kvarh(Lead/Lag) | 800 | 982774 | 983070 | -296 | -236800 | -0.2368 | 990799 | 990800 | -1 | -800 | -0.0008
8 | 66KV DMRC-II | 5128430 | ELSTER | Kvarh(Lead/Lag) | 800 | 986506 | 987469 | -963 | -770400 | -0.7704 | 987727 | 987735 | -8 | -6400 | -0.0064
9 | 66KV GUEST HOUSE | 5128445 | ELSTER | Kvarh(Lead/Lag) | 800 | 992980 | 993685 | -705 | -564000 | -0.564 | 994839 | 994842 | -3 | -2400 | -0.0024
I.P.STATION EXPORT TO NDMC
10 | BAY-2 (N BWN) | 4865124 | ELSTER | Kvarh(Lead/Lag) | 100 | 998785 | 999153 | -368 | -36800 | -0.0368 | 384849 | 384849 | 0 | 0 | 0
11 | BAY-4 (E LANE) | 4865125 | ELSTER | Kvarh(Lead/Lag) | 100 | 6605 | 6605 | 0 | 0 | 0 | 470995 | 470995 | 0 | 0 | 0
12 | BAY-6 (T MARG) | 4865126 | ELSTER | Kvarh(Lead/Lag) | 100 | 15067 | 13555 | 1512 | 151200 | 0.1512 | 367164 | 367164 | 0 | 0 | 0
13 | BAY-10 (E LANE) | 4865127 | ELSTER | Kvarh(Lead/Lag) | 100 | 3798 | 4921 | -1123 | -112300 | -0.1123 | 364258 | 364258 | 0 | 0 | 0
14 | BAY-16 (N BWN) | 4865128 | ELSTER | Kvarh(Lead/Lag) | 100 | 996612 | 997467 | -855 | -85500 | -0.0855 | 308586 | 308586 | 0 | 0 | 0
15 | BAY-28 (C PLACE) | 4865129 | ELSTER | Kvarh(Lead/Lag) | 100 | 2065 | 1066 | 999 | 99900 | 0.0999 | 191473 | 191472 | 1 | 100 | 0.0001
16 | BAY-38 (C PLACE) | 4865130 | ELSTER | Kvarh(Lead/Lag) | 100 | 13618 | 12611 | 1007 | 100700 | 0.1007 | 259464 | 259464 | 0 | 0 | 0
17 | BAY-42 (C PLACE) | 4865132 | ELSTER | Kvarh(Lead/Lag) | 100 | 52545 | 51335 | 1210 | 121000 | 0.121 | 705757 | 705757 | 0 | 0 | 0
G.T.
18 | VIDYUT BHAWAN-1 | 4865037 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 90337 | 90485 | -148 | -162800 | -0.1628
19 | VIDYUT BHAWAN-2 | 4865038 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2455 | 2490 | -35 | -35000 | -0.035 | 39867 | 39866 | 1 | 1000 | 0.001
20 | SCHOOL LANE-1 | 4865039 | ELSTER | Kvarh(Lead/Lag) | 1100 | 0 | 0 | 0 | 0 | 0 | 149863 | 150570 | -707 | -777700 | -0.7777
21 | SCHOOL LANE-2 | 4865040 | ELSTER | Kvarh(Lead/Lag) | 1000 | 6041 | 6308 | -267 | -267000 | -0.267 | 54070 | 54070 | 0 | 0 | 0
[10 empty] | -0.302 |  |  |  |  | -0.9395
RIDGE VALLEY
22 | SPM NO.1/ BAPUDHAM | 4864845 | ELSTER | Kvarh(Lead/Lag) | 1000 | 3251 | 2685 | 566 | 566000 | 0.566 | 73763 | 73763 | 0 | 0 | 0
23 | SPM NO.2 | 4864862 | ELSTER | Kvarh(Lead/Lag) | 1000 | 13668 | 12855 | 813 | 813000 | 0.813 | 170 | 170 | 0 | 0 | 0
24 | NEHRU PARK | 4865142 | ELSTER | Kvarh(Lead/Lag) | 500 | 904506 | 903717 | 789 | 394500 | 0.3945 | 54657 | 54657 | 0 | 0 | 0
25 | Guest House | 5128435 | ELSTER | Kvarh(Lead/Lag) | 400 | 11586 | 13582 | -1996 | -798400 | -0.7984 | 3081 | 3081 | 0 | 0 | 0
A.I.I.M.S.
25 | KILOKARI | 4864892 | ELSTER | Kvarh(Lead/Lag) | -500 | 183 | 183 | 0 | 0 | 0 | 17120 | 17120 | 0 | 0 | 0
26 | SIRI FORT | 4864826 | ELSTER | Kvarh(Lead/Lag) | -83.3333 | 3106 | 3106 | 0 | 0 | 0 | 978921 | 978921 | 0 | 0 | 0
27 | RIDGE VALLEY | 4864791 | ELSTER | Kvarh(Lead/Lag) | -166.6667 | 987618 | 987618 | 0 | 0 | 0 | 993182 | 993182 | 0 | 0 | 0
NOVEMBER-2014
NDMC(+) Continue…
TRAUMA CENTRE
26 | 33KV TX-1 | 5128418 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977522 | 980394 | -2872 | 2872000 | 2.872 | 978508 | 978508 | 0 | 0 | 0
27 | 33KV TX-2 | 5128421 | ELSTER | Kvarh(Lead/Lag) | -1000 | 23 | 23 | 0 | 0 | 0 | 44 | 44 | 0 | 0 | 0
ELECTRIC LANE
28 | 33KV TX-1 | 5128422 | ELSTER | Kvarh(Lead/Lag) | -1000 | 977828 | 979111 | -1283 | 1283000 | 1.283 | 984585 | 984585 | 0 | 0 | 0
29 | 33KV TX-2 | 5128428 | ELSTER | Kvarh(Lead/Lag) | -1000 | 993300 | 994636 | -1336 | 1336000 | 1.336 | 996400 | 996400 | 0 | 0 | 0
KIDWAI NAGAR
30 | TR(10MVA) KILOKRI#2 | 4865133 | ELSTER | Kvarh(Lead/Lag) | 100 | 319624 | 311915 | 7709 | 770900 | 0.7709 | 48566 | 48566 | 0 | 0 | 0
EXHIBITION I
31 | TILAK MARG | 4865076 | ELSTER | Kvarh(Lead/Lag) | 100 | 3913 | 3934 | -21 | -2100 | -0.0021 | 21229 | 21091 | 138 | 13800 | 0.0138
32 | KRISHI BHAWAN | 4865077 | ELSTER | Kvarh(Lead/Lag) | 100 |  |  | 0 | 0 | 0 |  |  | 0 | 0 | 0
LODHI ROAD
33 | SHAN NAGAR 1 | 4865093 | ELSTER | Kvarh(Lead/Lag) | 100 | 68993 | 66913 | 2080 | 208000 | 0.208 | 65437 | 65290 | 147 | 14700 | 0.0147
34 | SHAN NAGAR 2 | 4865094 | ELSTER | Kvarh(Lead/Lag) | 100 | 67115 | 65079 | 2036 | 203600 | 0.2036 | 63752 | 63750 | 2 | 200 | 0.0002
35 | VIDYUT BHAWAN (exp) | 4865144 | ELSTER | Kvarh(Lead/Lag) | 200 | 86088 | 86634 | -546 | -109200 | -0.1092 | 118057 | 118057 | 0 | 0 | 0
TILAK MARG
36 | EXHB-II | 4865143 | ELSTER | Kvarh(Lag) | 100 | 51490 | 49092 | 2398 | 239800 | 0.2398 | 909270 | 909270 | 0 | 0 | 0
NDMC(-) | [7 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
AIIMS
1 | 11KV VIKAS SADAN | 4902555 | ELSTER | Kvarh(Lead/Lag) | -75 | 197 | 268 | -71 | 5325 | 0.005325 | 1954 | 1954 | 0 | 0 | 0
2 | 11KV NDSE | 4902587 | ELSTER | Kvarh(Lead/Lag) | -100 | 11289 | 10801 | 488 | -48800 | -0.0488 | 26588 | 26588 | 0 | 0 | 0
TOTAL ENERGY RELEASED AT 66/33/11 KV LEVEL | [9 empty] | 6.9433 |  |  |  |  | -0.9132
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
| ENERGY TO NDMC | [8 empty] | 6.9433 |  |  |  |  | -0.9132
| SHARED DISTRIBUTION GENERATED BY GENCO | [8 empty] | 0.07725 |  |  |  |  | -0.46392
| TOTAL ENERGY TO NDMC | [8 empty] | 7.0206 |  |  |  |  | -1.3771

## MES
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2014
CUSTOMER- MES
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
MES(+)
FED FROM DTL SYSTEM.
NARAINA ( ON 33KV)
1 | KHBR LANE-1-EXP. | 4864848 | ELSTER | Kvarh(Lead/Lag) | 1000 | 1412 | 1357 | 55 | 55000 | 0.055 | 27620 | 27552 | 68 | 68000 | 0.068
2 | KHBR LANE-2 -EXP. | 4864849 | ELSTER | Kvarh(Lead/Lag) | 1000 | 983 | 972 | 11 | 11000 | 0.011 | 29135 | 29115 | 20 | 20000 | 0.02
3 | KIRBY PLACE-1 | 4864846 | ELSTER | Kvarh(Lead/Lag) | 1000 | 2413 | 2280 | 133 | 133000 | 0.133 | 36242 | 36135 | 107 | 107000 | 0.107
4 | KIRBY PLACE-2 | 4864847 | ELSTER | Kvarh(Lead/Lag) | 1000 | 889 | 894 | -5 | -5000 | -0.005 | 20417 | 20421 | -4 | -4000 | -0.004
5 | SHEKHAWATI- 1 | 4864850 | ELSTER | Kvarh(Lead/Lag) | 1000 | 4457 | 4290 | 167 | 167000 | 0.167 | 10879 | 10879 | 0 | 0 | 0
6 | SHEKHAWATI- 2 | 4864900 | ELSTER | Kvarh(Lead/Lag) | 500 | 11652 | 11658 | -6 | -3000 | -0.003 | 59029 | 59030 | -1 | -500 | -0.0005
RIDGE VALLEY ON 33KV
7 | KHBR LANE-1 -EXP | 4864804 | ELSTER | Kvarh(Lead/Lag) | 100 | 995580 | 995804 | -224 | -22400 | -0.0224 | 999945 | 999945 | 0 | 0 | 0
8 | KHBR LANE-2 -EXP. | 4865163 | ELSTER | Kvarh(Lead/Lag) | 100 | 996426 | 996479 | -53 | -5300 | -0.0053 | 999911 | 999911 | 0 | 0 | 0
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.3303 |  |  |  |  | 0.1905
FED FROM BSES RAJDHANI POWER LIMITED (11KV)
9 | SIGNAL ENCLAVE | 4865065 | ELSTER | Kvarh(Lead/Lag) | 100 | 3437 | 3437 | 0 | 0 | 0 | 34364 | 34364 | 0 | 0 | 0
10 | R.R. HOSPITAL | 4865066 | ELSTER | Kvarh(Lead/Lag) | 100 | 53195 | 51451 | 1744 | 174400 | 0.1744 | 76638 | 76638 | 0 | 0 | 0
11 | DEFENCE CLUB | 4865067 | ELSTER | Kvarh(Lead/Lag) | 100 | 74389 | 73987 | 402 | 40200 | 0.0402 | 12991 | 12988 | 3 | 300 | 0.0003
12 | SUBROTO PARK | 4865078 | ELSTER | Kvarh(Lead/Lag) | 100 | 50875 | 49326 | 1549 | 154900 | 0.1549 | 67126 | 67119 | 7 | 700 | 0.0007
13 | SUBROTO PARK | 4865079 | ELSTER | Kvarh(Lead/Lag) | 100 | 999989 | 999989 | 0 | 0 | 0 | 20273 | 20273 | 0 | 0 | 0
14 | BI LINES | 4865080 | ELSTER | Kvarh(Lead/Lag) | 100 | 84820 | 84698 | 122 | 12200 | 0.0122 | 60452 | 60442 | 10 | 1000 | 0.001
15 | BI LINES | 4865075 | ELSTER | Kvarh(Lead/Lag) | 100 | 9371 | 8734 | 637 | 63700 | 0.0637 | 3033 | 3033 | 0 | 0 | 0
TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0.3817 |  |  |  |  | 0.002
MES(-)
FED TO BSES RAJDHANI POWER LIMITED (11KV)
16 | BOOSTER PUMP | 4902545 | ELSTER | Kvarh(Lead/Lag) | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL FED TO BSES RAJDHANI POWER LIMITED (11KV) | [9 empty] | 0 |  |  |  |  | 0
| TOTAL FED FROM BSES RAJDHANI POWER LIMITED (11KV) | [8 empty] | 0.3817 |  |  |  |  | 0.002
| TOTAL FED FROM DTL SYSTEM. | [8 empty] | 0.3303 |  |  |  |  | 0.1905
| GRAND TOTAL (BSES RPL+NDPL+DTL) | [8 empty] | 0.712 |  |  |  |  | 0.1925
NET REACTIVE ENERGY CHARGEABLE
[10 empty] | Energy for above 103% |  |  |  |  | Energy for below 97%
EXPORT IN LAGGING/LEADING MODE FROM THE SOURCE | [9 empty] | 0.712 | (REACTIVE MUs) |  |  |  | 0.1925 | (REACTIVE MUs)
SHARED DISTRIBUTION GENERATED BY GENCO | [9 empty] | 0.012905 | (REACTIVE MUs) |  |  |  | -0.077498 | (REACTIVE MUs)
[9 empty] | TOTAL | 0.7249 | (REACTIVE MUs) |  |  |  | 0.115 | (REACTIVE MUs)

## ROHTAK ROAD
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2014
ROHTAK ROAD
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
TO BSES RAJDHANI
AT 33 KV LEVEL
1 | O/G SBMILL-1 | 4864817 | ELSTER | Kvarh(Lead/Lag) | 100 | 7365 | 5263 | 2102 | 210200 | 0.2102 | 1684 | 1684 | 0 | 0 | 0
2 | O/G SBMILL-2 | 4864797 | ELSTER | Kvarh(Lead/Lag) | 100 | 1490 | 1982 | -492 | -49200 | -0.0492 | 999129 | 999129 | 0 | 0 | 0
3 | O/G VISHAL-1 | 4864818 | ELSTER | Kvarh(Lead/Lag) | 100 | 270360 | 265681 | 4679 | 467900 | 0.4679 | 102908 | 102872 | 36 | 3600 | 0.0036
4 | O/G MADI PUR | 4864842 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 36435 | 35495 | 940 | 881250 | 0.88125 | 19113 | 19113 | 0 | 0 | 0
AT 33/11 KV LEVEL
5 | TX.-I | 4864880 | ELSTER | Kvarh(Lead/Lag) | -500 | 985175 | 985209 | -34 | 17000 | 0.017 | 914083 | 914354 | -271 | 135500 | 0.1355
6 | TX-II | 4864881 | ELSTER | Kvarh(Lead/Lag) | -500 | 989188 | 989204 | -16 | 8000 | 0.008 | 978448 | 978735 | -287 | 143500 | 0.1435
7 | B/C (IMP.TO BRPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | 300 | 999989 | 999989 | 0 | 0 | 0 | 4 | 4 | 0 | 0 | 0
| TOTAL BSES RAJDHANI PO.LTD. | [8 empty] | 1.5351 |  |  |  |  | 0.2826
TO BSES YAMUNA PO. LTD.
AT 33 KV LEVEL
8 | O/G FAIZ ROAD | 4864794 | ELSTER | Kvarh(Lead/Lag) | 200 | 924256 | 925654 | -1398 | -279600 | -0.2796 | 992200 | 992203 | -3 | -600 | -0.0006
9 | O/G DMS | 4864932 | ELSTER | Kvarh(Lead/Lag) | 200 | 964779 | 970615 | -5836 | -1167200 | -1.1672 | 999404 | 999404 | 0 | 0 | 0
| TOTAL (BSES Y.P.L.) | [8 empty] | -1.4468 |  |  |  |  | -0.0006
TO NORTH DELHI POWER LIMITED
AT 33 KV LEVEL
10 | O/G VISHAL-2 | 4864819 | ELSTER | Kvarh(Lead/Lag) | 200 | 255931 | 253116 | 2815 | 563000 | 0.563 | 265534 | 265531 | 3 | 600 | 0.0006
11 | O/G 33KV RAMPURA-1 | 4864801 | ELSTER | Kvarh(Lead/Lag) | 200 | 114962 | 112518 | 2444 | 488800 | 0.4888 | 42458 | 42436 | 22 | 4400 | 0.0044
12 | O/G 33KV RAMPURA-2 | 4864820 | ELSTER | Kvarh(Lead/Lag) | 100 | 189236 | 184722 | 4514 | 451400 | 0.4514 | 74291 | 74244 | 47 | 4700 | 0.0047
13 | O/G 33KV SH.W.BAGH-I | 4865177 | ELSTER | Kvarh(Lead/Lag) | 1000 | 999890 | 999998 | -108 | -108000 | -0.108 | 999998 | 999999 | -1 | -1000 | -0.001
14 | O/G 33KV SH.W.BAGH-2 | 4864802 | ELSTER | Kvarh(Lead/Lag) | 100 | 959357 | 960538 | -1181 | -118100 | -0.1181 | 6919 | 6919 | 0 | 0 | 0
15 | O/G 33KV KIRTI NAGAR | 5128400 | ELSTER | Kvarh(Lead/Lag) | 937.5 | 999169 | 999182 | -13 | -12187.5 | -0.012188 | 997384 | 997369 | 15 | 14062.5 | 0.014063
AT 33/11 KV LEVEL
16 | TX-III | 4864882 | ELSTER | Kvarh(Lead/Lag) | -625 | 985726 | 985744 | -18 | 11250 | 0.01125 | 995393 | 995393 | 0 | 0 | 0
17 | B/C (IMP.TO NDPL) | 4902572 | ELSTER | Kvarh(Lead/Lag) | -300 | 999989 | 999989 | 0 | 0 | 0 | 4 | 4 | 0 | 0 | 0
| TOTAL NDPL | [8 empty] | 1.2762 |  |  |  |  | 0.022762
| E) NET EXPORT TO BSES RPL | [8 empty] | 1.5351 |  |  |  |  | 0.2826
| F) NET EXPORT TO BSES YPL | [8 empty] | -1.4468 |  |  |  |  | -0.0006
| G) NET EXPORT TO N.D.P.L. | [8 empty] | 1.2762 |  |  |  |  | 0.022762

## STEPPED UP GENCO
DELHI TRANSCO LIMITED
REACTIVE ENERGY CONSUMPTION STATEMENT | [14 empty] | NOVEMBER-2014
A.) EXPORT/IMPORT OF REACTIVE ENERGY IN LEAD/LAG MODE ON IBT's AT GENCO
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | REMARK
G.T.
| (66KV ) | (EXPORT)
1 | IBT-I | 4865001 | ELSTER | kvarh (Lead/lag) | 2000 | 8535 | 8080 | 455 | 910000 | 0.91 | 804 | 804 | 0 | 0 | 0
2 | IBT-2 | 4902498 | ELSTER | kvarh (Lead/lag) | 2000 | 16458 | 15678 | 780 | 1560000 | 1.56 | 2292 | 2292 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 2.47 |  | NET REACTIVE ENERGY |  |  | 0
RPH
| (33KV ) | (EXPORT)
3 | IBT-I | 4902505 | ELSTER | kvarh (Lead/lag) | 1000 | 993406 | 992776 | 630 | 630000 | 0.63 | 38627 | 38627 | 0 | 0 | 0
4 | IBT-2 | 5128424 | ELSTER | kvarh (Lead/lag) | 1000 | 995962 | 995612 | 350 | 350000 | 0.35 | 993895 | 993895 | 0 | 0 | 0
[7 empty] | NET REACTIVE ENERGY |  |  | 0.98 |  | NET REACTIVE ENERGY |  |  | 0
1)TOTAL NET REACTIVE ENERGY FROM GENCO AT 66/33KV LEVEL | [9 empty] | 3.45 |  |  |  |  | 0
B) | REACTIVE ENERGY DRAWL ON FEEDERS FROM GENCO BY
[7 empty] | NDPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BRPL = |  |  | 0 |  |  |  |  | 0
[7 empty] | BYPL = |  |  | -1.633 |  |  |  |  | -8.1587
[7 empty] | NDMC = |  |  | -0.302 |  |  |  |  | -0.9395
MES =
[7 empty] | 2)TOTAL |  |  | -1.935 |  |  |  |  | -9.0982
C) TOTAL REACTIVE ENERGY TO BE DISTRIBUTED AMONGS DISCOMs [1+2]= | [9 empty] | 1.515 |  |  |  |  | -9.0982
D). | SHARE OF EACH DISCOM TO BE DISTRIBUTED ON PROPORTION TO THEIR ACTIVE ENERGY DRAWAL OF C
1) | NDPL | (ACTIVE ENERGY DRAWL= |  |  |  | 31.3761 | % |  |  | 0.47535 |  |  |  |  | -2.8547
2) | BRPL | (ACTIVE ENERGY DRAWL= |  |  |  | 39.617 | % |  |  | 0.6002 |  |  |  |  | -3.6044
3) | BYPL | (ACTIVE ENERGY DRAWL= |  |  |  | 23.0553 | % |  |  | 0.34929 |  |  |  |  | -2.0976
4) | NDMC | (ACTIVE ENERGY DRAWL= |  |  |  | 5.099 | % |  |  | 0.07725 |  |  |  |  | -0.46392
5) | MES | (ACTIVE ENERGY DRAWL= |  |  |  | 0.8518 | % |  |  | 0.012905 |  |  |  |  | -0.077498
Note :Sharing taken from wk-33 abt bill 2014-15

## FINAL EX. SUMMARY
DELHI TRANSCO LIMITED
REACTIVE ENERGY RELEASE STATEMENT TO LICENSEES.
PERIOD 1st November-2014 TO 30th November-2014
FINAL EXECUTIVE SUMMERY
[6 empty] | Energy for above 103% |  | Energy for below 97%
1 | NET REACTIVE ENERGY TO N.D.P.L. |  |  |  |  | 12.2911 |  | -2.6813
2 | NET REACTIVE ENERGY TO BSES RAJDHANI PO.LTD. |  |  |  | + | 1.8646 |  | -3.0734
3 | NET REACTIVE ENERGY TO BSES YAMUNA PO.LTD. |  |  |  | + | 17.4698 |  | -10.0923
4 | NET REACTIVE ENERGY TO NDMC |  |  |  | + | 7.0206 |  | -1.3771
5 | NET REACTIVE ENERGY TO MES |  |  |  | + | 0.7249 | + | 0.115
ALL FIGURES IN Mus.
Note:-
+ve sign indicates reactive energy drawl from the grid/system
-ve sign indicates reactive energy injected to the grid/system

## PRAGATI
[8 empty] | DELIVERED & RECEIVED ABOVE 103% |  |  |  |  | DELIVERED & RECEIVED BELOW 97 %
Sr. No. | STATION / FEEDER | METER NO. | MAKE | UNIT | M.F. (O/A) | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs | FINAL READING 01/12/2014 | INTIAL READING 01/11/2014 | DIFF. | CONSP. | REACTIVE MUs
PRAGATI
| (220 KV) | (EXPORT)
1 | GT-I | 4902492 | ELSTER | kvarh (lag) | 1500 | 952373 | 952691 | -318 | -477000 | -0.477 | 979525 | 979525 | 0 | 0 | 0
2 | GT-II | 5128477 | ELSTER | kvarh (lag) | 1500 | 992213 | 993308 | -1095 | -1642500 | -1.6425 | 995425 | 995425 | 0 | 0 | 0
3 | STG-III | 4864840 | ELSTER | kvarh (lag) | 750 | 989647 | 996717 | -7070 | -5302500 | -5.3025 | 999331 | 999331 | 0 | 0 | 0
[8 empty] | NET REACTIVE ENERGY |  | -7.422 |  |  | NET REACTIVE ENERGY |  | 0
I.P.STATION
| (33KV) | (EXPORT)
1 | IBT-I | 4902509 | ELSTER | kvarh (lag) | 5000 | 997874 | 997874 | 0 | 0 | 0 | 28176 | 28676 | -500 | -2500000 | -2.5
2 | IBT-2 | 4902510 | ELSTER | kvarh (lag) | 1000 | 999728 | 999728 | 0 | 0 | 0 | 999813 | 1000327 | -514 | -514000 | -0.514
3 | IBT-3 | 4864947 | ELSTER | kvarh (lag) | 1000 | 975564 | 974775 | 789 | 789000 | 0.789 | 991440 | 991433 | 7 | 7000 | 0.007
[8 empty] | NET REACTIVE ENERGY |  | 0.789 |  |  | NET REACTIVE ENERGY |  | -3.007