|  | पंजीकृत कार्यालय :शक्ति सदन, कोटला रोड़, न्यू दिल्ली-110002 (Regd. Office Shakti Sadan, Kotla Road, New Delhi-110002) कार्यालय उपमहाप्रबंधक (एस.ओ.) Office of Dy. General Manager (SO) एस एल डी सी बिल्डिंग, मिंटो रोड़, न्यू दिल्ली-110002 SLDC Building, Minto Road, New Delhi-110002 Ph: 23221149 FAX No.23221012 |
| --- | --- |
| No. F./DTL/207/09-10/DGM(SO)/ | Dated : 28.10.2009 |

Subject  : 	Additional agenda of the 4th meeting of Grid Coordination Committee

Dear Sir,   /  महोदय

The additional agenda of the 4th Meeting of Grid Coordination Committee (GCC) to be held on 06.11.2009 at 11:00hrs. at Hotel Oberoi Maidens, Civil Lines, Near Civil Lines Metro Station, New Delhi-110044 is enclosed herewith. The meeting is hosted by NDPL.

Thanking you,

भवदीय   /  Yours faithfully

Encl : As above

(वी.वेणुगोपाल)/(V. Venugopal )

(उपमहाप्रबंधक (एस.ओ.)/Dy. G. M. (SO)

Convener (GCC)

| 01 | Sh. A. K. Kaul, Director (Operations), Chairman, GCC. Delhi Transco Ltd, 1st floor, Shakti Sadan Building, Kotla Road, New Delhi-110002, Office-Phone- 011-23232715, Fax : 23232721 |
| --- | --- |
| 02 | Sh. B. B. Sharma, General Manager (O&M), Delhi Transco Limited, 220kV Parkstreet S/stn Building, Opp. Talkatora Stadium, Near RML Hospital, Park Street, New Delhi-1, Office Phone - 011-23366462 Fax: 011-23366160 |
| 03 | Sh. B. D. Prasad General Manager (Commercial), Delhi Transco Ltd, IP Estate Bldg, New Delhi-110002 |
| 04 | Sh. Raj Bhartiya General Manager (Planning), Shakti Deep Building, Jhandewalan, Delhi-110055 |
| 05 | Sh. B. C. Mathur General Manager (SLDC), SLDC Delhi SLDC Building, 33kV Grid S/Stn Duilding, Minto Road, New Delhi-110002, Phone Office:011-23221091, Fax:011-23221069 |
| 06 | Sh. Bhupendra Nath Dy. General Manager (SCADA), SLDC Delhi SLDC Building, 33kV Grid S/Stn Building, Minto Road, New Delhi-110002, Phone Office:011-2322 |

| 07 | Sh. V. K. Agrawal, General Manager (NRLDC), 18-A, SJSS Marg, New Delhi-16, Office Phone : 011-26537351, Fax: 011-26852747 |
| --- | --- |
| 08 | Sh. S. R. Narsimhan, Chief Manager (System Operation-I), NRLDC, 18-A, SJSS Marg, New Delhi-16, Office Phone: 011-26854585. Fax-26852747 |
| 09 | Sh. Viney Kumar, Director(Tech), IPGCL, Himadri Building, Rajghat Power House, New Delhi-2. Office Phone : 011-23273544 Fax: 011-23270590 |
| 10 | Sh. Sunil Kakkar, DGM (PMG), BRPL PMG Office, 3rd Floor, BSES Bhawan, No. 20, Nehru Place, New Delhi – 110019. Phone Office: 011- 39996052, Fax: 011- 39996055 |
| 11 | Sh. R. Pillai, HOD(PSC&AM), NDPL Shakti Nagar District Office, Nangia Park, New Delhi. Phone Office: 011- 66111401 Fax: 011- 66111406 |
| 12 | Sh. K. Sheshadri, AVP(SO), BSES SCADA Control Room, 33 kV Balaji Grid, Behind NIIT, Balaji Estate, Kalkaji, New Delhi – 110019. Office: 011- 39996549 Fax: 011- 39996551 |
| 13 | Sh. N. K. Kothari, General Manager, NTPC, Badarpur BTPS, New Delhi-44 Office Phone: 011- 26949523, Fax: 011- 26949532 |
| 14 | Col. C. Stephens, CWE, CWE (Utilities), MES, Delhi Cantt, New Delhi – 110010. Phone Office: 011- 25692364 Fax: 011- 25687850 |
| 15 | Sh. R. R. Singh Chief Engineer (Elect-I),NDMC Room No. 1701, 17th Floor, Palika Kendra, Sansad Marg, New Delhi-110001 Mobile 9818507832 |

Copy for favour of kind information to :-

  - Secretary, DERC, Viniyamak Bhawan, C-Block, Shivalik, New Delhi-17

  - Chairman and Managing Director, DTL

  - Chairperson, New Delhi Municipal Council,Palika Kendra,Sansad Marg, New Delhi

  - CEO, BSES Rajdhani Power Ltd, BSES Bhawan, Nehru Place, New Delhi-110019

  - CEO, BSES Yamuna Power Ltd, Shakti Kiran Building, Karkardooma, New Delhi-92

  - CEO, North Delhi Power Ltd, 33kV Grid S/Stn, Hudson Lane, Kingsway Camp, Delhi-110009

  - Chief Engineer(Utilities),CWE, MES, Kotwali Road, Near Gopi Nath Bazar, Delhi Cantt  New Delhi-10

  - Managing Director, Indraprastha Power Generation Company Ltd (Genco) / Pragati Power Corporation Ltd (PPCL), Himadri, Rajghat Power House, New Delhi-110002

DELHI TRANSCO LTD.

(Regd. Office : Shakti Sadan, Kotla Road, New Delhi 110002)

[Office of Dy. General Manager (SO)]

SLDC Building, Minto Road, New Delhi – 110 002

Phone No.23221149, 23221175, Fax 23221012, 59

ADDITIONAL AGENDA

FOR

4th MEETING OF GRID CO-ORDINATION COMMITTEE (GCC)

Time & Date of GCC meeting 	: 11.00 Hrs. on 06.11.2009.

Venue 		: Oberoi Maidens, Civil Lines, Near Civil

Lines Metro Station, New Delhi-110044

CoMMERCIAL ISSUE

Accounting Methodology in respect of Rohtak Road S/stn – Apportionment of mis match of energy input/output – Issue raised by DTL:

The agenda has come up for discussion in the 2nd meeting of Commercial Sub-committee held on 10.09.2009. The extracts of the agenda are as under :

BRPL / BYPL has submitted the agenda which is reproduced below :

- Energy accounting of Rohtak Road Grid.

- The 33/11kV Rohtak Road grid physically located in the license area of BRPL but under the control of NDPL supplies power to BRPL, NDPL and BYPL license area.

- The energy accounting adopted for this grid was different than other such similar grids catering to more than one Discom.

- Accordingly the matter was deliberated in the meeting held in GM(O&M), DTL’s office on 23rd May, 08 which was attended by representatives of all Discoms. It was then decided for Rohtak Road grid, the energy account shall be in line with the methodology adopted in all other grids without exception.

- In line with this understanding ABT compliant meters were installed at Rohtak Road on 15th July, 08 and the accounting process was to commence at Rohtak Road effective from the 19th week of 2008 (i.e. from the week commencing 4th August, 2008).

- Whereas, DTL continue to bill as per the methodology existed prior to this understanding till date. BSES had represented number of times for the correction of the process and provide required credits to BRPL & BYPL for the difference in the two methodologies.

2

- Accordingly, BRPL is to receive an energy credit of 13.57MUs since the 19th week of 2008 till 14th week of 2009. Similarly, BYPL is to receive a credit of 2.43MUs for the same period.

Therefore, we request you for immediate regularization of such credit from the agreed date and also request DTL to ensure billing beyond 14th week of 2009 as per the agreed methodology only.

Further, we are also listing here below other agenda issues which BSES wishes to take up the commercial sub-committee meeting for resolution.”

Extracts of the minutes of the 2nd Commercial Sub-Committee meeting on the subject are reproduced hereunder :

“10.	Energy Accounting procedure for power transaction at Rohtak Road Grid:

BSES representatives pointed out that the uniform methodology of accounting losses should be adopted at all Grid S/Stations.  It was explained that in present methodology the entire losses of respective sub-stations which are fully booked to the respective DISCOMs are to be borne by the respective DISCOM. NDPL representative stated that the existing methodology being adopted for Rohtak Road Sub-station i.e. the apportionment of mismatch between the input meter readings and out going meter readings should be done based on the sharing of the energy, as 70% of the output of Rohtak Road S/Stn. pertains to BSES utilities.  This methodology would not be justifiable in view of the sharing of major part of the output by other utilities though it is owned by the first utility.

Metering Department of DTL stated that the major mismatch at Rohtak Road Sub-station appears to be the difference in reading at BBMB Rohtak Road end and the summation of outgoing feeders readings at Rohtak Road NDPL 33kV S/Stn.  The problem could be sorted out had NDPL installed the meters at incomers at Rohtak Road S/Stn.  In spite of regular persuasions, the meter could not be installed so far.  NDPL representative cited certain technical problems for installation of meters at Rohtak Road S/Stn and technical feasibility for installation of the same is being explored.  The representative of NDPL expected the installation of meters at NDPL S/Stn. within one month period.

BSES representative insisted for the commitments made by DTL’s Metering Department vide their letter No. F.DTL/206/F-6/DI/08-09/OPR(ICM)/177 dated 17.09.2008 wherein it was indicated that UI  bills from week No.19 (4-10 Aug-08) shall be prepared according to re-arranged metering arrangement at 33kV Rohtak Road Grid Sub-station.

After considering the entire aspects, the Chair decided that the energy transactions at Rohtak Road Grid S/Stn be re-assessed for the period starting from 4th Aug’08 based on the out-going feeders readings and the difference of the already considered energy drawal and the revised energy drawal be credited/debited to respective DISCOMs prospectively from the week starting from 5th October 2009 in ten weeks.  It was also made very clear that Rohtak Road being a unique Grid S/Stn (the owner’s usage is only 30% of energy) and special dispensation is allowed.  The existing methodology of accounting in respect of other grid sub-stations shall be continued.”

3

The Operation & Maintenance Department of DTL has raised the following issue :

As per the calculation made by the Metering Deptt. a total of about 44.21MUs has been the difference of energy apportioned to the three Distribution Companies in the following manner :

All figures in MUs

1.	 2008-09		NDPL		BRPL		BYPL

11.895		9.2793		1.5547

2.	2009-10-28		10.49678	8.6155731	2.3693

Total 		=	22.39178	17.894873	3.924

G.Total	=	44.210653

The above arrangement of apportioning the energy was the appropriate way of energy accounting as this difference has arisen because of the non availability of the proper PT selection scheme at Rohtak Road Grid S/stn which is to be provided by the owner of the S/stn i.e. NDPL. It is also to inform that similar situation of inaccurate billings may exist at BRPL & BYPL owned S/stns where the energy is being exchanged between the different distribution companies and metering is being done on the outgoing feeders.

In the 2nd Commercial Sub-committee meeting it was agreed by NDPL that the problem of PT selection at Rohtak Road Grid S/stn will be sorted out within one month and it has already one month passed NDPL is yet to commission the PT selection scheme at Rohtak Road Grid S/stn.

In the absence of proper metering arrangement at the S/stn owned by the Distribution Companies, DTL has no option but to apportion the difference in energy among the distribution companies otherwise the entire difference in energy will be transformed as transmission losses which are already alleged being increased.

In view of the divergent view of the O&M Department of DTL with that of the decision taken by the Chairperson, Commercial Sub-committee of GCC in the meeting held on 10.09.2009 GCC is requested to deliberate and decide.

OPERATIONAL ISSUE./

iNSTALLATION OF 2ND 66/11Kv 20mva tRANSFORMER AT 220KV gAZIPUR S/STN – Issue raised by dtl

At present there is only one 20MVA 66/11KV power transformer available at Gazipur S/stn. To meet the N-1 criteria one more 20MVA power transformer is required to be installed at the S/stn.

The matter was discussed in various Coordination meetings, but BSES has not agreed to give clearance for installation of second 20MVA transformer.

It is therefore, requested that the matter may kindly be discussed in the 4th GCC meeting and the problem be solved, otherwise DTL shall not be responsible for giving the uninterrupted supply to the 11KV feeders of BSES emanating from Gazipur. S/stn.

GCC may deliberate & decide.